## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-115_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-115_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-115_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-115_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1631-115_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1631-115_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1631-115_0_4_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1631-115_0_4_node_45 | 0.4 | n |  | TRUE
8 | bus_LV_1631-115_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1631-115_0_4_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1631-115_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_1631-115_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1631-115_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1631-115_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1631-115_0_4_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_1631-115_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1631-115_0_4_node_47 | 0.4 | n |  | TRUE
17 | bus_LV_1631-115_0_4_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1631-115_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1631-115_0_4_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_1631-115_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_1631-115_0_4_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_1631-115_0_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_1631-115_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1631-115_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1631-115_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1631-115_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1631-115_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1631-115_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1631-115_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1631-115_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1631-115_0_4_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1631-115_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1631-115_0_4_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1631-115_0_4_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1631-115_0_4_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_1631-115_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1631-115_0_4_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1631-115_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1631-115_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1631-115_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1631-115_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1631-115_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1631-115_0_4_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1631-115_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1631-115_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1631-115_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_MV_13_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-115_0_4_load_0 | 0 | 0.0021894 | 0.00054872 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-115_0_4_load_1 | 1 | 0.012757 | 0.0031972 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-115_0_4_load_12 | 6 | 0.012692 | 0.0031809 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-115_0_4_load_45 | 7 | 0.0085418 | 0.0021408 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-115_0_4_load_7 | 8 | 0.00083735 | 0.00020986 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-115_0_4_load_43 | 10 | 0.0077993 | 0.0019547 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-115_0_4_load_8 | 11 | 0.0035156 | 0.00088108 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-115_0_4_load_9 | 12 | 0.00030292 | 7.5919e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-115_0_4_load_46 | 14 | 0.00039313 | 9.8529e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-115_0_4_load_47 | 16 | 0.00038648 | 9.6862e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-115_0_4_load_14 | 18 | 0.00030421 | 7.6243e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-115_0_4_load_39 | 19 | 0.010378 | 0.002601 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-115_0_4_load_37 | 20 | 0.014077 | 0.0035281 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-115_0_4_load_48 | 21 | 0.00030246 | 7.5804e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-115_0_4_load_49 | 22 | 0.00027533 | 6.9004e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-115_0_4_load_17 | 23 | 0.0035126 | 0.00088035 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-115_0_4_load_19 | 25 | 0.011085 | 0.0027781 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-115_0_4_load_21 | 27 | 0.0041908 | 0.0010503 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-115_0_4_load_22 | 28 | 0.0041337 | 0.001036 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-115_0_4_load_23 | 29 | 0.0063399 | 0.0015889 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-115_0_4_load_24 | 30 | 0.0043597 | 0.0010926 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-115_0_4_load_32 | 31 | 0.0043985 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-115_0_4_load_44 | 34 | 0.01246 | 0.0031228 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-115_0_4_load_41 | 35 | 0.01093 | 0.0027393 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-115_0_4_load_31 | 37 | 0.003233 | 0.00081028 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-115_0_4_load_26 | 39 | 0.0089646 | 0.0022467 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-115_0_4_load_40 | 41 | 0.0070263 | 0.001761 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-115_0_4_load_34 | 42 | 0.017834 | 0.0044697 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-115_0_4_load_42 | 43 | 0.0062206 | 0.001559 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-115_0_4_load_35 | 44 | 0.0056645 | 0.0014197 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-115_0_4_load_36 | 45 | 0.012912 | 0.003236 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-115_0_4_load_38 | 46 | 0.0072933 | 0.0018279 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-115_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.052069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-115_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-115_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.024942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-115_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.11928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-115_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.083963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-115_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.013301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-115_0_4_line_6 | NAYY 4x150 SE | 4 | 8 | 0.026021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-115_0_4_line_7 | NAYY 4x150 SE | 5 | 7 | 0.046941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-115_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.065204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-115_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.024815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-115_0_4_line_10 | NAYY 4x150 SE | 9 | 11 | 0.023546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-115_0_4_line_11 | NAYY 4x150 SE | 10 | 43 | 0.001817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-115_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0072609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-115_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0028464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-115_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.034571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-115_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.035649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-115_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.012214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-115_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.039331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-115_0_4_line_18 | NAYY 4x150 SE | 15 | 18 | 0.015431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-115_0_4_line_19 | NAYY 4x150 SE | 17 | 21 | 0.019461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-115_0_4_line_20 | NAYY 4x150 SE | 17 | 22 | 0.006355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-115_0_4_line_21 | NAYY 4x150 SE | 19 | 20 | 0.016095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-115_0_4_line_22 | NAYY 4x150 SE | 20 | 41 | 0.026276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1631-115_0_4_line_23 | NAYY 4x150 SE | 20 | 45 | 0.041282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-115_0_4_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0088224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-115_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.0018626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-115_0_4_line_26 | NAYY 4x150 SE | 24 | 26 | 0.010198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-115_0_4_line_27 | NAYY 4x150 SE | 24 | 27 | 0.012478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-115_0_4_line_28 | NAYY 4x150 SE | 26 | 28 | 0.0033981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-115_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0073414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-115_0_4_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0094701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-115_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.025135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-115_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.014912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-115_0_4_line_33 | NAYY 4x150 SE | 32 | 42 | 0.017862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-115_0_4_line_34 | NAYY 4x150 SE | 32 | 40 | 0.021342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-115_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.024439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-115_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.031071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-115_0_4_line_37 | NAYY 4x150 SE | 33 | 36 | 0.034656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-115_0_4_line_38 | NAYY 4x150 SE | 35 | 43 | 0.01097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-115_0_4_line_39 | NAYY 4x150 SE | 36 | 38 | 0.005476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-115_0_4_line_40 | NAYY 4x150 SE | 36 | 40 | 0.029282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-115_0_4_line_41 | NAYY 4x150 SE | 36 | 39 | 0.006562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-115_0_4_line_42 | NAYY 4x150 SE | 37 | 38 | 0.014932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-115_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.024704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_1631-115_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.0031988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-115_0_4_line_45 | NAYY 4x150 SE | 45 | 46 | 0.0092905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-115_0_4_trafo_37 | 0.25 MVA 20/0.4 kV | 47 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2721816.2833 | 1202604.838 | 2721822.5646 | 1202622.0813 | 2721838.9877 | 1202651.5281
1 | 2721807.7224 | 1202582.8049 | 2721812.9456 | 1202596.188 | 2721815.7741 | 1202603.44 | 2721816.2833 | 1202604.838
2 | 2721806.675 | 1202558.0317 | 2721808.2687 | 1202566.1035 | 2721807.7224 | 1202582.8049
3 | 2721714.4381 | 1202623.9343 | 2721721.4708 | 1202605.6973 | 2721723.7851 | 1202599.7178 | 2721728.9691 | 1202586.2801 | 2721743.4274 | 1202586.9196 | 2721753.0288 | 1202586.8152 | 2721764.7857 | 1202585.9097 | 2721807.7224 | 1202582.8049
4 | 2721750.4988 | 1202500.7216 | 2721752.6455 | 1202513.7862 | 2721764.4026 | 1202519.5968 | 2721796.3302 | 1202544.5663 | 2721799.8066 | 1202548.0509 | 2721802.9503 | 1202551.7955 | 2721804.9252 | 1202554.9937 | 2721806.675 | 1202558.0317
5 | 2721806.675 | 1202558.0317 | 2721818.8643 | 1202552.708
6 | 2721714.4381 | 1202623.9343 | 2721725.813 | 1202632.0499 | 2721733.7003 | 1202641.1564
7 | 2721750.4988 | 1202500.7216 | 2721747.6346 | 1202493.3466 | 2721742.3751 | 1202484.7219 | 2721725.9389 | 1202466.8292 | 2721722.7794 | 1202463.4423
8 | 2721874.4519 | 1202577.2839 | 2721869.5969 | 1202575.7059 | 2721854.3195 | 1202574.1709 | 2721851.3727 | 1202573.4658 | 2721849.0072 | 1202572.25 | 2721845.0654 | 1202568.4445 | 2721835.2017 | 1202556.0341 | 2721832.0877 | 1202553.4464 | 2721828.379 | 1202552.0253 | 2721824.3161 | 1202551.5421 | 2721820.1013 | 1202552.1677 | 2721818.8643 | 1202552.708
9 | 2721705.8527 | 1202445.297 | 2721722.7794 | 1202463.4423
10 | 2721874.4519 | 1202577.2839 | 2721876.9615 | 1202594.5591 | 2721879.0955 | 1202600.2628
11 | 2721704.6133 | 1202443.9684 | 2721705.8527 | 1202445.297
12 | 2721881.8114 | 1202606.9906 | 2721880.8812 | 1202605.0357 | 2721879.0955 | 1202600.2628
13 | 2721883.0345 | 1202609.5608 | 2721881.8114 | 1202606.9906
14 | 2721883.0345 | 1202609.5608 | 2721882.075 | 1202621.5057 | 2721883.109 | 1202630.8894 | 2721886.0446 | 1202643.7047
15 | 2721908.2632 | 1202634.4831 | 2721892.0612 | 1202621.1981 | 2721885.5818 | 1202613.4268 | 2721883.0345 | 1202609.5608
16 | 2721888.7718 | 1202655.6102 | 2721886.0446 | 1202643.7047
17 | 2721908.2632 | 1202634.4831 | 2721917.9292 | 1202642.3974 | 2721934.4482 | 1202640.155 | 2721944.4158 | 1202638.1459
18 | 2721908.2632 | 1202634.4831 | 2721911.3424 | 1202619.3628
19 | 2721944.4158 | 1202638.1459 | 2721956.3213 | 1202641.5136 | 2721959.8299 | 1202644.532 | 2721961.1645 | 1202646.6497
20 | 2721947.8968 | 1202632.8241 | 2721944.4158 | 1202638.1459
21 | 2721745.9023 | 1202439.4267 | 2721760.5205 | 1202446.1613
22 | 2721745.9023 | 1202439.4267 | 2721737.1016 | 1202434.5993 | 2721723.7232 | 1202425.3965
23 | 2721745.9023 | 1202439.4267 | 2721764.4471 | 1202402.5445
24 | 2721761.4085 | 1202355.8581 | 2721768.8835 | 1202351.1721
25 | 2721770.4616 | 1202350.1828 | 2721768.8835 | 1202351.1721
26 | 2721761.4085 | 1202355.8581 | 2721752.6863 | 1202350.5319
27 | 2721761.4085 | 1202355.8581 | 2721760.6417 | 1202360.9796 | 2721765.0935 | 1202366.7647
28 | 2721752.6863 | 1202350.5319 | 2721750.916 | 1202353.4325
29 | 2721750.916 | 1202353.4325 | 2721747.0914 | 1202359.699
30 | 2721742.1579 | 1202367.7824 | 2721747.0914 | 1202359.699
31 | 2721742.1579 | 1202367.7824 | 2721734.997 | 1202379.5153 | 2721730.1521 | 1202389.8234
32 | 2721719.6108 | 1202399.35 | 2721727.7394 | 1202394.9567 | 2721730.1521 | 1202389.8234
33 | 2721719.6108 | 1202399.35 | 2721732.8475 | 1202406.1581 | 2721735.404 | 1202407.6828
34 | 2721702.8264 | 1202412.3399 | 2721707.282 | 1202408.1276 | 2721715.8772 | 1202401.0085 | 2721719.6108 | 1202399.35
35 | 2721675.9356 | 1202413.2262 | 2721665.3271 | 1202419.0256 | 2721653.2277 | 1202421.7813
36 | 2721675.9356 | 1202413.2262 | 2721697.1303 | 1202435.9467
37 | 2721675.9356 | 1202413.2262 | 2721670.9665 | 1202407.8988 | 2721676.4478 | 1202407.1432 | 2721686.063 | 1202408.6179 | 2721691.3626 | 1202397.7289
38 | 2721697.1303 | 1202435.9467 | 2721704.6133 | 1202443.9684
39 | 2721691.3626 | 1202397.7289 | 2721687.382 | 1202393.9561
40 | 2721702.8264 | 1202412.3399 | 2721686.063 | 1202408.6179 | 2721691.3626 | 1202397.7289
41 | 2721691.3626 | 1202397.7289 | 2721697.1808 | 1202400.7634
42 | 2721687.382 | 1202393.9561 | 2721685.647 | 1202390.1846 | 2721685.7849 | 1202388.2749 | 2721687.4791 | 1202379.5725
43 | 2721702.8264 | 1202412.3399 | 2721708.9489 | 1202415.2335 | 2721723.7232 | 1202425.3965
44 | 2721735.404 | 1202407.6828 | 2721738.1513 | 1202409.3213
45 | 2721768.0834 | 1202394.0004 | 2721765.2942 | 1202400.8598 | 2721764.4471 | 1202402.5445

## bus_geodata
| x | y | coords
0 | 2721816.2833 | 1202604.838
1 | 2721838.9877 | 1202651.5281
2 | 2721807.7224 | 1202582.8049
3 | 2721806.675 | 1202558.0317
4 | 2721714.4381 | 1202623.9343
5 | 2721750.4988 | 1202500.7216
6 | 2721818.8643 | 1202552.708
7 | 2721722.7794 | 1202463.4423
8 | 2721733.7003 | 1202641.1564
9 | 2721874.4519 | 1202577.2839
10 | 2721705.8527 | 1202445.297
11 | 2721879.0955 | 1202600.2628
12 | 2721881.8114 | 1202606.9906
13 | 2721883.0345 | 1202609.5608
14 | 2721886.0446 | 1202643.7047
15 | 2721908.2632 | 1202634.4831
16 | 2721888.7718 | 1202655.6102
17 | 2721944.4158 | 1202638.1459
18 | 2721911.3424 | 1202619.3628
19 | 2721760.5205 | 1202446.1613
20 | 2721745.9023 | 1202439.4267
21 | 2721961.1645 | 1202646.6497
22 | 2721947.8968 | 1202632.8241
23 | 2721768.8835 | 1202351.1721
24 | 2721761.4085 | 1202355.8581
25 | 2721770.4616 | 1202350.1828
26 | 2721752.6863 | 1202350.5319
27 | 2721765.0935 | 1202366.7647
28 | 2721750.916 | 1202353.4325
29 | 2721747.0914 | 1202359.699
30 | 2721742.1579 | 1202367.7824
31 | 2721730.1521 | 1202389.8234
32 | 2721719.6108 | 1202399.35
33 | 2721675.9356 | 1202413.2262
34 | 2721653.2277 | 1202421.7813
35 | 2721697.1303 | 1202435.9467
36 | 2721691.3626 | 1202397.7289
37 | 2721687.4791 | 1202379.5725
38 | 2721687.382 | 1202393.9561
39 | 2721697.1808 | 1202400.7634
40 | 2721702.8264 | 1202412.3399
41 | 2721723.7232 | 1202425.3965
42 | 2721735.404 | 1202407.6828
43 | 2721704.6133 | 1202443.9684
44 | 2721738.1513 | 1202409.3213
45 | 2721764.4471 | 1202402.5445
46 | 2721768.0834 | 1202394.0004
47 | 2721775.7309 | 1202452.3776

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.973 | -0.19023 | 0.0021894 | 0.00054872
1 | 0.97202 | -0.19724 | 0.012757 | 0.0031972
2 | 0.97352 | -0.18651 | 0 | 0
3 | 0.97409 | -0.18236 | 0 | 0
4 | 0.97337 | -0.18757 | 0 | 0
5 | 0.97827 | -0.15246 | 0 | 0
6 | 0.97374 | -0.18491 | 0.012692 | 0.0031809
7 | 0.9806 | -0.13584 | 0.0085418 | 0.0021408
8 | 0.97334 | -0.1878 | 0.00083735 | 0.00020986
9 | 0.97322 | -0.18869 | 0 | 0
10 | 0.98215 | -0.1249 | 0.0077993 | 0.0019547
11 | 0.97303 | -0.19005 | 0.0035156 | 0.00088108
12 | 0.97301 | -0.1902 | 0.00030292 | 7.5919e-05
13 | 0.973 | -0.19025 | 0 | 0
14 | 0.97296 | -0.19054 | 0.00039313 | 9.8529e-05
15 | 0.97295 | -0.19059 | 0 | 0
16 | 0.97295 | -0.19059 | 0.00038648 | 9.6862e-05
17 | 0.97292 | -0.19083 | 0 | 0
18 | 0.97295 | -0.19064 | 0.00030421 | 7.6243e-05
19 | 0.99976 | -0.0016676 | 0.010378 | 0.002601
20 | 1 | 0 | -0.19445 | -0.048844
21 | 0.97291 | -0.19089 | 0.00030246 | 7.5804e-05
22 | 0.97292 | -0.19085 | 0.00027533 | 6.9004e-05
23 | 0.98908 | -0.076344 | 0.0035126 | 0.00088035
24 | 0.98926 | -0.075031 | 0 | 0
25 | 0.98905 | -0.076555 | 0.011085 | 0.0027781
26 | 0.98954 | -0.073077 | 0 | 0
27 | 0.98919 | -0.075564 | 0.0041908 | 0.0010503
28 | 0.98963 | -0.072426 | 0.0041337 | 0.001036
29 | 0.98987 | -0.070712 | 0.0063399 | 0.0015889
30 | 0.99027 | -0.06789 | 0.0043597 | 0.0010926
31 | 0.99149 | -0.059298 | 0.0043985 | 0.0011024
32 | 0.99231 | -0.053546 | 0 | 0
33 | 0.98624 | -0.095948 | 0 | 0
34 | 0.9858 | -0.099074 | 0.01246 | 0.0031228
35 | 0.98319 | -0.11754 | 0.01093 | 0.0027393
36 | 0.99027 | -0.067624 | 0 | 0
37 | 0.99018 | -0.068295 | 0.003233 | 0.00081028
38 | 0.99025 | -0.067804 | 0 | 0
39 | 0.99019 | -0.068222 | 0.0089646 | 0.0022467
40 | 0.9942 | -0.040261 | 0 | 0
41 | 0.99694 | -0.021142 | 0.0070263 | 0.001761
42 | 0.9917 | -0.057803 | 0.017834 | 0.0044697
43 | 0.98228 | -0.12395 | 0.0062206 | 0.001559
44 | 0.99168 | -0.057986 | 0.0056645 | 0.0014197
45 | 0.99881 | -0.0083357 | 0.012912 | 0.003236
46 | 0.99871 | -0.0090136 | 0.0072933 | 0.0018279
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012769 | 0.0032013 | -0.012757 | -0.0031972 | 1.2391e-05 | 4.1198e-06 | 0.019529 | 0.019529 | 0.019529 | 0.973 | -0.19023 | 0.97202 | -0.19724 | 7.2329
1 | -0.014959 | -0.00375 | 0.014966 | 0.0037527 | 7.7196e-06 | 2.6753e-06 | 0.022877 | 0.022877 | 0.022877 | 0.973 | -0.19023 | 0.97352 | -0.18651 | 8.473
2 | -0.015804 | -0.0039608 | 0.015813 | 0.003964 | 9.0819e-06 | 3.1827e-06 | 0.024156 | 0.024156 | 0.024156 | 0.97352 | -0.18651 | 0.97409 | -0.18236 | 8.9468
3 | 0.0008375 | 0.00020811 | -0.00083738 | -0.00020955 | 1.2189e-07 | -1.4359e-06 | 0.0012795 | 0.00128 | 0.00128 | 0.97352 | -0.18651 | 0.97337 | -0.18757 | 0.47408
4 | -0.033995 | -0.0085189 | 0.034137 | 0.0085722 | 0.00014129 | 5.3293e-05 | 0.051931 | 0.05193 | 0.051931 | 0.97409 | -0.18236 | 0.97827 | -0.15246 | 19.2336
5 | 0.018182 | 0.0045549 | -0.018176 | -0.0045526 | 6.4028e-06 | 2.2971e-06 | 0.027774 | 0.027775 | 0.027775 | 0.97409 | -0.18236 | 0.97374 | -0.18491 | 10.2869
6 | 0.00083738 | 0.00020955 | -0.00083735 | -0.00020986 | 2.6605e-08 | -3.1319e-07 | 0.00128 | 0.0012801 | 0.0012801 | 0.97337 | -0.18757 | 0.97334 | -0.1878 | 0.47412
7 | -0.034137 | -0.0085722 | 0.034216 | 0.008602 | 7.8991e-05 | 2.9791e-05 | 0.05193 | 0.05193 | 0.05193 | 0.97827 | -0.15246 | 0.9806 | -0.13584 | 19.2335
8 | 0.0054841 | 0.0013717 | -0.0054813 | -0.0013715 | 2.857e-06 | 2.8821e-07 | 0.0083796 | 0.0083799 | 0.0083799 | 0.97374 | -0.18491 | 0.97322 | -0.18869 | 3.1037
9 | -0.042758 | -0.010743 | 0.042823 | 0.010768 | 6.5204e-05 | 2.4765e-05 | 0.064892 | 0.064892 | 0.064892 | 0.9806 | -0.13584 | 0.98215 | -0.1249 | 24.034
10 | 0.0054813 | 0.0013715 | -0.0054802 | -0.0013713 | 1.0318e-06 | 1.0431e-07 | 0.0083799 | 0.00838 | 0.00838 | 0.97322 | -0.18869 | 0.97303 | -0.19005 | 3.1037
11 | -0.050622 | -0.012722 | 0.050629 | 0.012725 | 6.6713e-06 | 2.5429e-06 | 0.076708 | 0.076708 | 0.076708 | 0.98215 | -0.1249 | 0.98228 | -0.12395 | 28.4104
12 | 0.0019647 | 0.00049027 | -0.0019647 | -0.00049034 | 4.088e-08 | -7.4463e-08 | 0.0030038 | 0.0030038 | 0.0030038 | 0.97303 | -0.19005 | 0.97301 | -0.1902 | 1.1125
13 | 0.0016617 | 0.00041442 | -0.0016617 | -0.00041446 | 1.1464e-08 | -3.0945e-08 | 0.0025406 | 0.0025406 | 0.0025406 | 0.97301 | -0.1902 | 0.973 | -0.19025 | 0.94095
14 | 0.00077965 | 0.00019482 | -0.00077962 | -0.00019524 | 3.0662e-08 | -4.1758e-07 | 0.0011921 | 0.0011923 | 0.0011923 | 0.973 | -0.19025 | 0.97296 | -0.19054 | 0.44158
15 | 0.00088207 | 0.00021963 | -0.00088203 | -0.00022006 | 4.0453e-08 | -4.2719e-07 | 0.0013484 | 0.0013486 | 0.0013486 | 0.973 | -0.19025 | 0.97295 | -0.19059 | 0.49948
16 | 0.00038649 | 9.6712e-05 | -0.00038648 | -9.6862e-05 | 2.6625e-09 | -1.5066e-07 | 0.00059103 | 0.00059108 | 0.00059108 | 0.97296 | -0.19054 | 0.97295 | -0.19059 | 0.21892
17 | 0.00057781 | 0.00014401 | -0.0005778 | -0.00014449 | 1.9157e-08 | -4.8108e-07 | 0.00088341 | 0.00088359 | 0.00088359 | 0.97295 | -0.19059 | 0.97292 | -0.19083 | 0.32725
18 | 0.00030421 | 7.6052e-05 | -0.00030421 | -7.6243e-05 | 2.084e-09 | -1.9083e-07 | 0.00046519 | 0.00046526 | 0.00046526 | 0.97295 | -0.19059 | 0.97295 | -0.19064 | 0.17232
19 | 0.00030247 | 7.5564e-05 | -0.00030246 | -7.5804e-05 | 2.5983e-09 | -2.4067e-07 | 0.00046251 | 0.0004626 | 0.0004626 | 0.97292 | -0.19083 | 0.97291 | -0.19089 | 0.17133
20 | 0.00027533 | 6.8925e-05 | -0.00027533 | -6.9004e-05 | 7.0314e-10 | -7.8648e-08 | 0.00042107 | 0.0004211 | 0.0004211 | 0.97292 | -0.19083 | 0.97292 | -0.19085 | 0.15596
21 | -0.010378 | -0.002601 | 0.01038 | 0.0026017 | 2.3962e-06 | 7.1052e-07 | 0.015446 | 0.015446 | 0.015446 | 0.99976 | -0.0016676 | 1 | 0 | 5.7209
22 | 0.16304 | 0.04117 | -0.16256 | -0.040985 | 0.00048297 | 0.00018507 | 0.24272 | 0.24272 | 0.24272 | 1 | 0 | 0.99694 | -0.021142 | 44.9482
23 | 0.020229 | 0.0050724 | -0.020206 | -0.005064 | 2.3342e-05 | 8.4367e-06 | 0.030102 | 0.030102 | 0.030102 | 1 | 0 | 0.99881 | -0.0083357 | 11.1489
24 | -0.014598 | -0.0036585 | 0.0146 | 0.0036594 | 2.6551e-06 | 9.0795e-07 | 0.021961 | 0.021961 | 0.021961 | 0.98908 | -0.076344 | 0.98926 | -0.075031 | 8.1338
25 | 0.011085 | 0.0027782 | -0.011085 | -0.0027781 | 3.2324e-07 | 1.0042e-07 | 0.016677 | 0.016677 | 0.016677 | 0.98908 | -0.076344 | 0.98905 | -0.076555 | 6.1766
26 | -0.018791 | -0.0047097 | 0.018796 | 0.0047115 | 5.084e-06 | 1.8244e-06 | 0.028265 | 0.028265 | 0.028265 | 0.98926 | -0.075031 | 0.98954 | -0.073077 | 10.4686
27 | 0.0041911 | 0.0010503 | -0.0041908 | -0.0010503 | 3.0945e-07 | -4.1179e-08 | 0.0063041 | 0.0063042 | 0.0063042 | 0.98926 | -0.075031 | 0.98919 | -0.075564 | 2.3349
28 | -0.018796 | -0.0047115 | 0.018798 | 0.0047121 | 1.6941e-06 | 6.0791e-07 | 0.028265 | 0.028265 | 0.028265 | 0.98954 | -0.073077 | 0.98963 | -0.072426 | 10.4686
29 | -0.022932 | -0.0057481 | 0.022937 | 0.0057501 | 5.4465e-06 | 2.0004e-06 | 0.034481 | 0.034481 | 0.034481 | 0.98963 | -0.072426 | 0.98987 | -0.070712 | 12.7706
30 | -0.029277 | -0.0073391 | 0.029289 | 0.0073433 | 1.1446e-05 | 4.2806e-06 | 0.044011 | 0.044011 | 0.044011 | 0.98987 | -0.070712 | 0.99027 | -0.06789 | 16.3004
31 | -0.033648 | -0.008436 | 0.033688 | 0.0084511 | 4.0098e-05 | 1.5098e-05 | 0.050562 | 0.050562 | 0.050562 | 0.99027 | -0.06789 | 0.99149 | -0.059298 | 18.7267
32 | -0.038087 | -0.0095535 | 0.038117 | 0.009565 | 3.0405e-05 | 1.1502e-05 | 0.057163 | 0.057163 | 0.057163 | 0.99149 | -0.059298 | 0.99231 | -0.053546 | 21.1715
33 | 0.023513 | 0.0058945 | -0.023499 | -0.0058894 | 1.3856e-05 | 5.0988e-06 | 0.035259 | 0.035259 | 0.035259 | 0.99231 | -0.053546 | 0.9917 | -0.057803 | 13.059
34 | -0.06163 | -0.015459 | 0.061744 | 0.015503 | 0.00011376 | 4.3476e-05 | 0.092422 | 0.092422 | 0.092422 | 0.99231 | -0.053546 | 0.9942 | -0.040261 | 34.2305
35 | 0.012466 | 0.0031246 | -0.01246 | -0.0031228 | 5.3945e-06 | 1.7631e-06 | 0.018808 | 0.018808 | 0.018808 | 0.98624 | -0.095948 | 0.9858 | -0.099074 | 6.9659
36 | 0.068034 | 0.017121 | -0.06783 | -0.017042 | 0.00020439 | 7.8217e-05 | 0.10267 | 0.10267 | 0.10267 | 0.98624 | -0.095948 | 0.98319 | -0.11754 | 38.0272
37 | -0.0805 | -0.020245 | 0.080819 | 0.020368 | 0.00031914 | 0.0001223 | 0.12148 | 0.12148 | 0.12148 | 0.98624 | -0.095948 | 0.99027 | -0.067624 | 44.9931
38 | 0.0569 | 0.014303 | -0.056849 | -0.014284 | 5.0783e-05 | 1.9393e-05 | 0.086131 | 0.086132 | 0.086132 | 0.98319 | -0.11754 | 0.98228 | -0.12395 | 31.9006
39 | 0.0032333 | 0.00081013 | -0.0032333 | -0.00081017 | 8.0657e-08 | -3.9427e-08 | 0.0048584 | 0.0048585 | 0.0048585 | 0.99027 | -0.067624 | 0.99025 | -0.067804 | 1.7994
40 | -0.093018 | -0.023425 | 0.093375 | 0.023562 | 0.00035716 | 0.00013699 | 0.13981 | 0.13981 | 0.13981 | 0.99027 | -0.067624 | 0.9942 | -0.040261 | 51.7819
41 | 0.0089653 | 0.0022469 | -0.0089646 | -0.0022467 | 7.4311e-07 | 2.014e-07 | 0.013472 | 0.013472 | 0.013472 | 0.99027 | -0.067624 | 0.99019 | -0.068222 | 4.9895
42 | -0.003233 | -0.00081028 | 0.0032333 | 0.00081017 | 2.1994e-07 | -1.0749e-07 | 0.0048585 | 0.0048585 | 0.0048585 | 0.99018 | -0.068295 | 0.99025 | -0.067804 | 1.7995
43 | -0.15512 | -0.039065 | 0.15553 | 0.039224 | 0.00041569 | 0.00015924 | 0.23223 | 0.23223 | 0.23223 | 0.9942 | -0.040261 | 0.99694 | -0.021142 | 43.0061
44 | 0.0056647 | 0.0014197 | -0.0056645 | -0.0014197 | 1.442e-07 | 1.4191e-08 | 0.0084996 | 0.0084997 | 0.0084997 | 0.9917 | -0.057803 | 0.99168 | -0.057986 | 3.148
45 | 0.0072939 | 0.001828 | -0.0072933 | -0.0018279 | 6.8454e-07 | 1.417e-07 | 0.010866 | 0.010866 | 0.010866 | 0.99881 | -0.0083357 | 0.99871 | -0.0090136 | 4.0246

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20853 | 0.052372

## res_load
| p_mw | q_mvar
0 | 0.0021894 | 0.00054872
1 | 0.012757 | 0.0031972
2 | 0.012692 | 0.0031809
3 | 0.0085418 | 0.0021408
4 | 0.00083735 | 0.00020986
5 | 0.0077993 | 0.0019547
6 | 0.0035156 | 0.00088108
7 | 0.00030292 | 7.5919e-05
8 | 0.00039313 | 9.8529e-05
9 | 0.00038648 | 9.6862e-05
10 | 0.00030421 | 7.6243e-05
11 | 0.010378 | 0.002601
12 | 0.014077 | 0.0035281
13 | 0.00030246 | 7.5804e-05
14 | 0.00027533 | 6.9004e-05
15 | 0.0035126 | 0.00088035
16 | 0.011085 | 0.0027781
17 | 0.0041908 | 0.0010503
18 | 0.0041337 | 0.001036
19 | 0.0063399 | 0.0015889
20 | 0.0043597 | 0.0010926
21 | 0.0043985 | 0.0011024
22 | 0.01246 | 0.0031228
23 | 0.01093 | 0.0027393
24 | 0.003233 | 0.00081028
25 | 0.0089646 | 0.0022467
26 | 0.0070263 | 0.001761
27 | 0.017834 | 0.0044697
28 | 0.0062206 | 0.001559
29 | 0.0056645 | 0.0014197
30 | 0.012912 | 0.003236
31 | 0.0072933 | 0.0018279

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1