## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-116_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-116_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-116_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-116_0_3_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_1631-116_0_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_1631-116_0_3_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_1631-116_0_3_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_1631-116_0_3_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1631-116_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_1631-116_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1631-116_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1631-116_0_3_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_1631-116_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_1631-116_0_3_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1631-116_0_3_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_1631-116_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_1631-116_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1631-116_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1631-116_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1631-116_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1631-116_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1631-116_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1631-116_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1631-116_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1631-116_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1631-116_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1631-116_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1631-116_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1631-116_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1631-116_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_MV_13_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-116_0_3_load_0 | 0 | 0.0014801 | 0.00037095 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-116_0_3_load_29 | 5 | 0.084271 | 0.02112 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-116_0_3_load_31 | 6 | 0.0030225 | 0.0007575 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-116_0_3_load_26 | 7 | 0.0030657 | 0.00076835 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-116_0_3_load_23 | 8 | 0.014664 | 0.0036752 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-116_0_3_load_6 | 10 | 0.0040651 | 0.0010188 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-116_0_3_load_4 | 11 | 0.0035744 | 0.00089584 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-116_0_3_load_27 | 12 | 0.0093024 | 0.0023314 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-116_0_3_load_25 | 13 | 0.0059134 | 0.001482 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-116_0_3_load_21 | 14 | 0.0040442 | 0.0010136 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-116_0_3_load_20 | 15 | 0.0045453 | 0.0011392 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-116_0_3_load_7 | 16 | 0.006849 | 0.0017165 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-116_0_3_load_11 | 18 | 0.0069321 | 0.0017374 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-116_0_3_load_13 | 20 | 0.0077137 | 0.0019332 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-116_0_3_load_18 | 21 | 0.0077779 | 0.0019493 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-116_0_3_load_15 | 22 | 0.0080146 | 0.0020087 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-116_0_3_load_14 | 23 | 0.018228 | 0.0045683 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-116_0_3_load_19 | 24 | 0.0034624 | 0.00086776 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-116_0_3_load_16 | 25 | 0.010729 | 0.002689 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-116_0_3_load_17 | 26 | 0.01033 | 0.0025889 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-116_0_3_load_22 | 27 | 0.0069088 | 0.0017315 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-116_0_3_load_30 | 28 | 0.0072715 | 0.0018224 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-116_0_3_load_24 | 29 | 0.0040552 | 0.0010163 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-116_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-116_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.11858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-116_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.013084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1631-116_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1631-116_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.045527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-116_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.01405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-116_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.012718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-116_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.009569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1631-116_0_3_line_8 | NAYY 4x150 SE | 6 | 28 | 0.0080351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-116_0_3_line_9 | NAYY 4x150 SE | 7 | 29 | 0.0015053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-116_0_3_line_10 | NAYY 4x150 SE | 8 | 23 | 0.012463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-116_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.010594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-116_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.0070247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-116_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.015364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-116_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.014141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-116_0_3_line_15 | NAYY 4x150 SE | 13 | 29 | 0.002236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-116_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.010641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-116_0_3_line_17 | NAYY 4x150 SE | 15 | 24 | 0.0096712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-116_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.011497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-116_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0076099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-116_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.010576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-116_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.001093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-116_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.012185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-116_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.0098996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-116_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.0094873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-116_0_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.015052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-116_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0040143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-116_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.011427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-116_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0051296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-116_0_3_trafo_23 | 0.25 MVA 20/0.4 kV | 30 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2721701.7468 | 1202598.2344 | 2721693.3653 | 1202598.6195 | 2721691.7829 | 1202598.9431 | 2721688.8199 | 1202601.2733 | 2721686.2497 | 1202608.7319
1 | 2721701.7468 | 1202598.2344 | 2721721.4708 | 1202605.6973 | 2721723.7851 | 1202599.7178 | 2721728.9691 | 1202586.2801 | 2721748.9709 | 1202535.3274 | 2721751.6008 | 1202525.8184 | 2721752.6455 | 1202513.7862
2 | 2721752.6455 | 1202513.7862 | 2721764.4026 | 1202519.5968
3 | 2721752.6455 | 1202513.7862 | 2721750.4988 | 1202500.7216
4 | 2721752.6455 | 1202513.7862 | 2721732.3911 | 1202507.3131 | 2721721.5796 | 1202511.874 | 2721718.9115 | 1202512.4312 | 2721713.7078 | 1202512.2695 | 2721709.3056 | 1202510.9447
5 | 2721764.4026 | 1202519.5968 | 2721770.8972 | 1202507.1376
6 | 2721764.4026 | 1202519.5968 | 2721774.421 | 1202527.4319
7 | 2721750.4988 | 1202500.7216 | 2721756.1748 | 1202493.0178
8 | 2721774.6113 | 1202500.0125 | 2721770.8972 | 1202507.1376
9 | 2721774.421 | 1202527.4319 | 2721775.6068 | 1202528.3592
10 | 2721763.2129 | 1202482.7703 | 2721762.2506 | 1202484.7714 | 2721756.1748 | 1202493.0178
11 | 2721841.3653 | 1202493.124 | 2721838.2663 | 1202489.4247 | 2721834.4719 | 1202485.0797
12 | 2721841.3653 | 1202493.124 | 2721842.07 | 1202488.4348 | 2721841.7049 | 1202486.1813
13 | 2721823.1927 | 1202474.7536 | 2721824.0082 | 1202475.2344 | 2721830.4854 | 1202480.5149 | 2721834.4719 | 1202485.0797
14 | 2721788.5071 | 1202538.4481 | 2721777.3681 | 1202529.7367
15 | 2721777.3681 | 1202529.7367 | 2721775.6068 | 1202528.3592
16 | 2721814.0264 | 1202469.3487 | 2721823.1927 | 1202474.7536
17 | 2721814.0264 | 1202469.3487 | 2721808.6932 | 1202466.2043 | 2721805.5061 | 1202464.807
18 | 2721775.7309 | 1202452.3776 | 2721766.4084 | 1202448.8738 | 2721765.0121 | 1202448.2306
19 | 2721775.7309 | 1202452.3776 | 2721773.3395 | 1202459.602
20 | 2721785.6579 | 1202456.1049 | 2721775.7309 | 1202452.3776
21 | 2721772.996 | 1202460.6396 | 2721773.3395 | 1202459.602
22 | 2721785.6579 | 1202456.1049 | 2721796.8172 | 1202460.9975
23 | 2721785.6579 | 1202456.1049 | 2721781.9934 | 1202465.3013
24 | 2721796.8172 | 1202460.9975 | 2721805.5061 | 1202464.807
25 | 2721781.9934 | 1202465.3013 | 2721781.7024 | 1202466.0317 | 2721780.8387 | 1202474.4092 | 2721779.5722 | 1202480.1141
26 | 2721778.7022 | 1202484.0329 | 2721779.5722 | 1202480.1141
27 | 2721778.7022 | 1202484.0329 | 2721776.2256 | 1202495.188
28 | 2721776.2256 | 1202495.188 | 2721775.5576 | 1202498.1971 | 2721774.6113 | 1202500.0125

## bus_geodata
| x | y | coords
0 | 2721686.2498 | 1202608.7319
1 | 2721701.7468 | 1202598.2344
2 | 2721752.6455 | 1202513.7862
3 | 2721764.4026 | 1202519.5968
4 | 2721750.4988 | 1202500.7216
5 | 2721709.3056 | 1202510.9447
6 | 2721770.8972 | 1202507.1376
7 | 2721774.421 | 1202527.4319
8 | 2721756.1748 | 1202493.0178
9 | 2721841.3653 | 1202493.124
10 | 2721834.4719 | 1202485.0797
11 | 2721841.7049 | 1202486.1813
12 | 2721788.5071 | 1202538.4481
13 | 2721777.3681 | 1202529.7367
14 | 2721823.1927 | 1202474.7536
15 | 2721814.0264 | 1202469.3487
16 | 2721765.0122 | 1202448.2306
17 | 2721775.7309 | 1202452.3776
18 | 2721773.3395 | 1202459.602
19 | 2721785.6579 | 1202456.1049
20 | 2721772.996 | 1202460.6396
21 | 2721796.8172 | 1202460.9975
22 | 2721781.9934 | 1202465.3013
23 | 2721763.2129 | 1202482.7703
24 | 2721805.5061 | 1202464.807
25 | 2721779.5722 | 1202480.1141
26 | 2721778.7022 | 1202484.0329
27 | 2721776.2256 | 1202495.188
28 | 2721774.6113 | 1202500.0125
29 | 2721775.6068 | 1202528.3592
30 | 2721750.4988 | 1202500.7216

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99637 | -0.025322 | 0.0014801 | 0.00037095
1 | 0.99641 | -0.025 | 0 | 0
2 | 0.99666 | -0.023226 | 0 | 0
3 | 0.99556 | -0.030965 | 0 | 0
4 | 0.9986 | -0.0097248 | 0 | 0
5 | 0.99115 | -0.061989 | 0.084271 | 0.02112
6 | 0.99363 | -0.044468 | 0.0030225 | 0.0007575
7 | 0.99515 | -0.033827 | 0.0030657 | 0.00076835
8 | 1 | 0 | -0.22421 | -0.056235
9 | 0.98693 | -0.091707 | 0 | 0
10 | 0.98699 | -0.091318 | 0.0040651 | 0.0010188
11 | 0.9869 | -0.091964 | 0.0035744 | 0.00089584
12 | 0.99487 | -0.035788 | 0.0093024 | 0.0023314
13 | 0.99506 | -0.034462 | 0.0059134 | 0.001482
14 | 0.98716 | -0.090116 | 0.0040442 | 0.0010136
15 | 0.98734 | -0.088842 | 0.0045453 | 0.0011392
16 | 0.98788 | -0.08503 | 0.006849 | 0.0017165
17 | 0.98799 | -0.084225 | 0 | 0
18 | 0.98783 | -0.085365 | 0.0069321 | 0.0017374
19 | 0.98832 | -0.081901 | 0 | 0
20 | 0.98782 | -0.085451 | 0.0077137 | 0.0019332
21 | 0.98783 | -0.085323 | 0.0077779 | 0.0019493
22 | 0.98902 | -0.076951 | 0.0080146 | 0.0020087
23 | 0.99968 | -0.0022681 | 0.018228 | 0.0045683
24 | 0.98756 | -0.087235 | 0.0034624 | 0.00086776
25 | 0.99025 | -0.068209 | 0.010729 | 0.002689
26 | 0.99065 | -0.065444 | 0.01033 | 0.0025889
27 | 0.99193 | -0.056385 | 0.0069088 | 0.0017315
28 | 0.99256 | -0.051967 | 0.0072715 | 0.0018224
29 | 0.99511 | -0.034119 | 0.0040552 | 0.0010163
30 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0014801 | -0.00037095 | 0.0014802 | 0.0003707 | 6.605e-08 | -2.5676e-07 | 0.0022105 | 0.0022104 | 0.0022105 | 0.99637 | -0.025322 | 0.99641 | -0.025 | 0.81869
1 | -0.0014802 | -0.0003707 | 0.0014805 | 0.00036929 | 3.6144e-07 | -1.406e-06 | 0.0022104 | 0.0022098 | 0.0022104 | 0.99641 | -0.025 | 0.99666 | -0.023226 | 0.81866
2 | 0.11831 | 0.029746 | -0.11818 | -0.029697 | 0.00012741 | 4.8664e-05 | 0.17667 | 0.17667 | 0.17667 | 0.99666 | -0.023226 | 0.99556 | -0.030965 | 32.7164
3 | -0.20452 | -0.05141 | 0.2049 | 0.051558 | 0.0003853 | 0.00014785 | 0.30539 | 0.30539 | 0.30539 | 0.99666 | -0.023226 | 0.9986 | -0.0097248 | 56.5546
4 | 0.084726 | 0.021295 | -0.084271 | -0.02112 | 0.00045473 | 0.0001743 | 0.12652 | 0.12652 | 0.12652 | 0.99666 | -0.023226 | 0.99115 | -0.061989 | 46.8582
5 | 0.095833 | 0.024095 | -0.095653 | -0.024026 | 0.00017995 | 6.9028e-05 | 0.14326 | 0.14326 | 0.14326 | 0.99556 | -0.030965 | 0.99363 | -0.044468 | 53.0608
6 | 0.022349 | 0.0056024 | -0.02234 | -0.0055991 | 8.8556e-06 | 3.2407e-06 | 0.033404 | 0.033404 | 0.033404 | 0.99556 | -0.030965 | 0.99515 | -0.033827 | 12.372
7 | -0.2049 | -0.051558 | 0.20518 | 0.051665 | 0.00027845 | 0.00010684 | 0.30539 | 0.30539 | 0.30539 | 0.9986 | -0.0097248 | 1 | 0 | 56.5546
8 | 0.09263 | 0.023268 | -0.092534 | -0.023231 | 9.6508e-05 | 3.7014e-05 | 0.13874 | 0.13874 | 0.13874 | 0.99363 | -0.044468 | 0.99256 | -0.051967 | 51.3844
9 | 0.019274 | 0.0048308 | -0.019273 | -0.0048305 | 7.8019e-07 | 2.8052e-07 | 0.02882 | 0.02882 | 0.02882 | 0.99515 | -0.033827 | 0.99511 | -0.034119 | 10.6741
10 | 0.018233 | 0.0045703 | -0.018228 | -0.0045683 | 5.7251e-06 | 2.0385e-06 | 0.027132 | 0.027132 | 0.027132 | 1 | 0 | 0.99968 | -0.0022681 | 10.0489
11 | -0.0035746 | -0.0008958 | 0.0035748 | 0.00089574 | 1.9202e-07 | -6.1537e-08 | 0.0053894 | 0.0053894 | 0.0053894 | 0.98693 | -0.091707 | 0.98699 | -0.091318 | 1.9961
12 | 0.0035746 | 0.0008958 | -0.0035744 | -0.00089584 | 1.2732e-07 | -4.0794e-08 | 0.0053894 | 0.0053894 | 0.0053894 | 0.98693 | -0.091707 | 0.9869 | -0.091964 | 1.9961
13 | -0.0076399 | -0.0019146 | 0.0076411 | 0.0019148 | 1.2719e-06 | 2.928e-07 | 0.011518 | 0.011518 | 0.011518 | 0.98699 | -0.091318 | 0.98716 | -0.090116 | 4.2659
14 | -0.0093024 | -0.0023314 | 0.0093041 | 0.0023319 | 1.7082e-06 | 4.7334e-07 | 0.013914 | 0.013913 | 0.013914 | 0.99487 | -0.035788 | 0.99506 | -0.034462 | 5.1532
15 | -0.015217 | -0.0038139 | 0.015218 | 0.0038142 | 7.2255e-07 | 2.4886e-07 | 0.022756 | 0.022756 | 0.022756 | 0.99506 | -0.034462 | 0.99511 | -0.034119 | 8.4283
16 | -0.011685 | -0.0029284 | 0.011687 | 0.0029291 | 2.0601e-06 | 6.5628e-07 | 0.017614 | 0.017614 | 0.017614 | 0.98716 | -0.090116 | 0.98734 | -0.088842 | 6.5237
17 | -0.016233 | -0.0040682 | 0.016236 | 0.0040695 | 3.6118e-06 | 1.2654e-06 | 0.024464 | 0.024464 | 0.024464 | 0.98734 | -0.088842 | 0.98756 | -0.087235 | 9.0608
18 | -0.006849 | -0.0017165 | 0.0068497 | 0.0017167 | 7.635e-07 | 1.4645e-07 | 0.010316 | 0.010316 | 0.010316 | 0.98788 | -0.08503 | 0.98799 | -0.084225 | 3.8209
19 | 0.014648 | 0.0036714 | -0.014646 | -0.0036706 | 2.3112e-06 | 7.915e-07 | 0.022062 | 0.022062 | 0.022062 | 0.98799 | -0.084225 | 0.98783 | -0.085365 | 8.171
20 | -0.021498 | -0.0053881 | 0.021505 | 0.0053906 | 6.9185e-06 | 2.5255e-06 | 0.032378 | 0.032378 | 0.032378 | 0.98799 | -0.084225 | 0.98832 | -0.081901 | 11.9919
21 | 0.0077138 | 0.0019332 | -0.0077137 | -0.0019332 | 9.2087e-08 | 2.1426e-08 | 0.01162 | 0.01162 | 0.01162 | 0.98783 | -0.085365 | 0.98782 | -0.085451 | 4.3036
22 | 0.027495 | 0.0068933 | -0.027482 | -0.0068885 | 1.303e-05 | 4.8555e-06 | 0.041397 | 0.041397 | 0.041397 | 0.98832 | -0.081901 | 0.98783 | -0.085323 | 15.3324
23 | -0.049 | -0.012284 | 0.049033 | 0.012297 | 3.3622e-05 | 1.2805e-05 | 0.073776 | 0.073775 | 0.073776 | 0.98832 | -0.081901 | 0.98902 | -0.076951 | 27.3243
24 | 0.019704 | 0.0049391 | -0.019699 | -0.0049373 | 5.2154e-06 | 1.8845e-06 | 0.029681 | 0.029681 | 0.029681 | 0.98783 | -0.085323 | 0.98756 | -0.087235 | 10.993
25 | -0.057048 | -0.014305 | 0.057117 | 0.014332 | 6.9198e-05 | 2.6421e-05 | 0.085834 | 0.085834 | 0.085834 | 0.98902 | -0.076951 | 0.99025 | -0.068209 | 31.7903
26 | -0.067847 | -0.017021 | 0.067873 | 0.017031 | 2.6039e-05 | 9.9632e-06 | 0.10196 | 0.10196 | 0.10196 | 0.99025 | -0.068209 | 0.99065 | -0.065444 | 37.7616
27 | -0.078203 | -0.01962 | 0.078301 | 0.019657 | 9.8396e-05 | 3.7697e-05 | 0.11747 | 0.11747 | 0.11747 | 0.99065 | -0.065444 | 0.99193 | -0.056385 | 43.5084
28 | -0.08521 | -0.021389 | 0.085262 | 0.021409 | 5.231e-05 | 2.0053e-05 | 0.12784 | 0.12784 | 0.12784 | 0.99193 | -0.056385 | 0.99256 | -0.051967 | 47.3469

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23888 | 0.05991

## res_load
| p_mw | q_mvar
0 | 0.0014801 | 0.00037095
1 | 0.084271 | 0.02112
2 | 0.0030225 | 0.0007575
3 | 0.0030657 | 0.00076835
4 | 0.014664 | 0.0036752
5 | 0.0040651 | 0.0010188
6 | 0.0035744 | 0.00089584
7 | 0.0093024 | 0.0023314
8 | 0.0059134 | 0.001482
9 | 0.0040442 | 0.0010136
10 | 0.0045453 | 0.0011392
11 | 0.006849 | 0.0017165
12 | 0.0069321 | 0.0017374
13 | 0.0077137 | 0.0019332
14 | 0.0077779 | 0.0019493
15 | 0.0080146 | 0.0020087
16 | 0.018228 | 0.0045683
17 | 0.0034624 | 0.00086776
18 | 0.010729 | 0.002689
19 | 0.01033 | 0.0025889
20 | 0.0069088 | 0.0017315
21 | 0.0072715 | 0.0018224
22 | 0.0040552 | 0.0010163

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1