## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-118_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-118_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-118_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1631-118_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1631-118_0_2_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_1631-118_0_2_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_1631-118_0_2_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1631-118_0_2_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_1631-118_0_2_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_1631-118_0_2_node_21 | 0.4 | n |  | TRUE
10 | bus_LV_1631-118_0_2_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1631-118_0_2_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_1631-118_0_2_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_1631-118_0_2_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_1631-118_0_2_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1631-118_0_2_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1631-118_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1631-118_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1631-118_0_2_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_1631-118_0_2_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_1631-118_0_2_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1631-118_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1631-118_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1631-118_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1631-118_0_2_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1631-118_0_2_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1631-118_0_2_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1631-118_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1631-118_0_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_1631-118_0_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1631-118_0_2_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1631-118_0_2_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_1631-118_0_2_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_1631-118_0_2_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_1631-118_0_2_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1631-118_0_2_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1631-118_0_2_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1631-118_0_2_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1631-118_0_2_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_1631-118_0_2_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1631-118_0_2_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1631-118_0_2_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1631-118_0_2_node_42 | 0.4 | n |  | TRUE
43 | bus_MV_13_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-118_0_2_load_0 | 0 | 0.027769 | 0.0069595 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-118_0_2_load_43 | 5 | 0.006132 | 0.0015368 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-118_0_2_load_23 | 6 | 0.0099558 | 0.0024952 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-118_0_2_load_41 | 7 | 0.0072624 | 0.0018201 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-118_0_2_load_33 | 8 | 0.0046441 | 0.0011639 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-118_0_2_load_21 | 9 | 0.0047488 | 0.0011902 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-118_0_2_load_32 | 11 | 0.0039101 | 0.00097997 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-118_0_2_load_5 | 13 | 0.0057915 | 0.0014515 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-118_0_2_load_7 | 15 | 0.0045785 | 0.0011475 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-118_0_2_load_11 | 17 | 0.0038234 | 0.00095822 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-118_0_2_load_45 | 18 | 0.0052511 | 0.0013161 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-118_0_2_load_24 | 20 | 0.0086316 | 0.0021633 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-118_0_2_load_17 | 23 | 0.0038098 | 0.00095484 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-118_0_2_load_13 | 24 | 0.0080373 | 0.0020143 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-118_0_2_load_22 | 25 | 0.0067326 | 0.0016873 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-118_0_2_load_44 | 26 | 0.0057354 | 0.0014374 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-118_0_2_load_25 | 27 | 0.010258 | 0.0025709 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-118_0_2_load_31 | 29 | 0.0057943 | 0.0014522 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-118_0_2_load_27 | 30 | 0.010113 | 0.0025345 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-118_0_2_load_14 | 31 | 0.0031523 | 0.00079004 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-118_0_2_load_16 | 32 | 0.0027589 | 0.00069145 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-118_0_2_load_19 | 33 | 0.0030461 | 0.00076342 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-118_0_2_load_20 | 34 | 0.0030153 | 0.0007557 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-118_0_2_load_26 | 35 | 0.0047259 | 0.0011844 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-118_0_2_load_28 | 36 | 0.0050215 | 0.0012585 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-118_0_2_load_35 | 37 | 0.0047587 | 0.0011926 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-118_0_2_load_36 | 38 | 0.0043579 | 0.0010922 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-118_0_2_load_39 | 39 | 0.0069053 | 0.0017306 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-118_0_2_load_38 | 40 | 0.0032937 | 0.00082548 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-118_0_2_load_37 | 41 | 0.0043114 | 0.0010806 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-118_0_2_load_42 | 42 | 0.0073191 | 0.0018343 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-118_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-118_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.084824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-118_0_2_line_2 | NAYY 4x150 SE | 2 | 6 | 0.032678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-118_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.014326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-118_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.026513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-118_0_2_line_5 | NAYY 4x150 SE | 4 | 7 | 0.010332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1631-118_0_2_line_6 | NAYY 4x150 SE | 4 | 8 | 0.0055373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1631-118_0_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.02338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-118_0_2_line_8 | NAYY 4x150 SE | 7 | 42 | 0.049625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1631-118_0_2_line_9 | NAYY 4x150 SE | 8 | 12 | 0.027294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1631-118_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.023084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-118_0_2_line_11 | NAYY 4x150 SE | 10 | 25 | 0.0084652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-118_0_2_line_12 | NAYY 4x150 SE | 10 | 23 | 0.041945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-118_0_2_line_13 | NAYY 4x150 SE | 10 | 19 | 0.031765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-118_0_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.0095909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-118_0_2_line_15 | NAYY 4x150 SE | 12 | 36 | 0.020243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1631-118_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.013762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-118_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.0097583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1631-118_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.029753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1631-118_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.011379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1631-118_0_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.018234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1631-118_0_2_line_21 | NAYY 4x150 SE | 17 | 21 | 0.016866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1631-118_0_2_line_22 | NAYY 4x150 SE | 18 | 26 | 0.0071633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1631-118_0_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.024551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-118_0_2_line_24 | NAYY 4x150 SE | 20 | 27 | 0.020857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-118_0_2_line_25 | NAYY 4x150 SE | 21 | 28 | 0.024134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1631-118_0_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.0069531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-118_0_2_line_27 | NAYY 4x150 SE | 22 | 24 | 0.0091488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-118_0_2_line_28 | NAYY 4x150 SE | 24 | 31 | 0.0080943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-118_0_2_line_29 | NAYY 4x150 SE | 26 | 34 | 0.016087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-118_0_2_line_30 | NAYY 4x150 SE | 27 | 35 | 0.01192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-118_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.020122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-118_0_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.010928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1631-118_0_2_line_33 | NAYY 4x150 SE | 29 | 37 | 0.0065045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-118_0_2_line_34 | NAYY 4x150 SE | 30 | 36 | 0.010726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1631-118_0_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.0019845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-118_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.0031843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-118_0_2_line_37 | NAYY 4x150 SE | 33 | 34 | 0.0049502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-118_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.011506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-118_0_2_line_39 | NAYY 4x150 SE | 38 | 41 | 0.0062358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-118_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.0015929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-118_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0076011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-118_0_2_trafo_42 | 0.25 MVA 20/0.4 kV | 43 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2721875.6024 | 1203143.586 | 2721870.1318 | 1203126.3281 | 2721868.7875 | 1203117.0398
1 | 2721822.019 | 1203077.7772 | 2721825.1712 | 1203081.0884 | 2721849.9313 | 1203112.4724 | 2721869.8547 | 1203137.6643 | 2721875.6024 | 1203143.586
2 | 2721822.019 | 1203077.7772 | 2721805.0005 | 1203090.384 | 2721795.759 | 1203097.2268
3 | 2721741.8096 | 1203123.1092 | 2721755.6615 | 1203126.9166
4 | 2721755.6615 | 1203126.9166 | 2721776.9694 | 1203111.1393
5 | 2721741.8096 | 1203123.1092 | 2721743.8258 | 1203119.0473 | 2721742.8735 | 1203113.3288
6 | 2721741.8096 | 1203123.1092 | 2721736.5094 | 1203121.5064
7 | 2721776.9694 | 1203111.1393 | 2721795.759 | 1203097.2268
8 | 2721767.5315 | 1203076.7544 | 2721767.1115 | 1203079.8037 | 2721758.3523 | 1203086.797 | 2721742.4161 | 1203097.8472 | 2721740.9031 | 1203101.4968 | 2721742.8735 | 1203113.3288
9 | 2721710.384 | 1203113.6062 | 2721736.5094 | 1203121.5064
10 | 2721755.6582 | 1203025.1961 | 2721773.7508 | 1203039.5318
11 | 2721755.6582 | 1203025.1961 | 2721763.4974 | 1203022.0013
12 | 2721755.6582 | 1203025.1961 | 2721717.1727 | 1203041.8758
13 | 2721751.0948 | 1202999.2615 | 2721745.1842 | 1203002.4323 | 2721755.6582 | 1203025.1961
14 | 2721710.384 | 1203113.6062 | 2721712.8011 | 1203122.8876
15 | 2721710.384 | 1203113.6062 | 2721703.0694 | 1203111.7225 | 2721699.308 | 1203111.0342 | 2721696.4984 | 1203111.077 | 2721690.5274 | 1203112.0904
16 | 2721641.8463 | 1203062.1162 | 2721629.9978 | 1203069.1163
17 | 2721641.8463 | 1203062.1162 | 2721646.2147 | 1203070.8421
18 | 2721641.8463 | 1203062.1162 | 2721635.556 | 1203049.5565 | 2721650.0578 | 1203043.5251
19 | 2721646.2147 | 1203070.8421 | 2721651.3087 | 1203081.0175
20 | 2721650.0578 | 1203043.5251 | 2721657.6135 | 1203050.7621 | 2721664.6224 | 1203054.1184
21 | 2721658.8589 | 1203096.0991 | 2721651.3087 | 1203081.0175
22 | 2721671.0831 | 1203057.2121 | 2721664.6224 | 1203054.1184
23 | 2721751.0948 | 1202999.2615 | 2721773.4865 | 1202989.1945
24 | 2721773.4865 | 1202989.1945 | 2721792.5091 | 1202980.6422
25 | 2721669.7075 | 1203117.6695 | 2721658.8589 | 1203096.0991
26 | 2721710.793 | 1203044.6408 | 2721717.1727 | 1203041.8758
27 | 2721710.793 | 1203044.6408 | 2721702.4144 | 1203048.3149
28 | 2721695.0015 | 1203051.5656 | 2721702.4144 | 1203048.3149
29 | 2721685.7344 | 1203055.6293 | 2721676.3612 | 1203059.7396 | 2721671.0831 | 1203057.2121
30 | 2721803.3813 | 1202975.7542 | 2721792.5091 | 1202980.6422
31 | 2721669.7075 | 1203117.6695 | 2721678.7262 | 1203135.6568
32 | 2721669.7075 | 1203117.6695 | 2721679.595 | 1203113.9459 | 2721679.9524 | 1203113.8853
33 | 2721678.7262 | 1203135.6568 | 2721681.6416 | 1203141.4713
34 | 2721679.9524 | 1203113.8853 | 2721690.5274 | 1203112.0904
35 | 2721695.0015 | 1203051.5656 | 2721693.1841 | 1203052.3625
36 | 2721690.2679 | 1203053.6413 | 2721693.1841 | 1203052.3625
37 | 2721690.2679 | 1203053.6413 | 2721685.7344 | 1203055.6293
38 | 2721686.7989 | 1203151.7573 | 2721681.6416 | 1203141.4713
39 | 2721686.7989 | 1203151.7573 | 2721689.5939 | 1203157.3316
40 | 2721693.8153 | 1203165.4988 | 2721693.0725 | 1203164.0896
41 | 2721693.0725 | 1203164.0896 | 2721691.2191 | 1203160.5731 | 2721689.5939 | 1203157.3316

## bus_geodata
| x | y | coords
0 | 2721868.7875 | 1203117.0398
1 | 2721875.6024 | 1203143.586
2 | 2721822.019 | 1203077.7772
3 | 2721755.6615 | 1203126.9166
4 | 2721741.8096 | 1203123.1092
5 | 2721776.9694 | 1203111.1393
6 | 2721795.759 | 1203097.2268
7 | 2721742.8735 | 1203113.3288
8 | 2721736.5094 | 1203121.5064
9 | 2721773.7508 | 1203039.5318
10 | 2721755.6582 | 1203025.1961
11 | 2721712.8011 | 1203122.8876
12 | 2721710.384 | 1203113.6062
13 | 2721629.9978 | 1203069.1163
14 | 2721641.8463 | 1203062.1162
15 | 2721646.2147 | 1203070.8421
16 | 2721650.0578 | 1203043.5251
17 | 2721651.3087 | 1203081.0175
18 | 2721664.6224 | 1203054.1184
19 | 2721751.0948 | 1202999.2615
20 | 2721773.4865 | 1202989.1945
21 | 2721658.8589 | 1203096.0991
22 | 2721710.793 | 1203044.6408
23 | 2721717.1727 | 1203041.8758
24 | 2721702.4144 | 1203048.3149
25 | 2721763.4974 | 1203022.0013
26 | 2721671.0831 | 1203057.2121
27 | 2721792.5091 | 1202980.6422
28 | 2721669.7075 | 1203117.6695
29 | 2721678.7262 | 1203135.6568
30 | 2721679.9524 | 1203113.8853
31 | 2721695.0015 | 1203051.5656
32 | 2721693.1841 | 1203052.3625
33 | 2721690.2679 | 1203053.6413
34 | 2721685.7344 | 1203055.6293
35 | 2721803.3813 | 1202975.7542
36 | 2721690.5274 | 1203112.0904
37 | 2721681.6416 | 1203141.4713
38 | 2721686.7989 | 1203151.7573
39 | 2721693.8153 | 1203165.4988
40 | 2721693.0725 | 1203164.0896
41 | 2721689.5939 | 1203157.3316
42 | 2721767.5315 | 1203076.7544
43 | 2721741.8096 | 1203123.1092

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98213 | -0.12512 | 0.027769 | 0.0069595
1 | 0.98324 | -0.11723 | 0 | 0
2 | 0.98666 | -0.092989 | 0 | 0
3 | 0.99094 | -0.062841 | 0 | 0
4 | 0.99185 | -0.056458 | 0 | 0
5 | 0.98925 | -0.074684 | 0.006132 | 0.0015368
6 | 0.98798 | -0.083694 | 0.0099558 | 0.0024952
7 | 0.99321 | -0.046977 | 0.0072624 | 0.0018201
8 | 0.9913 | -0.060316 | 0.0046441 | 0.0011639
9 | 0.97238 | -0.19428 | 0.0047488 | 0.0011902
10 | 0.97255 | -0.19312 | 0 | 0
11 | 0.98861 | -0.07913 | 0.0039101 | 0.00097997
12 | 0.98866 | -0.078747 | 0 | 0
13 | 0.98105 | -0.13243 | 0.0057915 | 0.0014515
14 | 0.98116 | -0.13161 | 0 | 0
15 | 0.9817 | -0.12778 | 0.0045785 | 0.0011475
16 | 0.97964 | -0.14241 | 0 | 0
17 | 0.98237 | -0.12305 | 0.0038234 | 0.00095822
18 | 0.97871 | -0.14904 | 0.0052511 | 0.0013161
19 | 0.97144 | -0.20105 | 0 | 0
20 | 0.97059 | -0.20719 | 0.0086316 | 0.0021633
21 | 0.98341 | -0.11572 | 0 | 0
22 | 0.9751 | -0.17478 | 0 | 0
23 | 0.97471 | -0.17762 | 0.0038098 | 0.00095484
24 | 0.97563 | -0.17104 | 0.0080373 | 0.0020143
25 | 0.97246 | -0.19372 | 0.0067326 | 0.0016873
26 | 0.97837 | -0.15146 | 0.0057354 | 0.0014374
27 | 0.97013 | -0.2105 | 0.010258 | 0.0025709
28 | 0.98489 | -0.10526 | 0 | 0
29 | 0.98403 | -0.11136 | 0.0057943 | 0.0014522
30 | 0.9858 | -0.09888 | 0.010113 | 0.0025345
31 | 0.97618 | -0.16706 | 0.0031523 | 0.00079004
32 | 0.97633 | -0.16602 | 0.0027589 | 0.00069145
33 | 0.97658 | -0.16425 | 0.0030461 | 0.00076342
34 | 0.97698 | -0.16136 | 0.0030153 | 0.0007557
35 | 0.97005 | -0.2111 | 0.0047259 | 0.0011844
36 | 0.98676 | -0.092074 | 0.0050215 | 0.0012585
37 | 0.98381 | -0.11294 | 0.0047587 | 0.0011926
38 | 0.9835 | -0.11518 | 0.0043579 | 0.0010922
39 | 0.98324 | -0.11703 | 0.0069053 | 0.0017306
40 | 0.98325 | -0.11691 | 0.0032937 | 0.00082548
41 | 0.98337 | -0.11611 | 0.0043114 | 0.0010806
42 | 1 | 0 | -0.19269 | -0.048557
43 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.027769 | -0.0069595 | 0.027799 | 0.0069709 | 3.0362e-05 | 1.133e-05 | 0.042072 | 0.042072 | 0.042072 | 0.98213 | -0.12512 | 0.98324 | -0.11723 | 15.5823
1 | -0.027799 | -0.0069709 | 0.027893 | 0.0070058 | 9.3689e-05 | 3.4955e-05 | 0.042072 | 0.042072 | 0.042072 | 0.98324 | -0.11723 | 0.98666 | -0.092989 | 15.5823
2 | -0.027893 | -0.0070058 | 0.027929 | 0.0070193 | 3.6093e-05 | 1.3464e-05 | 0.042072 | 0.042072 | 0.042072 | 0.98666 | -0.092989 | 0.98798 | -0.083694 | 15.5821
3 | -0.044137 | -0.011097 | 0.044176 | 0.011112 | 3.9283e-05 | 1.4924e-05 | 0.06629 | 0.06629 | 0.06629 | 0.99094 | -0.062841 | 0.99185 | -0.056458 | 24.5517
4 | 0.044137 | 0.011097 | -0.044064 | -0.011069 | 7.2701e-05 | 2.7621e-05 | 0.06629 | 0.06629 | 0.06629 | 0.99094 | -0.062841 | 0.98925 | -0.074684 | 24.5517
5 | -0.18312 | -0.046158 | 0.18336 | 0.046252 | 0.00024346 | 9.3373e-05 | 0.27482 | 0.27482 | 0.27482 | 0.99185 | -0.056458 | 0.99321 | -0.046977 | 50.8922
6 | 0.13894 | 0.035047 | -0.13887 | -0.035018 | 7.5124e-05 | 2.8751e-05 | 0.20853 | 0.20853 | 0.20853 | 0.99185 | -0.056458 | 0.9913 | -0.060316 | 38.6164
7 | 0.037932 | 0.0095324 | -0.037885 | -0.0095144 | 4.7509e-05 | 1.7973e-05 | 0.057066 | 0.057066 | 0.057066 | 0.98925 | -0.074684 | 0.98798 | -0.083694 | 21.1357
8 | -0.19063 | -0.048072 | 0.19189 | 0.048557 | 0.0012638 | 0.00048477 | 0.2857 | 0.2857 | 0.2857 | 0.99321 | -0.046977 | 1 | 0 | 52.9071
9 | 0.13422 | 0.033854 | -0.13388 | -0.033722 | 0.00034595 | 0.00013236 | 0.20156 | 0.20156 | 0.20156 | 0.9913 | -0.060316 | 0.98866 | -0.078747 | 37.3254
10 | -0.0047488 | -0.0011902 | 0.0047495 | 0.0011902 | 7.6065e-07 | 6.1638e-09 | 0.0072669 | 0.0072668 | 0.0072669 | 0.97238 | -0.19428 | 0.97255 | -0.19312 | 2.6915
11 | 0.0067331 | 0.0016875 | -0.0067326 | -0.0016873 | 5.606e-07 | 1.1058e-07 | 0.010302 | 0.010302 | 0.010302 | 0.97255 | -0.19312 | 0.97246 | -0.19372 | 3.8155
12 | -0.035151 | -0.0088156 | 0.035227 | 0.0088442 | 7.5714e-05 | 2.8599e-05 | 0.053785 | 0.053784 | 0.053785 | 0.97255 | -0.19312 | 0.97471 | -0.17762 | 19.9202
13 | 0.023669 | 0.005938 | -0.023643 | -0.0059284 | 2.5998e-05 | 9.6055e-06 | 0.036216 | 0.036216 | 0.036216 | 0.97255 | -0.19312 | 0.97144 | -0.20105 | 13.4134
14 | -0.0039101 | -0.00097997 | 0.0039103 | 0.00097993 | 2.073e-07 | -4.3252e-08 | 0.0058854 | 0.0058854 | 0.0058854 | 0.98861 | -0.07913 | 0.98866 | -0.078747 | 2.1798
15 | 0.12997 | 0.032742 | -0.12973 | -0.032649 | 0.00024182 | 9.2491e-05 | 0.19567 | 0.19567 | 0.19567 | 0.98866 | -0.078747 | 0.98676 | -0.092074 | 36.2356
16 | -0.0057915 | -0.0014515 | 0.0057922 | 0.0014516 | 6.6264e-07 | 8.1073e-08 | 0.0087843 | 0.0087843 | 0.0087843 | 0.98105 | -0.13243 | 0.98116 | -0.13161 | 3.2535
17 | -0.076204 | -0.019163 | 0.076245 | 0.019178 | 4.0681e-05 | 1.54e-05 | 0.11559 | 0.11559 | 0.11559 | 0.98116 | -0.13161 | 0.9817 | -0.12778 | 21.4062
18 | 0.070412 | 0.017711 | -0.070306 | -0.017671 | 0.0001059 | 3.9981e-05 | 0.10681 | 0.10681 | 0.10681 | 0.98116 | -0.13161 | 0.97964 | -0.14241 | 19.7795
19 | -0.080824 | -0.020326 | 0.080877 | 0.020346 | 5.3306e-05 | 2.0214e-05 | 0.12253 | 0.12253 | 0.12253 | 0.9817 | -0.12778 | 0.98237 | -0.12305 | 22.6913
20 | 0.070306 | 0.017671 | -0.070241 | -0.017647 | 6.49e-05 | 2.4503e-05 | 0.10681 | 0.10681 | 0.10681 | 0.97964 | -0.14241 | 0.97871 | -0.14904 | 19.7795
21 | -0.0847 | -0.021304 | 0.084787 | 0.021337 | 8.6653e-05 | 3.29e-05 | 0.12832 | 0.12832 | 0.12832 | 0.98237 | -0.12305 | 0.98341 | -0.11572 | 23.7638
22 | 0.06499 | 0.016331 | -0.064968 | -0.016322 | 2.1828e-05 | 8.2153e-06 | 0.098826 | 0.098826 | 0.098826 | 0.97871 | -0.14904 | 0.97837 | -0.15146 | 18.3011
23 | 0.023643 | 0.0059284 | -0.023623 | -0.005921 | 2.0093e-05 | 7.4245e-06 | 0.036216 | 0.036216 | 0.036216 | 0.97144 | -0.20105 | 0.97059 | -0.20719 | 13.4134
24 | 0.014991 | 0.0037577 | -0.014984 | -0.0037553 | 6.8746e-06 | 2.3864e-06 | 0.022983 | 0.022983 | 0.022983 | 0.97059 | -0.20719 | 0.97013 | -0.2105 | 8.5123
25 | -0.084787 | -0.021337 | 0.084911 | 0.021384 | 0.00012399 | 4.7077e-05 | 0.12832 | 0.12832 | 0.12832 | 0.98341 | -0.11572 | 0.98489 | -0.10526 | 23.7637
26 | 0.039052 | 0.0098049 | -0.039037 | -0.0097991 | 1.5412e-05 | 5.8411e-06 | 0.059601 | 0.059601 | 0.059601 | 0.9751 | -0.17478 | 0.97471 | -0.17762 | 22.0743
27 | -0.039052 | -0.0098049 | 0.039073 | 0.0098126 | 2.0279e-05 | 7.6855e-06 | 0.059601 | 0.059601 | 0.059601 | 0.9751 | -0.17478 | 0.97563 | -0.17104 | 22.0743
28 | -0.04711 | -0.011827 | 0.047136 | 0.011837 | 2.6081e-05 | 9.9301e-06 | 0.071859 | 0.071859 | 0.071859 | 0.97563 | -0.17104 | 0.97618 | -0.16706 | 26.6145
29 | 0.059233 | 0.014885 | -0.059152 | -0.014854 | 8.1495e-05 | 3.1142e-05 | 0.090103 | 0.090103 | 0.090103 | 0.97837 | -0.15146 | 0.97698 | -0.16136 | 33.3714
30 | 0.0047263 | 0.0011844 | -0.0047259 | -0.0011844 | 3.9091e-07 | 3.1773e-09 | 0.0072493 | 0.0072494 | 0.0072494 | 0.97013 | -0.2105 | 0.97005 | -0.2111 | 2.685
31 | 0.02946 | 0.007388 | -0.029436 | -0.0073787 | 2.4877e-05 | 9.3122e-06 | 0.044512 | 0.044512 | 0.044512 | 0.98489 | -0.10526 | 0.98403 | -0.11136 | 16.4858
32 | -0.11437 | -0.028772 | 0.11447 | 0.028811 | 0.00010185 | 3.8894e-05 | 0.17284 | 0.17284 | 0.17284 | 0.98489 | -0.10526 | 0.9858 | -0.09888 | 32.0066
33 | 0.023641 | 0.0059265 | -0.023636 | -0.0059246 | 5.1874e-06 | 1.9125e-06 | 0.03575 | 0.03575 | 0.03575 | 0.98403 | -0.11136 | 0.98381 | -0.11294 | 13.2407
34 | -0.12459 | -0.031345 | 0.1247 | 0.031391 | 0.00011841 | 4.5268e-05 | 0.1881 | 0.1881 | 0.1881 | 0.9858 | -0.09888 | 0.98676 | -0.092074 | 34.8333
35 | -0.050288 | -0.012627 | 0.050296 | 0.01263 | 7.278e-06 | 2.7744e-06 | 0.076664 | 0.076664 | 0.076664 | 0.97618 | -0.16706 | 0.97633 | -0.16602 | 28.3941
36 | -0.053055 | -0.013321 | 0.053068 | 0.013326 | 1.2994e-05 | 4.958e-06 | 0.080869 | 0.080869 | 0.080869 | 0.97633 | -0.16602 | 0.97658 | -0.16425 | 29.9515
37 | -0.056114 | -0.01409 | 0.056136 | 0.014098 | 2.2586e-05 | 8.6251e-06 | 0.08551 | 0.08551 | 0.08551 | 0.97658 | -0.16425 | 0.97698 | -0.16136 | 31.6705
38 | 0.018877 | 0.004732 | -0.018871 | -0.0047299 | 5.8534e-06 | 2.1053e-06 | 0.028552 | 0.028552 | 0.028552 | 0.98381 | -0.11294 | 0.9835 | -0.11518 | 10.5749
39 | 0.014514 | 0.0036377 | -0.014512 | -0.003637 | 1.8763e-06 | 6.4252e-07 | 0.021959 | 0.021959 | 0.021959 | 0.9835 | -0.11518 | 0.98337 | -0.11611 | 8.1329
40 | -0.0069053 | -0.0017306 | 0.0069054 | 0.0017306 | 1.0855e-07 | 2.1547e-08 | 0.01045 | 0.01045 | 0.01045 | 0.98324 | -0.11703 | 0.98325 | -0.11691 | 3.8705
41 | -0.010199 | -0.0025561 | 0.0102 | 0.0025565 | 1.13e-06 | 3.3819e-07 | 0.015435 | 0.015435 | 0.015435 | 0.98325 | -0.11691 | 0.98337 | -0.11611 | 5.7166

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20001 | 0.050391

## res_load
| p_mw | q_mvar
0 | 0.027769 | 0.0069595
1 | 0.006132 | 0.0015368
2 | 0.0099558 | 0.0024952
3 | 0.0072624 | 0.0018201
4 | 0.0046441 | 0.0011639
5 | 0.0047488 | 0.0011902
6 | 0.0039101 | 0.00097997
7 | 0.0057915 | 0.0014515
8 | 0.0045785 | 0.0011475
9 | 0.0038234 | 0.00095822
10 | 0.0052511 | 0.0013161
11 | 0.0086316 | 0.0021633
12 | 0.0038098 | 0.00095484
13 | 0.0080373 | 0.0020143
14 | 0.0067326 | 0.0016873
15 | 0.0057354 | 0.0014374
16 | 0.010258 | 0.0025709
17 | 0.0057943 | 0.0014522
18 | 0.010113 | 0.0025345
19 | 0.0031523 | 0.00079004
20 | 0.0027589 | 0.00069145
21 | 0.0030461 | 0.00076342
22 | 0.0030153 | 0.0007557
23 | 0.0047259 | 0.0011844
24 | 0.0050215 | 0.0012585
25 | 0.0047587 | 0.0011926
26 | 0.0043579 | 0.0010922
27 | 0.0069053 | 0.0017306
28 | 0.0032937 | 0.00082548
29 | 0.0043114 | 0.0010806
30 | 0.0073191 | 0.0018343

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1