## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-122_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-122_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-122_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-122_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-122_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-122_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1631-122_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1631-122_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1631-122_0_5_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1631-122_0_5_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1631-122_0_5_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1631-122_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1631-122_0_5_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_1631-122_0_5_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1631-122_0_5_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1631-122_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1631-122_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1631-122_0_5_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1631-122_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1631-122_0_5_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_1631-122_0_5_node_66 | 0.4 | n |  | TRUE
21 | bus_LV_1631-122_0_5_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_1631-122_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1631-122_0_5_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_1631-122_0_5_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1631-122_0_5_node_59 | 0.4 | n |  | TRUE
26 | bus_LV_1631-122_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1631-122_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1631-122_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1631-122_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1631-122_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1631-122_0_5_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1631-122_0_5_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1631-122_0_5_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_1631-122_0_5_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_1631-122_0_5_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_1631-122_0_5_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_1631-122_0_5_node_61 | 0.4 | n |  | TRUE
38 | bus_LV_1631-122_0_5_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_1631-122_0_5_node_53 | 0.4 | n |  | TRUE
40 | bus_LV_1631-122_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1631-122_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_1631-122_0_5_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_1631-122_0_5_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1631-122_0_5_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1631-122_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1631-122_0_5_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1631-122_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1631-122_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1631-122_0_5_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1631-122_0_5_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_1631-122_0_5_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_1631-122_0_5_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_1631-122_0_5_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_1631-122_0_5_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_1631-122_0_5_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_1631-122_0_5_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_1631-122_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_1631-122_0_5_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_1631-122_0_5_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_1631-122_0_5_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_1631-122_0_5_node_55 | 0.4 | n |  | TRUE
62 | bus_MV_145_0_node_263 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-122_0_5_load_0 | 0 | 0.0014438 | 0.00036184 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-122_0_5_load_1 | 1 | 0.0011914 | 0.00029858 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-122_0_5_load_2 | 2 | 0.0014222 | 0.00035645 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-122_0_5_load_3 | 3 | 0.0011267 | 0.00028238 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-122_0_5_load_4 | 4 | 0.0022354 | 0.00056025 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-122_0_5_load_5 | 5 | 0.0088319 | 0.0022135 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-122_0_5_load_6 | 6 | 0.0013898 | 0.0003483 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-122_0_5_load_7 | 7 | 0.0029186 | 0.00073147 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-122_0_5_load_8 | 8 | 0.0051505 | 0.0012908 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-122_0_5_load_11 | 11 | 0.0029412 | 0.00073713 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-122_0_5_load_65 | 12 | 0.027937 | 0.0070018 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-122_0_5_load_12 | 13 | 0.0025379 | 0.00063607 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-122_0_5_load_14 | 16 | 0.0042197 | 0.0010576 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-122_0_5_load_15 | 17 | 0.030551 | 0.0076569 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-122_0_5_load_66 | 20 | 0.017523 | 0.0043918 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-122_0_5_load_17 | 22 | 0.0028938 | 0.00072525 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-122_0_5_load_64 | 23 | 0.001259 | 0.00031553 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-122_0_5_load_59 | 25 | 0.001518 | 0.00038046 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-122_0_5_load_19 | 26 | 0.0019993 | 0.00050108 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-122_0_5_load_22 | 29 | 0.0027131 | 0.00067996 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-122_0_5_load_28 | 31 | 0.0084667 | 0.002122 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-122_0_5_load_27 | 32 | 0.0021626 | 0.00054201 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-122_0_5_load_57 | 33 | 0.001316 | 0.00032982 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-122_0_5_load_58 | 34 | 0.0013439 | 0.0003368 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-122_0_5_load_62 | 36 | 0.0013169 | 0.00033004 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-122_0_5_load_61 | 37 | 0.0018088 | 0.00045334 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-122_0_5_load_56 | 38 | 0.042546 | 0.010663 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-122_0_5_load_53 | 39 | 0.037393 | 0.0093716 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-122_0_5_load_30 | 40 | 0.0013414 | 0.00033619 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-122_0_5_load_34 | 44 | 0.0013202 | 0.00033087 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-122_0_5_load_35 | 45 | 0.0010215 | 0.00025601 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-122_0_5_load_38 | 47 | 0.0037417 | 0.00093776 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-122_0_5_load_37 | 48 | 0.0016554 | 0.00041489 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-122_0_5_load_39 | 49 | 0.0032405 | 0.00081216 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-122_0_5_load_46 | 52 | 0.00048625 | 0.00012187 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-122_0_5_load_43 | 53 | 0.00054491 | 0.00013657 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-122_0_5_load_42 | 54 | 0.0008151 | 0.00020428 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-122_0_5_load_52 | 55 | 0.00049721 | 0.00012461 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1631-122_0_5_load_48 | 56 | 0.0010395 | 0.00026053 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1631-122_0_5_load_44 | 57 | 0.00055916 | 0.00014014 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1631-122_0_5_load_49 | 59 | 0.0012751 | 0.00031956 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1631-122_0_5_load_55 | 61 | 0.001409 | 0.00035312 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-122_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.070899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-122_0_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.13049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-122_0_5_line_2 | NAYY 4x150 SE | 2 | 3 | 0.021465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-122_0_5_line_3 | NAYY 4x150 SE | 3 | 4 | 0.048797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-122_0_5_line_4 | NAYY 4x150 SE | 4 | 5 | 0.033079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-122_0_5_line_5 | NAYY 4x150 SE | 5 | 6 | 0.003474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-122_0_5_line_6 | NAYY 4x150 SE | 6 | 7 | 0.13266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-122_0_5_line_7 | NAYY 4x150 SE | 7 | 8 | 0.032606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-122_0_5_line_8 | NAYY 4x150 SE | 8 | 9 | 0.0039346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-122_0_5_line_9 | NAYY 4x150 SE | 9 | 10 | 0.009795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_1631-122_0_5_line_10 | NAYY 4x150 SE | 9 | 11 | 0.03703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_1631-122_0_5_line_11 | NAYY 4x150 SE | 10 | 12 | 0.03148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_1631-122_0_5_line_12 | NAYY 4x150 SE | 11 | 13 | 0.085771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_1631-122_0_5_line_13 | NAYY 4x150 SE | 12 | 14 | 0.12547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_1631-122_0_5_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0067615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_1631-122_0_5_line_15 | NAYY 4x150 SE | 14 | 22 | 0.065086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_1631-122_0_5_line_16 | NAYY 4x150 SE | 15 | 16 | 0.078382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_1631-122_0_5_line_17 | NAYY 4x150 SE | 16 | 17 | 0.12245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_1631-122_0_5_line_18 | NAYY 4x150 SE | 17 | 18 | 0.088283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_1631-122_0_5_line_19 | NAYY 4x150 SE | 18 | 19 | 0.1807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1631-122_0_5_line_20 | NAYY 4x150 SE | 19 | 20 | 0.026492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-122_0_5_line_21 | NAYY 4x150 SE | 19 | 21 | 0.019956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-122_0_5_line_22 | NAYY 4x150 SE | 21 | 38 | 0.0235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-122_0_5_line_23 | NAYY 4x150 SE | 21 | 39 | 0.020545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-122_0_5_line_24 | NAYY 4x150 SE | 22 | 23 | 0.30404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1631-122_0_5_line_25 | NAYY 4x150 SE | 22 | 24 | 0.45855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_1631-122_0_5_line_26 | NAYY 4x150 SE | 23 | 25 | 0.21441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-122_0_5_line_27 | NAYY 4x150 SE | 24 | 27 | 0.094695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1631-122_0_5_line_28 | NAYY 4x150 SE | 25 | 33 | 0.02476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-122_0_5_line_29 | NAYY 4x150 SE | 26 | 27 | 0.028165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-122_0_5_line_30 | NAYY 4x150 SE | 26 | 28 | 0.059383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-122_0_5_line_31 | NAYY 4x150 SE | 27 | 29 | 0.092542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-122_0_5_line_32 | NAYY 4x150 SE | 28 | 30 | 0.038759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-122_0_5_line_33 | NAYY 4x150 SE | 30 | 31 | 0.006422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-122_0_5_line_34 | NAYY 4x150 SE | 30 | 32 | 0.041366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-122_0_5_line_35 | NAYY 4x150 SE | 33 | 34 | 0.13758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-122_0_5_line_36 | NAYY 4x150 SE | 34 | 35 | 0.020005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-122_0_5_line_37 | NAYY 4x150 SE | 35 | 36 | 0.078149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-122_0_5_line_38 | NAYY 4x150 SE | 35 | 37 | 0.069423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-122_0_5_line_39 | NAYY 4x150 SE | 39 | 60 | 0.05521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-122_0_5_line_40 | NAYY 4x150 SE | 40 | 41 | 0.014332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-122_0_5_line_41 | NAYY 4x150 SE | 40 | 42 | 0.11137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-122_0_5_line_42 | NAYY 4x150 SE | 41 | 43 | 0.045595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-122_0_5_line_43 | NAYY 4x150 SE | 41 | 44 | 0.012165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-122_0_5_line_44 | NAYY 4x150 SE | 42 | 45 | 0.0061246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-122_0_5_line_45 | NAYY 4x150 SE | 42 | 46 | 0.010834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-122_0_5_line_46 | NAYY 4x150 SE | 43 | 47 | 0.039768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-122_0_5_line_47 | NAYY 4x150 SE | 43 | 48 | 0.017073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-122_0_5_line_48 | NAYY 4x150 SE | 46 | 49 | 0.035292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-122_0_5_line_49 | NAYY 4x150 SE | 49 | 50 | 0.035704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-122_0_5_line_50 | NAYY 4x150 SE | 50 | 51 | 0.04899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1631-122_0_5_line_51 | NAYY 4x150 SE | 51 | 52 | 0.052657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1631-122_0_5_line_52 | NAYY 4x150 SE | 51 | 53 | 0.010104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1631-122_0_5_line_53 | NAYY 4x150 SE | 52 | 56 | 0.015566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1631-122_0_5_line_54 | NAYY 4x150 SE | 53 | 57 | 0.0033908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1631-122_0_5_line_55 | NAYY 4x150 SE | 54 | 55 | 0.012261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1631-122_0_5_line_56 | NAYY 4x150 SE | 55 | 58 | 0.0064897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1631-122_0_5_line_57 | NAYY 4x150 SE | 56 | 59 | 0.0049451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1631-122_0_5_line_58 | NAYY 4x150 SE | 58 | 60 | 0.014307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1631-122_0_5_line_59 | NAYY 4x150 SE | 58 | 59 | 0.027798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1631-122_0_5_line_60 | NAYY 4x150 SE | 60 | 61 | 0.17043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-122_0_5_trafo_16 | 0.25 MVA 20/0.4 kV | 62 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2722398.6199 | 1203402.0767 | 2722399.4542 | 1203404.0696 | 2722407.1249 | 1203424.5644 | 2722418.2642 | 1203454.8153 | 2722425.8475 | 1203467.3135 | 2722425.8475 | 1203467.3135
1 | 2722425.8475 | 1203467.3135 | 2722436.8143 | 1203481.1041 | 2722449.3527 | 1203494.3377 | 2722464.9955 | 1203507.9909 | 2722477.1766 | 1203516.3803 | 2722489.4502 | 1203522.481 | 2722507.8984 | 1203528.8641 | 2722513.4516 | 1203531.9803 | 2722527.705 | 1203545.2681
2 | 2722527.705 | 1203545.2681 | 2722528.0746 | 1203545.6127 | 2722545.4254 | 1203557.3712
3 | 2722545.4254 | 1203557.3712 | 2722554.5212 | 1203563.5354 | 2722577.0704 | 1203577.7643 | 2722583.5017 | 1203585.9246 | 2722583.9176 | 1203586.5564
4 | 2722583.9176 | 1203586.5564 | 2722602.1051 | 1203614.1862
5 | 2722602.1051 | 1203614.1862 | 2722604.0152 | 1203617.0879
6 | 2722604.0152 | 1203617.0879 | 2722621.5132 | 1203643.6704 | 2722626.1973 | 1203653.5184 | 2722633.46 | 1203674.55 | 2722644.2427 | 1203722.0737 | 2722647.451 | 1203740.7503
7 | 2722647.451 | 1203740.7503 | 2722652.9712 | 1203772.8854
8 | 2722653.6373 | 1203776.7633 | 2722652.9712 | 1203772.8854
9 | 2722653.6373 | 1203776.7633 | 2722663.4143 | 1203775.8077
10 | 2722653.6373 | 1203776.7633 | 2722658.7733 | 1203813.435
11 | 2722663.4143 | 1203775.8077 | 2722671.9579 | 1203793.3853 | 2722683.8491 | 1203792.3523
12 | 2722674.6682 | 1203897.6665 | 2722662.9956 | 1203843.5834 | 2722658.7733 | 1203813.435
13 | 2722683.8491 | 1203792.3523 | 2722795.4081 | 1203734.9224
14 | 2722676.0947 | 1203904.2758 | 2722674.6682 | 1203897.6665
15 | 2722795.4081 | 1203734.9224 | 2722800.7979 | 1203745.9638 | 2722808.9699 | 1203754.9496 | 2722820.9946 | 1203767.5619 | 2722831.4232 | 1203775.6269 | 2722840.011 | 1203780.8366
16 | 2722676.0947 | 1203904.2758 | 2722666.5962 | 1203905.3927 | 2722655.2498 | 1203903.8474 | 2722640.334 | 1203898.5927 | 2722628.159 | 1203887.7346 | 2722620.1485 | 1203872.7367 | 2722617.7497 | 1203864.858
17 | 2722617.7497 | 1203864.858 | 2722612.0847 | 1203846.2512 | 2722606.5451 | 1203839.1544 | 2722599.0319 | 1203835.5086 | 2722590.432 | 1203835.4876 | 2722583.0648 | 1203838.8167 | 2722577.6899 | 1203844.822 | 2722576.028 | 1203854.9622 | 2722579.474 | 1203900.2558 | 2722579.0305 | 1203905.4371
18 | 2722511.7222 | 1203947.3567 | 2722546.6913 | 1203941.1694 | 2722560.4971 | 1203936.3602 | 2722571.4577 | 1203928.1567 | 2722578.1323 | 1203915.9289 | 2722579.0305 | 1203905.4371
19 | 2722334.8883 | 1203983.6373 | 2722358.1241 | 1203976.9415 | 2722363.7367 | 1203975.2886 | 2722370.697 | 1203973.2296 | 2722379.1221 | 1203971.0006 | 2722382.3151 | 1203970.4322 | 2722479.4327 | 1203953.1433 | 2722481.2202 | 1203952.8241 | 2722510.9278 | 1203947.4961 | 2722511.7222 | 1203947.3567
20 | 2722328.1605 | 1203958.0136 | 2722334.8883 | 1203983.6373
21 | 2722334.8883 | 1203983.6373 | 2722315.7496 | 1203989.4719
22 | 2722315.7496 | 1203989.4719 | 2722312.575 | 1203983.9472 | 2722311.4745 | 1203966.8548
23 | 2722315.7496 | 1203989.4719 | 2722312.808 | 1203991.1462 | 2722305.5444 | 1203995.3785 | 2722297.9267 | 1203999.691
24 | 2722840.011 | 1203780.8366 | 2723087.7678 | 1203604.5994
25 | 2722840.011 | 1203780.8366 | 2723127.4878 | 1204138.0844
26 | 2723161.2692 | 1203403.1864 | 2723087.7678 | 1203604.5994
27 | 2723127.4878 | 1204138.0844 | 2723120.7628 | 1204144.9621 | 2723116.396 | 1204148.9417 | 2723098.111 | 1204164.2875 | 2723118.7694 | 1204158.5868 | 2723130.4029 | 1204155.7801 | 2723135.6897 | 1204155.5333 | 2723137.9445 | 1204155.8023 | 2723140.0368 | 1204156.5682 | 2723141.8538 | 1204158.5071 | 2723146.8173 | 1204166.5488
28 | 2723148.5288 | 1203382.071 | 2723150.5247 | 1203384.1139 | 2723160.2673 | 1203401.828 | 2723161.2692 | 1203403.1864
29 | 2723146.8173 | 1204166.5488 | 2723154.4874 | 1204165.1393 | 2723162.0357 | 1204167.7858 | 2723170.8271 | 1204172.1482 | 2723172.9359 | 1204173.5885
30 | 2723212.8912 | 1204216.3491 | 2723195.1507 | 1204190.1967 | 2723187.4801 | 1204183.5224 | 2723172.9359 | 1204173.5885
31 | 2723146.8173 | 1204166.5488 | 2723143.3283 | 1204170.402 | 2723142.1254 | 1204174.4803 | 2723142.1013 | 1204179.339 | 2723149.1985 | 1204225.9761 | 2723156.3022 | 1204256.2116
32 | 2723220.9549 | 1204180.0214 | 2723217.2273 | 1204182.1572 | 2723212.8912 | 1204216.3491
33 | 2723220.9549 | 1204180.0214 | 2723223.3125 | 1204185.9967
34 | 2723220.9549 | 1204180.0214 | 2723213.2329 | 1204161.4592 | 2723205.0277 | 1204147.8686 | 2723201.4809 | 1204143.8145
35 | 2723148.5288 | 1203382.071 | 2723146.9989 | 1203380.5051 | 2723143.8123 | 1203378.9049 | 2723141.0935 | 1203378.2372 | 2723135.5958 | 1203376.8673 | 2723111.1902 | 1203376.2749 | 2723101.5735 | 1203374.9646 | 2723088.3908 | 1203370.5119 | 2723081.2501 | 1203367.2401 | 2723068.3158 | 1203363.2928 | 2723065.2956 | 1203360.2616 | 2723059.6724 | 1203356.4874 | 2723054.5905 | 1203354.5146 | 2723053.6239 | 1203354.1388 | 2723045.5613 | 1203353.1275 | 2723042.0338 | 1203351.4425 | 2723034.8982 | 1203349.772 | 2723031.1236 | 1203350.1057 | 2723022.3872 | 1203355.5632 | 2723019.4313 | 1203355.5123
36 | 2723008.6199 | 1203367.6554 | 2723008.7853 | 1203364.8011 | 2723010.2139 | 1203359.0039 | 2723012.5642 | 1203355.3941 | 2723019.4313 | 1203355.5123
37 | 2723008.6199 | 1203367.6554 | 2723002.8097 | 1203364.4556 | 2722986.5031 | 1203359.0491 | 2722972.8861 | 1203347.9604 | 2722949.5235 | 1203331.4671 | 2722945.7565 | 1203324.0396
38 | 2723008.6199 | 1203367.6554 | 2723004.2941 | 1203362.9739 | 2722987.5931 | 1203350.4762 | 2722965.4924 | 1203326.67 | 2722962.1078 | 1203317.5731
39 | 2722247.1561 | 1204015.7651 | 2722250.9897 | 1204016.9889 | 2722258.2739 | 1204017.6941 | 2722263.5373 | 1204016.7345 | 2722269.8544 | 1204014.8624 | 2722277.0544 | 1204011.5072 | 2722297.9267 | 1203999.691
40 | 2722082.5087 | 1204029.4522 | 2722081.5517 | 1204026.7529 | 2722074.781 | 1204017.4967
41 | 2722112.551 | 1203966.8083 | 2722108.6678 | 1203966.1506 | 2722105.6102 | 1203963.4527 | 2722093.7564 | 1203949.878 | 2722089.8133 | 1203947.3066 | 2722084.9184 | 1203946.9952 | 2722080.3883 | 1203948.9374 | 2722078.5186 | 1203953.2802 | 2722078.5078 | 1203968.6916 | 2722077.5378 | 1203976.2997 | 2722070.7045 | 1204009.3626 | 2722072.0973 | 1204013.8277 | 2722074.781 | 1204017.4967
42 | 2722052.7979 | 1204022.6955 | 2722068.5299 | 1204037.1723 | 2722073.2563 | 1204040.8828 | 2722078.1095 | 1204040.6262 | 2722081.6774 | 1204038.0973 | 2722083.0741 | 1204034.9234 | 2722083.0989 | 1204031.11 | 2722082.5087 | 1204029.4522
43 | 2722082.5087 | 1204029.4522 | 2722094.6591 | 1204028.8517
44 | 2722112.551 | 1203966.8083 | 2722112.3725 | 1203972.1864 | 2722112.8657 | 1203972.7428
45 | 2722122.1089 | 1203962.4004 | 2722117.0986 | 1203965.8672 | 2722114.9856 | 1203966.847 | 2722112.551 | 1203966.8083
46 | 2722024.8726 | 1204051.0795 | 2722052.7979 | 1204022.6955
47 | 2722052.7979 | 1204022.6955 | 2722049.8024 | 1204019.9434 | 2722044.9404 | 1204015.4184 | 2722041.5309 | 1204010.0457
48 | 2722122.1089 | 1203962.4004 | 2722137.3856 | 1203979.4144 | 2722144.2572 | 1203987.6389 | 2722145.2048 | 1203989.0611
49 | 2722164.6127 | 1204019.0231 | 2722158.1758 | 1204008.5281 | 2722145.2048 | 1203989.0611
50 | 2722164.6127 | 1204019.0231 | 2722188.0012 | 1204062.1005
51 | 2722188.0012 | 1204062.1005 | 2722193.509 | 1204059.9783 | 2722192.926 | 1204055.741 | 2722188.5844 | 1204048.48 | 2722188.8076 | 1204047.6173 | 2722189.5279 | 1204047.3763 | 2722190.7463 | 1204047.7126 | 2722193.1566 | 1204049.6856 | 2722195.1264 | 1204050.4932 | 2722208.0351 | 1204050.8131 | 2722209.8748 | 1204050.5394 | 2722214.679 | 1204047.8468 | 2722220.112 | 1204046.7794 | 2722220.1522 | 1204046.7667
52 | 2722188.0012 | 1204062.1005 | 2722193.3392 | 1204070.6798
53 | 2722235.0029 | 1204042.1028 | 2722220.1522 | 1204046.7667
54 | 2722193.3392 | 1204070.6798 | 2722195.1306 | 1204073.5588
55 | 2722215.8051 | 1204005.1629 | 2722227.4189 | 1204009.0925
56 | 2722233.5662 | 1204011.1724 | 2722227.4189 | 1204009.0925
57 | 2722235.0029 | 1204042.1028 | 2722235.0029 | 1204042.1028 | 2722237.4409 | 1204040.1179 | 2722238.3404 | 1204038.5573
58 | 2722247.1561 | 1204015.7651 | 2722233.5662 | 1204011.1724
59 | 2722233.5662 | 1204011.1724 | 2722238.3404 | 1204038.5573
60 | 2722247.1561 | 1204015.7651 | 2722247.8401 | 1204008.3847 | 2722247.3376 | 1203980.1532 | 2722247.1955 | 1203970.7432 | 2722240.5163 | 1203877.6923 | 2722240.1525 | 1203870.5573 | 2722236.3661 | 1203855.8799 | 2722232.8204 | 1203846.7659

## bus_geodata
| x | y | coords
0 | 2722398.6199 | 1203402.0767
1 | 2722425.8475 | 1203467.3135
2 | 2722527.705 | 1203545.2681
3 | 2722545.4254 | 1203557.3712
4 | 2722583.9176 | 1203586.5564
5 | 2722602.1051 | 1203614.1862
6 | 2722604.0152 | 1203617.0879
7 | 2722647.451 | 1203740.7503
8 | 2722652.9712 | 1203772.8854
9 | 2722653.6373 | 1203776.7633
10 | 2722663.4143 | 1203775.8078
11 | 2722658.7733 | 1203813.435
12 | 2722683.8491 | 1203792.3523
13 | 2722674.6682 | 1203897.6665
14 | 2722795.4081 | 1203734.9224
15 | 2722676.0947 | 1203904.2758
16 | 2722617.7497 | 1203864.858
17 | 2722579.0305 | 1203905.4371
18 | 2722511.7222 | 1203947.3567
19 | 2722334.8883 | 1203983.6373
20 | 2722328.1605 | 1203958.0136
21 | 2722315.7496 | 1203989.4719
22 | 2722840.011 | 1203780.8366
23 | 2723087.7678 | 1203604.5994
24 | 2723127.4878 | 1204138.0844
25 | 2723161.2692 | 1203403.1864
26 | 2723172.9359 | 1204173.5885
27 | 2723146.8173 | 1204166.5488
28 | 2723212.8912 | 1204216.3491
29 | 2723156.3022 | 1204256.2116
30 | 2723220.9549 | 1204180.0214
31 | 2723223.3125 | 1204185.9967
32 | 2723201.4809 | 1204143.8145
33 | 2723148.5288 | 1203382.071
34 | 2723019.4313 | 1203355.5123
35 | 2723008.6199 | 1203367.6554
36 | 2722945.7565 | 1203324.0396
37 | 2722962.1078 | 1203317.5731
38 | 2722311.4745 | 1203966.8548
39 | 2722297.9267 | 1203999.691
40 | 2722074.781 | 1204017.4967
41 | 2722082.5087 | 1204029.4522
42 | 2722112.551 | 1203966.8083
43 | 2722052.7979 | 1204022.6955
44 | 2722094.6591 | 1204028.8517
45 | 2722112.8657 | 1203972.7428
46 | 2722122.1089 | 1203962.4004
47 | 2722024.8726 | 1204051.0795
48 | 2722041.5309 | 1204010.0457
49 | 2722145.2048 | 1203989.0611
50 | 2722164.6127 | 1204019.0231
51 | 2722188.0012 | 1204062.1005
52 | 2722220.1522 | 1204046.7667
53 | 2722193.3392 | 1204070.6798
54 | 2722215.8051 | 1204005.1629
55 | 2722227.4189 | 1204009.0925
56 | 2722235.0029 | 1204042.1028
57 | 2722195.1306 | 1204073.5588
58 | 2722233.5662 | 1204011.1724
59 | 2722238.3404 | 1204038.5573
60 | 2722247.1561 | 1204015.7651
61 | 2722232.8204 | 1203846.7659
62 | 2722479.4327 | 1203953.1433

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97486 | -0.17732 | 0.0014438 | 0.00036184
1 | 0.97501 | -0.17624 | 0.0011914 | 0.00029858
2 | 0.97552 | -0.17262 | 0.0014222 | 0.00035645
3 | 0.97564 | -0.1717 | 0.0011267 | 0.00028238
4 | 0.97601 | -0.16904 | 0.0022354 | 0.00056025
5 | 0.97637 | -0.16646 | 0.0088319 | 0.0022135
6 | 0.97645 | -0.16587 | 0.0013898 | 0.0003483
7 | 0.97987 | -0.14141 | 0.0029186 | 0.00073147
8 | 0.98085 | -0.13443 | 0.0051505 | 0.0012908
9 | 0.981 | -0.13338 | 0 | 0
10 | 0.98074 | -0.13524 | 0 | 0
11 | 0.98245 | -0.12305 | 0.0029412 | 0.00073713
12 | 0.9799 | -0.14125 | 0.027937 | 0.0070018
13 | 0.98592 | -0.098357 | 0.0025379 | 0.00063607
14 | 0.97826 | -0.15306 | 0 | 0
15 | 0.98621 | -0.09636 | 0 | 0
16 | 0.98948 | -0.07328 | 0.0042197 | 0.0010576
17 | 0.99484 | -0.035781 | 0.030551 | 0.0076569
18 | 1 | 0 | -0.24237 | -0.061055
19 | 0.9847 | -0.10669 | 0 | 0
20 | 0.98403 | -0.11147 | 0.017523 | 0.0043918
21 | 0.98183 | -0.12707 | 0 | 0
22 | 0.9774 | -0.15919 | 0.0028938 | 0.00072525
23 | 0.9755 | -0.17294 | 0.001259 | 0.00031553
24 | 0.97397 | -0.18396 | 0 | 0
25 | 0.9732 | -0.1895 | 0.001518 | 0.00038046
26 | 0.97273 | -0.19283 | 0.0019993 | 0.00050108
27 | 0.97326 | -0.18907 | 0 | 0
28 | 0.97181 | -0.1995 | 0 | 0
29 | 0.97289 | -0.19172 | 0.0027131 | 0.00067996
30 | 0.9712 | -0.20386 | 0 | 0
31 | 0.97112 | -0.20443 | 0.0084667 | 0.002122
32 | 0.97107 | -0.2048 | 0.0021626 | 0.00054201
33 | 0.97299 | -0.19101 | 0.001316 | 0.00032982
34 | 0.97209 | -0.19753 | 0.0013439 | 0.0003368
35 | 0.972 | -0.1982 | 0 | 0
36 | 0.97185 | -0.19929 | 0.0013169 | 0.00033004
37 | 0.97182 | -0.19953 | 0.0018088 | 0.00045334
38 | 0.98037 | -0.13744 | 0.042546 | 0.010663
39 | 0.98014 | -0.13909 | 0.037393 | 0.0093716
40 | 0.97267 | -0.19269 | 0.0013414 | 0.00033619
41 | 0.97252 | -0.1937 | 0 | 0
42 | 0.97398 | -0.18321 | 0 | 0
43 | 0.97216 | -0.19631 | 0 | 0
44 | 0.9725 | -0.19387 | 0.0013202 | 0.00033087
45 | 0.97397 | -0.18328 | 0.0010215 | 0.00025601
46 | 0.97413 | -0.18217 | 0 | 0
47 | 0.97194 | -0.19788 | 0.0037417 | 0.00093776
48 | 0.97212 | -0.1966 | 0.0016554 | 0.00041489
49 | 0.97459 | -0.1788 | 0.0032405 | 0.00081216
50 | 0.97524 | -0.17417 | 0 | 0
51 | 0.97612 | -0.16782 | 0 | 0
52 | 0.97716 | -0.1604 | 0.00048625 | 0.00012187
53 | 0.97611 | -0.16794 | 0.00054491 | 0.00013657
54 | 0.97822 | -0.15283 | 0.0008151 | 0.00020428
55 | 0.97823 | -0.15273 | 0.00049721 | 0.00012461
56 | 0.97748 | -0.15813 | 0.0010395 | 0.00026053
57 | 0.9761 | -0.16796 | 0.00055916 | 0.00014014
58 | 0.97824 | -0.15264 | 0 | 0
59 | 0.97758 | -0.15736 | 0.0012751 | 0.00031956
60 | 0.97861 | -0.15002 | 0 | 0
61 | 0.97826 | -0.15253 | 0.001409 | 0.00035312
62 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0014438 | -0.00036184 | 0.001444 | 0.00036104 | 2.1483e-07 | -8.0148e-07 | 0.0022038 | 0.0022034 | 0.0022038 | 0.97486 | -0.17732 | 0.97501 | -0.17624 | 0.81621
1 | -0.0026353 | -0.00065962 | 0.0026367 | 0.0006585 | 1.3167e-06 | -1.1218e-06 | 0.0040216 | 0.004021 | 0.0040216 | 0.97501 | -0.17624 | 0.97552 | -0.17262 | 1.4895
2 | -0.0040589 | -0.001015 | 0.0040594 | 0.0010149 | 5.1329e-07 | -7.0603e-08 | 0.0061905 | 0.0061904 | 0.0061905 | 0.97552 | -0.17262 | 0.97564 | -0.1717 | 2.2928
3 | -0.0051861 | -0.0012973 | 0.005188 | 0.0012974 | 1.9045e-06 | 1.229e-07 | 0.0079088 | 0.0079086 | 0.0079088 | 0.97564 | -0.1717 | 0.97601 | -0.16904 | 2.9292
4 | -0.0074234 | -0.0018576 | 0.0074261 | 0.0018582 | 2.6434e-06 | 6.0314e-07 | 0.011317 | 0.011316 | 0.011317 | 0.97601 | -0.16904 | 0.97637 | -0.16646 | 4.1913
5 | -0.016258 | -0.0040717 | 0.016259 | 0.0040722 | 1.3307e-06 | 4.6837e-07 | 0.024776 | 0.024776 | 0.024776 | 0.97637 | -0.16646 | 0.97645 | -0.16587 | 9.1765
6 | -0.017649 | -0.0044205 | 0.017709 | 0.0044418 | 5.9874e-05 | 2.1363e-05 | 0.026894 | 0.026894 | 0.026894 | 0.97645 | -0.16587 | 0.97987 | -0.14141 | 9.9608
7 | -0.020627 | -0.0051733 | 0.020647 | 0.0051806 | 1.9966e-05 | 7.268e-06 | 0.031326 | 0.031326 | 0.031326 | 0.97987 | -0.14141 | 0.98085 | -0.13443 | 11.6022
8 | -0.025798 | -0.0064714 | 0.025802 | 0.0064728 | 3.7611e-06 | 1.3969e-06 | 0.039139 | 0.039139 | 0.039139 | 0.98085 | -0.13443 | 0.981 | -0.13338 | 14.496
9 | 0.054989 | 0.013768 | -0.054975 | -0.013763 | 1.4173e-05 | 5.0802e-06 | 0.083405 | 0.083405 | 0.083405 | 0.981 | -0.13338 | 0.98074 | -0.13524 | 10.297
10 | -0.080791 | -0.020241 | 0.080907 | 0.020284 | 0.00011566 | 4.3082e-05 | 0.12254 | 0.12254 | 0.12254 | 0.981 | -0.13338 | 0.98245 | -0.12305 | 15.129
11 | 0.054975 | 0.013763 | -0.05493 | -0.013747 | 4.555e-05 | 1.6328e-05 | 0.083405 | 0.083406 | 0.083406 | 0.98074 | -0.13524 | 0.9799 | -0.14125 | 10.297
12 | -0.083848 | -0.021021 | 0.084136 | 0.021129 | 0.00028774 | 0.0001074 | 0.127 | 0.127 | 0.127 | 0.98245 | -0.12305 | 0.98592 | -0.098357 | 15.6789
13 | 0.026992 | 0.0067453 | -0.026948 | -0.0067331 | 4.3834e-05 | 1.2125e-05 | 0.040982 | 0.040983 | 0.040983 | 0.9799 | -0.14125 | 0.97826 | -0.15306 | 5.0597
14 | -0.086674 | -0.021765 | 0.086698 | 0.021774 | 2.4072e-05 | 8.9996e-06 | 0.13083 | 0.13083 | 0.13083 | 0.98592 | -0.098357 | 0.98621 | -0.09636 | 16.1516
15 | 0.026948 | 0.0067331 | -0.026925 | -0.0067268 | 2.2739e-05 | 6.2965e-06 | 0.040983 | 0.040984 | 0.040984 | 0.97826 | -0.15306 | 0.9774 | -0.15919 | 5.0598
16 | -0.086698 | -0.021774 | 0.086977 | 0.021878 | 0.00027905 | 0.00010431 | 0.13083 | 0.13083 | 0.13083 | 0.98621 | -0.09636 | 0.98948 | -0.07328 | 16.1516
17 | -0.091196 | -0.022936 | 0.091676 | 0.023115 | 0.00047923 | 0.00017958 | 0.13717 | 0.13717 | 0.13717 | 0.98948 | -0.07328 | 0.99484 | -0.035781 | 16.9349
18 | -0.12223 | -0.030772 | 0.12284 | 0.031005 | 0.00061406 | 0.00023272 | 0.18287 | 0.18287 | 0.18287 | 0.99484 | -0.035781 | 1 | 0 | 22.5762
19 | 0.11872 | 0.03005 | -0.11696 | -0.029377 | 0.0017616 | 0.00067288 | 0.17677 | 0.17677 | 0.17677 | 1 | 0 | 0.9847 | -0.10669 | 32.7351
20 | 0.017535 | 0.0043959 | -0.017523 | -0.0043918 | 1.1608e-05 | 4.1277e-06 | 0.026498 | 0.026498 | 0.026498 | 0.9847 | -0.10669 | 0.98403 | -0.11147 | 9.8143
21 | 0.099428 | 0.024981 | -0.099146 | -0.024873 | 0.0002812 | 0.0001079 | 0.15027 | 0.15027 | 0.15027 | 0.9847 | -0.10669 | 0.98183 | -0.12707 | 55.656
22 | 0.042607 | 0.010686 | -0.042546 | -0.010663 | 6.115e-05 | 2.3222e-05 | 0.064576 | 0.064577 | 0.064577 | 0.98183 | -0.12707 | 0.98037 | -0.13744 | 23.9172
23 | 0.056539 | 0.014187 | -0.056445 | -0.014151 | 9.4146e-05 | 3.595e-05 | 0.085695 | 0.085695 | 0.085695 | 0.98183 | -0.12707 | 0.98014 | -0.13909 | 31.7388
24 | 0.0086016 | 0.0021466 | -0.0085854 | -0.002148 | 1.6263e-05 | -1.3515e-06 | 0.013092 | 0.013095 | 0.013095 | 0.9774 | -0.15919 | 0.9755 | -0.17294 | 2.4249
25 | 0.01543 | 0.0038549 | -0.015377 | -0.0038519 | 5.2627e-05 | 3.0604e-06 | 0.023487 | 0.023493 | 0.023493 | 0.9774 | -0.15919 | 0.97397 | -0.18396 | 2.9003
26 | 0.0073264 | 0.0018324 | -0.0073097 | -0.0018287 | 1.6707e-05 | 3.7553e-06 | 0.011174 | 0.011175 | 0.011175 | 0.9755 | -0.17294 | 0.9732 | -0.1895 | 4.139
27 | 0.015377 | 0.0038519 | -0.015367 | -0.0038512 | 1.0871e-05 | 6.484e-07 | 0.023493 | 0.023494 | 0.023494 | 0.97397 | -0.18396 | 0.97326 | -0.18907 | 2.9005
28 | 0.0057916 | 0.0014482 | -0.0057904 | -0.0014481 | 1.2113e-06 | 1.5828e-07 | 0.0088541 | 0.0088542 | 0.0088542 | 0.9732 | -0.1895 | 0.97299 | -0.19101 | 3.2793
29 | -0.012646 | -0.0031699 | 0.012653 | 0.003172 | 6.5771e-06 | 2.1798e-06 | 0.019345 | 0.019345 | 0.019345 | 0.97273 | -0.19283 | 0.97326 | -0.18907 | 7.1648
30 | 0.010647 | 0.0026688 | -0.010637 | -0.0026657 | 9.829e-06 | 3.0439e-06 | 0.016287 | 0.016287 | 0.016287 | 0.97273 | -0.19283 | 0.97181 | -0.1995 | 6.0322
31 | 0.0027141 | 0.00067919 | -0.0027131 | -0.00067996 | 9.9424e-07 | -7.6717e-07 | 0.0041492 | 0.0041496 | 0.0041496 | 0.97326 | -0.18907 | 0.97289 | -0.19172 | 1.5369
32 | 0.010637 | 0.0026657 | -0.01063 | -0.0026638 | 6.4156e-06 | 1.9876e-06 | 0.016287 | 0.016287 | 0.016287 | 0.97181 | -0.1995 | 0.9712 | -0.20386 | 6.0322
33 | 0.0084674 | 0.0021221 | -0.0084667 | -0.002122 | 6.7446e-07 | 1.7994e-07 | 0.012973 | 0.012973 | 0.012973 | 0.9712 | -0.20386 | 0.97112 | -0.20443 | 4.8049
34 | 0.0021629 | 0.00054161 | -0.0021626 | -0.00054201 | 2.8346e-07 | -4.028e-07 | 0.0033137 | 0.0033139 | 0.0033139 | 0.9712 | -0.20386 | 0.97107 | -0.2048 | 1.2274
35 | 0.0044744 | 0.0011183 | -0.0044704 | -0.0011184 | 4.0189e-06 | -1.6149e-07 | 0.0068417 | 0.0068423 | 0.0068423 | 0.97299 | -0.19101 | 0.97209 | -0.19753 | 2.5342
36 | 0.0031265 | 0.00078162 | -0.0031262 | -0.00078175 | 2.8585e-07 | -1.3805e-07 | 0.0047852 | 0.0047853 | 0.0047853 | 0.97209 | -0.19753 | 0.972 | -0.1982 | 1.7723
37 | 0.0013171 | 0.00032915 | -0.0013169 | -0.00033004 | 1.9821e-07 | -8.9226e-07 | 0.0020159 | 0.0020163 | 0.0020163 | 0.972 | -0.1982 | 0.97185 | -0.19929 | 0.74677
38 | 0.0018092 | 0.00045261 | -0.0018088 | -0.00045334 | 3.3227e-07 | -7.3253e-07 | 0.0027693 | 0.0027697 | 0.0027697 | 0.972 | -0.1982 | 0.97182 | -0.19953 | 1.0258
39 | 0.019052 | 0.0047796 | -0.019023 | -0.0047692 | 2.8825e-05 | 1.0392e-05 | 0.028926 | 0.028926 | 0.028926 | 0.98014 | -0.13909 | 0.97861 | -0.15002 | 10.7133
40 | 0.0067211 | 0.0016834 | -0.0067202 | -0.0016832 | 9.4545e-07 | 1.8577e-07 | 0.010282 | 0.010282 | 0.010282 | 0.97267 | -0.19269 | 0.97252 | -0.1937 | 3.8081
41 | -0.0080626 | -0.0020196 | 0.0080731 | 0.0020223 | 1.0572e-05 | 2.6819e-06 | 0.012334 | 0.012334 | 0.012334 | 0.97267 | -0.19269 | 0.97398 | -0.18321 | 4.5681
42 | 0.0054 | 0.0013525 | -0.005398 | -0.0013523 | 1.9421e-06 | 1.8142e-07 | 0.0082619 | 0.0082621 | 0.0082621 | 0.97252 | -0.1937 | 0.97216 | -0.19631 | 3.06
43 | 0.0013202 | 0.00033073 | -0.0013202 | -0.00033087 | 3.0975e-08 | -1.3903e-07 | 0.00202 | 0.00202 | 0.00202 | 0.97252 | -0.1937 | 0.9725 | -0.19387 | 0.74816
44 | 0.0010215 | 0.00025594 | -0.0010215 | -0.00025601 | 9.3078e-09 | -7.2643e-08 | 0.0015606 | 0.0015606 | 0.0015606 | 0.97398 | -0.18321 | 0.97397 | -0.18328 | 0.57801
45 | -0.0090946 | -0.0022782 | 0.0090959 | 0.0022786 | 1.3051e-06 | 3.6709e-07 | 0.013894 | 0.013894 | 0.013894 | 0.97398 | -0.18321 | 0.97413 | -0.18217 | 5.146
46 | 0.0037425 | 0.00093758 | -0.0037417 | -0.00093776 | 8.1428e-07 | -1.7979e-07 | 0.0057282 | 0.0057284 | 0.0057284 | 0.97216 | -0.19631 | 0.97194 | -0.19788 | 2.1216
47 | 0.0016555 | 0.00041471 | -0.0016554 | -0.00041489 | 6.8404e-08 | -1.8537e-07 | 0.0025339 | 0.002534 | 0.002534 | 0.97216 | -0.19631 | 0.97212 | -0.1966 | 0.9385
48 | -0.0090959 | -0.0022786 | 0.0091002 | 0.0022798 | 4.2513e-06 | 1.1955e-06 | 0.013894 | 0.013894 | 0.013894 | 0.97413 | -0.18217 | 0.97459 | -0.1788 | 5.1459
49 | -0.012341 | -0.0030919 | 0.012349 | 0.0030945 | 7.9092e-06 | 2.5968e-06 | 0.018842 | 0.018841 | 0.018842 | 0.97459 | -0.1788 | 0.97524 | -0.17417 | 6.9784
50 | -0.012349 | -0.0030945 | 0.01236 | 0.0030981 | 1.0852e-05 | 3.562e-06 | 0.018841 | 0.018841 | 0.018841 | 0.97524 | -0.17417 | 0.97612 | -0.16782 | 6.9783
51 | -0.013464 | -0.0033746 | 0.013477 | 0.0033793 | 1.3841e-05 | 4.6646e-06 | 0.020524 | 0.020524 | 0.020524 | 0.97612 | -0.16782 | 0.97716 | -0.1604 | 7.6016
52 | 0.0011041 | 0.00027654 | -0.0011041 | -0.00027666 | 1.786e-08 | -1.1944e-07 | 0.001683 | 0.0016831 | 0.0016831 | 0.97612 | -0.16782 | 0.97611 | -0.16794 | 0.62336
53 | -0.013964 | -0.0035012 | 0.013968 | 0.0035026 | 4.392e-06 | 1.4942e-06 | 0.021264 | 0.021264 | 0.021264 | 0.97716 | -0.1604 | 0.97748 | -0.15813 | 7.8757
54 | 0.00055916 | 0.0001401 | -0.00055916 | -0.00014014 | 1.5374e-09 | -4.1793e-08 | 0.00085239 | 0.00085241 | 0.00085241 | 0.97611 | -0.16794 | 0.9761 | -0.16796 | 0.31571
55 | -0.0008151 | -0.00020428 | 0.00081511 | 0.00020413 | 1.1761e-08 | -1.494e-07 | 0.0012399 | 0.0012398 | 0.0012399 | 0.97822 | -0.15283 | 0.97823 | -0.15273 | 0.45922
56 | -0.0013123 | -0.00032875 | 0.0013123 | 0.00032867 | 1.6136e-08 | -7.5269e-08 | 0.0019962 | 0.0019961 | 0.0019962 | 0.97823 | -0.15273 | 0.97824 | -0.15264 | 0.73932
57 | -0.015008 | -0.0037632 | 0.015009 | 0.0037637 | 1.6107e-06 | 5.575e-07 | 0.022847 | 0.022847 | 0.022847 | 0.97748 | -0.15813 | 0.97758 | -0.15736 | 8.4618
58 | -0.017607 | -0.0044157 | 0.017614 | 0.004418 | 6.4043e-06 | 2.2835e-06 | 0.026784 | 0.026784 | 0.026784 | 0.97824 | -0.15264 | 0.97861 | -0.15002 | 9.9199
59 | 0.016295 | 0.004087 | -0.016284 | -0.0040833 | 1.0658e-05 | 3.7504e-06 | 0.024788 | 0.024788 | 0.024788 | 0.97824 | -0.15264 | 0.97758 | -0.15736 | 9.1806
60 | 0.0014095 | 0.00035117 | -0.001409 | -0.00035312 | 4.8831e-07 | -1.9527e-06 | 0.0021424 | 0.0021432 | 0.0021432 | 0.97861 | -0.15002 | 0.97826 | -0.15253 | 0.79377

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24237 | 0.061055

## res_load
| p_mw | q_mvar
0 | 0.0014438 | 0.00036184
1 | 0.0011914 | 0.00029858
2 | 0.0014222 | 0.00035645
3 | 0.0011267 | 0.00028238
4 | 0.0022354 | 0.00056025
5 | 0.0088319 | 0.0022135
6 | 0.0013898 | 0.0003483
7 | 0.0029186 | 0.00073147
8 | 0.0051505 | 0.0012908
9 | 0.0029412 | 0.00073713
10 | 0.027937 | 0.0070018
11 | 0.0025379 | 0.00063607
12 | 0.0042197 | 0.0010576
13 | 0.030551 | 0.0076569
14 | 0.017523 | 0.0043918
15 | 0.0028938 | 0.00072525
16 | 0.001259 | 0.00031553
17 | 0.001518 | 0.00038046
18 | 0.0019993 | 0.00050108
19 | 0.0027131 | 0.00067996
20 | 0.0084667 | 0.002122
21 | 0.0021626 | 0.00054201
22 | 0.001316 | 0.00032982
23 | 0.0013439 | 0.0003368
24 | 0.0013169 | 0.00033004
25 | 0.0018088 | 0.00045334
26 | 0.042546 | 0.010663
27 | 0.037393 | 0.0093716
28 | 0.0013414 | 0.00033619
29 | 0.0013202 | 0.00033087
30 | 0.0010215 | 0.00025601
31 | 0.0037417 | 0.00093776
32 | 0.0016554 | 0.00041489
33 | 0.0032405 | 0.00081216
34 | 0.00048625 | 0.00012187
35 | 0.00054491 | 0.00013657
36 | 0.0008151 | 0.00020428
37 | 0.00049721 | 0.00012461
38 | 0.0010395 | 0.00026053
39 | 0.00055916 | 0.00014014
40 | 0.0012751 | 0.00031956
41 | 0.001409 | 0.00035312

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1