## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-125_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-125_0_3_node_41 | 0.4 | n |  | TRUE
2 | bus_LV_1631-125_0_3_node_14 | 0.4 | n |  | TRUE
3 | bus_LV_1631-125_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1631-125_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1631-125_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1631-125_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1631-125_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1631-125_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1631-125_0_3_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_1631-125_0_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_1631-125_0_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1631-125_0_3_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_1631-125_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1631-125_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1631-125_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1631-125_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1631-125_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1631-125_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1631-125_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1631-125_0_3_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_1631-125_0_3_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1631-125_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_1631-125_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1631-125_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1631-125_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1631-125_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1631-125_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1631-125_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1631-125_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1631-125_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1631-125_0_3_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1631-125_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1631-125_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1631-125_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1631-125_0_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1631-125_0_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1631-125_0_3_node_37 | 0.4 | n |  | TRUE
38 | bus_MV_145_0_node_262 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-125_0_3_load_0 | 0 | 0.0074435 | 0.0018655 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-125_0_3_load_41 | 1 | 0.0052258 | 0.0013097 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-125_0_3_load_2 | 3 | 0.0066053 | 0.0016554 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-125_0_3_load_3 | 4 | 0.0047368 | 0.0011871 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-125_0_3_load_5 | 6 | 0.0057117 | 0.0014315 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-125_0_3_load_6 | 7 | 0.01281 | 0.0032104 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-125_0_3_load_7 | 8 | 0.0065431 | 0.0016399 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-125_0_3_load_26 | 9 | 0.0090249 | 0.0022619 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-125_0_3_load_25 | 10 | 0.0034415 | 0.00086252 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-125_0_3_load_27 | 11 | 0.0054717 | 0.0013713 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-125_0_3_load_23 | 12 | 0.0051778 | 0.0012977 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-125_0_3_load_8 | 13 | 0.0086149 | 0.0021591 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-125_0_3_load_9 | 14 | 0.0064903 | 0.0016266 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-125_0_3_load_11 | 15 | 0.016175 | 0.0040539 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-125_0_3_load_13 | 16 | 0.0024823 | 0.00062211 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-125_0_3_load_17 | 19 | 0.0037859 | 0.00094883 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-125_0_3_load_15 | 21 | 0.0058984 | 0.0014783 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-125_0_3_load_28 | 23 | 0.0040075 | 0.0010044 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-125_0_3_load_16 | 24 | 0.0053291 | 0.0013356 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-125_0_3_load_20 | 27 | 0.0036374 | 0.00091162 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-125_0_3_load_32 | 28 | 0.0056029 | 0.0014042 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-125_0_3_load_30 | 29 | 0.0088281 | 0.0022125 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-125_0_3_load_24 | 30 | 0.0039573 | 0.00099179 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-125_0_3_load_40 | 31 | 0.0073207 | 0.0018347 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-125_0_3_load_22 | 32 | 0.0044961 | 0.0011268 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-125_0_3_load_34 | 33 | 0.004249 | 0.0010649 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-125_0_3_load_33 | 34 | 0.003182 | 0.00079747 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-125_0_3_load_35 | 35 | 0.0033818 | 0.00084755 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-125_0_3_load_36 | 36 | 0.0026284 | 0.00065873 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-125_0_3_load_37 | 37 | 0.0095668 | 0.0023977 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-125_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.15352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-125_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.12992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-125_0_3_line_2 | NAYY 4x150 SE | 2 | 22 | 0.007456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-125_0_3_line_3 | NAYY 4x150 SE | 2 | 16 | 0.028769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-125_0_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.0023654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-125_0_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.04468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-125_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0082865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1631-125_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.018893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-125_0_3_line_8 | NAYY 4x150 SE | 5 | 8 | 0.009206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-125_0_3_line_9 | NAYY 4x150 SE | 6 | 9 | 0.014875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1631-125_0_3_line_10 | NAYY 4x150 SE | 7 | 10 | 0.018771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-125_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.00067521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1631-125_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0028763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-125_0_3_line_13 | NAYY 4x150 SE | 11 | 23 | 0.0092927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1631-125_0_3_line_14 | NAYY 4x150 SE | 12 | 32 | 0.006228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-125_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.01602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-125_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.020797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-125_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.00098174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-125_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.055139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-125_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.069436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-125_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.009576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-125_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.010457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-125_0_3_line_22 | NAYY 4x150 SE | 20 | 33 | 0.084773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-125_0_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.012313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-125_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.017071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1631-125_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.014262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-125_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.007331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-125_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.020721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-125_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.033469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-125_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.018351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-125_0_3_line_30 | NAYY 4x150 SE | 27 | 30 | 0.0073676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-125_0_3_line_31 | NAYY 4x150 SE | 28 | 31 | 0.0084176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-125_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.0028017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-125_0_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.0010501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-125_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.021187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-125_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.0030522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-125_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.025635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-125_0_3_trafo_29 | 0.25 MVA 20/0.4 kV | 38 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2722757.5891 | 1204416.113 | 2722661.1931 | 1204535.6002
1 | 2722832.1986 | 1204316.6833 | 2722792.0802 | 1204350.9285 | 2722776.1413 | 1204369.5705 | 2722759.137 | 1204390.4366 | 2722757.8644 | 1204394.9583 | 2722757.5891 | 1204416.113
2 | 2722832.1986 | 1204316.6833 | 2722836.3325 | 1204322.8952
3 | 2722832.1986 | 1204316.6833 | 2722816.3374 | 1204292.6811
4 | 2722826.5621 | 1204379.4325 | 2722825.1688 | 1204377.521
5 | 2722863.9793 | 1204364.7398 | 2722846.9922 | 1204374.3976 | 2722835.9473 | 1204383.0214 | 2722834.148 | 1204383.5515 | 2722831.0411 | 1204383.2763 | 2722828.6636 | 1204382.3155 | 2722826.5621 | 1204379.4325
6 | 2722863.9793 | 1204364.7398 | 2722859.7703 | 1204357.6018
7 | 2722863.9793 | 1204364.7398 | 2722868.8259 | 1204357.4006 | 2722867.6872 | 1204347.3667
8 | 2722863.9793 | 1204364.7398 | 2722868.7501 | 1204372.6131
9 | 2722851.6499 | 1204345.1667 | 2722855.258 | 1204349.9493 | 2722859.7703 | 1204357.6018
10 | 2722867.6872 | 1204347.3667 | 2722867.2283 | 1204343.3238 | 2722866.218 | 1204332.8841 | 2722866.0748 | 1204328.673
11 | 2722851.6499 | 1204345.1667 | 2722851.2433 | 1204344.6277
12 | 2722865.9771 | 1204325.7984 | 2722866.0748 | 1204328.673
13 | 2722845.8049 | 1204337.0971 | 2722847.6572 | 1204339.8742 | 2722851.2433 | 1204344.6277
14 | 2722865.9771 | 1204325.7984 | 2722865.7655 | 1204319.574
15 | 2722795.4983 | 1204261.146 | 2722804.3303 | 1204274.5112
16 | 2722815.7962 | 1204291.8621 | 2722804.3303 | 1204274.5112
17 | 2722815.7962 | 1204291.8621 | 2722816.3374 | 1204292.6811
18 | 2722885.3506 | 1204179.8514 | 2722870.1134 | 1204183.5963 | 2722832.5995 | 1204196.2564
19 | 2722832.5995 | 1204196.2564 | 2722848.1856 | 1204237.6748 | 2722848.6757 | 1204244.1787 | 2722847.47 | 1204252.1043 | 2722844.6953 | 1204262.3793
20 | 2722894.9474 | 1204179.4819 | 2722885.3506 | 1204179.8514
21 | 2722845.3678 | 1204272.5209 | 2722843.9641 | 1204268.6224 | 2722844.2241 | 1204264.1243 | 2722844.6953 | 1204262.3793
22 | 2722894.9474 | 1204179.4819 | 2722916.7202 | 1204261.4113
23 | 2722845.3678 | 1204272.5209 | 2722845.3678 | 1204272.5209 | 2722847.9495 | 1204276.1322 | 2722854.4274 | 1204280.6085
24 | 2722836.3325 | 1204322.8952 | 2722845.8049 | 1204337.0971
25 | 2722866.1608 | 1204288.7163 | 2722854.4274 | 1204280.6085
26 | 2722866.1608 | 1204288.7163 | 2722867.4737 | 1204281.5046
27 | 2722866.1608 | 1204288.7163 | 2722865.6054 | 1204295.7324 | 2722865.3316 | 1204306.8129 | 2722865.4199 | 1204309.4105
28 | 2722867.4737 | 1204281.5046 | 2722879.1109 | 1204284.4128 | 2722888.5304 | 1204303.7108
29 | 2722867.4737 | 1204281.5046 | 2722870.7669 | 1204263.4518
30 | 2722865.4199 | 1204309.4105 | 2722865.6703 | 1204316.7739
31 | 2722895.6837 | 1204307.082 | 2722889.3414 | 1204305.3724 | 2722888.5304 | 1204303.7108
32 | 2722865.6703 | 1204316.7739 | 2722865.7655 | 1204319.574
33 | 2722916.9899 | 1204262.4262 | 2722916.7202 | 1204261.4113
34 | 2722916.9899 | 1204262.4262 | 2722922.4314 | 1204282.9021
35 | 2722923.2153 | 1204285.8519 | 2722922.4314 | 1204282.9021
36 | 2722923.2153 | 1204285.8519 | 2722929.7992 | 1204310.6267

## bus_geodata
| x | y | coords
0 | 2722661.1931 | 1204535.6002
1 | 2722757.5891 | 1204416.113
2 | 2722832.1986 | 1204316.6833
3 | 2722826.5621 | 1204379.4325
4 | 2722825.1688 | 1204377.521
5 | 2722863.9793 | 1204364.7398
6 | 2722859.7703 | 1204357.6018
7 | 2722867.6872 | 1204347.3667
8 | 2722868.7501 | 1204372.6131
9 | 2722851.6499 | 1204345.1667
10 | 2722866.0748 | 1204328.673
11 | 2722851.2433 | 1204344.6277
12 | 2722865.9771 | 1204325.7984
13 | 2722795.4983 | 1204261.146
14 | 2722804.3303 | 1204274.5112
15 | 2722815.7962 | 1204291.8621
16 | 2722816.3374 | 1204292.6811
17 | 2722832.5995 | 1204196.2564
18 | 2722885.3506 | 1204179.8514
19 | 2722844.6953 | 1204262.3793
20 | 2722894.9474 | 1204179.4819
21 | 2722845.3678 | 1204272.5209
22 | 2722836.3325 | 1204322.8952
23 | 2722845.8049 | 1204337.0971
24 | 2722854.4274 | 1204280.6085
25 | 2722866.1608 | 1204288.7163
26 | 2722867.4737 | 1204281.5046
27 | 2722865.4199 | 1204309.4105
28 | 2722888.5304 | 1204303.7108
29 | 2722870.7669 | 1204263.4518
30 | 2722865.6703 | 1204316.7739
31 | 2722895.6837 | 1204307.082
32 | 2722865.7655 | 1204319.574
33 | 2722916.7202 | 1204261.4113
34 | 2722916.9899 | 1204262.4262
35 | 2722922.4313 | 1204282.9021
36 | 2722923.2153 | 1204285.8519
37 | 2722929.7992 | 1204310.6267
38 | 2722840.1371 | 1204322.184

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99551 | -0.03147 | 0.0074435 | 0.0018655
1 | 0.99715 | -0.019969 | 0.0052258 | 0.0013097
2 | 0.99951 | -0.0034594 | 0 | 0
3 | 0.99475 | -0.036589 | 0.0066053 | 0.0016554
4 | 0.99473 | -0.036702 | 0.0047368 | 0.0011871
5 | 0.99547 | -0.03148 | 0 | 0
6 | 0.99614 | -0.026842 | 0.0057117 | 0.0014315
7 | 0.99292 | -0.049285 | 0.01281 | 0.0032104
8 | 0.99539 | -0.032087 | 0.0065431 | 0.0016399
9 | 0.99739 | -0.018105 | 0.0090249 | 0.0022619
10 | 0.99074 | -0.06462 | 0.0034415 | 0.00086252
11 | 0.99745 | -0.017679 | 0.0054717 | 0.0013713
12 | 0.99042 | -0.066875 | 0.0051778 | 0.0012977
13 | 0.99743 | -0.01802 | 0.0086149 | 0.0021591
14 | 0.99763 | -0.016635 | 0.0064903 | 0.0016266
15 | 0.99807 | -0.013486 | 0.016175 | 0.0040539
16 | 0.99812 | -0.013178 | 0.0024823 | 0.00062211
17 | 0.98291 | -0.11986 | 0 | 0
18 | 0.98106 | -0.133 | 0 | 0
19 | 0.98524 | -0.10338 | 0.0037859 | 0.00094883
20 | 0.98074 | -0.13529 | 0 | 0
21 | 0.98565 | -0.1005 | 0.0058984 | 0.0014783
22 | 1 | 0 | -0.18421 | -0.046167
23 | 0.99833 | -0.011558 | 0.0040075 | 0.0010044
24 | 0.98623 | -0.096364 | 0.0053291 | 0.0013356
25 | 0.98702 | -0.0908 | 0 | 0
26 | 0.98679 | -0.092435 | 0 | 0
27 | 0.98882 | -0.078127 | 0.0036374 | 0.00091162
28 | 0.98616 | -0.096871 | 0.0056029 | 0.0014042
29 | 0.98656 | -0.094096 | 0.0088281 | 0.0022125
30 | 0.98949 | -0.073359 | 0.0039573 | 0.00099179
31 | 0.98607 | -0.097504 | 0.0073207 | 0.0018347
32 | 0.98977 | -0.071434 | 0.0044961 | 0.0011268
33 | 0.97789 | -0.15559 | 0.004249 | 0.0010649
34 | 0.97786 | -0.1558 | 0.003182 | 0.00079747
35 | 0.97738 | -0.15925 | 0.0033818 | 0.00084755
36 | 0.97733 | -0.15964 | 0.0026284 | 0.00065873
37 | 0.97697 | -0.1622 | 0.0095668 | 0.0023977
38 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0074435 | -0.0018655 | 0.0074554 | 0.0018681 | 1.1858e-05 | 2.5614e-06 | 0.011126 | 0.011125 | 0.011126 | 0.99551 | -0.03147 | 0.99715 | -0.019969 | 4.1207
1 | -0.012681 | -0.0031778 | 0.01271 | 0.0031873 | 2.903e-05 | 9.4666e-06 | 0.018924 | 0.018923 | 0.018924 | 0.99715 | -0.019969 | 0.99951 | -0.0034594 | 7.0088
2 | -0.046528 | -0.011669 | 0.04655 | 0.011678 | 2.2325e-05 | 8.489e-06 | 0.069272 | 0.069272 | 0.069272 | 0.99951 | -0.0034594 | 1 | 0 | 25.6562
3 | 0.033818 | 0.008482 | -0.033772 | -0.0084649 | 4.5508e-05 | 1.7127e-05 | 0.050349 | 0.050349 | 0.050349 | 0.99951 | -0.0034594 | 0.99812 | -0.013178 | 18.6477
4 | 0.0047368 | 0.0011871 | -0.0047368 | -0.0011871 | 7.4106e-08 | -2.2043e-09 | 0.0070857 | 0.0070857 | 0.0070857 | 0.99475 | -0.036589 | 0.99473 | -0.036702 | 2.6243
5 | -0.011342 | -0.0028426 | 0.01135 | 0.0028451 | 8.0255e-06 | 2.5063e-06 | 0.016966 | 0.016966 | 0.016966 | 0.99475 | -0.036589 | 0.99547 | -0.03148 | 6.2838
6 | -0.11208 | -0.028206 | 0.11216 | 0.028234 | 7.2608e-05 | 2.771e-05 | 0.16758 | 0.16758 | 0.16758 | 0.99547 | -0.03148 | 0.99614 | -0.026842 | 31.0339
7 | 0.094191 | 0.023721 | -0.093957 | -0.023631 | 0.00023384 | 8.9694e-05 | 0.14084 | 0.14084 | 0.14084 | 0.99547 | -0.03148 | 0.99292 | -0.049285 | 52.1613
8 | 0.0065436 | 0.0016399 | -0.0065431 | -0.0016399 | 5.496e-07 | 9.1712e-08 | 0.0097813 | 0.0097813 | 0.0097813 | 0.99547 | -0.03148 | 0.99539 | -0.032087 | 3.6227
9 | -0.11787 | -0.029665 | 0.11801 | 0.02972 | 0.00014395 | 5.4976e-05 | 0.17611 | 0.17611 | 0.17611 | 0.99614 | -0.026842 | 0.99739 | -0.018105 | 32.6139
10 | 0.081148 | 0.020421 | -0.080974 | -0.020355 | 0.00017331 | 6.6414e-05 | 0.12164 | 0.12164 | 0.12164 | 0.99292 | -0.049285 | 0.99074 | -0.06462 | 45.0515
11 | -0.12704 | -0.031982 | 0.12705 | 0.031985 | 7.5713e-06 | 2.8944e-06 | 0.18958 | 0.18958 | 0.18958 | 0.99739 | -0.018105 | 0.99745 | -0.017679 | 35.1072
12 | 0.077533 | 0.019492 | -0.077508 | -0.019483 | 2.4347e-05 | 9.3272e-06 | 0.11647 | 0.11647 | 0.11647 | 0.99074 | -0.06462 | 0.99042 | -0.066875 | 43.1371
13 | -0.13252 | -0.033356 | 0.13263 | 0.0334 | 0.00011337 | 4.336e-05 | 0.19774 | 0.19774 | 0.19774 | 0.99745 | -0.017679 | 0.99833 | -0.011558 | 36.6189
14 | 0.072331 | 0.018185 | -0.072285 | -0.018168 | 4.5911e-05 | 1.7578e-05 | 0.10869 | 0.10869 | 0.10869 | 0.99042 | -0.066875 | 0.98977 | -0.071434 | 40.2559
15 | -0.0086149 | -0.0021591 | 0.0086165 | 0.0021595 | 1.6512e-06 | 4.2593e-07 | 0.012852 | 0.012852 | 0.012852 | 0.99743 | -0.01802 | 0.99763 | -0.016635 | 4.76
16 | -0.015107 | -0.0037861 | 0.015113 | 0.0037884 | 6.5888e-06 | 2.2625e-06 | 0.022533 | 0.022533 | 0.022533 | 0.99763 | -0.016635 | 0.99807 | -0.013486 | 8.3454
17 | -0.031289 | -0.0078423 | 0.03129 | 0.0078428 | 1.3331e-06 | 4.9988e-07 | 0.046648 | 0.046648 | 0.046648 | 0.99807 | -0.013486 | 0.99812 | -0.013178 | 17.2771
18 | 0.023134 | 0.0058124 | -0.023092 | -0.0057969 | 4.2216e-05 | 1.5539e-05 | 0.035028 | 0.035028 | 0.035028 | 0.98291 | -0.11986 | 0.98106 | -0.133 | 12.9734
19 | -0.023134 | -0.0058124 | 0.023187 | 0.005832 | 5.3161e-05 | 1.9565e-05 | 0.035028 | 0.035028 | 0.035028 | 0.98291 | -0.11986 | 0.98524 | -0.10338 | 12.9733
20 | 0.023092 | 0.0057969 | -0.023085 | -0.0057942 | 7.3317e-06 | 2.699e-06 | 0.035028 | 0.035028 | 0.035028 | 0.98106 | -0.133 | 0.98074 | -0.13529 | 12.9734
21 | -0.026973 | -0.0067808 | 0.026984 | 0.0067849 | 1.0833e-05 | 4.0332e-06 | 0.040746 | 0.040745 | 0.040746 | 0.98524 | -0.10338 | 0.98565 | -0.1005 | 15.0909
22 | 0.023085 | 0.0057942 | -0.02302 | -0.0057703 | 6.4906e-05 | 2.3897e-05 | 0.035028 | 0.035029 | 0.035029 | 0.98074 | -0.13529 | 0.97789 | -0.15559 | 12.9736
23 | -0.032883 | -0.0082631 | 0.032901 | 0.0082703 | 1.8941e-05 | 7.1279e-06 | 0.04965 | 0.04965 | 0.04965 | 0.98565 | -0.1005 | 0.98623 | -0.096364 | 18.3889
24 | 0.13686 | 0.034489 | -0.13664 | -0.034404 | 0.00022103 | 8.4566e-05 | 0.20371 | 0.20372 | 0.20372 | 1 | 0 | 0.99833 | -0.011558 | 37.725
25 | -0.038231 | -0.0096058 | 0.03826 | 0.0096171 | 2.962e-05 | 1.121e-05 | 0.057691 | 0.05769 | 0.057691 | 0.98623 | -0.096364 | 0.98702 | -0.0908 | 21.3669
26 | 0.021767 | 0.0054566 | -0.021762 | -0.0054548 | 4.9264e-06 | 1.8011e-06 | 0.032816 | 0.032816 | 0.032816 | 0.98702 | -0.0908 | 0.98679 | -0.092435 | 12.1543
27 | -0.060027 | -0.015074 | 0.060133 | 0.015114 | 0.00010592 | 4.0471e-05 | 0.090507 | 0.090507 | 0.090507 | 0.98702 | -0.0908 | 0.98882 | -0.078127 | 33.5211
28 | 0.012932 | 0.0032417 | -0.012924 | -0.0032391 | 7.9425e-06 | 2.6275e-06 | 0.019501 | 0.019501 | 0.019501 | 0.98679 | -0.092435 | 0.98616 | -0.096871 | 7.2227
29 | 0.0088301 | 0.0022131 | -0.0088281 | -0.0022125 | 2.0302e-06 | 5.4648e-07 | 0.013315 | 0.013315 | 0.013315 | 0.98679 | -0.092435 | 0.98656 | -0.094096 | 4.9316
30 | -0.063771 | -0.016026 | 0.063813 | 0.016042 | 4.2353e-05 | 1.6195e-05 | 0.095981 | 0.095981 | 0.095981 | 0.98882 | -0.078127 | 0.98949 | -0.073359 | 35.5484
31 | 0.0073213 | 0.0018349 | -0.0073207 | -0.0018347 | 6.4103e-07 | 1.3916e-07 | 0.011047 | 0.011047 | 0.011047 | 0.98616 | -0.096871 | 0.98607 | -0.097504 | 4.0915
32 | -0.06777 | -0.017034 | 0.067789 | 0.017041 | 1.8165e-05 | 6.9504e-06 | 0.10193 | 0.10193 | 0.10193 | 0.98949 | -0.073359 | 0.98977 | -0.071434 | 37.7524
33 | 0.018771 | 0.0047054 | -0.01877 | -0.0047052 | 5.3458e-07 | 1.9244e-07 | 0.028563 | 0.028563 | 0.028563 | 0.97789 | -0.15559 | 0.97786 | -0.1558 | 10.579
34 | 0.015588 | 0.0039077 | -0.015581 | -0.0039051 | 7.4391e-06 | 2.5955e-06 | 0.023721 | 0.023721 | 0.023721 | 0.97786 | -0.1558 | 0.97738 | -0.15925 | 8.7857
35 | 0.012199 | 0.0030576 | -0.012199 | -0.0030574 | 6.5697e-07 | 2.1443e-07 | 0.018573 | 0.018573 | 0.018573 | 0.97738 | -0.15925 | 0.97733 | -0.15964 | 6.8788
36 | 0.0095702 | 0.0023986 | -0.0095668 | -0.0023977 | 3.3962e-06 | 9.8512e-07 | 0.014571 | 0.014571 | 0.014571 | 0.97733 | -0.15964 | 0.97697 | -0.1622 | 5.3967

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18421 | 0.046167

## res_load
| p_mw | q_mvar
0 | 0.0074435 | 0.0018655
1 | 0.0052258 | 0.0013097
2 | 0.0066053 | 0.0016554
3 | 0.0047368 | 0.0011871
4 | 0.0057117 | 0.0014315
5 | 0.01281 | 0.0032104
6 | 0.0065431 | 0.0016399
7 | 0.0090249 | 0.0022619
8 | 0.0034415 | 0.00086252
9 | 0.0054717 | 0.0013713
10 | 0.0051778 | 0.0012977
11 | 0.0086149 | 0.0021591
12 | 0.0064903 | 0.0016266
13 | 0.016175 | 0.0040539
14 | 0.0024823 | 0.00062211
15 | 0.0037859 | 0.00094883
16 | 0.0058984 | 0.0014783
17 | 0.0040075 | 0.0010044
18 | 0.0053291 | 0.0013356
19 | 0.0036374 | 0.00091162
20 | 0.0056029 | 0.0014042
21 | 0.0088281 | 0.0022125
22 | 0.0039573 | 0.00099179
23 | 0.0073207 | 0.0018347
24 | 0.0044961 | 0.0011268
25 | 0.004249 | 0.0010649
26 | 0.003182 | 0.00079747
27 | 0.0033818 | 0.00084755
28 | 0.0026284 | 0.00065873
29 | 0.0095668 | 0.0023977

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1