## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-12_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-12_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-12_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-12_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-12_0_3_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_1631-12_0_3_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_1631-12_0_3_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1631-12_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1631-12_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1631-12_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1631-12_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1631-12_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1631-12_0_3_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_1631-12_0_3_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_1631-12_0_3_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1631-12_0_3_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_1631-12_0_3_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_1631-12_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1631-12_0_3_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_1631-12_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1631-12_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1631-12_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1631-12_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1631-12_0_3_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_1631-12_0_3_node_38 | 0.4 | n |  | TRUE
25 | bus_LV_1631-12_0_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_1631-12_0_3_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1631-12_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1631-12_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1631-12_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1631-12_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1631-12_0_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_1631-12_0_3_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_1631-12_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1631-12_0_3_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_1631-12_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1631-12_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1631-12_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1631-12_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1631-12_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1631-12_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_MV_144_0_node_218 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-12_0_3_load_0 | 0 | 0.0074079 | 0.0018566 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-12_0_3_load_1 | 1 | 0.011687 | 0.0029291 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-12_0_3_load_2 | 2 | 0.011052 | 0.0027699 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-12_0_3_load_3 | 3 | 0.0059391 | 0.0014885 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-12_0_3_load_16 | 6 | 0.0028287 | 0.00070894 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-12_0_3_load_4 | 7 | 0.0089887 | 0.0022528 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-12_0_3_load_6 | 9 | 0.0051339 | 0.0012867 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-12_0_3_load_40 | 12 | 0.009827 | 0.0024629 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-12_0_3_load_39 | 13 | 0.0048345 | 0.0012116 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-12_0_3_load_35 | 15 | 0.0058654 | 0.00147 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-12_0_3_load_42 | 16 | 0.0051168 | 0.0012824 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-12_0_3_load_9 | 19 | 0.0021601 | 0.00054137 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-12_0_3_load_10 | 20 | 0.0037877 | 0.00094929 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-12_0_3_load_37 | 23 | 0.0033246 | 0.00083322 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-12_0_3_load_43 | 25 | 0.0054575 | 0.0013678 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-12_0_3_load_44 | 26 | 0.011077 | 0.0027763 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-12_0_3_load_24 | 27 | 0.0029063 | 0.00072839 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-12_0_3_load_26 | 29 | 0.0028233 | 0.00070758 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-12_0_3_load_27 | 30 | 0.001818 | 0.00045564 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-12_0_3_load_41 | 31 | 0.0016594 | 0.00041588 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-12_0_3_load_15 | 32 | 0.0071076 | 0.0017813 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-12_0_3_load_21 | 33 | 0.0063673 | 0.0015958 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-12_0_3_load_20 | 34 | 0.0080893 | 0.0020274 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-12_0_3_load_22 | 35 | 0.0077554 | 0.0019437 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-12_0_3_load_28 | 36 | 0.0070782 | 0.001774 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-12_0_3_load_31 | 37 | 0.0073406 | 0.0018397 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-12_0_3_load_34 | 39 | 0.0037783 | 0.00094693 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-12_0_3_load_36 | 40 | 0.0032173 | 0.00080633 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-12_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-12_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.005107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-12_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0075611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-12_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.02055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-12_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.028362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1631-12_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.021196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-12_0_3_line_6 | NAYY 4x150 SE | 5 | 33 | 0.0097173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-12_0_3_line_7 | NAYY 4x150 SE | 5 | 13 | 0.023203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1631-12_0_3_line_8 | NAYY 4x150 SE | 6 | 32 | 0.0074507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-12_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.013556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-12_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.023987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-12_0_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.056842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1631-12_0_3_line_12 | NAYY 4x150 SE | 8 | 11 | 0.16787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1631-12_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.035717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-12_0_3_line_14 | NAYY 4x150 SE | 10 | 13 | 0.028914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1631-12_0_3_line_15 | NAYY 4x150 SE | 11 | 14 | 0.14238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-12_0_3_line_16 | NAYY 4x150 SE | 11 | 15 | 0.031127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1631-12_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.015907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-12_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.078301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-12_0_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.015862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1631-12_0_3_line_20 | NAYY 4x150 SE | 17 | 22 | 0.021664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-12_0_3_line_21 | NAYY 4x150 SE | 17 | 23 | 0.085054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-12_0_3_line_22 | NAYY 4x150 SE | 17 | 19 | 0.046266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-12_0_3_line_23 | NAYY 4x150 SE | 18 | 40 | 0.016264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-12_0_3_line_24 | NAYY 4x150 SE | 18 | 37 | 0.016428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1631-12_0_3_line_25 | NAYY 4x150 SE | 19 | 20 | 0.034579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-12_0_3_line_26 | NAYY 4x150 SE | 20 | 21 | 0.055151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-12_0_3_line_27 | NAYY 4x150 SE | 21 | 24 | 0.020164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-12_0_3_line_28 | NAYY 4x150 SE | 22 | 25 | 0.018758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-12_0_3_line_29 | NAYY 4x150 SE | 22 | 26 | 0.006516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-12_0_3_line_30 | NAYY 4x150 SE | 23 | 29 | 0.037749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-12_0_3_line_31 | NAYY 4x150 SE | 24 | 31 | 0.012673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-12_0_3_line_32 | NAYY 4x150 SE | 27 | 28 | 0.03271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-12_0_3_line_33 | NAYY 4x150 SE | 28 | 29 | 0.0046775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-12_0_3_line_34 | NAYY 4x150 SE | 28 | 30 | 0.018659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-12_0_3_line_35 | NAYY 4x150 SE | 31 | 36 | 0.058325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-12_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.027175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-12_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0044308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-12_0_3_line_38 | NAYY 4x150 SE | 37 | 38 | 0.016856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_1631-12_0_3_line_39 | NAYY 4x150 SE | 38 | 39 | 0.007076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-12_0_3_trafo_32 | 0.25 MVA 20/0.4 kV | 41 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2723902.4922 | 1207435.7886 | 2723898.1229 | 1207437.7479 | 2723892.2496 | 1207440.2078
1 | 2723907.1522 | 1207433.6989 | 2723902.4922 | 1207435.7886
2 | 2723892.2496 | 1207440.2078 | 2723890.5342 | 1207440.9262 | 2723888.0844 | 1207435.778
3 | 2723876.3778 | 1207420.4613 | 2723880.0664 | 1207421.2162 | 2723881.9996 | 1207422.991 | 2723888.0844 | 1207435.778
4 | 2723876.3778 | 1207420.4613 | 2723889.4201 | 1207410.3353 | 2723898.9024 | 1207403.1489
5 | 2723876.3778 | 1207420.4613 | 2723861.7675 | 1207428.8089 | 2723857.7025 | 1207430.4096
6 | 2723898.9024 | 1207403.1489 | 2723899.4971 | 1207404.1842 | 2723900.6319 | 1207405.9425 | 2723904.9727 | 1207410.687
7 | 2723898.9024 | 1207403.1489 | 2723899.5431 | 1207399.4038 | 2723901.4461 | 1207396.0407 | 2723904.1599 | 1207393.1949 | 2723910.3064 | 1207389.5085 | 2723914.1116 | 1207387.2205
8 | 2723857.7025 | 1207430.4096 | 2723850.77 | 1207433.1396
9 | 2723986.4172 | 1207374.1104 | 2723982.5926 | 1207387.1156
10 | 2723992.8075 | 1207402.9763 | 2723992.1064 | 1207399.7482 | 2723988.6901 | 1207397.5978 | 2723980.3849 | 1207394.623 | 2723982.5926 | 1207387.1156
11 | 2723938.8102 | 1207372.187 | 2723941.9228 | 1207370.2835 | 2723949.8653 | 1207365.8228 | 2723962.6319 | 1207360.1948 | 2723969.1548 | 1207358.5289 | 2723974.6281 | 1207364.9141 | 2723980.2356 | 1207369.9678 | 2723986.4172 | 1207374.1104
12 | 2723986.4172 | 1207374.1104 | 2723993.7571 | 1207377.054 | 2724020.5597 | 1207385.5951 | 2724023.9707 | 1207386.9003 | 2724025.7742 | 1207387.5938 | 2724030.3435 | 1207390.9914 | 2724034.2555 | 1207394.1751 | 2724037.0359 | 1207397.6355 | 2724040.2047 | 1207402.5384 | 2724043.5816 | 1207411.7045 | 2724044.8119 | 1207415.0882 | 2724051.4894 | 1207433.4187 | 2724053.4878 | 1207438.642 | 2724055.5587 | 1207444.0336 | 2724063.2274 | 1207467.7332 | 2724064.9544 | 1207475.3972 | 2724048.8148 | 1207483.757 | 2724038.9966 | 1207485.8769
13 | 2723938.8102 | 1207372.187 | 2723937.8227 | 1207376.1473 | 2723937.2341 | 1207379.9491 | 2723937.2579 | 1207383.5635 | 2723937.7555 | 1207389.267 | 2723941.2051 | 1207407.3858
14 | 2723938.8102 | 1207372.187 | 2723931.6915 | 1207376.5314 | 2723922.9619 | 1207381.8988 | 2723914.1116 | 1207387.2205
15 | 2724038.9966 | 1207485.8769 | 2724048.8148 | 1207483.757 | 2724064.9544 | 1207475.3972 | 2724070.3495 | 1207502.7191 | 2724070.3623 | 1207504.2983 | 2724070.3801 | 1207508.9244 | 2724068.4223 | 1207517.1122 | 2724065.474 | 1207523.9228 | 2724060.606 | 1207529.7705 | 2724053.8007 | 1207535.8782 | 2724045.6391 | 1207541.0014 | 2724023.4497 | 1207550.6032 | 2724017.7076 | 1207554.5981 | 2724012.7161 | 1207559.0756
16 | 2724038.9966 | 1207485.8769 | 2724021.5604 | 1207489.6508 | 2724018.2012 | 1207491.7159 | 2724016.1267 | 1207495.6425 | 2724014.8911 | 1207500.3874
17 | 2723999.4363 | 1207550.2596 | 2724012.7161 | 1207559.0756
18 | 2724008.7435 | 1207632.7159 | 2724004.8164 | 1207619.6577 | 2724000.868 | 1207606.5212 | 2723999.5439 | 1207596.675 | 2723999.8424 | 1207587.0739 | 2724001.6671 | 1207577.9604 | 2724004.1431 | 1207571.5514 | 2724007.0158 | 1207565.8178 | 2724012.7161 | 1207559.0756
19 | 2724010.8941 | 1207515.738 | 2724014.8911 | 1207500.3874
20 | 2724008.7435 | 1207632.7159 | 2724016.7741 | 1207619.2502 | 2724017.9914 | 1207613.3821
21 | 2724008.7435 | 1207632.7159 | 2723926.9608 | 1207609.3552
22 | 2724008.7435 | 1207632.7159 | 2724012.0022 | 1207642.8024 | 2724014.6926 | 1207650.5864 | 2724021.0646 | 1207663.1173 | 2724028.92 | 1207673.9386
23 | 2724011.7483 | 1207530.9896 | 2724014.0943 | 1207526.079 | 2724010.8941 | 1207515.738
24 | 2724010.8941 | 1207515.738 | 2724002.7772 | 1207513.5899 | 2723994.9823 | 1207515.5272
25 | 2724046.0349 | 1207703.4154 | 2724045.662 | 1207701.5577 | 2724043.3067 | 1207694.8481 | 2724039.4909 | 1207686.6848 | 2724029.6864 | 1207674.9943 | 2724028.92 | 1207673.9386
26 | 2724055.5092 | 1207757.6385 | 2724052.692 | 1207748.6397 | 2724047.323 | 1207709.8319 | 2724046.0349 | 1207703.4154
27 | 2724055.5092 | 1207757.6385 | 2724050.0583 | 1207760.0715 | 2724035.8168 | 1207760.587
28 | 2724017.9914 | 1207613.3821 | 2724036.69 | 1207615.45
29 | 2724017.9914 | 1207613.3821 | 2724019.3258 | 1207607.005
30 | 2723926.9608 | 1207609.3552 | 2723926.4493 | 1207624.0891 | 2723925.0591 | 1207629.4977 | 2723925.3555 | 1207634.997 | 2723924.4329 | 1207637.6687 | 2723923.0622 | 1207639.5751 | 2723917.2971 | 1207643.0663
31 | 2724035.8168 | 1207760.587 | 2724024.8673 | 1207767.02
32 | 2723914.2246 | 1207646.4969 | 2723882.1066 | 1207640.3008
33 | 2723914.2246 | 1207646.4969 | 2723916.2451 | 1207643.7033 | 2723917.2971 | 1207643.0663
34 | 2723914.2246 | 1207646.4969 | 2723908.2485 | 1207662.8631 | 2723909.035 | 1207663.8166
35 | 2724024.8673 | 1207767.02 | 2724039.3454 | 1207823.5195
36 | 2723924.0031 | 1207425.5721 | 2723920.4505 | 1207427.726 | 2723918.8837 | 1207425.8921 | 2723904.9727 | 1207410.687
37 | 2723927.7919 | 1207423.275 | 2723924.0031 | 1207425.5721
38 | 2723978.6241 | 1207519.5928 | 2723994.9823 | 1207515.5272
39 | 2723978.6241 | 1207519.5928 | 2723975.97 | 1207526.1538

## bus_geodata
| x | y | coords
0 | 2723902.4922 | 1207435.7886
1 | 2723892.2496 | 1207440.2078
2 | 2723907.1522 | 1207433.6989
3 | 2723888.0844 | 1207435.778
4 | 2723876.3778 | 1207420.4613
5 | 2723898.9024 | 1207403.1489
6 | 2723857.7025 | 1207430.4096
7 | 2723982.5926 | 1207387.1156
8 | 2723986.4172 | 1207374.1104
9 | 2723992.8075 | 1207402.9763
10 | 2723938.8102 | 1207372.187
11 | 2724038.9966 | 1207485.8769
12 | 2723941.2051 | 1207407.3858
13 | 2723914.1116 | 1207387.2205
14 | 2724012.7161 | 1207559.0756
15 | 2724014.8911 | 1207500.3874
16 | 2723999.4363 | 1207550.2596
17 | 2724008.7435 | 1207632.7159
18 | 2724010.8941 | 1207515.738
19 | 2724028.92 | 1207673.9386
20 | 2724046.0349 | 1207703.4154
21 | 2724055.5092 | 1207757.6385
22 | 2724017.9914 | 1207613.3821
23 | 2723926.9608 | 1207609.3552
24 | 2724035.8168 | 1207760.587
25 | 2724036.69 | 1207615.45
26 | 2724019.3258 | 1207607.005
27 | 2723882.1066 | 1207640.3008
28 | 2723914.2246 | 1207646.4969
29 | 2723917.2971 | 1207643.0663
30 | 2723909.035 | 1207663.8166
31 | 2724024.8673 | 1207767.02
32 | 2723850.77 | 1207433.1396
33 | 2723904.9727 | 1207410.687
34 | 2723924.0031 | 1207425.5721
35 | 2723927.7919 | 1207423.275
36 | 2724039.3454 | 1207823.5195
37 | 2723994.9823 | 1207515.5272
38 | 2723978.6241 | 1207519.5928
39 | 2723975.97 | 1207526.1538
40 | 2724011.7483 | 1207530.9896
41 | 2723975.97 | 1207526.1538

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97037 | -0.20813 | 0.0074079 | 0.0018566
1 | 0.97067 | -0.20594 | 0.011687 | 0.0029291
2 | 0.97029 | -0.20872 | 0.011052 | 0.0027699
3 | 0.97101 | -0.20353 | 0.0059391 | 0.0014885
4 | 0.9721 | -0.19569 | 0 | 0
5 | 0.97305 | -0.1888 | 0 | 0
6 | 0.97179 | -0.19791 | 0.0028287 | 0.00070894
7 | 0.97894 | -0.14675 | 0.0089887 | 0.0022528
8 | 0.97922 | -0.14475 | 0 | 0
9 | 0.97876 | -0.14803 | 0.0051339 | 0.0012867
10 | 0.97577 | -0.16937 | 0 | 0
11 | 0.99115 | -0.060963 | 0 | 0
12 | 0.97525 | -0.17305 | 0.009827 | 0.0024629
13 | 0.97422 | -0.18046 | 0.0048345 | 0.0012116
14 | 0.98133 | -0.13002 | 0 | 0
15 | 0.99444 | -0.038212 | 0.0058654 | 0.00147
16 | 0.98121 | -0.13086 | 0.0051168 | 0.0012824
17 | 0.97651 | -0.16438 | 0 | 0
18 | 0.99618 | -0.026207 | 0 | 0
19 | 0.97552 | -0.17151 | 0.0021601 | 0.00054137
20 | 0.97489 | -0.17606 | 0.0037877 | 0.00094929
21 | 0.97418 | -0.18113 | 0 | 0
22 | 0.97599 | -0.16813 | 0 | 0
23 | 0.97516 | -0.17409 | 0.0033246 | 0.00083322
24 | 0.97392 | -0.18299 | 0 | 0
25 | 0.97584 | -0.16921 | 0.0054575 | 0.0013678
26 | 0.97589 | -0.16889 | 0.011077 | 0.0027763
27 | 0.97457 | -0.17831 | 0.0029063 | 0.00072839
28 | 0.97471 | -0.17731 | 0 | 0
29 | 0.97475 | -0.17708 | 0.0028233 | 0.00070758
30 | 0.97466 | -0.17767 | 0.001818 | 0.00045564
31 | 0.97376 | -0.18415 | 0.0016594 | 0.00041588
32 | 0.97171 | -0.19847 | 0.0071076 | 0.0017813
33 | 0.97274 | -0.19108 | 0.0063673 | 0.0015958
34 | 0.97211 | -0.19562 | 0.0080893 | 0.0020274
35 | 0.97206 | -0.19599 | 0.0077554 | 0.0019437
36 | 0.97316 | -0.1885 | 0.0070782 | 0.001774
37 | 0.99802 | -0.013553 | 0.0073406 | 0.0018397
38 | 1 | 0 | -0.16905 | -0.042657
39 | 0.99996 | -0.00026686 | 0.0037783 | 0.00094693
40 | 0.99611 | -0.026733 | 0.0032173 | 0.00080633
41 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.018461 | -0.0046268 | 0.018466 | 0.0046288 | 5.5788e-06 | 2.0078e-06 | 0.028309 | 0.028309 | 0.028309 | 0.97037 | -0.20813 | 0.97067 | -0.20594 | 10.4847
1 | 0.011053 | 0.0027702 | -0.011052 | -0.0027699 | 9.1548e-07 | 2.8902e-07 | 0.016949 | 0.016949 | 0.016949 | 0.97037 | -0.20813 | 0.97029 | -0.20872 | 6.2775
2 | -0.030153 | -0.0075578 | 0.030164 | 0.0075616 | 1.0081e-05 | 3.784e-06 | 0.046225 | 0.046225 | 0.046225 | 0.97067 | -0.20594 | 0.97101 | -0.20353 | 17.1203
3 | -0.036103 | -0.0090501 | 0.036142 | 0.0090649 | 3.9252e-05 | 1.4843e-05 | 0.055326 | 0.055326 | 0.055326 | 0.97101 | -0.20353 | 0.9721 | -0.19569 | 20.4911
4 | -0.046082 | -0.011556 | 0.046126 | 0.011572 | 4.4033e-05 | 1.6232e-05 | 0.070541 | 0.070541 | 0.070541 | 0.9721 | -0.19569 | 0.97305 | -0.1888 | 13.0632
5 | 0.0099399 | 0.0024913 | -0.0099369 | -0.0024904 | 3.062e-06 | 9.1499e-07 | 0.015215 | 0.015215 | 0.015215 | 0.9721 | -0.19569 | 0.97179 | -0.19791 | 5.6354
6 | 0.022229 | 0.005573 | -0.022222 | -0.0055705 | 7.0072e-06 | 2.5744e-06 | 0.033994 | 0.033994 | 0.033994 | 0.97305 | -0.1888 | 0.97274 | -0.19108 | 12.5905
7 | -0.068355 | -0.017146 | 0.068434 | 0.017175 | 7.911e-05 | 2.985e-05 | 0.10454 | 0.10454 | 0.10454 | 0.97305 | -0.1888 | 0.97422 | -0.18046 | 19.3584
8 | 0.0071082 | 0.0017815 | -0.0071076 | -0.0017813 | 5.5077e-07 | 1.1953e-07 | 0.010884 | 0.010884 | 0.010884 | 0.97179 | -0.19791 | 0.97171 | -0.19847 | 4.0312
9 | -0.014123 | -0.0035395 | 0.014127 | 0.0035408 | 3.8985e-06 | 1.3289e-06 | 0.021468 | 0.021468 | 0.021468 | 0.97894 | -0.14675 | 0.97922 | -0.14475 | 7.9511
10 | 0.0051348 | 0.0012867 | -0.0051339 | -0.0012867 | 9.1184e-07 | 4.9179e-08 | 0.007805 | 0.0078051 | 0.0078051 | 0.97894 | -0.14675 | 0.97876 | -0.14803 | 2.8908
11 | 0.0835 | 0.021003 | -0.083214 | -0.020894 | 0.00028565 | 0.00010844 | 0.12691 | 0.12691 | 0.12691 | 0.97922 | -0.14475 | 0.97577 | -0.16937 | 23.5024
12 | -0.097627 | -0.024543 | 0.09878 | 0.024983 | 0.0011531 | 0.00043923 | 0.14838 | 0.14838 | 0.14838 | 0.97922 | -0.14475 | 0.99115 | -0.060963 | 27.4778
13 | 0.009832 | 0.0024644 | -0.009827 | -0.0024629 | 5.0105e-06 | 1.4812e-06 | 0.014994 | 0.014994 | 0.014994 | 0.97577 | -0.16937 | 0.97525 | -0.17305 | 5.5533
14 | 0.073382 | 0.01843 | -0.073269 | -0.018387 | 0.000113 | 4.274e-05 | 0.11192 | 0.11192 | 0.11192 | 0.97577 | -0.16937 | 0.97422 | -0.18046 | 20.7258
15 | 0.047938 | 0.012103 | -0.047477 | -0.011928 | 0.00046059 | 0.00017533 | 0.072 | 0.072001 | 0.072001 | 0.99115 | -0.060963 | 0.98133 | -0.13002 | 26.667
16 | -0.14672 | -0.037086 | 0.14719 | 0.037266 | 0.00047167 | 0.0001806 | 0.22038 | 0.22038 | 0.22038 | 0.99115 | -0.060963 | 0.99444 | -0.038212 | 40.8109
17 | 0.0051174 | 0.0012824 | -0.0051168 | -0.0012824 | 5.9767e-07 | 2.8928e-08 | 0.0077597 | 0.0077597 | 0.0077597 | 0.98133 | -0.13002 | 0.98121 | -0.13086 | 2.874
18 | 0.04236 | 0.010645 | -0.042158 | -0.010569 | 0.00020164 | 7.657e-05 | 0.064241 | 0.064242 | 0.064242 | 0.98133 | -0.13002 | 0.97651 | -0.16438 | 23.7932
19 | -0.15305 | -0.038736 | 0.15331 | 0.038836 | 0.00025989 | 9.9544e-05 | 0.22916 | 0.22915 | 0.22916 | 0.99444 | -0.038212 | 0.99618 | -0.026207 | 42.4361
20 | 0.016545 | 0.0041475 | -0.016537 | -0.0041445 | 8.5931e-06 | 3.0342e-06 | 0.025212 | 0.025212 | 0.025212 | 0.97651 | -0.16438 | 0.97599 | -0.16813 | 9.3379
21 | 0.010891 | 0.0027297 | -0.010876 | -0.0027251 | 1.4617e-05 | 4.5593e-06 | 0.016595 | 0.016596 | 0.016596 | 0.97651 | -0.16438 | 0.97516 | -0.17409 | 6.1465
22 | 0.014722 | 0.0036917 | -0.014707 | -0.0036867 | 1.453e-05 | 5.0102e-06 | 0.022434 | 0.022434 | 0.022434 | 0.97651 | -0.16438 | 0.97552 | -0.17151 | 8.309
23 | 0.0032175 | 0.00080621 | -0.0032173 | -0.00080633 | 2.3442e-07 | -1.2157e-07 | 0.004806 | 0.0048061 | 0.0048061 | 0.99618 | -0.026207 | 0.99611 | -0.026733 | 1.78
24 | -0.15653 | -0.039642 | 0.15681 | 0.03975 | 0.00028057 | 0.00010748 | 0.23396 | 0.23396 | 0.23396 | 0.99618 | -0.026207 | 0.99802 | -0.013553 | 43.3261
25 | 0.012547 | 0.0031453 | -0.012539 | -0.0031427 | 7.9042e-06 | 2.6086e-06 | 0.019139 | 0.01914 | 0.01914 | 0.97552 | -0.17151 | 0.97489 | -0.17606 | 7.0887
26 | 0.0087517 | 0.0021934 | -0.0087455 | -0.0021918 | 6.141e-06 | 1.6748e-06 | 0.013358 | 0.013358 | 0.013358 | 0.97489 | -0.17606 | 0.97418 | -0.18113 | 4.9476
27 | 0.0087455 | 0.0021918 | -0.0087433 | -0.0021912 | 2.2453e-06 | 6.1259e-07 | 0.013358 | 0.013358 | 0.013358 | 0.97418 | -0.18113 | 0.97392 | -0.18299 | 4.9476
28 | 0.0054583 | 0.0013679 | -0.0054575 | -0.0013678 | 8.106e-07 | 7.739e-08 | 0.0083218 | 0.0083219 | 0.0083219 | 0.97599 | -0.16813 | 0.97584 | -0.16921 | 3.0822
29 | 0.011079 | 0.0027766 | -0.011077 | -0.0027763 | 1.16e-06 | 3.6473e-07 | 0.016891 | 0.016891 | 0.016891 | 0.97599 | -0.16813 | 0.97589 | -0.16889 | 6.2558
30 | 0.0075514 | 0.0018919 | -0.0075482 | -0.0018912 | 3.1274e-06 | 7.3212e-07 | 0.011523 | 0.011523 | 0.011523 | 0.97516 | -0.17409 | 0.97475 | -0.17708 | 4.2677
31 | 0.0087433 | 0.0021912 | -0.0087419 | -0.0021908 | 1.4112e-06 | 3.8508e-07 | 0.013358 | 0.013359 | 0.013359 | 0.97392 | -0.18299 | 0.97376 | -0.18415 | 4.9476
32 | -0.0029063 | -0.00072839 | 0.0029067 | 0.00072813 | 4.019e-07 | -2.5307e-07 | 0.0044375 | 0.0044373 | 0.0044375 | 0.97457 | -0.17831 | 0.97471 | -0.17731 | 1.6435
33 | -0.0047248 | -0.0011836 | 0.004725 | 0.0011836 | 1.5185e-07 | 9.9102e-11 | 0.0072128 | 0.0072128 | 0.0072128 | 0.97471 | -0.17731 | 0.97475 | -0.17708 | 2.6714
34 | 0.0018181 | 0.00045544 | -0.001818 | -0.00045564 | 8.9695e-08 | -1.9806e-07 | 0.0027755 | 0.0027756 | 0.0027756 | 0.97471 | -0.17731 | 0.97466 | -0.17767 | 1.028
35 | 0.0070825 | 0.0017749 | -0.0070782 | -0.001774 | 4.2632e-06 | 9.1457e-07 | 0.010823 | 0.010823 | 0.010823 | 0.97376 | -0.18415 | 0.97316 | -0.1885 | 4.0085
36 | 0.015855 | 0.0039747 | -0.015845 | -0.0039712 | 9.9754e-06 | 3.4996e-06 | 0.024254 | 0.024254 | 0.024254 | 0.97274 | -0.19108 | 0.97211 | -0.19562 | 8.9831
37 | 0.0077558 | 0.0019438 | -0.0077554 | -0.0019437 | 3.8968e-07 | 9.495e-08 | 0.011872 | 0.011872 | 0.011872 | 0.97211 | -0.19562 | 0.97206 | -0.19599 | 4.397
38 | -0.16415 | -0.041589 | 0.16447 | 0.04171 | 0.00031543 | 0.00012088 | 0.24491 | 0.24491 | 0.24491 | 0.99802 | -0.013553 | 1 | 0 | 45.3529
39 | 0.0037784 | 0.00094689 | -0.0037783 | -0.00094693 | 1.3958e-07 | -3.9145e-08 | 0.0056224 | 0.0056224 | 0.0056224 | 1 | 0 | 0.99996 | -0.00026686 | 2.0824

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16905 | 0.042657

## res_load
| p_mw | q_mvar
0 | 0.0074079 | 0.0018566
1 | 0.011687 | 0.0029291
2 | 0.011052 | 0.0027699
3 | 0.0059391 | 0.0014885
4 | 0.0028287 | 0.00070894
5 | 0.0089887 | 0.0022528
6 | 0.0051339 | 0.0012867
7 | 0.009827 | 0.0024629
8 | 0.0048345 | 0.0012116
9 | 0.0058654 | 0.00147
10 | 0.0051168 | 0.0012824
11 | 0.0021601 | 0.00054137
12 | 0.0037877 | 0.00094929
13 | 0.0033246 | 0.00083322
14 | 0.0054575 | 0.0013678
15 | 0.011077 | 0.0027763
16 | 0.0029063 | 0.00072839
17 | 0.0028233 | 0.00070758
18 | 0.001818 | 0.00045564
19 | 0.0016594 | 0.00041588
20 | 0.0071076 | 0.0017813
21 | 0.0063673 | 0.0015958
22 | 0.0080893 | 0.0020274
23 | 0.0077554 | 0.0019437
24 | 0.0070782 | 0.001774
25 | 0.0073406 | 0.0018397
26 | 0.0037783 | 0.00094693
27 | 0.0032173 | 0.00080633

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1