## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-132_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-132_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-132_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-132_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-132_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-132_0_3_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_1631-132_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1631-132_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1631-132_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1631-132_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1631-132_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1631-132_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1631-132_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1631-132_0_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1631-132_0_3_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_1631-132_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1631-132_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1631-132_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1631-132_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1631-132_0_3_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_1631-132_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1631-132_0_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1631-132_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1631-132_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1631-132_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1631-132_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_1631-132_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1631-132_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1631-132_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1631-132_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1631-132_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1631-132_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1631-132_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1631-132_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1631-132_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1631-132_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1631-132_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1631-132_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1631-132_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_MV_145_0_node_30 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-132_0_3_load_0 | 0 | 0.003448 | 0.00086414 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-132_0_3_load_2 | 2 | 0.014685 | 0.0036804 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-132_0_3_load_41 | 5 | 0.0069241 | 0.0017353 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-132_0_3_load_11 | 6 | 0.0043077 | 0.0010796 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-132_0_3_load_12 | 7 | 0.0063032 | 0.0015797 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-132_0_3_load_5 | 8 | 0.014817 | 0.0037134 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-132_0_3_load_6 | 9 | 0.0058502 | 0.0014662 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-132_0_3_load_8 | 11 | 0.0084083 | 0.0021073 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-132_0_3_load_9 | 12 | 0.0037709 | 0.00094507 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-132_0_3_load_15 | 13 | 0.0059194 | 0.0014835 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-132_0_3_load_14 | 16 | 0.0015715 | 0.00039386 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-132_0_3_load_17 | 17 | 0.0038177 | 0.00095682 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-132_0_3_load_18 | 18 | 0.0033074 | 0.00082892 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-132_0_3_load_33 | 19 | 0.0059309 | 0.0014864 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-132_0_3_load_21 | 20 | 0.010423 | 0.0026122 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-132_0_3_load_34 | 21 | 0.0047339 | 0.0011864 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-132_0_3_load_20 | 22 | 0.0066114 | 0.001657 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-132_0_3_load_25 | 24 | 0.0035343 | 0.00088578 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-132_0_3_load_24 | 25 | 0.0064359 | 0.001613 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-132_0_3_load_26 | 26 | 0.013709 | 0.0034358 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-132_0_3_load_23 | 27 | 0.006349 | 0.0015912 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-132_0_3_load_22 | 28 | 0.0036396 | 0.00091217 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-132_0_3_load_27 | 29 | 0.0053625 | 0.001344 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-132_0_3_load_28 | 30 | 0.011954 | 0.002996 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-132_0_3_load_29 | 31 | 0.0046516 | 0.0011658 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-132_0_3_load_30 | 32 | 0.020229 | 0.0050699 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-132_0_3_load_31 | 33 | 0.006551 | 0.0016418 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-132_0_3_load_32 | 34 | 0.0042049 | 0.0010538 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-132_0_3_load_37 | 35 | 0.0018615 | 0.00046654 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-132_0_3_load_35 | 36 | 0.0055532 | 0.0013918 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-132_0_3_load_36 | 37 | 0.0096785 | 0.0024257 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-132_0_3_load_38 | 38 | 0.0035712 | 0.00089503 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-132_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.045769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-132_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0042198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-132_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.13399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-132_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.2137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-132_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.14165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-132_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-132_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.0029371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-132_0_3_line_7 | NAYY 4x150 SE | 7 | 15 | 0.017577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-132_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.02962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-132_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.016342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-132_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0041611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-132_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.0036514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-132_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.023166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-132_0_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.0019265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-132_0_3_line_14 | NAYY 4x150 SE | 14 | 19 | 0.016615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-132_0_3_line_15 | NAYY 4x150 SE | 14 | 20 | 0.013421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-132_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0026539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-132_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.0054863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-132_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.024288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-132_0_3_line_19 | NAYY 4x150 SE | 18 | 23 | 0.01285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-132_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.0072562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-132_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.0026533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-132_0_3_line_22 | NAYY 4x150 SE | 21 | 36 | 0.012804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-132_0_3_line_23 | NAYY 4x150 SE | 22 | 28 | 0.018984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-132_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0028885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-132_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.01118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1631-132_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0057533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-132_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0013564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-132_0_3_line_28 | NAYY 4x150 SE | 26 | 29 | 0.0027254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-132_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0016305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-132_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0084296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-132_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.016948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-132_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.01212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-132_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.012264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-132_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.019453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-132_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.018973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-132_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.0078038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-132_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.021211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-132_0_3_trafo_24 | 0.25 MVA 20/0.4 kV | 39 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2723480.6404 | 1205983.749 | 2723464.8886 | 1205992.7078 | 2723455.5345 | 1205997.2957 | 2723443.1094 | 1206002.4871 | 2723440.3995 | 1206002.5534 | 2723439.3523 | 1206002.4538
1 | 2723435.2875 | 1206001.4135 | 2723438.0076 | 1206002.326 | 2723439.3523 | 1206002.4538
2 | 2723480.6404 | 1205983.749 | 2723454.1145 | 1205954.8786 | 2723439.9876 | 1205940.0864 | 2723429.8647 | 1205931.0814 | 2723416.4175 | 1205917.6377 | 2723406.4277 | 1205904.766 | 2723400.4836 | 1205896.4034 | 2723392.9008 | 1205883.0255
3 | 2723392.9008 | 1205883.0255 | 2723403.6065 | 1205873.4284 | 2723434.2481 | 1205849.7549 | 2723491.8795 | 1205805.0126 | 2723492.7667 | 1205802.9516 | 2723492.7623 | 1205800.9611 | 2723491.7922 | 1205798.2057 | 2723467.023 | 1205738.0812 | 2723467.1934 | 1205734.6266 | 2723468.6353 | 1205731.4985 | 2723471.5835 | 1205729.4801 | 2723476.5269 | 1205728.8485
4 | 2723392.9008 | 1205883.0255 | 2723298.2627 | 1205949.5654 | 2723294.3159 | 1205953.1532 | 2723291.8407 | 1205956.9606 | 2723290.7258 | 1205961.5744 | 2723290.0739 | 1205965.8753 | 2723290.0545 | 1205972.8677
5 | 2723476.5269 | 1205728.8485 | 2723482.4861 | 1205732.8081 | 2723486.3474 | 1205735.9348 | 2723514.6733 | 1205760.2279 | 2723520.1264 | 1205765.478 | 2723525.1906 | 1205772.2435 | 2723529.4396 | 1205778.6918 | 2723559.5505 | 1205843.8933
6 | 2723559.5505 | 1205843.8933 | 2723559.8636 | 1205844.5712 | 2723560.9176 | 1205846.4912
7 | 2723571.5804 | 1205860.3701 | 2723567.0889 | 1205855.3512 | 2723563.1116 | 1205850.4874 | 2723560.9176 | 1205846.4912
8 | 2723619.2886 | 1205820.1628 | 2723644.1207 | 1205808.8772 | 2723646.0875 | 1205807.6024
9 | 2723604.4111 | 1205826.9243 | 2723619.2886 | 1205820.1628
10 | 2723649.5794 | 1205805.3392 | 2723646.0875 | 1205807.6024
11 | 2723604.4111 | 1205826.9243 | 2723606.6553 | 1205829.8046
12 | 2723624.2286 | 1205844.3509 | 2723615.6283 | 1205839.6662 | 2723610.822 | 1205835.1521 | 2723606.6553 | 1205829.8046
13 | 2723625.9204 | 1205845.2724 | 2723624.2286 | 1205844.3509
14 | 2723625.9204 | 1205845.2724 | 2723635.496 | 1205848.373 | 2723642.0178 | 1205848.9831
15 | 2723625.9204 | 1205845.2724 | 2723620.3528 | 1205857.4839
16 | 2723571.5804 | 1205860.3701 | 2723573.4844 | 1205862.219
17 | 2723573.4844 | 1205862.219 | 2723577.4203 | 1205866.041
18 | 2723594.9197 | 1205882.8789 | 2723593.5304 | 1205881.685 | 2723577.4203 | 1205866.041
19 | 2723605.4998 | 1205890.0614 | 2723599.0995 | 1205886.4706 | 2723594.9197 | 1205882.8789
20 | 2723649.2391 | 1205848.6234 | 2723643.8946 | 1205849.1586 | 2723642.0178 | 1205848.9831
21 | 2723620.3528 | 1205857.4839 | 2723619.2521 | 1205859.8981
22 | 2723649.2391 | 1205848.6234 | 2723661.9798 | 1205847.3473
23 | 2723611.3767 | 1205877.1715 | 2723619.2521 | 1205859.8981
24 | 2723605.4998 | 1205890.0614 | 2723608.1962 | 1205891.0972
25 | 2723605.4998 | 1205890.0614 | 2723610.1376 | 1205879.8892
26 | 2723608.1962 | 1205891.0972 | 2723613.5668 | 1205893.1604
27 | 2723610.7003 | 1205878.655 | 2723610.1376 | 1205879.8892
28 | 2723616.1109 | 1205894.1377 | 2723613.5668 | 1205893.1604
29 | 2723610.7003 | 1205878.655 | 2723611.3767 | 1205877.1715
30 | 2723623.9799 | 1205897.1607 | 2723616.1109 | 1205894.1377
31 | 2723623.9799 | 1205897.1607 | 2723628.4767 | 1205898.8882 | 2723635.8917 | 1205900.5096 | 2723640.4241 | 1205900.7893
32 | 2723640.4241 | 1205900.7893 | 2723643.4903 | 1205900.9784 | 2723652.5087 | 1205900.2533
33 | 2723652.5087 | 1205900.2533 | 2723664.733 | 1205899.2704
34 | 2723664.733 | 1205899.2704 | 2723684.1235 | 1205897.7113
35 | 2723684.1235 | 1205897.7113 | 2723703.036 | 1205896.1906
36 | 2723669.7448 | 1205846.5696 | 2723661.9798 | 1205847.3473
37 | 2723669.7448 | 1205846.5696 | 2723680.5062 | 1205845.4919 | 2723690.8904 | 1205845.0021

## bus_geodata
| x | y | coords
0 | 2723439.3523 | 1206002.4538
1 | 2723480.6404 | 1205983.749
2 | 2723435.2875 | 1206001.4135
3 | 2723392.9008 | 1205883.0255
4 | 2723476.5269 | 1205728.8485
5 | 2723290.0545 | 1205972.8677
6 | 2723559.5505 | 1205843.8933
7 | 2723560.9176 | 1205846.4912
8 | 2723619.2886 | 1205820.1628
9 | 2723646.0875 | 1205807.6024
10 | 2723604.4111 | 1205826.9243
11 | 2723649.5794 | 1205805.3392
12 | 2723606.6553 | 1205829.8046
13 | 2723624.2286 | 1205844.3509
14 | 2723625.9204 | 1205845.2724
15 | 2723571.5805 | 1205860.3701
16 | 2723573.4844 | 1205862.219
17 | 2723577.4203 | 1205866.041
18 | 2723594.9197 | 1205882.8789
19 | 2723642.0178 | 1205848.9831
20 | 2723620.3528 | 1205857.4839
21 | 2723649.2391 | 1205848.6234
22 | 2723619.2521 | 1205859.8981
23 | 2723605.4998 | 1205890.0614
24 | 2723608.1962 | 1205891.0972
25 | 2723610.1376 | 1205879.8892
26 | 2723613.5668 | 1205893.1604
27 | 2723610.7003 | 1205878.655
28 | 2723611.3767 | 1205877.1715
29 | 2723616.1109 | 1205894.1377
30 | 2723623.9799 | 1205897.1607
31 | 2723640.4241 | 1205900.7893
32 | 2723652.5087 | 1205900.2533
33 | 2723664.733 | 1205899.2704
34 | 2723684.1235 | 1205897.7113
35 | 2723703.036 | 1205896.1906
36 | 2723661.9798 | 1205847.3473
37 | 2723669.7448 | 1205846.5696
38 | 2723690.8904 | 1205845.0021
39 | 2723605.4998 | 1205890.0614

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97748 | -0.15827 | 0.003448 | 0.00086414
1 | 0.97869 | -0.14961 | 0 | 0
2 | 0.97739 | -0.15891 | 0.014685 | 0.0036804
3 | 0.98224 | -0.12437 | 0 | 0
4 | 0.99004 | -0.069322 | 0 | 0
5 | 0.98081 | -0.13454 | 0.0069241 | 0.0017353
6 | 0.99533 | -0.032439 | 0.0043077 | 0.0010796
7 | 0.99546 | -0.031568 | 0.0063032 | 0.0015797
8 | 0.99364 | -0.044547 | 0.014817 | 0.0037134
9 | 0.99304 | -0.048819 | 0.0058502 | 0.0014662
10 | 0.99432 | -0.039746 | 0 | 0
11 | 0.99299 | -0.049173 | 0.0084083 | 0.0021073
12 | 0.99448 | -0.038675 | 0.0037709 | 0.00094507
13 | 0.99557 | -0.031003 | 0.0059194 | 0.0014835
14 | 0.99568 | -0.030251 | 0 | 0
15 | 0.99637 | -0.025248 | 0 | 0
16 | 0.9965 | -0.024295 | 0.0015715 | 0.00039386
17 | 0.9968 | -0.022238 | 0.0038177 | 0.00095682
18 | 0.99824 | -0.01222 | 0.0033074 | 0.00082892
19 | 0.99497 | -0.035184 | 0.0059309 | 0.0014864
20 | 0.99699 | -0.021042 | 0.010423 | 0.0026122
21 | 0.99473 | -0.036907 | 0.0047339 | 0.0011864
22 | 0.99729 | -0.018947 | 0.0066114 | 0.001657
23 | 0.99907 | -0.0065056 | 0 | 0
24 | 0.99877 | -0.0085877 | 0.0035343 | 0.00088578
25 | 1 | 0 | -0.21375 | -0.053527
26 | 0.9982 | -0.012535 | 0.013709 | 0.0034358
27 | 0.99981 | -0.00129 | 0.006349 | 0.0015912
28 | 0.99961 | -0.0027379 | 0.0036396 | 0.00091217
29 | 0.99799 | -0.014032 | 0.0053625 | 0.001344
30 | 0.99739 | -0.018212 | 0.011954 | 0.002996
31 | 0.99648 | -0.024595 | 0.0046516 | 0.0011658
32 | 0.99591 | -0.028599 | 0.020229 | 0.0050699
33 | 0.99569 | -0.030157 | 0.006551 | 0.0016418
34 | 0.99552 | -0.031346 | 0.0042049 | 0.0010538
35 | 0.99547 | -0.031702 | 0.0018615 | 0.00046654
36 | 0.99438 | -0.039336 | 0.0055532 | 0.0013918
37 | 0.99424 | -0.04038 | 0.0096785 | 0.0024257
38 | 0.99413 | -0.041145 | 0.0035712 | 0.00089503
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.018134 | -0.004545 | 0.018156 | 0.0045528 | 2.1764e-05 | 7.7964e-06 | 0.027606 | 0.027605 | 0.027606 | 0.97748 | -0.15827 | 0.97869 | -0.14961 | 10.2243
1 | 0.014686 | 0.0036808 | -0.014685 | -0.0036804 | 1.3161e-06 | 4.5331e-07 | 0.022357 | 0.022357 | 0.022357 | 0.97748 | -0.15827 | 0.97739 | -0.15891 | 8.2803
2 | -0.018156 | -0.0045528 | 0.01822 | 0.0045756 | 6.3716e-05 | 2.2816e-05 | 0.027605 | 0.027605 | 0.027605 | 0.97869 | -0.14961 | 0.98224 | -0.12437 | 10.2242
3 | -0.025154 | -0.0063129 | 0.025347 | 0.0063847 | 0.00019366 | 7.1757e-05 | 0.038109 | 0.038108 | 0.038109 | 0.98224 | -0.12437 | 0.99004 | -0.069322 | 14.1144
4 | 0.0069339 | 0.0017373 | -0.0069241 | -0.0017353 | 9.7535e-06 | 1.961e-06 | 0.010504 | 0.010505 | 0.010505 | 0.98224 | -0.12437 | 0.98081 | -0.13454 | 3.8907
5 | -0.025347 | -0.0063847 | 0.025479 | 0.0064333 | 0.0001314 | 4.8662e-05 | 0.038108 | 0.038107 | 0.038108 | 0.99004 | -0.069322 | 0.99533 | -0.032439 | 14.1141
6 | -0.029786 | -0.0075129 | 0.02979 | 0.0075143 | 3.637e-06 | 1.3607e-06 | 0.044547 | 0.044547 | 0.044547 | 0.99533 | -0.032439 | 0.99546 | -0.031568 | 16.499
7 | -0.036093 | -0.009094 | 0.036125 | 0.0091061 | 3.1946e-05 | 1.2058e-05 | 0.053969 | 0.053969 | 0.053969 | 0.99546 | -0.031568 | 0.99637 | -0.025248 | 19.9886
8 | 0.014267 | 0.0035765 | -0.014259 | -0.0035736 | 8.4377e-06 | 2.8618e-06 | 0.021366 | 0.021366 | 0.021366 | 0.99364 | -0.044547 | 0.99304 | -0.048819 | 7.9134
9 | -0.029084 | -0.0072899 | 0.029103 | 0.0072971 | 1.9344e-05 | 7.2283e-06 | 0.043555 | 0.043555 | 0.043555 | 0.99364 | -0.044547 | 0.99432 | -0.039746 | 16.1313
10 | 0.0084087 | 0.0021074 | -0.0084083 | -0.0021073 | 4.1223e-07 | 1.0472e-07 | 0.0126 | 0.0126 | 0.0126 | 0.99304 | -0.048819 | 0.99299 | -0.049173 | 4.6667
11 | -0.029103 | -0.0072971 | 0.029108 | 0.0072987 | 4.3222e-06 | 1.615e-06 | 0.043555 | 0.043555 | 0.043555 | 0.99432 | -0.039746 | 0.99448 | -0.038675 | 16.1313
12 | -0.032879 | -0.0082438 | 0.032914 | 0.008257 | 3.4988e-05 | 1.3156e-05 | 0.049197 | 0.049197 | 0.049197 | 0.99448 | -0.038675 | 0.99557 | -0.031003 | 18.221
13 | -0.038833 | -0.0097405 | 0.038837 | 0.009742 | 4.0501e-06 | 1.5327e-06 | 0.058044 | 0.058044 | 0.058044 | 0.99557 | -0.031003 | 0.99568 | -0.030251 | 21.4978
14 | 0.029502 | 0.0073977 | -0.029482 | -0.0073902 | 2.0156e-05 | 7.5364e-06 | 0.044092 | 0.044092 | 0.044092 | 0.99568 | -0.030251 | 0.99497 | -0.035184 | 16.3303
15 | -0.068339 | -0.01714 | 0.068426 | 0.017173 | 8.7361e-05 | 3.3426e-05 | 0.10214 | 0.10214 | 0.10214 | 0.99568 | -0.030251 | 0.99699 | -0.021042 | 37.828
16 | -0.036125 | -0.0091061 | 0.03613 | 0.0091079 | 4.8235e-06 | 1.8206e-06 | 0.053969 | 0.053969 | 0.053969 | 0.99637 | -0.025248 | 0.9965 | -0.024295 | 19.9886
17 | -0.037701 | -0.0095017 | 0.037712 | 0.0095059 | 1.0857e-05 | 4.1044e-06 | 0.056316 | 0.056316 | 0.056316 | 0.9965 | -0.024295 | 0.9968 | -0.022238 | 20.8577
18 | -0.04153 | -0.010463 | 0.041588 | 0.010485 | 5.8286e-05 | 2.2101e-05 | 0.062015 | 0.062015 | 0.062015 | 0.9968 | -0.022238 | 0.99824 | -0.01222 | 22.9685
19 | -0.044896 | -0.011314 | 0.044932 | 0.011327 | 3.5935e-05 | 1.3653e-05 | 0.066945 | 0.066945 | 0.066945 | 0.99824 | -0.01222 | 0.99907 | -0.0065056 | 24.7944
20 | 0.023551 | 0.0059037 | -0.023545 | -0.0059017 | 5.6172e-06 | 2.0662e-06 | 0.035222 | 0.035222 | 0.035222 | 0.99497 | -0.035184 | 0.99473 | -0.036907 | 13.0451
21 | -0.078849 | -0.019785 | 0.078872 | 0.019794 | 2.2933e-05 | 8.7858e-06 | 0.11769 | 0.11769 | 0.11769 | 0.99699 | -0.021042 | 0.99729 | -0.018947 | 43.5895
22 | 0.018812 | 0.0047152 | -0.018805 | -0.004713 | 6.3272e-06 | 2.2674e-06 | 0.02814 | 0.028141 | 0.028141 | 0.99473 | -0.036907 | 0.99438 | -0.039336 | 10.4224
23 | -0.085483 | -0.021451 | 0.085676 | 0.021525 | 0.00019274 | 7.3883e-05 | 0.12756 | 0.12756 | 0.12756 | 0.99729 | -0.018947 | 0.99961 | -0.0027379 | 47.2431
24 | 0.072212 | 0.018117 | -0.072191 | -0.018109 | 2.0852e-05 | 7.9823e-06 | 0.10756 | 0.10756 | 0.10756 | 0.99907 | -0.0065056 | 0.99877 | -0.0085877 | 39.8368
25 | -0.11714 | -0.029445 | 0.11725 | 0.029485 | 0.00010622 | 4.0559e-05 | 0.1745 | 0.1745 | 0.1745 | 0.99907 | -0.0065056 | 1 | 0 | 32.3156
26 | 0.068657 | 0.017223 | -0.068619 | -0.017209 | 3.7567e-05 | 1.4373e-05 | 0.10229 | 0.10229 | 0.10229 | 0.99877 | -0.0085877 | 0.9982 | -0.012535 | 37.8866
27 | 0.0957 | 0.024042 | -0.095683 | -0.024035 | 1.7169e-05 | 6.5857e-06 | 0.14242 | 0.14242 | 0.14242 | 1 | 0 | 0.99981 | -0.00129 | 52.7493
28 | 0.05491 | 0.013773 | -0.054899 | -0.013769 | 1.1395e-05 | 4.3472e-06 | 0.081858 | 0.081858 | 0.081858 | 0.9982 | -0.012535 | 0.99799 | -0.014032 | 30.3178
29 | 0.089334 | 0.022444 | -0.089316 | -0.022437 | 1.799e-05 | 6.8978e-06 | 0.13297 | 0.13297 | 0.13297 | 0.99981 | -0.00129 | 0.99961 | -0.0027379 | 49.2496
30 | 0.049536 | 0.012425 | -0.049507 | -0.012414 | 2.8697e-05 | 1.0927e-05 | 0.073862 | 0.073863 | 0.073863 | 0.99799 | -0.014032 | 0.99739 | -0.018212 | 27.3565
31 | 0.037553 | 0.0094181 | -0.03752 | -0.0094056 | 3.3199e-05 | 1.2548e-05 | 0.056028 | 0.056028 | 0.056028 | 0.99739 | -0.018212 | 0.99648 | -0.024595 | 20.7512
32 | 0.032869 | 0.0082398 | -0.03285 | -0.0082329 | 1.8219e-05 | 6.8494e-06 | 0.049082 | 0.049082 | 0.049082 | 0.99648 | -0.024595 | 0.99591 | -0.028599 | 18.1786
33 | 0.012621 | 0.003163 | -0.012618 | -0.0031621 | 2.7213e-06 | 8.8712e-07 | 0.018858 | 0.018858 | 0.018858 | 0.99591 | -0.028599 | 0.99569 | -0.030157 | 6.9843
34 | 0.0060675 | 0.0015203 | -0.0060665 | -0.0015202 | 9.9804e-07 | 1.3089e-07 | 0.0090675 | 0.0090676 | 0.0090676 | 0.99569 | -0.030157 | 0.99552 | -0.031346 | 3.3584
35 | 0.0018616 | 0.00046633 | -0.0018615 | -0.00046654 | 9.1666e-08 | -2.1143e-07 | 0.0027825 | 0.0027826 | 0.0027826 | 0.99552 | -0.031346 | 0.99547 | -0.031702 | 1.0306
36 | 0.013252 | 0.0033212 | -0.01325 | -0.0033206 | 1.915e-06 | 6.3531e-07 | 0.019831 | 0.019831 | 0.019831 | 0.99438 | -0.039336 | 0.99424 | -0.04038 | 7.3447
37 | 0.0035716 | 0.0008949 | -0.0035712 | -0.00089503 | 3.7818e-07 | -1.2959e-07 | 0.0053453 | 0.0053454 | 0.0053454 | 0.99424 | -0.04038 | 0.99413 | -0.041145 | 1.9798

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22019 | 0.05514

## res_load
| p_mw | q_mvar
0 | 0.003448 | 0.00086414
1 | 0.014685 | 0.0036804
2 | 0.0069241 | 0.0017353
3 | 0.0043077 | 0.0010796
4 | 0.0063032 | 0.0015797
5 | 0.014817 | 0.0037134
6 | 0.0058502 | 0.0014662
7 | 0.0084083 | 0.0021073
8 | 0.0037709 | 0.00094507
9 | 0.0059194 | 0.0014835
10 | 0.0015715 | 0.00039386
11 | 0.0038177 | 0.00095682
12 | 0.0033074 | 0.00082892
13 | 0.0059309 | 0.0014864
14 | 0.010423 | 0.0026122
15 | 0.0047339 | 0.0011864
16 | 0.0066114 | 0.001657
17 | 0.0035343 | 0.00088578
18 | 0.0064359 | 0.001613
19 | 0.013709 | 0.0034358
20 | 0.006349 | 0.0015912
21 | 0.0036396 | 0.00091217
22 | 0.0053625 | 0.001344
23 | 0.011954 | 0.002996
24 | 0.0046516 | 0.0011658
25 | 0.020229 | 0.0050699
26 | 0.006551 | 0.0016418
27 | 0.0042049 | 0.0010538
28 | 0.0018615 | 0.00046654
29 | 0.0055532 | 0.0013918
30 | 0.0096785 | 0.0024257
31 | 0.0035712 | 0.00089503

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1