## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-137_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-137_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-137_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-137_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-137_0_3_node_54 | 0.4 | n |  | TRUE
5 | bus_LV_1631-137_0_3_node_53 | 0.4 | n |  | TRUE
6 | bus_LV_1631-137_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1631-137_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1631-137_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1631-137_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1631-137_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1631-137_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1631-137_0_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_1631-137_0_3_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_1631-137_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1631-137_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1631-137_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1631-137_0_3_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_1631-137_0_3_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_1631-137_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1631-137_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1631-137_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1631-137_0_3_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_1631-137_0_3_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_1631-137_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1631-137_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1631-137_0_3_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1631-137_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1631-137_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1631-137_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1631-137_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1631-137_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1631-137_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1631-137_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1631-137_0_3_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_1631-137_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1631-137_0_3_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_1631-137_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1631-137_0_3_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_1631-137_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1631-137_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1631-137_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1631-137_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1631-137_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1631-137_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1631-137_0_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1631-137_0_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_1631-137_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1631-137_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1631-137_0_3_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_1631-137_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_1631-137_0_3_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_1631-137_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_MV_145_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-137_0_3_load_0 | 0 | 0.016662 | 0.004176 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-137_0_3_load_1 | 1 | 0.0014485 | 0.00036303 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-137_0_3_load_54 | 4 | 0.0020832 | 0.00052211 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-137_0_3_load_53 | 5 | 0.016412 | 0.0041132 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-137_0_3_load_4 | 6 | 0.009381 | 0.0023511 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-137_0_3_load_6 | 8 | 0.0087562 | 0.0021945 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-137_0_3_load_8 | 9 | 0.013118 | 0.0032876 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-137_0_3_load_9 | 10 | 0.009032 | 0.0022636 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-137_0_3_load_7 | 11 | 0.0082237 | 0.002061 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-137_0_3_load_33 | 12 | 0.0039312 | 0.00098525 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-137_0_3_load_32 | 13 | 0.0038659 | 0.00096888 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-137_0_3_load_10 | 14 | 0.0059364 | 0.0014878 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-137_0_3_load_12 | 15 | 0.0047866 | 0.0011996 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-137_0_3_load_13 | 16 | 0.0023524 | 0.00058957 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-137_0_3_load_38 | 17 | 0.00424 | 0.0010626 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-137_0_3_load_36 | 18 | 0.0042454 | 0.001064 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-137_0_3_load_14 | 19 | 0.0054366 | 0.0013625 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-137_0_3_load_15 | 20 | 0.0035642 | 0.00089326 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-137_0_3_load_16 | 21 | 0.0035614 | 0.00089257 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-137_0_3_load_34 | 22 | 0.0021041 | 0.00052734 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-137_0_3_load_29 | 23 | 0.0015243 | 0.00038203 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-137_0_3_load_30 | 26 | 0.0037014 | 0.00092765 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-137_0_3_load_27 | 27 | 0.0036949 | 0.00092604 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-137_0_3_load_31 | 28 | 0.0054198 | 0.0013583 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-137_0_3_load_19 | 29 | 0.0025921 | 0.00064963 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-137_0_3_load_20 | 30 | 0.0041836 | 0.0010485 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-137_0_3_load_51 | 34 | 0.019716 | 0.0049413 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-137_0_3_load_42 | 36 | 0.0017384 | 0.00043567 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-137_0_3_load_25 | 37 | 0.0040141 | 0.001006 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-137_0_3_load_50 | 38 | 0.0020453 | 0.00051261 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-137_0_3_load_26 | 39 | 0.0032352 | 0.00081082 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-137_0_3_load_41 | 40 | 0.0017546 | 0.00043974 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-137_0_3_load_35 | 41 | 0.0017533 | 0.00043942 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-137_0_3_load_40 | 44 | 0.0032282 | 0.00080907 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-137_0_3_load_45 | 47 | 0.0040197 | 0.0010074 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-137_0_3_load_43 | 48 | 0.003015 | 0.00075562 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-137_0_3_load_55 | 49 | 0.0024155 | 0.00060539 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-137_0_3_load_56 | 51 | 0.017812 | 0.0044641 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1631-137_0_3_load_52 | 52 | 0.016394 | 0.0041087 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-137_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-137_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.026635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-137_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.021947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-137_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0068713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-137_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.016972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-137_0_3_line_5 | NAYY 4x150 SE | 5 | 32 | 0.01602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-137_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.024033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-137_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.017874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-137_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.041431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-137_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.032132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-137_0_3_line_10 | NAYY 4x150 SE | 10 | 14 | 0.010626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-137_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.023029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-137_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.0071677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-137_0_3_line_13 | NAYY 4x150 SE | 13 | 28 | 0.014984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-137_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.0038613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-137_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.018975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-137_0_3_line_16 | NAYY 4x150 SE | 16 | 19 | 0.0035212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-137_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.0066174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-137_0_3_line_18 | NAYY 4x150 SE | 18 | 41 | 0.00023038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-137_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.013868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-137_0_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.0055934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-137_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.015855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-137_0_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.023006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-137_0_3_line_23 | NAYY 4x150 SE | 23 | 35 | 0.019391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1631-137_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.005715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-137_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.011527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-137_0_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.028052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-137_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.036158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-137_0_3_line_28 | NAYY 4x150 SE | 27 | 37 | 0.0010788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-137_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.010011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-137_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.012465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-137_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.017884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-137_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.040351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-137_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.020831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-137_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.00676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1631-137_0_3_line_35 | NAYY 4x150 SE | 33 | 36 | 0.019753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-137_0_3_line_36 | NAYY 4x150 SE | 34 | 38 | 0.024557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-137_0_3_line_37 | NAYY 4x150 SE | 35 | 39 | 0.016685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-137_0_3_line_38 | NAYY 4x150 SE | 36 | 40 | 0.020178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-137_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.022324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-137_0_3_line_40 | NAYY 4x150 SE | 38 | 52 | 0.017164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-137_0_3_line_41 | NAYY 4x150 SE | 40 | 43 | 0.011918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-137_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.04139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-137_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.006258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-137_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.038765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-137_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.0089303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-137_0_3_line_46 | NAYY 4x150 SE | 45 | 46 | 0.0090288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-137_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.017267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-137_0_3_line_48 | NAYY 4x150 SE | 46 | 49 | 0.005788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-137_0_3_line_49 | NAYY 4x150 SE | 46 | 50 | 0.005716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-137_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.070821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1631-137_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.004064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-137_0_3_trafo_29 | 0.25 MVA 20/0.4 kV | 53 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2724247.4427 | 1206373.6527 | 2724256.7494 | 1206371.3447 | 2724262.1508 | 1206371.7129 | 2724263.6901 | 1206371.6553
1 | 2724262.1182 | 1206380.5856 | 2724274.6811 | 1206372.4298 | 2724273.9901 | 1206371.2701 | 2724263.6901 | 1206371.6553
2 | 2724242.9917 | 1206391.2068 | 2724249.3168 | 1206388.87 | 2724251.3581 | 1206387.656 | 2724262.1182 | 1206380.5856
3 | 2724242.9917 | 1206391.2068 | 2724242.5598 | 1206392.2208 | 2724240.2746 | 1206397.518
4 | 2724226.8739 | 1206407.0983 | 2724239.1225 | 1206400.1887 | 2724240.2746 | 1206397.518
5 | 2724212.6186 | 1206414.3702 | 2724219.2382 | 1206411.4057 | 2724226.8739 | 1206407.0983
6 | 2724041.8026 | 1206325.8294 | 2724022.1398 | 1206312.0107
7 | 2724041.8026 | 1206325.8294 | 2724030.0196 | 1206339.2948
8 | 2724056.9098 | 1206287.2514 | 2724041.8026 | 1206325.8294
9 | 2724080.78 | 1206308.515 | 2724076.1118 | 1206302.5134 | 2724056.9098 | 1206287.2514
10 | 2724080.78 | 1206308.515 | 2724089.5525 | 1206314.512
11 | 2724067.3661 | 1206374.8948 | 2724048.5233 | 1206388.1341
12 | 2724067.3661 | 1206374.8948 | 2724072.93 | 1206379.4136
13 | 2724085.1046 | 1206388.138 | 2724074.9576 | 1206381.0603 | 2724072.93 | 1206379.4136
14 | 2724092.7401 | 1206316.6911 | 2724089.5525 | 1206314.512
15 | 2724092.7401 | 1206316.6911 | 2724108.4046 | 1206327.3996
16 | 2724111.3115 | 1206329.3868 | 2724108.4046 | 1206327.3996
17 | 2724181.9502 | 1206301.6034 | 2724187.4076 | 1206305.3458
18 | 2724187.5976 | 1206305.4761 | 2724187.4076 | 1206305.3458
19 | 2724122.7604 | 1206337.2134 | 2724111.3115 | 1206329.3868
20 | 2724122.7604 | 1206337.2134 | 2724127.3779 | 1206340.37
21 | 2724140.4665 | 1206349.3174 | 2724127.3779 | 1206340.37
22 | 2724140.4665 | 1206349.3174 | 2724159.4588 | 1206362.3008
23 | 2724175.4665 | 1206373.2439 | 2724159.4588 | 1206362.3008
24 | 2724123.9999 | 1206417.1293 | 2724119.2545 | 1206420.3331
25 | 2724119.2545 | 1206420.3331 | 2724112.2626 | 1206411.1691
26 | 2724123.9999 | 1206417.1293 | 2724129.778 | 1206409.2657 | 2724134.2703 | 1206403.9662 | 2724141.4941 | 1206397.5559 | 2724142.867 | 1206396.5734
27 | 2724112.2626 | 1206411.1691 | 2724104.9613 | 1206401.5995 | 2724102.4173 | 1206398.8223 | 2724089.1381 | 1206390.9514 | 2724085.1046 | 1206388.138
28 | 2724143.7443 | 1206395.9456 | 2724142.867 | 1206396.5734
29 | 2724189.1498 | 1206418.0962 | 2724180.6131 | 1206423.3258
30 | 2724195.6709 | 1206408.7801 | 2724195.6988 | 1206411.0935 | 2724195.1993 | 1206413.1625 | 2724194.241 | 1206414.9773 | 2724189.1498 | 1206418.0962
31 | 2724195.6709 | 1206408.7801 | 2724203.9633 | 1206412.4332 | 2724212.6186 | 1206414.3702
32 | 2724181.8151 | 1206370.8741 | 2724195.6709 | 1206408.7801
33 | 2724212.6186 | 1206414.3702 | 2724217.1079 | 1206415.4311 | 2724233.0187 | 1206415.6512 | 2724233.3238 | 1206415.6334
34 | 2724181.8151 | 1206370.8741 | 2724175.4665 | 1206373.2439
35 | 2724181.8151 | 1206370.8741 | 2724195.8032 | 1206356.9271
36 | 2724257.2271 | 1206414.3893 | 2724252.3393 | 1206412.5064 | 2724239.3331 | 1206415.2823 | 2724233.3238 | 1206415.6334
37 | 2724175.4665 | 1206373.2439 | 2724161.8984 | 1206382.9538
38 | 2724210.0919 | 1206342.6805 | 2724195.8032 | 1206356.9271
39 | 2724143.7443 | 1206395.9456 | 2724161.8984 | 1206382.9538
40 | 2724257.2271 | 1206414.3893 | 2724257.9846 | 1206414.6811 | 2724269.0711 | 1206410.1974 | 2724273.3695 | 1206409.2913
41 | 2724218.5316 | 1206334.2656 | 2724210.0919 | 1206342.6805
42 | 2724221.7324 | 1206328.8837 | 2724187.5976 | 1206305.4761
43 | 2724221.7324 | 1206328.8837 | 2724218.5316 | 1206334.2656
44 | 2724221.7324 | 1206328.8837 | 2724248.139 | 1206300.5043
45 | 2724254.2223 | 1206293.9665 | 2724248.139 | 1206300.5043
46 | 2724247.6797 | 1206287.7478 | 2724248.9791 | 1206288.9202 | 2724250.9054 | 1206290.6727 | 2724254.2223 | 1206293.9665
47 | 2724254.2223 | 1206293.9665 | 2724265.8591 | 1206281.2098
48 | 2724247.6797 | 1206287.7478 | 2724245.0711 | 1206285.1471 | 2724243.5496 | 1206283.681
49 | 2724247.6797 | 1206287.7478 | 2724243.8183 | 1206291.9707
50 | 2724243.5496 | 1206283.681 | 2724224.9256 | 1206215.3526
51 | 2724243.8183 | 1206291.9707 | 2724241.4272 | 1206292.0766 | 2724239.745 | 1206292.1194

## bus_geodata
| x | y | coords
0 | 2724263.6901 | 1206371.6553
1 | 2724247.4427 | 1206373.6527
2 | 2724262.1182 | 1206380.5856
3 | 2724242.9917 | 1206391.2068
4 | 2724240.2746 | 1206397.518
5 | 2724226.8739 | 1206407.0983
6 | 2724022.1398 | 1206312.0107
7 | 2724041.8026 | 1206325.8294
8 | 2724030.0196 | 1206339.2948
9 | 2724056.9098 | 1206287.2514
10 | 2724080.78 | 1206308.515
11 | 2724048.5233 | 1206388.1341
12 | 2724067.3661 | 1206374.8948
13 | 2724072.93 | 1206379.4136
14 | 2724089.5525 | 1206314.512
15 | 2724092.7401 | 1206316.6911
16 | 2724108.4046 | 1206327.3996
17 | 2724181.9502 | 1206301.6034
18 | 2724187.4076 | 1206305.3458
19 | 2724111.3115 | 1206329.3868
20 | 2724122.7604 | 1206337.2134
21 | 2724127.3779 | 1206340.37
22 | 2724140.4665 | 1206349.3174
23 | 2724159.4588 | 1206362.3008
24 | 2724119.2545 | 1206420.3331
25 | 2724123.9999 | 1206417.1293
26 | 2724112.2626 | 1206411.1691
27 | 2724142.867 | 1206396.5734
28 | 2724085.1046 | 1206388.138
29 | 2724189.1498 | 1206418.0962
30 | 2724180.6131 | 1206423.3258
31 | 2724195.6709 | 1206408.7801
32 | 2724212.6186 | 1206414.3702
33 | 2724181.8151 | 1206370.8741
34 | 2724233.3238 | 1206415.6334
35 | 2724175.4665 | 1206373.2439
36 | 2724195.8032 | 1206356.9271
37 | 2724143.7443 | 1206395.9456
38 | 2724257.2271 | 1206414.3893
39 | 2724161.8984 | 1206382.9538
40 | 2724210.0919 | 1206342.6805
41 | 2724187.5976 | 1206305.4761
42 | 2724221.7324 | 1206328.8837
43 | 2724218.5316 | 1206334.2656
44 | 2724248.139 | 1206300.5043
45 | 2724254.2223 | 1206293.9665
46 | 2724247.6797 | 1206287.7478
47 | 2724265.8591 | 1206281.2098
48 | 2724224.9256 | 1206215.3526
49 | 2724243.5496 | 1206283.681
50 | 2724243.8183 | 1206291.9707
51 | 2724239.745 | 1206292.1194
52 | 2724273.3695 | 1206409.2913
53 | 2724175.4665 | 1206373.2439

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98767 | -0.08647 | 0.016662 | 0.004176
1 | 0.98764 | -0.086715 | 0.0014485 | 0.00036303
2 | 0.98837 | -0.081537 | 0 | 0
3 | 0.98894 | -0.077478 | 0 | 0
4 | 0.98912 | -0.076208 | 0.0020832 | 0.00052211
5 | 0.98962 | -0.072712 | 0.016412 | 0.0041132
6 | 0.98919 | -0.075874 | 0.009381 | 0.0023511
7 | 0.98951 | -0.073575 | 0 | 0
8 | 0.98929 | -0.075171 | 0.0087562 | 0.0021945
9 | 0.99059 | -0.065921 | 0.013118 | 0.0032876
10 | 0.99204 | -0.055719 | 0.009032 | 0.0022636
11 | 0.99229 | -0.053993 | 0.0082237 | 0.002061
12 | 0.99256 | -0.052074 | 0.0039312 | 0.00098525
13 | 0.99269 | -0.051191 | 0.0038659 | 0.00096888
14 | 0.99266 | -0.051379 | 0.0059364 | 0.0014878
15 | 0.99291 | -0.049571 | 0.0047866 | 0.0011996
16 | 0.9943 | -0.039784 | 0.0023524 | 0.00058957
17 | 0.99293 | -0.049466 | 0.00424 | 0.0010626
18 | 0.99297 | -0.049182 | 0.0042454 | 0.001064
19 | 0.99457 | -0.037887 | 0.0054366 | 0.0013625
20 | 0.99575 | -0.029667 | 0.0035642 | 0.00089326
21 | 0.99625 | -0.026157 | 0.0035614 | 0.00089257
22 | 0.99775 | -0.01566 | 0.0021041 | 0.00052734
23 | 1 | 0 | -0.23265 | -0.05836
24 | 0.99456 | -0.037995 | 0 | 0
25 | 0.99477 | -0.036545 | 0 | 0
26 | 0.99415 | -0.040921 | 0.0037014 | 0.00092765
27 | 0.99578 | -0.029436 | 0.0036949 | 0.00092604
28 | 0.99303 | -0.04876 | 0.0054198 | 0.0013583
29 | 0.99227 | -0.054017 | 0.0025921 | 0.00064963
30 | 0.99221 | -0.054441 | 0.0041836 | 0.0010485
31 | 0.99239 | -0.05316 | 0 | 0
32 | 0.99046 | -0.066739 | 0 | 0
33 | 0.99713 | -0.019968 | 0 | 0
34 | 0.98932 | -0.074836 | 0.019716 | 0.0049413
35 | 0.99774 | -0.015703 | 0 | 0
36 | 0.99588 | -0.028753 | 0.0017384 | 0.00043567
37 | 0.99583 | -0.029122 | 0.0040141 | 0.001006
38 | 0.98866 | -0.079457 | 0.0020453 | 0.00051261
39 | 0.99688 | -0.021747 | 0.0032352 | 0.00081082
40 | 0.99464 | -0.037394 | 0.0017546 | 0.00043974
41 | 0.99297 | -0.049162 | 0.0017533 | 0.00043942
42 | 0.99358 | -0.044874 | 0 | 0
43 | 0.99395 | -0.042297 | 0 | 0
44 | 0.99188 | -0.056849 | 0.0032282 | 0.00080907
45 | 0.99153 | -0.059321 | 0 | 0
46 | 0.99123 | -0.061453 | 0 | 0
47 | 0.99143 | -0.060026 | 0.0040197 | 0.0010074
48 | 0.99088 | -0.063945 | 0.003015 | 0.00075562
49 | 0.99118 | -0.061773 | 0.0024155 | 0.00060539
50 | 0.99108 | -0.062487 | 0 | 0
51 | 0.99098 | -0.063223 | 0.017812 | 0.0044641
52 | 0.98826 | -0.082331 | 0.016394 | 0.0041087
53 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0014486 | 0.00036284 | -0.0014485 | -0.00036303 | 4.9164e-08 | -1.928e-07 | 0.0021823 | 0.0021824 | 0.0021824 | 0.98767 | -0.08647 | 0.98764 | -0.086715 | 0.80829
1 | -0.018111 | -0.0045388 | 0.018123 | 0.0045432 | 1.2374e-05 | 4.4181e-06 | 0.027286 | 0.027286 | 0.027286 | 0.98767 | -0.08647 | 0.98837 | -0.081537 | 10.1058
2 | -0.018123 | -0.0045432 | 0.018133 | 0.0045469 | 1.0196e-05 | 3.64e-06 | 0.027286 | 0.027285 | 0.027286 | 0.98837 | -0.081537 | 0.98894 | -0.077478 | 10.1057
3 | -0.018133 | -0.0045469 | 0.018137 | 0.004548 | 3.1921e-06 | 1.1396e-06 | 0.027285 | 0.027285 | 0.027285 | 0.98894 | -0.077478 | 0.98912 | -0.076208 | 10.1057
4 | -0.02022 | -0.0050701 | 0.02023 | 0.0050737 | 9.7996e-06 | 3.5511e-06 | 0.030419 | 0.030419 | 0.030419 | 0.98912 | -0.076208 | 0.98962 | -0.072712 | 11.2664
5 | -0.036641 | -0.0091869 | 0.036672 | 0.0091983 | 3.0345e-05 | 1.1465e-05 | 0.055097 | 0.055096 | 0.055097 | 0.98962 | -0.072712 | 0.99046 | -0.066739 | 20.4061
6 | -0.009381 | -0.0023511 | 0.009384 | 0.0023519 | 2.9864e-06 | 8.3999e-07 | 0.014112 | 0.014112 | 0.014112 | 0.98919 | -0.075874 | 0.98951 | -0.073575 | 5.2265
7 | 0.0087582 | 0.002195 | -0.0087562 | -0.0021945 | 1.9347e-06 | 5.1456e-07 | 0.01317 | 0.013171 | 0.013171 | 0.98951 | -0.073575 | 0.98929 | -0.075171 | 4.878
8 | -0.018142 | -0.004547 | 0.018161 | 0.0045538 | 1.9242e-05 | 6.8681e-06 | 0.027282 | 0.027282 | 0.027282 | 0.98951 | -0.073575 | 0.99059 | -0.065921 | 10.1044
9 | -0.031279 | -0.0078414 | 0.031323 | 0.007858 | 4.4265e-05 | 1.6611e-05 | 0.046986 | 0.046986 | 0.046986 | 0.99059 | -0.065921 | 0.99204 | -0.055719 | 17.4024
10 | -0.040355 | -0.010122 | 0.04038 | 0.010131 | 2.4298e-05 | 9.2081e-06 | 0.060534 | 0.060534 | 0.060534 | 0.99204 | -0.055719 | 0.99266 | -0.051379 | 22.42
11 | -0.0082237 | -0.002061 | 0.0082259 | 0.0020616 | 2.1854e-06 | 5.4296e-07 | 0.012332 | 0.012332 | 0.012332 | 0.99229 | -0.053993 | 0.99256 | -0.052074 | 4.5674
12 | -0.012157 | -0.0030468 | 0.012159 | 0.0030473 | 1.4857e-06 | 4.7875e-07 | 0.018225 | 0.018225 | 0.018225 | 0.99256 | -0.052074 | 0.99269 | -0.051191 | 6.7502
13 | -0.016024 | -0.0040162 | 0.01603 | 0.0040181 | 5.3945e-06 | 1.881e-06 | 0.02402 | 0.02402 | 0.02402 | 0.99269 | -0.051191 | 0.99303 | -0.04876 | 8.8964
14 | -0.046316 | -0.011619 | 0.046328 | 0.011623 | 1.1616e-05 | 4.4176e-06 | 0.069433 | 0.069433 | 0.069433 | 0.99266 | -0.051379 | 0.99291 | -0.049571 | 25.7158
15 | -0.051114 | -0.012823 | 0.051184 | 0.012849 | 6.9485e-05 | 2.6479e-05 | 0.076606 | 0.076606 | 0.076606 | 0.99291 | -0.049571 | 0.9943 | -0.039784 | 28.3727
16 | -0.053536 | -0.013439 | 0.05355 | 0.013444 | 1.4107e-05 | 5.38e-06 | 0.080127 | 0.080127 | 0.080127 | 0.9943 | -0.039784 | 0.99457 | -0.037887 | 29.6765
17 | -0.00424 | -0.0010626 | 0.0042402 | 0.0010626 | 1.6672e-07 | -2.1473e-08 | 0.0063542 | 0.0063541 | 0.0063542 | 0.99293 | -0.049466 | 0.99297 | -0.049182 | 2.3534
18 | -0.0084856 | -0.0021266 | 0.0084856 | 0.0021266 | 2.3245e-08 | 5.9607e-09 | 0.012716 | 0.012716 | 0.012716 | 0.99297 | -0.049182 | 0.99297 | -0.049162 | 4.7097
19 | -0.058987 | -0.014807 | 0.059054 | 0.014832 | 6.7413e-05 | 2.5748e-05 | 0.08826 | 0.08826 | 0.08826 | 0.99457 | -0.037887 | 0.99575 | -0.029667 | 32.6891
20 | -0.062619 | -0.015726 | 0.062649 | 0.015737 | 3.0569e-05 | 1.1685e-05 | 0.093587 | 0.093587 | 0.093587 | 0.99575 | -0.029667 | 0.99625 | -0.026157 | 34.6617
21 | -0.06621 | -0.01663 | 0.066307 | 0.016667 | 9.6779e-05 | 3.7016e-05 | 0.098906 | 0.098906 | 0.098906 | 0.99625 | -0.026157 | 0.99775 | -0.01566 | 36.6318
22 | -0.068411 | -0.017194 | 0.068561 | 0.017252 | 0.00014949 | 5.7193e-05 | 0.10204 | 0.10204 | 0.10204 | 0.99775 | -0.01566 | 1 | 0 | 37.794
23 | 0.16329 | 0.041109 | -0.16293 | -0.040972 | 0.00035737 | 0.00013694 | 0.24304 | 0.24304 | 0.24304 | 1 | 0 | 0.99774 | -0.015703 | 45.0082
24 | -0.025185 | -0.0063163 | 0.02519 | 0.0063182 | 5.0635e-06 | 1.8733e-06 | 0.037681 | 0.037681 | 0.037681 | 0.99456 | -0.037995 | 0.99477 | -0.036545 | 13.9561
25 | 0.025185 | 0.0063163 | -0.025174 | -0.0063126 | 1.0213e-05 | 3.7785e-06 | 0.037681 | 0.037681 | 0.037681 | 0.99456 | -0.037995 | 0.99415 | -0.040921 | 13.9561
26 | -0.02519 | -0.0063182 | 0.025214 | 0.0063274 | 2.4854e-05 | 9.1947e-06 | 0.037681 | 0.037681 | 0.037681 | 0.99477 | -0.036545 | 0.99578 | -0.029436 | 13.9561
27 | 0.021473 | 0.0053849 | -0.02145 | -0.0053764 | 2.3308e-05 | 8.4965e-06 | 0.032141 | 0.032141 | 0.032141 | 0.99415 | -0.040921 | 0.99303 | -0.04876 | 11.9043
28 | -0.028909 | -0.0072534 | 0.028911 | 0.0072539 | 1.2565e-06 | 4.6923e-07 | 0.043203 | 0.043203 | 0.043203 | 0.99578 | -0.029436 | 0.99583 | -0.029122 | 16.001
29 | 0.0041839 | 0.0010485 | -0.0041836 | -0.0010485 | 2.4592e-07 | -3.4726e-08 | 0.0062742 | 0.0062742 | 0.0062742 | 0.99227 | -0.054017 | 0.99221 | -0.054441 | 2.3238
30 | -0.006776 | -0.0016981 | 0.0067768 | 0.0016983 | 8.0309e-07 | 1.4785e-07 | 0.010161 | 0.010161 | 0.010161 | 0.99227 | -0.054017 | 0.99239 | -0.05316 | 3.7634
31 | 0.075029 | 0.018838 | -0.074888 | -0.018784 | 0.00014127 | 5.4105e-05 | 0.11251 | 0.11251 | 0.11251 | 0.99239 | -0.05316 | 0.99046 | -0.066739 | 41.6715
32 | -0.081806 | -0.020536 | 0.082185 | 0.020681 | 0.00037892 | 0.00014521 | 0.12267 | 0.12267 | 0.12267 | 0.99239 | -0.05316 | 0.99713 | -0.019968 | 45.4349
33 | 0.038216 | 0.0095853 | -0.038173 | -0.0095691 | 4.2852e-05 | 1.6214e-05 | 0.057417 | 0.057417 | 0.057417 | 0.99046 | -0.066739 | 0.98932 | -0.074836 | 21.2654
34 | -0.12663 | -0.031848 | 0.12671 | 0.031877 | 7.5351e-05 | 2.8805e-05 | 0.18901 | 0.18901 | 0.18901 | 0.99713 | -0.019968 | 0.99774 | -0.015703 | 35.0027
35 | 0.044449 | 0.011167 | -0.044395 | -0.011146 | 5.4248e-05 | 2.0607e-05 | 0.066341 | 0.066341 | 0.066341 | 0.99713 | -0.019968 | 0.99588 | -0.028753 | 24.5706
36 | 0.018457 | 0.0046278 | -0.018446 | -0.0046236 | 1.181e-05 | 4.2273e-06 | 0.027762 | 0.027762 | 0.027762 | 0.98932 | -0.074836 | 0.98866 | -0.079457 | 10.2824
37 | 0.036224 | 0.0090949 | -0.036194 | -0.0090834 | 3.0392e-05 | 1.1472e-05 | 0.05403 | 0.05403 | 0.05403 | 0.99774 | -0.015703 | 0.99688 | -0.021747 | 20.011
38 | 0.042656 | 0.010711 | -0.042605 | -0.010691 | 5.1159e-05 | 1.9414e-05 | 0.063743 | 0.063743 | 0.063743 | 0.99588 | -0.028753 | 0.99464 | -0.037394 | 23.6087
39 | -0.032925 | -0.0082599 | 0.032958 | 0.0082726 | 3.3721e-05 | 1.2679e-05 | 0.049201 | 0.049201 | 0.049201 | 0.99583 | -0.029122 | 0.99688 | -0.021747 | 18.2225
40 | 0.0164 | 0.004111 | -0.016394 | -0.0041087 | 6.5256e-06 | 2.2899e-06 | 0.024684 | 0.024684 | 0.024684 | 0.98866 | -0.079457 | 0.98826 | -0.082331 | 9.1422
41 | 0.040851 | 0.010251 | -0.040823 | -0.010241 | 2.778e-05 | 1.053e-05 | 0.061118 | 0.061119 | 0.061119 | 0.99464 | -0.037394 | 0.99395 | -0.042297 | 22.6365
42 | -0.010239 | -0.0025661 | 0.010245 | 0.0025679 | 6.0802e-06 | 1.8028e-06 | 0.015344 | 0.015343 | 0.015344 | 0.99297 | -0.049162 | 0.99358 | -0.044874 | 5.6828
43 | -0.040808 | -0.010235 | 0.040823 | 0.010241 | 1.4587e-05 | 5.5293e-06 | 0.061119 | 0.061119 | 0.061119 | 0.99358 | -0.044874 | 0.99395 | -0.042297 | 22.6365
44 | 0.030563 | 0.0076676 | -0.030513 | -0.0076486 | 5.0685e-05 | 1.8993e-05 | 0.045775 | 0.045775 | 0.045775 | 0.99358 | -0.044874 | 0.99188 | -0.056849 | 16.9539
45 | 0.027284 | 0.0068395 | -0.027275 | -0.006836 | 9.3365e-06 | 3.4757e-06 | 0.040932 | 0.040932 | 0.040932 | 0.99188 | -0.056849 | 0.99153 | -0.059321 | 15.1602
46 | 0.023255 | 0.0058287 | -0.023248 | -0.0058261 | 6.8621e-06 | 2.5228e-06 | 0.0349 | 0.0349 | 0.0349 | 0.99153 | -0.059321 | 0.99123 | -0.061453 | 12.9258
47 | 0.00402 | 0.0010073 | -0.0040197 | -0.0010074 | 3.9216e-07 | -7.1855e-08 | 0.0060329 | 0.006033 | 0.006033 | 0.99153 | -0.059321 | 0.99143 | -0.060026 | 2.2345
48 | 0.0054316 | 0.0013605 | -0.0054314 | -0.0013604 | 2.4011e-07 | 1.7746e-08 | 0.0081536 | 0.0081536 | 0.0081536 | 0.99123 | -0.061453 | 0.99118 | -0.061773 | 3.0199
49 | 0.017816 | 0.0044657 | -0.017814 | -0.0044648 | 2.5515e-06 | 9.0767e-07 | 0.026746 | 0.026746 | 0.026746 | 0.99123 | -0.061453 | 0.99108 | -0.062487 | 9.9059
50 | -0.003015 | -0.00075562 | 0.0030159 | 0.00075506 | 9.0586e-07 | -5.6412e-07 | 0.0045276 | 0.0045273 | 0.0045276 | 0.99088 | -0.063945 | 0.99118 | -0.061773 | 1.6769
51 | 0.017814 | 0.0044648 | -0.017812 | -0.0044641 | 1.8141e-06 | 6.4536e-07 | 0.026746 | 0.026746 | 0.026746 | 0.99108 | -0.062487 | 0.99098 | -0.063223 | 9.9059

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23418 | 0.058742

## res_load
| p_mw | q_mvar
0 | 0.016662 | 0.004176
1 | 0.0014485 | 0.00036303
2 | 0.0020832 | 0.00052211
3 | 0.016412 | 0.0041132
4 | 0.009381 | 0.0023511
5 | 0.0087562 | 0.0021945
6 | 0.013118 | 0.0032876
7 | 0.009032 | 0.0022636
8 | 0.0082237 | 0.002061
9 | 0.0039312 | 0.00098525
10 | 0.0038659 | 0.00096888
11 | 0.0059364 | 0.0014878
12 | 0.0047866 | 0.0011996
13 | 0.0023524 | 0.00058957
14 | 0.00424 | 0.0010626
15 | 0.0042454 | 0.001064
16 | 0.0054366 | 0.0013625
17 | 0.0035642 | 0.00089326
18 | 0.0035614 | 0.00089257
19 | 0.0021041 | 0.00052734
20 | 0.0015243 | 0.00038203
21 | 0.0037014 | 0.00092765
22 | 0.0036949 | 0.00092604
23 | 0.0054198 | 0.0013583
24 | 0.0025921 | 0.00064963
25 | 0.0041836 | 0.0010485
26 | 0.019716 | 0.0049413
27 | 0.0017384 | 0.00043567
28 | 0.0040141 | 0.001006
29 | 0.0020453 | 0.00051261
30 | 0.0032352 | 0.00081082
31 | 0.0017546 | 0.00043974
32 | 0.0017533 | 0.00043942
33 | 0.0032282 | 0.00080907
34 | 0.0040197 | 0.0010074
35 | 0.003015 | 0.00075562
36 | 0.0024155 | 0.00060539
37 | 0.017812 | 0.0044641
38 | 0.016394 | 0.0041087

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1