## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-140_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-140_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-140_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-140_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-140_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-140_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1631-140_0_4_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1631-140_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1631-140_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1631-140_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1631-140_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1631-140_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1631-140_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1631-140_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1631-140_0_4_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1631-140_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1631-140_0_4_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_1631-140_0_4_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_1631-140_0_4_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_1631-140_0_4_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1631-140_0_4_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1631-140_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1631-140_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1631-140_0_4_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_1631-140_0_4_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1631-140_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_1631-140_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1631-140_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1631-140_0_4_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1631-140_0_4_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1631-140_0_4_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1631-140_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1631-140_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_1631-140_0_4_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1631-140_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1631-140_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1631-140_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1631-140_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1631-140_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1631-140_0_4_node_40 | 0.4 | n |  | TRUE
40 | bus_MV_13_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-140_0_4_load_0 | 0 | 0.0047938 | 0.0012014 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-140_0_4_load_3 | 3 | 0.017311 | 0.0043385 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-140_0_4_load_8 | 8 | 0.0068661 | 0.0017208 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-140_0_4_load_6 | 9 | 0.0089946 | 0.0022543 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-140_0_4_load_9 | 11 | 0.010582 | 0.0026521 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-140_0_4_load_10 | 12 | 0.006825 | 0.0017105 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-140_0_4_load_16 | 15 | 0.0050424 | 0.0012637 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-140_0_4_load_27 | 17 | 0.021924 | 0.0054948 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-140_0_4_load_37 | 18 | 0.0087851 | 0.0022018 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-140_0_4_load_20 | 19 | 0.0061284 | 0.0015359 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-140_0_4_load_21 | 22 | 0.013098 | 0.0032826 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-140_0_4_load_38 | 23 | 0.0099719 | 0.0024992 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-140_0_4_load_19 | 24 | 0.010941 | 0.002742 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-140_0_4_load_39 | 25 | 0.00415 | 0.0010401 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-140_0_4_load_17 | 26 | 0.0053365 | 0.0013375 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-140_0_4_load_18 | 27 | 0.0059564 | 0.0014928 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-140_0_4_load_26 | 28 | 0.0077409 | 0.00194 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-140_0_4_load_33 | 29 | 0.010518 | 0.0026361 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-140_0_4_load_23 | 30 | 0.01058 | 0.0026516 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-140_0_4_load_28 | 32 | 0.0099524 | 0.0024943 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-140_0_4_load_29 | 33 | 0.0044551 | 0.0011165 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-140_0_4_load_30 | 34 | 0.0067615 | 0.0016946 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-140_0_4_load_31 | 35 | 0.011791 | 0.002955 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-140_0_4_load_32 | 36 | 0.0071608 | 0.0017947 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-140_0_4_load_35 | 38 | 0.0059838 | 0.0014997 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-140_0_4_load_40 | 39 | 0.0053773 | 0.0013477 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-140_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0071892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-140_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.028194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-140_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.038993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-140_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.030157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-140_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.035187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-140_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.02387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-140_0_4_line_6 | NAYY 4x150 SE | 6 | 7 | 0.028541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-140_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.027202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-140_0_4_line_8 | NAYY 4x150 SE | 7 | 15 | 0.0071645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-140_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0044162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-140_0_4_line_10 | NAYY 4x150 SE | 9 | 10 | 0.01546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-140_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.0080736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-140_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0065069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-140_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.0087579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-140_0_4_line_14 | NAYY 4x150 SE | 13 | 14 | 0.021675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-140_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.005647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1631-140_0_4_line_16 | NAYY 4x150 SE | 14 | 17 | 0.0090068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-140_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.013739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-140_0_4_line_18 | NAYY 4x150 SE | 16 | 19 | 0.022472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-140_0_4_line_19 | NAYY 4x150 SE | 17 | 20 | 0.017395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-140_0_4_line_20 | NAYY 4x150 SE | 18 | 29 | 0.0043824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-140_0_4_line_21 | NAYY 4x150 SE | 19 | 27 | 0.00019939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-140_0_4_line_22 | NAYY 4x150 SE | 20 | 31 | 0.024134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-140_0_4_line_23 | NAYY 4x150 SE | 20 | 28 | 0.0064624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-140_0_4_line_24 | NAYY 4x150 SE | 20 | 30 | 0.022293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-140_0_4_line_25 | NAYY 4x150 SE | 21 | 22 | 0.004803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-140_0_4_line_26 | NAYY 4x150 SE | 21 | 23 | 0.013789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-140_0_4_line_27 | NAYY 4x150 SE | 22 | 24 | 0.010411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-140_0_4_line_28 | NAYY 4x150 SE | 23 | 25 | 0.016473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-140_0_4_line_29 | NAYY 4x150 SE | 24 | 26 | 9.3404e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-140_0_4_line_30 | NAYY 4x150 SE | 25 | 39 | 0.0013451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-140_0_4_line_31 | NAYY 4x150 SE | 26 | 27 | 0.0098869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-140_0_4_line_32 | NAYY 4x150 SE | 29 | 35 | 0.0048571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-140_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.026547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-140_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.004519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-140_0_4_line_35 | NAYY 4x150 SE | 34 | 35 | 0.011188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-140_0_4_line_36 | NAYY 4x150 SE | 34 | 36 | 0.0084359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-140_0_4_line_37 | NAYY 4x150 SE | 36 | 37 | 0.014078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-140_0_4_line_38 | NAYY 4x150 SE | 37 | 38 | 0.00080294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-140_0_4_trafo_13 | 0.25 MVA 20/0.4 kV | 40 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2721567.6419 | 1202186.8308 | 2721560.9297 | 1202184.256
1 | 2721567.6419 | 1202186.8308 | 2721583.6739 | 1202210.0521
2 | 2721583.6739 | 1202210.0521 | 2721587.3018 | 1202214.7071 | 2721604.2125 | 1202231.7863 | 2721610.365 | 1202238.4327
3 | 2721628.603 | 1202262.1165 | 2721626.3139 | 1202256.7659 | 2721622.9913 | 1202252.0725 | 2721610.365 | 1202238.4327
4 | 2721628.603 | 1202262.1165 | 2721630.0708 | 1202265.5489 | 2721637.6806 | 1202277.6573 | 2721642.1806 | 1202284.3428 | 2721633.1269 | 1202285.1924
5 | 2721633.1269 | 1202285.1924 | 2721623.5292 | 1202302.2764 | 2721622.039 | 1202306.2935
6 | 2721622.039 | 1202306.2935 | 2721618.5454 | 1202312.616 | 2721617.8461 | 1202320.4076 | 2721617.1898 | 1202323.8524 | 2721612.2397 | 1202332.5358
7 | 2721598.6817 | 1202292.897 | 2721604.2883 | 1202298.3263 | 2721622.039 | 1202306.2935
8 | 2721612.2397 | 1202332.5358 | 2721615.1475 | 1202336.2867 | 2721617.1087 | 1202337.7018
9 | 2721598.6817 | 1202292.897 | 2721594.9494 | 1202295.2578
10 | 2721583.2131 | 1202305.2025 | 2721590.5068 | 1202298.0678 | 2721594.9494 | 1202295.2578
11 | 2721583.2131 | 1202305.2025 | 2721577.2736 | 1202310.6712
12 | 2721583.2131 | 1202305.2025 | 2721588.5499 | 1202308.925
13 | 2721570.8308 | 1202316.6035 | 2721577.2736 | 1202310.6712
14 | 2721570.8308 | 1202316.6035 | 2721555.5158 | 1202326.9773 | 2721553.4184 | 1202329.4143
15 | 2721549.7303 | 1202333.698 | 2721553.4184 | 1202329.4143
16 | 2721553.4184 | 1202329.4143 | 2721550.8295 | 1202327.5713 | 2721546.0792 | 1202324.1934
17 | 2721549.7303 | 1202333.698 | 2721542.8253 | 1202345.5754
18 | 2721549.7303 | 1202333.698 | 2721567.8552 | 1202346.982
19 | 2721530.6136 | 1202317.2969 | 2721537.975 | 1202318.4252 | 2721540.9615 | 1202320.5542 | 2721546.0792 | 1202324.1934
20 | 2721540.6228 | 1202349.3641 | 2721542.8253 | 1202345.5754
21 | 2721568.016 | 1202347.0999 | 2721567.8552 | 1202346.982
22 | 2721530.6136 | 1202317.2969 | 2721520.8939 | 1202316.4541 | 2721511.2134 | 1202314.0665 | 2721507.0683 | 1202312.381
23 | 2721530.6136 | 1202317.2969 | 2721534.7911 | 1202321.8741 | 2721534.9904 | 1202322.0493
24 | 2721530.6136 | 1202317.2969 | 2721522.4573 | 1202308.0908 | 2721516.4429 | 1202300.1103
25 | 2721588.337 | 1202361.9935 | 2721584.463 | 1202359.1542
26 | 2721588.337 | 1202361.9935 | 2721600.024 | 1202369.3118
27 | 2721576.0658 | 1202352.9997 | 2721584.463 | 1202359.1542
28 | 2721600.024 | 1202369.3118 | 2721603.4609 | 1202371.4639 | 2721614.5824 | 1202376.989
29 | 2721576.0658 | 1202352.9997 | 2721575.9904 | 1202352.9445
30 | 2721615.787 | 1202377.5874 | 2721614.5824 | 1202376.989
31 | 2721575.9904 | 1202352.9445 | 2721568.016 | 1202347.0999
32 | 2721540.6228 | 1202349.3641 | 2721538.1816 | 1202353.5632
33 | 2721507.0683 | 1202312.381 | 2721493.2963 | 1202335.0764
34 | 2721493.2963 | 1202335.0764 | 2721490.952 | 1202338.9397 | 2721490.952 | 1202338.9397
35 | 2721532.5586 | 1202363.2354 | 2721538.1816 | 1202353.5632
36 | 2721532.5586 | 1202363.2354 | 2721528.3188 | 1202370.5284
37 | 2721521.2432 | 1202382.6994 | 2721528.3188 | 1202370.5284
38 | 2721520.8401 | 1202383.3939 | 2721521.2432 | 1202382.6994

## bus_geodata
| x | y | coords
0 | 2721560.9297 | 1202184.256
1 | 2721567.6419 | 1202186.8308
2 | 2721583.6739 | 1202210.0521
3 | 2721610.365 | 1202238.4327
4 | 2721628.603 | 1202262.1165
5 | 2721633.1269 | 1202285.1924
6 | 2721622.039 | 1202306.2935
7 | 2721612.2397 | 1202332.5358
8 | 2721598.6817 | 1202292.897
9 | 2721594.9494 | 1202295.2578
10 | 2721583.2131 | 1202305.2025
11 | 2721577.2736 | 1202310.6712
12 | 2721588.5499 | 1202308.925
13 | 2721570.8308 | 1202316.6035
14 | 2721553.4184 | 1202329.4143
15 | 2721617.1087 | 1202337.7018
16 | 2721549.7303 | 1202333.698
17 | 2721546.0792 | 1202324.1934
18 | 2721542.8253 | 1202345.5754
19 | 2721567.8552 | 1202346.982
20 | 2721530.6136 | 1202317.2969
21 | 2721588.337 | 1202361.9935
22 | 2721584.463 | 1202359.1542
23 | 2721600.024 | 1202369.3118
24 | 2721576.0658 | 1202352.9997
25 | 2721614.5824 | 1202376.989
26 | 2721575.9904 | 1202352.9445
27 | 2721568.016 | 1202347.0999
28 | 2721534.9904 | 1202322.0493
29 | 2721540.6228 | 1202349.3641
30 | 2721516.4429 | 1202300.1103
31 | 2721507.0683 | 1202312.381
32 | 2721493.2963 | 1202335.0764
33 | 2721490.952 | 1202338.9397
34 | 2721532.5586 | 1202363.2354
35 | 2721538.1816 | 1202353.5632
36 | 2721528.3188 | 1202370.5284
37 | 2721521.2432 | 1202382.6994
38 | 2721520.8401 | 1202383.3939
39 | 2721615.787 | 1202377.5874
40 | 2721549.7303 | 1202333.698

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99121 | -0.061685 | 0.0047938 | 0.0012014
1 | 0.99126 | -0.061335 | 0 | 0
2 | 0.99145 | -0.059962 | 0 | 0
3 | 0.99172 | -0.058063 | 0.017311 | 0.0043385
4 | 0.99268 | -0.051302 | 0 | 0
5 | 0.9938 | -0.043429 | 0 | 0
6 | 0.99456 | -0.038098 | 0 | 0
7 | 0.99435 | -0.039551 | 0 | 0
8 | 0.99562 | -0.030649 | 0.0068661 | 0.0017208
9 | 0.99583 | -0.029136 | 0.0089946 | 0.0022543
10 | 0.99679 | -0.022447 | 0 | 0
11 | 0.99736 | -0.018406 | 0.010582 | 0.0026521
12 | 0.99672 | -0.022893 | 0.006825 | 0.0017105
13 | 0.99812 | -0.0131 | 0 | 0
14 | 1 | 0 | -0.22853 | -0.057164
15 | 0.9943 | -0.039915 | 0.0050424 | 0.0012637
16 | 0.99955 | -0.0031568 | 0 | 0
17 | 0.9993 | -0.0049171 | 0.021924 | 0.0054948
18 | 0.99855 | -0.010164 | 0.0087851 | 0.0022018
19 | 0.99759 | -0.016869 | 0.0061284 | 0.0015359
20 | 0.99848 | -0.010613 | 0 | 0
21 | 0.99626 | -0.026222 | 0 | 0
22 | 0.99639 | -0.02528 | 0.013098 | 0.0032826
23 | 0.99587 | -0.028927 | 0.0099719 | 0.0024992
24 | 0.99688 | -0.02187 | 0.010941 | 0.002742
25 | 0.99565 | -0.030507 | 0.00415 | 0.0010401
26 | 0.99688 | -0.021829 | 0.0053365 | 0.0013375
27 | 0.99757 | -0.016979 | 0.0059564 | 0.0014928
28 | 0.99841 | -0.011114 | 0.0077409 | 0.00194
29 | 0.99828 | -0.012016 | 0.010518 | 0.0026361
30 | 0.99815 | -0.012975 | 0.01058 | 0.0026516
31 | 0.99799 | -0.014097 | 0 | 0
32 | 0.99744 | -0.017932 | 0.0099524 | 0.0024943
33 | 0.99741 | -0.018134 | 0.0044551 | 0.0011165
34 | 0.99775 | -0.015791 | 0.0067615 | 0.0016946
35 | 0.99806 | -0.013558 | 0.011791 | 0.002955
36 | 0.99759 | -0.016903 | 0.0071608 | 0.0017947
37 | 0.99747 | -0.017748 | 0 | 0
38 | 0.99746 | -0.017796 | 0.0059838 | 0.0014997
39 | 0.99564 | -0.03058 | 0.0053773 | 0.0013477
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0047938 | -0.0012014 | 0.0047941 | 0.0012014 | 2.3233e-07 | -3.3117e-09 | 0.0071966 | 0.0071965 | 0.0071966 | 0.99121 | -0.061685 | 0.99126 | -0.061335 | 2.6654
1 | -0.0047941 | -0.0012014 | 0.004795 | 0.0012014 | 9.1113e-07 | -1.3085e-08 | 0.0071965 | 0.0071964 | 0.0071965 | 0.99126 | -0.061335 | 0.99145 | -0.059962 | 2.6654
2 | -0.004795 | -0.0012014 | 0.0047962 | 0.0012014 | 1.2601e-06 | -1.8353e-08 | 0.0071964 | 0.0071962 | 0.0071964 | 0.99145 | -0.059962 | 0.99172 | -0.058063 | 2.6653
3 | -0.022107 | -0.0055399 | 0.022128 | 0.0055475 | 2.0705e-05 | 7.5738e-06 | 0.03317 | 0.03317 | 0.03317 | 0.99172 | -0.058063 | 0.99268 | -0.051302 | 12.2853
4 | -0.022128 | -0.0055475 | 0.022152 | 0.0055563 | 2.4158e-05 | 8.836e-06 | 0.03317 | 0.03317 | 0.03317 | 0.99268 | -0.051302 | 0.9938 | -0.043429 | 12.2852
5 | -0.022152 | -0.0055563 | 0.022168 | 0.0055623 | 1.6388e-05 | 5.9935e-06 | 0.03317 | 0.03317 | 0.03317 | 0.9938 | -0.043429 | 0.99456 | -0.038098 | 12.2851
6 | 0.0050436 | 0.0012638 | -0.0050426 | -0.0012637 | 1.0141e-06 | 1.9754e-08 | 0.007546 | 0.0075461 | 0.0075461 | 0.99456 | -0.038098 | 0.99435 | -0.039551 | 2.7949
7 | -0.027212 | -0.0068261 | 0.02724 | 0.0068366 | 2.8139e-05 | 1.0469e-05 | 0.040716 | 0.040716 | 0.040716 | 0.99456 | -0.038098 | 0.99562 | -0.030649 | 15.0799
8 | 0.0050426 | 0.0012637 | -0.0050424 | -0.0012637 | 2.5458e-07 | 4.9849e-09 | 0.0075461 | 0.0075462 | 0.0075462 | 0.99435 | -0.039551 | 0.9943 | -0.039915 | 2.7949
9 | -0.034106 | -0.0085574 | 0.034113 | 0.0085601 | 7.1613e-06 | 2.6969e-06 | 0.050977 | 0.050977 | 0.050977 | 0.99562 | -0.030649 | 0.99583 | -0.029136 | 18.8805
10 | -0.043108 | -0.010814 | 0.043148 | 0.01083 | 4.0031e-05 | 1.5195e-05 | 0.064417 | 0.064417 | 0.064417 | 0.99583 | -0.029136 | 0.99679 | -0.022447 | 23.8583
11 | -0.049974 | -0.01254 | 0.050002 | 0.012551 | 2.8042e-05 | 1.068e-05 | 0.074607 | 0.074606 | 0.074607 | 0.99679 | -0.022447 | 0.99736 | -0.018406 | 27.632
12 | 0.0068254 | 0.0017106 | -0.006825 | -0.0017105 | 4.2153e-07 | 7.7315e-08 | 0.010189 | 0.010189 | 0.010189 | 0.99679 | -0.022447 | 0.99672 | -0.022893 | 3.7737
13 | -0.060583 | -0.015203 | 0.060628 | 0.01522 | 4.4654e-05 | 1.706e-05 | 0.090394 | 0.090394 | 0.090394 | 0.99736 | -0.018406 | 0.99812 | -0.0131 | 33.4793
14 | -0.060628 | -0.01522 | 0.060739 | 0.015262 | 0.00011052 | 4.2222e-05 | 0.090394 | 0.090394 | 0.090394 | 0.99812 | -0.0131 | 1 | 0 | 33.4792
15 | 0.11226 | 0.028174 | -0.11221 | -0.028155 | 4.9172e-05 | 1.8764e-05 | 0.16706 | 0.16706 | 0.16706 | 1 | 0 | 0.99955 | -0.0031568 | 30.9372
16 | 0.054735 | 0.013727 | -0.054697 | -0.013713 | 3.7285e-05 | 1.4222e-05 | 0.081449 | 0.08145 | 0.08145 | 1 | 0 | 0.9993 | -0.0049171 | 30.1665
17 | 0.051076 | 0.01281 | -0.051026 | -0.012791 | 4.9569e-05 | 1.8885e-05 | 0.076039 | 0.076039 | 0.076039 | 0.99955 | -0.0031568 | 0.99855 | -0.010164 | 28.1628
18 | 0.061137 | 0.015345 | -0.06102 | -0.015301 | 0.00011617 | 4.4388e-05 | 0.091021 | 0.091021 | 0.091021 | 0.99955 | -0.0031568 | 0.99759 | -0.016869 | 33.7117
19 | 0.032773 | 0.0082184 | -0.032747 | -0.0082086 | 2.5852e-05 | 9.7153e-06 | 0.048803 | 0.048803 | 0.048803 | 0.9993 | -0.0049171 | 0.99848 | -0.010613 | 18.0751
20 | 0.042241 | 0.01059 | -0.04223 | -0.010586 | 1.0836e-05 | 4.1103e-06 | 0.062948 | 0.062948 | 0.062948 | 0.99855 | -0.010164 | 0.99828 | -0.012016 | 23.3141
21 | 0.054892 | 0.013765 | -0.054891 | -0.013764 | 8.3415e-07 | 3.1822e-07 | 0.08188 | 0.08188 | 0.08188 | 0.99759 | -0.016869 | 0.99757 | -0.016979 | 30.326
22 | 0.014422 | 0.0036158 | -0.014415 | -0.0036134 | 6.9571e-06 | 2.3603e-06 | 0.021494 | 0.021494 | 0.021494 | 0.99848 | -0.010613 | 0.99799 | -0.014097 | 7.9606
23 | 0.0077414 | 0.0019402 | -0.0077409 | -0.00194 | 5.3672e-07 | 1.2191e-07 | 0.011537 | 0.011537 | 0.011537 | 0.99848 | -0.010613 | 0.99841 | -0.011114 | 4.2729
24 | 0.010584 | 0.0026527 | -0.01058 | -0.0026516 | 3.4606e-06 | 1.0395e-06 | 0.015773 | 0.015773 | 0.015773 | 0.99848 | -0.010613 | 0.99815 | -0.012975 | 5.8417
25 | -0.019509 | -0.0048902 | 0.019511 | 0.0048911 | 2.5447e-06 | 9.1619e-07 | 0.029139 | 0.029139 | 0.029139 | 0.99626 | -0.026222 | 0.99639 | -0.02528 | 10.7921
26 | 0.019509 | 0.0048902 | -0.019501 | -0.0048876 | 7.3058e-06 | 2.6304e-06 | 0.029139 | 0.029139 | 0.029139 | 0.99626 | -0.026222 | 0.99587 | -0.028927 | 10.7921
27 | -0.032609 | -0.0081737 | 0.032624 | 0.0081795 | 1.5407e-05 | 5.7901e-06 | 0.048699 | 0.048699 | 0.048699 | 0.99639 | -0.02528 | 0.99688 | -0.02187 | 18.0366
28 | 0.0095295 | 0.0023884 | -0.0095274 | -0.0023878 | 2.0841e-06 | 5.8729e-07 | 0.014239 | 0.014239 | 0.014239 | 0.99587 | -0.028927 | 0.99565 | -0.030507 | 5.2737
29 | -0.043565 | -0.010922 | 0.043565 | 0.010922 | 2.4648e-07 | 9.3581e-08 | 0.06503 | 0.06503 | 0.06503 | 0.99688 | -0.02187 | 0.99688 | -0.021829 | 24.0852
30 | 0.0053774 | 0.0013477 | -0.0053773 | -0.0013477 | 5.4209e-08 | 3.3571e-09 | 0.0080366 | 0.0080366 | 0.0080366 | 0.99565 | -0.030507 | 0.99564 | -0.03058 | 2.9765
31 | -0.048902 | -0.012259 | 0.048935 | 0.012272 | 3.2873e-05 | 1.2514e-05 | 0.072996 | 0.072996 | 0.072996 | 0.99688 | -0.021829 | 0.99757 | -0.016979 | 27.0354
32 | 0.031712 | 0.0079495 | -0.031706 | -0.0079469 | 6.7724e-06 | 2.5413e-06 | 0.04727 | 0.04727 | 0.04727 | 0.99828 | -0.012016 | 0.99806 | -0.013558 | 17.5075
33 | 0.014415 | 0.0036134 | -0.014408 | -0.0036108 | 7.6528e-06 | 2.5967e-06 | 0.021494 | 0.021494 | 0.021494 | 0.99799 | -0.014097 | 0.99744 | -0.017932 | 7.9606
34 | 0.0044552 | 0.0011165 | -0.0044551 | -0.0011165 | 1.2457e-07 | -1.1071e-08 | 0.0066464 | 0.0066464 | 0.0066464 | 0.99744 | -0.017932 | 0.99741 | -0.018134 | 2.4616
35 | -0.019909 | -0.0049897 | 0.019915 | 0.0049919 | 6.1546e-06 | 2.221e-06 | 0.029692 | 0.029692 | 0.029692 | 0.99775 | -0.015791 | 0.99806 | -0.013558 | 10.9969
36 | 0.013147 | 0.0032951 | -0.013145 | -0.0032944 | 2.0238e-06 | 6.6823e-07 | 0.019608 | 0.019608 | 0.019608 | 0.99775 | -0.015791 | 0.99759 | -0.016903 | 7.2621
37 | 0.0059845 | 0.0014998 | -0.0059838 | -0.0014997 | 7.0001e-07 | 8.545e-08 | 0.0089265 | 0.0089266 | 0.0089266 | 0.99759 | -0.016903 | 0.99747 | -0.017748 | 3.3061
38 | 0.0059838 | 0.0014997 | -0.0059838 | -0.0014997 | 3.9925e-08 | 4.8751e-09 | 0.0089266 | 0.0089266 | 0.0089266 | 0.99747 | -0.017748 | 0.99746 | -0.017796 | 3.3062

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22853 | 0.057164

## res_load
| p_mw | q_mvar
0 | 0.0047938 | 0.0012014
1 | 0.017311 | 0.0043385
2 | 0.0068661 | 0.0017208
3 | 0.0089946 | 0.0022543
4 | 0.010582 | 0.0026521
5 | 0.006825 | 0.0017105
6 | 0.0050424 | 0.0012637
7 | 0.021924 | 0.0054948
8 | 0.0087851 | 0.0022018
9 | 0.0061284 | 0.0015359
10 | 0.013098 | 0.0032826
11 | 0.0099719 | 0.0024992
12 | 0.010941 | 0.002742
13 | 0.00415 | 0.0010401
14 | 0.0053365 | 0.0013375
15 | 0.0059564 | 0.0014928
16 | 0.0077409 | 0.00194
17 | 0.010518 | 0.0026361
18 | 0.01058 | 0.0026516
19 | 0.0099524 | 0.0024943
20 | 0.0044551 | 0.0011165
21 | 0.0067615 | 0.0016946
22 | 0.011791 | 0.002955
23 | 0.0071608 | 0.0017947
24 | 0.0059838 | 0.0014997
25 | 0.0053773 | 0.0013477

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1