## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-144_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-144_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-144_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-144_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-144_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-144_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1631-144_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1631-144_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1631-144_0_3_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1631-144_0_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_1631-144_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1631-144_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1631-144_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1631-144_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1631-144_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1631-144_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1631-144_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1631-144_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1631-144_0_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_1631-144_0_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1631-144_0_3_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_1631-144_0_3_node_28 | 0.4 | n |  | TRUE
22 | bus_LV_1631-144_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1631-144_0_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1631-144_0_3_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_1631-144_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1631-144_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1631-144_0_3_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_1631-144_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1631-144_0_3_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_1631-144_0_3_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_1631-144_0_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1631-144_0_3_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_1631-144_0_3_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_1631-144_0_3_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_1631-144_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1631-144_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1631-144_0_3_node_51 | 0.4 | n |  | TRUE
38 | bus_LV_1631-144_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1631-144_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_1631-144_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_1631-144_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1631-144_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1631-144_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1631-144_0_3_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1631-144_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1631-144_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1631-144_0_3_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_1631-144_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1631-144_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1631-144_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1631-144_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_MV_13_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-144_0_3_load_0 | 0 | 0.0055521 | 0.0013915 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-144_0_3_load_1 | 1 | 0.0074052 | 0.0018559 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-144_0_3_load_3 | 3 | 0.004842 | 0.0012135 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-144_0_3_load_4 | 4 | 0.0069016 | 0.0017297 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-144_0_3_load_6 | 7 | 0.0081585 | 0.0020447 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-144_0_3_load_16 | 8 | 0.004214 | 0.0010561 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-144_0_3_load_7 | 10 | 0.0020266 | 0.00050792 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-144_0_3_load_9 | 11 | 0.0021838 | 0.00054732 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-144_0_3_load_10 | 12 | 0.0046268 | 0.0011596 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-144_0_3_load_13 | 15 | 0.0077033 | 0.0019306 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-144_0_3_load_23 | 18 | 0.0062173 | 0.0015582 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-144_0_3_load_26 | 19 | 0.0085631 | 0.0021461 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-144_0_3_load_28 | 21 | 0.011142 | 0.0027926 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-144_0_3_load_22 | 22 | 0.0071828 | 0.0018002 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-144_0_3_load_27 | 23 | 0.007435 | 0.0018634 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-144_0_3_load_41 | 24 | 0.0043594 | 0.0010926 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-144_0_3_load_29 | 25 | 0.0053823 | 0.0013489 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-144_0_3_load_47 | 29 | 0.003124 | 0.00078295 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-144_0_3_load_44 | 30 | 0.0040486 | 0.0010147 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-144_0_3_load_50 | 31 | 0.0056093 | 0.0014058 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-144_0_3_load_52 | 32 | 0.006561 | 0.0016444 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-144_0_3_load_48 | 33 | 0.0098362 | 0.0024652 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-144_0_3_load_45 | 34 | 0.0052815 | 0.0013237 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-144_0_3_load_21 | 35 | 0.0052134 | 0.0013066 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-144_0_3_load_33 | 36 | 0.0044348 | 0.0011115 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-144_0_3_load_51 | 37 | 0.0072121 | 0.0018075 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-144_0_3_load_34 | 38 | 0.0048231 | 0.0012088 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-144_0_3_load_24 | 39 | 0.010614 | 0.00266 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-144_0_3_load_32 | 41 | 0.0061983 | 0.0015534 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-144_0_3_load_35 | 42 | 0.0079589 | 0.0019947 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-144_0_3_load_30 | 43 | 0.0059424 | 0.0014893 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-144_0_3_load_38 | 44 | 0.0059512 | 0.0014915 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-144_0_3_load_39 | 45 | 0.0059598 | 0.0014937 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-144_0_3_load_36 | 46 | 0.0059488 | 0.0014909 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-144_0_3_load_46 | 47 | 0.0052682 | 0.0013203 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-144_0_3_load_37 | 48 | 0.0076503 | 0.0019173 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-144_0_3_load_42 | 49 | 0.0033086 | 0.00082922 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-144_0_3_load_43 | 50 | 0.0040034 | 0.0010033 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1631-144_0_3_load_40 | 51 | 0.0059316 | 0.0014866 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-144_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-144_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-144_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-144_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-144_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0084398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-144_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.013657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-144_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.025988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-144_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.019044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-144_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.023379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-144_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0014576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-144_0_3_line_10 | NAYY 4x150 SE | 8 | 17 | 0.0068912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-144_0_3_line_11 | NAYY 4x150 SE | 9 | 31 | 0.013992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-144_0_3_line_12 | NAYY 4x150 SE | 9 | 28 | 0.022887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-144_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0083994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-144_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.021595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-144_0_3_line_15 | NAYY 4x150 SE | 13 | 17 | 0.018289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-144_0_3_line_16 | NAYY 4x150 SE | 13 | 18 | 0.018434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1631-144_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.052183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-144_0_3_line_18 | NAYY 4x150 SE | 14 | 16 | 0.009724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-144_0_3_line_19 | NAYY 4x150 SE | 15 | 19 | 0.021216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-144_0_3_line_20 | NAYY 4x150 SE | 16 | 20 | 0.065869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-144_0_3_line_21 | NAYY 4x150 SE | 16 | 21 | 0.020531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-144_0_3_line_22 | NAYY 4x150 SE | 18 | 22 | 0.0071451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1631-144_0_3_line_23 | NAYY 4x150 SE | 19 | 23 | 0.01295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-144_0_3_line_24 | NAYY 4x150 SE | 20 | 24 | 0.1195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-144_0_3_line_25 | NAYY 4x150 SE | 21 | 25 | 0.013798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-144_0_3_line_26 | NAYY 4x150 SE | 22 | 39 | 0.0042156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1631-144_0_3_line_27 | NAYY 4x150 SE | 23 | 40 | 0.017116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-144_0_3_line_28 | NAYY 4x150 SE | 25 | 43 | 0.014609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-144_0_3_line_29 | NAYY 4x150 SE | 26 | 27 | 0.037986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-144_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.047746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-144_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.015598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-144_0_3_line_32 | NAYY 4x150 SE | 27 | 32 | 0.040151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-144_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.014122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-144_0_3_line_34 | NAYY 4x150 SE | 29 | 33 | 0.012038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-144_0_3_line_35 | NAYY 4x150 SE | 30 | 34 | 0.019226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-144_0_3_line_36 | NAYY 4x150 SE | 31 | 37 | 0.0039903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-144_0_3_line_37 | NAYY 4x150 SE | 34 | 47 | 0.0027171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-144_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.0055045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-144_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0013976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-144_0_3_line_40 | NAYY 4x150 SE | 38 | 47 | 0.008937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-144_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.021551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-144_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.0081193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-144_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.007718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-144_0_3_line_44 | NAYY 4x150 SE | 42 | 46 | 0.018487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-144_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.0021599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-144_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0064044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-144_0_3_line_47 | NAYY 4x150 SE | 45 | 51 | 0.0088589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-144_0_3_line_48 | NAYY 4x150 SE | 46 | 48 | 0.00010294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-144_0_3_line_49 | NAYY 4x150 SE | 48 | 49 | 0.0075005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-144_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.021115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-144_0_3_trafo_24 | 0.25 MVA 20/0.4 kV | 52 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2721596.1119 | 1202971.6586 | 2721592.6951 | 1202972.5042 | 2721582.4065 | 1202970.1264 | 2721569.6913 | 1202966.5427 | 2721568.0419 | 1202966.0532 | 2721561.2688 | 1202964.4809 | 2721561.0509 | 1202962.4792
1 | 2721605.9382 | 1202969.2269 | 2721596.1119 | 1202971.6586
2 | 2721566.7702 | 1202947.3912 | 2721564.5042 | 1202948.7683 | 2721561.8403 | 1202951.3716 | 2721560.2364 | 1202954.9973 | 2721561.0509 | 1202962.4792
3 | 2721605.9382 | 1202969.2269 | 2721610.8612 | 1202988.0739
4 | 2721572.9315 | 1202941.6234 | 2721566.7702 | 1202947.3912
5 | 2721614.3128 | 1203001.288 | 2721610.8612 | 1202988.0739
6 | 2721572.9315 | 1202941.6234 | 2721559.303 | 1202944.3926 | 2721557.9021 | 1202944.0305 | 2721553.7401 | 1202939.0865 | 2721552.9794 | 1202934.9845
7 | 2721614.3128 | 1203001.288 | 2721600.8998 | 1203003.1941 | 2721596.1883 | 1203006.0237
8 | 2721606.1318 | 1203016.8886 | 2721610.7017 | 1203010.7771 | 2721617.0923 | 1203010.1957 | 2721614.3128 | 1203001.288
9 | 2721552.9794 | 1202934.9845 | 2721552.7136 | 1202933.5513
10 | 2721590.2807 | 1203009.5716 | 2721596.1883 | 1203006.0237
11 | 2721606.1318 | 1203016.8886 | 2721593.048 | 1203021.8479
12 | 2721615.0844 | 1203037.7643 | 2721606.2409 | 1203019.3816 | 2721606.1318 | 1203016.8886
13 | 2721550.6427 | 1203008.7705 | 2721547.1887 | 1203007.7489 | 2721544.9918 | 1203006.481 | 2721543.2899 | 1203004.9925
14 | 2721572.0776 | 1203011.2135 | 2721564.2266 | 1203010.62 | 2721551.6301 | 1203009.0625 | 2721550.6427 | 1203008.7705
15 | 2721590.2807 | 1203009.5716 | 2721581.3959 | 1203011.1475 | 2721572.0776 | 1203011.2135
16 | 2721572.0776 | 1203011.2135 | 2721568.7033 | 1203013.9358 | 2721564.0091 | 1203019.0552 | 2721561.5254 | 1203024.3975 | 2721560.8812 | 1203025.482
17 | 2721490.5158 | 1203017.2031 | 2721508.813 | 1203006.0781 | 2721516.2698 | 1203002.1046 | 2721518.3871 | 1203002.0476 | 2721519.4339 | 1203002.2246 | 2721520.2008 | 1203003.4411 | 2721526.0131 | 1203020.1618
18 | 2721488.7456 | 1203026.7632 | 2721490.5158 | 1203017.2031
19 | 2721526.0131 | 1203020.1618 | 2721527.1183 | 1203023.3411 | 2721533.1062 | 1203031.3244 | 2721535.2108 | 1203038.9085
20 | 2721444.6396 | 1202984.2457 | 2721449.8923 | 1202999.564 | 2721453.6538 | 1203005.4893 | 2721463.9933 | 1203016.5856 | 2721475.3099 | 1203024.555 | 2721480.8899 | 1203026.4031 | 2721488.7456 | 1203026.7632
21 | 2721488.7456 | 1203026.7632 | 2721491.1415 | 1203026.8564 | 2721493.7063 | 1203028.7433 | 2721501.3532 | 1203041.5892
22 | 2721560.8812 | 1203025.482 | 2721559.7046 | 1203027.4627 | 2721559.7979 | 1203032.3031
23 | 2721535.2108 | 1203038.9085 | 2721536.9356 | 1203045.1238 | 2721539.5751 | 1203049.7031 | 2721540.4295 | 1203050.5654
24 | 2721444.6396 | 1202984.2457 | 2721444.5221 | 1202992.6385 | 2721445.0078 | 1202998.6973 | 2721447.9574 | 1203010.1103 | 2721452.1472 | 1203027.9087 | 2721456.9265 | 1203038.8029 | 2721474.4538 | 1203059.1411 | 2721499.4478 | 1203085.3406
25 | 2721501.3532 | 1203041.5892 | 2721508.411 | 1203053.4456
26 | 2721559.2337 | 1203036.4667 | 2721559.8156 | 1203033.2249 | 2721559.7979 | 1203032.3031
27 | 2721555.4361 | 1203057.654 | 2721547.1012 | 1203055.783 | 2721544.0726 | 1203054.2424 | 2721540.4295 | 1203050.5654
28 | 2721515.8836 | 1203065.9988 | 2721508.411 | 1203053.4456
29 | 2721658.8589 | 1203096.0991 | 2721641.8463 | 1203062.1162
30 | 2721615.0844 | 1203037.7643 | 2721626.3107 | 1203031.0989 | 2721633.53 | 1203045.5122 | 2721635.556 | 1203049.5565 | 2721641.8463 | 1203062.1162
31 | 2721641.8463 | 1203062.1162 | 2721628.417 | 1203070.0503
32 | 2721658.8589 | 1203096.0991 | 2721639.3809 | 1203106.1544 | 2721637.0313 | 1203106.4068 | 2721634.7908 | 1203106.161 | 2721631.1009 | 1203104.2066 | 2721625.4414 | 1203096.5523
33 | 2721615.0844 | 1203037.7643 | 2721604.083 | 1203046.6187
34 | 2721618.4903 | 1203076.8294 | 2721624.3261 | 1203072.4672 | 2721628.417 | 1203070.0503
35 | 2721604.083 | 1203046.6187 | 2721589.1054 | 1203058.6733 | 2721589.1054 | 1203058.6733
36 | 2721589.3167 | 1203023.2622 | 2721593.048 | 1203021.8479
37 | 2721589.1054 | 1203058.6733 | 2721587.8374 | 1203056.2701
38 | 2721580.4458 | 1203042.2615 | 2721583.0145 | 1203047.1298
39 | 2721583.0145 | 1203047.1298 | 2721583.6668 | 1203048.3659
40 | 2721583.6668 | 1203048.3659 | 2721587.8374 | 1203056.2701
41 | 2721555.4361 | 1203057.654 | 2721555.6903 | 1203054.1454 | 2721557.9182 | 1203043.7941 | 2721559.2337 | 1203036.4667
42 | 2721555.4361 | 1203057.654 | 2721555.7451 | 1203060.0509 | 2721557.4098 | 1203065.5051
43 | 2721557.4098 | 1203065.5051 | 2721558.3782 | 1203068.6776 | 2721560.5364 | 1203072.513
44 | 2721560.5364 | 1203072.513 | 2721564.7839 | 1203080.0609 | 2721567.5409 | 1203084.8428 | 2721570.3546 | 1203088.103
45 | 2721515.8836 | 1203065.9988 | 2721516.9884 | 1203067.8548
46 | 2721516.9884 | 1203067.8548 | 2721520.2643 | 1203073.3579
47 | 2721524.7957 | 1203080.9702 | 2721520.2643 | 1203073.3579
48 | 2721570.4218 | 1203088.181 | 2721570.3546 | 1203088.103
49 | 2721570.4218 | 1203088.181 | 2721575.3223 | 1203093.8592
50 | 2721582.4631 | 1203112.7467 | 2721578.8507 | 1203107.3342 | 2721578.503 | 1203105.3479 | 2721579.0599 | 1203100.8003 | 2721577.4164 | 1203096.2857 | 2721575.3223 | 1203093.8592

## bus_geodata
| x | y | coords
0 | 2721596.1119 | 1202971.6586
1 | 2721561.0509 | 1202962.4792
2 | 2721605.9382 | 1202969.2269
3 | 2721566.7702 | 1202947.3912
4 | 2721610.8612 | 1202988.0739
5 | 2721572.9315 | 1202941.6234
6 | 2721614.3128 | 1203001.288
7 | 2721552.9794 | 1202934.9845
8 | 2721596.1883 | 1203006.0237
9 | 2721606.1318 | 1203016.8886
10 | 2721552.7136 | 1202933.5513
11 | 2721543.2899 | 1203004.9925
12 | 2721550.6427 | 1203008.7705
13 | 2721572.0776 | 1203011.2135
14 | 2721490.5158 | 1203017.2031
15 | 2721526.0131 | 1203020.1618
16 | 2721488.7456 | 1203026.7632
17 | 2721590.2806 | 1203009.5716
18 | 2721560.8812 | 1203025.482
19 | 2721535.2108 | 1203038.9085
20 | 2721444.6396 | 1202984.2457
21 | 2721501.3532 | 1203041.5892
22 | 2721559.7979 | 1203032.3031
23 | 2721540.4295 | 1203050.5654
24 | 2721499.4478 | 1203085.3406
25 | 2721508.411 | 1203053.4456
26 | 2721641.8463 | 1203062.1162
27 | 2721658.8589 | 1203096.0991
28 | 2721615.0844 | 1203037.7643
29 | 2721628.417 | 1203070.0503
30 | 2721604.083 | 1203046.6187
31 | 2721593.048 | 1203021.8479
32 | 2721625.4414 | 1203096.5523
33 | 2721618.4903 | 1203076.8294
34 | 2721589.1054 | 1203058.6733
35 | 2721580.4458 | 1203042.2615
36 | 2721583.0145 | 1203047.1298
37 | 2721589.3167 | 1203023.2622
38 | 2721583.6668 | 1203048.3659
39 | 2721559.2337 | 1203036.4667
40 | 2721555.4361 | 1203057.654
41 | 2721557.4098 | 1203065.5051
42 | 2721560.5364 | 1203072.513
43 | 2721515.8836 | 1203065.9988
44 | 2721516.9884 | 1203067.8548
45 | 2721520.2643 | 1203073.3579
46 | 2721570.3546 | 1203088.103
47 | 2721587.8374 | 1203056.2701
48 | 2721570.4218 | 1203088.181
49 | 2721575.3223 | 1203093.8592
50 | 2721582.4631 | 1203112.7467
51 | 2721524.7957 | 1203080.9702
52 | 2721555.4361 | 1203057.654

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98944 | -0.073855 | 0.0055521 | 0.0013915
1 | 0.98821 | -0.082553 | 0.0074052 | 0.0018559
2 | 0.98985 | -0.070967 | 0 | 0
3 | 0.98782 | -0.085299 | 0.004842 | 0.0012135
4 | 0.99063 | -0.065417 | 0.0069016 | 0.0017297
5 | 0.9877 | -0.086179 | 0 | 0
6 | 0.99132 | -0.060573 | 0 | 0
7 | 0.98732 | -0.088888 | 0.0081585 | 0.0020447
8 | 0.99397 | -0.041991 | 0.004214 | 0.0010561
9 | 0.98925 | -0.075191 | 0 | 0
10 | 0.98731 | -0.088918 | 0.0020266 | 0.00050792
11 | 0.99739 | -0.018167 | 0.0021838 | 0.00054732
12 | 0.99741 | -0.017983 | 0.0046268 | 0.0011596
13 | 0.99762 | -0.016507 | 0 | 0
14 | 0.989 | -0.077043 | 0 | 0
15 | 0.99237 | -0.053325 | 0.0077033 | 0.0019306
16 | 0.98837 | -0.08148 | 0 | 0
17 | 0.99497 | -0.034998 | 0 | 0
18 | 0.99905 | -0.006597 | 0.0062173 | 0.0015582
19 | 0.99397 | -0.042075 | 0.0085631 | 0.0021461
20 | 0.98796 | -0.084425 | 0 | 0
21 | 0.98717 | -0.089947 | 0.011142 | 0.0027926
22 | 0.99963 | -0.0025416 | 0.0071828 | 0.0018002
23 | 0.99511 | -0.034109 | 0.007435 | 0.0018634
24 | 0.9872 | -0.089763 | 0.0043594 | 0.0010926
25 | 0.98659 | -0.094072 | 0.0053823 | 0.0013489
26 | 0.98629 | -0.096112 | 0 | 0
27 | 0.98593 | -0.098672 | 0 | 0
28 | 0.98764 | -0.086556 | 0 | 0
29 | 0.986 | -0.098187 | 0.003124 | 0.00078295
30 | 0.98705 | -0.090759 | 0.0040486 | 0.0010147
31 | 0.98899 | -0.077021 | 0.0056093 | 0.0014058
32 | 0.98555 | -0.10138 | 0.006561 | 0.0016444
33 | 0.98583 | -0.099402 | 0.0098362 | 0.0024652
34 | 0.98635 | -0.095691 | 0.0052815 | 0.0013237
35 | 0.98603 | -0.098002 | 0.0052134 | 0.0013066
36 | 0.98607 | -0.097707 | 0.0044348 | 0.0011115
37 | 0.98895 | -0.077315 | 0.0072121 | 0.0018075
38 | 0.98609 | -0.097569 | 0.0048231 | 0.0012088
39 | 1 | 0 | -0.22709 | -0.056986
40 | 0.99679 | -0.022328 | 0 | 0
41 | 0.99639 | -0.02519 | 0.0061983 | 0.0015534
42 | 0.99607 | -0.027431 | 0.0079589 | 0.0019947
43 | 0.98609 | -0.097637 | 0.0059424 | 0.0014893
44 | 0.98603 | -0.098032 | 0.0059512 | 0.0014915
45 | 0.98592 | -0.098814 | 0.0059598 | 0.0014937
46 | 0.99551 | -0.031323 | 0.0059488 | 0.0014909
47 | 0.98627 | -0.096242 | 0.0052682 | 0.0013203
48 | 0.99551 | -0.031338 | 0.0076503 | 0.0019173
49 | 0.99543 | -0.031891 | 0.0033086 | 0.00082922
50 | 0.99531 | -0.032743 | 0.0040034 | 0.0010033
51 | 0.98585 | -0.099354 | 0.0059316 | 0.0014866
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.02247 | 0.0056355 | -0.022443 | -0.0056255 | 2.7064e-05 | 9.9222e-06 | 0.033794 | 0.033794 | 0.033794 | 0.98944 | -0.073855 | 0.98821 | -0.082553 | 12.5165
1 | -0.028022 | -0.007027 | 0.028034 | 0.0070311 | 1.1219e-05 | 4.1849e-06 | 0.042144 | 0.042144 | 0.042144 | 0.98944 | -0.073855 | 0.98985 | -0.070967 | 15.6089
2 | 0.015038 | 0.0037696 | -0.015032 | -0.0037676 | 5.7166e-06 | 1.9699e-06 | 0.022644 | 0.022644 | 0.022644 | 0.98821 | -0.082553 | 0.98782 | -0.085299 | 8.3867
3 | -0.028034 | -0.0070311 | 0.028055 | 0.0070392 | 2.1589e-05 | 8.0529e-06 | 0.042144 | 0.042144 | 0.042144 | 0.98985 | -0.070967 | 0.99063 | -0.065417 | 15.6089
4 | 0.01019 | 0.0025541 | -0.010189 | -0.0025538 | 1.2409e-06 | 3.6925e-07 | 0.01535 | 0.01535 | 0.01535 | 0.98782 | -0.085299 | 0.9877 | -0.086179 | 5.6853
5 | -0.034957 | -0.0087689 | 0.03498 | 0.0087777 | 2.3499e-05 | 8.8621e-06 | 0.052511 | 0.052511 | 0.052511 | 0.99063 | -0.065417 | 0.99132 | -0.060573 | 19.4484
6 | 0.010189 | 0.0025538 | -0.010185 | -0.0025526 | 3.8212e-06 | 1.1372e-06 | 0.01535 | 0.01535 | 0.01535 | 0.9877 | -0.086179 | 0.98732 | -0.088888 | 5.6853
7 | -0.096672 | -0.024273 | 0.096923 | 0.024369 | 0.00025028 | 9.6014e-05 | 0.14513 | 0.14513 | 0.14513 | 0.99132 | -0.060573 | 0.99397 | -0.041991 | 53.7502
8 | 0.061692 | 0.015496 | -0.061567 | -0.015448 | 0.00012514 | 4.7828e-05 | 0.092615 | 0.092615 | 0.092615 | 0.99132 | -0.060573 | 0.98925 | -0.075191 | 34.3018
9 | 0.0020266 | 0.0005079 | -0.0020266 | -0.00050792 | 8.4855e-09 | -1.5377e-08 | 0.0030544 | 0.0030544 | 0.0030544 | 0.98732 | -0.088888 | 0.98731 | -0.088918 | 1.1313
10 | -0.10114 | -0.025426 | 0.10124 | 0.025463 | 9.8611e-05 | 3.7838e-05 | 0.15143 | 0.15143 | 0.15143 | 0.99397 | -0.041991 | 0.99497 | -0.034998 | 56.0866
11 | 0.012825 | 0.0032145 | -0.012822 | -0.0032134 | 3.2493e-06 | 1.0701e-06 | 0.019291 | 0.019291 | 0.019291 | 0.98925 | -0.075191 | 0.98899 | -0.077021 | 7.1449
12 | 0.048742 | 0.012233 | -0.048665 | -0.012204 | 7.6783e-05 | 2.9238e-05 | 0.073324 | 0.073324 | 0.073324 | 0.98925 | -0.075191 | 0.98764 | -0.086556 | 27.157
13 | -0.0021838 | -0.00054732 | 0.0021839 | 0.00054723 | 5.5636e-08 | -8.8223e-08 | 0.0032581 | 0.0032581 | 0.0032581 | 0.99739 | -0.018167 | 0.99741 | -0.017983 | 1.2067
14 | -0.0068107 | -0.0017068 | 0.0068121 | 0.0017071 | 1.3912e-06 | 2.5316e-07 | 0.010161 | 0.010161 | 0.010161 | 0.99741 | -0.017983 | 0.99762 | -0.016507 | 3.7632
15 | 0.1015 | 0.025564 | -0.10124 | -0.025463 | 0.00026171 | 0.00010042 | 0.15143 | 0.15143 | 0.15143 | 0.99762 | -0.016507 | 0.99497 | -0.034998 | 56.0866
16 | -0.10831 | -0.027271 | 0.10846 | 0.027328 | 0.00015019 | 5.7282e-05 | 0.16159 | 0.16159 | 0.16159 | 0.99762 | -0.016507 | 0.99905 | -0.006597 | 29.9249
17 | -0.04478 | -0.011235 | 0.044928 | 0.011291 | 0.00014783 | 5.6186e-05 | 0.067379 | 0.067379 | 0.067379 | 0.989 | -0.077043 | 0.99237 | -0.053325 | 24.9553
18 | 0.04478 | 0.011235 | -0.044753 | -0.011224 | 2.7547e-05 | 1.047e-05 | 0.067379 | 0.067379 | 0.067379 | 0.989 | -0.077043 | 0.98837 | -0.08148 | 24.9553
19 | -0.052631 | -0.013221 | 0.052714 | 0.013253 | 8.2476e-05 | 3.1447e-05 | 0.07893 | 0.07893 | 0.07893 | 0.99237 | -0.053325 | 0.99397 | -0.042075 | 29.2333
20 | 0.0043644 | 0.0010921 | -0.0043626 | -0.0010923 | 1.7743e-06 | -1.614e-07 | 0.0065701 | 0.0065704 | 0.0065704 | 0.98837 | -0.08148 | 0.98796 | -0.084425 | 2.4335
21 | 0.040388 | 0.010132 | -0.040341 | -0.010114 | 4.7374e-05 | 1.7958e-05 | 0.060809 | 0.060809 | 0.060809 | 0.98837 | -0.08148 | 0.98717 | -0.089947 | 22.5219
22 | -0.11468 | -0.028886 | 0.11474 | 0.028911 | 6.5076e-05 | 2.4842e-05 | 0.17085 | 0.17085 | 0.17085 | 0.99905 | -0.006597 | 0.99963 | -0.0025416 | 31.6397
23 | -0.061277 | -0.015399 | 0.061345 | 0.015425 | 6.8021e-05 | 2.5994e-05 | 0.091749 | 0.091749 | 0.091749 | 0.99397 | -0.042075 | 0.99511 | -0.034109 | 33.9811
24 | 0.0043626 | 0.0010923 | -0.0043594 | -0.0010926 | 3.2193e-06 | -2.9084e-07 | 0.0065704 | 0.0065709 | 0.0065709 | 0.98796 | -0.084425 | 0.9872 | -0.089763 | 2.4337
25 | 0.029199 | 0.0073214 | -0.029182 | -0.0073152 | 1.6679e-05 | 6.2389e-06 | 0.044014 | 0.044014 | 0.044014 | 0.98717 | -0.089947 | 0.98659 | -0.094072 | 16.3014
26 | -0.12192 | -0.030711 | 0.12197 | 0.030728 | 4.335e-05 | 1.6562e-05 | 0.18155 | 0.18155 | 0.18155 | 0.99963 | -0.0025416 | 1 | 0 | 33.6197
27 | -0.06878 | -0.017288 | 0.068893 | 0.017332 | 0.00011302 | 4.3246e-05 | 0.10287 | 0.10287 | 0.10287 | 0.99511 | -0.034109 | 0.99679 | -0.022328 | 38.0988
28 | 0.0238 | 0.0059662 | -0.023788 | -0.0059619 | 1.1746e-05 | 4.3313e-06 | 0.035896 | 0.035896 | 0.035896 | 0.98659 | -0.094072 | 0.98609 | -0.097637 | 13.2948
29 | 0.0065658 | 0.0016452 | -0.0065635 | -0.0016448 | 2.3259e-06 | 4.0997e-07 | 0.0099057 | 0.0099059 | 0.0099059 | 0.98629 | -0.096112 | 0.98593 | -0.098672 | 3.6688
30 | -0.019531 | -0.004895 | 0.019557 | 0.0049044 | 2.587e-05 | 9.3398e-06 | 0.029467 | 0.029467 | 0.029467 | 0.98629 | -0.096112 | 0.98764 | -0.086556 | 10.9137
31 | 0.012966 | 0.0032499 | -0.012962 | -0.0032486 | 3.7243e-06 | 1.2334e-06 | 0.019561 | 0.019561 | 0.019561 | 0.98629 | -0.096112 | 0.986 | -0.098187 | 7.245
32 | 0.0065635 | 0.0016448 | -0.006561 | -0.0016444 | 2.4585e-06 | 4.3375e-07 | 0.0099059 | 0.0099061 | 0.0099061 | 0.98593 | -0.098672 | 0.98555 | -0.10138 | 3.6689
33 | 0.029108 | 0.0072997 | -0.029091 | -0.0072934 | 1.695e-05 | 6.3385e-06 | 0.043857 | 0.043857 | 0.043857 | 0.98764 | -0.086556 | 0.98705 | -0.090759 | 16.2434
34 | 0.0098379 | 0.0024657 | -0.0098362 | -0.0024652 | 1.6557e-06 | 4.8331e-07 | 0.014847 | 0.014847 | 0.014847 | 0.986 | -0.098187 | 0.98583 | -0.099402 | 5.4988
35 | 0.025043 | 0.0062787 | -0.025026 | -0.0062724 | 1.71e-05 | 6.3313e-06 | 0.037754 | 0.037754 | 0.037754 | 0.98705 | -0.090759 | 0.98635 | -0.095691 | 13.9829
36 | 0.0072124 | 0.0018076 | -0.0072121 | -0.0018075 | 2.9322e-07 | 6.1574e-08 | 0.010852 | 0.010852 | 0.010852 | 0.98899 | -0.077021 | 0.98895 | -0.077315 | 4.0191
37 | 0.019744 | 0.0049487 | -0.019742 | -0.0049481 | 1.5043e-06 | 5.4388e-07 | 0.029786 | 0.029786 | 0.029786 | 0.98635 | -0.095691 | 0.98627 | -0.096242 | 11.0319
38 | -0.0052134 | -0.0013066 | 0.0052136 | 0.0013066 | 2.1261e-07 | 1.1558e-08 | 0.0078675 | 0.0078675 | 0.0078675 | 0.98603 | -0.098002 | 0.98607 | -0.097707 | 2.9139
39 | -0.0096483 | -0.0024181 | 0.0096485 | 0.0024181 | 1.8488e-07 | 5.3278e-08 | 0.01456 | 0.01456 | 0.01456 | 0.98607 | -0.097707 | 0.98609 | -0.097569 | 5.3925
40 | -0.014472 | -0.0036269 | 0.014474 | 0.0036278 | 2.6595e-06 | 9.0884e-07 | 0.021838 | 0.021838 | 0.021838 | 0.98609 | -0.097569 | 0.98627 | -0.096242 | 8.0881
41 | 0.10432 | 0.026258 | -0.104 | -0.026133 | 0.00032421 | 0.00012441 | 0.15527 | 0.15527 | 0.15527 | 1 | 0 | 0.99679 | -0.022328 | 57.5076
42 | 0.035103 | 0.0088017 | -0.03509 | -0.0087964 | 1.3913e-05 | 5.2455e-06 | 0.052404 | 0.052404 | 0.052404 | 0.99679 | -0.022328 | 0.99639 | -0.02519 | 19.4089
43 | 0.028891 | 0.007243 | -0.028882 | -0.0072396 | 8.9659e-06 | 3.3479e-06 | 0.043147 | 0.043147 | 0.043147 | 0.99639 | -0.02519 | 0.99607 | -0.027431 | 15.9805
44 | 0.020923 | 0.0052449 | -0.020912 | -0.0052408 | 1.1271e-05 | 4.0945e-06 | 0.031258 | 0.031258 | 0.031258 | 0.99607 | -0.027431 | 0.99551 | -0.031323 | 11.5769
45 | 0.017845 | 0.0044726 | -0.017844 | -0.0044723 | 9.7736e-07 | 3.4836e-07 | 0.026929 | 0.026929 | 0.026929 | 0.98609 | -0.097637 | 0.98603 | -0.098032 | 9.9736
46 | 0.011893 | 0.0029808 | -0.011892 | -0.0029803 | 1.2873e-06 | 4.1345e-07 | 0.017948 | 0.017948 | 0.017948 | 0.98603 | -0.098032 | 0.98592 | -0.098814 | 6.6474
47 | 0.0059321 | 0.0014867 | -0.0059316 | -0.0014866 | 4.4311e-07 | 5.7461e-08 | 0.0089531 | 0.0089531 | 0.0089531 | 0.98592 | -0.098814 | 0.98585 | -0.099354 | 3.316
48 | 0.014963 | 0.0037499 | -0.014963 | -0.0037499 | 3.2133e-08 | 1.102e-08 | 0.022366 | 0.022366 | 0.022366 | 0.99551 | -0.031323 | 0.99551 | -0.031338 | 8.2837
49 | 0.007313 | 0.0018326 | -0.0073125 | -0.0018325 | 5.5922e-07 | 1.1757e-07 | 0.010931 | 0.010931 | 0.010931 | 0.99551 | -0.031338 | 0.99543 | -0.031891 | 4.0485
50 | 0.0040038 | 0.0010032 | -0.0040034 | -0.0010033 | 4.7197e-07 | -9.293e-08 | 0.005985 | 0.0059851 | 0.0059851 | 0.99543 | -0.031891 | 0.99531 | -0.032743 | 2.2167

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.2377 | 0.059646

## res_load
| p_mw | q_mvar
0 | 0.0055521 | 0.0013915
1 | 0.0074052 | 0.0018559
2 | 0.004842 | 0.0012135
3 | 0.0069016 | 0.0017297
4 | 0.0081585 | 0.0020447
5 | 0.004214 | 0.0010561
6 | 0.0020266 | 0.00050792
7 | 0.0021838 | 0.00054732
8 | 0.0046268 | 0.0011596
9 | 0.0077033 | 0.0019306
10 | 0.0062173 | 0.0015582
11 | 0.0085631 | 0.0021461
12 | 0.011142 | 0.0027926
13 | 0.0071828 | 0.0018002
14 | 0.007435 | 0.0018634
15 | 0.0043594 | 0.0010926
16 | 0.0053823 | 0.0013489
17 | 0.003124 | 0.00078295
18 | 0.0040486 | 0.0010147
19 | 0.0056093 | 0.0014058
20 | 0.006561 | 0.0016444
21 | 0.0098362 | 0.0024652
22 | 0.0052815 | 0.0013237
23 | 0.0052134 | 0.0013066
24 | 0.0044348 | 0.0011115
25 | 0.0072121 | 0.0018075
26 | 0.0048231 | 0.0012088
27 | 0.010614 | 0.00266
28 | 0.0061983 | 0.0015534
29 | 0.0079589 | 0.0019947
30 | 0.0059424 | 0.0014893
31 | 0.0059512 | 0.0014915
32 | 0.0059598 | 0.0014937
33 | 0.0059488 | 0.0014909
34 | 0.0052682 | 0.0013203
35 | 0.0076503 | 0.0019173
36 | 0.0033086 | 0.00082922
37 | 0.0040034 | 0.0010033
38 | 0.0059316 | 0.0014866

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1