## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-149_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-149_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-149_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-149_0_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1631-149_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1631-149_0_2_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_1631-149_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1631-149_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1631-149_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1631-149_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1631-149_0_2_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_1631-149_0_2_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_1631-149_0_2_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_1631-149_0_2_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_1631-149_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1631-149_0_2_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_1631-149_0_2_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_1631-149_0_2_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1631-149_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1631-149_0_2_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_1631-149_0_2_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1631-149_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1631-149_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1631-149_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1631-149_0_2_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1631-149_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1631-149_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1631-149_0_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1631-149_0_2_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1631-149_0_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1631-149_0_2_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1631-149_0_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1631-149_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1631-149_0_2_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1631-149_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1631-149_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1631-149_0_2_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1631-149_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1631-149_0_2_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1631-149_0_2_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1631-149_0_2_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1631-149_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1631-149_0_2_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1631-149_0_2_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1631-149_0_2_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_1631-149_0_2_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_1631-149_0_2_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1631-149_0_2_node_43 | 0.4 | n |  | TRUE
48 | bus_MV_145_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-149_0_2_load_0 | 0 | 0.0012959 | 0.00032479 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-149_0_2_load_5 | 3 | 0.0038458 | 0.00096385 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-149_0_2_load_3 | 4 | 0.0013703 | 0.00034342 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-149_0_2_load_6 | 7 | 0.0041605 | 0.0010427 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-149_0_2_load_7 | 8 | 0.0023473 | 0.00058829 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-149_0_2_load_44 | 12 | 0.0043986 | 0.0011024 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-149_0_2_load_42 | 13 | 0.0011993 | 0.00030058 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-149_0_2_load_34 | 15 | 0.010199 | 0.0025561 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-149_0_2_load_30 | 16 | 0.0075515 | 0.0018926 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-149_0_2_load_8 | 17 | 0.0055487 | 0.0013906 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-149_0_2_load_21 | 19 | 0.0057744 | 0.0014472 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-149_0_2_load_17 | 20 | 0.0074474 | 0.0018665 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-149_0_2_load_13 | 22 | 0.0055141 | 0.001382 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-149_0_2_load_14 | 23 | 0.0058752 | 0.0014725 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-149_0_2_load_16 | 24 | 0.0062352 | 0.0015627 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-149_0_2_load_18 | 25 | 0.0080104 | 0.0020076 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-149_0_2_load_19 | 26 | 0.0048356 | 0.0012119 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-149_0_2_load_23 | 28 | 0.0049881 | 0.0012501 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-149_0_2_load_26 | 29 | 0.0083764 | 0.0020993 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-149_0_2_load_22 | 30 | 0.0038386 | 0.00096204 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-149_0_2_load_27 | 31 | 0.0086536 | 0.0021688 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-149_0_2_load_24 | 32 | 0.0049439 | 0.0012391 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-149_0_2_load_25 | 33 | 0.0062188 | 0.0015586 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-149_0_2_load_28 | 34 | 0.0048791 | 0.0012228 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-149_0_2_load_29 | 35 | 0.0049383 | 0.0012376 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-149_0_2_load_31 | 36 | 0.0053542 | 0.0013419 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-149_0_2_load_33 | 37 | 0.0055555 | 0.0013923 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-149_0_2_load_35 | 38 | 0.0028618 | 0.00071723 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-149_0_2_load_36 | 39 | 0.0037695 | 0.00094471 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-149_0_2_load_37 | 40 | 0.0028228 | 0.00070745 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-149_0_2_load_39 | 42 | 0.0043162 | 0.0010817 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-149_0_2_load_40 | 43 | 0.0064784 | 0.0016237 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-149_0_2_load_46 | 45 | 0.0052289 | 0.0013105 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-149_0_2_load_48 | 46 | 0.008394 | 0.0021037 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-149_0_2_load_43 | 47 | 0.0039708 | 0.00099518 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-149_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0093188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-149_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.018084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-149_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.039789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-149_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.009869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-149_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0038072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-149_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.022733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-149_0_2_line_6 | NAYY 4x150 SE | 5 | 11 | 0.019569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-149_0_2_line_7 | NAYY 4x150 SE | 5 | 12 | 0.021522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-149_0_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.022641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-149_0_2_line_9 | NAYY 4x150 SE | 6 | 8 | 0.020331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-149_0_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.061497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-149_0_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.0073491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-149_0_2_line_12 | NAYY 4x150 SE | 9 | 13 | 0.019145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-149_0_2_line_13 | NAYY 4x150 SE | 9 | 14 | 0.009259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-149_0_2_line_14 | NAYY 4x150 SE | 10 | 15 | 0.0019458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-149_0_2_line_15 | NAYY 4x150 SE | 10 | 16 | 0.011194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-149_0_2_line_16 | NAYY 4x150 SE | 11 | 45 | 0.026984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-149_0_2_line_17 | NAYY 4x150 SE | 11 | 42 | 0.017027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-149_0_2_line_18 | NAYY 4x150 SE | 12 | 47 | 0.0048666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-149_0_2_line_19 | NAYY 4x150 SE | 14 | 17 | 0.019883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-149_0_2_line_20 | NAYY 4x150 SE | 15 | 35 | 0.0079322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-149_0_2_line_21 | NAYY 4x150 SE | 16 | 36 | 0.00086552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-149_0_2_line_22 | NAYY 4x150 SE | 18 | 19 | 0.019259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-149_0_2_line_23 | NAYY 4x150 SE | 18 | 20 | 0.030126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-149_0_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.0092282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-149_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.0141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-149_0_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.0006526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-149_0_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0073909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-149_0_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0033912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-149_0_2_line_29 | NAYY 4x150 SE | 25 | 26 | 0.0034015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-149_0_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.013863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-149_0_2_line_31 | NAYY 4x150 SE | 27 | 28 | 0.00041584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-149_0_2_line_32 | NAYY 4x150 SE | 27 | 29 | 0.012354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-149_0_2_line_33 | NAYY 4x150 SE | 28 | 30 | 0.00014098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-149_0_2_line_34 | NAYY 4x150 SE | 29 | 31 | 1.9255e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-149_0_2_line_35 | NAYY 4x150 SE | 30 | 32 | 0.014823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-149_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 3.1093e-06 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-149_0_2_line_37 | NAYY 4x150 SE | 33 | 34 | 0.0056092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-149_0_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.0056352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-149_0_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.020677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-149_0_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.011705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-149_0_2_line_41 | NAYY 4x150 SE | 38 | 40 | 0.0052674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-149_0_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.014687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-149_0_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.0092951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-149_0_2_line_44 | NAYY 4x150 SE | 41 | 43 | 0.012101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-149_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.01728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-149_0_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.022428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-149_0_2_trafo_28 | 0.25 MVA 20/0.4 kV | 48 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2723328.0233 | 1204824.2843 | 2723325.3473 | 1204833.2106
1 | 2723327.7706 | 1204806.321 | 2723326.8694 | 1204813.4745 | 2723328.0233 | 1204824.2843
2 | 2723327.7706 | 1204806.321 | 2723328.5418 | 1204800.2991 | 2723320.9033 | 1204789.9113 | 2723319.9559 | 1204786.7782 | 2723319.8916 | 1204783.6301 | 2723320.6624 | 1204780.577 | 2723324.6836 | 1204770.0667
3 | 2723327.7706 | 1204806.321 | 2723318.519 | 1204802.885
4 | 2723326.044 | 1204766.5109 | 2723324.6836 | 1204770.0667
5 | 2723297.2086 | 1204794.9703 | 2723318.519 | 1204802.885
6 | 2723333.0347 | 1204748.2303 | 2723326.044 | 1204766.5109
7 | 2723326.044 | 1204766.5109 | 2723346.2219 | 1204773.9972
8 | 2723297.2086 | 1204794.9703 | 2723289.5228 | 1204816.2672
9 | 2723297.2086 | 1204794.9703 | 2723278.1973 | 1204787.7661
10 | 2723254.3117 | 1204849.1702 | 2723267.1102 | 1204853.6377 | 2723271.5236 | 1204854.385 | 2723274.9606 | 1204853.0327 | 2723277.0856 | 1204850.7303 | 2723289.5228 | 1204816.2672
11 | 2723271.325 | 1204785.1619 | 2723278.1973 | 1204787.7661
12 | 2723254.3117 | 1204849.1702 | 2723247.6185 | 1204867.1067
13 | 2723254.3117 | 1204849.1702 | 2723245.5477 | 1204846.1092
14 | 2723271.325 | 1204785.1619 | 2723269.5055 | 1204784.4724
15 | 2723271.325 | 1204785.1619 | 2723275.1799 | 1204774.6521
16 | 2723333.0347 | 1204748.2303 | 2723358.3773 | 1204757.4985
17 | 2723333.0347 | 1204748.2303 | 2723337.0011 | 1204737.8377 | 2723337.0622 | 1204731.9345
18 | 2723350.7847 | 1204775.69 | 2723346.2219 | 1204773.9972
19 | 2723245.5477 | 1204846.1092 | 2723238.2087 | 1204864.5887
20 | 2723269.5055 | 1204784.4724 | 2723262.0881 | 1204781.6614
21 | 2723275.478 | 1204773.8395 | 2723275.1799 | 1204774.6521
22 | 2723176.4898 | 1204785.2941 | 2723194.6577 | 1204791.6834
23 | 2723176.4898 | 1204785.2941 | 2723181.0939 | 1204767.5868 | 2723192.2535 | 1204764.8261 | 2723192.43 | 1204764.543
24 | 2723197.3141 | 1204756.7132 | 2723192.43 | 1204764.543
25 | 2723197.3141 | 1204756.7132 | 2723207.6008 | 1204761.2177 | 2723210.2906 | 1204762.2184
26 | 2723210.2906 | 1204762.2184 | 2723210.9022 | 1204762.446
27 | 2723217.8293 | 1204765.0231 | 2723210.9022 | 1204762.446
28 | 2723217.8293 | 1204765.0231 | 2723221.0077 | 1204766.2055
29 | 2723224.1957 | 1204767.3916 | 2723221.0077 | 1204766.2055
30 | 2723237.1885 | 1204772.2254 | 2723224.1957 | 1204767.3916
31 | 2723237.1885 | 1204772.2254 | 2723237.5774 | 1204772.3728
32 | 2723237.1885 | 1204772.2254 | 2723232.8177 | 1204783.7801
33 | 2723237.5774 | 1204772.3728 | 2723237.7092 | 1204772.4227
34 | 2723232.8109 | 1204783.7981 | 2723232.8177 | 1204783.7801
35 | 2723251.5705 | 1204777.6756 | 2723237.7092 | 1204772.4227
36 | 2723251.5705 | 1204777.6756 | 2723251.5734 | 1204777.6767
37 | 2723256.8185 | 1204779.6645 | 2723251.5734 | 1204777.6767
38 | 2723256.8185 | 1204779.6645 | 2723262.0881 | 1204781.6614
39 | 2723282.5984 | 1204754.427 | 2723275.478 | 1204773.8395
40 | 2723327.3054 | 1204722.2751 | 2723316.3773 | 1204718.0821
41 | 2723327.3054 | 1204722.2751 | 2723332.2232 | 1204724.162 | 2723332.2232 | 1204724.162
42 | 2723302.6651 | 1204712.8209 | 2723316.3773 | 1204718.0821
43 | 2723332.2232 | 1204724.162 | 2723335.4648 | 1204727.854 | 2723337.0622 | 1204731.9345
44 | 2723302.6651 | 1204712.8209 | 2723291.3678 | 1204708.484
45 | 2723275.2361 | 1204702.2912 | 2723291.3678 | 1204708.484
46 | 2723275.2361 | 1204702.2912 | 2723267.4731 | 1204723.3357

## bus_geodata
| x | y | coords
0 | 2723325.3473 | 1204833.2106
1 | 2723328.0233 | 1204824.2843
2 | 2723327.7706 | 1204806.321
3 | 2723324.6836 | 1204770.0667
4 | 2723318.519 | 1204802.885
5 | 2723326.044 | 1204766.5109
6 | 2723297.2086 | 1204794.9703
7 | 2723289.5228 | 1204816.2672
8 | 2723278.1973 | 1204787.7661
9 | 2723254.3117 | 1204849.1702
10 | 2723271.325 | 1204785.1619
11 | 2723333.0347 | 1204748.2303
12 | 2723346.2219 | 1204773.9972
13 | 2723247.6185 | 1204867.1067
14 | 2723245.5477 | 1204846.1092
15 | 2723269.5055 | 1204784.4724
16 | 2723275.1799 | 1204774.6521
17 | 2723238.2087 | 1204864.5887
18 | 2723176.4898 | 1204785.2941
19 | 2723194.6577 | 1204791.6833
20 | 2723192.43 | 1204764.543
21 | 2723197.3141 | 1204756.7132
22 | 2723210.2906 | 1204762.2184
23 | 2723210.9022 | 1204762.446
24 | 2723217.8293 | 1204765.0231
25 | 2723221.0077 | 1204766.2055
26 | 2723224.1957 | 1204767.3916
27 | 2723237.1885 | 1204772.2254
28 | 2723237.5774 | 1204772.3728
29 | 2723232.8177 | 1204783.7801
30 | 2723237.7092 | 1204772.4227
31 | 2723232.8109 | 1204783.7981
32 | 2723251.5705 | 1204777.6756
33 | 2723251.5734 | 1204777.6767
34 | 2723256.8186 | 1204779.6645
35 | 2723262.0881 | 1204781.6614
36 | 2723275.478 | 1204773.8395
37 | 2723282.5984 | 1204754.427
38 | 2723327.3054 | 1204722.2751
39 | 2723316.3773 | 1204718.0821
40 | 2723332.2232 | 1204724.162
41 | 2723302.6651 | 1204712.8209
42 | 2723337.0622 | 1204731.9345
43 | 2723291.3678 | 1204708.484
44 | 2723275.2361 | 1204702.2912
45 | 2723358.3773 | 1204757.4985
46 | 2723267.4731 | 1204723.3357
47 | 2723350.7847 | 1204775.69
48 | 2723271.325 | 1204785.1619

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99324 | -0.0472 | 0.0012959 | 0.00032479
1 | 0.99326 | -0.047078 | 0 | 0
2 | 0.99329 | -0.04684 | 0 | 0
3 | 0.99065 | -0.065447 | 0.0038458 | 0.00096385
4 | 0.99397 | -0.042111 | 0.0013703 | 0.00034342
5 | 0.99042 | -0.067084 | 0 | 0
6 | 0.99557 | -0.030927 | 0 | 0
7 | 0.99521 | -0.033418 | 0.0041605 | 0.0010427
8 | 0.99731 | -0.018726 | 0.0023473 | 0.00058829
9 | 0.99462 | -0.037607 | 0 | 0
10 | 0.99797 | -0.014154 | 0 | 0
11 | 0.98946 | -0.073837 | 0 | 0
12 | 0.99016 | -0.068917 | 0.0043986 | 0.0011024
13 | 0.99458 | -0.037838 | 0.0011993 | 0.00030058
14 | 0.99454 | -0.038125 | 0 | 0
15 | 0.99819 | -0.012584 | 0.010199 | 0.0025561
16 | 0.99767 | -0.016226 | 0.0075515 | 0.0018926
17 | 0.99439 | -0.039239 | 0.0055487 | 0.0013906
18 | 0.99566 | -0.030454 | 0 | 0
19 | 0.9955 | -0.031574 | 0.0057744 | 0.0014472
20 | 0.9959 | -0.028702 | 0.0074474 | 0.0018665
21 | 0.99608 | -0.027474 | 0 | 0
22 | 0.99635 | -0.025598 | 0.0055141 | 0.001382
23 | 0.99636 | -0.025475 | 0.0058752 | 0.0014725
24 | 0.99662 | -0.023647 | 0.0062352 | 0.0015627
25 | 0.99677 | -0.022595 | 0.0080104 | 0.0020076
26 | 0.99696 | -0.021268 | 0.0048356 | 0.0012119
27 | 0.99783 | -0.01519 | 0 | 0
28 | 0.99787 | -0.014937 | 0.0049881 | 0.0012501
29 | 0.99753 | -0.017299 | 0.0083764 | 0.0020993
30 | 0.99788 | -0.014844 | 0.0038386 | 0.00096204
31 | 0.99753 | -0.017301 | 0.0086536 | 0.0021688
32 | 0.99935 | -0.0045243 | 0.0049439 | 0.0012391
33 | 0.99935 | -0.004522 | 0.0062188 | 0.0015586
34 | 1 | 0 | -0.178 | -0.04452
35 | 0.99923 | -0.0053839 | 0.0049383 | 0.0012376
36 | 0.99766 | -0.01632 | 0.0053542 | 0.0013419
37 | 0.9975 | -0.017472 | 0.0055555 | 0.0013923
38 | 0.98827 | -0.082282 | 0.0028618 | 0.00071723
39 | 0.98795 | -0.084513 | 0.0037695 | 0.00094471
40 | 0.98843 | -0.081124 | 0.0028228 | 0.00070745
41 | 0.98764 | -0.086748 | 0 | 0
42 | 0.98876 | -0.078814 | 0.0043162 | 0.0010817
43 | 0.98738 | -0.08859 | 0.0064784 | 0.0016237
44 | 0.98717 | -0.090076 | 0 | 0
45 | 0.98926 | -0.075276 | 0.0052289 | 0.0013105
46 | 0.9869 | -0.092005 | 0.008394 | 0.0021037
47 | 0.99013 | -0.069114 | 0.0039708 | 0.00099518
48 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0012959 | -0.00032479 | 0.0012959 | 0.00032468 | 2.1918e-08 | -1.1218e-07 | 0.0019415 | 0.0019414 | 0.0019415 | 0.99324 | -0.0472 | 0.99326 | -0.047078 | 0.71907
1 | -0.0012959 | -0.00032468 | 0.001296 | 0.00032446 | 4.2531e-08 | -2.1771e-07 | 0.0019414 | 0.0019414 | 0.0019414 | 0.99326 | -0.047078 | 0.99329 | -0.04684 | 0.71905
2 | 0.0463 | 0.01163 | -0.046181 | -0.011584 | 0.00011948 | 4.5439e-05 | 0.069369 | 0.06937 | 0.06937 | 0.99329 | -0.04684 | 0.99065 | -0.065447 | 25.6924
3 | -0.047596 | -0.011954 | 0.047627 | 0.011966 | 3.1316e-05 | 1.1917e-05 | 0.071311 | 0.071311 | 0.071311 | 0.99329 | -0.04684 | 0.99397 | -0.042111 | 26.4114
4 | 0.042335 | 0.01062 | -0.042325 | -0.010617 | 9.6074e-06 | 3.6461e-06 | 0.063593 | 0.063593 | 0.063593 | 0.99065 | -0.065447 | 0.99042 | -0.067084 | 23.5529
5 | -0.048998 | -0.012309 | 0.049074 | 0.012338 | 7.6345e-05 | 2.9068e-05 | 0.073362 | 0.073362 | 0.073362 | 0.99397 | -0.042111 | 0.99557 | -0.030927 | 27.1711
6 | 0.033954 | 0.0085185 | -0.033922 | -0.0085066 | 3.178e-05 | 1.1972e-05 | 0.051015 | 0.051015 | 0.051015 | 0.99042 | -0.067084 | 0.98946 | -0.073837 | 18.8946
7 | 0.0083716 | 0.0020981 | -0.0083695 | -0.0020975 | 2.1245e-06 | 5.4023e-07 | 0.012578 | 0.012578 | 0.012578 | 0.99042 | -0.067084 | 0.99016 | -0.068917 | 4.6584
8 | 0.010918 | 0.0027357 | -0.010914 | -0.0027345 | 3.7619e-06 | 1.1526e-06 | 0.016318 | 0.016318 | 0.016318 | 0.99557 | -0.030927 | 0.99521 | -0.033418 | 6.0436
9 | -0.059991 | -0.015074 | 0.060094 | 0.015113 | 0.00010203 | 3.8977e-05 | 0.08968 | 0.089679 | 0.08968 | 0.99557 | -0.030927 | 0.99731 | -0.018726 | 33.2146
10 | 0.0067533 | 0.0016918 | -0.0067494 | -0.0016911 | 3.9124e-06 | 7.0616e-07 | 0.010097 | 0.010097 | 0.010097 | 0.99521 | -0.033418 | 0.99462 | -0.037607 | 3.7398
11 | -0.062441 | -0.015701 | 0.062481 | 0.015717 | 3.9818e-05 | 1.5219e-05 | 0.093182 | 0.093182 | 0.093182 | 0.99731 | -0.018726 | 0.99797 | -0.014154 | 34.5117
12 | 0.0011994 | 0.00030035 | -0.0011993 | -0.00030058 | 3.8462e-08 | -2.3367e-07 | 0.0017943 | 0.0017944 | 0.0017944 | 0.99462 | -0.037607 | 0.99458 | -0.037838 | 0.66458
13 | 0.00555 | 0.0013907 | -0.0055496 | -0.0013907 | 3.9832e-07 | 3.3041e-08 | 0.0083031 | 0.0083031 | 0.0083031 | 0.99462 | -0.037607 | 0.99454 | -0.038125 | 3.0752
14 | -0.080948 | -0.020345 | 0.080966 | 0.020352 | 1.7694e-05 | 6.7799e-06 | 0.12072 | 0.12072 | 0.12072 | 0.99797 | -0.014154 | 0.99819 | -0.012584 | 44.7103
15 | 0.018468 | 0.0046288 | -0.018462 | -0.0046269 | 5.2966e-06 | 1.8909e-06 | 0.027536 | 0.027536 | 0.027536 | 0.99797 | -0.014154 | 0.99767 | -0.016226 | 10.1986
16 | 0.00523 | 0.0013106 | -0.0052289 | -0.0013105 | 1.0416e-06 | 5.4104e-08 | 0.0078651 | 0.0078652 | 0.0078652 | 0.98946 | -0.073837 | 0.98926 | -0.075276 | 2.9131
17 | 0.028692 | 0.007196 | -0.028672 | -0.0071886 | 1.9783e-05 | 7.3904e-06 | 0.04315 | 0.04315 | 0.04315 | 0.98946 | -0.073837 | 0.98876 | -0.078814 | 15.9816
18 | 0.0039709 | 0.00099515 | -0.0039708 | -0.00099518 | 1.0814e-07 | -2.1001e-08 | 0.0059675 | 0.0059675 | 0.0059675 | 0.99016 | -0.068917 | 0.99013 | -0.069114 | 2.2102
19 | 0.0055496 | 0.0013907 | -0.0055487 | -0.0013906 | 8.5539e-07 | 7.102e-08 | 0.0083031 | 0.0083032 | 0.0083032 | 0.99454 | -0.038125 | 0.99439 | -0.039239 | 3.0753
20 | -0.091165 | -0.022908 | 0.091256 | 0.022943 | 9.1443e-05 | 3.5067e-05 | 0.13592 | 0.13592 | 0.13592 | 0.99819 | -0.012584 | 0.99923 | -0.0053839 | 50.3412
21 | 0.010911 | 0.0027343 | -0.010911 | -0.0027343 | 1.4302e-07 | 4.3707e-08 | 0.016273 | 0.016273 | 0.016273 | 0.99767 | -0.016226 | 0.99766 | -0.01632 | 6.0271
22 | 0.0057753 | 0.0014473 | -0.0057744 | -0.0014472 | 8.9529e-07 | 9.3911e-08 | 0.0086312 | 0.0086313 | 0.0086313 | 0.99566 | -0.030454 | 0.9955 | -0.031574 | 3.1968
23 | -0.0057753 | -0.0014473 | 0.0057767 | 0.0014475 | 1.4004e-06 | 1.4673e-07 | 0.0086312 | 0.0086311 | 0.0086312 | 0.99566 | -0.030454 | 0.9959 | -0.028702 | 3.1968
24 | -0.013224 | -0.0033139 | 0.013226 | 0.0033147 | 2.2481e-06 | 7.4455e-07 | 0.019759 | 0.019759 | 0.019759 | 0.9959 | -0.028702 | 0.99608 | -0.027474 | 7.318
25 | -0.013226 | -0.0033147 | 0.01323 | 0.0033158 | 3.4348e-06 | 1.1375e-06 | 0.019759 | 0.019758 | 0.019759 | 0.99608 | -0.027474 | 0.99635 | -0.025598 | 7.318
26 | -0.018744 | -0.0046978 | 0.018744 | 0.0046979 | 3.1912e-07 | 1.1424e-07 | 0.027994 | 0.027994 | 0.027994 | 0.99635 | -0.025598 | 0.99636 | -0.025475 | 10.368
27 | -0.024619 | -0.0061704 | 0.024626 | 0.0061727 | 6.2347e-06 | 2.3017e-06 | 0.036768 | 0.036768 | 0.036768 | 0.99636 | -0.025475 | 0.99662 | -0.023647 | 13.6177
28 | -0.030861 | -0.0077353 | 0.030865 | 0.007737 | 4.4928e-06 | 1.6838e-06 | 0.046077 | 0.046077 | 0.046077 | 0.99662 | -0.023647 | 0.99677 | -0.022595 | 17.0656
29 | -0.038876 | -0.0097446 | 0.038883 | 0.0097473 | 7.1488e-06 | 2.7052e-06 | 0.058035 | 0.058035 | 0.058035 | 0.99677 | -0.022595 | 0.99696 | -0.021268 | 21.4946
30 | -0.043719 | -0.010959 | 0.043755 | 0.010973 | 3.6833e-05 | 1.3986e-05 | 0.065253 | 0.065253 | 0.065253 | 0.99696 | -0.021268 | 0.99783 | -0.01519 | 24.1677
31 | -0.06079 | -0.015243 | 0.060792 | 0.015244 | 2.1326e-06 | 8.148e-07 | 0.090656 | 0.090656 | 0.090656 | 0.99783 | -0.01519 | 0.99787 | -0.014937 | 33.5765
32 | 0.017035 | 0.0042699 | -0.01703 | -0.0042681 | 4.9748e-06 | 1.7521e-06 | 0.025404 | 0.025404 | 0.025404 | 0.99783 | -0.01519 | 0.99753 | -0.017299 | 9.4088
33 | -0.065781 | -0.016494 | 0.065781 | 0.016494 | 8.465e-07 | 3.2374e-07 | 0.098095 | 0.098095 | 0.098095 | 0.99787 | -0.014937 | 0.99788 | -0.014844 | 36.3314
34 | 0.0086536 | 0.0021688 | -0.0086536 | -0.0021688 | 2.002e-09 | 5.2145e-10 | 0.012909 | 0.012909 | 0.012909 | 0.99753 | -0.017299 | 0.99753 | -0.017301 | 4.781
35 | -0.06962 | -0.017456 | 0.06972 | 0.017495 | 9.9696e-05 | 3.8151e-05 | 0.10382 | 0.10382 | 0.10382 | 0.99788 | -0.014844 | 0.99935 | -0.0045243 | 38.4514
36 | -0.074664 | -0.018734 | 0.074664 | 0.018734 | 2.3983e-08 | 9.195e-09 | 0.11118 | 0.11118 | 0.11118 | 0.99935 | -0.0045243 | 0.99935 | -0.004522 | 41.1777
37 | -0.080882 | -0.020292 | 0.080933 | 0.020312 | 5.0772e-05 | 1.9454e-05 | 0.12044 | 0.12044 | 0.12044 | 0.99935 | -0.004522 | 1 | 0 | 44.6072
38 | 0.096267 | 0.024209 | -0.096194 | -0.024181 | 7.2183e-05 | 2.7689e-05 | 0.14328 | 0.14328 | 0.14328 | 1 | 0 | 0.99923 | -0.0053839 | 53.0648
39 | 0.0055564 | 0.0013924 | -0.0055555 | -0.0013923 | 8.8617e-07 | 7.0876e-08 | 0.0082874 | 0.0082875 | 0.0082875 | 0.99766 | -0.01632 | 0.9975 | -0.017472 | 3.0694
40 | 0.01866 | 0.0046781 | -0.018654 | -0.004676 | 5.7659e-06 | 2.0677e-06 | 0.028097 | 0.028097 | 0.028097 | 0.98827 | -0.082282 | 0.98795 | -0.084513 | 10.4062
41 | -0.021522 | -0.0053953 | 0.021525 | 0.0053966 | 3.4515e-06 | 1.26e-06 | 0.032405 | 0.032405 | 0.032405 | 0.98827 | -0.082282 | 0.98843 | -0.081124 | 12.002
42 | 0.014885 | 0.0037313 | -0.01488 | -0.0037297 | 4.6063e-06 | 1.5837e-06 | 0.022419 | 0.022419 | 0.022419 | 0.98795 | -0.084513 | 0.98764 | -0.086748 | 8.3034
43 | -0.024348 | -0.006104 | 0.024356 | 0.0061069 | 7.793e-06 | 2.8781e-06 | 0.036655 | 0.036655 | 0.036655 | 0.98843 | -0.081124 | 0.98876 | -0.078814 | 13.5759
44 | 0.01488 | 0.0037297 | -0.014876 | -0.0037284 | 3.7954e-06 | 1.305e-06 | 0.022419 | 0.022419 | 0.022419 | 0.98764 | -0.086748 | 0.98738 | -0.08859 | 8.3035
45 | 0.008398 | 0.0021048 | -0.0083963 | -0.0021043 | 1.7271e-06 | 4.4331e-07 | 0.012656 | 0.012656 | 0.012656 | 0.98738 | -0.08859 | 0.98717 | -0.090076 | 4.6875
46 | 0.0083963 | 0.0021043 | -0.008394 | -0.0021037 | 2.2417e-06 | 5.7554e-07 | 0.012656 | 0.012656 | 0.012656 | 0.98717 | -0.090076 | 0.9869 | -0.092005 | 4.6875

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18288 | 0.045743

## res_load
| p_mw | q_mvar
0 | 0.0012959 | 0.00032479
1 | 0.0038458 | 0.00096385
2 | 0.0013703 | 0.00034342
3 | 0.0041605 | 0.0010427
4 | 0.0023473 | 0.00058829
5 | 0.0043986 | 0.0011024
6 | 0.0011993 | 0.00030058
7 | 0.010199 | 0.0025561
8 | 0.0075515 | 0.0018926
9 | 0.0055487 | 0.0013906
10 | 0.0057744 | 0.0014472
11 | 0.0074474 | 0.0018665
12 | 0.0055141 | 0.001382
13 | 0.0058752 | 0.0014725
14 | 0.0062352 | 0.0015627
15 | 0.0080104 | 0.0020076
16 | 0.0048356 | 0.0012119
17 | 0.0049881 | 0.0012501
18 | 0.0083764 | 0.0020993
19 | 0.0038386 | 0.00096204
20 | 0.0086536 | 0.0021688
21 | 0.0049439 | 0.0012391
22 | 0.0062188 | 0.0015586
23 | 0.0048791 | 0.0012228
24 | 0.0049383 | 0.0012376
25 | 0.0053542 | 0.0013419
26 | 0.0055555 | 0.0013923
27 | 0.0028618 | 0.00071723
28 | 0.0037695 | 0.00094471
29 | 0.0028228 | 0.00070745
30 | 0.0043162 | 0.0010817
31 | 0.0064784 | 0.0016237
32 | 0.0052289 | 0.0013105
33 | 0.008394 | 0.0021037
34 | 0.0039708 | 0.00099518

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1