## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-177_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-177_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-177_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-177_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-177_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-177_0_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_1631-177_0_2_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_1631-177_0_2_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1631-177_0_2_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_1631-177_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1631-177_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1631-177_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1631-177_0_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1631-177_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1631-177_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1631-177_0_2_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1631-177_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1631-177_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1631-177_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1631-177_0_2_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_1631-177_0_2_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1631-177_0_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1631-177_0_2_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1631-177_0_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1631-177_0_2_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1631-177_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1631-177_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1631-177_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1631-177_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1631-177_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1631-177_0_2_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_1631-177_0_2_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1631-177_0_2_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1631-177_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1631-177_0_2_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1631-177_0_2_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1631-177_0_2_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_1631-177_0_2_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1631-177_0_2_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_1631-177_0_2_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1631-177_0_2_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1631-177_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1631-177_0_2_node_42 | 0.4 | n |  | TRUE
43 | bus_MV_145_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-177_0_2_load_0 | 0 | 0.0047196 | 0.0011828 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-177_0_2_load_1 | 1 | 0.0032166 | 0.00080616 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-177_0_2_load_2 | 2 | 0.0063563 | 0.001593 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-177_0_2_load_3 | 3 | 0.0064066 | 0.0016056 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-177_0_2_load_20 | 5 | 0.0079558 | 0.0019939 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-177_0_2_load_21 | 6 | 0.012295 | 0.0030814 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-177_0_2_load_25 | 8 | 0.0057706 | 0.0014463 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-177_0_2_load_5 | 9 | 0.0050583 | 0.0012677 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-177_0_2_load_7 | 11 | 0.00193 | 0.00048371 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-177_0_2_load_13 | 13 | 0.0079322 | 0.001988 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-177_0_2_load_8 | 15 | 0.0024373 | 0.00061083 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-177_0_2_load_9 | 16 | 0.0025672 | 0.0006434 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-177_0_2_load_30 | 19 | 0.0038675 | 0.0009693 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-177_0_2_load_29 | 20 | 0.0041069 | 0.0010293 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-177_0_2_load_19 | 21 | 0.0088367 | 0.0022147 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-177_0_2_load_27 | 22 | 0.0054292 | 0.0013607 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-177_0_2_load_26 | 23 | 0.006576 | 0.0016481 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-177_0_2_load_28 | 24 | 0.0051691 | 0.0012955 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-177_0_2_load_15 | 25 | 0.0076022 | 0.0019053 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-177_0_2_load_17 | 27 | 0.0031769 | 0.00079621 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-177_0_2_load_18 | 28 | 0.0031815 | 0.00079735 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-177_0_2_load_43 | 30 | 0.0046927 | 0.0011761 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-177_0_2_load_32 | 32 | 0.0018312 | 0.00045894 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-177_0_2_load_31 | 33 | 0.0015755 | 0.00039485 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-177_0_2_load_36 | 37 | 0.0018687 | 0.00046834 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-177_0_2_load_40 | 38 | 0.0025095 | 0.00062894 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-177_0_2_load_35 | 39 | 0.0017454 | 0.00043744 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-177_0_2_load_37 | 40 | 0.0022247 | 0.00055755 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-177_0_2_load_38 | 41 | 0.0017601 | 0.00044113 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-177_0_2_load_42 | 42 | 0.0061096 | 0.0015312 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-177_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.036862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-177_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.039181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-177_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.07205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-177_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.008937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-177_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.014888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-177_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0067527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-177_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0025709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-177_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.007863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-177_0_2_line_8 | NAYY 4x150 SE | 7 | 29 | 0.011435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-177_0_2_line_9 | NAYY 4x150 SE | 8 | 23 | 0.0074376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-177_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.01962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-177_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.016931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-177_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.029254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-177_0_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.016557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1631-177_0_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.022342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1631-177_0_2_line_15 | NAYY 4x150 SE | 13 | 21 | 0.016803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1631-177_0_2_line_16 | NAYY 4x150 SE | 14 | 22 | 0.00091792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-177_0_2_line_17 | NAYY 4x150 SE | 14 | 23 | 0.008418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-177_0_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.0061816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-177_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.033427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-177_0_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.041443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-177_0_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.026203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-177_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0058893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-177_0_2_line_23 | NAYY 4x150 SE | 20 | 28 | 0.0067885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-177_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.0059074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-177_0_2_line_25 | NAYY 4x150 SE | 24 | 27 | 0.011407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-177_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.026445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-177_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.0036421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-177_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.0015683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-177_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.027411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-177_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.0090219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-177_0_2_line_31 | NAYY 4x150 SE | 31 | 32 | 0.035969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-177_0_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.011691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-177_0_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.0039449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-177_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.008222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-177_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.004108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-177_0_2_line_36 | NAYY 4x150 SE | 35 | 37 | 0.040154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-177_0_2_line_37 | NAYY 4x150 SE | 36 | 38 | 0.012783 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-177_0_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.007712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-177_0_2_line_39 | NAYY 4x150 SE | 39 | 40 | 0.001971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-177_0_2_line_40 | NAYY 4x150 SE | 40 | 41 | 0.0024845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-177_0_2_line_41 | NAYY 4x150 SE | 40 | 42 | 0.075641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-177_0_2_trafo_19 | 0.25 MVA 20/0.4 kV | 43 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2723091.6234 | 1205107.851 | 2723089.1619 | 1205108.0261 | 2723084.3535 | 1205110.2064 | 2723082.7317 | 1205111.7297 | 2723081.1965 | 1205123.0733 | 2723079.1956 | 1205130.8046 | 2723076.2348 | 1205137.6483
1 | 2723076.2348 | 1205137.6483 | 2723066.2835 | 1205160.6499 | 2723064.3852 | 1205166.3595 | 2723063.8162 | 1205171.4405 | 2723063.746 | 1205174.4287
2 | 2723063.746 | 1205174.4287 | 2723063.0044 | 1205206.0055 | 2723062.6095 | 1205212.6134 | 2723061.5546 | 1205221.6985 | 2723058.9295 | 1205227.9714 | 2723050.2495 | 1205238.2003 | 2723048.492 | 1205242.3242
3 | 2723044.9882 | 1205250.5456 | 2723048.492 | 1205242.3242
4 | 2723044.9882 | 1205250.5456 | 2723058.1463 | 1205257.5114
5 | 2723044.9882 | 1205250.5456 | 2723039.0199 | 1205247.3867
6 | 2723060.4184 | 1205258.7142 | 2723058.1463 | 1205257.5114
7 | 2723039.0199 | 1205247.3867 | 2723032.0703 | 1205243.7084
8 | 2723060.4184 | 1205258.7142 | 2723064.9647 | 1205261.1208 | 2723070.6132 | 1205263.9505
9 | 2723025.4967 | 1205240.2291 | 2723032.0703 | 1205243.7084
10 | 2723029.6003 | 1205169.0893 | 2723049.2197 | 1205169.178
11 | 2723029.6003 | 1205169.0893 | 2723027.9705 | 1205185.942
12 | 2723024.9549 | 1205215.0394 | 2723026.1381 | 1205204.8894 | 2723027.9705 | 1205185.942
13 | 2723024.9549 | 1205215.0394 | 2723041.2268 | 1205218.0991
14 | 2723018.0565 | 1205236.2911 | 2723024.9549 | 1205215.0394
15 | 2723051.7663 | 1205211.9355 | 2723049.862 | 1205219.7228 | 2723041.2268 | 1205218.0991
16 | 2723017.2401 | 1205235.8716 | 2723018.0565 | 1205236.2911
17 | 2723018.0565 | 1205236.2911 | 2723025.4967 | 1205240.2291
18 | 2723008.7714 | 1205157.0219 | 2723007.5698 | 1205163.0855
19 | 2722983.9988 | 1205169.795 | 2722997.6755 | 1205177.0377 | 2723002.6121 | 1205174.1705 | 2723006.988 | 1205166.0212 | 2723007.5698 | 1205163.0855
20 | 2722963.6981 | 1205205.9486 | 2722983.9988 | 1205169.795
21 | 2722963.6981 | 1205205.9486 | 2722978.562 | 1205215.7621 | 2722985.9901 | 1205219.6662
22 | 2722991.2032 | 1205222.406 | 2722985.9901 | 1205219.6662
23 | 2722991.2032 | 1205222.406 | 2722997.2123 | 1205225.5643
24 | 2723011.9858 | 1205233.1717 | 2723017.2401 | 1205235.8716
25 | 2723011.9858 | 1205233.1717 | 2723001.84 | 1205227.9584
26 | 2722998.6006 | 1205226.2939 | 2723004.829 | 1205213.9128 | 2723010.024 | 1205202.4491
27 | 2722998.6006 | 1205226.2939 | 2723001.84 | 1205227.9584
28 | 2722998.6006 | 1205226.2939 | 2722997.2123 | 1205225.5643
29 | 2723070.6132 | 1205263.9505 | 2723077.4038 | 1205251.2475 | 2723078.0158 | 1205249.9814 | 2723079.2573 | 1205246.6044 | 2723079.5083 | 1205244.3968 | 2723079.378 | 1205242.2258 | 2723078.6597 | 1205238.6861
30 | 2723070.6132 | 1205263.9505 | 2723074.0699 | 1205265.6897 | 2723078.6079 | 1205268.1295
31 | 2723078.6079 | 1205268.1295 | 2723084.8189 | 1205255.4924 | 2723086.0948 | 1205255.2408 | 2723089.3499 | 1205255.686 | 2723090.8372 | 1205255.5165 | 2723093.1794 | 1205251.8954 | 2723098.2222 | 1205248.6747 | 2723103.3343 | 1205248.3687 | 2723103.7049 | 1205248.4828
32 | 2723114.0528 | 1205250.1311 | 2723109.6616 | 1205251.8573 | 2723106.6233 | 1205249.3817 | 2723103.7049 | 1205248.4828
33 | 2723117.7242 | 1205248.6878 | 2723114.0528 | 1205250.1311
34 | 2723119.7679 | 1205240.7239 | 2723118.795 | 1205244.3622 | 2723118.1806 | 1205246.8514 | 2723117.7242 | 1205248.6878
35 | 2723119.7679 | 1205240.7239 | 2723123.8165 | 1205239.9624
36 | 2723119.7679 | 1205240.7239 | 2723128.6963 | 1205213.6654 | 2723131.2919 | 1205207.7255 | 2723135.0647 | 1205204.1779
37 | 2723123.8165 | 1205239.9624 | 2723131.7967 | 1205232.677 | 2723133.5512 | 1205231.7236
38 | 2723140.2086 | 1205198.5874 | 2723139.8199 | 1205199.7064 | 2723135.0647 | 1205204.1779
39 | 2723140.2086 | 1205198.5874 | 2723140.8554 | 1205196.7255
40 | 2723140.5062 | 1205194.2657 | 2723140.8554 | 1205196.7255 | 2723140.8554 | 1205196.7255
41 | 2723140.8554 | 1205196.7255 | 2723214.7579 | 1205212.851

## bus_geodata
| x | y | coords
0 | 2723091.6234 | 1205107.851
1 | 2723076.2348 | 1205137.6483
2 | 2723063.746 | 1205174.4287
3 | 2723048.492 | 1205242.3242
4 | 2723044.9882 | 1205250.5456
5 | 2723058.1463 | 1205257.5114
6 | 2723039.0199 | 1205247.3867
7 | 2723060.4184 | 1205258.7142
8 | 2723032.0703 | 1205243.7084
9 | 2723049.2197 | 1205169.178
10 | 2723029.6003 | 1205169.0893
11 | 2723027.9705 | 1205185.942
12 | 2723024.9549 | 1205215.0394
13 | 2723041.2268 | 1205218.0991
14 | 2723018.0565 | 1205236.2911
15 | 2723007.5698 | 1205163.0855
16 | 2723008.7714 | 1205157.0219
17 | 2722983.9988 | 1205169.795
18 | 2722963.6981 | 1205205.9486
19 | 2722985.9901 | 1205219.6662
20 | 2722991.2032 | 1205222.406
21 | 2723051.7663 | 1205211.9355
22 | 2723017.2401 | 1205235.8716
23 | 2723025.4967 | 1205240.2291
24 | 2723011.9858 | 1205233.1717
25 | 2723010.024 | 1205202.4491
26 | 2722998.6006 | 1205226.2939
27 | 2723001.84 | 1205227.9584
28 | 2722997.2123 | 1205225.5643
29 | 2723070.6132 | 1205263.9505
30 | 2723078.6597 | 1205238.6861
31 | 2723078.6079 | 1205268.1295
32 | 2723103.7049 | 1205248.4828
33 | 2723114.0528 | 1205250.1311
34 | 2723117.7242 | 1205248.6878
35 | 2723119.7679 | 1205240.7239
36 | 2723123.8165 | 1205239.9624
37 | 2723135.0647 | 1205204.1779
38 | 2723133.5512 | 1205231.7236
39 | 2723140.2086 | 1205198.5874
40 | 2723140.8554 | 1205196.7255
41 | 2723140.5062 | 1205194.2657
42 | 2723214.7579 | 1205212.851
43 | 2723052.6459 | 1205208.3382

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98973 | -0.072069 | 0.0047196 | 0.0011828
1 | 0.98998 | -0.070297 | 0.0032166 | 0.00080616
2 | 0.99043 | -0.067129 | 0.0063563 | 0.001593
3 | 0.99191 | -0.05666 | 0.0064066 | 0.0016056
4 | 0.99218 | -0.054783 | 0 | 0
5 | 0.99148 | -0.059661 | 0.0079558 | 0.0019939
6 | 0.99269 | -0.051155 | 0.012295 | 0.0030814
7 | 0.99139 | -0.060297 | 0 | 0
8 | 0.99343 | -0.045958 | 0.0057706 | 0.0014463
9 | 0.99642 | -0.024988 | 0.0050583 | 0.0012677
10 | 0.99656 | -0.02399 | 0 | 0
11 | 0.99669 | -0.023129 | 0.00193 | 0.00048371
12 | 0.99698 | -0.021074 | 0 | 0
13 | 0.99843 | -0.01093 | 0.0079322 | 0.001988
14 | 0.99513 | -0.034021 | 0 | 0
15 | 0.99328 | -0.047052 | 0.0024373 | 0.00061083
16 | 0.99326 | -0.047213 | 0.0025672 | 0.0006434
17 | 0.99352 | -0.045359 | 0 | 0
18 | 0.99382 | -0.043261 | 0 | 0
19 | 0.99401 | -0.041933 | 0.0038675 | 0.0009693
20 | 0.99408 | -0.041405 | 0.0041069 | 0.0010293
21 | 1 | 0 | -0.1318 | -0.032947
22 | 0.99508 | -0.034369 | 0.0054292 | 0.0013607
23 | 0.99419 | -0.040616 | 0.006576 | 0.0016481
24 | 0.99481 | -0.036282 | 0.0051691 | 0.0012955
25 | 0.99396 | -0.042289 | 0.0076022 | 0.0019053
26 | 0.99424 | -0.040258 | 0 | 0
27 | 0.99437 | -0.039384 | 0.0031769 | 0.00079621
28 | 0.99421 | -0.040515 | 0.0031815 | 0.00079735
29 | 0.99099 | -0.063124 | 0 | 0
30 | 0.99081 | -0.064432 | 0.0046927 | 0.0011761
31 | 0.99074 | -0.064926 | 0 | 0
32 | 0.98972 | -0.072117 | 0.0018312 | 0.00045894
33 | 0.98942 | -0.074239 | 0.0015755 | 0.00039485
34 | 0.98933 | -0.074892 | 0 | 0
35 | 0.98914 | -0.076253 | 0 | 0
36 | 0.98912 | -0.076358 | 0 | 0
37 | 0.98834 | -0.081877 | 0.0018687 | 0.00046834
38 | 0.98907 | -0.076686 | 0.0025095 | 0.00062894
39 | 0.98821 | -0.082811 | 0.0017454 | 0.00043744
40 | 0.98818 | -0.083014 | 0.0022247 | 0.00055755
41 | 0.98817 | -0.083059 | 0.0017601 | 0.00044113
42 | 0.98751 | -0.087743 | 0.0061096 | 0.0015312
43 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0047196 | -0.0011828 | 0.0047208 | 0.0011828 | 1.1581e-06 | -2.842e-08 | 0.0070957 | 0.0070955 | 0.0070957 | 0.98973 | -0.072069 | 0.98998 | -0.070297 | 2.628
1 | -0.0079374 | -0.001989 | 0.0079408 | 0.0019898 | 3.4798e-06 | 8.3439e-07 | 0.01193 | 0.01193 | 0.01193 | 0.98998 | -0.070297 | 0.99043 | -0.067129 | 4.4186
2 | -0.014297 | -0.0035828 | 0.014318 | 0.0035899 | 2.0743e-05 | 7.0494e-06 | 0.02148 | 0.021479 | 0.02148 | 0.99043 | -0.067129 | 0.99191 | -0.05666 | 7.9555
3 | -0.020724 | -0.0051955 | 0.02073 | 0.0051975 | 5.3904e-06 | 1.9579e-06 | 0.03109 | 0.03109 | 0.03109 | 0.99191 | -0.05666 | 0.99218 | -0.054783 | 11.5149
4 | 0.032359 | 0.0081178 | -0.032337 | -0.0081096 | 2.1882e-05 | 8.2241e-06 | 0.048533 | 0.048533 | 0.048533 | 0.99218 | -0.054783 | 0.99148 | -0.059661 | 17.975
5 | -0.053088 | -0.013315 | 0.053115 | 0.013325 | 2.6714e-05 | 1.0187e-05 | 0.079623 | 0.079623 | 0.079623 | 0.99218 | -0.054783 | 0.99269 | -0.051155 | 29.4899
6 | 0.024381 | 0.0061156 | -0.024379 | -0.0061149 | 2.1481e-06 | 7.9304e-07 | 0.036593 | 0.036593 | 0.036593 | 0.99148 | -0.059661 | 0.99139 | -0.060297 | 13.5528
7 | -0.06541 | -0.016407 | 0.065457 | 0.016425 | 4.7173e-05 | 1.8042e-05 | 0.098053 | 0.098053 | 0.098053 | 0.99269 | -0.051155 | 0.99343 | -0.045958 | 36.3158
8 | 0.024379 | 0.0061149 | -0.024369 | -0.0061113 | 9.5545e-06 | 3.5274e-06 | 0.036593 | 0.036593 | 0.036593 | 0.99139 | -0.060297 | 0.99099 | -0.063124 | 13.5528
9 | -0.071228 | -0.017871 | 0.071281 | 0.017891 | 5.2835e-05 | 2.0225e-05 | 0.1067 | 0.1067 | 0.1067 | 0.99343 | -0.045958 | 0.99419 | -0.040616 | 39.5172
10 | -0.0050583 | -0.0012677 | 0.005059 | 0.0012678 | 6.9858e-07 | 1.309e-08 | 0.0075539 | 0.0075538 | 0.0075539 | 0.99642 | -0.024988 | 0.99656 | -0.02399 | 2.7977
11 | -0.005059 | -0.0012678 | 0.0050596 | 0.0012678 | 6.0285e-07 | 1.1233e-08 | 0.0075538 | 0.0075537 | 0.0075538 | 0.99656 | -0.02399 | 0.99669 | -0.023129 | 2.7977
12 | -0.0069896 | -0.0017515 | 0.0069916 | 0.0017519 | 1.9878e-06 | 3.8317e-07 | 0.010435 | 0.010435 | 0.010435 | 0.99669 | -0.023129 | 0.99698 | -0.021074 | 3.8649
13 | -0.1227 | -0.030817 | 0.12287 | 0.030883 | 0.00017329 | 6.6217e-05 | 0.18315 | 0.18315 | 0.18315 | 0.99698 | -0.021074 | 0.99843 | -0.01093 | 33.9174
14 | 0.11571 | 0.029065 | -0.1155 | -0.028985 | 0.00020795 | 7.9399e-05 | 0.17272 | 0.17272 | 0.17272 | 0.99698 | -0.021074 | 0.99513 | -0.034021 | 31.9851
15 | -0.1308 | -0.032871 | 0.131 | 0.032947 | 0.0001993 | 7.6214e-05 | 0.19498 | 0.19498 | 0.19498 | 0.99843 | -0.01093 | 1 | 0 | 36.1066
16 | 0.037571 | 0.0094185 | -0.037569 | -0.0094178 | 1.8079e-06 | 6.834e-07 | 0.056181 | 0.056181 | 0.056181 | 0.99513 | -0.034021 | 0.99508 | -0.034369 | 20.8077
17 | 0.077928 | 0.019567 | -0.077857 | -0.01954 | 7.134e-05 | 2.7329e-05 | 0.11654 | 0.11654 | 0.11654 | 0.99513 | -0.034021 | 0.99419 | -0.040616 | 43.1625
18 | 0.0025673 | 0.00064334 | -0.0025672 | -0.0006434 | 5.7055e-08 | -5.8066e-08 | 0.0038459 | 0.003846 | 0.003846 | 0.99328 | -0.047052 | 0.99326 | -0.047213 | 1.4244
19 | -0.0050045 | -0.0012542 | 0.0050057 | 0.0012542 | 1.1724e-06 | 1.8142e-08 | 0.0074971 | 0.007497 | 0.0074971 | 0.99328 | -0.047052 | 0.99352 | -0.045359 | 2.7767
20 | -0.0050057 | -0.0012542 | 0.0050071 | 0.0012542 | 1.4534e-06 | 2.2177e-08 | 0.007497 | 0.0074968 | 0.007497 | 0.99352 | -0.045359 | 0.99382 | -0.043261 | 2.7767
21 | -0.0050071 | -0.0012542 | 0.0050081 | 0.0012542 | 9.1892e-07 | 1.3841e-08 | 0.0074968 | 0.0074967 | 0.0074968 | 0.99382 | -0.043261 | 0.99401 | -0.041933 | 2.7766
22 | -0.0088756 | -0.0022235 | 0.0088762 | 0.0022237 | 6.4872e-07 | 1.7316e-07 | 0.013286 | 0.013286 | 0.013286 | 0.99401 | -0.041933 | 0.99408 | -0.041405 | 4.9209
23 | -0.012983 | -0.003253 | 0.012985 | 0.0032535 | 1.5998e-06 | 5.273e-07 | 0.019434 | 0.019434 | 0.019434 | 0.99408 | -0.041405 | 0.99421 | -0.040515 | 7.1977
24 | 0.03214 | 0.0080571 | -0.032132 | -0.0080539 | 8.515e-06 | 3.1983e-06 | 0.048062 | 0.048062 | 0.048062 | 0.99508 | -0.034369 | 0.99481 | -0.036282 | 17.8008
25 | 0.026962 | 0.0067584 | -0.026951 | -0.0067541 | 1.1577e-05 | 4.3048e-06 | 0.04033 | 0.04033 | 0.04033 | 0.99481 | -0.036282 | 0.99437 | -0.039384 | 14.9372
26 | -0.0076022 | -0.0019053 | 0.0076043 | 0.0019058 | 2.1374e-06 | 4.7922e-07 | 0.011381 | 0.011381 | 0.011381 | 0.99396 | -0.042289 | 0.99424 | -0.040258 | 4.2152
27 | -0.023771 | -0.0059568 | 0.023774 | 0.0059579 | 2.8764e-06 | 1.0591e-06 | 0.035576 | 0.035576 | 0.035576 | 0.99424 | -0.040258 | 0.99437 | -0.039384 | 13.1764
28 | 0.016167 | 0.0040511 | -0.016166 | -0.0040509 | 5.7289e-07 | 2.0001e-07 | 0.024195 | 0.024195 | 0.024195 | 0.99424 | -0.040258 | 0.99421 | -0.040515 | 8.9613
29 | 0.0046935 | 0.0011761 | -0.0046927 | -0.0011761 | 8.4952e-07 | -2.6358e-08 | 0.0070474 | 0.0070475 | 0.0070475 | 0.99099 | -0.063124 | 0.99081 | -0.064432 | 2.6102
30 | 0.019676 | 0.0049353 | -0.019671 | -0.0049335 | 4.9142e-06 | 1.7739e-06 | 0.029545 | 0.029545 | 0.029545 | 0.99099 | -0.063124 | 0.99074 | -0.064926 | 10.9427
31 | 0.019671 | 0.0049335 | -0.019651 | -0.0049264 | 1.9592e-05 | 7.0729e-06 | 0.029545 | 0.029545 | 0.029545 | 0.99074 | -0.064926 | 0.98972 | -0.072117 | 10.9427
32 | 0.01782 | 0.0044675 | -0.017815 | -0.0044656 | 5.2368e-06 | 1.8639e-06 | 0.026792 | 0.026792 | 0.026792 | 0.98972 | -0.072117 | 0.98942 | -0.074239 | 9.9231
33 | 0.016239 | 0.0040708 | -0.016238 | -0.0040702 | 1.4683e-06 | 5.1407e-07 | 0.024423 | 0.024423 | 0.024423 | 0.98942 | -0.074239 | 0.98933 | -0.074892 | 9.0455
34 | 0.016238 | 0.0040702 | -0.016235 | -0.0040692 | 3.0603e-06 | 1.0715e-06 | 0.024423 | 0.024423 | 0.024423 | 0.98933 | -0.074892 | 0.98914 | -0.076253 | 9.0455
35 | 0.0025097 | 0.00062879 | -0.0025096 | -0.00062882 | 3.6537e-08 | -3.8676e-08 | 0.0037754 | 0.0037754 | 0.0037754 | 0.98914 | -0.076253 | 0.98912 | -0.076358 | 1.3983
36 | 0.013725 | 0.0034404 | -0.013714 | -0.0034368 | 1.0682e-05 | 3.5935e-06 | 0.020648 | 0.020648 | 0.020648 | 0.98914 | -0.076253 | 0.98834 | -0.081877 | 7.6473
37 | 0.0025096 | 0.00062882 | -0.0025095 | -0.00062894 | 1.137e-07 | -1.2034e-07 | 0.0037754 | 0.0037755 | 0.0037755 | 0.98912 | -0.076358 | 0.98907 | -0.076686 | 1.3983
38 | 0.011846 | 0.0029685 | -0.011844 | -0.002968 | 1.5306e-06 | 4.8988e-07 | 0.017834 | 0.017834 | 0.017834 | 0.98834 | -0.081877 | 0.98821 | -0.082811 | 6.6053
39 | 0.010099 | 0.0025305 | -0.010098 | -0.0025304 | 2.8439e-07 | 8.4129e-08 | 0.015206 | 0.015206 | 0.015206 | 0.98821 | -0.082811 | 0.98818 | -0.083014 | 5.6319
40 | 0.0017601 | 0.0004411 | -0.0017601 | -0.00044113 | 1.0891e-08 | -2.764e-08 | 0.0026504 | 0.0026505 | 0.0026505 | 0.98818 | -0.083014 | 0.98817 | -0.083059 | 0.98165
41 | 0.0061136 | 0.0015318 | -0.0061096 | -0.0015312 | 4.0002e-06 | 5.7017e-07 | 0.0092058 | 0.0092062 | 0.0092062 | 0.98818 | -0.083014 | 0.98751 | -0.087743 | 3.4097

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14064 | 0.035162

## res_load
| p_mw | q_mvar
0 | 0.0047196 | 0.0011828
1 | 0.0032166 | 0.00080616
2 | 0.0063563 | 0.001593
3 | 0.0064066 | 0.0016056
4 | 0.0079558 | 0.0019939
5 | 0.012295 | 0.0030814
6 | 0.0057706 | 0.0014463
7 | 0.0050583 | 0.0012677
8 | 0.00193 | 0.00048371
9 | 0.0079322 | 0.001988
10 | 0.0024373 | 0.00061083
11 | 0.0025672 | 0.0006434
12 | 0.0038675 | 0.0009693
13 | 0.0041069 | 0.0010293
14 | 0.0088367 | 0.0022147
15 | 0.0054292 | 0.0013607
16 | 0.006576 | 0.0016481
17 | 0.0051691 | 0.0012955
18 | 0.0076022 | 0.0019053
19 | 0.0031769 | 0.00079621
20 | 0.0031815 | 0.00079735
21 | 0.0046927 | 0.0011761
22 | 0.0018312 | 0.00045894
23 | 0.0015755 | 0.00039485
24 | 0.0018687 | 0.00046834
25 | 0.0025095 | 0.00062894
26 | 0.0017454 | 0.00043744
27 | 0.0022247 | 0.00055755
28 | 0.0017601 | 0.00044113
29 | 0.0061096 | 0.0015312

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1