## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-181_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-181_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-181_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-181_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-181_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1631-181_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1631-181_0_4_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1631-181_0_4_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_1631-181_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1631-181_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1631-181_0_4_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_1631-181_0_4_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_1631-181_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1631-181_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1631-181_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1631-181_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1631-181_0_4_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1631-181_0_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_1631-181_0_4_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_1631-181_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1631-181_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1631-181_0_4_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1631-181_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1631-181_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1631-181_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1631-181_0_4_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_1631-181_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1631-181_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1631-181_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1631-181_0_4_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1631-181_0_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1631-181_0_4_node_42 | 0.4 | n |  | TRUE
32 | bus_LV_1631-181_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1631-181_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1631-181_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1631-181_0_4_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_1631-181_0_4_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1631-181_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1631-181_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1631-181_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1631-181_0_4_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1631-181_0_4_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1631-181_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_MV_145_0_node_128 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-181_0_4_load_0 | 0 | 0.0021825 | 0.00054699 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-181_0_4_load_3 | 3 | 0.016149 | 0.0040472 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-181_0_4_load_5 | 4 | 0.0068173 | 0.0017086 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-181_0_4_load_47 | 7 | 0.0029129 | 0.00073004 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-181_0_4_load_7 | 8 | 0.016942 | 0.0042462 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-181_0_4_load_8 | 9 | 0.010001 | 0.0025065 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-181_0_4_load_19 | 10 | 0.0088563 | 0.0022196 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-181_0_4_load_20 | 11 | 0.0083865 | 0.0021019 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-181_0_4_load_9 | 12 | 0.006362 | 0.0015945 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-181_0_4_load_12 | 14 | 0.0055982 | 0.0014031 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-181_0_4_load_10 | 15 | 0.0055748 | 0.0013972 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-181_0_4_load_13 | 19 | 0.0084812 | 0.0021256 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-181_0_4_load_14 | 20 | 0.0061255 | 0.0015352 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-181_0_4_load_15 | 21 | 0.010337 | 0.0025908 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-181_0_4_load_17 | 22 | 0.0054879 | 0.0013754 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-181_0_4_load_16 | 23 | 0.0068672 | 0.0017211 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-181_0_4_load_21 | 24 | 0.009725 | 0.0024373 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-181_0_4_load_26 | 25 | 0.005761 | 0.0014439 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-181_0_4_load_22 | 26 | 0.0058943 | 0.0014772 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-181_0_4_load_28 | 28 | 0.0064853 | 0.0016254 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-181_0_4_load_46 | 30 | 0.0049485 | 0.0012402 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-181_0_4_load_33 | 34 | 0.0072932 | 0.0018278 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-181_0_4_load_36 | 35 | 0.0058313 | 0.0014614 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-181_0_4_load_31 | 36 | 0.0049282 | 0.0012351 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-181_0_4_load_30 | 37 | 0.0082531 | 0.0020684 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-181_0_4_load_32 | 38 | 0.012345 | 0.003094 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-181_0_4_load_34 | 39 | 0.006302 | 0.0015794 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-181_0_4_load_37 | 40 | 0.0057543 | 0.0014422 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-181_0_4_load_40 | 41 | 0.0074447 | 0.0018658 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-181_0_4_load_45 | 42 | 0.0054992 | 0.0013782 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-181_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0028394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-181_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0041473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-181_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.018911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-181_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.049744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-181_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.026039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-181_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.017129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-181_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.018739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-181_0_4_line_7 | NAYY 4x150 SE | 6 | 10 | 0.015207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-181_0_4_line_8 | NAYY 4x150 SE | 6 | 11 | 0.013762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-181_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.021374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-181_0_4_line_10 | NAYY 4x150 SE | 9 | 12 | 0.0019921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-181_0_4_line_11 | NAYY 4x150 SE | 10 | 28 | 0.038798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-181_0_4_line_12 | NAYY 4x150 SE | 12 | 13 | 0.018037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-181_0_4_line_13 | NAYY 4x150 SE | 13 | 14 | 0.032488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-181_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0098124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-181_0_4_line_15 | NAYY 4x150 SE | 14 | 16 | 0.020789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-181_0_4_line_16 | NAYY 4x150 SE | 16 | 17 | 0.009292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-181_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.024157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-181_0_4_line_18 | NAYY 4x150 SE | 17 | 30 | 0.0098908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-181_0_4_line_19 | NAYY 4x150 SE | 17 | 31 | 0.0174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-181_0_4_line_20 | NAYY 4x150 SE | 18 | 27 | 0.020955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-181_0_4_line_21 | NAYY 4x150 SE | 18 | 26 | 0.0092863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-181_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0019624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-181_0_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.021316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_1631-181_0_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0089622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1631-181_0_4_line_25 | NAYY 4x150 SE | 22 | 25 | 0.015585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_1631-181_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.01792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-181_0_4_line_27 | NAYY 4x150 SE | 24 | 26 | 0.016563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-181_0_4_line_28 | NAYY 4x150 SE | 25 | 27 | 0.010614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1631-181_0_4_line_29 | NAYY 4x150 SE | 27 | 29 | 0.022185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-181_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.010164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-181_0_4_line_31 | NAYY 4x150 SE | 29 | 32 | 0.021498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-181_0_4_line_32 | NAYY 4x150 SE | 31 | 42 | 0.0019522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-181_0_4_line_33 | NAYY 4x150 SE | 31 | 41 | 0.0078357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-181_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.022443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-181_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.01284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-181_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.011932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-181_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.016944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-181_0_4_line_38 | NAYY 4x150 SE | 35 | 40 | 0.01533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-181_0_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.017464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-181_0_4_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0001931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-181_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.011215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-181_0_4_trafo_13 | 0.25 MVA 20/0.4 kV | 43 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2723782.7011 | 1205867.5596 | 2723780.4814 | 1205869.3302
1 | 2723777.2392 | 1205871.9164 | 2723780.4814 | 1205869.3302
2 | 2723782.7011 | 1205867.5596 | 2723794.8393 | 1205882.089
3 | 2723777.2392 | 1205871.9164 | 2723807.9912 | 1205911.0164
4 | 2723777.2392 | 1205871.9164 | 2723758.7261 | 1205886.6772 | 2723756.7205 | 1205888.0033
5 | 2723818.5803 | 1205924.4801 | 2723807.9912 | 1205911.0164
6 | 2723756.7205 | 1205888.0033 | 2723768.4997 | 1205902.6029
7 | 2723818.5803 | 1205924.4801 | 2723822.0322 | 1205928.9884 | 2723827.125 | 1205931.785 | 2723830.6587 | 1205932.9423
8 | 2723818.5803 | 1205924.4801 | 2723807.481 | 1205932.6159
9 | 2723844.0191 | 1205869.9247 | 2723836.3158 | 1205867.638 | 2723823.9036 | 1205862.7535
10 | 2723844.0191 | 1205869.9247 | 2723845.9289 | 1205870.4916
11 | 2723867.5299 | 1205945.017 | 2723830.6587 | 1205932.9423
12 | 2723863.2206 | 1205875.6244 | 2723845.9289 | 1205870.4916
13 | 2723863.2206 | 1205875.6244 | 2723890.3676 | 1205883.6715 | 2723894.294 | 1205885.085
14 | 2723863.2206 | 1205875.6244 | 2723865.3477 | 1205866.0453
15 | 2723913.4061 | 1205893.179 | 2723904.4293 | 1205888.7338 | 2723894.294 | 1205885.085
16 | 2723913.4061 | 1205893.179 | 2723922.0053 | 1205896.7602
17 | 2723898.2779 | 1205910.5338 | 2723906.5114 | 1205896.1826 | 2723908.3978 | 1205894.7429 | 2723910.6385 | 1205893.822 | 2723913.4061 | 1205893.179
18 | 2723922.0053 | 1205896.7602 | 2723931.1312 | 1205900.5741
19 | 2723922.0053 | 1205896.7602 | 2723925.7515 | 1205879.7694
20 | 2723898.2779 | 1205910.5338 | 2723887.9474 | 1205928.7777
21 | 2723898.2779 | 1205910.5338 | 2723889.467 | 1205907.6007
22 | 2723841.8808 | 1205904.6601 | 2723841.3034 | 1205906.5357
23 | 2723854.4517 | 1205918.0827 | 2723841.9103 | 1205914.0782 | 2723840.0987 | 1205910.449 | 2723841.3034 | 1205906.5357
24 | 2723862.9893 | 1205920.8087 | 2723854.4517 | 1205918.0827
25 | 2723862.9893 | 1205920.8087 | 2723877.8359 | 1205925.5492
26 | 2723856.749 | 1205896.7092 | 2723873.752 | 1205902.3693
27 | 2723889.467 | 1205907.6007 | 2723873.752 | 1205902.3693
28 | 2723887.9474 | 1205928.7777 | 2723877.8359 | 1205925.5492
29 | 2723877.1896 | 1205948.1804 | 2723882.2959 | 1205938.9682 | 2723887.9474 | 1205928.7777
30 | 2723877.1896 | 1205948.1804 | 2723867.5299 | 1205945.017
31 | 2723869.0356 | 1205967.8706 | 2723869.8621 | 1205963.2398 | 2723871.3056 | 1205958.9443 | 2723877.1896 | 1205948.1804
32 | 2723925.7515 | 1205879.7694 | 2723924.7901 | 1205878.0704
33 | 2723925.7515 | 1205879.7694 | 2723933.4193 | 1205881.383
34 | 2723869.0356 | 1205967.8706 | 2723864.8195 | 1205989.911
35 | 2723869.0356 | 1205967.8706 | 2723856.8057 | 1205963.9608
36 | 2723864.8195 | 1205989.911 | 2723853.3029 | 1205986.7908
37 | 2723840.6667 | 1205958.8012 | 2723856.8057 | 1205963.9608
38 | 2723853.3029 | 1205986.7908 | 2723847.0402 | 1205985.0941 | 2723838.2402 | 1205984.2346
39 | 2723824.0326 | 1205953.4834 | 2723840.6667 | 1205958.8012
40 | 2723824.0326 | 1205953.4834 | 2723823.8486 | 1205953.4246
41 | 2723813.166 | 1205950.0094 | 2723823.8486 | 1205953.4246

## bus_geodata
| x | y | coords
0 | 2723780.4814 | 1205869.3302
1 | 2723782.7011 | 1205867.5596
2 | 2723777.2392 | 1205871.9164
3 | 2723794.8393 | 1205882.089
4 | 2723807.9912 | 1205911.0164
5 | 2723756.7205 | 1205888.0033
6 | 2723818.5803 | 1205924.4801
7 | 2723768.4997 | 1205902.6029
8 | 2723823.9036 | 1205862.7535
9 | 2723844.0191 | 1205869.9247
10 | 2723830.6587 | 1205932.9423
11 | 2723807.481 | 1205932.6159
12 | 2723845.9289 | 1205870.4916
13 | 2723863.2206 | 1205875.6244
14 | 2723894.294 | 1205885.085
15 | 2723865.3477 | 1205866.0453
16 | 2723913.4061 | 1205893.179
17 | 2723922.0053 | 1205896.7602
18 | 2723898.2779 | 1205910.5338
19 | 2723841.3034 | 1205906.5357
20 | 2723841.8808 | 1205904.6601
21 | 2723854.4517 | 1205918.0827
22 | 2723862.9893 | 1205920.8087
23 | 2723856.749 | 1205896.7092
24 | 2723873.752 | 1205902.3693
25 | 2723877.8359 | 1205925.5492
26 | 2723889.467 | 1205907.6007
27 | 2723887.9474 | 1205928.7777
28 | 2723867.5299 | 1205945.017
29 | 2723877.1896 | 1205948.1804
30 | 2723931.1312 | 1205900.5741
31 | 2723925.7515 | 1205879.7694
32 | 2723869.0356 | 1205967.8706
33 | 2723864.8195 | 1205989.911
34 | 2723856.8057 | 1205963.9608
35 | 2723853.3029 | 1205986.7908
36 | 2723840.6667 | 1205958.8012
37 | 2723824.0326 | 1205953.4834
38 | 2723823.8486 | 1205953.4246
39 | 2723813.166 | 1205950.0094
40 | 2723838.2402 | 1205984.2346
41 | 2723933.4193 | 1205881.383
42 | 2723924.7901 | 1205878.0704
43 | 2723841.3034 | 1205906.5357

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98439 | -0.10955 | 0.0021825 | 0.00054699
1 | 0.98433 | -0.11002 | 0 | 0
2 | 0.9845 | -0.10876 | 0 | 0
3 | 0.98388 | -0.11317 | 0.016149 | 0.0040472
4 | 0.98603 | -0.097895 | 0.0068173 | 0.0017086
5 | 0.98439 | -0.10955 | 0 | 0
6 | 0.98673 | -0.092962 | 0 | 0
7 | 0.98431 | -0.11011 | 0.0029129 | 0.00073004
8 | 0.98474 | -0.1071 | 0.016942 | 0.0042462
9 | 0.98526 | -0.10337 | 0.010001 | 0.0025065
10 | 0.98753 | -0.087283 | 0.0088563 | 0.0022196
11 | 0.98656 | -0.094145 | 0.0083865 | 0.0021019
12 | 0.98534 | -0.10282 | 0.006362 | 0.0015945
13 | 0.98621 | -0.096651 | 0 | 0
14 | 0.98804 | -0.083712 | 0.0055982 | 0.0014031
15 | 0.98613 | -0.097213 | 0.0055748 | 0.0013972
16 | 0.98937 | -0.074269 | 0 | 0
17 | 0.98914 | -0.075965 | 0 | 0
18 | 0.99155 | -0.058937 | 0 | 0
19 | 1 | 0 | -0.21828 | -0.054819
20 | 0.99998 | -0.00011998 | 0.0061255 | 0.0015352
21 | 0.99786 | -0.014854 | 0.010337 | 0.0025908
22 | 0.997 | -0.020807 | 0.0054879 | 0.0013754
23 | 0.99068 | -0.065102 | 0.0068672 | 0.0017211
24 | 0.99086 | -0.063851 | 0.009725 | 0.0024373
25 | 0.99555 | -0.030898 | 0.005761 | 0.0014439
26 | 0.99125 | -0.061058 | 0.0058943 | 0.0014772
27 | 0.99412 | -0.040928 | 0 | 0
28 | 0.99007 | -0.069334 | 0.0064853 | 0.0016254
29 | 0.99083 | -0.063976 | 0 | 0
30 | 0.98906 | -0.076465 | 0.0049485 | 0.0012402
31 | 0.98881 | -0.078264 | 0 | 0
32 | 0.98926 | -0.075078 | 0 | 0
33 | 0.98889 | -0.077732 | 0 | 0
34 | 0.98854 | -0.080205 | 0.0072932 | 0.0018278
35 | 0.98869 | -0.079143 | 0.0058313 | 0.0014614
36 | 0.98776 | -0.085718 | 0.0049282 | 0.0012351
37 | 0.98708 | -0.090527 | 0.0082531 | 0.0020684
38 | 0.98707 | -0.090564 | 0.012345 | 0.003094
39 | 0.98697 | -0.091288 | 0.006302 | 0.0015794
40 | 0.98856 | -0.080044 | 0.0057543 | 0.0014422
41 | 0.98873 | -0.078859 | 0.0074447 | 0.0018658
42 | 0.9888 | -0.078373 | 0.0054992 | 0.0013782
43 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.016157 | 0.0040501 | -0.016156 | -0.0040497 | 1.0568e-06 | 3.7038e-07 | 0.024423 | 0.024423 | 0.024423 | 0.98439 | -0.10955 | 0.98433 | -0.11002 | 9.0456
1 | -0.018339 | -0.0045971 | 0.018341 | 0.0045978 | 1.9889e-06 | 7.1222e-07 | 0.027722 | 0.027722 | 0.027722 | 0.98439 | -0.10955 | 0.9845 | -0.10876 | 10.2675
2 | 0.016156 | 0.0040497 | -0.016149 | -0.0040472 | 7.0388e-06 | 2.467e-06 | 0.024423 | 0.024423 | 0.024423 | 0.98433 | -0.11002 | 0.98388 | -0.11317 | 9.0456
3 | -0.021255 | -0.0053275 | 0.021287 | 0.0053392 | 3.2035e-05 | 1.1688e-05 | 0.032125 | 0.032125 | 0.032125 | 0.9845 | -0.10876 | 0.98603 | -0.097895 | 11.8983
4 | 0.0029134 | 0.00072968 | -0.0029131 | -0.00072989 | 3.1505e-07 | -2.099e-07 | 0.0044033 | 0.0044034 | 0.0044034 | 0.9845 | -0.10876 | 0.98439 | -0.10955 | 1.6309
5 | -0.028104 | -0.0070477 | 0.028123 | 0.0070549 | 1.9227e-05 | 7.1764e-06 | 0.042413 | 0.042413 | 0.042413 | 0.98603 | -0.097895 | 0.98673 | -0.092962 | 15.7086
6 | 0.0029131 | 0.00072989 | -0.0029129 | -0.00073004 | 2.2674e-07 | -1.51e-07 | 0.0044034 | 0.0044035 | 0.0044035 | 0.98439 | -0.10955 | 0.98431 | -0.11011 | 1.6309
7 | -0.036511 | -0.0091571 | 0.03654 | 0.009168 | 2.8769e-05 | 1.0871e-05 | 0.055062 | 0.055062 | 0.055062 | 0.98673 | -0.092962 | 0.98753 | -0.087283 | 20.3935
8 | 0.0083879 | 0.0021022 | -0.0083865 | -0.0021019 | 1.374e-06 | 3.5271e-07 | 0.012649 | 0.012649 | 0.012649 | 0.98673 | -0.092962 | 0.98656 | -0.094145 | 4.6849
9 | -0.016942 | -0.0042462 | 0.016951 | 0.0042492 | 8.7416e-06 | 3.0901e-06 | 0.025601 | 0.025601 | 0.025601 | 0.98474 | -0.1071 | 0.98526 | -0.10337 | 9.4819
10 | -0.026952 | -0.0067558 | 0.026954 | 0.0067565 | 2.0597e-06 | 7.6684e-07 | 0.040706 | 0.040706 | 0.040706 | 0.98526 | -0.10337 | 0.98534 | -0.10282 | 15.0761
11 | -0.045396 | -0.011388 | 0.04551 | 0.011431 | 0.00011329 | 4.3076e-05 | 0.068407 | 0.068407 | 0.068407 | 0.98753 | -0.087283 | 0.99007 | -0.069334 | 25.3359
12 | -0.033316 | -0.008351 | 0.033345 | 0.0083617 | 2.8492e-05 | 1.0729e-05 | 0.050313 | 0.050313 | 0.050313 | 0.98534 | -0.10282 | 0.98621 | -0.096651 | 18.6345
13 | -0.03892 | -0.009759 | 0.03899 | 0.0097854 | 6.9912e-05 | 2.6474e-05 | 0.058725 | 0.058725 | 0.058725 | 0.98621 | -0.096651 | 0.98804 | -0.083712 | 21.7501
14 | 0.0055753 | 0.0013972 | -0.0055748 | -0.0013972 | 4.3328e-07 | 4.1449e-08 | 0.008412 | 0.0084121 | 0.0084121 | 0.98621 | -0.096651 | 0.98613 | -0.097213 | 3.1156
15 | -0.044588 | -0.011188 | 0.044647 | 0.011211 | 5.8505e-05 | 2.2235e-05 | 0.067156 | 0.067156 | 0.067156 | 0.98804 | -0.083712 | 0.98937 | -0.074269 | 24.8727
16 | 0.017902 | 0.0044873 | -0.017898 | -0.0044858 | 4.2033e-06 | 1.4974e-06 | 0.026925 | 0.026925 | 0.026925 | 0.98937 | -0.074269 | 0.98914 | -0.075965 | 9.9721
17 | -0.062549 | -0.015698 | 0.062682 | 0.015749 | 0.00013342 | 5.1005e-05 | 0.094081 | 0.094081 | 0.094081 | 0.98937 | -0.074269 | 0.99155 | -0.058937 | 34.8447
18 | 0.0049489 | 0.0012402 | -0.0049485 | -0.0012402 | 3.4208e-07 | 4.6238e-09 | 0.0074449 | 0.0074449 | 0.0074449 | 0.98914 | -0.075965 | 0.98906 | -0.076465 | 2.7574
19 | 0.012949 | 0.0032456 | -0.012945 | -0.0032442 | 4.1201e-06 | 1.3614e-06 | 0.01948 | 0.01948 | 0.01948 | 0.98914 | -0.075965 | 0.98881 | -0.078264 | 7.2148
20 | -0.085183 | -0.02139 | 0.085396 | 0.021472 | 0.00021373 | 8.1931e-05 | 0.12785 | 0.12785 | 0.12785 | 0.99155 | -0.058937 | 0.99412 | -0.040928 | 47.351
21 | 0.022501 | 0.0056405 | -0.022494 | -0.0056381 | 6.6072e-06 | 2.4215e-06 | 0.033767 | 0.033767 | 0.033767 | 0.99155 | -0.058937 | 0.99125 | -0.061058 | 12.5064
22 | 0.0061257 | 0.0015352 | -0.0061255 | -0.0015352 | 1.0174e-07 | 1.3386e-08 | 0.0091151 | 0.0091151 | 0.0091151 | 1 | 0 | 0.99998 | -0.00011998 | 3.376
23 | 0.21135 | 0.053284 | -0.21092 | -0.053116 | 0.00043885 | 0.00016795 | 0.31461 | 0.31461 | 0.31461 | 1 | 0 | 0.99786 | -0.014854 | 38.8408
24 | 0.20058 | 0.050525 | -0.20041 | -0.050462 | 0.00016687 | 6.3831e-05 | 0.2992 | 0.2992 | 0.2992 | 0.99786 | -0.014854 | 0.997 | -0.020807 | 36.9377
25 | 0.19492 | 0.049086 | -0.19465 | -0.048981 | 0.00027452 | 0.00010498 | 0.291 | 0.291 | 0.291 | 0.997 | -0.020807 | 0.99555 | -0.030898 | 35.9265
26 | -0.0068672 | -0.0017211 | 0.0068684 | 0.0017213 | 1.1897e-06 | 2.2679e-07 | 0.010315 | 0.010315 | 0.010315 | 0.99068 | -0.065102 | 0.99086 | -0.063851 | 3.8202
27 | -0.016593 | -0.0041586 | 0.0166 | 0.0041609 | 6.4177e-06 | 2.2549e-06 | 0.024919 | 0.024919 | 0.024919 | 0.99086 | -0.063851 | 0.99125 | -0.061058 | 9.2293
28 | 0.18889 | 0.047537 | -0.18862 | -0.047436 | 0.0002641 | 0.0001013 | 0.28239 | 0.28239 | 0.28239 | 0.99555 | -0.030898 | 0.99412 | -0.040928 | 52.2952
29 | 0.10323 | 0.025965 | -0.1029 | -0.025838 | 0.00033065 | 0.00012689 | 0.15455 | 0.15455 | 0.15455 | 0.99412 | -0.040928 | 0.99083 | -0.063976 | 57.2395
30 | -0.051995 | -0.013056 | 0.052034 | 0.013071 | 3.8741e-05 | 1.477e-05 | 0.078154 | 0.078154 | 0.078154 | 0.99007 | -0.069334 | 0.99083 | -0.063976 | 28.9459
31 | 0.050864 | 0.012767 | -0.050785 | -0.012737 | 7.8287e-05 | 2.9834e-05 | 0.076393 | 0.076393 | 0.076393 | 0.99083 | -0.063976 | 0.98926 | -0.075078 | 28.2937
32 | 0.0054993 | 0.0013782 | -0.0054992 | -0.0013782 | 8.3428e-08 | 7.0467e-09 | 0.0082757 | 0.0082757 | 0.0082757 | 0.98881 | -0.078264 | 0.9888 | -0.078373 | 3.0651
33 | 0.0074454 | 0.001866 | -0.0074447 | -0.0018658 | 6.1379e-07 | 1.3557e-07 | 0.011204 | 0.011204 | 0.011204 | 0.98881 | -0.078264 | 0.98873 | -0.078859 | 4.1497
34 | 0.011593 | 0.0029057 | -0.011588 | -0.0029044 | 4.2583e-06 | 1.3498e-06 | 0.017438 | 0.017438 | 0.017438 | 0.98926 | -0.075078 | 0.98889 | -0.077732 | 6.4584
35 | 0.039193 | 0.0098313 | -0.039165 | -0.0098208 | 2.7847e-05 | 1.0546e-05 | 0.058955 | 0.058955 | 0.058955 | 0.98926 | -0.075078 | 0.98854 | -0.080205 | 21.8354
36 | 0.011588 | 0.0029044 | -0.011586 | -0.0029037 | 2.264e-06 | 7.1771e-07 | 0.017438 | 0.017438 | 0.017438 | 0.98889 | -0.077732 | 0.98869 | -0.079143 | 6.4584
37 | 0.031872 | 0.0079929 | -0.031847 | -0.0079838 | 2.4337e-05 | 9.1433e-06 | 0.047977 | 0.047977 | 0.047977 | 0.98854 | -0.080205 | 0.98776 | -0.085718 | 17.7694
38 | 0.005755 | 0.0014422 | -0.0057543 | -0.0014422 | 7.1766e-07 | 7.9452e-08 | 0.0086614 | 0.0086615 | 0.0086615 | 0.98869 | -0.079143 | 0.98856 | -0.080044 | 3.208
39 | 0.026919 | 0.0067487 | -0.026901 | -0.006742 | 1.7921e-05 | 6.6694e-06 | 0.040553 | 0.040553 | 0.040553 | 0.98776 | -0.085718 | 0.98708 | -0.090527 | 15.0197
40 | 0.018648 | 0.0046736 | -0.018648 | -0.0046736 | 9.5222e-08 | 3.4156e-08 | 0.028112 | 0.028112 | 0.028112 | 0.98708 | -0.090527 | 0.98707 | -0.090564 | 10.4118
41 | 0.0063026 | 0.0015795 | -0.006302 | -0.0015794 | 6.3177e-07 | 9.9644e-08 | 0.0095012 | 0.0095013 | 0.0095013 | 0.98707 | -0.090564 | 0.98697 | -0.091288 | 3.519

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22676 | 0.056945

## res_load
| p_mw | q_mvar
0 | 0.0021825 | 0.00054699
1 | 0.016149 | 0.0040472
2 | 0.0068173 | 0.0017086
3 | 0.0029129 | 0.00073004
4 | 0.016942 | 0.0042462
5 | 0.010001 | 0.0025065
6 | 0.0088563 | 0.0022196
7 | 0.0083865 | 0.0021019
8 | 0.006362 | 0.0015945
9 | 0.0055982 | 0.0014031
10 | 0.0055748 | 0.0013972
11 | 0.0084812 | 0.0021256
12 | 0.0061255 | 0.0015352
13 | 0.010337 | 0.0025908
14 | 0.0054879 | 0.0013754
15 | 0.0068672 | 0.0017211
16 | 0.009725 | 0.0024373
17 | 0.005761 | 0.0014439
18 | 0.0058943 | 0.0014772
19 | 0.0064853 | 0.0016254
20 | 0.0049485 | 0.0012402
21 | 0.0072932 | 0.0018278
22 | 0.0058313 | 0.0014614
23 | 0.0049282 | 0.0012351
24 | 0.0082531 | 0.0020684
25 | 0.012345 | 0.003094
26 | 0.006302 | 0.0015794
27 | 0.0057543 | 0.0014422
28 | 0.0074447 | 0.0018658
29 | 0.0054992 | 0.0013782

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1