## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-182_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-182_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-182_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-182_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-182_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-182_0_2_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1631-182_0_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1631-182_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1631-182_0_2_node_33 | 0.4 | n |  | TRUE
9 | bus_LV_1631-182_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1631-182_0_2_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1631-182_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1631-182_0_2_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_1631-182_0_2_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_1631-182_0_2_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1631-182_0_2_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_1631-182_0_2_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_1631-182_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1631-182_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1631-182_0_2_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1631-182_0_2_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_1631-182_0_2_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1631-182_0_2_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1631-182_0_2_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_1631-182_0_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1631-182_0_2_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1631-182_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1631-182_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1631-182_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1631-182_0_2_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1631-182_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1631-182_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1631-182_0_2_node_26 | 0.4 | n |  | TRUE
33 | bus_MV_145_0_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-182_0_2_load_0 | 0 | 0.0076194 | 0.0019096 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-182_0_2_load_1 | 1 | 0.004912 | 0.0012311 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-182_0_2_load_4 | 4 | 0.0071091 | 0.0017817 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-182_0_2_load_33 | 8 | 0.010461 | 0.0026217 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-182_0_2_load_23 | 12 | 0.0084287 | 0.0021124 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-182_0_2_load_30 | 13 | 0.0024057 | 0.00060293 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-182_0_2_load_25 | 15 | 0.0050302 | 0.0012607 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-182_0_2_load_32 | 16 | 0.02063 | 0.0051704 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-182_0_2_load_20 | 18 | 0.0063222 | 0.0015845 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-182_0_2_load_22 | 19 | 0.0080571 | 0.0020193 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-182_0_2_load_31 | 20 | 0.02608 | 0.0065364 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-182_0_2_load_24 | 21 | 0.015484 | 0.0038806 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-182_0_2_load_13 | 22 | 0.025626 | 0.0064225 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-182_0_2_load_29 | 23 | 0.008206 | 0.0020566 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-182_0_2_load_17 | 28 | 0.0074442 | 0.0018657 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-182_0_2_load_18 | 29 | 0.01798 | 0.0045062 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-182_0_2_load_21 | 30 | 0.0053953 | 0.0013522 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-182_0_2_load_28 | 31 | 0.01049 | 0.002629 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-182_0_2_load_26 | 32 | 0.014216 | 0.0035628 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-182_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.008545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-182_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-182_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-182_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-182_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.083514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-182_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.011514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-182_0_2_line_6 | NAYY 4x150 SE | 5 | 16 | 0.063118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1631-182_0_2_line_7 | NAYY 4x150 SE | 5 | 17 | 0.054475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1631-182_0_2_line_8 | NAYY 4x150 SE | 6 | 14 | 0.012995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-182_0_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.039108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-182_0_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.064025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1631-182_0_2_line_11 | NAYY 4x150 SE | 7 | 10 | 0.027456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1631-182_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.040686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1631-182_0_2_line_13 | NAYY 4x150 SE | 9 | 12 | 0.022759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-182_0_2_line_14 | NAYY 4x150 SE | 10 | 18 | 0.024159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1631-182_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.0051394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-182_0_2_line_16 | NAYY 4x150 SE | 12 | 19 | 0.0019186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-182_0_2_line_17 | NAYY 4x150 SE | 13 | 20 | 0.0024925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-182_0_2_line_18 | NAYY 4x150 SE | 14 | 15 | 0.029346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-182_0_2_line_19 | NAYY 4x150 SE | 15 | 21 | 0.0048917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-182_0_2_line_20 | NAYY 4x150 SE | 17 | 22 | 0.017084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1631-182_0_2_line_21 | NAYY 4x150 SE | 18 | 25 | 0.032325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1631-182_0_2_line_22 | NAYY 4x150 SE | 21 | 32 | 0.011426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-182_0_2_line_23 | NAYY 4x150 SE | 22 | 26 | 0.017202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1631-182_0_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.018248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-182_0_2_line_25 | NAYY 4x150 SE | 24 | 31 | 0.012004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-182_0_2_line_26 | NAYY 4x150 SE | 24 | 30 | 0.0096734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-182_0_2_line_27 | NAYY 4x150 SE | 25 | 30 | 0.019344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-182_0_2_line_28 | NAYY 4x150 SE | 25 | 29 | 0.046367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1631-182_0_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.007728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1631-182_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.00086155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1631-182_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.02566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-182_0_2_trafo_32 | 0.25 MVA 20/0.4 kV | 33 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2723950.8841 | 1205885.058 | 2723942.5222 | 1205883.2985
1 | 2723974.6498 | 1205890.059 | 2723950.8841 | 1205885.058
2 | 2723925.7515 | 1205879.7694 | 2723942.5222 | 1205883.2985
3 | 2723974.6498 | 1205890.059 | 2723965.9498 | 1205904.6893
4 | 2723882.2959 | 1205938.9682 | 2723887.9474 | 1205928.7777 | 2723898.2779 | 1205910.5338 | 2723906.5114 | 1205896.1826 | 2723908.3978 | 1205894.7429 | 2723910.6385 | 1205893.822 | 2723913.4061 | 1205893.179 | 2723922.0053 | 1205896.7602 | 2723925.7515 | 1205879.7694
5 | 2723960.0647 | 1205914.5859 | 2723965.9498 | 1205904.6893
6 | 2723939.791 | 1205964.2806 | 2723937.2413 | 1205962.8599 | 2723919.5151 | 1205958.7778 | 2723882.2959 | 1205938.9682
7 | 2723864.8195 | 1205989.911 | 2723869.0356 | 1205967.8706 | 2723869.8621 | 1205963.2398 | 2723871.3056 | 1205958.9443 | 2723877.1896 | 1205948.1804 | 2723882.2959 | 1205938.9682
8 | 2723960.0647 | 1205914.5859 | 2723953.3271 | 1205910.3984 | 2723948.7395 | 1205908.1904
9 | 2724031.2191 | 1206045.552 | 2724010.4155 | 1206033.2438 | 2723996.0865 | 1206037.7719
10 | 2723997.8154 | 1206012.4219 | 2724000.1229 | 1206013.7819 | 2724014.1011 | 1206015.518 | 2724040.1428 | 1206031.3154 | 2724031.2191 | 1206045.552
11 | 2724031.2191 | 1206045.552 | 2724016.6146 | 1206068.8218
12 | 2723997.8154 | 1206012.4219 | 2724000.1229 | 1206013.7819 | 2724014.1011 | 1206015.518 | 2724021.5019 | 1206002.8065 | 2724017.4188 | 1206000.4866 | 2724019.7362 | 1205996.6096
13 | 2723997.8154 | 1206012.4219 | 2723978.2069 | 1206000.8694
14 | 2724016.6146 | 1206068.8218 | 2723995.7488 | 1206056.6459
15 | 2724019.7362 | 1205996.6096 | 2724017.526 | 1205995.3294 | 2724015.2868 | 1205994.0373
16 | 2723978.2069 | 1206000.8694 | 2723976.5539 | 1205999.8955
17 | 2724013.1279 | 1205992.7916 | 2724015.2868 | 1205994.0373
18 | 2723948.7395 | 1205908.1904 | 2723943.4656 | 1205917.0432 | 2723941.8025 | 1205919.8219 | 2723938.4588 | 1205925.1232 | 2723941.4291 | 1205926.8084 | 2723938.3338 | 1205932.088
19 | 2723938.3338 | 1205932.088 | 2723936.8305 | 1205934.6522 | 2723936.8436 | 1205936.5715
20 | 2723864.8195 | 1205989.911 | 2723872.4929 | 1205992.6389 | 2723880.8024 | 1205995.9373
21 | 2723967.8293 | 1206040.3538 | 2723995.7488 | 1206056.6459
22 | 2723941.8128 | 1205945.3304 | 2723936.8812 | 1205942.1033 | 2723936.8436 | 1205936.5715
23 | 2723896.7911 | 1206002.2837 | 2723880.8024 | 1205995.9373
24 | 2723953.1204 | 1206065.3674 | 2723968.8942 | 1206074.5415
25 | 2723953.1204 | 1206065.3674 | 2723947.1112 | 1206064.5754 | 2723944.1506 | 1206069.7512
26 | 2723953.1204 | 1206065.3674 | 2723958.0237 | 1206057.0289
27 | 2723967.8293 | 1206040.3538 | 2723958.0237 | 1206057.0289
28 | 2723967.8293 | 1206040.3538 | 2723927.3765 | 1206017.693
29 | 2723896.7911 | 1206002.2837 | 2723903.7981 | 1206005.5872
30 | 2723903.7981 | 1206005.5872 | 2723904.5777 | 1206005.954
31 | 2723904.5777 | 1206005.954 | 2723916.0871 | 1206011.3688 | 2723927.3765 | 1206017.693

## bus_geodata
| x | y | coords
0 | 2723950.8841 | 1205885.058
1 | 2723942.5222 | 1205883.2985
2 | 2723974.6498 | 1205890.059
3 | 2723925.7515 | 1205879.7694
4 | 2723965.9498 | 1205904.6893
5 | 2723882.2959 | 1205938.9682
6 | 2723960.0647 | 1205914.5859
7 | 2724031.2191 | 1206045.552
8 | 2723996.0865 | 1206037.7719
9 | 2723997.8154 | 1206012.4219
10 | 2724016.6146 | 1206068.8218
11 | 2724019.7362 | 1205996.6096
12 | 2723978.2069 | 1206000.8694
13 | 2724015.2868 | 1205994.0373
14 | 2723948.7395 | 1205908.1904
15 | 2723938.3338 | 1205932.088
16 | 2723939.791 | 1205964.2806
17 | 2723864.8195 | 1205989.911
18 | 2723995.7488 | 1206056.6459
19 | 2723976.5539 | 1205999.8955
20 | 2724013.1279 | 1205992.7916
21 | 2723936.8436 | 1205936.5715
22 | 2723880.8024 | 1205995.9373
23 | 2723968.8942 | 1206074.5415
24 | 2723953.1204 | 1206065.3674
25 | 2723967.8293 | 1206040.3538
26 | 2723896.7911 | 1206002.2837
27 | 2723903.7981 | 1206005.5872
28 | 2723904.5777 | 1206005.954
29 | 2723927.3765 | 1206017.693
30 | 2723958.0237 | 1206057.0289
31 | 2723944.1506 | 1206069.7512
32 | 2723941.8128 | 1205945.3304
33 | 2723882.2959 | 1205938.9682

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98261 | -0.12124 | 0.0076194 | 0.0019096
1 | 0.98322 | -0.11687 | 0.004912 | 0.0012311
2 | 0.98112 | -0.13176 | 0 | 0
3 | 0.98458 | -0.10726 | 0 | 0
4 | 0.98009 | -0.13915 | 0.0071091 | 0.0017817
5 | 0.99119 | -0.060812 | 0 | 0
6 | 0.9795 | -0.14331 | 0 | 0
7 | 0.97351 | -0.18586 | 0 | 0
8 | 0.97291 | -0.19018 | 0.010461 | 0.0026217
9 | 0.9714 | -0.20106 | 0 | 0
10 | 0.97463 | -0.17786 | 0 | 0
11 | 0.97054 | -0.2072 | 0 | 0
12 | 0.97084 | -0.20503 | 0.0084287 | 0.0021124
13 | 0.97033 | -0.20875 | 0.0024057 | 0.00060293
14 | 0.97884 | -0.14801 | 0 | 0
15 | 0.97736 | -0.15864 | 0.0050302 | 0.0012607
16 | 1 | 0 | -0.19643 | -0.049601
17 | 0.98575 | -0.09892 | 0 | 0
18 | 0.97561 | -0.17082 | 0.0063222 | 0.0015845
19 | 0.97082 | -0.2052 | 0.0080571 | 0.0020193
20 | 0.97023 | -0.20944 | 0.02608 | 0.0065364
21 | 0.97715 | -0.16016 | 0.015484 | 0.0038806
22 | 0.98404 | -0.11096 | 0.025626 | 0.0064225
23 | 0.97591 | -0.16871 | 0.008206 | 0.0020566
24 | 0.97613 | -0.16714 | 0 | 0
25 | 0.97707 | -0.16037 | 0 | 0
26 | 0.98264 | -0.12084 | 0 | 0
27 | 0.98201 | -0.12529 | 0 | 0
28 | 0.98194 | -0.12579 | 0.0074442 | 0.0018657
29 | 0.97999 | -0.13961 | 0.01798 | 0.0045062
30 | 0.97639 | -0.16524 | 0.0053953 | 0.0013522
31 | 0.97595 | -0.16846 | 0.01049 | 0.002629
32 | 0.97691 | -0.16186 | 0.014216 | 0.0035628
33 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.049666 | -0.012474 | 0.049696 | 0.012485 | 3.017e-05 | 1.1496e-05 | 0.075222 | 0.075222 | 0.075222 | 0.98261 | -0.12124 | 0.98322 | -0.11687 | 27.8599
1 | 0.042047 | 0.010564 | -0.041985 | -0.010541 | 6.146e-05 | 2.3331e-05 | 0.063683 | 0.063683 | 0.063683 | 0.98261 | -0.12124 | 0.98112 | -0.13176 | 23.5864
2 | -0.054608 | -0.013717 | 0.054681 | 0.013744 | 7.3061e-05 | 2.7883e-05 | 0.082655 | 0.082655 | 0.082655 | 0.98322 | -0.11687 | 0.98458 | -0.10726 | 30.6131
3 | 0.041985 | 0.010541 | -0.041942 | -0.010525 | 4.3076e-05 | 1.6353e-05 | 0.063683 | 0.063683 | 0.063683 | 0.98112 | -0.13176 | 0.98009 | -0.13915 | 23.5864
4 | -0.054681 | -0.013744 | 0.055037 | 0.01388 | 0.00035603 | 0.00013587 | 0.082655 | 0.082655 | 0.082655 | 0.98458 | -0.10726 | 0.99119 | -0.060812 | 30.6131
5 | 0.034833 | 0.008743 | -0.034813 | -0.0087354 | 2.0099e-05 | 7.5853e-06 | 0.05289 | 0.05289 | 0.05289 | 0.98009 | -0.13915 | 0.9795 | -0.14331 | 19.5889
6 | -0.19396 | -0.04896 | 0.19563 | 0.049601 | 0.0016712 | 0.00064111 | 0.29131 | 0.29131 | 0.29131 | 0.99119 | -0.060812 | 1 | 0 | 53.9462
7 | 0.13893 | 0.03508 | -0.13819 | -0.034796 | 0.00073996 | 0.00028321 | 0.20865 | 0.20865 | 0.20865 | 0.99119 | -0.060812 | 0.98575 | -0.09892 | 38.6398
8 | 0.034813 | 0.0087354 | -0.03479 | -0.0087268 | 2.2683e-05 | 8.5609e-06 | 0.05289 | 0.05289 | 0.05289 | 0.9795 | -0.14331 | 0.97884 | -0.14801 | 19.5889
9 | 0.010467 | 0.0026236 | -0.010461 | -0.0026217 | 6.2464e-06 | 1.9165e-06 | 0.015999 | 0.015999 | 0.015999 | 0.97351 | -0.18586 | 0.97291 | -0.19018 | 5.9255
10 | 0.045109 | 0.011321 | -0.045014 | -0.011286 | 9.4981e-05 | 3.4943e-05 | 0.068955 | 0.068956 | 0.068956 | 0.97351 | -0.18586 | 0.9714 | -0.20106 | 12.7695
11 | -0.055576 | -0.013944 | 0.055638 | 0.013967 | 6.1824e-05 | 2.3095e-05 | 0.084954 | 0.084954 | 0.084954 | 0.97351 | -0.18586 | 0.97463 | -0.17786 | 15.7322
12 | 0.028519 | 0.0071508 | -0.028495 | -0.0071425 | 2.4228e-05 | 8.312e-06 | 0.043687 | 0.043688 | 0.043688 | 0.9714 | -0.20106 | 0.97054 | -0.2072 | 8.0903
13 | 0.016495 | 0.004135 | -0.016486 | -0.0041318 | 9.0673e-06 | 3.2058e-06 | 0.025268 | 0.025268 | 0.025268 | 0.9714 | -0.20106 | 0.97084 | -0.20503 | 9.3586
14 | -0.055638 | -0.013967 | 0.055692 | 0.013988 | 5.4399e-05 | 2.032e-05 | 0.084954 | 0.084953 | 0.084954 | 0.97463 | -0.17786 | 0.97561 | -0.17082 | 15.7321
15 | 0.028495 | 0.0071425 | -0.028489 | -0.0071402 | 6.121e-06 | 2.2907e-06 | 0.043688 | 0.043688 | 0.043688 | 0.97054 | -0.2072 | 0.97033 | -0.20875 | 16.1807
16 | 0.0080573 | 0.0020193 | -0.0080571 | -0.0020193 | 1.8258e-07 | 4.65e-08 | 0.012349 | 0.012349 | 0.012349 | 0.97084 | -0.20503 | 0.97082 | -0.2052 | 4.5739
17 | 0.026083 | 0.0065373 | -0.02608 | -0.0065364 | 2.4883e-06 | 9.2626e-07 | 0.039999 | 0.039999 | 0.039999 | 0.97033 | -0.20875 | 0.97023 | -0.20944 | 14.8143
18 | 0.03479 | 0.0087268 | -0.034739 | -0.0087075 | 5.1225e-05 | 1.9334e-05 | 0.05289 | 0.05289 | 0.05289 | 0.97884 | -0.14801 | 0.97736 | -0.15864 | 19.589
19 | 0.029709 | 0.0074468 | -0.029703 | -0.0074445 | 6.245e-06 | 2.3406e-06 | 0.045232 | 0.045232 | 0.045232 | 0.97736 | -0.15864 | 0.97715 | -0.16016 | 16.7525
20 | 0.13819 | 0.034796 | -0.13795 | -0.034708 | 0.00023206 | 8.8819e-05 | 0.20865 | 0.20865 | 0.20865 | 0.98575 | -0.09892 | 0.98404 | -0.11096 | 38.6398
21 | -0.062014 | -0.015572 | 0.062105 | 0.015606 | 9.0249e-05 | 3.3903e-05 | 0.094596 | 0.094596 | 0.094596 | 0.97561 | -0.17082 | 0.97707 | -0.16037 | 17.5178
22 | 0.014219 | 0.0035639 | -0.014216 | -0.0035628 | 3.3427e-06 | 1.1426e-06 | 0.021653 | 0.021653 | 0.021653 | 0.97715 | -0.16016 | 0.97691 | -0.16186 | 8.0197
23 | 0.11233 | 0.028285 | -0.11217 | -0.028226 | 0.00015493 | 5.9154e-05 | 0.1699 | 0.1699 | 0.1699 | 0.98404 | -0.11096 | 0.98264 | -0.12084 | 31.4638
24 | -0.008206 | -0.0020566 | 0.0082078 | 0.0020571 | 1.7826e-06 | 4.5755e-07 | 0.012512 | 0.012512 | 0.012512 | 0.97591 | -0.16871 | 0.97613 | -0.16714 | 4.6341
25 | 0.010492 | 0.0026296 | -0.01049 | -0.002629 | 1.9161e-06 | 5.8692e-07 | 0.015994 | 0.015994 | 0.015994 | 0.97613 | -0.16714 | 0.97595 | -0.16846 | 5.9236
26 | -0.0187 | -0.0046867 | 0.018704 | 0.0046884 | 4.9048e-06 | 1.7655e-06 | 0.028506 | 0.028506 | 0.028506 | 0.97613 | -0.16714 | 0.97639 | -0.16524 | 10.5577
27 | 0.024116 | 0.0060466 | -0.0241 | -0.0060406 | 1.6283e-05 | 6.0206e-06 | 0.036728 | 0.036728 | 0.036728 | 0.97707 | -0.16037 | 0.97639 | -0.16524 | 13.603
28 | -0.086221 | -0.021653 | 0.08647 | 0.021748 | 0.00024949 | 9.4793e-05 | 0.13132 | 0.13132 | 0.13132 | 0.97707 | -0.16037 | 0.97999 | -0.13961 | 24.3192
29 | 0.11217 | 0.028226 | -0.1121 | -0.028199 | 6.9604e-05 | 2.6575e-05 | 0.1699 | 0.1699 | 0.1699 | 0.98264 | -0.12084 | 0.98201 | -0.12529 | 31.4638
30 | 0.1121 | 0.028199 | -0.1121 | -0.028196 | 7.7597e-06 | 2.9627e-06 | 0.1699 | 0.1699 | 0.1699 | 0.98201 | -0.12529 | 0.98194 | -0.12579 | 31.4638
31 | 0.10465 | 0.026331 | -0.10445 | -0.026254 | 0.00020144 | 7.6828e-05 | 0.15862 | 0.15862 | 0.15862 | 0.98194 | -0.12579 | 0.97999 | -0.13961 | 29.3748

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21706 | 0.054771

## res_load
| p_mw | q_mvar
0 | 0.0076194 | 0.0019096
1 | 0.004912 | 0.0012311
2 | 0.0071091 | 0.0017817
3 | 0.010461 | 0.0026217
4 | 0.0084287 | 0.0021124
5 | 0.0024057 | 0.00060293
6 | 0.0050302 | 0.0012607
7 | 0.02063 | 0.0051704
8 | 0.0063222 | 0.0015845
9 | 0.0080571 | 0.0020193
10 | 0.02608 | 0.0065364
11 | 0.015484 | 0.0038806
12 | 0.025626 | 0.0064225
13 | 0.008206 | 0.0020566
14 | 0.0074442 | 0.0018657
15 | 0.01798 | 0.0045062
16 | 0.0053953 | 0.0013522
17 | 0.01049 | 0.002629
18 | 0.014216 | 0.0035628

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1