## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-187_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-187_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-187_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-187_0_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1631-187_0_2_node_33 | 0.4 | n |  | TRUE
5 | bus_LV_1631-187_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1631-187_0_2_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_1631-187_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1631-187_0_2_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_1631-187_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1631-187_0_2_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1631-187_0_2_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_1631-187_0_2_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1631-187_0_2_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_1631-187_0_2_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1631-187_0_2_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_1631-187_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1631-187_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1631-187_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1631-187_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1631-187_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1631-187_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1631-187_0_2_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_1631-187_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1631-187_0_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1631-187_0_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1631-187_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1631-187_0_2_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1631-187_0_2_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1631-187_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1631-187_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1631-187_0_2_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1631-187_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1631-187_0_2_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1631-187_0_2_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1631-187_0_2_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1631-187_0_2_node_37 | 0.4 | n |  | TRUE
37 | bus_MV_145_0_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-187_0_2_load_0 | 0 | 0.015568 | 0.0039017 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-187_0_2_load_33 | 4 | 0.0033398 | 0.00083703 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-187_0_2_load_34 | 6 | 0.01091 | 0.0027343 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-187_0_2_load_36 | 8 | 0.0037611 | 0.00094263 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-187_0_2_load_5 | 10 | 0.022917 | 0.0057434 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-187_0_2_load_35 | 11 | 0.0048771 | 0.0012223 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-187_0_2_load_6 | 12 | 0.019595 | 0.0049111 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-187_0_2_load_32 | 13 | 0.0068245 | 0.0017104 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-187_0_2_load_31 | 14 | 0.0056514 | 0.0014164 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-187_0_2_load_30 | 15 | 0.0038618 | 0.00096786 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-187_0_2_load_9 | 16 | 0.015932 | 0.0039929 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-187_0_2_load_10 | 17 | 0.0043579 | 0.0010922 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-187_0_2_load_12 | 19 | 0.0066985 | 0.0016788 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-187_0_2_load_13 | 20 | 0.0094254 | 0.0023622 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-187_0_2_load_15 | 21 | 0.0040538 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-187_0_2_load_38 | 22 | 0.015267 | 0.0038264 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-187_0_2_load_27 | 24 | 0.0044985 | 0.0011274 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-187_0_2_load_28 | 25 | 0.0050966 | 0.0012773 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-187_0_2_load_20 | 26 | 0.0039101 | 0.00097997 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-187_0_2_load_18 | 27 | 0.0044503 | 0.0011153 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-187_0_2_load_17 | 28 | 0.0049134 | 0.0012314 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-187_0_2_load_19 | 29 | 0.0035602 | 0.00089226 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-187_0_2_load_21 | 30 | 0.0042554 | 0.0010665 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-187_0_2_load_26 | 31 | 0.0042987 | 0.0010774 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-187_0_2_load_24 | 32 | 0.0031432 | 0.00078776 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-187_0_2_load_22 | 33 | 0.001851 | 0.00046391 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-187_0_2_load_23 | 34 | 0.0042581 | 0.0010672 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-187_0_2_load_25 | 35 | 0.0042451 | 0.0010639 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-187_0_2_load_37 | 36 | 0.0062958 | 0.0015779 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-187_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.055836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-187_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.11349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-187_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.016474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-187_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.041618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-187_0_2_line_4 | NAYY 4x150 SE | 3 | 9 | 0.003461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-187_0_2_line_5 | NAYY 4x150 SE | 3 | 10 | 0.016955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-187_0_2_line_6 | NAYY 4x150 SE | 4 | 5 | 0.019505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-187_0_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.018635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-187_0_2_line_8 | NAYY 4x150 SE | 5 | 7 | 0.10201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-187_0_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.069353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-187_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.010049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-187_0_2_line_11 | NAYY 4x150 SE | 9 | 13 | 0.021544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-187_0_2_line_12 | NAYY 4x150 SE | 9 | 14 | 0.017252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-187_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.022485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-187_0_2_line_14 | NAYY 4x150 SE | 11 | 36 | 0.011043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-187_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.008508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-187_0_2_line_16 | NAYY 4x150 SE | 15 | 23 | 0.0084265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-187_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.015318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-187_0_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.020427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-187_0_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0064136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-187_0_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.019664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-187_0_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.012048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-187_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.025248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-187_0_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0094149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-187_0_2_line_24 | NAYY 4x150 SE | 23 | 26 | 0.012449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-187_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.00070165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-187_0_2_line_26 | NAYY 4x150 SE | 25 | 35 | 0.0023732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-187_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.0067046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-187_0_2_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0068615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-187_0_2_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0027966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-187_0_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0048926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-187_0_2_line_31 | NAYY 4x150 SE | 30 | 31 | 0.0066443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-187_0_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.004676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-187_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.0029977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-187_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0087891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-187_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.006627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-187_0_2_trafo_30 | 0.25 MVA 20/0.4 kV | 37 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2724024.9436 | 1206191.1545 | 2724037.6502 | 1206226.2229 | 2724040.3771 | 1206238.5111 | 2724040.4055 | 1206244.4607
1 | 2724024.9436 | 1206191.1545 | 2724016.4965 | 1206167.8391 | 2724023.4417 | 1206167.5165 | 2724027.7146 | 1206168.0167 | 2724028.6645 | 1206168.8037 | 2724031.5842 | 1206173.2789 | 2724034.7659 | 1206174.6682 | 2724048.3829 | 1206176.1967 | 2724056.3045 | 1206176.8507 | 2724074.7952 | 1206192.7915 | 2724079.6923 | 1206200.2211 | 2724083.285 | 1206207.8238 | 2724087.3016 | 1206207.8406
2 | 2724087.3016 | 1206207.8406 | 2724093.274 | 1206223.1987
3 | 2724087.3016 | 1206207.8406 | 2724128.8789 | 1206209.684
4 | 2724094.523 | 1206226.4271 | 2724093.274 | 1206223.1987
5 | 2724093.274 | 1206223.1987 | 2724076.898 | 1206227.5901
6 | 2724128.1517 | 1206192.3446 | 2724129.1351 | 1206196.635 | 2724129.0913 | 1206197.646 | 2724129.2961 | 1206198.7733 | 2724130.0074 | 1206200.0557 | 2724131.4321 | 1206201.4197 | 2724131.7907 | 1206206.8535 | 2724128.8789 | 1206209.684
7 | 2724128.1517 | 1206192.3446 | 2724136.8767 | 1206190.5802 | 2724144.4332 | 1206196.715
8 | 2724128.1517 | 1206192.3446 | 2724116.3859 | 1206194.7241 | 2724115.9123 | 1206194.0804 | 2724111.0758 | 1206170.2061 | 2724125.4646 | 1206167.9146 | 2724139.7109 | 1206166.9879 | 2724164.097 | 1206167.2396 | 2724167.6198 | 1206166.857 | 2724175.6487 | 1206166.0122
9 | 2724175.6487 | 1206166.0122 | 2724183.5385 | 1206176.5955 | 2724193.5643 | 1206187.6346 | 2724203.9194 | 1206204.7853 | 2724204.3217 | 1206207.7515 | 2724189.2637 | 1206217.9953
10 | 2724180.9548 | 1206223.6477 | 2724189.2637 | 1206217.9953
11 | 2724094.523 | 1206226.4271 | 2724078.2386 | 1206230.981 | 2724074.3275 | 1206233.5683
12 | 2724094.523 | 1206226.4271 | 2724096.9722 | 1206232.6716 | 2724100.0153 | 1206238.5282 | 2724102.1831 | 1206241.8239
13 | 2724076.898 | 1206227.5901 | 2724071.3397 | 1206229.0806 | 2724054.6291 | 1206229.8914
14 | 2724171.8244 | 1206229.859 | 2724180.9548 | 1206223.6477
15 | 2724102.1831 | 1206241.8239 | 2724104.0197 | 1206244.6161 | 2724107.3631 | 1206248.5542
16 | 2724113.3006 | 1206254.5276 | 2724108.104 | 1206249.4268 | 2724107.3631 | 1206248.5542
17 | 2724092.1986 | 1206291.5774 | 2724098.5446 | 1206282.1642 | 2724099.4533 | 1206278.3044
18 | 2724080.78 | 1206308.515 | 2724092.1986 | 1206291.5774
19 | 2724100.923 | 1206272.0615 | 2724099.4533 | 1206278.3044
20 | 2724080.78 | 1206308.515 | 2724076.1118 | 1206302.5134 | 2724066.6705 | 1206295.0093
21 | 2724107.871 | 1206262.2192 | 2724100.923 | 1206272.0615 | 2724100.923 | 1206272.0615
22 | 2724057.7197 | 1206277.8236 | 2724053.0831 | 1206284.2099 | 2724066.6705 | 1206295.0093
23 | 2724113.3006 | 1206254.5276 | 2724107.871 | 1206262.2192
24 | 2724113.3006 | 1206254.5276 | 2724123.5675 | 1206261.568
25 | 2724167.5765 | 1206291.7468 | 2724168.1552 | 1206292.1436
26 | 2724165.6193 | 1206290.4046 | 2724167.5765 | 1206291.7468
27 | 2724123.5675 | 1206261.568 | 2724129.0969 | 1206265.3598
28 | 2724129.0969 | 1206265.3598 | 2724134.7557 | 1206269.2402
29 | 2724137.0621 | 1206270.8218 | 2724134.7557 | 1206269.2402
30 | 2724141.0971 | 1206273.5888 | 2724137.0621 | 1206270.8218
31 | 2724141.0971 | 1206273.5888 | 2724146.5767 | 1206277.3464
32 | 2724146.5767 | 1206277.3464 | 2724150.4331 | 1206279.9909
33 | 2724150.4331 | 1206279.9909 | 2724152.9054 | 1206281.6862
34 | 2724160.1539 | 1206286.6568 | 2724152.9054 | 1206281.6862
35 | 2724160.1539 | 1206286.6568 | 2724165.6193 | 1206290.4046

## bus_geodata
| x | y | coords
0 | 2724040.4055 | 1206244.4607
1 | 2724024.9436 | 1206191.1545
2 | 2724087.3016 | 1206207.8406
3 | 2724093.274 | 1206223.1987
4 | 2724128.8789 | 1206209.684
5 | 2724128.1517 | 1206192.3446
6 | 2724144.4332 | 1206196.715
7 | 2724175.6487 | 1206166.0122
8 | 2724189.2637 | 1206217.9953
9 | 2724094.523 | 1206226.4271
10 | 2724076.898 | 1206227.5901
11 | 2724180.9548 | 1206223.6477
12 | 2724054.6291 | 1206229.8914
13 | 2724074.3275 | 1206233.5683
14 | 2724102.1831 | 1206241.8239
15 | 2724107.3631 | 1206248.5542
16 | 2724092.1986 | 1206291.5774
17 | 2724099.4533 | 1206278.3044
18 | 2724080.78 | 1206308.515
19 | 2724100.923 | 1206272.0615
20 | 2724066.6705 | 1206295.0093
21 | 2724107.871 | 1206262.2192
22 | 2724057.7197 | 1206277.8236
23 | 2724113.3006 | 1206254.5276
24 | 2724168.1552 | 1206292.1436
25 | 2724167.5765 | 1206291.7468
26 | 2724123.5675 | 1206261.568
27 | 2724129.0969 | 1206265.3598
28 | 2724134.7557 | 1206269.2402
29 | 2724137.0621 | 1206270.8218
30 | 2724141.0971 | 1206273.5888
31 | 2724146.5767 | 1206277.3464
32 | 2724150.4331 | 1206279.9909
33 | 2724152.9054 | 1206281.6862
34 | 2724160.1539 | 1206286.6568
35 | 2724165.6193 | 1206290.4046
36 | 2724171.8244 | 1206229.859
37 | 2724113.3006 | 1206254.5276

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99117 | -0.061934 | 0.015568 | 0.0039017
1 | 0.99242 | -0.053112 | 0 | 0
2 | 0.99496 | -0.035242 | 0 | 0
3 | 0.99602 | -0.02781 | 0 | 0
4 | 0.99321 | -0.047518 | 0.0033398 | 0.00083703
5 | 0.99248 | -0.052626 | 0 | 0
6 | 0.99219 | -0.054687 | 0.01091 | 0.0027343
7 | 0.99029 | -0.06811 | 0 | 0
8 | 0.98879 | -0.07867 | 0.0037611 | 0.00094263
9 | 0.99645 | -0.024771 | 0 | 0
10 | 0.99499 | -0.035069 | 0.022917 | 0.0057434
11 | 0.98863 | -0.079817 | 0.0048771 | 0.0012223
12 | 0.99435 | -0.039514 | 0.019595 | 0.0049111
13 | 0.99624 | -0.026249 | 0.0068245 | 0.0017104
14 | 0.99878 | -0.0084839 | 0.0056514 | 0.0014164
15 | 1 | 0 | -0.20583 | -0.051519
16 | 0.9958 | -0.029434 | 0.015932 | 0.0039929
17 | 0.99669 | -0.023176 | 0.0043579 | 0.0010922
18 | 0.99507 | -0.034516 | 0 | 0
19 | 0.9971 | -0.020278 | 0.0066985 | 0.0016788
20 | 0.99438 | -0.039414 | 0.0094254 | 0.0023622
21 | 0.99799 | -0.014032 | 0.0040538 | 0.001016
22 | 0.99382 | -0.043307 | 0.015267 | 0.0038264
23 | 0.99874 | -0.0087769 | 0 | 0
24 | 0.9958 | -0.029425 | 0.0044985 | 0.0011274
25 | 0.9958 | -0.029394 | 0.0050966 | 0.0012773
26 | 0.99788 | -0.014821 | 0.0039101 | 0.00097997
27 | 0.99745 | -0.017818 | 0.0044503 | 0.0011153
28 | 0.99706 | -0.020581 | 0.0049134 | 0.0012314
29 | 0.99692 | -0.02157 | 0.0035602 | 0.00089226
30 | 0.9967 | -0.023125 | 0.0042554 | 0.0010665
31 | 0.99644 | -0.024954 | 0.0042987 | 0.0010774
32 | 0.99628 | -0.02604 | 0.0031432 | 0.00078776
33 | 0.9962 | -0.026641 | 0.001851 | 0.00046391
34 | 0.99597 | -0.028241 | 0.0042581 | 0.0010672
35 | 0.99584 | -0.029164 | 0.0042451 | 0.0010639
36 | 0.98853 | -0.080527 | 0.0062958 | 0.0015779
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015568 | -0.0039017 | 0.015587 | 0.0039083 | 1.9032e-05 | 6.5996e-06 | 0.023372 | 0.023372 | 0.023372 | 0.99117 | -0.061934 | 0.99242 | -0.053112 | 8.6563
1 | -0.015587 | -0.0039083 | 0.015626 | 0.0039218 | 3.8683e-05 | 1.3408e-05 | 0.023372 | 0.023371 | 0.023372 | 0.99242 | -0.053112 | 0.99496 | -0.035242 | 8.6562
2 | -0.044937 | -0.011282 | 0.044984 | 0.011299 | 4.644e-05 | 1.7647e-05 | 0.067213 | 0.067213 | 0.067213 | 0.99496 | -0.035242 | 0.99602 | -0.02781 | 24.8938
3 | 0.029312 | 0.0073598 | -0.029262 | -0.0073411 | 4.9917e-05 | 1.8659e-05 | 0.043842 | 0.043842 | 0.043842 | 0.99496 | -0.035242 | 0.99321 | -0.047518 | 16.2378
4 | -0.087551 | -0.021974 | 0.087588 | 0.021988 | 3.6954e-05 | 1.4168e-05 | 0.13081 | 0.13081 | 0.13081 | 0.99602 | -0.02781 | 0.99645 | -0.024771 | 48.4477
5 | 0.042567 | 0.010675 | -0.042524 | -0.010659 | 4.2789e-05 | 1.6237e-05 | 0.063596 | 0.063596 | 0.063596 | 0.99602 | -0.02781 | 0.99499 | -0.035069 | 23.554
6 | 0.025922 | 0.0065041 | -0.025904 | -0.0064973 | 1.8359e-05 | 6.809e-06 | 0.038839 | 0.038839 | 0.038839 | 0.99321 | -0.047518 | 0.99248 | -0.052626 | 14.3847
7 | 0.010913 | 0.0027352 | -0.01091 | -0.0027343 | 3.113e-06 | 9.5655e-07 | 0.016362 | 0.016362 | 0.016362 | 0.99248 | -0.052626 | 0.99219 | -0.054687 | 6.06
8 | 0.01499 | 0.0037621 | -0.014958 | -0.003751 | 3.216e-05 | 1.1054e-05 | 0.022477 | 0.022477 | 0.022477 | 0.99248 | -0.052626 | 0.99029 | -0.06811 | 8.3249
9 | 0.014958 | 0.003751 | -0.014936 | -0.0037435 | 2.1865e-05 | 7.5185e-06 | 0.022477 | 0.022478 | 0.022478 | 0.99029 | -0.06811 | 0.98879 | -0.07867 | 8.325
10 | 0.011175 | 0.0028008 | -0.011174 | -0.0028003 | 1.7736e-06 | 5.5326e-07 | 0.016818 | 0.016818 | 0.016818 | 0.98879 | -0.07867 | 0.98863 | -0.079817 | 6.2287
11 | 0.0068259 | 0.0017106 | -0.0068245 | -0.0017104 | 1.3968e-06 | 2.5665e-07 | 0.010193 | 0.010193 | 0.010193 | 0.99645 | -0.024771 | 0.99624 | -0.026249 | 3.7753
12 | -0.094414 | -0.023699 | 0.094628 | 0.023781 | 0.00021404 | 8.2096e-05 | 0.141 | 0.141 | 0.141 | 0.99645 | -0.024771 | 0.99878 | -0.0084839 | 52.223
13 | 0.019607 | 0.0049154 | -0.019595 | -0.0049111 | 1.2065e-05 | 4.3484e-06 | 0.029324 | 0.029324 | 0.029324 | 0.99499 | -0.035069 | 0.99435 | -0.039514 | 10.8607
14 | 0.0062965 | 0.001578 | -0.0062958 | -0.0015779 | 6.1888e-07 | 9.6444e-08 | 0.0094769 | 0.009477 | 0.009477 | 0.98863 | -0.079817 | 0.98853 | -0.080527 | 3.51
15 | -0.10028 | -0.025198 | 0.1004 | 0.025243 | 0.00011853 | 4.5478e-05 | 0.14942 | 0.14942 | 0.14942 | 0.99878 | -0.0084839 | 1 | 0 | 55.3413
16 | 0.10463 | 0.026275 | -0.1045 | -0.026227 | 0.00012748 | 4.8921e-05 | 0.15571 | 0.15571 | 0.15571 | 1 | 0 | 0.99874 | -0.0087769 | 57.6696
17 | -0.040667 | -0.010197 | 0.040702 | 0.01021 | 3.5299e-05 | 1.3377e-05 | 0.06077 | 0.06077 | 0.06077 | 0.9958 | -0.029434 | 0.99669 | -0.023176 | 22.5075
18 | 0.024735 | 0.0062041 | -0.024718 | -0.0061976 | 1.7416e-05 | 6.4328e-06 | 0.036964 | 0.036964 | 0.036964 | 0.9958 | -0.029434 | 0.99507 | -0.034516 | 13.6902
19 | -0.04506 | -0.011303 | 0.045078 | 0.011309 | 1.8114e-05 | 6.8832e-06 | 0.067276 | 0.067276 | 0.067276 | 0.99669 | -0.023176 | 0.9971 | -0.020278 | 24.9172
20 | 0.024718 | 0.0061976 | -0.024701 | -0.0061914 | 1.6765e-05 | 6.1927e-06 | 0.036964 | 0.036964 | 0.036964 | 0.99507 | -0.034516 | 0.99438 | -0.039414 | 13.6903
21 | -0.051777 | -0.012988 | 0.051822 | 0.013005 | 4.4889e-05 | 1.7108e-05 | 0.077273 | 0.077273 | 0.077273 | 0.9971 | -0.020278 | 0.99799 | -0.014032 | 28.6196
22 | 0.015276 | 0.0038292 | -0.015267 | -0.0038264 | 8.2327e-06 | 2.8391e-06 | 0.022859 | 0.022859 | 0.022859 | 0.99438 | -0.039414 | 0.99382 | -0.043307 | 8.4664
23 | -0.055876 | -0.014021 | 0.055916 | 0.014037 | 4.0782e-05 | 1.5562e-05 | 0.083317 | 0.083317 | 0.083317 | 0.99799 | -0.014032 | 0.99874 | -0.0087769 | 30.8582
24 | 0.048585 | 0.01219 | -0.048544 | -0.012174 | 4.0708e-05 | 1.5494e-05 | 0.072391 | 0.072391 | 0.072391 | 0.99874 | -0.0087769 | 0.99788 | -0.014821 | 26.8115
25 | -0.0044985 | -0.0011274 | 0.0044985 | 0.0011274 | 1.9784e-08 | -1.5187e-09 | 0.0067221 | 0.0067221 | 0.0067221 | 0.9958 | -0.029425 | 0.9958 | -0.029394 | 2.4897
26 | -0.0095951 | -0.0024048 | 0.0095954 | 0.0024048 | 3.0443e-07 | 8.6214e-08 | 0.014338 | 0.014338 | 0.014338 | 0.9958 | -0.029394 | 0.99584 | -0.029164 | 5.3103
27 | 0.044634 | 0.011194 | -0.044616 | -0.011187 | 1.8535e-05 | 7.0412e-06 | 0.06656 | 0.06656 | 0.06656 | 0.99788 | -0.014821 | 0.99745 | -0.017818 | 24.652
28 | 0.040165 | 0.010072 | -0.04015 | -0.010066 | 1.5373e-05 | 5.8232e-06 | 0.059921 | 0.059921 | 0.059921 | 0.99745 | -0.017818 | 0.99706 | -0.020581 | 22.1931
29 | 0.035237 | 0.0088346 | -0.035232 | -0.0088328 | 4.8261e-06 | 1.8197e-06 | 0.052589 | 0.052589 | 0.052589 | 0.99706 | -0.020581 | 0.99692 | -0.02157 | 19.4773
30 | 0.031672 | 0.0079405 | -0.031665 | -0.007938 | 6.823e-06 | 2.5605e-06 | 0.047275 | 0.047275 | 0.047275 | 0.99692 | -0.02157 | 0.9967 | -0.023125 | 17.5091
31 | 0.027409 | 0.0068715 | -0.027402 | -0.0068689 | 6.9428e-06 | 2.5837e-06 | 0.040922 | 0.040922 | 0.040922 | 0.9967 | -0.023125 | 0.99644 | -0.024954 | 15.1561
32 | 0.023104 | 0.0057915 | -0.0231 | -0.0057902 | 3.4734e-06 | 1.275e-06 | 0.034502 | 0.034502 | 0.034502 | 0.99644 | -0.024954 | 0.99628 | -0.02604 | 12.7786
33 | 0.019957 | 0.0050025 | -0.019955 | -0.0050019 | 1.662e-06 | 6.0019e-07 | 0.029808 | 0.029808 | 0.029808 | 0.99628 | -0.02604 | 0.9962 | -0.026641 | 11.0399
34 | 0.018104 | 0.004538 | -0.0181 | -0.0045365 | 4.0108e-06 | 1.4282e-06 | 0.027043 | 0.027043 | 0.027043 | 0.9962 | -0.026641 | 0.99597 | -0.028241 | 10.0158
35 | 0.013842 | 0.0034694 | -0.013841 | -0.0034688 | 1.7687e-06 | 5.9403e-07 | 0.020681 | 0.020681 | 0.020681 | 0.99597 | -0.028241 | 0.99584 | -0.029164 | 7.6597

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20969 | 0.052486

## res_load
| p_mw | q_mvar
0 | 0.015568 | 0.0039017
1 | 0.0033398 | 0.00083703
2 | 0.01091 | 0.0027343
3 | 0.0037611 | 0.00094263
4 | 0.022917 | 0.0057434
5 | 0.0048771 | 0.0012223
6 | 0.019595 | 0.0049111
7 | 0.0068245 | 0.0017104
8 | 0.0056514 | 0.0014164
9 | 0.0038618 | 0.00096786
10 | 0.015932 | 0.0039929
11 | 0.0043579 | 0.0010922
12 | 0.0066985 | 0.0016788
13 | 0.0094254 | 0.0023622
14 | 0.0040538 | 0.001016
15 | 0.015267 | 0.0038264
16 | 0.0044985 | 0.0011274
17 | 0.0050966 | 0.0012773
18 | 0.0039101 | 0.00097997
19 | 0.0044503 | 0.0011153
20 | 0.0049134 | 0.0012314
21 | 0.0035602 | 0.00089226
22 | 0.0042554 | 0.0010665
23 | 0.0042987 | 0.0010774
24 | 0.0031432 | 0.00078776
25 | 0.001851 | 0.00046391
26 | 0.0042581 | 0.0010672
27 | 0.0042451 | 0.0010639
28 | 0.0062958 | 0.0015779

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1