## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-1_0_4_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_1631-1_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1631-1_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1631-1_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1631-1_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_1631-1_0_4_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_1631-1_0_4_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_1631-1_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_1631-1_0_4_node_56 | 0.4 | n |  | TRUE
12 | bus_LV_1631-1_0_4_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_1631-1_0_4_node_5 | 0.4 | n |  | TRUE
14 | bus_LV_1631-1_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1631-1_0_4_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_1631-1_0_4_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1631-1_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1631-1_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1631-1_0_4_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_1631-1_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_1631-1_0_4_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_1631-1_0_4_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_1631-1_0_4_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_1631-1_0_4_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_1631-1_0_4_node_81 | 0.4 | n |  | TRUE
26 | bus_LV_1631-1_0_4_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_1631-1_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1631-1_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_1631-1_0_4_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_1631-1_0_4_node_79 | 0.4 | n |  | TRUE
31 | bus_LV_1631-1_0_4_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_1631-1_0_4_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_1631-1_0_4_node_75 | 0.4 | n |  | TRUE
34 | bus_LV_1631-1_0_4_node_71 | 0.4 | n |  | TRUE
35 | bus_LV_1631-1_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1631-1_0_4_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_1631-1_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1631-1_0_4_node_74 | 0.4 | n |  | TRUE
39 | bus_LV_1631-1_0_4_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_1631-1_0_4_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_1631-1_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_1631-1_0_4_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_1631-1_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_1631-1_0_4_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_1631-1_0_4_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_1631-1_0_4_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_1631-1_0_4_node_78 | 0.4 | n |  | TRUE
48 | bus_LV_1631-1_0_4_node_48 | 0.4 | n |  | TRUE
49 | bus_LV_1631-1_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_1631-1_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_1631-1_0_4_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_1631-1_0_4_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_1631-1_0_4_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_1631-1_0_4_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_1631-1_0_4_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_1631-1_0_4_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_1631-1_0_4_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_1631-1_0_4_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_1631-1_0_4_node_39 | 0.4 | n |  | TRUE
60 | bus_LV_1631-1_0_4_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_1631-1_0_4_node_37 | 0.4 | n |  | TRUE
62 | bus_LV_1631-1_0_4_node_32 | 0.4 | n |  | TRUE
63 | bus_LV_1631-1_0_4_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_1631-1_0_4_node_34 | 0.4 | n |  | TRUE
65 | bus_LV_1631-1_0_4_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_1631-1_0_4_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_1631-1_0_4_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_1631-1_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_1631-1_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_1631-1_0_4_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_1631-1_0_4_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_1631-1_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_1631-1_0_4_node_59 | 0.4 | n |  | TRUE
74 | bus_LV_1631-1_0_4_node_51 | 0.4 | n |  | TRUE
75 | bus_LV_1631-1_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_1631-1_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_1631-1_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_1631-1_0_4_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_1631-1_0_4_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_1631-1_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_1631-1_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_MV_13_0_node_70 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-1_0_4_load_0 | 0 | 0.012066 | 0.0030239 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-1_0_4_load_13 | 5 | 0.0038876 | 0.00097433 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-1_0_4_load_63 | 9 | 0.0043018 | 0.0010781 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-1_0_4_load_55 | 12 | 0.0043481 | 0.0010897 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-1_0_4_load_62 | 15 | 0.011139 | 0.0027917 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-1_0_4_load_14 | 17 | 0.0054373 | 0.0013627 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-1_0_4_load_73 | 19 | 0.0015987 | 0.00040066 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-1_0_4_load_31 | 20 | 0.0033957 | 0.00085105 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-1_0_4_load_30 | 21 | 0.0028822 | 0.00072235 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-1_0_4_load_72 | 22 | 0.00066394 | 0.0001664 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-1_0_4_load_64 | 23 | 0.0043583 | 0.0010923 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-1_0_4_load_81 | 25 | 0.0055729 | 0.0013967 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-1_0_4_load_16 | 27 | 0.020464 | 0.0051288 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-1_0_4_load_52 | 31 | 0.0020446 | 0.00051242 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-1_0_4_load_75 | 33 | 0.0013849 | 0.0003471 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-1_0_4_load_71 | 34 | 0.0006899 | 0.0001729 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-1_0_4_load_38 | 35 | 0.0021152 | 0.00053012 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-1_0_4_load_65 | 36 | 0.0040951 | 0.0010263 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-1_0_4_load_41 | 37 | 0.0092437 | 0.0023167 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-1_0_4_load_74 | 38 | 0.0044992 | 0.0011276 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-1_0_4_load_17 | 39 | 0.0033394 | 0.00083694 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-1_0_4_load_18 | 40 | 0.0048335 | 0.0012114 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-1_0_4_load_20 | 42 | 0.0022722 | 0.00056947 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-1_0_4_load_21 | 43 | 0.01114 | 0.0027918 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-1_0_4_load_80 | 44 | 0.0046586 | 0.0011676 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-1_0_4_load_22 | 45 | 0.0015277 | 0.00038288 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-1_0_4_load_23 | 46 | 0.0016495 | 0.0004134 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-1_0_4_load_48 | 48 | 0.0036919 | 0.00092529 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-1_0_4_load_46 | 49 | 0.0025626 | 0.00064226 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-1_0_4_load_47 | 50 | 0.005744 | 0.0014396 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-1_0_4_load_24 | 51 | 0.0021429 | 0.00053706 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-1_0_4_load_25 | 52 | 0.018671 | 0.0046794 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-1_0_4_load_28 | 55 | 0.0026101 | 0.00065415 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-1_0_4_load_29 | 56 | 0.0012453 | 0.00031211 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-1_0_4_load_40 | 58 | 0.0025859 | 0.00064808 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-1_0_4_load_44 | 60 | 0.0027943 | 0.00070033 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-1_0_4_load_37 | 61 | 0.0012552 | 0.00031459 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-1_0_4_load_32 | 62 | 0.0014047 | 0.00035205 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1631-1_0_4_load_33 | 63 | 0.005877 | 0.0014729 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1631-1_0_4_load_35 | 65 | 0.0030008 | 0.00075207 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1631-1_0_4_load_36 | 66 | 0.0049844 | 0.0012492 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1631-1_0_4_load_42 | 67 | 0.0028107 | 0.00070442 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1631-1_0_4_load_57 | 69 | 0.008704 | 0.0021814 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1631-1_0_4_load_58 | 71 | 0.004881 | 0.0012233 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1631-1_0_4_load_66 | 72 | 0.0086312 | 0.0021632 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1631-1_0_4_load_51 | 74 | 0.005717 | 0.0014328 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1631-1_0_4_load_60 | 75 | 0.0066483 | 0.0016662 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1631-1_0_4_load_67 | 76 | 0.00084048 | 0.00021064 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1631-1_0_4_load_68 | 77 | 0.0010151 | 0.0002544 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1631-1_0_4_load_70 | 79 | 0.00078383 | 0.00019645 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1631-1_0_4_load_77 | 81 | 0.0012663 | 0.00031738 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-1_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-1_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0047825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-1_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.092922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-1_0_4_line_3 | NAYY 4x150 SE | 1 | 4 | 0.27781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-1_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.031258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-1_0_4_line_5 | NAYY 4x150 SE | 3 | 16 | 0.010116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-1_0_4_line_6 | NAYY 4x150 SE | 3 | 17 | 0.031986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-1_0_4_line_7 | NAYY 4x150 SE | 4 | 22 | 0.044144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-1_0_4_line_8 | NAYY 4x150 SE | 6 | 7 | 0.10648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-1_0_4_line_9 | NAYY 4x150 SE | 6 | 8 | 0.12173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1631-1_0_4_line_10 | NAYY 4x150 SE | 6 | 9 | 0.035764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_1631-1_0_4_line_11 | NAYY 4x150 SE | 7 | 23 | 0.1851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-1_0_4_line_12 | NAYY 4x150 SE | 8 | 27 | 0.014285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-1_0_4_line_13 | NAYY 4x150 SE | 8 | 17 | 0.0095211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-1_0_4_line_14 | NAYY 4x150 SE | 9 | 13 | 0.00871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_1631-1_0_4_line_15 | NAYY 4x150 SE | 10 | 11 | 0.006248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-1_0_4_line_16 | NAYY 4x150 SE | 10 | 12 | 0.023136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-1_0_4_line_17 | NAYY 4x150 SE | 11 | 15 | 0.02362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_1631-1_0_4_line_18 | NAYY 4x150 SE | 11 | 28 | 0.021786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_1631-1_0_4_line_19 | NAYY 4x150 SE | 12 | 32 | 0.014906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-1_0_4_line_20 | NAYY 4x150 SE | 13 | 14 | 0.26292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_1631-1_0_4_line_21 | NAYY 4x150 SE | 13 | 15 | 0.020117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_1631-1_0_4_line_22 | NAYY 4x150 SE | 14 | 20 | 0.062334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_1631-1_0_4_line_23 | NAYY 4x150 SE | 14 | 21 | 0.031278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-1_0_4_line_24 | NAYY 4x150 SE | 16 | 18 | 0.45643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-1_0_4_line_25 | NAYY 4x150 SE | 16 | 19 | 0.068901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-1_0_4_line_26 | NAYY 4x150 SE | 18 | 33 | 0.51363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-1_0_4_line_27 | NAYY 4x150 SE | 19 | 34 | 0.006227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-1_0_4_line_28 | NAYY 4x150 SE | 20 | 35 | 0.020262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_1631-1_0_4_line_29 | NAYY 4x150 SE | 23 | 36 | 0.015866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-1_0_4_line_30 | NAYY 4x150 SE | 24 | 25 | 0.034417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-1_0_4_line_31 | NAYY 4x150 SE | 24 | 26 | 0.024909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-1_0_4_line_32 | NAYY 4x150 SE | 26 | 37 | 0.016121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-1_0_4_line_33 | NAYY 4x150 SE | 28 | 69 | 0.025028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_1631-1_0_4_line_34 | NAYY 4x150 SE | 28 | 50 | 0.055593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_1631-1_0_4_line_35 | NAYY 4x150 SE | 29 | 30 | 0.027001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-1_0_4_line_36 | NAYY 4x150 SE | 29 | 31 | 0.015927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-1_0_4_line_37 | NAYY 4x150 SE | 30 | 44 | 0.024643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-1_0_4_line_38 | NAYY 4x150 SE | 31 | 74 | 0.0084033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-1_0_4_line_39 | NAYY 4x150 SE | 32 | 74 | 0.0010824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-1_0_4_line_40 | NAYY 4x150 SE | 33 | 38 | 0.0019661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-1_0_4_line_41 | NAYY 4x150 SE | 34 | 78 | 0.021637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-1_0_4_line_42 | NAYY 4x150 SE | 35 | 59 | 0.0050862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_1631-1_0_4_line_43 | NAYY 4x150 SE | 37 | 67 | 0.038263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-1_0_4_line_44 | NAYY 4x150 SE | 38 | 80 | 0.035135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-1_0_4_line_45 | NAYY 4x150 SE | 39 | 40 | 0.051784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-1_0_4_line_46 | NAYY 4x150 SE | 39 | 41 | 0.022636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-1_0_4_line_47 | NAYY 4x150 SE | 40 | 42 | 0.029456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-1_0_4_line_48 | NAYY 4x150 SE | 41 | 43 | 0.024293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-1_0_4_line_49 | NAYY 4x150 SE | 42 | 45 | 0.016579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-1_0_4_line_50 | NAYY 4x150 SE | 45 | 46 | 0.27873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1631-1_0_4_line_51 | NAYY 4x150 SE | 46 | 47 | 0.044857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1631-1_0_4_line_52 | NAYY 4x150 SE | 47 | 48 | 0.83476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_1631-1_0_4_line_53 | NAYY 4x150 SE | 48 | 68 | 0.028428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1631-1_0_4_line_54 | NAYY 4x150 SE | 48 | 49 | 0.062444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_1631-1_0_4_line_55 | NAYY 4x150 SE | 49 | 50 | 0.0062132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_1631-1_0_4_line_56 | NAYY 4x150 SE | 51 | 52 | 0.0065131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_1631-1_0_4_line_57 | NAYY 4x150 SE | 51 | 53 | 0.015711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_1631-1_0_4_line_58 | NAYY 4x150 SE | 52 | 54 | 0.034289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_1631-1_0_4_line_59 | NAYY 4x150 SE | 53 | 55 | 0.019477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1631-1_0_4_line_60 | NAYY 4x150 SE | 53 | 56 | 0.032792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_1631-1_0_4_line_61 | NAYY 4x150 SE | 54 | 57 | 0.01852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_1631-1_0_4_line_62 | NAYY 4x150 SE | 55 | 58 | 0.0085484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1631-1_0_4_line_63 | NAYY 4x150 SE | 56 | 59 | 8.97e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_1631-1_0_4_line_64 | NAYY 4x150 SE | 57 | 60 | 0.056342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_1631-1_0_4_line_65 | NAYY 4x150 SE | 59 | 61 | 0.033328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1631-1_0_4_line_66 | NAYY 4x150 SE | 60 | 67 | 0.017313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1631-1_0_4_line_67 | NAYY 4x150 SE | 61 | 65 | 0.0017367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1631-1_0_4_line_68 | NAYY 4x150 SE | 62 | 63 | 0.03154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1631-1_0_4_line_69 | NAYY 4x150 SE | 62 | 64 | 0.0099495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1631-1_0_4_line_70 | NAYY 4x150 SE | 63 | 65 | 0.00025533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1631-1_0_4_line_71 | NAYY 4x150 SE | 64 | 66 | 0.016839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1631-1_0_4_line_72 | NAYY 4x150 SE | 68 | 70 | 0.03216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1631-1_0_4_line_73 | NAYY 4x150 SE | 69 | 71 | 0.007431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1631-1_0_4_line_74 | NAYY 4x150 SE | 70 | 72 | 0.0032484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1631-1_0_4_line_75 | NAYY 4x150 SE | 70 | 73 | 0.015301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1631-1_0_4_line_76 | NAYY 4x150 SE | 73 | 75 | 0.015746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1631-1_0_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.007673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1631-1_0_4_line_78 | NAYY 4x150 SE | 76 | 78 | 0.037315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_1631-1_0_4_line_79 | NAYY 4x150 SE | 78 | 79 | 0.06672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_1631-1_0_4_line_80 | NAYY 4x150 SE | 80 | 81 | 0.092219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-1_0_4_trafo_57 | 0.25 MVA 20/0.4 kV | 82 | 69 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40
0 | 2719055.9397 | 1198667.6933 | 2719064.4021 | 1198671.1532 | 2719077.0322 | 1198676.8093
1 | 2719081.397 | 1198678.7639 | 2719077.0322 | 1198676.8093
2 | 2719055.9397 | 1198667.6933 | 2719051.7436 | 1198676.0491 | 2719057.0903 | 1198698.2496 | 2719056.2209 | 1198700.9787 | 2719053.3111 | 1198702.1216 | 2719048.5619 | 1198703.4502 | 2719040.4479 | 1198706.591 | 2719039.7425 | 1198703.7637 | 2719006.618 | 1198712.7886 | 2719004.2954 | 1198709.6957
3 | 2719055.9397 | 1198667.6933 | 2719060.3505 | 1198659.2638 | 2719070.9304 | 1198639.0375 | 2719095.6384 | 1198663.2474 | 2719100.2267 | 1198668.8429 | 2719121.7039 | 1198702.2619 | 2719126.2851 | 1198709.7365 | 2719142.0407 | 1198741.2846 | 2719157.2255 | 1198765.5383 | 2719171.2988 | 1198809.9958 | 2719172.8398 | 1198815.9865 | 2719173.0125 | 1198822.6059 | 2719171.0317 | 1198829.4936 | 2719167.8276 | 1198836.6128 | 2719163.4647 | 1198844.1646 | 2719160.2242 | 1198850.438 | 2719159.6876 | 1198851.3724
4 | 2719081.397 | 1198678.7639 | 2719094.8801 | 1198650.5629
5 | 2719010.5044 | 1198717.6807 | 2719006.618 | 1198712.7886 | 2719004.2954 | 1198709.6957
6 | 2719004.2954 | 1198709.6957 | 2718987.04 | 1198682.7634
7 | 2719159.6876 | 1198851.3724 | 2719164.4732 | 1198879.5217 | 2719166.737 | 1198883.6476 | 2719169.7417 | 1198886.5207 | 2719174.2304 | 1198887.9335 | 2719176.2283 | 1198888.2405
8 | 2718913.0841 | 1198576.639 | 2718909.3566 | 1198599.3481 | 2718904.8687 | 1198614.3365 | 2718898.3707 | 1198627.7504 | 2718888.4824 | 1198652.2939 | 2718881.5611 | 1198666.3109 | 2718880.4035 | 1198670.5132 | 2718880.4803 | 1198676.9861
9 | 2718913.0841 | 1198576.639 | 2718917.1934 | 1198587.5621 | 2718922.6625 | 1198600.5804 | 2718927.8325 | 1198610.257 | 2718943.0872 | 1198629.152 | 2718960.6464 | 1198642.4778 | 2718967.9401 | 1198653.3754 | 2718970.507 | 1198657.207 | 2718981.9036 | 1198674.7467
10 | 2718913.0841 | 1198576.639 | 2718909.541 | 1198565.9719 | 2718905.3728 | 1198554.1804 | 2718901.2863 | 1198542.8797
11 | 2718880.4803 | 1198676.9861 | 2718880.0557 | 1198680.3357 | 2718879.3324 | 1198683.3791 | 2718876.6122 | 1198686.4828 | 2718873.4986 | 1198689.0672 | 2718866.9936 | 1198692.507 | 2718860.7507 | 1198695.7853 | 2718826.7889 | 1198713.6009 | 2718803.4936 | 1198724.0344 | 2718784.5208 | 1198730.0729 | 2718775.5462 | 1198729.383 | 2718764.8678 | 1198732.0172 | 2718759.2532 | 1198734.3518 | 2718755.8011 | 1198735.9622 | 2718752.4495 | 1198740.1765 | 2718751.6671 | 1198743.5189 | 2718755.1277 | 1198746.8457 | 2718759.1179 | 1198751.5061 | 2718763.9947 | 1198755.6282 | 2718777.5205 | 1198764.5422
12 | 2718981.9036 | 1198674.7467 | 2718994.1255 | 1198667.2956
13 | 2718981.9036 | 1198674.7467 | 2718987.04 | 1198682.7634
14 | 2718899.4294 | 1198534.3699 | 2718901.2863 | 1198542.8797
15 | 2718869.8908 | 1198502.1145 | 2718873.2183 | 1198496.8213
16 | 2718873.2183 | 1198496.8213 | 2718850.1086 | 1198495.7254
17 | 2718869.8908 | 1198502.1145 | 2718885.8428 | 1198519.5337
18 | 2718858.3427 | 1198520.4872 | 2718861.141 | 1198514.2272 | 2718869.8908 | 1198502.1145
19 | 2718835.2116 | 1198495.4313 | 2718842.5182 | 1198495.3654 | 2718850.1086 | 1198495.7254
20 | 2718899.4294 | 1198534.3699 | 2718898.023 | 1198518.1523 | 2718899.0544 | 1198510.3449 | 2718901.4599 | 1198501.2417 | 2718904.8287 | 1198493.1139 | 2718915.9126 | 1198471.6631 | 2718925.6978 | 1198452.6995 | 2718932.6072 | 1198441.9735 | 2718937.848 | 1198435.4731 | 2718939.821 | 1198433.1773 | 2718943.6367 | 1198430.151 | 2718950.5749 | 1198425.2521 | 2718955.1193 | 1198422.7407 | 2718960.2306 | 1198420.4519 | 2718966.4884 | 1198418.3526 | 2718971.7997 | 1198417.113 | 2718978.9941 | 1198416.1777 | 2718984.6046 | 1198415.6 | 2718993.3101 | 1198415.6734 | 2719002.5807 | 1198416.8254 | 2719013.107 | 1198419.1811 | 2719037.6776 | 1198426.6424 | 2719083.0879 | 1198439.9342
21 | 2718899.4294 | 1198534.3699 | 2718885.8428 | 1198519.5337
22 | 2719083.0879 | 1198439.9342 | 2719142.9147 | 1198457.4346
23 | 2719083.0879 | 1198439.9342 | 2719104.6422 | 1198417.2686
24 | 2719010.5044 | 1198717.6807 | 2719006.4356 | 1198717.355 | 2719016.0891 | 1198733.2921 | 2719023.5415 | 1198751.8874 | 2719033.435 | 1198769.1526 | 2719041.8775 | 1198796.5407 | 2719043.5649 | 1198803.6017 | 2719045.0843 | 1198810.3035 | 2719045.0515 | 1198819.9766 | 2719046.0981 | 1198825.5571 | 2719049.7514 | 1198832.2014 | 2719063.4027 | 1198845.8832 | 2719070.266 | 1198856.9503 | 2719075.9327 | 1198868.8162 | 2719088.0599 | 1198889.4062 | 2719092.4609 | 1198901.3359 | 2719096.7363 | 1198931.0206 | 2719099.9816 | 1198945.8961 | 2719103.0266 | 1198952.8619 | 2719106.6823 | 1198971.604 | 2719108.2153 | 1198982.1979 | 2719121.542 | 1199002.5894 | 2719125.3744 | 1199009.7933 | 2719133.2353 | 1199038.8045 | 2719140.3907 | 1199090.963 | 2719146.1883 | 1199116.4862 | 2719149.843 | 1199128.3899 | 2719155.186 | 1199136.2244
25 | 2719010.5044 | 1198717.6807 | 2719024.4086 | 1198733.9805 | 2719034.1373 | 1198743.0809 | 2719038.4197 | 1198748.3589 | 2719046.1801 | 1198758.7543 | 2719048.7326 | 1198761.396 | 2719053.6126 | 1198762.6719 | 2719056.6635 | 1198760.9425 | 2719058.1046 | 1198759.3325
26 | 2719155.186 | 1199136.2244 | 2719142.9246 | 1199131.5655 | 2719142.3703 | 1199134.5344 | 2719156.2565 | 1199179.1661 | 2719156.072 | 1199182.6872 | 2719139.2201 | 1199170.2755 | 2719142.9274 | 1199185.6496 | 2719145.148 | 1199198.4254 | 2719145.3309 | 1199204.9116 | 2719111.257 | 1199178.7912 | 2719117.5532 | 1199204.9024 | 2719115.8859 | 1199206.0144 | 2719099.0334 | 1199192.869 | 2719091.0631 | 1199187.6842 | 2719089.2169 | 1199188.9817 | 2719092.9174 | 1199205.4675 | 2719095.8876 | 1199210.8306 | 2719097.1815 | 1199215.4598 | 2719094.961 | 1199215.2821 | 2719084.2172 | 1199208.2406 | 2719078.846 | 1199205.6429 | 2719089.5851 | 1199223.6144 | 2719091.9914 | 1199228.9885 | 2719093.4756 | 1199239.359 | 2719095.8868 | 1199276.9568 | 2719094.3995 | 1199285.8447 | 2719092.9228 | 1199287.3275 | 2719084.2147 | 1199277.1355 | 2719071.8598 | 1199270.6846 | 2719048.6204 | 1199260.0473 | 2719040.8152 | 1199254.9881 | 2719028.375 | 1199243.6432 | 2719023.4632 | 1199239.0087 | 2719023.0281 | 1199245.1712 | 2719021.851 | 1199255.6999 | 2719020.7141 | 1199257.334 | 2719019.0849 | 1199257.6796 | 2719016.6858 | 1199256.1418 | 2718999.3748 | 1199242.6874 | 2718989.0552 | 1199233.086 | 2718983.7904 | 1199230.1124
27 | 2719058.1046 | 1198759.3325 | 2719058.541 | 1198758.845 | 2719060.0805 | 1198756.1292 | 2719061.1263 | 1198753.9126
28 | 2719142.9147 | 1198457.4346 | 2719162.3621 | 1198463.1234
29 | 2718790.7687 | 1198773.2731 | 2718777.5205 | 1198764.5422
30 | 2719173.8303 | 1198375.3285 | 2719168.5258 | 1198384.2404 | 2719170.4601 | 1198394.9646 | 2719173.8861 | 1198407.6644
31 | 2719190.4552 | 1198393.8846 | 2719180.7441 | 1198383.8837 | 2719173.8303 | 1198375.3285
32 | 2719190.4552 | 1198393.8846 | 2719201.6823 | 1198405.4541
33 | 2718858.3427 | 1198520.4872 | 2718856.2754 | 1198535.5683 | 2718854.137 | 1198545.1384
34 | 2718858.3427 | 1198520.4872 | 2718848.0817 | 1198526.243 | 2718837.6001 | 1198531.216 | 2718829.1531 | 1198533.0939 | 2718818.1137 | 1198533.1746 | 2718811.4826 | 1198535.2888 | 2718807.4425 | 1198538.1106 | 2718806.9614 | 1198538.5416
35 | 2718842.0415 | 1198474.1405 | 2718821.2 | 1198456.9025
36 | 2718842.0415 | 1198474.1405 | 2718833.01 | 1198487.2589
37 | 2718821.2 | 1198456.9025 | 2718808.7863 | 1198478.2047
38 | 2718834.685 | 1198494.4858 | 2718831.7107 | 1198489.146 | 2718833.01 | 1198487.2589
39 | 2718835.2116 | 1198495.4313 | 2718834.685 | 1198494.4858
40 | 2718982.2355 | 1199231.3156 | 2718983.7904 | 1199230.1124 | 2718983.7904 | 1199230.1124
41 | 2719077.3155 | 1198754.7382 | 2719073.6171 | 1198750.7394 | 2719071.659 | 1198749.2326 | 2719068.0037 | 1198748.0367 | 2719065.0849 | 1198748.49 | 2719062.9596 | 1198750.0266 | 2719061.1263 | 1198753.9126
42 | 2719167.2438 | 1198464.5513 | 2719162.3621 | 1198463.1234
43 | 2719201.6823 | 1198405.4541 | 2719228.3287 | 1198432.9133
44 | 2718991.906 | 1199264.7103 | 2718981.9014 | 1199235.0895 | 2718981.6915 | 1199233.0061 | 2718982.2355 | 1199231.3156
45 | 2717747.408 | 1198177.4321 | 2717749.1032 | 1198179.5448 | 2717749.8713 | 1198182.3175 | 2717750.241 | 1198186.7502 | 2717751.8999 | 1198190.708 | 2717774.8262 | 1198217.9349 | 2717776.0708 | 1198219.323
46 | 2717728.7374 | 1198164.6329 | 2717740.5528 | 1198172.7492 | 2717747.408 | 1198177.4321 | 2717747.408 | 1198177.4321
47 | 2717796.1512 | 1198240.8455 | 2717791.5006 | 1198236.5324 | 2717776.0708 | 1198219.323
48 | 2717722.275 | 1198184.4756 | 2717719.5747 | 1198179.63 | 2717720.5117 | 1198171.8984 | 2717728.7374 | 1198164.6329
49 | 2717796.1512 | 1198240.8455 | 2717801.8393 | 1198246.1209 | 2717808.858 | 1198251.4648
50 | 2717946.0274 | 1198487.6813 | 2717945.3473 | 1198485.5353 | 2717937.036 | 1198474.3744 | 2717932.7878 | 1198464.6057 | 2717930.4588 | 1198450.6162 | 2717928.0668 | 1198442.5187 | 2717923.2027 | 1198432.6934 | 2717912.2925 | 1198416.1885 | 2717906.0047 | 1198405.9348 | 2717876.7871 | 1198333.5616 | 2717866.87 | 1198313.0401 | 2717860.3389 | 1198302.3702 | 2717846.6737 | 1198283.009 | 2717839.3854 | 1198274.4147 | 2717833.2931 | 1198270.0692 | 2717808.858 | 1198251.4648
51 | 2717967.6003 | 1198522.8348 | 2717966.996 | 1198519.8763 | 2717965.2529 | 1198517.4957 | 2717961.7777 | 1198514.8808 | 2717954.6849 | 1198511.8387 | 2717950.4129 | 1198508.2963 | 2717948.028 | 1198502.545 | 2717947.4649 | 1198494.7949 | 2717946.6452 | 1198489.6306 | 2717946.0274 | 1198487.6813
52 | 2718798.7731 | 1198600.1308 | 2717967.6003 | 1198522.8348
53 | 2718814.1138 | 1198623.9836 | 2718807.3928 | 1198615.2992 | 2718798.7731 | 1198600.1308
54 | 2718802.4014 | 1198542.7469 | 2718796.8202 | 1198550.931 | 2718792.2775 | 1198561.0259 | 2718789.4488 | 1198572.2668 | 2718790.7475 | 1198583.9567 | 2718792.732 | 1198589.5002 | 2718798.7731 | 1198600.1308
55 | 2718802.4014 | 1198542.7469 | 2718802.6107 | 1198542.4399 | 2718806.9614 | 1198538.5416
56 | 2719219.6887 | 1198481.3016 | 2719213.5963 | 1198478.9989
57 | 2719198.9002 | 1198473.4445 | 2719213.5963 | 1198478.9989
58 | 2719251.7635 | 1198493.4244 | 2719219.6887 | 1198481.3016
59 | 2719198.9002 | 1198473.4445 | 2719203.5422 | 1198462.2288 | 2719199.8369 | 1198455.8948
60 | 2719198.9002 | 1198473.4445 | 2719167.3301 | 1198464.5756
61 | 2719251.7635 | 1198493.4244 | 2719255.4181 | 1198494.2757 | 2719259.0832 | 1198494.6046 | 2719264.1697 | 1198494.3281 | 2719270.0341 | 1198492.8552
62 | 2719205.3829 | 1198449.3895 | 2719199.8369 | 1198455.8948
63 | 2719167.2438 | 1198464.5513 | 2719167.3301 | 1198464.5756
64 | 2719270.0341 | 1198492.8552 | 2719262.4246 | 1198476.0466 | 2719251.0354 | 1198457.7727 | 2719240.0835 | 1198445.6205
65 | 2719167.2438 | 1198464.5513 | 2719158.4218 | 1198483.6895 | 2719154.8922 | 1198489.1676 | 2719150.1728 | 1198492.4314
66 | 2719228.3287 | 1198432.9133 | 2719232.5754 | 1198437.2896 | 2719240.0835 | 1198445.6205
67 | 2719148.6327 | 1198493.2342 | 2719150.1728 | 1198492.4314 | 2719150.1728 | 1198492.4314
68 | 2719119.4557 | 1198496.9388 | 2719124.7668 | 1198499.7638 | 2719130.316 | 1198501.1087 | 2719136.1401 | 1198499.746 | 2719148.4063 | 1198493.3522
69 | 2719110.6715 | 1198492.2664 | 2719119.4557 | 1198496.9388
70 | 2719148.4063 | 1198493.3522 | 2719148.6327 | 1198493.2342
71 | 2719103.7563 | 1198476.9063 | 2719110.6715 | 1198492.2664
72 | 2718835.0323 | 1198648.4283 | 2718831.598 | 1198643.7789 | 2718821.8458 | 1198633.1551 | 2718814.1138 | 1198623.9836
73 | 2718852.6112 | 1198552.411 | 2718854.0344 | 1198545.5977 | 2718854.137 | 1198545.1384
74 | 2718835.0323 | 1198648.4283 | 2718836.6553 | 1198651.2422
75 | 2718835.0323 | 1198648.4283 | 2718841.6747 | 1198634.6392
76 | 2718841.6747 | 1198634.6392 | 2718827.5792 | 1198627.6214
77 | 2719102.628 | 1198781.12 | 2719107.3627 | 1198787.158
78 | 2719077.3155 | 1198754.7382 | 2719082.1992 | 1198756.2143 | 2719099.8712 | 1198777.6042 | 2719102.628 | 1198781.12
79 | 2719077.3155 | 1198754.7382 | 2719080.1554 | 1198765.5026 | 2719089.5853 | 1198782.325 | 2719103.393 | 1198802.3036 | 2719109.6406 | 1198812.5682
80 | 2718991.906 | 1199264.7103 | 2718989.8626 | 1199265.2034 | 2718987.2909 | 1199263.9179 | 2718976.6309 | 1199254.1986 | 2718967.7499 | 1199248.8513 | 2718950.4949 | 1199241.7582 | 2718921.789 | 1199231.7576 | 2718910.0247 | 1199225.3519

## bus_geodata
| x | y | coords
0 | 2719077.0322 | 1198676.8093
1 | 2719055.9397 | 1198667.6933
2 | 2719081.397 | 1198678.7639
3 | 2719004.2954 | 1198709.6957
4 | 2719159.6876 | 1198851.3724
5 | 2719094.8801 | 1198650.5629
6 | 2718913.0841 | 1198576.639
7 | 2718880.4803 | 1198676.9861
8 | 2718981.9036 | 1198674.7467
9 | 2718901.2863 | 1198542.8797
10 | 2718873.2183 | 1198496.8213
11 | 2718869.8908 | 1198502.1145
12 | 2718850.1086 | 1198495.7254
13 | 2718899.4294 | 1198534.3699
14 | 2719083.0879 | 1198439.9342
15 | 2718885.8428 | 1198519.5337
16 | 2719010.5044 | 1198717.6807
17 | 2718987.04 | 1198682.7634
18 | 2719155.186 | 1199136.2244
19 | 2719058.1046 | 1198759.3325
20 | 2719142.9147 | 1198457.4346
21 | 2719104.6422 | 1198417.2686
22 | 2719176.2283 | 1198888.2405
23 | 2718777.5205 | 1198764.5422
24 | 2719173.8303 | 1198375.3285
25 | 2719173.8861 | 1198407.6644
26 | 2719190.4552 | 1198393.8846
27 | 2718994.1255 | 1198667.2956
28 | 2718858.3427 | 1198520.4872
29 | 2718842.0415 | 1198474.1405
30 | 2718821.2 | 1198456.9025
31 | 2718833.01 | 1198487.2589
32 | 2718835.2117 | 1198495.4313
33 | 2718983.7904 | 1199230.1124
34 | 2719061.1263 | 1198753.9126
35 | 2719162.3621 | 1198463.1234
36 | 2718790.7687 | 1198773.2731
37 | 2719201.6823 | 1198405.4542
38 | 2718982.2355 | 1199231.3156
39 | 2717747.408 | 1198177.4321
40 | 2717776.0708 | 1198219.323
41 | 2717728.7374 | 1198164.6329
42 | 2717796.1512 | 1198240.8455
43 | 2717722.275 | 1198184.4756
44 | 2718808.7863 | 1198478.2047
45 | 2717808.858 | 1198251.4648
46 | 2717946.0274 | 1198487.6813
47 | 2717967.6003 | 1198522.8348
48 | 2718798.7731 | 1198600.1308
49 | 2718802.4014 | 1198542.7469
50 | 2718806.9614 | 1198538.5416
51 | 2719213.5963 | 1198478.9989
52 | 2719219.6887 | 1198481.3016
53 | 2719198.9002 | 1198473.4445
54 | 2719251.7635 | 1198493.4244
55 | 2719199.8369 | 1198455.8948
56 | 2719167.3301 | 1198464.5756
57 | 2719270.0341 | 1198492.8552
58 | 2719205.3829 | 1198449.3895
59 | 2719167.2438 | 1198464.5513
60 | 2719240.0835 | 1198445.6205
61 | 2719150.1728 | 1198492.4314
62 | 2719119.4557 | 1198496.9388
63 | 2719148.4063 | 1198493.3522
64 | 2719110.6715 | 1198492.2664
65 | 2719148.6327 | 1198493.2342
66 | 2719103.7563 | 1198476.9063
67 | 2719228.3287 | 1198432.9133
68 | 2718814.1138 | 1198623.9836
69 | 2718854.137 | 1198545.1384
70 | 2718835.0323 | 1198648.4283
71 | 2718852.6112 | 1198552.411
72 | 2718836.6553 | 1198651.2422
73 | 2718841.6747 | 1198634.6392
74 | 2718834.685 | 1198494.4858
75 | 2718827.5792 | 1198627.6214
76 | 2719102.628 | 1198781.12
77 | 2719107.3627 | 1198787.158
78 | 2719077.3155 | 1198754.7382
79 | 2719109.6406 | 1198812.5682
80 | 2718991.906 | 1199264.7103
81 | 2718910.0247 | 1199225.3519
82 | 2718858.3427 | 1198520.4872

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98171 | -0.12857 | 0.012066 | 0.0030239
1 | 0.98225 | -0.12477 | 0 | 0
2 | 0.98169 | -0.12876 | 0 | 0
3 | 0.98449 | -0.1088 | 0 | 0
4 | 0.98198 | -0.12673 | 0 | 0
5 | 0.98151 | -0.13002 | 0.0038876 | 0.00097433
6 | 0.99111 | -0.061906 | 0 | 0
7 | 0.98981 | -0.071089 | 0 | 0
8 | 0.98629 | -0.095949 | 0 | 0
9 | 0.9922 | -0.054249 | 0.0043018 | 0.0010781
10 | 0.99542 | -0.031762 | 0 | 0
11 | 0.99557 | -0.030706 | 0 | 0
12 | 0.99487 | -0.035674 | 0.0043481 | 0.0010897
13 | 0.99248 | -0.05226 | 0 | 0
14 | 0.98322 | -0.11744 | 0 | 0
15 | 0.99385 | -0.042737 | 0.011139 | 0.0027917
16 | 0.98431 | -0.11007 | 0 | 0
17 | 0.98582 | -0.099301 | 0.0054373 | 0.0013627
18 | 0.97954 | -0.14424 | 0 | 0
19 | 0.98382 | -0.11358 | 0.0015987 | 0.00040066
20 | 0.98111 | -0.13245 | 0.0033957 | 0.00085105
21 | 0.98309 | -0.11838 | 0.0028822 | 0.00072235
22 | 0.98194 | -0.12703 | 0.00066394 | 0.0001664
23 | 0.98755 | -0.087085 | 0.0043583 | 0.0010923
24 | 0.97615 | -0.16793 | 0 | 0
25 | 0.97587 | -0.16994 | 0.0055729 | 0.0013967
26 | 0.97635 | -0.16648 | 0 | 0
27 | 0.98587 | -0.098949 | 0.020464 | 0.0051288
28 | 0.99734 | -0.018422 | 0 | 0
29 | 0.9944 | -0.038997 | 0 | 0
30 | 0.99422 | -0.040267 | 0 | 0
31 | 0.9945 | -0.038247 | 0.0020446 | 0.00051242
32 | 0.9946 | -0.037542 | 0 | 0
33 | 0.97416 | -0.18284 | 0.0013849 | 0.0003471
34 | 0.98379 | -0.11379 | 0.0006899 | 0.0001729
35 | 0.98046 | -0.1371 | 0.0021152 | 0.00053012
36 | 0.98746 | -0.08775 | 0.0040951 | 0.0010263
37 | 0.97648 | -0.16554 | 0.0092437 | 0.0023167
38 | 0.97415 | -0.18296 | 0.0044992 | 0.0011276
39 | 0.97083 | -0.20558 | 0.0033394 | 0.00083694
40 | 0.97193 | -0.19764 | 0.0048335 | 0.0012114
41 | 0.97046 | -0.20825 | 0 | 0
42 | 0.97277 | -0.19163 | 0.0022722 | 0.00056947
43 | 0.97006 | -0.21112 | 0.01114 | 0.0027918
44 | 0.99405 | -0.041427 | 0.0046586 | 0.0011676
45 | 0.97329 | -0.18786 | 0.0015277 | 0.00038288
46 | 0.98275 | -0.12056 | 0.0016495 | 0.0004134
47 | 0.98438 | -0.10909 | 0 | 0
48 | 0.99448 | -0.03838 | 0.0036919 | 0.00092529
49 | 0.9958 | -0.029143 | 0.0025626 | 0.00064226
50 | 0.99594 | -0.028171 | 0.005744 | 0.0014396
51 | 0.97924 | -0.14578 | 0.0021429 | 0.00053706
52 | 0.97912 | -0.14666 | 0.018671 | 0.0046794
53 | 0.97956 | -0.14353 | 0 | 0
54 | 0.97878 | -0.14909 | 0 | 0
55 | 0.97941 | -0.14458 | 0.0026101 | 0.00065415
56 | 0.9803 | -0.13825 | 0.0012453 | 0.00031211
57 | 0.97859 | -0.15041 | 0 | 0
58 | 0.97938 | -0.14481 | 0.0025859 | 0.00064808
59 | 0.9803 | -0.13823 | 0 | 0
60 | 0.97775 | -0.15642 | 0.0027943 | 0.00070033
61 | 0.9795 | -0.14396 | 0.0012552 | 0.00031459
62 | 0.97916 | -0.14636 | 0.0014047 | 0.00035205
63 | 0.97945 | -0.14427 | 0.005877 | 0.0014729
64 | 0.97909 | -0.14688 | 0 | 0
65 | 0.97946 | -0.14423 | 0.0030008 | 0.00075207
66 | 0.97897 | -0.14775 | 0.0049844 | 0.0012492
67 | 0.97731 | -0.1596 | 0.0028107 | 0.00070442
68 | 0.99386 | -0.042768 | 0 | 0
69 | 1 | 0 | -0.22917 | -0.057613
70 | 0.99315 | -0.047739 | 0 | 0
71 | 0.99995 | -0.00036204 | 0.004881 | 0.0012233
72 | 0.99311 | -0.048022 | 0.0086312 | 0.0021632
73 | 0.99301 | -0.048768 | 0 | 0
74 | 0.99458 | -0.037678 | 0.005717 | 0.0014328
75 | 0.99286 | -0.049828 | 0.0066483 | 0.0016662
76 | 0.9836 | -0.1151 | 0.00084048 | 0.00021064
77 | 0.98359 | -0.11518 | 0.0010151 | 0.0002544
78 | 0.9837 | -0.11438 | 0 | 0
79 | 0.98363 | -0.11493 | 0.00078383 | 0.00019645
80 | 0.97408 | -0.18343 | 0 | 0
81 | 0.97391 | -0.18467 | 0.0012663 | 0.00031738
82 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015954 | -0.0039981 | 0.015962 | 0.004001 | 8.3856e-06 | 2.9345e-06 | 0.024182 | 0.024182 | 0.024182 | 0.98171 | -0.12857 | 0.98225 | -0.12477 | 8.9563
1 | 0.0038884 | 0.00097418 | -0.0038883 | -0.0009742 | 1.0366e-07 | -2.0598e-08 | 0.0058937 | 0.0058937 | 0.0058937 | 0.98171 | -0.12857 | 0.98169 | -0.12876 | 2.1829
2 | -0.016627 | -0.0041634 | 0.016663 | 0.0041764 | 3.6782e-05 | 1.2968e-05 | 0.025186 | 0.025186 | 0.025186 | 0.98225 | -0.12477 | 0.98449 | -0.1088 | 9.3283
3 | 0.00066414 | 0.0001624 | -0.00066397 | -0.00016585 | 1.752e-07 | -3.4481e-06 | 0.0010047 | 0.0010059 | 0.0010059 | 0.98225 | -0.12477 | 0.98198 | -0.12673 | 0.37257
4 | 0.0038883 | 0.0009742 | -0.0038876 | -0.00097433 | 6.7755e-07 | -1.3454e-07 | 0.0058937 | 0.0058938 | 0.0058938 | 0.98169 | -0.12876 | 0.98151 | -0.13002 | 2.1829
5 | 0.012156 | 0.0030404 | -0.012154 | -0.0030397 | 2.1304e-06 | 6.9078e-07 | 0.018371 | 0.018371 | 0.018371 | 0.98449 | -0.1088 | 0.98431 | -0.11007 | 6.8042
6 | -0.028819 | -0.0072168 | 0.028857 | 0.007231 | 3.7867e-05 | 1.4157e-05 | 0.043557 | 0.043557 | 0.043557 | 0.98449 | -0.1088 | 0.98582 | -0.099301 | 16.1323
7 | 0.00066397 | 0.00016585 | -0.00066394 | -0.0001664 | 2.7879e-08 | -5.477e-07 | 0.0010059 | 0.0010061 | 0.0010061 | 0.98198 | -0.12673 | 0.98194 | -0.12703 | 0.37264
8 | 0.0084833 | 0.0021262 | -0.0084725 | -0.0021234 | 1.0779e-05 | 2.7752e-06 | 0.012736 | 0.012737 | 0.012737 | 0.99111 | -0.061906 | 0.98981 | -0.071089 | 4.7174
9 | 0.055042 | 0.013828 | -0.054783 | -0.013732 | 0.00025945 | 9.6666e-05 | 0.08265 | 0.082651 | 0.082651 | 0.99111 | -0.061906 | 0.98629 | -0.095949 | 15.3058
10 | -0.063526 | -0.015954 | 0.063593 | 0.015979 | 6.7683e-05 | 2.4648e-05 | 0.095387 | 0.095386 | 0.095387 | 0.99111 | -0.061906 | 0.9922 | -0.054249 | 11.7761
11 | 0.0084725 | 0.0021234 | -0.0084538 | -0.0021186 | 1.8739e-05 | 4.8337e-06 | 0.012737 | 0.012738 | 0.012738 | 0.98981 | -0.071089 | 0.98755 | -0.087085 | 4.7177
12 | 0.020473 | 0.0051319 | -0.020464 | -0.0051288 | 8.5039e-06 | 3.0885e-06 | 0.030887 | 0.030887 | 0.030887 | 0.98629 | -0.095949 | 0.98587 | -0.098949 | 11.4397
13 | 0.03431 | 0.0085997 | -0.034295 | -0.0085937 | 1.592e-05 | 6.0015e-06 | 0.051764 | 0.051764 | 0.051764 | 0.98629 | -0.095949 | 0.98582 | -0.099301 | 19.172
14 | -0.067895 | -0.017057 | 0.067914 | 0.017064 | 1.8789e-05 | 6.8889e-06 | 0.10184 | 0.10184 | 0.10184 | 0.9922 | -0.054249 | 0.99248 | -0.05226 | 12.5726
15 | -0.016783 | -0.0042069 | 0.016786 | 0.0042077 | 2.4541e-06 | 8.6265e-07 | 0.025089 | 0.025089 | 0.025089 | 0.99542 | -0.031762 | 0.99557 | -0.030706 | 9.2922
16 | 0.016783 | 0.0042069 | -0.016774 | -0.0042037 | 9.0873e-06 | 3.1945e-06 | 0.025089 | 0.025089 | 0.025089 | 0.99542 | -0.031762 | 0.99487 | -0.035674 | 9.2923
17 | 0.15308 | 0.038575 | -0.15282 | -0.038477 | 0.00025734 | 9.8057e-05 | 0.22887 | 0.22887 | 0.22887 | 0.99557 | -0.030706 | 0.99385 | -0.042737 | 28.2552
18 | -0.16986 | -0.042783 | 0.17015 | 0.042895 | 0.00029225 | 0.00011155 | 0.25396 | 0.25396 | 0.25396 | 0.99557 | -0.030706 | 0.99734 | -0.018422 | 31.3526
19 | 0.012426 | 0.0031139 | -0.012423 | -0.0031129 | 3.2129e-06 | 1.0422e-06 | 0.018586 | 0.018586 | 0.018586 | 0.99487 | -0.035674 | 0.9946 | -0.037542 | 6.8836
20 | 0.073577 | 0.01855 | -0.072911 | -0.018304 | 0.00066599 | 0.00024605 | 0.11035 | 0.11036 | 0.11036 | 0.99248 | -0.05226 | 0.98322 | -0.11744 | 13.6242
21 | -0.14149 | -0.035614 | 0.14168 | 0.035685 | 0.0001884 | 7.1681e-05 | 0.21219 | 0.21219 | 0.21219 | 0.99248 | -0.05226 | 0.99385 | -0.042737 | 26.1963
22 | 0.070029 | 0.017582 | -0.069883 | -0.017528 | 0.00014566 | 5.3658e-05 | 0.10599 | 0.10599 | 0.10599 | 0.98322 | -0.11744 | 0.98111 | -0.13245 | 13.0857
23 | 0.0028826 | 0.0007221 | -0.0028822 | -0.00072235 | 3.7144e-07 | -2.5377e-07 | 0.0043624 | 0.0043626 | 0.0043626 | 0.98322 | -0.11744 | 0.98309 | -0.11838 | 1.6158
24 | 0.0072231 | 0.0018062 | -0.0071891 | -0.0017989 | 3.3956e-05 | 7.2866e-06 | 0.010918 | 0.01092 | 0.01092 | 0.98431 | -0.11007 | 0.97954 | -0.14424 | 4.0444
25 | 0.0049309 | 0.0012335 | -0.0049285 | -0.0012335 | 2.3885e-06 | 4.3322e-08 | 0.0074534 | 0.0074537 | 0.0074537 | 0.98431 | -0.11007 | 0.98382 | -0.11358 | 2.7606
26 | 0.0071891 | 0.0017989 | -0.0071509 | -0.0017906 | 3.8227e-05 | 8.2725e-06 | 0.01092 | 0.010922 | 0.010922 | 0.97954 | -0.14424 | 0.97416 | -0.18284 | 4.0453
27 | 0.0033298 | 0.00083284 | -0.0033297 | -0.00083288 | 9.8535e-08 | -4.1171e-08 | 0.0050357 | 0.0050358 | 0.0050358 | 0.98382 | -0.11358 | 0.98379 | -0.11379 | 1.8651
28 | 0.066487 | 0.016677 | -0.066445 | -0.016661 | 4.286e-05 | 1.5718e-05 | 0.10084 | 0.10084 | 0.10084 | 0.98111 | -0.13245 | 0.98046 | -0.1371 | 12.4499
29 | 0.0040954 | 0.0010263 | -0.0040951 | -0.0010263 | 3.7701e-07 | -5.7984e-08 | 0.0061708 | 0.0061709 | 0.0061709 | 0.98755 | -0.087085 | 0.98746 | -0.08775 | 2.2855
30 | 0.0055744 | 0.0013969 | -0.0055729 | -0.0013967 | 1.5508e-06 | 1.6633e-07 | 0.0084975 | 0.0084976 | 0.0084976 | 0.97615 | -0.16793 | 0.97587 | -0.16994 | 3.1473
31 | -0.0055744 | -0.0013969 | 0.0055756 | 0.001397 | 1.1223e-06 | 1.2021e-07 | 0.0084975 | 0.0084974 | 0.0084975 | 0.97615 | -0.16793 | 0.97635 | -0.16648 | 3.1472
32 | -0.0055756 | -0.001397 | 0.0055763 | 0.0013971 | 7.2636e-07 | 7.7726e-08 | 0.0084974 | 0.0084973 | 0.0084974 | 0.97635 | -0.16648 | 0.97648 | -0.16554 | 3.1472
33 | -0.22291 | -0.056169 | 0.22349 | 0.056389 | 0.00057619 | 0.00022063 | 0.33269 | 0.33269 | 0.33269 | 0.99734 | -0.018422 | 1 | 0 | 41.0724
34 | 0.052757 | 0.013274 | -0.052685 | -0.013249 | 7.1677e-05 | 2.5395e-05 | 0.078731 | 0.078732 | 0.078732 | 0.99734 | -0.018422 | 0.99594 | -0.028171 | 9.72
35 | 0.0046602 | 0.0011675 | -0.0046594 | -0.0011675 | 8.1933e-07 | -3.5083e-08 | 0.0069734 | 0.0069735 | 0.0069735 | 0.9944 | -0.038997 | 0.99422 | -0.040267 | 2.5828
36 | -0.0046602 | -0.0011675 | 0.0046607 | 0.0011675 | 4.8328e-07 | -2.0759e-08 | 0.0069734 | 0.0069733 | 0.0069734 | 0.9944 | -0.038997 | 0.9945 | -0.038247 | 2.5827
37 | 0.0046594 | 0.0011675 | -0.0046586 | -0.0011676 | 7.4781e-07 | -3.1899e-08 | 0.0069735 | 0.0069736 | 0.0069736 | 0.99422 | -0.040267 | 0.99405 | -0.041427 | 2.5828
38 | -0.0067053 | -0.0016799 | 0.0067058 | 0.00168 | 5.2778e-07 | 9.3947e-08 | 0.010033 | 0.010032 | 0.010033 | 0.9945 | -0.038247 | 0.99458 | -0.037678 | 3.7157
39 | 0.012423 | 0.0031129 | -0.012423 | -0.0031128 | 2.333e-07 | 7.5685e-08 | 0.018586 | 0.018586 | 0.018586 | 0.9946 | -0.037542 | 0.99458 | -0.037678 | 6.8836
40 | 0.0057659 | 0.0014435 | -0.0057658 | -0.0014435 | 9.5154e-08 | 1.212e-08 | 0.0088068 | 0.0088068 | 0.0088068 | 0.97416 | -0.18284 | 0.97415 | -0.18296 | 3.2618
41 | 0.0026398 | 0.00065997 | -0.0026396 | -0.00066016 | 2.1519e-07 | -1.9194e-07 | 0.0039923 | 0.0039924 | 0.0039924 | 0.98379 | -0.11379 | 0.9837 | -0.11438 | 1.4787
42 | 0.064329 | 0.016131 | -0.064319 | -0.016127 | 1.0085e-05 | 3.6863e-06 | 0.097634 | 0.097634 | 0.097634 | 0.98046 | -0.1371 | 0.9803 | -0.13823 | 12.0536
43 | -0.01482 | -0.0037137 | 0.014832 | 0.0037179 | 1.2177e-05 | 4.2043e-06 | 0.022583 | 0.022583 | 0.022583 | 0.97648 | -0.16554 | 0.97731 | -0.1596 | 8.3642
44 | 0.0012666 | 0.00031591 | -0.0012666 | -0.00031631 | 8.2031e-08 | -4.0583e-07 | 0.0019343 | 0.0019344 | 0.0019344 | 0.97415 | -0.18296 | 0.97408 | -0.18343 | 0.71645
45 | -0.014488 | -0.0036315 | 0.014503 | 0.003637 | 1.5933e-05 | 5.4871e-06 | 0.022206 | 0.022205 | 0.022206 | 0.97083 | -0.20558 | 0.97193 | -0.19764 | 8.2243
46 | 0.011148 | 0.0027945 | -0.011144 | -0.0027932 | 4.1242e-06 | 1.3064e-06 | 0.017087 | 0.017087 | 0.017087 | 0.97083 | -0.20558 | 0.97046 | -0.20825 | 6.3286
47 | -0.019337 | -0.0048484 | 0.019353 | 0.0048542 | 1.611e-05 | 5.831e-06 | 0.029605 | 0.029605 | 0.029605 | 0.97193 | -0.19764 | 0.97277 | -0.19163 | 10.965
48 | 0.011144 | 0.0027932 | -0.01114 | -0.0027918 | 4.4261e-06 | 1.4023e-06 | 0.017087 | 0.017087 | 0.017087 | 0.97046 | -0.20825 | 0.97006 | -0.21112 | 6.3287
49 | -0.021625 | -0.0054237 | 0.021637 | 0.0054278 | 1.1322e-05 | 4.1486e-06 | 0.033081 | 0.033081 | 0.033081 | 0.97277 | -0.19163 | 0.97329 | -0.18786 | 12.2523
50 | -0.023164 | -0.0058107 | 0.023383 | 0.0058911 | 0.00021816 | 8.041e-05 | 0.035417 | 0.035415 | 0.035417 | 0.97329 | -0.18786 | 0.98275 | -0.12056 | 13.1173
51 | -0.025032 | -0.0063045 | 0.025072 | 0.0063194 | 4.0234e-05 | 1.4905e-05 | 0.037913 | 0.037913 | 0.037913 | 0.98275 | -0.12056 | 0.98438 | -0.10909 | 14.0418
52 | -0.025072 | -0.0063194 | 0.025322 | 0.0063832 | 0.0002495 | 6.3796e-05 | 0.037913 | 0.037901 | 0.037913 | 0.98438 | -0.10909 | 0.99448 | -0.03838 | 4.6806
53 | 0.015302 | 0.0038367 | -0.015292 | -0.0038335 | 9.2992e-06 | 3.208e-06 | 0.022896 | 0.022896 | 0.022896 | 0.99448 | -0.03838 | 0.99386 | -0.042768 | 8.48
54 | -0.044315 | -0.011145 | 0.044372 | 0.011165 | 5.7129e-05 | 1.9539e-05 | 0.066321 | 0.06632 | 0.066321 | 0.99448 | -0.03838 | 0.9958 | -0.029143 | 8.1878
55 | -0.046935 | -0.011807 | 0.046941 | 0.011809 | 6.3597e-06 | 2.2035e-06 | 0.07015 | 0.07015 | 0.07015 | 0.9958 | -0.029143 | 0.99594 | -0.028171 | 8.6605
56 | 0.039149 | 0.0098137 | -0.039144 | -0.0098121 | 4.7943e-06 | 1.5982e-06 | 0.059489 | 0.059489 | 0.059489 | 0.97924 | -0.14578 | 0.97912 | -0.14666 | 7.3444
57 | -0.041291 | -0.010351 | 0.041304 | 0.010355 | 1.2865e-05 | 4.3551e-06 | 0.062746 | 0.062745 | 0.062746 | 0.97924 | -0.14578 | 0.97956 | -0.14353 | 7.7464
58 | 0.020473 | 0.0051327 | -0.020466 | -0.0051313 | 6.9046e-06 | 1.3623e-06 | 0.031114 | 0.031114 | 0.031114 | 0.97912 | -0.14666 | 0.97878 | -0.14909 | 3.8413
59 | 0.0051968 | 0.0013022 | -0.0051961 | -0.0013022 | 7.574e-07 | 4.6165e-08 | 0.0078943 | 0.0078943 | 0.0078943 | 0.97956 | -0.14353 | 0.97941 | -0.14458 | 2.9238
60 | -0.046501 | -0.011657 | 0.046535 | 0.011669 | 3.4035e-05 | 1.1851e-05 | 0.07064 | 0.070639 | 0.07064 | 0.97956 | -0.14353 | 0.9803 | -0.13825 | 8.7209
61 | 0.020466 | 0.0051313 | -0.020462 | -0.0051306 | 3.7293e-06 | 7.3618e-07 | 0.031114 | 0.031115 | 0.031115 | 0.97878 | -0.14909 | 0.97859 | -0.15041 | 3.8413
62 | 0.002586 | 0.00064801 | -0.0025859 | -0.00064808 | 8.2338e-08 | -7.5907e-08 | 0.0039288 | 0.0039288 | 0.0039288 | 0.97941 | -0.14458 | 0.97938 | -0.14481 | 1.4551
63 | -0.047781 | -0.011981 | 0.047781 | 0.011981 | 9.8147e-08 | 3.4361e-08 | 0.072529 | 0.072529 | 0.072529 | 0.9803 | -0.13825 | 0.9803 | -0.13823 | 8.9543
64 | 0.020462 | 0.0051306 | -0.020445 | -0.0051255 | 1.7019e-05 | 5.1311e-06 | 0.031115 | 0.031115 | 0.031115 | 0.97859 | -0.15041 | 0.97775 | -0.15642 | 5.7621
65 | 0.016539 | 0.004146 | -0.016526 | -0.0041414 | 1.3107e-05 | 4.6214e-06 | 0.025105 | 0.025105 | 0.025105 | 0.9803 | -0.13823 | 0.9795 | -0.14396 | 9.2981
66 | 0.017651 | 0.0044251 | -0.017643 | -0.0044224 | 7.7957e-06 | 2.7813e-06 | 0.026862 | 0.026863 | 0.026863 | 0.97775 | -0.15642 | 0.97731 | -0.1596 | 9.9491
67 | 0.01527 | 0.0038268 | -0.01527 | -0.0038266 | 5.8319e-07 | 2.0245e-07 | 0.023198 | 0.023198 | 0.023198 | 0.9795 | -0.14396 | 0.97946 | -0.14423 | 8.5919
68 | -0.0063901 | -0.0016013 | 0.0063919 | 0.0016016 | 1.8559e-06 | 3.1696e-07 | 0.0097108 | 0.0097107 | 0.0097108 | 0.97916 | -0.14636 | 0.97945 | -0.14427 | 3.5966
69 | 0.0049853 | 0.0012492 | -0.004985 | -0.0012492 | 3.5635e-07 | 1.192e-08 | 0.0075761 | 0.0075761 | 0.0075761 | 0.97916 | -0.14636 | 0.97909 | -0.14688 | 2.806
70 | -0.012269 | -0.0030745 | 0.012269 | 0.0030745 | 5.5354e-08 | 1.8076e-08 | 0.018639 | 0.018639 | 0.018639 | 0.97945 | -0.14427 | 0.97946 | -0.14423 | 6.9034
71 | 0.004985 | 0.0012492 | -0.0049844 | -0.0012492 | 6.0311e-07 | 2.022e-08 | 0.0075761 | 0.0075762 | 0.0075762 | 0.97909 | -0.14688 | 0.97897 | -0.14775 | 2.806
72 | 0.015292 | 0.0038335 | -0.015282 | -0.0038298 | 1.052e-05 | 3.6298e-06 | 0.022896 | 0.022896 | 0.022896 | 0.99386 | -0.042768 | 0.99315 | -0.047739 | 8.4801
73 | 0.0048812 | 0.0012233 | -0.004881 | -0.0012233 | 2.4462e-07 | -3.3976e-09 | 0.0072633 | 0.0072633 | 0.0072633 | 1 | 0 | 0.99995 | -0.00036204 | 2.6901
74 | 0.0086316 | 0.0021633 | -0.0086312 | -0.0021632 | 3.3901e-07 | 8.8355e-08 | 0.012932 | 0.012932 | 0.012932 | 0.99315 | -0.047739 | 0.99311 | -0.048022 | 4.7898
75 | 0.0066502 | 0.0016665 | -0.0066492 | -0.0016664 | 9.4788e-07 | 1.666e-07 | 0.0099638 | 0.0099638 | 0.0099638 | 0.99315 | -0.047739 | 0.99301 | -0.048768 | 3.6903
76 | 0.0066492 | 0.0016664 | -0.0066483 | -0.0016662 | 9.7545e-07 | 1.7151e-07 | 0.0099638 | 0.0099639 | 0.0099639 | 0.99301 | -0.048768 | 0.99286 | -0.049828 | 3.6903
77 | 0.0010151 | 0.0002543 | -0.0010151 | -0.0002544 | 1.129e-08 | -9.3047e-08 | 0.0015356 | 0.0015356 | 0.0015356 | 0.9836 | -0.1151 | 0.98359 | -0.11518 | 0.56875
78 | -0.0018555 | -0.00046495 | 0.0018557 | 0.00046454 | 1.8346e-07 | -4.0311e-07 | 0.0028071 | 0.0028069 | 0.0028071 | 0.9836 | -0.1151 | 0.9837 | -0.11438 | 1.0397
79 | 0.00078389 | 0.00019562 | -0.00078383 | -0.00019645 | 5.8523e-08 | -8.2445e-07 | 0.0011855 | 0.0011858 | 0.0011858 | 0.9837 | -0.11438 | 0.98363 | -0.11493 | 0.43917
80 | 0.0012666 | 0.00031631 | -0.0012663 | -0.00031738 | 2.1537e-07 | -1.0649e-06 | 0.0019344 | 0.0019348 | 0.0019348 | 0.97408 | -0.18343 | 0.97391 | -0.18467 | 0.7166

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23787 | 0.059794

## res_load
| p_mw | q_mvar
0 | 0.012066 | 0.0030239
1 | 0.0038876 | 0.00097433
2 | 0.0043018 | 0.0010781
3 | 0.0043481 | 0.0010897
4 | 0.011139 | 0.0027917
5 | 0.0054373 | 0.0013627
6 | 0.0015987 | 0.00040066
7 | 0.0033957 | 0.00085105
8 | 0.0028822 | 0.00072235
9 | 0.00066394 | 0.0001664
10 | 0.0043583 | 0.0010923
11 | 0.0055729 | 0.0013967
12 | 0.020464 | 0.0051288
13 | 0.0020446 | 0.00051242
14 | 0.0013849 | 0.0003471
15 | 0.0006899 | 0.0001729
16 | 0.0021152 | 0.00053012
17 | 0.0040951 | 0.0010263
18 | 0.0092437 | 0.0023167
19 | 0.0044992 | 0.0011276
20 | 0.0033394 | 0.00083694
21 | 0.0048335 | 0.0012114
22 | 0.0022722 | 0.00056947
23 | 0.01114 | 0.0027918
24 | 0.0046586 | 0.0011676
25 | 0.0015277 | 0.00038288
26 | 0.0016495 | 0.0004134
27 | 0.0036919 | 0.00092529
28 | 0.0025626 | 0.00064226
29 | 0.005744 | 0.0014396
30 | 0.0021429 | 0.00053706
31 | 0.018671 | 0.0046794
32 | 0.0026101 | 0.00065415
33 | 0.0012453 | 0.00031211
34 | 0.0025859 | 0.00064808
35 | 0.0027943 | 0.00070033
36 | 0.0012552 | 0.00031459
37 | 0.0014047 | 0.00035205
38 | 0.005877 | 0.0014729
39 | 0.0030008 | 0.00075207
40 | 0.0049844 | 0.0012492
41 | 0.0028107 | 0.00070442
42 | 0.008704 | 0.0021814
43 | 0.004881 | 0.0012233
44 | 0.0086312 | 0.0021632
45 | 0.005717 | 0.0014328
46 | 0.0066483 | 0.0016662
47 | 0.00084048 | 0.00021064
48 | 0.0010151 | 0.0002544
49 | 0.00078383 | 0.00019645
50 | 0.0012663 | 0.00031738

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1