## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-37_1_3_node_138 | 0.4 | n |  | TRUE
1 | bus_LV_1631-37_1_3_node_139 | 0.4 | n |  | TRUE
2 | bus_LV_1631-37_1_3_node_140 | 0.4 | n |  | TRUE
3 | bus_LV_1631-37_1_3_node_141 | 0.4 | n |  | TRUE
4 | bus_LV_1631-37_1_3_node_142 | 0.4 | n |  | TRUE
5 | bus_LV_1631-37_1_3_node_143 | 0.4 | n |  | TRUE
6 | bus_LV_1631-37_1_3_node_150 | 0.4 | n |  | TRUE
7 | bus_LV_1631-37_1_3_node_144 | 0.4 | n |  | TRUE
8 | bus_LV_1631-37_1_3_node_145 | 0.4 | n |  | TRUE
9 | bus_LV_1631-37_1_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_1631-37_1_3_node_146 | 0.4 | n |  | TRUE
11 | bus_LV_1631-37_1_3_node_149 | 0.4 | n |  | TRUE
12 | bus_LV_1631-37_1_3_node_151 | 0.4 | n |  | TRUE
13 | bus_LV_1631-37_1_3_node_147 | 0.4 | n |  | TRUE
14 | bus_LV_1631-37_1_3_node_148 | 0.4 | n |  | TRUE
15 | bus_LV_1631-37_1_3_node_152 | 0.4 | n |  | TRUE
16 | bus_LV_1631-37_1_3_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1631-37_1_3_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_1631-37_1_3_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_1631-37_1_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_1631-37_1_3_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_1631-37_1_3_node_167 | 0.4 | n |  | TRUE
22 | bus_LV_1631-37_1_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_1631-37_1_3_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_1631-37_1_3_node_153 | 0.4 | n |  | TRUE
25 | bus_LV_1631-37_1_3_node_154 | 0.4 | n |  | TRUE
26 | bus_LV_1631-37_1_3_node_155 | 0.4 | n |  | TRUE
27 | bus_LV_1631-37_1_3_node_156 | 0.4 | n |  | TRUE
28 | bus_LV_1631-37_1_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1631-37_1_3_node_159 | 0.4 | n |  | TRUE
30 | bus_LV_1631-37_1_3_node_162 | 0.4 | n |  | TRUE
31 | bus_LV_1631-37_1_3_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_1631-37_1_3_node_157 | 0.4 | n |  | TRUE
33 | bus_LV_1631-37_1_3_node_158 | 0.4 | n |  | TRUE
34 | bus_LV_1631-37_1_3_node_174 | 0.4 | n |  | TRUE
35 | bus_MV_145_0_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-37_1_3_load_138 | 0 | 0.0087023 | 0.002181 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-37_1_3_load_139 | 1 | 0.011539 | 0.002892 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-37_1_3_load_142 | 4 | 0.01077 | 0.0026993 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-37_1_3_load_150 | 6 | 0.01036 | 0.0025964 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-37_1_3_load_144 | 7 | 0.013036 | 0.0032671 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-37_1_3_load_145 | 8 | 0.0028229 | 0.00070748 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-37_1_3_load_28 | 9 | 0.0036698 | 0.00091975 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-37_1_3_load_151 | 12 | 0.014792 | 0.0037072 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-37_1_3_load_147 | 13 | 0.0061183 | 0.0015334 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-37_1_3_load_148 | 14 | 0.013919 | 0.0034885 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-37_1_3_load_152 | 15 | 0.0039398 | 0.0009874 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-37_1_3_load_24 | 16 | 0.0083448 | 0.0020914 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-37_1_3_load_167 | 21 | 0.0031022 | 0.00077748 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-37_1_3_load_45 | 23 | 0.0015564 | 0.00039007 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-37_1_3_load_153 | 24 | 0.0058654 | 0.00147 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-37_1_3_load_154 | 25 | 0.0094376 | 0.0023653 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-37_1_3_load_155 | 26 | 0.0062574 | 0.0015683 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-37_1_3_load_156 | 27 | 0.0043295 | 0.0010851 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-37_1_3_load_159 | 29 | 0.0058162 | 0.0014577 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-37_1_3_load_162 | 30 | 0.0051273 | 0.001285 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-37_1_3_load_46 | 31 | 0.002776 | 0.00069572 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-37_1_3_load_157 | 32 | 0.0062924 | 0.001577 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-37_1_3_load_158 | 33 | 0.0044637 | 0.0011187 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-37_1_3_load_174 | 34 | 0.0022357 | 0.00056032 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-37_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-37_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0087766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-37_1_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.033881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-37_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.012448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-37_1_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.027061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-37_1_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.026881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-37_1_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.010518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-37_1_3_line_7 | NAYY 4x150 SE | 6 | 11 | 0.0097135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-37_1_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.04066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-37_1_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.020439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-37_1_3_line_10 | NAYY 4x150 SE | 9 | 17 | 0.016514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-37_1_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.010751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-37_1_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0031526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-37_1_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.004212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-37_1_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.0046561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1631-37_1_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.011837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-37_1_3_line_16 | NAYY 4x150 SE | 15 | 24 | 0.0062776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1631-37_1_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.075039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-37_1_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.50523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-37_1_3_line_19 | NAYY 4x150 SE | 18 | 34 | 0.31396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-37_1_3_line_20 | NAYY 4x150 SE | 18 | 22 | 0.17204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-37_1_3_line_21 | NAYY 4x150 SE | 19 | 20 | 1.0585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-37_1_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.026512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-37_1_3_line_23 | NAYY 4x150 SE | 20 | 31 | 0.016724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-37_1_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.073781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-37_1_3_line_25 | NAYY 4x150 SE | 23 | 31 | 0.096718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-37_1_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0099734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1631-37_1_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.010006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-37_1_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0080116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-37_1_3_line_29 | NAYY 4x150 SE | 27 | 32 | 0.0080642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-37_1_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0054472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-37_1_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0054868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-37_1_3_line_32 | NAYY 4x150 SE | 29 | 33 | 0.007249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-37_1_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.0073694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-37_1_3_trafo_154 | 0.25 MVA 20/0.4 kV | 35 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57
0 | 2724494.4246 | 1206052.2571 | 2724505.2205 | 1206056.67 | 2724509.2026 | 1206059.0406
1 | 2724486.3006 | 1206048.9363 | 2724494.4246 | 1206052.2571
2 | 2724530.2468 | 1206084.9579 | 2724525.3533 | 1206079.5629 | 2724518.1123 | 1206067.436 | 2724513.8926 | 1206061.8326 | 2724509.2026 | 1206059.0406
3 | 2724486.3006 | 1206048.9363 | 2724489.2114 | 1206036.8335
4 | 2724554.3174 | 1206097.4251 | 2724544.9738 | 1206093.0935 | 2724530.2468 | 1206084.9579
5 | 2724492.7317 | 1206010.1889 | 2724492.0262 | 1206014.8186 | 2724489.358 | 1206036.2237 | 2724489.2114 | 1206036.8335
6 | 2724554.3174 | 1206097.4251 | 2724564.6177 | 1206095.2939
7 | 2724494.1948 | 1206000.5863 | 2724492.7317 | 1206010.1889
8 | 2724540.5315 | 1205953.6261 | 2724535.0887 | 1205957.9622 | 2724525.7242 | 1205963.004 | 2724511.3309 | 1205980.4283 | 2724511.0261 | 1205980.78
9 | 2724504.8503 | 1205998.9406 | 2724504.8177 | 1205988.1094 | 2724506.1543 | 1205986.4026 | 2724511.0261 | 1205980.78
10 | 2724553.6763 | 1205943.7279 | 2724552.3171 | 1205945.0561 | 2724550.0053 | 1205947.1873 | 2724543.2358 | 1205951.4716 | 2724540.5315 | 1205953.6261
11 | 2724494.1948 | 1206000.5863 | 2724504.8503 | 1205998.9406
12 | 2724504.8503 | 1205998.9406 | 2724507.9297 | 1205998.2649
13 | 2724494.1948 | 1206000.5863 | 2724490.3142 | 1205998.9489
14 | 2724507.9297 | 1205998.2649 | 2724512.4776 | 1205997.267
15 | 2724478.9715 | 1205995.7637 | 2724486.2382 | 1205997.229 | 2724490.3142 | 1205998.9489
16 | 2724512.4776 | 1205997.267 | 2724518.6094 | 1205995.9216
17 | 2724553.6763 | 1205943.7279 | 2724551.2908 | 1205942.0992 | 2724538.1359 | 1205939.1892 | 2724521.2344 | 1205936.4346 | 2724518.8192 | 1205934.7719 | 2724519.483 | 1205932.862 | 2724509.3739 | 1205918.1623 | 2724499.1046 | 1205910.4089 | 2724500.1766 | 1205904.6157
18 | 2724553.6763 | 1205943.7279 | 2724560.1573 | 1205934.6785 | 2724567.9334 | 1205927.7354 | 2724574.3451 | 1205920.5526 | 2724576.1273 | 1205916.8203 | 2724577.4327 | 1205912.5998 | 2724578.0878 | 1205900.9046 | 2724577.8501 | 1205885.3211 | 2724575.5016 | 1205868.804 | 2724572.2172 | 1205852.2895 | 2724571.3005 | 1205837.5258 | 2724570.2056 | 1205833.8446 | 2724568.144 | 1205829.8208 | 2724560.8478 | 1205824.3422 | 2724554.2588 | 1205822.1586 | 2724546.0278 | 1205820.9971 | 2724538.8452 | 1205818.4565 | 2724534.8329 | 1205816.0265 | 2724527.0575 | 1205805.4341 | 2724526.2018 | 1205801.5911 | 2724524.7024 | 1205797.2454 | 2724520.1594 | 1205792.9029 | 2724502.3933 | 1205770.3041 | 2724492.4285 | 1205760.3443 | 2724488.4793 | 1205754.8912 | 2724480.7737 | 1205739.8524 | 2724469.4929 | 1205723.3047 | 2724465.9254 | 1205715.6022 | 2724464.0387 | 1205709.0246 | 2724458.2117 | 1205700.9414 | 2724437.1561 | 1205655.8238 | 2724424.7489 | 1205621.0388 | 2724418.9274 | 1205609.7645 | 2724411.7819 | 1205586.8204 | 2724409.5253 | 1205574.9866 | 2724402.1966 | 1205558.6326 | 2724399.9337 | 1205551.48 | 2724397.1203 | 1205535.6983 | 2724397.4423 | 1205524.9968 | 2724399.5887 | 1205520.9496 | 2724400.9734 | 1205520.5893 | 2724411.4151 | 1205525.2214
19 | 2724411.4151 | 1205525.2214 | 2724438.9326 | 1205578.3019 | 2724446.2545 | 1205590.5971 | 2724459.1395 | 1205610.503 | 2724474.9531 | 1205634.0839 | 2724486.8111 | 1205648.8646 | 2724492.9598 | 1205655.0197 | 2724515.4132 | 1205674.3359 | 2724545.672 | 1205696.6173 | 2724557.9934 | 1205702.6678 | 2724597.0165 | 1205720.9625 | 2724616.8687 | 1205727.0926 | 2724631.0677 | 1205733.9497
20 | 2724410.7865 | 1205444.0688 | 2724404.8297 | 1205443.2886 | 2724397.0293 | 1205440.7909 | 2724384.8936 | 1205435.2894 | 2724368.5434 | 1205435.2155 | 2724382.1181 | 1205450.899 | 2724387.0625 | 1205458.6301 | 2724389.7541 | 1205461.6441 | 2724394.2723 | 1205474.8593 | 2724394.0139 | 1205477.4003 | 2724385.822 | 1205473.9715 | 2724381.2507 | 1205473.1646 | 2724381.5776 | 1205476.8297 | 2724391.3586 | 1205489.7989 | 2724389.6173 | 1205492.6648 | 2724388.9453 | 1205495.6975 | 2724389.4081 | 1205497.9533 | 2724392.083 | 1205501.7675 | 2724401.2656 | 1205509.1311 | 2724406.1808 | 1205516.0721 | 2724411.4151 | 1205525.2214
21 | 2724565.9886 | 1205533.995 | 2724572.5288 | 1205541.0813 | 2724589.8543 | 1205556.3766 | 2724596.9044 | 1205561.6389 | 2724610.2597 | 1205569.2011 | 2724607.9529 | 1205563.4374 | 2724597.8872 | 1205556.1107 | 2724594.1455 | 1205549.8279 | 2724587.9563 | 1205533.2194 | 2724575.445 | 1205497.2532 | 2724560.1848 | 1205426.7479 | 2724560.6506 | 1205400.0596 | 2724560.5891 | 1205373.4825 | 2724553.66 | 1205343.4596 | 2724582.8445 | 1205346.2038 | 2724603.4871 | 1205341.5087 | 2724623.1955 | 1205315.2333 | 2724636.3287 | 1205290.8333 | 2724652.2813 | 1205278.6348 | 2724662.8748 | 1205277.8331 | 2724669.2536 | 1205279.5453 | 2724675.1729 | 1205284.6728 | 2724688.5578 | 1205291.2128 | 2724693.3863 | 1205291.3693 | 2724697.472 | 1205271.7286 | 2724698.1645 | 1205250.9717 | 2724725.119 | 1205269.0483 | 2724720.0088 | 1205223.3846 | 2724719.8167 | 1205190.7113 | 2724719.9273 | 1205185.4207 | 2724722.905 | 1205184.5711 | 2724728.0929 | 1205190.8398 | 2724747.1745 | 1205208.7965 | 2724759.6986 | 1205220.8451 | 2724758.0067 | 1205204.2304 | 2724764.2252 | 1205209.242 | 2724797.1947 | 1205233.327 | 2724794.9092 | 1205225.451 | 2724806.5802 | 1205228.4416 | 2724824.0346 | 1205237.9581 | 2724842.689 | 1205243.9415 | 2724858.7396 | 1205251.4495 | 2724890.729 | 1205259.8026 | 2724902.6137 | 1205262.3865 | 2724925.1607 | 1205272.5214 | 2724917.8481 | 1205257.9907 | 2724916.5412 | 1205250.2685 | 2724879.3715 | 1205200.7534 | 2724878.3954 | 1205190.6698 | 2724869.0373 | 1205174.6063 | 2724864.2628 | 1205169.6805 | 2724865.4404 | 1205162.1327 | 2724874.1553 | 1205157.3002 | 2724875.3326 | 1205155.2232 | 2724873.5988 | 1205149.3491 | 2724870.1414 | 1205142.5717 | 2724869.8647 | 1205139.7971 | 2724871.1917 | 1205135.2881
22 | 2724871.1917 | 1205135.2881 | 2724893.644 | 1205149.387
23 | 2724565.9886 | 1205533.995 | 2724559.1465 | 1205530.7943 | 2724555.435 | 1205525.9799 | 2724552.7573 | 1205524.4351
24 | 2724410.7865 | 1205444.0688 | 2724421.545 | 1205448.1072 | 2724429.3704 | 1205453.0518 | 2724446.9026 | 1205466.494 | 2724464.6327 | 1205482.1199 | 2724470.0415 | 1205487.0329
25 | 2724470.0415 | 1205487.0329 | 2724478.0516 | 1205494.3089 | 2724481.5843 | 1205496.0283 | 2724500.1787 | 1205499.3963 | 2724506.9146 | 1205507.3205 | 2724517.5195 | 1205515.0697 | 2724528.0778 | 1205522.1286 | 2724541.1159 | 1205525.214 | 2724547.616 | 1205521.4689 | 2724552.7573 | 1205524.4351
26 | 2724518.6094 | 1205995.9216 | 2724521.7878 | 1205995.2243 | 2724528.4518 | 1205994.3631
27 | 2724538.4003 | 1205993.518 | 2724535.3442 | 1205993.4723 | 2724528.4518 | 1205994.3631
28 | 2724538.4003 | 1205993.518 | 2724544.7223 | 1205993.6125 | 2724546.4088 | 1205993.7031
29 | 2724554.4614 | 1205994.1359 | 2724546.4088 | 1205993.7031
30 | 2724574.4981 | 1205995.2126 | 2724569.0588 | 1205994.9203
31 | 2724574.4981 | 1205995.2126 | 2724579.9695 | 1205995.6235
32 | 2724561.8202 | 1205994.5313 | 2724569.0588 | 1205994.9203
33 | 2724554.4614 | 1205994.1359 | 2724561.8202 | 1205994.5313

## bus_geodata
| x | y | coords
0 | 2724494.4246 | 1206052.2571
1 | 2724509.2026 | 1206059.0406
2 | 2724486.3006 | 1206048.9363
3 | 2724530.2468 | 1206084.9579
4 | 2724489.2114 | 1206036.8335
5 | 2724554.3174 | 1206097.4251
6 | 2724492.7317 | 1206010.1889
7 | 2724564.6177 | 1206095.2939
8 | 2724511.0261 | 1205980.78
9 | 2724540.5315 | 1205953.6261
10 | 2724504.8503 | 1205998.9406
11 | 2724494.1948 | 1206000.5863
12 | 2724507.9297 | 1205998.2649
13 | 2724478.9715 | 1205995.7637
14 | 2724490.3142 | 1205998.9489
15 | 2724512.4776 | 1205997.267
16 | 2724500.1766 | 1205904.6157
17 | 2724553.6763 | 1205943.7279
18 | 2724411.4151 | 1205525.2214
19 | 2724871.1917 | 1205135.2881
20 | 2724565.9886 | 1205533.995
21 | 2724893.644 | 1205149.387
22 | 2724410.7865 | 1205444.0688
23 | 2724470.0415 | 1205487.0329
24 | 2724518.6094 | 1205995.9216
25 | 2724528.4518 | 1205994.3631
26 | 2724538.4003 | 1205993.518
27 | 2724546.4088 | 1205993.7031
28 | 2724574.4981 | 1205995.2126
29 | 2724569.0588 | 1205994.9203
30 | 2724579.9695 | 1205995.6235
31 | 2724552.7573 | 1205524.4351
32 | 2724554.4614 | 1205994.1359
33 | 2724561.8202 | 1205994.5313
34 | 2724631.0677 | 1205733.9497
35 | 2724504.8503 | 1205998.9406

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99314 | -0.048092 | 0.0087023 | 0.002181
1 | 0.99256 | -0.052148 | 0.011539 | 0.002892
2 | 0.99356 | -0.045137 | 0 | 0
3 | 0.99193 | -0.056627 | 0 | 0
4 | 0.99415 | -0.04095 | 0.01077 | 0.0026993
5 | 0.99142 | -0.060208 | 0 | 0
6 | 0.99585 | -0.029011 | 0.01036 | 0.0025964
7 | 0.99122 | -0.0616 | 0.013036 | 0.0032671
8 | 0.99704 | -0.020733 | 0.0028229 | 0.00070748
9 | 0.99577 | -0.029689 | 0.0036698 | 0.00091975
10 | 0.99776 | -0.015661 | 0 | 0
11 | 0.99661 | -0.023695 | 0 | 0
12 | 0.99821 | -0.012527 | 0.014792 | 0.0037072
13 | 0.99639 | -0.025272 | 0.0061183 | 0.0015334
14 | 0.99649 | -0.024544 | 0.013919 | 0.0034885
15 | 0.99859 | -0.0098698 | 0.0039398 | 0.0009874
16 | 0.99444 | -0.039038 | 0.0083448 | 0.0020914
17 | 0.99534 | -0.032722 | 0 | 0
18 | 0.98827 | -0.08327 | 0 | 0
19 | 0.97995 | -0.14335 | 0 | 0
20 | 0.98472 | -0.10882 | 0 | 0
21 | 0.97983 | -0.14421 | 0.0031022 | 0.00077748
22 | 0.98642 | -0.096591 | 0 | 0
23 | 0.98562 | -0.10231 | 0.0015564 | 0.00039007
24 | 0.99912 | -0.0061669 | 0.0058654 | 0.00147
25 | 1 | 0 | -0.15735 | -0.039297
26 | 0.99954 | -0.0032262 | 0.0062574 | 0.0015683
27 | 0.99924 | -0.0053103 | 0.0043295 | 0.0010851
28 | 0.99868 | -0.0092692 | 0 | 0
29 | 0.99872 | -0.0089897 | 0.0058162 | 0.0014577
30 | 0.99864 | -0.0095508 | 0.0051273 | 0.001285
31 | 0.9848 | -0.10826 | 0.002776 | 0.00069572
32 | 0.99899 | -0.0070601 | 0.0062924 | 0.001577
33 | 0.99883 | -0.0081959 | 0.0044637 | 0.0011187
34 | 0.98726 | -0.090499 | 0.0022357 | 0.00056032
35 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.024606 | 0.0061698 | -0.024592 | -0.0061647 | 1.3823e-05 | 5.1057e-06 | 0.036868 | 0.036868 | 0.036868 | 0.99314 | -0.048092 | 0.99256 | -0.052148 | 13.6548
1 | -0.033308 | -0.0083508 | 0.033322 | 0.008356 | 1.364e-05 | 5.1327e-06 | 0.049907 | 0.049907 | 0.049907 | 0.99314 | -0.048092 | 0.99356 | -0.045137 | 18.4839
2 | 0.013053 | 0.0032727 | -0.013045 | -0.00327 | 8.0959e-06 | 2.6762e-06 | 0.019569 | 0.019569 | 0.019569 | 0.99256 | -0.052148 | 0.99193 | -0.056627 | 7.2477
3 | -0.033322 | -0.008356 | 0.033341 | 0.0083632 | 1.9346e-05 | 7.2795e-06 | 0.049907 | 0.049906 | 0.049907 | 0.99356 | -0.045137 | 0.99415 | -0.04095 | 18.4839
4 | 0.013045 | 0.00327 | -0.013038 | -0.0032679 | 6.4664e-06 | 2.138e-06 | 0.019569 | 0.019569 | 0.019569 | 0.99193 | -0.056627 | 0.99142 | -0.060208 | 7.2478
5 | -0.044111 | -0.011062 | 0.044184 | 0.01109 | 7.3126e-05 | 2.7776e-05 | 0.066027 | 0.066027 | 0.066027 | 0.99415 | -0.04095 | 0.99585 | -0.029011 | 24.4544
6 | 0.013038 | 0.0032679 | -0.013036 | -0.0032671 | 2.5135e-06 | 8.3111e-07 | 0.019569 | 0.019569 | 0.019569 | 0.99142 | -0.060208 | 0.99122 | -0.0616 | 7.2478
7 | -0.054544 | -0.013687 | 0.054585 | 0.013702 | 4.0266e-05 | 1.5361e-05 | 0.081507 | 0.081507 | 0.081507 | 0.99585 | -0.029011 | 0.99661 | -0.023695 | 30.1876
8 | 0.021836 | 0.0054622 | -0.021809 | -0.0054524 | 2.6939e-05 | 9.8316e-06 | 0.032585 | 0.032585 | 0.032585 | 0.99704 | -0.020733 | 0.99577 | -0.029689 | 12.0685
9 | -0.024659 | -0.0061697 | 0.024676 | 0.006176 | 1.7269e-05 | 6.3753e-06 | 0.036798 | 0.036798 | 0.036798 | 0.99704 | -0.020733 | 0.99776 | -0.015661 | 13.6288
10 | 0.018139 | 0.0045326 | -0.018131 | -0.0045299 | 7.5683e-06 | 2.6962e-06 | 0.027101 | 0.027101 | 0.027101 | 0.99577 | -0.029689 | 0.99534 | -0.032722 | 10.0374
11 | 0.074708 | 0.018757 | -0.074625 | -0.018725 | 8.3296e-05 | 3.1897e-05 | 0.11143 | 0.11143 | 0.11143 | 0.99776 | -0.015661 | 0.99661 | -0.023695 | 41.2699
12 | -0.099384 | -0.024933 | 0.099428 | 0.024949 | 4.3222e-05 | 1.6583e-05 | 0.14823 | 0.14823 | 0.14823 | 0.99776 | -0.015661 | 0.99821 | -0.012527 | 54.8986
13 | 0.020041 | 0.0050228 | -0.020038 | -0.005022 | 2.3532e-06 | 8.5019e-07 | 0.029922 | 0.029922 | 0.029922 | 0.99661 | -0.023695 | 0.99649 | -0.024544 | 11.0823
14 | -0.11422 | -0.028657 | 0.11426 | 0.028673 | 4.212e-05 | 1.6078e-05 | 0.17028 | 0.17028 | 0.17028 | 0.99821 | -0.012527 | 0.99859 | -0.0098698 | 31.5327
15 | -0.0061183 | -0.0015334 | 0.006119 | 0.0015335 | 6.1666e-07 | 8.2989e-08 | 0.0091372 | 0.0091371 | 0.0091372 | 0.99639 | -0.025272 | 0.99649 | -0.024544 | 3.3841
16 | -0.1182 | -0.02966 | 0.11826 | 0.029683 | 6.0772e-05 | 2.3209e-05 | 0.17615 | 0.17615 | 0.17615 | 0.99859 | -0.0098698 | 0.99912 | -0.0061669 | 32.6199
17 | -0.0083448 | -0.0020914 | 0.0083521 | 0.0020932 | 7.3005e-06 | 1.8334e-06 | 0.012487 | 0.012486 | 0.012487 | 0.99444 | -0.039038 | 0.99534 | -0.032722 | 4.6247
18 | 0.0097792 | 0.0024367 | -0.0097119 | -0.0024173 | 6.7348e-05 | 1.9383e-05 | 0.014615 | 0.014617 | 0.014617 | 0.99534 | -0.032722 | 0.98827 | -0.08327 | 5.4137
19 | 0.0022379 | 0.00055716 | -0.0022357 | -0.00056032 | 2.2236e-06 | -3.1635e-06 | 0.0033683 | 0.0033697 | 0.0033697 | 0.98827 | -0.08327 | 0.98726 | -0.090499 | 1.248
20 | 0.007474 | 0.0018601 | -0.0074604 | -0.0018571 | 1.3585e-05 | 3.0246e-06 | 0.011249 | 0.01125 | 0.01125 | 0.98827 | -0.08327 | 0.98642 | -0.096591 | 4.1665
21 | -0.0031025 | -0.00077729 | 0.0031172 | 0.00076952 | 1.4644e-05 | -7.7684e-06 | 0.004711 | 0.0047062 | 0.004711 | 0.97995 | -0.14335 | 0.98472 | -0.10882 | 1.7448
22 | 0.0031025 | 0.00077729 | -0.0031022 | -0.00077748 | 3.6717e-07 | -1.9275e-07 | 0.004711 | 0.0047111 | 0.0047111 | 0.97995 | -0.14335 | 0.97983 | -0.14421 | 1.7449
23 | -0.0031172 | -0.00076952 | 0.0031174 | 0.00076939 | 2.3114e-07 | -1.2387e-07 | 0.0047062 | 0.0047062 | 0.0047062 | 0.98472 | -0.10882 | 0.9848 | -0.10826 | 1.7431
24 | 0.0074604 | 0.0018571 | -0.0074546 | -0.0018558 | 5.8265e-06 | 1.2999e-06 | 0.01125 | 0.01125 | 0.01125 | 0.98642 | -0.096591 | 0.98562 | -0.10231 | 4.1666
25 | 0.0058982 | 0.0014657 | -0.0058934 | -0.0014651 | 4.7809e-06 | 6.0719e-07 | 0.0089002 | 0.0089006 | 0.0089006 | 0.98562 | -0.10231 | 0.9848 | -0.10826 | 3.2965
26 | -0.12413 | -0.031153 | 0.12423 | 0.031194 | 0.00010636 | 4.0647e-05 | 0.18488 | 0.18488 | 0.18488 | 0.99912 | -0.0061669 | 1 | 0 | 34.2375
27 | 0.032318 | 0.0081031 | -0.032303 | -0.0080977 | 1.444e-05 | 5.4227e-06 | 0.048091 | 0.048091 | 0.048091 | 1 | 0 | 0.99954 | -0.0032262 | 17.8114
28 | 0.026046 | 0.0065294 | -0.026038 | -0.0065267 | 7.5165e-06 | 2.786e-06 | 0.038775 | 0.038775 | 0.038775 | 0.99954 | -0.0032262 | 0.99924 | -0.0053103 | 14.3612
29 | 0.021709 | 0.0054416 | -0.021704 | -0.0054397 | 5.2591e-06 | 1.9171e-06 | 0.032328 | 0.032328 | 0.032328 | 0.99924 | -0.0053103 | 0.99899 | -0.0070601 | 11.9734
30 | -0.0051275 | -0.001285 | 0.0051277 | 0.001285 | 1.984e-07 | 5.0292e-09 | 0.0076399 | 0.0076399 | 0.0076399 | 0.99868 | -0.0092692 | 0.99872 | -0.0089897 | 2.8296
31 | 0.0051275 | 0.001285 | -0.0051273 | -0.001285 | 1.9984e-07 | 5.072e-09 | 0.0076399 | 0.0076399 | 0.0076399 | 0.99868 | -0.0092692 | 0.99864 | -0.0095508 | 2.8296
32 | -0.010944 | -0.0027427 | 0.010945 | 0.0027431 | 1.2026e-06 | 3.6769e-07 | 0.016306 | 0.016306 | 0.016306 | 0.99872 | -0.0089897 | 0.99883 | -0.0081959 | 6.0391
33 | 0.015411 | 0.0038626 | -0.015409 | -0.0038618 | 2.4232e-06 | 8.3552e-07 | 0.022955 | 0.022955 | 0.022955 | 0.99899 | -0.0070601 | 0.99883 | -0.0081959 | 8.502

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16679 | 0.041662

## res_load
| p_mw | q_mvar
0 | 0.0087023 | 0.002181
1 | 0.011539 | 0.002892
2 | 0.01077 | 0.0026993
3 | 0.01036 | 0.0025964
4 | 0.013036 | 0.0032671
5 | 0.0028229 | 0.00070748
6 | 0.0036698 | 0.00091975
7 | 0.014792 | 0.0037072
8 | 0.0061183 | 0.0015334
9 | 0.013919 | 0.0034885
10 | 0.0039398 | 0.0009874
11 | 0.0083448 | 0.0020914
12 | 0.0031022 | 0.00077748
13 | 0.0015564 | 0.00039007
14 | 0.0058654 | 0.00147
15 | 0.0094376 | 0.0023653
16 | 0.0062574 | 0.0015683
17 | 0.0043295 | 0.0010851
18 | 0.0058162 | 0.0014577
19 | 0.0051273 | 0.001285
20 | 0.002776 | 0.00069572
21 | 0.0062924 | 0.001577
22 | 0.0044637 | 0.0011187
23 | 0.0022357 | 0.00056032

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1