## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-51_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-51_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-51_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-51_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-51_0_1_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_1631-51_0_1_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_1631-51_0_1_node_67 | 0.4 | n |  | TRUE
7 | bus_LV_1631-51_0_1_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1631-51_0_1_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1631-51_0_1_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1631-51_0_1_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1631-51_0_1_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1631-51_0_1_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_1631-51_0_1_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1631-51_0_1_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1631-51_0_1_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1631-51_0_1_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1631-51_0_1_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1631-51_0_1_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1631-51_0_1_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1631-51_0_1_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_1631-51_0_1_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_1631-51_0_1_node_87 | 0.4 | n |  | TRUE
23 | bus_LV_1631-51_0_1_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1631-51_0_1_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1631-51_0_1_node_94 | 0.4 | n |  | TRUE
26 | bus_LV_1631-51_0_1_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_1631-51_0_1_node_86 | 0.4 | n |  | TRUE
28 | bus_LV_1631-51_0_1_node_90 | 0.4 | n |  | TRUE
29 | bus_MV_0_node_67 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-51_0_1_load_0 | 0 | 0.002828 | 0.00070876 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-51_0_1_load_14 | 4 | 0.00068437 | 0.00017152 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-51_0_1_load_67 | 6 | 0.0021778 | 0.00054582 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-51_0_1_load_5 | 7 | 0.0016715 | 0.00041891 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-51_0_1_load_4 | 8 | 0.00083451 | 0.00020915 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-51_0_1_load_8 | 11 | 0.0016666 | 0.00041769 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-51_0_1_load_16 | 13 | 0.00077233 | 0.00019356 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-51_0_1_load_9 | 14 | 0.0012175 | 0.00030513 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-51_0_1_load_10 | 15 | 0.00053953 | 0.00013522 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-51_0_1_load_12 | 17 | 0.00069483 | 0.00017414 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-51_0_1_load_15 | 19 | 0.001186 | 0.00029723 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-51_0_1_load_38 | 21 | 0.0012211 | 0.00030603 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-51_0_1_load_87 | 22 | 0.00047288 | 0.00011851 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-51_0_1_load_19 | 24 | 0.00042416 | 0.0001063 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-51_0_1_load_94 | 25 | 0.00098309 | 0.00024639 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-51_0_1_load_40 | 26 | 0.0015342 | 0.00038451 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-51_0_1_load_86 | 27 | 0.00043801 | 0.00010978 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-51_0_1_load_90 | 28 | 0.0007818 | 0.00019594 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-51_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-51_0_1_line_1 | NAYY 4x150 SE | 1 | 2 | 0.006234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-51_0_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.052042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-51_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.03576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-51_0_1_line_4 | NAYY 4x150 SE | 2 | 5 | 0.032954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-51_0_1_line_5 | NAYY 4x150 SE | 3 | 6 | 0.092445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-51_0_1_line_6 | NAYY 4x150 SE | 3 | 7 | 0.039107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-51_0_1_line_7 | NAYY 4x150 SE | 4 | 16 | 0.035764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-51_0_1_line_8 | NAYY 4x150 SE | 5 | 26 | 0.034106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-51_0_1_line_9 | NAYY 4x150 SE | 7 | 8 | 0.13603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-51_0_1_line_10 | NAYY 4x150 SE | 8 | 9 | 0.034064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-51_0_1_line_11 | NAYY 4x150 SE | 9 | 10 | 0.045561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-51_0_1_line_12 | NAYY 4x150 SE | 9 | 11 | 0.02182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-51_0_1_line_13 | NAYY 4x150 SE | 10 | 12 | 0.019316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-51_0_1_line_14 | NAYY 4x150 SE | 10 | 13 | 0.04794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-51_0_1_line_15 | NAYY 4x150 SE | 12 | 25 | 0.02958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-51_0_1_line_16 | NAYY 4x150 SE | 13 | 23 | 0.065649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-51_0_1_line_17 | NAYY 4x150 SE | 14 | 15 | 0.015859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-51_0_1_line_18 | NAYY 4x150 SE | 14 | 16 | 0.017959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-51_0_1_line_19 | NAYY 4x150 SE | 15 | 17 | 0.0092394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-51_0_1_line_20 | NAYY 4x150 SE | 16 | 18 | 0.088463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-51_0_1_line_21 | NAYY 4x150 SE | 17 | 19 | 0.018186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-51_0_1_line_22 | NAYY 4x150 SE | 18 | 20 | 0.013591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-51_0_1_line_23 | NAYY 4x150 SE | 18 | 21 | 0.014975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-51_0_1_line_24 | NAYY 4x150 SE | 19 | 22 | 0.4825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-51_0_1_line_25 | NAYY 4x150 SE | 20 | 27 | 0.0053517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-51_0_1_line_26 | NAYY 4x150 SE | 23 | 24 | 0.20468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-51_0_1_line_27 | NAYY 4x150 SE | 25 | 28 | 0.040336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-51_0_1_trafo_67 | 0.25 MVA 20/0.4 kV | 29 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2719181.284 | 1201267.3749 | 2719192.9273 | 1201280.7151
1 | 2719181.284 | 1201267.3749 | 2719178.858 | 1201267.9936 | 2719175.4314 | 1201266.4797
2 | 2719208.3483 | 1201222.9265 | 2719183.4936 | 1201264.628 | 2719181.284 | 1201267.3749
3 | 2719175.4314 | 1201266.4797 | 2719169.3458 | 1201271.1618 | 2719164.9064 | 1201278.8122 | 2719163.3973 | 1201288.0445 | 2719159.6117 | 1201293.4619 | 2719158.1711 | 1201296.4001
4 | 2719175.4314 | 1201266.4797 | 2719174.146 | 1201263.3629 | 2719173.4661 | 1201259.2797 | 2719172.4429 | 1201233.8628
5 | 2719208.3483 | 1201222.9265 | 2719213.7109 | 1201253.3225 | 2719217.079 | 1201263.8641 | 2719219.3378 | 1201268.1901 | 2719231.7498 | 1201286.0509 | 2719233.9986 | 1201290.8771 | 2719233.7616 | 1201297.7886 | 2719232.4034 | 1201309.37
6 | 2719208.3483 | 1201222.9265 | 2719209.7184 | 1201218.3727 | 2719210.2858 | 1201212.8355 | 2719209.9638 | 1201203.411 | 2719208.6949 | 1201192.6 | 2719208.8049 | 1201189.7556 | 2719210.0681 | 1201187.8906 | 2719213.185 | 1201186.6074 | 2719213.185 | 1201186.6074
7 | 2719136.8219 | 1201314.8899 | 2719149.3519 | 1201316.1628 | 2719154.0986 | 1201313.7113 | 2719155.2648 | 1201308.3083 | 2719157.4846 | 1201297.8004 | 2719158.1711 | 1201296.4001
8 | 2719172.4429 | 1201233.8628 | 2719179.5822 | 1201218.7385 | 2719180.1206 | 1201215.0354 | 2719180.3109 | 1201210.4581 | 2719177.061 | 1201201.9981
9 | 2719273.5994 | 1201296.5203 | 2719270.5159 | 1201296.9437 | 2719263.3168 | 1201295.232 | 2719258.7179 | 1201292.9497 | 2719255.0702 | 1201289.163 | 2719250.4304 | 1201280.9199 | 2719248.5689 | 1201274.6226 | 2719241.7677 | 1201231.633 | 2719237.8088 | 1201215.2197 | 2719231.0921 | 1201203.8329 | 2719219.4317 | 1201189.5008 | 2719215.718 | 1201187.1138 | 2719213.185 | 1201186.6074
10 | 2719307.3468 | 1201291.8863 | 2719273.5994 | 1201296.5203
11 | 2719307.3468 | 1201291.8863 | 2719317.2209 | 1201290.8049 | 2719326.9004 | 1201289.1747 | 2719337.6883 | 1201288.4674 | 2719352.8163 | 1201288.136
12 | 2719307.3468 | 1201291.8863 | 2719305.0933 | 1201310.1659 | 2719305.558 | 1201313.5361
13 | 2719348.7471 | 1201270.0192 | 2719348.0678 | 1201272.3851 | 2719348.267 | 1201278.0377 | 2719349.1572 | 1201281.8805 | 2719349.9904 | 1201283.6207 | 2719352.8163 | 1201288.136
14 | 2719352.8163 | 1201288.136 | 2719398.8694 | 1201287.9559 | 2719400.7485 | 1201288.1255
15 | 2719348.7471 | 1201270.0192 | 2719346.8048 | 1201261.6742 | 2719345.028 | 1201258.3808 | 2719338.8466 | 1201251.0853 | 2719333.0791 | 1201245.933
16 | 2719462.4483 | 1201287.0926 | 2719460.6601 | 1201289.7032 | 2719457.8027 | 1201292.0923 | 2719455.2235 | 1201293.5196 | 2719448.6932 | 1201295.6795 | 2719444.4114 | 1201296.1943 | 2719440.4094 | 1201296.4256 | 2719433.5338 | 1201295.6765 | 2719410.9345 | 1201289.6315 | 2719403.3003 | 1201288.3558 | 2719400.7485 | 1201288.1255
17 | 2719133.4382 | 1201329.8966 | 2719134.7007 | 1201334.1951 | 2719134.1152 | 1201342.9343 | 2719135.3423 | 1201345.2488
18 | 2719136.8219 | 1201314.8899 | 2719132.8895 | 1201317.3577 | 2719130.9719 | 1201321.5003 | 2719133.4382 | 1201329.8966
19 | 2719135.3423 | 1201345.2488 | 2719139.6704 | 1201353.4118
20 | 2719136.8219 | 1201314.8899 | 2719128.6488 | 1201304.7528 | 2719115.3351 | 1201286.2738 | 2719102.459 | 1201266.4693 | 2719097.8309 | 1201257.6261 | 2719093.2269 | 1201247.9605 | 2719090.8831 | 1201239.8745
21 | 2719148.189 | 1201369.4789 | 2719148.189 | 1201369.4789 | 2719139.6704 | 1201353.4118
22 | 2719080.4671 | 1201232.2391 | 2719083.4481 | 1201236.624 | 2719086.8178 | 1201239.0818 | 2719090.8831 | 1201239.8745
23 | 2719090.8831 | 1201239.8745 | 2719095.3361 | 1201239.5519 | 2719099.2173 | 1201236.983 | 2719103.3576 | 1201232.841
24 | 2719148.189 | 1201369.4789 | 2719043.5639 | 1201840.499
25 | 2719080.4671 | 1201232.2391 | 2719078.4336 | 1201227.2889
26 | 2719584.506 | 1201440.8029 | 2719562.1518 | 1201419.8957 | 2719560.1793 | 1201416.4981 | 2719558.6647 | 1201410.7636 | 2719553.9816 | 1201389.4987 | 2719538.8799 | 1201353.1587 | 2719523.8557 | 1201328.5289 | 2719515.5394 | 1201320.6345 | 2719503.0231 | 1201313.3566 | 2719485.7667 | 1201303.2374 | 2719476.1286 | 1201294.8052 | 2719462.4483 | 1201287.0926
27 | 2719333.0791 | 1201245.933 | 2719358.7662 | 1201214.8342

## bus_geodata
| x | y | coords
0 | 2719192.9273 | 1201280.7151
1 | 2719181.284 | 1201267.3749
2 | 2719175.4314 | 1201266.4797
3 | 2719208.3483 | 1201222.9265
4 | 2719158.1711 | 1201296.4001
5 | 2719172.4429 | 1201233.8628
6 | 2719232.4034 | 1201309.37
7 | 2719213.185 | 1201186.6074
8 | 2719273.5994 | 1201296.5203
9 | 2719307.3468 | 1201291.8863
10 | 2719352.8163 | 1201288.136
11 | 2719305.558 | 1201313.5361
12 | 2719348.7471 | 1201270.0192
13 | 2719400.7485 | 1201288.1255
14 | 2719133.4382 | 1201329.8966
15 | 2719135.3423 | 1201345.2488
16 | 2719136.8219 | 1201314.8899
17 | 2719139.6704 | 1201353.4118
18 | 2719090.8831 | 1201239.8745
19 | 2719148.189 | 1201369.4789
20 | 2719080.4671 | 1201232.2391
21 | 2719103.3576 | 1201232.841
22 | 2719043.5639 | 1201840.499
23 | 2719462.4483 | 1201287.0926
24 | 2719584.506 | 1201440.8029
25 | 2719333.0791 | 1201245.933
26 | 2719177.061 | 1201201.9981
27 | 2719078.4336 | 1201227.2889
28 | 2719358.7662 | 1201214.8342
29 | 2719232.4034 | 1201309.37

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99675 | -0.022941 | 0.002828 | 0.00070876
1 | 0.99682 | -0.022438 | 0 | 0
2 | 0.99675 | -0.022943 | 0 | 0
3 | 0.99763 | -0.016746 | 0 | 0
4 | 0.99642 | -0.025288 | 0.00068437 | 0.00017152
5 | 0.99668 | -0.023453 | 0 | 0
6 | 1 | 0 | -0.018817 | -0.0045028
7 | 0.99723 | -0.01957 | 0.0016715 | 0.00041891
8 | 0.99616 | -0.027112 | 0.00083451 | 0.00020915
9 | 0.99594 | -0.028714 | 0 | 0
10 | 0.99575 | -0.030091 | 0 | 0
11 | 0.99589 | -0.02908 | 0.0016666 | 0.00041769
12 | 0.9957 | -0.030436 | 0 | 0
13 | 0.99566 | -0.030682 | 0.00077233 | 0.00019356
14 | 0.99602 | -0.028139 | 0.0012175 | 0.00030513
15 | 0.99595 | -0.028608 | 0.00053953 | 0.00013522
16 | 0.99613 | -0.027387 | 0 | 0
17 | 0.99592 | -0.028832 | 0.00069483 | 0.00017414
18 | 0.99592 | -0.02887 | 0 | 0
19 | 0.99588 | -0.029144 | 0.001186 | 0.00029723
20 | 0.99591 | -0.02893 | 0 | 0
21 | 0.99589 | -0.029054 | 0.0012211 | 0.00030603
22 | 0.99555 | -0.031554 | 0.00047288 | 0.00011851
23 | 0.99562 | -0.030978 | 0 | 0
24 | 0.9955 | -0.031872 | 0.00042416 | 0.0001063
25 | 0.99562 | -0.030963 | 0.00098309 | 0.00024639
26 | 0.9966 | -0.023979 | 0.0015342 | 0.00038451
27 | 0.9959 | -0.028953 | 0.00043801 | 0.00010978
28 | 0.99558 | -0.031281 | 0.0007818 | 0.00019594
29 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.002828 | -0.00070876 | 0.0028282 | 0.00070861 | 1.9693e-07 | -1.5507e-07 | 0.0042218 | 0.0042217 | 0.0042218 | 0.99675 | -0.022941 | 0.99682 | -0.022438 | 1.5636
1 | 0.0079941 | 0.0019937 | -0.0079936 | -0.0019936 | 5.5364e-07 | 1.3168e-07 | 0.01193 | 0.01193 | 0.01193 | 0.99682 | -0.022438 | 0.99675 | -0.022943 | 4.4185
2 | -0.010822 | -0.0027024 | 0.010831 | 0.0027049 | 8.4716e-06 | 2.5793e-06 | 0.016152 | 0.016151 | 0.016152 | 0.99682 | -0.022438 | 0.99763 | -0.016746 | 5.9821
3 | 0.0064592 | 0.0016099 | -0.0064571 | -0.0016096 | 2.0735e-06 | 3.3155e-07 | 0.0096395 | 0.0096397 | 0.0096397 | 0.99675 | -0.022943 | 0.99642 | -0.025288 | 3.5703
4 | 0.0015344 | 0.00038372 | -0.0015343 | -0.00038411 | 1.0788e-07 | -3.88e-07 | 0.0022904 | 0.0022906 | 0.0022906 | 0.99675 | -0.022943 | 0.99668 | -0.023453 | 0.84835
5 | -0.017975 | -0.004488 | 0.018017 | 0.0045027 | 4.1447e-05 | 1.4731e-05 | 0.026805 | 0.026805 | 0.026805 | 0.99763 | -0.016746 | 1 | 0 | 9.9278
6 | 0.0071444 | 0.0017831 | -0.0071417 | -0.0017825 | 2.7698e-06 | 5.5488e-07 | 0.010654 | 0.010654 | 0.010654 | 0.99763 | -0.016746 | 0.99723 | -0.01957 | 3.9459
7 | 0.0057727 | 0.001438 | -0.0057711 | -0.0014379 | 1.6574e-06 | 1.7174e-07 | 0.0086177 | 0.0086179 | 0.0086179 | 0.99642 | -0.025288 | 0.99613 | -0.027387 | 3.1918
8 | 0.0015343 | 0.00038411 | -0.0015342 | -0.00038451 | 1.1167e-07 | -4.015e-07 | 0.0022906 | 0.0022907 | 0.0022907 | 0.99668 | -0.023453 | 0.9966 | -0.023979 | 0.84841
9 | 0.0054702 | 0.0013636 | -0.0054646 | -0.0013632 | 5.6522e-06 | 4.0106e-07 | 0.0081598 | 0.0081604 | 0.0081604 | 0.99723 | -0.01957 | 0.99616 | -0.027112 | 3.0224
10 | 0.00463 | 0.0011541 | -0.004629 | -0.0011541 | 1.0161e-06 | -5.2569e-08 | 0.0069139 | 0.006914 | 0.006914 | 0.99616 | -0.027112 | 0.99594 | -0.028714 | 2.5608
11 | 0.0029623 | 0.00073667 | -0.0029618 | -0.00073705 | 5.5645e-07 | -3.7875e-07 | 0.004424 | 0.0044242 | 0.0044242 | 0.99594 | -0.028714 | 0.99575 | -0.030091 | 1.6386
12 | 0.0016667 | 0.00041744 | -0.0016666 | -0.00041769 | 8.4427e-08 | -2.5146e-07 | 0.0024901 | 0.0024902 | 0.0024902 | 0.99594 | -0.028714 | 0.99589 | -0.02908 | 0.92228
13 | 0.0017651 | 0.00044126 | -0.0017651 | -0.00044148 | 8.3842e-08 | -2.19e-07 | 0.0026374 | 0.0026375 | 0.0026375 | 0.99575 | -0.030091 | 0.9957 | -0.030436 | 0.97684
14 | 0.0011967 | 0.00029579 | -0.0011966 | -0.00029638 | 9.5519e-08 | -5.8681e-07 | 0.0017868 | 0.001787 | 0.001787 | 0.99575 | -0.030091 | 0.99566 | -0.030682 | 0.66186
15 | 0.0017651 | 0.00044148 | -0.0017649 | -0.00044181 | 1.284e-07 | -3.3532e-07 | 0.0026375 | 0.0026376 | 0.0026376 | 0.9957 | -0.030436 | 0.99562 | -0.030963 | 0.97689
16 | 0.00042422 | 0.00010281 | -0.00042421 | -0.00010366 | 1.641e-08 | -8.4746e-07 | 0.00063278 | 0.00063308 | 0.00063308 | 0.99566 | -0.030682 | 0.99562 | -0.030978 | 0.23447
17 | 0.0028937 | 0.00071845 | -0.0028935 | -0.00071858 | 1.8474e-07 | -1.3533e-07 | 0.0043207 | 0.0043207 | 0.0043207 | 0.99602 | -0.028139 | 0.99595 | -0.028608 | 1.6003
18 | -0.0041112 | -0.0010236 | 0.0041116 | 0.0010235 | 4.224e-07 | -7.1295e-08 | 0.0061396 | 0.0061395 | 0.0061396 | 0.99602 | -0.028139 | 0.99613 | -0.027387 | 2.2739
19 | 0.002354 | 0.00058336 | -0.0023539 | -0.00058346 | 7.122e-08 | -9.284e-08 | 0.0035147 | 0.0035147 | 0.0035147 | 0.99595 | -0.028608 | 0.99592 | -0.028832 | 1.3017
20 | 0.0016595 | 0.00041436 | -0.0016591 | -0.00041538 | 3.3912e-07 | -1.0209e-06 | 0.0024784 | 0.0024788 | 0.0024788 | 0.99613 | -0.027387 | 0.99592 | -0.02887 | 0.91807
21 | 0.0016591 | 0.00040932 | -0.001659 | -0.00040953 | 6.9602e-08 | -2.0986e-07 | 0.0024765 | 0.0024766 | 0.0024766 | 0.99592 | -0.028832 | 0.99588 | -0.029144 | 0.91727
22 | 0.00043802 | 0.00010953 | -0.00043801 | -0.00010971 | 3.6317e-09 | -1.7545e-07 | 0.00065436 | 0.00065442 | 0.00065442 | 0.99592 | -0.02887 | 0.99591 | -0.02893 | 0.24238
23 | 0.0012211 | 0.00030585 | -0.0012211 | -0.00030603 | 3.1106e-08 | -1.829e-07 | 0.0018244 | 0.0018245 | 0.0018245 | 0.99592 | -0.02887 | 0.99589 | -0.029054 | 0.67574
24 | 0.00047303 | 0.0001123 | -0.00047288 | -0.00011851 | 1.4994e-07 | -6.2183e-06 | 0.00070464 | 0.0007068 | 0.0007068 | 0.99588 | -0.029144 | 0.99555 | -0.031554 | 0.26178
25 | 0.00043801 | 0.00010971 | -0.00043801 | -0.00010978 | 1.4302e-09 | -6.9086e-08 | 0.00065442 | 0.00065445 | 0.00065445 | 0.99591 | -0.02893 | 0.9959 | -0.028953 | 0.24239
26 | 0.00042421 | 0.00010366 | -0.00042416 | -0.0001063 | 5.1263e-08 | -2.6417e-06 | 0.00063308 | 0.000634 | 0.000634 | 0.99562 | -0.030978 | 0.9955 | -0.031872 | 0.23482
27 | 0.00078183 | 0.00019543 | -0.0007818 | -0.00019594 | 3.436e-08 | -5.1131e-07 | 0.0011683 | 0.0011685 | 0.0011685 | 0.99562 | -0.030963 | 0.99558 | -0.031281 | 0.43278

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.020995 | 0.0050486

## res_load
| p_mw | q_mvar
0 | 0.002828 | 0.00070876
1 | 0.00068437 | 0.00017152
2 | 0.0021778 | 0.00054582
3 | 0.0016715 | 0.00041891
4 | 0.00083451 | 0.00020915
5 | 0.0016666 | 0.00041769
6 | 0.00077233 | 0.00019356
7 | 0.0012175 | 0.00030513
8 | 0.00053953 | 0.00013522
9 | 0.00069483 | 0.00017414
10 | 0.001186 | 0.00029723
11 | 0.0012211 | 0.00030603
12 | 0.00047288 | 0.00011851
13 | 0.00042416 | 0.0001063
14 | 0.00098309 | 0.00024639
15 | 0.0015342 | 0.00038451
16 | 0.00043801 | 0.00010978
17 | 0.0007818 | 0.00019594

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1