## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-51_1_2_node_18 | 0.4 | n |  | TRUE
1 | bus_LV_1631-51_1_2_node_91 | 0.4 | n |  | TRUE
2 | bus_LV_1631-51_1_2_node_47 | 0.4 | n |  | TRUE
3 | bus_LV_1631-51_1_2_node_21 | 0.4 | n |  | TRUE
4 | bus_LV_1631-51_1_2_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_1631-51_1_2_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_1631-51_1_2_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_1631-51_1_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1631-51_1_2_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1631-51_1_2_node_59 | 0.4 | n |  | TRUE
10 | bus_LV_1631-51_1_2_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_1631-51_1_2_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1631-51_1_2_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_1631-51_1_2_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_1631-51_1_2_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_1631-51_1_2_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_1631-51_1_2_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_1631-51_1_2_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_1631-51_1_2_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_1631-51_1_2_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_1631-51_1_2_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1631-51_1_2_node_35 | 0.4 | n |  | TRUE
22 | bus_LV_1631-51_1_2_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_1631-51_1_2_node_58 | 0.4 | n |  | TRUE
24 | bus_LV_1631-51_1_2_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1631-51_1_2_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_1631-51_1_2_node_89 | 0.4 | n |  | TRUE
27 | bus_LV_1631-51_1_2_node_49 | 0.4 | n |  | TRUE
28 | bus_LV_1631-51_1_2_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_1631-51_1_2_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_1631-51_1_2_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_1631-51_1_2_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1631-51_1_2_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_1631-51_1_2_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_1631-51_1_2_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_1631-51_1_2_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_1631-51_1_2_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_1631-51_1_2_node_57 | 0.4 | n |  | TRUE
38 | bus_LV_1631-51_1_2_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_1631-51_1_2_node_60 | 0.4 | n |  | TRUE
40 | bus_LV_1631-51_1_2_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_1631-51_1_2_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_1631-51_1_2_node_85 | 0.4 | n |  | TRUE
43 | bus_MV_13_0_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-51_1_2_load_91 | 1 | 0.0006968 | 0.00017463 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-51_1_2_load_21 | 3 | 0.0017942 | 0.00044966 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-51_1_2_load_22 | 4 | 0.0011823 | 0.00029632 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-51_1_2_load_23 | 5 | 0.0012198 | 0.0003057 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-51_1_2_load_24 | 6 | 0.001306 | 0.00032731 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-51_1_2_load_25 | 7 | 0.0011465 | 0.00028735 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-51_1_2_load_31 | 8 | 0.0013245 | 0.00033195 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-51_1_2_load_59 | 9 | 0.0012572 | 0.00031509 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-51_1_2_load_26 | 10 | 0.032463 | 0.008136 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-51_1_2_load_27 | 11 | 0.0044934 | 0.0011261 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-51_1_2_load_28 | 12 | 0.0050082 | 0.0012552 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-51_1_2_load_29 | 13 | 0.0040079 | 0.0010045 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-51_1_2_load_30 | 14 | 0.0051826 | 0.0012989 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-51_1_2_load_42 | 15 | 0.0059295 | 0.0014861 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-51_1_2_load_43 | 16 | 0.003781 | 0.00094762 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-51_1_2_load_32 | 18 | 0.0024764 | 0.00062064 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-51_1_2_load_33 | 19 | 0.0022199 | 0.00055636 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-51_1_2_load_35 | 21 | 0.0028898 | 0.00072425 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-51_1_2_load_37 | 22 | 0.0024974 | 0.00062591 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-51_1_2_load_58 | 23 | 0.0016074 | 0.00040285 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-51_1_2_load_45 | 24 | 0.0008074 | 0.00020235 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-51_1_2_load_52 | 25 | 0.0054767 | 0.0013726 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-51_1_2_load_89 | 26 | 0.0079343 | 0.0019885 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-51_1_2_load_44 | 28 | 0.00099464 | 0.00024928 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-51_1_2_load_48 | 30 | 0.0030246 | 0.00075805 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-51_1_2_load_50 | 31 | 0.0034814 | 0.00087251 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-51_1_2_load_51 | 32 | 0.0041019 | 0.001028 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-51_1_2_load_56 | 36 | 0.0060946 | 0.0015274 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-51_1_2_load_57 | 37 | 0.0029942 | 0.00075041 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-51_1_2_load_63 | 38 | 0.00060867 | 0.00015255 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-51_1_2_load_61 | 40 | 0.0013042 | 0.00032686 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-51_1_2_load_64 | 41 | 0.0040253 | 0.0010088 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-51_1_2_load_85 | 42 | 0.0041604 | 0.0010427 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-51_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.041191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-51_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.022733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-51_1_2_line_2 | NAYY 4x150 SE | 2 | 29 | 0.008831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-51_1_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.011089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-51_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0065215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-51_1_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.01634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-51_1_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.016311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-51_1_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0032346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-51_1_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0047312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-51_1_2_line_9 | NAYY 4x150 SE | 8 | 17 | 0.020283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-51_1_2_line_10 | NAYY 4x150 SE | 9 | 39 | 0.024335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-51_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.015377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-51_1_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.012623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-51_1_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.001082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-51_1_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.02687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-51_1_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.028795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-51_1_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0017986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-51_1_2_line_17 | NAYY 4x150 SE | 15 | 25 | 0.092905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-51_1_2_line_18 | NAYY 4x150 SE | 15 | 26 | 0.08661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-51_1_2_line_19 | NAYY 4x150 SE | 16 | 27 | 0.0071487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-51_1_2_line_20 | NAYY 4x150 SE | 17 | 23 | 0.02513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-51_1_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.021967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-51_1_2_line_22 | NAYY 4x150 SE | 18 | 19 | 0.021689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-51_1_2_line_23 | NAYY 4x150 SE | 18 | 20 | 0.06154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-51_1_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.0075888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-51_1_2_line_25 | NAYY 4x150 SE | 20 | 22 | 0.033545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-51_1_2_line_26 | NAYY 4x150 SE | 22 | 24 | 6.5815e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-51_1_2_line_27 | NAYY 4x150 SE | 24 | 28 | 0.024514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-51_1_2_line_28 | NAYY 4x150 SE | 25 | 34 | 0.099175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-51_1_2_line_29 | NAYY 4x150 SE | 26 | 42 | 0.18612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-51_1_2_line_30 | NAYY 4x150 SE | 27 | 31 | 0.041782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-51_1_2_line_31 | NAYY 4x150 SE | 27 | 32 | 0.0036574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-51_1_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.052797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-51_1_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.063673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-51_1_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.009202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-51_1_2_line_35 | NAYY 4x150 SE | 33 | 36 | 0.036238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-51_1_2_line_36 | NAYY 4x150 SE | 33 | 37 | 0.115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-51_1_2_line_37 | NAYY 4x150 SE | 34 | 35 | 0.08221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-51_1_2_line_38 | NAYY 4x150 SE | 35 | 39 | 0.15906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-51_1_2_line_39 | NAYY 4x150 SE | 37 | 38 | 0.26725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-51_1_2_line_40 | NAYY 4x150 SE | 38 | 41 | 0.29615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-51_1_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.022284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-51_1_2_trafo_27 | 0.25 MVA 20/0.4 kV | 43 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2719453.863 | 1201192.9183 | 2719445.9401 | 1201196.1735 | 2719442.9252 | 1201196.1576 | 2719441.5015 | 1201195.7733 | 2719439.076 | 1201194.4572 | 2719436.8158 | 1201192.8775 | 2719433.9577 | 1201189.9738 | 2719423.6998 | 1201174.4463
1 | 2719417.6508 | 1201152.5315 | 2719423.6998 | 1201174.4463
2 | 2719414.9484 | 1201144.1269 | 2719416.8911 | 1201149.781 | 2719417.6508 | 1201152.5315
3 | 2719306.3344 | 1201000.4829 | 2719315.4092 | 1201006.8567
4 | 2719306.3344 | 1201000.4829 | 2719300.9977 | 1200996.7346
5 | 2719315.4092 | 1201006.8567 | 2719325.7122 | 1201014.0931 | 2719328.7508 | 1201016.2898
6 | 2719288.5441 | 1200986.2668 | 2719289.4329 | 1200987.2601 | 2719296.0067 | 1200993.2291 | 2719300.9977 | 1200996.7346
7 | 2719328.7508 | 1201016.2898 | 2719331.3721 | 1201018.1849
8 | 2719285.3893 | 1200982.7409 | 2719288.5441 | 1200986.2668
9 | 2719347.8095 | 1201030.0683 | 2719331.3721 | 1201018.1849
10 | 2719274.5332 | 1200961.2547 | 2719276.5977 | 1200968.0676 | 2719278.8403 | 1200973.205 | 2719282.9903 | 1200980.0596 | 2719285.3893 | 1200982.7409
11 | 2719551.5371 | 1200934.2168 | 2719540.0675 | 1200929.4593 | 2719537.4973 | 1200927.9919
12 | 2719551.5371 | 1200934.2168 | 2719559.5586 | 1200937.5441 | 2719563.0993 | 1200939.2688
13 | 2719537.4973 | 1200927.9919 | 2719536.5576 | 1200927.4554
14 | 2719563.0993 | 1200939.2688 | 2719566.8431 | 1200941.0924 | 2719572.6759 | 1200945.6458 | 2719578.4355 | 1200951.1985 | 2719583.1428 | 1200956.7857
15 | 2719513.408 | 1200910.6357 | 2719515.7693 | 1200913.506 | 2719523.2155 | 1200919.2481 | 2719528.805 | 1200923.0293 | 2719536.5576 | 1200927.4554
16 | 2719584.3016 | 1200958.1612 | 2719583.1428 | 1200956.7857
17 | 2719455.8647 | 1200837.7273 | 2719460.1297 | 1200843.8756 | 2719485.0995 | 1200874.6197 | 2719503.2138 | 1200898.2437 | 2719513.408 | 1200910.6357
18 | 2719428.999 | 1200930.039 | 2719513.408 | 1200910.6357
19 | 2719588.9077 | 1200963.6283 | 2719584.3016 | 1200958.1612
20 | 2719347.8095 | 1201030.0683 | 2719351.5018 | 1201026.6729 | 2719357.6751 | 1201021.8149 | 2719360.0865 | 1201018.505 | 2719363.6602 | 1201011.1377
21 | 2719361.409 | 1201047.197 | 2719355.8129 | 1201038.4121 | 2719351.1661 | 1201033.1821 | 2719347.8095 | 1201030.0683
22 | 2719392.6542 | 1201006.2971 | 2719379.6261 | 1200988.9564
23 | 2719361.409 | 1201047.197 | 2719391.0013 | 1201027.6182 | 2719396.9303 | 1201022.0325 | 2719398.4099 | 1201019.627 | 2719398.5243 | 1201016.5715 | 2719397.5264 | 1201012.7821 | 2719392.6542 | 1201006.2971
24 | 2719375.0678 | 1200982.8892 | 2719379.6261 | 1200988.9564
25 | 2719361.409 | 1201047.197 | 2719367.2514 | 1201055.8423 | 2719379.8096 | 1201075.2431
26 | 2719379.8453 | 1201075.2984 | 2719379.8096 | 1201075.2431
27 | 2719391.5332 | 1201096.817 | 2719388.4258 | 1201090.1683 | 2719382.0976 | 1201078.778 | 2719379.8453 | 1201075.2984
28 | 2719373.2793 | 1200838.4806 | 2719377.9062 | 1200838.6176 | 2719381.69 | 1200838.2707 | 2719385.8197 | 1200835.8514 | 2719395.028 | 1200828.8858 | 2719399.0606 | 1200826.3756 | 2719403.8038 | 1200824.1243 | 2719417.7429 | 1200818.9546 | 2719425.8096 | 1200816.5251 | 2719432.2673 | 1200814.9752 | 2719435.3847 | 1200814.8263 | 2719439.1412 | 1200816.2246 | 2719444.4467 | 1200821.2677 | 2719455.8647 | 1200837.7273
29 | 2719428.999 | 1200930.039 | 2719607.4331 | 1200877.1117
30 | 2719588.9077 | 1200963.6283 | 2719616.5251 | 1200958.6885 | 2719621.2242 | 1200955.9806 | 2719621.8734 | 1200954.3591 | 2719623.078 | 1200947.8228
31 | 2719588.9077 | 1200963.6283 | 2719591.9323 | 1200965.6845
32 | 2719414.9484 | 1201144.1269 | 2719401.058 | 1201117.1961 | 2719391.5332 | 1201096.817
33 | 2719471.1116 | 1201172.2368 | 2719465.6717 | 1201172.0279 | 2719459.7334 | 1201170.0855 | 2719427.6833 | 1201148.8737 | 2719425.2641 | 1201147.2464 | 2719414.9484 | 1201144.1269
34 | 2719599.2208 | 1200971.0735 | 2719595.0374 | 1200967.0424 | 2719592.0928 | 1200965.7937 | 2719591.9323 | 1200965.6845
35 | 2719599.2208 | 1200971.0735 | 2719597.1805 | 1200978.6605 | 2719602.8965 | 1200987.9039 | 2719603.6393 | 1200990.3539 | 2719603.8928 | 1200992.9053 | 2719603.6439 | 1200995.4467 | 2719600.8962 | 1201004.8986
36 | 2719599.2208 | 1200971.0735 | 2719600.8528 | 1200971.3286 | 2719604.2644 | 1200970.5519 | 2719607.4828 | 1200970.6719 | 2719611.7051 | 1200972.3799 | 2719621.7402 | 1200978.8745 | 2719627.8112 | 1200983.3215 | 2719631.7086 | 1200986.8021 | 2719635.6407 | 1200990.8282 | 2719651.7436 | 1201015.2241 | 2719664.9447 | 1201035.092 | 2719673.2504 | 1201044.2873 | 2719676.7482 | 1201049.0831 | 2719676.8942 | 1201049.3762
37 | 2719320.305 | 1200901.3466 | 2719373.2793 | 1200838.4806
38 | 2719274.5332 | 1200961.2547 | 2719273.3798 | 1200955.3385 | 2719272.3437 | 1200930.9665 | 2719271.291 | 1200924.1961 | 2719269.2128 | 1200918.4504 | 2719265.3992 | 1200912.67 | 2719262.0065 | 1200908.6883 | 2719256.538 | 1200903.7978 | 2719249.1799 | 1200899.3477 | 2719251.8083 | 1200887.4581 | 2719254.6409 | 1200883.6451 | 2719259.428 | 1200881.8616 | 2719270.5863 | 1200882.8516 | 2719276.7688 | 1200884.3984 | 2719284.9863 | 1200885.4743 | 2719288.0134 | 1200887.1693 | 2719296.0843 | 1200888.7205 | 2719300.2799 | 1200892.5293 | 2719304.2965 | 1200895.3893 | 2719309.482 | 1200896.149 | 2719314.3757 | 1200898.9376 | 2719317.1569 | 1200900.75 | 2719320.305 | 1200901.3466
39 | 2719676.8942 | 1201049.3762 | 2719687.1056 | 1201069.8836 | 2719689.3126 | 1201077.1554 | 2719690.0832 | 1201084.2983 | 2719689.8671 | 1201092.8003 | 2719689.9922 | 1201096.8169 | 2719690.3602 | 1201101.2497 | 2719694.5988 | 1201113.9106 | 2719701.222 | 1201129.9217 | 2719703.9211 | 1201137.7149 | 2719705.8522 | 1201143.5579 | 2719708.1735 | 1201155.0017 | 2719712.5984 | 1201171.2801 | 2719716.8885 | 1201188.968 | 2719717.7245 | 1201195.5007 | 2719717.8516 | 1201211.9487 | 2719716.5856 | 1201218.5059 | 2719714.8456 | 1201230.8579 | 2719714.8478 | 1201235.3057 | 2719716.0342 | 1201247.9054 | 2719717.2712 | 1201256.8479 | 2719717.0506 | 1201262.9146 | 2719716.2915 | 1201268.1144 | 2719716.7278 | 1201275.5953 | 2719716.6204 | 1201291.2046 | 2719717.483 | 1201294.8913 | 2719720.1993 | 1201302.5847 | 2719723.1242 | 1201306.7019 | 2719723.9302 | 1201307.3237
40 | 2719723.9302 | 1201307.3237 | 2719988.2437 | 1201173.735
41 | 2719268.3838 | 1200970.2497 | 2719268.7001 | 1200964.7075 | 2719265.9008 | 1200958.8473 | 2719266.419 | 1200958.4463 | 2719267.5997 | 1200958.4254 | 2719271.559 | 1200961.8625 | 2719272.7805 | 1200962.087 | 2719274.5332 | 1200961.2547

## bus_geodata
| x | y | coords
0 | 2719423.6998 | 1201174.4463
1 | 2719453.863 | 1201192.9183
2 | 2719417.6508 | 1201152.5315
3 | 2719306.3344 | 1201000.4829
4 | 2719315.4092 | 1201006.8567
5 | 2719300.9977 | 1200996.7346
6 | 2719328.7508 | 1201016.2898
7 | 2719288.5441 | 1200986.2668
8 | 2719331.3721 | 1201018.1849
9 | 2719285.3893 | 1200982.7409
10 | 2719551.5371 | 1200934.2168
11 | 2719537.4973 | 1200927.9919
12 | 2719563.0993 | 1200939.2688
13 | 2719536.5576 | 1200927.4554
14 | 2719583.1428 | 1200956.7857
15 | 2719513.408 | 1200910.6357
16 | 2719584.3016 | 1200958.1612
17 | 2719347.8095 | 1201030.0683
18 | 2719392.6542 | 1201006.2971
19 | 2719379.6261 | 1200988.9564
20 | 2719361.409 | 1201047.197
21 | 2719375.0678 | 1200982.8892
22 | 2719379.8096 | 1201075.2431
23 | 2719363.6602 | 1201011.1377
24 | 2719379.8453 | 1201075.2984
25 | 2719455.8647 | 1200837.7273
26 | 2719428.999 | 1200930.039
27 | 2719588.9077 | 1200963.6283
28 | 2719391.5332 | 1201096.817
29 | 2719414.9484 | 1201144.1269
30 | 2719471.1116 | 1201172.2368
31 | 2719623.078 | 1200947.8228
32 | 2719591.9323 | 1200965.6845
33 | 2719599.2208 | 1200971.0735
34 | 2719373.2793 | 1200838.4806
35 | 2719320.305 | 1200901.3466
36 | 2719600.8962 | 1201004.8986
37 | 2719676.8942 | 1201049.3762
38 | 2719723.9302 | 1201307.3237
39 | 2719274.5332 | 1200961.2547
40 | 2719268.3838 | 1200970.2497
41 | 2719988.2437 | 1201173.735
42 | 2719607.4331 | 1200877.1117
43 | 2719588.9077 | 1200963.6283

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97479 | -0.17739 | 0 | 0
1 | 0.97474 | -0.17769 | 0.0006968 | 0.00017463
2 | 0.97481 | -0.17722 | 0 | 0
3 | 0.97758 | -0.1573 | 0.0017942 | 0.00044966
4 | 0.97724 | -0.15974 | 0.0011823 | 0.00029632
5 | 0.9778 | -0.15574 | 0.0012198 | 0.0003057
6 | 0.97677 | -0.16314 | 0.001306 | 0.00032731
7 | 0.97837 | -0.15165 | 0.0011465 | 0.00028735
8 | 0.97668 | -0.16377 | 0.0013245 | 0.00033195
9 | 0.97855 | -0.1504 | 0.0012572 | 0.00031509
10 | 0.99851 | -0.010424 | 0.032463 | 0.008136
11 | 1 | 0 | -0.12475 | -0.031164
12 | 0.99787 | -0.014894 | 0.0050082 | 0.0012552
13 | 0.99991 | -0.00059806 | 0.0040079 | 0.0010045
14 | 0.99671 | -0.023076 | 0.0051826 | 0.0012989
15 | 0.99778 | -0.015394 | 0.0059295 | 0.0014861
16 | 0.99664 | -0.023531 | 0.003781 | 0.00094762
17 | 0.97617 | -0.16743 | 0 | 0
18 | 0.97499 | -0.17593 | 0.0024764 | 0.00062064
19 | 0.97482 | -0.1771 | 0.0022199 | 0.00055636
20 | 0.97567 | -0.17103 | 0 | 0
21 | 0.97479 | -0.17733 | 0.0028898 | 0.00072425
22 | 0.97528 | -0.17386 | 0.0024974 | 0.00062591
23 | 0.97611 | -0.16785 | 0.0016074 | 0.00040285
24 | 0.97528 | -0.17386 | 0.0008074 | 0.00020235
25 | 0.99328 | -0.046558 | 0.0054767 | 0.0013726
26 | 0.99628 | -0.025931 | 0.0079343 | 0.0019885
27 | 0.99643 | -0.025067 | 0 | 0
28 | 0.97511 | -0.17508 | 0.00099464 | 0.00024928
29 | 0.97482 | -0.17715 | 0 | 0
30 | 0.97454 | -0.17918 | 0.0030246 | 0.00075805
31 | 0.99622 | -0.02653 | 0.0034814 | 0.00087251
32 | 0.99633 | -0.025725 | 0.0041019 | 0.001028
33 | 0.99615 | -0.027001 | 0 | 0
34 | 0.98926 | -0.074586 | 0 | 0
35 | 0.98593 | -0.097985 | 0 | 0
36 | 0.99584 | -0.029224 | 0.0060946 | 0.0015274
37 | 0.99489 | -0.035904 | 0.0029942 | 0.00075041
38 | 0.99311 | -0.048526 | 0.00060867 | 0.00015255
39 | 0.97949 | -0.14369 | 0 | 0
40 | 0.97944 | -0.14399 | 0.0013042 | 0.00032686
41 | 0.9914 | -0.060653 | 0.0040253 | 0.0010088
42 | 0.99517 | -0.033742 | 0.0041604 | 0.0010427
43 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00069683 | 0.00017413 | -0.0006968 | -0.00017463 | 2.9078e-08 | -5.0228e-07 | 0.0010635 | 0.0010637 | 0.0010637 | 0.97479 | -0.17739 | 0.97474 | -0.17769 | 0.39397
1 | -0.00069683 | -0.00017413 | 0.00069685 | 0.00017386 | 1.6044e-08 | -2.7723e-07 | 0.0010635 | 0.0010634 | 0.0010635 | 0.97479 | -0.17739 | 0.97481 | -0.17722 | 0.3939
2 | -0.00069685 | -0.00017386 | 0.00069685 | 0.00017375 | 6.2315e-09 | -1.077e-07 | 0.0010634 | 0.0010634 | 0.0010634 | 0.97481 | -0.17722 | 0.97482 | -0.17715 | 0.39386
3 | 0.021074 | 0.0052824 | -0.021067 | -0.0052798 | 7.1203e-06 | 2.5996e-06 | 0.032078 | 0.032078 | 0.032078 | 0.97758 | -0.1573 | 0.97724 | -0.15974 | 11.8806
4 | -0.022868 | -0.0057321 | 0.022873 | 0.0057339 | 4.9307e-06 | 1.8146e-06 | 0.034809 | 0.034809 | 0.034809 | 0.97758 | -0.1573 | 0.9778 | -0.15574 | 12.892
5 | 0.019884 | 0.0049835 | -0.019875 | -0.0049801 | 9.3469e-06 | 3.3903e-06 | 0.030277 | 0.030277 | 0.030277 | 0.97724 | -0.15974 | 0.97677 | -0.16314 | 11.2138
6 | -0.024093 | -0.0060396 | 0.024106 | 0.0060446 | 1.3683e-05 | 5.0579e-06 | 0.036665 | 0.036665 | 0.036665 | 0.9778 | -0.15574 | 0.97837 | -0.15165 | 13.5795
7 | 0.018569 | 0.0046528 | -0.018567 | -0.0046522 | 1.6151e-06 | 5.8071e-07 | 0.028288 | 0.028288 | 0.028288 | 0.97677 | -0.16314 | 0.97668 | -0.16377 | 10.477
8 | -0.025253 | -0.006332 | 0.025257 | 0.0063336 | 4.3552e-06 | 1.6157e-06 | 0.038408 | 0.038408 | 0.038408 | 0.97837 | -0.15165 | 0.97855 | -0.1504 | 14.2253
9 | 0.017243 | 0.0043202 | -0.017234 | -0.0043171 | 8.7345e-06 | 3.1057e-06 | 0.02627 | 0.02627 | 0.02627 | 0.97668 | -0.16377 | 0.97617 | -0.16743 | 9.7296
10 | -0.026514 | -0.0066487 | 0.026539 | 0.0066579 | 2.4687e-05 | 9.1889e-06 | 0.04032 | 0.04032 | 0.04032 | 0.97855 | -0.1504 | 0.97949 | -0.14369 | 14.9334
11 | -0.067834 | -0.017003 | 0.067932 | 0.01704 | 9.8053e-05 | 3.7511e-05 | 0.10109 | 0.10109 | 0.10109 | 0.99851 | -0.010424 | 1 | 0 | 37.4405
12 | 0.035371 | 0.0088667 | -0.035349 | -0.0088584 | 2.1885e-05 | 8.2524e-06 | 0.052712 | 0.052712 | 0.052712 | 0.99851 | -0.010424 | 0.99787 | -0.014894 | 19.5229
13 | 0.056015 | 0.014124 | -0.05601 | -0.014122 | 4.6941e-06 | 1.7912e-06 | 0.083381 | 0.083381 | 0.083381 | 1 | 0 | 0.99991 | -0.00059806 | 30.8818
14 | 0.030341 | 0.0076033 | -0.030307 | -0.0075904 | 3.4322e-05 | 1.285e-05 | 0.045244 | 0.045244 | 0.045244 | 0.99787 | -0.014894 | 0.99671 | -0.023076 | 16.757
15 | 0.052002 | 0.013118 | -0.051894 | -0.013077 | 0.00010769 | 4.1042e-05 | 0.077417 | 0.077417 | 0.077417 | 0.99991 | -0.00059806 | 0.99778 | -0.015394 | 28.6728
16 | 0.025124 | 0.0062915 | -0.025122 | -0.0062909 | 1.5788e-06 | 5.838e-07 | 0.037507 | 0.037507 | 0.037507 | 0.99671 | -0.023076 | 0.99664 | -0.023531 | 13.8913
17 | 0.033848 | 0.0085546 | -0.0337 | -0.0084989 | 0.00014787 | 5.5665e-05 | 0.050504 | 0.050504 | 0.050504 | 0.99778 | -0.015394 | 0.99328 | -0.046558 | 18.7053
18 | 0.012117 | 0.0030362 | -0.012099 | -0.0030305 | 1.7647e-05 | 5.6579e-06 | 0.01807 | 0.01807 | 0.01807 | 0.99778 | -0.015394 | 0.99628 | -0.025931 | 6.6927
19 | 0.021341 | 0.0053433 | -0.021337 | -0.0053417 | 4.5284e-06 | 1.6485e-06 | 0.031861 | 0.031861 | 0.031861 | 0.99664 | -0.023531 | 0.99643 | -0.025067 | 11.8005
20 | 0.0016075 | 0.00040257 | -0.0016074 | -0.00040285 | 9.415e-08 | -2.7793e-07 | 0.0024503 | 0.0024504 | 0.0024504 | 0.97617 | -0.16743 | 0.97611 | -0.16785 | 0.90755
21 | 0.015627 | 0.0039146 | -0.015619 | -0.0039118 | 7.7773e-06 | 2.7168e-06 | 0.02382 | 0.02382 | 0.02382 | 0.97617 | -0.16743 | 0.97567 | -0.17103 | 8.8221
22 | 0.0051106 | 0.0012806 | -0.0051098 | -0.0012805 | 8.2335e-07 | 4.6226e-08 | 0.0077996 | 0.0077997 | 0.0077997 | 0.97499 | -0.17593 | 0.97482 | -0.1771 | 2.8888
23 | -0.0075869 | -0.0019012 | 0.0075921 | 0.0019024 | 5.1485e-06 | 1.2122e-06 | 0.011579 | 0.011579 | 0.011579 | 0.97499 | -0.17593 | 0.97567 | -0.17103 | 4.2885
24 | 0.0028899 | 0.00072419 | -0.0028898 | -0.00072425 | 9.2145e-08 | -5.9166e-08 | 0.0044112 | 0.0044112 | 0.0044112 | 0.97482 | -0.1771 | 0.97479 | -0.17733 | 1.6338
25 | 0.0080268 | 0.0020094 | -0.0080237 | -0.0020086 | 3.1366e-06 | 7.8761e-07 | 0.012241 | 0.012241 | 0.012241 | 0.97567 | -0.17103 | 0.97528 | -0.17386 | 4.5338
26 | 0.0055262 | 0.0013827 | -0.0055262 | -0.0013827 | 2.9201e-09 | 3.0179e-10 | 0.0084308 | 0.0084308 | 0.0084308 | 0.97528 | -0.17386 | 0.97528 | -0.17386 | 3.1225
27 | 0.0047188 | 0.0011804 | -0.0047181 | -0.0011804 | 7.9276e-07 | -9.4114e-10 | 0.0071989 | 0.007199 | 0.007199 | 0.97528 | -0.17386 | 0.97511 | -0.17508 | 2.6663
28 | 0.028224 | 0.0071263 | -0.028113 | -0.007085 | 0.00011073 | 4.131e-05 | 0.0423 | 0.0423 | 0.0423 | 0.99328 | -0.046558 | 0.98926 | -0.074586 | 15.6668
29 | 0.0041649 | 0.001042 | -0.0041604 | -0.0010427 | 4.4937e-06 | -6.9255e-07 | 0.0062199 | 0.0062208 | 0.0062208 | 0.99628 | -0.025931 | 0.99517 | -0.033742 | 2.304
30 | 0.0034821 | 0.00087224 | -0.0034814 | -0.00087251 | 7.0496e-07 | -2.7299e-07 | 0.0051998 | 0.0052 | 0.0052 | 0.99643 | -0.025067 | 0.99622 | -0.02653 | 1.9259
31 | 0.017855 | 0.0044694 | -0.017853 | -0.0044689 | 1.6223e-06 | 5.7632e-07 | 0.026662 | 0.026662 | 0.026662 | 0.99643 | -0.025067 | 0.99633 | -0.025725 | 9.8747
32 | 0.0037234 | 0.00093108 | -0.0037223 | -0.00093133 | 1.0634e-06 | -2.4941e-07 | 0.0056812 | 0.0056814 | 0.0056814 | 0.97511 | -0.17508 | 0.97482 | -0.17715 | 2.1042
33 | 0.0030255 | 0.00075758 | -0.0030246 | -0.00075805 | 8.4738e-07 | -4.6766e-07 | 0.004618 | 0.0046183 | 0.0046183 | 0.97482 | -0.17715 | 0.97454 | -0.17918 | 1.7105
34 | 0.013751 | 0.0034408 | -0.013749 | -0.00344 | 2.4214e-06 | 8.1151e-07 | 0.020535 | 0.020535 | 0.020535 | 0.99633 | -0.025725 | 0.99615 | -0.027001 | 7.6057
35 | 0.0060965 | 0.0015277 | -0.0060946 | -0.0015274 | 1.8753e-06 | 2.4965e-07 | 0.0091066 | 0.0091068 | 0.0091068 | 0.99615 | -0.027001 | 0.99584 | -0.029224 | 3.3729
36 | 0.0076523 | 0.0019123 | -0.0076429 | -0.0019102 | 9.3733e-06 | 2.1099e-06 | 0.011429 | 0.011429 | 0.011429 | 0.99615 | -0.027001 | 0.99489 | -0.035904 | 4.2331
37 | 0.028113 | 0.007085 | -0.028021 | -0.0070508 | 9.179e-05 | 3.4252e-05 | 0.0423 | 0.042301 | 0.042301 | 0.98926 | -0.074586 | 0.98593 | -0.097985 | 15.6669
38 | 0.028021 | 0.0070508 | -0.027843 | -0.0069845 | 0.0001776 | 6.6291e-05 | 0.042301 | 0.042301 | 0.042301 | 0.98593 | -0.097985 | 0.97949 | -0.14369 | 15.6672
39 | 0.0046488 | 0.0011598 | -0.0046407 | -0.0011602 | 8.0591e-06 | -3.6455e-07 | 0.0069511 | 0.0069523 | 0.0069523 | 0.99489 | -0.035904 | 0.99311 | -0.048526 | 2.5749
40 | 0.0040321 | 0.0010076 | -0.0040253 | -0.0010088 | 6.7441e-06 | -1.2315e-06 | 0.0060403 | 0.0060417 | 0.0060417 | 0.99311 | -0.048526 | 0.9914 | -0.060653 | 2.2377
41 | 0.0013042 | 0.0003266 | -0.0013042 | -0.00032686 | 5.4587e-08 | -2.5947e-07 | 0.0019813 | 0.0019814 | 0.0019814 | 0.97949 | -0.14369 | 0.97944 | -0.14399 | 0.73384

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12924 | 0.032291

## res_load
| p_mw | q_mvar
0 | 0.0006968 | 0.00017463
1 | 0.0017942 | 0.00044966
2 | 0.0011823 | 0.00029632
3 | 0.0012198 | 0.0003057
4 | 0.001306 | 0.00032731
5 | 0.0011465 | 0.00028735
6 | 0.0013245 | 0.00033195
7 | 0.0012572 | 0.00031509
8 | 0.032463 | 0.008136
9 | 0.0044934 | 0.0011261
10 | 0.0050082 | 0.0012552
11 | 0.0040079 | 0.0010045
12 | 0.0051826 | 0.0012989
13 | 0.0059295 | 0.0014861
14 | 0.003781 | 0.00094762
15 | 0.0024764 | 0.00062064
16 | 0.0022199 | 0.00055636
17 | 0.0028898 | 0.00072425
18 | 0.0024974 | 0.00062591
19 | 0.0016074 | 0.00040285
20 | 0.0008074 | 0.00020235
21 | 0.0054767 | 0.0013726
22 | 0.0079343 | 0.0019885
23 | 0.00099464 | 0.00024928
24 | 0.0030246 | 0.00075805
25 | 0.0034814 | 0.00087251
26 | 0.0041019 | 0.001028
27 | 0.0060946 | 0.0015274
28 | 0.0029942 | 0.00075041
29 | 0.00060867 | 0.00015255
30 | 0.0013042 | 0.00032686
31 | 0.0040253 | 0.0010088
32 | 0.0041604 | 0.0010427

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1