## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-54_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-54_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-54_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-54_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-54_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-54_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1631-54_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1631-54_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1631-54_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1631-54_0_3_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_1631-54_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1631-54_0_3_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_1631-54_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_1631-54_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1631-54_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1631-54_0_3_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1631-54_0_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_1631-54_0_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_1631-54_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1631-54_0_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_1631-54_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1631-54_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1631-54_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1631-54_0_3_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_1631-54_0_3_node_34 | 0.4 | n |  | TRUE
25 | bus_LV_1631-54_0_3_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_1631-54_0_3_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_1631-54_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1631-54_0_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1631-54_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1631-54_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1631-54_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1631-54_0_3_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_1631-54_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_1631-54_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1631-54_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1631-54_0_3_node_26 | 0.4 | n |  | TRUE
37 | bus_LV_1631-54_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1631-54_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1631-54_0_3_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_1631-54_0_3_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_1631-54_0_3_node_25 | 0.4 | n |  | TRUE
42 | bus_MV_13_0_node_129 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-54_0_3_load_0 | 0 | 0.0051329 | 0.0012864 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-54_0_3_load_1 | 1 | 0.0051191 | 0.001283 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-54_0_3_load_3 | 3 | 0.0058445 | 0.0014648 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-54_0_3_load_13 | 6 | 0.0089565 | 0.0022447 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-54_0_3_load_32 | 9 | 0.03217 | 0.0080627 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-54_0_3_load_11 | 10 | 0.0015246 | 0.00038211 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-54_0_3_load_30 | 11 | 0.0015496 | 0.00038835 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-54_0_3_load_21 | 12 | 0.0024207 | 0.00060668 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-54_0_3_load_19 | 14 | 0.001712 | 0.00042906 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-54_0_3_load_28 | 15 | 0.0013361 | 0.00033485 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-54_0_3_load_27 | 16 | 0.001923 | 0.00048194 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-54_0_3_load_31 | 17 | 0.018634 | 0.0046702 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-54_0_3_load_9 | 18 | 0.002143 | 0.0005371 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-54_0_3_load_29 | 19 | 0.0017039 | 0.00042703 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-54_0_3_load_20 | 20 | 0.0016298 | 0.00040848 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-54_0_3_load_10 | 21 | 0.0017066 | 0.00042771 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-54_0_3_load_41 | 25 | 0.0067441 | 0.0016902 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-54_0_3_load_40 | 26 | 0.0057876 | 0.0014505 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-54_0_3_load_39 | 27 | 0.0013256 | 0.00033223 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-54_0_3_load_14 | 29 | 0.0080885 | 0.0020272 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-54_0_3_load_35 | 34 | 0.011873 | 0.0029757 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-54_0_3_load_37 | 35 | 0.001341 | 0.00033609 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-54_0_3_load_26 | 36 | 0.00094766 | 0.00023751 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-54_0_3_load_38 | 37 | 0.0084198 | 0.0021102 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-54_0_3_load_22 | 39 | 0.006408 | 0.001606 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-54_0_3_load_23 | 40 | 0.0069839 | 0.0017503 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-54_0_3_load_25 | 41 | 0.0013281 | 0.00033285 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-54_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-54_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0090076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-54_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.033587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-54_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.13601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1631-54_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.1045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1631-54_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.038328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-54_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.29724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-54_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.32887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-54_0_3_line_8 | NAYY 4x150 SE | 4 | 9 | 0.020746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-54_0_3_line_9 | NAYY 4x150 SE | 5 | 10 | 0.012768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_1631-54_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.04623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-54_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.006666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-54_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.16715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-54_0_3_line_13 | NAYY 4x150 SE | 8 | 14 | 0.017738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-54_0_3_line_14 | NAYY 4x150 SE | 9 | 17 | 0.015195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-54_0_3_line_15 | NAYY 4x150 SE | 10 | 18 | 0.026899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_1631-54_0_3_line_16 | NAYY 4x150 SE | 11 | 19 | 0.0068224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-54_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.041241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-54_0_3_line_18 | NAYY 4x150 SE | 13 | 16 | 0.029453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-54_0_3_line_19 | NAYY 4x150 SE | 14 | 20 | 0.10796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-54_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.0022773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_1631-54_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.084624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_1631-54_0_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.05104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_1631-54_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.039569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-54_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.023494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1631-54_0_3_line_25 | NAYY 4x150 SE | 23 | 26 | 0.018613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-54_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.0148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-54_0_3_line_27 | NAYY 4x150 SE | 24 | 28 | 0.05338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-54_0_3_line_28 | NAYY 4x150 SE | 28 | 37 | 0.014072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-54_0_3_line_29 | NAYY 4x150 SE | 28 | 33 | 0.008218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-54_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.011142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-54_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.096465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-54_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.17181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-54_0_3_line_33 | NAYY 4x150 SE | 31 | 35 | 0.28095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-54_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.065991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-54_0_3_line_35 | NAYY 4x150 SE | 32 | 36 | 0.057563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-54_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.017631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-54_0_3_line_37 | NAYY 4x150 SE | 36 | 38 | 0.024095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-54_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.10844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-54_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.0068639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-54_0_3_line_40 | NAYY 4x150 SE | 40 | 41 | 0.048961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-54_0_3_trafo_41 | 0.25 MVA 20/0.4 kV | 42 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2719176.8442 | 1200797.3709 | 2719160.9734 | 1200785.2711 | 2719152.7209 | 1200781.7484 | 2719146.8388 | 1200775.5805
1 | 2719184.0074 | 1200802.8322 | 2719176.8442 | 1200797.3709
2 | 2719126.6183 | 1200748.9039 | 2719138.8628 | 1200767.217 | 2719146.8388 | 1200775.5805
3 | 2719170.8772 | 1200728.9383 | 2719174.7068 | 1200733.9294 | 2719221.0156 | 1200761.1953 | 2719219.0511 | 1200763.48 | 2719216.8696 | 1200767.862 | 2719215.4766 | 1200771.27 | 2719214.8397 | 1200774.9489 | 2719214.326 | 1200785.4241 | 2719214.7134 | 1200803.4006 | 2719211.1734 | 1200805.2647 | 2719201.3231 | 1200807.4031 | 2719194.0849 | 1200806.8584 | 2719184.0074 | 1200802.8322
4 | 2719184.0074 | 1200802.8322 | 2719194.0849 | 1200806.8584 | 2719201.3231 | 1200807.4031 | 2719211.1734 | 1200805.2647 | 2719214.7134 | 1200803.4006 | 2719213.9402 | 1200830.305 | 2719214.3297 | 1200839.0191 | 2719217.5929 | 1200855.9745 | 2719199.6939 | 1200863.4674
5 | 2719137.152 | 1200783.884 | 2719137.5663 | 1200778.3882 | 2719136.2442 | 1200773.2803 | 2719129.543 | 1200761.0822 | 2719125.2142 | 1200750.199 | 2719126.6183 | 1200748.9039 | 2719126.6183 | 1200748.9039
6 | 2719170.8772 | 1200728.9383 | 2719174.7068 | 1200733.9294 | 2719221.0156 | 1200761.1953 | 2719226.1966 | 1200757.2291 | 2719237.8346 | 1200748.3214 | 2719250.5762 | 1200739.4358 | 2719255.3186 | 1200736.0835 | 2719262.0769 | 1200731.3038 | 2719264.2697 | 1200728.6456 | 2719265.96 | 1200724.8432 | 2719268.5794 | 1200716.0779 | 2719267.4292 | 1200704.6577 | 2719264.1152 | 1200692.9163 | 2719261.125 | 1200684.4059 | 2719252.8474 | 1200669.174 | 2719239.0687 | 1200643.0354 | 2719236.2312 | 1200637.1745 | 2719233.7289 | 1200629.3966 | 2719232.5899 | 1200619.7001 | 2719232.0032 | 1200608.28 | 2719229.678 | 1200601.9289 | 2719220.7743 | 1200586.0063 | 2719216.0878 | 1200577.0173 | 2719213.1624 | 1200569.8314 | 2719210.4189 | 1200558.8798
7 | 2719108.8321 | 1200626.6485 | 2719111.6069 | 1200623.4459 | 2719113.8276 | 1200622.0558 | 2719125.6842 | 1200618.9898 | 2719128.2996 | 1200618.4305 | 2719132.9757 | 1200619.5467 | 2719172.5981 | 1200640.0295 | 2719183.4869 | 1200644.6278 | 2719186.6724 | 1200648.3163 | 2719191.5011 | 1200652.4712 | 2719203.3017 | 1200659.8342 | 2719209.9069 | 1200662.3456 | 2719224.9515 | 1200664.7474 | 2719231.1475 | 1200666.3945 | 2719236.0961 | 1200669.4955 | 2719240.7128 | 1200673.2014 | 2719252.706 | 1200683.8819 | 2719256.3211 | 1200687.7903 | 2719259.059 | 1200692.9153 | 2719261.2995 | 1200697.7859 | 2719263.3564 | 1200705.3658 | 2719264.1307 | 1200710.0625 | 2719268.5794 | 1200716.0779 | 2719265.96 | 1200724.8432 | 2719264.2697 | 1200728.6456 | 2719262.0769 | 1200731.3038 | 2719255.3186 | 1200736.0835 | 2719250.5762 | 1200739.4358 | 2719237.8346 | 1200748.3214 | 2719226.1966 | 1200757.2291 | 2719221.0156 | 1200761.1953 | 2719174.7068 | 1200733.9294 | 2719170.8772 | 1200728.9383
8 | 2719170.8772 | 1200728.9383 | 2719163.8119 | 1200719.724 | 2719155.5783 | 1200715.7674
9 | 2719199.6939 | 1200863.4674 | 2719191.7602 | 1200864.5766 | 2719187.079 | 1200863.7271 | 2719187.079 | 1200863.7271
10 | 2719210.4189 | 1200558.8798 | 2719207.5526 | 1200556.7433 | 2719206.0201 | 1200554.1664 | 2719203.3667 | 1200551.6672 | 2719190.2373 | 1200543.7217 | 2719176.1731 | 1200532.2439 | 2719174.3203 | 1200530.5468
11 | 2719108.8321 | 1200626.6485 | 2719106.265 | 1200632.8018
12 | 2719108.8321 | 1200626.6485 | 2719111.6069 | 1200623.4459 | 2719113.8276 | 1200622.0558 | 2719125.6842 | 1200618.9898 | 2719128.2996 | 1200618.4305 | 2719132.9757 | 1200619.5467 | 2719172.5981 | 1200640.0295 | 2719183.4869 | 1200644.6278 | 2719181.6344 | 1200640.9215 | 2719177.6174 | 1200631.579 | 2719170.845 | 1200616.077 | 2719164.9571 | 1200605.474 | 2719153.1746 | 1200587.2701 | 2719144.067 | 1200570.4874
13 | 2719108.8321 | 1200626.6485 | 2719098.7349 | 1200623.5894 | 2719091.6656 | 1200624.8866
14 | 2719141.5788 | 1200710.3769 | 2719144.6919 | 1200710.536 | 2719155.5783 | 1200715.7674
15 | 2719163.0924 | 1200851.5636 | 2719164.3311 | 1200852.0649 | 2719187.079 | 1200863.7271
16 | 2719169.2893 | 1200525.9386 | 2719174.3203 | 1200530.5468
17 | 2719144.067 | 1200570.4874 | 2719128.5736 | 1200548.9627 | 2719126.1592 | 1200544.0221 | 2719124.3542 | 1200538.6933 | 2719124.0852 | 1200535.1082
18 | 2719144.067 | 1200570.4874 | 2719152.9581 | 1200577.8923 | 2719159.7408 | 1200580.674 | 2719170.1161 | 1200582.5903
19 | 2718995.499 | 1200615.2713 | 2719000.9382 | 1200614.012 | 2719011.9342 | 1200602.9228 | 2719023.9764 | 1200598.1814 | 2719034.9649 | 1200600.0794 | 2719050.5236 | 1200608.7846 | 2719061.4333 | 1200611.9599 | 2719083.458 | 1200624.052 | 2719089.7164 | 1200625.2443 | 2719091.6656 | 1200624.8866
20 | 2719163.0924 | 1200851.5636 | 2719160.9814 | 1200850.7094
21 | 2719091.0395 | 1200807.093 | 2719109.1911 | 1200821.2985 | 2719122.0629 | 1200836.4107 | 2719124.8278 | 1200838.6563 | 2719126.9987 | 1200839.7671 | 2719130.7987 | 1200841.2773 | 2719158.0012 | 1200849.5034 | 2719160.9814 | 1200850.7094
22 | 2719091.0395 | 1200807.093 | 2719093.005 | 1200792.9218 | 2719091.8697 | 1200778.4441 | 2719086.4674 | 1200767.5507 | 2719080.1898 | 1200759.6865
23 | 2719054.3284 | 1200792.6398 | 2719064.6695 | 1200795.6703 | 2719079.727 | 1200801.608 | 2719085.5897 | 1200803.9265 | 2719091.0395 | 1200807.093
24 | 2719080.1898 | 1200759.6865 | 2719066.2878 | 1200750.4026 | 2719064.3454 | 1200747.762 | 2719063.0327 | 1200744.4779
25 | 2719089.0761 | 1200749.3782 | 2719080.178 | 1200749.968 | 2719080.1898 | 1200759.6865
26 | 2719054.3284 | 1200792.6398 | 2719056.7424 | 1200803.7072 | 2719058.9426 | 1200806.3974
27 | 2719054.3284 | 1200792.6398 | 2719041.9736 | 1200789.0133 | 2719035.9199 | 1200787.8696 | 2719028.3825 | 1200787.0522 | 2719014.0908 | 1200786.6228 | 2719001.9201 | 1200783.3114
28 | 2719001.9201 | 1200783.3114 | 2718996.89 | 1200778.9525 | 2718990.3198 | 1200775.4524
29 | 2718993.9678 | 1200781.1514 | 2719001.9201 | 1200783.3114
30 | 2718961.1358 | 1200700.0049 | 2718969.7335 | 1200701.4994 | 2718971.9708 | 1200702.4099
31 | 2718961.1358 | 1200700.0049 | 2718950.0888 | 1200703.343 | 2718952.107 | 1200707.1527 | 2718952.7937 | 1200711.2916 | 2718948.3793 | 1200724.9471 | 2718949.1903 | 1200727.8098 | 2718952.364 | 1200735.1561 | 2718965.3281 | 1200756.363 | 2718960.3824 | 1200760.7567 | 2718960.19 | 1200765.4452 | 2718961.7838 | 1200772.5933 | 2718964.6513 | 1200779.6333
32 | 2718822.7916 | 1200607.3847 | 2718837.9107 | 1200616.0028 | 2718851.0369 | 1200623.7473 | 2718859.6998 | 1200629.6239 | 2718876.1562 | 1200646.7971 | 2718882.5452 | 1200651.7612 | 2718903.5181 | 1200665.0548 | 2718922.7118 | 1200678.2131 | 2718945.1874 | 1200698.2528 | 2718950.0888 | 1200703.343 | 2718961.1358 | 1200700.0049
33 | 2718964.6513 | 1200779.6333 | 2718968.4012 | 1200789.0149 | 2718993.5443 | 1200813.489 | 2719003.4439 | 1200821.4808 | 2719001.5133 | 1200823.9776 | 2719001.2342 | 1200829.1981 | 2719004.1913 | 1200833.6491 | 2719001.3097 | 1200834.9594 | 2719001.1648 | 1200837.6473 | 2719006.4694 | 1200848.4831 | 2719007.8969 | 1200855.5612 | 2719012.039 | 1200864.3613 | 2719005.1868 | 1200863.9356 | 2718994.6036 | 1200859.2992 | 2718988.7975 | 1200858.7277 | 2718986.5486 | 1200865.3544 | 2718992.8781 | 1200876.3441 | 2718997.3268 | 1200879.3126 | 2719003.9939 | 1200886.3505 | 2719005.6637 | 1200896.936 | 2719007.4844 | 1200901.4756 | 2719008.6584 | 1200909.049 | 2719018.046 | 1200925.1478 | 2719020.6012 | 1200933.716 | 2719019.4833 | 1200942.4335 | 2719015.5091 | 1200948.1363 | 2718995.9597 | 1200940.2746 | 2718985.2786 | 1200934.8246 | 2718971.0386 | 1200927.2355
34 | 2718964.6513 | 1200779.6333 | 2718961.7838 | 1200772.5933 | 2718960.19 | 1200765.4452 | 2718960.3824 | 1200760.7567 | 2718965.3281 | 1200756.363 | 2718972.1434 | 1200767.8182 | 2718975.1767 | 1200771.8927 | 2718978.1787 | 1200774.8547 | 2718981.6049 | 1200777.169 | 2718989.2114 | 1200779.8669 | 2718993.9678 | 1200781.1514
35 | 2718822.7916 | 1200607.3847 | 2718823.9502 | 1200614.6019 | 2718824.9231 | 1200621.96 | 2718825.8353 | 1200627.0152 | 2718825.5714 | 1200628.8001 | 2718824.4411 | 1200630.112 | 2718822.6102 | 1200630.6649 | 2718810.4118 | 1200627.5756 | 2718803.1285 | 1200626.6079 | 2718799.9563 | 1200627.2119 | 2718797.876 | 1200631.496 | 2718797.3192 | 1200635.7835
36 | 2718993.9678 | 1200781.1514 | 2719000.7793 | 1200788.5925 | 2719006.865 | 1200793.0948
37 | 2718783.2214 | 1200651.9752 | 2718792.6074 | 1200648.6816 | 2718796.3689 | 1200643.3302 | 2718796.9138 | 1200638.9045 | 2718797.3192 | 1200635.7835
38 | 2718783.2214 | 1200651.9752 | 2718764.8045 | 1200669.422 | 2718758.0457 | 1200675.3921 | 2718759.5854 | 1200687.9541 | 2718759.953 | 1200694.355 | 2718764.0677 | 1200711.4493 | 2718767.294 | 1200718.841 | 2718783.8611 | 1200738.1066 | 2718783.852 | 1200742.0338
39 | 2718780.8514 | 1200747.6825 | 2718783.8461 | 1200744.6 | 2718783.852 | 1200742.0338
40 | 2718769.9492 | 1200793.6153 | 2718770.3165 | 1200790.8428 | 2718768.5833 | 1200784.5704 | 2718772.5483 | 1200761.7102 | 2718777.9536 | 1200750.6651 | 2718780.8514 | 1200747.6825

## bus_geodata
| x | y | coords
0 | 2719176.8442 | 1200797.3709
1 | 2719146.8388 | 1200775.5805
2 | 2719184.0074 | 1200802.8322
3 | 2719126.6183 | 1200748.9039
4 | 2719170.8772 | 1200728.9383
5 | 2719199.6939 | 1200863.4674
6 | 2719137.152 | 1200783.884
7 | 2719210.4189 | 1200558.8798
8 | 2719108.8321 | 1200626.6485
9 | 2719155.5783 | 1200715.7674
10 | 2719187.079 | 1200863.7271
11 | 2719174.3203 | 1200530.5468
12 | 2719106.265 | 1200632.8018
13 | 2719144.067 | 1200570.4874
14 | 2719091.6656 | 1200624.8866
15 | 2719124.0852 | 1200535.1082
16 | 2719170.1161 | 1200582.5903
17 | 2719141.5788 | 1200710.3769
18 | 2719163.0924 | 1200851.5636
19 | 2719169.2893 | 1200525.9386
20 | 2718995.499 | 1200615.2713
21 | 2719160.9814 | 1200850.7094
22 | 2719091.0395 | 1200807.093
23 | 2719080.1898 | 1200759.6865
24 | 2719054.3284 | 1200792.6398
25 | 2719063.0327 | 1200744.4779
26 | 2719089.0761 | 1200749.3782
27 | 2719058.9426 | 1200806.3974
28 | 2719001.9201 | 1200783.3114
29 | 2718971.9708 | 1200702.4099
30 | 2718961.1358 | 1200700.0049
31 | 2718964.6513 | 1200779.6333
32 | 2718822.7916 | 1200607.3847
33 | 2718993.9678 | 1200781.1514
34 | 2719006.865 | 1200793.0948
35 | 2718971.0386 | 1200927.2355
36 | 2718797.3192 | 1200635.7835
37 | 2718990.3198 | 1200775.4524
38 | 2718783.2214 | 1200651.9752
39 | 2718783.852 | 1200742.0338
40 | 2718780.8514 | 1200747.6825
41 | 2718769.9492 | 1200793.6153
42 | 2719080.1898 | 1200759.6865

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98213 | -0.12467 | 0.0051329 | 0.0012864
1 | 0.98105 | -0.1324 | 0.0051191 | 0.001283
2 | 0.98246 | -0.12234 | 0 | 0
3 | 0.98033 | -0.13756 | 0.0058445 | 0.0014648
4 | 0.97618 | -0.16706 | 0 | 0
5 | 0.98919 | -0.074967 | 0 | 0
6 | 0.97983 | -0.14113 | 0.0089565 | 0.0022447
7 | 0.97477 | -0.17726 | 0 | 0
8 | 0.97183 | -0.19844 | 0 | 0
9 | 0.97464 | -0.17811 | 0.03217 | 0.0080627
10 | 0.98974 | -0.071136 | 0.0015246 | 0.00038211
11 | 0.97455 | -0.17884 | 0.0015496 | 0.00038835
12 | 0.97181 | -0.19861 | 0.0024207 | 0.00060668
13 | 0.97103 | -0.20423 | 0 | 0
14 | 0.97175 | -0.19907 | 0.001712 | 0.00042906
15 | 0.97095 | -0.20481 | 0.0013361 | 0.00033485
16 | 0.97095 | -0.20483 | 0.001923 | 0.00048194
17 | 0.97423 | -0.18109 | 0.018634 | 0.0046702
18 | 0.99091 | -0.062941 | 0.002143 | 0.0005371
19 | 0.97453 | -0.17896 | 0.0017039 | 0.00042703
20 | 0.97149 | -0.20094 | 0.0016298 | 0.00040848
21 | 0.99101 | -0.062231 | 0.0017066 | 0.00042771
22 | 0.99486 | -0.035479 | 0 | 0
23 | 0.99834 | -0.011455 | 0 | 0
24 | 0.99218 | -0.054207 | 0 | 0
25 | 1 | 0 | -0.14978 | -0.037694
26 | 0.99818 | -0.012534 | 0.0057876 | 0.0014505
27 | 0.99215 | -0.054406 | 0.0013256 | 0.00033223
28 | 0.98866 | -0.078906 | 0 | 0
29 | 0.98233 | -0.12363 | 0.0080885 | 0.0020272
30 | 0.98246 | -0.1227 | 0 | 0
31 | 0.98581 | -0.099038 | 0 | 0
32 | 0.97853 | -0.1507 | 0 | 0
33 | 0.98822 | -0.082017 | 0 | 0
34 | 0.98792 | -0.084157 | 0.011873 | 0.0029757
35 | 0.98526 | -0.10295 | 0.001341 | 0.00033609
36 | 0.97721 | -0.16012 | 0.00094766 | 0.00023751
37 | 0.98849 | -0.080117 | 0.0084198 | 0.0021102
38 | 0.97669 | -0.16384 | 0 | 0
39 | 0.97435 | -0.18059 | 0.006408 | 0.001606
40 | 0.97427 | -0.18119 | 0.0069839 | 0.0017503
41 | 0.97418 | -0.18187 | 0.0013281 | 0.00033285
42 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.019956 | 0.005005 | -0.019935 | -0.0049973 | 2.1367e-05 | 7.7448e-06 | 0.030237 | 0.030237 | 0.030237 | 0.98213 | -0.12467 | 0.98105 | -0.1324 | 11.1989
1 | -0.025089 | -0.0062915 | 0.025097 | 0.0062945 | 8.1222e-06 | 3.0099e-06 | 0.038014 | 0.038014 | 0.038014 | 0.98213 | -0.12467 | 0.98246 | -0.12234 | 14.0792
2 | 0.014816 | 0.0037143 | -0.014805 | -0.0037107 | 1.0584e-05 | 3.6471e-06 | 0.022473 | 0.022473 | 0.022473 | 0.98105 | -0.1324 | 0.98033 | -0.13756 | 8.3233
3 | 0.063607 | 0.015995 | -0.063213 | -0.015847 | 0.00039402 | 0.00014812 | 0.096357 | 0.096359 | 0.096359 | 0.98246 | -0.12234 | 0.97618 | -0.16706 | 17.8442
4 | -0.088705 | -0.02229 | 0.089293 | 0.022514 | 0.00058868 | 0.00022375 | 0.13437 | 0.13437 | 0.13437 | 0.98246 | -0.12234 | 0.98919 | -0.074967 | 24.8835
5 | 0.0089609 | 0.0022459 | -0.0089565 | -0.0022447 | 4.4247e-06 | 1.2188e-06 | 0.013602 | 0.013602 | 0.013602 | 0.98033 | -0.13756 | 0.97983 | -0.14113 | 5.0377
6 | 0.0032587 | 0.00081306 | -0.0032542 | -0.00081501 | 4.5754e-06 | -1.9509e-06 | 0.004966 | 0.0049674 | 0.0049674 | 0.97618 | -0.16706 | 0.97477 | -0.17726 | 1.8398
7 | 0.0090643 | 0.0022688 | -0.0090252 | -0.0022578 | 3.9176e-05 | 1.0974e-05 | 0.013816 | 0.013817 | 0.013817 | 0.97618 | -0.16706 | 0.97183 | -0.19844 | 5.1175
8 | 0.05089 | 0.012765 | -0.050812 | -0.012736 | 7.7909e-05 | 2.9706e-05 | 0.077577 | 0.077577 | 0.077577 | 0.97618 | -0.16706 | 0.97464 | -0.17811 | 28.7322
9 | -0.089293 | -0.022514 | 0.089341 | 0.022531 | 4.7952e-05 | 1.7951e-05 | 0.13437 | 0.13437 | 0.13437 | 0.98919 | -0.074967 | 0.98974 | -0.071136 | 16.5889
10 | 0.0032542 | 0.00081501 | -0.0032535 | -0.00081531 | 7.1184e-07 | -3.0238e-07 | 0.0049674 | 0.0049676 | 0.0049676 | 0.97477 | -0.17726 | 0.97455 | -0.17884 | 1.8398
11 | 0.0024207 | 0.00060662 | -0.0024207 | -0.00060668 | 5.7145e-08 | -6.0615e-08 | 0.0037065 | 0.0037065 | 0.0037065 | 0.97183 | -0.19844 | 0.97181 | -0.19861 | 1.3728
12 | 0.0032619 | 0.00081495 | -0.0032593 | -0.00081602 | 2.6011e-06 | -1.0689e-06 | 0.0049935 | 0.0049943 | 0.0049943 | 0.97183 | -0.19844 | 0.97103 | -0.20423 | 1.8497
13 | 0.0033425 | 0.00083625 | -0.0033422 | -0.00083636 | 2.8985e-07 | -1.0828e-07 | 0.0051173 | 0.0051174 | 0.0051174 | 0.97183 | -0.19844 | 0.97175 | -0.19907 | 1.8953
14 | 0.018642 | 0.0046729 | -0.018634 | -0.0046702 | 7.6808e-06 | 2.7649e-06 | 0.028461 | 0.028461 | 0.028461 | 0.97464 | -0.17811 | 0.97423 | -0.18109 | 10.5413
15 | -0.090866 | -0.022914 | 0.09097 | 0.022953 | 0.0001045 | 3.9153e-05 | 0.13666 | 0.13666 | 0.13666 | 0.98974 | -0.071136 | 0.99091 | -0.062941 | 16.8719
16 | 0.0017039 | 0.00042696 | -0.0017039 | -0.00042703 | 2.8815e-08 | -7.3924e-08 | 0.0026016 | 0.0026016 | 0.0026016 | 0.97455 | -0.17884 | 0.97453 | -0.17896 | 0.96357
17 | 0.0013362 | 0.00033438 | -0.0013361 | -0.00033485 | 1.0788e-07 | -4.6863e-07 | 0.0020474 | 0.0020476 | 0.0020476 | 0.97103 | -0.20423 | 0.97095 | -0.20481 | 0.75835
18 | 0.0019231 | 0.00048164 | -0.001923 | -0.00048194 | 1.5961e-07 | -3.0292e-07 | 0.0029469 | 0.002947 | 0.002947 | 0.97103 | -0.20423 | 0.97095 | -0.20483 | 1.0915
19 | 0.0016303 | 0.0004073 | -0.0016298 | -0.00040848 | 4.1976e-07 | -1.1757e-06 | 0.0024959 | 0.0024964 | 0.0024964 | 0.97175 | -0.19907 | 0.97149 | -0.20094 | 0.9246
20 | -0.093114 | -0.02349 | 0.093123 | 0.023493 | 9.2681e-06 | 3.4767e-06 | 0.13988 | 0.13988 | 0.13988 | 0.99091 | -0.062941 | 0.99101 | -0.062231 | 17.2691
21 | -0.094829 | -0.023921 | 0.095187 | 0.024055 | 0.00035713 | 0.00013408 | 0.14244 | 0.14244 | 0.14244 | 0.99101 | -0.062231 | 0.99486 | -0.035479 | 17.5855
22 | -0.14247 | -0.035968 | 0.14295 | 0.036152 | 0.00048249 | 0.00018358 | 0.21318 | 0.21318 | 0.21318 | 0.99486 | -0.035479 | 0.99834 | -0.011455 | 26.3191
23 | 0.047283 | 0.011913 | -0.047159 | -0.011866 | 0.00012357 | 4.7015e-05 | 0.070743 | 0.070744 | 0.070744 | 0.99486 | -0.035479 | 0.99218 | -0.054207 | 26.2013
24 | -0.14874 | -0.037603 | 0.14898 | 0.037694 | 0.00024043 | 9.155e-05 | 0.22181 | 0.22181 | 0.22181 | 0.99834 | -0.011455 | 1 | 0 | 27.3841
25 | 0.0057884 | 0.0014506 | -0.0057876 | -0.0014505 | 8.6453e-07 | 8.9174e-08 | 0.0086276 | 0.0086277 | 0.0086277 | 0.99834 | -0.011455 | 0.99818 | -0.012534 | 3.1954
26 | 0.0013257 | 0.00033206 | -0.0013256 | -0.00033223 | 3.6504e-08 | -1.7709e-07 | 0.0019881 | 0.0019882 | 0.0019882 | 0.99218 | -0.054207 | 0.99215 | -0.054406 | 0.73636
27 | 0.045834 | 0.011534 | -0.045676 | -0.011474 | 0.00015746 | 5.9876e-05 | 0.068756 | 0.068756 | 0.068756 | 0.99218 | -0.054207 | 0.98866 | -0.078906 | 25.4651
28 | 0.0084212 | 0.0021106 | -0.0084198 | -0.0021102 | 1.4106e-06 | 3.6212e-07 | 0.012675 | 0.012675 | 0.012675 | 0.98866 | -0.078906 | 0.98849 | -0.080117 | 4.6943
29 | 0.037255 | 0.0093638 | -0.037239 | -0.0093577 | 1.6128e-05 | 6.0978e-06 | 0.056081 | 0.056081 | 0.056081 | 0.98866 | -0.078906 | 0.98822 | -0.082017 | 20.7708
30 | -0.0080885 | -0.0020272 | 0.0080895 | 0.0020274 | 1.0437e-06 | 2.6035e-07 | 0.012252 | 0.012252 | 0.012252 | 0.98233 | -0.12363 | 0.98246 | -0.1227 | 4.5379
31 | -0.023882 | -0.0059968 | 0.02396 | 0.0060258 | 7.877e-05 | 2.907e-05 | 0.036175 | 0.036174 | 0.036175 | 0.98246 | -0.1227 | 0.98581 | -0.099038 | 13.3981
32 | 0.015792 | 0.0039693 | -0.015731 | -0.0039479 | 6.1356e-05 | 2.1432e-05 | 0.023923 | 0.023923 | 0.023923 | 0.98246 | -0.1227 | 0.97853 | -0.1507 | 8.8605
33 | 0.0013417 | 0.00033278 | -0.001341 | -0.00033609 | 7.1863e-07 | -3.3035e-06 | 0.002024 | 0.0020253 | 0.0020253 | 0.98581 | -0.099038 | 0.98526 | -0.10295 | 0.75011
34 | -0.025302 | -0.0063586 | 0.025362 | 0.0063809 | 6.0084e-05 | 2.2266e-05 | 0.038198 | 0.038198 | 0.038198 | 0.98581 | -0.099038 | 0.98822 | -0.082017 | 14.1475
35 | 0.015731 | 0.0039479 | -0.01571 | -0.0039407 | 2.0558e-05 | 7.1847e-06 | 0.023923 | 0.023924 | 0.023924 | 0.97853 | -0.1507 | 0.97721 | -0.16012 | 8.8606
36 | 0.011877 | 0.0029768 | -0.011873 | -0.0029757 | 3.5185e-06 | 1.1274e-06 | 0.017883 | 0.017883 | 0.017883 | 0.98822 | -0.082017 | 0.98792 | -0.084157 | 6.6234
37 | 0.014763 | 0.0037032 | -0.014755 | -0.0037006 | 7.5984e-06 | 2.6207e-06 | 0.022481 | 0.022481 | 0.022481 | 0.97721 | -0.16012 | 0.97669 | -0.16384 | 8.3262
38 | 0.014755 | 0.0037006 | -0.014721 | -0.0036888 | 3.4198e-05 | 1.1799e-05 | 0.022481 | 0.022481 | 0.022481 | 0.97669 | -0.16384 | 0.97435 | -0.18059 | 8.3264
39 | 0.0083128 | 0.0020828 | -0.0083121 | -0.0020826 | 6.9027e-07 | 1.8001e-07 | 0.012695 | 0.012695 | 0.012695 | 0.97435 | -0.18059 | 0.97427 | -0.18119 | 4.7018
40 | 0.0013282 | 0.00033229 | -0.0013281 | -0.00033285 | 1.2572e-07 | -5.6129e-07 | 0.0020284 | 0.0020286 | 0.0020286 | 0.97427 | -0.18119 | 0.97418 | -0.18187 | 0.75135

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15652 | 0.039384

## res_load
| p_mw | q_mvar
0 | 0.0051329 | 0.0012864
1 | 0.0051191 | 0.001283
2 | 0.0058445 | 0.0014648
3 | 0.0089565 | 0.0022447
4 | 0.03217 | 0.0080627
5 | 0.0015246 | 0.00038211
6 | 0.0015496 | 0.00038835
7 | 0.0024207 | 0.00060668
8 | 0.001712 | 0.00042906
9 | 0.0013361 | 0.00033485
10 | 0.001923 | 0.00048194
11 | 0.018634 | 0.0046702
12 | 0.002143 | 0.0005371
13 | 0.0017039 | 0.00042703
14 | 0.0016298 | 0.00040848
15 | 0.0017066 | 0.00042771
16 | 0.0067441 | 0.0016902
17 | 0.0057876 | 0.0014505
18 | 0.0013256 | 0.00033223
19 | 0.0080885 | 0.0020272
20 | 0.011873 | 0.0029757
21 | 0.001341 | 0.00033609
22 | 0.00094766 | 0.00023751
23 | 0.0084198 | 0.0021102
24 | 0.006408 | 0.001606
25 | 0.0069839 | 0.0017503
26 | 0.0013281 | 0.00033285

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1