## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-62_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-62_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-62_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-62_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-62_0_5_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1631-62_0_5_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1631-62_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1631-62_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1631-62_0_5_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1631-62_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1631-62_0_5_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1631-62_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1631-62_0_5_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_1631-62_0_5_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_1631-62_0_5_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_1631-62_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1631-62_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1631-62_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1631-62_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1631-62_0_5_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_1631-62_0_5_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1631-62_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1631-62_0_5_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_1631-62_0_5_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_1631-62_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1631-62_0_5_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_1631-62_0_5_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1631-62_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1631-62_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1631-62_0_5_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1631-62_0_5_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1631-62_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1631-62_0_5_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1631-62_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1631-62_0_5_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1631-62_0_5_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1631-62_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1631-62_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1631-62_0_5_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1631-62_0_5_node_30 | 0.4 | n |  | TRUE
40 | bus_MV_13_0_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-62_0_5_load_0 | 0 | 0.0083335 | 0.0020886 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-62_0_5_load_1 | 1 | 0.01901 | 0.0047644 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-62_0_5_load_10 | 8 | 0.0038439 | 0.00096338 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-62_0_5_load_16 | 10 | 0.013492 | 0.0033813 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-62_0_5_load_32 | 12 | 0.0020438 | 0.00051223 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-62_0_5_load_40 | 13 | 0.017692 | 0.0044341 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-62_0_5_load_39 | 14 | 0.0059999 | 0.0015037 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-62_0_5_load_11 | 15 | 0.0032314 | 0.00080987 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-62_0_5_load_12 | 17 | 0.0047538 | 0.0011914 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-62_0_5_load_15 | 18 | 0.013482 | 0.0033789 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-62_0_5_load_31 | 19 | 0.054291 | 0.013606 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-62_0_5_load_17 | 21 | 0.0052512 | 0.0013161 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-62_0_5_load_35 | 22 | 0.011613 | 0.0029106 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-62_0_5_load_33 | 23 | 0.011488 | 0.0028793 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-62_0_5_load_18 | 24 | 0.0063495 | 0.0015913 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-62_0_5_load_38 | 25 | 0.0017813 | 0.00044644 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-62_0_5_load_34 | 26 | 0.0072241 | 0.0018105 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-62_0_5_load_20 | 27 | 0.0013774 | 0.00034521 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-62_0_5_load_21 | 28 | 0.002197 | 0.00055063 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-62_0_5_load_22 | 29 | 0.002667 | 0.00066842 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-62_0_5_load_23 | 30 | 0.0019093 | 0.00047851 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-62_0_5_load_24 | 31 | 0.0016151 | 0.00040477 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-62_0_5_load_25 | 32 | 0.0036691 | 0.00091956 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-62_0_5_load_36 | 34 | 0.008659 | 0.0021702 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-62_0_5_load_37 | 35 | 0.007835 | 0.0019636 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-62_0_5_load_27 | 36 | 0.0038712 | 0.00097022 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-62_0_5_load_28 | 37 | 0.0070513 | 0.0017672 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-62_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.044693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1631-62_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.079168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1631-62_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.025338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1631-62_0_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.11918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1631-62_0_5_line_4 | NAYY 4x150 SE | 3 | 5 | 0.036646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-62_0_5_line_5 | NAYY 4x150 SE | 3 | 6 | 0.12818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1631-62_0_5_line_6 | NAYY 4x150 SE | 4 | 13 | 0.025137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-62_0_5_line_7 | NAYY 4x150 SE | 4 | 11 | 0.093383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-62_0_5_line_8 | NAYY 4x150 SE | 5 | 14 | 0.010672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-62_0_5_line_9 | NAYY 4x150 SE | 5 | 7 | 0.075801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-62_0_5_line_10 | NAYY 4x150 SE | 6 | 9 | 0.004354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-62_0_5_line_11 | NAYY 4x150 SE | 6 | 10 | 0.016554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-62_0_5_line_12 | NAYY 4x150 SE | 7 | 8 | 0.019251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-62_0_5_line_13 | NAYY 4x150 SE | 8 | 15 | 0.0045929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-62_0_5_line_14 | NAYY 4x150 SE | 9 | 16 | 0.021058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-62_0_5_line_15 | NAYY 4x150 SE | 9 | 17 | 0.053036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-62_0_5_line_16 | NAYY 4x150 SE | 10 | 18 | 0.024304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-62_0_5_line_17 | NAYY 4x150 SE | 11 | 12 | 0.025725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-62_0_5_line_18 | NAYY 4x150 SE | 12 | 19 | 0.019524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-62_0_5_line_19 | NAYY 4x150 SE | 16 | 20 | 0.003073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-62_0_5_line_20 | NAYY 4x150 SE | 16 | 21 | 0.016161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-62_0_5_line_21 | NAYY 4x150 SE | 20 | 22 | 0.039501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-62_0_5_line_22 | NAYY 4x150 SE | 20 | 23 | 0.011324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-62_0_5_line_23 | NAYY 4x150 SE | 21 | 24 | 0.034974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-62_0_5_line_24 | NAYY 4x150 SE | 22 | 25 | 0.001678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-62_0_5_line_25 | NAYY 4x150 SE | 23 | 26 | 0.015232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-62_0_5_line_26 | NAYY 4x150 SE | 25 | 33 | 0.014214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-62_0_5_line_27 | NAYY 4x150 SE | 27 | 28 | 0.017431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-62_0_5_line_28 | NAYY 4x150 SE | 27 | 29 | 0.0035078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-62_0_5_line_29 | NAYY 4x150 SE | 28 | 30 | 0.005543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-62_0_5_line_30 | NAYY 4x150 SE | 29 | 31 | 0.013514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-62_0_5_line_31 | NAYY 4x150 SE | 31 | 32 | 0.004469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-62_0_5_line_32 | NAYY 4x150 SE | 32 | 33 | 0.023876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-62_0_5_line_33 | NAYY 4x150 SE | 33 | 34 | 0.016151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-62_0_5_line_34 | NAYY 4x150 SE | 34 | 35 | 0.028251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-62_0_5_line_35 | NAYY 4x150 SE | 35 | 39 | 0.022475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-62_0_5_line_36 | NAYY 4x150 SE | 36 | 37 | 0.0061435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-62_0_5_line_37 | NAYY 4x150 SE | 36 | 38 | 0.054779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-62_0_5_line_38 | NAYY 4x150 SE | 38 | 39 | 0.012369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-62_0_5_trafo_3 | 0.25 MVA 20/0.4 kV | 40 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2718940.4647 | 1198318.4059 | 2718931.4987 | 1198274.6215
1 | 2718963.6611 | 1198393.5449 | 2718954.2167 | 1198375.4883 | 2718952.1336 | 1198369.5425 | 2718948.3548 | 1198356.9359 | 2718940.4647 | 1198318.4059
2 | 2718926.4156 | 1198249.799 | 2718931.4987 | 1198274.6215
3 | 2718902.3304 | 1198424.5919 | 2718905.4071 | 1198417.359 | 2718937.848 | 1198435.4731 | 2718939.821 | 1198433.1773 | 2718943.6367 | 1198430.151 | 2718950.5749 | 1198425.2521 | 2718955.1193 | 1198422.7407 | 2718960.2306 | 1198420.4519 | 2718966.4884 | 1198418.3526 | 2718971.7997 | 1198417.113 | 2718978.9941 | 1198416.1777 | 2718977.1677 | 1198410.3482 | 2718963.6611 | 1198393.5449
4 | 2718957.9196 | 1198247.2906 | 2718956.7287 | 1198242.0631 | 2718926.4156 | 1198249.799
5 | 2718899.5967 | 1198124.4519 | 2718908.0944 | 1198163.694 | 2718926.4156 | 1198249.799
6 | 2718902.3304 | 1198424.5919 | 2718891.9734 | 1198447.4965
7 | 2718902.3304 | 1198424.5919 | 2718905.4071 | 1198417.359 | 2718925.9487 | 1198397.6198 | 2718903.8221 | 1198345.0525
8 | 2718957.9196 | 1198247.2906 | 2718960.2755 | 1198257.6994
9 | 2718957.9196 | 1198247.2906 | 2718963.45 | 1198246.5334 | 2718969.0575 | 1198245.7333 | 2718971.5064 | 1198240.5783 | 2718975.7873 | 1198238.6843 | 2718985.8136 | 1198229.4438 | 2718993.4978 | 1198234.1446 | 2718996.2326 | 1198237.9685 | 2719008.2713 | 1198261.9367
10 | 2718898.6758 | 1198120.1972 | 2718899.5967 | 1198124.4519
11 | 2718899.5967 | 1198124.4519 | 2718884.6106 | 1198131.4832
12 | 2719008.2713 | 1198261.9367 | 2719001.0613 | 1198264.7953 | 2718989.5665 | 1198264.7491
13 | 2718984.9737 | 1198264.7306 | 2718989.5665 | 1198264.7491
14 | 2718898.6758 | 1198120.1972 | 2718894.2251 | 1198099.6159
15 | 2718898.6758 | 1198120.1972 | 2718921.3695 | 1198113.7105 | 2718946.7939 | 1198098.8796
16 | 2718862.6077 | 1198141.8066 | 2718884.6106 | 1198131.4832
17 | 2718903.8221 | 1198345.0525 | 2718897.3563 | 1198347.648 | 2718879.9524 | 1198354.6445
18 | 2718865.8192 | 1198352.5886 | 2718866.0229 | 1198353.0956 | 2718868.4981 | 1198359.2493 | 2718879.9524 | 1198354.6445
19 | 2718894.2251 | 1198099.6159 | 2718893.5764 | 1198096.6119
20 | 2718894.2251 | 1198099.6159 | 2718878.8927 | 1198104.7257
21 | 2718893.5764 | 1198096.6119 | 2718885.2181 | 1198058.0051
22 | 2718893.5764 | 1198096.6119 | 2718903.6084 | 1198091.3589
23 | 2718846.0801 | 1198116.791 | 2718863.7797 | 1198109.7624 | 2718878.8927 | 1198104.7257
24 | 2718885.2181 | 1198058.0051 | 2718884.8631 | 1198056.365
25 | 2718917.1024 | 1198084.293 | 2718903.6084 | 1198091.3589
26 | 2718881.8554 | 1198042.4727 | 2718884.8631 | 1198056.365
27 | 2718937.5346 | 1198013.4328 | 2718922.0797 | 1198021.4934
28 | 2718918.9695 | 1198023.1156 | 2718922.0797 | 1198021.4934
29 | 2718937.5346 | 1198013.4328 | 2718942.4493 | 1198010.8695
30 | 2718906.9872 | 1198029.365 | 2718918.9695 | 1198023.1156
31 | 2718906.9872 | 1198029.365 | 2718903.0248 | 1198031.4317
32 | 2718881.8554 | 1198042.4727 | 2718903.0248 | 1198031.4317
33 | 2718881.8554 | 1198042.4727 | 2718878.4368 | 1198026.6873
34 | 2718872.4573 | 1197999.0764 | 2718878.4368 | 1198026.6873
35 | 2718867.7063 | 1197977.1104 | 2718872.4573 | 1197999.0764
36 | 2718821.8127 | 1198013.2106 | 2718823.8805 | 1198018.9957
37 | 2718856.6842 | 1197982.7843 | 2718817.9949 | 1198002.5297 | 2718821.8127 | 1198013.2106
38 | 2718867.7063 | 1197977.1104 | 2718856.6842 | 1197982.7843

## bus_geodata
| x | y | coords
0 | 2718940.4647 | 1198318.4059
1 | 2718931.4987 | 1198274.6215
2 | 2718963.6611 | 1198393.5449
3 | 2718926.4156 | 1198249.799
4 | 2718902.3304 | 1198424.5919
5 | 2718957.9196 | 1198247.2906
6 | 2718899.5967 | 1198124.4519
7 | 2719008.2713 | 1198261.9367
8 | 2718989.5665 | 1198264.7491
9 | 2718898.6758 | 1198120.1972
10 | 2718884.6106 | 1198131.4832
11 | 2718903.8221 | 1198345.0525
12 | 2718879.9524 | 1198354.6445
13 | 2718891.9734 | 1198447.4965
14 | 2718960.2755 | 1198257.6994
15 | 2718984.9737 | 1198264.7306
16 | 2718894.2251 | 1198099.6159
17 | 2718946.7939 | 1198098.8796
18 | 2718862.6077 | 1198141.8066
19 | 2718865.8192 | 1198352.5886
20 | 2718893.5764 | 1198096.6119
21 | 2718878.8927 | 1198104.7257
22 | 2718885.2181 | 1198058.0051
23 | 2718903.6084 | 1198091.3589
24 | 2718846.0801 | 1198116.791
25 | 2718884.8631 | 1198056.365
26 | 2718917.1024 | 1198084.293
27 | 2718922.0797 | 1198021.4934
28 | 2718937.5346 | 1198013.4328
29 | 2718918.9695 | 1198023.1156
30 | 2718942.4493 | 1198010.8695
31 | 2718906.9872 | 1198029.365
32 | 2718903.0248 | 1198031.4317
33 | 2718881.8554 | 1198042.4727
34 | 2718878.4368 | 1198026.6873
35 | 2718872.4573 | 1197999.0764
36 | 2718821.8127 | 1198013.2106
37 | 2718823.8805 | 1198018.9957
38 | 2718856.6842 | 1197982.7843
39 | 2718867.7063 | 1197977.1104
40 | 2718956.7287 | 1198242.0631

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99545 | -0.031349 | 0.0083335 | 0.0020886
1 | 0.99813 | -0.012849 | 0.01901 | 0.0047644
2 | 0.99117 | -0.061008 | 0 | 0
3 | 1 | 0 | -0.23521 | -0.059222
4 | 0.98473 | -0.10613 | 0 | 0
5 | 0.99932 | -0.00479 | 0 | 0
6 | 0.9892 | -0.075232 | 0 | 0
7 | 0.99855 | -0.010159 | 0 | 0
8 | 0.99836 | -0.011522 | 0.0038439 | 0.00096338
9 | 0.98864 | -0.079202 | 0 | 0
10 | 0.98856 | -0.07979 | 0.013492 | 0.0033813
11 | 0.97702 | -0.16071 | 0 | 0
12 | 0.9749 | -0.17589 | 0.0020438 | 0.00051223
13 | 0.98408 | -0.11071 | 0.017692 | 0.0044341
14 | 0.99922 | -0.00543 | 0.0059999 | 0.0015037
15 | 0.99833 | -0.011671 | 0.0032314 | 0.00080987
16 | 0.98606 | -0.097439 | 0 | 0
17 | 0.98828 | -0.081779 | 0.0047538 | 0.0011914
18 | 0.98809 | -0.083138 | 0.013482 | 0.0033789
19 | 0.97335 | -0.18704 | 0.054291 | 0.013606
20 | 0.98573 | -0.099742 | 0 | 0
21 | 0.98579 | -0.099365 | 0.0052512 | 0.0013161
22 | 0.98262 | -0.12183 | 0.011613 | 0.0029106
23 | 0.98542 | -0.10192 | 0.011488 | 0.0028793
24 | 0.98546 | -0.10165 | 0.0063495 | 0.0015913
25 | 0.98251 | -0.12257 | 0.0017813 | 0.00044644
26 | 0.98527 | -0.10305 | 0.0072241 | 0.0018105
27 | 0.98095 | -0.1337 | 0.0013774 | 0.00034521
28 | 0.98085 | -0.13444 | 0.002197 | 0.00055063
29 | 0.98098 | -0.1335 | 0.002667 | 0.00066842
30 | 0.98083 | -0.13455 | 0.0019093 | 0.00047851
31 | 0.98114 | -0.13236 | 0.0016151 | 0.00040477
32 | 0.9812 | -0.13191 | 0.0036691 | 0.00091956
33 | 0.98167 | -0.12858 | 0 | 0
34 | 0.98102 | -0.13317 | 0.008659 | 0.0021702
35 | 0.98025 | -0.13868 | 0.007835 | 0.0019636
36 | 0.97883 | -0.14886 | 0.0038712 | 0.00097022
37 | 0.97876 | -0.14931 | 0.0070513 | 0.0017672
38 | 0.9797 | -0.14263 | 0 | 0
39 | 0.9799 | -0.14123 | 0 | 0
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.083795 | -0.021186 | 0.084014 | 0.021269 | 0.00021901 | 8.3068e-05 | 0.12532 | 0.12532 | 0.12532 | 0.99545 | -0.031349 | 0.99813 | -0.012849 | 23.2081
1 | 0.075461 | 0.019097 | -0.075147 | -0.018979 | 0.00031466 | 0.00011897 | 0.11287 | 0.11287 | 0.11287 | 0.99545 | -0.031349 | 0.99117 | -0.061008 | 20.9013
2 | -0.10302 | -0.026034 | 0.10321 | 0.026105 | 0.00018666 | 7.113e-05 | 0.15366 | 0.15366 | 0.15366 | 0.99813 | -0.012849 | 1 | 0 | 28.4562
3 | 0.075147 | 0.018979 | -0.074673 | -0.018799 | 0.00047368 | 0.00017913 | 0.11287 | 0.11287 | 0.11287 | 0.99117 | -0.061008 | 0.98473 | -0.10613 | 20.9015
4 | 0.013091 | 0.0032811 | -0.013082 | -0.0032783 | 8.6773e-06 | 2.857e-06 | 0.01948 | 0.01948 | 0.01948 | 1 | 0 | 0.99932 | -0.00479 | 7.2148
5 | 0.11811 | 0.029836 | -0.11687 | -0.029364 | 0.0012365 | 0.00047225 | 0.17583 | 0.17583 | 0.17583 | 1 | 0 | 0.9892 | -0.075232 | 32.5619
6 | 0.017704 | 0.0044381 | -0.017692 | -0.0044341 | 1.1226e-05 | 3.9981e-06 | 0.026752 | 0.026752 | 0.026752 | 0.98473 | -0.10613 | 0.98408 | -0.11071 | 9.9083
7 | 0.056969 | 0.014361 | -0.056537 | -0.014196 | 0.00043214 | 0.00016503 | 0.086116 | 0.086116 | 0.086116 | 0.98473 | -0.10613 | 0.97702 | -0.16071 | 31.895
8 | 0.0060004 | 0.0015038 | -0.0059999 | -0.0015037 | 5.3162e-07 | 6.4663e-08 | 0.0089348 | 0.0089348 | 0.0089348 | 0.99932 | -0.00479 | 0.99922 | -0.00543 | 3.3092
9 | 0.007082 | 0.0017745 | -0.0070768 | -0.0017735 | 5.26e-06 | 1.0307e-06 | 0.010545 | 0.010546 | 0.010546 | 0.99932 | -0.00479 | 0.99855 | -0.010159 | 3.9058
10 | 0.089877 | 0.022596 | -0.089827 | -0.022576 | 4.9679e-05 | 1.9052e-05 | 0.13522 | 0.13522 | 0.13522 | 0.9892 | -0.075232 | 0.98864 | -0.079202 | 50.0826
11 | 0.026997 | 0.0067687 | -0.02698 | -0.0067623 | 1.7036e-05 | 6.34e-06 | 0.040611 | 0.040611 | 0.040611 | 0.9892 | -0.075232 | 0.98856 | -0.07979 | 15.0412
12 | 0.0070768 | 0.0017735 | -0.0070754 | -0.0017732 | 1.3359e-06 | 2.6204e-07 | 0.010546 | 0.010546 | 0.010546 | 0.99855 | -0.010159 | 0.99836 | -0.011522 | 3.9058
13 | 0.0032315 | 0.00080984 | -0.0032314 | -0.00080987 | 6.6484e-08 | -3.4485e-08 | 0.0048164 | 0.0048164 | 0.0048164 | 0.99836 | -0.011522 | 0.99833 | -0.011671 | 1.7839
14 | 0.085072 | 0.021385 | -0.084856 | -0.021302 | 0.00021551 | 8.2619e-05 | 0.12807 | 0.12807 | 0.12807 | 0.98864 | -0.079202 | 0.98606 | -0.097439 | 47.4318
15 | 0.0047555 | 0.0011914 | -0.0047538 | -0.0011914 | 1.6954e-06 | -2.7744e-08 | 0.0071574 | 0.0071576 | 0.0071576 | 0.98864 | -0.079202 | 0.98828 | -0.081779 | 2.651
16 | 0.013488 | 0.003381 | -0.013482 | -0.0033789 | 6.2516e-06 | 2.093e-06 | 0.020303 | 0.020303 | 0.020303 | 0.98856 | -0.07979 | 0.98809 | -0.083138 | 7.5197
17 | 0.056537 | 0.014196 | -0.056418 | -0.014151 | 0.00011904 | 4.5465e-05 | 0.086116 | 0.086117 | 0.086117 | 0.97702 | -0.16071 | 0.9749 | -0.17589 | 31.895
18 | 0.054374 | 0.013639 | -0.054291 | -0.013606 | 8.3924e-05 | 3.2036e-05 | 0.082997 | 0.082997 | 0.082997 | 0.9749 | -0.17589 | 0.97335 | -0.18704 | 30.7397
19 | 0.073251 | 0.018394 | -0.073227 | -0.018385 | 2.3436e-05 | 8.9746e-06 | 0.11055 | 0.11055 | 0.11055 | 0.98606 | -0.097439 | 0.98573 | -0.099742 | 40.9452
20 | 0.011606 | 0.0029087 | -0.011603 | -0.0029077 | 3.0934e-06 | 9.8365e-07 | 0.017514 | 0.017514 | 0.017514 | 0.98606 | -0.097439 | 0.98579 | -0.099365 | 6.4866
21 | 0.054508 | 0.013693 | -0.054341 | -0.013629 | 0.00016693 | 6.3701e-05 | 0.082294 | 0.082294 | 0.082294 | 0.98573 | -0.099742 | 0.98262 | -0.12183 | 30.4793
22 | 0.018719 | 0.0046921 | -0.018714 | -0.0046901 | 5.6425e-06 | 2.0259e-06 | 0.028258 | 0.028258 | 0.028258 | 0.98573 | -0.099742 | 0.98542 | -0.10192 | 10.466
23 | 0.0063516 | 0.0015917 | -0.0063495 | -0.0015913 | 2.0061e-06 | 3.2582e-07 | 0.0095874 | 0.0095876 | 0.0095876 | 0.98579 | -0.099365 | 0.98546 | -0.10165 | 3.551
24 | 0.042727 | 0.010718 | -0.042723 | -0.010717 | 4.3842e-06 | 1.665e-06 | 0.064707 | 0.064707 | 0.064707 | 0.98262 | -0.12183 | 0.98251 | -0.12257 | 23.9657
25 | 0.0072252 | 0.0018108 | -0.0072241 | -0.0018105 | 1.1314e-06 | 2.4113e-07 | 0.01091 | 0.01091 | 0.01091 | 0.98542 | -0.10192 | 0.98527 | -0.10305 | 4.0409
26 | 0.040942 | 0.01027 | -0.040908 | -0.010257 | 3.4106e-05 | 1.2938e-05 | 0.06201 | 0.06201 | 0.06201 | 0.98251 | -0.12257 | 0.98167 | -0.12858 | 22.9666
27 | 0.0041067 | 0.001029 | -0.0041063 | -0.0010291 | 4.2209e-07 | -5.7683e-08 | 0.0062295 | 0.0062296 | 0.0062296 | 0.98095 | -0.1337 | 0.98085 | -0.13444 | 2.3072
28 | -0.0054842 | -0.0013742 | 0.0054843 | 0.0013742 | 1.5148e-07 | 1.3976e-08 | 0.0083189 | 0.0083189 | 0.0083189 | 0.98095 | -0.1337 | 0.98098 | -0.1335 | 3.0811
29 | 0.0019093 | 0.00047845 | -0.0019093 | -0.00047851 | 2.9019e-08 | -5.8799e-08 | 0.0028965 | 0.0028965 | 0.0028965 | 0.98085 | -0.13444 | 0.98083 | -0.13455 | 1.0728
30 | -0.0081513 | -0.0020427 | 0.0081526 | 0.002043 | 1.2892e-06 | 3.252e-07 | 0.012364 | 0.012364 | 0.012364 | 0.98098 | -0.1335 | 0.98114 | -0.13236 | 4.5794
31 | -0.0097677 | -0.0024478 | 0.0097683 | 0.0024479 | 6.1196e-07 | 1.7893e-07 | 0.014814 | 0.014814 | 0.014814 | 0.98114 | -0.13236 | 0.9812 | -0.13191 | 5.4866
32 | -0.013437 | -0.0033675 | 0.013444 | 0.0033696 | 6.1867e-06 | 2.0778e-06 | 0.020378 | 0.020378 | 0.020378 | 0.9812 | -0.13191 | 0.98167 | -0.12858 | 7.5474
33 | 0.027464 | 0.0068878 | -0.027447 | -0.0068813 | 1.7468e-05 | 6.5144e-06 | 0.041632 | 0.041632 | 0.041632 | 0.98167 | -0.12858 | 0.98102 | -0.13317 | 15.4192
34 | 0.018788 | 0.0047111 | -0.018773 | -0.004706 | 1.4317e-05 | 5.15e-06 | 0.028498 | 0.028498 | 0.028498 | 0.98102 | -0.13317 | 0.98025 | -0.13868 | 10.5548
35 | 0.010938 | 0.0027423 | -0.010935 | -0.0027411 | 3.8668e-06 | 1.204e-06 | 0.016605 | 0.016605 | 0.016605 | 0.98025 | -0.13868 | 0.9799 | -0.14123 | 6.1499
36 | 0.0070517 | 0.0017673 | -0.0070513 | -0.0017672 | 4.4055e-07 | 9.2226e-08 | 0.01072 | 0.01072 | 0.01072 | 0.97883 | -0.14886 | 0.97876 | -0.14931 | 3.9704
37 | -0.010923 | -0.0027375 | 0.010932 | 0.0027405 | 9.4249e-06 | 2.9358e-06 | 0.016605 | 0.016605 | 0.016605 | 0.97883 | -0.14886 | 0.9797 | -0.14263 | 6.15
38 | -0.010932 | -0.0027405 | 0.010935 | 0.0027411 | 2.1281e-06 | 6.6271e-07 | 0.016605 | 0.016605 | 0.016605 | 0.9797 | -0.14263 | 0.9799 | -0.14123 | 6.1499

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23521 | 0.059222

## res_load
| p_mw | q_mvar
0 | 0.0083335 | 0.0020886
1 | 0.01901 | 0.0047644
2 | 0.0038439 | 0.00096338
3 | 0.013492 | 0.0033813
4 | 0.0020438 | 0.00051223
5 | 0.017692 | 0.0044341
6 | 0.0059999 | 0.0015037
7 | 0.0032314 | 0.00080987
8 | 0.0047538 | 0.0011914
9 | 0.013482 | 0.0033789
10 | 0.054291 | 0.013606
11 | 0.0052512 | 0.0013161
12 | 0.011613 | 0.0029106
13 | 0.011488 | 0.0028793
14 | 0.0063495 | 0.0015913
15 | 0.0017813 | 0.00044644
16 | 0.0072241 | 0.0018105
17 | 0.0013774 | 0.00034521
18 | 0.002197 | 0.00055063
19 | 0.002667 | 0.00066842
20 | 0.0019093 | 0.00047851
21 | 0.0016151 | 0.00040477
22 | 0.0036691 | 0.00091956
23 | 0.008659 | 0.0021702
24 | 0.007835 | 0.0019636
25 | 0.0038712 | 0.00097022
26 | 0.0070513 | 0.0017672

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1