## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-6_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1631-6_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1631-6_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1631-6_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1631-6_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1631-6_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1631-6_0_3_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_1631-6_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_1631-6_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1631-6_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1631-6_0_3_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_1631-6_0_3_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_1631-6_0_3_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1631-6_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1631-6_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1631-6_0_3_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_1631-6_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_1631-6_0_3_node_47 | 0.4 | n |  | TRUE
23 | bus_LV_1631-6_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1631-6_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1631-6_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1631-6_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_1631-6_0_3_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_1631-6_0_3_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_1631-6_0_3_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1631-6_0_3_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_1631-6_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1631-6_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1631-6_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1631-6_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1631-6_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1631-6_0_3_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_1631-6_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1631-6_0_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_1631-6_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1631-6_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1631-6_0_3_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1631-6_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_1631-6_0_3_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1631-6_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1631-6_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1631-6_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1631-6_0_3_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_1631-6_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1631-6_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_1631-6_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1631-6_0_3_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_1631-6_0_3_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_1631-6_0_3_node_55 | 0.4 | n |  | TRUE
54 | bus_LV_1631-6_0_3_node_56 | 0.4 | n |  | TRUE
55 | bus_MV_144_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-6_0_3_load_0 | 0 | 0.015933 | 0.0039932 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-6_0_3_load_1 | 1 | 0.0039913 | 0.0010003 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-6_0_3_load_7 | 5 | 0.0055884 | 0.0014006 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-6_0_3_load_10 | 6 | 0.0025621 | 0.00064213 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-6_0_3_load_8 | 7 | 0.0042498 | 0.0010651 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-6_0_3_load_5 | 8 | 0.0068116 | 0.0017071 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-6_0_3_load_6 | 10 | 0.0088063 | 0.0022071 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-6_0_3_load_51 | 11 | 0.0030959 | 0.00077591 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-6_0_3_load_11 | 14 | 0.0022447 | 0.00056257 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-6_0_3_load_49 | 15 | 0.0021924 | 0.00054946 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-6_0_3_load_18 | 18 | 0.0029336 | 0.00073523 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-6_0_3_load_16 | 19 | 0.0027952 | 0.00070055 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-6_0_3_load_42 | 20 | 0.01235 | 0.0030951 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-6_0_3_load_41 | 21 | 0.0021018 | 0.00052676 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-6_0_3_load_47 | 22 | 0.0015775 | 0.00039536 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-6_0_3_load_20 | 25 | 0.0040774 | 0.0010219 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-6_0_3_load_39 | 26 | 0.0026266 | 0.00065829 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-6_0_3_load_48 | 27 | 0.0017015 | 0.00042644 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-6_0_3_load_53 | 28 | 0.0019314 | 0.00048406 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-6_0_3_load_21 | 29 | 0.0044697 | 0.0011202 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-6_0_3_load_23 | 31 | 0.002094 | 0.00052481 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-6_0_3_load_24 | 32 | 0.0022701 | 0.00056894 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-6_0_3_load_27 | 35 | 0.0022531 | 0.00056469 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-6_0_3_load_45 | 36 | 0.001281 | 0.00032105 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-6_0_3_load_40 | 37 | 0.0016428 | 0.00041173 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-6_0_3_load_43 | 38 | 0.00090085 | 0.00022577 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-6_0_3_load_28 | 39 | 0.0022805 | 0.00057154 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-6_0_3_load_29 | 40 | 0.0017093 | 0.00042838 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-6_0_3_load_30 | 41 | 0.0019591 | 0.000491 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-6_0_3_load_31 | 42 | 0.0026162 | 0.00065567 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-6_0_3_load_32 | 43 | 0.0020535 | 0.00051467 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-6_0_3_load_37 | 45 | 0.0029415 | 0.0007372 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-6_0_3_load_33 | 47 | 0.0040057 | 0.0010039 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-6_0_3_load_38 | 48 | 0.0029437 | 0.00073775 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-6_0_3_load_44 | 49 | 0.00079395 | 0.00019898 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-6_0_3_load_57 | 52 | 0.0085685 | 0.0021475 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-6_0_3_load_55 | 53 | 0.0029284 | 0.00073393 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-6_0_3_load_56 | 54 | 0.02206 | 0.0055288 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0047636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.014605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.017453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.025679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.011895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-6_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0040771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-6_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0094926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-6_0_3_line_7 | NAYY 4x150 SE | 5 | 10 | 0.028126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-6_0_3_line_8 | NAYY 4x150 SE | 6 | 11 | 0.007518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-6_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.02105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-6_0_3_line_10 | NAYY 4x150 SE | 9 | 12 | 0.029872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-6_0_3_line_11 | NAYY 4x150 SE | 9 | 13 | 0.024503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-6_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.027867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-6_0_3_line_13 | NAYY 4x150 SE | 12 | 17 | 0.018572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1631-6_0_3_line_14 | NAYY 4x150 SE | 12 | 18 | 0.011929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-6_0_3_line_15 | NAYY 4x150 SE | 12 | 19 | 0.011594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-6_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.053952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-6_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.0066706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-6_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.054179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-6_0_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.018307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-6_0_3_line_20 | NAYY 4x150 SE | 17 | 21 | 0.0038141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1631-6_0_3_line_21 | NAYY 4x150 SE | 18 | 22 | 0.0019653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-6_0_3_line_22 | NAYY 4x150 SE | 21 | 26 | 0.0085048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1631-6_0_3_line_23 | NAYY 4x150 SE | 22 | 27 | 9.6691e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-6_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.028741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-6_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.010067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-6_0_3_line_26 | NAYY 4x150 SE | 24 | 28 | 0.0025449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-6_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.0070951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-6_0_3_line_28 | NAYY 4x150 SE | 25 | 29 | 0.0013806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-6_0_3_line_29 | NAYY 4x150 SE | 26 | 48 | 0.01214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-6_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.023006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-6_0_3_line_31 | NAYY 4x150 SE | 30 | 53 | 0.019769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-6_0_3_line_32 | NAYY 4x150 SE | 30 | 51 | 0.003014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-6_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.081122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-6_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.069641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-6_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.066356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-6_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.010568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-6_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.025938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-6_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0087809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-6_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0051069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-6_0_3_line_40 | NAYY 4x150 SE | 38 | 49 | 0.0093054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-6_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.033415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-6_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.023377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-6_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.018976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-6_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.075423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-6_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.0059611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-6_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0079205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-6_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.007097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-6_0_3_line_48 | NAYY 4x150 SE | 45 | 48 | 0.010648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-6_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.028324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-6_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.045044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1631-6_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.051166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1631-6_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.013739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1631-6_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.015463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-6_0_3_trafo_39 | 0.25 MVA 20/0.4 kV | 55 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2723763.7174 | 1207388.8842 | 2723766.4869 | 1207392.76
1 | 2723756.1741 | 1207376.4456 | 2723758.7529 | 1207381.9366 | 2723763.7174 | 1207388.8842
2 | 2723776.6336 | 1207406.9597 | 2723766.4869 | 1207392.76
3 | 2723757.5448 | 1207351.077 | 2723754.9338 | 1207366.201 | 2723755.3395 | 1207371.2132 | 2723756.1741 | 1207376.4456
4 | 2723776.6336 | 1207406.9597 | 2723785.0965 | 1207415.3185
5 | 2723757.5448 | 1207351.077 | 2723753.4975 | 1207350.5847
6 | 2723757.5448 | 1207351.077 | 2723762.2431 | 1207351.1967 | 2723767.0337 | 1207351.0541
7 | 2723807.8662 | 1207431.2922 | 2723801.9921 | 1207429.0135 | 2723795.1697 | 1207424.5909 | 2723788.1793 | 1207418.3634 | 2723785.0965 | 1207415.3185
8 | 2723753.4975 | 1207350.5847 | 2723746.0345 | 1207349.677
9 | 2723711.2306 | 1207368.9639 | 2723716.812 | 1207368.6794 | 2723717.2144 | 1207375.682 | 2723722.9339 | 1207375.3447 | 2723724.4948 | 1207375.2659 | 2723725.6479 | 1207375.2092
10 | 2723707.346 | 1207397.4607 | 2723709.3728 | 1207395.4567 | 2723711.0739 | 1207392.2896 | 2723711.5932 | 1207389.2536 | 2723712.0702 | 1207386.061 | 2723711.9824 | 1207382.9568 | 2723711.2306 | 1207368.9639
11 | 2723718.3198 | 1207347.3277 | 2723715.1222 | 1207349.6632 | 2723712.683 | 1207352.4815 | 2723710.9376 | 1207357.0488 | 2723710.8394 | 1207361.7837 | 2723711.2306 | 1207368.9639
12 | 2723718.3198 | 1207347.3277 | 2723725.5792 | 1207347.1892 | 2723746.0345 | 1207349.677
13 | 2723707.346 | 1207397.4607 | 2723714.8125 | 1207414.4728
14 | 2723707.346 | 1207397.4607 | 2723700.0469 | 1207400.2449 | 2723696.3245 | 1207402.0042
15 | 2723707.346 | 1207397.4607 | 2723704.5584 | 1207390.2975 | 2723703.7741 | 1207386.469
16 | 2723689.0944 | 1207308.5037 | 2723686.5624 | 1207315.0562 | 2723686.1419 | 1207316.6264 | 2723686.4269 | 1207319.0231 | 2723691.4001 | 1207325.3309 | 2723702.9141 | 1207333.1421 | 2723718.3198 | 1207347.3277
17 | 2723738.5244 | 1207321.3984 | 2723744.7112 | 1207323.8925
18 | 2723689.0944 | 1207308.5037 | 2723691.2454 | 1207305.646 | 2723694.5261 | 1207304.8023 | 2723697.3935 | 1207304.8173 | 2723738.5244 | 1207321.3984
19 | 2723714.8125 | 1207414.4728 | 2723718.5031 | 1207415.1387 | 2723731.8271 | 1207421.0004
20 | 2723714.8125 | 1207414.4728 | 2723716.3346 | 1207417.97
21 | 2723696.3245 | 1207402.0042 | 2723694.5477 | 1207402.8439
22 | 2723716.3346 | 1207417.97 | 2723719.7286 | 1207425.7683
23 | 2723694.4603 | 1207402.8853 | 2723694.5477 | 1207402.8439
24 | 2723688.4366 | 1207406.6203 | 2723680.1103 | 1207399.8871 | 2723666.794 | 1207387.6574
25 | 2723666.794 | 1207387.6574 | 2723664.1893 | 1207387.8147 | 2723661.8328 | 1207388.4775 | 2723657.6146 | 1207391.1795
26 | 2723688.4366 | 1207406.6203 | 2723686.5634 | 1207408.343
27 | 2723688.4366 | 1207406.6203 | 2723693.5559 | 1207403.3127 | 2723694.4603 | 1207402.8853
28 | 2723656.452 | 1207391.9242 | 2723657.6146 | 1207391.1795
29 | 2723719.7286 | 1207425.7683 | 2723724.5733 | 1207436.8998
30 | 2723669.1128 | 1207423.2993 | 2723676.1151 | 1207417.9514 | 2723686.5634 | 1207408.343
31 | 2723669.1128 | 1207423.2993 | 2723671.9637 | 1207432.9101 | 2723672.9277 | 1207438.8791 | 2723672.6307 | 1207442.5646
32 | 2723666.6206 | 1207425.0045 | 2723669.1128 | 1207423.2993
33 | 2723790.8445 | 1207647.9401 | 2723789.7934 | 1207646.9933 | 2723785.8388 | 1207644.3982 | 2723747.1471 | 1207624.9367 | 2723743.3107 | 1207622.5109 | 2723739.1412 | 1207618.1767 | 2723730.2333 | 1207605.3934 | 2723728.9245 | 1207602.8532 | 2723726.6182 | 1207601.4981
34 | 2723668.9127 | 1207565.3922 | 2723678.3903 | 1207568.68 | 2723684.1183 | 1207571.2228 | 2723688.7897 | 1207575.2004 | 2723693.0448 | 1207579.4474 | 2723706.7633 | 1207593.5313 | 2723711.6623 | 1207596.435 | 2723724.8441 | 1207600.4557 | 2723726.6182 | 1207601.4981
35 | 2723668.9127 | 1207565.3922 | 2723664.388 | 1207562.0404 | 2723658.6644 | 1207559.2864 | 2723608.0634 | 1207538.9451
36 | 2723668.9127 | 1207565.3922 | 2723670.1794 | 1207567.7647 | 2723670.8984 | 1207571.2378 | 2723670.8086 | 1207575.5689
37 | 2723608.0634 | 1207538.9451 | 2723615.481 | 1207514.0908
38 | 2723672.4026 | 1207584.1677 | 2723670.7788 | 1207577.0064 | 2723670.8086 | 1207575.5689
39 | 2723616.9415 | 1207509.1972 | 2723615.481 | 1207514.0908
40 | 2723616.9415 | 1207509.1972 | 2723619.6027 | 1207500.2804
41 | 2723805.7574 | 1207565.013 | 2723802.3764 | 1207559.2874 | 2723794.7101 | 1207548.6203 | 2723789.8757 | 1207543.3382 | 2723785.14 | 1207538.9308
42 | 2723766.654 | 1207524.6361 | 2723783.7045 | 1207537.5948 | 2723785.14 | 1207538.9308
43 | 2723814.4414 | 1207581.8766 | 2723807.7478 | 1207568.3835 | 2723805.7574 | 1207565.013
44 | 2723766.654 | 1207524.6361 | 2723757.7131 | 1207517.8408 | 2723751.0976 | 1207510.7761 | 2723746.5926 | 1207503.5438 | 2723743.4838 | 1207497.5748 | 2723741.0431 | 1207490.9303 | 2723736.1421 | 1207474.9165 | 2723733.1418 | 1207459.7728
45 | 2723731.9833 | 1207453.9254 | 2723733.1418 | 1207459.7728
46 | 2723731.9833 | 1207453.9254 | 2723728.8225 | 1207446.6629
47 | 2723731.9833 | 1207453.9254 | 2723738.3108 | 1207450.6763
48 | 2723728.8225 | 1207446.6629 | 2723724.5733 | 1207436.8998
49 | 2723738.3108 | 1207450.6763 | 2723750.9717 | 1207476.0127
50 | 2723625.9188 | 1207455.8294 | 2723625.1625 | 1207466.633 | 2723623.1883 | 1207486.2849 | 2723621.9916 | 1207492.2758 | 2723619.6027 | 1207500.2804
51 | 2723625.9188 | 1207455.8294 | 2723634.0682 | 1207448.7149 | 2723642.0625 | 1207441.7419 | 2723653.5185 | 1207433.2616 | 2723666.6206 | 1207425.0045
52 | 2723666.6206 | 1207425.0045 | 2723663.3671 | 1207420.1334 | 2723669.3388 | 1207414.9643
53 | 2723659.8687 | 1207451.2958 | 2723672.6307 | 1207442.5646

## bus_geodata
| x | y | coords
0 | 2723763.7174 | 1207388.8842
1 | 2723766.4869 | 1207392.76
2 | 2723756.1741 | 1207376.4456
3 | 2723776.6336 | 1207406.9597
4 | 2723757.5448 | 1207351.077
5 | 2723785.0965 | 1207415.3185
6 | 2723753.4975 | 1207350.5847
7 | 2723767.0337 | 1207351.0541
8 | 2723725.6479 | 1207375.2092
9 | 2723711.2306 | 1207368.9639
10 | 2723807.8662 | 1207431.2922
11 | 2723746.0345 | 1207349.677
12 | 2723707.346 | 1207397.4607
13 | 2723718.3198 | 1207347.3277
14 | 2723744.7112 | 1207323.8925
15 | 2723738.5244 | 1207321.3984
16 | 2723689.0944 | 1207308.5037
17 | 2723714.8125 | 1207414.4728
18 | 2723696.3245 | 1207402.0042
19 | 2723703.7741 | 1207386.469
20 | 2723731.8271 | 1207421.0004
21 | 2723716.3346 | 1207417.97
22 | 2723694.5477 | 1207402.844
23 | 2723666.794 | 1207387.6574
24 | 2723688.4366 | 1207406.6203
25 | 2723657.6146 | 1207391.1795
26 | 2723719.7286 | 1207425.7683
27 | 2723694.4603 | 1207402.8853
28 | 2723686.5634 | 1207408.343
29 | 2723656.452 | 1207391.9242
30 | 2723669.1128 | 1207423.2993
31 | 2723726.6182 | 1207601.4981
32 | 2723790.8445 | 1207647.9401
33 | 2723668.9127 | 1207565.3922
34 | 2723608.0634 | 1207538.9451
35 | 2723670.8086 | 1207575.5689
36 | 2723615.481 | 1207514.0908
37 | 2723672.4026 | 1207584.1677
38 | 2723616.9415 | 1207509.1972
39 | 2723785.14 | 1207538.9308
40 | 2723805.7574 | 1207565.013
41 | 2723766.654 | 1207524.6361
42 | 2723814.4414 | 1207581.8766
43 | 2723733.1418 | 1207459.7728
44 | 2723731.9833 | 1207453.9254
45 | 2723728.8225 | 1207446.6629
46 | 2723738.3108 | 1207450.6763
47 | 2723750.9717 | 1207476.0127
48 | 2723724.5733 | 1207436.8998
49 | 2723619.6027 | 1207500.2804
50 | 2723625.9188 | 1207455.8294
51 | 2723666.6206 | 1207425.0045
52 | 2723669.3388 | 1207414.9643
53 | 2723672.6307 | 1207442.5646
54 | 2723659.8687 | 1207451.2958
55 | 2723714.8125 | 1207414.4728

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98867 | -0.079439 | 0.015933 | 0.0039932
1 | 0.98855 | -0.080334 | 0.0039913 | 0.0010003
2 | 0.9894 | -0.074324 | 0 | 0
3 | 0.98818 | -0.082901 | 0 | 0
4 | 0.99067 | -0.065348 | 0 | 0
5 | 0.98794 | -0.084652 | 0.0055884 | 0.0014006
6 | 0.99089 | -0.063749 | 0.0025621 | 0.00064213
7 | 0.99061 | -0.065758 | 0.0042498 | 0.0010651
8 | 0.99463 | -0.037503 | 0.0068116 | 0.0017071
9 | 0.99483 | -0.036057 | 0 | 0
10 | 0.98758 | -0.087186 | 0.0088063 | 0.0022071
11 | 0.99134 | -0.060606 | 0.0030959 | 0.00077591
12 | 0.99722 | -0.019376 | 0 | 0
13 | 0.99312 | -0.048109 | 0 | 0
14 | 0.9924 | -0.053125 | 0.0022447 | 0.00056257
15 | 0.99243 | -0.052974 | 0.0021924 | 0.00054946
16 | 0.99277 | -0.050537 | 0 | 0
17 | 0.99882 | -0.0082254 | 0 | 0
18 | 0.99617 | -0.026751 | 0.0029336 | 0.00073523
19 | 0.99717 | -0.019701 | 0.0027952 | 0.00070055
20 | 0.9985 | -0.010488 | 0.01235 | 0.0030951
21 | 0.99918 | -0.0057043 | 0.0021018 | 0.00052676
22 | 0.996 | -0.027909 | 0.0015775 | 0.00039536
23 | 0.99508 | -0.034391 | 0 | 0
24 | 0.99543 | -0.031916 | 0 | 0
25 | 0.99496 | -0.035259 | 0.0040774 | 0.0010219
26 | 1 | 0 | -0.15653 | -0.03915
27 | 0.99599 | -0.027964 | 0.0017015 | 0.00042644
28 | 0.99526 | -0.033115 | 0.0019314 | 0.00048406
29 | 0.99495 | -0.035321 | 0.0044697 | 0.0011202
30 | 0.99378 | -0.043523 | 0 | 0
31 | 0.9904 | -0.067444 | 0.002094 | 0.00052481
32 | 0.99013 | -0.069321 | 0.0022701 | 0.00056894
33 | 0.99083 | -0.064345 | 0 | 0
34 | 0.99162 | -0.058764 | 0 | 0
35 | 0.99077 | -0.064764 | 0.0022531 | 0.00056469
36 | 0.99193 | -0.056584 | 0.001281 | 0.00032105
37 | 0.99075 | -0.06491 | 0.0016428 | 0.00041173
38 | 0.992 | -0.056088 | 0.00090085 | 0.00022577
39 | 0.99798 | -0.014173 | 0.0022805 | 0.00057154
40 | 0.99777 | -0.015623 | 0.0017093 | 0.00042838
41 | 0.9982 | -0.012625 | 0.0019591 | 0.000491
42 | 0.9977 | -0.016121 | 0.0026162 | 0.00065567
43 | 0.99912 | -0.0061519 | 0.0020535 | 0.00051467
44 | 0.99921 | -0.0055182 | 0 | 0
45 | 0.99938 | -0.004359 | 0.0029415 | 0.0007372
46 | 0.99917 | -0.0058026 | 0 | 0
47 | 0.99901 | -0.0069374 | 0.0040057 | 0.0010039
48 | 0.99964 | -0.0024884 | 0.0029437 | 0.00073775
49 | 0.99214 | -0.055101 | 0.00079395 | 0.00019898
50 | 0.99287 | -0.04996 | 0 | 0
51 | 0.99369 | -0.044127 | 0 | 0
52 | 0.99353 | -0.045317 | 0.0085685 | 0.0021475
53 | 0.99307 | -0.048519 | 0.0029284 | 0.00073393
54 | 0.99258 | -0.051973 | 0.02206 | 0.0055288
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0184 | 0.0046126 | -0.018398 | -0.0046117 | 2.2797e-06 | 8.1574e-07 | 0.027694 | 0.027694 | 0.027694 | 0.98867 | -0.079439 | 0.98855 | -0.080334 | 10.2569
1 | -0.034333 | -0.0086058 | 0.034357 | 0.0086149 | 2.4336e-05 | 9.1724e-06 | 0.051674 | 0.051674 | 0.051674 | 0.98867 | -0.079439 | 0.9894 | -0.074324 | 19.1385
2 | 0.014406 | 0.0036114 | -0.014401 | -0.0036097 | 5.1214e-06 | 1.7461e-06 | 0.021686 | 0.021686 | 0.021686 | 0.98855 | -0.080334 | 0.98818 | -0.082901 | 8.0318
3 | -0.034357 | -0.0086149 | 0.0344 | 0.0086311 | 4.2786e-05 | 1.6126e-05 | 0.051674 | 0.051674 | 0.051674 | 0.9894 | -0.074324 | 0.99067 | -0.065348 | 19.1385
4 | 0.014401 | 0.0036097 | -0.014398 | -0.0036085 | 3.4906e-06 | 1.1902e-06 | 0.021686 | 0.021686 | 0.021686 | 0.98818 | -0.082901 | 0.98794 | -0.084652 | 8.0318
5 | -0.03865 | -0.0096961 | 0.038659 | 0.0096994 | 8.5754e-06 | 3.2457e-06 | 0.058057 | 0.058057 | 0.058057 | 0.99067 | -0.065348 | 0.99089 | -0.063749 | 21.5028
6 | 0.00425 | 0.0010651 | -0.0042498 | -0.0010651 | 2.4139e-07 | -2.9375e-08 | 0.0063836 | 0.0063837 | 0.0063837 | 0.99067 | -0.065348 | 0.99061 | -0.065758 | 2.3643
7 | 0.0088094 | 0.0022079 | -0.0088063 | -0.0022071 | 3.0899e-06 | 8.2843e-07 | 0.013269 | 0.013269 | 0.013269 | 0.98794 | -0.084652 | 0.98758 | -0.087186 | 4.9144
8 | -0.041221 | -0.010342 | 0.041239 | 0.010348 | 1.7978e-05 | 6.8176e-06 | 0.061905 | 0.061905 | 0.061905 | 0.99089 | -0.063749 | 0.99134 | -0.060606 | 22.9278
9 | -0.0068116 | -0.0017071 | 0.006813 | 0.0017074 | 1.364e-06 | 2.5136e-07 | 0.01019 | 0.01019 | 0.01019 | 0.99463 | -0.037503 | 0.99483 | -0.036057 | 3.7743
10 | -0.055747 | -0.014004 | 0.055877 | 0.014053 | 0.00012963 | 4.9471e-05 | 0.083394 | 0.083394 | 0.083394 | 0.99483 | -0.036057 | 0.99722 | -0.019376 | 30.8868
11 | 0.048934 | 0.012296 | -0.048852 | -0.012265 | 8.1937e-05 | 3.1196e-05 | 0.073204 | 0.073204 | 0.073204 | 0.99483 | -0.036057 | 0.99312 | -0.048109 | 27.1126
12 | -0.044335 | -0.011124 | 0.044412 | 0.011153 | 7.7018e-05 | 2.9262e-05 | 0.066552 | 0.066552 | 0.066552 | 0.99134 | -0.060606 | 0.99312 | -0.048109 | 24.6489
13 | -0.1204 | -0.030249 | 0.12058 | 0.030321 | 0.00018707 | 7.1466e-05 | 0.17968 | 0.17968 | 0.17968 | 0.99722 | -0.019376 | 0.99882 | -0.0082254 | 33.274
14 | 0.061726 | 0.015496 | -0.061663 | -0.015472 | 6.3161e-05 | 2.4137e-05 | 0.092114 | 0.092114 | 0.092114 | 0.99722 | -0.019376 | 0.99617 | -0.026751 | 34.1164
15 | 0.0027953 | 0.00070045 | -0.0027952 | -0.00070055 | 1.2587e-07 | -1.0285e-07 | 0.0041711 | 0.0041711 | 0.0041711 | 0.99722 | -0.019376 | 0.99717 | -0.019701 | 1.5449
16 | 0.0044401 | 0.0011117 | -0.0044386 | -0.0011118 | 1.4899e-06 | -1.2482e-07 | 0.0066523 | 0.0066526 | 0.0066526 | 0.99312 | -0.048109 | 0.99277 | -0.050537 | 2.4639
17 | -0.0022447 | -0.00056257 | 0.0022447 | 0.0005625 | 4.715e-08 | -6.8056e-08 | 0.0033657 | 0.0033656 | 0.0033657 | 0.9924 | -0.053125 | 0.99243 | -0.052974 | 1.2465
18 | -0.0044371 | -0.001112 | 0.0044386 | 0.0011118 | 1.4963e-06 | -1.2482e-07 | 0.0066528 | 0.0066526 | 0.0066528 | 0.99243 | -0.052974 | 0.99277 | -0.050537 | 2.464
19 | 0.012354 | 0.0030964 | -0.01235 | -0.0030951 | 3.8693e-06 | 1.2487e-06 | 0.018404 | 0.018404 | 0.018404 | 0.99882 | -0.0082254 | 0.9985 | -0.010488 | 6.8164
20 | -0.13294 | -0.033417 | 0.13299 | 0.033435 | 4.6692e-05 | 1.7859e-05 | 0.19808 | 0.19808 | 0.19808 | 0.99882 | -0.0082254 | 0.99918 | -0.0057043 | 36.6822
21 | 0.058729 | 0.014736 | -0.05872 | -0.014733 | 9.439e-06 | 3.6048e-06 | 0.087732 | 0.087732 | 0.087732 | 0.99617 | -0.026751 | 0.996 | -0.027909 | 32.4934
22 | -0.13509 | -0.033962 | 0.13519 | 0.034003 | 0.00010743 | 4.1097e-05 | 0.20121 | 0.20121 | 0.20121 | 0.99918 | -0.0057043 | 1 | 0 | 37.2618
23 | 0.057142 | 0.014337 | -0.057142 | -0.014337 | 4.3978e-07 | 1.6789e-07 | 0.085375 | 0.085375 | 0.085375 | 0.996 | -0.027909 | 0.99599 | -0.027964 | 31.6205
24 | -0.0085481 | -0.0021424 | 0.0085511 | 0.0021431 | 2.9304e-06 | 7.5357e-07 | 0.012783 | 0.012783 | 0.012783 | 0.99508 | -0.034391 | 0.99543 | -0.031916 | 4.7343
25 | 0.0085481 | 0.0021424 | -0.0085471 | -0.0021421 | 1.0264e-06 | 2.6401e-07 | 0.012783 | 0.012783 | 0.012783 | 0.99508 | -0.034391 | 0.99496 | -0.035259 | 4.7343
26 | 0.046859 | 0.011756 | -0.046851 | -0.011753 | 7.7927e-06 | 2.9641e-06 | 0.070051 | 0.070051 | 0.070051 | 0.99543 | -0.031916 | 0.99526 | -0.033115 | 25.9448
27 | -0.05541 | -0.013899 | 0.05544 | 0.013911 | 3.0378e-05 | 1.1592e-05 | 0.082833 | 0.082833 | 0.082833 | 0.99543 | -0.031916 | 0.99599 | -0.027964 | 30.6791
28 | 0.0044697 | 0.0011202 | -0.0044697 | -0.0011202 | 3.8497e-08 | -3.1236e-09 | 0.0066848 | 0.0066848 | 0.0066848 | 0.99496 | -0.035259 | 0.99495 | -0.035321 | 2.4758
29 | 0.020535 | 0.0051472 | -0.020528 | -0.0051446 | 7.0734e-06 | 2.5613e-06 | 0.030557 | 0.030557 | 0.030557 | 1 | 0 | 0.99964 | -0.0024884 | 11.3174
30 | 0.04492 | 0.011269 | -0.044855 | -0.011244 | 6.4756e-05 | 2.4608e-05 | 0.067163 | 0.067163 | 0.067163 | 0.99526 | -0.033115 | 0.99378 | -0.043523 | 24.8753
31 | 0.025017 | 0.006273 | -0.024999 | -0.0062666 | 1.7309e-05 | 6.4014e-06 | 0.037459 | 0.037459 | 0.037459 | 0.99378 | -0.043523 | 0.99307 | -0.048519 | 13.8738
32 | 0.019838 | 0.0049714 | -0.019837 | -0.0049708 | 1.6595e-06 | 5.992e-07 | 0.029704 | 0.029704 | 0.029704 | 0.99378 | -0.043523 | 0.99369 | -0.044127 | 11.0016
33 | 0.0022707 | 0.00056813 | -0.0022701 | -0.00056894 | 5.8911e-07 | -8.1705e-07 | 0.0034113 | 0.0034116 | 0.0034116 | 0.9904 | -0.067444 | 0.99013 | -0.069321 | 1.2636
34 | -0.0043647 | -0.0010929 | 0.0043666 | 0.0010928 | 1.8685e-06 | -1.7792e-07 | 0.0065574 | 0.0065571 | 0.0065574 | 0.9904 | -0.067444 | 0.99083 | -0.064345 | 2.4287
35 | -0.0082628 | -0.002069 | 0.0082692 | 0.0020706 | 6.375e-06 | 1.5966e-06 | 0.012408 | 0.012408 | 0.012408 | 0.99083 | -0.064345 | 0.99162 | -0.058764 | 4.5957
36 | 0.0038962 | 0.00097627 | -0.003896 | -0.00097632 | 2.2578e-07 | -4.9272e-08 | 0.0058512 | 0.0058512 | 0.0058512 | 0.99083 | -0.064345 | 0.99077 | -0.064764 | 2.1671
37 | -0.0082692 | -0.0020706 | 0.0082717 | 0.0020712 | 2.4918e-06 | 6.2367e-07 | 0.012408 | 0.012408 | 0.012408 | 0.99162 | -0.058764 | 0.99193 | -0.056584 | 4.5956
38 | 0.0016429 | 0.00041163 | -0.0016428 | -0.00041173 | 3.3357e-08 | -1.0025e-07 | 0.0024673 | 0.0024674 | 0.0024674 | 0.99077 | -0.064764 | 0.99075 | -0.06491 | 0.91384
39 | -0.0095527 | -0.0023923 | 0.0095533 | 0.0023925 | 6.5435e-07 | 1.8575e-07 | 0.01433 | 0.01433 | 0.01433 | 0.99193 | -0.056584 | 0.992 | -0.056088 | 5.3072
40 | -0.010454 | -0.0026183 | 0.010456 | 0.0026187 | 1.4278e-06 | 4.2899e-07 | 0.015681 | 0.015681 | 0.015681 | 0.992 | -0.056088 | 0.99214 | -0.055101 | 5.8077
41 | 0.0043265 | 0.0010838 | -0.0043256 | -0.0010839 | 8.6767e-07 | -1.028e-07 | 0.0064507 | 0.0064509 | 0.0064509 | 0.99798 | -0.014173 | 0.99777 | -0.015623 | 2.3892
42 | -0.0066069 | -0.0016553 | 0.0066084 | 0.0016555 | 1.4156e-06 | 2.3892e-07 | 0.0098509 | 0.0098508 | 0.0098509 | 0.99798 | -0.014173 | 0.9982 | -0.012625 | 3.6485
43 | 0.0026163 | 0.0006555 | -0.0026162 | -0.00065567 | 1.8028e-07 | -1.785e-07 | 0.0039018 | 0.0039019 | 0.0039019 | 0.99777 | -0.015623 | 0.9977 | -0.016121 | 1.4451
44 | -0.0085675 | -0.0021466 | 0.0085752 | 0.0021485 | 7.6762e-06 | 1.9655e-06 | 0.012771 | 0.012771 | 0.012771 | 0.9982 | -0.012625 | 0.99912 | -0.0061519 | 4.7301
45 | -0.010629 | -0.0026632 | 0.01063 | 0.0026635 | 9.3204e-07 | 2.804e-07 | 0.015829 | 0.015829 | 0.015829 | 0.99912 | -0.0061519 | 0.99921 | -0.0055182 | 5.8627
46 | -0.014636 | -0.0036672 | 0.014638 | 0.003668 | 2.3479e-06 | 7.9927e-07 | 0.021796 | 0.021796 | 0.021796 | 0.99921 | -0.0055182 | 0.99938 | -0.004359 | 8.0725
47 | 0.0040065 | 0.0010038 | -0.0040064 | -0.0010038 | 1.5764e-07 | -3.2325e-08 | 0.0059663 | 0.0059664 | 0.0059664 | 0.99921 | -0.0055182 | 0.99917 | -0.0058026 | 2.2098
48 | -0.01758 | -0.0044052 | 0.017585 | 0.0044068 | 4.5522e-06 | 1.6113e-06 | 0.026175 | 0.026175 | 0.026175 | 0.99938 | -0.004359 | 0.99964 | -0.0024884 | 9.6946
49 | 0.0040064 | 0.0010038 | -0.0040057 | -0.0010039 | 6.2916e-07 | -1.2892e-07 | 0.0059664 | 0.0059665 | 0.0059665 | 0.99917 | -0.0058026 | 0.99901 | -0.0069374 | 2.2098
50 | -0.01125 | -0.0028177 | 0.011258 | 0.0028202 | 8.0006e-06 | 2.495e-06 | 0.016872 | 0.016871 | 0.016872 | 0.99214 | -0.055101 | 0.99287 | -0.04996 | 6.2487
51 | -0.011258 | -0.0028202 | 0.011267 | 0.002823 | 9.0879e-06 | 2.8331e-06 | 0.016871 | 0.016871 | 0.016871 | 0.99287 | -0.04996 | 0.99369 | -0.044127 | 6.2486
52 | 0.00857 | 0.0021478 | -0.0085685 | -0.0021475 | 1.4119e-06 | 3.6509e-07 | 0.012833 | 0.012833 | 0.012833 | 0.99369 | -0.044127 | 0.99353 | -0.045317 | 4.753
53 | 0.022071 | 0.0055327 | -0.02206 | -0.0055288 | 1.0553e-05 | 3.8589e-06 | 0.033071 | 0.033071 | 0.033071 | 0.99307 | -0.048519 | 0.99258 | -0.051973 | 12.2487

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15916 | 0.039809

## res_load
| p_mw | q_mvar
0 | 0.015933 | 0.0039932
1 | 0.0039913 | 0.0010003
2 | 0.0055884 | 0.0014006
3 | 0.0025621 | 0.00064213
4 | 0.0042498 | 0.0010651
5 | 0.0068116 | 0.0017071
6 | 0.0088063 | 0.0022071
7 | 0.0030959 | 0.00077591
8 | 0.0022447 | 0.00056257
9 | 0.0021924 | 0.00054946
10 | 0.0029336 | 0.00073523
11 | 0.0027952 | 0.00070055
12 | 0.01235 | 0.0030951
13 | 0.0021018 | 0.00052676
14 | 0.0015775 | 0.00039536
15 | 0.0040774 | 0.0010219
16 | 0.0026266 | 0.00065829
17 | 0.0017015 | 0.00042644
18 | 0.0019314 | 0.00048406
19 | 0.0044697 | 0.0011202
20 | 0.002094 | 0.00052481
21 | 0.0022701 | 0.00056894
22 | 0.0022531 | 0.00056469
23 | 0.001281 | 0.00032105
24 | 0.0016428 | 0.00041173
25 | 0.00090085 | 0.00022577
26 | 0.0022805 | 0.00057154
27 | 0.0017093 | 0.00042838
28 | 0.0019591 | 0.000491
29 | 0.0026162 | 0.00065567
30 | 0.0020535 | 0.00051467
31 | 0.0029415 | 0.0007372
32 | 0.0040057 | 0.0010039
33 | 0.0029437 | 0.00073775
34 | 0.00079395 | 0.00019898
35 | 0.0085685 | 0.0021475
36 | 0.0029284 | 0.00073393
37 | 0.02206 | 0.0055288

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1