## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-74_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-74_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-74_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-74_0_4_node_10 | 0.4 | n |  | TRUE
4 | bus_LV_1631-74_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1631-74_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1631-74_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1631-74_0_4_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_1631-74_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1631-74_0_4_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_1631-74_0_4_node_48 | 0.4 | n |  | TRUE
11 | bus_LV_1631-74_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1631-74_0_4_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_1631-74_0_4_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_1631-74_0_4_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_1631-74_0_4_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_1631-74_0_4_node_5 | 0.4 | n |  | TRUE
17 | bus_LV_1631-74_0_4_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_1631-74_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1631-74_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1631-74_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1631-74_0_4_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1631-74_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1631-74_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1631-74_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1631-74_0_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_1631-74_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1631-74_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1631-74_0_4_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_1631-74_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1631-74_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1631-74_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1631-74_0_4_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1631-74_0_4_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_1631-74_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1631-74_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1631-74_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1631-74_0_4_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1631-74_0_4_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1631-74_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1631-74_0_4_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1631-74_0_4_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_1631-74_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1631-74_0_4_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_1631-74_0_4_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_1631-74_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1631-74_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_1631-74_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_1631-74_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1631-74_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_1631-74_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_1631-74_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1631-74_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1631-74_0_4_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_1631-74_0_4_node_50 | 0.4 | n |  | TRUE
55 | bus_MV_145_1_node_271 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-74_0_4_load_0 | 0 | 0.0048487 | 0.0012152 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-74_0_4_load_9 | 6 | 0.0044411 | 0.001113 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-74_0_4_load_54 | 7 | 0.0015349 | 0.00038469 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-74_0_4_load_48 | 10 | 0.0071098 | 0.0017819 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-74_0_4_load_8 | 11 | 0.0051027 | 0.0012789 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-74_0_4_load_35 | 12 | 0.011267 | 0.0028237 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-74_0_4_load_36 | 13 | 0.0048802 | 0.0012231 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-74_0_4_load_32 | 14 | 0.0037735 | 0.00094572 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-74_0_4_load_42 | 15 | 0.0095046 | 0.0023821 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-74_0_4_load_5 | 16 | 0.015607 | 0.0039116 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-74_0_4_load_6 | 17 | 0.0094673 | 0.0023727 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-74_0_4_load_17 | 19 | 0.0035663 | 0.0008938 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-74_0_4_load_11 | 21 | 0.0056989 | 0.0014283 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-74_0_4_load_15 | 23 | 0.0051375 | 0.0012876 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-74_0_4_load_18 | 24 | 0.0026607 | 0.00066683 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-74_0_4_load_53 | 25 | 0.0076462 | 0.0019163 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-74_0_4_load_19 | 26 | 0.0030286 | 0.00075905 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-74_0_4_load_24 | 27 | 0.0072784 | 0.0018241 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-74_0_4_load_56 | 28 | 0.002611 | 0.00065439 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-74_0_4_load_20 | 29 | 0.0047536 | 0.0011914 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-74_0_4_load_21 | 30 | 0.0036744 | 0.0009209 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-74_0_4_load_22 | 31 | 0.0025595 | 0.00064146 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-74_0_4_load_23 | 32 | 0.0027957 | 0.00070067 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-74_0_4_load_57 | 33 | 0.0039597 | 0.00099241 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-74_0_4_load_25 | 34 | 0.0050506 | 0.0012658 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-74_0_4_load_28 | 37 | 0.0034643 | 0.00086824 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-74_0_4_load_29 | 38 | 0.0047027 | 0.0011786 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-74_0_4_load_55 | 41 | 0.0018359 | 0.00046012 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-74_0_4_load_33 | 42 | 0.0044081 | 0.0011048 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-74_0_4_load_52 | 43 | 0.0050325 | 0.0012613 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-74_0_4_load_51 | 44 | 0.0043499 | 0.0010902 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-74_0_4_load_37 | 45 | 0.0043804 | 0.0010978 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-74_0_4_load_38 | 46 | 0.0053681 | 0.0013454 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-74_0_4_load_40 | 47 | 0.0098401 | 0.0024662 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-74_0_4_load_43 | 48 | 0.0072356 | 0.0018134 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-74_0_4_load_44 | 49 | 0.0083374 | 0.0020896 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-74_0_4_load_45 | 50 | 0.0064709 | 0.0016218 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-74_0_4_load_46 | 51 | 0.0065837 | 0.00165 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1631-74_0_4_load_47 | 52 | 0.0066167 | 0.0016583 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1631-74_0_4_load_49 | 53 | 0.0085676 | 0.0021472 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1631-74_0_4_load_50 | 54 | 0.0099439 | 0.0024922 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-74_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-74_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.16345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-74_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.15438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-74_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.098241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-74_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.10306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1631-74_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.030732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-74_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.053875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-74_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.011689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-74_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.052073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-74_0_4_line_9 | NAYY 4x150 SE | 5 | 10 | 0.016957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-74_0_4_line_10 | NAYY 4x150 SE | 8 | 11 | 0.064614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-74_0_4_line_11 | NAYY 4x150 SE | 9 | 12 | 0.021477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-74_0_4_line_12 | NAYY 4x150 SE | 9 | 13 | 0.01084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-74_0_4_line_13 | NAYY 4x150 SE | 9 | 14 | 0.044761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-74_0_4_line_14 | NAYY 4x150 SE | 10 | 15 | 0.025856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-74_0_4_line_15 | NAYY 4x150 SE | 11 | 18 | 0.054008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-74_0_4_line_16 | NAYY 4x150 SE | 11 | 16 | 0.1308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-74_0_4_line_17 | NAYY 4x150 SE | 13 | 43 | 0.01484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-74_0_4_line_18 | NAYY 4x150 SE | 14 | 40 | 0.019093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-74_0_4_line_19 | NAYY 4x150 SE | 15 | 47 | 0.031684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-74_0_4_line_20 | NAYY 4x150 SE | 16 | 17 | 0.0081905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-74_0_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.05203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-74_0_4_line_22 | NAYY 4x150 SE | 18 | 20 | 0.017413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-74_0_4_line_23 | NAYY 4x150 SE | 19 | 27 | 0.0091032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-74_0_4_line_24 | NAYY 4x150 SE | 20 | 24 | 0.021459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-74_0_4_line_25 | NAYY 4x150 SE | 20 | 22 | 0.051836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-74_0_4_line_26 | NAYY 4x150 SE | 21 | 22 | 0.055929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-74_0_4_line_27 | NAYY 4x150 SE | 22 | 23 | 0.01823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-74_0_4_line_28 | NAYY 4x150 SE | 23 | 25 | 0.019198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-74_0_4_line_29 | NAYY 4x150 SE | 24 | 26 | 0.015167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-74_0_4_line_30 | NAYY 4x150 SE | 26 | 29 | 0.0081185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-74_0_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.081578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-74_0_4_line_32 | NAYY 4x150 SE | 28 | 33 | 0.12889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-74_0_4_line_33 | NAYY 4x150 SE | 29 | 30 | 0.013676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-74_0_4_line_34 | NAYY 4x150 SE | 30 | 31 | 0.0035565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-74_0_4_line_35 | NAYY 4x150 SE | 31 | 32 | 0.011981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-74_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.018556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-74_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.15088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-74_0_4_line_38 | NAYY 4x150 SE | 35 | 37 | 0.011266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-74_0_4_line_39 | NAYY 4x150 SE | 35 | 38 | 0.02838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-74_0_4_line_40 | NAYY 4x150 SE | 36 | 39 | 0.005546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-74_0_4_line_41 | NAYY 4x150 SE | 37 | 40 | 0.062794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-74_0_4_line_42 | NAYY 4x150 SE | 39 | 41 | 0.070527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-74_0_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.024481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-74_0_4_line_44 | NAYY 4x150 SE | 43 | 44 | 0.013318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-74_0_4_line_45 | NAYY 4x150 SE | 44 | 54 | 0.019552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-74_0_4_line_46 | NAYY 4x150 SE | 45 | 46 | 0.024828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-74_0_4_line_47 | NAYY 4x150 SE | 46 | 47 | 0.027826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-74_0_4_line_48 | NAYY 4x150 SE | 48 | 49 | 0.015355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-74_0_4_line_49 | NAYY 4x150 SE | 49 | 50 | 0.010295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-74_0_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.016341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1631-74_0_4_line_51 | NAYY 4x150 SE | 51 | 52 | 0.0070144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1631-74_0_4_line_52 | NAYY 4x150 SE | 52 | 53 | 0.024541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1631-74_0_4_line_53 | NAYY 4x150 SE | 53 | 54 | 0.0042786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-74_0_4_trafo_2 | 0.25 MVA 20/0.4 kV | 55 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2732370.4953 | 1197894.2812 | 2732375.1034 | 1197900.5325 | 2732383.4914 | 1197912.939 | 2732385.4573 | 1197916.5021
1 | 2732484.7054 | 1198045.406 | 2732479.3419 | 1198036.4691 | 2732416.0147 | 1197964.5993 | 2732406.1702 | 1197952.2606 | 2732396.9551 | 1197939.3687 | 2732393.2746 | 1197932.5152 | 2732386.8827 | 1197919.0855 | 2732385.4573 | 1197916.5021
2 | 2732370.4953 | 1197894.2812 | 2732446.9089 | 1197760.136
3 | 2732484.7054 | 1198045.406 | 2732573.5752 | 1198003.0096
4 | 2732391.5222 | 1198089.9764 | 2732484.7054 | 1198045.406
5 | 2732446.9089 | 1197760.136 | 2732446.1962 | 1197757.5738 | 2732439.5539 | 1197748.5641 | 2732432.1664 | 1197740.8612 | 2732427.2939 | 1197737.0171
6 | 2732573.5752 | 1198003.0096 | 2732617.2277 | 1198034.758
7 | 2732584.148 | 1197997.9624 | 2732573.5752 | 1198003.0096
8 | 2732391.5222 | 1198089.9764 | 2732434.1608 | 1198120.0441
9 | 2732391.5222 | 1198089.9764 | 2732376.1449 | 1198097.1237
10 | 2732584.148 | 1197997.9624 | 2732642.4651 | 1197970.1393
11 | 2732434.1608 | 1198120.0441 | 2732445.0623 | 1198101.5268
12 | 2732434.1608 | 1198120.0441 | 2732424.3753 | 1198124.708
13 | 2732434.1608 | 1198120.0441 | 2732471.5169 | 1198144.7033
14 | 2732352.6975 | 1198108.0217 | 2732376.1449 | 1198097.1237
15 | 2732689.3932 | 1197943.8663 | 2732674.7674 | 1197954.7279 | 2732642.4651 | 1197970.1393
16 | 2732642.4651 | 1197970.1393 | 2732579.9879 | 1197855.2206
17 | 2732424.3753 | 1198124.708 | 2732410.9792 | 1198131.0929
18 | 2732489.8815 | 1198149.3681 | 2732478.7844 | 1198147.4985 | 2732472.9964 | 1198145.6799 | 2732471.5169 | 1198144.7033
19 | 2732324.126 | 1198121.7135 | 2732342.5397 | 1198112.743 | 2732352.6975 | 1198108.0217
20 | 2732579.9879 | 1197855.2206 | 2732575.6915 | 1197848.2475 | 2732575.6915 | 1197848.2475
21 | 2732689.3932 | 1197943.8663 | 2732706.1353 | 1197965.3323 | 2732709.3363 | 1197972.8314 | 2732709.7312 | 1197978.0331 | 2732707.3652 | 1197988.1662 | 2732706.9283 | 1197989.0997
22 | 2732699.8939 | 1197930.0664 | 2732697.1087 | 1197934.7193 | 2732692.4209 | 1197940.9868 | 2732689.3932 | 1197943.8663
23 | 2732703.0699 | 1197997.3447 | 2732706.9283 | 1197989.0997
24 | 2732699.8939 | 1197930.0664 | 2732716.484 | 1197943.677
25 | 2732699.8939 | 1197930.0664 | 2732709.0339 | 1197904.1268 | 2732716.3457 | 1197880.9155
26 | 2732716.3457 | 1197880.9155 | 2732733.159 | 1197827.574
27 | 2732716.3457 | 1197880.9155 | 2732732.0689 | 1197890.1402
28 | 2732745.2722 | 1197902.9971 | 2732743.5733 | 1197898.8784 | 2732742.3958 | 1197896.6616 | 2732739.8865 | 1197894.7266 | 2732732.0689 | 1197890.1402
29 | 2732716.484 | 1197943.677 | 2732728.2101 | 1197953.2973
30 | 2732728.2101 | 1197953.2973 | 2732734.4867 | 1197958.4466
31 | 2732703.0699 | 1197997.3447 | 2732759.6603 | 1198056.1023
32 | 2732759.6603 | 1198056.1023 | 2732887.6455 | 1198071.3352
33 | 2732746.7689 | 1197963.9137 | 2732737.898 | 1197961.2453 | 2732734.4867 | 1197958.4466
34 | 2732746.7689 | 1197963.9137 | 2732750.1746 | 1197964.9382
35 | 2732761.6476 | 1197968.3893 | 2732750.1746 | 1197964.9382
36 | 2732561.333 | 1198166.3873 | 2732550.3202 | 1198181.3214
37 | 2732479.2652 | 1198308.2451 | 2732552.0934 | 1198200.2977 | 2732548.3113 | 1198193.5753 | 2732547.6907 | 1198191.6712 | 2732547.4524 | 1198189.7088 | 2732547.8838 | 1198186.4047 | 2732550.3202 | 1198181.3214
38 | 2732561.333 | 1198166.3873 | 2732551.2955 | 1198161.2725
39 | 2732561.333 | 1198166.3873 | 2732571.3809 | 1198148.5852 | 2732573.4812 | 1198140.9305
40 | 2732483.7011 | 1198311.5905 | 2732479.2652 | 1198308.2451
41 | 2732489.8815 | 1198149.3681 | 2732534.6454 | 1198155.7096 | 2732549.3095 | 1198160.2604 | 2732551.2955 | 1198161.2725
42 | 2732483.7011 | 1198311.5905 | 2732489.4073 | 1198311.25 | 2732496.2708 | 1198309.5675 | 2732503.0685 | 1198307.0717 | 2732509.4527 | 1198303.2992 | 2732515.1037 | 1198298.5763 | 2732527.42 | 1198287.0292 | 2732532.4926 | 1198282.6272 | 2732534.8771 | 1198278.8549 | 2732535.5244 | 1198274.7438 | 2732535.7112 | 1198271.134
43 | 2732502.6569 | 1198128.4683 | 2732489.8815 | 1198149.3681
44 | 2732398.957 | 1198136.8228 | 2732410.9792 | 1198131.0929
45 | 2732381.3067 | 1198145.2352 | 2732398.957 | 1198136.8228
46 | 2732276.9732 | 1198145.1147 | 2732281.2332 | 1198142.6094 | 2732299.1103 | 1198133.9003
47 | 2732299.1103 | 1198133.9003 | 2732324.126 | 1198121.7135
48 | 2732311.0527 | 1198178.7195 | 2732324.9138 | 1198172.1131
49 | 2732324.9138 | 1198172.1131 | 2732334.207 | 1198167.6838
50 | 2732334.207 | 1198167.6838 | 2732348.9585 | 1198160.6529
51 | 2732355.2905 | 1198157.635 | 2732348.9585 | 1198160.6529
52 | 2732355.2905 | 1198157.635 | 2732377.4444 | 1198147.0761
53 | 2732381.3067 | 1198145.2352 | 2732377.4444 | 1198147.0761

## bus_geodata
| x | y | coords
0 | 2732385.4573 | 1197916.5021
1 | 2732370.4953 | 1197894.2812
2 | 2732484.7054 | 1198045.406
3 | 2732446.9089 | 1197760.136
4 | 2732573.5752 | 1198003.0096
5 | 2732391.5222 | 1198089.9764
6 | 2732427.2939 | 1197737.0171
7 | 2732617.2277 | 1198034.758
8 | 2732584.148 | 1197997.9624
9 | 2732434.1608 | 1198120.0441
10 | 2732376.1449 | 1198097.1237
11 | 2732642.4651 | 1197970.1393
12 | 2732445.0623 | 1198101.5268
13 | 2732424.3753 | 1198124.708
14 | 2732471.5169 | 1198144.7033
15 | 2732352.6975 | 1198108.0217
16 | 2732579.9879 | 1197855.2206
17 | 2732575.6915 | 1197848.2475
18 | 2732689.3932 | 1197943.8663
19 | 2732706.9283 | 1197989.0997
20 | 2732699.8939 | 1197930.0664
21 | 2732733.159 | 1197827.574
22 | 2732716.3457 | 1197880.9155
23 | 2732732.0689 | 1197890.1402
24 | 2732716.484 | 1197943.677
25 | 2732745.2722 | 1197902.9971
26 | 2732728.2101 | 1197953.2973
27 | 2732703.0699 | 1197997.3447
28 | 2732759.6603 | 1198056.1023
29 | 2732734.4867 | 1197958.4466
30 | 2732746.7689 | 1197963.9137
31 | 2732750.1746 | 1197964.9382
32 | 2732761.6476 | 1197968.3893
33 | 2732887.6455 | 1198071.3352
34 | 2732550.3202 | 1198181.3214
35 | 2732561.333 | 1198166.3873
36 | 2732479.2652 | 1198308.2451
37 | 2732551.2955 | 1198161.2725
38 | 2732573.4812 | 1198140.9305
39 | 2732483.7011 | 1198311.5905
40 | 2732489.8815 | 1198149.3681
41 | 2732535.7112 | 1198271.134
42 | 2732502.6569 | 1198128.4683
43 | 2732410.9792 | 1198131.0929
44 | 2732398.957 | 1198136.8228
45 | 2732276.9732 | 1198145.1147
46 | 2732299.1103 | 1198133.9003
47 | 2732324.126 | 1198121.7135
48 | 2732311.0527 | 1198178.7195
49 | 2732324.9138 | 1198172.1131
50 | 2732334.207 | 1198167.6838
51 | 2732348.9585 | 1198160.6529
52 | 2732355.2905 | 1198157.635
53 | 2732377.4444 | 1198147.0761
54 | 2732381.3067 | 1198145.2352
55 | 2732573.5752 | 1198003.0096

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99783 | -0.015234 | 0.0048487 | 0.0012152
1 | 0.99766 | -0.016433 | 0 | 0
2 | 1 | 0 | -0.24108 | -0.060887
3 | 0.99668 | -0.023331 | 0 | 0
4 | 0.98746 | -0.086549 | 0 | 0
5 | 0.9896 | -0.072135 | 0 | 0
6 | 0.99648 | -0.024703 | 0.0044411 | 0.001113
7 | 0.98734 | -0.087397 | 0.0015349 | 0.00038469
8 | 0.98599 | -0.096808 | 0 | 0
9 | 0.98181 | -0.127 | 0 | 0
10 | 0.98871 | -0.078399 | 0.0071098 | 0.0017819
11 | 0.97788 | -0.15407 | 0.0051027 | 0.0012789
12 | 0.98146 | -0.12951 | 0.011267 | 0.0028237
13 | 0.98074 | -0.13465 | 0.0048802 | 0.0012231
14 | 0.9803 | -0.13781 | 0.0037735 | 0.00094572
15 | 0.98763 | -0.08609 | 0.0095046 | 0.0023821
16 | 0.97308 | -0.18848 | 0.015607 | 0.0039116
17 | 0.97297 | -0.1893 | 0.0094673 | 0.0023727
18 | 0.9735 | -0.18545 | 0 | 0
19 | 0.97217 | -0.19502 | 0.0035663 | 0.0008938
20 | 0.97253 | -0.19242 | 0 | 0
21 | 0.97065 | -0.20593 | 0.0056989 | 0.0014283
22 | 0.97112 | -0.20255 | 0 | 0
23 | 0.97078 | -0.20502 | 0.0051375 | 0.0012876
24 | 0.97191 | -0.19683 | 0.0026607 | 0.00066683
25 | 0.97056 | -0.20657 | 0.0076462 | 0.0019163
26 | 0.97154 | -0.19953 | 0.0030286 | 0.00075905
27 | 0.97198 | -0.19635 | 0.0072784 | 0.0018241
28 | 0.97119 | -0.20203 | 0.002611 | 0.00065439
29 | 0.97137 | -0.20071 | 0.0047536 | 0.0011914
30 | 0.97119 | -0.20202 | 0.0036744 | 0.0009209
31 | 0.97117 | -0.20222 | 0.0025595 | 0.00064146
32 | 0.97112 | -0.20258 | 0.0027957 | 0.00070067
33 | 0.97045 | -0.20744 | 0.0039597 | 0.00099241
34 | 0.978 | -0.15424 | 0.0050506 | 0.0012658
35 | 0.97819 | -0.1529 | 0 | 0
36 | 0.9776 | -0.15715 | 0 | 0
37 | 0.97838 | -0.15154 | 0.0034643 | 0.00086824
38 | 0.97799 | -0.15429 | 0.0047027 | 0.0011786
39 | 0.97758 | -0.15726 | 0 | 0
40 | 0.97976 | -0.14167 | 0 | 0
41 | 0.9774 | -0.15861 | 0.0018359 | 0.00046012
42 | 0.9796 | -0.1428 | 0.0044081 | 0.0011048
43 | 0.97937 | -0.14439 | 0.0050325 | 0.0012613
44 | 0.97824 | -0.15245 | 0.0043499 | 0.0010902
45 | 0.98618 | -0.096347 | 0.0043804 | 0.0010978
46 | 0.98634 | -0.095231 | 0.0053681 | 0.0013454
47 | 0.98673 | -0.092448 | 0.0098401 | 0.0024662
48 | 0.97394 | -0.18321 | 0.0072356 | 0.0018134
49 | 0.97411 | -0.18204 | 0.0083374 | 0.0020896
50 | 0.97434 | -0.18035 | 0.0064709 | 0.0016218
51 | 0.97487 | -0.17657 | 0.0065837 | 0.00165
52 | 0.97516 | -0.17446 | 0.0066167 | 0.0016583
53 | 0.97643 | -0.16539 | 0.0085676 | 0.0021472
54 | 0.9767 | -0.16343 | 0.0099439 | 0.0024922
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0044469 | 0.0011125 | -0.0044462 | -0.0011126 | 7.3561e-07 | -6.7239e-08 | 0.0066308 | 0.0066309 | 0.0066309 | 0.99783 | -0.015234 | 0.99766 | -0.016433 | 2.4559
1 | -0.0092956 | -0.0023277 | 0.0093152 | 0.0023331 | 1.9595e-05 | 5.397e-06 | 0.013861 | 0.013861 | 0.013861 | 0.99783 | -0.015234 | 1 | 0 | 5.1339
2 | 0.0044462 | 0.0011126 | -0.004442 | -0.001113 | 4.2362e-06 | -3.8464e-07 | 0.0066309 | 0.0066316 | 0.0066316 | 0.99766 | -0.016433 | 0.99668 | -0.023331 | 2.4562
3 | 0.089479 | 0.022735 | -0.088391 | -0.022318 | 0.0010886 | 0.0004174 | 0.13326 | 0.13326 | 0.13326 | 1 | 0 | 0.98746 | -0.086549 | 49.3541
4 | 0.14149 | 0.035819 | -0.14006 | -0.035273 | 0.001427 | 0.00054617 | 0.21066 | 0.21067 | 0.21067 | 1 | 0 | 0.9896 | -0.072135 | 39.0121
5 | 0.004442 | 0.001113 | -0.0044411 | -0.001113 | 8.4339e-07 | -7.6053e-08 | 0.0066316 | 0.0066318 | 0.0066318 | 0.99668 | -0.023331 | 0.99648 | -0.024703 | 2.4562
6 | 0.0015351 | 0.00038407 | -0.0015349 | -0.00038469 | 1.7988e-07 | -6.1991e-07 | 0.002313 | 0.0023133 | 0.0023133 | 0.98746 | -0.086549 | 0.98734 | -0.087397 | 0.85677
7 | 0.086855 | 0.021934 | -0.08673 | -0.021886 | 0.00012506 | 4.7952e-05 | 0.13094 | 0.13094 | 0.13094 | 0.98746 | -0.086549 | 0.98599 | -0.096808 | 48.4975
8 | 0.10377 | 0.026168 | -0.10298 | -0.025865 | 0.00079176 | 0.00030386 | 0.1561 | 0.1561 | 0.1561 | 0.9896 | -0.072135 | 0.98181 | -0.127 | 57.8143
9 | 0.036287 | 0.0091041 | -0.036256 | -0.0090922 | 3.1506e-05 | 1.19e-05 | 0.054567 | 0.054567 | 0.054567 | 0.9896 | -0.072135 | 0.98871 | -0.078399 | 20.21
10 | 0.08673 | 0.021886 | -0.086039 | -0.021621 | 0.00069132 | 0.00026508 | 0.13094 | 0.13094 | 0.13094 | 0.98599 | -0.096808 | 0.97788 | -0.15407 | 48.4976
11 | 0.011271 | 0.0028249 | -0.011267 | -0.0028237 | 3.9104e-06 | 1.2325e-06 | 0.017082 | 0.017082 | 0.017082 | 0.98181 | -0.127 | 0.98146 | -0.12951 | 6.3266
12 | 0.068405 | 0.017194 | -0.068333 | -0.017166 | 7.2729e-05 | 2.7836e-05 | 0.10369 | 0.10369 | 0.10369 | 0.98181 | -0.127 | 0.98074 | -0.13465 | 38.4045
13 | 0.023307 | 0.0058455 | -0.023272 | -0.0058326 | 3.4854e-05 | 1.284e-05 | 0.035325 | 0.035325 | 0.035325 | 0.98181 | -0.127 | 0.9803 | -0.13781 | 13.0835
14 | 0.029146 | 0.0073103 | -0.029115 | -0.0072987 | 3.1047e-05 | 1.161e-05 | 0.043867 | 0.043867 | 0.043867 | 0.98871 | -0.078399 | 0.98763 | -0.08609 | 16.247
15 | 0.055741 | 0.014013 | -0.055498 | -0.01392 | 0.00024254 | 9.2611e-05 | 0.084834 | 0.084834 | 0.084834 | 0.97788 | -0.15407 | 0.9735 | -0.18545 | 31.4201
16 | 0.025196 | 0.0063291 | -0.025076 | -0.0062846 | 0.00012001 | 4.4525e-05 | 0.038345 | 0.038345 | 0.038345 | 0.97788 | -0.15407 | 0.97308 | -0.18848 | 14.2019
17 | 0.063453 | 0.015943 | -0.063367 | -0.01591 | 8.5853e-05 | 3.2833e-05 | 0.096288 | 0.096288 | 0.096288 | 0.98074 | -0.13465 | 0.97937 | -0.14439 | 35.6621
18 | 0.019499 | 0.0048869 | -0.019488 | -0.0048831 | 1.0437e-05 | 3.7737e-06 | 0.029598 | 0.029598 | 0.029598 | 0.9803 | -0.13781 | 0.97976 | -0.14167 | 10.9621
19 | 0.01961 | 0.0049166 | -0.019593 | -0.0049104 | 1.726e-05 | 6.2334e-06 | 0.029547 | 0.029547 | 0.029547 | 0.98763 | -0.08609 | 0.98673 | -0.092448 | 10.9433
20 | 0.0094683 | 0.002373 | -0.0094673 | -0.0023727 | 1.0714e-06 | 3.1035e-07 | 0.014479 | 0.014479 | 0.014479 | 0.97308 | -0.18848 | 0.97297 | -0.1893 | 5.3625
21 | 0.017449 | 0.0043744 | -0.017426 | -0.0043661 | 2.3097e-05 | 8.2374e-06 | 0.026672 | 0.026672 | 0.026672 | 0.9735 | -0.18545 | 0.97217 | -0.19502 | 9.8786
22 | 0.038049 | 0.0095456 | -0.038012 | -0.0095317 | 3.6757e-05 | 1.3921e-05 | 0.058162 | 0.058162 | 0.058162 | 0.9735 | -0.18545 | 0.97253 | -0.19242 | 21.5416
23 | 0.01386 | 0.0034723 | -0.013857 | -0.0034715 | 2.5563e-06 | 8.7034e-07 | 0.021214 | 0.021214 | 0.021214 | 0.97217 | -0.19502 | 0.97198 | -0.19635 | 7.8569
24 | 0.019495 | 0.004888 | -0.019483 | -0.0048836 | 1.1914e-05 | 4.3163e-06 | 0.029829 | 0.029829 | 0.029829 | 0.97253 | -0.19242 | 0.97191 | -0.19683 | 11.0478
25 | 0.018517 | 0.0046437 | -0.018491 | -0.0046344 | 2.5967e-05 | 9.3449e-06 | 0.028333 | 0.028334 | 0.028334 | 0.97253 | -0.19242 | 0.97112 | -0.20255 | 10.4939
26 | -0.0056989 | -0.0014283 | 0.0057016 | 0.0014286 | 2.6637e-06 | 3.3286e-07 | 0.0087365 | 0.0087363 | 0.0087365 | 0.97065 | -0.20593 | 0.97112 | -0.20255 | 3.2358
27 | 0.01279 | 0.0032057 | -0.012785 | -0.0032043 | 4.3687e-06 | 1.4548e-06 | 0.019597 | 0.019597 | 0.019597 | 0.97112 | -0.20255 | 0.97078 | -0.20502 | 7.2583
28 | 0.0076478 | 0.0019167 | -0.0076462 | -0.0019163 | 1.6462e-06 | 3.9586e-07 | 0.011723 | 0.011723 | 0.011723 | 0.97078 | -0.20502 | 0.97056 | -0.20657 | 4.3418
29 | 0.016822 | 0.0042168 | -0.016816 | -0.0042146 | 6.2783e-06 | 2.2268e-06 | 0.025756 | 0.025756 | 0.025756 | 0.97191 | -0.19683 | 0.97154 | -0.19953 | 9.5391
30 | 0.013787 | 0.0034555 | -0.013785 | -0.0034548 | 2.259e-06 | 7.6834e-07 | 0.021117 | 0.021117 | 0.021117 | 0.97154 | -0.19953 | 0.97137 | -0.20071 | 7.8211
31 | 0.0065789 | 0.0016473 | -0.0065738 | -0.0016463 | 5.1634e-06 | 9.7562e-07 | 0.010071 | 0.010072 | 0.010072 | 0.97198 | -0.19635 | 0.97119 | -0.20203 | 3.7302
32 | 0.0039627 | 0.00099195 | -0.0039597 | -0.00099241 | 2.9646e-06 | -4.5346e-07 | 0.006071 | 0.0060716 | 0.0060716 | 0.97119 | -0.20203 | 0.97045 | -0.20744 | 2.2487
33 | 0.0090315 | 0.0022634 | -0.0090299 | -0.002263 | 1.6335e-06 | 4.5899e-07 | 0.013835 | 0.013835 | 0.013835 | 0.97137 | -0.20071 | 0.97119 | -0.20202 | 5.1241
34 | 0.0053555 | 0.0013421 | -0.0053553 | -0.001342 | 1.4942e-07 | 1.346e-08 | 0.0082053 | 0.0082053 | 0.0082053 | 0.97119 | -0.20202 | 0.97117 | -0.20222 | 3.039
35 | 0.0027959 | 0.00070058 | -0.0027957 | -0.00070067 | 1.3719e-07 | -9.5472e-08 | 0.0042838 | 0.0042838 | 0.0042838 | 0.97117 | -0.20222 | 0.97112 | -0.20258 | 1.5866
36 | -0.0068876 | -0.0017235 | 0.0068888 | 0.0017237 | 1.2713e-06 | 2.5607e-07 | 0.010478 | 0.010478 | 0.010478 | 0.978 | -0.15424 | 0.97819 | -0.1529 | 3.8809
37 | 0.001837 | 0.0004577 | -0.0018363 | -0.00045931 | 7.3514e-07 | -1.6098e-06 | 0.002794 | 0.0027947 | 0.0027947 | 0.978 | -0.15424 | 0.9776 | -0.15715 | 1.0351
38 | -0.011592 | -0.0029023 | 0.011595 | 0.002903 | 2.1857e-06 | 6.9923e-07 | 0.017633 | 0.017633 | 0.017633 | 0.97819 | -0.1529 | 0.97838 | -0.15154 | 6.5308
39 | 0.0047036 | 0.0011786 | -0.0047027 | -0.0011786 | 9.0661e-07 | -7.4918e-09 | 0.007155 | 0.0071551 | 0.0071551 | 0.97819 | -0.1529 | 0.97799 | -0.15429 | 2.65
40 | 0.0018363 | 0.00045931 | -0.0018362 | -0.00045937 | 2.7029e-08 | -5.914e-08 | 0.0027947 | 0.0027947 | 0.0027947 | 0.9776 | -0.15715 | 0.97758 | -0.15726 | 1.0351
41 | -0.015059 | -0.0037713 | 0.015079 | 0.0037784 | 2.0552e-05 | 7.1148e-06 | 0.022902 | 0.022902 | 0.022902 | 0.97838 | -0.15154 | 0.97976 | -0.14167 | 8.4823
42 | 0.0018362 | 0.00045937 | -0.0018359 | -0.00046012 | 3.4376e-07 | -7.5186e-07 | 0.0027947 | 0.002795 | 0.002795 | 0.97758 | -0.15726 | 0.9774 | -0.15861 | 1.0352
43 | 0.0044088 | 0.0011047 | -0.0044081 | -0.0011048 | 6.849e-07 | -4.4831e-08 | 0.0066958 | 0.0066959 | 0.0066959 | 0.97976 | -0.14167 | 0.9796 | -0.1428 | 2.48
44 | 0.058334 | 0.014649 | -0.058269 | -0.014624 | 6.5297e-05 | 2.4947e-05 | 0.088641 | 0.088641 | 0.088641 | 0.97937 | -0.14439 | 0.97824 | -0.15245 | 32.8302
45 | 0.053919 | 0.013534 | -0.053837 | -0.013503 | 8.2087e-05 | 3.1327e-05 | 0.082025 | 0.082025 | 0.082025 | 0.97824 | -0.15245 | 0.9767 | -0.16343 | 30.3796
46 | -0.0043804 | -0.0010978 | 0.0043811 | 0.0010978 | 6.7677e-07 | -5.6535e-08 | 0.0066094 | 0.0066093 | 0.0066094 | 0.98618 | -0.096347 | 0.98634 | -0.095231 | 2.4479
47 | -0.0097492 | -0.0024432 | 0.009753 | 0.0024442 | 3.7561e-06 | 1.0893e-06 | 0.014708 | 0.014708 | 0.014708 | 0.98634 | -0.095231 | 0.98673 | -0.092448 | 5.4473
48 | -0.0072356 | -0.0018134 | 0.0072368 | 0.0018137 | 1.1709e-06 | 2.5924e-07 | 0.011055 | 0.011055 | 0.011055 | 0.97394 | -0.18321 | 0.97411 | -0.18204 | 4.0944
49 | -0.015574 | -0.0039032 | 0.015578 | 0.0039045 | 3.636e-06 | 1.2703e-06 | 0.023791 | 0.023791 | 0.023791 | 0.97411 | -0.18204 | 0.97434 | -0.18035 | 8.8114
50 | -0.022049 | -0.0055263 | 0.02206 | 0.0055305 | 1.1562e-05 | 4.2433e-06 | 0.033673 | 0.033673 | 0.033673 | 0.97434 | -0.18035 | 0.97487 | -0.17657 | 12.4715
51 | -0.028644 | -0.0071805 | 0.028652 | 0.0071837 | 8.3672e-06 | 3.1307e-06 | 0.043722 | 0.043722 | 0.043722 | 0.97487 | -0.17657 | 0.97516 | -0.17446 | 16.1934
52 | -0.035269 | -0.008842 | 0.035313 | 0.0088587 | 4.4356e-05 | 1.6753e-05 | 0.053819 | 0.053819 | 0.053819 | 0.97516 | -0.17446 | 0.97643 | -0.16539 | 19.9329
53 | -0.043881 | -0.011006 | 0.043893 | 0.011011 | 1.194e-05 | 4.5389e-06 | 0.066875 | 0.066875 | 0.066875 | 0.97643 | -0.16539 | 0.9767 | -0.16343 | 24.7686

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24108 | 0.060887

## res_load
| p_mw | q_mvar
0 | 0.0048487 | 0.0012152
1 | 0.0044411 | 0.001113
2 | 0.0015349 | 0.00038469
3 | 0.0071098 | 0.0017819
4 | 0.0051027 | 0.0012789
5 | 0.011267 | 0.0028237
6 | 0.0048802 | 0.0012231
7 | 0.0037735 | 0.00094572
8 | 0.0095046 | 0.0023821
9 | 0.015607 | 0.0039116
10 | 0.0094673 | 0.0023727
11 | 0.0035663 | 0.0008938
12 | 0.0056989 | 0.0014283
13 | 0.0051375 | 0.0012876
14 | 0.0026607 | 0.00066683
15 | 0.0076462 | 0.0019163
16 | 0.0030286 | 0.00075905
17 | 0.0072784 | 0.0018241
18 | 0.002611 | 0.00065439
19 | 0.0047536 | 0.0011914
20 | 0.0036744 | 0.0009209
21 | 0.0025595 | 0.00064146
22 | 0.0027957 | 0.00070067
23 | 0.0039597 | 0.00099241
24 | 0.0050506 | 0.0012658
25 | 0.0034643 | 0.00086824
26 | 0.0047027 | 0.0011786
27 | 0.0018359 | 0.00046012
28 | 0.0044081 | 0.0011048
29 | 0.0050325 | 0.0012613
30 | 0.0043499 | 0.0010902
31 | 0.0043804 | 0.0010978
32 | 0.0053681 | 0.0013454
33 | 0.0098401 | 0.0024662
34 | 0.0072356 | 0.0018134
35 | 0.0083374 | 0.0020896
36 | 0.0064709 | 0.0016218
37 | 0.0065837 | 0.00165
38 | 0.0066167 | 0.0016583
39 | 0.0085676 | 0.0021472
40 | 0.0099439 | 0.0024922

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1