## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-76_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-76_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-76_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-76_0_3_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_1631-76_0_3_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_1631-76_0_3_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_1631-76_0_3_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_1631-76_0_3_node_29 | 0.4 | n |  | TRUE
8 | bus_LV_1631-76_0_3_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_1631-76_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1631-76_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1631-76_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1631-76_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1631-76_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1631-76_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1631-76_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_1631-76_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1631-76_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1631-76_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1631-76_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1631-76_0_3_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_1631-76_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1631-76_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1631-76_0_3_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_1631-76_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1631-76_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1631-76_0_3_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_1631-76_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_1631-76_0_3_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_1631-76_0_3_node_44 | 0.4 | n |  | TRUE
30 | bus_LV_1631-76_0_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_1631-76_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1631-76_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1631-76_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1631-76_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1631-76_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_1631-76_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1631-76_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1631-76_0_3_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_1631-76_0_3_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_1631-76_0_3_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_1631-76_0_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1631-76_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1631-76_0_3_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_1631-76_0_3_node_62 | 0.4 | n |  | TRUE
45 | bus_LV_1631-76_0_3_node_48 | 0.4 | n |  | TRUE
46 | bus_MV_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-76_0_3_load_0 | 0 | 0.0011914 | 0.00029859 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-76_0_3_load_1 | 1 | 0.0025414 | 0.00063694 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-76_0_3_load_2 | 2 | 0.00097758 | 0.000245 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-76_0_3_load_26 | 3 | 0.0035032 | 0.00087798 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-76_0_3_load_31 | 6 | 0.0052907 | 0.001326 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-76_0_3_load_29 | 7 | 0.0013794 | 0.00034572 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-76_0_3_load_63 | 8 | 0.0022669 | 0.00056815 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-76_0_3_load_5 | 9 | 0.0010408 | 0.00026085 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-76_0_3_load_21 | 13 | 0.0012866 | 0.00032246 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-76_0_3_load_9 | 14 | 0.0012739 | 0.00031928 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-76_0_3_load_20 | 15 | 0.0013344 | 0.00033444 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-76_0_3_load_14 | 16 | 0.0016418 | 0.00041147 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-76_0_3_load_17 | 19 | 0.0011069 | 0.00027741 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-76_0_3_load_51 | 20 | 0.0016409 | 0.00041124 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-76_0_3_load_23 | 21 | 0.0013141 | 0.00032935 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-76_0_3_load_22 | 22 | 0.0013038 | 0.00032676 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-76_0_3_load_50 | 23 | 0.0015215 | 0.00038131 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-76_0_3_load_24 | 24 | 0.0014914 | 0.00037378 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-76_0_3_load_27 | 26 | 0.0023349 | 0.00058519 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-76_0_3_load_28 | 27 | 0.0018557 | 0.00046508 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-76_0_3_load_39 | 30 | 0.0030478 | 0.00076384 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-76_0_3_load_32 | 31 | 0.0019036 | 0.00047708 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-76_0_3_load_33 | 32 | 0.0010149 | 0.00025435 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-76_0_3_load_34 | 33 | 0.0012304 | 0.00030837 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-76_0_3_load_35 | 34 | 0.0012966 | 0.00032497 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-76_0_3_load_37 | 36 | 0.00090051 | 0.00022569 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-76_0_3_load_38 | 37 | 0.0032646 | 0.00081818 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-76_0_3_load_46 | 38 | 0.0012616 | 0.00031619 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-76_0_3_load_47 | 39 | 0.0014156 | 0.00035478 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-76_0_3_load_42 | 40 | 0.0019095 | 0.00047857 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-76_0_3_load_41 | 41 | 0.00086787 | 0.00021751 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-76_0_3_load_62 | 44 | 0.003015 | 0.00075563 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-76_0_3_load_48 | 45 | 0.0012748 | 0.0003195 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-76_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.090158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-76_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0070217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-76_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.17261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-76_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.028811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-76_0_3_line_4 | NAYY 4x150 SE | 4 | 21 | 0.040198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-76_0_3_line_5 | NAYY 4x150 SE | 4 | 17 | 0.014688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-76_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.010837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-76_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.027089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-76_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.13281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-76_0_3_line_9 | NAYY 4x150 SE | 7 | 26 | 0.0072064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-76_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.10636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-76_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.12587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-76_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.1132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-76_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.068635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-76_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.022777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-76_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.089116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-76_0_3_line_16 | NAYY 4x150 SE | 15 | 18 | 0.005675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-76_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.03214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-76_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.003527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-76_0_3_line_19 | NAYY 4x150 SE | 18 | 22 | 0.016508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-76_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.022326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-76_0_3_line_21 | NAYY 4x150 SE | 20 | 23 | 0.00041448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-76_0_3_line_22 | NAYY 4x150 SE | 21 | 24 | 0.054941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-76_0_3_line_23 | NAYY 4x150 SE | 23 | 39 | 0.0055149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-76_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.035401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-76_0_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.003968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-76_0_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.059687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-76_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.018575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-76_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.023056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-76_0_3_line_29 | NAYY 4x150 SE | 28 | 30 | 0.046852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-76_0_3_line_30 | NAYY 4x150 SE | 29 | 38 | 0.015187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-76_0_3_line_31 | NAYY 4x150 SE | 29 | 39 | 0.017434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-76_0_3_line_32 | NAYY 4x150 SE | 29 | 40 | 0.011397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-76_0_3_line_33 | NAYY 4x150 SE | 30 | 37 | 0.010764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-76_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0015194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-76_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.017277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-76_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.018391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-76_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.043197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-76_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.0038678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-76_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.014156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-76_0_3_line_40 | NAYY 4x150 SE | 38 | 45 | 0.0049672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-76_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.10693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-76_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.17461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-76_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.096066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-76_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.062349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-76_0_3_trafo_25 | 0.25 MVA 20/0.4 kV | 46 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23
0 | 2730860.3007 | 1204807.9429 | 2730835.4479 | 1204830.9985 | 2730828.5214 | 1204848.7607 | 2730822.7246 | 1204861.8551 | 2730810.0625 | 1204880.9037
1 | 2730865.4484 | 1204803.1674 | 2730860.3007 | 1204807.9429
2 | 2730857.3803 | 1204630.7447 | 2730865.4484 | 1204803.1674
3 | 2730846.8633 | 1204616.8368 | 2730857.2549 | 1204617.7207 | 2730861.1119 | 1204618.8283 | 2730862.6462 | 1204623.1319 | 2730861.7387 | 1204627.382 | 2730857.3803 | 1204630.7447
4 | 2730846.8633 | 1204616.8368 | 2730840.2232 | 1204620.1383 | 2730813.9848 | 1204634.2746 | 2730811.1886 | 1204635.2995
5 | 2730847.7865 | 1204602.5013 | 2730848.6916 | 1204608.4258 | 2730848.4525 | 1204612.3903 | 2730846.8633 | 1204616.8368
6 | 2730727.9864 | 1204686.1098 | 2730717.1358 | 1204686.7283
7 | 2730727.9864 | 1204686.1098 | 2730729.1506 | 1204679.519 | 2730727.3718 | 1204663.1006 | 2730726.0132 | 1204659.4642
8 | 2730717.1358 | 1204686.7283 | 2730703.7244 | 1204818.8603
9 | 2730726.0132 | 1204659.4642 | 2730723.4911 | 1204652.7135
10 | 2731086.9749 | 1204600.0113 | 2731083.5051 | 1204603.1042 | 2731079.6151 | 1204605.2316 | 2731065.2368 | 1204612.266 | 2731046.1004 | 1204619.3738 | 2731043.3532 | 1204621.4485 | 2731043.3319 | 1204624.4949 | 2731044.5872 | 1204627.9807 | 2731052.4037 | 1204639.0386 | 2731061.1394 | 1204650.1724 | 2731069.6993 | 1204664.805 | 2731072.0907 | 1204670.3311
11 | 2730996.8225 | 1204534.8155 | 2731003.9494 | 1204535.35 | 2731008.8231 | 1204536.9471 | 2731010.2953 | 1204538.1803 | 2731010.7751 | 1204539.5475 | 2731010.7898 | 1204543.0394 | 2731011.6134 | 1204549.8962 | 2731013.2406 | 1204558.6276 | 2731016.4631 | 1204567.4941 | 2731018.0028 | 1204569.8075 | 2731019.7335 | 1204571.4023 | 2731020.9207 | 1204572.0955 | 2731026.4273 | 1204572.9392 | 2731031.2171 | 1204574.5455 | 2731039.7845 | 1204578.4477 | 2731047.741 | 1204581.4023 | 2731053.4431 | 1204582.0057 | 2731060.3748 | 1204581.7243 | 2731063.794 | 1204582.6667 | 2731072.636 | 1204586.8863 | 2731073.7193 | 1204590.9243 | 2731076.3113 | 1204593.839 | 2731079.6188 | 1204596.4025 | 2731086.9749 | 1204600.0113
12 | 2731086.9749 | 1204600.0113 | 2731090.8901 | 1204601.932 | 2731096.4123 | 1204606.2233 | 2731101.197 | 1204611.5213 | 2731104.7428 | 1204617.0924 | 2731108.329 | 1204626.0226 | 2731111.1986 | 1204637.0831 | 2731112.7856 | 1204645.5579 | 2731114.435 | 1204649.4639 | 2731118.953 | 1204648.5401 | 2731128.102 | 1204645.7054 | 2731133.6249 | 1204645.1151 | 2731139.6239 | 1204646.0587 | 2731144.6989 | 1204647.4935 | 2731150.0425 | 1204650.5577 | 2731155.5394 | 1204655.3043 | 2731161.9712 | 1204662.529
13 | 2730996.8225 | 1204534.8155 | 2730994.8925 | 1204534.6731 | 2730985.7713 | 1204536.5856 | 2730966.4251 | 1204541.454 | 2730956.9703 | 1204544.349 | 2730950.8564 | 1204547.94 | 2730943.6122 | 1204553.0963 | 2730939.5012 | 1204555.2411 | 2730933.7905 | 1204557.451 | 2730933.077 | 1204557.8124
14 | 2731161.9712 | 1204662.529 | 2731164.4556 | 1204662.717 | 2731166.2112 | 1204661.7882 | 2731178.5794 | 1204649.2612 | 2731179.0269 | 1204648.7295
15 | 2730856.6504 | 1204601.1562 | 2730858.4465 | 1204601.2117 | 2730862.9024 | 1204600.3419 | 2730869.5263 | 1204598.4745 | 2730873.046 | 1204596.2277 | 2730878.2483 | 1204591.8605 | 2730891.5456 | 1204579.9759 | 2730898.2652 | 1204575.8311 | 2730917.606 | 1204565.6471 | 2730933.077 | 1204557.8124
16 | 2730850.9781 | 1204600.9812 | 2730856.6504 | 1204601.1562
17 | 2730847.7865 | 1204602.5013 | 2730841.7025 | 1204601.6118 | 2730826.8463 | 1204601.6419 | 2730815.7364 | 1204602.3923
18 | 2730847.7865 | 1204602.5013 | 2730850.9781 | 1204600.9812
19 | 2730850.9781 | 1204600.9812 | 2730865.9063 | 1204593.8471
20 | 2730740.1446 | 1204581.0952 | 2730738.3155 | 1204580.42 | 2730719.7742 | 1204571.969
21 | 2730719.397 | 1204571.7971 | 2730719.7742 | 1204571.969
22 | 2730811.1886 | 1204635.2995 | 2730803.6507 | 1204638.0623 | 2730794.9979 | 1204639.0958 | 2730785.5955 | 1204639.9573 | 2730757.0487 | 1204643.4289
23 | 2730719.397 | 1204571.7971 | 2730714.3788 | 1204569.5099
24 | 2730722.1024 | 1204648.9964 | 2730744.1457 | 1204644.9981 | 2730757.0487 | 1204643.4289
25 | 2730722.1024 | 1204648.9964 | 2730723.4911 | 1204652.7135
26 | 2730722.1024 | 1204648.9964 | 2730696.1404 | 1204600.1456 | 2730693.895 | 1204596.4018
27 | 2730684.3413 | 1204580.4721 | 2730693.895 | 1204596.4018
28 | 2730698.5146 | 1204562.2791 | 2730692.2906 | 1204570.9052 | 2730687.4803 | 1204576.8379 | 2730684.3413 | 1204580.4721
29 | 2730684.3413 | 1204580.4721 | 2730671.4064 | 1204590.7749 | 2730658.3427 | 1204598.6174 | 2730647.9686 | 1204603.8835 | 2730644.7359 | 1204605.0727
30 | 2730698.5146 | 1204562.2791 | 2730702.511 | 1204547.9888 | 2730702.5456 | 1204547.6418
31 | 2730698.5146 | 1204562.2791 | 2730714.3788 | 1204569.5099
32 | 2730698.5146 | 1204562.2791 | 2730687.3149 | 1204560.1676
33 | 2730634.6068 | 1204608.7058 | 2730635.7008 | 1204608.3964 | 2730644.7359 | 1204605.0727
34 | 2730538.3284 | 1204628.8527 | 2730539.7695 | 1204628.3714
35 | 2730556.6681 | 1204624.8288 | 2730541.1797 | 1204627.9004 | 2730539.7695 | 1204628.3714
36 | 2730556.6681 | 1204624.8288 | 2730574.7079 | 1204621.2512
37 | 2730617.0798 | 1204612.8482 | 2730574.7079 | 1204621.2512
38 | 2730617.0798 | 1204612.8482 | 2730620.8741 | 1204612.0979
39 | 2730634.6068 | 1204608.7058 | 2730626.6493 | 1204610.956 | 2730620.8741 | 1204612.0979
40 | 2730703.0374 | 1204542.699 | 2730702.5456 | 1204547.6418
41 | 2730591.7878 | 1204587.3472 | 2730592.0192 | 1204587.447 | 2730608.8947 | 1204575.4733 | 2730653.6035 | 1204551.9439 | 2730661.0265 | 1204551.1168 | 2730676.2926 | 1204558.0896 | 2730687.3149 | 1204560.1676
42 | 2730454.9113 | 1204486.7942 | 2730481.3757 | 1204518.6972 | 2730492.0302 | 1204530.8839 | 2730515.8652 | 1204554.2452 | 2730533.2832 | 1204566.5244 | 2730548.6131 | 1204573.0201 | 2730572.2361 | 1204578.9189 | 2730591.7878 | 1204587.3472
43 | 2730544.9456 | 1204452.6126 | 2730454.9113 | 1204486.7942
44 | 2730544.9456 | 1204452.6126 | 2730581.1324 | 1204503.4545

## bus_geodata
| x | y | coords
0 | 2730860.3007 | 1204807.9429
1 | 2730810.0625 | 1204880.9037
2 | 2730865.4484 | 1204803.1674
3 | 2730857.3803 | 1204630.7447
4 | 2730846.8633 | 1204616.8368
5 | 2730727.9864 | 1204686.1098
6 | 2730717.1358 | 1204686.7283
7 | 2730726.0132 | 1204659.4642
8 | 2730703.7244 | 1204818.8603
9 | 2731072.0907 | 1204670.3311
10 | 2731086.9749 | 1204600.0113
11 | 2730996.8225 | 1204534.8155
12 | 2731161.9712 | 1204662.529
13 | 2730933.077 | 1204557.8124
14 | 2731179.0269 | 1204648.7295
15 | 2730856.6504 | 1204601.1562
16 | 2730815.7364 | 1204602.3923
17 | 2730847.7865 | 1204602.5013
18 | 2730850.9781 | 1204600.9812
19 | 2730740.1446 | 1204581.0952
20 | 2730719.7742 | 1204571.969
21 | 2730811.1886 | 1204635.2995
22 | 2730865.9063 | 1204593.8471
23 | 2730719.397 | 1204571.7971
24 | 2730757.0487 | 1204643.4289
25 | 2730722.1024 | 1204648.9964
26 | 2730723.4911 | 1204652.7135
27 | 2730693.895 | 1204596.4018
28 | 2730684.3413 | 1204580.4721
29 | 2730698.5146 | 1204562.2791
30 | 2730644.7359 | 1204605.0727
31 | 2730538.3284 | 1204628.8527
32 | 2730539.7695 | 1204628.3714
33 | 2730556.6681 | 1204624.8288
34 | 2730574.7079 | 1204621.2512
35 | 2730617.0798 | 1204612.8482
36 | 2730620.8741 | 1204612.0979
37 | 2730634.6068 | 1204608.7058
38 | 2730702.5456 | 1204547.6418
39 | 2730714.3788 | 1204569.5099
40 | 2730687.3149 | 1204560.1676
41 | 2730591.7878 | 1204587.3472
42 | 2730454.9113 | 1204486.7942
43 | 2730544.9456 | 1204452.6126
44 | 2730581.1324 | 1204503.4545
45 | 2730703.0374 | 1204542.699
46 | 2730722.1024 | 1204648.9964

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99521 | -0.033742 | 0.0011914 | 0.00029859
1 | 0.99488 | -0.036055 | 0.0025414 | 0.00063694
2 | 0.99525 | -0.033477 | 0.00097758 | 0.000245
3 | 0.99641 | -0.025263 | 0.0035032 | 0.00087798
4 | 0.99675 | -0.022877 | 0 | 0
5 | 0.99955 | -0.0031399 | 0 | 0
6 | 0.99944 | -0.0039596 | 0.0052907 | 0.001326
7 | 0.99984 | -0.0010913 | 0.0013794 | 0.00034572
8 | 0.99901 | -0.0069777 | 0.0022669 | 0.00056815
9 | 0.99525 | -0.033542 | 0.0010408 | 0.00026085
10 | 0.99541 | -0.032421 | 0 | 0
11 | 0.99582 | -0.02945 | 0 | 0
12 | 0.9952 | -0.033883 | 0 | 0
13 | 0.99605 | -0.027825 | 0.0012866 | 0.00032246
14 | 0.99516 | -0.034176 | 0.0012739 | 0.00031928
15 | 0.99651 | -0.024556 | 0.0013344 | 0.00033444
16 | 0.99651 | -0.024579 | 0.0016418 | 0.00041147
17 | 0.99658 | -0.024049 | 0 | 0
18 | 0.99655 | -0.024272 | 0 | 0
19 | 0.99618 | -0.026816 | 0.0011069 | 0.00027741
20 | 0.99621 | -0.026567 | 0.0016409 | 0.00041124
21 | 0.99767 | -0.016348 | 0.0013141 | 0.00032935
22 | 0.99652 | -0.024488 | 0.0013038 | 0.00032676
23 | 0.99622 | -0.026556 | 0.0015215 | 0.00038131
24 | 0.99904 | -0.0067189 | 0.0014914 | 0.00037378
25 | 1 | 0 | -0.059691 | -0.014759
26 | 0.99994 | -0.00044712 | 0.0023349 | 0.00058519
27 | 0.99756 | -0.017078 | 0.0018557 | 0.00046508
28 | 0.99685 | -0.022063 | 0 | 0
29 | 0.99639 | -0.025322 | 0 | 0
30 | 0.996 | -0.028031 | 0.0030478 | 0.00076384
31 | 0.99518 | -0.033869 | 0.0019036 | 0.00047708
32 | 0.99518 | -0.03384 | 0.0010149 | 0.00025435
33 | 0.99525 | -0.033331 | 0.0012304 | 0.00030837
34 | 0.99536 | -0.032562 | 0.0012966 | 0.00032497
35 | 0.9957 | -0.030191 | 0 | 0
36 | 0.99573 | -0.029978 | 0.00090051 | 0.00022569
37 | 0.99586 | -0.029073 | 0.0032646 | 0.00081818
38 | 0.99634 | -0.025709 | 0.0012616 | 0.00031619
39 | 0.99625 | -0.026319 | 0.0014156 | 0.00035478
40 | 0.9963 | -0.02599 | 0.0019095 | 0.00047857
41 | 0.9957 | -0.030208 | 0.00086787 | 0.00021751
42 | 0.99495 | -0.035554 | 0 | 0
43 | 0.99453 | -0.038485 | 0 | 0
44 | 0.99426 | -0.040385 | 0.003015 | 0.00075563
45 | 0.99633 | -0.025773 | 0.0012748 | 0.0003195
46 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0025422 | 0.00063608 | -0.0025414 | -0.00063694 | 8.1278e-07 | -8.5851e-07 | 0.0038007 | 0.0038012 | 0.0038012 | 0.99521 | -0.033742 | 0.99488 | -0.036055 | 1.4078
1 | -0.0037336 | -0.00093468 | 0.0037338 | 0.00093464 | 1.3653e-07 | -3.8732e-08 | 0.0055821 | 0.0055821 | 0.0055821 | 0.99521 | -0.033742 | 0.99525 | -0.033477 | 2.0674
2 | -0.0047114 | -0.0011796 | 0.0047167 | 0.0011795 | 5.3432e-06 | -1.9059e-07 | 0.0070437 | 0.0070429 | 0.0070437 | 0.99525 | -0.033477 | 0.99641 | -0.025263 | 2.6088
3 | -0.0082199 | -0.0020574 | 0.0082226 | 0.0020581 | 2.7086e-06 | 6.6637e-07 | 0.012274 | 0.012274 | 0.012274 | 0.99641 | -0.025263 | 0.99675 | -0.022877 | 4.5461
4 | -0.016109 | -0.0040276 | 0.016124 | 0.0040327 | 1.4503e-05 | 5.0537e-06 | 0.024046 | 0.024045 | 0.024046 | 0.99675 | -0.022877 | 0.99767 | -0.016348 | 8.9058
5 | 0.0078867 | 0.0019695 | -0.0078854 | -0.0019692 | 1.27e-06 | 2.9705e-07 | 0.011771 | 0.011771 | 0.011771 | 0.99675 | -0.022877 | 0.99658 | -0.024049 | 4.3598
6 | 0.0075594 | 0.0018929 | -0.0075586 | -0.0018927 | 8.5631e-07 | 1.8732e-07 | 0.011253 | 0.011253 | 0.011253 | 0.99955 | -0.0031399 | 0.99944 | -0.0039596 | 4.1678
7 | -0.0075594 | -0.0018929 | 0.0075616 | 0.0018934 | 2.1405e-06 | 4.6809e-07 | 0.011253 | 0.011253 | 0.011253 | 0.99955 | -0.0031399 | 0.99984 | -0.0010913 | 4.1678
8 | 0.0022679 | 0.00056677 | -0.0022669 | -0.00056815 | 9.4472e-07 | -1.3763e-06 | 0.003376 | 0.0033766 | 0.0033766 | 0.99944 | -0.0039596 | 0.99901 | -0.0069777 | 1.2506
9 | -0.008941 | -0.0022391 | 0.0089418 | 0.0022393 | 7.9613e-07 | 2.1168e-07 | 0.013306 | 0.013306 | 0.013306 | 0.99984 | -0.0010913 | 0.99994 | -0.00044712 | 4.9281
10 | -0.0010408 | -0.00026085 | 0.001041 | 0.00025953 | 1.6067e-07 | -1.3206e-06 | 0.0015561 | 0.0015556 | 0.0015561 | 0.99525 | -0.033542 | 0.99541 | -0.032421 | 0.57634
11 | -0.0023152 | -0.00057716 | 0.0023161 | 0.00057588 | 9.4002e-07 | -1.2753e-06 | 0.0034599 | 0.0034593 | 0.0034599 | 0.99541 | -0.032421 | 0.99582 | -0.02945 | 1.2814
12 | 0.0012742 | 0.00031763 | -0.001274 | -0.000319 | 2.5619e-07 | -1.3726e-06 | 0.0019042 | 0.0019047 | 0.0019047 | 0.99541 | -0.032421 | 0.9952 | -0.033883 | 0.70546
13 | -0.0023161 | -0.00057588 | 0.0023167 | 0.00057519 | 5.1247e-07 | -6.9604e-07 | 0.0034593 | 0.003459 | 0.0034593 | 0.99582 | -0.02945 | 0.99605 | -0.027825 | 1.2812
14 | 0.001274 | 0.000319 | -0.0012739 | -0.00031928 | 5.1567e-08 | -2.7611e-07 | 0.0019047 | 0.0019048 | 0.0019048 | 0.9952 | -0.033883 | 0.99516 | -0.034176 | 0.7055
15 | -0.0036033 | -0.00089765 | 0.0036049 | 0.0008971 | 1.6101e-06 | -5.412e-07 | 0.0053811 | 0.0053807 | 0.0053811 | 0.99605 | -0.027825 | 0.99651 | -0.024556 | 1.993
16 | -0.0049393 | -0.0012315 | 0.0049395 | 0.0012315 | 1.9252e-07 | 1.0861e-10 | 0.0073733 | 0.0073732 | 0.0073733 | 0.99651 | -0.024556 | 0.99655 | -0.024272 | 2.7308
17 | -0.0016418 | -0.00041147 | 0.0016419 | 0.0004111 | 1.2053e-07 | -3.7239e-07 | 0.0024516 | 0.0024514 | 0.0024516 | 0.99651 | -0.024579 | 0.99658 | -0.024049 | 0.90799
18 | 0.0062435 | 0.0015581 | -0.0062433 | -0.0015581 | 1.9117e-07 | 2.7572e-08 | 0.00932 | 0.00932 | 0.00932 | 0.99658 | -0.024049 | 0.99655 | -0.024272 | 3.4518
19 | 0.0013038 | 0.00032656 | -0.0013038 | -0.00032676 | 3.9041e-08 | -2.0006e-07 | 0.0019468 | 0.0019468 | 0.0019468 | 0.99655 | -0.024272 | 0.99652 | -0.024488 | 0.72105
20 | -0.0011069 | -0.00027741 | 0.0011069 | 0.00027713 | 3.8081e-08 | -2.7603e-07 | 0.0016534 | 0.0016533 | 0.0016534 | 0.99618 | -0.026816 | 0.99621 | -0.026567 | 0.61235
21 | -0.0027478 | -0.00068838 | 0.0027478 | 0.00068837 | 4.3565e-09 | -3.721e-09 | 0.0041042 | 0.0041042 | 0.0041042 | 0.99621 | -0.026567 | 0.99622 | -0.026556 | 1.5201
22 | -0.017438 | -0.004362 | 0.017461 | 0.0043702 | 2.3185e-05 | 8.199e-06 | 0.026005 | 0.026005 | 0.026005 | 0.99767 | -0.016348 | 0.99904 | -0.0067189 | 9.6317
23 | -0.0042693 | -0.0010697 | 0.0042694 | 0.0010697 | 1.3993e-07 | -1.7987e-08 | 0.0063767 | 0.0063767 | 0.0063767 | 0.99622 | -0.026556 | 0.99625 | -0.026319 | 2.3618
24 | -0.018953 | -0.004744 | 0.01897 | 0.0047503 | 1.76e-05 | 6.3053e-06 | 0.028227 | 0.028226 | 0.028227 | 0.99904 | -0.0067189 | 1 | 0 | 10.4543
25 | 0.011277 | 0.0028247 | -0.011277 | -0.0028245 | 6.9722e-07 | 2.1611e-07 | 0.01678 | 0.01678 | 0.01678 | 1 | 0 | 0.99994 | -0.00044712 | 6.215
26 | 0.028643 | 0.0071842 | -0.028576 | -0.0071589 | 6.7666e-05 | 2.5244e-05 | 0.042624 | 0.042624 | 0.042624 | 1 | 0 | 0.99756 | -0.017078 | 15.7867
27 | 0.02672 | 0.0066938 | -0.026702 | -0.006687 | 1.8412e-05 | 6.8392e-06 | 0.039856 | 0.039856 | 0.039856 | 0.99756 | -0.017078 | 0.99685 | -0.022063 | 14.7615
28 | 0.014028 | 0.0035107 | -0.014022 | -0.0035085 | 6.3073e-06 | 2.1254e-06 | 0.020938 | 0.020938 | 0.020938 | 0.99685 | -0.022063 | 0.99639 | -0.025322 | 7.7549
29 | 0.012674 | 0.0031763 | -0.012663 | -0.0031729 | 1.0463e-05 | 3.4141e-06 | 0.018918 | 0.018918 | 0.018918 | 0.99685 | -0.022063 | 0.996 | -0.028031 | 7.0068
30 | 0.0025366 | 0.00063548 | -0.0025364 | -0.00063563 | 1.3599e-07 | -1.455e-07 | 0.0037881 | 0.0037881 | 0.0037881 | 0.99639 | -0.025322 | 0.99634 | -0.025709 | 1.403
31 | 0.0056858 | 0.0014245 | -0.005685 | -0.0014245 | 7.8435e-07 | 7.4629e-08 | 0.008491 | 0.0084911 | 0.0084911 | 0.99639 | -0.025322 | 0.99625 | -0.026319 | 3.1448
32 | 0.0057994 | 0.0014485 | -0.0057989 | -0.0014485 | 5.3324e-07 | 5.6663e-08 | 0.0086591 | 0.0086592 | 0.0086592 | 0.99639 | -0.025322 | 0.9963 | -0.02599 | 3.2071
33 | 0.0096154 | 0.0024091 | -0.009614 | -0.0024087 | 1.386e-06 | 3.9301e-07 | 0.014365 | 0.014365 | 0.014365 | 0.996 | -0.028031 | 0.99586 | -0.029073 | 5.3204
34 | -0.0019036 | -0.00047708 | 0.0019036 | 0.00047706 | 7.6807e-09 | -1.6787e-08 | 0.0028463 | 0.0028463 | 0.0028463 | 0.99518 | -0.033869 | 0.99518 | -0.03384 | 1.0542
35 | -0.0029185 | -0.00073141 | 0.0029187 | 0.00073127 | 2.0528e-07 | -1.4554e-07 | 0.0043637 | 0.0043637 | 0.0043637 | 0.99518 | -0.03384 | 0.99525 | -0.033331 | 1.6162
36 | -0.0041491 | -0.0010396 | 0.0041495 | 0.0010396 | 4.416e-07 | -6.9175e-08 | 0.0062032 | 0.0062032 | 0.0062032 | 0.99525 | -0.033331 | 0.99536 | -0.032562 | 2.2975
37 | -0.0054461 | -0.0013645 | 0.0054479 | 0.0013647 | 1.7867e-06 | 1.2552e-07 | 0.0081416 | 0.0081414 | 0.0081416 | 0.99536 | -0.032562 | 0.9957 | -0.030191 | 3.0154
38 | -0.0054479 | -0.0013647 | 0.0054481 | 0.0013647 | 1.5997e-07 | 1.1219e-08 | 0.0081414 | 0.0081414 | 0.0081414 | 0.9957 | -0.030191 | 0.99573 | -0.029978 | 3.0153
39 | -0.0063486 | -0.0015904 | 0.0063494 | 0.0015905 | 7.9507e-07 | 1.2163e-07 | 0.0094871 | 0.009487 | 0.0094871 | 0.99573 | -0.029978 | 0.99586 | -0.029073 | 3.5137
40 | 0.0012748 | 0.00031944 | -0.0012748 | -0.0003195 | 1.1236e-08 | -6.0368e-08 | 0.0019039 | 0.001904 | 0.001904 | 0.99634 | -0.025709 | 0.99633 | -0.025773 | 0.70517
41 | 0.0038893 | 0.00096991 | -0.0038871 | -0.00097044 | 2.2505e-06 | -5.2614e-07 | 0.0058072 | 0.0058077 | 0.0058077 | 0.9963 | -0.02599 | 0.9957 | -0.030208 | 2.151
42 | 0.0030192 | 0.00075293 | -0.003017 | -0.00075435 | 2.2173e-06 | -1.4166e-06 | 0.0045107 | 0.0045115 | 0.0045115 | 0.9957 | -0.030208 | 0.99495 | -0.035554 | 1.6709
43 | 0.003017 | 0.00075435 | -0.0030158 | -0.00075512 | 1.2202e-06 | -7.7778e-07 | 0.0045115 | 0.004512 | 0.004512 | 0.99495 | -0.035554 | 0.99453 | -0.038485 | 1.6711
44 | 0.0030158 | 0.00075512 | -0.003015 | -0.00075563 | 7.9208e-07 | -5.0419e-07 | 0.004512 | 0.0045122 | 0.0045122 | 0.99453 | -0.038485 | 0.99426 | -0.040385 | 1.6712

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.059691 | 0.014759

## res_load
| p_mw | q_mvar
0 | 0.0011914 | 0.00029859
1 | 0.0025414 | 0.00063694
2 | 0.00097758 | 0.000245
3 | 0.0035032 | 0.00087798
4 | 0.0052907 | 0.001326
5 | 0.0013794 | 0.00034572
6 | 0.0022669 | 0.00056815
7 | 0.0010408 | 0.00026085
8 | 0.0012866 | 0.00032246
9 | 0.0012739 | 0.00031928
10 | 0.0013344 | 0.00033444
11 | 0.0016418 | 0.00041147
12 | 0.0011069 | 0.00027741
13 | 0.0016409 | 0.00041124
14 | 0.0013141 | 0.00032935
15 | 0.0013038 | 0.00032676
16 | 0.0015215 | 0.00038131
17 | 0.0014914 | 0.00037378
18 | 0.0023349 | 0.00058519
19 | 0.0018557 | 0.00046508
20 | 0.0030478 | 0.00076384
21 | 0.0019036 | 0.00047708
22 | 0.0010149 | 0.00025435
23 | 0.0012304 | 0.00030837
24 | 0.0012966 | 0.00032497
25 | 0.00090051 | 0.00022569
26 | 0.0032646 | 0.00081818
27 | 0.0012616 | 0.00031619
28 | 0.0014156 | 0.00035478
29 | 0.0019095 | 0.00047857
30 | 0.00086787 | 0.00021751
31 | 0.003015 | 0.00075563
32 | 0.0012748 | 0.0003195

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1