## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-78_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-78_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-78_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-78_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-78_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-78_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1631-78_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1631-78_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1631-78_0_3_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_1631-78_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_1631-78_0_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_1631-78_0_3_node_31 | 0.4 | n |  | TRUE
12 | bus_LV_1631-78_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1631-78_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1631-78_0_3_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_1631-78_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1631-78_0_3_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_1631-78_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1631-78_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1631-78_0_3_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_1631-78_0_3_node_46 | 0.4 | n |  | TRUE
21 | bus_LV_1631-78_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1631-78_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1631-78_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1631-78_0_3_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_1631-78_0_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1631-78_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1631-78_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1631-78_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1631-78_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1631-78_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1631-78_0_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_1631-78_0_3_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_1631-78_0_3_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_1631-78_0_3_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_1631-78_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1631-78_0_3_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_1631-78_0_3_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1631-78_0_3_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_1631-78_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1631-78_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_1631-78_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_1631-78_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_1631-78_0_3_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_1631-78_0_3_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_1631-78_0_3_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1631-78_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1631-78_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1631-78_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1631-78_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_1631-78_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_1631-78_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_1631-78_0_3_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_1631-78_0_3_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_1631-78_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1631-78_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1631-78_0_3_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1631-78_0_3_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_1631-78_0_3_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_1631-78_0_3_node_58 | 0.4 | n |  | TRUE
60 | bus_MV_145_1_node_210 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-78_0_3_load_0 | 0 | 0.0050857 | 0.0012746 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-78_0_3_load_1 | 1 | 0.012611 | 0.0031606 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-78_0_3_load_3 | 3 | 0.011006 | 0.0027584 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-78_0_3_load_4 | 4 | 0.0066574 | 0.0016685 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-78_0_3_load_15 | 7 | 0.007081 | 0.0017747 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-78_0_3_load_24 | 8 | 0.017266 | 0.0043272 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-78_0_3_load_25 | 9 | 0.0007629 | 0.0001912 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-78_0_3_load_21 | 10 | 0.006249 | 0.0015661 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-78_0_3_load_31 | 11 | 0.0084609 | 0.0021205 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-78_0_3_load_8 | 12 | 0.0049953 | 0.0012519 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-78_0_3_load_13 | 13 | 0.0048121 | 0.001206 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-78_0_3_load_43 | 14 | 0.00077427 | 0.00019405 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-78_0_3_load_22 | 15 | 0.003302 | 0.00082757 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-78_0_3_load_6 | 16 | 0.0011445 | 0.00028684 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-78_0_3_load_7 | 17 | 0.0024754 | 0.0006204 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-78_0_3_load_9 | 18 | 0.0010155 | 0.00025451 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-78_0_3_load_45 | 19 | 0.0012327 | 0.00030895 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-78_0_3_load_46 | 20 | 0.0024579 | 0.00061601 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-78_0_3_load_11 | 21 | 0.0057586 | 0.0014432 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-78_0_3_load_12 | 22 | 0.005026 | 0.0012596 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-78_0_3_load_35 | 24 | 0.0050357 | 0.0012621 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-78_0_3_load_36 | 25 | 0.0046187 | 0.0011575 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-78_0_3_load_16 | 26 | 0.00052099 | 0.00013057 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-78_0_3_load_17 | 27 | 0.000791 | 0.00019824 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-78_0_3_load_18 | 28 | 0.00043398 | 0.00010877 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-78_0_3_load_20 | 30 | 0.00042053 | 0.0001054 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-78_0_3_load_47 | 31 | 0.00087387 | 0.00021901 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-78_0_3_load_53 | 32 | 0.001162 | 0.00029122 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-78_0_3_load_44 | 33 | 0.00057152 | 0.00014324 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-78_0_3_load_54 | 34 | 0.0011174 | 0.00028004 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-78_0_3_load_55 | 36 | 0.003632 | 0.00091027 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-78_0_3_load_41 | 37 | 0.0046791 | 0.0011727 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-78_0_3_load_56 | 38 | 0.003649 | 0.00091452 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-78_0_3_load_26 | 40 | 0.0058188 | 0.0014583 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-78_0_3_load_60 | 44 | 0.003466 | 0.00086867 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-78_0_3_load_30 | 45 | 0.013373 | 0.0033516 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-78_0_3_load_34 | 46 | 0.0046643 | 0.001169 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-78_0_3_load_32 | 47 | 0.0040092 | 0.0010048 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1631-78_0_3_load_37 | 48 | 0.0094564 | 0.00237 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1631-78_0_3_load_38 | 49 | 0.0045785 | 0.0011475 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1631-78_0_3_load_40 | 50 | 0.0013815 | 0.00034625 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1631-78_0_3_load_59 | 52 | 0.0078805 | 0.001975 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1631-78_0_3_load_62 | 53 | 0.0056613 | 0.0014189 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1631-78_0_3_load_48 | 54 | 0.00069819 | 0.00017498 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1631-78_0_3_load_49 | 55 | 0.00092544 | 0.00023194 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1631-78_0_3_load_50 | 56 | 0.00072022 | 0.00018051 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1631-78_0_3_load_51 | 57 | 0.0017297 | 0.00043349 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1631-78_0_3_load_57 | 58 | 0.00033741 | 8.4563e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1631-78_0_3_load_58 | 59 | 0.00079863 | 0.00020016 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-78_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-78_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-78_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0054791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-78_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.054979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1631-78_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.016201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-78_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.020389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-78_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.00062343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-78_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.020327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-78_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.015697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-78_0_3_line_9 | NAYY 4x150 SE | 5 | 10 | 0.0078949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-78_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.0089069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-78_0_3_line_11 | NAYY 4x150 SE | 6 | 12 | 0.0049001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-78_0_3_line_12 | NAYY 4x150 SE | 7 | 13 | 0.020239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-78_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.0063529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-78_0_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.006781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-78_0_3_line_15 | NAYY 4x150 SE | 12 | 16 | 0.010046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-78_0_3_line_16 | NAYY 4x150 SE | 13 | 21 | 0.00061268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-78_0_3_line_17 | NAYY 4x150 SE | 15 | 35 | 0.022336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-78_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.014485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-78_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0045699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-78_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.0059321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-78_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.010032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-78_0_3_line_22 | NAYY 4x150 SE | 20 | 31 | 0.015362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-78_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.023999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-78_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.014251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-78_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.016493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-78_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.00076275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-78_0_3_line_27 | NAYY 4x150 SE | 25 | 46 | 0.024393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-78_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0004995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-78_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0080132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-78_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.012391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-78_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0048847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-78_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.00031418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-78_0_3_line_33 | NAYY 4x150 SE | 29 | 32 | 0.004249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-78_0_3_line_34 | NAYY 4x150 SE | 30 | 33 | 0.013955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-78_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.00037053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-78_0_3_line_36 | NAYY 4x150 SE | 34 | 57 | 0.006343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-78_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.019415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-78_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.038608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-78_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0075065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-78_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.0129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-78_0_3_line_41 | NAYY 4x150 SE | 38 | 58 | 0.0020867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-78_0_3_line_42 | NAYY 4x150 SE | 39 | 51 | 0.072007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-78_0_3_line_43 | NAYY 4x150 SE | 39 | 48 | 0.032823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-78_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.014994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-78_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.023634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-78_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.004323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-78_0_3_line_47 | NAYY 4x150 SE | 41 | 44 | 0.096416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-78_0_3_line_48 | NAYY 4x150 SE | 42 | 45 | 0.017214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-78_0_3_line_49 | NAYY 4x150 SE | 43 | 46 | 0.016898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-78_0_3_line_50 | NAYY 4x150 SE | 43 | 47 | 0.018008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1631-78_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.0031448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1631-78_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.015905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1631-78_0_3_line_53 | NAYY 4x150 SE | 50 | 52 | 0.019626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1631-78_0_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.060026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1631-78_0_3_line_55 | NAYY 4x150 SE | 54 | 55 | 3.8371e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1631-78_0_3_line_56 | NAYY 4x150 SE | 54 | 56 | 0.0095659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1631-78_0_3_line_57 | NAYY 4x150 SE | 55 | 57 | 0.0096358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1631-78_0_3_line_58 | NAYY 4x150 SE | 58 | 59 | 0.003478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-78_0_3_trafo_4 | 0.25 MVA 20/0.4 kV | 60 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2731834.3269 | 1202684.4063 | 2731824.5323 | 1202682.4432 | 2731819.5759 | 1202681.8262
1 | 2731854.5843 | 1202688.4666 | 2731834.3269 | 1202684.4063
2 | 2731819.5759 | 1202681.8262 | 2731814.1388 | 1202681.1495
3 | 2731854.5843 | 1202688.4666 | 2731861.074 | 1202633.8722
4 | 2731870.6937 | 1202690.168 | 2731865.571 | 1202690.1326 | 2731861.1874 | 1202689.7245 | 2731854.5843 | 1202688.4666
5 | 2731793.9061 | 1202678.6311 | 2731814.1388 | 1202681.1495
6 | 2731861.074 | 1202633.8722 | 2731861.1476 | 1202633.2532
7 | 2731870.6937 | 1202690.168 | 2731873.1643 | 1202669.9956
8 | 2731870.6937 | 1202690.168 | 2731870.6151 | 1202697.5164 | 2731866.5323 | 1202704.7978
9 | 2731870.6937 | 1202690.168 | 2731874.7732 | 1202689.5242 | 2731878.1437 | 1202687.8465
10 | 2731793.9061 | 1202678.6311 | 2731795.0137 | 1202669.7934
11 | 2731793.9061 | 1202678.6311 | 2731793.2114 | 1202683.4817
12 | 2731861.1476 | 1202633.2532 | 2731863.5366 | 1202613.156
13 | 2731866.5323 | 1202704.7978 | 2731864.3701 | 1202708.6539 | 2731863.2943 | 1202710.2586
14 | 2731883.9861 | 1202684.4115 | 2731879.2223 | 1202687.3095 | 2731878.1437 | 1202687.8465
15 | 2731791.7873 | 1202693.4262 | 2731793.2114 | 1202683.4817
16 | 2731863.5366 | 1202613.156 | 2731863.6089 | 1202612.5476
17 | 2731902.0277 | 1202671.2449 | 2731884.161 | 1202684.3051 | 2731883.9861 | 1202684.4115
18 | 2731791.7873 | 1202693.4262 | 2731790.9359 | 1202699.3707 | 2731790.7706 | 1202707.8492
19 | 2731790.7706 | 1202707.8492 | 2731790.6815 | 1202712.4182
20 | 2731790.5658 | 1202718.3492 | 2731790.6815 | 1202712.4182
21 | 2731790.5658 | 1202718.3492 | 2731790.5321 | 1202720.078 | 2731790.8497 | 1202728.3748
22 | 2731790.8497 | 1202728.3748 | 2731791.4375 | 1202743.7252
23 | 2731863.6089 | 1202612.5476 | 2731866.4417 | 1202588.7162
24 | 2731868.1239 | 1202574.5653 | 2731866.4417 | 1202588.7162
25 | 2731868.1239 | 1202574.5653 | 2731851.7414 | 1202572.6554
26 | 2731851.7414 | 1202572.6554 | 2731850.9838 | 1202572.5671
27 | 2731827.3097 | 1202568.2242 | 2731839.3555 | 1202568.9927 | 2731844.453 | 1202571.5516 | 2731846.5888 | 1202572.0547 | 2731850.9838 | 1202572.5671
28 | 2731803.6033 | 1202741.6282 | 2731804.0932 | 1202741.531
29 | 2731811.9532 | 1202739.9717 | 2731804.0932 | 1202741.531
30 | 2731791.4495 | 1202744.0392 | 2731803.6033 | 1202741.6282
31 | 2731811.9532 | 1202739.9717 | 2731816.7446 | 1202739.0213
32 | 2731791.4495 | 1202744.0392 | 2731791.4375 | 1202743.7252
33 | 2731791.4495 | 1202744.0392 | 2731791.6128 | 1202748.2851
34 | 2731816.7446 | 1202739.0213 | 2731821.7136 | 1202738.0355 | 2731829.7404 | 1202736.1779 | 2731830.3549 | 1202735.9647
35 | 2731791.6128 | 1202748.2851 | 2731791.627 | 1202748.6553
36 | 2731791.627 | 1202748.6553 | 2731791.8708 | 1202754.9936
37 | 2731902.0277 | 1202671.2449 | 2731913.6283 | 1202686.8132
38 | 2731902.0277 | 1202671.2449 | 2731910.9519 | 1202663.2357 | 2731919.722 | 1202654.6226 | 2731927.8667 | 1202645.373 | 2731929.033 | 1202643.7476
39 | 2731913.6283 | 1202686.8132 | 2731912.8543 | 1202694.2797
40 | 2731936.5542 | 1202633.2665 | 2731929.033 | 1202643.7476
41 | 2731912.3452 | 1202696.3034 | 2731912.8543 | 1202694.2797 | 2731912.8543 | 1202694.2797
42 | 2731970.0677 | 1202569.5012 | 2731936.5542 | 1202633.2665
43 | 2731936.5542 | 1202633.2665 | 2731946.354 | 1202640.4107 | 2731953.2393 | 1202647.8464 | 2731961.0081 | 1202654.223 | 2731961.4594 | 1202654.4627
44 | 2731807.0711 | 1202567.1567 | 2731805.3651 | 1202582.0535
45 | 2731802.6761 | 1202605.5341 | 2731805.3651 | 1202582.0535
46 | 2731807.0711 | 1202567.1567 | 2731810.9288 | 1202565.1847
47 | 2731807.0711 | 1202567.1567 | 2731710.7306 | 1202563.3402
48 | 2731802.6761 | 1202605.5341 | 2731819.8218 | 1202607.5473
49 | 2731810.9288 | 1202565.1847 | 2731816.1608 | 1202567.513 | 2731827.3097 | 1202568.2242
50 | 2731810.9288 | 1202565.1847 | 2731815.5412 | 1202560.0602 | 2731819.5606 | 1202549.6993
51 | 2731961.4594 | 1202654.4627 | 2731964.2366 | 1202655.9382
52 | 2731964.2366 | 1202655.9382 | 2731965.7035 | 1202656.7175 | 2731979.0369 | 1202661.7277
53 | 2731992.9582 | 1202675.2897 | 2731986.0466 | 1202666.9861 | 2731980.23 | 1202662.176 | 2731979.0369 | 1202661.7277
54 | 2731970.0677 | 1202569.5012 | 2731978.0113 | 1202569.3544 | 2731981.6108 | 1202567.3546 | 2731990.1588 | 1202559.5039 | 2731994.0189 | 1202558.1103 | 2732011.1829 | 1202557.5781 | 2732015.1132 | 1202559.9001 | 2732023.2596 | 1202566.7632
55 | 2731791.7163 | 1202764.6221 | 2731791.7148 | 1202764.6604
56 | 2731791.7148 | 1202764.6604 | 2731791.3734 | 1202773.3493 | 2731791.4381 | 1202774.2172
57 | 2731791.7163 | 1202764.6221 | 2731791.9815 | 1202757.8729 | 2731791.8708 | 1202754.9936
58 | 2731909.5956 | 1202698.4333 | 2731912.3452 | 1202696.3034

## bus_geodata
| x | y | coords
0 | 2731834.3269 | 1202684.4063
1 | 2731819.5759 | 1202681.8262
2 | 2731854.5843 | 1202688.4666
3 | 2731814.1388 | 1202681.1495
4 | 2731861.074 | 1202633.8722
5 | 2731870.6937 | 1202690.168
6 | 2731793.9061 | 1202678.6311
7 | 2731861.1476 | 1202633.2532
8 | 2731873.1643 | 1202669.9956
9 | 2731866.5323 | 1202704.7978
10 | 2731878.1437 | 1202687.8465
11 | 2731795.0137 | 1202669.7934
12 | 2731793.2114 | 1202683.4817
13 | 2731863.5366 | 1202613.156
14 | 2731863.2943 | 1202710.2586
15 | 2731883.9861 | 1202684.4115
16 | 2731791.7873 | 1202693.4262
17 | 2731790.7706 | 1202707.8492
18 | 2731790.6815 | 1202712.4182
19 | 2731790.5658 | 1202718.3492
20 | 2731790.8497 | 1202728.3748
21 | 2731863.6089 | 1202612.5476
22 | 2731866.4417 | 1202588.7162
23 | 2731868.1239 | 1202574.5653
24 | 2731851.7414 | 1202572.6554
25 | 2731850.9838 | 1202572.5671
26 | 2731804.0932 | 1202741.531
27 | 2731803.6033 | 1202741.6282
28 | 2731811.9532 | 1202739.9717
29 | 2731791.4495 | 1202744.0392
30 | 2731816.7446 | 1202739.0213
31 | 2731791.4375 | 1202743.7252
32 | 2731791.6128 | 1202748.2851
33 | 2731830.3549 | 1202735.9647
34 | 2731791.627 | 1202748.6553
35 | 2731902.0277 | 1202671.2449
36 | 2731913.6283 | 1202686.8132
37 | 2731929.033 | 1202643.7476
38 | 2731912.8543 | 1202694.2797
39 | 2731936.5542 | 1202633.2665
40 | 2731805.3651 | 1202582.0535
41 | 2731807.0711 | 1202567.1567
42 | 2731802.6761 | 1202605.5341
43 | 2731810.9288 | 1202565.1847
44 | 2731710.7306 | 1202563.3402
45 | 2731819.8218 | 1202607.5473
46 | 2731827.3097 | 1202568.2242
47 | 2731819.5606 | 1202549.6993
48 | 2731961.4594 | 1202654.4627
49 | 2731964.2366 | 1202655.9382
50 | 2731979.0369 | 1202661.7277
51 | 2731970.0677 | 1202569.5012
52 | 2731992.9582 | 1202675.2897
53 | 2732023.2596 | 1202566.7632
54 | 2731791.7148 | 1202764.6604
55 | 2731791.7163 | 1202764.6221
56 | 2731791.4381 | 1202774.2172
57 | 2731791.8708 | 1202754.9936
58 | 2731912.3452 | 1202696.3034
59 | 2731909.5956 | 1202698.4333
60 | 2731854.5843 | 1202688.4666

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99303 | -0.048726 | 0.0050857 | 0.0012746
1 | 0.99183 | -0.057135 | 0.012611 | 0.0031606
2 | 0.99482 | -0.036105 | 0 | 0
3 | 0.99149 | -0.059513 | 0.011006 | 0.0027584
4 | 1 | 0 | -0.19688 | -0.049338
5 | 0.99318 | -0.047633 | 0 | 0
6 | 0.99056 | -0.066094 | 0 | 0
7 | 0.99994 | -0.00039631 | 0.007081 | 0.0017747
8 | 0.99268 | -0.051186 | 0.017266 | 0.0043272
9 | 0.99315 | -0.047878 | 0.0007629 | 0.0001912
10 | 0.99259 | -0.05176 | 0.006249 | 0.0015661
11 | 0.99045 | -0.066861 | 0.0084609 | 0.0021205
12 | 0.9904 | -0.067255 | 0.0049953 | 0.0012519
13 | 0.9983 | -0.011851 | 0.0048121 | 0.001206
14 | 0.99314 | -0.047927 | 0.00077427 | 0.00019405
15 | 0.99215 | -0.054879 | 0.003302 | 0.00082757
16 | 0.99013 | -0.069127 | 0.0011445 | 0.00028684
17 | 0.98978 | -0.071658 | 0.0024754 | 0.0006204
18 | 0.98968 | -0.072341 | 0.0010155 | 0.00025451
19 | 0.98956 | -0.073167 | 0.0012327 | 0.00030895
20 | 0.98938 | -0.074439 | 0.0024579 | 0.00061601
21 | 0.99826 | -0.012169 | 0.0057586 | 0.0014432
22 | 0.99667 | -0.023252 | 0.005026 | 0.0012596
23 | 0.99583 | -0.029128 | 0 | 0
24 | 0.99486 | -0.035942 | 0.0050357 | 0.0012621
25 | 0.99482 | -0.036218 | 0.0046187 | 0.0011575
26 | 0.98911 | -0.076386 | 0.00052099 | 0.00013057
27 | 0.98911 | -0.076377 | 0.000791 | 0.00019824
28 | 0.98909 | -0.076503 | 0.00043398 | 0.00010877
29 | 0.98916 | -0.07603 | 0 | 0
30 | 0.98908 | -0.076553 | 0.00042053 | 0.0001054
31 | 0.98916 | -0.076001 | 0.00087387 | 0.00021901
32 | 0.98912 | -0.076306 | 0.001162 | 0.00029122
33 | 0.98907 | -0.076634 | 0.00057152 | 0.00014324
34 | 0.98912 | -0.076325 | 0.0011174 | 0.00028004
35 | 0.99079 | -0.064422 | 0 | 0
36 | 0.99056 | -0.066085 | 0.003632 | 0.00091027
37 | 0.98892 | -0.07766 | 0.0046791 | 0.0011727
38 | 0.99051 | -0.06645 | 0.003649 | 0.00091452
39 | 0.98838 | -0.081477 | 0 | 0
40 | 0.99252 | -0.052406 | 0.0058188 | 0.0014583
41 | 0.99294 | -0.049491 | 0 | 0
42 | 0.99207 | -0.05561 | 0 | 0
43 | 0.99308 | -0.048499 | 0 | 0
44 | 0.99246 | -0.05288 | 0.003466 | 0.00086867
45 | 0.99174 | -0.057946 | 0.013373 | 0.0033516
46 | 0.99373 | -0.043939 | 0.0046643 | 0.001169
47 | 0.99297 | -0.04923 | 0.0040092 | 0.0010048
48 | 0.98728 | -0.0893 | 0.0094564 | 0.00237
49 | 0.98721 | -0.089745 | 0.0045785 | 0.0011475
50 | 0.987 | -0.091255 | 0.0013815 | 0.00034625
51 | 0.98779 | -0.085651 | 0 | 0
52 | 0.98678 | -0.09284 | 0.0078805 | 0.001975
53 | 0.9873 | -0.08913 | 0.0056613 | 0.0014189
54 | 0.98905 | -0.07682 | 0.00069819 | 0.00017498
55 | 0.98905 | -0.076819 | 0.00092544 | 0.00023194
56 | 0.98904 | -0.07689 | 0.00072022 | 0.00018051
57 | 0.98908 | -0.076589 | 0.0017297 | 0.00043349
58 | 0.9905 | -0.066474 | 0.00033741 | 8.4563e-05
59 | 0.9905 | -0.066503 | 0.00079863 | 0.00020016
60 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.055495 | 0.013924 | -0.05543 | -0.013899 | 6.4665e-05 | 2.4678e-05 | 0.083163 | 0.083163 | 0.083163 | 0.99303 | -0.048726 | 0.99183 | -0.057135 | 30.8011
1 | -0.060581 | -0.015198 | 0.060687 | 0.015239 | 0.00010625 | 4.0598e-05 | 0.090784 | 0.090783 | 0.090784 | 0.99303 | -0.048726 | 0.99482 | -0.036105 | 33.6235
2 | 0.042819 | 0.010738 | -0.042805 | -0.010733 | 1.4111e-05 | 5.3565e-06 | 0.064243 | 0.064243 | 0.064243 | 0.99183 | -0.057135 | 0.99149 | -0.059513 | 23.7938
3 | -0.13144 | -0.033011 | 0.1321 | 0.033265 | 0.00066316 | 0.00025363 | 0.19662 | 0.19662 | 0.19662 | 0.99482 | -0.036105 | 1 | 0 | 36.4118
4 | 0.070751 | 0.017773 | -0.070637 | -0.017729 | 0.00011325 | 4.3347e-05 | 0.10584 | 0.10584 | 0.10584 | 0.99482 | -0.036105 | 0.99318 | -0.047633 | 39.2002
5 | 0.031799 | 0.0079746 | -0.03177 | -0.0079637 | 2.8979e-05 | 1.0883e-05 | 0.047726 | 0.047726 | 0.047726 | 0.99149 | -0.059513 | 0.99056 | -0.066094 | 17.6762
6 | 0.063978 | 0.016073 | -0.063975 | -0.016072 | 3.5268e-06 | 1.3483e-06 | 0.095214 | 0.095214 | 0.095214 | 1 | 0 | 0.99994 | -0.00039631 | 35.2646
7 | 0.017274 | 0.0043302 | -0.017266 | -0.0043272 | 8.4962e-06 | 3.0049e-06 | 0.025881 | 0.025881 | 0.025881 | 0.99318 | -0.047633 | 0.99268 | -0.051186 | 9.5856
8 | 0.0015372 | 0.00038499 | -0.0015372 | -0.00038517 | 5.1953e-08 | -1.8314e-07 | 0.002303 | 0.0023031 | 0.0023031 | 0.99318 | -0.047633 | 0.99315 | -0.047878 | 0.853
9 | 0.051826 | 0.013014 | -0.051796 | -0.013003 | 2.9709e-05 | 1.1324e-05 | 0.077656 | 0.077656 | 0.077656 | 0.99318 | -0.047633 | 0.99259 | -0.05176 | 28.7617
10 | 0.0084618 | 0.0021207 | -0.0084609 | -0.0021205 | 8.9803e-07 | 2.3075e-07 | 0.012711 | 0.012711 | 0.012711 | 0.99056 | -0.066094 | 0.99045 | -0.066861 | 4.7079
11 | 0.023309 | 0.0058429 | -0.023305 | -0.0058416 | 3.7487e-06 | 1.3787e-06 | 0.035014 | 0.035014 | 0.035014 | 0.99056 | -0.066094 | 0.9904 | -0.067255 | 12.9683
12 | 0.056894 | 0.014297 | -0.056803 | -0.014262 | 9.0552e-05 | 3.4563e-05 | 0.084677 | 0.084677 | 0.084677 | 0.99994 | -0.00039631 | 0.9983 | -0.011851 | 31.3619
13 | 0.00077427 | 0.00019397 | -0.00077427 | -0.00019405 | 5.3349e-09 | -8.0155e-08 | 0.0011601 | 0.0011601 | 0.0011601 | 0.99315 | -0.047878 | 0.99314 | -0.047927 | 0.42966
14 | 0.045547 | 0.011437 | -0.045528 | -0.011429 | 1.9732e-05 | 7.5016e-06 | 0.068289 | 0.068289 | 0.068289 | 0.99259 | -0.05176 | 0.99215 | -0.054879 | 25.2921
15 | 0.01831 | 0.0045896 | -0.018305 | -0.0045879 | 4.7439e-06 | 1.6953e-06 | 0.027509 | 0.027509 | 0.027509 | 0.9904 | -0.067255 | 0.99013 | -0.069127 | 10.1886
16 | 0.051991 | 0.013056 | -0.051989 | -0.013055 | 2.2965e-06 | 8.7527e-07 | 0.077504 | 0.077504 | 0.077504 | 0.9983 | -0.011851 | 0.99826 | -0.012169 | 28.7054
17 | 0.042226 | 0.010602 | -0.04217 | -0.01058 | 5.591e-05 | 2.1216e-05 | 0.063336 | 0.063336 | 0.063336 | 0.99215 | -0.054879 | 0.99079 | -0.064422 | 23.4579
18 | 0.01716 | 0.0043011 | -0.017154 | -0.004299 | 6.0116e-06 | 2.1259e-06 | 0.025789 | 0.025789 | 0.025789 | 0.99013 | -0.069127 | 0.98978 | -0.071658 | 9.5516
19 | 0.014679 | 0.0036786 | -0.014677 | -0.0036781 | 1.3887e-06 | 4.754e-07 | 0.022068 | 0.022068 | 0.022068 | 0.98978 | -0.071658 | 0.98968 | -0.072341 | 8.1733
20 | 0.013662 | 0.0034236 | -0.01366 | -0.0034231 | 1.5619e-06 | 5.245e-07 | 0.020541 | 0.020541 | 0.020541 | 0.98968 | -0.072341 | 0.98956 | -0.073167 | 7.6078
21 | 0.012428 | 0.0031141 | -0.012425 | -0.0031134 | 2.1861e-06 | 7.1195e-07 | 0.018687 | 0.018687 | 0.018687 | 0.98956 | -0.073167 | 0.98938 | -0.074439 | 6.9213
22 | 0.0099676 | 0.0024974 | -0.0099654 | -0.0024968 | 2.1542e-06 | 6.3129e-07 | 0.014991 | 0.014991 | 0.014991 | 0.98938 | -0.074439 | 0.98916 | -0.076001 | 5.5522
23 | 0.04623 | 0.011612 | -0.046159 | -0.011585 | 7.1135e-05 | 2.7046e-05 | 0.068921 | 0.068921 | 0.068921 | 0.99826 | -0.012169 | 0.99667 | -0.023252 | 25.5262
24 | 0.041133 | 0.010325 | -0.0411 | -0.010313 | 3.3542e-05 | 1.2715e-05 | 0.061417 | 0.061417 | 0.061417 | 0.99667 | -0.023252 | 0.99583 | -0.029128 | 22.7471
25 | 0.0411 | 0.010313 | -0.041061 | -0.010298 | 3.8822e-05 | 1.4717e-05 | 0.061417 | 0.061417 | 0.061417 | 0.99583 | -0.029128 | 0.99486 | -0.035942 | 22.7471
26 | 0.036025 | 0.009036 | -0.036024 | -0.0090355 | 1.382e-06 | 5.2163e-07 | 0.053885 | 0.053885 | 0.053885 | 0.99486 | -0.035942 | 0.99482 | -0.036218 | 19.9575
27 | 0.031405 | 0.0078779 | -0.031371 | -0.0078653 | 3.3591e-05 | 1.2603e-05 | 0.046977 | 0.046977 | 0.046977 | 0.99482 | -0.036218 | 0.99373 | -0.043939 | 17.3988
28 | -0.0019471 | -0.00048764 | 0.0019471 | 0.00048763 | 2.674e-09 | -5.3827e-09 | 0.002929 | 0.002929 | 0.002929 | 0.98911 | -0.076386 | 0.98911 | -0.076377 | 1.0848
29 | 0.0014261 | 0.00035707 | -0.001426 | -0.00035716 | 2.3012e-08 | -9.3997e-08 | 0.0021453 | 0.0021453 | 0.0021453 | 0.98911 | -0.076386 | 0.98909 | -0.076503 | 0.79455
30 | -0.0027381 | -0.00068588 | 0.0027382 | 0.00068577 | 1.3118e-07 | -1.0859e-07 | 0.004119 | 0.004119 | 0.004119 | 0.98911 | -0.076377 | 0.98916 | -0.07603 | 1.5256
31 | 0.00099206 | 0.00024839 | -0.00099206 | -0.00024845 | 6.789e-09 | -6.0082e-08 | 0.0014924 | 0.0014924 | 0.0014924 | 0.98909 | -0.076503 | 0.98908 | -0.076553 | 0.55275
32 | -0.0090915 | -0.0022777 | 0.0090916 | 0.0022778 | 3.667e-08 | 1.0071e-08 | 0.013676 | 0.013676 | 0.013676 | 0.98916 | -0.07603 | 0.98916 | -0.076001 | 5.0653
33 | 0.0063533 | 0.001592 | -0.0063531 | -0.0015919 | 2.4219e-07 | 3.8609e-08 | 0.0095574 | 0.0095574 | 0.0095574 | 0.98916 | -0.07603 | 0.98912 | -0.076306 | 3.5398
34 | 0.00057153 | 0.00014306 | -0.00057152 | -0.00014324 | 6.4374e-09 | -1.7663e-07 | 0.00085976 | 0.00085982 | 0.00085982 | 0.98908 | -0.076553 | 0.98907 | -0.076634 | 0.31845
35 | 0.0051911 | 0.0013007 | -0.0051911 | -0.0013007 | 1.4101e-08 | 6.6758e-10 | 0.0078094 | 0.0078094 | 0.0078094 | 0.98912 | -0.076306 | 0.98912 | -0.076325 | 2.8924
36 | 0.0040737 | 0.0010207 | -0.0040736 | -0.0010207 | 1.4865e-07 | -2.4237e-08 | 0.0061284 | 0.0061284 | 0.0061284 | 0.98912 | -0.076325 | 0.98908 | -0.076589 | 2.2698
37 | 0.0084192 | 0.0021099 | -0.0084173 | -0.0021094 | 1.9369e-06 | 4.95e-07 | 0.012644 | 0.012644 | 0.012644 | 0.99079 | -0.064422 | 0.99056 | -0.066085 | 4.6831
38 | 0.03375 | 0.0084705 | -0.033688 | -0.0084472 | 6.1908e-05 | 2.3314e-05 | 0.050692 | 0.050692 | 0.050692 | 0.99079 | -0.064422 | 0.98892 | -0.07766 | 18.7749
39 | 0.0047853 | 0.0011992 | -0.004785 | -0.0011992 | 2.4204e-07 | -3.5324e-09 | 0.0071884 | 0.0071884 | 0.0071884 | 0.99056 | -0.066085 | 0.99051 | -0.06645 | 2.6624
40 | 0.029009 | 0.0072745 | -0.028994 | -0.0072688 | 1.5339e-05 | 5.7341e-06 | 0.043652 | 0.043652 | 0.043652 | 0.98892 | -0.07766 | 0.98838 | -0.081477 | 16.1673
41 | 0.001136 | 0.00028465 | -0.001136 | -0.00028468 | 3.7926e-09 | -2.54e-08 | 0.0017066 | 0.0017066 | 0.0017066 | 0.99051 | -0.06645 | 0.9905 | -0.066474 | 0.63209
42 | 0.0056673 | 0.0014195 | -0.005664 | -0.0014191 | 3.2709e-06 | 3.3573e-07 | 0.0085319 | 0.0085322 | 0.0085322 | 0.98838 | -0.081477 | 0.98779 | -0.085651 | 3.1601
43 | 0.023327 | 0.0058493 | -0.023302 | -0.00584 | 2.5262e-05 | 9.296e-06 | 0.03512 | 0.03512 | 0.03512 | 0.98838 | -0.081477 | 0.98728 | -0.0893 | 13.0074
44 | -0.019202 | -0.0048133 | 0.01921 | 0.0048161 | 7.7543e-06 | 2.7886e-06 | 0.028788 | 0.028788 | 0.028788 | 0.99252 | -0.052406 | 0.99294 | -0.049491 | 10.6624
45 | 0.013383 | 0.003355 | -0.013377 | -0.003353 | 5.9374e-06 | 1.9783e-06 | 0.020065 | 0.020065 | 0.020065 | 0.99252 | -0.052406 | 0.99207 | -0.05561 | 7.4314
46 | -0.022677 | -0.0056842 | 0.022681 | 0.0056853 | 3.1156e-06 | 1.1424e-06 | 0.033985 | 0.033985 | 0.033985 | 0.99294 | -0.049491 | 0.99308 | -0.048499 | 12.5869
47 | 0.0034677 | 0.00086805 | -0.003466 | -0.00086867 | 1.6246e-06 | -6.2165e-07 | 0.0051963 | 0.0051967 | 0.0051967 | 0.99294 | -0.049491 | 0.99246 | -0.05288 | 1.9247
48 | 0.013377 | 0.003353 | -0.013373 | -0.0033516 | 4.3245e-06 | 1.4411e-06 | 0.020065 | 0.020065 | 0.020065 | 0.99207 | -0.05561 | 0.99174 | -0.057946 | 7.4315
49 | -0.02669 | -0.00669 | 0.026707 | 0.0066963 | 1.6865e-05 | 6.2677e-06 | 0.039993 | 0.039992 | 0.039993 | 0.99308 | -0.048499 | 0.99373 | -0.043939 | 14.8121
50 | 0.0040096 | 0.0010047 | -0.0040092 | -0.0010048 | 4.0559e-07 | -7.6968e-08 | 0.0060079 | 0.006008 | 0.006008 | 0.99308 | -0.048499 | 0.99297 | -0.04923 | 2.2252
51 | 0.013845 | 0.00347 | -0.013844 | -0.0034697 | 8.5449e-07 | 2.8844e-07 | 0.020867 | 0.020867 | 0.020867 | 0.98728 | -0.0893 | 0.98721 | -0.089745 | 7.7286
52 | 0.0092657 | 0.0023222 | -0.0092638 | -0.0023217 | 1.9358e-06 | 5.4124e-07 | 0.013966 | 0.013966 | 0.013966 | 0.98721 | -0.089745 | 0.987 | -0.091255 | 5.1727
53 | 0.0078823 | 0.0019755 | -0.0078805 | -0.001975 | 1.7294e-06 | 4.1439e-07 | 0.011883 | 0.011883 | 0.011883 | 0.987 | -0.091255 | 0.98678 | -0.09284 | 4.4013
54 | 0.005664 | 0.0014191 | -0.0056613 | -0.0014189 | 2.7268e-06 | 2.8078e-07 | 0.0085322 | 0.0085325 | 0.0085325 | 0.98779 | -0.085651 | 0.9873 | -0.08913 | 3.1602
55 | -0.0014184 | -0.00035537 | 0.0014184 | 0.00035537 | 1.0837e-10 | -4.5101e-10 | 0.002134 | 0.002134 | 0.002134 | 0.98905 | -0.07682 | 0.98905 | -0.076819 | 0.79036
56 | 0.00072023 | 0.00018039 | -0.00072022 | -0.00018051 | 7.0084e-09 | -1.2007e-07 | 0.0010835 | 0.0010836 | 0.0010836 | 0.98905 | -0.07682 | 0.98904 | -0.07689 | 0.40133
57 | -0.0023439 | -0.0005873 | 0.0023439 | 0.00058721 | 7.4765e-08 | -9.4908e-08 | 0.0035263 | 0.0035262 | 0.0035263 | 0.98905 | -0.076819 | 0.98908 | -0.076589 | 1.306
58 | 0.00079863 | 0.00020011 | -0.00079863 | -0.00020016 | 3.124e-09 | -4.3565e-08 | 0.0011998 | 0.0011998 | 0.0011998 | 0.9905 | -0.066474 | 0.9905 | -0.066503 | 0.44436

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20354 | 0.051007

## res_load
| p_mw | q_mvar
0 | 0.0050857 | 0.0012746
1 | 0.012611 | 0.0031606
2 | 0.011006 | 0.0027584
3 | 0.0066574 | 0.0016685
4 | 0.007081 | 0.0017747
5 | 0.017266 | 0.0043272
6 | 0.0007629 | 0.0001912
7 | 0.006249 | 0.0015661
8 | 0.0084609 | 0.0021205
9 | 0.0049953 | 0.0012519
10 | 0.0048121 | 0.001206
11 | 0.00077427 | 0.00019405
12 | 0.003302 | 0.00082757
13 | 0.0011445 | 0.00028684
14 | 0.0024754 | 0.0006204
15 | 0.0010155 | 0.00025451
16 | 0.0012327 | 0.00030895
17 | 0.0024579 | 0.00061601
18 | 0.0057586 | 0.0014432
19 | 0.005026 | 0.0012596
20 | 0.0050357 | 0.0012621
21 | 0.0046187 | 0.0011575
22 | 0.00052099 | 0.00013057
23 | 0.000791 | 0.00019824
24 | 0.00043398 | 0.00010877
25 | 0.00042053 | 0.0001054
26 | 0.00087387 | 0.00021901
27 | 0.001162 | 0.00029122
28 | 0.00057152 | 0.00014324
29 | 0.0011174 | 0.00028004
30 | 0.003632 | 0.00091027
31 | 0.0046791 | 0.0011727
32 | 0.003649 | 0.00091452
33 | 0.0058188 | 0.0014583
34 | 0.003466 | 0.00086867
35 | 0.013373 | 0.0033516
36 | 0.0046643 | 0.001169
37 | 0.0040092 | 0.0010048
38 | 0.0094564 | 0.00237
39 | 0.0045785 | 0.0011475
40 | 0.0013815 | 0.00034625
41 | 0.0078805 | 0.001975
42 | 0.0056613 | 0.0014189
43 | 0.00069819 | 0.00017498
44 | 0.00092544 | 0.00023194
45 | 0.00072022 | 0.00018051
46 | 0.0017297 | 0.00043349
47 | 0.00033741 | 8.4563e-05
48 | 0.00079863 | 0.00020016

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1