## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-86_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-86_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-86_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-86_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-86_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-86_0_2_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_1631-86_0_2_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1631-86_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1631-86_0_2_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1631-86_0_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1631-86_0_2_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1631-86_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1631-86_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1631-86_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1631-86_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1631-86_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1631-86_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1631-86_0_2_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1631-86_0_2_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1631-86_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1631-86_0_2_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1631-86_0_2_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1631-86_0_2_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1631-86_0_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1631-86_0_2_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_1631-86_0_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1631-86_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1631-86_0_2_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1631-86_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1631-86_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1631-86_0_2_node_90 | 0.4 | n |  | TRUE
31 | bus_LV_1631-86_0_2_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1631-86_0_2_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1631-86_0_2_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1631-86_0_2_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_1631-86_0_2_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1631-86_0_2_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1631-86_0_2_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1631-86_0_2_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_1631-86_0_2_node_92 | 0.4 | n |  | TRUE
40 | bus_LV_1631-86_0_2_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1631-86_0_2_node_94 | 0.4 | n |  | TRUE
42 | bus_MV_13_0_node_110 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-86_0_2_load_0 | 0 | 0.0059283 | 0.0014858 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-86_0_2_load_2 | 2 | 0.010772 | 0.0026996 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-86_0_2_load_3 | 3 | 0.0047676 | 0.0011949 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-86_0_2_load_50 | 5 | 0.0033245 | 0.00083319 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-86_0_2_load_10 | 6 | 0.0016494 | 0.00041337 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-86_0_2_load_18 | 9 | 0.0029382 | 0.00073638 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-86_0_2_load_6 | 10 | 0.0016417 | 0.00041146 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-86_0_2_load_7 | 11 | 0.0016255 | 0.0004074 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-86_0_2_load_8 | 12 | 0.0016493 | 0.00041335 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-86_0_2_load_9 | 13 | 0.0024773 | 0.00062087 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-86_0_2_load_11 | 14 | 0.0017379 | 0.00043555 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-86_0_2_load_15 | 19 | 0.0021668 | 0.00054304 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-86_0_2_load_29 | 20 | 0.0019815 | 0.00049662 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-86_0_2_load_21 | 22 | 0.0045623 | 0.0011434 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-86_0_2_load_25 | 25 | 0.0081798 | 0.00205 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-86_0_2_load_24 | 28 | 0.0027634 | 0.00069258 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-86_0_2_load_27 | 29 | 0.0033692 | 0.00084441 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-86_0_2_load_90 | 30 | 0.002623 | 0.00065738 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-86_0_2_load_31 | 31 | 0.0086134 | 0.0021587 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-86_0_2_load_32 | 32 | 0.0023712 | 0.00059428 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-86_0_2_load_33 | 33 | 0.0046303 | 0.0011605 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-86_0_2_load_38 | 34 | 0.0070665 | 0.001771 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-86_0_2_load_39 | 35 | 0.00040699 | 0.000102 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-86_0_2_load_92 | 39 | 0.00057983 | 0.00014532 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-86_0_2_load_94 | 41 | 0.00047571 | 0.00011922 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-86_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-86_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-86_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.043672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-86_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.058506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-86_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.56108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-86_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.074965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-86_0_2_line_6 | NAYY 4x150 SE | 5 | 40 | 0.0093549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-86_0_2_line_7 | NAYY 4x150 SE | 6 | 14 | 0.0054505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-86_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.031696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-86_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.020011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-86_0_2_line_10 | NAYY 4x150 SE | 8 | 22 | 0.023334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-86_0_2_line_11 | NAYY 4x150 SE | 8 | 13 | 0.003306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-86_0_2_line_12 | NAYY 4x150 SE | 9 | 21 | 0.063087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-86_0_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.018398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-86_0_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.014577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-86_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.014643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-86_0_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.063666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-86_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.025825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-86_0_2_line_18 | NAYY 4x150 SE | 15 | 17 | 0.061902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-86_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.046861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-86_0_2_line_20 | NAYY 4x150 SE | 16 | 19 | 0.03876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-86_0_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.098562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-86_0_2_line_22 | NAYY 4x150 SE | 18 | 21 | 0.02296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-86_0_2_line_23 | NAYY 4x150 SE | 20 | 31 | 0.14016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-86_0_2_line_24 | NAYY 4x150 SE | 22 | 26 | 0.012176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-86_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.20696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-86_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.074513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-86_0_2_line_27 | NAYY 4x150 SE | 24 | 30 | 0.035111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-86_0_2_line_28 | NAYY 4x150 SE | 25 | 28 | 0.010991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-86_0_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.057323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-86_0_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.028334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-86_0_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.024694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-86_0_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.020847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-86_0_2_line_33 | NAYY 4x150 SE | 32 | 33 | 0.078454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-86_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.0048148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-86_0_2_line_35 | NAYY 4x150 SE | 34 | 36 | 0.021839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-86_0_2_line_36 | NAYY 4x150 SE | 35 | 37 | 0.038492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-86_0_2_line_37 | NAYY 4x150 SE | 36 | 38 | 0.008809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-86_0_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.043602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-86_0_2_line_39 | NAYY 4x150 SE | 37 | 40 | 0.17059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-86_0_2_line_40 | NAYY 4x150 SE | 38 | 41 | 0.026793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-86_0_2_trafo_0 | 0.25 MVA 20/0.4 kV | 42 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2720832.6955 | 1202650.6109 | 2720830.1009 | 1202638.7161
1 | 2720826.4052 | 1202621.7733 | 2720830.1009 | 1202638.7161
2 | 2720832.6955 | 1202650.6109 | 2720804.9413 | 1202652.0951 | 2720799.1448 | 1202637.2224
3 | 2720823.269 | 1202706.017 | 2720827.9875 | 1202668.4623 | 2720828.8077 | 1202658.4047 | 2720830.3125 | 1202655.8888 | 2720831.4206 | 1202655.2997 | 2720833.1032 | 1202655.2893 | 2720832.6955 | 1202650.6109
4 | 2720826.4052 | 1202621.7733 | 2721135.2523 | 1202153.3505
5 | 2720823.269 | 1202706.017 | 2720821.2231 | 1202716.4611 | 2720820.4551 | 1202726.5753 | 2720815.6533 | 1202745.6813 | 2720813.202 | 1202754.7162 | 2720813.684 | 1202768.514 | 2720815.0742 | 1202779.5615 | 2720815.1194 | 1202779.7323
6 | 2721144.2755 | 1202155.8195 | 2721135.2523 | 1202153.3505
7 | 2720815.1194 | 1202779.7323 | 2720816.5134 | 1202785.0015
8 | 2720886.4488 | 1202773.7788 | 2720895.1213 | 1202780.0589 | 2720896.8349 | 1202780.0158 | 2720897.7518 | 1202778.7223 | 2720897.7025 | 1202777.3981 | 2720895.8297 | 1202774.0243 | 2720893.7929 | 1202766.3441 | 2720893.4621 | 1202765.0142 | 2720894.3572 | 1202763.6646 | 2720895.9247 | 1202763.3183
9 | 2720886.4488 | 1202773.7788 | 2720883.1754 | 1202785.4434 | 2720883.0983 | 1202793.3388
10 | 2720895.9247 | 1202763.3183 | 2720906.2283 | 1202772.5003 | 2720910.1878 | 1202773.5701 | 2720915.5578 | 1202774.3856
11 | 2720895.9247 | 1202763.3183 | 2720893 | 1202761.7769
12 | 2720881.1 | 1202856.3542 | 2720881.4988 | 1202852.8263 | 2720882.6577 | 1202838.4502 | 2720883.0983 | 1202793.3388
13 | 2720872.9515 | 1202736.7637 | 2720874.0638 | 1202741.0705 | 2720880.7592 | 1202748.3781 | 2720882.9543 | 1202751.7685
14 | 2720869.3062 | 1202722.6495 | 2720872.9515 | 1202736.7637
15 | 2720893 | 1202761.7769 | 2720887.587 | 1202758.9241 | 2720882.9543 | 1202751.7685
16 | 2720805.0756 | 1202841.4386 | 2720814.5939 | 1202834.5148 | 2720819.7664 | 1202828.3037 | 2720816.8649 | 1202813.3228 | 2720818.0583 | 1202790.8413 | 2720816.5134 | 1202785.0015
17 | 2720830.7985 | 1202843.616 | 2720828.9176 | 1202842.8996 | 2720805.0756 | 1202841.4386
18 | 2720762.0491 | 1202798.3144 | 2720765.1189 | 1202801.2231 | 2720782.3186 | 1202823.9766 | 2720796.8705 | 1202838.3926 | 2720805.0756 | 1202841.4386
19 | 2720830.7985 | 1202843.616 | 2720832.045 | 1202844.086 | 2720838.0188 | 1202843.0394 | 2720844.6926 | 1202850.6578 | 2720846.3757 | 1202855.8846 | 2720850.042 | 1202856.0145 | 2720853.7788 | 1202855.6787 | 2720861.6739 | 1202854.1039 | 2720866.0616 | 1202853.9481 | 2720869.1982 | 1202856.558
20 | 2720830.7985 | 1202843.616 | 2720837.2431 | 1202812.5455 | 2720837.7745 | 1202811.4888 | 2720839.1173 | 1202810.96 | 2720840.851 | 1202811.0507 | 2720842.801 | 1202812.8692
21 | 2720762.0491 | 1202798.3144 | 2720760.4467 | 1202791.3546 | 2720759.0758 | 1202788.3802 | 2720753.8793 | 1202782.9823 | 2720754.0275 | 1202775.6576 | 2720755.3898 | 1202762.8757 | 2720754.2809 | 1202752.9681 | 2720753.1091 | 1202745.4166 | 2720754.6146 | 1202741.3662 | 2720754.7292 | 1202733.4404 | 2720753.7011 | 1202725.9363 | 2720752.7164 | 1202711.7726 | 2720750.6468 | 1202707.9612 | 2720747.4996 | 1202704.7397
22 | 2720869.1982 | 1202856.558 | 2720873.0061 | 1202863.985 | 2720874.1894 | 1202864.943 | 2720875.1438 | 1202865.5516 | 2720877.0417 | 1202865.0563 | 2720878.03 | 1202864.3647 | 2720879.211 | 1202862.4316 | 2720880.7463 | 1202859.9163 | 2720881.1 | 1202856.3542
23 | 2720747.4996 | 1202704.7397 | 2720608.6331 | 1202685.7093
24 | 2720926.9132 | 1202778.012 | 2720925.4941 | 1202777.4161 | 2720922.7777 | 1202775.4819 | 2720915.5578 | 1202774.3856
25 | 2720943.3988 | 1203013.6988 | 2720938.6992 | 1203002.2063 | 2720929.6995 | 1203004.2033 | 2720928.2037 | 1202993.4984 | 2720914.7006 | 1202994.6037 | 2720913.7999 | 1202979.6966 | 2720908.8985 | 1202974.4046 | 2720905.901 | 1202965.3038 | 2720942.6988 | 1202928.399 | 2720922.3987 | 1202929.0997 | 2720926.2032 | 1202920.9039 | 2720942.2576 | 1202897.5782 | 2720950.828 | 1202888.2225 | 2720951.2484 | 1202885.1288 | 2720950.1275 | 1202883.3492 | 2720948.4504 | 1202882.7148
26 | 2720948.4504 | 1202882.7148 | 2720947.3612 | 1202872.2293 | 2720939.3179 | 1202857.8225 | 2720938.2331 | 1202849.372 | 2720935.8798 | 1202844.921 | 2720929.0645 | 1202838.2781 | 2720923.3094 | 1202829.2772 | 2720923.1391 | 1202827.161 | 2720924.8746 | 1202824.1606 | 2720927.4793 | 1202816.4632
27 | 2720943.3988 | 1203013.6988 | 2720968.2264 | 1203017.9491 | 2720977.6806 | 1203014.938
28 | 2720927.4793 | 1202816.4632 | 2720928.9554 | 1202812.1009 | 2720929.5762 | 1202805.7457
29 | 2720926.9132 | 1202778.012 | 2720930.5884 | 1202779.2095 | 2720934.5114 | 1202777.1985 | 2720937.2216 | 1202769.2919 | 2720938.6463 | 1202760.5921 | 2720936.0767 | 1202745.3954 | 2720934.3915 | 1202729.0047
30 | 2720926.9132 | 1202778.012 | 2720930.0577 | 1202786.9934 | 2720930.588 | 1202795.3882 | 2720929.5762 | 1202805.7457
31 | 2720934.3915 | 1202729.0047 | 2720933.8445 | 1202724.4458 | 2720932.4498 | 1202718.8912 | 2720931.0075 | 1202714.5588 | 2720927.2052 | 1202706.8539 | 2720926.6644 | 1202705.764
32 | 2720608.6331 | 1202685.7093 | 2720599.5592 | 1202683.8247 | 2720598.5319 | 1202684.5601 | 2720597.7962 | 1202689.3266 | 2720595.5949 | 1202689.7714 | 2720592.3561 | 1202689.5291
33 | 2720592.3561 | 1202689.5291 | 2720582.7648 | 1202688.8117 | 2720574.9202 | 1202687.4968 | 2720565.238 | 1202681.0633 | 2720556.0513 | 1202676.0964 | 2720553.7577 | 1202673.1924 | 2720549.913 | 1202659.2712 | 2720550.6433 | 1202650.2459 | 2720550.1359 | 1202646.7219 | 2720548.5145 | 1202646.7225 | 2720543.5844 | 1202650.8576
34 | 2721072.6406 | 1201955.9853 | 2721072.9903 | 1201960.7874
35 | 2721069.3566 | 1201934.6699 | 2721071.3856 | 1201938.9809 | 2721072.0641 | 1201943.0644 | 2721072.4671 | 1201953.6026 | 2721072.6406 | 1201955.9853
36 | 2721078.4402 | 1201998.8128 | 2721076.2534 | 1201988.394 | 2721073.9963 | 1201976.1837 | 2721073.2651 | 1201964.5602 | 2721072.9903 | 1201960.7874
37 | 2721069.3566 | 1201934.6699 | 2721068.3003 | 1201930.0673 | 2721067.4067 | 1201926.0796
38 | 2721078.4402 | 1201998.8128 | 2721069.3331 | 1201999.6511 | 2721057.9849 | 1201997.9977 | 2721050.1733 | 1201995.393 | 2721045.1487 | 1201991.6329 | 2721043.8437 | 1201988.0371 | 2721044.0587 | 1201984.9392 | 2721044.6984 | 1201983.4288
39 | 2721078.4402 | 1201998.8128 | 2721083.7478 | 1202019.0242 | 2721089.6293 | 1202036.0894 | 2721092.9927 | 1202044.0524 | 2721105.2772 | 1202070.0985 | 2721118.5314 | 1202101.257 | 2721120.8681 | 1202106.9086 | 2721130.5618 | 1202124.8073 | 2721133.4468 | 1202130.8258 | 2721136.7939 | 1202139.5891 | 2721144.2755 | 1202155.8195
40 | 2721052.9578 | 1201903.4923 | 2721067.4067 | 1201926.0796

## bus_geodata
| x | y | coords
0 | 2720830.1009 | 1202638.7161
1 | 2720832.6955 | 1202650.6109
2 | 2720826.4052 | 1202621.7733
3 | 2720799.1448 | 1202637.2224
4 | 2720823.269 | 1202706.017
5 | 2721135.2523 | 1202153.3505
6 | 2720815.1194 | 1202779.7323
7 | 2720886.4488 | 1202773.7788
8 | 2720895.9247 | 1202763.3183
9 | 2720883.0983 | 1202793.3388
10 | 2720872.9515 | 1202736.7637
11 | 2720882.9543 | 1202751.7685
12 | 2720869.3062 | 1202722.6495
13 | 2720893 | 1202761.7769
14 | 2720816.5134 | 1202785.0015
15 | 2720805.0756 | 1202841.4386
16 | 2720830.7985 | 1202843.616
17 | 2720762.0491 | 1202798.3144
18 | 2720869.1982 | 1202856.558
19 | 2720842.801 | 1202812.8692
20 | 2720747.4996 | 1202704.7397
21 | 2720881.1 | 1202856.3542
22 | 2720915.5578 | 1202774.3856
23 | 2720948.4504 | 1202882.7148
24 | 2720943.3988 | 1203013.6988
25 | 2720927.4793 | 1202816.4632
26 | 2720926.9132 | 1202778.012
27 | 2720934.3915 | 1202729.0047
28 | 2720929.5762 | 1202805.7457
29 | 2720926.6644 | 1202705.764
30 | 2720977.6806 | 1203014.938
31 | 2720608.6331 | 1202685.7093
32 | 2720592.3561 | 1202689.5291
33 | 2720543.5844 | 1202650.8576
34 | 2721072.6406 | 1201955.9853
35 | 2721072.9903 | 1201960.7874
36 | 2721069.3566 | 1201934.6699
37 | 2721078.4402 | 1201998.8128
38 | 2721067.4067 | 1201926.0796
39 | 2721044.6984 | 1201983.4288
40 | 2721144.2755 | 1202155.8195
41 | 2721052.9578 | 1201903.4923
42 | 2720832.6955 | 1202650.6109

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 1 | 0 | -0.084705 | -0.021204
1 | 0.99894 | -0.0072836 | 0 | 0
2 | 0.99944 | -0.0039329 | 0.010772 | 0.0026996
3 | 0.99864 | -0.0093676 | 0.0047676 | 0.0011949
4 | 0.99423 | -0.039682 | 0 | 0
5 | 0.98984 | -0.071356 | 0.0033245 | 0.00083319
6 | 0.98821 | -0.08164 | 0.0016494 | 0.00041337
7 | 0.97464 | -0.17781 | 0 | 0
8 | 0.9733 | -0.18746 | 0 | 0
9 | 0.97549 | -0.17173 | 0.0029382 | 0.00073638
10 | 0.97307 | -0.18911 | 0.0016417 | 0.00041146
11 | 0.97315 | -0.18847 | 0.0016255 | 0.0004074
12 | 0.97303 | -0.18937 | 0.0016493 | 0.00041335
13 | 0.97326 | -0.18771 | 0.0024773 | 0.00062087
14 | 0.98778 | -0.084618 | 0.0017379 | 0.00043555
15 | 0.98297 | -0.11845 | 0 | 0
16 | 0.98169 | -0.12755 | 0 | 0
17 | 0.98138 | -0.12975 | 0 | 0
18 | 0.9795 | -0.14307 | 0 | 0
19 | 0.98157 | -0.12842 | 0.0021668 | 0.00054304
20 | 0.97885 | -0.14779 | 0.0019815 | 0.00049662
21 | 0.97843 | -0.15069 | 0 | 0
22 | 0.97256 | -0.19276 | 0.0045623 | 0.0011434
23 | 0.97123 | -0.20235 | 0 | 0
24 | 0.97043 | -0.20813 | 0 | 0
25 | 0.97152 | -0.20027 | 0.0081798 | 0.00205
26 | 0.97226 | -0.19494 | 0 | 0
27 | 0.97197 | -0.19698 | 0 | 0
28 | 0.97169 | -0.19901 | 0.0027634 | 0.00069258
29 | 0.97185 | -0.19786 | 0.0033692 | 0.00084441
30 | 0.9703 | -0.20911 | 0.002623 | 0.00065738
31 | 0.97565 | -0.17069 | 0.0086134 | 0.0021587
32 | 0.97544 | -0.17222 | 0.0023712 | 0.00059428
33 | 0.97491 | -0.17604 | 0.0046303 | 0.0011605
34 | 0.98713 | -0.090573 | 0.0070665 | 0.001771
35 | 0.98719 | -0.090201 | 0.00040699 | 0.000102
36 | 0.98712 | -0.090681 | 0 | 0
37 | 0.98763 | -0.087066 | 0 | 0
38 | 0.98711 | -0.090724 | 0 | 0
39 | 0.98759 | -0.087325 | 0.00057983 | 0.00014532
40 | 0.98973 | -0.072172 | 0 | 0
41 | 0.98709 | -0.090855 | 0.00047571 | 0.00011922
42 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.061134 | 0.015489 | -0.061071 | -0.015465 | 6.2947e-05 | 2.4051e-05 | 0.091027 | 0.091027 | 0.091027 | 1 | 0 | 0.99894 | -0.0072836 | 33.7137
1 | 0.022772 | 0.0057151 | -0.022759 | -0.0057105 | 1.2426e-05 | 4.5519e-06 | 0.033887 | 0.033887 | 0.033887 | 1 | 0 | 0.99944 | -0.0039329 | 12.5509
2 | 0.004769 | 0.0011948 | -0.0047676 | -0.0011949 | 1.3752e-06 | -4.2621e-08 | 0.0071038 | 0.007104 | 0.007104 | 0.99894 | -0.0072836 | 0.99864 | -0.0093676 | 2.6311
3 | 0.056302 | 0.01427 | -0.056044 | -0.014172 | 0.00025713 | 9.8134e-05 | 0.083923 | 0.083923 | 0.083923 | 0.99894 | -0.0072836 | 0.99423 | -0.039682 | 31.0828
4 | 0.011988 | 0.0030109 | -0.011876 | -0.0029752 | 0.00011157 | 3.5629e-05 | 0.01785 | 0.017853 | 0.017853 | 0.99944 | -0.0039329 | 0.98984 | -0.071356 | 6.612
5 | 0.056044 | 0.014172 | -0.055715 | -0.014046 | 0.00032947 | 0.00012575 | 0.083923 | 0.083924 | 0.083924 | 0.99423 | -0.039682 | 0.98821 | -0.08164 | 31.0829
6 | 0.0085515 | 0.0021421 | -0.0085505 | -0.0021418 | 9.6463e-07 | 2.5078e-07 | 0.012855 | 0.012855 | 0.012855 | 0.98984 | -0.071356 | 0.98973 | -0.072172 | 4.7611
7 | 0.054066 | 0.013633 | -0.054043 | -0.013624 | 2.2558e-05 | 8.6063e-06 | 0.08144 | 0.08144 | 0.08144 | 0.98821 | -0.08164 | 0.98778 | -0.084618 | 30.1631
8 | 0.028966 | 0.0072628 | -0.028928 | -0.0072483 | 3.8684e-05 | 1.4484e-05 | 0.044225 | 0.044225 | 0.044225 | 0.97464 | -0.17781 | 0.9733 | -0.18746 | 16.3797
9 | -0.028966 | -0.0072628 | 0.028991 | 0.0072719 | 2.4423e-05 | 9.1437e-06 | 0.044225 | 0.044225 | 0.044225 | 0.97464 | -0.17781 | 0.97549 | -0.17173 | 16.3797
10 | 0.021533 | 0.0053954 | -0.021517 | -0.0053896 | 1.5779e-05 | 5.7792e-06 | 0.03292 | 0.03292 | 0.03292 | 0.9733 | -0.18746 | 0.97256 | -0.19276 | 12.1925
11 | 0.007395 | 0.0018529 | -0.0073947 | -0.0018528 | 2.6368e-07 | 6.033e-08 | 0.011306 | 0.011306 | 0.011306 | 0.9733 | -0.18746 | 0.97326 | -0.18771 | 4.1873
12 | -0.031929 | -0.0080083 | 0.032022 | 0.0080434 | 9.339e-05 | 3.5129e-05 | 0.048707 | 0.048707 | 0.048707 | 0.97549 | -0.17173 | 0.97843 | -0.15069 | 18.0396
13 | -0.0032911 | -0.00082465 | 0.0032914 | 0.00082453 | 2.9077e-07 | -1.1673e-07 | 0.0050327 | 0.0050326 | 0.0050327 | 0.97307 | -0.18911 | 0.97315 | -0.18847 | 1.8639
14 | 0.0016493 | 0.00041319 | -0.0016493 | -0.00041335 | 5.7863e-08 | -1.5882e-07 | 0.0025221 | 0.0025222 | 0.0025222 | 0.97307 | -0.18911 | 0.97303 | -0.18937 | 0.93414
15 | -0.0049169 | -0.0012319 | 0.0049174 | 0.0012319 | 5.1646e-07 | 1.6687e-08 | 0.0075181 | 0.0075181 | 0.0075181 | 0.97315 | -0.18847 | 0.97326 | -0.18771 | 2.7845
16 | 0.052305 | 0.013189 | -0.052058 | -0.013095 | 0.00024683 | 9.4122e-05 | 0.078822 | 0.078823 | 0.078823 | 0.98778 | -0.084618 | 0.98297 | -0.11845 | 29.1936
17 | 0.034336 | 0.0086414 | -0.034293 | -0.008625 | 4.3559e-05 | 1.6427e-05 | 0.051991 | 0.051991 | 0.051991 | 0.98297 | -0.11845 | 0.98169 | -0.12755 | 19.2559
18 | 0.017722 | 0.0044534 | -0.017694 | -0.0044435 | 2.7809e-05 | 9.9125e-06 | 0.026832 | 0.026832 | 0.026832 | 0.98297 | -0.11845 | 0.98138 | -0.12975 | 9.9378
19 | 0.032126 | 0.0080823 | -0.032056 | -0.0080562 | 6.937e-05 | 2.6089e-05 | 0.048706 | 0.048707 | 0.048707 | 0.98169 | -0.12755 | 0.9795 | -0.14307 | 18.0395
20 | 0.002167 | 0.00054266 | -0.0021668 | -0.00054304 | 2.6095e-07 | -3.8963e-07 | 0.0032846 | 0.0032847 | 0.0032847 | 0.98169 | -0.12755 | 0.98157 | -0.12842 | 1.2166
21 | 0.017694 | 0.0044435 | -0.01765 | -0.0044277 | 4.428e-05 | 1.5789e-05 | 0.026832 | 0.026833 | 0.026833 | 0.98138 | -0.12975 | 0.97885 | -0.14779 | 9.938
22 | 0.032056 | 0.0080562 | -0.032022 | -0.0080434 | 3.3989e-05 | 1.2784e-05 | 0.048707 | 0.048707 | 0.048707 | 0.9795 | -0.14307 | 0.97843 | -0.15069 | 18.0395
23 | 0.015668 | 0.0039311 | -0.015619 | -0.0039137 | 4.9628e-05 | 1.7331e-05 | 0.02382 | 0.023821 | 0.023821 | 0.97885 | -0.14779 | 0.97565 | -0.17069 | 8.8225
24 | 0.016955 | 0.0042462 | -0.016949 | -0.0042444 | 5.1124e-06 | 1.8153e-06 | 0.025939 | 0.02594 | 0.02594 | 0.97256 | -0.19276 | 0.97226 | -0.19494 | 9.6072
25 | 0.0026254 | 0.00065533 | -0.0026233 | -0.00065709 | 2.089e-06 | -1.7557e-06 | 0.0040214 | 0.0040224 | 0.0040224 | 0.97123 | -0.20235 | 0.97043 | -0.20813 | 1.4898
26 | -0.0026254 | -0.00065533 | 0.0026262 | 0.0006547 | 7.5187e-07 | -6.3321e-07 | 0.0040214 | 0.0040211 | 0.0040214 | 0.97123 | -0.20235 | 0.97152 | -0.20027 | 1.4894
27 | 0.0026233 | 0.00065709 | -0.002623 | -0.00065738 | 3.5449e-07 | -2.9739e-07 | 0.0040224 | 0.0040225 | 0.0040225 | 0.97043 | -0.20813 | 0.9703 | -0.20911 | 1.4898
28 | -0.010806 | -0.0027047 | 0.010808 | 0.0027053 | 1.8784e-06 | 5.8634e-07 | 0.01655 | 0.01655 | 0.01655 | 0.97152 | -0.20027 | 0.97169 | -0.19901 | 6.1295
29 | 0.0033706 | 0.00084392 | -0.0033696 | -0.00084426 | 9.5181e-07 | -3.446e-07 | 0.0051583 | 0.0051586 | 0.0051586 | 0.97226 | -0.19494 | 0.97197 | -0.19698 | 1.9106
30 | 0.013579 | 0.0034005 | -0.013571 | -0.0033979 | 7.6356e-06 | 2.5856e-06 | 0.020781 | 0.020781 | 0.020781 | 0.97226 | -0.19494 | 0.97169 | -0.19901 | 7.6968
31 | 0.0033696 | 0.00084426 | -0.0033692 | -0.00084441 | 4.1005e-07 | -1.4831e-07 | 0.0051586 | 0.0051587 | 0.0051587 | 0.97197 | -0.19698 | 0.97185 | -0.19786 | 1.9106
32 | 0.0070055 | 0.001755 | -0.007004 | -0.0017547 | 1.485e-06 | 3.1086e-07 | 0.010684 | 0.010684 | 0.010684 | 0.97565 | -0.17069 | 0.97544 | -0.17222 | 3.9571
33 | 0.0046328 | 0.0011604 | -0.0046303 | -0.0011605 | 2.4451e-06 | -3.8372e-08 | 0.007067 | 0.0070674 | 0.0070674 | 0.97544 | -0.17222 | 0.97491 | -0.17604 | 2.6175
34 | -0.0075422 | -0.0018895 | 0.0075426 | 0.0018896 | 3.8834e-07 | 8.7805e-08 | 0.011369 | 0.011369 | 0.011369 | 0.98713 | -0.090573 | 0.98719 | -0.090201 | 4.2107
35 | 0.00047573 | 0.0001185 | -0.00047572 | -0.00011877 | 7.0041e-09 | -2.7649e-07 | 0.00071686 | 0.00071696 | 0.00071696 | 0.98713 | -0.090573 | 0.98712 | -0.090681 | 0.26554
36 | -0.0079496 | -0.0019916 | 0.0079531 | 0.0019925 | 3.4486e-06 | 8.3403e-07 | 0.011982 | 0.011982 | 0.011982 | 0.98719 | -0.090201 | 0.98763 | -0.087066 | 4.4379
37 | 0.00047572 | 0.00011877 | -0.00047572 | -0.00011889 | 2.8257e-09 | -1.1152e-07 | 0.00071696 | 0.000717 | 0.000717 | 0.98712 | -0.090681 | 0.98711 | -0.090724 | 0.26556
38 | 0.00057985 | 0.00014477 | -0.00057983 | -0.00014532 | 2.0761e-08 | -5.4995e-07 | 0.00087343 | 0.00087363 | 0.00087363 | 0.98763 | -0.087066 | 0.98759 | -0.087325 | 0.32357
39 | -0.0085329 | -0.0021372 | 0.0085505 | 0.0021418 | 1.7592e-05 | 4.5785e-06 | 0.012856 | 0.012855 | 0.012856 | 0.98763 | -0.087066 | 0.98973 | -0.072172 | 4.7614
40 | 0.00047572 | 0.00011889 | -0.00047571 | -0.00011922 | 8.5965e-09 | -3.3919e-07 | 0.000717 | 0.00071712 | 0.00071712 | 0.98711 | -0.090724 | 0.98709 | -0.090855 | 0.2656

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.090633 | 0.02269

## res_load
| p_mw | q_mvar
0 | 0.0059283 | 0.0014858
1 | 0.010772 | 0.0026996
2 | 0.0047676 | 0.0011949
3 | 0.0033245 | 0.00083319
4 | 0.0016494 | 0.00041337
5 | 0.0029382 | 0.00073638
6 | 0.0016417 | 0.00041146
7 | 0.0016255 | 0.0004074
8 | 0.0016493 | 0.00041335
9 | 0.0024773 | 0.00062087
10 | 0.0017379 | 0.00043555
11 | 0.0021668 | 0.00054304
12 | 0.0019815 | 0.00049662
13 | 0.0045623 | 0.0011434
14 | 0.0081798 | 0.00205
15 | 0.0027634 | 0.00069258
16 | 0.0033692 | 0.00084441
17 | 0.002623 | 0.00065738
18 | 0.0086134 | 0.0021587
19 | 0.0023712 | 0.00059428
20 | 0.0046303 | 0.0011605
21 | 0.0070665 | 0.001771
22 | 0.00040699 | 0.000102
23 | 0.00057983 | 0.00014532
24 | 0.00047571 | 0.00011922

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1