## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-86_1_2_node_43 | 0.4 | n |  | TRUE
1 | bus_LV_1631-86_1_2_node_44 | 0.4 | n |  | TRUE
2 | bus_LV_1631-86_1_2_node_45 | 0.4 | n |  | TRUE
3 | bus_LV_1631-86_1_2_node_34 | 0.4 | n |  | TRUE
4 | bus_LV_1631-86_1_2_node_35 | 0.4 | n |  | TRUE
5 | bus_LV_1631-86_1_2_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_1631-86_1_2_node_46 | 0.4 | n |  | TRUE
7 | bus_LV_1631-86_1_2_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_1631-86_1_2_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_1631-86_1_2_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_1631-86_1_2_node_87 | 0.4 | n |  | TRUE
11 | bus_LV_1631-86_1_2_node_86 | 0.4 | n |  | TRUE
12 | bus_LV_1631-86_1_2_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_1631-86_1_2_node_93 | 0.4 | n |  | TRUE
14 | bus_LV_1631-86_1_2_node_85 | 0.4 | n |  | TRUE
15 | bus_LV_1631-86_1_2_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1631-86_1_2_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_1631-86_1_2_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_1631-86_1_2_node_52 | 0.4 | n |  | TRUE
19 | bus_LV_1631-86_1_2_node_88 | 0.4 | n |  | TRUE
20 | bus_LV_1631-86_1_2_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_1631-86_1_2_node_69 | 0.4 | n |  | TRUE
22 | bus_LV_1631-86_1_2_node_68 | 0.4 | n |  | TRUE
23 | bus_LV_1631-86_1_2_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_1631-86_1_2_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_1631-86_1_2_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_1631-86_1_2_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_1631-86_1_2_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_1631-86_1_2_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_1631-86_1_2_node_82 | 0.4 | n |  | TRUE
30 | bus_LV_1631-86_1_2_node_77 | 0.4 | n |  | TRUE
31 | bus_LV_1631-86_1_2_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_1631-86_1_2_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_1631-86_1_2_node_59 | 0.4 | n |  | TRUE
34 | bus_LV_1631-86_1_2_node_60 | 0.4 | n |  | TRUE
35 | bus_LV_1631-86_1_2_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_1631-86_1_2_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_1631-86_1_2_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_1631-86_1_2_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_1631-86_1_2_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_1631-86_1_2_node_72 | 0.4 | n |  | TRUE
41 | bus_LV_1631-86_1_2_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_1631-86_1_2_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_1631-86_1_2_node_67 | 0.4 | n |  | TRUE
44 | bus_LV_1631-86_1_2_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_1631-86_1_2_node_73 | 0.4 | n |  | TRUE
46 | bus_LV_1631-86_1_2_node_74 | 0.4 | n |  | TRUE
47 | bus_LV_1631-86_1_2_node_79 | 0.4 | n |  | TRUE
48 | bus_LV_1631-86_1_2_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_1631-86_1_2_node_83 | 0.4 | n |  | TRUE
50 | bus_MV_13_0_node_111 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-86_1_2_load_43 | 0 | 0.0063483 | 0.001591 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-86_1_2_load_44 | 1 | 0.0052407 | 0.0013135 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-86_1_2_load_45 | 2 | 0.0039054 | 0.00097879 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-86_1_2_load_34 | 3 | 0.0098666 | 0.0024728 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-86_1_2_load_47 | 5 | 0.0033464 | 0.00083868 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-86_1_2_load_36 | 7 | 0.0021961 | 0.00055039 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-86_1_2_load_76 | 8 | 0.0021471 | 0.00053811 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-86_1_2_load_86 | 11 | 0.0038852 | 0.00097372 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-86_1_2_load_75 | 12 | 0.0017937 | 0.00044955 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-86_1_2_load_93 | 13 | 0.0037414 | 0.00093769 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-86_1_2_load_85 | 14 | 0.0047209 | 0.0011832 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-86_1_2_load_48 | 15 | 0.0048827 | 0.0012237 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-86_1_2_load_51 | 16 | 0.0043 | 0.0010777 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-86_1_2_load_88 | 19 | 0.00077642 | 0.00019459 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-86_1_2_load_53 | 20 | 0.0045265 | 0.0011345 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-86_1_2_load_69 | 21 | 0.0035143 | 0.00088076 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-86_1_2_load_68 | 22 | 0.0036352 | 0.00091106 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-86_1_2_load_54 | 23 | 0.0038902 | 0.00097499 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-86_1_2_load_55 | 24 | 0.0030055 | 0.00075324 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-86_1_2_load_56 | 25 | 0.0033898 | 0.00084957 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-86_1_2_load_57 | 26 | 0.0015723 | 0.00039406 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-86_1_2_load_58 | 27 | 0.00473 | 0.0011854 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-86_1_2_load_78 | 28 | 0.001986 | 0.00049773 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-86_1_2_load_77 | 30 | 0.0022368 | 0.00056059 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-86_1_2_load_84 | 31 | 0.0025857 | 0.00064805 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-86_1_2_load_81 | 32 | 0.0048723 | 0.0012211 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-86_1_2_load_59 | 33 | 0.0047508 | 0.0011907 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-86_1_2_load_61 | 35 | 0.0031739 | 0.00079546 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-86_1_2_load_63 | 37 | 0.0035965 | 0.00090136 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-86_1_2_load_71 | 38 | 0.0032976 | 0.00082646 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-86_1_2_load_66 | 39 | 0.0040416 | 0.0010129 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-86_1_2_load_64 | 41 | 0.0029805 | 0.00074699 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-86_1_2_load_65 | 42 | 0.0073087 | 0.0018317 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-86_1_2_load_70 | 44 | 0.0049495 | 0.0012405 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-86_1_2_load_73 | 45 | 0.0040733 | 0.0010209 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-86_1_2_load_74 | 46 | 0.0032501 | 0.00081456 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-86_1_2_load_80 | 48 | 0.0066606 | 0.0016693 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-86_1_2_load_83 | 49 | 0.0032368 | 0.00081121 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-86_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.11119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-86_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.068441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-86_1_2_line_2 | NAYY 4x150 SE | 1 | 6 | 0.0026801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-86_1_2_line_3 | NAYY 4x150 SE | 2 | 5 | 0.057967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-86_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.045491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-86_1_2_line_5 | NAYY 4x150 SE | 4 | 7 | 0.10409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-86_1_2_line_6 | NAYY 4x150 SE | 5 | 16 | 0.039981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-86_1_2_line_7 | NAYY 4x150 SE | 6 | 15 | 0.059603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-86_1_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.01328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-86_1_2_line_9 | NAYY 4x150 SE | 8 | 12 | 2.8213e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-86_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.16168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-86_1_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.033223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-86_1_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.03757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-86_1_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.016728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-86_1_2_line_14 | NAYY 4x150 SE | 12 | 45 | 0.022358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-86_1_2_line_15 | NAYY 4x150 SE | 14 | 31 | 0.0093123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-86_1_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.084861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-86_1_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.089953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-86_1_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.15836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-86_1_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.028085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-86_1_2_line_20 | NAYY 4x150 SE | 20 | 21 | 0.0065801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-86_1_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.00036147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-86_1_2_line_22 | NAYY 4x150 SE | 22 | 43 | 0.01885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-86_1_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.0036908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-86_1_2_line_24 | NAYY 4x150 SE | 23 | 25 | 0.0025437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-86_1_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.022043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-86_1_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.015276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-86_1_2_line_27 | NAYY 4x150 SE | 26 | 28 | 0.011911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-86_1_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.0051651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-86_1_2_line_29 | NAYY 4x150 SE | 28 | 30 | 0.0062599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-86_1_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.020664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-86_1_2_line_31 | NAYY 4x150 SE | 29 | 32 | 0.010825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-86_1_2_line_32 | NAYY 4x150 SE | 30 | 47 | 0.053237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-86_1_2_line_33 | NAYY 4x150 SE | 32 | 49 | 0.0052375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-86_1_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.019749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-86_1_2_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0020218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-86_1_2_line_36 | NAYY 4x150 SE | 34 | 36 | 0.00985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-86_1_2_line_37 | NAYY 4x150 SE | 34 | 37 | 0.014621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-86_1_2_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0091649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-86_1_2_line_39 | NAYY 4x150 SE | 36 | 39 | 0.0095441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-86_1_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.002569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-86_1_2_line_41 | NAYY 4x150 SE | 39 | 41 | 0.00043998 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-86_1_2_line_42 | NAYY 4x150 SE | 40 | 45 | 0.022115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-86_1_2_line_43 | NAYY 4x150 SE | 40 | 46 | 0.0067665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-86_1_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.010969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-86_1_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.0075878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-86_1_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.026168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-86_1_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.0050247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-86_1_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.018402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-86_1_2_trafo_65 | 0.25 MVA 20/0.4 kV | 50 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2721259.3409 | 1202390.4156 | 2721233.4318 | 1202337.9857 | 2721218.9539 | 1202307.914 | 2721210.5692 | 1202290.4981
1 | 2721259.3409 | 1202390.4156 | 2721260.9403 | 1202393.652 | 2721272.9108 | 1202415.2222 | 2721282.6665 | 1202430.0201 | 2721288.9778 | 1202438.2432 | 2721295.5877 | 1202447.1285 | 2721296.2408 | 1202447.8819
2 | 2721209.4066 | 1202288.0833 | 2721210.5692 | 1202290.4981
3 | 2721296.2408 | 1202447.8819 | 2721308.1063 | 1202461.5712 | 2721318.4035 | 1202474.8124 | 2721333.0703 | 1202492.6288
4 | 2721410.6882 | 1202823.7915 | 2721399.4603 | 1202803.2036 | 2721392.9846 | 1202795.2327 | 2721389.8925 | 1202792.3122 | 2721383.754 | 1202787.9731
5 | 2721410.6882 | 1202823.7915 | 2721414.6254 | 1202816.2215 | 2721418.0111 | 1202807.695 | 2721422.7105 | 1202797.4607 | 2721425.8327 | 1202787.2944 | 2721428.9919 | 1202769.701 | 2721428.529 | 1202762.5196 | 2721422.4065 | 1202739.8004 | 2721423.6314 | 1202723.9604
6 | 2721333.0703 | 1202492.6288 | 2721333.4475 | 1202493.087 | 2721339.6681 | 1202498.6508 | 2721361.8053 | 1202520.4118
7 | 2721209.4066 | 1202288.0833 | 2721183.0634 | 1202234.6176
8 | 2721423.6314 | 1202723.9604 | 2721423.7183 | 1202722.8367 | 2721424.2715 | 1202718.4669 | 2721425.8722 | 1202710.8862
9 | 2721425.8781 | 1202710.8586 | 2721425.8722 | 1202710.8862
10 | 2721574.411 | 1202822.6314 | 2721584.2706 | 1202818.4289 | 2721587.7593 | 1202817.5659 | 2721592.6523 | 1202816.8984 | 2721636.4324 | 1202810.0511 | 2721638.5459 | 1202809.0601 | 2721642.3959 | 1202800.5544 | 2721646.0759 | 1202801.8859 | 2721656.0513 | 1202775.5693 | 2721672.7473 | 1202732.4994 | 2721675.6969 | 1202724.8538
11 | 2721574.411 | 1202822.6314 | 2721559.7121 | 1202802.4394 | 2721554.9943 | 1202795.6742
12 | 2721638.2923 | 1202724.0026 | 2721670.4103 | 1202723.1671 | 2721675.6969 | 1202724.8538
13 | 2721546.2416 | 1202781.4376 | 2721547.7773 | 1202784.4387 | 2721553.27 | 1202793.2015 | 2721554.9943 | 1202795.6742
14 | 2721425.8781 | 1202710.8586 | 2721426.925 | 1202705.9003 | 2721432.2176 | 1202689.4402
15 | 2721541.9995 | 1202773.1476 | 2721546.2416 | 1202781.4376
16 | 2721183.0634 | 1202234.6176 | 2721266.7072 | 1202220.2956
17 | 2721432.9549 | 1202575.2478 | 2721399.1732 | 1202551.9216 | 2721380.9907 | 1202537.5081 | 2721361.9837 | 1202520.5871 | 2721361.8053 | 1202520.4118
18 | 2721266.7072 | 1202220.2956 | 2721286.7679 | 1202195.5289 | 2721291.033 | 1202179.3256 | 2721287.1811 | 1202144.0879 | 2721281.4048 | 1202123.3774 | 2721267.3906 | 1202110.1943 | 2721259.407 | 1202087.5821 | 2721252.7857 | 1202080.6801
19 | 2721432.9549 | 1202575.2478 | 2721431.7014 | 1202590.0889 | 2721431.231 | 1202601.9882 | 2721431.2623 | 1202603.2698
20 | 2721431.2623 | 1202603.2698 | 2721431.4227 | 1202609.848
21 | 2721431.4315 | 1202610.2093 | 2721431.4227 | 1202609.848
22 | 2721430.8862 | 1202629.0458 | 2721431.5091 | 1202613.3912 | 2721431.4315 | 1202610.2093
23 | 2721520.359 | 1202735.3946 | 2721518.1274 | 1202732.455
24 | 2721520.359 | 1202735.3946 | 2721521.8971 | 1202737.4205
25 | 2721504.0255 | 1202715.5292 | 2721504.5098 | 1202715.9853 | 2721514.5842 | 1202727.7879 | 2721518.1274 | 1202732.455
26 | 2721530.2301 | 1202750.1556 | 2721527.454 | 1202744.7401 | 2721521.8971 | 1202737.4205
27 | 2721504.0255 | 1202715.5292 | 2721495.3539 | 1202707.363
28 | 2721532.5864 | 1202754.752 | 2721530.2301 | 1202750.1556
29 | 2721490.7184 | 1202703.1566 | 2721494.3966 | 1202706.4614 | 2721495.3539 | 1202707.363
30 | 2721532.5864 | 1202754.752 | 2721541.9995 | 1202773.1476
31 | 2721532.5864 | 1202754.752 | 2721523.2708 | 1202760.265
32 | 2721446.5721 | 1202673.7313 | 2721454.5924 | 1202678.3756 | 2721472.4013 | 1202688.6675 | 2721482.1142 | 1202695.4256 | 2721490.7184 | 1202703.1566
33 | 2721518.7635 | 1202762.9324 | 2721523.2708 | 1202760.265
34 | 2721421.1607 | 1202655.0898 | 2721403.7124 | 1202645.8383
35 | 2721401.9261 | 1202644.8913 | 2721403.7124 | 1202645.8383
36 | 2721421.1607 | 1202655.0898 | 2721430.7167 | 1202657.5858
37 | 2721421.1607 | 1202655.0898 | 2721417.2154 | 1202661.1808 | 2721409.9926 | 1202662.6128
38 | 2721430.7167 | 1202657.5858 | 2721432.7597 | 1202662.3087 | 2721434.9622 | 1202665.6706
39 | 2721430.7167 | 1202657.5858 | 2721430.6771 | 1202652.0476 | 2721430.7135 | 1202648.0421
40 | 2721436.3701 | 1202667.8195 | 2721434.9622 | 1202665.6706
41 | 2721430.7135 | 1202648.0421 | 2721430.7175 | 1202647.6021
42 | 2721436.3701 | 1202667.8195 | 2721434.7751 | 1202681.4861 | 2721432.2176 | 1202689.4402
43 | 2721436.3701 | 1202667.8195 | 2721442.2246 | 1202671.212
44 | 2721430.7175 | 1202647.6021 | 2721430.8172 | 1202636.6332
45 | 2721430.8862 | 1202629.0458 | 2721430.8172 | 1202636.6332
46 | 2721430.8862 | 1202629.0458 | 2721422.3636 | 1202626.6374 | 2721411.8176 | 1202625.6557 | 2721406.7697 | 1202630.1898
47 | 2721446.5721 | 1202673.7313 | 2721442.2246 | 1202671.212
48 | 2721446.5721 | 1202673.7313 | 2721443.6448 | 1202691.8964

## bus_geodata
| x | y | coords
0 | 2721259.3409 | 1202390.4156
1 | 2721210.5692 | 1202290.4981
2 | 2721296.2408 | 1202447.8819
3 | 2721383.754 | 1202787.9731
4 | 2721410.6882 | 1202823.7915
5 | 2721333.0703 | 1202492.6288
6 | 2721209.4066 | 1202288.0833
7 | 2721423.6314 | 1202723.9604
8 | 2721425.8722 | 1202710.8862
9 | 2721574.411 | 1202822.6314
10 | 2721675.6969 | 1202724.8538
11 | 2721554.9943 | 1202795.6742
12 | 2721425.8781 | 1202710.8586
13 | 2721638.2923 | 1202724.0026
14 | 2721546.2416 | 1202781.4376
15 | 2721183.0634 | 1202234.6176
16 | 2721361.8053 | 1202520.4118
17 | 2721266.7072 | 1202220.2956
18 | 2721432.9549 | 1202575.2478
19 | 2721252.7857 | 1202080.6801
20 | 2721431.2623 | 1202603.2698
21 | 2721431.4227 | 1202609.848
22 | 2721431.4315 | 1202610.2093
23 | 2721520.359 | 1202735.3946
24 | 2721518.1274 | 1202732.455
25 | 2721521.8971 | 1202737.4205
26 | 2721504.0255 | 1202715.5292
27 | 2721530.2301 | 1202750.1556
28 | 2721495.3539 | 1202707.363
29 | 2721532.5864 | 1202754.752
30 | 2721490.7184 | 1202703.1566
31 | 2721541.9995 | 1202773.1476
32 | 2721523.2708 | 1202760.265
33 | 2721403.7124 | 1202645.8383
34 | 2721421.1607 | 1202655.0898
35 | 2721401.9261 | 1202644.8913
36 | 2721430.7167 | 1202657.5858
37 | 2721409.9926 | 1202662.6128
38 | 2721434.9622 | 1202665.6706
39 | 2721430.7135 | 1202648.0421
40 | 2721436.3701 | 1202667.8195
41 | 2721430.7175 | 1202647.6021
42 | 2721430.8172 | 1202636.6332
43 | 2721430.8862 | 1202629.0458
44 | 2721406.7697 | 1202630.1898
45 | 2721432.2176 | 1202689.4402
46 | 2721442.2246 | 1202671.212
47 | 2721446.5721 | 1202673.7313
48 | 2721443.6448 | 1202691.8964
49 | 2721518.7635 | 1202762.9324
50 | 2721430.8862 | 1202629.0458

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98829 | -0.082237 | 0.0063483 | 0.001591
1 | 0.98654 | -0.094682 | 0.0052407 | 0.0013135
2 | 0.98999 | -0.070165 | 0.0039054 | 0.00097879
3 | 0.99243 | -0.053055 | 0.0098666 | 0.0024728
4 | 0.99307 | -0.048509 | 0 | 0
5 | 0.99176 | -0.057672 | 0.0033464 | 0.00083868
6 | 0.98651 | -0.094838 | 0 | 0
7 | 0.99455 | -0.038121 | 0.0021961 | 0.00055039
8 | 0.99478 | -0.036503 | 0.0021471 | 0.00053811
9 | 0.98735 | -0.088878 | 0 | 0
10 | 0.98647 | -0.095095 | 0 | 0
11 | 0.98753 | -0.087599 | 0.0038852 | 0.00097372
12 | 0.99478 | -0.036499 | 0.0017937 | 0.00044955
13 | 0.98627 | -0.096538 | 0.0037414 | 0.00093769
14 | 0.98771 | -0.086289 | 0.0047209 | 0.0011832
15 | 0.98603 | -0.098314 | 0.0048827 | 0.0012237
16 | 0.99317 | -0.047725 | 0.0043 | 0.0010777
17 | 0.98593 | -0.099008 | 0 | 0
18 | 0.99691 | -0.021557 | 0 | 0
19 | 0.98575 | -0.10028 | 0.00077642 | 0.00019459
20 | 0.99807 | -0.013425 | 0.0045265 | 0.0011345
21 | 0.99839 | -0.011224 | 0.0035143 | 0.00088076
22 | 0.99841 | -0.011091 | 0.0036352 | 0.00091106
23 | 0.98922 | -0.075589 | 0.0038902 | 0.00097499
24 | 0.98941 | -0.074269 | 0.0030055 | 0.00075324
25 | 0.9891 | -0.076399 | 0.0033898 | 0.00084957
26 | 0.99062 | -0.06572 | 0.0015723 | 0.00039406
27 | 0.98849 | -0.080734 | 0.00473 | 0.0011854
28 | 0.9913 | -0.060918 | 0.001986 | 0.00049773
29 | 0.98832 | -0.081951 | 0 | 0
30 | 0.99167 | -0.058271 | 0.0022368 | 0.00056059
31 | 0.98788 | -0.085111 | 0.0025857 | 0.00064805
32 | 0.98819 | -0.082848 | 0.0048723 | 0.0012211
33 | 0.99683 | -0.022107 | 0.0047508 | 0.0011907
34 | 0.99706 | -0.020535 | 0 | 0
35 | 0.99682 | -0.022171 | 0.0031739 | 0.00079546
36 | 0.99722 | -0.019395 | 0 | 0
37 | 0.99698 | -0.021063 | 0.0035965 | 0.00090136
38 | 0.9962 | -0.026504 | 0.0032976 | 0.00082646
39 | 0.99843 | -0.010907 | 0.0040416 | 0.0010129
40 | 0.99593 | -0.028414 | 0 | 0
41 | 0.99849 | -0.010498 | 0.0029805 | 0.00074699
42 | 1 | 0 | -0.14296 | -0.035752
43 | 0.9995 | -0.0034472 | 0 | 0
44 | 0.99932 | -0.0047417 | 0.0049495 | 0.0012405
45 | 0.99529 | -0.032888 | 0.0040733 | 0.0010209
46 | 0.9954 | -0.032079 | 0.0032501 | 0.00081456
47 | 0.99504 | -0.034638 | 0 | 0
48 | 0.99486 | -0.035874 | 0.0066606 | 0.0016693
49 | 0.98817 | -0.083021 | 0.0032368 | 0.00081121
50 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010922 | 0.0027348 | -0.010903 | -0.002729 | 1.876e-05 | 5.7932e-06 | 0.016443 | 0.016444 | 0.016444 | 0.98829 | -0.082237 | 0.98654 | -0.094682 | 6.0903
1 | -0.01727 | -0.0043259 | 0.017299 | 0.0043361 | 2.8873e-05 | 1.0227e-05 | 0.026002 | 0.026001 | 0.026002 | 0.98829 | -0.082237 | 0.98999 | -0.070165 | 9.6303
2 | 0.0056621 | 0.0014156 | -0.005662 | -0.0014156 | 1.2194e-07 | 1.2682e-08 | 0.0085391 | 0.0085391 | 0.0085391 | 0.98654 | -0.094682 | 0.98651 | -0.094838 | 3.1626
3 | -0.021204 | -0.0053149 | 0.021241 | 0.0053283 | 3.6742e-05 | 1.3385e-05 | 0.031872 | 0.031871 | 0.031872 | 0.98999 | -0.070165 | 0.99176 | -0.057672 | 11.8043
4 | -0.0098666 | -0.0024728 | 0.0098728 | 0.0024746 | 6.2124e-06 | 1.8012e-06 | 0.014794 | 0.014794 | 0.014794 | 0.99243 | -0.053055 | 0.99307 | -0.048509 | 5.4792
5 | -0.0098728 | -0.0024746 | 0.0098871 | 0.0024787 | 1.4214e-05 | 4.1183e-06 | 0.014794 | 0.014793 | 0.014794 | 0.99307 | -0.048509 | 0.99455 | -0.038121 | 5.4791
6 | -0.024587 | -0.006167 | 0.024621 | 0.0061795 | 3.3955e-05 | 1.2543e-05 | 0.036892 | 0.036892 | 0.036892 | 0.99176 | -0.057672 | 0.99317 | -0.047725 | 13.6637
7 | 0.005662 | 0.0014156 | -0.0056593 | -0.0014153 | 2.712e-06 | 2.8247e-07 | 0.0085391 | 0.0085394 | 0.0085394 | 0.98651 | -0.094838 | 0.98603 | -0.098314 | 3.1627
8 | -0.012083 | -0.0030291 | 0.012086 | 0.00303 | 2.7083e-06 | 8.6931e-07 | 0.018079 | 0.018079 | 0.018079 | 0.99455 | -0.038121 | 0.99478 | -0.036503 | 6.6958
9 | -0.014233 | -0.0035681 | 0.014233 | 0.0035681 | 7.9798e-09 | 2.7001e-09 | 0.02129 | 0.02129 | 0.02129 | 0.99478 | -0.036503 | 0.99478 | -0.036499 | 7.8853
10 | 0.0037454 | 0.00093667 | -0.0037422 | -0.0009375 | 3.2141e-06 | -8.2975e-07 | 0.0056439 | 0.0056447 | 0.0056447 | 0.98735 | -0.088878 | 0.98647 | -0.095095 | 2.0906
11 | -0.0037454 | -0.00093667 | 0.0037461 | 0.0009365 | 6.6035e-07 | -1.71e-07 | 0.0056439 | 0.0056438 | 0.0056439 | 0.98735 | -0.088878 | 0.98753 | -0.087599 | 2.0903
12 | 0.0037422 | 0.0009375 | -0.0037414 | -0.00093769 | 7.4699e-07 | -1.9224e-07 | 0.0056447 | 0.0056448 | 0.0056448 | 0.98647 | -0.095095 | 0.98627 | -0.096538 | 2.0907
13 | -0.0076312 | -0.0019102 | 0.0076326 | 0.0019105 | 1.38e-06 | 3.167e-07 | 0.011498 | 0.011498 | 0.011498 | 0.98753 | -0.087599 | 0.98771 | -0.086289 | 4.2585
14 | -0.016027 | -0.0040176 | 0.016035 | 0.0040204 | 8.0181e-06 | 2.7935e-06 | 0.023973 | 0.023973 | 0.023973 | 0.99478 | -0.036499 | 0.99529 | -0.032888 | 8.8791
15 | -0.012353 | -0.0030937 | 0.012355 | 0.0030943 | 2.0125e-06 | 6.5483e-07 | 0.01861 | 0.01861 | 0.01861 | 0.98771 | -0.086289 | 0.98788 | -0.085111 | 6.8926
16 | 0.00077663 | 0.00019157 | -0.00077656 | -0.00019262 | 7.2627e-08 | -1.0544e-06 | 0.0011709 | 0.0011713 | 0.0011713 | 0.98603 | -0.098314 | 0.98593 | -0.099008 | 0.43382
17 | -0.028921 | -0.0072572 | 0.029027 | 0.0072965 | 0.0001054 | 3.9372e-05 | 0.043334 | 0.043334 | 0.043334 | 0.99317 | -0.047725 | 0.99691 | -0.021557 | 16.0497
18 | 0.00077656 | 0.00019262 | -0.00077642 | -0.00019459 | 1.3566e-07 | -1.967e-06 | 0.0011713 | 0.001172 | 0.001172 | 0.98593 | -0.099008 | 0.98575 | -0.10028 | 0.43408
19 | -0.029027 | -0.0072965 | 0.02906 | 0.0073088 | 3.2908e-05 | 1.229e-05 | 0.043334 | 0.043334 | 0.043334 | 0.99691 | -0.021557 | 0.99807 | -0.013425 | 16.0496
20 | -0.033586 | -0.0084433 | 0.033596 | 0.0084472 | 1.0299e-05 | 3.8751e-06 | 0.050082 | 0.050082 | 0.050082 | 0.99807 | -0.013425 | 0.99839 | -0.011224 | 18.549
21 | -0.037111 | -0.0093279 | 0.037111 | 0.0093282 | 6.9028e-07 | 2.6077e-07 | 0.05532 | 0.05532 | 0.05532 | 0.99839 | -0.011224 | 0.99841 | -0.011091 | 20.4889
22 | -0.040747 | -0.010239 | 0.04079 | 0.010256 | 4.3392e-05 | 1.6442e-05 | 0.060738 | 0.060738 | 0.060738 | 0.99841 | -0.011091 | 0.9995 | -0.0034472 | 22.4955
23 | -0.035092 | -0.0087961 | 0.035098 | 0.0087985 | 6.4173e-06 | 2.4208e-06 | 0.052787 | 0.052787 | 0.052787 | 0.98922 | -0.075589 | 0.98941 | -0.074269 | 19.5507
24 | 0.031202 | 0.0078211 | -0.031198 | -0.0078198 | 3.4966e-06 | 1.3122e-06 | 0.046935 | 0.046935 | 0.046935 | 0.98922 | -0.075589 | 0.9891 | -0.076399 | 17.3834
25 | -0.038104 | -0.0095518 | 0.038149 | 0.0095689 | 4.5171e-05 | 1.709e-05 | 0.057307 | 0.057307 | 0.057307 | 0.98941 | -0.074269 | 0.99062 | -0.06572 | 21.2248
26 | 0.027808 | 0.0069703 | -0.027792 | -0.006964 | 1.6683e-05 | 6.2205e-06 | 0.041835 | 0.041835 | 0.041835 | 0.9891 | -0.076399 | 0.98849 | -0.080734 | 15.4946
27 | -0.039721 | -0.0099629 | 0.039748 | 0.009973 | 2.6463e-05 | 1.0025e-05 | 0.059669 | 0.059669 | 0.059669 | 0.99062 | -0.06572 | 0.9913 | -0.060918 | 22.0995
28 | 0.023062 | 0.0057786 | -0.023058 | -0.0057772 | 3.8842e-06 | 1.4277e-06 | 0.034715 | 0.034715 | 0.034715 | 0.98849 | -0.080734 | 0.98832 | -0.081951 | 12.8575
29 | -0.041734 | -0.010471 | 0.041749 | 0.010477 | 1.5332e-05 | 5.816e-06 | 0.06265 | 0.06265 | 0.06265 | 0.9913 | -0.060918 | 0.99167 | -0.058271 | 23.2036
30 | 0.014948 | 0.0037446 | -0.014941 | -0.0037424 | 6.5306e-06 | 2.2471e-06 | 0.022505 | 0.022505 | 0.022505 | 0.98832 | -0.081951 | 0.98788 | -0.085111 | 8.3351
31 | 0.0081101 | 0.0020325 | -0.0081091 | -0.0020323 | 1.0071e-06 | 2.4865e-07 | 0.012211 | 0.012211 | 0.012211 | 0.98832 | -0.081951 | 0.98819 | -0.082848 | 4.5224
32 | -0.043986 | -0.011037 | 0.044131 | 0.011092 | 0.00014473 | 5.4977e-05 | 0.066006 | 0.066006 | 0.066006 | 0.99167 | -0.058271 | 0.99504 | -0.034638 | 24.4467
33 | 0.0032368 | 0.00081117 | -0.0032368 | -0.00081121 | 7.7638e-08 | -3.7236e-08 | 0.004874 | 0.004874 | 0.004874 | 0.98819 | -0.082848 | 0.98817 | -0.083021 | 1.8052
34 | -0.0079247 | -0.0019861 | 0.0079265 | 0.0019865 | 1.7245e-06 | 4.0577e-07 | 0.01183 | 0.01183 | 0.01183 | 0.99683 | -0.022107 | 0.99706 | -0.020535 | 4.3813
35 | 0.0031739 | 0.00079544 | -0.0031739 | -0.00079546 | 2.832e-08 | -1.5464e-08 | 0.0047379 | 0.0047379 | 0.0047379 | 0.99683 | -0.022107 | 0.99682 | -0.022171 | 1.7548
36 | -0.011523 | -0.0028878 | 0.011525 | 0.0028884 | 1.8178e-06 | 5.7066e-07 | 0.017197 | 0.017197 | 0.017197 | 0.99706 | -0.020535 | 0.99722 | -0.019395 | 6.3694
37 | 0.0035968 | 0.00090128 | -0.0035965 | -0.00090136 | 2.6287e-07 | -8.9565e-08 | 0.0053678 | 0.0053678 | 0.0053678 | 0.99706 | -0.020535 | 0.99698 | -0.021063 | 1.9881
38 | 0.077603 | 0.019503 | -0.077526 | -0.019473 | 7.6708e-05 | 2.9384e-05 | 0.11582 | 0.11582 | 0.11582 | 0.99722 | -0.019395 | 0.9962 | -0.026504 | 42.8945
39 | -0.089128 | -0.022391 | 0.089233 | 0.022432 | 0.00010537 | 4.0401e-05 | 0.13301 | 0.13301 | 0.13301 | 0.99722 | -0.019395 | 0.99843 | -0.010907 | 49.2638
40 | 0.074228 | 0.018647 | -0.074209 | -0.018639 | 1.9712e-05 | 7.5482e-06 | 0.11089 | 0.11089 | 0.11089 | 0.9962 | -0.026504 | 0.99593 | -0.028414 | 41.0702
41 | -0.093275 | -0.023444 | 0.09328 | 0.023446 | 5.3073e-06 | 2.0355e-06 | 0.13904 | 0.13904 | 0.13904 | 0.99843 | -0.010907 | 0.99849 | -0.010498 | 51.4947
42 | 0.02012 | 0.0050458 | -0.020108 | -0.0050413 | 1.2472e-05 | 4.5093e-06 | 0.030063 | 0.030063 | 0.030063 | 0.99593 | -0.028414 | 0.99529 | -0.032888 | 11.1345
43 | 0.054088 | 0.013594 | -0.054061 | -0.013583 | 2.7584e-05 | 1.0521e-05 | 0.080826 | 0.080827 | 0.080827 | 0.99593 | -0.028414 | 0.9954 | -0.032079 | 29.9357
44 | -0.09626 | -0.024193 | 0.096401 | 0.024248 | 0.00014091 | 5.4051e-05 | 0.14348 | 0.14348 | 0.14348 | 0.99849 | -0.010498 | 1 | 0 | 53.1398
45 | 0.045762 | 0.011504 | -0.04574 | -0.011496 | 2.1963e-05 | 8.3478e-06 | 0.068108 | 0.068108 | 0.068108 | 1 | 0 | 0.9995 | -0.0034472 | 25.225
46 | 0.0049504 | 0.0012405 | -0.0049495 | -0.0012405 | 8.869e-07 | -1.7871e-09 | 0.0073698 | 0.0073699 | 0.0073699 | 0.9995 | -0.0034472 | 0.99932 | -0.0047417 | 2.7296
47 | 0.05081 | 0.012768 | -0.050792 | -0.012762 | 1.8095e-05 | 6.8943e-06 | 0.075968 | 0.075968 | 0.075968 | 0.9954 | -0.032079 | 0.99504 | -0.034638 | 28.1363
48 | 0.0066618 | 0.0016695 | -0.0066606 | -0.0016693 | 1.1396e-06 | 1.9933e-07 | 0.0099622 | 0.0099623 | 0.0099623 | 0.99504 | -0.034638 | 0.99486 | -0.035874 | 3.6897

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15027 | 0.037584

## res_load
| p_mw | q_mvar
0 | 0.0063483 | 0.001591
1 | 0.0052407 | 0.0013135
2 | 0.0039054 | 0.00097879
3 | 0.0098666 | 0.0024728
4 | 0.0033464 | 0.00083868
5 | 0.0021961 | 0.00055039
6 | 0.0021471 | 0.00053811
7 | 0.0038852 | 0.00097372
8 | 0.0017937 | 0.00044955
9 | 0.0037414 | 0.00093769
10 | 0.0047209 | 0.0011832
11 | 0.0048827 | 0.0012237
12 | 0.0043 | 0.0010777
13 | 0.00077642 | 0.00019459
14 | 0.0045265 | 0.0011345
15 | 0.0035143 | 0.00088076
16 | 0.0036352 | 0.00091106
17 | 0.0038902 | 0.00097499
18 | 0.0030055 | 0.00075324
19 | 0.0033898 | 0.00084957
20 | 0.0015723 | 0.00039406
21 | 0.00473 | 0.0011854
22 | 0.001986 | 0.00049773
23 | 0.0022368 | 0.00056059
24 | 0.0025857 | 0.00064805
25 | 0.0048723 | 0.0012211
26 | 0.0047508 | 0.0011907
27 | 0.0031739 | 0.00079546
28 | 0.0035965 | 0.00090136
29 | 0.0032976 | 0.00082646
30 | 0.0040416 | 0.0010129
31 | 0.0029805 | 0.00074699
32 | 0.0073087 | 0.0018317
33 | 0.0049495 | 0.0012405
34 | 0.0040733 | 0.0010209
35 | 0.0032501 | 0.00081456
36 | 0.0066606 | 0.0016693
37 | 0.0032368 | 0.00081121

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1