## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-89_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-89_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-89_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-89_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-89_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1631-89_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1631-89_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1631-89_0_3_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_1631-89_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1631-89_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1631-89_0_3_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_1631-89_0_3_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_1631-89_0_3_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_1631-89_0_3_node_76 | 0.4 | n |  | TRUE
14 | bus_LV_1631-89_0_3_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_1631-89_0_3_node_78 | 0.4 | n |  | TRUE
16 | bus_LV_1631-89_0_3_node_80 | 0.4 | n |  | TRUE
17 | bus_LV_1631-89_0_3_node_82 | 0.4 | n |  | TRUE
18 | bus_LV_1631-89_0_3_node_81 | 0.4 | n |  | TRUE
19 | bus_LV_1631-89_0_3_node_88 | 0.4 | n |  | TRUE
20 | bus_LV_1631-89_0_3_node_83 | 0.4 | n |  | TRUE
21 | bus_LV_1631-89_0_3_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_1631-89_0_3_node_87 | 0.4 | n |  | TRUE
23 | bus_LV_1631-89_0_3_node_89 | 0.4 | n |  | TRUE
24 | bus_MV_145_1_node_270 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-89_0_3_load_0 | 0 | 0.0040465 | 0.0010142 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-89_0_3_load_2 | 2 | 0.0019479 | 0.0004882 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-89_0_3_load_3 | 3 | 0.0012383 | 0.00031035 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-89_0_3_load_5 | 4 | 0.0012534 | 0.00031412 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-89_0_3_load_79 | 7 | 0.016155 | 0.0040489 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-89_0_3_load_6 | 8 | 0.0013804 | 0.00034597 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-89_0_3_load_8 | 9 | 0.0032167 | 0.00080617 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-89_0_3_load_73 | 10 | 0.01625 | 0.0040728 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-89_0_3_load_74 | 11 | 0.027851 | 0.0069801 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-89_0_3_load_75 | 12 | 0.015255 | 0.0038233 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-89_0_3_load_76 | 13 | 0.0089379 | 0.0022401 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-89_0_3_load_78 | 15 | 0.012544 | 0.0031438 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-89_0_3_load_80 | 16 | 0.0083993 | 0.0021051 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-89_0_3_load_82 | 17 | 0.0058871 | 0.0014754 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-89_0_3_load_81 | 18 | 0.0063292 | 0.0015863 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-89_0_3_load_88 | 19 | 0.009316 | 0.0023348 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-89_0_3_load_84 | 21 | 0.0050318 | 0.0012611 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-89_0_3_load_87 | 22 | 0.0062483 | 0.001566 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-89_0_3_load_89 | 23 | 0.0056562 | 0.0014176 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-89_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-89_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.012505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-89_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.042479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-89_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.014756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-89_0_3_line_4 | NAYY 4x150 SE | 4 | 8 | 0.06809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-89_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.30965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-89_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.011192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1631-89_0_3_line_7 | NAYY 4x150 SE | 6 | 9 | 0.014401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-89_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.01906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-89_0_3_line_9 | NAYY 4x150 SE | 7 | 14 | 0.012047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1631-89_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.0068305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-89_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.020114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-89_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.02781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-89_0_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.008932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-89_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.01198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-89_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.01863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-89_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.013836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-89_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0045926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-89_0_3_line_18 | NAYY 4x150 SE | 17 | 20 | 0.024263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-89_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.013712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-89_0_3_line_20 | NAYY 4x150 SE | 19 | 23 | 0.0024387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-89_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.039906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-89_0_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.020069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-89_0_3_trafo_4 | 0.25 MVA 20/0.4 kV | 24 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2732472.2027 | 1198405.1306 | 2732465.7388 | 1198406.3216 | 2732462.5323 | 1198405.9392 | 2732457.5963 | 1198402.4716 | 2732456.2081 | 1198401.8931
1 | 2732472.2027 | 1198405.1306 | 2732479.5894 | 1198415.2355
2 | 2732472.2027 | 1198405.1306 | 2732449.8252 | 1198422.7596 | 2732439.0963 | 1198431.7402
3 | 2732427.849 | 1198441.2911 | 2732434.6963 | 1198435.4232 | 2732439.0963 | 1198431.7402
4 | 2732427.849 | 1198441.2911 | 2732416.9125 | 1198450.6633 | 2732409.1759 | 1198458.4091 | 2732403.1573 | 1198467.3494 | 2732399.0318 | 1198477.844 | 2732379.6752 | 1198470.5498
5 | 2732273.848 | 1198226.689 | 2732278.2051 | 1198449.3249 | 2732312.5731 | 1198450.9645 | 2732335.0924 | 1198450.9852 | 2732346.6865 | 1198453.4326 | 2732353.9123 | 1198457.051 | 2732362.5887 | 1198462.2471
6 | 2732273.848 | 1198226.689 | 2732264.0807 | 1198221.2247
7 | 2732362.5887 | 1198462.2471 | 2732355.771 | 1198474.9393
8 | 2732362.5887 | 1198462.2471 | 2732371.818 | 1198467.5889 | 2732379.6752 | 1198470.5498
9 | 2732253.5671 | 1198215.3427 | 2732264.0807 | 1198221.2247
10 | 2732237.1803 | 1198256.2218 | 2732238.4399 | 1198262.9352
11 | 2732237.1803 | 1198256.2218 | 2732233.8283 | 1198238.3573 | 2732234.2678 | 1198236.47
12 | 2732245.5809 | 1198211.2962 | 2732236.0929 | 1198228.6331 | 2732234.2678 | 1198236.47
13 | 2732253.5671 | 1198215.3427 | 2732245.5809 | 1198211.2962
14 | 2732245.5809 | 1198211.2962 | 2732234.8641 | 1198205.9409
15 | 2732253.5671 | 1198215.3427 | 2732268.6335 | 1198204.3847
16 | 2732234.8641 | 1198205.9409 | 2732222.4874 | 1198199.756
17 | 2732272.3476 | 1198201.6834 | 2732268.6335 | 1198204.3847
18 | 2732200.7837 | 1198188.9103 | 2732222.4874 | 1198199.756
19 | 2732272.3476 | 1198201.6834 | 2732283.4372 | 1198193.6178
20 | 2732283.4372 | 1198193.6178 | 2732285.4094 | 1198192.1834
21 | 2732200.7837 | 1198188.9103 | 2732223.6798 | 1198178.4863 | 2732236.3734 | 1198170.9769
22 | 2732285.4094 | 1198192.1834 | 2732290.3633 | 1198188.5804 | 2732302.9502 | 1198182.5813

## bus_geodata
| x | y | coords
0 | 2732456.2081 | 1198401.8931
1 | 2732472.2027 | 1198405.1306
2 | 2732479.5894 | 1198415.2355
3 | 2732439.0963 | 1198431.7402
4 | 2732427.849 | 1198441.2911
5 | 2732273.848 | 1198226.689
6 | 2732362.5887 | 1198462.2471
7 | 2732264.0807 | 1198221.2247
8 | 2732379.6752 | 1198470.5498
9 | 2732355.771 | 1198474.9393
10 | 2732237.1803 | 1198256.2218
11 | 2732238.4399 | 1198262.9352
12 | 2732234.2678 | 1198236.47
13 | 2732245.5809 | 1198211.2962
14 | 2732253.5671 | 1198215.3427
15 | 2732234.8641 | 1198205.9409
16 | 2732268.6335 | 1198204.3847
17 | 2732222.4874 | 1198199.756
18 | 2732272.3476 | 1198201.6834
19 | 2732283.4372 | 1198193.6178
20 | 2732200.7837 | 1198188.9103
21 | 2732236.3734 | 1198170.9769
22 | 2732302.9502 | 1198182.5813
23 | 2732285.4094 | 1198192.1834
24 | 2732253.5671 | 1198215.3427

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99247 | -0.052898 | 0.0040465 | 0.0010142
1 | 0.99257 | -0.052187 | 0 | 0
2 | 0.99253 | -0.052434 | 0.0019479 | 0.0004882
3 | 0.99293 | -0.049606 | 0.0012383 | 0.00031035
4 | 0.99309 | -0.048525 | 0.0012534 | 0.00031412
5 | 1 | 0 | -0.1585 | -0.039614
6 | 0.99419 | -0.040772 | 0 | 0
7 | 0.99885 | -0.0080452 | 0.016155 | 0.0040489
8 | 0.99392 | -0.042674 | 0.0013804 | 0.00034597
9 | 0.99412 | -0.04124 | 0.0032167 | 0.00080617
10 | 0.99293 | -0.049575 | 0.01625 | 0.0040728
11 | 0.99265 | -0.051501 | 0.027851 | 0.0069801
12 | 0.9942 | -0.040607 | 0.015255 | 0.0038233
13 | 0.99657 | -0.023978 | 0.0089379 | 0.0022401
14 | 0.99774 | -0.01575 | 0 | 0
15 | 0.99617 | -0.026805 | 0.012544 | 0.0031438
16 | 0.99679 | -0.022472 | 0.0083993 | 0.0021051
17 | 0.99595 | -0.028325 | 0.0058871 | 0.0014754
18 | 0.99661 | -0.023743 | 0.0063292 | 0.0015863
19 | 0.99619 | -0.026669 | 0.009316 | 0.0023348
20 | 0.99578 | -0.029555 | 0 | 0
21 | 0.99549 | -0.031578 | 0.0050318 | 0.0012611
22 | 0.99597 | -0.028222 | 0.0062483 | 0.001566
23 | 0.99615 | -0.026961 | 0.0056562 | 0.0014176
24 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0040465 | -0.0010142 | 0.0040469 | 0.0010141 | 3.9822e-07 | -7.0909e-08 | 0.006067 | 0.0060669 | 0.006067 | 0.99247 | -0.052898 | 0.99257 | -0.052187 | 2.247
1 | 0.001948 | 0.00048806 | -0.0019479 | -0.0004882 | 6.6547e-08 | -1.3603e-07 | 0.0029203 | 0.0029203 | 0.0029203 | 0.99257 | -0.052187 | 0.99253 | -0.052434 | 1.0816
2 | -0.0059949 | -0.0015021 | 0.0059971 | 0.0015024 | 2.1409e-06 | 2.7418e-07 | 0.0089872 | 0.008987 | 0.0089872 | 0.99257 | -0.052187 | 0.99293 | -0.049606 | 3.3286
3 | -0.0072354 | -0.0018128 | 0.0072364 | 0.001813 | 1.0825e-06 | 2.2545e-07 | 0.010843 | 0.010843 | 0.010843 | 0.99293 | -0.049606 | 0.99309 | -0.048525 | 4.0158
4 | -0.0084898 | -0.0021271 | 0.0084967 | 0.0021289 | 6.8751e-06 | 1.7625e-06 | 0.012721 | 0.01272 | 0.012721 | 0.99309 | -0.048525 | 0.99392 | -0.042674 | 4.7114
5 | 0.013171 | 0.0033062 | -0.013097 | -0.0032817 | 7.4235e-05 | 2.4513e-05 | 0.0196 | 0.019602 | 0.019602 | 1 | 0 | 0.99419 | -0.040772 | 7.2599
6 | 0.14453 | 0.036308 | -0.14437 | -0.036246 | 0.00016154 | 6.1839e-05 | 0.21509 | 0.21509 | 0.21509 | 1 | 0 | 0.99885 | -0.0080452 | 39.8313
7 | 0.0032169 | 0.00080606 | -0.0032167 | -0.00080617 | 2.0831e-07 | -1.0661e-07 | 0.0048147 | 0.0048147 | 0.0048147 | 0.99419 | -0.040772 | 0.99412 | -0.04124 | 1.7832
8 | 0.0098797 | 0.0024756 | -0.0098771 | -0.0024748 | 2.6006e-06 | 7.5314e-07 | 0.014787 | 0.014787 | 0.014787 | 0.99419 | -0.040772 | 0.99392 | -0.042674 | 5.4767
9 | 0.12821 | 0.032197 | -0.12807 | -0.032145 | 0.00013715 | 5.2437e-05 | 0.19102 | 0.19102 | 0.19102 | 0.99885 | -0.0080452 | 0.99774 | -0.01575 | 35.3745
10 | 0.027858 | 0.0069828 | -0.027851 | -0.0069801 | 7.429e-06 | 2.769e-06 | 0.041749 | 0.041749 | 0.041749 | 0.99293 | -0.049575 | 0.99265 | -0.051501 | 15.4626
11 | -0.044109 | -0.011056 | 0.044164 | 0.011076 | 5.4842e-05 | 2.0833e-05 | 0.066102 | 0.066102 | 0.066102 | 0.99293 | -0.049575 | 0.9942 | -0.040607 | 24.4823
12 | -0.059419 | -0.0149 | 0.059556 | 0.014952 | 0.00013726 | 5.2429e-05 | 0.088935 | 0.088935 | 0.088935 | 0.9942 | -0.040607 | 0.99657 | -0.023978 | 32.9388
13 | -0.091971 | -0.023077 | 0.092076 | 0.023117 | 0.00010512 | 4.0315e-05 | 0.13733 | 0.13733 | 0.13733 | 0.99657 | -0.023978 | 0.99774 | -0.01575 | 50.8645
14 | 0.023477 | 0.0058844 | -0.023467 | -0.0058811 | 9.1861e-06 | 3.3771e-06 | 0.035054 | 0.035054 | 0.035054 | 0.99657 | -0.023978 | 0.99617 | -0.026805 | 12.983
15 | 0.035998 | 0.0090276 | -0.035964 | -0.0090149 | 3.3508e-05 | 1.2645e-05 | 0.053688 | 0.053688 | 0.053688 | 0.99774 | -0.01575 | 0.99679 | -0.022472 | 19.8845
16 | 0.010923 | 0.0027373 | -0.010921 | -0.0027366 | 2.2986e-06 | 7.0399e-07 | 0.016317 | 0.016317 | 0.016317 | 0.99617 | -0.026805 | 0.99595 | -0.028325 | 6.0432
17 | 0.027565 | 0.0069099 | -0.02756 | -0.0069081 | 4.8526e-06 | 1.8065e-06 | 0.04115 | 0.04115 | 0.04115 | 0.99679 | -0.022472 | 0.99661 | -0.023743 | 15.2406
18 | 0.0050341 | 0.0012611 | -0.0050332 | -0.0012611 | 8.5643e-07 | 1.3713e-08 | 0.0075211 | 0.0075212 | 0.0075212 | 0.99595 | -0.028325 | 0.99578 | -0.029555 | 2.7856
19 | 0.021231 | 0.0053218 | -0.021222 | -0.0053187 | 8.5982e-06 | 3.1284e-06 | 0.031699 | 0.0317 | 0.0317 | 0.99661 | -0.023743 | 0.99619 | -0.026669 | 11.7406
20 | 0.011906 | 0.0029839 | -0.011906 | -0.0029837 | 4.8129e-07 | 1.5336e-07 | 0.017784 | 0.017784 | 0.017784 | 0.99619 | -0.026669 | 0.99615 | -0.026961 | 6.5867
21 | 0.0050332 | 0.0012611 | -0.0050318 | -0.0012611 | 1.4087e-06 | 2.2816e-08 | 0.0075212 | 0.0075214 | 0.0075214 | 0.99578 | -0.029555 | 0.99549 | -0.031578 | 2.7857
22 | -0.0062483 | -0.001566 | 0.0062494 | 0.0015661 | 1.0913e-06 | 1.5853e-07 | 0.0093353 | 0.0093352 | 0.0093353 | 0.99597 | -0.028222 | 0.99615 | -0.026961 | 3.4575

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1585 | 0.039614

## res_load
| p_mw | q_mvar
0 | 0.0040465 | 0.0010142
1 | 0.0019479 | 0.0004882
2 | 0.0012383 | 0.00031035
3 | 0.0012534 | 0.00031412
4 | 0.016155 | 0.0040489
5 | 0.0013804 | 0.00034597
6 | 0.0032167 | 0.00080617
7 | 0.01625 | 0.0040728
8 | 0.027851 | 0.0069801
9 | 0.015255 | 0.0038233
10 | 0.0089379 | 0.0022401
11 | 0.012544 | 0.0031438
12 | 0.0083993 | 0.0021051
13 | 0.0058871 | 0.0014754
14 | 0.0063292 | 0.0015863
15 | 0.009316 | 0.0023348
16 | 0.0050318 | 0.0012611
17 | 0.0062483 | 0.001566
18 | 0.0056562 | 0.0014176

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1