## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-89_1_2_node_20 | 0.4 | n |  | TRUE
1 | bus_LV_1631-89_1_2_node_90 | 0.4 | n |  | TRUE
2 | bus_LV_1631-89_1_2_node_18 | 0.4 | n |  | TRUE
3 | bus_LV_1631-89_1_2_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_1631-89_1_2_node_71 | 0.4 | n |  | TRUE
5 | bus_LV_1631-89_1_2_node_72 | 0.4 | n |  | TRUE
6 | bus_LV_1631-89_1_2_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_1631-89_1_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1631-89_1_2_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1631-89_1_2_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_1631-89_1_2_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_1631-89_1_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1631-89_1_2_node_16 | 0.4 | n |  | TRUE
13 | bus_LV_1631-89_1_2_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1631-89_1_2_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1631-89_1_2_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1631-89_1_2_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_1631-89_1_2_node_24 | 0.4 | n |  | TRUE
18 | bus_LV_1631-89_1_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1631-89_1_2_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1631-89_1_2_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1631-89_1_2_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_1631-89_1_2_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_1631-89_1_2_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_1631-89_1_2_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1631-89_1_2_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1631-89_1_2_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_1631-89_1_2_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_1631-89_1_2_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1631-89_1_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1631-89_1_2_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_1631-89_1_2_node_35 | 0.4 | n |  | TRUE
32 | bus_LV_1631-89_1_2_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_1631-89_1_2_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_1631-89_1_2_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1631-89_1_2_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1631-89_1_2_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1631-89_1_2_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1631-89_1_2_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_1631-89_1_2_node_50 | 0.4 | n |  | TRUE
40 | bus_LV_1631-89_1_2_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_1631-89_1_2_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_1631-89_1_2_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_1631-89_1_2_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1631-89_1_2_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_1631-89_1_2_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1631-89_1_2_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_1631-89_1_2_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_1631-89_1_2_node_53 | 0.4 | n |  | TRUE
49 | bus_LV_1631-89_1_2_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_1631-89_1_2_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_1631-89_1_2_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_1631-89_1_2_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_1631-89_1_2_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_1631-89_1_2_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_1631-89_1_2_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_1631-89_1_2_node_61 | 0.4 | n |  | TRUE
57 | bus_LV_1631-89_1_2_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_1631-89_1_2_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_1631-89_1_2_node_64 | 0.4 | n |  | TRUE
60 | bus_LV_1631-89_1_2_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_1631-89_1_2_node_67 | 0.4 | n |  | TRUE
62 | bus_LV_1631-89_1_2_node_68 | 0.4 | n |  | TRUE
63 | bus_MV_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-89_1_2_load_90 | 1 | 0.0047131 | 0.0011812 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-89_1_2_load_9 | 3 | 0.00026331 | 6.5993e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-89_1_2_load_71 | 4 | 0.00031949 | 8.0073e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-89_1_2_load_72 | 5 | 0.00015907 | 3.9867e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-89_1_2_load_66 | 6 | 0.00043901 | 0.00011003 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-89_1_2_load_12 | 7 | 0.00018881 | 4.7321e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-89_1_2_load_15 | 9 | 0.0002202 | 5.5187e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-89_1_2_load_16 | 12 | 0.00034696 | 8.6956e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-89_1_2_load_17 | 13 | 0.00020629 | 5.1701e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-89_1_2_load_19 | 14 | 0.00034514 | 8.6501e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-89_1_2_load_23 | 16 | 0.00018838 | 4.7212e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-89_1_2_load_24 | 17 | 0.00042894 | 0.0001075 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-89_1_2_load_25 | 18 | 0.00027013 | 6.7701e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-89_1_2_load_26 | 19 | 0.00016647 | 4.1721e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-89_1_2_load_27 | 20 | 0.00043945 | 0.00011014 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-89_1_2_load_30 | 21 | 0.00040962 | 0.00010266 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-89_1_2_load_28 | 22 | 0.00044046 | 0.00011039 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-89_1_2_load_31 | 23 | 0.00017143 | 4.2964e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-89_1_2_load_29 | 24 | 0.00026949 | 6.7541e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-89_1_2_load_37 | 26 | 0.00028742 | 7.2035e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-89_1_2_load_32 | 28 | 0.0022667 | 0.00056808 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-89_1_2_load_34 | 30 | 0.00060413 | 0.00015141 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-89_1_2_load_35 | 31 | 0.0054644 | 0.0013695 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-89_1_2_load_48 | 33 | 0.0048272 | 0.0012098 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-89_1_2_load_44 | 34 | 0.0048869 | 0.0012248 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-89_1_2_load_39 | 35 | 0.00033519 | 8.4007e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-89_1_2_load_41 | 37 | 0.00022094 | 5.5374e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-89_1_2_load_51 | 38 | 0.00057508 | 0.00014413 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-89_1_2_load_50 | 39 | 0.00018433 | 4.6198e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-89_1_2_load_69 | 40 | 0.0022314 | 0.00055923 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-89_1_2_load_70 | 42 | 0.0030662 | 0.00076845 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-89_1_2_load_42 | 43 | 0.0034585 | 0.00086679 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-89_1_2_load_43 | 44 | 0.0069222 | 0.0017349 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-89_1_2_load_45 | 45 | 0.0029306 | 0.00073448 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-89_1_2_load_47 | 46 | 0.0024213 | 0.00060684 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-89_1_2_load_49 | 47 | 0.0042956 | 0.0010766 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-89_1_2_load_53 | 48 | 0.00019648 | 4.9243e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-89_1_2_load_54 | 49 | 0.00018007 | 4.5129e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1631-89_1_2_load_55 | 50 | 0.00052835 | 0.00013242 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1631-89_1_2_load_56 | 51 | 0.00024144 | 6.0511e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1631-89_1_2_load_57 | 52 | 0.00058449 | 0.00014649 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1631-89_1_2_load_60 | 55 | 0.00021923 | 5.4944e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1631-89_1_2_load_61 | 56 | 0.00021647 | 5.4253e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1631-89_1_2_load_62 | 57 | 0.00024796 | 6.2144e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1631-89_1_2_load_64 | 59 | 0.00033492 | 8.3938e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1631-89_1_2_load_65 | 60 | 0.00035996 | 9.0215e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1631-89_1_2_load_68 | 62 | 0.0001951 | 4.8896e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-89_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.093305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-89_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.28516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-89_1_2_line_2 | NAYY 4x150 SE | 2 | 10 | 0.29847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-89_1_2_line_3 | NAYY 4x150 SE | 2 | 12 | 0.15582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-89_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.41856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-89_1_2_line_5 | NAYY 4x150 SE | 4 | 5 | 0.025676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-89_1_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.086296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-89_1_2_line_7 | NAYY 4x150 SE | 5 | 9 | 0.14623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-89_1_2_line_8 | NAYY 4x150 SE | 5 | 10 | 0.17974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-89_1_2_line_9 | NAYY 4x150 SE | 6 | 55 | 0.029097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-89_1_2_line_10 | NAYY 4x150 SE | 7 | 8 | 0.20589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-89_1_2_line_11 | NAYY 4x150 SE | 8 | 11 | 0.10934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-89_1_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.0048141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-89_1_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.011245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-89_1_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.038552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-89_1_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.010113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-89_1_2_line_16 | NAYY 4x150 SE | 15 | 16 | 0.013451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-89_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.043969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-89_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0061864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-89_1_2_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0049134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-89_1_2_line_20 | NAYY 4x150 SE | 18 | 20 | 0.022515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-89_1_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0077399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-89_1_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.00067691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-89_1_2_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0064262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-89_1_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.01954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-89_1_2_line_25 | NAYY 4x150 SE | 23 | 28 | 0.0023266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-89_1_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.14538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-89_1_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.06034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-89_1_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.062572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-89_1_2_line_29 | NAYY 4x150 SE | 26 | 35 | 0.019784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-89_1_2_line_30 | NAYY 4x150 SE | 27 | 36 | 0.12305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-89_1_2_line_31 | NAYY 4x150 SE | 27 | 37 | 0.12959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-89_1_2_line_32 | NAYY 4x150 SE | 28 | 29 | 0.01362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-89_1_2_line_33 | NAYY 4x150 SE | 29 | 30 | 0.01376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-89_1_2_line_34 | NAYY 4x150 SE | 29 | 31 | 0.019267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-89_1_2_line_35 | NAYY 4x150 SE | 31 | 32 | 0.012025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-89_1_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.024062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-89_1_2_line_37 | NAYY 4x150 SE | 32 | 34 | 0.026285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-89_1_2_line_38 | NAYY 4x150 SE | 34 | 43 | 0.0091886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-89_1_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.037604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-89_1_2_line_40 | NAYY 4x150 SE | 36 | 39 | 0.022463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-89_1_2_line_41 | NAYY 4x150 SE | 37 | 40 | 0.014511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-89_1_2_line_42 | NAYY 4x150 SE | 38 | 41 | 0.0024706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-89_1_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.049226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-89_1_2_line_44 | NAYY 4x150 SE | 41 | 48 | 0.0091935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-89_1_2_line_45 | NAYY 4x150 SE | 41 | 49 | 0.10751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-89_1_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.015659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-89_1_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.018823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-89_1_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.007038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-89_1_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.015376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-89_1_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.13961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1631-89_1_2_line_51 | NAYY 4x150 SE | 51 | 52 | 0.1915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1631-89_1_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.0057947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1631-89_1_2_line_53 | NAYY 4x150 SE | 53 | 54 | 0.12696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1631-89_1_2_line_54 | NAYY 4x150 SE | 54 | 55 | 0.043556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1631-89_1_2_line_55 | NAYY 4x150 SE | 54 | 56 | 0.076778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1631-89_1_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.056655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1631-89_1_2_line_57 | NAYY 4x150 SE | 57 | 58 | 0.073891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1631-89_1_2_line_58 | NAYY 4x150 SE | 58 | 59 | 0.009006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1631-89_1_2_line_59 | NAYY 4x150 SE | 58 | 60 | 0.0040916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1631-89_1_2_line_60 | NAYY 4x150 SE | 60 | 61 | 0.099525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1631-89_1_2_line_61 | NAYY 4x150 SE | 61 | 62 | 0.038659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-89_1_2_trafo_24 | 0.25 MVA 20/0.4 kV | 63 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2732204.5969 | 1199162.1615 | 2732241.5067 | 1199211.5497 | 2732243.8679 | 1199215.6829 | 2732245.7733 | 1199221.8299 | 2732246.6717 | 1199227.354 | 2732249.0467 | 1199230.8649 | 2732253.1082 | 1199232.178 | 2732259.4621 | 1199231.0955
1 | 2732057.3588 | 1199298.3239 | 2732054.8254 | 1199239.6112 | 2732055.0201 | 1199221.8461 | 2732058.0889 | 1199179.8591 | 2732064.4014 | 1199171.3475 | 2732073.7784 | 1199159.9792 | 2732078.8964 | 1199154.8549 | 2732083.7439 | 1199152.3156 | 2732089.1648 | 1199152.4355 | 2732091.8706 | 1199153.0513 | 2732120.5465 | 1199159.7569 | 2732129.7396 | 1199161.8729 | 2732134.2526 | 1199161.3722 | 2732137.344 | 1199159.7059 | 2732157.3454 | 1199149.1177 | 2732167.1354 | 1199146.9769 | 2732172.6389 | 1199147.499 | 2732204.5969 | 1199162.1615
2 | 2731969.8496 | 1199303.6176 | 2731983.9387 | 1199284.436 | 2731994.2801 | 1199268.3629 | 2732000.1455 | 1199256.9836 | 2732005.962 | 1199243.6795 | 2732012.5746 | 1199226.4121 | 2732016.8547 | 1199213.0074 | 2732020.1264 | 1199201.1148 | 2732025.6049 | 1199175.5382 | 2732026.8025 | 1199169.9492 | 2732037.0532 | 1199172.8111 | 2732054.3261 | 1199178.4749 | 2732058.0889 | 1199179.8591 | 2732055.0201 | 1199221.8461 | 2732054.8254 | 1199239.6112 | 2732057.3588 | 1199298.3239
3 | 2732057.3588 | 1199298.3239 | 2732057.1866 | 1199322.3054 | 2732057.7636 | 1199337.8969 | 2732059.696 | 1199349.3707 | 2732064.8881 | 1199370.513 | 2732067.4348 | 1199376.2515 | 2732073.3139 | 1199383.1979 | 2732119.6586 | 1199432.2037
4 | 2731861.3871 | 1199476.8173 | 2731445.0014 | 1199434.1696
5 | 2731861.3871 | 1199476.8173 | 2731863.0242 | 1199471.3792 | 2731868.3027 | 1199458.9638 | 2731870.7853 | 1199452.9503
6 | 2731847.6801 | 1199561.6167 | 2731847.8582 | 1199547.3148 | 2731849.9311 | 1199527.6007 | 2731852.597 | 1199508.6226 | 2731856.6293 | 1199492.6213 | 2731861.3871 | 1199476.8173
7 | 2731870.7853 | 1199452.9503 | 2731778.1179 | 1199339.8312
8 | 2731969.8496 | 1199303.6176 | 2731902.2274 | 1199395.5631 | 2731896.4261 | 1199404.0528 | 2731884.3006 | 1199423.6782 | 2731874.8854 | 1199443.0189 | 2731870.7853 | 1199452.9503
9 | 2731847.6801 | 1199561.6167 | 2731847.592 | 1199568.6922 | 2731849.4208 | 1199590.6367
10 | 2731736.4474 | 1199336.25 | 2731733.6982 | 1199340.7151 | 2731724.5875 | 1199376.6645 | 2731722.5247 | 1199392.1421 | 2731720.2827 | 1199404.6913 | 2731718.908 | 1199408.3083 | 2731715.6446 | 1199413.6405 | 2731706.1854 | 1199424.2959 | 2731698.615 | 1199434.2702 | 2731696.0406 | 1199436.3373 | 2731692.7728 | 1199436.3431 | 2731690.7048 | 1199435.1299 | 2731689.5047 | 1199432.2123 | 2731690.1936 | 1199427.5683 | 2731695.8628 | 1199409.8573 | 2731695.8625 | 1199405.0313 | 2731694.3195 | 1199399.7043 | 2731689.6722 | 1199390.7616 | 2731686.4037 | 1199383.1949 | 2731684.514 | 1199376.3146 | 2731683.4849 | 1199370.4763 | 2731683.3144 | 1199349.338
11 | 2731736.4474 | 1199336.25 | 2731749.5251 | 1199323.862 | 2731754.5136 | 1199317.3335 | 2731758.4665 | 1199309.7592 | 2731762.9401 | 1199291.6994 | 2731763.6361 | 1199286.7331 | 2731765.9849 | 1199290.4099 | 2731769.7808 | 1199301.3465 | 2731771.2675 | 1199312.677 | 2731775.7339 | 1199327.7427 | 2731778.6425 | 1199335.0458
12 | 2731778.6425 | 1199335.0458 | 2731778.1179 | 1199339.8312
13 | 2732119.6586 | 1199432.2037 | 2732127.3847 | 1199440.3735
14 | 2732143.2792 | 1199474.6977 | 2732143.1326 | 1199473.3889 | 2732141.5689 | 1199465.5704 | 2732139.764 | 1199459.359 | 2732136.3274 | 1199452.878 | 2732131.3023 | 1199444.516 | 2732127.3847 | 1199440.3735
15 | 2732144.4047 | 1199484.748 | 2732143.2792 | 1199474.6977
16 | 2732144.4047 | 1199484.748 | 2732144.4088 | 1199493.5105 | 2732144.4078 | 1199498.1993
17 | 2732144.4047 | 1199484.748 | 2732148.4981 | 1199488.0522 | 2732152.4868 | 1199491.2651 | 2732158.0311 | 1199494.746 | 2732163.7067 | 1199494.36 | 2732167.8958 | 1199491.9619 | 2732170.6882 | 1199488.3097 | 2732175.1679 | 1199477.2557
18 | 2732144.3467 | 1199504.3842 | 2732144.4066 | 1199503.2514 | 2732144.4078 | 1199498.1993
19 | 2732175.1679 | 1199477.2557 | 2732175.1679 | 1199477.2557 | 2732178.5442 | 1199473.6862
20 | 2732144.3467 | 1199504.3842 | 2732143.2667 | 1199524.8207 | 2732142.9014 | 1199526.8382
21 | 2732178.5442 | 1199473.6862 | 2732180.4013 | 1199471.7227 | 2732184.9502 | 1199469.559
22 | 2732142.7808 | 1199527.5043 | 2732142.9014 | 1199526.8382
23 | 2732184.9502 | 1199469.559 | 2732186.5444 | 1199468.8007 | 2732190.1294 | 1199465.8221 | 2732190.1294 | 1199465.8221
24 | 2732139.2994 | 1199546.7312 | 2732142.7808 | 1199527.5043
25 | 2732190.1294 | 1199465.8221 | 2732190.835 | 1199463.6051
26 | 2732099.777 | 1199681.7259 | 2732100.93 | 1199679.5274 | 2732115.4106 | 1199664.3246 | 2732118.9527 | 1199658.7986 | 2732120.9897 | 1199654.518 | 2732122.1953 | 1199643.7474 | 2732122.7933 | 1199635.3096 | 2732123.869 | 1199630.7521 | 2732126.2923 | 1199624.8455 | 2732131.1569 | 1199614.9787 | 2732137.3023 | 1199591.285 | 2732138.4506 | 1199584.4829 | 2732137.8677 | 1199561.2519 | 2732138.3815 | 1199551.8004 | 2732139.2994 | 1199546.7312
27 | 2732099.777 | 1199681.7259 | 2732096.8025 | 1199681.2153 | 2732094.7256 | 1199680.4132 | 2732092.8973 | 1199677.6707 | 2732088.143 | 1199659.4848 | 2732086.3318 | 1199651.1494 | 2732086.9699 | 1199626.6851
28 | 2732092.1047 | 1199743.471 | 2732092.2411 | 1199738.3367 | 2732092.5162 | 1199734.5065 | 2732095.2225 | 1199699.6169 | 2732096.6577 | 1199690.1746 | 2732098.4729 | 1199684.2101 | 2732099.777 | 1199681.7259
29 | 2732085.7783 | 1199606.9473 | 2732087.0324 | 1199624.2885 | 2732086.9699 | 1199626.6851
30 | 2732092.1047 | 1199743.471 | 2732091.2034 | 1199754.2595 | 2732091.0924 | 1199777.8754 | 2732090.1456 | 1199785.9052 | 2732087.5734 | 1199796.1341 | 2732076.0532 | 1199836.611 | 2732072.041 | 1199847.2084 | 2732065.0674 | 1199862.2215
31 | 2732092.1047 | 1199743.471 | 2732098.1644 | 1199752.5676 | 2732102.0182 | 1199763.25 | 2732105.4394 | 1199772.4883 | 2732107.6576 | 1199776.1958 | 2732114.59 | 1199786.1234 | 2732130.1426 | 1199804.0478 | 2732131.3713 | 1199808.7564 | 2732131.051 | 1199813.9422 | 2732127.2627 | 1199848.8412 | 2732126.3123 | 1199860.9335
32 | 2732194.149 | 1199450.4324 | 2732193.0646 | 1199453.3107 | 2732192.3761 | 1199456.8871 | 2732191.4473 | 1199461.6814 | 2732190.835 | 1199463.6051
33 | 2732194.149 | 1199450.4324 | 2732193.7907 | 1199436.6804
34 | 2732194.149 | 1199450.4324 | 2732195.9775 | 1199448.6937 | 2732199.9182 | 1199448.2249 | 2732204.8216 | 1199450.7242 | 2732211.9412 | 1199452.2051
35 | 2732223.736 | 1199449.9753 | 2732218.9551 | 1199451.2372 | 2732211.9412 | 1199452.2051
36 | 2732218.1223 | 1199426.5774 | 2732223.736 | 1199449.9753
37 | 2732223.736 | 1199449.9753 | 2732231.1218 | 1199447.0031 | 2732247.0874 | 1199438.0107
38 | 2732255.0935 | 1199433.5015 | 2732247.0874 | 1199438.0107
39 | 2732065.0674 | 1199862.2215 | 2732056.9989 | 1199878.189 | 2732050.7445 | 1199896.8847
40 | 2732065.0674 | 1199862.2215 | 2732065.5725 | 1199851.0907 | 2732065.9859 | 1199848.242 | 2732068.4877 | 1199840.1794
41 | 2732126.3123 | 1199860.9335 | 2732126.1285 | 1199863.2718 | 2732124.2783 | 1199875.2958
42 | 2732049.9607 | 1199899.2276 | 2732050.7445 | 1199896.8847
43 | 2732115.6603 | 1199923.3205 | 2732116.4135 | 1199905.1118 | 2732118.3782 | 1199891.7004 | 2732119.9264 | 1199886.4416 | 2732124.2783 | 1199875.2958
44 | 2732049.9607 | 1199899.2276 | 2732048.8772 | 1199908.3571
45 | 2732049.9607 | 1199899.2276 | 2732032.3094 | 1199926.9704 | 2732018.6041 | 1199946.4161 | 2732010.1245 | 1199955.4914 | 2732005.6428 | 1199959.7735 | 2731999.5605 | 1199966.867 | 2731998.2035 | 1199967.9601 | 2731995.9533 | 1199968.1105 | 2731994.3353 | 1199967.5743 | 2731992.8277 | 1199966.518 | 2731992.2561 | 1199964.4704 | 2731992.5314 | 1199961.3185 | 2731993.511 | 1199958.6937 | 2731997.735 | 1199952.8182
46 | 2732255.0935 | 1199433.5015 | 2732265.3146 | 1199427.7446 | 2732268.1623 | 1199425.0388 | 2732268.1623 | 1199425.0388
47 | 2732270.3129 | 1199406.3497 | 2732269.101 | 1199419.4553 | 2732268.1623 | 1199425.0388
48 | 2732270.3129 | 1199406.3497 | 2732270.0573 | 1199399.3163 | 2732270.0573 | 1199399.3163
49 | 2732257.896 | 1199390.2851 | 2732267.7801 | 1199396.208 | 2732270.0573 | 1199399.3163
50 | 2731987.951 | 1199822.565 | 2731999.0435 | 1199842.4254 | 2732001.0994 | 1199846.2404 | 2732003.3009 | 1199853.1166 | 2732009.5359 | 1199866.6871 | 2732011.6443 | 1199872.9497 | 2732012.0733 | 1199876.6287 | 2732011.4554 | 1199881.4966 | 2732010.3589 | 1199889.4119 | 2732010.5899 | 1199893.0865 | 2732010.9303 | 1199895.9518 | 2732013.5364 | 1199907.6073 | 2732013.7328 | 1199912.5043 | 2732012.6925 | 1199917.8744 | 2732007.5634 | 1199932.8395 | 2732004.1695 | 1199943.0391 | 2732001.6215 | 1199947.364 | 2731998.988 | 1199951.0754 | 2731997.735 | 1199952.8182
51 | 2731866.6083 | 1199765.9564 | 2731866.237 | 1199779.1781 | 2731864.1686 | 1199799.7262 | 2731859.0994 | 1199829.582 | 2731832.7745 | 1199954.1673
52 | 2731866.771 | 1199760.164 | 2731866.6083 | 1199765.9564
53 | 2731853.5998 | 1199633.9865 | 2731864.0299 | 1199716.6586 | 2731866.0361 | 1199737.2188 | 2731866.771 | 1199760.164
54 | 2731853.5998 | 1199633.9865 | 2731852.8873 | 1199628.3108 | 2731851.4579 | 1199615.0801 | 2731849.4208 | 1199590.6367
55 | 2731853.5998 | 1199633.9865 | 2731847.1241 | 1199636.8125 | 2731845.3911 | 1199640.7885 | 2731845.6356 | 1199645.9312 | 2731847.6774 | 1199662.1222 | 2731847.9809 | 1199671.4917 | 2731847.3376 | 1199679.9285 | 2731844.1579 | 1199691.8232 | 2731840.0419 | 1199700.2389 | 2731837.9281 | 1199704.0879
56 | 2731837.9281 | 1199704.0879 | 2731835.7884 | 1199707.9844 | 2731828.9432 | 1199715.4726 | 2731821.2873 | 1199723.8102 | 2731815.747 | 1199731.8832 | 2731807.4757 | 1199751.1349
57 | 2731756.1994 | 1199803.7261 | 2731767.725 | 1199795.0178 | 2731779.8632 | 1199784.0881 | 2731801.3212 | 1199759.4865 | 2731806.4332 | 1199753.5613 | 2731807.4757 | 1199751.1349
58 | 2731756.1994 | 1199803.7261 | 2731748.4329 | 1199799.1291
59 | 2731756.1994 | 1199803.7261 | 2731752.9332 | 1199806.1905
60 | 2731706.0162 | 1199892.7336 | 2731709.2569 | 1199884.9657 | 2731716.5049 | 1199871.2814 | 2731726.6537 | 1199846.2523 | 2731737.072 | 1199823.164 | 2731750.429 | 1199808.08 | 2731752.9332 | 1199806.1905
61 | 2731706.0162 | 1199892.7336 | 2731703.9883 | 1199901.4513 | 2731700.6918 | 1199930.4011 | 2731700.5974 | 1199930.9645

## bus_geodata
| x | y | coords
0 | 2732204.5969 | 1199162.1615
1 | 2732259.4621 | 1199231.0955
2 | 2732057.3588 | 1199298.3239
3 | 2731445.0014 | 1199434.1696
4 | 2731861.3871 | 1199476.8173
5 | 2731870.7853 | 1199452.9503
6 | 2731847.6801 | 1199561.6167
7 | 2731683.3144 | 1199349.338
8 | 2731736.4474 | 1199336.25
9 | 2731778.1179 | 1199339.8312
10 | 2731969.8496 | 1199303.6176
11 | 2731778.6425 | 1199335.0458
12 | 2732119.6586 | 1199432.2037
13 | 2732127.3847 | 1199440.3735
14 | 2732143.2792 | 1199474.6977
15 | 2732144.4047 | 1199484.748
16 | 2732144.4078 | 1199498.1993
17 | 2732175.1679 | 1199477.2557
18 | 2732144.3467 | 1199504.3842
19 | 2732178.5442 | 1199473.6862
20 | 2732142.9014 | 1199526.8382
21 | 2732184.9502 | 1199469.559
22 | 2732142.7808 | 1199527.5043
23 | 2732190.1293 | 1199465.8221
24 | 2732139.2994 | 1199546.7312
25 | 2732099.777 | 1199681.7259
26 | 2732086.9699 | 1199626.6851
27 | 2732092.1047 | 1199743.471
28 | 2732190.835 | 1199463.6051
29 | 2732194.149 | 1199450.4324
30 | 2732193.7907 | 1199436.6804
31 | 2732211.9412 | 1199452.2051
32 | 2732223.736 | 1199449.9753
33 | 2732218.1223 | 1199426.5774
34 | 2732247.0874 | 1199438.0107
35 | 2732085.7783 | 1199606.9473
36 | 2732065.0674 | 1199862.2215
37 | 2732126.3123 | 1199860.9335
38 | 2732050.7445 | 1199896.8847
39 | 2732068.4877 | 1199840.1794
40 | 2732124.2783 | 1199875.2958
41 | 2732049.9607 | 1199899.2276
42 | 2732115.6603 | 1199923.3205
43 | 2732255.0935 | 1199433.5015
44 | 2732268.1623 | 1199425.0388
45 | 2732270.3129 | 1199406.3497
46 | 2732270.0573 | 1199399.3163
47 | 2732257.896 | 1199390.2851
48 | 2732048.8772 | 1199908.3571
49 | 2731997.735 | 1199952.8182
50 | 2731987.951 | 1199822.565
51 | 2731866.6083 | 1199765.9564
52 | 2731832.7745 | 1199954.1673
53 | 2731866.771 | 1199760.164
54 | 2731853.5998 | 1199633.9865
55 | 2731849.4208 | 1199590.6367
56 | 2731837.9281 | 1199704.0879
57 | 2731807.4757 | 1199751.1349
58 | 2731756.1994 | 1199803.7261
59 | 2731748.4329 | 1199799.1291
60 | 2731752.9332 | 1199806.1905
61 | 2731706.0162 | 1199892.7336
62 | 2731700.5974 | 1199930.9645
63 | 2732175.1679 | 1199477.2557

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99414 | -0.041874 | 0 | 0
1 | 0.9935 | -0.046322 | 0.0047131 | 0.0011812
2 | 0.99606 | -0.028263 | 0 | 0
3 | 0.99305 | -0.050556 | 0.00026331 | 6.5993e-05
4 | 0.9932 | -0.049355 | 0.00031949 | 8.0073e-05
5 | 0.99333 | -0.048434 | 0.00015907 | 3.9867e-05
6 | 0.99285 | -0.051901 | 0.00043901 | 0.00011003
7 | 0.99316 | -0.049757 | 0.00018881 | 4.7321e-05
8 | 0.99321 | -0.049343 | 0 | 0
9 | 0.99324 | -0.049095 | 0.0002202 | 5.5187e-05
10 | 0.99436 | -0.040866 | 0 | 0
11 | 0.99324 | -0.049106 | 0 | 0
12 | 0.99801 | -0.014243 | 0.00034696 | 8.6956e-05
13 | 0.99815 | -0.013193 | 0.00020629 | 5.1701e-05
14 | 0.99866 | -0.009516 | 0.00034514 | 8.6501e-05
15 | 0.9988 | -0.0085169 | 0 | 0
16 | 0.99862 | -0.0097967 | 0.00018838 | 4.7212e-05
17 | 1 | 0 | -0.058896 | -0.014542
18 | 0.99854 | -0.010374 | 0.00027013 | 6.7701e-05
19 | 0.99973 | -0.0019053 | 0.00016647 | 4.1721e-05
20 | 0.99825 | -0.012413 | 0.00043945 | 0.00011014
21 | 0.9993 | -0.0048959 | 0.00040962 | 0.00010266
22 | 0.99824 | -0.012472 | 0.00044046 | 0.00011039
23 | 0.99895 | -0.0073544 | 0.00017143 | 4.2964e-05
24 | 0.99802 | -0.01407 | 0.00026949 | 6.7541e-05
25 | 0.99639 | -0.025579 | 0 | 0
26 | 0.99634 | -0.02596 | 0.00028742 | 7.2035e-05
27 | 0.99575 | -0.030141 | 0 | 0
28 | 0.99882 | -0.008241 | 0.0022667 | 0.00056808
29 | 0.99812 | -0.013126 | 0 | 0
30 | 0.99811 | -0.013209 | 0.00060413 | 0.00015141
31 | 0.99715 | -0.019931 | 0.0054644 | 0.0013695
32 | 0.99664 | -0.023524 | 0 | 0
33 | 0.99647 | -0.024692 | 0.0048272 | 0.0012098
34 | 0.9957 | -0.030113 | 0.0048869 | 0.0012248
35 | 0.99633 | -0.026027 | 0.00033519 | 8.4007e-05
36 | 0.99546 | -0.032248 | 0 | 0
37 | 0.99472 | -0.037363 | 0.00022094 | 5.5374e-05
38 | 0.99538 | -0.032819 | 0.00057508 | 0.00014413
39 | 0.99545 | -0.03229 | 0.00018433 | 4.6198e-05
40 | 0.99461 | -0.038139 | 0.0022314 | 0.00055923
41 | 0.99537 | -0.032842 | 0 | 0
42 | 0.9944 | -0.039664 | 0.0030662 | 0.00076845
43 | 0.99544 | -0.031966 | 0.0034585 | 0.00086679
44 | 0.99507 | -0.034581 | 0.0069222 | 0.0017349
45 | 0.9948 | -0.036413 | 0.0029306 | 0.00073448
46 | 0.99474 | -0.03689 | 0.0024213 | 0.00060684
47 | 0.99464 | -0.037556 | 0.0042956 | 0.0010766
48 | 0.99537 | -0.032861 | 0.00019648 | 4.9243e-05
49 | 0.99526 | -0.03363 | 0.00018007 | 4.5129e-05
50 | 0.99516 | -0.034383 | 0.00052835 | 0.00013242
51 | 0.99246 | -0.054765 | 0.00024144 | 6.0511e-05
52 | 0.9923 | -0.055918 | 0.00058449 | 0.00014649
53 | 0.99247 | -0.054716 | 0 | 0
54 | 0.99262 | -0.053621 | 0 | 0
55 | 0.99275 | -0.052629 | 0.00021923 | 5.4944e-05
56 | 0.99247 | -0.054699 | 0.00021647 | 5.4253e-05
57 | 0.99237 | -0.055366 | 0.00024796 | 6.2144e-05
58 | 0.99228 | -0.056046 | 0 | 0
59 | 0.99228 | -0.056077 | 0.00033492 | 8.3938e-05
60 | 0.99228 | -0.05607 | 0.00035996 | 9.0215e-05
61 | 0.99225 | -0.056275 | 0 | 0
62 | 0.99224 | -0.056352 | 0.0001951 | 4.8896e-05
63 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.004716 | 0.0011811 | -0.0047131 | -0.0011812 | 2.9011e-06 | -9.322e-08 | 0.0070586 | 0.0070591 | 0.0070591 | 0.99414 | -0.041874 | 0.9935 | -0.046322 | 2.6145
1 | -0.004716 | -0.0011811 | 0.0047249 | 0.0011808 | 8.8639e-06 | -2.9525e-07 | 0.0070586 | 0.0070573 | 0.0070586 | 0.99414 | -0.041874 | 0.99606 | -0.028263 | 2.6143
2 | 0.0040027 | 0.00097608 | -0.0039961 | -0.00097741 | 6.6398e-06 | -1.3245e-06 | 0.0059702 | 0.0059716 | 0.0059716 | 0.99606 | -0.028263 | 0.99436 | -0.040866 | 2.2117
3 | -0.0087276 | -0.0021569 | 0.0087441 | 0.0021612 | 1.6501e-05 | 4.3143e-06 | 0.013028 | 0.013027 | 0.013028 | 0.99606 | -0.028263 | 0.99801 | -0.014243 | 4.825
4 | -0.00026331 | -6.5992e-05 | 0.00026335 | 6.0592e-05 | 4.0467e-08 | -5.4005e-06 | 0.00039456 | 0.00039272 | 0.00039456 | 0.99305 | -0.050556 | 0.9932 | -0.049355 | 0.14613
5 | -0.0034235 | -0.00084201 | 0.0034239 | 0.00084184 | 4.2057e-07 | -1.7057e-07 | 0.0051235 | 0.0051234 | 0.0051235 | 0.9932 | -0.049355 | 0.99333 | -0.048434 | 1.8976
6 | 0.0028407 | 0.00070134 | -0.0028397 | -0.00070209 | 9.7374e-07 | -7.419e-07 | 0.0042522 | 0.0042526 | 0.0042526 | 0.9932 | -0.049355 | 0.99285 | -0.051901 | 1.575
7 | 0.00040906 | 9.6492e-05 | -0.00040902 | -9.8371e-05 | 3.4067e-08 | -1.8797e-06 | 0.0006107 | 0.00061134 | 0.00061134 | 0.99333 | -0.048434 | 0.99324 | -0.049095 | 0.22642
8 | -0.0039921 | -0.0009782 | 0.0039961 | 0.00097741 | 4.0001e-06 | -7.9065e-07 | 0.0059724 | 0.0059716 | 0.0059724 | 0.99333 | -0.048434 | 0.99436 | -0.040866 | 2.212
9 | 0.0024007 | 0.00059206 | -0.0024005 | -0.00059235 | 2.3461e-07 | -2.8602e-07 | 0.0035946 | 0.0035948 | 0.0035948 | 0.99285 | -0.051901 | 0.99275 | -0.052629 | 1.3314
10 | -0.00018881 | -4.7321e-05 | 0.00018882 | 4.466e-05 | 1.0248e-08 | -2.6605e-06 | 0.00028289 | 0.00028197 | 0.00028289 | 0.99316 | -0.049757 | 0.99321 | -0.049343 | 0.10477
11 | -0.00018882 | -4.466e-05 | 0.00018883 | 4.3247e-05 | 5.4155e-09 | -1.413e-06 | 0.00028197 | 0.00028151 | 0.00028197 | 0.99321 | -0.049343 | 0.99324 | -0.049106 | 0.10443
12 | 0.00018883 | 4.3185e-05 | -0.00018883 | -4.3247e-05 | 2.3805e-10 | -6.2215e-08 | 0.00028149 | 0.00028151 | 0.00028151 | 0.99324 | -0.049095 | 0.99324 | -0.049106 | 0.10426
13 | -0.0090911 | -0.0022482 | 0.0090924 | 0.0022485 | 1.2871e-06 | 3.481e-07 | 0.013544 | 0.013544 | 0.013544 | 0.99801 | -0.014243 | 0.99815 | -0.013193 | 5.0163
14 | -0.0092986 | -0.0023002 | 0.0093033 | 0.0023015 | 4.6155e-06 | 1.271e-06 | 0.013852 | 0.013851 | 0.013852 | 0.99815 | -0.013193 | 0.99866 | -0.009516 | 5.1302
15 | -0.0096484 | -0.002388 | 0.0096497 | 0.0023884 | 1.3023e-06 | 3.6856e-07 | 0.014366 | 0.014366 | 0.014366 | 0.99866 | -0.009516 | 0.9988 | -0.0085169 | 5.3206
16 | 0.0094444 | 0.0023583 | -0.0094427 | -0.0023579 | 1.661e-06 | 4.6283e-07 | 0.014067 | 0.014067 | 0.014067 | 0.9988 | -0.0085169 | 0.99862 | -0.0097967 | 5.2101
17 | -0.019094 | -0.0047467 | 0.019116 | 0.0047547 | 2.218e-05 | 7.9548e-06 | 0.028433 | 0.028433 | 0.028433 | 0.9988 | -0.0085169 | 1 | 0 | 10.5307
18 | 0.0092544 | 0.0023107 | -0.0092536 | -0.0023105 | 7.3373e-07 | 2.0127e-07 | 0.013787 | 0.013787 | 0.013787 | 0.99862 | -0.0097967 | 0.99854 | -0.010374 | 5.1062
19 | 0.03898 | 0.0097874 | -0.03897 | -0.0097835 | 1.0317e-05 | 3.9037e-06 | 0.058009 | 0.058009 | 0.058009 | 1 | 0 | 0.99973 | -0.0019053 | 21.4848
20 | 0.0089835 | 0.0022428 | -0.008981 | -0.0022421 | 2.5168e-06 | 6.7355e-07 | 0.013384 | 0.013384 | 0.013384 | 0.99854 | -0.010374 | 0.99825 | -0.012413 | 4.9571
21 | 0.038803 | 0.0097418 | -0.038787 | -0.0097357 | 1.6114e-05 | 6.0961e-06 | 0.057761 | 0.057761 | 0.057761 | 0.99973 | -0.0019053 | 0.9993 | -0.0048959 | 21.3931
22 | 0.0085415 | 0.0021319 | -0.0085415 | -0.0021319 | 6.844e-08 | 1.7474e-08 | 0.012729 | 0.012729 | 0.012729 | 0.99825 | -0.012413 | 0.99824 | -0.012472 | 4.7145
23 | 0.038377 | 0.0096331 | -0.038364 | -0.0096281 | 1.3098e-05 | 4.9534e-06 | 0.057151 | 0.057151 | 0.057151 | 0.9993 | -0.0048959 | 0.99895 | -0.0073544 | 21.1672
24 | 0.008101 | 0.0020215 | -0.0080992 | -0.0020211 | 1.7771e-06 | 4.281e-07 | 0.012073 | 0.012073 | 0.012073 | 0.99824 | -0.012472 | 0.99802 | -0.01407 | 4.4714
25 | 0.038193 | 0.0095851 | -0.038188 | -0.0095834 | 4.6998e-06 | 1.7772e-06 | 0.056896 | 0.056896 | 0.056896 | 0.99895 | -0.0073544 | 0.99882 | -0.008241 | 21.0726
26 | 0.0078297 | 0.0019536 | -0.0078174 | -0.0019507 | 1.2357e-05 | 2.8561e-06 | 0.011671 | 0.011672 | 0.011672 | 0.99802 | -0.01407 | 0.99639 | -0.025579 | 4.3228
27 | 0.00062265 | 0.00015501 | -0.00062262 | -0.00015579 | 3.254e-08 | -7.7336e-07 | 0.0009295 | 0.00092978 | 0.00092978 | 0.99639 | -0.025579 | 0.99634 | -0.02596 | 0.34436
28 | 0.0071947 | 0.0017957 | -0.0071902 | -0.0017948 | 4.5055e-06 | 9.1844e-07 | 0.010742 | 0.010742 | 0.010742 | 0.99639 | -0.025579 | 0.99575 | -0.030141 | 3.9786
29 | 0.00033519 | 8.375e-05 | -0.00033519 | -8.4007e-05 | 3.0932e-09 | -2.5646e-07 | 0.00050052 | 0.00050061 | 0.00050061 | 0.99634 | -0.02596 | 0.99633 | -0.026027 | 0.18541
30 | 0.001665 | 0.00041165 | -0.0016646 | -0.00041307 | 4.7471e-07 | -1.4176e-06 | 0.0024862 | 0.0024868 | 0.0024868 | 0.99575 | -0.030141 | 0.99546 | -0.032248 | 0.92102
31 | 0.0055252 | 0.0013831 | -0.0055197 | -0.0013827 | 5.5125e-06 | 4.3618e-07 | 0.0082561 | 0.0082567 | 0.0082567 | 0.99575 | -0.030141 | 0.99472 | -0.037363 | 3.058
32 | 0.035921 | 0.0090153 | -0.035897 | -0.0090061 | 2.4344e-05 | 9.1848e-06 | 0.053519 | 0.053519 | 0.053519 | 0.99882 | -0.008241 | 0.99812 | -0.013126 | 19.822
33 | 0.00060414 | 0.00015123 | -0.00060413 | -0.00015141 | 6.9646e-09 | -1.7716e-07 | 0.0009006 | 0.00090066 | 0.00090066 | 0.99812 | -0.013126 | 0.99811 | -0.013209 | 0.33358
34 | 0.035293 | 0.0088549 | -0.03526 | -0.0088423 | 3.3288e-05 | 1.2551e-05 | 0.052619 | 0.052619 | 0.052619 | 0.99812 | -0.013126 | 0.99715 | -0.019931 | 19.4884
35 | 0.029795 | 0.0074728 | -0.02978 | -0.0074673 | 1.4835e-05 | 5.5491e-06 | 0.044464 | 0.044464 | 0.044464 | 0.99715 | -0.019931 | 0.99664 | -0.023524 | 16.4683
36 | 0.004828 | 0.0012098 | -0.0048272 | -0.0012098 | 7.8016e-07 | -1.3443e-08 | 0.0072083 | 0.0072084 | 0.0072084 | 0.99664 | -0.023524 | 0.99647 | -0.024692 | 2.6698
37 | 0.024952 | 0.0062575 | -0.02493 | -0.006249 | 2.2766e-05 | 8.4141e-06 | 0.037256 | 0.037256 | 0.037256 | 0.99664 | -0.023524 | 0.9957 | -0.030113 | 13.7986
38 | 0.020043 | 0.0050243 | -0.020038 | -0.0050224 | 5.1442e-06 | 1.8591e-06 | 0.029953 | 0.029953 | 0.029953 | 0.9957 | -0.030113 | 0.99544 | -0.031966 | 11.0938
39 | 0.0014802 | 0.00036716 | -0.0014801 | -0.00036761 | 1.1475e-07 | -4.4469e-07 | 0.0022113 | 0.0022115 | 0.0022115 | 0.99546 | -0.032248 | 0.99538 | -0.032819 | 0.81907
40 | 0.00018433 | 4.5906e-05 | -0.00018433 | -4.6198e-05 | 1.0638e-09 | -2.9161e-07 | 0.00027544 | 0.00027554 | 0.00027554 | 0.99546 | -0.032248 | 0.99545 | -0.03229 | 0.10205
41 | 0.0052987 | 0.0013273 | -0.0052982 | -0.0013273 | 5.6888e-07 | 3.0448e-08 | 0.0079262 | 0.0079263 | 0.0079263 | 0.99472 | -0.037363 | 0.99461 | -0.038139 | 2.9356
42 | 0.00090503 | 0.00022348 | -0.00090503 | -0.00022351 | 2.8171e-09 | -3.103e-08 | 0.0013518 | 0.0013518 | 0.0013518 | 0.99538 | -0.032819 | 0.99537 | -0.032842 | 0.50067
43 | 0.0030668 | 0.00076806 | -0.0030662 | -0.00076845 | 6.4661e-07 | -3.9004e-07 | 0.004588 | 0.0045882 | 0.0045882 | 0.99461 | -0.038139 | 0.9944 | -0.039664 | 1.6993
44 | 0.00019648 | 4.9123e-05 | -0.00019648 | -4.9243e-05 | 4.9487e-10 | -1.1931e-07 | 0.00029368 | 0.00029373 | 0.00029373 | 0.99537 | -0.032842 | 0.99537 | -0.032861 | 0.10879
45 | 0.00070855 | 0.00017438 | -0.00070847 | -0.00017575 | 7.5142e-08 | -1.3683e-06 | 0.0010581 | 0.0010586 | 0.0010586 | 0.99537 | -0.032842 | 0.99526 | -0.03363 | 0.39207
46 | 0.016579 | 0.0041556 | -0.016573 | -0.0041535 | 6.0016e-06 | 2.1048e-06 | 0.024783 | 0.024783 | 0.024783 | 0.99544 | -0.031966 | 0.99507 | -0.034581 | 9.179
47 | 0.0096508 | 0.0024186 | -0.0096484 | -0.0024179 | 2.4464e-06 | 6.9647e-07 | 0.014432 | 0.014432 | 0.014432 | 0.99507 | -0.034581 | 0.9948 | -0.036413 | 5.3451
48 | 0.0067178 | 0.0016835 | -0.0067173 | -0.0016834 | 4.4342e-07 | 7.9178e-08 | 0.010048 | 0.010048 | 0.010048 | 0.9948 | -0.036413 | 0.99474 | -0.03689 | 3.7216
49 | 0.004296 | 0.0010765 | -0.0042956 | -0.0010766 | 3.9624e-07 | -4.7186e-08 | 0.0064263 | 0.0064264 | 0.0064264 | 0.99474 | -0.03689 | 0.99464 | -0.037556 | 2.3801
50 | 0.0005284 | 0.00013062 | -0.00052835 | -0.00013242 | 5.433e-08 | -1.7932e-06 | 0.00078938 | 0.00079002 | 0.00079002 | 0.99526 | -0.03363 | 0.99516 | -0.034383 | 0.2926
51 | 0.00058458 | 0.00014405 | -0.00058449 | -0.00014649 | 9.1706e-08 | -2.4389e-06 | 0.00087561 | 0.00087648 | 0.00087648 | 0.99246 | -0.054765 | 0.9923 | -0.055918 | 0.32462
52 | -0.00082602 | -0.00020456 | 0.00082603 | 0.00020449 | 5.5383e-09 | -7.2751e-08 | 0.0012376 | 0.0012376 | 0.0012376 | 0.99246 | -0.054765 | 0.99247 | -0.054716 | 0.45837
53 | -0.00082603 | -0.00020449 | 0.00082615 | 0.00020289 | 1.2129e-07 | -1.5943e-06 | 0.0012376 | 0.001237 | 0.0012376 | 0.99247 | -0.054716 | 0.99262 | -0.053621 | 0.45836
54 | -0.0021809 | -0.00053785 | 0.0021812 | 0.0005374 | 2.8996e-07 | -4.5157e-07 | 0.0032664 | 0.0032662 | 0.0032664 | 0.99262 | -0.053621 | 0.99275 | -0.052629 | 1.2098
55 | 0.0013548 | 0.00033496 | -0.0013546 | -0.00033588 | 1.9734e-07 | -9.1641e-07 | 0.0020293 | 0.0020297 | 0.0020297 | 0.99262 | -0.053621 | 0.99247 | -0.054699 | 0.75174
56 | 0.0011381 | 0.00028163 | -0.001138 | -0.00028232 | 1.028e-07 | -6.9251e-07 | 0.0017051 | 0.0017054 | 0.0017054 | 0.99247 | -0.054699 | 0.99237 | -0.055366 | 0.63163
57 | 0.00089007 | 0.00022018 | -0.00088998 | -0.0002211 | 8.2022e-08 | -9.2303e-07 | 0.0013336 | 0.0013339 | 0.0013339 | 0.99237 | -0.055366 | 0.99228 | -0.056046 | 0.49405
58 | 0.00033492 | 8.3822e-05 | -0.00033492 | -8.3938e-05 | 1.4174e-09 | -1.1579e-07 | 0.0005022 | 0.00050224 | 0.00050224 | 0.99228 | -0.056046 | 0.99228 | -0.056077 | 0.18601
59 | 0.00055507 | 0.00013728 | -0.00055507 | -0.00013733 | 1.7663e-09 | -5.2174e-08 | 0.00083173 | 0.00083175 | 0.00083175 | 0.99228 | -0.056046 | 0.99228 | -0.05607 | 0.30805
60 | 0.0001951 | 4.7114e-05 | -0.0001951 | -4.8397e-05 | 5.3017e-09 | -1.2835e-06 | 0.00029196 | 0.0002924 | 0.0002924 | 0.99228 | -0.05607 | 0.99225 | -0.056275 | 0.1083
61 | 0.0001951 | 4.8397e-05 | -0.0001951 | -4.8896e-05 | 2.0637e-09 | -4.9854e-07 | 0.0002924 | 0.00029258 | 0.00029258 | 0.99225 | -0.056275 | 0.99224 | -0.056352 | 0.10836

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.059325 | 0.01465

## res_load
| p_mw | q_mvar
0 | 0.0047131 | 0.0011812
1 | 0.00026331 | 6.5993e-05
2 | 0.00031949 | 8.0073e-05
3 | 0.00015907 | 3.9867e-05
4 | 0.00043901 | 0.00011003
5 | 0.00018881 | 4.7321e-05
6 | 0.0002202 | 5.5187e-05
7 | 0.00034696 | 8.6956e-05
8 | 0.00020629 | 5.1701e-05
9 | 0.00034514 | 8.6501e-05
10 | 0.00018838 | 4.7212e-05
11 | 0.00042894 | 0.0001075
12 | 0.00027013 | 6.7701e-05
13 | 0.00016647 | 4.1721e-05
14 | 0.00043945 | 0.00011014
15 | 0.00040962 | 0.00010266
16 | 0.00044046 | 0.00011039
17 | 0.00017143 | 4.2964e-05
18 | 0.00026949 | 6.7541e-05
19 | 0.00028742 | 7.2035e-05
20 | 0.0022667 | 0.00056808
21 | 0.00060413 | 0.00015141
22 | 0.0054644 | 0.0013695
23 | 0.0048272 | 0.0012098
24 | 0.0048869 | 0.0012248
25 | 0.00033519 | 8.4007e-05
26 | 0.00022094 | 5.5374e-05
27 | 0.00057508 | 0.00014413
28 | 0.00018433 | 4.6198e-05
29 | 0.0022314 | 0.00055923
30 | 0.0030662 | 0.00076845
31 | 0.0034585 | 0.00086679
32 | 0.0069222 | 0.0017349
33 | 0.0029306 | 0.00073448
34 | 0.0024213 | 0.00060684
35 | 0.0042956 | 0.0010766
36 | 0.00019648 | 4.9243e-05
37 | 0.00018007 | 4.5129e-05
38 | 0.00052835 | 0.00013242
39 | 0.00024144 | 6.0511e-05
40 | 0.00058449 | 0.00014649
41 | 0.00021923 | 5.4944e-05
42 | 0.00021647 | 5.4253e-05
43 | 0.00024796 | 6.2144e-05
44 | 0.00033492 | 8.3938e-05
45 | 0.00035996 | 9.0215e-05
46 | 0.0001951 | 4.8896e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1