## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-91_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-91_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-91_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-91_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-91_0_6_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_1631-91_0_6_node_36 | 0.4 | n |  | TRUE
6 | bus_LV_1631-91_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1631-91_0_6_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1631-91_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1631-91_0_6_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1631-91_0_6_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1631-91_0_6_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1631-91_0_6_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_1631-91_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1631-91_0_6_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_1631-91_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1631-91_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1631-91_0_6_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_1631-91_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1631-91_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1631-91_0_6_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1631-91_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1631-91_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1631-91_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1631-91_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1631-91_0_6_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1631-91_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1631-91_0_6_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_1631-91_0_6_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_1631-91_0_6_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_1631-91_0_6_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1631-91_0_6_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1631-91_0_6_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1631-91_0_6_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1631-91_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1631-91_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1631-91_0_6_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1631-91_0_6_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_1631-91_0_6_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1631-91_0_6_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1631-91_0_6_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1631-91_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1631-91_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_1631-91_0_6_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_1631-91_0_6_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_1631-91_0_6_node_41 | 0.4 | n |  | TRUE
46 | bus_LV_1631-91_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_MV_145_1_node_204 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-91_0_6_load_0 | 0 | 0.0022328 | 0.00055959 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-91_0_6_load_1 | 1 | 0.0023083 | 0.00057851 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-91_0_6_load_2 | 2 | 0.0036394 | 0.00091211 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-91_0_6_load_3 | 3 | 0.00399 | 0.001 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-91_0_6_load_37 | 4 | 0.0018566 | 0.00046532 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-91_0_6_load_36 | 5 | 0.0023872 | 0.00059829 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-91_0_6_load_4 | 6 | 0.0046941 | 0.0011764 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-91_0_6_load_5 | 7 | 0.0013096 | 0.00032822 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-91_0_6_load_6 | 8 | 0.0039382 | 0.00098701 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-91_0_6_load_47 | 12 | 0.0028425 | 0.0007124 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-91_0_6_load_39 | 14 | 0.0090506 | 0.0022683 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-91_0_6_load_8 | 15 | 0.0010116 | 0.00025354 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-91_0_6_load_10 | 16 | 0.002164 | 0.00054235 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-91_0_6_load_13 | 18 | 0.005761 | 0.0014438 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-91_0_6_load_14 | 19 | 0.0031509 | 0.00078969 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-91_0_6_load_17 | 22 | 0.010444 | 0.0026176 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-91_0_6_load_22 | 25 | 0.0035982 | 0.00090179 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-91_0_6_load_20 | 26 | 0.0036203 | 0.00090734 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-91_0_6_load_29 | 28 | 0.0018239 | 0.00045711 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-91_0_6_load_46 | 30 | 0.0023458 | 0.00058791 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-91_0_6_load_23 | 31 | 0.0066134 | 0.0016575 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-91_0_6_load_24 | 32 | 0.0045123 | 0.0011309 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-91_0_6_load_25 | 33 | 0.0027555 | 0.0006906 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-91_0_6_load_27 | 34 | 0.0047544 | 0.0011916 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-91_0_6_load_26 | 35 | 0.0061189 | 0.0015335 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-91_0_6_load_28 | 37 | 0.0018293 | 0.00045846 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-91_0_6_load_30 | 38 | 0.0021852 | 0.00054766 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-91_0_6_load_31 | 39 | 0.0027929 | 0.00069996 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-91_0_6_load_34 | 41 | 0.0020506 | 0.00051393 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-91_0_6_load_32 | 42 | 0.0026408 | 0.00066186 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-91_0_6_load_33 | 43 | 0.0022352 | 0.00056018 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-91_0_6_load_44 | 44 | 0.0019919 | 0.00049922 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-91_0_6_load_41 | 45 | 0.0032822 | 0.00082261 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-91_0_6_load_43 | 46 | 0.075216 | 0.018851 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-91_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0021287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-91_0_6_line_1 | NAYY 4x150 SE | 1 | 2 | 0.034681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-91_0_6_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0083403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-91_0_6_line_3 | NAYY 4x150 SE | 3 | 4 | 0.034215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-91_0_6_line_4 | NAYY 4x150 SE | 4 | 5 | 0.008352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-91_0_6_line_5 | NAYY 4x150 SE | 5 | 40 | 0.016239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-91_0_6_line_6 | NAYY 4x150 SE | 6 | 7 | 0.068352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-91_0_6_line_7 | NAYY 4x150 SE | 6 | 8 | 0.010604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-91_0_6_line_8 | NAYY 4x150 SE | 7 | 9 | 0.013017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-91_0_6_line_9 | NAYY 4x150 SE | 9 | 10 | 0.1123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-91_0_6_line_10 | NAYY 4x150 SE | 9 | 11 | 0.013388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-91_0_6_line_11 | NAYY 4x150 SE | 10 | 12 | 0.034193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-91_0_6_line_12 | NAYY 4x150 SE | 10 | 13 | 0.012238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-91_0_6_line_13 | NAYY 4x150 SE | 11 | 14 | 0.024598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-91_0_6_line_14 | NAYY 4x150 SE | 13 | 16 | 0.029494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-91_0_6_line_15 | NAYY 4x150 SE | 13 | 15 | 0.051687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-91_0_6_line_16 | NAYY 4x150 SE | 14 | 17 | 0.014184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-91_0_6_line_17 | NAYY 4x150 SE | 17 | 36 | 0.071825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-91_0_6_line_18 | NAYY 4x150 SE | 17 | 32 | 0.036579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-91_0_6_line_19 | NAYY 4x150 SE | 18 | 19 | 0.012408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_1631-91_0_6_line_20 | NAYY 4x150 SE | 18 | 20 | 0.022271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1631-91_0_6_line_21 | NAYY 4x150 SE | 19 | 21 | 0.071573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_1631-91_0_6_line_22 | NAYY 4x150 SE | 20 | 22 | 0.052959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-91_0_6_line_23 | NAYY 4x150 SE | 20 | 23 | 0.037819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-91_0_6_line_24 | NAYY 4x150 SE | 21 | 24 | 0.11693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1631-91_0_6_line_25 | NAYY 4x150 SE | 23 | 25 | 0.012433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-91_0_6_line_26 | NAYY 4x150 SE | 23 | 26 | 0.016114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-91_0_6_line_27 | NAYY 4x150 SE | 24 | 27 | 0.17777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1631-91_0_6_line_28 | NAYY 4x150 SE | 25 | 28 | 0.013232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-91_0_6_line_29 | NAYY 4x150 SE | 26 | 29 | 0.019187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-91_0_6_line_30 | NAYY 4x150 SE | 27 | 30 | 0.050398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_1631-91_0_6_line_31 | NAYY 4x150 SE | 28 | 34 | 0.042063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-91_0_6_line_32 | NAYY 4x150 SE | 29 | 31 | 0.024065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-91_0_6_line_33 | NAYY 4x150 SE | 29 | 32 | 0.027291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-91_0_6_line_34 | NAYY 4x150 SE | 30 | 46 | 0.17528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1631-91_0_6_line_35 | NAYY 4x150 SE | 31 | 33 | 0.017952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-91_0_6_line_36 | NAYY 4x150 SE | 33 | 35 | 0.0094061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-91_0_6_line_37 | NAYY 4x150 SE | 34 | 37 | 0.0095081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-91_0_6_line_38 | NAYY 4x150 SE | 36 | 44 | 0.009939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-91_0_6_line_39 | NAYY 4x150 SE | 37 | 38 | 0.015523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-91_0_6_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0038029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-91_0_6_line_41 | NAYY 4x150 SE | 39 | 40 | 0.0039948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-91_0_6_line_42 | NAYY 4x150 SE | 40 | 41 | 0.015126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-91_0_6_line_43 | NAYY 4x150 SE | 41 | 43 | 0.018167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-91_0_6_line_44 | NAYY 4x150 SE | 42 | 43 | 0.016114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-91_0_6_line_45 | NAYY 4x150 SE | 44 | 45 | 0.42008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-91_0_6_trafo_14 | 0.25 MVA 20/0.4 kV | 47 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2731120.8713 | 1204075.2338 | 2731122.2839 | 1204073.6413
1 | 2731122.2839 | 1204073.6413 | 2731123.0617 | 1204070.8006 | 2731119.8006 | 1204061.266 | 2731118.6297 | 1204054.2793 | 2731118.2914 | 1204044.0417 | 2731119.8642 | 1204040.0064 | 2731119.8642 | 1204040.0064
2 | 2731119.8642 | 1204040.0064 | 2731123.0204 | 1204038.0408 | 2731127.4959 | 1204036.8855
3 | 2731127.4959 | 1204036.8855 | 2731132.8258 | 1204035.5096 | 2731136.542 | 1204033.3451 | 2731141.5782 | 1204029.6416 | 2731145.6147 | 1204023.9814 | 2731150.296 | 1204013.7993
4 | 2731153.7849 | 1204006.211 | 2731150.296 | 1204013.7993
5 | 2731158.5599 | 1203990.7953 | 2731157.7363 | 1203995.7144 | 2731156.4055 | 1204000.5111 | 2731153.7849 | 1204006.211
6 | 2731266.6582 | 1203866.745 | 2731263.7635 | 1203864.7411 | 2731220.1172 | 1203816.8031
7 | 2731275.3767 | 1203872.7804 | 2731266.6582 | 1203866.745
8 | 2731211.3538 | 1203807.1779 | 2731220.1172 | 1203816.8031
9 | 2731211.3538 | 1203807.1779 | 2731255.0939 | 1203769.9209 | 2731297.1068 | 1203734.3943
10 | 2731201.1461 | 1203815.8716 | 2731211.3538 | 1203807.1779
11 | 2731297.1068 | 1203734.3943 | 2731323.3074 | 1203756.4542
12 | 2731306.4679 | 1203726.4828 | 2731297.1068 | 1203734.3943
13 | 2731201.1461 | 1203815.8716 | 2731182.4215 | 1203831.8227
14 | 2731306.4679 | 1203726.4828 | 2731330.5311 | 1203743.6363
15 | 2731306.4679 | 1203726.4828 | 2731345.9407 | 1203693.1147
16 | 2731171.6243 | 1203841.0207 | 2731182.4215 | 1203831.8227
17 | 2731171.6243 | 1203841.0207 | 2731168.3224 | 1203836.8004 | 2731166.2655 | 1203832.7298 | 2731160.7089 | 1203814.0376 | 2731165.5895 | 1203805.6494 | 2731176.7233 | 1203774.9032
18 | 2731171.6243 | 1203841.0207 | 2731165.0196 | 1203847.514 | 2731154.4486 | 1203857.1561 | 2731145.0666 | 1203866.1677
19 | 2731056.9785 | 1203951.6264 | 2731048.1106 | 1203960.3045
20 | 2731072.8958 | 1203936.0498 | 2731056.9785 | 1203951.6264
21 | 2730996.9561 | 1204010.3641 | 2731048.1106 | 1203960.3045
22 | 2731072.8958 | 1203936.0498 | 2731103.0307 | 1203967.4913 | 2731109.8131 | 1203960.8683
23 | 2731099.9646 | 1203909.5676 | 2731072.8958 | 1203936.0498
24 | 2730915.7753 | 1204055.8308 | 2730934.9621 | 1204029.1528 | 2730938.9648 | 1204023.6362 | 2730949.3934 | 1204007.619 | 2730951.47 | 1204006.2857 | 2730955.2191 | 1204005.0447 | 2730957.9762 | 1204004.9606 | 2730960.671 | 1204005.6314 | 2730985.2738 | 1204022.1171 | 2730994.7612 | 1204012.5732 | 2730996.9561 | 1204010.3641
25 | 2731099.9646 | 1203909.5676 | 2731107.6516 | 1203919.3389
26 | 2731099.9646 | 1203909.5676 | 2731111.5681 | 1203898.3863
27 | 2730915.7753 | 1204055.8308 | 2730758.1601 | 1204138.0423
28 | 2731115.8331 | 1203929.7387 | 2731107.6516 | 1203919.3389
29 | 2731125.384 | 1203885.0731 | 2731111.5681 | 1203898.3863
30 | 2730758.1601 | 1204138.0423 | 2730724.8009 | 1204100.1826
31 | 2731141.0423 | 1203963.4087 | 2731118.5869 | 1203933.2393 | 2731115.8331 | 1203929.7387
32 | 2731125.384 | 1203885.0731 | 2731141.9665 | 1203902.5123
33 | 2731125.384 | 1203885.0731 | 2731145.0666 | 1203866.1677
34 | 2730840.2142 | 1203968.2623 | 2730724.8009 | 1204100.1826
35 | 2731141.9665 | 1203902.5123 | 2731146.8095 | 1203907.6056 | 2731152.5578 | 1203916.8941
36 | 2731155.191 | 1203925.5481 | 2731155.4123 | 1203922.7507 | 2731155.0418 | 1203920.9078 | 2731152.5578 | 1203916.8941
37 | 2731141.0423 | 1203963.4087 | 2731146.7194 | 1203971.036
38 | 2731166.7653 | 1203775.3515 | 2731176.7233 | 1203774.9032
39 | 2731146.7194 | 1203971.036 | 2731155.988 | 1203983.4886 | 2731155.988 | 1203983.4886
40 | 2731157.6471 | 1203986.9105 | 2731155.988 | 1203983.4886
41 | 2731158.5599 | 1203990.7953 | 2731157.7209 | 1203987.0628 | 2731157.6471 | 1203986.9105
42 | 2731158.5599 | 1203990.7953 | 2731166.044 | 1203993.8064 | 2731169.3042 | 1203994.0337 | 2731173.0853 | 1203993.761
43 | 2731183.6091 | 1203979.1804 | 2731176.0515 | 1203991.4354 | 2731173.0853 | 1203993.761 | 2731173.0853 | 1203993.761
44 | 2731192.0671 | 1203965.4652 | 2731183.6091 | 1203979.1804
45 | 2731166.7653 | 1203775.3515 | 2730835.4077 | 1203517.1475

## bus_geodata
| x | y | coords
0 | 2731120.8713 | 1204075.2338
1 | 2731122.2839 | 1204073.6413
2 | 2731119.8642 | 1204040.0064
3 | 2731127.4959 | 1204036.8855
4 | 2731150.296 | 1204013.7993
5 | 2731153.7849 | 1204006.211
6 | 2731266.6582 | 1203866.745
7 | 2731220.1172 | 1203816.8031
8 | 2731275.3767 | 1203872.7804
9 | 2731211.3538 | 1203807.1779
10 | 2731297.1068 | 1203734.3943
11 | 2731201.1461 | 1203815.8716
12 | 2731323.3074 | 1203756.4542
13 | 2731306.4679 | 1203726.4828
14 | 2731182.4215 | 1203831.8227
15 | 2731345.9407 | 1203693.1147
16 | 2731330.5311 | 1203743.6363
17 | 2731171.6243 | 1203841.0207
18 | 2731056.9785 | 1203951.6264
19 | 2731048.1106 | 1203960.3045
20 | 2731072.8958 | 1203936.0498
21 | 2730996.9561 | 1204010.3641
22 | 2731109.8131 | 1203960.8683
23 | 2731099.9646 | 1203909.5676
24 | 2730915.7753 | 1204055.8308
25 | 2731107.6516 | 1203919.3389
26 | 2731111.5681 | 1203898.3863
27 | 2730758.1601 | 1204138.0423
28 | 2731115.8331 | 1203929.7387
29 | 2731125.3841 | 1203885.0731
30 | 2730724.8009 | 1204100.1826
31 | 2731141.9665 | 1203902.5123
32 | 2731145.0666 | 1203866.1677
33 | 2731152.5578 | 1203916.8941
34 | 2731141.0423 | 1203963.4087
35 | 2731155.191 | 1203925.5481
36 | 2731176.7233 | 1203774.9032
37 | 2731146.7194 | 1203971.036
38 | 2731155.988 | 1203983.4886
39 | 2731157.6471 | 1203986.9105
40 | 2731158.5599 | 1203990.7953
41 | 2731173.0853 | 1203993.761
42 | 2731192.0671 | 1203965.4652
43 | 2731183.6091 | 1203979.1804
44 | 2731166.7653 | 1203775.3515
45 | 2730835.4077 | 1203517.1475
46 | 2730840.2142 | 1203968.2623
47 | 2731048.1106 | 1203960.3045

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98616 | -0.097157 | 0.0022328 | 0.00055959
1 | 0.98616 | -0.097108 | 0.0023083 | 0.00057851
2 | 0.98639 | -0.095492 | 0.0036394 | 0.00091211
3 | 0.98649 | -0.094792 | 0.00399 | 0.001
4 | 0.98709 | -0.090522 | 0.0018566 | 0.00046532
5 | 0.98726 | -0.089321 | 0.0023872 | 0.00059829
6 | 0.98446 | -0.10924 | 0.0046941 | 0.0011764
7 | 0.98531 | -0.10316 | 0.0013096 | 0.00032822
8 | 0.9844 | -0.10967 | 0.0039382 | 0.00098701
9 | 0.9855 | -0.10183 | 0 | 0
10 | 0.98452 | -0.1088 | 0 | 0
11 | 0.98581 | -0.099633 | 0 | 0
12 | 0.98438 | -0.10981 | 0.0028425 | 0.0007124
13 | 0.98447 | -0.10921 | 0 | 0
14 | 0.98638 | -0.095595 | 0.0090506 | 0.0022683
15 | 0.98439 | -0.10975 | 0.0010116 | 0.00025354
16 | 0.98437 | -0.10986 | 0.002164 | 0.00054235
17 | 0.98689 | -0.091952 | 0 | 0
18 | 0.99934 | -0.0045672 | 0.005761 | 0.0014438
19 | 1 | 0 | -0.19194 | -0.048284
20 | 0.99766 | -0.01625 | 0 | 0
21 | 0.99729 | -0.018552 | 0 | 0
22 | 0.99687 | -0.021802 | 0.010444 | 0.0026176
23 | 0.99252 | -0.052216 | 0 | 0
24 | 0.99287 | -0.049068 | 0 | 0
25 | 0.99179 | -0.057302 | 0.0035982 | 0.00090179
26 | 0.99126 | -0.061044 | 0.0036203 | 0.00090734
27 | 0.98615 | -0.095959 | 0 | 0
28 | 0.99109 | -0.06224 | 0.0018239 | 0.00045711
29 | 0.98987 | -0.070876 | 0 | 0
30 | 0.98425 | -0.10936 | 0.0023458 | 0.00058791
31 | 0.98933 | -0.074675 | 0.0066134 | 0.0016575
32 | 0.98849 | -0.080587 | 0.0045123 | 0.0011309
33 | 0.9891 | -0.0763 | 0.0027555 | 0.0006906
34 | 0.98897 | -0.077197 | 0.0047544 | 0.0011916
35 | 0.98902 | -0.076888 | 0.0061189 | 0.0015335
36 | 0.98634 | -0.095869 | 0 | 0
37 | 0.98856 | -0.080125 | 0.0018293 | 0.00045846
38 | 0.98792 | -0.08462 | 0.0021852 | 0.00054766
39 | 0.98778 | -0.085637 | 0.0027929 | 0.00069996
40 | 0.98764 | -0.086591 | 0 | 0
41 | 0.98749 | -0.087664 | 0.0020506 | 0.00051393
42 | 0.9873 | -0.089007 | 0.0026408 | 0.00066186
43 | 0.98737 | -0.088571 | 0.0022352 | 0.00056018
44 | 0.98627 | -0.096411 | 0.0019919 | 0.00049922
45 | 0.98427 | -0.11067 | 0.0032822 | 0.00082261
46 | 0.97461 | -0.17796 | 0.075216 | 0.018851
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0022328 | -0.00055959 | 0.0022328 | 0.00055957 | 1.5077e-08 | -2.136e-08 | 0.0033691 | 0.0033691 | 0.0033691 | 0.98616 | -0.097157 | 0.98616 | -0.097108 | 1.2478
1 | -0.0045411 | -0.0011381 | 0.0045421 | 0.001138 | 1.016e-06 | -5.1809e-08 | 0.006852 | 0.0068519 | 0.006852 | 0.98616 | -0.097108 | 0.98639 | -0.095492 | 2.5378
2 | -0.0081815 | -0.0020501 | 0.0081823 | 0.0020503 | 7.9275e-07 | 1.9843e-07 | 0.012342 | 0.012342 | 0.012342 | 0.98639 | -0.095492 | 0.98649 | -0.094792 | 4.5711
3 | -0.012172 | -0.0030503 | 0.012179 | 0.0030527 | 7.1973e-06 | 2.3311e-06 | 0.018361 | 0.01836 | 0.018361 | 0.98649 | -0.094792 | 0.98709 | -0.090522 | 6.8002
4 | -0.014036 | -0.003518 | 0.014038 | 0.0035188 | 2.3333e-06 | 7.9064e-07 | 0.021159 | 0.021159 | 0.021159 | 0.98709 | -0.090522 | 0.98726 | -0.089321 | 7.8367
5 | -0.016426 | -0.0041171 | 0.016432 | 0.0041192 | 6.2107e-06 | 2.181e-06 | 0.024757 | 0.024757 | 0.024757 | 0.98726 | -0.089321 | 0.98764 | -0.086591 | 9.1693
6 | -0.0086325 | -0.0021634 | 0.0086398 | 0.0021653 | 7.2613e-06 | 1.923e-06 | 0.013048 | 0.013048 | 0.013048 | 0.98446 | -0.10924 | 0.98531 | -0.10316 | 4.8326
7 | 0.0039384 | 0.00098696 | -0.0039382 | -0.00098701 | 2.3448e-07 | -4.4629e-08 | 0.0059529 | 0.005953 | 0.005953 | 0.98446 | -0.10924 | 0.9844 | -0.10967 | 2.2048
8 | -0.0099494 | -0.0024936 | 0.0099512 | 0.0024941 | 1.8338e-06 | 5.3948e-07 | 0.015026 | 0.015025 | 0.015026 | 0.98531 | -0.10316 | 0.9855 | -0.10183 | 5.565
9 | 0.0060248 | 0.0015078 | -0.006019 | -0.001507 | 5.7984e-06 | 8.0065e-07 | 0.0090961 | 0.0090966 | 0.0090966 | 0.9855 | -0.10183 | 0.98452 | -0.1088 | 3.3691
10 | -0.015976 | -0.0040019 | 0.015981 | 0.0040036 | 4.8608e-06 | 1.6989e-06 | 0.024122 | 0.024121 | 0.024122 | 0.9855 | -0.10183 | 0.98581 | -0.099633 | 8.9339
11 | 0.0028429 | 0.00071212 | -0.0028425 | -0.0007124 | 3.9391e-07 | -2.8324e-07 | 0.0042967 | 0.0042968 | 0.0042968 | 0.98452 | -0.1088 | 0.98438 | -0.10981 | 1.5914
12 | 0.0031761 | 0.00079487 | -0.0031759 | -0.00079495 | 1.7594e-07 | -8.7944e-08 | 0.0047999 | 0.0048 | 0.0048 | 0.98452 | -0.1088 | 0.98447 | -0.10921 | 1.7778
13 | -0.015981 | -0.0040036 | 0.01599 | 0.0040067 | 8.9307e-06 | 3.1211e-06 | 0.024121 | 0.024121 | 0.024121 | 0.98581 | -0.099633 | 0.98638 | -0.095595 | 8.9339
14 | 0.0021642 | 0.00054205 | -0.002164 | -0.00054235 | 1.9693e-07 | -2.9924e-07 | 0.003271 | 0.0032712 | 0.0032712 | 0.98447 | -0.10921 | 0.98437 | -0.10986 | 1.2115
15 | 0.0010117 | 0.00025291 | -0.0010116 | -0.00025354 | 7.5407e-08 | -6.2814e-07 | 0.0015289 | 0.0015292 | 0.0015292 | 0.98447 | -0.10921 | 0.98439 | -0.10975 | 0.56636
16 | -0.02504 | -0.006275 | 0.025053 | 0.0062797 | 1.2629e-05 | 4.6763e-06 | 0.037775 | 0.037775 | 0.037775 | 0.98638 | -0.095595 | 0.98689 | -0.091952 | 13.9906
17 | 0.0052838 | 0.0013192 | -0.005281 | -0.001319 | 2.8435e-06 | 1.7642e-07 | 0.0079651 | 0.0079654 | 0.0079654 | 0.98689 | -0.091952 | 0.98634 | -0.095869 | 2.9501
18 | -0.030337 | -0.0075988 | 0.030385 | 0.0076167 | 4.7753e-05 | 1.7898e-05 | 0.04574 | 0.04574 | 0.04574 | 0.98689 | -0.091952 | 0.98849 | -0.080587 | 16.9406
19 | -0.11157 | -0.028095 | 0.11164 | 0.028122 | 7.1262e-05 | 2.692e-05 | 0.16617 | 0.16617 | 0.16617 | 0.99934 | -0.0045672 | 1 | 0 | 20.5148
20 | 0.10581 | 0.026651 | -0.10563 | -0.026585 | 0.00017257 | 6.5789e-05 | 0.15759 | 0.15759 | 0.15759 | 0.99934 | -0.0045672 | 0.99766 | -0.01625 | 29.1836
21 | 0.079497 | 0.020163 | -0.079289 | -0.020085 | 0.00020862 | 7.7429e-05 | 0.11838 | 0.11838 | 0.11838 | 1 | 0 | 0.99729 | -0.018552 | 14.6146
22 | 0.010452 | 0.00262 | -0.010444 | -0.0026176 | 8.0316e-06 | 2.3981e-06 | 0.01559 | 0.01559 | 0.01559 | 0.99766 | -0.01625 | 0.99687 | -0.021802 | 5.774
23 | 0.095181 | 0.023965 | -0.094705 | -0.023783 | 0.00047587 | 0.00018253 | 0.142 | 0.142 | 0.142 | 0.99766 | -0.01625 | 0.99252 | -0.052216 | 52.5934
24 | 0.079289 | 0.020085 | -0.078948 | -0.019959 | 0.00034083 | 0.00012653 | 0.11838 | 0.11838 | 0.11838 | 0.99729 | -0.018552 | 0.99287 | -0.049068 | 14.6148
25 | 0.040507 | 0.010173 | -0.040479 | -0.010162 | 2.8619e-05 | 1.0847e-05 | 0.060737 | 0.060738 | 0.060738 | 0.99252 | -0.052216 | 0.99179 | -0.057302 | 22.4954
26 | 0.054198 | 0.013609 | -0.054131 | -0.013584 | 6.6404e-05 | 2.5332e-05 | 0.081265 | 0.081265 | 0.081265 | 0.99252 | -0.052216 | 0.99126 | -0.061044 | 30.098
27 | 0.078948 | 0.019959 | -0.07843 | -0.019766 | 0.00051818 | 0.00019245 | 0.11838 | 0.11838 | 0.11838 | 0.99287 | -0.049068 | 0.98615 | -0.095959 | 14.6151
28 | 0.03688 | 0.0092607 | -0.036855 | -0.0092511 | 2.5286e-05 | 9.5548e-06 | 0.055339 | 0.055339 | 0.055339 | 0.99179 | -0.057302 | 0.99109 | -0.06224 | 20.496
29 | 0.050511 | 0.012677 | -0.050442 | -0.01265 | 6.8844e-05 | 2.6231e-05 | 0.07583 | 0.07583 | 0.07583 | 0.99126 | -0.061044 | 0.98987 | -0.070876 | 28.0853
30 | 0.07843 | 0.019766 | -0.078283 | -0.019712 | 0.00014691 | 5.4579e-05 | 0.11838 | 0.11838 | 0.11838 | 0.98615 | -0.095959 | 0.98425 | -0.10936 | 14.6152
31 | 0.035031 | 0.008794 | -0.034959 | -0.0087666 | 7.2622e-05 | 2.7391e-05 | 0.052601 | 0.052601 | 0.052601 | 0.99109 | -0.06224 | 0.98897 | -0.077197 | 19.4818
32 | 0.015498 | 0.003885 | -0.01549 | -0.0038822 | 8.151e-06 | 2.8258e-06 | 0.023298 | 0.023298 | 0.023298 | 0.98987 | -0.070876 | 0.98933 | -0.074675 | 8.629
33 | 0.034944 | 0.0087653 | -0.034897 | -0.0087476 | 4.6996e-05 | 1.7725e-05 | 0.052532 | 0.052532 | 0.052532 | 0.98987 | -0.070876 | 0.98849 | -0.080587 | 19.4563
34 | 0.075937 | 0.019124 | -0.075216 | -0.018851 | 0.0007212 | 0.00027297 | 0.11484 | 0.11484 | 0.11484 | 0.98425 | -0.10936 | 0.97461 | -0.17796 | 21.2663
35 | 0.0088769 | 0.0022247 | -0.0088749 | -0.0022242 | 1.9969e-06 | 5.3756e-07 | 0.013351 | 0.013352 | 0.013352 | 0.98933 | -0.074675 | 0.9891 | -0.0763 | 4.945
36 | 0.0061194 | 0.0015336 | -0.0061189 | -0.0015335 | 4.9744e-07 | 7.0608e-08 | 0.0092061 | 0.0092061 | 0.0092061 | 0.9891 | -0.0763 | 0.98902 | -0.076888 | 3.4097
37 | 0.030204 | 0.007575 | -0.030192 | -0.0075704 | 1.2255e-05 | 4.5914e-06 | 0.045447 | 0.045448 | 0.045448 | 0.98897 | -0.077197 | 0.98856 | -0.080125 | 16.8324
38 | 0.005281 | 0.001319 | -0.0052806 | -0.001319 | 3.935e-07 | 2.45e-08 | 0.0079654 | 0.0079654 | 0.0079654 | 0.98634 | -0.095869 | 0.98627 | -0.096411 | 2.9502
39 | 0.028363 | 0.007112 | -0.028345 | -0.0071054 | 1.7657e-05 | 6.5921e-06 | 0.042694 | 0.042694 | 0.042694 | 0.98856 | -0.080125 | 0.98792 | -0.08462 | 15.8126
40 | 0.02616 | 0.0065577 | -0.026156 | -0.0065564 | 3.6843e-06 | 1.3683e-06 | 0.039403 | 0.039403 | 0.039403 | 0.98792 | -0.08462 | 0.98778 | -0.085637 | 14.5936
41 | 0.023363 | 0.0058564 | -0.02336 | -0.0058553 | 3.0878e-06 | 1.1365e-06 | 0.035196 | 0.035196 | 0.035196 | 0.98778 | -0.085637 | 0.98764 | -0.086591 | 13.0354
42 | 0.0069284 | 0.001736 | -0.0069274 | -0.0017358 | 1.0285e-06 | 2.0202e-07 | 0.010438 | 0.010439 | 0.010439 | 0.98764 | -0.086591 | 0.98749 | -0.087664 | 3.8661
43 | 0.0048768 | 0.0012219 | -0.0048762 | -0.0012219 | 6.1217e-07 | 3.0656e-09 | 0.0073485 | 0.0073486 | 0.0073486 | 0.98749 | -0.087664 | 0.98737 | -0.088571 | 2.7217
44 | -0.0026408 | -0.00066186 | 0.002641 | 0.00066171 | 1.5928e-07 | -1.4482e-07 | 0.0039802 | 0.0039801 | 0.0039802 | 0.9873 | -0.089007 | 0.98737 | -0.088571 | 1.4741
45 | 0.0032887 | 0.00081974 | -0.0032822 | -0.00082261 | 6.4517e-06 | -2.8686e-06 | 0.0049602 | 0.0049621 | 0.0049621 | 0.98627 | -0.096411 | 0.98427 | -0.11067 | 1.8378

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19509 | 0.049074

## res_load
| p_mw | q_mvar
0 | 0.0022328 | 0.00055959
1 | 0.0023083 | 0.00057851
2 | 0.0036394 | 0.00091211
3 | 0.00399 | 0.001
4 | 0.0018566 | 0.00046532
5 | 0.0023872 | 0.00059829
6 | 0.0046941 | 0.0011764
7 | 0.0013096 | 0.00032822
8 | 0.0039382 | 0.00098701
9 | 0.0028425 | 0.0007124
10 | 0.0090506 | 0.0022683
11 | 0.0010116 | 0.00025354
12 | 0.002164 | 0.00054235
13 | 0.005761 | 0.0014438
14 | 0.0031509 | 0.00078969
15 | 0.010444 | 0.0026176
16 | 0.0035982 | 0.00090179
17 | 0.0036203 | 0.00090734
18 | 0.0018239 | 0.00045711
19 | 0.0023458 | 0.00058791
20 | 0.0066134 | 0.0016575
21 | 0.0045123 | 0.0011309
22 | 0.0027555 | 0.0006906
23 | 0.0047544 | 0.0011916
24 | 0.0061189 | 0.0015335
25 | 0.0018293 | 0.00045846
26 | 0.0021852 | 0.00054766
27 | 0.0027929 | 0.00069996
28 | 0.0020506 | 0.00051393
29 | 0.0026408 | 0.00066186
30 | 0.0022352 | 0.00056018
31 | 0.0019919 | 0.00049922
32 | 0.0032822 | 0.00082261
33 | 0.075216 | 0.018851

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1