## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-93_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-93_0_2_node_11 | 0.4 | n |  | TRUE
2 | bus_LV_1631-93_0_2_node_10 | 0.4 | n |  | TRUE
3 | bus_LV_1631-93_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1631-93_0_2_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1631-93_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1631-93_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1631-93_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1631-93_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1631-93_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1631-93_0_2_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_1631-93_0_2_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1631-93_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1631-93_0_2_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1631-93_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1631-93_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1631-93_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1631-93_0_2_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1631-93_0_2_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1631-93_0_2_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1631-93_0_2_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1631-93_0_2_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1631-93_0_2_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1631-93_0_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1631-93_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1631-93_0_2_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_1631-93_0_2_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1631-93_0_2_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_1631-93_0_2_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1631-93_0_2_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1631-93_0_2_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1631-93_0_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1631-93_0_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1631-93_0_2_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1631-93_0_2_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1631-93_0_2_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1631-93_0_2_node_39 | 0.4 | n |  | TRUE
37 | bus_MV_0_node_15 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-93_0_2_load_0 | 0 | 0.0018533 | 0.00046449 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-93_0_2_load_11 | 1 | 0.0024318 | 0.00060947 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-93_0_2_load_2 | 3 | 0.00078841 | 0.00019759 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-93_0_2_load_3 | 4 | 0.00082872 | 0.0002077 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-93_0_2_load_4 | 5 | 0.0023184 | 0.00058105 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-93_0_2_load_6 | 7 | 0.002192 | 0.00054936 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-93_0_2_load_36 | 10 | 0.00086531 | 0.00021687 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-93_0_2_load_9 | 12 | 0.0021403 | 0.00053641 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-93_0_2_load_16 | 13 | 0.00067331 | 0.00016875 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-93_0_2_load_12 | 15 | 0.001175 | 0.00029449 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-93_0_2_load_15 | 16 | 0.0023471 | 0.00058824 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-93_0_2_load_19 | 18 | 0.00075019 | 0.00018802 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-93_0_2_load_20 | 19 | 0.00046943 | 0.00011765 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-93_0_2_load_21 | 20 | 0.00071132 | 0.00017827 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-93_0_2_load_25 | 21 | 0.00057421 | 0.00014391 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-93_0_2_load_26 | 23 | 0.00055152 | 0.00013822 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-93_0_2_load_23 | 24 | 0.00081356 | 0.0002039 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-93_0_2_load_24 | 25 | 0.001537 | 0.00038521 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-93_0_2_load_30 | 26 | 0.00078465 | 0.00019665 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-93_0_2_load_28 | 27 | 0.00091777 | 0.00023001 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-93_0_2_load_27 | 28 | 0.0007579 | 0.00018995 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-93_0_2_load_32 | 31 | 0.00072677 | 0.00018215 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-93_0_2_load_34 | 32 | 0.00070201 | 0.00017594 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-93_0_2_load_33 | 33 | 0.00099677 | 0.00024981 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-93_0_2_load_39 | 36 | 0.0013086 | 0.00032797 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-93_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.47299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-93_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.099874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-93_0_2_line_2 | NAYY 4x150 SE | 2 | 12 | 0.012069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-93_0_2_line_3 | NAYY 4x150 SE | 2 | 9 | 0.053798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-93_0_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.011204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-93_0_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.060043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-93_0_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.22352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-93_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.0004099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-93_0_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.052364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-93_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.018185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-93_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.23554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-93_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.049411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-93_0_2_line_12 | NAYY 4x150 SE | 11 | 13 | 0.030596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-93_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.057082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-93_0_2_line_14 | NAYY 4x150 SE | 14 | 16 | 0.0029974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-93_0_2_line_15 | NAYY 4x150 SE | 14 | 15 | 0.11623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-93_0_2_line_16 | NAYY 4x150 SE | 16 | 17 | 0.19702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-93_0_2_line_17 | NAYY 4x150 SE | 17 | 18 | 0.020962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-93_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.010852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-93_0_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.0068976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-93_0_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.0058077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-93_0_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.045541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-93_0_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.079456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-93_0_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.14874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-93_0_2_line_24 | NAYY 4x150 SE | 22 | 25 | 0.029787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-93_0_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.013627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-93_0_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.011483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-93_0_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.0071813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-93_0_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.028749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-93_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.11685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-93_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.047387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-93_0_2_line_31 | NAYY 4x150 SE | 30 | 32 | 0.077504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-93_0_2_line_32 | NAYY 4x150 SE | 30 | 33 | 0.061453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-93_0_2_line_33 | NAYY 4x150 SE | 32 | 34 | 0.17222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-93_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.07718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-93_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.072639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-93_0_2_trafo_15 | 0.25 MVA 20/0.4 kV | 37 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2727490.8165 | 1206635.5979 | 2727828.6459 | 1206304.5594
1 | 2727490.8165 | 1206635.5979 | 2727498.1369 | 1206639.0681 | 2727502.644 | 1206645.3136 | 2727509.8147 | 1206648.6693 | 2727517.5938 | 1206649.9031 | 2727518.8527 | 1206650.7974 | 2727518.5616 | 1206652.3145 | 2727506.7656 | 1206657.8558 | 2727492.0721 | 1206662.6346 | 2727471.489 | 1206666.0532 | 2727468.6321 | 1206668.3829 | 2727467.4632 | 1206670.7487 | 2727467.4305 | 1206680.4666
2 | 2727467.4305 | 1206680.4666 | 2727479.4927 | 1206680.8766
3 | 2727467.4305 | 1206680.4666 | 2727465.756 | 1206680.5087 | 2727450.1165 | 1206679.7186 | 2727413.5394 | 1206677.9365
4 | 2727385.7089 | 1206630.9651 | 2727385.7282 | 1206630.8178 | 2727387.2805 | 1206627.237 | 2727388.7894 | 1206625.6902 | 2727392.9383 | 1206622.9138
5 | 2727385.7089 | 1206630.9651 | 2727385.3557 | 1206633.6564 | 2727384.2155 | 1206651.4236 | 2727385.6352 | 1206654.056 | 2727387.7242 | 1206654.2006 | 2727404.5726 | 1206648.9672 | 2727408.5866 | 1206649.4533 | 2727410.3563 | 1206650.3028 | 2727414.0009 | 1206653.8389 | 2727414.922 | 1206656.3049 | 2727414.7255 | 1206659.3796
6 | 2727352.0072 | 1206494.5153 | 2727362.5099 | 1206499.6766 | 2727369.7949 | 1206502.323 | 2727381.5046 | 1206503.685 | 2727388.5983 | 1206505.6712 | 2727394.9218 | 1206508.4527 | 2727399.7463 | 1206511.6025 | 2727404.5022 | 1206515.8295 | 2727406.1937 | 1206517.8449 | 2727406.9606 | 1206520.4077 | 2727406.2991 | 1206522.5286 | 2727403.3891 | 1206526.2694 | 2727397.4795 | 1206536.529 | 2727396.7702 | 1206538.7489 | 2727395.3843 | 1206555.9103 | 2727395.703 | 1206559.153 | 2727397.2791 | 1206562.656 | 2727409.1113 | 1206575.018 | 2727422.8947 | 1206591.1246 | 2727436.8821 | 1206602.6654 | 2727438.5758 | 1206606.7158 | 2727438.2955 | 1206612.7145 | 2727437.2885 | 1206614.6278 | 2727435.6819 | 1206615.7611 | 2727414.2133 | 1206620.0284 | 2727408.3885 | 1206620.6156 | 2727400.8105 | 1206619.5865 | 2727397.1788 | 1206620.076 | 2727392.9383 | 1206622.9138
7 | 2727414.6993 | 1206659.7886 | 2727414.7255 | 1206659.3796
8 | 2727300.3286 | 1206501.5964 | 2727317.9662 | 1206497.5471 | 2727344.8351 | 1206493.7061 | 2727347.9943 | 1206493.6179 | 2727352.0072 | 1206494.5153
9 | 2727413.5394 | 1206677.9365 | 2727414.6993 | 1206659.7886
10 | 2727300.3286 | 1206501.5964 | 2727267.1794 | 1206522.7394 | 2727241.3619 | 1206535.0764 | 2727225.666 | 1206543.693 | 2727214.7454 | 1206548.8531 | 2727197.9056 | 1206553.6759 | 2727167.1642 | 1206554.6884 | 2727124.0228 | 1206562.0976 | 2727095.9107 | 1206564.3231 | 2727078.543 | 1206563.7078
11 | 2727364.043 | 1206675.523 | 2727413.5394 | 1206677.9365
12 | 2727364.043 | 1206675.523 | 2727344.0664 | 1206674.7741 | 2727333.4681 | 1206674.3795
13 | 2727364.043 | 1206675.523 | 2727362.7056 | 1206680.7985 | 2727361.9167 | 1206683.1835 | 2727359.9269 | 1206685.1649 | 2727357.5516 | 1206685.9592 | 2727354.3717 | 1206685.9581 | 2727341.6757 | 1206683.7745 | 2727335.5211 | 1206683.7765 | 2727331.1559 | 1206684.7731 | 2727327.1848 | 1206686.5564 | 2727323.2168 | 1206690.3303 | 2727318.4179 | 1206695.9656
14 | 2727318.4179 | 1206695.9656 | 2727316.4729 | 1206698.2464
15 | 2727318.4179 | 1206695.9656 | 2727325.6987 | 1206694.5198 | 2727331.833 | 1206694.0391 | 2727364.0885 | 1206702.9674 | 2727375.5761 | 1206704.7361 | 2727393.8812 | 1206702.8919 | 2727422.5951 | 1206695.9771 | 2727428.7218 | 1206695.4964 | 2727432.1809 | 1206695.9206
16 | 2727132.5234 | 1206745.0977 | 2727145.4205 | 1206745.695 | 2727152.5607 | 1206745.4914 | 2727161.6929 | 1206743.9069 | 2727188.8764 | 1206737.7479 | 2727197.2131 | 1206736.3688 | 2727214.4772 | 1206735.1691 | 2727243.6442 | 1206735.1684 | 2727251.386 | 1206734.5774 | 2727273.4074 | 1206728.62 | 2727283.1357 | 1206725.8475 | 2727290.2734 | 1206723.2644 | 2727296.23 | 1206719.6997 | 2727302.1888 | 1206715.3234 | 2727307.3434 | 1206709.7735 | 2727314.0873 | 1206701.0439 | 2727316.4729 | 1206698.2464
17 | 2727132.5234 | 1206745.0977 | 2727126.1721 | 1206746.4857 | 2727112.2444 | 1206750.3752
18 | 2727132.5234 | 1206745.0977 | 2727136.336 | 1206747.5363 | 2727142.385 | 1206749.3881
19 | 2727105.6009 | 1206752.2304 | 2727112.2444 | 1206750.3752
20 | 2727147.9561 | 1206751.0239 | 2727146.7209 | 1206750.7155 | 2727142.385 | 1206749.3881
21 | 2727060.762 | 1206754.0436 | 2727070.0122 | 1206756.2088 | 2727075.9647 | 1206756.4023 | 2727084.6945 | 1206756.2102 | 2727095.6137 | 1206755.0195 | 2727105.6009 | 1206752.2304
22 | 2727223.1403 | 1206757.7267 | 2727208.8099 | 1206752.9954 | 2727203.2079 | 1206752.4201 | 2727195.1499 | 1206754.639 | 2727184.5512 | 1206758.9943 | 2727177.0635 | 1206760.8696 | 2727171.8636 | 1206760.7032 | 2727166.4528 | 1206758.653 | 2727157.383 | 1206753.378 | 2727147.9561 | 1206751.0239
23 | 2727060.762 | 1206754.0436 | 2727052.1551 | 1206752.0366 | 2727046.0016 | 1206751.6387 | 2727037.7171 | 1206752.7077 | 2727033.7011 | 1206753.0336 | 2727027.9432 | 1206752.633 | 2726915.2724 | 1206726.8689
24 | 2727084.4155 | 1206771.0935 | 2727071.5382 | 1206764.9258 | 2727063.5602 | 1206758.7512 | 2727060.762 | 1206754.0436
25 | 2726902.1151 | 1206723.342 | 2726910.3566 | 1206725.7448 | 2726915.2724 | 1206726.8689
26 | 2726891.3925 | 1206719.2661 | 2726899.4543 | 1206722.5662 | 2726902.1151 | 1206723.342
27 | 2726884.7464 | 1206716.5456 | 2726891.3925 | 1206719.2661
28 | 2726863.2566 | 1206697.5887 | 2726879.0193 | 1206712.2572 | 2726883.3223 | 1206715.9626 | 2726884.7464 | 1206716.5456
29 | 2726863.2566 | 1206697.5887 | 2726858.9643 | 1206693.372 | 2726855.1392 | 1206690.7999 | 2726850.8025 | 1206688.3169 | 2726845.3413 | 1206686.1214 | 2726839.9566 | 1206684.9839 | 2726833.7972 | 1206684.4972 | 2726808.9264 | 1206687.0931 | 2726781.6326 | 1206690.5828 | 2726772.6451 | 1206692.8714 | 2726757.514 | 1206700.0223 | 2726752.0957 | 1206700.4632
30 | 2726863.2566 | 1206697.5887 | 2726852.5468 | 1206697.5167 | 2726835.133 | 1206700.7492 | 2726816.4763 | 1206704.8338
31 | 2726752.0957 | 1206700.4632 | 2726738.2695 | 1206698.8351 | 2726734.1681 | 1206699.2372 | 2726731.0076 | 1206700.1153 | 2726725.0636 | 1206703.8142 | 2726721.651 | 1206706.8885 | 2726715.723 | 1206713.7791 | 2726712.5725 | 1206716.6923 | 2726708.417 | 1206718.928 | 2726703.9301 | 1206720.6452 | 2726699.8146 | 1206721.7143 | 2726695.6498 | 1206722.2374 | 2726691.5477 | 1206721.9613 | 2726682.4806 | 1206720.9636
32 | 2726752.0957 | 1206700.4632 | 2726744.9828 | 1206705.1158 | 2726734.8553 | 1206718.4555 | 2726732.7635 | 1206725.6055 | 2726736.7828 | 1206729.7829 | 2726736.3501 | 1206735.467 | 2726731.2664 | 1206744.5105 | 2726725.1206 | 1206747.6101
33 | 2726512.7937 | 1206717.0224 | 2726519.4359 | 1206717.697 | 2726526.6882 | 1206717.5839 | 2726534.0459 | 1206716.806 | 2726539.4477 | 1206714.6299 | 2726546.1498 | 1206711.4028 | 2726553.1167 | 1206709.6825 | 2726558.1821 | 1206709.3785 | 2726564.9332 | 1206710.3001 | 2726580.417 | 1206713.7644 | 2726589.3364 | 1206714.6764 | 2726601.399 | 1206714.8101 | 2726621.7407 | 1206713.4071 | 2726653.5149 | 1206716.0164 | 2726676.0191 | 1206720.2527 | 2726682.4806 | 1206720.9636
34 | 2726512.7937 | 1206717.0224 | 2726519.7339 | 1206640.1547
35 | 2726586.6258 | 1206615.4759 | 2726578.4398 | 1206619.0718 | 2726565.5444 | 1206625.9147 | 2726555.5395 | 1206633.4863 | 2726548.9385 | 1206636.6043 | 2726538.3985 | 1206638.2044 | 2726519.7339 | 1206640.1547

## bus_geodata
| x | y | coords
0 | 2727828.6459 | 1206304.5594
1 | 2727490.8165 | 1206635.5979
2 | 2727467.4305 | 1206680.4666
3 | 2727385.7089 | 1206630.9651
4 | 2727392.9383 | 1206622.9138
5 | 2727414.7255 | 1206659.3796
6 | 2727352.0072 | 1206494.5153
7 | 2727414.6993 | 1206659.7886
8 | 2727300.3286 | 1206501.5964
9 | 2727413.5394 | 1206677.9365
10 | 2727078.543 | 1206563.7078
11 | 2727364.043 | 1206675.523
12 | 2727479.4927 | 1206680.8766
13 | 2727333.4681 | 1206674.3795
14 | 2727318.4179 | 1206695.9656
15 | 2727432.1809 | 1206695.9206
16 | 2727316.4729 | 1206698.2464
17 | 2727132.5234 | 1206745.0977
18 | 2727112.2444 | 1206750.3752
19 | 2727142.385 | 1206749.3881
20 | 2727105.6009 | 1206752.2304
21 | 2727147.9561 | 1206751.0239
22 | 2727060.762 | 1206754.0436
23 | 2727223.1403 | 1206757.7267
24 | 2726915.2724 | 1206726.8689
25 | 2727084.4155 | 1206771.0935
26 | 2726902.1151 | 1206723.342
27 | 2726891.3925 | 1206719.2661
28 | 2726884.7464 | 1206716.5456
29 | 2726863.2566 | 1206697.5887
30 | 2726752.0957 | 1206700.4632
31 | 2726816.4763 | 1206704.8338
32 | 2726682.4806 | 1206720.9636
33 | 2726725.1206 | 1206747.6101
34 | 2726512.7937 | 1206717.0224
35 | 2726519.7339 | 1206640.1547
36 | 2726586.6258 | 1206615.4759
37 | 2727316.4729 | 1206698.2464

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99548 | -0.032047 | 0.0018533 | 0.00046449
1 | 0.99673 | -0.023121 | 0.0024318 | 0.00060947
2 | 0.99734 | -0.018773 | 0 | 0
3 | 0.99744 | -0.018107 | 0.00078841 | 0.00019759
4 | 0.99741 | -0.018303 | 0.00082872 | 0.0002077
5 | 0.99765 | -0.01658 | 0.0023184 | 0.00058105
6 | 0.99714 | -0.020331 | 0 | 0
7 | 0.99766 | -0.01656 | 0.002192 | 0.00054936
8 | 0.99707 | -0.0208 | 0 | 0
9 | 0.99784 | -0.015275 | 0 | 0
10 | 0.99678 | -0.022873 | 0.00086531 | 0.00021687
11 | 0.99879 | -0.0085742 | 0 | 0
12 | 0.99731 | -0.019033 | 0.0021403 | 0.00053641
13 | 0.99876 | -0.0087807 | 0.00067331 | 0.00016875
14 | 0.99993 | -0.00046109 | 0 | 0
15 | 0.99974 | -0.0018312 | 0.001175 | 0.00029449
16 | 1 | 0 | -0.027769 | -0.006737
17 | 0.99673 | -0.023104 | 0 | 0
18 | 0.99643 | -0.025231 | 0.00075019 | 0.00018802
19 | 0.9967 | -0.023279 | 0.00046943 | 0.00011765
20 | 0.99633 | -0.025879 | 0.00071132 | 0.00017827
21 | 0.99669 | -0.023345 | 0.00057421 | 0.00014391
22 | 0.99578 | -0.029833 | 0 | 0
23 | 0.99663 | -0.023788 | 0.00055152 | 0.00013822
24 | 0.99428 | -0.04045 | 0.00081356 | 0.0002039
25 | 0.99571 | -0.030294 | 0.001537 | 0.00038521
26 | 0.99416 | -0.041311 | 0.00078465 | 0.00019665
27 | 0.99407 | -0.041946 | 0.00091777 | 0.00023001
28 | 0.99402 | -0.042277 | 0.0007579 | 0.00018995
29 | 0.99387 | -0.043379 | 0 | 0
30 | 0.99337 | -0.046991 | 0 | 0
31 | 0.99382 | -0.043728 | 0.00072677 | 0.00018215
32 | 0.99314 | -0.048595 | 0.00070201 | 0.00017594
33 | 0.99328 | -0.047612 | 0.00099677 | 0.00024981
34 | 0.99282 | -0.050915 | 0 | 0
35 | 0.99268 | -0.051947 | 0 | 0
36 | 0.99254 | -0.052912 | 0.0013086 | 0.00032797
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0018533 | -0.00046449 | 0.0018556 | 0.0004592 | 2.2634e-06 | -5.2865e-06 | 0.0027703 | 0.0027682 | 0.0027703 | 0.99548 | -0.032047 | 0.99673 | -0.023121 | 1.026
1 | -0.0042874 | -0.0010687 | 0.00429 | 0.0010683 | 2.5514e-06 | -3.2123e-07 | 0.0063986 | 0.0063981 | 0.0063986 | 0.99673 | -0.023121 | 0.99734 | -0.018773 | 2.3698
2 | 0.0021404 | 0.00053629 | -0.0021403 | -0.00053641 | 7.6801e-08 | -1.2795e-07 | 0.0031934 | 0.0031934 | 0.0031934 | 0.99734 | -0.018773 | 0.99731 | -0.019033 | 1.1828
3 | -0.0064303 | -0.0016046 | 0.0064334 | 0.0016051 | 3.0883e-06 | 4.8539e-07 | 0.0095915 | 0.0095913 | 0.0095915 | 0.99734 | -0.018773 | 0.99784 | -0.015275 | 3.5524
4 | 0.0016946 | 0.00041797 | -0.0016946 | -0.0004181 | 4.4602e-08 | -1.2908e-07 | 0.0025257 | 0.0025258 | 0.0025258 | 0.99744 | -0.018107 | 0.99741 | -0.018303 | 0.93547
5 | -0.002483 | -0.00061556 | 0.0024835 | 0.00061498 | 5.1341e-07 | -5.864e-07 | 0.0037019 | 0.0037016 | 0.0037019 | 0.99744 | -0.018107 | 0.99765 | -0.01658 | 1.3711
6 | 0.00086584 | 0.0002104 | -0.00086561 | -0.00021323 | 2.3208e-07 | -2.8272e-06 | 0.0012894 | 0.0012904 | 0.0012904 | 0.99741 | -0.018303 | 0.99714 | -0.020331 | 0.47794
7 | -0.004802 | -0.001196 | 0.004802 | 0.001196 | 1.3111e-08 | -3.0973e-10 | 0.0071596 | 0.0071596 | 0.0071596 | 0.99765 | -0.01658 | 0.99766 | -0.01656 | 2.6517
8 | 0.00086561 | 0.00021323 | -0.00086556 | -0.00021389 | 5.4422e-08 | -6.6208e-07 | 0.0012904 | 0.0012907 | 0.0012907 | 0.99714 | -0.020331 | 0.99707 | -0.0208 | 0.47803
9 | -0.0069939 | -0.0017454 | 0.0069952 | 0.0017456 | 1.2342e-06 | 2.3718e-07 | 0.010429 | 0.010429 | 0.010429 | 0.99766 | -0.01656 | 0.99784 | -0.015275 | 3.8626
10 | 0.00086556 | 0.00021389 | -0.00086531 | -0.00021687 | 2.4505e-07 | -2.9769e-06 | 0.0012907 | 0.0012918 | 0.0012918 | 0.99707 | -0.0208 | 0.99678 | -0.022873 | 0.47843
11 | -0.013429 | -0.0033507 | 0.013441 | 0.0033549 | 1.2358e-05 | 4.1069e-06 | 0.02002 | 0.02002 | 0.02002 | 0.99784 | -0.015275 | 0.99879 | -0.0085742 | 7.4149
12 | 0.00067333 | 0.00016835 | -0.00067331 | -0.00016875 | 1.921e-08 | -3.9303e-07 | 0.001003 | 0.0010031 | 0.0010031 | 0.99879 | -0.0085742 | 0.99876 | -0.0087807 | 0.37154
13 | -0.014114 | -0.0035232 | 0.01413 | 0.0035285 | 1.5742e-05 | 5.3067e-06 | 0.021023 | 0.021023 | 0.021023 | 0.99879 | -0.0085742 | 0.99993 | -0.00046109 | 7.7863
14 | -0.015305 | -0.0038216 | 0.015306 | 0.0038219 | 9.6983e-07 | 3.3369e-07 | 0.022771 | 0.022771 | 0.022771 | 0.99993 | -0.00046109 | 1 | 0 | 8.4337
15 | 0.0011752 | 0.00029305 | -0.001175 | -0.00029449 | 2.2177e-07 | -1.4391e-06 | 0.0017484 | 0.0017489 | 0.0017489 | 0.99993 | -0.00046109 | 0.99974 | -0.0018312 | 0.64774
16 | 0.011662 | 0.002915 | -0.011625 | -0.0029033 | 3.7014e-05 | 1.166e-05 | 0.017351 | 0.017352 | 0.017352 | 1 | 0 | 0.99673 | -0.023104 | 6.4266
17 | 0.01003 | 0.0025048 | -0.010027 | -0.0025039 | 2.9316e-06 | 8.5441e-07 | 0.014971 | 0.014971 | 0.014971 | 0.99673 | -0.023104 | 0.99643 | -0.025231 | 5.5448
18 | 0.0015952 | 0.00039856 | -0.0015952 | -0.00039869 | 3.8393e-08 | -1.2667e-07 | 0.0023811 | 0.0023812 | 0.0023812 | 0.99673 | -0.023104 | 0.9967 | -0.023279 | 0.88191
19 | 0.0092769 | 0.0023159 | -0.0092761 | -0.0023157 | 8.257e-07 | 2.2774e-07 | 0.013851 | 0.013851 | 0.013851 | 0.99643 | -0.025231 | 0.99633 | -0.025879 | 5.1298
20 | 0.0011258 | 0.00028104 | -0.0011258 | -0.00028111 | 1.0233e-08 | -7.1754e-08 | 0.0016803 | 0.0016804 | 0.0016804 | 0.9967 | -0.023279 | 0.99669 | -0.023345 | 0.62235
21 | 0.0085648 | 0.0021374 | -0.0085601 | -0.0021362 | 4.6475e-06 | 1.1947e-06 | 0.012788 | 0.012788 | 0.012788 | 0.99633 | -0.025879 | 0.99578 | -0.029833 | 4.7365
22 | 0.00055156 | 0.0001372 | -0.00055152 | -0.00013822 | 3.3604e-08 | -1.0225e-06 | 0.00082309 | 0.00082345 | 0.00082345 | 0.99669 | -0.023345 | 0.99663 | -0.023788 | 0.30498
23 | 0.0070231 | 0.0017513 | -0.0070128 | -0.0017493 | 1.0217e-05 | 1.9976e-06 | 0.010492 | 0.010492 | 0.010492 | 0.99578 | -0.029833 | 0.99428 | -0.04045 | 3.886
24 | 0.0015371 | 0.00038486 | -0.001537 | -0.00038521 | 9.8058e-08 | -3.4975e-07 | 0.0022968 | 0.0022969 | 0.0022969 | 0.99578 | -0.029833 | 0.99571 | -0.030294 | 0.85072
25 | 0.0061993 | 0.0015454 | -0.0061985 | -0.0015453 | 7.3149e-07 | 1.0462e-07 | 0.0092748 | 0.0092748 | 0.0092748 | 0.99428 | -0.04045 | 0.99416 | -0.041311 | 3.4351
26 | 0.0054139 | 0.0013487 | -0.0054134 | -0.0013487 | 4.7016e-07 | 3.1953e-08 | 0.0081004 | 0.0081005 | 0.0081005 | 0.99416 | -0.041311 | 0.99407 | -0.041946 | 3.0002
27 | 0.0044957 | 0.0011186 | -0.0044955 | -0.0011187 | 2.0276e-07 | -1.511e-08 | 0.0067267 | 0.0067267 | 0.0067267 | 0.99407 | -0.041946 | 0.99402 | -0.042277 | 2.4914
28 | 0.0037375 | 0.00092871 | -0.003737 | -0.00092886 | 5.6102e-07 | -1.5684e-07 | 0.0055921 | 0.0055923 | 0.0055923 | 0.99402 | -0.042277 | 0.99387 | -0.043379 | 2.0712
29 | 0.0030102 | 0.00074732 | -0.0030087 | -0.00074826 | 1.4796e-06 | -9.4446e-07 | 0.0045043 | 0.0045048 | 0.0045048 | 0.99387 | -0.043379 | 0.99337 | -0.046991 | 1.6685
30 | 0.00072681 | 0.00018155 | -0.00072677 | -0.00018215 | 3.5007e-08 | -6.0059e-07 | 0.001088 | 0.0010882 | 0.0010882 | 0.99387 | -0.043379 | 0.99382 | -0.043728 | 0.40303
31 | 0.0020118 | 0.00049921 | -0.0020114 | -0.00050004 | 4.3877e-07 | -8.3437e-07 | 0.0030119 | 0.0030122 | 0.0030122 | 0.99337 | -0.046991 | 0.99314 | -0.048595 | 1.1156
32 | 0.00099685 | 0.00024905 | -0.00099677 | -0.00024981 | 8.5488e-08 | -7.6261e-07 | 0.001493 | 0.0014932 | 0.0014932 | 0.99337 | -0.046991 | 0.99328 | -0.047612 | 0.55305
33 | 0.0013094 | 0.0003241 | -0.001309 | -0.00032617 | 4.1319e-07 | -2.0689e-06 | 0.0019604 | 0.0019612 | 0.0019612 | 0.99314 | -0.048595 | 0.99282 | -0.050915 | 0.72637
34 | 0.001309 | 0.00032617 | -0.0013088 | -0.0003271 | 1.8528e-07 | -9.2666e-07 | 0.0019612 | 0.0019616 | 0.0019616 | 0.99282 | -0.050915 | 0.99268 | -0.051947 | 0.7265
35 | 0.0013088 | 0.0003271 | -0.0013086 | -0.00032797 | 1.7443e-07 | -8.7184e-07 | 0.0019616 | 0.0019619 | 0.0019619 | 0.99268 | -0.051947 | 0.99254 | -0.052912 | 0.72663

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.030116 | 0.0073252

## res_load
| p_mw | q_mvar
0 | 0.0018533 | 0.00046449
1 | 0.0024318 | 0.00060947
2 | 0.00078841 | 0.00019759
3 | 0.00082872 | 0.0002077
4 | 0.0023184 | 0.00058105
5 | 0.002192 | 0.00054936
6 | 0.00086531 | 0.00021687
7 | 0.0021403 | 0.00053641
8 | 0.00067331 | 0.00016875
9 | 0.001175 | 0.00029449
10 | 0.0023471 | 0.00058824
11 | 0.00075019 | 0.00018802
12 | 0.00046943 | 0.00011765
13 | 0.00071132 | 0.00017827
14 | 0.00057421 | 0.00014391
15 | 0.00055152 | 0.00013822
16 | 0.00081356 | 0.0002039
17 | 0.001537 | 0.00038521
18 | 0.00078465 | 0.00019665
19 | 0.00091777 | 0.00023001
20 | 0.0007579 | 0.00018995
21 | 0.00072677 | 0.00018215
22 | 0.00070201 | 0.00017594
23 | 0.00099677 | 0.00024981
24 | 0.0013086 | 0.00032797

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1