## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-96_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-96_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-96_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1631-96_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1631-96_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1631-96_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1631-96_0_3_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_1631-96_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_1631-96_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1631-96_0_3_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_1631-96_0_3_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_1631-96_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1631-96_0_3_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_1631-96_0_3_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_1631-96_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1631-96_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1631-96_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1631-96_0_3_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_1631-96_0_3_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_1631-96_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_1631-96_0_3_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_1631-96_0_3_node_32 | 0.4 | n |  | TRUE
22 | bus_LV_1631-96_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1631-96_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1631-96_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1631-96_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1631-96_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1631-96_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1631-96_0_3_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1631-96_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1631-96_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1631-96_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1631-96_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1631-96_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1631-96_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1631-96_0_3_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1631-96_0_3_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1631-96_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1631-96_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1631-96_0_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_1631-96_0_3_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_1631-96_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1631-96_0_3_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1631-96_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1631-96_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1631-96_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1631-96_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1631-96_0_3_node_50 | 0.4 | n |  | TRUE
48 | bus_MV_13_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-96_0_3_load_0 | 0 | 0.0044171 | 0.001107 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-96_0_3_load_4 | 3 | 0.015472 | 0.0038777 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-96_0_3_load_5 | 4 | 0.00078896 | 0.00019773 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-96_0_3_load_6 | 5 | 0.0090115 | 0.0022585 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-96_0_3_load_11 | 6 | 0.00053279 | 0.00013353 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-96_0_3_load_10 | 11 | 0.0037432 | 0.00093813 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-96_0_3_load_48 | 12 | 0.0061218 | 0.0015343 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-96_0_3_load_30 | 13 | 0.0047916 | 0.0012009 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-96_0_3_load_13 | 16 | 0.0043504 | 0.0010903 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-96_0_3_load_23 | 17 | 0.0015924 | 0.0003991 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-96_0_3_load_44 | 18 | 0.0022393 | 0.00056123 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-96_0_3_load_21 | 19 | 0.0016838 | 0.00042201 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-96_0_3_load_45 | 20 | 0.00083891 | 0.00021025 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-96_0_3_load_15 | 22 | 0.0046048 | 0.0011541 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-96_0_3_load_16 | 23 | 0.015855 | 0.0039736 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-96_0_3_load_17 | 24 | 0.0049093 | 0.0012304 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-96_0_3_load_19 | 26 | 0.0045125 | 0.0011309 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-96_0_3_load_24 | 29 | 0.016857 | 0.0042248 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-96_0_3_load_28 | 30 | 0.0037623 | 0.00094292 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-96_0_3_load_26 | 33 | 0.0061682 | 0.0015459 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-96_0_3_load_27 | 34 | 0.0008377 | 0.00020995 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-96_0_3_load_37 | 35 | 0.0016301 | 0.00040854 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-96_0_3_load_38 | 36 | 0.0024895 | 0.00062394 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-96_0_3_load_36 | 37 | 0.0081344 | 0.0020387 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-96_0_3_load_46 | 39 | 0.015776 | 0.0039538 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-96_0_3_load_47 | 40 | 0.0044623 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-96_0_3_load_33 | 41 | 0.0047242 | 0.001184 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-96_0_3_load_35 | 42 | 0.0099371 | 0.0024905 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-96_0_3_load_42 | 43 | 0.0018129 | 0.00045435 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-96_0_3_load_39 | 45 | 0.046676 | 0.011698 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-96_0_3_load_43 | 46 | 0.0016608 | 0.00041623 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-96_0_3_load_50 | 47 | 0.0054396 | 0.0013633 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-96_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0014605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-96_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.017749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-96_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.012944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-96_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-96_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.019779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-96_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0011814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-96_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.028754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-96_0_3_line_7 | NAYY 4x150 SE | 7 | 11 | 0.0076877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-96_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.008391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-96_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.014391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-96_0_3_line_10 | NAYY 4x150 SE | 9 | 12 | 0.015677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-96_0_3_line_11 | NAYY 4x150 SE | 10 | 13 | 0.0028713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-96_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.015604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-96_0_3_line_13 | NAYY 4x150 SE | 13 | 21 | 0.018261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-96_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.016929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-96_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.018032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-96_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.023327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-96_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0015489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-96_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.00057196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-96_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.026165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-96_0_3_line_20 | NAYY 4x150 SE | 19 | 25 | 0.029002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-96_0_3_line_21 | NAYY 4x150 SE | 21 | 39 | 0.0068018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-96_0_3_line_22 | NAYY 4x150 SE | 21 | 32 | 0.018563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-96_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.014057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1631-96_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.021901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-96_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.022631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-96_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.013799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-96_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.013903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-96_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.006871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-96_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.029622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-96_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.011666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-96_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.017543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-96_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.011803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-96_0_3_line_33 | NAYY 4x150 SE | 31 | 33 | 0.016034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-96_0_3_line_34 | NAYY 4x150 SE | 32 | 37 | 0.015916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-96_0_3_line_35 | NAYY 4x150 SE | 32 | 38 | 0.023745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-96_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.029405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-96_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.010568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-96_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.021517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-96_0_3_line_39 | NAYY 4x150 SE | 36 | 43 | 0.023432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-96_0_3_line_40 | NAYY 4x150 SE | 37 | 40 | 0.015928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-96_0_3_line_41 | NAYY 4x150 SE | 38 | 41 | 0.012919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-96_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0073483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-96_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.00020115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-96_0_3_line_44 | NAYY 4x150 SE | 44 | 46 | 0.019385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-96_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.054425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-96_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.031201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-96_0_3_trafo_16 | 0.25 MVA 20/0.4 kV | 48 | 23 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2718716.2437 | 1197532.2326 | 2718715.5684 | 1197530.9377
1 | 2718716.2437 | 1197532.2326 | 2718706.8824 | 1197537.495 | 2718701.0739 | 1197541.4826
2 | 2718716.2437 | 1197532.2326 | 2718722.2306 | 1197543.7085
3 | 2718701.0739 | 1197541.4826 | 2718693.8814 | 1197541.1174 | 2718689.7587 | 1197542.4687
4 | 2718701.0739 | 1197541.4826 | 2718708.7823 | 1197552.3102 | 2718710.9235 | 1197558.4344
5 | 2718688.6361 | 1197542.8367 | 2718689.7587 | 1197542.4687
6 | 2718712.3594 | 1197587.0065 | 2718711.4025 | 1197582.2507 | 2718711.3401 | 1197577.7239 | 2718711.8087 | 1197564.4903 | 2718711.1468 | 1197559.0732 | 2718710.9235 | 1197558.4344
7 | 2718712.3594 | 1197587.0065 | 2718714.9794 | 1197586.2802 | 2718719.8794 | 1197585.4557
8 | 2718734.573 | 1197570.6467 | 2718741.004 | 1197565.2372
9 | 2718735.4456 | 1197585.0079 | 2718734.573 | 1197570.6467
10 | 2718741.004 | 1197565.2372 | 2718751.0919 | 1197556.7647 | 2718751.0237 | 1197554.2624
11 | 2718735.4456 | 1197585.0079 | 2718738.2954 | 1197585.3587
12 | 2718735.4456 | 1197585.0079 | 2718728.2658 | 1197584.7762 | 2718721.3623 | 1197585.2061 | 2718719.8794 | 1197585.4557
13 | 2718755.7238 | 1197590.5146 | 2718750.5712 | 1197588.3329 | 2718745.6439 | 1197586.7005 | 2718740.5073 | 1197585.6311 | 2718738.2954 | 1197585.3587
14 | 2718660.7046 | 1197613.1001 | 2718675.0327 | 1197604.0223
15 | 2718675.0327 | 1197604.0223 | 2718666.1086 | 1197588.3539
16 | 2718660.7046 | 1197613.1001 | 2718672.9792 | 1197632.9367
17 | 2718666.1086 | 1197588.3539 | 2718665.342 | 1197587.008
18 | 2718673.2802 | 1197633.4231 | 2718672.9792 | 1197632.9367
19 | 2718665.342 | 1197587.008 | 2718653.683 | 1197566.538 | 2718651.6742 | 1197564.8747
20 | 2718688.5409 | 1197658.0854 | 2718673.2802 | 1197633.4231
21 | 2718755.7238 | 1197590.5146 | 2718758.1131 | 1197584.1463
22 | 2718755.7238 | 1197590.5146 | 2718762.0099 | 1197593.5416 | 2718767.4683 | 1197596.8191 | 2718771.7346 | 1197599.895
23 | 2718719.6959 | 1197638.7865 | 2718714.2341 | 1197642.9622 | 2718708.0446 | 1197646.6054
24 | 2718719.6959 | 1197638.7865 | 2718737.0945 | 1197625.4848
25 | 2718688.5409 | 1197658.0854 | 2718708.0446 | 1197646.6054
26 | 2718748.0566 | 1197617.1039 | 2718737.0945 | 1197625.4848
27 | 2718696.8071 | 1197669.202 | 2718694.1466 | 1197666.6028 | 2718688.5409 | 1197658.0854
28 | 2718754.8701 | 1197616.2163 | 2718748.0566 | 1197617.1039
29 | 2718696.8071 | 1197669.202 | 2718701.8327 | 1197673.1713 | 2718707.9412 | 1197676.7063 | 2718722.0483 | 1197684.5897
30 | 2718754.8701 | 1197616.2163 | 2718763.2528 | 1197608.1036
31 | 2718736.979 | 1197693.7842 | 2718727.3962 | 1197687.5783 | 2718722.0483 | 1197684.5897
32 | 2718771.7346 | 1197599.895 | 2718763.2528 | 1197608.1036
33 | 2718736.979 | 1197693.7842 | 2718724.4429 | 1197703.7808
34 | 2718771.7346 | 1197599.895 | 2718783.1688 | 1197588.824
35 | 2718771.7346 | 1197599.895 | 2718779.6777 | 1197606.5688 | 2718789.78 | 1197615.387
36 | 2718724.4429 | 1197703.7808 | 2718707.756 | 1197717.0876 | 2718701.1754 | 1197721.7459
37 | 2718701.1754 | 1197721.7459 | 2718692.5497 | 1197727.8521
38 | 2718692.5497 | 1197727.8521 | 2718678.2227 | 1197737.9943 | 2718674.7687 | 1197739.9379
39 | 2718658.7986 | 1197735.6585 | 2718664.4238 | 1197745.7594 | 2718674.7687 | 1197739.9379
40 | 2718794.612 | 1197577.7445 | 2718783.1688 | 1197588.824
41 | 2718789.78 | 1197615.387 | 2718780.5479 | 1197624.4247
42 | 2718775.2969 | 1197629.5651 | 2718780.5479 | 1197624.4247
43 | 2718658.7007 | 1197735.4828 | 2718658.7986 | 1197735.6585
44 | 2718658.7007 | 1197735.4828 | 2718650.2781 | 1197752.9428
45 | 2718658.7007 | 1197735.4828 | 2718632.2179 | 1197687.936
46 | 2718650.2781 | 1197752.9428 | 2718663.2528 | 1197781.3176

## bus_geodata
| x | y | coords
0 | 2718715.5684 | 1197530.9377
1 | 2718716.2437 | 1197532.2326
2 | 2718701.0739 | 1197541.4826
3 | 2718722.2306 | 1197543.7085
4 | 2718689.7587 | 1197542.4687
5 | 2718710.9235 | 1197558.4344
6 | 2718688.6361 | 1197542.8367
7 | 2718712.3594 | 1197587.0065
8 | 2718734.573 | 1197570.6467
9 | 2718741.004 | 1197565.2372
10 | 2718735.4456 | 1197585.0079
11 | 2718719.8793 | 1197585.4557
12 | 2718751.0237 | 1197554.2624
13 | 2718738.2954 | 1197585.3587
14 | 2718675.0327 | 1197604.0223
15 | 2718660.7046 | 1197613.1001
16 | 2718666.1086 | 1197588.3539
17 | 2718672.9792 | 1197632.9367
18 | 2718665.342 | 1197587.008
19 | 2718673.2802 | 1197633.4231
20 | 2718651.6742 | 1197564.8747
21 | 2718755.7238 | 1197590.5146
22 | 2718719.6959 | 1197638.7865
23 | 2718708.0446 | 1197646.6054
24 | 2718737.0945 | 1197625.4848
25 | 2718688.5409 | 1197658.0854
26 | 2718748.0566 | 1197617.1039
27 | 2718696.8071 | 1197669.202
28 | 2718754.8701 | 1197616.2163
29 | 2718722.0483 | 1197684.5897
30 | 2718763.2528 | 1197608.1036
31 | 2718736.979 | 1197693.7842
32 | 2718771.7346 | 1197599.895
33 | 2718724.4429 | 1197703.7808
34 | 2718701.1754 | 1197721.7459
35 | 2718692.5497 | 1197727.8521
36 | 2718674.7687 | 1197739.9379
37 | 2718783.1688 | 1197588.824
38 | 2718789.78 | 1197615.387
39 | 2718758.1131 | 1197584.1463
40 | 2718794.612 | 1197577.7445
41 | 2718780.5479 | 1197624.4247
42 | 2718775.2969 | 1197629.5651
43 | 2718658.7986 | 1197735.6585
44 | 2718658.7007 | 1197735.4828
45 | 2718632.2179 | 1197687.936
46 | 2718650.2781 | 1197752.9428
47 | 2718663.2528 | 1197781.3176
48 | 2718688.5409 | 1197658.0854

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98339 | -0.11667 | 0.0044171 | 0.001107
1 | 0.9834 | -0.1166 | 0 | 0
2 | 0.98391 | -0.11296 | 0 | 0
3 | 0.98311 | -0.11867 | 0.015472 | 0.0038777
4 | 0.98389 | -0.11312 | 0.00078896 | 0.00019773
5 | 0.98452 | -0.10864 | 0.0090115 | 0.0022585
6 | 0.98389 | -0.11312 | 0.00053279 | 0.00013353
7 | 0.98578 | -0.099698 | 0 | 0
8 | 0.98675 | -0.092778 | 0 | 0
9 | 0.98668 | -0.093304 | 0 | 0
10 | 0.98688 | -0.091874 | 0 | 0
11 | 0.98611 | -0.097312 | 0.0037432 | 0.00093813
12 | 0.98654 | -0.094289 | 0.0061218 | 0.0015343
13 | 0.98705 | -0.090695 | 0.0047916 | 0.0012009
14 | 0.99603 | -0.027552 | 0 | 0
15 | 0.99621 | -0.026287 | 0 | 0
16 | 0.99584 | -0.028901 | 0.0043504 | 0.0010903
17 | 0.99646 | -0.024543 | 0.0015924 | 0.0003991
18 | 0.99583 | -0.028949 | 0.0022393 | 0.00056123
19 | 0.99646 | -0.024491 | 0.0016838 | 0.00042201
20 | 0.9958 | -0.02917 | 0.00083891 | 0.00021025
21 | 0.98823 | -0.082306 | 0 | 0
22 | 0.99893 | -0.0074252 | 0.0046048 | 0.0011541
23 | 1 | 0 | -0.20356 | -0.051178
24 | 0.99573 | -0.029648 | 0.0049093 | 0.0012304
25 | 0.99691 | -0.021369 | 0 | 0
26 | 0.99382 | -0.043039 | 0.0045125 | 0.0011309
27 | 0.99522 | -0.03306 | 0 | 0
28 | 0.99291 | -0.049412 | 0 | 0
29 | 0.99163 | -0.058102 | 0.016857 | 0.0042248
30 | 0.99136 | -0.060258 | 0.0037623 | 0.00094292
31 | 0.98992 | -0.070005 | 0 | 0
32 | 0.98986 | -0.070815 | 0 | 0
33 | 0.98836 | -0.08092 | 0.0061682 | 0.0015459
34 | 0.98577 | -0.099162 | 0.0008377 | 0.00020995
35 | 0.98485 | -0.10565 | 0.0016301 | 0.00040854
36 | 0.98303 | -0.11854 | 0.0024895 | 0.00062394
37 | 0.98957 | -0.072858 | 0.0081344 | 0.0020387
38 | 0.98936 | -0.074364 | 0 | 0
39 | 0.98808 | -0.083403 | 0.015776 | 0.0039538
40 | 0.98947 | -0.073583 | 0.0044623 | 0.0011184
41 | 0.98909 | -0.076296 | 0.0047242 | 0.001184
42 | 0.98898 | -0.077041 | 0.0099371 | 0.0024905
43 | 0.98113 | -0.13202 | 0.0018129 | 0.00045435
44 | 0.98112 | -0.13213 | 0 | 0
45 | 0.97741 | -0.15857 | 0.046676 | 0.011698
46 | 0.98092 | -0.13356 | 0.0016608 | 0.00041623
47 | 0.98067 | -0.13532 | 0.0054396 | 0.0013633
48 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0044171 | -0.001107 | 0.0044171 | 0.001107 | 4.0711e-08 | -2.871e-09 | 0.0066837 | 0.0066837 | 0.0066837 | 0.98339 | -0.11667 | 0.9834 | -0.1166 | 2.4755
1 | -0.019894 | -0.0049863 | 0.019904 | 0.0049899 | 1.0036e-05 | 3.6346e-06 | 0.030102 | 0.030102 | 0.030102 | 0.9834 | -0.1166 | 0.98391 | -0.11296 | 11.149
2 | 0.015477 | 0.0038792 | -0.015472 | -0.0038777 | 4.4296e-06 | 1.5395e-06 | 0.023419 | 0.023419 | 0.023419 | 0.9834 | -0.1166 | 0.98311 | -0.11867 | 8.6735
3 | 0.0013218 | 0.00033111 | -0.0013218 | -0.00033125 | 2.8775e-08 | -1.355e-07 | 0.0019989 | 0.001999 | 0.001999 | 0.98391 | -0.11296 | 0.98389 | -0.11312 | 0.74037
4 | -0.021226 | -0.005321 | 0.021238 | 0.0053257 | 1.2718e-05 | 4.6402e-06 | 0.032101 | 0.032101 | 0.032101 | 0.98391 | -0.11296 | 0.98452 | -0.10864 | 11.8893
5 | 0.00053279 | 0.00013352 | -0.00053279 | -0.00013353 | 4.7855e-10 | -1.4819e-08 | 0.00080579 | 0.00080579 | 0.00080579 | 0.98389 | -0.11312 | 0.98389 | -0.11312 | 0.29844
6 | -0.03025 | -0.0075842 | 0.030287 | 0.0075982 | 3.7508e-05 | 1.406e-05 | 0.045721 | 0.045721 | 0.045721 | 0.98452 | -0.10864 | 0.98578 | -0.099698 | 16.9338
7 | -0.030287 | -0.0075982 | 0.030297 | 0.007602 | 1.0028e-05 | 3.7589e-06 | 0.045721 | 0.045721 | 0.045721 | 0.98578 | -0.099698 | 0.98611 | -0.097312 | 16.9337
8 | 0.0061231 | 0.0015345 | -0.0061227 | -0.0015344 | 4.4641e-07 | 6.4519e-08 | 0.0092335 | 0.0092336 | 0.0092336 | 0.98675 | -0.092778 | 0.98668 | -0.093304 | 3.4198
9 | -0.0061231 | -0.0015345 | 0.0061239 | 0.0015346 | 7.6561e-07 | 1.1061e-07 | 0.0092335 | 0.0092335 | 0.0092335 | 0.98675 | -0.092778 | 0.98688 | -0.091874 | 3.4198
10 | 0.0061227 | 0.0015344 | -0.0061218 | -0.0015343 | 8.3405e-07 | 1.2059e-07 | 0.0092336 | 0.0092337 | 0.0092337 | 0.98668 | -0.093304 | 0.98654 | -0.094289 | 3.4199
11 | -0.04019 | -0.010084 | 0.040197 | 0.010087 | 6.5803e-06 | 2.4942e-06 | 0.060603 | 0.060603 | 0.060603 | 0.98688 | -0.091874 | 0.98705 | -0.090695 | 22.4455
12 | 0.034066 | 0.0085498 | -0.034041 | -0.0085401 | 2.5694e-05 | 9.6832e-06 | 0.051369 | 0.051369 | 0.051369 | 0.98688 | -0.091874 | 0.98611 | -0.097312 | 19.0257
13 | -0.044988 | -0.011288 | 0.045041 | 0.011308 | 5.2422e-05 | 1.9929e-05 | 0.067826 | 0.067826 | 0.067826 | 0.98705 | -0.090695 | 0.98823 | -0.082306 | 25.1209
14 | -0.0074301 | -0.0018618 | 0.0074314 | 0.001862 | 1.3016e-06 | 2.8023e-07 | 0.0111 | 0.0111 | 0.0111 | 0.99603 | -0.027552 | 0.99621 | -0.026287 | 4.1111
15 | 0.0074301 | 0.0018618 | -0.0074287 | -0.0018615 | 1.3864e-06 | 2.9857e-07 | 0.0111 | 0.0111 | 0.0111 | 0.99603 | -0.027552 | 0.99584 | -0.028901 | 4.1112
16 | -0.0074314 | -0.001862 | 0.0074332 | 0.0018624 | 1.7935e-06 | 3.86e-07 | 0.0111 | 0.0111 | 0.0111 | 0.99621 | -0.026287 | 0.99646 | -0.024543 | 4.1111
17 | 0.0030783 | 0.00077114 | -0.0030783 | -0.00077115 | 2.0448e-08 | -1.2287e-08 | 0.0045996 | 0.0045996 | 0.0045996 | 0.99584 | -0.028901 | 0.99583 | -0.028949 | 1.7036
18 | -0.0090256 | -0.0022615 | 0.0090257 | 0.0022615 | 6.4833e-08 | 1.7485e-08 | 0.013478 | 0.013478 | 0.013478 | 0.99646 | -0.024543 | 0.99646 | -0.024491 | 4.9918
19 | 0.00083894 | 0.00020992 | -0.00083891 | -0.00021025 | 2.5655e-08 | -3.3054e-07 | 0.0012535 | 0.0012536 | 0.0012536 | 0.99583 | -0.028949 | 0.9958 | -0.02917 | 0.46429
20 | -0.01071 | -0.0026835 | 0.010714 | 0.002685 | 4.6284e-06 | 1.4022e-06 | 0.015992 | 0.015992 | 0.015992 | 0.99646 | -0.024491 | 0.99691 | -0.021369 | 5.9231
21 | 0.015778 | 0.0039546 | -0.015776 | -0.0039538 | 2.3957e-06 | 8.3427e-07 | 0.023758 | 0.023758 | 0.023758 | 0.98823 | -0.082306 | 0.98808 | -0.083403 | 8.7993
22 | -0.060819 | -0.015262 | 0.060916 | 0.015299 | 9.7157e-05 | 3.713e-05 | 0.091584 | 0.091584 | 0.091584 | 0.98823 | -0.082306 | 0.98986 | -0.070815 | 33.9201
23 | -0.10683 | -0.02692 | 0.10694 | 0.026962 | 0.00011114 | 4.2376e-05 | 0.15918 | 0.15918 | 0.15918 | 0.99893 | -0.0074252 | 1 | 0 | 29.4785
24 | 0.10222 | 0.025766 | -0.10191 | -0.025644 | 0.00031709 | 0.00012167 | 0.15232 | 0.15232 | 0.15232 | 0.99893 | -0.0074252 | 0.99573 | -0.029648 | 56.4165
25 | 0.095818 | 0.024216 | -0.095531 | -0.024106 | 0.00028737 | 0.00011023 | 0.14265 | 0.14265 | 0.14265 | 1 | 0 | 0.99691 | -0.021369 | 52.8335
26 | 0.096997 | 0.024414 | -0.096816 | -0.024344 | 0.00018101 | 6.9438e-05 | 0.14499 | 0.14499 | 0.14499 | 0.99573 | -0.029648 | 0.99382 | -0.043039 | 53.6993
27 | 0.084817 | 0.021421 | -0.084678 | -0.021367 | 0.00013917 | 5.3348e-05 | 0.12666 | 0.12666 | 0.12666 | 0.99691 | -0.021369 | 0.99522 | -0.03306 | 46.9105
28 | 0.092303 | 0.023214 | -0.092221 | -0.023182 | 8.1926e-05 | 3.1421e-05 | 0.13823 | 0.13823 | 0.13823 | 0.99382 | -0.043039 | 0.99291 | -0.049412 | 51.197
29 | 0.084678 | 0.021367 | -0.084381 | -0.021254 | 0.00029653 | 0.00011367 | 0.12666 | 0.12666 | 0.12666 | 0.99522 | -0.03306 | 0.99163 | -0.058102 | 46.9105
30 | 0.092221 | 0.023182 | -0.092082 | -0.023129 | 0.00013909 | 5.3347e-05 | 0.13823 | 0.13823 | 0.13823 | 0.99291 | -0.049412 | 0.99136 | -0.060258 | 51.197
31 | 0.067524 | 0.017029 | -0.067412 | -0.016986 | 0.00011247 | 4.3033e-05 | 0.10136 | 0.10136 | 0.10136 | 0.99163 | -0.058102 | 0.98992 | -0.070005 | 37.5419
32 | 0.08832 | 0.022186 | -0.08819 | -0.022136 | 0.00012947 | 4.9645e-05 | 0.13258 | 0.13258 | 0.13258 | 0.99136 | -0.060258 | 0.98986 | -0.070815 | 49.1055
33 | 0.067412 | 0.016986 | -0.067309 | -0.016946 | 0.0001028 | 3.9332e-05 | 0.10136 | 0.10136 | 0.10136 | 0.98992 | -0.070005 | 0.98836 | -0.08092 | 37.542
34 | 0.012601 | 0.0031582 | -0.012597 | -0.003157 | 3.5635e-06 | 1.166e-06 | 0.018942 | 0.018942 | 0.018942 | 0.98986 | -0.070815 | 0.98957 | -0.072858 | 7.0157
35 | 0.014673 | 0.0036786 | -0.014666 | -0.0036761 | 7.2095e-06 | 2.4678e-06 | 0.022058 | 0.022058 | 0.022058 | 0.98986 | -0.070815 | 0.98936 | -0.074364 | 8.1698
36 | 0.061141 | 0.015401 | -0.060985 | -0.015341 | 0.00015557 | 5.9457e-05 | 0.092077 | 0.092077 | 0.092077 | 0.98836 | -0.08092 | 0.98577 | -0.099162 | 34.1026
37 | 0.060148 | 0.015131 | -0.060093 | -0.01511 | 5.4385e-05 | 2.0783e-05 | 0.090813 | 0.090813 | 0.090813 | 0.98577 | -0.099162 | 0.98485 | -0.10565 | 33.6343
38 | 0.058463 | 0.014702 | -0.058358 | -0.014662 | 0.0001048 | 4.0035e-05 | 0.08835 | 0.08835 | 0.08835 | 0.98485 | -0.10565 | 0.98303 | -0.11854 | 32.7221
39 | 0.055869 | 0.014038 | -0.055764 | -0.013998 | 0.0001046 | 3.9935e-05 | 0.084581 | 0.084581 | 0.084581 | 0.98303 | -0.11854 | 0.98113 | -0.13202 | 31.3265
40 | 0.0044628 | 0.0011183 | -0.0044623 | -0.0011184 | 4.4758e-07 | -3.2462e-08 | 0.0067106 | 0.0067106 | 0.0067106 | 0.98957 | -0.072858 | 0.98947 | -0.073583 | 2.4854
41 | 0.014666 | 0.0036761 | -0.014662 | -0.0036748 | 3.9226e-06 | 1.3428e-06 | 0.022058 | 0.022059 | 0.022059 | 0.98936 | -0.074364 | 0.98909 | -0.076296 | 8.1698
42 | 0.0099381 | 0.0024908 | -0.0099371 | -0.0024905 | 1.025e-06 | 2.9993e-07 | 0.014951 | 0.014951 | 0.014951 | 0.98909 | -0.076296 | 0.98898 | -0.077041 | 5.5375
43 | 0.053951 | 0.013544 | -0.05395 | -0.013543 | 8.4052e-07 | 3.2074e-07 | 0.081832 | 0.081832 | 0.081832 | 0.98113 | -0.13202 | 0.98112 | -0.13213 | 30.3081
44 | 0.0071031 | 0.0017799 | -0.0071017 | -0.0017796 | 1.4039e-06 | 2.9519e-07 | 0.010773 | 0.010773 | 0.010773 | 0.98112 | -0.13213 | 0.98092 | -0.13356 | 3.99
45 | 0.046847 | 0.011763 | -0.046676 | -0.011698 | 0.00017148 | 6.527e-05 | 0.071059 | 0.071059 | 0.071059 | 0.98112 | -0.13213 | 0.97741 | -0.15857 | 26.3183
46 | 0.0054409 | 0.0013634 | -0.0054396 | -0.0013633 | 1.3263e-06 | 1.1636e-07 | 0.0082536 | 0.0082537 | 0.0082537 | 0.98092 | -0.13356 | 0.98067 | -0.13532 | 3.0569

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21941 | 0.055152

## res_load
| p_mw | q_mvar
0 | 0.0044171 | 0.001107
1 | 0.015472 | 0.0038777
2 | 0.00078896 | 0.00019773
3 | 0.0090115 | 0.0022585
4 | 0.00053279 | 0.00013353
5 | 0.0037432 | 0.00093813
6 | 0.0061218 | 0.0015343
7 | 0.0047916 | 0.0012009
8 | 0.0043504 | 0.0010903
9 | 0.0015924 | 0.0003991
10 | 0.0022393 | 0.00056123
11 | 0.0016838 | 0.00042201
12 | 0.00083891 | 0.00021025
13 | 0.0046048 | 0.0011541
14 | 0.015855 | 0.0039736
15 | 0.0049093 | 0.0012304
16 | 0.0045125 | 0.0011309
17 | 0.016857 | 0.0042248
18 | 0.0037623 | 0.00094292
19 | 0.0061682 | 0.0015459
20 | 0.0008377 | 0.00020995
21 | 0.0016301 | 0.00040854
22 | 0.0024895 | 0.00062394
23 | 0.0081344 | 0.0020387
24 | 0.015776 | 0.0039538
25 | 0.0044623 | 0.0011184
26 | 0.0047242 | 0.001184
27 | 0.0099371 | 0.0024905
28 | 0.0018129 | 0.00045435
29 | 0.046676 | 0.011698
30 | 0.0016608 | 0.00041623
31 | 0.0054396 | 0.0013633

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1