## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2121-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2121-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2121-11_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2121-11_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_2121-11_0_3_node_29 | 0.4 | n |  | TRUE
5 | bus_LV_2121-11_0_3_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_2121-11_0_3_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_2121-11_0_3_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_2121-11_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2121-11_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2121-11_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2121-11_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2121-11_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2121-11_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2121-11_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2121-11_0_3_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_2121-11_0_3_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_2121-11_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_2121-11_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_2121-11_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2121-11_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_2121-11_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_2121-11_0_3_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_2121-11_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2121-11_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_2121-11_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_2121-11_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_2121-11_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_2121-11_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_2121-11_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_2121-11_0_3_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_2121-11_0_3_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_2121-11_0_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_2121-11_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2121-11_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_2121-11_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_2121-11_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_2121-11_0_3_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_2121-11_0_3_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_2121-11_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_2121-11_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_2121-11_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2121-11_0_3_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_2121-11_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_2121-11_0_3_node_47 | 0.4 | n |  | TRUE
45 | bus_LV_2121-11_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_2121-11_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2121-11_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2121-11_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_2121-11_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_MV_30_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2121-11_0_3_load_0 | 0 | 0.0026354 | 0.0006605 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2121-11_0_3_load_1 | 1 | 0.0013302 | 0.00033338 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2121-11_0_3_load_29 | 4 | 0.0030075 | 0.00075376 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2121-11_0_3_load_33 | 5 | 0.00090012 | 0.00022559 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2121-11_0_3_load_27 | 6 | 0.0037363 | 0.00093641 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2121-11_0_3_load_34 | 7 | 0.0064915 | 0.0016269 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2121-11_0_3_load_5 | 8 | 0.0019146 | 0.00047986 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2121-11_0_3_load_6 | 9 | 0.00082041 | 0.00020562 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2121-11_0_3_load_7 | 10 | 0.0069716 | 0.0017472 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2121-11_0_3_load_8 | 11 | 0.00083247 | 0.00020864 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2121-11_0_3_load_10 | 13 | 0.001014 | 0.00025412 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2121-11_0_3_load_11 | 14 | 0.00025414 | 6.3693e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2121-11_0_3_load_20 | 15 | 0.0031166 | 0.00078111 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2121-11_0_3_load_12 | 17 | 0.0027898 | 0.00069918 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2121-11_0_3_load_19 | 18 | 0.0034487 | 0.00086432 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2121-11_0_3_load_17 | 19 | 0.0025078 | 0.00062851 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2121-11_0_3_load_13 | 20 | 0.0034085 | 0.00085425 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2121-11_0_3_load_14 | 21 | 0.00014768 | 3.7012e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2121-11_0_3_load_16 | 22 | 0.0067047 | 0.0016804 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2121-11_0_3_load_18 | 23 | 0.0048006 | 0.0012031 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2121-11_0_3_load_21 | 24 | 0.01416 | 0.0035488 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2121-11_0_3_load_24 | 27 | 0.004219 | 0.0010574 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2121-11_0_3_load_25 | 28 | 0.0013541 | 0.00033936 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2121-11_0_3_load_48 | 31 | 0.0051244 | 0.0012843 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2121-11_0_3_load_37 | 32 | 0.0050595 | 0.001268 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2121-11_0_3_load_26 | 34 | 0.0067543 | 0.0016928 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2121-11_0_3_load_32 | 36 | 0.0036617 | 0.0009177 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2121-11_0_3_load_43 | 37 | 0.0028442 | 0.00071282 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2121-11_0_3_load_40 | 38 | 0.0009784 | 0.00024521 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2121-11_0_3_load_49 | 39 | 0.0019015 | 0.00047657 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2121-11_0_3_load_39 | 40 | 0.0016601 | 0.00041607 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2121-11_0_3_load_35 | 41 | 0.0033273 | 0.0008339 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2121-11_0_3_load_45 | 42 | 0.0070513 | 0.0017672 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2121-11_0_3_load_47 | 44 | 0.028227 | 0.0070743 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2121-11_0_3_load_36 | 45 | 0.0015348 | 0.00038466 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2121-11_0_3_load_41 | 46 | 0.0017733 | 0.00044443 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2121-11_0_3_load_42 | 47 | 0.0021652 | 0.00054264 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2121-11_0_3_load_50 | 49 | 0.0036021 | 0.00090276 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2121-11_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2121-11_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.093106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2121-11_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.015217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2121-11_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.039627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2121-11_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.032333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2121-11_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.016663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2121-11_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.010474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2121-11_0_3_line_7 | NAYY 4x150 SE | 6 | 34 | 0.0041607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2121-11_0_3_line_8 | NAYY 4x150 SE | 7 | 41 | 0.050072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2121-11_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0092641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2121-11_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.068395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2121-11_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.036608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2121-11_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.047528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2121-11_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.037243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2121-11_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.084207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2121-11_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.2604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2121-11_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.018952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2121-11_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.033908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2121-11_0_3_line_18 | NAYY 4x150 SE | 16 | 19 | 0.047977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2121-11_0_3_line_19 | NAYY 4x150 SE | 16 | 20 | 0.033542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2121-11_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.3131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2121-11_0_3_line_21 | NAYY 4x150 SE | 19 | 23 | 0.024537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2121-11_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.034581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2121-11_0_3_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0039954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2121-11_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.013383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2121-11_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.053641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_2121-11_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.006347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_2121-11_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.011802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2121-11_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.027823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_2121-11_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.033742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_2121-11_0_3_line_30 | NAYY 4x150 SE | 29 | 33 | 0.024976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2121-11_0_3_line_31 | NAYY 4x150 SE | 29 | 34 | 0.016507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2121-11_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.038456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2121-11_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.014689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2121-11_0_3_line_34 | NAYY 4x150 SE | 32 | 45 | 0.022786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2121-11_0_3_line_35 | NAYY 4x150 SE | 33 | 35 | 0.019571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2121-11_0_3_line_36 | NAYY 4x150 SE | 33 | 36 | 0.075647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2121-11_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0082853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2121-11_0_3_line_38 | NAYY 4x150 SE | 35 | 38 | 0.0186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2121-11_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.032468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2121-11_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.015869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2121-11_0_3_line_41 | NAYY 4x150 SE | 40 | 46 | 0.022305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2121-11_0_3_line_42 | NAYY 4x150 SE | 41 | 45 | 0.0086788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2121-11_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.05383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2121-11_0_3_line_44 | NAYY 4x150 SE | 43 | 44 | 0.071059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2121-11_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.081177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2121-11_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.017006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2121-11_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.010506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2121-11_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.033404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2121-11_0_3_trafo_21 | 0.25 MVA 20/0.4 kV | 50 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2571105.7587 | 1152914.526 | 2571103.7335 | 1152920.1016 | 2571092.9972 | 1152930.8364 | 2571081.2613 | 1152936.329 | 2571066.8617 | 1152936.8098 | 2571046.6983 | 1152938.5412 | 2571045.167 | 1152938.9406
1 | 2570968.7707 | 1152957.0379 | 2570974.9725 | 1152962.2438 | 2570979.5023 | 1152966.0127 | 2570983.6945 | 1152969.7832 | 2570991.8995 | 1152971.9447 | 2570997.5233 | 1152971.8841 | 2571015.8315 | 1152959.3783 | 2571027.4033 | 1152945.3266 | 2571034.0618 | 1152941.8371 | 2571045.167 | 1152938.9406
2 | 2570953.8943 | 1152960.4338 | 2570968.7707 | 1152957.0379
3 | 2570953.8943 | 1152960.4338 | 2570963.653 | 1152979.2404 | 2570977.2938 | 1152991.6474 | 2570977.2938 | 1152991.6474
4 | 2570953.8943 | 1152960.4338 | 2570935.3045 | 1152968.6278 | 2570931.3039 | 1152972.7382 | 2570932.6447 | 1152977.1005 | 2570933.7633 | 1152978.4042
5 | 2570977.2938 | 1152991.6474 | 2570987.5302 | 1152998.1901 | 2570991.9842 | 1152998.9242
6 | 2570933.7633 | 1152978.4042 | 2570940.5838 | 1152986.3533
7 | 2570996.0895 | 1152999.6008 | 2570991.9842 | 1152998.9242
8 | 2570955.5384 | 1153030.2979 | 2570959.2363 | 1153021.0272 | 2570959.112 | 1153015.9586 | 2570949.8004 | 1152999.1619 | 2570944.5278 | 1152990.9499 | 2570940.5838 | 1152986.3533
9 | 2571125.6653 | 1153282.8531 | 2571122.9579 | 1153273.9935
10 | 2571125.6653 | 1153282.8531 | 2571145.6535 | 1153348.2622
11 | 2571111.6773 | 1153239.1703 | 2571118.9937 | 1153261.0212 | 2571122.9579 | 1153273.9935
12 | 2571159.5433 | 1153393.715 | 2571145.6535 | 1153348.2622
13 | 2571111.6773 | 1153239.1703 | 2571099.8522 | 1153203.8542
14 | 2571159.5433 | 1153393.715 | 2571125.5677 | 1153404.2392 | 2571088.8749 | 1153416.0773 | 2571089.3402 | 1153426.1503
15 | 2571159.5433 | 1153393.715 | 2571246.7927 | 1153639.0651
16 | 2571093.8346 | 1153185.8824 | 2571099.8522 | 1153203.8542
17 | 2571279.7063 | 1153647.0881 | 2571269.087 | 1153645.1936 | 2571246.7927 | 1153639.0651
18 | 2571093.8346 | 1153185.8824 | 2571088.5646 | 1153170.1555 | 2571078.1195 | 1153140.5538
19 | 2571093.8346 | 1153185.8824 | 2571062.5704 | 1153198.0321
20 | 2571279.7063 | 1153647.0881 | 2571451.6859 | 1153908.7233
21 | 2571069.9549 | 1153117.415 | 2571078.1195 | 1153140.5538
22 | 2571062.5704 | 1153198.0321 | 2571044.9987 | 1153204.8606 | 2571031.6573 | 1153196.53
23 | 2571028.2684 | 1153194.4139 | 2571031.6573 | 1153196.53
24 | 2571065.5016 | 1153104.7942 | 2571069.9549 | 1153117.415
25 | 2571046.2691 | 1153054.7237 | 2571062.6922 | 1153096.8323 | 2571065.5016 | 1153104.7942
26 | 2571046.2691 | 1153054.7237 | 2571040.4658 | 1153057.3308
27 | 2571040.4658 | 1153057.3308 | 2571029.6972 | 1153062.1614
28 | 2571040.4658 | 1153057.3308 | 2571037.6593 | 1153051.3191 | 2571028.56 | 1153032.1838
29 | 2571012.2663 | 1153002.7951 | 2571018.7304 | 1153011.5127 | 2571028.56 | 1153032.1838
30 | 2571012.2663 | 1153002.7951 | 2571036.5516 | 1152996.6748
31 | 2571012.2663 | 1153002.7951 | 2571007.3185 | 1153001.4516 | 2570996.0895 | 1152999.6008
32 | 2570982.6575 | 1153063.1462 | 2570966.7044 | 1153084.9898 | 2570972.0244 | 1153095.0799
33 | 2570982.6575 | 1153063.1462 | 2570971.2269 | 1153053.9214
34 | 2570971.2269 | 1153053.9214 | 2570957.408 | 1153042.7692 | 2570954.4344 | 1153038.7148 | 2570954.4344 | 1153038.7148
35 | 2571055.8487 | 1152998.3159 | 2571040.2836 | 1152995.7341 | 2571036.5516 | 1152996.6748
36 | 2571036.5516 | 1152996.6748 | 2571047.7176 | 1153009.8498 | 2571066.7469 | 1153046.6654 | 2571074.352 | 1153061.7958
37 | 2571055.8487 | 1152998.3159 | 2571063.9698 | 1152996.6743
38 | 2571055.8487 | 1152998.3159 | 2571071.0147 | 1153009.0839
39 | 2571096.077 | 1152991.9745 | 2571072.9192 | 1152994.8652 | 2571063.9698 | 1152996.6743
40 | 2571083.6193 | 1153018.6624 | 2571081.6175 | 1153016.612 | 2571071.0147 | 1153009.0839
41 | 2571083.6193 | 1153018.6624 | 2571099.2011 | 1153034.6228
42 | 2570955.5384 | 1153030.2979 | 2570954.2027 | 1153033.6468 | 2570954.4344 | 1153038.7148
43 | 2570828.2103 | 1152984.8665 | 2570804.7664 | 1152998.3094 | 2570811.5323 | 1153012.2057 | 2570817.6626 | 1153021.7572
44 | 2570828.2103 | 1152984.8665 | 2570831.257 | 1152991.3216 | 2570834.6285 | 1152998.2865 | 2570846.9509 | 1153012.5005 | 2570873.2578 | 1153039.0441
45 | 2570954.4344 | 1153038.7148 | 2570873.2578 | 1153039.0441
46 | 2571099.2011 | 1153034.6228 | 2571111.0813 | 1153046.7915
47 | 2571118.4208 | 1153054.3093 | 2571111.0813 | 1153046.7915
48 | 2571118.4208 | 1153054.3093 | 2571127.5217 | 1153086.4483

## bus_geodata
| x | y | coords
0 | 2571105.7587 | 1152914.526
1 | 2571045.167 | 1152938.9406
2 | 2570968.7707 | 1152957.0379
3 | 2570953.8943 | 1152960.4338
4 | 2570977.2938 | 1152991.6474
5 | 2570933.7633 | 1152978.4042
6 | 2570991.9842 | 1152998.9242
7 | 2570940.5838 | 1152986.3533
8 | 2571125.6653 | 1153282.8531
9 | 2571122.9579 | 1153273.9935
10 | 2571145.6535 | 1153348.2622
11 | 2571111.6773 | 1153239.1703
12 | 2571159.5433 | 1153393.715
13 | 2571099.8522 | 1153203.8542
14 | 2571089.3402 | 1153426.1503
15 | 2571246.7927 | 1153639.0651
16 | 2571093.8346 | 1153185.8824
17 | 2571451.6859 | 1153908.7233
18 | 2571279.7063 | 1153647.0881
19 | 2571078.1195 | 1153140.5538
20 | 2571062.5704 | 1153198.0321
21 | 2571031.6573 | 1153196.53
22 | 2571028.2684 | 1153194.4139
23 | 2571069.9549 | 1153117.415
24 | 2571065.5016 | 1153104.7942
25 | 2571046.2691 | 1153054.7237
26 | 2571040.4658 | 1153057.3308
27 | 2571029.6972 | 1153062.1614
28 | 2571028.56 | 1153032.1838
29 | 2571012.2663 | 1153002.7951
30 | 2570982.6575 | 1153063.1462
31 | 2570972.0244 | 1153095.0799
32 | 2570971.2269 | 1153053.9214
33 | 2571036.5516 | 1152996.6748
34 | 2570996.0895 | 1152999.6008
35 | 2571055.8487 | 1152998.3159
36 | 2571074.352 | 1153061.7958
37 | 2571063.9698 | 1152996.6743
38 | 2571071.0147 | 1153009.0839
39 | 2571096.077 | 1152991.9745
40 | 2571083.6193 | 1153018.6624
41 | 2570955.5384 | 1153030.2979
42 | 2570817.6626 | 1153021.7572
43 | 2570828.2103 | 1152984.8665
44 | 2570873.2578 | 1153039.0441
45 | 2570954.4344 | 1153038.7148
46 | 2571099.2011 | 1153034.6228
47 | 2571111.0813 | 1153046.7915
48 | 2571118.4208 | 1153054.3093
49 | 2571127.5217 | 1153086.4483
50 | 2571046.2691 | 1153054.7237

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98317 | -0.11734 | 0.0026354 | 0.0006605
1 | 0.98344 | -0.11542 | 0.0013302 | 0.00033338
2 | 0.98398 | -0.1116 | 0 | 0
3 | 0.98406 | -0.11098 | 0 | 0
4 | 0.98764 | -0.085858 | 0.0030075 | 0.00075376
5 | 0.98133 | -0.13028 | 0.00090012 | 0.00022559
6 | 0.98921 | -0.074838 | 0.0037363 | 0.00093641
7 | 0.98046 | -0.13645 | 0.0064915 | 0.0016269
8 | 0.99297 | -0.049303 | 0.0019146 | 0.00047986
9 | 0.99322 | -0.047561 | 0.00082041 | 0.00020562
10 | 0.99133 | -0.060852 | 0.0069716 | 0.0017472
11 | 0.99423 | -0.040385 | 0.00083247 | 0.00020864
12 | 0.99067 | -0.065526 | 0 | 0
13 | 0.99532 | -0.032786 | 0.001014 | 0.00025412
14 | 0.99064 | -0.065747 | 0.00025414 | 6.3693e-05
15 | 0.98716 | -0.090508 | 0.0031166 | 0.00078111
16 | 0.99589 | -0.028731 | 0 | 0
17 | 0.98559 | -0.1017 | 0.0027898 | 0.00069918
18 | 0.98685 | -0.092686 | 0.0034487 | 0.00086432
19 | 0.99806 | -0.013547 | 0.0025078 | 0.00062851
20 | 0.9954 | -0.032198 | 0.0034085 | 0.00085425
21 | 0.99506 | -0.034586 | 0.00014768 | 3.7012e-05
22 | 0.99502 | -0.034856 | 0.0067047 | 0.0016804
23 | 0.99926 | -0.0051909 | 0.0048006 | 0.0012031
24 | 1 | 0 | -0.14106 | -0.035416
25 | 0.99613 | -0.026723 | 0 | 0
26 | 0.99567 | -0.029898 | 0 | 0
27 | 0.9956 | -0.0304 | 0.004219 | 0.0010574
28 | 0.99374 | -0.043259 | 0.0013541 | 0.00033936
29 | 0.99144 | -0.059299 | 0 | 0
30 | 0.97572 | -0.17022 | 0 | 0
31 | 0.97543 | -0.17229 | 0.0051244 | 0.0012843
32 | 0.97583 | -0.16943 | 0.0050595 | 0.001268
33 | 0.99077 | -0.064022 | 0 | 0
34 | 0.98963 | -0.071933 | 0.0067543 | 0.0016928
35 | 0.99035 | -0.066996 | 0 | 0
36 | 0.99037 | -0.066842 | 0.0036617 | 0.0009177
37 | 0.99029 | -0.067397 | 0.0028442 | 0.00071282
38 | 0.99008 | -0.068925 | 0.0009784 | 0.00024521
39 | 0.99021 | -0.068026 | 0.0019015 | 0.00047657
40 | 0.98987 | -0.070414 | 0.0016601 | 0.00041607
41 | 0.97677 | -0.16273 | 0.0033273 | 0.0008339
42 | 0.97068 | -0.20646 | 0.0070513 | 0.0017672
43 | 0.97124 | -0.20244 | 0 | 0
44 | 0.97197 | -0.19714 | 0.028227 | 0.0070743
45 | 0.97617 | -0.167 | 0.0015348 | 0.00038466
46 | 0.98963 | -0.072129 | 0.0017733 | 0.00044443
47 | 0.98948 | -0.073129 | 0.0021652 | 0.00054264
48 | 0.98943 | -0.073516 | 0 | 0
49 | 0.98926 | -0.074743 | 0.0036021 | 0.00090276
50 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0026354 | -0.0006605 | 0.0026361 | 0.00065988 | 6.9786e-07 | -6.2334e-07 | 0.0039887 | 0.0039884 | 0.0039887 | 0.98317 | -0.11734 | 0.98344 | -0.11542 | 1.4773
1 | -0.0039663 | -0.00099326 | 0.0039684 | 0.00099288 | 2.0921e-06 | -3.7734e-07 | 0.0060011 | 0.0060007 | 0.0060011 | 0.98344 | -0.11542 | 0.98398 | -0.1116 | 2.2226
2 | -0.0039684 | -0.00099288 | 0.0039688 | 0.00099282 | 3.4191e-07 | -6.1804e-08 | 0.0060007 | 0.0060006 | 0.0060007 | 0.98398 | -0.1116 | 0.98406 | -0.11098 | 2.2225
3 | -0.062266 | -0.015677 | 0.062485 | 0.01576 | 0.00021932 | 8.3849e-05 | 0.094179 | 0.094179 | 0.094179 | 0.98406 | -0.11098 | 0.98764 | -0.085858 | 34.881
4 | 0.058297 | 0.014684 | -0.05814 | -0.014624 | 0.00015687 | 5.9927e-05 | 0.088178 | 0.088178 | 0.088178 | 0.98406 | -0.11098 | 0.98133 | -0.13028 | 32.6586
5 | -0.065493 | -0.016514 | 0.065594 | 0.016553 | 0.00010131 | 3.8752e-05 | 0.09871 | 0.09871 | 0.09871 | 0.98764 | -0.085858 | 0.98921 | -0.074838 | 36.5592
6 | 0.05724 | 0.014398 | -0.057191 | -0.014379 | 4.9258e-05 | 1.8813e-05 | 0.086813 | 0.086813 | 0.086813 | 0.98133 | -0.13028 | 0.98046 | -0.13645 | 32.1531
7 | -0.06933 | -0.017489 | 0.069359 | 0.0175 | 2.826e-05 | 1.0816e-05 | 0.10433 | 0.10433 | 0.10433 | 0.98921 | -0.074838 | 0.98963 | -0.071933 | 38.6408
8 | 0.050699 | 0.012753 | -0.050514 | -0.012682 | 0.00018507 | 7.055e-05 | 0.076962 | 0.076962 | 0.076962 | 0.98046 | -0.13645 | 0.97677 | -0.16273 | 28.5044
9 | -0.018566 | -0.0046522 | 0.01857 | 0.0046538 | 4.4746e-06 | 1.6011e-06 | 0.027822 | 0.027822 | 0.027822 | 0.99297 | -0.049303 | 0.99322 | -0.047561 | 10.3043
10 | 0.016651 | 0.0041723 | -0.016625 | -0.004163 | 2.6573e-05 | 9.3372e-06 | 0.024953 | 0.024953 | 0.024953 | 0.99297 | -0.049303 | 0.99133 | -0.060852 | 9.2418
11 | -0.019391 | -0.0048594 | 0.01941 | 0.0048663 | 1.9278e-05 | 6.9405e-06 | 0.029051 | 0.029051 | 0.029051 | 0.99322 | -0.047561 | 0.99423 | -0.040385 | 10.7596
12 | 0.0096532 | 0.0024157 | -0.0096469 | -0.0024139 | 6.2255e-06 | 1.7821e-06 | 0.014488 | 0.014489 | 0.014489 | 0.99133 | -0.060852 | 0.99067 | -0.065526 | 5.3661
13 | -0.020243 | -0.0050749 | 0.020264 | 0.0050827 | 2.1331e-05 | 7.7208e-06 | 0.030297 | 0.030296 | 0.030297 | 0.99423 | -0.040385 | 0.99532 | -0.032786 | 11.2209
14 | 0.00025414 | 6.2611e-05 | -0.00025414 | -6.3693e-05 | 7.6491e-09 | -1.0813e-06 | 0.00038135 | 0.00038173 | 0.00038173 | 0.99067 | -0.065526 | 0.99064 | -0.065747 | 0.14138
15 | 0.0093928 | 0.0023513 | -0.0093604 | -0.0023422 | 3.2341e-05 | 9.0977e-06 | 0.014107 | 0.014108 | 0.014108 | 0.99067 | -0.065526 | 0.98716 | -0.090508 | 5.2253
16 | -0.021278 | -0.0053368 | 0.02129 | 0.0053411 | 1.1968e-05 | 4.3568e-06 | 0.031812 | 0.031812 | 0.031812 | 0.99532 | -0.032786 | 0.99589 | -0.028731 | 11.7823
17 | 0.0062438 | 0.0015611 | -0.0062419 | -0.0015608 | 1.8738e-06 | 2.8732e-07 | 0.0094104 | 0.0094106 | 0.0094106 | 0.98716 | -0.090508 | 0.98685 | -0.092686 | 3.4854
18 | -0.031558 | -0.0079147 | 0.031625 | 0.0079397 | 6.6568e-05 | 2.4977e-05 | 0.047155 | 0.047154 | 0.047155 | 0.99589 | -0.028731 | 0.99806 | -0.013547 | 17.4647
19 | 0.010268 | 0.0025735 | -0.010263 | -0.0025721 | 4.9268e-06 | 1.4587e-06 | 0.015342 | 0.015343 | 0.015343 | 0.99589 | -0.028731 | 0.9954 | -0.032198 | 5.6824
20 | -0.0027898 | -0.00069918 | 0.0027932 | 0.00069652 | 3.4648e-06 | -2.6625e-06 | 0.0042119 | 0.0042105 | 0.0042119 | 0.98559 | -0.1017 | 0.98685 | -0.092686 | 1.56
21 | -0.034132 | -0.0085682 | 0.034172 | 0.0085831 | 3.9658e-05 | 1.4932e-05 | 0.050893 | 0.050893 | 0.050893 | 0.99806 | -0.013547 | 0.99926 | -0.0051909 | 18.8494
22 | 0.0068549 | 0.0017178 | -0.0068526 | -0.0017174 | 2.2659e-06 | 4.2214e-07 | 0.010247 | 0.010247 | 0.010247 | 0.9954 | -0.032198 | 0.99506 | -0.034586 | 3.7953
23 | 0.0067049 | 0.0016804 | -0.0067047 | -0.0016804 | 2.5064e-07 | 4.4502e-08 | 0.010027 | 0.010027 | 0.010027 | 0.99506 | -0.034586 | 0.99502 | -0.034856 | 3.7136
24 | -0.038973 | -0.0097862 | 0.039001 | 0.0097969 | 2.8134e-05 | 1.0645e-05 | 0.058042 | 0.058042 | 0.058042 | 0.99926 | -0.0051909 | 1 | 0 | 21.497
25 | 0.10126 | 0.025619 | -0.10088 | -0.025474 | 0.00038036 | 0.00014489 | 0.15076 | 0.15076 | 0.15076 | 1 | 0 | 0.99613 | -0.026723 | 27.9178
26 | 0.10088 | 0.025474 | -0.10083 | -0.025457 | 4.5006e-05 | 1.7145e-05 | 0.15076 | 0.15076 | 0.15076 | 0.99613 | -0.026723 | 0.99567 | -0.029898 | 27.9178
27 | 0.0042193 | 0.0010573 | -0.004219 | -0.0010574 | 2.9283e-07 | -4.0862e-08 | 0.0063056 | 0.0063057 | 0.0063057 | 0.99567 | -0.029898 | 0.9956 | -0.0304 | 2.3354
28 | 0.096611 | 0.0244 | -0.09643 | -0.024331 | 0.00018113 | 6.8945e-05 | 0.14445 | 0.14445 | 0.14445 | 0.99567 | -0.029898 | 0.99374 | -0.043259 | 26.7502
29 | 0.095076 | 0.023991 | -0.094863 | -0.02391 | 0.00021354 | 8.126e-05 | 0.14242 | 0.14242 | 0.14242 | 0.99374 | -0.043259 | 0.99144 | -0.059299 | 26.3748
30 | 0.018615 | 0.0046654 | -0.018602 | -0.0046611 | 1.2165e-05 | 4.3568e-06 | 0.027938 | 0.027938 | 0.027938 | 0.99144 | -0.059299 | 0.99077 | -0.064022 | 10.3474
31 | 0.076248 | 0.019245 | -0.076113 | -0.019193 | 0.00013501 | 5.1715e-05 | 0.11449 | 0.11449 | 0.11449 | 0.99144 | -0.059299 | 0.98963 | -0.071933 | 42.4022
32 | 0.0051259 | 0.0012844 | -0.0051244 | -0.0012843 | 1.4664e-06 | 8.3825e-08 | 0.0078171 | 0.0078173 | 0.0078173 | 0.97572 | -0.17022 | 0.97543 | -0.17229 | 2.8953
33 | -0.0051259 | -0.0012844 | 0.0051265 | 0.0012844 | 5.6009e-07 | 3.1936e-08 | 0.0078171 | 0.0078171 | 0.0078171 | 0.97572 | -0.17022 | 0.97583 | -0.16943 | 2.8952
34 | -0.010186 | -0.0025525 | 0.010189 | 0.0025535 | 3.4301e-06 | 1.0345e-06 | 0.015532 | 0.015532 | 0.015532 | 0.97583 | -0.16943 | 0.97617 | -0.167 | 5.7527
35 | 0.014939 | 0.0037438 | -0.014933 | -0.0037417 | 6.1479e-06 | 2.1126e-06 | 0.022437 | 0.022437 | 0.022437 | 0.99077 | -0.064022 | 0.99035 | -0.066996 | 8.31
36 | 0.0036631 | 0.00091727 | -0.0036617 | -0.0009177 | 1.4286e-06 | -4.2434e-07 | 0.0055012 | 0.0055016 | 0.0055016 | 0.99077 | -0.064022 | 0.99037 | -0.066842 | 2.0376
37 | 0.0047461 | 0.001189 | -0.0047459 | -0.001189 | 2.629e-07 | -5.4884e-09 | 0.007131 | 0.007131 | 0.007131 | 0.99035 | -0.066996 | 0.99029 | -0.067397 | 2.6411
38 | 0.010187 | 0.0025527 | -0.010184 | -0.0025519 | 2.7191e-06 | 8.0654e-07 | 0.015306 | 0.015306 | 0.015306 | 0.99035 | -0.066996 | 0.99008 | -0.068925 | 5.6689
39 | 0.0019017 | 0.00047621 | -0.0019015 | -0.00047657 | 1.6542e-07 | -3.5407e-07 | 0.0028573 | 0.0028575 | 0.0028575 | 0.99029 | -0.067397 | 0.99021 | -0.068026 | 1.0583
40 | 0.0092059 | 0.0023067 | -0.009204 | -0.0023061 | 1.8956e-06 | 5.2503e-07 | 0.013836 | 0.013836 | 0.013836 | 0.99008 | -0.068925 | 0.98987 | -0.070414 | 5.1243
41 | 0.0075439 | 0.0018901 | -0.0075421 | -0.0018897 | 1.7899e-06 | 4.0177e-07 | 0.01134 | 0.01134 | 0.01134 | 0.98987 | -0.070414 | 0.98963 | -0.072129 | 4.2001
42 | 0.047187 | 0.011848 | -0.047159 | -0.011837 | 2.7991e-05 | 1.0657e-05 | 0.071893 | 0.071893 | 0.071893 | 0.97677 | -0.16273 | 0.97617 | -0.167 | 26.627
43 | -0.0070513 | -0.0017672 | 0.0070552 | 0.0017681 | 3.9246e-06 | 8.4369e-07 | 0.010809 | 0.010809 | 0.010809 | 0.97068 | -0.20646 | 0.97124 | -0.20244 | 4.0035
44 | -0.0070552 | -0.0017681 | 0.0070604 | 0.0017692 | 5.1805e-06 | 1.1125e-06 | 0.010809 | 0.010809 | 0.010809 | 0.97124 | -0.20244 | 0.97197 | -0.19714 | 4.0034
45 | -0.035287 | -0.0088434 | 0.035435 | 0.0088993 | 0.00014783 | 5.5846e-05 | 0.054022 | 0.054021 | 0.054022 | 0.97197 | -0.19714 | 0.97617 | -0.167 | 20.008
46 | 0.0057688 | 0.0014452 | -0.005768 | -0.0014452 | 7.9841e-07 | 8.8608e-08 | 0.0086739 | 0.008674 | 0.008674 | 0.98963 | -0.072129 | 0.98948 | -0.073129 | 3.2126
47 | 0.0036029 | 0.00090251 | -0.0036027 | -0.00090257 | 1.9245e-07 | -6.0928e-08 | 0.0054179 | 0.005418 | 0.005418 | 0.98948 | -0.073129 | 0.98943 | -0.073516 | 2.0067
48 | 0.0036027 | 0.00090257 | -0.0036021 | -0.00090276 | 6.1189e-07 | -1.9361e-07 | 0.005418 | 0.0054181 | 0.0054181 | 0.98943 | -0.073516 | 0.98926 | -0.074743 | 2.0067

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15522 | 0.038965

## res_load
| p_mw | q_mvar
0 | 0.0026354 | 0.0006605
1 | 0.0013302 | 0.00033338
2 | 0.0030075 | 0.00075376
3 | 0.00090012 | 0.00022559
4 | 0.0037363 | 0.00093641
5 | 0.0064915 | 0.0016269
6 | 0.0019146 | 0.00047986
7 | 0.00082041 | 0.00020562
8 | 0.0069716 | 0.0017472
9 | 0.00083247 | 0.00020864
10 | 0.001014 | 0.00025412
11 | 0.00025414 | 6.3693e-05
12 | 0.0031166 | 0.00078111
13 | 0.0027898 | 0.00069918
14 | 0.0034487 | 0.00086432
15 | 0.0025078 | 0.00062851
16 | 0.0034085 | 0.00085425
17 | 0.00014768 | 3.7012e-05
18 | 0.0067047 | 0.0016804
19 | 0.0048006 | 0.0012031
20 | 0.01416 | 0.0035488
21 | 0.004219 | 0.0010574
22 | 0.0013541 | 0.00033936
23 | 0.0051244 | 0.0012843
24 | 0.0050595 | 0.001268
25 | 0.0067543 | 0.0016928
26 | 0.0036617 | 0.0009177
27 | 0.0028442 | 0.00071282
28 | 0.0009784 | 0.00024521
29 | 0.0019015 | 0.00047657
30 | 0.0016601 | 0.00041607
31 | 0.0033273 | 0.0008339
32 | 0.0070513 | 0.0017672
33 | 0.028227 | 0.0070743
34 | 0.0015348 | 0.00038466
35 | 0.0017733 | 0.00044443
36 | 0.0021652 | 0.00054264
37 | 0.0036021 | 0.00090276

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1