## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2121-9_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2121-9_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2121-9_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2121-9_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2121-9_0_4_node_41 | 0.4 | n |  | TRUE
5 | bus_LV_2121-9_0_4_node_46 | 0.4 | n |  | TRUE
6 | bus_LV_2121-9_0_4_node_47 | 0.4 | n |  | TRUE
7 | bus_LV_2121-9_0_4_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_2121-9_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2121-9_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2121-9_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2121-9_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_2121-9_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_2121-9_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_2121-9_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_2121-9_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_2121-9_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_2121-9_0_4_node_58 | 0.4 | n |  | TRUE
18 | bus_LV_2121-9_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_2121-9_0_4_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_2121-9_0_4_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_2121-9_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_2121-9_0_4_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_2121-9_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_2121-9_0_4_node_63 | 0.4 | n |  | TRUE
25 | bus_LV_2121-9_0_4_node_62 | 0.4 | n |  | TRUE
26 | bus_LV_2121-9_0_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_2121-9_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_2121-9_0_4_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_2121-9_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_2121-9_0_4_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_2121-9_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_2121-9_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_2121-9_0_4_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_2121-9_0_4_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_2121-9_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_2121-9_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_2121-9_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_2121-9_0_4_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2121-9_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_2121-9_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_2121-9_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_2121-9_0_4_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_2121-9_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_2121-9_0_4_node_60 | 0.4 | n |  | TRUE
45 | bus_LV_2121-9_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_2121-9_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_2121-9_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_2121-9_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_2121-9_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_2121-9_0_4_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_2121-9_0_4_node_59 | 0.4 | n |  | TRUE
52 | bus_LV_2121-9_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_2121-9_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_2121-9_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_2121-9_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_2121-9_0_4_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_2121-9_0_4_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_2121-9_0_4_node_57 | 0.4 | n |  | TRUE
59 | bus_LV_2121-9_0_4_node_56 | 0.4 | n |  | TRUE
60 | bus_MV_30_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2121-9_0_4_load_0 | 0 | 0.0051297 | 0.0012856 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2121-9_0_4_load_1 | 1 | 0.0053349 | 0.001337 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2121-9_0_4_load_2 | 2 | 0.0023707 | 0.00059416 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2121-9_0_4_load_41 | 4 | 0.0019584 | 0.00049083 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2121-9_0_4_load_47 | 6 | 0.0024033 | 0.00060232 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2121-9_0_4_load_8 | 7 | 0.0018087 | 0.0004533 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2121-9_0_4_load_5 | 8 | 0.0020504 | 0.00051387 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2121-9_0_4_load_9 | 11 | 0.0026925 | 0.00067481 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2121-9_0_4_load_10 | 12 | 0.014114 | 0.0035373 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2121-9_0_4_load_11 | 13 | 0.027569 | 0.0069093 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2121-9_0_4_load_58 | 17 | 0.0056008 | 0.0014037 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2121-9_0_4_load_55 | 18 | 0.0036844 | 0.0009234 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2121-9_0_4_load_14 | 19 | 0.01205 | 0.00302 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2121-9_0_4_load_16 | 21 | 0.027204 | 0.006818 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2121-9_0_4_load_17 | 22 | 0.0017405 | 0.00043622 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2121-9_0_4_load_18 | 23 | 0.003385 | 0.00084837 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2121-9_0_4_load_63 | 24 | 0.006405 | 0.0016052 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2121-9_0_4_load_62 | 25 | 0.0036909 | 0.00092502 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2121-9_0_4_load_54 | 26 | 0.0025679 | 0.00064357 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2121-9_0_4_load_21 | 27 | 0.0085043 | 0.0021314 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2121-9_0_4_load_22 | 28 | 0.0019188 | 0.00048089 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2121-9_0_4_load_24 | 29 | 0.0022802 | 0.00057146 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2121-9_0_4_load_25 | 31 | 0.00086855 | 0.00021768 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2121-9_0_4_load_26 | 32 | 0.0059719 | 0.0014967 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2121-9_0_4_load_51 | 33 | 0.0029366 | 0.00073599 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2121-9_0_4_load_48 | 34 | 0.0039306 | 0.00098511 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2121-9_0_4_load_27 | 35 | 0.0018388 | 0.00046085 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2121-9_0_4_load_33 | 36 | 0.0081293 | 0.0020374 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2121-9_0_4_load_28 | 38 | 0.0038999 | 0.00097741 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2121-9_0_4_load_29 | 39 | 0.0031602 | 0.00079201 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2121-9_0_4_load_30 | 40 | 0.0034796 | 0.00087207 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2121-9_0_4_load_31 | 41 | 0.0029397 | 0.00073677 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2121-9_0_4_load_34 | 43 | 0.0026359 | 0.00066062 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2121-9_0_4_load_60 | 44 | 0.002791 | 0.00069949 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2121-9_0_4_load_38 | 45 | 0.0061013 | 0.0015291 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2121-9_0_4_load_36 | 46 | 0.0044416 | 0.0011132 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2121-9_0_4_load_44 | 47 | 0.0034635 | 0.00086804 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2121-9_0_4_load_37 | 48 | 0.0030228 | 0.00075758 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2121-9_0_4_load_53 | 50 | 0.0030015 | 0.00075225 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2121-9_0_4_load_59 | 51 | 0.0040474 | 0.0010144 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2121-9_0_4_load_40 | 52 | 0.0018125 | 0.00045426 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2121-9_0_4_load_42 | 53 | 0.0023021 | 0.00057696 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2121-9_0_4_load_43 | 54 | 0.0023339 | 0.00058492 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2121-9_0_4_load_52 | 56 | 0.002898 | 0.0007263 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2121-9_0_4_load_61 | 57 | 0.0057762 | 0.0014476 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2121-9_0_4_load_56 | 59 | 0.0022966 | 0.00057558 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2121-9_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0072288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2121-9_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.057947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2121-9_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2121-9_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.0038402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2121-9_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.013011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2121-9_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.028246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2121-9_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0043183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2121-9_0_4_line_7 | NAYY 4x150 SE | 6 | 30 | 0.013607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2121-9_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0044045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2121-9_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.050907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2121-9_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.050812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2121-9_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.026251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2121-9_0_4_line_12 | NAYY 4x150 SE | 12 | 13 | 0.015547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2121-9_0_4_line_13 | NAYY 4x150 SE | 13 | 14 | 0.0498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2121-9_0_4_line_14 | NAYY 4x150 SE | 14 | 15 | 0.024987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2121-9_0_4_line_15 | NAYY 4x150 SE | 15 | 16 | 0.071147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2121-9_0_4_line_16 | NAYY 4x150 SE | 16 | 17 | 0.031683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2121-9_0_4_line_17 | NAYY 4x150 SE | 16 | 18 | 0.03433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2121-9_0_4_line_18 | NAYY 4x150 SE | 18 | 26 | 5.4657e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2121-9_0_4_line_19 | NAYY 4x150 SE | 19 | 20 | 0.0097705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2121-9_0_4_line_20 | NAYY 4x150 SE | 20 | 21 | 0.010984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2121-9_0_4_line_21 | NAYY 4x150 SE | 20 | 22 | 0.021091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2121-9_0_4_line_22 | NAYY 4x150 SE | 20 | 23 | 0.015705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2121-9_0_4_line_23 | NAYY 4x150 SE | 23 | 24 | 0.0038215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2121-9_0_4_line_24 | NAYY 4x150 SE | 24 | 25 | 0.0061241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2121-9_0_4_line_25 | NAYY 4x150 SE | 25 | 44 | 0.0091416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2121-9_0_4_line_26 | NAYY 4x150 SE | 26 | 59 | 0.0091144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2121-9_0_4_line_27 | NAYY 4x150 SE | 27 | 28 | 0.0038704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2121-9_0_4_line_28 | NAYY 4x150 SE | 28 | 29 | 0.018463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2121-9_0_4_line_29 | NAYY 4x150 SE | 29 | 30 | 0.016746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2121-9_0_4_line_30 | NAYY 4x150 SE | 30 | 33 | 0.022597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2121-9_0_4_line_31 | NAYY 4x150 SE | 30 | 34 | 0.016594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2121-9_0_4_line_32 | NAYY 4x150 SE | 31 | 32 | 0.012923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2121-9_0_4_line_33 | NAYY 4x150 SE | 32 | 35 | 0.018632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2121-9_0_4_line_34 | NAYY 4x150 SE | 33 | 49 | 0.013759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2121-9_0_4_line_35 | NAYY 4x150 SE | 35 | 36 | 0.010997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2121-9_0_4_line_36 | NAYY 4x150 SE | 36 | 37 | 0.011123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2121-9_0_4_line_37 | NAYY 4x150 SE | 37 | 47 | 0.0088835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2121-9_0_4_line_38 | NAYY 4x150 SE | 37 | 43 | 0.015775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2121-9_0_4_line_39 | NAYY 4x150 SE | 38 | 39 | 0.0031588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2121-9_0_4_line_40 | NAYY 4x150 SE | 38 | 40 | 0.013142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2121-9_0_4_line_41 | NAYY 4x150 SE | 39 | 41 | 0.0092054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2121-9_0_4_line_42 | NAYY 4x150 SE | 40 | 42 | 0.013012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2121-9_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.0083409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2121-9_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.019155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2121-9_0_4_line_45 | NAYY 4x150 SE | 42 | 45 | 0.0148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_2121-9_0_4_line_46 | NAYY 4x150 SE | 45 | 46 | 0.023909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_2121-9_0_4_line_47 | NAYY 4x150 SE | 46 | 48 | 0.0012676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_2121-9_0_4_line_48 | NAYY 4x150 SE | 48 | 49 | 0.002904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_2121-9_0_4_line_49 | NAYY 4x150 SE | 49 | 50 | 0.010324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2121-9_0_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.029842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2121-9_0_4_line_51 | NAYY 4x150 SE | 51 | 58 | 0.013889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2121-9_0_4_line_52 | NAYY 4x150 SE | 52 | 53 | 0.00078897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2121-9_0_4_line_53 | NAYY 4x150 SE | 53 | 54 | 0.0082624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2121-9_0_4_line_54 | NAYY 4x150 SE | 54 | 55 | 0.012972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2121-9_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.0036979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2121-9_0_4_line_56 | NAYY 4x150 SE | 56 | 57 | 0.01271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2121-9_0_4_line_57 | NAYY 4x150 SE | 57 | 58 | 0.0055958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2121-9_0_4_line_58 | NAYY 4x150 SE | 58 | 59 | 0.012612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2121-9_0_4_trafo_32 | 0.25 MVA 20/0.4 kV | 60 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2570824.1047 | 1151838.2629 | 2570821.2575 | 1151837.2586 | 2570817.189 | 1151836.1775
1 | 2570824.1047 | 1151838.2629 | 2570834.7488 | 1151842.0176 | 2570838.6497 | 1151844.0886 | 2570843.1829 | 1151846.779 | 2570848.3319 | 1151849.8667 | 2570850.43 | 1151850.4902 | 2570853.7892 | 1151850.0625 | 2570858.6584 | 1151847.6599 | 2570863.4042 | 1151843.5793 | 2570873.0748 | 1151833.8686
2 | 2570794.4019 | 1151831.7975 | 2570800.3114 | 1151831.8799 | 2570810.0002 | 1151834.2673 | 2570817.189 | 1151836.1775
3 | 2570794.4019 | 1151831.7975 | 2570794.0022 | 1151835.6169
4 | 2570792.183 | 1151818.9796 | 2570794.4019 | 1151831.7975
5 | 2570792.183 | 1151818.9796 | 2570767.5859 | 1151832.8663
6 | 2570792.183 | 1151818.9796 | 2570795.0204 | 1151815.7243
7 | 2570755.0554 | 1151837.9365 | 2570759.6542 | 1151836.758 | 2570762.7871 | 1151835.5755 | 2570767.5859 | 1151832.8663
8 | 2570797.9144 | 1151812.404 | 2570795.0204 | 1151815.7243
9 | 2570797.9144 | 1151812.404 | 2570825.1642 | 1151793.1731 | 2570840.0125 | 1151783.8084
10 | 2570883.8249 | 1151758.0819 | 2570867.402 | 1151767.5996 | 2570847.0838 | 1151779.3486 | 2570840.0125 | 1151783.8084
11 | 2570883.8249 | 1151758.0819 | 2570897.7849 | 1151780.313
12 | 2570611.7101 | 1151942.7491 | 2570621.9595 | 1151954.4388
13 | 2570648.4455 | 1151996.4694 | 2570636.1259 | 1151973.9406 | 2570624.4103 | 1151957.234 | 2570621.9595 | 1151954.4388
14 | 2570670.8216 | 1151985.2211 | 2570648.4455 | 1151996.4694
15 | 2570728.2927 | 1151944.3869 | 2570712.7039 | 1151959.5372 | 2570704.9726 | 1151966.6785 | 2570698.2901 | 1151971.7136 | 2570690.1942 | 1151976.4777 | 2570670.8216 | 1151985.2211
16 | 2570728.2927 | 1151944.3869 | 2570711.5166 | 1151917.5104
17 | 2570728.2927 | 1151944.3869 | 2570744.3158 | 1151926.989 | 2570748.9484 | 1151920.163 | 2570750.2079 | 1151918.0868
18 | 2570750.2363 | 1151918.04 | 2570750.2079 | 1151918.0868
19 | 2570641.4704 | 1151907.1699 | 2570645.2222 | 1151916.1914
20 | 2570641.4704 | 1151907.1699 | 2570632.2874 | 1151913.197
21 | 2570641.4704 | 1151907.1699 | 2570632.7037 | 1151887.9876
22 | 2570641.4704 | 1151907.1699 | 2570654.8642 | 1151898.9682
23 | 2570654.8642 | 1151898.9682 | 2570658.1233 | 1151896.9726
24 | 2570663.346 | 1151893.7745 | 2570658.1233 | 1151896.9726
25 | 2570663.346 | 1151893.7745 | 2570671.142 | 1151889.0006
26 | 2570750.2363 | 1151918.04 | 2570752.3438 | 1151914.5659 | 2570754.3779 | 1151909.9426
27 | 2570737.9545 | 1151807.1601 | 2570736.0747 | 1151803.7769
28 | 2570746.9219 | 1151823.2987 | 2570737.9545 | 1151807.1601
29 | 2570755.0554 | 1151837.9365 | 2570746.9219 | 1151823.2987
30 | 2570755.0554 | 1151837.9365 | 2570751.7461 | 1151839.1644 | 2570746.8138 | 1151841.2005 | 2570735.0266 | 1151848.2433
31 | 2570755.0554 | 1151837.9365 | 2570763.32 | 1151852.3264
32 | 2570680.8304 | 1151780.2207 | 2570673.8569 | 1151791.1006
33 | 2570664.8526 | 1151807.3934 | 2570670.878 | 1151795.7482 | 2570673.8569 | 1151791.1006
34 | 2570723.2154 | 1151855.3004 | 2570735.0266 | 1151848.2433
35 | 2570659.7991 | 1151817.1601 | 2570664.8526 | 1151807.3934
36 | 2570653.5686 | 1151826.3369 | 2570658.3416 | 1151819.9771 | 2570659.7991 | 1151817.1601
37 | 2570653.5686 | 1151826.3369 | 2570646.8314 | 1151829.6382 | 2570645.5058 | 1151830.025
38 | 2570653.5686 | 1151826.3369 | 2570662.1088 | 1151839.5999
39 | 2570673.3181 | 1151857.0082 | 2570671.608 | 1151854.3524
40 | 2570680.433 | 1151868.0578 | 2570673.3181 | 1151857.0082
41 | 2570666.6244 | 1151846.6128 | 2570671.608 | 1151854.3524
42 | 2570687.4773 | 1151878.9977 | 2570680.433 | 1151868.0578
43 | 2570666.6244 | 1151846.6128 | 2570662.1088 | 1151839.5999
44 | 2570687.4773 | 1151878.9977 | 2570671.142 | 1151889.0006
45 | 2570687.4773 | 1151878.9977 | 2570699.8123 | 1151870.8186
46 | 2570719.7386 | 1151857.6057 | 2570699.8123 | 1151870.8186
47 | 2570719.7386 | 1151857.6057 | 2570720.7951 | 1151856.9052
48 | 2570723.2154 | 1151855.3004 | 2570720.7951 | 1151856.9052
49 | 2570723.2154 | 1151855.3004 | 2570729.3185 | 1151863.627
50 | 2570729.3185 | 1151863.627 | 2570741.5481 | 1151880.3124 | 2570747.6151 | 1151887.1681
51 | 2570756.8194 | 1151897.5689 | 2570747.6151 | 1151887.1681
52 | 2570787.7362 | 1151866.8345 | 2570787.4543 | 1151867.5714
53 | 2570782.6213 | 1151874.2316 | 2570785.3077 | 1151871.1615 | 2570787.4543 | 1151867.5714 | 2570787.4543 | 1151867.5714
54 | 2570771.9209 | 1151881.5651 | 2570782.6213 | 1151874.2316
55 | 2570771.9209 | 1151881.5651 | 2570769.383 | 1151884.2546
56 | 2570760.6598 | 1151893.499 | 2570769.383 | 1151884.2546
57 | 2570756.8194 | 1151897.5689 | 2570760.6598 | 1151893.499
58 | 2570756.8194 | 1151897.5689 | 2570755.3894 | 1151904.9129 | 2570754.3779 | 1151909.9426

## bus_geodata
| x | y | coords
0 | 2570824.1047 | 1151838.2629
1 | 2570817.189 | 1151836.1775
2 | 2570873.0748 | 1151833.8686
3 | 2570794.4019 | 1151831.7975
4 | 2570794.0022 | 1151835.6169
5 | 2570792.183 | 1151818.9796
6 | 2570767.5859 | 1151832.8663
7 | 2570795.0204 | 1151815.7243
8 | 2570840.0125 | 1151783.8084
9 | 2570797.9144 | 1151812.404
10 | 2570883.8249 | 1151758.0819
11 | 2570897.7849 | 1151780.313
12 | 2570611.7101 | 1151942.7491
13 | 2570621.9595 | 1151954.4388
14 | 2570648.4455 | 1151996.4694
15 | 2570670.8216 | 1151985.2211
16 | 2570728.2927 | 1151944.3869
17 | 2570711.5166 | 1151917.5104
18 | 2570750.2079 | 1151918.0868
19 | 2570645.2222 | 1151916.1914
20 | 2570641.4704 | 1151907.1699
21 | 2570632.2874 | 1151913.197
22 | 2570632.7037 | 1151887.9876
23 | 2570654.8642 | 1151898.9682
24 | 2570658.1233 | 1151896.9726
25 | 2570663.346 | 1151893.7745
26 | 2570750.2363 | 1151918.04
27 | 2570736.0747 | 1151803.7769
28 | 2570737.9545 | 1151807.1601
29 | 2570746.9219 | 1151823.2987
30 | 2570755.0554 | 1151837.9365
31 | 2570680.8304 | 1151780.2207
32 | 2570673.8569 | 1151791.1006
33 | 2570735.0266 | 1151848.2433
34 | 2570763.32 | 1151852.3264
35 | 2570664.8526 | 1151807.3934
36 | 2570659.7991 | 1151817.1601
37 | 2570653.5686 | 1151826.3369
38 | 2570673.3181 | 1151857.0082
39 | 2570671.608 | 1151854.3524
40 | 2570680.433 | 1151868.0578
41 | 2570666.6244 | 1151846.6128
42 | 2570687.4773 | 1151878.9977
43 | 2570662.1088 | 1151839.5999
44 | 2570671.142 | 1151889.0006
45 | 2570699.8123 | 1151870.8186
46 | 2570719.7386 | 1151857.6057
47 | 2570645.5058 | 1151830.025
48 | 2570720.7951 | 1151856.9052
49 | 2570723.2154 | 1151855.3004
50 | 2570729.3185 | 1151863.627
51 | 2570747.6151 | 1151887.1681
52 | 2570787.7362 | 1151866.8345
53 | 2570787.4543 | 1151867.5714
54 | 2570782.6213 | 1151874.2316
55 | 2570771.9209 | 1151881.5651
56 | 2570769.383 | 1151884.2546
57 | 2570760.6598 | 1151893.499
58 | 2570756.8194 | 1151897.5689
59 | 2570754.3779 | 1151909.9426
60 | 2570723.2154 | 1151855.3004

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99168 | -0.058147 | 0.0051297 | 0.0012856
1 | 0.99176 | -0.057597 | 0.0053349 | 0.001337
2 | 0.99149 | -0.059543 | 0.0023707 | 0.00059416
3 | 0.99219 | -0.054558 | 0 | 0
4 | 0.99218 | -0.054634 | 0.0019584 | 0.00049083
5 | 0.99247 | -0.052606 | 0 | 0
6 | 0.99334 | -0.046495 | 0.0024033 | 0.00060232
7 | 0.99243 | -0.052893 | 0.0018087 | 0.0004533
8 | 0.99205 | -0.055558 | 0.0020504 | 0.00051387
9 | 0.9924 | -0.053106 | 0 | 0
10 | 0.99186 | -0.056949 | 0 | 0
11 | 0.99175 | -0.057666 | 0.0026925 | 0.00067481
12 | 0.97682 | -0.16293 | 0.014114 | 0.0035373
13 | 0.97714 | -0.16064 | 0.027569 | 0.0069093
14 | 0.98017 | -0.13901 | 0 | 0
15 | 0.98169 | -0.1282 | 0 | 0
16 | 0.98601 | -0.097616 | 0 | 0
17 | 0.98576 | -0.099438 | 0.0056008 | 0.0014037
18 | 0.98838 | -0.080985 | 0.0036844 | 0.0009234
19 | 0.99594 | -0.028434 | 0.01205 | 0.00302
20 | 0.99611 | -0.02725 | 0 | 0
21 | 0.99568 | -0.030257 | 0.027204 | 0.006818
22 | 0.99606 | -0.027619 | 0.0017405 | 0.00043622
23 | 0.99703 | -0.020779 | 0.003385 | 0.00084837
24 | 0.99727 | -0.019076 | 0.006405 | 0.0016052
25 | 0.99772 | -0.015956 | 0.0036909 | 0.00092502
26 | 0.98838 | -0.080957 | 0.0025679 | 0.00064357
27 | 0.99317 | -0.047655 | 0.0085043 | 0.0021314
28 | 0.99322 | -0.047322 | 0.0019188 | 0.00048089
29 | 0.9935 | -0.045376 | 0.0022802 | 0.00057146
30 | 0.9938 | -0.043225 | 0 | 0
31 | 0.9969 | -0.021706 | 0.00086855 | 0.00021768
32 | 0.99692 | -0.021593 | 0.0059719 | 0.0014967
33 | 0.99511 | -0.034008 | 0.0029366 | 0.00073599
34 | 0.99371 | -0.043884 | 0.0039306 | 0.00098511
35 | 0.9971 | -0.020313 | 0.0018388 | 0.00046085
36 | 0.99724 | -0.019355 | 0.0081293 | 0.0020374
37 | 0.9975 | -0.017479 | 0 | 0
38 | 0.99871 | -0.0090561 | 0.0038999 | 0.00097741
39 | 0.99857 | -0.0099734 | 0.0031602 | 0.00079201
40 | 0.99932 | -0.00473 | 0.0034796 | 0.00087207
41 | 0.99823 | -0.012357 | 0.0029397 | 0.00073677
42 | 1 | 0 | -0.23129 | -0.058016
43 | 0.99796 | -0.014271 | 0.0026359 | 0.00066062
44 | 0.99843 | -0.010966 | 0.002791 | 0.00069949
45 | 0.99856 | -0.0099823 | 0.0061013 | 0.0015291
46 | 0.99634 | -0.025435 | 0.0044416 | 0.0011132
47 | 0.99746 | -0.017787 | 0.0034635 | 0.00086804
48 | 0.99622 | -0.026228 | 0.0030228 | 0.00075758
49 | 0.99597 | -0.028001 | 0 | 0
50 | 0.9948 | -0.036116 | 0.0030015 | 0.00075225
51 | 0.99155 | -0.058772 | 0.0040474 | 0.0010144
52 | 0.98962 | -0.072323 | 0.0018125 | 0.00045426
53 | 0.98962 | -0.072308 | 0.0023021 | 0.00057696
54 | 0.98967 | -0.071962 | 0.0023339 | 0.00058492
55 | 0.98979 | -0.071109 | 0 | 0
56 | 0.98983 | -0.070866 | 0.002898 | 0.0007263
57 | 0.99 | -0.069656 | 0.0057762 | 0.0014476
58 | 0.99012 | -0.068794 | 0 | 0
59 | 0.9891 | -0.075973 | 0.0022966 | 0.00057558
60 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0075009 | -0.0018792 | 0.0075015 | 0.0018793 | 5.7138e-07 | 1.2649e-07 | 0.011255 | 0.011255 | 0.011255 | 0.99168 | -0.058147 | 0.99176 | -0.057597 | 4.1684
1 | 0.0023712 | 0.00059358 | -0.0023707 | -0.00059416 | 4.577e-07 | -5.7145e-07 | 0.0035577 | 0.0035579 | 0.0035579 | 0.99168 | -0.058147 | 0.99149 | -0.059543 | 1.3178
2 | -0.012836 | -0.0032164 | 0.012842 | 0.0032182 | 5.3989e-06 | 1.7754e-06 | 0.019259 | 0.019259 | 0.019259 | 0.99176 | -0.057597 | 0.99219 | -0.054558 | 7.133
3 | 0.0019584 | 0.00049079 | -0.0019584 | -0.00049083 | 2.0672e-08 | -4.1646e-08 | 0.0029371 | 0.0029371 | 0.0029371 | 0.99219 | -0.054558 | 0.99218 | -0.054634 | 1.0878
4 | -0.0148 | -0.0037089 | 0.014804 | 0.0037103 | 3.9999e-06 | 1.3703e-06 | 0.022196 | 0.022196 | 0.022196 | 0.99219 | -0.054558 | 0.99247 | -0.052606 | 8.2208
5 | -0.021359 | -0.0053516 | 0.021377 | 0.0053582 | 1.8074e-05 | 6.5862e-06 | 0.032023 | 0.032022 | 0.032023 | 0.99247 | -0.052606 | 0.99334 | -0.046495 | 11.8602
6 | 0.0065544 | 0.0016413 | -0.0065541 | -0.0016412 | 2.602e-07 | 4.4274e-08 | 0.0098265 | 0.0098265 | 0.0098265 | 0.99247 | -0.052606 | 0.99243 | -0.052893 | 3.6395
7 | -0.02378 | -0.0059605 | 0.023791 | 0.0059645 | 1.0774e-05 | 3.9677e-06 | 0.035622 | 0.035622 | 0.035622 | 0.99334 | -0.046495 | 0.9938 | -0.043225 | 13.1935
8 | 0.0047454 | 0.0011879 | -0.0047453 | -0.0011879 | 1.3912e-07 | -3.4031e-09 | 0.0071146 | 0.0071147 | 0.0071147 | 0.99243 | -0.052893 | 0.9924 | -0.053106 | 2.6351
9 | -0.0047437 | -0.001188 | 0.0047453 | 0.0011879 | 1.608e-06 | -3.9062e-08 | 0.0071149 | 0.0071147 | 0.0071149 | 0.99205 | -0.055558 | 0.9924 | -0.053106 | 2.6351
10 | 0.0026933 | 0.00067412 | -0.0026928 | -0.00067457 | 5.174e-07 | -4.5694e-07 | 0.0040395 | 0.0040397 | 0.0040397 | 0.99205 | -0.055558 | 0.99186 | -0.056949 | 1.4962
11 | 0.0026928 | 0.00067457 | -0.0026925 | -0.00067481 | 2.6733e-07 | -2.3595e-07 | 0.0040397 | 0.0040398 | 0.0040398 | 0.99186 | -0.056949 | 0.99175 | -0.057666 | 1.4962
12 | -0.014114 | -0.0035373 | 0.014118 | 0.0035388 | 4.4843e-06 | 1.5301e-06 | 0.0215 | 0.0215 | 0.0215 | 0.97682 | -0.16293 | 0.97714 | -0.16064 | 7.963
13 | -0.041687 | -0.010448 | 0.041812 | 0.010496 | 0.00012523 | 4.754e-05 | 0.063482 | 0.063482 | 0.063482 | 0.97714 | -0.16064 | 0.98017 | -0.13901 | 23.5119
14 | -0.041812 | -0.010496 | 0.041875 | 0.01052 | 6.2835e-05 | 2.3852e-05 | 0.063482 | 0.063482 | 0.063482 | 0.98017 | -0.13901 | 0.98169 | -0.1282 | 23.5118
15 | -0.041875 | -0.01052 | 0.042054 | 0.010587 | 0.00017891 | 6.7909e-05 | 0.063482 | 0.063482 | 0.063482 | 0.98169 | -0.1282 | 0.98601 | -0.097616 | 23.5118
16 | 0.0056022 | 0.0014038 | -0.0056008 | -0.0014037 | 1.4131e-06 | 1.395e-07 | 0.0084544 | 0.0084545 | 0.0084545 | 0.98601 | -0.097616 | 0.98576 | -0.099438 | 3.1313
17 | -0.047656 | -0.011991 | 0.047767 | 0.012033 | 0.00011085 | 4.2197e-05 | 0.071936 | 0.071936 | 0.071936 | 0.98601 | -0.097616 | 0.98838 | -0.080985 | 26.6429
18 | -0.051451 | -0.012957 | 0.051452 | 0.012957 | 2.0476e-07 | 7.8052e-08 | 0.077483 | 0.077483 | 0.077483 | 0.98838 | -0.080985 | 0.98838 | -0.080957 | 28.6973
19 | -0.01205 | -0.00302 | 0.012052 | 0.0030206 | 1.9761e-06 | 6.3288e-07 | 0.018003 | 0.018003 | 0.018003 | 0.99594 | -0.028434 | 0.99611 | -0.02725 | 6.6679
20 | 0.027215 | 0.0068222 | -0.027204 | -0.006818 | 1.1329e-05 | 4.2144e-06 | 0.040656 | 0.040656 | 0.040656 | 0.99611 | -0.02725 | 0.99568 | -0.030257 | 15.0577
21 | 0.0017406 | 0.00043598 | -0.0017405 | -0.00043622 | 8.8976e-08 | -2.4031e-07 | 0.0026001 | 0.0026002 | 0.0026002 | 0.99611 | -0.02725 | 0.99606 | -0.027619 | 0.96304
22 | -0.041008 | -0.010279 | 0.041045 | 0.010293 | 3.6777e-05 | 1.394e-05 | 0.061259 | 0.061259 | 0.061259 | 0.99611 | -0.02725 | 0.99703 | -0.020779 | 22.6886
23 | -0.04443 | -0.011141 | 0.04444 | 0.011145 | 1.0486e-05 | 3.9831e-06 | 0.066311 | 0.066311 | 0.066311 | 0.99703 | -0.020779 | 0.99727 | -0.019076 | 24.5596
24 | -0.050845 | -0.01275 | 0.050867 | 0.012759 | 2.1996e-05 | 8.38e-06 | 0.075868 | 0.075868 | 0.075868 | 0.99727 | -0.019076 | 0.99772 | -0.015956 | 28.0992
25 | -0.054558 | -0.013684 | 0.054596 | 0.013698 | 3.7771e-05 | 1.4408e-05 | 0.081372 | 0.081372 | 0.081372 | 0.99772 | -0.015956 | 0.99843 | -0.010966 | 30.1379
26 | -0.054019 | -0.013601 | 0.054057 | 0.013615 | 3.7637e-05 | 1.4359e-05 | 0.081349 | 0.081348 | 0.081349 | 0.98838 | -0.080957 | 0.9891 | -0.075973 | 30.1291
27 | -0.0085043 | -0.0021314 | 0.0085047 | 0.0021315 | 3.9209e-07 | 1.0071e-07 | 0.012742 | 0.012741 | 0.012742 | 0.99317 | -0.047655 | 0.99322 | -0.047322 | 4.7191
28 | -0.010423 | -0.0026124 | 0.010426 | 0.0026132 | 2.8094e-06 | 8.4155e-07 | 0.015616 | 0.015616 | 0.015616 | 0.99322 | -0.047322 | 0.9935 | -0.045376 | 5.7838
29 | -0.012706 | -0.0031847 | 0.01271 | 0.0031859 | 3.7846e-06 | 1.2387e-06 | 0.019031 | 0.019031 | 0.019031 | 0.9935 | -0.045376 | 0.9938 | -0.043225 | 7.0486
30 | -0.040432 | -0.010135 | 0.040484 | 0.010155 | 5.1678e-05 | 1.9583e-05 | 0.060539 | 0.060539 | 0.060539 | 0.9938 | -0.043225 | 0.99511 | -0.034008 | 22.422
31 | 0.003931 | 0.00098504 | -0.0039306 | -0.00098511 | 3.5873e-07 | -7.7022e-08 | 0.0058858 | 0.0058859 | 0.0058859 | 0.9938 | -0.043225 | 0.99371 | -0.043884 | 2.18
32 | -0.00086855 | -0.00021768 | 0.00086857 | 0.00021752 | 1.3553e-08 | -1.6328e-07 | 0.0012964 | 0.0012964 | 0.0012964 | 0.9969 | -0.021706 | 0.99692 | -0.021593 | 0.48016
33 | -0.0068405 | -0.0017142 | 0.0068417 | 0.0017144 | 1.212e-06 | 2.2318e-07 | 0.01021 | 0.01021 | 0.01021 | 0.99692 | -0.021593 | 0.9971 | -0.020313 | 3.7815
34 | -0.04342 | -0.010891 | 0.043456 | 0.010905 | 3.6196e-05 | 1.3743e-05 | 0.06493 | 0.06493 | 0.06493 | 0.99511 | -0.034008 | 0.99597 | -0.028001 | 24.0483
35 | -0.0086805 | -0.0021753 | 0.0086816 | 0.0021756 | 1.1515e-06 | 2.9943e-07 | 0.012954 | 0.012954 | 0.012954 | 0.9971 | -0.020313 | 0.99724 | -0.019355 | 4.7978
36 | -0.016811 | -0.004213 | 0.016815 | 0.0042145 | 4.3674e-06 | 1.5346e-06 | 0.025084 | 0.025084 | 0.025084 | 0.99724 | -0.019355 | 0.9975 | -0.017479 | 9.2905
37 | 0.0034637 | 0.00086799 | -0.0034635 | -0.00086804 | 1.4799e-07 | -5.904e-08 | 0.0051669 | 0.0051669 | 0.0051669 | 0.9975 | -0.017479 | 0.99746 | -0.017787 | 1.9137
38 | -0.020279 | -0.0050825 | 0.020288 | 0.0050858 | 9.0079e-06 | 3.2586e-06 | 0.030251 | 0.030251 | 0.030251 | 0.9975 | -0.017479 | 0.99796 | -0.014271 | 11.2041
39 | 0.029042 | 0.0072819 | -0.029038 | -0.0072806 | 3.6908e-06 | 1.3782e-06 | 0.043272 | 0.043272 | 0.043272 | 0.99871 | -0.0090561 | 0.99857 | -0.0099734 | 16.0268
40 | -0.032942 | -0.0082594 | 0.032962 | 0.0082668 | 1.9757e-05 | 7.4266e-06 | 0.049083 | 0.049083 | 0.049083 | 0.99871 | -0.0090561 | 0.99932 | -0.00473 | 18.1789
41 | 0.025878 | 0.0064885 | -0.02587 | -0.0064854 | 8.5423e-06 | 3.1651e-06 | 0.038563 | 0.038563 | 0.038563 | 0.99857 | -0.0099734 | 0.99823 | -0.012357 | 14.2827
42 | -0.036441 | -0.0091389 | 0.036465 | 0.0091479 | 2.3908e-05 | 9.0248e-06 | 0.054264 | 0.054264 | 0.054264 | 0.99932 | -0.00473 | 1 | 0 | 20.0978
43 | 0.02293 | 0.0057486 | -0.022924 | -0.0057464 | 6.081e-06 | 2.2298e-06 | 0.034181 | 0.034181 | 0.034181 | 0.99823 | -0.012357 | 0.99796 | -0.014271 | 12.6597
44 | 0.057474 | 0.014431 | -0.057387 | -0.014398 | 8.7441e-05 | 3.338e-05 | 0.085532 | 0.085532 | 0.085532 | 1 | 0 | 0.99843 | -0.010966 | 31.6785
45 | 0.13656 | 0.034437 | -0.13636 | -0.034364 | 0.0001908 | 7.2997e-05 | 0.20327 | 0.20327 | 0.20327 | 1 | 0 | 0.99856 | -0.0099823 | 37.6429
46 | 0.13026 | 0.032835 | -0.12998 | -0.032727 | 0.00028127 | 0.00010756 | 0.19418 | 0.19418 | 0.19418 | 0.99856 | -0.0099823 | 0.99634 | -0.025435 | 35.9592
47 | 0.12554 | 0.031614 | -0.12553 | -0.031609 | 1.3911e-05 | 5.3175e-06 | 0.18755 | 0.18755 | 0.18755 | 0.99634 | -0.025435 | 0.99622 | -0.026228 | 34.7308
48 | 0.1225 | 0.030851 | -0.12247 | -0.03084 | 3.0353e-05 | 1.1598e-05 | 0.18303 | 0.18303 | 0.18303 | 0.99622 | -0.026228 | 0.99597 | -0.028001 | 33.8947
49 | 0.079017 | 0.019935 | -0.078927 | -0.0199 | 8.9853e-05 | 3.4425e-05 | 0.1181 | 0.1181 | 0.1181 | 0.99597 | -0.028001 | 0.9948 | -0.036116 | 43.7411
50 | 0.075926 | 0.019148 | -0.075685 | -0.019056 | 0.00024036 | 9.2059e-05 | 0.11361 | 0.11361 | 0.11361 | 0.9948 | -0.036116 | 0.99155 | -0.058772 | 42.0783
51 | 0.071638 | 0.018042 | -0.071538 | -0.018003 | 0.00010022 | 3.8368e-05 | 0.10754 | 0.10754 | 0.10754 | 0.99155 | -0.058772 | 0.99012 | -0.068794 | 39.8288
52 | -0.0018125 | -0.00045426 | 0.0018125 | 0.00045426 | 3.6567e-09 | -8.7306e-09 | 0.0027254 | 0.0027254 | 0.0027254 | 0.98962 | -0.072323 | 0.98962 | -0.072308 | 1.0094
53 | -0.0041146 | -0.0010312 | 0.0041148 | 0.0010312 | 1.9734e-07 | -3.0263e-08 | 0.0061868 | 0.0061868 | 0.0061868 | 0.98962 | -0.072308 | 0.98967 | -0.071962 | 2.2914
54 | -0.0064487 | -0.0016161 | 0.0064494 | 0.0016162 | 7.6097e-07 | 1.2597e-07 | 0.0096958 | 0.0096958 | 0.0096958 | 0.98967 | -0.071962 | 0.98979 | -0.071109 | 3.5911
55 | -0.0064494 | -0.0016162 | 0.0064497 | 0.0016163 | 2.1692e-07 | 3.5901e-08 | 0.0096958 | 0.0096958 | 0.0096958 | 0.98979 | -0.071109 | 0.98983 | -0.070866 | 3.591
56 | -0.0093476 | -0.0023426 | 0.0093492 | 0.002343 | 1.5662e-06 | 4.3897e-07 | 0.014052 | 0.014052 | 0.014052 | 0.98983 | -0.070866 | 0.99 | -0.069656 | 5.2046
57 | -0.015125 | -0.0037907 | 0.015127 | 0.0037913 | 1.8047e-06 | 6.2215e-07 | 0.022734 | 0.022734 | 0.022734 | 0.99 | -0.069656 | 0.99012 | -0.068794 | 8.4201
58 | 0.05641 | 0.014212 | -0.056354 | -0.01419 | 5.6599e-05 | 2.1607e-05 | 0.084803 | 0.084804 | 0.084804 | 0.99012 | -0.068794 | 0.9891 | -0.075973 | 31.4087

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23129 | 0.058016

## res_load
| p_mw | q_mvar
0 | 0.0051297 | 0.0012856
1 | 0.0053349 | 0.001337
2 | 0.0023707 | 0.00059416
3 | 0.0019584 | 0.00049083
4 | 0.0024033 | 0.00060232
5 | 0.0018087 | 0.0004533
6 | 0.0020504 | 0.00051387
7 | 0.0026925 | 0.00067481
8 | 0.014114 | 0.0035373
9 | 0.027569 | 0.0069093
10 | 0.0056008 | 0.0014037
11 | 0.0036844 | 0.0009234
12 | 0.01205 | 0.00302
13 | 0.027204 | 0.006818
14 | 0.0017405 | 0.00043622
15 | 0.003385 | 0.00084837
16 | 0.006405 | 0.0016052
17 | 0.0036909 | 0.00092502
18 | 0.0025679 | 0.00064357
19 | 0.0085043 | 0.0021314
20 | 0.0019188 | 0.00048089
21 | 0.0022802 | 0.00057146
22 | 0.00086855 | 0.00021768
23 | 0.0059719 | 0.0014967
24 | 0.0029366 | 0.00073599
25 | 0.0039306 | 0.00098511
26 | 0.0018388 | 0.00046085
27 | 0.0081293 | 0.0020374
28 | 0.0038999 | 0.00097741
29 | 0.0031602 | 0.00079201
30 | 0.0034796 | 0.00087207
31 | 0.0029397 | 0.00073677
32 | 0.0026359 | 0.00066062
33 | 0.002791 | 0.00069949
34 | 0.0061013 | 0.0015291
35 | 0.0044416 | 0.0011132
36 | 0.0034635 | 0.00086804
37 | 0.0030228 | 0.00075758
38 | 0.0030015 | 0.00075225
39 | 0.0040474 | 0.0010144
40 | 0.0018125 | 0.00045426
41 | 0.0023021 | 0.00057696
42 | 0.0023339 | 0.00058492
43 | 0.002898 | 0.0007263
44 | 0.0057762 | 0.0014476
45 | 0.0022966 | 0.00057558

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1