## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2138-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2138-4_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2138-4_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_2138-4_0_3_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_2138-4_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2138-4_0_3_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_2138-4_0_3_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_2138-4_0_3_node_41 | 0.4 | n |  | TRUE
8 | bus_LV_2138-4_0_3_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_2138-4_0_3_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_2138-4_0_3_node_40 | 0.4 | n |  | TRUE
11 | bus_LV_2138-4_0_3_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_2138-4_0_3_node_75 | 0.4 | n |  | TRUE
13 | bus_LV_2138-4_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_2138-4_0_3_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_2138-4_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_2138-4_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_2138-4_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_2138-4_0_3_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_2138-4_0_3_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_2138-4_0_3_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_2138-4_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2138-4_0_3_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_2138-4_0_3_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_2138-4_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_2138-4_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_2138-4_0_3_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_2138-4_0_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_2138-4_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_2138-4_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_2138-4_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_2138-4_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_2138-4_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_2138-4_0_3_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_2138-4_0_3_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_2138-4_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_2138-4_0_3_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_2138-4_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_2138-4_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_2138-4_0_3_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_2138-4_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_2138-4_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_2138-4_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_2138-4_0_3_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_2138-4_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_2138-4_0_3_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_2138-4_0_3_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_2138-4_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_2138-4_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_2138-4_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_2138-4_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_2138-4_0_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_2138-4_0_3_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_2138-4_0_3_node_77 | 0.4 | n |  | TRUE
54 | bus_LV_2138-4_0_3_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_2138-4_0_3_node_72 | 0.4 | n |  | TRUE
56 | bus_LV_2138-4_0_3_node_64 | 0.4 | n |  | TRUE
57 | bus_LV_2138-4_0_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_2138-4_0_3_node_70 | 0.4 | n |  | TRUE
59 | bus_LV_2138-4_0_3_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_2138-4_0_3_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_2138-4_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_2138-4_0_3_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_2138-4_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_2138-4_0_3_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_2138-4_0_3_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_2138-4_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_2138-4_0_3_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_2138-4_0_3_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_2138-4_0_3_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_2138-4_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_2138-4_0_3_node_73 | 0.4 | n |  | TRUE
72 | bus_LV_2138-4_0_3_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_2138-4_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_2138-4_0_3_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_2138-4_0_3_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_2138-4_0_3_node_69 | 0.4 | n |  | TRUE
77 | bus_MV_147_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2138-4_0_3_load_0 | 0 | 0.010463 | 0.0026224 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2138-4_0_3_load_4 | 2 | 0.0041846 | 0.0010488 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2138-4_0_3_load_43 | 5 | 0.0037486 | 0.00093949 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2138-4_0_3_load_44 | 6 | 0.0024442 | 0.00061257 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2138-4_0_3_load_41 | 7 | 0.0041624 | 0.0010432 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2138-4_0_3_load_76 | 8 | 0.003183 | 0.00079774 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2138-4_0_3_load_40 | 10 | 0.0020032 | 0.00050205 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2138-4_0_3_load_75 | 12 | 0.0039185 | 0.00098206 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2138-4_0_3_load_12 | 13 | 0.00074771 | 0.00018739 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2138-4_0_3_load_39 | 14 | 0.0044691 | 0.0011201 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2138-4_0_3_load_6 | 15 | 0.017954 | 0.0044997 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2138-4_0_3_load_8 | 17 | 0.0037997 | 0.0009523 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2138-4_0_3_load_48 | 19 | 0.0038344 | 0.00096098 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2138-4_0_3_load_49 | 20 | 0.0068121 | 0.0017073 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2138-4_0_3_load_19 | 21 | 0.018765 | 0.004703 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2138-4_0_3_load_9 | 22 | 0.0021106 | 0.00052898 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2138-4_0_3_load_13 | 25 | 0.0025927 | 0.0006498 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2138-4_0_3_load_38 | 26 | 0.00096667 | 0.00024227 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2138-4_0_3_load_37 | 27 | 0.001132 | 0.00028371 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2138-4_0_3_load_14 | 29 | 0.0010282 | 0.00025768 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2138-4_0_3_load_15 | 30 | 0.0035019 | 0.00087765 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2138-4_0_3_load_17 | 32 | 0.00125 | 0.00031329 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2138-4_0_3_load_18 | 33 | 0.0018051 | 0.00045239 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2138-4_0_3_load_30 | 35 | 0.007771 | 0.0019476 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2138-4_0_3_load_74 | 36 | 0.0018802 | 0.00047122 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2138-4_0_3_load_28 | 38 | 0.0020584 | 0.00051587 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2138-4_0_3_load_21 | 39 | 0.0053522 | 0.0013414 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2138-4_0_3_load_34 | 41 | 0.0018387 | 0.00046083 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2138-4_0_3_load_33 | 42 | 0.00081374 | 0.00020394 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2138-4_0_3_load_24 | 43 | 0.0018244 | 0.00045723 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2138-4_0_3_load_25 | 44 | 0.001785 | 0.00044737 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2138-4_0_3_load_79 | 45 | 0.001512 | 0.00037893 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2138-4_0_3_load_29 | 46 | 0.0030395 | 0.00076177 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2138-4_0_3_load_31 | 47 | 0.0040029 | 0.0010032 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2138-4_0_3_load_45 | 49 | 0.0021619 | 0.00054182 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2138-4_0_3_load_46 | 50 | 0.0022186 | 0.00055602 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2138-4_0_3_load_63 | 51 | 0.00092971 | 0.00023301 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2138-4_0_3_load_62 | 52 | 0.0017687 | 0.00044328 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2138-4_0_3_load_78 | 54 | 0.0027922 | 0.00069979 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2138-4_0_3_load_72 | 55 | 0.0070653 | 0.0017707 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2138-4_0_3_load_70 | 58 | 0.003563 | 0.00089297 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2138-4_0_3_load_71 | 59 | 0.0035472 | 0.00088901 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2138-4_0_3_load_58 | 61 | 0.0054408 | 0.0013636 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2138-4_0_3_load_50 | 63 | 0.0026595 | 0.00066653 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2138-4_0_3_load_51 | 64 | 0.0024291 | 0.0006088 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2138-4_0_3_load_54 | 65 | 0.001506 | 0.00037745 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2138-4_0_3_load_55 | 66 | 0.0033534 | 0.00084045 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2138-4_0_3_load_56 | 67 | 0.0011825 | 0.00029636 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2138-4_0_3_load_57 | 68 | 0.0018385 | 0.00046077 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2138-4_0_3_load_59 | 69 | 0.0052046 | 0.0013044 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2138-4_0_3_load_67 | 70 | 0.0034963 | 0.00087627 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2138-4_0_3_load_73 | 71 | 0.0028831 | 0.00072256 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2138-4_0_3_load_60 | 72 | 0.010486 | 0.002628 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_2138-4_0_3_load_65 | 73 | 0.0023954 | 0.00060033 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_2138-4_0_3_load_66 | 74 | 0.0025894 | 0.00064896 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_2138-4_0_3_load_68 | 75 | 0.0033695 | 0.00084448 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_2138-4_0_3_load_69 | 76 | 0.0040501 | 0.0010151 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2138-4_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.045576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2138-4_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.051678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2138-4_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.005822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2138-4_0_3_line_3 | NAYY 4x150 SE | 2 | 8 | 0.0069513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2138-4_0_3_line_4 | NAYY 4x150 SE | 3 | 9 | 0.005526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2138-4_0_3_line_5 | NAYY 4x150 SE | 3 | 10 | 0.0086242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2138-4_0_3_line_6 | NAYY 4x150 SE | 4 | 5 | 0.02449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2138-4_0_3_line_7 | NAYY 4x150 SE | 4 | 6 | 0.023355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2138-4_0_3_line_8 | NAYY 4x150 SE | 4 | 7 | 0.015369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2138-4_0_3_line_9 | NAYY 4x150 SE | 7 | 11 | 0.0069455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2138-4_0_3_line_10 | NAYY 4x150 SE | 8 | 12 | 0.00098218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2138-4_0_3_line_11 | NAYY 4x150 SE | 9 | 13 | 0.055063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2138-4_0_3_line_12 | NAYY 4x150 SE | 10 | 14 | 0.0092082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2138-4_0_3_line_13 | NAYY 4x150 SE | 11 | 49 | 0.027096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2138-4_0_3_line_14 | NAYY 4x150 SE | 11 | 50 | 0.014257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2138-4_0_3_line_15 | NAYY 4x150 SE | 12 | 53 | 0.0089106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2138-4_0_3_line_16 | NAYY 4x150 SE | 13 | 23 | 0.068188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2138-4_0_3_line_17 | NAYY 4x150 SE | 14 | 48 | 0.0036459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2138-4_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.022215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2138-4_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.013568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2138-4_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.013581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2138-4_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.027939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2138-4_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.015474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2138-4_0_3_line_23 | NAYY 4x150 SE | 18 | 21 | 0.0048193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2138-4_0_3_line_24 | NAYY 4x150 SE | 19 | 58 | 0.0090901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2138-4_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.016682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2138-4_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.037585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2138-4_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.03874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2138-4_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.027683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2138-4_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.018972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2138-4_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.010573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2138-4_0_3_line_31 | NAYY 4x150 SE | 28 | 41 | 0.047607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2138-4_0_3_line_32 | NAYY 4x150 SE | 28 | 40 | 0.010248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2138-4_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.0077332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2138-4_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.012103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2138-4_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.031412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2138-4_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.010254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2138-4_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.061578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2138-4_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.023191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2138-4_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.019115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2138-4_0_3_line_40 | NAYY 4x150 SE | 34 | 37 | 0.019467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2138-4_0_3_line_41 | NAYY 4x150 SE | 35 | 38 | 0.0033484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2138-4_0_3_line_42 | NAYY 4x150 SE | 36 | 45 | 0.014906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2138-4_0_3_line_43 | NAYY 4x150 SE | 37 | 44 | 0.064318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2138-4_0_3_line_44 | NAYY 4x150 SE | 38 | 46 | 0.026547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2138-4_0_3_line_45 | NAYY 4x150 SE | 39 | 40 | 0.04893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2138-4_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.0073677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2138-4_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.00024337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2138-4_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0058029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2138-4_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.022334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2138-4_0_3_line_50 | NAYY 4x150 SE | 49 | 51 | 0.017413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2138-4_0_3_line_51 | NAYY 4x150 SE | 50 | 52 | 0.055086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2138-4_0_3_line_52 | NAYY 4x150 SE | 51 | 56 | 0.0038243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2138-4_0_3_line_53 | NAYY 4x150 SE | 52 | 57 | 0.095427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2138-4_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.012799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2138-4_0_3_line_55 | NAYY 4x150 SE | 53 | 55 | 0.021651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_2138-4_0_3_line_56 | NAYY 4x150 SE | 54 | 74 | 0.011488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2138-4_0_3_line_57 | NAYY 4x150 SE | 55 | 59 | 0.024792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_2138-4_0_3_line_58 | NAYY 4x150 SE | 56 | 73 | 0.0091997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2138-4_0_3_line_59 | NAYY 4x150 SE | 56 | 74 | 0.025832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2138-4_0_3_line_60 | NAYY 4x150 SE | 57 | 72 | 0.0056049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2138-4_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.0088863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_2138-4_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.0077698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2138-4_0_3_line_63 | NAYY 4x150 SE | 60 | 62 | 0.05369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2138-4_0_3_line_64 | NAYY 4x150 SE | 61 | 67 | 0.012217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2138-4_0_3_line_65 | NAYY 4x150 SE | 62 | 65 | 0.04625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2138-4_0_3_line_66 | NAYY 4x150 SE | 62 | 66 | 0.095964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2138-4_0_3_line_67 | NAYY 4x150 SE | 62 | 63 | 0.033501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2138-4_0_3_line_68 | NAYY 4x150 SE | 63 | 64 | 0.089105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2138-4_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.016771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2138-4_0_3_line_70 | NAYY 4x150 SE | 68 | 69 | 0.016829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_2138-4_0_3_line_71 | NAYY 4x150 SE | 69 | 70 | 0.023082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_2138-4_0_3_line_72 | NAYY 4x150 SE | 70 | 71 | 0.0044773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_2138-4_0_3_line_73 | NAYY 4x150 SE | 71 | 76 | 0.01493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_2138-4_0_3_line_74 | NAYY 4x150 SE | 73 | 75 | 0.017828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_2138-4_0_3_line_75 | NAYY 4x150 SE | 75 | 76 | 0.0021259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2138-4_0_3_trafo_70 | 0.25 MVA 20/0.4 kV | 77 | 58 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2587583.4835 | 1162209.3209 | 2587628.1885 | 1162218.1892
1 | 2587583.4835 | 1162209.3209 | 2587582.6846 | 1162215.6368 | 2587582.5935 | 1162219.7279 | 2587584.1509 | 1162224.4937 | 2587586.0481 | 1162226.891 | 2587589.8166 | 1162230.2515 | 2587592.3888 | 1162233.0475 | 2587592.9214 | 1162235.0141 | 2587592.8492 | 1162237.1375 | 2587591.6589 | 1162239.4411 | 2587587.9905 | 1162243.662 | 2587576.2047 | 1162245.6541
2 | 2587577.8725 | 1162207.7096 | 2587583.4835 | 1162209.3209
3 | 2587576.2047 | 1162245.6541 | 2587576.2047 | 1162245.6541 | 2587575.375 | 1162252.5557
4 | 2587577.8725 | 1162207.7096 | 2587578.9643 | 1162202.2935
5 | 2587577.8725 | 1162207.7096 | 2587569.5592 | 1162205.4147
6 | 2587620.8933 | 1162287.8601 | 2587633.5428 | 1162296.0491 | 2587632.4181 | 1162300.4425 | 2587627.5328 | 1162300.3434
7 | 2587620.8933 | 1162287.8601 | 2587615.5044 | 1162286.1927 | 2587599.1956 | 1162279.2786
8 | 2587620.8933 | 1162287.8601 | 2587615.4146 | 1162302.2199
9 | 2587612.9388 | 1162308.7092 | 2587615.4146 | 1162302.2199
10 | 2587575.2577 | 1162253.5309 | 2587575.375 | 1162252.5557
11 | 2587578.9643 | 1162202.2935 | 2587580.3651 | 1162194.3644 | 2587577.4704 | 1162183.8319 | 2587575.7012 | 1162180.3672 | 2587568.376 | 1162168.6544 | 2587565.0547 | 1162163.0029 | 2587561.0044 | 1162153.062 | 2587560.6483 | 1162152.0277
12 | 2587560.6831 | 1162202.9644 | 2587569.5592 | 1162205.4147
13 | 2587612.9388 | 1162308.7092 | 2587606.93 | 1162311.0561 | 2587586.2858 | 1162311.236
14 | 2587612.9388 | 1162308.7092 | 2587614.0254 | 1162322.9251
15 | 2587574.1941 | 1162262.3777 | 2587575.2577 | 1162253.5309
16 | 2587534.6845 | 1162092.1199 | 2587535.7964 | 1162096.2863 | 2587544.8212 | 1162103.7267 | 2587549.1053 | 1162108.1756 | 2587552.3475 | 1162112.6155 | 2587553.8643 | 1162116.2252 | 2587554.8011 | 1162120.9478 | 2587555.6414 | 1162127.1825 | 2587556.2181 | 1162135.541 | 2587557.2408 | 1162141.0527 | 2587558.4224 | 1162145.5636 | 2587560.6483 | 1162152.0277
17 | 2587557.1686 | 1162201.9943 | 2587560.6831 | 1162202.9644
18 | 2587455.7113 | 1162254.388 | 2587434.4959 | 1162247.7982
19 | 2587455.7113 | 1162254.388 | 2587466.5491 | 1162257.0332 | 2587468.9604 | 1162256.9645
20 | 2587482.5362 | 1162256.5773 | 2587468.9604 | 1162256.9645
21 | 2587482.5362 | 1162256.5773 | 2587485.4782 | 1162256.7156 | 2587505.3634 | 1162255.6513 | 2587510.4432 | 1162255.5627
22 | 2587482.5362 | 1162256.5773 | 2587482.7759 | 1162261.2902 | 2587481.1162 | 1162271.9165
23 | 2587482.5362 | 1162256.5773 | 2587478.0814 | 1162254.7387
24 | 2587519.5319 | 1162255.4042 | 2587510.4432 | 1162255.5627
25 | 2587534.6845 | 1162092.1199 | 2587527.1188 | 1162097.3494 | 2587523.8508 | 1162104.0825
26 | 2587534.6845 | 1162092.1199 | 2587555.7404 | 1162104.8045 | 2587564.5629 | 1162114.4465
27 | 2587534.6845 | 1162092.1199 | 2587528.7865 | 1162081.5603 | 2587516.837 | 1162071.358 | 2587507.6353 | 1162065.4552
28 | 2587564.5629 | 1162114.4465 | 2587568.5128 | 1162120.2745 | 2587572.9289 | 1162125.6235 | 2587577.9471 | 1162129.4372 | 2587584.6896 | 1162132.4952
29 | 2587490.1347 | 1162058.3825 | 2587504.0029 | 1162063.1251 | 2587507.6353 | 1162065.4552
30 | 2587594.3186 | 1162136.8624 | 2587584.6896 | 1162132.4952
31 | 2587594.3186 | 1162136.8624 | 2587600.9776 | 1162115.4824 | 2587604.0291 | 1162101.9027 | 2587606.3522 | 1162095.428 | 2587608.5353 | 1162091.5882
32 | 2587594.3186 | 1162136.8624 | 2587603.9101 | 1162140.5444
33 | 2587457.3178 | 1162174.4669 | 2587449.8857 | 1162172.3301
34 | 2587468.9493 | 1162177.8111 | 2587457.3178 | 1162174.4669
35 | 2587419.6971 | 1162163.6504 | 2587449.8857 | 1162172.3301
36 | 2587468.9493 | 1162177.8111 | 2587478.903 | 1162180.2755
37 | 2587359.9884 | 1162148.7484 | 2587390.4543 | 1162155.2428 | 2587419.6971 | 1162163.6504
38 | 2587478.903 | 1162180.2755 | 2587480.3469 | 1162180.633 | 2587501.2569 | 1162186.4473
39 | 2587359.9884 | 1162148.7484 | 2587356.8844 | 1162162.5618 | 2587354.2951 | 1162166.7888
40 | 2587340.6542 | 1162146.0435 | 2587359.9884 | 1162148.7484
41 | 2587501.2569 | 1162186.4473 | 2587504.4829 | 1162187.3443
42 | 2587354.2951 | 1162166.7888 | 2587349.6774 | 1162174.3273 | 2587343.8373 | 1162175.9673
43 | 2587340.6542 | 1162146.0435 | 2587341.8085 | 1162137.6258 | 2587343.9181 | 1162131.7406 | 2587347.2258 | 1162127.2536 | 2587352.5178 | 1162122.818 | 2587364.5902 | 1162114.9885 | 2587371.9917 | 1162111.8713 | 2587379.6099 | 1162109.7653 | 2587385.4172 | 1162109.9087 | 2587386.3665 | 1162110.0277
44 | 2587504.4829 | 1162187.3443 | 2587530.0598 | 1162194.4563
45 | 2587603.9101 | 1162140.5444 | 2587600.8454 | 1162155.1357 | 2587599.7464 | 1162164.5093 | 2587595.2861 | 1162171.0997 | 2587594.9523 | 1162172.6678 | 2587595.9598 | 1162174.5666 | 2587604.4567 | 1162184.2359
46 | 2587613.8095 | 1162086.4716 | 2587612.1127 | 1162087.7789 | 2587608.5353 | 1162091.5882
47 | 2587386.608 | 1162110.058 | 2587386.3665 | 1162110.0277
48 | 2587535.6506 | 1162196.0109 | 2587530.0598 | 1162194.4563
49 | 2587557.1686 | 1162201.9943 | 2587535.6506 | 1162196.0109
50 | 2587568.8739 | 1162311.3878 | 2587586.2858 | 1162311.236
51 | 2587616.6168 | 1162371.8762 | 2587618.3024 | 1162368.3499 | 2587626.8835 | 1162343.0751 | 2587625.3987 | 1162336.3304 | 2587614.0254 | 1162322.9251
52 | 2587565.0497 | 1162311.4211 | 2587568.8739 | 1162311.3878
53 | 2587598.6485 | 1162462.1706 | 2587595.2262 | 1162441.0005 | 2587595.1911 | 1162416.6996 | 2587616.6168 | 1162371.8762
54 | 2587574.1941 | 1162262.3777 | 2587571.762 | 1162267.9967 | 2587570.599 | 1162274.5711
55 | 2587574.1941 | 1162262.3777 | 2587557.493 | 1162258.3883 | 2587553.0465 | 1162257.8435
56 | 2587570.599 | 1162274.5711 | 2587568.5979 | 1162285.8838
57 | 2587528.4169 | 1162255.2493 | 2587531.4397 | 1162255.1965 | 2587553.0465 | 1162257.8435
58 | 2587565.0497 | 1162311.4211 | 2587555.8503 | 1162311.4985
59 | 2587565.0497 | 1162311.4211 | 2587565.2958 | 1162304.5505 | 2587568.5979 | 1162285.8838
60 | 2587598.6485 | 1162462.1706 | 2587601.3027 | 1162467.1073
61 | 2587519.5319 | 1162255.4042 | 2587528.4169 | 1162255.2493
62 | 2587440.4401 | 1162311.1483 | 2587447.6834 | 1162313.9598
63 | 2587388.9471 | 1162297.6834 | 2587395.5221 | 1162298.67 | 2587417.6657 | 1162307.8946 | 2587424.473 | 1162310.1147 | 2587434.6566 | 1162311.2716 | 2587440.4401 | 1162311.1483
64 | 2587459.8593 | 1162313.5051 | 2587448.0458 | 1162314.1004 | 2587447.6834 | 1162313.9598
65 | 2587388.9471 | 1162297.6834 | 2587372.0359 | 1162295.8182 | 2587343.7106 | 1162297.6901 | 2587342.9109 | 1162297.9767
66 | 2587388.9471 | 1162297.6834 | 2587375.7538 | 1162286.0944 | 2587370.1062 | 1162278.069 | 2587361.5699 | 1162255.2868 | 2587343.3291 | 1162233.3923 | 2587330.8556 | 1162223.7526
67 | 2587388.9471 | 1162297.6834 | 2587384.0122 | 1162300.6397 | 2587381.7132 | 1162303.924 | 2587381.709 | 1162309.1933 | 2587383.7846 | 1162316.2146 | 2587390.196 | 1162325.3351
68 | 2587390.196 | 1162325.3351 | 2587392.3367 | 1162328.3804 | 2587416.0142 | 1162353.0427 | 2587444.9543 | 1162377.7052 | 2587456.2595 | 1162384.462
69 | 2587459.8593 | 1162313.5051 | 2587476.6087 | 1162312.661
70 | 2587476.6087 | 1162312.661 | 2587493.4165 | 1162311.8139
71 | 2587516.4891 | 1162311.4822 | 2587500.5237 | 1162311.4558 | 2587493.4165 | 1162311.8139
72 | 2587520.9664 | 1162311.4896 | 2587516.4891 | 1162311.4822
73 | 2587520.9664 | 1162311.4896 | 2587535.8965 | 1162311.5143
74 | 2587555.8503 | 1162311.4985 | 2587551.0002 | 1162311.5393 | 2587538.0223 | 1162311.5178
75 | 2587538.0223 | 1162311.5178 | 2587535.8965 | 1162311.5143

## bus_geodata
| x | y | coords
0 | 2587628.1885 | 1162218.1892
1 | 2587583.4835 | 1162209.3209
2 | 2587576.2047 | 1162245.6541
3 | 2587577.8725 | 1162207.7096
4 | 2587620.8933 | 1162287.8601
5 | 2587627.5328 | 1162300.3434
6 | 2587599.1956 | 1162279.2786
7 | 2587615.4146 | 1162302.2199
8 | 2587575.375 | 1162252.5557
9 | 2587578.9643 | 1162202.2935
10 | 2587569.5592 | 1162205.4147
11 | 2587612.9388 | 1162308.7092
12 | 2587575.2577 | 1162253.5309
13 | 2587560.6482 | 1162152.0277
14 | 2587560.6831 | 1162202.9644
15 | 2587434.4959 | 1162247.7982
16 | 2587455.7113 | 1162254.388
17 | 2587468.9604 | 1162256.9645
18 | 2587482.5362 | 1162256.5773
19 | 2587510.4432 | 1162255.5627
20 | 2587481.1162 | 1162271.9165
21 | 2587478.0814 | 1162254.7387
22 | 2587523.8508 | 1162104.0825
23 | 2587534.6845 | 1162092.1199
24 | 2587564.5629 | 1162114.4465
25 | 2587507.6353 | 1162065.4552
26 | 2587584.6896 | 1162132.4952
27 | 2587490.1347 | 1162058.3825
28 | 2587594.3186 | 1162136.8624
29 | 2587457.3178 | 1162174.4669
30 | 2587449.8857 | 1162172.3301
31 | 2587468.9493 | 1162177.8111
32 | 2587419.6971 | 1162163.6504
33 | 2587478.903 | 1162180.2755
34 | 2587359.9884 | 1162148.7484
35 | 2587501.2569 | 1162186.4473
36 | 2587354.2951 | 1162166.7888
37 | 2587340.6542 | 1162146.0435
38 | 2587504.4829 | 1162187.3443
39 | 2587604.4567 | 1162184.2359
40 | 2587603.9101 | 1162140.5444
41 | 2587608.5353 | 1162091.5882
42 | 2587613.8095 | 1162086.4716
43 | 2587386.608 | 1162110.058
44 | 2587386.3665 | 1162110.0277
45 | 2587343.8373 | 1162175.9673
46 | 2587530.0598 | 1162194.4563
47 | 2587535.6506 | 1162196.0109
48 | 2587557.1686 | 1162201.9943
49 | 2587586.2858 | 1162311.236
50 | 2587614.0254 | 1162322.9251
51 | 2587568.8738 | 1162311.3878
52 | 2587616.6168 | 1162371.8762
53 | 2587574.1941 | 1162262.3777
54 | 2587570.599 | 1162274.5711
55 | 2587553.0465 | 1162257.8435
56 | 2587565.0497 | 1162311.4211
57 | 2587598.6485 | 1162462.1706
58 | 2587519.5319 | 1162255.4042
59 | 2587528.4169 | 1162255.2493
60 | 2587440.4401 | 1162311.1483
61 | 2587447.6834 | 1162313.9598
62 | 2587388.9471 | 1162297.6834
63 | 2587390.196 | 1162325.3351
64 | 2587456.2595 | 1162384.462
65 | 2587342.9109 | 1162297.9767
66 | 2587330.8556 | 1162223.7526
67 | 2587459.8593 | 1162313.5051
68 | 2587476.6087 | 1162312.661
69 | 2587493.4165 | 1162311.8139
70 | 2587516.4891 | 1162311.4822
71 | 2587520.9664 | 1162311.4896
72 | 2587601.3027 | 1162467.1073
73 | 2587555.8503 | 1162311.4985
74 | 2587568.5979 | 1162285.8838
75 | 2587538.0223 | 1162311.5178
76 | 2587535.8965 | 1162311.5143
77 | 2587482.5362 | 1162256.5773

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98664 | -0.093508 | 0.010463 | 0.0026224
1 | 0.98733 | -0.088622 | 0 | 0
2 | 0.99212 | -0.05491 | 0.0041846 | 0.0010488
3 | 0.98688 | -0.091815 | 0 | 0
4 | 0.98677 | -0.092622 | 0 | 0
5 | 0.98664 | -0.093564 | 0.0037486 | 0.00093949
6 | 0.98669 | -0.093208 | 0.0024442 | 0.00061257
7 | 0.98691 | -0.091646 | 0.0041624 | 0.0010432
8 | 0.9928 | -0.050105 | 0.003183 | 0.00079774
9 | 0.98675 | -0.092698 | 0 | 0
10 | 0.9864 | -0.095172 | 0.0020032 | 0.00050205
11 | 0.98701 | -0.090909 | 0 | 0
12 | 0.9929 | -0.049395 | 0.0039185 | 0.00098206
13 | 0.98551 | -0.10151 | 0.00074771 | 0.00018739
14 | 0.98592 | -0.09857 | 0.0044691 | 0.0011201
15 | 0.9961 | -0.027311 | 0.017954 | 0.0044997
16 | 0.99667 | -0.023301 | 0 | 0
17 | 0.99702 | -0.020854 | 0.0037997 | 0.0009523
18 | 0.99744 | -0.017889 | 0 | 0
19 | 0.99934 | -0.0046458 | 0.0038344 | 0.00096098
20 | 0.99729 | -0.018946 | 0.0068121 | 0.0017073
21 | 0.99731 | -0.018796 | 0.018765 | 0.004703
22 | 0.984 | -0.11228 | 0.0021106 | 0.00052898
23 | 0.98405 | -0.11192 | 0 | 0
24 | 0.98356 | -0.1154 | 0 | 0
25 | 0.98384 | -0.11341 | 0.0025927 | 0.0006498
26 | 0.9832 | -0.11797 | 0.00096667 | 0.00024227
27 | 0.98381 | -0.11363 | 0.001132 | 0.00028371
28 | 0.98308 | -0.11884 | 0 | 0
29 | 0.98255 | -0.12254 | 0.0010282 | 0.00025768
30 | 0.98242 | -0.12348 | 0.0035019 | 0.00087765
31 | 0.98278 | -0.12094 | 0 | 0
32 | 0.98204 | -0.12617 | 0.00125 | 0.00031329
33 | 0.98297 | -0.11958 | 0.0018051 | 0.00045239
34 | 0.98142 | -0.13064 | 0 | 0
35 | 0.98346 | -0.11608 | 0.007771 | 0.0019476
36 | 0.98132 | -0.13131 | 0.0018802 | 0.00047122
37 | 0.98132 | -0.13137 | 0 | 0
38 | 0.98357 | -0.11531 | 0.0020584 | 0.00051587
39 | 0.98262 | -0.12212 | 0.0053522 | 0.0013414
40 | 0.983 | -0.11941 | 0 | 0
41 | 0.98289 | -0.12015 | 0.0018387 | 0.00046083
42 | 0.98288 | -0.12021 | 0.00081374 | 0.00020394
43 | 0.98098 | -0.13378 | 0.0018244 | 0.00045723
44 | 0.98098 | -0.13378 | 0.001785 | 0.00044737
45 | 0.98129 | -0.13155 | 0.001512 | 0.00037893
46 | 0.98451 | -0.10862 | 0.0030395 | 0.00076177
47 | 0.98474 | -0.10698 | 0.0040029 | 0.0010032
48 | 0.98576 | -0.099749 | 0 | 0
49 | 0.98799 | -0.084017 | 0.0021619 | 0.00054182
50 | 0.98672 | -0.093026 | 0.0022186 | 0.00055602
51 | 0.98867 | -0.07921 | 0.00092971 | 0.00023301
52 | 0.98574 | -0.099959 | 0.0017687 | 0.00044328
53 | 0.99387 | -0.042608 | 0 | 0
54 | 0.99252 | -0.052085 | 0.0027922 | 0.00069979
55 | 0.99619 | -0.026403 | 0.0070653 | 0.0017707
56 | 0.98882 | -0.078119 | 0 | 0
57 | 0.98429 | -0.11026 | 0 | 0
58 | 1 | 0 | -0.21319 | -0.053511
59 | 0.99898 | -0.0070634 | 0.0035472 | 0.00088901
60 | 0.98437 | -0.10967 | 0 | 0
61 | 0.98449 | -0.10887 | 0.0054408 | 0.0013636
62 | 0.9836 | -0.11519 | 0 | 0
63 | 0.98335 | -0.11696 | 0.0026595 | 0.00066653
64 | 0.98304 | -0.11919 | 0.0024291 | 0.0006088
65 | 0.9835 | -0.11591 | 0.001506 | 0.00037745
66 | 0.98313 | -0.11852 | 0.0033534 | 0.00084045
67 | 0.98476 | -0.10694 | 0.0011825 | 0.00029636
68 | 0.98516 | -0.10407 | 0.0018385 | 0.00046077
69 | 0.98561 | -0.10088 | 0.0052046 | 0.0013044
70 | 0.9864 | -0.095276 | 0.0034963 | 0.00087627
71 | 0.98657 | -0.094029 | 0.0028831 | 0.00072256
72 | 0.9842 | -0.11086 | 0.010486 | 0.002628
73 | 0.98829 | -0.081863 | 0.0023954 | 0.00060033
74 | 0.99135 | -0.060288 | 0.0025894 | 0.00064896
75 | 0.98733 | -0.088693 | 0.0033695 | 0.00084448
76 | 0.98722 | -0.089435 | 0.0040501 | 0.0010151
77 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010463 | -0.0026224 | 0.010471 | 0.0026245 | 7.0821e-06 | 2.1414e-06 | 0.015781 | 0.01578 | 0.015781 | 0.98664 | -0.093508 | 0.98733 | -0.088622 | 5.8447
1 | -0.06416 | -0.016098 | 0.064462 | 0.016214 | 0.00030156 | 0.00011532 | 0.096703 | 0.096703 | 0.096703 | 0.98733 | -0.088622 | 0.99212 | -0.05491 | 35.816
2 | 0.05369 | 0.013474 | -0.053666 | -0.013465 | 2.379e-05 | 9.0757e-06 | 0.080923 | 0.080923 | 0.080923 | 0.98733 | -0.088622 | 0.98688 | -0.091815 | 29.9714
3 | -0.068646 | -0.017262 | 0.068692 | 0.01728 | 4.5999e-05 | 1.7602e-05 | 0.10298 | 0.10298 | 0.10298 | 0.99212 | -0.05491 | 0.9928 | -0.050105 | 38.1404
4 | 0.015609 | 0.0039143 | -0.015607 | -0.0039137 | 1.9102e-06 | 6.6408e-07 | 0.023536 | 0.023536 | 0.023536 | 0.98688 | -0.091815 | 0.98675 | -0.092698 | 8.7171
5 | 0.038057 | 0.0095504 | -0.038039 | -0.0095437 | 1.7722e-05 | 6.7062e-06 | 0.057387 | 0.057387 | 0.057387 | 0.98688 | -0.091815 | 0.9864 | -0.095172 | 21.2543
6 | 0.0037491 | 0.00093937 | -0.0037486 | -0.00093949 | 4.8844e-07 | -1.2495e-07 | 0.0056534 | 0.0056535 | 0.0056535 | 0.98677 | -0.092622 | 0.98664 | -0.093564 | 2.0939
7 | 0.0024444 | 0.00061234 | -0.0024442 | -0.00061257 | 1.98e-07 | -2.2217e-07 | 0.0036859 | 0.003686 | 0.003686 | 0.98677 | -0.092622 | 0.98669 | -0.093208 | 1.3652
8 | -0.0061935 | -0.0015517 | 0.0061943 | 0.0015518 | 8.3651e-07 | 1.2537e-07 | 0.0093393 | 0.0093393 | 0.0093393 | 0.98677 | -0.092622 | 0.98691 | -0.091646 | 3.459
9 | -0.010357 | -0.002595 | 0.010358 | 0.0025954 | 1.0568e-06 | 3.1769e-07 | 0.015615 | 0.015615 | 0.015615 | 0.98691 | -0.091646 | 0.98701 | -0.090909 | 5.7834
10 | -0.071875 | -0.018078 | 0.071882 | 0.018081 | 7.1156e-06 | 2.7241e-06 | 0.10775 | 0.10775 | 0.10775 | 0.9928 | -0.050105 | 0.9929 | -0.049395 | 39.9073
11 | 0.015607 | 0.0039137 | -0.015588 | -0.003907 | 1.9034e-05 | 6.6182e-06 | 0.023536 | 0.023537 | 0.023537 | 0.98675 | -0.092698 | 0.98551 | -0.10151 | 8.7172
12 | 0.036036 | 0.0090417 | -0.036019 | -0.0090353 | 1.6982e-05 | 6.4141e-06 | 0.054365 | 0.054365 | 0.054365 | 0.9864 | -0.095172 | 0.98592 | -0.09857 | 20.1351
13 | -0.024863 | -0.0062328 | 0.024887 | 0.0062416 | 2.3756e-05 | 8.7903e-06 | 0.037484 | 0.037484 | 0.037484 | 0.98701 | -0.090909 | 0.98799 | -0.084017 | 13.8829
14 | 0.014505 | 0.0036375 | -0.014501 | -0.003636 | 4.2547e-06 | 1.4543e-06 | 0.021869 | 0.021869 | 0.021869 | 0.98701 | -0.090909 | 0.98672 | -0.093026 | 8.0995
15 | -0.075801 | -0.019063 | 0.075873 | 0.01909 | 7.1782e-05 | 2.7493e-05 | 0.11362 | 0.11362 | 0.11362 | 0.9929 | -0.049395 | 0.99387 | -0.042608 | 42.0823
16 | 0.01484 | 0.0037197 | -0.014819 | -0.0037123 | 2.1364e-05 | 7.3494e-06 | 0.022408 | 0.022408 | 0.022408 | 0.98551 | -0.10151 | 0.98405 | -0.11192 | 8.2992
17 | 0.03155 | 0.0079152 | -0.031545 | -0.0079133 | 5.1589e-06 | 1.9377e-06 | 0.04762 | 0.04762 | 0.04762 | 0.98592 | -0.09857 | 0.98576 | -0.099749 | 17.6369
18 | -0.017954 | -0.0044997 | 0.017964 | 0.0045032 | 9.9716e-06 | 3.5459e-06 | 0.02682 | 0.02682 | 0.02682 | 0.9961 | -0.027311 | 0.99667 | -0.023301 | 9.9335
19 | -0.017964 | -0.0045032 | 0.01797 | 0.0045054 | 6.0902e-06 | 2.1655e-06 | 0.02682 | 0.02682 | 0.02682 | 0.99667 | -0.023301 | 0.99702 | -0.020854 | 9.9334
20 | -0.02177 | -0.0054577 | 0.021779 | 0.005461 | 8.9466e-06 | 3.2638e-06 | 0.032491 | 0.032491 | 0.032491 | 0.99702 | -0.020854 | 0.99744 | -0.017889 | 12.0338
21 | -0.047359 | -0.011872 | 0.047446 | 0.011905 | 8.7029e-05 | 3.3107e-05 | 0.070653 | 0.070653 | 0.070653 | 0.99744 | -0.017889 | 0.99934 | -0.0046458 | 26.1678
22 | 0.0068131 | 0.0017075 | -0.0068121 | -0.0017073 | 9.9752e-07 | 1.8172e-07 | 0.010164 | 0.010164 | 0.010164 | 0.99744 | -0.017889 | 0.99729 | -0.018946 | 3.7645
23 | 0.018768 | 0.0047038 | -0.018765 | -0.004703 | 2.3574e-06 | 8.4379e-07 | 0.027998 | 0.027998 | 0.027998 | 0.99744 | -0.017889 | 0.99731 | -0.018796 | 10.3697
24 | -0.051281 | -0.012866 | 0.051314 | 0.012879 | 3.3076e-05 | 1.2602e-05 | 0.076362 | 0.076362 | 0.076362 | 0.99934 | -0.0046458 | 1 | 0 | 28.2824
25 | -0.0021106 | -0.00052898 | 0.0021108 | 0.00052881 | 1.0604e-07 | -1.7113e-07 | 0.0031918 | 0.0031917 | 0.0031918 | 0.984 | -0.11228 | 0.98405 | -0.11192 | 1.1821
26 | 0.0089828 | 0.0022504 | -0.0089784 | -0.0022492 | 4.327e-06 | 1.187e-06 | 0.013583 | 0.013583 | 0.013583 | 0.98405 | -0.11192 | 0.98356 | -0.1154 | 5.0308
27 | 0.0037256 | 0.00093309 | -0.0037248 | -0.00093328 | 7.6716e-07 | -1.9699e-07 | 0.0056333 | 0.0056335 | 0.0056335 | 0.98405 | -0.11192 | 0.98384 | -0.11341 | 2.0865
28 | 0.0089784 | 0.0022492 | -0.0089753 | -0.0022483 | 3.1871e-06 | 8.7461e-07 | 0.013583 | 0.013583 | 0.013583 | 0.98356 | -0.1154 | 0.9832 | -0.11797 | 5.0308
29 | 0.001132 | 0.00028348 | -0.001132 | -0.00028371 | 3.4704e-08 | -2.2757e-07 | 0.0017121 | 0.0017122 | 0.0017122 | 0.98384 | -0.11341 | 0.98381 | -0.11363 | 0.63414
30 | 0.0080086 | 0.0020061 | -0.0080076 | -0.0020058 | 9.6918e-07 | 2.3869e-07 | 0.01212 | 0.01212 | 0.01212 | 0.9832 | -0.11797 | 0.98308 | -0.11884 | 4.489
31 | 0.002653 | 0.00066426 | -0.0026525 | -0.00066468 | 4.79e-07 | -4.1927e-07 | 0.0040154 | 0.0040156 | 0.0040156 | 0.98308 | -0.11884 | 0.98289 | -0.12015 | 1.4873
32 | 0.0053547 | 0.0013416 | -0.0053542 | -0.0013415 | 4.2006e-07 | 3.1639e-08 | 0.0081048 | 0.0081049 | 0.0081049 | 0.98308 | -0.11884 | 0.983 | -0.11941 | 3.0018
33 | 0.011764 | 0.0029471 | -0.011763 | -0.0029466 | 1.5317e-06 | 4.9117e-07 | 0.017816 | 0.017816 | 0.017816 | 0.98255 | -0.12254 | 0.98242 | -0.12348 | 6.5985
34 | -0.012793 | -0.0032048 | 0.012795 | 0.0032057 | 2.8344e-06 | 9.3683e-07 | 0.019373 | 0.019373 | 0.019373 | 0.98255 | -0.12254 | 0.98278 | -0.12094 | 7.1752
35 | 0.0082609 | 0.002069 | -0.0082579 | -0.0020682 | 3.0685e-06 | 7.826e-07 | 0.012512 | 0.012512 | 0.012512 | 0.98242 | -0.12348 | 0.98204 | -0.12617 | 4.6341
36 | -0.012795 | -0.0032057 | 0.012798 | 0.0032065 | 2.4015e-06 | 7.9369e-07 | 0.019373 | 0.019373 | 0.019373 | 0.98278 | -0.12094 | 0.98297 | -0.11958 | 7.1752
37 | 0.0070078 | 0.0017549 | -0.0070035 | -0.001754 | 4.3321e-06 | 8.8758e-07 | 0.010618 | 0.010618 | 0.010618 | 0.98204 | -0.12617 | 0.98142 | -0.13064 | 3.9327
38 | -0.014603 | -0.0036589 | 0.01461 | 0.0036614 | 7.0713e-06 | 2.4256e-06 | 0.022105 | 0.022105 | 0.022105 | 0.98297 | -0.11958 | 0.98346 | -0.11608 | 8.1872
39 | 0.0033925 | 0.00084986 | -0.0033922 | -0.00084998 | 3.1557e-07 | -1.2015e-07 | 0.0051436 | 0.0051436 | 0.0051436 | 0.98142 | -0.13064 | 0.98132 | -0.13131 | 1.9051
40 | 0.003611 | 0.00090414 | -0.0036106 | -0.00090425 | 3.6408e-07 | -1.0593e-07 | 0.0054746 | 0.0054747 | 0.0054747 | 0.98142 | -0.13064 | 0.98132 | -0.13137 | 2.0277
41 | -0.022381 | -0.0056089 | 0.022383 | 0.0056098 | 2.3959e-06 | 8.7902e-07 | 0.033863 | 0.033863 | 0.033863 | 0.98346 | -0.11608 | 0.98357 | -0.11531 | 12.5419
42 | 0.001512 | 0.00037876 | -0.001512 | -0.00037893 | 4.8893e-08 | -1.6951e-07 | 0.0022926 | 0.0022927 | 0.0022927 | 0.98132 | -0.13131 | 0.98129 | -0.13155 | 0.84915
43 | 0.0036106 | 0.00090425 | -0.0036094 | -0.0009046 | 1.203e-06 | -3.496e-07 | 0.0054747 | 0.005475 | 0.005475 | 0.98132 | -0.13137 | 0.98098 | -0.13378 | 2.0278
44 | -0.024442 | -0.0061257 | 0.024464 | 0.0061341 | 2.265e-05 | 8.3744e-06 | 0.036977 | 0.036977 | 0.036977 | 0.98357 | -0.11531 | 0.98451 | -0.10862 | 13.6953
45 | -0.0053522 | -0.0013414 | 0.0053542 | 0.0013415 | 2.0057e-06 | 1.5138e-07 | 0.0081051 | 0.0081049 | 0.0081051 | 0.98262 | -0.12212 | 0.983 | -0.11941 | 3.0019
46 | 0.00081375 | 0.00020385 | -0.00081374 | -0.00020394 | 6.9773e-09 | -9.0696e-08 | 0.0012319 | 0.0012319 | 0.0012319 | 0.98289 | -0.12015 | 0.98288 | -0.12021 | 0.45628
47 | -0.0018244 | -0.00045723 | 0.0018244 | 0.00045723 | 1.163e-09 | -2.6252e-09 | 0.0027673 | 0.0027673 | 0.0027673 | 0.98098 | -0.13378 | 0.98098 | -0.13378 | 1.0249
48 | -0.027504 | -0.0068959 | 0.02751 | 0.0068982 | 6.2577e-06 | 2.333e-06 | 0.041571 | 0.041571 | 0.041571 | 0.98451 | -0.10862 | 0.98474 | -0.10698 | 15.3967
49 | -0.031513 | -0.0079014 | 0.031545 | 0.0079133 | 3.1603e-05 | 1.1871e-05 | 0.04762 | 0.04762 | 0.04762 | 0.98474 | -0.10698 | 0.98576 | -0.099749 | 17.637
50 | -0.027049 | -0.0067834 | 0.027067 | 0.0067901 | 1.8034e-05 | 6.7129e-06 | 0.04074 | 0.04074 | 0.04074 | 0.98799 | -0.084017 | 0.98867 | -0.07921 | 15.0888
51 | 0.012282 | 0.00308 | -0.012271 | -0.0030761 | 1.1794e-05 | 3.8332e-06 | 0.018523 | 0.018523 | 0.018523 | 0.98672 | -0.093026 | 0.98574 | -0.099959 | 6.8605
52 | -0.027996 | -0.0070231 | 0.028001 | 0.0070247 | 4.2375e-06 | 1.5807e-06 | 0.042139 | 0.042139 | 0.042139 | 0.98867 | -0.07921 | 0.98882 | -0.078119 | 15.607
53 | 0.010502 | 0.0026329 | -0.010487 | -0.0026283 | 1.4966e-05 | 4.5415e-06 | 0.015853 | 0.015854 | 0.015854 | 0.98574 | -0.099959 | 0.98429 | -0.11026 | 5.8718
54 | 0.073671 | 0.018529 | -0.073573 | -0.018491 | 9.7206e-05 | 3.7221e-05 | 0.11032 | 0.11032 | 0.11032 | 0.99387 | -0.042608 | 0.99252 | -0.052085 | 40.86
55 | -0.14954 | -0.037619 | 0.14988 | 0.037748 | 0.00033877 | 0.00012973 | 0.22394 | 0.22394 | 0.22394 | 0.99387 | -0.042608 | 0.99619 | -0.026403 | 41.4712
56 | 0.070781 | 0.017792 | -0.070701 | -0.017761 | 8.0754e-05 | 3.0911e-05 | 0.10614 | 0.10614 | 0.10614 | 0.99252 | -0.052085 | 0.99135 | -0.060288 | 39.3097
57 | -0.15695 | -0.039519 | 0.15737 | 0.039682 | 0.00042534 | 0.00016294 | 0.2345 | 0.2345 | 0.2345 | 0.99619 | -0.026403 | 0.99898 | -0.0070634 | 43.4255
58 | 0.039942 | 0.010023 | -0.039921 | -0.010015 | 2.0743e-05 | 7.86e-06 | 0.060111 | 0.060111 | 0.060111 | 0.98882 | -0.078119 | 0.98829 | -0.081863 | 22.2632
59 | -0.067943 | -0.017047 | 0.068111 | 0.017112 | 0.00016852 | 6.4484e-05 | 0.10225 | 0.10225 | 0.10225 | 0.98882 | -0.078119 | 0.99135 | -0.060288 | 37.8702
60 | 0.010487 | 0.0026283 | -0.010486 | -0.002628 | 8.7907e-07 | 2.6687e-07 | 0.015854 | 0.015854 | 0.015854 | 0.98429 | -0.11026 | 0.9842 | -0.11086 | 5.8718
61 | 0.16108 | 0.040632 | -0.16092 | -0.040571 | 0.00015941 | 6.1077e-05 | 0.23978 | 0.23978 | 0.23978 | 1 | 0 | 0.99898 | -0.0070634 | 44.4039
62 | -0.0099593 | -0.0024935 | 0.0099604 | 0.0024938 | 1.0987e-06 | 3.2381e-07 | 0.015054 | 0.015054 | 0.015054 | 0.98437 | -0.10967 | 0.98449 | -0.10887 | 5.5756
63 | 0.0099593 | 0.0024935 | -0.0099517 | -0.0024913 | 7.5926e-06 | 2.2382e-06 | 0.015054 | 0.015054 | 0.015054 | 0.98437 | -0.10967 | 0.9836 | -0.11519 | 5.5756
64 | -0.015401 | -0.0038574 | 0.015405 | 0.0038589 | 4.1308e-06 | 1.4334e-06 | 0.023278 | 0.023278 | 0.023278 | 0.98449 | -0.10887 | 0.98476 | -0.10694 | 8.6213
65 | 0.0015062 | 0.00037692 | -0.001506 | -0.00037745 | 1.4983e-07 | -5.2934e-07 | 0.0022784 | 0.0022786 | 0.0022786 | 0.9836 | -0.11519 | 0.9835 | -0.11591 | 0.84392
66 | 0.003355 | 0.00083982 | -0.0033534 | -0.00084045 | 1.5425e-06 | -6.2418e-07 | 0.0050751 | 0.0050756 | 0.0050756 | 0.9836 | -0.11519 | 0.98313 | -0.11852 | 1.8798
67 | 0.0050906 | 0.0012745 | -0.0050893 | -0.0012745 | 1.2397e-06 | 5.1701e-08 | 0.0077007 | 0.0077009 | 0.0077009 | 0.9836 | -0.11519 | 0.98335 | -0.11696 | 2.8522
68 | 0.0024299 | 0.00060795 | -0.0024291 | -0.0006088 | 7.5164e-07 | -8.4094e-07 | 0.0036765 | 0.0036769 | 0.0036769 | 0.98335 | -0.11696 | 0.98304 | -0.11919 | 1.3618
69 | -0.016588 | -0.0041552 | 0.016594 | 0.0041575 | 6.5742e-06 | 2.3151e-06 | 0.025064 | 0.025064 | 0.025064 | 0.98476 | -0.10694 | 0.98516 | -0.10407 | 9.2831
70 | -0.018433 | -0.0046183 | 0.018441 | 0.0046212 | 8.1399e-06 | 2.9164e-06 | 0.027841 | 0.027841 | 0.027841 | 0.98516 | -0.10407 | 0.98561 | -0.10088 | 10.3115
71 | -0.023646 | -0.0059256 | 0.023664 | 0.0059324 | 1.8355e-05 | 6.7652e-06 | 0.035699 | 0.035699 | 0.035699 | 0.98561 | -0.10088 | 0.9864 | -0.095276 | 13.2217
72 | -0.02716 | -0.0068087 | 0.027165 | 0.0068104 | 4.6902e-06 | 1.7468e-06 | 0.040973 | 0.040973 | 0.040973 | 0.9864 | -0.095276 | 0.98657 | -0.094029 | 15.1752
73 | -0.030048 | -0.007533 | 0.030067 | 0.0075401 | 1.9136e-05 | 7.1693e-06 | 0.045321 | 0.045321 | 0.045321 | 0.98657 | -0.094029 | 0.98722 | -0.089435 | 16.7857
74 | 0.037526 | 0.0094144 | -0.03749 | -0.009401 | 3.5518e-05 | 1.3433e-05 | 0.056504 | 0.056504 | 0.056504 | 0.98829 | -0.081863 | 0.98733 | -0.088693 | 20.9275
75 | 0.034121 | 0.0085565 | -0.034117 | -0.0085552 | 3.5082e-06 | 1.3221e-06 | 0.051426 | 0.051426 | 0.051426 | 0.98733 | -0.088693 | 0.98722 | -0.089435 | 19.0466

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21676 | 0.054404

## res_load
| p_mw | q_mvar
0 | 0.010463 | 0.0026224
1 | 0.0041846 | 0.0010488
2 | 0.0037486 | 0.00093949
3 | 0.0024442 | 0.00061257
4 | 0.0041624 | 0.0010432
5 | 0.003183 | 0.00079774
6 | 0.0020032 | 0.00050205
7 | 0.0039185 | 0.00098206
8 | 0.00074771 | 0.00018739
9 | 0.0044691 | 0.0011201
10 | 0.017954 | 0.0044997
11 | 0.0037997 | 0.0009523
12 | 0.0038344 | 0.00096098
13 | 0.0068121 | 0.0017073
14 | 0.018765 | 0.004703
15 | 0.0021106 | 0.00052898
16 | 0.0025927 | 0.0006498
17 | 0.00096667 | 0.00024227
18 | 0.001132 | 0.00028371
19 | 0.0010282 | 0.00025768
20 | 0.0035019 | 0.00087765
21 | 0.00125 | 0.00031329
22 | 0.0018051 | 0.00045239
23 | 0.007771 | 0.0019476
24 | 0.0018802 | 0.00047122
25 | 0.0020584 | 0.00051587
26 | 0.0053522 | 0.0013414
27 | 0.0018387 | 0.00046083
28 | 0.00081374 | 0.00020394
29 | 0.0018244 | 0.00045723
30 | 0.001785 | 0.00044737
31 | 0.001512 | 0.00037893
32 | 0.0030395 | 0.00076177
33 | 0.0040029 | 0.0010032
34 | 0.0021619 | 0.00054182
35 | 0.0022186 | 0.00055602
36 | 0.00092971 | 0.00023301
37 | 0.0017687 | 0.00044328
38 | 0.0027922 | 0.00069979
39 | 0.0070653 | 0.0017707
40 | 0.003563 | 0.00089297
41 | 0.0035472 | 0.00088901
42 | 0.0054408 | 0.0013636
43 | 0.0026595 | 0.00066653
44 | 0.0024291 | 0.0006088
45 | 0.001506 | 0.00037745
46 | 0.0033534 | 0.00084045
47 | 0.0011825 | 0.00029636
48 | 0.0018385 | 0.00046077
49 | 0.0052046 | 0.0013044
50 | 0.0034963 | 0.00087627
51 | 0.0028831 | 0.00072256
52 | 0.010486 | 0.002628
53 | 0.0023954 | 0.00060033
54 | 0.0025894 | 0.00064896
55 | 0.0033695 | 0.00084448
56 | 0.0040501 | 0.0010151

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1