## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2299-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2299-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2299-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2299-11_0_4_node_19 | 0.4 | n |  | TRUE
4 | bus_LV_2299-11_0_4_node_22 | 0.4 | n |  | TRUE
5 | bus_LV_2299-11_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_2299-11_0_4_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_2299-11_0_4_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_2299-11_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2299-11_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2299-11_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_2299-11_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2299-11_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_2299-11_0_4_node_61 | 0.4 | n |  | TRUE
14 | bus_LV_2299-11_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2299-11_0_4_node_63 | 0.4 | n |  | TRUE
16 | bus_LV_2299-11_0_4_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_2299-11_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_2299-11_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_2299-11_0_4_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_2299-11_0_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_2299-11_0_4_node_45 | 0.4 | n |  | TRUE
22 | bus_LV_2299-11_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_2299-11_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_2299-11_0_4_node_123 | 0.4 | n |  | TRUE
25 | bus_LV_2299-11_0_4_node_121 | 0.4 | n |  | TRUE
26 | bus_LV_2299-11_0_4_node_122 | 0.4 | n |  | TRUE
27 | bus_LV_2299-11_0_4_node_124 | 0.4 | n |  | TRUE
28 | bus_LV_2299-11_0_4_node_126 | 0.4 | n |  | TRUE
29 | bus_LV_2299-11_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_2299-11_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_2299-11_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_2299-11_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_2299-11_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_2299-11_0_4_node_64 | 0.4 | n |  | TRUE
35 | bus_LV_2299-11_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_2299-11_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_2299-11_0_4_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_2299-11_0_4_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_2299-11_0_4_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_2299-11_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_2299-11_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_2299-11_0_4_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_2299-11_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_2299-11_0_4_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_2299-11_0_4_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_2299-11_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_2299-11_0_4_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_2299-11_0_4_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_2299-11_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_2299-11_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_2299-11_0_4_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_2299-11_0_4_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_2299-11_0_4_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_2299-11_0_4_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_2299-11_0_4_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_2299-11_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_2299-11_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_2299-11_0_4_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_2299-11_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_2299-11_0_4_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_2299-11_0_4_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_2299-11_0_4_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_2299-11_0_4_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_2299-11_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_2299-11_0_4_node_50 | 0.4 | n |  | TRUE
66 | bus_LV_2299-11_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_2299-11_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_MV_36_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2299-11_0_4_load_0 | 0 | 0.0027449 | 0.00068793 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2299-11_0_4_load_1 | 1 | 0.00060619 | 0.00015193 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2299-11_0_4_load_2 | 2 | 0.0011954 | 0.00029959 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2299-11_0_4_load_22 | 4 | 0.00039158 | 9.814e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2299-11_0_4_load_3 | 6 | 0.0004398 | 0.00011022 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2299-11_0_4_load_4 | 7 | 0.0010184 | 0.00025523 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2299-11_0_4_load_5 | 8 | 0.00054455 | 0.00013648 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2299-11_0_4_load_6 | 9 | 0.0010781 | 0.0002702 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2299-11_0_4_load_7 | 10 | 0.00048823 | 0.00012236 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2299-11_0_4_load_8 | 11 | 0.00049262 | 0.00012346 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2299-11_0_4_load_11 | 14 | 0.0011198 | 0.00028066 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2299-11_0_4_load_63 | 15 | 0.00084817 | 0.00021257 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2299-11_0_4_load_10 | 18 | 0.0002033 | 5.0953e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2299-11_0_4_load_47 | 20 | 0.0025646 | 0.00064274 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2299-11_0_4_load_45 | 21 | 0.0016252 | 0.00040732 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2299-11_0_4_load_12 | 22 | 0.001778 | 0.00044561 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2299-11_0_4_load_14 | 23 | 0.0032847 | 0.00082321 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2299-11_0_4_load_123 | 24 | 0.018276 | 0.0045805 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2299-11_0_4_load_121 | 25 | 0.0085895 | 0.0021527 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2299-11_0_4_load_126 | 28 | 0.0064076 | 0.0016059 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2299-11_0_4_load_15 | 29 | 0.0019266 | 0.00048286 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2299-11_0_4_load_16 | 30 | 0.00091565 | 0.00022948 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2299-11_0_4_load_20 | 31 | 0.0011779 | 0.0002952 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2299-11_0_4_load_21 | 33 | 0.0030175 | 0.00075626 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2299-11_0_4_load_25 | 35 | 0.00021117 | 5.2925e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2299-11_0_4_load_23 | 36 | 0.00071506 | 0.00017921 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2299-11_0_4_load_62 | 37 | 0.0008144 | 0.00020411 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2299-11_0_4_load_24 | 39 | 0.00034356 | 8.6103e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2299-11_0_4_load_29 | 40 | 0.0018367 | 0.00046033 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2299-11_0_4_load_31 | 43 | 0.0020293 | 0.00050859 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2299-11_0_4_load_30 | 44 | 0.0018166 | 0.00045528 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2299-11_0_4_load_32 | 45 | 0.0026727 | 0.00066983 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2299-11_0_4_load_33 | 46 | 0.0015607 | 0.00039115 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2299-11_0_4_load_35 | 48 | 0.0023248 | 0.00058266 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2299-11_0_4_load_55 | 50 | 0.00087829 | 0.00022012 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2299-11_0_4_load_51 | 51 | 0.0055663 | 0.001395 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2299-11_0_4_load_59 | 52 | 0.0007539 | 0.00018894 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2299-11_0_4_load_52 | 53 | 0.0017579 | 0.00044057 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2299-11_0_4_load_37 | 54 | 0.0030996 | 0.00077683 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2299-11_0_4_load_38 | 55 | 0.0010141 | 0.00025415 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2299-11_0_4_load_44 | 57 | 0.0036906 | 0.00092495 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2299-11_0_4_load_41 | 58 | 0.0012407 | 0.00031094 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2299-11_0_4_load_53 | 59 | 0.0023316 | 0.00058434 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2299-11_0_4_load_42 | 60 | 0.0014105 | 0.00035351 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2299-11_0_4_load_43 | 61 | 0.0012404 | 0.00031087 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2299-11_0_4_load_54 | 62 | 0.0039838 | 0.00099843 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2299-11_0_4_load_49 | 64 | 0.00084879 | 0.00021273 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2299-11_0_4_load_50 | 65 | 0.0036351 | 0.00091103 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2299-11_0_4_load_56 | 66 | 0.0013542 | 0.00033939 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2299-11_0_4_load_57 | 67 | 0.0018811 | 0.00047144 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2299-11_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.091322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2299-11_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.090152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2299-11_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.023291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2299-11_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.20739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2299-11_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.017265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2299-11_0_4_line_5 | NAYY 4x150 SE | 5 | 31 | 0.020846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2299-11_0_4_line_6 | NAYY 4x150 SE | 5 | 29 | 0.017532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2299-11_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.0020583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_2299-11_0_4_line_8 | NAYY 4x150 SE | 6 | 8 | 0.013302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_2299-11_0_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.019694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_2299-11_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.07594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_2299-11_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.063239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_2299-11_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.077168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2299-11_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.32331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_2299-11_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.021488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2299-11_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.17434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_2299-11_0_4_line_16 | NAYY 4x150 SE | 13 | 16 | 0.007905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_2299-11_0_4_line_17 | NAYY 4x150 SE | 14 | 22 | 0.048036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2299-11_0_4_line_18 | NAYY 4x150 SE | 15 | 37 | 0.0751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_2299-11_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.053045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_2299-11_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0038023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_2299-11_0_4_line_21 | NAYY 4x150 SE | 17 | 19 | 0.27915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_2299-11_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.030778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_2299-11_0_4_line_23 | NAYY 4x150 SE | 19 | 21 | 0.10015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2299-11_0_4_line_24 | NAYY 4x150 SE | 20 | 63 | 0.13218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_2299-11_0_4_line_25 | NAYY 4x150 SE | 21 | 61 | 0.031758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2299-11_0_4_line_26 | NAYY 4x150 SE | 22 | 23 | 0.024739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2299-11_0_4_line_27 | NAYY 4x150 SE | 23 | 24 | 0.06844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2299-11_0_4_line_28 | NAYY 4x150 SE | 24 | 25 | 0.020648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2299-11_0_4_line_29 | NAYY 4x150 SE | 25 | 26 | 0.017537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2299-11_0_4_line_30 | NAYY 4x150 SE | 26 | 27 | 0.055015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2299-11_0_4_line_31 | NAYY 4x150 SE | 27 | 28 | 0.024232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2299-11_0_4_line_32 | NAYY 4x150 SE | 29 | 30 | 0.029829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2299-11_0_4_line_33 | NAYY 4x150 SE | 31 | 35 | 0.0030797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2299-11_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.022559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2299-11_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.30211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_2299-11_0_4_line_36 | NAYY 4x150 SE | 33 | 36 | 0.0081363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2299-11_0_4_line_37 | NAYY 4x150 SE | 34 | 37 | 0.047521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_2299-11_0_4_line_38 | NAYY 4x150 SE | 35 | 38 | 0.014036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2299-11_0_4_line_39 | NAYY 4x150 SE | 36 | 39 | 0.013318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2299-11_0_4_line_40 | NAYY 4x150 SE | 38 | 42 | 0.021594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2299-11_0_4_line_41 | NAYY 4x150 SE | 38 | 41 | 0.029028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2299-11_0_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.019928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2299-11_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.019516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2299-11_0_4_line_44 | NAYY 4x150 SE | 42 | 43 | 0.0047909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2299-11_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.01079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2299-11_0_4_line_46 | NAYY 4x150 SE | 45 | 46 | 0.034213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2299-11_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.028312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2299-11_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.072193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2299-11_0_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.062013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2299-11_0_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.03613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2299-11_0_4_line_51 | NAYY 4x150 SE | 49 | 51 | 0.023036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2299-11_0_4_line_52 | NAYY 4x150 SE | 50 | 52 | 0.028241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_2299-11_0_4_line_53 | NAYY 4x150 SE | 51 | 53 | 0.0079655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2299-11_0_4_line_54 | NAYY 4x150 SE | 52 | 65 | 0.032698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_2299-11_0_4_line_55 | NAYY 4x150 SE | 54 | 55 | 0.070978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2299-11_0_4_line_56 | NAYY 4x150 SE | 55 | 56 | 0.019758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2299-11_0_4_line_57 | NAYY 4x150 SE | 56 | 57 | 0.021728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2299-11_0_4_line_58 | NAYY 4x150 SE | 56 | 58 | 0.0045796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2299-11_0_4_line_59 | NAYY 4x150 SE | 57 | 59 | 0.034871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2299-11_0_4_line_60 | NAYY 4x150 SE | 58 | 60 | 0.018504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2299-11_0_4_line_61 | NAYY 4x150 SE | 59 | 62 | 0.018757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2299-11_0_4_line_62 | NAYY 4x150 SE | 60 | 61 | 0.0022232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2299-11_0_4_line_63 | NAYY 4x150 SE | 63 | 64 | 0.068217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2299-11_0_4_line_64 | NAYY 4x150 SE | 63 | 65 | 0.003289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_2299-11_0_4_line_65 | NAYY 4x150 SE | 64 | 66 | 0.039584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2299-11_0_4_line_66 | NAYY 4x150 SE | 66 | 67 | 0.070966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2299-11_0_4_trafo_7 | 0.25 MVA 20/0.4 kV | 68 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2588874.2665 | 1176938.2364 | 2588874.2665 | 1176938.2364 | 2588873.833 | 1176947.5531 | 2588868.0003 | 1176962.9051 | 2588863.5697 | 1176976.0979 | 2588862.3373 | 1176991.3746 | 2588863.9106 | 1177003.111 | 2588867.6409 | 1177015.9328 | 2588871.8917 | 1177026.2239
1 | 2588871.8917 | 1177026.2239 | 2588874.0049 | 1177031.3398 | 2588882.1724 | 1177046.7657 | 2588887.8654 | 1177058.9724 | 2588892.5559 | 1177070.3806 | 2588900.9452 | 1177094.1882 | 2588905.0933 | 1177109.7614
2 | 2588907.7876 | 1177132.6505 | 2588908.3513 | 1177123.5226 | 2588906.5477 | 1177115.2218 | 2588905.0933 | 1177109.7614
3 | 2588907.7876 | 1177132.6505 | 2588919.9904 | 1177123.8233 | 2589051.1715 | 1177021.0507 | 2589070.4281 | 1177004.0567
4 | 2588907.7876 | 1177132.6505 | 2588900.2129 | 1177148.1726
5 | 2588900.2129 | 1177148.1726 | 2588892.1428 | 1177152.0229 | 2588883.1119 | 1177159.7791
6 | 2588900.2129 | 1177148.1726 | 2588904.5279 | 1177154.968 | 2588911.4048 | 1177161.4967
7 | 2588751.3839 | 1177239.5504 | 2588751.405 | 1177241.6086
8 | 2588751.3839 | 1177239.5504 | 2588751.2481 | 1177226.2489
9 | 2588755.8395 | 1177260.2954 | 2588752.7846 | 1177255.6371 | 2588751.4525 | 1177246.2682 | 2588751.405 | 1177241.6086
10 | 2588725.3077 | 1177157.6899 | 2588730.1351 | 1177171.0147 | 2588749.564 | 1177197.2135 | 2588751.0493 | 1177206.7711 | 2588751.2481 | 1177226.2489
11 | 2588755.8395 | 1177260.2954 | 2588757.8963 | 1177263.4315 | 2588786.3293 | 1177291.0586 | 2588799.5788 | 1177305.8316
12 | 2588695.5489 | 1177086.6706 | 2588708.5027 | 1177111.3031 | 2588725.3077 | 1177157.6899
13 | 2588799.5788 | 1177305.8316 | 2588989.4498 | 1177567.5092
14 | 2588695.5489 | 1177086.6706 | 2588692.7035 | 1177081.2622 | 2588684.7896 | 1177068.0781
15 | 2588989.4498 | 1177567.5092 | 2588994.1414 | 1177555.0608 | 2588999.9457 | 1177545.1006 | 2589006.6058 | 1177547.5784 | 2589011.3296 | 1177552.5389 | 2589017.6973 | 1177549.7702 | 2589022.6758 | 1177539.5336 | 2589023.2005 | 1177525.7034 | 2589026.7873 | 1177514.9246 | 2589031.2106 | 1177506.0675 | 2589045.3378 | 1177496.9146 | 2589059.7442 | 1177489.9735 | 2589074.1613 | 1177488.8464 | 2589089.1403 | 1177489.9195 | 2589099.4072 | 1177492.3909 | 2589108.6064 | 1177493.4534
16 | 2588987.5996 | 1177575.1943 | 2588989.4498 | 1177567.5092
17 | 2588644.1342 | 1177044.8527 | 2588652.1543 | 1177048.4337 | 2588668.1351 | 1177053.2835 | 2588682.3388 | 1177063.9953 | 2588684.7896 | 1177068.0781
18 | 2589169.0252 | 1177455.9262 | 2589166.2636 | 1177460.1636 | 2589161.2142 | 1177465.1864 | 2589154.6123 | 1177469.534 | 2589148.6583 | 1177472.9354 | 2589140.9691 | 1177476.0288 | 2589132.348 | 1177479.3351 | 2589123.8023 | 1177490.4119 | 2589118.2623 | 1177494.5686 | 2589108.6064 | 1177493.4534
19 | 2588987.5996 | 1177575.1943 | 2588980.284 | 1177577.7202 | 2588971.8021 | 1177573.5338 | 2588964.2972 | 1177572.8696 | 2588959.9669 | 1177565.874 | 2588948.3676 | 1177549.4761
20 | 2588945.8407 | 1177546.6349 | 2588948.3676 | 1177549.4761
21 | 2588714.2976 | 1177390.712 | 2588945.8407 | 1177546.6349
22 | 2588714.2976 | 1177390.712 | 2588705.6785 | 1177403.0791 | 2588701.5364 | 1177406.8444 | 2588696.9863 | 1177413.1007 | 2588696.0698 | 1177415.2859
23 | 2588714.2976 | 1177390.712 | 2588698.3893 | 1177363.1948 | 2588680.9124 | 1177338.6378 | 2588669.8965 | 1177324.2958 | 2588657.0463 | 1177313.7816 | 2588654.6568 | 1177311.169
24 | 2588568.5661 | 1177425.9523 | 2588596.5396 | 1177421.0518 | 2588621.8502 | 1177418.213 | 2588652.832 | 1177419.9882 | 2588681.8822 | 1177422.7232 | 2588690.8756 | 1177422.417 | 2588694.2098 | 1177419.7204 | 2588696.0698 | 1177415.2859
25 | 2588654.6568 | 1177311.169 | 2588645.851 | 1177301.5412 | 2588636.1604 | 1177285.536
26 | 2588622.0131 | 1177033.8123 | 2588634.8001 | 1177040.6851 | 2588644.1342 | 1177044.8527
27 | 2588622.0131 | 1177033.8123 | 2588596.7917 | 1176970.1885
28 | 2588596.7917 | 1176970.1885 | 2588591.1125 | 1176957.5597 | 2588588.6318 | 1176951.2274
29 | 2588582.2348 | 1176934.8985 | 2588588.6318 | 1176951.2274
30 | 2588551.767 | 1176895.6592 | 2588558.4016 | 1176896.3246 | 2588562.932 | 1176895.6266 | 2588570.8406 | 1176911.0304 | 2588582.2348 | 1176934.8985
31 | 2588541.6453 | 1176917.6343 | 2588546.0482 | 1176906.2978 | 2588551.767 | 1176895.6592
32 | 2588911.4048 | 1177161.4967 | 2588916.3783 | 1177166.2183 | 2588929.9437 | 1177175.1309 | 2588934.9574 | 1177179.635 | 2588934.9574 | 1177179.635
33 | 2588883.1119 | 1177159.7791 | 2588881.1944 | 1177161.4259 | 2588880.8269 | 1177161.8379
34 | 2588961.8248 | 1177216.2149 | 2588950.5314 | 1177225.007 | 2588943.5507 | 1177227.0209 | 2588942.5905 | 1177226.8205
35 | 2588961.8248 | 1177216.2149 | 2589190.5093 | 1177413.6403
36 | 2588942.5905 | 1177226.8205 | 2588934.626 | 1177225.1575
37 | 2589190.5093 | 1177413.6403 | 2589175.4611 | 1177446.0508 | 2589169.0252 | 1177455.9262
38 | 2588874.3618 | 1177173.2224 | 2588873.9347 | 1177169.5658 | 2588880.8269 | 1177161.8379
39 | 2588934.626 | 1177225.1575 | 2588929.9356 | 1177224.1781 | 2588924.8086 | 1177220.3857 | 2588923.1614 | 1177219.0054
40 | 2588874.3618 | 1177173.2224 | 2588860.4772 | 1177189.7901
41 | 2588874.3618 | 1177173.2224 | 2588891.0957 | 1177196.9699
42 | 2588907.8871 | 1177206.2059 | 2588923.1614 | 1177219.0054
43 | 2588891.0957 | 1177196.9699 | 2588896.6782 | 1177199.1829 | 2588900.7838 | 1177200.2535 | 2588907.8871 | 1177206.2059
44 | 2588860.4772 | 1177189.7901 | 2588856.8454 | 1177186.6655
45 | 2588848.6659 | 1177179.628 | 2588856.8454 | 1177186.6655
46 | 2588508.8473 | 1177228.0024 | 2588518.6145 | 1177260.7919
47 | 2588500.7647 | 1177200.8683 | 2588508.8473 | 1177228.0024
48 | 2588518.6145 | 1177260.7919 | 2588539.2242 | 1177329.9805
49 | 2588500.7647 | 1177200.8683 | 2588513.4327 | 1177195.9302 | 2588518.3438 | 1177194.6312 | 2588527.3872 | 1177196.3035 | 2588531.4118 | 1177198.9082 | 2588534.8041 | 1177202.5924 | 2588542.2935 | 1177214.7397 | 2588547.9185 | 1177223.0887
50 | 2588549.5376 | 1177364.6076 | 2588544.2287 | 1177346.781 | 2588539.2242 | 1177329.9805
51 | 2588547.9185 | 1177223.0887 | 2588558.8993 | 1177243.3386
52 | 2588549.5376 | 1177364.6076 | 2588551.1738 | 1177370.1017 | 2588557.8662 | 1177391.5924
53 | 2588562.6964 | 1177250.3409 | 2588558.8993 | 1177243.3386
54 | 2588557.8662 | 1177391.5924 | 2588567.5882 | 1177422.8121
55 | 2588576.0237 | 1177186.3113 | 2588587.5266 | 1177203.8362 | 2588612.9929 | 1177246.8827
56 | 2588623.053 | 1177263.8877 | 2588612.9929 | 1177246.8827
57 | 2588623.053 | 1177263.8877 | 2588604.094 | 1177274.5016
58 | 2588623.053 | 1177263.8877 | 2588625.425 | 1177267.8053
59 | 2588604.094 | 1177274.5016 | 2588573.6667 | 1177291.5357
60 | 2588625.425 | 1177267.8053 | 2588635.009 | 1177283.6343
61 | 2588557.2995 | 1177300.6985 | 2588573.6667 | 1177291.5357
62 | 2588635.009 | 1177283.6343 | 2588636.1604 | 1177285.536
63 | 2588568.5661 | 1177425.9523 | 2588584.2 | 1177473.5132 | 2588590.7227 | 1177490.4528
64 | 2588568.5661 | 1177425.9523 | 2588567.5882 | 1177422.8121
65 | 2588590.7227 | 1177490.4528 | 2588602.3621 | 1177520.6802 | 2588605.4815 | 1177527.162
66 | 2588605.4815 | 1177527.162 | 2588634.0157 | 1177586.4532 | 2588636.5267 | 1177590.9676

## bus_geodata
| x | y | coords
0 | 2588874.2665 | 1176938.2364
1 | 2588871.8917 | 1177026.2239
2 | 2588905.0933 | 1177109.7614
3 | 2588907.7876 | 1177132.6505
4 | 2589070.4281 | 1177004.0567
5 | 2588900.2129 | 1177148.1726
6 | 2588751.3839 | 1177239.5504
7 | 2588751.405 | 1177241.6086
8 | 2588751.2481 | 1177226.2489
9 | 2588755.8395 | 1177260.2954
10 | 2588725.3077 | 1177157.6899
11 | 2588799.5788 | 1177305.8316
12 | 2588695.5489 | 1177086.6707
13 | 2588989.4498 | 1177567.5092
14 | 2588684.7896 | 1177068.0781
15 | 2589108.6064 | 1177493.4534
16 | 2588987.5996 | 1177575.1943
17 | 2588945.8407 | 1177546.6349
18 | 2588948.3676 | 1177549.4761
19 | 2588714.2976 | 1177390.712
20 | 2588696.0698 | 1177415.2859
21 | 2588654.6568 | 1177311.169
22 | 2588644.1342 | 1177044.8527
23 | 2588622.0131 | 1177033.8123
24 | 2588596.7917 | 1176970.1885
25 | 2588588.6318 | 1176951.2274
26 | 2588582.2348 | 1176934.8985
27 | 2588551.767 | 1176895.6592
28 | 2588541.6453 | 1176917.6343
29 | 2588911.4048 | 1177161.4967
30 | 2588934.9574 | 1177179.635
31 | 2588883.1119 | 1177159.7791
32 | 2588961.8248 | 1177216.2149
33 | 2588942.5905 | 1177226.8205
34 | 2589190.5093 | 1177413.6403
35 | 2588880.8269 | 1177161.8379
36 | 2588934.626 | 1177225.1575
37 | 2589169.0252 | 1177455.9262
38 | 2588874.3618 | 1177173.2224
39 | 2588923.1614 | 1177219.0054
40 | 2588907.8871 | 1177206.2059
41 | 2588891.0957 | 1177196.9699
42 | 2588860.4772 | 1177189.7901
43 | 2588856.8454 | 1177186.6655
44 | 2588848.6659 | 1177179.628
45 | 2588508.8473 | 1177228.0024
46 | 2588518.6145 | 1177260.7919
47 | 2588500.7647 | 1177200.8683
48 | 2588539.2242 | 1177329.9805
49 | 2588547.9185 | 1177223.0887
50 | 2588549.5376 | 1177364.6076
51 | 2588558.8993 | 1177243.3386
52 | 2588557.8662 | 1177391.5924
53 | 2588562.6964 | 1177250.3409
54 | 2588576.0237 | 1177186.3113
55 | 2588612.9929 | 1177246.8827
56 | 2588623.053 | 1177263.8877
57 | 2588604.094 | 1177274.5016
58 | 2588625.425 | 1177267.8053
59 | 2588573.6667 | 1177291.5357
60 | 2588635.009 | 1177283.6343
61 | 2588636.1604 | 1177285.536
62 | 2588557.2995 | 1177300.6985
63 | 2588568.5661 | 1177425.9523
64 | 2588590.7227 | 1177490.4528
65 | 2588567.5882 | 1177422.8121
66 | 2588605.4815 | 1177527.162
67 | 2588636.5267 | 1177590.9676
68 | 2588695.5489 | 1177086.6707

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97261 | -0.19325 | 0.0027449 | 0.00068793
1 | 0.97298 | -0.1906 | 0.00060619 | 0.00015193
2 | 0.97342 | -0.1874 | 0.0011954 | 0.00029959
3 | 0.97358 | -0.18628 | 0 | 0
4 | 0.97346 | -0.18716 | 0.00039158 | 9.814e-05
5 | 0.9737 | -0.18538 | 0 | 0
6 | 0.99697 | -0.020931 | 0.0004398 | 0.00011022
7 | 0.9969 | -0.021408 | 0.0010184 | 0.00025523
8 | 0.99741 | -0.017824 | 0.00054455 | 0.00013648
9 | 0.99624 | -0.025917 | 0.0010781 | 0.0002702
10 | 1 | 0 | -0.11234 | -0.028178
11 | 0.99418 | -0.040203 | 0.00049262 | 0.00012346
12 | 0.9956 | -0.030545 | 0 | 0
13 | 0.98373 | -0.11357 | 0 | 0
14 | 0.99438 | -0.039098 | 0.0011198 | 0.00028066
15 | 0.98198 | -0.12603 | 0.00084817 | 0.00021257
16 | 0.98355 | -0.11481 | 0 | 0
17 | 0.98229 | -0.12379 | 0 | 0
18 | 0.98237 | -0.12319 | 0.0002033 | 5.0953e-05
19 | 0.97609 | -0.16796 | 0 | 0
20 | 0.9757 | -0.17075 | 0.0025646 | 0.00064274
21 | 0.9732 | -0.18865 | 0.0016252 | 0.00040732
22 | 0.99172 | -0.057746 | 0.001778 | 0.00044561
23 | 0.99042 | -0.06694 | 0.0032847 | 0.00082321
24 | 0.98713 | -0.090197 | 0.018276 | 0.0045805
25 | 0.98668 | -0.093372 | 0.0085895 | 0.0021527
26 | 0.98652 | -0.094526 | 0 | 0
27 | 0.98601 | -0.098146 | 0 | 0
28 | 0.98578 | -0.09974 | 0.0064076 | 0.0016059
29 | 0.97363 | -0.18591 | 0.0019266 | 0.00048286
30 | 0.97359 | -0.18619 | 0.00091565 | 0.00022948
31 | 0.97394 | -0.18366 | 0.0011779 | 0.0002952
32 | 0.97664 | -0.16425 | 0 | 0
33 | 0.97601 | -0.16874 | 0.0030175 | 0.00075626
34 | 0.98082 | -0.13432 | 0 | 0
35 | 0.97398 | -0.18337 | 0.00021117 | 5.2925e-05
36 | 0.97582 | -0.1701 | 0.00071506 | 0.00017921
37 | 0.98126 | -0.13119 | 0.0008144 | 0.00020411
38 | 0.97417 | -0.18201 | 0 | 0
39 | 0.97553 | -0.17223 | 0.00034356 | 8.6103e-05
40 | 0.97509 | -0.17535 | 0.0018367 | 0.00046033
41 | 0.97472 | -0.17802 | 0 | 0
42 | 0.97405 | -0.18288 | 0 | 0
43 | 0.97402 | -0.18308 | 0.0020293 | 0.00050859
44 | 0.97399 | -0.18329 | 0.0018166 | 0.00045528
45 | 0.97125 | -0.20273 | 0.0026727 | 0.00066983
46 | 0.97176 | -0.19911 | 0.0015607 | 0.00039115
47 | 0.97095 | -0.20493 | 0 | 0
48 | 0.97298 | -0.19029 | 0.0023248 | 0.00058266
49 | 0.97028 | -0.20975 | 0 | 0
50 | 0.97372 | -0.185 | 0.00087829 | 0.00022012
51 | 0.97003 | -0.21154 | 0.0055663 | 0.001395
52 | 0.97392 | -0.18353 | 0.0007539 | 0.00018894
53 | 0.97001 | -0.21168 | 0.0017579 | 0.00044057
54 | 0.97136 | -0.20196 | 0.0030996 | 0.00077683
55 | 0.97168 | -0.19963 | 0.0010141 | 0.00025415
56 | 0.9718 | -0.19877 | 0 | 0
57 | 0.97148 | -0.20107 | 0.0036906 | 0.00092495
58 | 0.97189 | -0.19809 | 0.0012407 | 0.00031094
59 | 0.97116 | -0.2034 | 0.0023316 | 0.00058434
60 | 0.97231 | -0.19508 | 0.0014105 | 0.00035351
61 | 0.97236 | -0.19469 | 0.0012404 | 0.00031087
62 | 0.97105 | -0.20419 | 0.0039838 | 0.00099843
63 | 0.9742 | -0.18153 | 0 | 0
64 | 0.97379 | -0.18447 | 0.00084879 | 0.00021273
65 | 0.97417 | -0.18175 | 0.0036351 | 0.00091103
66 | 0.9736 | -0.18582 | 0.0013542 | 0.00033939
67 | 0.97341 | -0.18723 | 0.0018811 | 0.00047144
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0027449 | -0.00068793 | 0.0027459 | 0.00068718 | 1.0048e-06 | -7.4731e-07 | 0.0041994 | 0.004199 | 0.0041994 | 0.97261 | -0.19325 | 0.97298 | -0.1906 | 1.5553
1 | -0.0033521 | -0.0008391 | 0.0033535 | 0.00083855 | 1.4781e-06 | -5.517e-07 | 0.0051261 | 0.0051257 | 0.0051261 | 0.97298 | -0.1906 | 0.97342 | -0.1874 | 1.8985
2 | -0.0045489 | -0.0011381 | 0.0045496 | 0.0011381 | 7.0259e-07 | -1.9351e-08 | 0.006953 | 0.0069529 | 0.006953 | 0.97342 | -0.1874 | 0.97358 | -0.18628 | 2.5752
3 | 0.00039163 | 9.558e-05 | -0.00039158 | -9.814e-05 | 4.6295e-08 | -2.5608e-06 | 0.00059765 | 0.00059857 | 0.00059857 | 0.97358 | -0.18628 | 0.97346 | -0.18716 | 0.22169
4 | -0.0049412 | -0.0012337 | 0.0049419 | 0.0012337 | 6.1418e-07 | 2.1504e-08 | 0.0075505 | 0.0075504 | 0.0075505 | 0.97358 | -0.18628 | 0.9737 | -0.18538 | 2.7965
5 | -0.0077844 | -0.0019456 | 0.0077862 | 0.001946 | 1.8402e-06 | 4.4843e-07 | 0.011894 | 0.011894 | 0.011894 | 0.9737 | -0.18538 | 0.97394 | -0.18366 | 4.4052
6 | 0.0028425 | 0.00071184 | -0.0028423 | -0.00071198 | 2.0642e-07 | -1.3866e-07 | 0.0043437 | 0.0043438 | 0.0043438 | 0.9737 | -0.18538 | 0.97363 | -0.18591 | 1.6088
7 | 0.070403 | 0.017783 | -0.070398 | -0.017781 | 4.7317e-06 | 1.7394e-06 | 0.10513 | 0.10513 | 0.10513 | 0.99697 | -0.020931 | 0.9969 | -0.021408 | 12.9789
8 | -0.070843 | -0.017893 | 0.070874 | 0.017905 | 3.0962e-05 | 1.1388e-05 | 0.10579 | 0.10579 | 0.10579 | 0.99697 | -0.020931 | 0.99741 | -0.017824 | 13.0599
9 | 0.06938 | 0.017526 | -0.069336 | -0.01751 | 4.3973e-05 | 1.6143e-05 | 0.10361 | 0.10361 | 0.10361 | 0.9969 | -0.021408 | 0.99624 | -0.025917 | 12.7912
10 | -0.071418 | -0.018041 | 0.071598 | 0.018107 | 0.00017948 | 6.6051e-05 | 0.1066 | 0.1066 | 0.1066 | 0.99741 | -0.017824 | 1 | 0 | 13.1602
11 | 0.068258 | 0.01724 | -0.068121 | -0.01719 | 0.00013685 | 5.0169e-05 | 0.102 | 0.102 | 0.102 | 0.99624 | -0.025917 | 0.99418 | -0.040203 | 12.5925
12 | 0.03994 | 0.01007 | -0.03977 | -0.010006 | 0.0001702 | 6.4455e-05 | 0.059453 | 0.059453 | 0.059453 | 1 | 0 | 0.9956 | -0.030545 | 22.0197
13 | 0.067628 | 0.017066 | -0.066939 | -0.016814 | 0.00068959 | 0.00025278 | 0.10126 | 0.10127 | 0.10127 | 0.99418 | -0.040203 | 0.98373 | -0.11357 | 12.5021
14 | 0.03977 | 0.010006 | -0.039723 | -0.0099879 | 4.7396e-05 | 1.795e-05 | 0.059453 | 0.059453 | 0.059453 | 0.9956 | -0.030545 | 0.99438 | -0.039098 | 22.0198
15 | 0.020774 | 0.0052039 | -0.020738 | -0.0051967 | 3.5807e-05 | 7.1435e-06 | 0.031422 | 0.031425 | 0.031425 | 0.98373 | -0.11357 | 0.98198 | -0.12603 | 3.8796
16 | 0.046165 | 0.01161 | -0.046157 | -0.011607 | 8.021e-06 | 2.784e-06 | 0.069844 | 0.069845 | 0.069845 | 0.98373 | -0.11357 | 0.98355 | -0.11481 | 8.6228
17 | 0.038603 | 0.0097072 | -0.038503 | -0.0096693 | 0.00010006 | 3.7864e-05 | 0.057778 | 0.057778 | 0.057778 | 0.99438 | -0.039098 | 0.99172 | -0.057746 | 21.3992
18 | 0.01989 | 0.0049842 | -0.019876 | -0.0049815 | 1.419e-05 | 2.6096e-06 | 0.030139 | 0.03014 | 0.03014 | 0.98198 | -0.12603 | 0.98126 | -0.13119 | 3.721
19 | 0.046157 | 0.011607 | -0.046103 | -0.011588 | 5.3825e-05 | 1.8685e-05 | 0.069845 | 0.069845 | 0.069845 | 0.98355 | -0.11481 | 0.98237 | -0.12319 | 8.6229
20 | -0.045896 | -0.011536 | 0.0459 | 0.011537 | 3.8243e-06 | 1.3265e-06 | 0.069537 | 0.069537 | 0.069537 | 0.98229 | -0.12379 | 0.98237 | -0.12319 | 8.5849
21 | 0.045896 | 0.011536 | -0.045615 | -0.011438 | 0.00028078 | 9.7456e-05 | 0.069537 | 0.069541 | 0.069541 | 0.98229 | -0.12379 | 0.97609 | -0.16796 | 8.5853
22 | 0.025891 | 0.0064875 | -0.025881 | -0.0064848 | 9.9733e-06 | 2.6822e-06 | 0.03947 | 0.03947 | 0.03947 | 0.97609 | -0.16796 | 0.9757 | -0.17075 | 4.8729
23 | 0.019724 | 0.0049509 | -0.019667 | -0.0049305 | 5.6514e-05 | 2.0488e-05 | 0.030071 | 0.030072 | 0.030072 | 0.97609 | -0.16796 | 0.9732 | -0.18865 | 11.1376
24 | 0.023317 | 0.0058421 | -0.023282 | -0.0058336 | 3.4765e-05 | 8.4264e-06 | 0.035559 | 0.035561 | 0.035561 | 0.9757 | -0.17075 | 0.9742 | -0.18153 | 4.3903
25 | 0.018042 | 0.0045231 | -0.018027 | -0.0045177 | 1.5081e-05 | 5.4062e-06 | 0.027587 | 0.027587 | 0.027587 | 0.9732 | -0.18865 | 0.97236 | -0.19469 | 10.2173
26 | 0.036725 | 0.0092237 | -0.036678 | -0.009206 | 4.6885e-05 | 1.7714e-05 | 0.05511 | 0.05511 | 0.05511 | 0.99172 | -0.057746 | 0.99042 | -0.06694 | 20.4112
27 | 0.033393 | 0.0083828 | -0.033286 | -0.0083423 | 0.00010752 | 4.0475e-05 | 0.050175 | 0.050176 | 0.050176 | 0.99042 | -0.06694 | 0.98713 | -0.090197 | 18.5836
28 | 0.015009 | 0.0037618 | -0.015003 | -0.0037596 | 6.5957e-06 | 2.273e-06 | 0.022625 | 0.022626 | 0.022626 | 0.98713 | -0.090197 | 0.98668 | -0.093372 | 8.3798
29 | 0.0064132 | 0.0016068 | -0.0064122 | -0.0016067 | 1.0236e-06 | 1.6976e-07 | 0.0096716 | 0.0096717 | 0.0096717 | 0.98668 | -0.093372 | 0.98652 | -0.094526 | 3.5821
30 | 0.0064122 | 0.0016067 | -0.006409 | -0.0016061 | 3.2114e-06 | 5.3307e-07 | 0.0096717 | 0.009672 | 0.009672 | 0.98652 | -0.094526 | 0.98601 | -0.098146 | 3.5822
31 | 0.006409 | 0.0016061 | -0.0064076 | -0.0016059 | 1.4145e-06 | 2.3504e-07 | 0.009672 | 0.0096721 | 0.0096721 | 0.98601 | -0.098146 | 0.98578 | -0.09974 | 3.5823
32 | 0.00091569 | 0.00022913 | -0.00091565 | -0.00022948 | 3.645e-08 | -3.5693e-07 | 0.0013993 | 0.0013995 | 0.0013995 | 0.97363 | -0.18591 | 0.97359 | -0.18619 | 0.51832
33 | -0.0089641 | -0.0022412 | 0.0089644 | 0.0022413 | 3.6035e-07 | 1.0027e-07 | 0.013694 | 0.013694 | 0.013694 | 0.97394 | -0.18366 | 0.97398 | -0.18337 | 5.0717
34 | 0.018974 | 0.0047534 | -0.018963 | -0.0047491 | 1.1764e-05 | 4.2426e-06 | 0.028909 | 0.028909 | 0.028909 | 0.97664 | -0.16425 | 0.97601 | -0.16874 | 10.707
35 | -0.018974 | -0.0047534 | 0.019053 | 0.0047761 | 7.8768e-05 | 2.2702e-05 | 0.028909 | 0.028906 | 0.028909 | 0.97664 | -0.16425 | 0.98082 | -0.13432 | 5.3535
36 | 0.015945 | 0.0039929 | -0.015942 | -0.0039918 | 3e-06 | 1.0522e-06 | 0.024308 | 0.024308 | 0.024308 | 0.97601 | -0.16874 | 0.97582 | -0.1701 | 9.0031
37 | -0.019053 | -0.0047761 | 0.019061 | 0.0047774 | 8.2589e-06 | 1.3764e-06 | 0.028906 | 0.028905 | 0.028906 | 0.98082 | -0.13432 | 0.98126 | -0.13119 | 3.5687
38 | -0.0091756 | -0.0022942 | 0.0091773 | 0.0022947 | 1.7207e-06 | 4.8708e-07 | 0.014016 | 0.014016 | 0.014016 | 0.97398 | -0.18337 | 0.97417 | -0.18201 | 5.1912
39 | 0.015227 | 0.0038126 | -0.015223 | -0.003811 | 4.4799e-06 | 1.5567e-06 | 0.023218 | 0.023218 | 0.023218 | 0.97582 | -0.1701 | 0.97553 | -0.17223 | 8.5993
40 | 0.0038465 | 0.00096364 | -0.003846 | -0.00096373 | 4.6514e-07 | -8.9918e-08 | 0.0058753 | 0.0058754 | 0.0058754 | 0.97417 | -0.18201 | 0.97405 | -0.18288 | 2.1761
41 | -0.013024 | -0.0032584 | 0.013031 | 0.0032608 | 7.167e-06 | 2.3949e-06 | 0.019892 | 0.019891 | 0.019892 | 0.97417 | -0.18201 | 0.97472 | -0.17802 | 7.3672
42 | 0.014879 | 0.0037249 | -0.014873 | -0.0037227 | 6.4044e-06 | 2.2145e-06 | 0.022694 | 0.022694 | 0.022694 | 0.97553 | -0.17223 | 0.97509 | -0.17535 | 8.4053
43 | 0.013036 | 0.0032624 | -0.013031 | -0.0032608 | 4.8183e-06 | 1.6099e-06 | 0.019891 | 0.019891 | 0.019891 | 0.97509 | -0.17535 | 0.97472 | -0.17802 | 7.3672
44 | 0.003846 | 0.00096373 | -0.0038459 | -0.00096375 | 1.032e-07 | -1.994e-08 | 0.0058754 | 0.0058754 | 0.0058754 | 0.97405 | -0.18288 | 0.97402 | -0.18308 | 2.1761
45 | 0.0018166 | 0.00045517 | -0.0018166 | -0.00045528 | 5.1859e-08 | -1.1435e-07 | 0.0027752 | 0.0027753 | 0.0027753 | 0.97402 | -0.18308 | 0.97399 | -0.18329 | 1.0279
46 | -0.010006 | -0.0025074 | 0.010011 | 0.0025089 | 5.0168e-06 | 1.5059e-06 | 0.015329 | 0.015329 | 0.015329 | 0.97125 | -0.20273 | 0.97176 | -0.19911 | 5.6776
47 | 0.0073332 | 0.0018376 | -0.0073309 | -0.0018371 | 2.2299e-06 | 5.0738e-07 | 0.011235 | 0.011235 | 0.011235 | 0.97125 | -0.20273 | 0.97095 | -0.20493 | 4.1611
48 | -0.011572 | -0.0029001 | 0.011586 | 0.0029046 | 1.4143e-05 | 4.5443e-06 | 0.017719 | 0.017719 | 0.017719 | 0.97176 | -0.19911 | 0.97298 | -0.19029 | 6.5626
49 | 0.0073309 | 0.0018371 | -0.007326 | -0.0018359 | 4.8844e-06 | 1.1122e-06 | 0.011235 | 0.011235 | 0.011235 | 0.97095 | -0.20493 | 0.97028 | -0.20975 | 4.1612
50 | -0.013911 | -0.0034873 | 0.013921 | 0.0034907 | 1.0204e-05 | 3.4755e-06 | 0.021274 | 0.021274 | 0.021274 | 0.97298 | -0.19029 | 0.97372 | -0.185 | 7.8793
51 | 0.007326 | 0.0018359 | -0.0073242 | -0.0018355 | 1.8144e-06 | 4.1342e-07 | 0.011235 | 0.011235 | 0.011235 | 0.97028 | -0.20975 | 0.97003 | -0.21154 | 4.1612
52 | -0.014799 | -0.0037108 | 0.014802 | 0.0037109 | 3.0046e-06 | 1.0152e-07 | 0.022616 | 0.022616 | 0.022616 | 0.97372 | -0.185 | 0.97392 | -0.18353 | 2.7921
53 | 0.0017579 | 0.00044048 | -0.0017579 | -0.00044057 | 3.6144e-08 | -8.4429e-08 | 0.0026966 | 0.0026966 | 0.0026966 | 0.97003 | -0.21154 | 0.97001 | -0.21168 | 0.99875
54 | -0.015556 | -0.0038999 | 0.01556 | 0.0039002 | 3.842e-06 | 2.5669e-07 | 0.023768 | 0.023767 | 0.023768 | 0.97392 | -0.18353 | 0.97417 | -0.18175 | 2.9343
55 | -0.0030996 | -0.00077683 | 0.0031006 | 0.00077634 | 9.985e-07 | -4.9485e-07 | 0.0047483 | 0.0047479 | 0.0047483 | 0.97136 | -0.20196 | 0.97168 | -0.19963 | 1.7586
56 | -0.0041147 | -0.0010305 | 0.0041152 | 0.0010304 | 4.8947e-07 | -5.6509e-08 | 0.0063009 | 0.0063008 | 0.0063009 | 0.97168 | -0.19963 | 0.9718 | -0.19877 | 2.3337
57 | 0.010012 | 0.002509 | -0.010008 | -0.002508 | 3.1862e-06 | 9.5635e-07 | 0.01533 | 0.01533 | 0.01533 | 0.9718 | -0.19877 | 0.97148 | -0.20107 | 5.6777
58 | -0.014127 | -0.0035394 | 0.014128 | 0.0035399 | 1.3371e-06 | 4.5751e-07 | 0.021631 | 0.021631 | 0.021631 | 0.9718 | -0.19877 | 0.97189 | -0.19809 | 8.0113
59 | 0.0063178 | 0.0015831 | -0.0063158 | -0.0015827 | 2.0376e-06 | 3.5209e-07 | 0.0096769 | 0.0096771 | 0.0096771 | 0.97148 | -0.20107 | 0.97116 | -0.2034 | 3.5841
60 | -0.015369 | -0.0038508 | 0.015375 | 0.003853 | 6.393e-06 | 2.2294e-06 | 0.02353 | 0.02353 | 0.02353 | 0.97189 | -0.19809 | 0.97231 | -0.19508 | 8.7148
61 | 0.0039842 | 0.00099837 | -0.0039838 | -0.00099843 | 4.362e-07 | -6.4299e-08 | 0.0061046 | 0.0061047 | 0.0061047 | 0.97116 | -0.2034 | 0.97105 | -0.20419 | 2.261
62 | -0.016786 | -0.0042065 | 0.016787 | 0.0042069 | 9.1545e-07 | 3.2452e-07 | 0.025689 | 0.025689 | 0.025689 | 0.97231 | -0.19508 | 0.97236 | -0.19469 | 9.5143
63 | 0.0040867 | 0.0010223 | -0.004085 | -0.0010226 | 1.6583e-06 | -2.112e-07 | 0.0062414 | 0.0062417 | 0.0062417 | 0.9742 | -0.18153 | 0.97379 | -0.18447 | 2.3118
64 | 0.019195 | 0.0048113 | -0.019195 | -0.0048112 | 5.8809e-07 | 1.0334e-07 | 0.02932 | 0.02932 | 0.02932 | 0.9742 | -0.18153 | 0.97417 | -0.18175 | 3.6197
65 | 0.0032362 | 0.00080983 | -0.0032356 | -0.00081009 | 6.0396e-07 | -2.6007e-07 | 0.0049447 | 0.0049449 | 0.0049449 | 0.97379 | -0.18447 | 0.9736 | -0.18582 | 1.8314
66 | 0.0018814 | 0.0004707 | -0.0018811 | -0.00047144 | 3.6612e-07 | -7.4153e-07 | 0.0028752 | 0.0028755 | 0.0028755 | 0.9736 | -0.18582 | 0.97341 | -0.18723 | 1.065

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11283 | 0.0283

## res_load
| p_mw | q_mvar
0 | 0.0027449 | 0.00068793
1 | 0.00060619 | 0.00015193
2 | 0.0011954 | 0.00029959
3 | 0.00039158 | 9.814e-05
4 | 0.0004398 | 0.00011022
5 | 0.0010184 | 0.00025523
6 | 0.00054455 | 0.00013648
7 | 0.0010781 | 0.0002702
8 | 0.00048823 | 0.00012236
9 | 0.00049262 | 0.00012346
10 | 0.0011198 | 0.00028066
11 | 0.00084817 | 0.00021257
12 | 0.0002033 | 5.0953e-05
13 | 0.0025646 | 0.00064274
14 | 0.0016252 | 0.00040732
15 | 0.001778 | 0.00044561
16 | 0.0032847 | 0.00082321
17 | 0.018276 | 0.0045805
18 | 0.0085895 | 0.0021527
19 | 0.0064076 | 0.0016059
20 | 0.0019266 | 0.00048286
21 | 0.00091565 | 0.00022948
22 | 0.0011779 | 0.0002952
23 | 0.0030175 | 0.00075626
24 | 0.00021117 | 5.2925e-05
25 | 0.00071506 | 0.00017921
26 | 0.0008144 | 0.00020411
27 | 0.00034356 | 8.6103e-05
28 | 0.0018367 | 0.00046033
29 | 0.0020293 | 0.00050859
30 | 0.0018166 | 0.00045528
31 | 0.0026727 | 0.00066983
32 | 0.0015607 | 0.00039115
33 | 0.0023248 | 0.00058266
34 | 0.00087829 | 0.00022012
35 | 0.0055663 | 0.001395
36 | 0.0007539 | 0.00018894
37 | 0.0017579 | 0.00044057
38 | 0.0030996 | 0.00077683
39 | 0.0010141 | 0.00025415
40 | 0.0036906 | 0.00092495
41 | 0.0012407 | 0.00031094
42 | 0.0023316 | 0.00058434
43 | 0.0014105 | 0.00035351
44 | 0.0012404 | 0.00031087
45 | 0.0039838 | 0.00099843
46 | 0.00084879 | 0.00021273
47 | 0.0036351 | 0.00091103
48 | 0.0013542 | 0.00033939
49 | 0.0018811 | 0.00047144

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1