## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2299-17_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2299-17_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2299-17_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2299-17_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2299-17_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2299-17_0_1_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2299-17_0_1_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_2299-17_0_1_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2299-17_0_1_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_2299-17_0_1_node_158 | 0.4 | n |  | TRUE
10 | bus_LV_2299-17_0_1_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_2299-17_0_1_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_2299-17_0_1_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_2299-17_0_1_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_2299-17_0_1_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2299-17_0_1_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2299-17_0_1_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_2299-17_0_1_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_2299-17_0_1_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_2299-17_0_1_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_2299-17_0_1_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_2299-17_0_1_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_2299-17_0_1_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_2299-17_0_1_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_2299-17_0_1_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_2299-17_0_1_node_26 | 0.4 | n |  | TRUE
26 | bus_LV_2299-17_0_1_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_2299-17_0_1_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_2299-17_0_1_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2299-17_0_1_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_2299-17_0_1_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_2299-17_0_1_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_2299-17_0_1_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_2299-17_0_1_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_2299-17_0_1_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_2299-17_0_1_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_2299-17_0_1_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_2299-17_0_1_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_2299-17_0_1_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_2299-17_0_1_node_157 | 0.4 | n |  | TRUE
40 | bus_LV_2299-17_0_1_node_159 | 0.4 | n |  | TRUE
41 | bus_LV_2299-17_0_1_node_160 | 0.4 | n |  | TRUE
42 | bus_LV_2299-17_0_1_node_163 | 0.4 | n |  | TRUE
43 | bus_LV_2299-17_0_1_node_161 | 0.4 | n |  | TRUE
44 | bus_LV_2299-17_0_1_node_162 | 0.4 | n |  | TRUE
45 | bus_LV_2299-17_0_1_node_164 | 0.4 | n |  | TRUE
46 | bus_MV_36_0_node_202 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2299-17_0_1_load_0 | 0 | 0.0031535 | 0.00079033 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2299-17_0_1_load_1 | 1 | 0.0035523 | 0.0008903 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2299-17_0_1_load_3 | 3 | 0.0026016 | 0.00065203 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2299-17_0_1_load_4 | 4 | 0.0066819 | 0.0016747 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2299-17_0_1_load_5 | 5 | 0.0012963 | 0.00032489 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2299-17_0_1_load_7 | 8 | 0.0028732 | 0.0007201 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2299-17_0_1_load_8 | 11 | 0.0015861 | 0.00039751 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2299-17_0_1_load_9 | 12 | 0.0017291 | 0.00043335 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2299-17_0_1_load_10 | 13 | 0.0016626 | 0.00041668 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2299-17_0_1_load_11 | 14 | 0.001231 | 0.00030853 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2299-17_0_1_load_16 | 16 | 0.0016821 | 0.00042158 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2299-17_0_1_load_13 | 17 | 0.0011201 | 0.00028073 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2299-17_0_1_load_14 | 18 | 0.0016003 | 0.00040108 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2299-17_0_1_load_18 | 20 | 0.0015778 | 0.00039543 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2299-17_0_1_load_19 | 21 | 0.0016618 | 0.00041648 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2299-17_0_1_load_20 | 22 | 0.0035445 | 0.00088833 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2299-17_0_1_load_21 | 23 | 0.0061571 | 0.0015431 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2299-17_0_1_load_27 | 26 | 0.0016612 | 0.00041633 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2299-17_0_1_load_30 | 27 | 0.0014364 | 0.00035998 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2299-17_0_1_load_28 | 28 | 0.00125 | 0.00031327 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2299-17_0_1_load_31 | 30 | 0.0011552 | 0.00028951 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2299-17_0_1_load_32 | 31 | 0.0029026 | 0.00072746 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2299-17_0_1_load_33 | 32 | 0.0012188 | 0.00030546 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2299-17_0_1_load_34 | 33 | 0.0021803 | 0.00054642 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2299-17_0_1_load_35 | 34 | 0.0089066 | 0.0022322 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2299-17_0_1_load_39 | 36 | 0.0013047 | 0.00032698 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2299-17_0_1_load_38 | 37 | 0.0017924 | 0.00044922 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2299-17_0_1_load_40 | 38 | 0.001086 | 0.00027219 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2299-17_0_1_load_157 | 39 | 0.002104 | 0.00052731 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2299-17_0_1_load_160 | 41 | 0.003464 | 0.00086816 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2299-17_0_1_load_161 | 43 | 0.00097215 | 0.00024364 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2299-17_0_1_load_162 | 44 | 0.0011491 | 0.00028799 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2299-17_0_1_load_164 | 45 | 0.0034419 | 0.00086261 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2299-17_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0033244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2299-17_0_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.055714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2299-17_0_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.030114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2299-17_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2299-17_0_1_line_4 | NAYY 4x150 SE | 2 | 5 | 0.070383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2299-17_0_1_line_5 | NAYY 4x150 SE | 3 | 6 | 0.016883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2299-17_0_1_line_6 | NAYY 4x150 SE | 5 | 7 | 0.037449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2299-17_0_1_line_7 | NAYY 4x150 SE | 6 | 19 | 0.043533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2299-17_0_1_line_8 | NAYY 4x150 SE | 7 | 8 | 0.13951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2299-17_0_1_line_9 | NAYY 4x150 SE | 7 | 9 | 0.14137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2299-17_0_1_line_10 | NAYY 4x150 SE | 8 | 10 | 0.023978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2299-17_0_1_line_11 | NAYY 4x150 SE | 9 | 39 | 0.094538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2299-17_0_1_line_12 | NAYY 4x150 SE | 10 | 30 | 0.026644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2299-17_0_1_line_13 | NAYY 4x150 SE | 10 | 28 | 0.045562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2299-17_0_1_line_14 | NAYY 4x150 SE | 11 | 12 | 0.0033782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2299-17_0_1_line_15 | NAYY 4x150 SE | 11 | 13 | 0.028068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2299-17_0_1_line_16 | NAYY 4x150 SE | 12 | 14 | 0.0026448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2299-17_0_1_line_17 | NAYY 4x150 SE | 13 | 15 | 0.026737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2299-17_0_1_line_18 | NAYY 4x150 SE | 15 | 16 | 0.027837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2299-17_0_1_line_19 | NAYY 4x150 SE | 15 | 17 | 0.0034293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2299-17_0_1_line_20 | NAYY 4x150 SE | 17 | 18 | 0.043662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2299-17_0_1_line_21 | NAYY 4x150 SE | 18 | 19 | 0.015246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2299-17_0_1_line_22 | NAYY 4x150 SE | 19 | 20 | 0.031536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2299-17_0_1_line_23 | NAYY 4x150 SE | 20 | 21 | 0.025232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2299-17_0_1_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0027101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2299-17_0_1_line_25 | NAYY 4x150 SE | 23 | 24 | 0.013231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2299-17_0_1_line_26 | NAYY 4x150 SE | 24 | 25 | 0.02924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2299-17_0_1_line_27 | NAYY 4x150 SE | 24 | 26 | 0.018677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2299-17_0_1_line_28 | NAYY 4x150 SE | 25 | 27 | 0.03559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2299-17_0_1_line_29 | NAYY 4x150 SE | 25 | 28 | 0.017195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2299-17_0_1_line_30 | NAYY 4x150 SE | 26 | 29 | 0.0099603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2299-17_0_1_line_31 | NAYY 4x150 SE | 27 | 31 | 0.010707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2299-17_0_1_line_32 | NAYY 4x150 SE | 29 | 37 | 0.008412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2299-17_0_1_line_33 | NAYY 4x150 SE | 29 | 35 | 0.006244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2299-17_0_1_line_34 | NAYY 4x150 SE | 32 | 33 | 0.011096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2299-17_0_1_line_35 | NAYY 4x150 SE | 32 | 34 | 0.10198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2299-17_0_1_line_36 | NAYY 4x150 SE | 33 | 35 | 0.028125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2299-17_0_1_line_37 | NAYY 4x150 SE | 35 | 36 | 0.044463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2299-17_0_1_line_38 | NAYY 4x150 SE | 36 | 38 | 0.015832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2299-17_0_1_line_39 | NAYY 4x150 SE | 39 | 40 | 0.05022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2299-17_0_1_line_40 | NAYY 4x150 SE | 40 | 41 | 0.065464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2299-17_0_1_line_41 | NAYY 4x150 SE | 41 | 42 | 0.020144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2299-17_0_1_line_42 | NAYY 4x150 SE | 42 | 44 | 0.035046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2299-17_0_1_line_43 | NAYY 4x150 SE | 43 | 44 | 0.00025489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2299-17_0_1_line_44 | NAYY 4x150 SE | 43 | 45 | 0.22623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2299-17_0_1_trafo_31 | 0.25 MVA 20/0.4 kV | 46 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2588114.0028 | 1177040.1455 | 2588115.4457 | 1177037.1507
1 | 2588075.298 | 1177079.0983 | 2588079.6503 | 1177073.4533 | 2588085.4107 | 1177068.8728 | 2588098.164 | 1177060.7321 | 2588105.1636 | 1177052.8919 | 2588110.5307 | 1177046.489 | 2588114.0028 | 1177040.1455
2 | 2588128.5167 | 1177010.0217 | 2588115.4457 | 1177037.1507
3 | 2588075.298 | 1177079.0983 | 2588073.8261 | 1177088.2058 | 2588080.8689 | 1177098.1635 | 2588086.0423 | 1177101.9106
4 | 2588075.298 | 1177079.0983 | 2588057.9733 | 1177082.5792 | 2588012.5881 | 1177082.5036 | 2588005.5647 | 1177080.4183
5 | 2588135.8447 | 1176994.8123 | 2588128.5167 | 1177010.0217
6 | 2587974.9014 | 1177087.7266 | 2587982.7422 | 1177084.0534 | 2587987.7831 | 1177075.1387 | 2588005.5647 | 1177080.4183
7 | 2588135.8447 | 1176994.8123 | 2588098.8039 | 1176971.7744
8 | 2587974.9014 | 1177087.7266 | 2587975.0904 | 1177079.1552 | 2587971.8994 | 1177073.2364 | 2587967.7111 | 1177069.1428 | 2587953.7408 | 1177061.1559 | 2587940.4351 | 1177053.012 | 2587931.7588 | 1177044.125 | 2587925.2432 | 1177034.2554 | 2587921.4974 | 1177026.0811 | 2587919.0819 | 1177018.2264 | 2587918.5123 | 1177008.6894 | 2587918.9438 | 1176999.1392 | 2587920.5402 | 1176991.2431 | 2587923.4734 | 1176983.0107 | 2587927.5792 | 1176974.6686
9 | 2587974.9014 | 1177087.7266 | 2588010.7419 | 1177224.4796
10 | 2587938.575 | 1176953.365 | 2587932.8116 | 1176964.0377 | 2587927.5792 | 1176974.6686
11 | 2588010.7419 | 1177224.4796 | 2588004.005 | 1177226.0273 | 2587997.3876 | 1177226.1518 | 2587971.0042 | 1177216.4333 | 2587959.7332 | 1177212.921 | 2587949.6431 | 1177211.3739 | 2587939.3433 | 1177211.9951 | 2587930.8815 | 1177214.558 | 2587920.556 | 1177220.0956
12 | 2587938.575 | 1176953.365 | 2587962.8913 | 1176964.4104
13 | 2587938.575 | 1176953.365 | 2587949.4046 | 1176934.867 | 2587953.8705 | 1176925.0308 | 2587959.7608 | 1176916.6146 | 2587961.6958 | 1176914.2549
14 | 2588012.2369 | 1176981.9376 | 2588013.9835 | 1176979.0459
15 | 2588028.4951 | 1176955.02 | 2588013.9835 | 1176979.0459
16 | 2588010.8695 | 1176984.2015 | 2588012.2369 | 1176981.9376
17 | 2588046.2057 | 1176938.3183 | 2588042.2618 | 1176938.026 | 2588038.8778 | 1176938.7554 | 2588036.53 | 1176941.7172 | 2588028.4951 | 1176955.02
18 | 2588046.2057 | 1176938.3183 | 2588038.7719 | 1176935.4762 | 2588033.6538 | 1176936.5092 | 2588030.0688 | 1176939.8959 | 2588024.1389 | 1176947.6673
19 | 2588046.2057 | 1176938.3183 | 2588049.0992 | 1176940.1587
20 | 2588085.9402 | 1176963.5922 | 2588049.0992 | 1176940.1587
21 | 2588098.8039 | 1176971.7744 | 2588085.9402 | 1176963.5922
22 | 2588098.8039 | 1176971.7744 | 2588082.7718 | 1176998.9314
23 | 2588082.7718 | 1176998.9314 | 2588082.7718 | 1176998.9314 | 2588073.1222 | 1176992.3696 | 2588065.2394 | 1177003.4061
24 | 2587995.2724 | 1176861.9521 | 2587994.0544 | 1176864.3731
25 | 2587988.1078 | 1176876.1924 | 2587994.0544 | 1176864.3731
26 | 2587988.1078 | 1176876.1924 | 2587980.0436 | 1176890.4492 | 2587972.5985 | 1176900.9585
27 | 2587988.1078 | 1176876.1924 | 2587970.1148 | 1176871.1825
28 | 2587972.5985 | 1176900.9585 | 2588003.1491 | 1176919.2144
29 | 2587972.5985 | 1176900.9585 | 2587961.6958 | 1176914.2549
30 | 2587960.5195 | 1176868.5108 | 2587970.1148 | 1176871.1825
31 | 2588009.7676 | 1176915.1352 | 2588006.4172 | 1176921.1673 | 2588003.1491 | 1176919.2144
32 | 2587960.5195 | 1176868.5108 | 2587963.8968 | 1176860.8066
33 | 2587960.5195 | 1176868.5108 | 2587956.2492 | 1176873.0773
34 | 2587925.4547 | 1176897.2541 | 2587934.0619 | 1176890.2507
35 | 2587843.7748 | 1176952.9019 | 2587856.2549 | 1176953.2433 | 2587864.9899 | 1176949.5903 | 2587873.5895 | 1176943.214 | 2587891.7734 | 1176926.1127 | 2587916.7188 | 1176904.3622 | 2587925.4547 | 1176897.2541
36 | 2587956.2492 | 1176873.0773 | 2587951.5891 | 1176877.678 | 2587936.2503 | 1176888.47 | 2587934.0619 | 1176890.2507
37 | 2587956.2492 | 1176873.0773 | 2587937.332 | 1176864.0999 | 2587916.0204 | 1176854.1418
38 | 2587901.6767 | 1176847.4395 | 2587916.0204 | 1176854.1418
39 | 2587875.689 | 1177242.5176 | 2587890.0078 | 1177234.162 | 2587903.2766 | 1177228.0875 | 2587916.691 | 1177222.1684 | 2587920.556 | 1177220.0956
40 | 2587875.689 | 1177242.5176 | 2587819.4506 | 1177276.0249
41 | 2587802.1054 | 1177286.2678 | 2587816.0956 | 1177278.0239 | 2587819.4506 | 1177276.0249
42 | 2587802.1054 | 1177286.2678 | 2587785.1838 | 1177269.8719 | 2587777.5314 | 1177261.3092
43 | 2587777.3615 | 1177261.1192 | 2587777.5314 | 1177261.3092
44 | 2587777.3615 | 1177261.1192 | 2587570.7861 | 1177168.8971

## bus_geodata
| x | y | coords
0 | 2588114.0028 | 1177040.1455
1 | 2588115.4457 | 1177037.1507
2 | 2588075.298 | 1177079.0983
3 | 2588128.5167 | 1177010.0217
4 | 2588086.0423 | 1177101.9106
5 | 2588005.5647 | 1177080.4183
6 | 2588135.8447 | 1176994.8123
7 | 2587974.9014 | 1177087.7266
8 | 2587927.5792 | 1176974.6686
9 | 2588010.7419 | 1177224.4796
10 | 2587938.575 | 1176953.365
11 | 2588013.9835 | 1176979.0459
12 | 2588012.2369 | 1176981.9376
13 | 2588028.4951 | 1176955.02
14 | 2588010.8695 | 1176984.2015
15 | 2588046.2057 | 1176938.3183
16 | 2588024.1389 | 1176947.6673
17 | 2588049.0992 | 1176940.1587
18 | 2588085.9402 | 1176963.5922
19 | 2588098.8039 | 1176971.7744
20 | 2588082.7718 | 1176998.9314
21 | 2588065.2394 | 1177003.4061
22 | 2587995.2724 | 1176861.9521
23 | 2587994.0544 | 1176864.3731
24 | 2587988.1078 | 1176876.1924
25 | 2587972.5985 | 1176900.9585
26 | 2587970.1148 | 1176871.1825
27 | 2588003.1491 | 1176919.2144
28 | 2587961.6958 | 1176914.2549
29 | 2587960.5195 | 1176868.5108
30 | 2587962.8913 | 1176964.4104
31 | 2588009.7676 | 1176915.1352
32 | 2587925.4547 | 1176897.2541
33 | 2587934.0619 | 1176890.2507
34 | 2587843.7748 | 1176952.9019
35 | 2587956.2492 | 1176873.0773
36 | 2587916.0204 | 1176854.1418
37 | 2587963.8968 | 1176860.8066
38 | 2587901.6767 | 1176847.4395
39 | 2587920.556 | 1177220.0956
40 | 2587875.689 | 1177242.5176
41 | 2587819.4506 | 1177276.0249
42 | 2587802.1054 | 1177286.2678
43 | 2587777.3615 | 1177261.1192
44 | 2587777.5314 | 1177261.3092
45 | 2587570.7861 | 1177168.8971
46 | 2587938.575 | 1176953.365

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98019 | -0.13907 | 0.0031535 | 0.00079033
1 | 0.98009 | -0.13976 | 0.0035523 | 0.0008903
2 | 0.98207 | -0.12567 | 0 | 0
3 | 0.97937 | -0.14492 | 0.0026016 | 0.00065203
4 | 0.9818 | -0.1276 | 0.0066819 | 0.0016747
5 | 0.98512 | -0.10398 | 0.0012963 | 0.00032489
6 | 0.97903 | -0.14736 | 0 | 0
7 | 0.98682 | -0.09199 | 0 | 0
8 | 0.9954 | -0.031917 | 0.0028732 | 0.0007201
9 | 0.98454 | -0.10823 | 0 | 0
10 | 0.99697 | -0.021003 | 0 | 0
11 | 0.97687 | -0.16281 | 0.0015861 | 0.00039751
12 | 0.97686 | -0.16291 | 0.0017291 | 0.00043335
13 | 0.97706 | -0.16147 | 0.0016626 | 0.00041668
14 | 0.97685 | -0.16295 | 0.001231 | 0.00030853
15 | 0.9773 | -0.15974 | 0 | 0
16 | 0.97723 | -0.16023 | 0.0016821 | 0.00042158
17 | 0.97734 | -0.15946 | 0.0011201 | 0.00028073
18 | 0.97791 | -0.15534 | 0.0016003 | 0.00040108
19 | 0.97815 | -0.15365 | 0 | 0
20 | 0.978 | -0.15472 | 0.0015778 | 0.00039543
21 | 0.97794 | -0.15516 | 0.0016618 | 0.00041648
22 | 0.99262 | -0.051585 | 0.0035445 | 0.00088833
23 | 0.99263 | -0.051488 | 0.0061571 | 0.0015431
24 | 0.99282 | -0.050188 | 0 | 0
25 | 0.99399 | -0.041944 | 0 | 0
26 | 0.99233 | -0.053626 | 0.0016612 | 0.00041633
27 | 0.99377 | -0.043505 | 0.0014364 | 0.00035998
28 | 0.99478 | -0.036351 | 0.00125 | 0.00031327
29 | 0.99209 | -0.055293 | 0 | 0
30 | 1 | 0 | -0.0805 | -0.020103
31 | 0.99372 | -0.043819 | 0.0029026 | 0.00072746
32 | 0.9913 | -0.060883 | 0.0012188 | 0.00030546
33 | 0.99146 | -0.059741 | 0.0021803 | 0.00054642
34 | 0.98999 | -0.070125 | 0.0089066 | 0.0022322
35 | 0.99196 | -0.056225 | 0 | 0
36 | 0.99181 | -0.057305 | 0.0013047 | 0.00032698
37 | 0.99207 | -0.055446 | 0.0017924 | 0.00044922
38 | 0.99178 | -0.05748 | 0.001086 | 0.00027219
39 | 0.98301 | -0.11912 | 0.002104 | 0.00052731
40 | 0.98235 | -0.12383 | 0 | 0
41 | 0.98149 | -0.12997 | 0.003464 | 0.00086816
42 | 0.98133 | -0.13113 | 0 | 0
43 | 0.98104 | -0.13317 | 0.00097215 | 0.00024364
44 | 0.98104 | -0.13316 | 0.0011491 | 0.00028799
45 | 0.97991 | -0.14128 | 0.0034419 | 0.00086261
46 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.020046 | 0.0050259 | -0.020044 | -0.0050252 | 1.9212e-06 | 6.9704e-07 | 0.030433 | 0.030433 | 0.030433 | 0.98019 | -0.13907 | 0.98009 | -0.13976 | 11.2714
1 | -0.0232 | -0.0058162 | 0.023243 | 0.0058321 | 4.3125e-05 | 1.5883e-05 | 0.03522 | 0.03522 | 0.03522 | 0.98019 | -0.13907 | 0.98207 | -0.12567 | 13.0445
2 | 0.016492 | 0.0041349 | -0.01648 | -0.0041307 | 1.1782e-05 | 4.1522e-06 | 0.02504 | 0.02504 | 0.02504 | 0.98009 | -0.13976 | 0.97937 | -0.14492 | 9.274
3 | 0.0066837 | 0.001675 | -0.0066819 | -0.0016747 | 1.7785e-06 | 3.325e-07 | 0.010127 | 0.010127 | 0.010127 | 0.98207 | -0.12567 | 0.9818 | -0.1276 | 3.7508
4 | -0.029927 | -0.0075071 | 0.030017 | 0.0075409 | 9.0311e-05 | 3.3842e-05 | 0.045347 | 0.045347 | 0.045347 | 0.98207 | -0.12567 | 0.98512 | -0.10398 | 16.7951
5 | 0.013879 | 0.0034787 | -0.013874 | -0.0034771 | 4.6844e-06 | 1.5893e-06 | 0.021087 | 0.021087 | 0.021087 | 0.97937 | -0.14492 | 0.97903 | -0.14736 | 7.81
6 | -0.031313 | -0.0078658 | 0.031366 | 0.0078854 | 5.2291e-05 | 1.9634e-05 | 0.047305 | 0.047304 | 0.047305 | 0.98512 | -0.10398 | 0.98682 | -0.09199 | 17.5202
7 | 0.013874 | 0.0034771 | -0.013862 | -0.003473 | 1.2079e-05 | 4.0989e-06 | 0.021087 | 0.021087 | 0.021087 | 0.97903 | -0.14736 | 0.97815 | -0.15365 | 7.8101
8 | -0.042558 | -0.010691 | 0.042917 | 0.010827 | 0.0003586 | 0.00013613 | 0.064182 | 0.064182 | 0.064182 | 0.98682 | -0.09199 | 0.9954 | -0.031917 | 23.7712
9 | 0.011193 | 0.0028055 | -0.011168 | -0.0027976 | 2.513e-05 | 7.8634e-06 | 0.016878 | 0.016878 | 0.016878 | 0.98682 | -0.09199 | 0.98454 | -0.10823 | 6.2513
10 | -0.04579 | -0.011547 | 0.04586 | 0.011574 | 7.016e-05 | 2.6672e-05 | 0.068477 | 0.068477 | 0.068477 | 0.9954 | -0.031917 | 0.99697 | -0.021003 | 25.3618
11 | 0.011168 | 0.0027976 | -0.011151 | -0.0027923 | 1.6806e-05 | 5.2635e-06 | 0.016878 | 0.016879 | 0.016879 | 0.98454 | -0.10823 | 0.98301 | -0.11912 | 6.2514
12 | -0.079466 | -0.020013 | 0.0797 | 0.020103 | 0.00023402 | 8.9658e-05 | 0.11864 | 0.11864 | 0.11864 | 0.99697 | -0.021003 | 1 | 0 | 43.9408
13 | 0.033606 | 0.0084393 | -0.033534 | -0.0084124 | 7.1542e-05 | 2.6923e-05 | 0.050163 | 0.050164 | 0.050164 | 0.99697 | -0.021003 | 0.99478 | -0.036351 | 18.5791
14 | 0.0029602 | 0.00074182 | -0.0029601 | -0.00074184 | 4.2859e-08 | -2.5809e-08 | 0.004509 | 0.0045091 | 0.0045091 | 0.97687 | -0.16281 | 0.97686 | -0.16291 | 1.67
15 | -0.0045463 | -0.0011393 | 0.0045471 | 0.0011393 | 8.3992e-07 | -2.8418e-08 | 0.0069251 | 0.0069249 | 0.0069251 | 0.97687 | -0.16281 | 0.97706 | -0.16147 | 2.5648
16 | 0.001231 | 0.0003085 | -0.001231 | -0.00030853 | 5.8034e-09 | -3.0879e-08 | 0.0018752 | 0.0018752 | 0.0018752 | 0.97686 | -0.16291 | 0.97685 | -0.16295 | 0.69452
17 | -0.0062097 | -0.001556 | 0.0062112 | 0.0015562 | 1.4921e-06 | 2.3894e-07 | 0.009457 | 0.0094568 | 0.009457 | 0.97706 | -0.16147 | 0.9773 | -0.15974 | 3.5026
18 | 0.0016822 | 0.00042127 | -0.0016821 | -0.00042158 | 1.1395e-07 | -3.0496e-07 | 0.0025612 | 0.0025613 | 0.0025613 | 0.9773 | -0.15974 | 0.97723 | -0.16023 | 0.94865
19 | -0.0078934 | -0.0019775 | 0.0078937 | 0.0019776 | 3.0907e-07 | 7.5901e-08 | 0.012018 | 0.012018 | 0.012018 | 0.9773 | -0.15974 | 0.97734 | -0.15946 | 4.4511
20 | -0.0090138 | -0.0022583 | 0.009019 | 0.0022597 | 5.1311e-06 | 1.426e-06 | 0.013723 | 0.013723 | 0.013723 | 0.97734 | -0.15946 | 0.97791 | -0.15534 | 5.0828
21 | -0.010619 | -0.0026608 | 0.010622 | 0.0026616 | 2.4838e-06 | 7.64e-07 | 0.016158 | 0.016158 | 0.016158 | 0.97791 | -0.15534 | 0.97815 | -0.15365 | 5.9846
22 | 0.0032401 | 0.00081142 | -0.0032397 | -0.00081163 | 4.7808e-07 | -2.1191e-07 | 0.0049289 | 0.004929 | 0.004929 | 0.97815 | -0.15365 | 0.978 | -0.15472 | 1.8256
23 | 0.0016619 | 0.0004162 | -0.0016618 | -0.00041648 | 1.0066e-07 | -2.7788e-07 | 0.0025284 | 0.0025285 | 0.0025285 | 0.978 | -0.15472 | 0.97794 | -0.15516 | 0.9365
24 | -0.0035445 | -0.00088833 | 0.0035445 | 0.00088831 | 4.7744e-08 | -1.6669e-08 | 0.0053134 | 0.0053134 | 0.0053134 | 0.99262 | -0.051585 | 0.99263 | -0.051488 | 1.9679
25 | -0.0097016 | -0.0024314 | 0.0097034 | 0.0024319 | 1.7462e-06 | 5.0056e-07 | 0.014543 | 0.014543 | 0.014543 | 0.99263 | -0.051488 | 0.99282 | -0.050188 | 5.3864
26 | -0.027887 | -0.0069906 | 0.027919 | 0.0070025 | 3.1875e-05 | 1.1881e-05 | 0.041797 | 0.041797 | 0.041797 | 0.99282 | -0.050188 | 0.99399 | -0.041944 | 15.4804
27 | 0.018184 | 0.0045586 | -0.018175 | -0.0045556 | 8.6569e-06 | 3.0882e-06 | 0.027254 | 0.027254 | 0.027254 | 0.99282 | -0.050188 | 0.99233 | -0.053626 | 10.0941
28 | 0.00434 | 0.0010873 | -0.0043391 | -0.0010874 | 9.3742e-07 | -1.0066e-07 | 0.0064969 | 0.0064971 | 0.0064971 | 0.99399 | -0.041944 | 0.99377 | -0.043505 | 2.4063
29 | -0.032259 | -0.0080897 | 0.032284 | 0.0080991 | 2.5025e-05 | 9.4018e-06 | 0.048294 | 0.048294 | 0.048294 | 0.99399 | -0.041944 | 0.99478 | -0.036351 | 17.8867
30 | 0.016514 | 0.0041392 | -0.01651 | -0.0041379 | 3.8113e-06 | 1.3372e-06 | 0.024763 | 0.024763 | 0.024763 | 0.99233 | -0.053626 | 0.99209 | -0.055293 | 9.1715
31 | 0.0029027 | 0.00072737 | -0.0029026 | -0.00072746 | 1.2622e-07 | -9.0173e-08 | 0.0043464 | 0.0043464 | 0.0043464 | 0.99377 | -0.043505 | 0.99372 | -0.043819 | 1.6098
32 | 0.0017925 | 0.00044913 | -0.0017924 | -0.00044922 | 3.7939e-08 | -9.4026e-08 | 0.0026884 | 0.0026885 | 0.0026885 | 0.99209 | -0.055293 | 0.99207 | -0.055446 | 0.99573
33 | 0.014718 | 0.0036888 | -0.014716 | -0.0036881 | 1.8986e-06 | 6.4962e-07 | 0.022075 | 0.022075 | 0.022075 | 0.99209 | -0.055293 | 0.99196 | -0.056225 | 8.1758
34 | -0.010137 | -0.0025407 | 0.010138 | 0.0025412 | 1.6032e-06 | 4.7352e-07 | 0.015216 | 0.015216 | 0.015216 | 0.9913 | -0.060883 | 0.99146 | -0.059741 | 5.6356
35 | 0.008918 | 0.0022353 | -0.0089066 | -0.0022322 | 1.1404e-05 | 3.0732e-06 | 0.013387 | 0.013387 | 0.013387 | 0.9913 | -0.060883 | 0.98999 | -0.070125 | 4.9582
36 | -0.012319 | -0.0030876 | 0.012325 | 0.0030896 | 5.9988e-06 | 1.9443e-06 | 0.018488 | 0.018488 | 0.018488 | 0.99146 | -0.059741 | 0.99196 | -0.056225 | 6.8475
37 | 0.0023911 | 0.00059854 | -0.0023907 | -0.00059897 | 3.5691e-07 | -4.3661e-07 | 0.0035866 | 0.0035868 | 0.0035868 | 0.99196 | -0.056225 | 0.99181 | -0.057305 | 1.3284
38 | 0.0010861 | 0.000272 | -0.001086 | -0.00027219 | 2.623e-08 | -1.9423e-07 | 0.0016294 | 0.0016294 | 0.0016294 | 0.99181 | -0.057305 | 0.99178 | -0.05748 | 0.6035
39 | 0.009047 | 0.002265 | -0.0090411 | -0.0022634 | 5.8765e-06 | 1.624e-06 | 0.013694 | 0.013694 | 0.013694 | 0.98301 | -0.11912 | 0.98235 | -0.12383 | 5.0719
40 | 0.0090411 | 0.0022634 | -0.0090334 | -0.0022613 | 7.6606e-06 | 2.1183e-06 | 0.013694 | 0.013694 | 0.013694 | 0.98235 | -0.12383 | 0.98149 | -0.12997 | 5.072
41 | 0.0055694 | 0.0013931 | -0.0055685 | -0.001393 | 8.9598e-07 | 9.0069e-08 | 0.0084427 | 0.0084428 | 0.0084428 | 0.98149 | -0.12997 | 0.98133 | -0.13113 | 3.127
42 | 0.0055685 | 0.001393 | -0.005567 | -0.0013929 | 1.5589e-06 | 1.5692e-07 | 0.0084428 | 0.008443 | 0.008443 | 0.98133 | -0.13113 | 0.98104 | -0.13316 | 3.127
43 | -0.0044179 | -0.0011049 | 0.0044179 | 0.0011049 | 7.1396e-09 | -4.7245e-10 | 0.0067001 | 0.0067001 | 0.0067001 | 0.98104 | -0.13317 | 0.98104 | -0.13316 | 2.4815
44 | 0.0034457 | 0.00086124 | -0.0034419 | -0.00086261 | 3.8554e-06 | -1.3703e-06 | 0.0052255 | 0.0052266 | 0.0052266 | 0.98104 | -0.13317 | 0.97991 | -0.14128 | 1.9358

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.081655 | 0.020392

## res_load
| p_mw | q_mvar
0 | 0.0031535 | 0.00079033
1 | 0.0035523 | 0.0008903
2 | 0.0026016 | 0.00065203
3 | 0.0066819 | 0.0016747
4 | 0.0012963 | 0.00032489
5 | 0.0028732 | 0.0007201
6 | 0.0015861 | 0.00039751
7 | 0.0017291 | 0.00043335
8 | 0.0016626 | 0.00041668
9 | 0.001231 | 0.00030853
10 | 0.0016821 | 0.00042158
11 | 0.0011201 | 0.00028073
12 | 0.0016003 | 0.00040108
13 | 0.0015778 | 0.00039543
14 | 0.0016618 | 0.00041648
15 | 0.0035445 | 0.00088833
16 | 0.0061571 | 0.0015431
17 | 0.0016612 | 0.00041633
18 | 0.0014364 | 0.00035998
19 | 0.00125 | 0.00031327
20 | 0.0011552 | 0.00028951
21 | 0.0029026 | 0.00072746
22 | 0.0012188 | 0.00030546
23 | 0.0021803 | 0.00054642
24 | 0.0089066 | 0.0022322
25 | 0.0013047 | 0.00032698
26 | 0.0017924 | 0.00044922
27 | 0.001086 | 0.00027219
28 | 0.002104 | 0.00052731
29 | 0.003464 | 0.00086816
30 | 0.00097215 | 0.00024364
31 | 0.0011491 | 0.00028799
32 | 0.0034419 | 0.00086261

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1