## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2299-17_2_2_node_128 | 0.4 | n |  | TRUE
1 | bus_LV_2299-17_2_2_node_126 | 0.4 | n |  | TRUE
2 | bus_LV_2299-17_2_2_node_145 | 0.4 | n |  | TRUE
3 | bus_LV_2299-17_2_2_node_129 | 0.4 | n |  | TRUE
4 | bus_LV_2299-17_2_2_node_113 | 0.4 | n |  | TRUE
5 | bus_LV_2299-17_2_2_node_143 | 0.4 | n |  | TRUE
6 | bus_LV_2299-17_2_2_node_144 | 0.4 | n |  | TRUE
7 | bus_LV_2299-17_2_2_node_127 | 0.4 | n |  | TRUE
8 | bus_LV_2299-17_2_2_node_130 | 0.4 | n |  | TRUE
9 | bus_LV_2299-17_2_2_node_150 | 0.4 | n |  | TRUE
10 | bus_LV_2299-17_2_2_node_131 | 0.4 | n |  | TRUE
11 | bus_LV_2299-17_2_2_node_118 | 0.4 | n |  | TRUE
12 | bus_LV_2299-17_2_2_node_132 | 0.4 | n |  | TRUE
13 | bus_LV_2299-17_2_2_node_133 | 0.4 | n |  | TRUE
14 | bus_LV_2299-17_2_2_node_134 | 0.4 | n |  | TRUE
15 | bus_LV_2299-17_2_2_node_136 | 0.4 | n |  | TRUE
16 | bus_LV_2299-17_2_2_node_135 | 0.4 | n |  | TRUE
17 | bus_LV_2299-17_2_2_node_140 | 0.4 | n |  | TRUE
18 | bus_LV_2299-17_2_2_node_137 | 0.4 | n |  | TRUE
19 | bus_LV_2299-17_2_2_node_138 | 0.4 | n |  | TRUE
20 | bus_LV_2299-17_2_2_node_139 | 0.4 | n |  | TRUE
21 | bus_LV_2299-17_2_2_node_147 | 0.4 | n |  | TRUE
22 | bus_LV_2299-17_2_2_node_141 | 0.4 | n |  | TRUE
23 | bus_LV_2299-17_2_2_node_142 | 0.4 | n |  | TRUE
24 | bus_LV_2299-17_2_2_node_151 | 0.4 | n |  | TRUE
25 | bus_LV_2299-17_2_2_node_146 | 0.4 | n |  | TRUE
26 | bus_LV_2299-17_2_2_node_148 | 0.4 | n |  | TRUE
27 | bus_LV_2299-17_2_2_node_149 | 0.4 | n |  | TRUE
28 | bus_LV_2299-17_2_2_node_124 | 0.4 | n |  | TRUE
29 | bus_LV_2299-17_2_2_node_153 | 0.4 | n |  | TRUE
30 | bus_LV_2299-17_2_2_node_103 | 0.4 | n |  | TRUE
31 | bus_LV_2299-17_2_2_node_123 | 0.4 | n |  | TRUE
32 | bus_LV_2299-17_2_2_node_100 | 0.4 | n |  | TRUE
33 | bus_LV_2299-17_2_2_node_101 | 0.4 | n |  | TRUE
34 | bus_LV_2299-17_2_2_node_102 | 0.4 | n |  | TRUE
35 | bus_LV_2299-17_2_2_node_104 | 0.4 | n |  | TRUE
36 | bus_LV_2299-17_2_2_node_108 | 0.4 | n |  | TRUE
37 | bus_LV_2299-17_2_2_node_106 | 0.4 | n |  | TRUE
38 | bus_LV_2299-17_2_2_node_110 | 0.4 | n |  | TRUE
39 | bus_LV_2299-17_2_2_node_105 | 0.4 | n |  | TRUE
40 | bus_LV_2299-17_2_2_node_107 | 0.4 | n |  | TRUE
41 | bus_LV_2299-17_2_2_node_111 | 0.4 | n |  | TRUE
42 | bus_LV_2299-17_2_2_node_112 | 0.4 | n |  | TRUE
43 | bus_LV_2299-17_2_2_node_114 | 0.4 | n |  | TRUE
44 | bus_LV_2299-17_2_2_node_119 | 0.4 | n |  | TRUE
45 | bus_LV_2299-17_2_2_node_115 | 0.4 | n |  | TRUE
46 | bus_LV_2299-17_2_2_node_116 | 0.4 | n |  | TRUE
47 | bus_LV_2299-17_2_2_node_117 | 0.4 | n |  | TRUE
48 | bus_LV_2299-17_2_2_node_120 | 0.4 | n |  | TRUE
49 | bus_LV_2299-17_2_2_node_121 | 0.4 | n |  | TRUE
50 | bus_LV_2299-17_2_2_node_122 | 0.4 | n |  | TRUE
51 | bus_LV_2299-17_2_2_node_125 | 0.4 | n |  | TRUE
52 | bus_MV_0_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2299-17_2_2_load_128 | 0 | 0.00097402 | 0.00024411 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2299-17_2_2_load_126 | 1 | 0.0012279 | 0.00030773 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2299-17_2_2_load_145 | 2 | 0.001497 | 0.00037519 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2299-17_2_2_load_113 | 4 | 0.0032666 | 0.0008187 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2299-17_2_2_load_143 | 5 | 0.0049362 | 0.0012371 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2299-17_2_2_load_144 | 6 | 0.0026833 | 0.00067249 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2299-17_2_2_load_130 | 8 | 0.0010686 | 0.00026781 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2299-17_2_2_load_131 | 10 | 0.0033183 | 0.00083163 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2299-17_2_2_load_118 | 11 | 0.0016514 | 0.00041387 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2299-17_2_2_load_132 | 12 | 0.0025466 | 0.00063824 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2299-17_2_2_load_133 | 13 | 0.0023223 | 0.00058203 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2299-17_2_2_load_134 | 14 | 0.0014727 | 0.00036909 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2299-17_2_2_load_135 | 16 | 0.0013827 | 0.00034653 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2299-17_2_2_load_140 | 17 | 0.0014755 | 0.0003698 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2299-17_2_2_load_137 | 18 | 0.00079312 | 0.00019877 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2299-17_2_2_load_147 | 21 | 0.0021818 | 0.00054682 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2299-17_2_2_load_141 | 22 | 0.0010179 | 0.0002551 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2299-17_2_2_load_142 | 23 | 0.00064884 | 0.00016261 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2299-17_2_2_load_151 | 24 | 0.0015509 | 0.00038869 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2299-17_2_2_load_146 | 25 | 0.001905 | 0.00047745 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2299-17_2_2_load_148 | 26 | 0.00082144 | 0.00020587 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2299-17_2_2_load_149 | 27 | 0.00023108 | 5.7914e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2299-17_2_2_load_124 | 28 | 0.001385 | 0.00034712 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2299-17_2_2_load_153 | 29 | 0.0015944 | 0.00039959 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2299-17_2_2_load_123 | 31 | 0.0014153 | 0.00035471 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2299-17_2_2_load_100 | 32 | 0.00045214 | 0.00011332 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2299-17_2_2_load_101 | 33 | 0.0025395 | 0.00063645 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2299-17_2_2_load_108 | 36 | 0.00027657 | 6.9316e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2299-17_2_2_load_106 | 37 | 0.00090274 | 0.00022625 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2299-17_2_2_load_110 | 38 | 0.0019748 | 0.00049494 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2299-17_2_2_load_105 | 39 | 0.00021778 | 5.458e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2299-17_2_2_load_107 | 40 | 0.0015516 | 0.00038888 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2299-17_2_2_load_111 | 41 | 0.0034615 | 0.00086753 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2299-17_2_2_load_114 | 43 | 0.0022083 | 0.00055346 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2299-17_2_2_load_119 | 44 | 0.001787 | 0.00044786 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2299-17_2_2_load_115 | 45 | 0.0022959 | 0.0005754 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2299-17_2_2_load_116 | 46 | 0.0022892 | 0.00057373 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2299-17_2_2_load_117 | 47 | 0.0022348 | 0.00056009 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2299-17_2_2_load_120 | 48 | 0.0023557 | 0.0005904 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2299-17_2_2_load_121 | 49 | 0.00075536 | 0.00018931 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2299-17_2_2_load_122 | 50 | 0.0017911 | 0.00044889 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2299-17_2_2_load_125 | 51 | 0.0021378 | 0.00053578 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2299-17_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2299-17_2_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2299-17_2_2_line_2 | NAYY 4x150 SE | 1 | 51 | 0.024657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2299-17_2_2_line_3 | NAYY 4x150 SE | 2 | 25 | 0.0083273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2299-17_2_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.022644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2299-17_2_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.064271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2299-17_2_2_line_6 | NAYY 4x150 SE | 3 | 6 | 0.023561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2299-17_2_2_line_7 | NAYY 4x150 SE | 3 | 7 | 0.078346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2299-17_2_2_line_8 | NAYY 4x150 SE | 4 | 42 | 0.10051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2299-17_2_2_line_9 | NAYY 4x150 SE | 5 | 20 | 0.057459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2299-17_2_2_line_10 | NAYY 4x150 SE | 6 | 24 | 0.025237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2299-17_2_2_line_11 | NAYY 4x150 SE | 7 | 8 | 0.031944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2299-17_2_2_line_12 | NAYY 4x150 SE | 7 | 51 | 0.014729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2299-17_2_2_line_13 | NAYY 4x150 SE | 8 | 9 | 0.049135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2299-17_2_2_line_14 | NAYY 4x150 SE | 9 | 23 | 0.014867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2299-17_2_2_line_15 | NAYY 4x150 SE | 9 | 26 | 0.019907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2299-17_2_2_line_16 | NAYY 4x150 SE | 10 | 11 | 0.00056784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2299-17_2_2_line_17 | NAYY 4x150 SE | 10 | 12 | 0.027417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2299-17_2_2_line_18 | NAYY 4x150 SE | 11 | 46 | 0.031708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2299-17_2_2_line_19 | NAYY 4x150 SE | 12 | 13 | 0.0013035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2299-17_2_2_line_20 | NAYY 4x150 SE | 14 | 15 | 0.19403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2299-17_2_2_line_21 | NAYY 4x150 SE | 15 | 17 | 0.051437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2299-17_2_2_line_22 | NAYY 4x150 SE | 15 | 16 | 0.14646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2299-17_2_2_line_23 | NAYY 4x150 SE | 17 | 22 | 0.083408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2299-17_2_2_line_24 | NAYY 4x150 SE | 18 | 19 | 0.026661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2299-17_2_2_line_25 | NAYY 4x150 SE | 19 | 20 | 0.057763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2299-17_2_2_line_26 | NAYY 4x150 SE | 20 | 21 | 0.030224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2299-17_2_2_line_27 | NAYY 4x150 SE | 22 | 23 | 0.03078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2299-17_2_2_line_28 | NAYY 4x150 SE | 24 | 28 | 0.02962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2299-17_2_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.012687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2299-17_2_2_line_30 | NAYY 4x150 SE | 28 | 50 | 0.031932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2299-17_2_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.096409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2299-17_2_2_line_32 | NAYY 4x150 SE | 29 | 31 | 0.09872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2299-17_2_2_line_33 | NAYY 4x150 SE | 30 | 36 | 0.04297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2299-17_2_2_line_34 | NAYY 4x150 SE | 30 | 37 | 0.010876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2299-17_2_2_line_35 | NAYY 4x150 SE | 30 | 33 | 0.010788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2299-17_2_2_line_36 | NAYY 4x150 SE | 31 | 49 | 0.0010366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2299-17_2_2_line_37 | NAYY 4x150 SE | 32 | 33 | 0.10879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2299-17_2_2_line_38 | NAYY 4x150 SE | 32 | 34 | 0.001228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2299-17_2_2_line_39 | NAYY 4x150 SE | 34 | 35 | 0.019378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2299-17_2_2_line_40 | NAYY 4x150 SE | 35 | 38 | 0.029284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2299-17_2_2_line_41 | NAYY 4x150 SE | 37 | 39 | 0.038516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2299-17_2_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.028087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2299-17_2_2_line_43 | NAYY 4x150 SE | 41 | 42 | 0.031191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2299-17_2_2_line_44 | NAYY 4x150 SE | 42 | 43 | 0.016964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2299-17_2_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.038475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2299-17_2_2_line_46 | NAYY 4x150 SE | 44 | 47 | 0.00055319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2299-17_2_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0023202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2299-17_2_2_line_48 | NAYY 4x150 SE | 45 | 47 | 0.027119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2299-17_2_2_line_49 | NAYY 4x150 SE | 48 | 49 | 0.05004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2299-17_2_2_line_50 | NAYY 4x150 SE | 48 | 50 | 0.035376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2299-17_2_2_trafo_151 | 0.25 MVA 20/0.4 kV | 52 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2587039.9882 | 1175933.1437 | 2587058.5314 | 1175937.9107
1 | 2587039.9882 | 1175933.1437 | 2587023.0674 | 1175928.7938
2 | 2587082.4115 | 1175944.0497 | 2587058.5314 | 1175937.9107
3 | 2587015.0023 | 1175926.7205 | 2587023.0674 | 1175928.7938
4 | 2587111.9203 | 1176023.4 | 2587111.7723 | 1176029.2033 | 2587111.8623 | 1176035.4507 | 2587111.829 | 1176046.0414
5 | 2587111.9203 | 1176023.4 | 2587125.0564 | 1176022.2155 | 2587129.0088 | 1176022.5961 | 2587133.8728 | 1176023.964 | 2587141.9507 | 1176027.0704 | 2587172.831 | 1176039.8063
6 | 2587111.9203 | 1176023.4 | 2587105.4858 | 1176023.892 | 2587100.4249 | 1176023.4249 | 2587088.643 | 1176021.0184
7 | 2587096.6763 | 1175947.7168 | 2587107.9854 | 1175974.5615 | 2587111.4257 | 1175992.6188 | 2587112.3179 | 1176002.2662 | 2587112.3872 | 1176009.6031 | 2587111.9203 | 1176023.4
8 | 2587110.6656 | 1176146.5209 | 2587111.5634 | 1176130.5108 | 2587111.829 | 1176046.0414
9 | 2587228.9496 | 1176050.2396 | 2587214.2647 | 1176049.1594 | 2587196.849 | 1176047.0513 | 2587183.6203 | 1176044.2561 | 2587172.831 | 1176039.8063
10 | 2587063.9981 | 1176015.6066 | 2587072.8513 | 1176017.7929 | 2587088.643 | 1176021.0184
11 | 2587096.6763 | 1175947.7168 | 2587087.6896 | 1175917.0626
12 | 2587096.6763 | 1175947.7168 | 2587082.4115 | 1175944.0497
13 | 2587079.0557 | 1175868.8593 | 2587079.2134 | 1175874.6175 | 2587083.378 | 1175902.3559 | 2587087.6896 | 1175917.0626
14 | 2587079.0557 | 1175868.8593 | 2587078.648 | 1175853.9981
15 | 2587079.0557 | 1175868.8593 | 2587059.1491 | 1175869.0106
16 | 2587227.4418 | 1176137.4361 | 2587228.0085 | 1176137.4007
17 | 2587228.0085 | 1176137.4007 | 2587255.3717 | 1176135.6913
18 | 2587227.4418 | 1176137.4361 | 2587195.7954 | 1176139.4131
19 | 2587255.3717 | 1176135.6913 | 2587256.6727 | 1176135.61
20 | 2587108.7236 | 1175693.9729 | 2587295.1365 | 1175640.1455
21 | 2587108.7236 | 1175693.9729 | 2587104.2649 | 1175696.3393 | 2587098.3255 | 1175720.9425 | 2587093.898 | 1175741.5518
22 | 2587108.7236 | 1175693.9729 | 2587112.9267 | 1175697.0988 | 2587114.87 | 1175712.08 | 2587121.0367 | 1175725.429 | 2587123.6556 | 1175748.8574 | 2587134.2114 | 1175780.7397 | 2587152.058 | 1175822.8226 | 2587159.2905 | 1175827.3625
23 | 2587093.898 | 1175741.5518 | 2587083.471 | 1175790.0875 | 2587080.0135 | 1175802.9571 | 2587077.6946 | 1175819.2371 | 2587077.8041 | 1175823.2301
24 | 2587286.4004 | 1176056.0198 | 2587284.5629 | 1176065.284 | 2587284.2362 | 1176082.4969
25 | 2587286.4004 | 1176056.0198 | 2587285.3069 | 1176055.7887 | 2587279.8013 | 1176054.5887 | 2587266.4122 | 1176051.8158 | 2587252.1403 | 1176050.8459 | 2587228.9496 | 1176050.2396
26 | 2587228.9496 | 1176050.2396 | 2587229.0774 | 1176052.8407 | 2587229.2129 | 1176055.4306 | 2587229.4204 | 1176059.5211 | 2587229.7859 | 1176066.0348 | 2587229.6202 | 1176070.7153 | 2587227.7298 | 1176080.2464
27 | 2587078.648 | 1175853.9981 | 2587077.8041 | 1175823.2301
28 | 2587063.9981 | 1176015.6066 | 2587057.4113 | 1176013.98 | 2587042.4373 | 1176010.0327 | 2587035.3791 | 1176007.9828
29 | 2587059.1491 | 1175869.0106 | 2587046.4626 | 1175869.107
30 | 2587035.3791 | 1176007.9828 | 2587024.9232 | 1176004.946 | 2587012.5774 | 1176000.5151 | 2587005.1524 | 1175997.7386
31 | 2586830.7356 | 1175941.2451 | 2586735.0681 | 1175953.1797
32 | 2586921.0307 | 1175978.2996 | 2586920.9243 | 1175978.2819 | 2586898.138 | 1175974.0409 | 2586891.1101 | 1175972.3221 | 2586883.5151 | 1175969.971 | 2586876.9366 | 1175967.5842 | 2586870.0131 | 1175964.6758 | 2586847.4824 | 1175951.641 | 2586830.7356 | 1175941.2451
33 | 2586735.0681 | 1175953.1797 | 2586742.568 | 1175988.3476 | 2586743.6386 | 1175995.2762
34 | 2586735.0681 | 1175953.1797 | 2586725.673 | 1175947.7008
35 | 2586735.0681 | 1175953.1797 | 2586733.1571 | 1175942.5624
36 | 2586922.0531 | 1175978.47 | 2586921.0307 | 1175978.2996
37 | 2586709.4645 | 1175836.738 | 2586709.6843 | 1175846.7711 | 2586710.2668 | 1175850.9052 | 2586725.7494 | 1175904.4757 | 2586727.9636 | 1175913.7088 | 2586733.1571 | 1175942.5624
38 | 2586709.4376 | 1175835.5103 | 2586709.4645 | 1175836.738
39 | 2586706.9641 | 1175816.295 | 2586709.4376 | 1175835.5103
40 | 2586706.9641 | 1175816.295 | 2586706.1677 | 1175812.1947 | 2586702.2693 | 1175787.3924
41 | 2586689.2691 | 1175935.6832 | 2586706.8748 | 1175940.7362 | 2586719.7999 | 1175944.2758 | 2586725.673 | 1175947.7008
42 | 2586663.7777 | 1175923.9572 | 2586687.0811 | 1175935.0552 | 2586689.2691 | 1175935.6832
43 | 2587110.6656 | 1176146.5209 | 2587110.2166 | 1176150.9574 | 2587108.626 | 1176161.1772 | 2587106.1173 | 1176170.932 | 2587104.3208 | 1176176.9876
44 | 2587110.6656 | 1176146.5209 | 2587127.5618 | 1176145.0045
45 | 2587127.5618 | 1176145.0045 | 2587165.883 | 1176141.5654
46 | 2587165.883 | 1176141.5654 | 2587166.434 | 1176141.5159
47 | 2587193.4797 | 1176139.5577 | 2587195.7954 | 1176139.4131
48 | 2587193.4797 | 1176139.5577 | 2587176.2839 | 1176140.6319 | 2587166.434 | 1176141.5159
49 | 2586922.0531 | 1175978.47 | 2586945.2311 | 1175982.3307 | 2586969.2884 | 1175987.6252 | 2586971.1443 | 1175988.0768
50 | 2587005.1524 | 1175997.7386 | 2587001.2868 | 1175996.2931 | 2586991.3441 | 1175993.3689 | 2586982.4189 | 1175990.8204 | 2586971.1443 | 1175988.0768

## bus_geodata
| x | y | coords
0 | 2587039.9882 | 1175933.1437
1 | 2587058.5314 | 1175937.9107
2 | 2587023.0674 | 1175928.7938
3 | 2587111.9203 | 1176023.4
4 | 2587111.829 | 1176046.0414
5 | 2587172.831 | 1176039.8063
6 | 2587088.643 | 1176021.0184
7 | 2587096.6763 | 1175947.7168
8 | 2587087.6896 | 1175917.0626
9 | 2587079.0557 | 1175868.8593
10 | 2587228.0085 | 1176137.4007
11 | 2587227.4418 | 1176137.4361
12 | 2587255.3717 | 1176135.6913
13 | 2587256.6727 | 1176135.61
14 | 2587295.1365 | 1175640.1455
15 | 2587108.7236 | 1175693.9729
16 | 2587159.2905 | 1175827.3625
17 | 2587093.898 | 1175741.5518
18 | 2587284.2362 | 1176082.4969
19 | 2587286.4004 | 1176056.0198
20 | 2587228.9496 | 1176050.2396
21 | 2587227.7298 | 1176080.2464
22 | 2587077.8041 | 1175823.2301
23 | 2587078.648 | 1175853.9981
24 | 2587063.9981 | 1176015.6066
25 | 2587015.0023 | 1175926.7205
26 | 2587059.1491 | 1175869.0106
27 | 2587046.4626 | 1175869.107
28 | 2587035.3791 | 1176007.9828
29 | 2586830.7356 | 1175941.2451
30 | 2586735.0681 | 1175953.1797
31 | 2586921.0307 | 1175978.2996
32 | 2586709.4645 | 1175836.738
33 | 2586733.1571 | 1175942.5624
34 | 2586709.4376 | 1175835.5103
35 | 2586706.9641 | 1175816.295
36 | 2586743.6386 | 1175995.2762
37 | 2586725.673 | 1175947.7008
38 | 2586702.2693 | 1175787.3924
39 | 2586689.2691 | 1175935.6832
40 | 2586663.7777 | 1175923.9572
41 | 2587104.3208 | 1176176.9876
42 | 2587110.6656 | 1176146.5209
43 | 2587127.5618 | 1176145.0045
44 | 2587165.883 | 1176141.5654
45 | 2587193.4797 | 1176139.5577
46 | 2587195.7954 | 1176139.4131
47 | 2587166.434 | 1176141.5159
48 | 2586971.1443 | 1175988.0768
49 | 2586922.0531 | 1175978.47
50 | 2587005.1524 | 1175997.7386
51 | 2587082.4115 | 1175944.0497
52 | 2587063.9981 | 1176015.6066

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99405 | -0.041716 | 0.00097402 | 0.00024411
1 | 0.99417 | -0.040869 | 0.0012279 | 0.00030773
2 | 0.99397 | -0.042316 | 0.001497 | 0.00037519
3 | 0.99632 | -0.025747 | 0 | 0
4 | 0.99543 | -0.031993 | 0.0032666 | 0.0008187
5 | 0.99559 | -0.030876 | 0.0049362 | 0.0012371
6 | 0.99805 | -0.01362 | 0.0026833 | 0.00067249
7 | 0.99454 | -0.038321 | 0 | 0
8 | 0.99416 | -0.040958 | 0.0010686 | 0.00026781
9 | 0.99367 | -0.044485 | 0 | 0
10 | 0.98934 | -0.074882 | 0.0033183 | 0.00083163
11 | 0.98934 | -0.074834 | 0.0016514 | 0.00041387
12 | 0.98914 | -0.076244 | 0.0025466 | 0.00063824
13 | 0.98914 | -0.076275 | 0.0023223 | 0.00058203
14 | 0.99216 | -0.055185 | 0.0014727 | 0.00036909
15 | 0.99257 | -0.052271 | 0 | 0
16 | 0.99228 | -0.054333 | 0.0013827 | 0.00034653
17 | 0.99278 | -0.050765 | 0.0014755 | 0.0003698
18 | 0.99525 | -0.033284 | 0.00079312 | 0.00019877
19 | 0.99528 | -0.03307 | 0 | 0
20 | 0.99535 | -0.032605 | 0 | 0
21 | 0.99525 | -0.03327 | 0.0021818 | 0.00054682
22 | 0.9933 | -0.047074 | 0.0010179 | 0.0002551
23 | 0.99354 | -0.045394 | 0.00064884 | 0.00016261
24 | 1 | 0 | -0.072302 | -0.017955
25 | 0.99395 | -0.042477 | 0.001905 | 0.00047745
26 | 0.99364 | -0.044697 | 0.00082144 | 0.00020587
27 | 0.99363 | -0.044727 | 0.00023108 | 5.7914e-05
28 | 0.99927 | -0.0051097 | 0.001385 | 0.00034712
29 | 0.99564 | -0.030659 | 0.0015944 | 0.00039959
30 | 0.99454 | -0.038382 | 0 | 0
31 | 0.99698 | -0.021178 | 0.0014153 | 0.00035471
32 | 0.99409 | -0.041601 | 0.00045214 | 0.00011332
33 | 0.99447 | -0.038924 | 0.0025395 | 0.00063645
34 | 0.99409 | -0.041625 | 0 | 0
35 | 0.99403 | -0.042013 | 0 | 0
36 | 0.99453 | -0.038503 | 0.00027657 | 6.9316e-05
37 | 0.9945 | -0.038676 | 0.00090274 | 0.00022625
38 | 0.99395 | -0.042597 | 0.0019748 | 0.00049494
39 | 0.9944 | -0.039365 | 0.00021778 | 5.458e-05
40 | 0.99434 | -0.039806 | 0.0015516 | 0.00038888
41 | 0.99178 | -0.057609 | 0.0034615 | 0.00086753
42 | 0.99194 | -0.056513 | 0 | 0
43 | 0.99143 | -0.060071 | 0.0022083 | 0.00055346
44 | 0.99041 | -0.067289 | 0.001787 | 0.00044786
45 | 0.98983 | -0.071367 | 0.0022959 | 0.0005754
46 | 0.98979 | -0.071654 | 0.0022892 | 0.00057373
47 | 0.9904 | -0.067383 | 0.0022348 | 0.00056009
48 | 0.99784 | -0.015175 | 0.0023557 | 0.0005904
49 | 0.997 | -0.021064 | 0.00075536 | 0.00018931
50 | 0.99855 | -0.010183 | 0.0017911 | 0.00044889
51 | 0.99437 | -0.039473 | 0.0021378 | 0.00053578
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0043764 | -0.0010965 | 0.0043769 | 0.0010965 | 5.1272e-07 | -5.1036e-08 | 0.006551 | 0.0065509 | 0.006551 | 0.99405 | -0.041716 | 0.99417 | -0.040869 | 2.4263
1 | 0.0034024 | 0.00085243 | -0.0034021 | -0.00085255 | 2.8279e-07 | -1.1771e-07 | 0.005093 | 0.0050931 | 0.0050931 | 0.99405 | -0.041716 | 0.99397 | -0.042316 | 1.8863
2 | -0.0056048 | -0.0014042 | 0.0056059 | 0.0014043 | 1.0827e-06 | 9.6638e-08 | 0.0083887 | 0.0083886 | 0.0083887 | 0.99417 | -0.040869 | 0.99437 | -0.039473 | 3.1069
3 | 0.0019051 | 0.00047735 | -0.001905 | -0.00047745 | 4.2265e-08 | -9.1677e-08 | 0.0028519 | 0.002852 | 0.002852 | 0.99397 | -0.042316 | 0.99395 | -0.042477 | 1.0563
4 | 0.027531 | 0.0069161 | -0.027507 | -0.0069072 | 2.3896e-05 | 8.8962e-06 | 0.041124 | 0.041124 | 0.041124 | 0.99632 | -0.025747 | 0.99543 | -0.031993 | 15.2312
5 | 0.0079177 | 0.0019822 | -0.0079121 | -0.0019809 | 5.6075e-06 | 1.3204e-06 | 0.011824 | 0.011825 | 0.011825 | 0.99632 | -0.025747 | 0.99559 | -0.030876 | 4.3795
6 | -0.051352 | -0.012879 | 0.051439 | 0.012912 | 8.6487e-05 | 3.2957e-05 | 0.076699 | 0.076699 | 0.076699 | 0.99632 | -0.025747 | 0.99805 | -0.01362 | 28.4069
7 | 0.015903 | 0.0039812 | -0.015876 | -0.0039716 | 2.7577e-05 | 9.588e-06 | 0.02375 | 0.023751 | 0.023751 | 0.99632 | -0.025747 | 0.99454 | -0.038321 | 8.7965
8 | 0.024241 | 0.0060885 | -0.024158 | -0.0060581 | 8.2372e-05 | 3.0379e-05 | 0.036241 | 0.036241 | 0.036241 | 0.99543 | -0.031993 | 0.99194 | -0.056513 | 13.4227
9 | 0.0029759 | 0.00074373 | -0.0029752 | -0.00074421 | 7.0913e-07 | -4.7426e-07 | 0.0044471 | 0.0044474 | 0.0044474 | 0.99559 | -0.030876 | 0.99535 | -0.032605 | 1.6472
10 | -0.054122 | -0.013585 | 0.054225 | 0.013624 | 0.00010256 | 3.9114e-05 | 0.080699 | 0.080699 | 0.080699 | 0.99805 | -0.01362 | 1 | 0 | 29.8886
11 | 0.0081309 | 0.0020312 | -0.0081279 | -0.0020305 | 2.9489e-06 | 7.1984e-07 | 0.012163 | 0.012163 | 0.012163 | 0.99454 | -0.038321 | 0.99416 | -0.040958 | 4.5049
12 | 0.0077449 | 0.0019404 | -0.0077437 | -0.0019401 | 1.2341e-06 | 2.8355e-07 | 0.011588 | 0.011588 | 0.011588 | 0.99454 | -0.038321 | 0.99437 | -0.039473 | 4.2917
13 | 0.0070593 | 0.0017627 | -0.0070559 | -0.001762 | 3.4216e-06 | 6.7919e-07 | 0.010564 | 0.010564 | 0.010564 | 0.99416 | -0.040958 | 0.99367 | -0.044485 | 3.9126
14 | 0.0060034 | 0.0014986 | -0.0060026 | -0.0014985 | 7.4942e-07 | 9.5684e-08 | 0.0089879 | 0.008988 | 0.008988 | 0.99367 | -0.044485 | 0.99354 | -0.045394 | 3.3289
15 | 0.0010526 | 0.00026338 | -0.0010525 | -0.00026362 | 3.0857e-08 | -2.4599e-07 | 0.001576 | 0.0015761 | 0.0015761 | 0.99367 | -0.044485 | 0.99364 | -0.044697 | 0.58376
16 | -0.0081881 | -0.0020519 | 0.0081882 | 0.0020519 | 5.374e-08 | 1.3378e-08 | 0.012315 | 0.012315 | 0.012315 | 0.98934 | -0.074882 | 0.98934 | -0.074834 | 4.5612
17 | 0.0048698 | 0.0012202 | -0.0048689 | -0.0012202 | 9.1781e-07 | 1.0159e-09 | 0.0073244 | 0.0073246 | 0.0073246 | 0.98934 | -0.074882 | 0.98914 | -0.076244 | 2.7128
18 | -0.0098395 | -0.0024658 | 0.0098438 | 0.002467 | 4.3332e-06 | 1.2593e-06 | 0.014799 | 0.014799 | 0.014799 | 0.98934 | -0.074834 | 0.98979 | -0.071654 | 5.4811
19 | 0.0023223 | 0.00058201 | -0.0023223 | -0.00058202 | 9.9277e-09 | -1.2914e-08 | 0.0034936 | 0.0034936 | 0.0034936 | 0.98914 | -0.076244 | 0.98914 | -0.076275 | 1.2939
20 | -0.0014727 | -0.00036909 | 0.0014733 | 0.00036681 | 5.9041e-07 | -2.2797e-06 | 0.0022087 | 0.0022078 | 0.0022087 | 0.99216 | -0.055185 | 0.99257 | -0.052271 | 0.81804
21 | -0.0028564 | -0.0007116 | 0.002857 | 0.00071117 | 5.881e-07 | -4.3878e-07 | 0.0042806 | 0.0042804 | 0.0042806 | 0.99257 | -0.052271 | 0.99278 | -0.050765 | 1.5854
22 | 0.0013831 | 0.00034479 | -0.0013827 | -0.00034653 | 3.9278e-07 | -1.7414e-06 | 0.0020728 | 0.0020735 | 0.0020735 | 0.99257 | -0.052271 | 0.99228 | -0.054333 | 0.76795
23 | -0.0043325 | -0.001081 | 0.0043347 | 0.0010807 | 2.1934e-06 | -2.3547e-07 | 0.006492 | 0.0064916 | 0.006492 | 0.99278 | -0.050765 | 0.9933 | -0.047074 | 2.4044
24 | -0.00079312 | -0.00019877 | 0.00079314 | 0.00019844 | 2.3391e-08 | -3.3747e-07 | 0.0011858 | 0.0011857 | 0.0011858 | 0.99525 | -0.033284 | 0.99528 | -0.03307 | 0.43919
25 | -0.00079314 | -0.00019844 | 0.00079319 | 0.00019771 | 5.0662e-08 | -7.3124e-07 | 0.0011857 | 0.0011854 | 0.0011857 | 0.99528 | -0.03307 | 0.99535 | -0.032605 | 0.43914
26 | 0.002182 | 0.0005465 | -0.0021818 | -0.00054682 | 2.0068e-07 | -3.1561e-07 | 0.003262 | 0.0032621 | 0.0032621 | 0.99535 | -0.032605 | 0.99525 | -0.03327 | 1.2082
27 | -0.0053525 | -0.0013358 | 0.0053538 | 0.0013359 | 1.2342e-06 | 7.6194e-08 | 0.0080164 | 0.0080162 | 0.0080164 | 0.9933 | -0.047074 | 0.99354 | -0.045394 | 2.969
28 | 0.017278 | 0.0043307 | -0.017265 | -0.0043264 | 1.2217e-05 | 4.3105e-06 | 0.02571 | 0.02571 | 0.02571 | 1 | 0 | 0.99927 | -0.0051097 | 9.5221
29 | 0.00023108 | 5.775e-05 | -0.00023108 | -5.7914e-05 | 9.4788e-10 | -1.6396e-07 | 0.000346 | 0.00034605 | 0.00034605 | 0.99364 | -0.044697 | 0.99363 | -0.044727 | 0.12817
30 | 0.01588 | 0.0039793 | -0.015869 | -0.0039754 | 1.1142e-05 | 3.8675e-06 | 0.023647 | 0.023647 | 0.023647 | 0.99927 | -0.0051097 | 0.99855 | -0.010183 | 8.7583
31 | 0.0079255 | 0.0019827 | -0.0079171 | -0.0019807 | 8.439e-06 | 1.9934e-06 | 0.011844 | 0.011844 | 0.011844 | 0.99564 | -0.030659 | 0.99454 | -0.038382 | 4.3867
32 | -0.0095199 | -0.0023823 | 0.0095324 | 0.0023858 | 1.2467e-05 | 3.5096e-06 | 0.014227 | 0.014226 | 0.014227 | 0.99564 | -0.030659 | 0.99698 | -0.021178 | 5.2691
33 | 0.00027658 | 6.876e-05 | -0.00027657 | -6.9316e-05 | 4.5893e-09 | -5.5582e-07 | 0.00041362 | 0.00041381 | 0.00041381 | 0.99454 | -0.038382 | 0.99453 | -0.038503 | 0.15326
34 | 0.0026725 | 0.00066884 | -0.0026724 | -0.00066894 | 1.0849e-07 | -9.9399e-08 | 0.0039982 | 0.0039983 | 0.0039983 | 0.99454 | -0.038382 | 0.9945 | -0.038676 | 1.4808
35 | 0.004968 | 0.0012431 | -0.0049676 | -0.0012431 | 3.7185e-07 | 3.0412e-09 | 0.0074323 | 0.0074323 | 0.0074323 | 0.99454 | -0.038382 | 0.99447 | -0.038924 | 2.7527
36 | -0.010948 | -0.0027405 | 0.010948 | 0.0027406 | 1.7267e-07 | 5.2893e-08 | 0.016338 | 0.016338 | 0.016338 | 0.99698 | -0.021178 | 0.997 | -0.021064 | 6.0513
37 | -0.0024272 | -0.00060771 | 0.0024281 | 0.00060665 | 8.9585e-07 | -1.0663e-06 | 0.003633 | 0.0036325 | 0.003633 | 0.99409 | -0.041601 | 0.99447 | -0.038924 | 1.3456
38 | 0.0019751 | 0.00049439 | -0.0019751 | -0.00049441 | 6.6967e-09 | -1.3345e-08 | 0.0029562 | 0.0029562 | 0.0029562 | 0.99409 | -0.041601 | 0.99409 | -0.041625 | 1.0949
39 | 0.0019751 | 0.00049441 | -0.001975 | -0.00049462 | 1.0568e-07 | -2.1057e-07 | 0.0029562 | 0.0029563 | 0.0029563 | 0.99409 | -0.041625 | 0.99403 | -0.042013 | 1.0949
40 | 0.001975 | 0.00049462 | -0.0019748 | -0.00049494 | 1.5971e-07 | -3.1815e-07 | 0.0029563 | 0.0029565 | 0.0029565 | 0.99403 | -0.042013 | 0.99395 | -0.042597 | 1.095
41 | 0.0017697 | 0.00044269 | -0.0017695 | -0.00044313 | 1.6848e-07 | -4.3492e-07 | 0.0026476 | 0.0026477 | 0.0026477 | 0.9945 | -0.038676 | 0.9944 | -0.039365 | 0.98064
42 | 0.0015517 | 0.00038855 | -0.0015516 | -0.00038887 | 9.4492e-08 | -3.2801e-07 | 0.0023219 | 0.002322 | 0.002322 | 0.9944 | -0.039365 | 0.99434 | -0.039806 | 0.86
43 | -0.0034615 | -0.00086752 | 0.003462 | 0.00086732 | 5.2493e-07 | -2.0067e-07 | 0.0051934 | 0.0051933 | 0.0051934 | 0.99178 | -0.057609 | 0.99194 | -0.056513 | 1.9235
44 | 0.020696 | 0.0051908 | -0.020686 | -0.0051871 | 1.0204e-05 | 3.7059e-06 | 0.031048 | 0.031048 | 0.031048 | 0.99194 | -0.056513 | 0.99143 | -0.060071 | 11.4994
45 | 0.018478 | 0.0046336 | -0.018459 | -0.004627 | 1.8467e-05 | 6.6069e-06 | 0.027734 | 0.027734 | 0.027734 | 0.99143 | -0.060071 | 0.99041 | -0.067289 | 10.2719
46 | 0.016672 | 0.0041792 | -0.016672 | -0.0041791 | 2.1659e-07 | 7.6187e-08 | 0.025049 | 0.025049 | 0.025049 | 0.99041 | -0.067289 | 0.9904 | -0.067383 | 9.2775
47 | 0.012134 | 0.0030409 | -0.012133 | -0.0030407 | 4.817e-07 | 1.5545e-07 | 0.01824 | 0.01824 | 0.01824 | 0.98983 | -0.071367 | 0.98979 | -0.071654 | 6.7557
48 | -0.014429 | -0.0036163 | 0.014437 | 0.003619 | 7.9623e-06 | 2.7136e-06 | 0.021692 | 0.021692 | 0.021692 | 0.98983 | -0.071367 | 0.9904 | -0.067383 | 8.034
49 | 0.011713 | 0.0029329 | -0.011703 | -0.0029299 | 9.5253e-06 | 3.0105e-06 | 0.017466 | 0.017466 | 0.017466 | 0.99784 | -0.015175 | 0.997 | -0.021064 | 6.4688
50 | -0.014068 | -0.0035233 | 0.014078 | 0.0035266 | 9.7151e-06 | 3.2741e-06 | 0.020979 | 0.020978 | 0.020979 | 0.99784 | -0.015175 | 0.99855 | -0.010183 | 7.7698

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.073853 | 0.018344

## res_load
| p_mw | q_mvar
0 | 0.00097402 | 0.00024411
1 | 0.0012279 | 0.00030773
2 | 0.001497 | 0.00037519
3 | 0.0032666 | 0.0008187
4 | 0.0049362 | 0.0012371
5 | 0.0026833 | 0.00067249
6 | 0.0010686 | 0.00026781
7 | 0.0033183 | 0.00083163
8 | 0.0016514 | 0.00041387
9 | 0.0025466 | 0.00063824
10 | 0.0023223 | 0.00058203
11 | 0.0014727 | 0.00036909
12 | 0.0013827 | 0.00034653
13 | 0.0014755 | 0.0003698
14 | 0.00079312 | 0.00019877
15 | 0.0021818 | 0.00054682
16 | 0.0010179 | 0.0002551
17 | 0.00064884 | 0.00016261
18 | 0.0015509 | 0.00038869
19 | 0.001905 | 0.00047745
20 | 0.00082144 | 0.00020587
21 | 0.00023108 | 5.7914e-05
22 | 0.001385 | 0.00034712
23 | 0.0015944 | 0.00039959
24 | 0.0014153 | 0.00035471
25 | 0.00045214 | 0.00011332
26 | 0.0025395 | 0.00063645
27 | 0.00027657 | 6.9316e-05
28 | 0.00090274 | 0.00022625
29 | 0.0019748 | 0.00049494
30 | 0.00021778 | 5.458e-05
31 | 0.0015516 | 0.00038888
32 | 0.0034615 | 0.00086753
33 | 0.0022083 | 0.00055346
34 | 0.001787 | 0.00044786
35 | 0.0022959 | 0.0005754
36 | 0.0022892 | 0.00057373
37 | 0.0022348 | 0.00056009
38 | 0.0023557 | 0.0005904
39 | 0.00075536 | 0.00018931
40 | 0.0017911 | 0.00044889
41 | 0.0021378 | 0.00053578

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1