## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2299-20_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2299-20_0_3_node_81 | 0.4 | n |  | TRUE
2 | bus_LV_2299-20_0_3_node_80 | 0.4 | n |  | TRUE
3 | bus_LV_2299-20_0_3_node_30 | 0.4 | n |  | TRUE
4 | bus_LV_2299-20_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_2299-20_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_2299-20_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_2299-20_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_2299-20_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_2299-20_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_2299-20_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_2299-20_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2299-20_0_3_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_2299-20_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_2299-20_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_2299-20_0_3_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_2299-20_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_2299-20_0_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_2299-20_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_2299-20_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_2299-20_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_2299-20_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_2299-20_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_2299-20_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_2299-20_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_2299-20_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_2299-20_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_2299-20_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_2299-20_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_2299-20_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_2299-20_0_3_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_2299-20_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_2299-20_0_3_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_2299-20_0_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_2299-20_0_3_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_2299-20_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_2299-20_0_3_node_79 | 0.4 | n |  | TRUE
37 | bus_LV_2299-20_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_2299-20_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_2299-20_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_2299-20_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_2299-20_0_3_node_82 | 0.4 | n |  | TRUE
42 | bus_LV_2299-20_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_2299-20_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_2299-20_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_MV_0_node_7 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2299-20_0_3_load_0 | 0 | 0.00047498 | 0.00011904 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2299-20_0_3_load_81 | 1 | 0.00040488 | 0.00010147 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2299-20_0_3_load_80 | 2 | 0.00012357 | 3.097e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2299-20_0_3_load_3 | 4 | 0.001158 | 0.00029022 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2299-20_0_3_load_4 | 6 | 0.012149 | 0.0030449 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2299-20_0_3_load_10 | 10 | 0.004821 | 0.0012083 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2299-20_0_3_load_23 | 12 | 0.0042618 | 0.0010681 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2299-20_0_3_load_11 | 14 | 0.010042 | 0.0025169 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2299-20_0_3_load_29 | 15 | 0.000596 | 0.00014937 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2299-20_0_3_load_16 | 16 | 0.0053966 | 0.0013525 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2299-20_0_3_load_18 | 18 | 0.0011019 | 0.00027616 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2299-20_0_3_load_17 | 19 | 0.0021401 | 0.00053637 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2299-20_0_3_load_19 | 20 | 0.0013425 | 0.00033646 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2299-20_0_3_load_20 | 21 | 0.0078924 | 0.001978 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2299-20_0_3_load_45 | 24 | 9.9107e-05 | 2.4838e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2299-20_0_3_load_24 | 25 | 0.0011131 | 0.00027897 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2299-20_0_3_load_25 | 26 | 0.00068225 | 0.00017099 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2299-20_0_3_load_36 | 29 | 0.00017333 | 4.3441e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2299-20_0_3_load_34 | 31 | 0.00024376 | 6.1092e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2299-20_0_3_load_40 | 33 | 0.00072174 | 0.00018088 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2299-20_0_3_load_31 | 34 | 0.00045152 | 0.00011316 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2299-20_0_3_load_32 | 35 | 0.00010153 | 2.5446e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2299-20_0_3_load_79 | 36 | 0.0001478 | 3.7043e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2299-20_0_3_load_41 | 38 | 0.00046917 | 0.00011759 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2299-20_0_3_load_33 | 39 | 8.2118e-05 | 2.0581e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2299-20_0_3_load_82 | 41 | 0.00072032 | 0.00018053 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2299-20_0_3_load_42 | 42 | 0.00025537 | 6.4003e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2299-20_0_3_load_43 | 43 | 0.0010899 | 0.00027316 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2299-20_0_3_load_44 | 44 | 0.0005729 | 0.00014358 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2299-20_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.5137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2299-20_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.27759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2299-20_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.40346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2299-20_0_3_line_3 | NAYY 4x150 SE | 3 | 36 | 0.1156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2299-20_0_3_line_4 | NAYY 4x150 SE | 3 | 17 | 0.071655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2299-20_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.083373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2299-20_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.41773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2299-20_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.43739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2299-20_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.19521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2299-20_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.20706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2299-20_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.26349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2299-20_0_3_line_11 | NAYY 4x150 SE | 9 | 13 | 0.0304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2299-20_0_3_line_12 | NAYY 4x150 SE | 9 | 14 | 0.24033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2299-20_0_3_line_13 | NAYY 4x150 SE | 9 | 11 | 0.23857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_2299-20_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.10883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2299-20_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.30715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2299-20_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.084564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2299-20_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.43358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2299-20_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.42773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2299-20_0_3_line_19 | NAYY 4x150 SE | 17 | 26 | 0.27884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2299-20_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.096211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2299-20_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.053732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2299-20_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0093878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2299-20_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.059013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2299-20_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.13217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2299-20_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.060835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2299-20_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.31659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2299-20_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.16866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2299-20_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.11611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2299-20_0_3_line_29 | NAYY 4x150 SE | 28 | 34 | 0.10739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2299-20_0_3_line_30 | NAYY 4x150 SE | 28 | 35 | 0.046989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2299-20_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.022241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2299-20_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.03962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2299-20_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.19898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2299-20_0_3_line_34 | NAYY 4x150 SE | 31 | 39 | 0.011989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2299-20_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.20709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2299-20_0_3_line_36 | NAYY 4x150 SE | 34 | 37 | 0.30878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2299-20_0_3_line_37 | NAYY 4x150 SE | 35 | 38 | 0.017847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2299-20_0_3_line_38 | NAYY 4x150 SE | 37 | 40 | 0.32909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2299-20_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.078036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2299-20_0_3_line_40 | NAYY 4x150 SE | 38 | 42 | 0.14691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2299-20_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.22612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2299-20_0_3_line_42 | NAYY 4x150 SE | 42 | 43 | 0.07395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2299-20_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.033139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2299-20_0_3_trafo_7 | 0.25 MVA 20/0.4 kV | 45 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2588564.4137 | 1172802.0614 | 2588365.9205 | 1173275.8637
1 | 2588764.5942 | 1172609.7504 | 2588564.4137 | 1172802.0614
2 | 2589111.6455 | 1172461.9095 | 2589095.0055 | 1172471.089 | 2589085.8367 | 1172475.7192 | 2589079.0081 | 1172476.1431 | 2589060.6393 | 1172472.5305 | 2589038.1398 | 1172472.6497 | 2589019.781 | 1172474.4733 | 2588999.8715 | 1172473.1315 | 2588985.7374 | 1172476.715 | 2588971.6102 | 1172479.8205 | 2588959.4366 | 1172488.9142 | 2588941.0124 | 1172496.7079 | 2588931.391 | 1172500.4943 | 2588923.6471 | 1172506.3672 | 2588912.8542 | 1172509.3666 | 2588903.7819 | 1172512.3516 | 2588900.8126 | 1172523.5851 | 2588891.9828 | 1172529.4489 | 2588873.0188 | 1172526.505 | 2588861.2996 | 1172529.0393 | 2588850.9757 | 1172537.4295 | 2588842.725 | 1172550.2736 | 2588837.9204 | 1172561.4994 | 2588817.371 | 1172569.5531 | 2588799.8119 | 1172581.6144 | 2588782.1439 | 1172596.7663 | 2588764.5942 | 1172609.7504
3 | 2589065.8754 | 1172379.4962 | 2589089.5669 | 1172391.1364 | 2589111.6391 | 1172399.8004 | 2589117.6326 | 1172406.893 | 2589119.7172 | 1172417.6613 | 2589115.159 | 1172438.5135 | 2589110.8214 | 1172454.5517 | 2589111.6455 | 1172461.9095
4 | 2589154.8675 | 1172514.8018 | 2589142.4341 | 1172511.5672 | 2589135.9828 | 1172504.9979 | 2589113.1775 | 1172467.3983 | 2589111.6455 | 1172461.9095
5 | 2589260.1509 | 1173700.8763 | 2589271.718 | 1173687.2709 | 2589285.2608 | 1173683.8225 | 2589323.8007 | 1173681.2965 | 2589336.5586 | 1173679.2726
6 | 2589336.5586 | 1173679.2726 | 2589629.6768 | 1173381.6448
7 | 2589260.1509 | 1173700.8763 | 2589011.8884 | 1173340.7693
8 | 2589609.6936 | 1173200.4037 | 2589603.7905 | 1173204.883 | 2589598.0606 | 1173212.2523 | 2589595.4108 | 1173223.0957 | 2589604.0268 | 1173296.4399 | 2589606.2371 | 1173340.4916 | 2589618.1704 | 1173365.0054 | 2589631.1054 | 1173380.8353 | 2589629.6768 | 1173381.6448
9 | 2589609.6936 | 1173200.4037 | 2589627.1829 | 1173214.1691 | 2589636.2561 | 1173220.9345 | 2589644.1882 | 1173226.7014 | 2589651.7784 | 1173216.1273 | 2589671.1101 | 1173207.6562 | 2589706.7544 | 1173187.0952 | 2589737.5808 | 1173174.9914 | 2589766.0299 | 1173145.5054 | 2589771.8496 | 1173132.4221
10 | 2589011.8884 | 1173340.7693 | 2589012.3092 | 1173336.7554 | 2589011.1242 | 1173324.4514 | 2589009.6118 | 1173308.7685 | 2588996.6889 | 1173288.0485 | 2588979.8128 | 1173271.6159 | 2588955.9953 | 1173256.1855 | 2588930.9025 | 1173245.8713 | 2588912.4915 | 1173238.9576 | 2588905.5067 | 1173233.0676 | 2588900.839 | 1173223.1713 | 2588901.4529 | 1173211.9979 | 2588907.1429 | 1173204.1944 | 2588921.0751 | 1173191.7289 | 2588929.5121 | 1173180.7521 | 2588933.9276 | 1173170.2053 | 2588935.3963 | 1173162.1985 | 2588932.8379 | 1173151.6646 | 2588930.5386 | 1173148.0273
11 | 2589770.3828 | 1173102.0649 | 2589771.8496 | 1173132.4221
12 | 2589771.8496 | 1173132.4221 | 2589777.2407 | 1173145.7863 | 2589779.596 | 1173150.2845 | 2589779.6555 | 1173158.1995 | 2589777.6519 | 1173167.0296 | 2589774.067 | 1173181.2541 | 2589770.6826 | 1173200.9031 | 2589771.6647 | 1173211.6847 | 2589775.6588 | 1173222.0275 | 2589783.6181 | 1173234.8425 | 2589795.617 | 1173248.8735 | 2589813.3364 | 1173263.3949 | 2589842.6953 | 1173283.1547 | 2589865.0224 | 1173295.912 | 2589886.166 | 1173314.1964 | 2589887.3879 | 1173315.5635
13 | 2589631.9898 | 1173001.6869 | 2589636.6307 | 1173001.2008 | 2589642.0111 | 1173003.8149 | 2589646.0473 | 1173011.7675 | 2589646.5209 | 1173020.2821 | 2589646.2916 | 1173033.4891 | 2589645.8996 | 1173045.5515 | 2589649.619 | 1173060.4747 | 2589658.4718 | 1173081.1031 | 2589667.3259 | 1173098.063 | 2589688.007 | 1173113.5461 | 2589702.5791 | 1173120.68 | 2589715.909 | 1173121.4685 | 2589728.8375 | 1173124.5144 | 2589741.5691 | 1173133.0857 | 2589750.0274 | 1173142.4758 | 2589757.4217 | 1173146.7542 | 2589766.0299 | 1173145.5054 | 2589771.8496 | 1173132.4221
14 | 2589631.9898 | 1173001.6869 | 2589622.9888 | 1172997.0446 | 2589615.8727 | 1172998.9469 | 2589605.2201 | 1173011.972 | 2589595.2602 | 1173014.3573 | 2589584.3431 | 1173011.6528 | 2589577.4562 | 1173004.6835 | 2589576.6093 | 1172997.0034 | 2589581.1104 | 1172990.9591 | 2589593.7802 | 1172981.3655 | 2589596.6253 | 1172977.2251 | 2589596.7274 | 1172970.0101
15 | 2589324.9835 | 1172826.852 | 2589596.7274 | 1172970.0101
16 | 2589770.3828 | 1173102.0649 | 2589754.3543 | 1173097.29 | 2589751.4758 | 1173090.9473 | 2589741.2477 | 1173030.9013
17 | 2589154.8675 | 1172514.8018 | 2589151.9009 | 1172523.6116 | 2589152.4732 | 1172531.2811 | 2589157.5725 | 1172547.1799 | 2589158.9209 | 1172565.331 | 2589155.9366 | 1172576.9423 | 2589146.3986 | 1172597.1698 | 2589138.9307 | 1172620.2062 | 2589135.2106 | 1172639.3004 | 2589137.8632 | 1172651.2682 | 2589145.585 | 1172662.671 | 2589161.7506 | 1172674.6254 | 2589176.2186 | 1172682.4586 | 2589186.1781 | 1172688.0545 | 2589191.0677 | 1172693.8485 | 2589192.5841 | 1172699.2707 | 2589188.4762 | 1172711.2509 | 2589183.6203 | 1172723.9883 | 2589183.0771 | 1172736.529 | 2589185.1643 | 1172748.8759 | 2589188.7413 | 1172756.1731 | 2589196.082 | 1172764.1971 | 2589226.1746 | 1172793.9021 | 2589238.1983 | 1172799.3053 | 2589264.8736 | 1172808.6174 | 2589324.9835 | 1172826.852
18 | 2589996.341 | 1172687.561 | 2589741.2477 | 1173030.9013
19 | 2589154.8675 | 1172514.8018 | 2589163.1271 | 1172514.8979 | 2589178.5277 | 1172518.0493 | 2589192.807 | 1172522.8925 | 2589201.6432 | 1172528.8684 | 2589210.2917 | 1172536.7122 | 2589230.5885 | 1172549.4041 | 2589252.266 | 1172564.3503 | 2589258.288 | 1172570.4425 | 2589259.7393 | 1172577.9882 | 2589257.2363 | 1172585.1852 | 2589247.1678 | 1172599.8107 | 2589245.4975 | 1172606.5171 | 2589246.4695 | 1172611.1955 | 2589251.1546 | 1172613.8217 | 2589254.3967 | 1172613.5713 | 2589260.7285 | 1172609.1132 | 2589274.56 | 1172599.0276 | 2589287.44 | 1172587.0762 | 2589301.7436 | 1172580.0358 | 2589313.9428 | 1172576.5011 | 2589324.7248 | 1172571.5681 | 2589327.2958 | 1172563.8485 | 2589329.7954 | 1172549.9099
20 | 2589996.341 | 1172687.561 | 2590009.6629 | 1172692.0075 | 2590020.3013 | 1172697.0478 | 2590037.548 | 1172707.2463 | 2590049.8698 | 1172717.453 | 2590063.4522 | 1172740.7421 | 2590066.7072 | 1172747.3848
21 | 2589981.2193 | 1172639.9467 | 2589981.5706 | 1172667.409 | 2589991.0385 | 1172685.7912 | 2589996.341 | 1172687.561
22 | 2589981.2193 | 1172639.9467 | 2589981.0993 | 1172630.5596
23 | 2589958.5087 | 1172587.5186 | 2589972.3431 | 1172587.4953 | 2589980.9822 | 1172604.0891 | 2589981.0599 | 1172627.4786 | 2589981.0993 | 1172630.5596
24 | 2589885.5907 | 1172530.0242 | 2589893.8788 | 1172510.8337 | 2589898.4515 | 1172514.9614 | 2589905.1265 | 1172518.6519 | 2589912.336 | 1172521.808 | 2589928.7026 | 1172526.705 | 2589933.4816 | 1172530.7323 | 2589939.6828 | 1172534.6793 | 2589945.1234 | 1172536.4933 | 2589950.1585 | 1172547.3347 | 2589953.9473 | 1172558.3116 | 2589956.6349 | 1172569.3015 | 2589958.5087 | 1172587.5186
25 | 2589885.5907 | 1172530.0242 | 2589866.0329 | 1172550.879 | 2589858.4486 | 1172552.0925 | 2589851.2524 | 1172547.7582 | 2589847.8381 | 1172541.2607 | 2589845.264 | 1172532.8222
26 | 2589329.7954 | 1172549.9099 | 2589330.317 | 1172547.0013 | 2589337.5367 | 1172517.2734 | 2589340.7988 | 1172502.5268 | 2589338.6642 | 1172489.2017 | 2589327.8242 | 1172466.0538 | 2589320.7567 | 1172452.7376 | 2589320.7387 | 1172442.677 | 2589322.6012 | 1172432.1461 | 2589333.3797 | 1172420.8989 | 2589339.4653 | 1172415.5075 | 2589342.2689 | 1172405.2084 | 2589342.7099 | 1172390.9338 | 2589331.3718 | 1172350.2558 | 2589328.765 | 1172338.0877 | 2589328.9891 | 1172330.8392 | 2589336.7071 | 1172314.4504 | 2589339.2551 | 1172298.0709 | 2589337.5757 | 1172274.2064 | 2589332.1478 | 1172258.3081 | 2589332.8388 | 1172251.2922 | 2589332.8388 | 1172251.2922
27 | 2589470.5909 | 1172335.5341 | 2589429.2972 | 1172299.6113 | 2589396.4516 | 1172288.0194 | 2589390.0885 | 1172283.7285 | 2589381.2207 | 1172273.0612 | 2589347.8549 | 1172248.6862 | 2589338.461 | 1172247.5358 | 2589332.8388 | 1172251.2922
28 | 2589546.0446 | 1172418.0094 | 2589540.4522 | 1172403.9121 | 2589533.4566 | 1172392.0629 | 2589526.2563 | 1172376.9457 | 2589518.6429 | 1172366.1203 | 2589504.4648 | 1172353.6723 | 2589492.1457 | 1172345.9235 | 2589470.5909 | 1172335.5341
29 | 2589519.5989 | 1172313.9479 | 2589521.8698 | 1172322.337 | 2589536.7824 | 1172378.4502 | 2589546.0446 | 1172418.0094
30 | 2589546.0446 | 1172418.0094 | 2589560.5201 | 1172456.2478 | 2589565.1121 | 1172460.2663
31 | 2589516.9777 | 1171919.7095 | 2589534.0323 | 1171933.9861
32 | 2589564.4676 | 1171959.3514 | 2589534.4571 | 1171934.3417 | 2589534.0323 | 1171933.9861
33 | 2589471.4807 | 1171731.3393 | 2589476.6042 | 1171743.7254 | 2589480.1458 | 1171756.8591 | 2589482.4186 | 1171770.5064 | 2589483.2272 | 1171786.5908 | 2589483.4162 | 1171802.6764 | 2589483.557 | 1171834.7589 | 2589484.5296 | 1171852.833 | 2589486.1386 | 1171863.0686 | 2589488.6801 | 1171872.9914 | 2589491.8252 | 1171882.5351 | 2589496.5235 | 1171892.3873 | 2589505.972 | 1171906.9558 | 2589516.9777 | 1171919.7095
34 | 2589573.6774 | 1171967.0265 | 2589564.4676 | 1171959.3514
35 | 2589471.4807 | 1171731.3393 | 2589462.9607 | 1171731.7435 | 2589454.3659 | 1171728.7238 | 2589439.6671 | 1171716.8772 | 2589420.1171 | 1171699.6588 | 2589399.7405 | 1171686.5773 | 2589383.9467 | 1171682.7479 | 2589369.9607 | 1171684.6961 | 2589356.5448 | 1171693.2799 | 2589346.8793 | 1171707.5154 | 2589347.4557 | 1171717.5861 | 2589358.8343 | 1171763.1888
36 | 2589519.5989 | 1172313.9479 | 2589626.3488 | 1172024.204
37 | 2589578.8258 | 1172471.4793 | 2589576.5562 | 1172468.637 | 2589568.9762 | 1172463.6478 | 2589565.1121 | 1172460.2663
38 | 2589626.3488 | 1172024.204 | 2589628.933 | 1172014.8948 | 2589626.386 | 1172006.0615 | 2589613.9819 | 1171989.3525 | 2589610.1516 | 1171981.4663 | 2589609.0509 | 1171973.0751 | 2589610.4425 | 1171964.057 | 2589615.405 | 1171950.1525 | 2589617.5805 | 1171938.9208 | 2589616.9332 | 1171923.0028 | 2589615.9403 | 1171915.045 | 2589615.7805 | 1171906.7522 | 2589619.7097 | 1171892.3603 | 2589620.1491 | 1171885.5895 | 2589617.9729 | 1171878.8454 | 2589614.9708 | 1171872.2696 | 2589607.8115 | 1171858.942 | 2589600.6461 | 1171842.146 | 2589595.8897 | 1171825.1903 | 2589594.0314 | 1171816.5669 | 2589590.3453 | 1171808.1136 | 2589581.1952 | 1171798.0134 | 2589578.4555 | 1171792.7933 | 2589584.298 | 1171787.8139 | 2589603.0702 | 1171780.5108 | 2589619.4951 | 1171778.0142 | 2589655.0119 | 1171780.5093
39 | 2589626.3488 | 1172024.204 | 2589606.0882 | 1171997.7593 | 2589594.8163 | 1171985.6729 | 2589582.5516 | 1171974.422 | 2589573.6774 | 1171967.0265
40 | 2589578.8258 | 1172471.4793 | 2589580.8023 | 1172473.9545 | 2589585.9313 | 1172476.8137 | 2589593.7308 | 1172476.1775 | 2589601.5153 | 1172471.2614 | 2589608.4707 | 1172460.2104 | 2589610.2903 | 1172446.7115 | 2589608.4204 | 1172431.3737 | 2589609.0069 | 1172416.8543 | 2589619.5986 | 1172372.6691 | 2589624.093 | 1172362.4339 | 2589630.4489 | 1172358.3319
41 | 2589655.0119 | 1171780.5093 | 2589675.0755 | 1171785.6326 | 2589722.9041 | 1171808.8616 | 2589733.1975 | 1171816.8145 | 2589744.0872 | 1171842.4086 | 2589756.6767 | 1171855.7604 | 2589764.1139 | 1171866.2751 | 2589772.6944 | 1171874.5201 | 2589788.4079 | 1171881.0297 | 2589809.5703 | 1171898.3578 | 2589828.4347 | 1171913.6999
42 | 2589661.4589 | 1172423.0789 | 2589659.0645 | 1172418.4013 | 2589646.9193 | 1172396.1334 | 2589634.5415 | 1172358.9473 | 2589630.4489 | 1172358.3319 | 2589630.4489 | 1172358.3319
43 | 2589661.4589 | 1172423.0789 | 2589672.0332 | 1172443.736 | 2589675.0455 | 1172453.2006

## bus_geodata
| x | y | coords
0 | 2588365.9205 | 1173275.8637
1 | 2588564.4137 | 1172802.0614
2 | 2588764.5942 | 1172609.7504
3 | 2589111.6455 | 1172461.9095
4 | 2589336.5586 | 1173679.2726
5 | 2589260.1509 | 1173700.8763
6 | 2589629.6768 | 1173381.6448
7 | 2589609.6936 | 1173200.4037
8 | 2589011.8884 | 1173340.7693
9 | 2589771.8496 | 1173132.4221
10 | 2588930.5386 | 1173148.0273
11 | 2589631.9898 | 1173001.6869
12 | 2589596.7274 | 1172970.0101
13 | 2589770.3828 | 1173102.0649
14 | 2589887.3879 | 1173315.5635
15 | 2589324.9835 | 1172826.852
16 | 2589741.2477 | 1173030.9013
17 | 2589154.8675 | 1172514.8018
18 | 2589996.341 | 1172687.561
19 | 2589981.2193 | 1172639.9467
20 | 2589981.0993 | 1172630.5596
21 | 2590066.7072 | 1172747.3848
22 | 2589958.5087 | 1172587.5186
23 | 2589885.5907 | 1172530.0242
24 | 2589845.264 | 1172532.8222
25 | 2589332.8388 | 1172251.2922
26 | 2589329.7954 | 1172549.9099
27 | 2589470.5909 | 1172335.5341
28 | 2589546.0446 | 1172418.0094
29 | 2589534.0323 | 1171933.9861
30 | 2589516.9777 | 1171919.7095
31 | 2589564.4676 | 1171959.3514
32 | 2589471.4807 | 1171731.3393
33 | 2589358.8343 | 1171763.1888
34 | 2589519.5989 | 1172313.9479
35 | 2589565.1121 | 1172460.2663
36 | 2589065.8754 | 1172379.4962
37 | 2589626.3488 | 1172024.204
38 | 2589578.8258 | 1172471.4793
39 | 2589573.6774 | 1171967.0265
40 | 2589655.0119 | 1171780.5093
41 | 2589828.4347 | 1171913.6999
42 | 2589630.4489 | 1172358.3319
43 | 2589661.4589 | 1172423.0789
44 | 2589675.0455 | 1172453.2006
45 | 2589631.9898 | 1173001.6869

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98796 | -0.088715 | 0.00047498 | 0.00011904
1 | 0.98831 | -0.086092 | 0.00040488 | 0.00010147
2 | 0.98866 | -0.08342 | 0.00012357 | 3.097e-05
3 | 0.98924 | -0.078898 | 0 | 0
4 | 0.97774 | -0.1574 | 0.001158 | 0.00029022
5 | 0.97715 | -0.16166 | 0 | 0
6 | 0.9814 | -0.13102 | 0.012149 | 0.0030449
7 | 0.98655 | -0.094297 | 0 | 0
8 | 0.97406 | -0.18397 | 0 | 0
9 | 0.99202 | -0.055721 | 0 | 0
10 | 0.9722 | -0.1974 | 0.004821 | 0.0012083
11 | 1 | 0 | -0.060569 | -0.015001
12 | 0.99801 | -0.014315 | 0.0042618 | 0.0010681
13 | 0.99122 | -0.061294 | 0 | 0
14 | 0.98854 | -0.080312 | 0.010042 | 0.0025169
15 | 0.99427 | -0.041719 | 0.000596 | 0.00014937
16 | 0.98902 | -0.076838 | 0.0053966 | 0.0013525
17 | 0.98936 | -0.077963 | 0 | 0
18 | 0.9812 | -0.13242 | 0.0011019 | 0.00027616
19 | 0.98092 | -0.13443 | 0.0021401 | 0.00053637
20 | 0.9809 | -0.13457 | 0.0013425 | 0.00033646
21 | 0.9801 | -0.1403 | 0.0078924 | 0.001978
22 | 0.98089 | -0.13465 | 0 | 0
23 | 0.98087 | -0.1348 | 0 | 0
24 | 0.98087 | -0.13486 | 9.9107e-05 | 2.4838e-05
25 | 0.98391 | -0.11791 | 0.0011131 | 0.00027897
26 | 0.98666 | -0.097694 | 0.00068225 | 0.00017099
27 | 0.98272 | -0.12674 | 0 | 0
28 | 0.98189 | -0.13282 | 0 | 0
29 | 0.98044 | -0.1438 | 0.00017333 | 4.3441e-05
30 | 0.98042 | -0.14397 | 0 | 0
31 | 0.98049 | -0.14341 | 0.00024376 | 6.1092e-05
32 | 0.98021 | -0.14552 | 0 | 0
33 | 0.97999 | -0.1471 | 0.00072174 | 0.00018088
34 | 0.98152 | -0.13564 | 0.00045152 | 0.00011316
35 | 0.98172 | -0.13405 | 0.00010153 | 2.5446e-05
36 | 0.98922 | -0.079079 | 0.0001478 | 3.7043e-05
37 | 0.98065 | -0.14223 | 0 | 0
38 | 0.98166 | -0.13449 | 0.00046917 | 0.00011759
39 | 0.98051 | -0.14326 | 8.2118e-05 | 2.0581e-05
40 | 0.98031 | -0.14482 | 0 | 0
41 | 0.98007 | -0.14654 | 0.00072032 | 0.00018053
42 | 0.98125 | -0.13744 | 0.00025537 | 6.4003e-05
43 | 0.98107 | -0.13872 | 0.0010899 | 0.00027316
44 | 0.98105 | -0.13891 | 0.0005729 | 0.00014358
45 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00047498 | -0.00011904 | 0.00047514 | 0.00011252 | 1.6352e-07 | -6.5175e-06 | 0.00071539 | 0.00071311 | 0.00071539 | 0.98796 | -0.088715 | 0.98831 | -0.086092 | 0.26496
1 | -0.00088002 | -0.000214 | 0.00088032 | 0.00021055 | 3.0276e-07 | -3.4419e-06 | 0.0013227 | 0.0013215 | 0.0013227 | 0.98831 | -0.086092 | 0.98866 | -0.08342 | 0.48988
2 | -0.0010039 | -0.00024152 | 0.0010045 | 0.00023657 | 5.7142e-07 | -4.957e-06 | 0.0015074 | 0.0015057 | 0.0015074 | 0.98866 | -0.08342 | 0.98924 | -0.078898 | 0.55831
3 | 0.00014781 | 3.556e-05 | -0.0001478 | -3.7043e-05 | 3.5574e-09 | -1.4828e-06 | 0.00022181 | 0.00022233 | 0.00022233 | 0.98924 | -0.078898 | 0.98922 | -0.079079 | 0.082345
4 | -0.0011523 | -0.00027213 | 0.0011524 | 0.00027126 | 1.3341e-07 | -8.6874e-07 | 0.0017275 | 0.0017272 | 0.0017275 | 0.98924 | -0.078898 | 0.98936 | -0.077963 | 0.63981
5 | 0.0048476 | 0.0012087 | -0.0048448 | -0.0012087 | 2.8301e-06 | 4.3475e-08 | 0.0073754 | 0.0073757 | 0.0073757 | 0.97774 | -0.1574 | 0.97715 | -0.16166 | 2.7318
6 | -0.0060056 | -0.0014989 | 0.0060274 | 0.0015021 | 2.176e-05 | 3.1107e-06 | 0.0091377 | 0.0091358 | 0.0091377 | 0.97774 | -0.1574 | 0.9814 | -0.13102 | 3.3843
7 | 0.0048448 | 0.0012087 | -0.00483 | -0.0012084 | 1.4852e-05 | 2.5049e-07 | 0.0073757 | 0.0073777 | 0.0073777 | 0.97715 | -0.16166 | 0.97406 | -0.18397 | 2.7325
8 | -0.018176 | -0.0045469 | 0.018269 | 0.00458 | 9.2497e-05 | 3.3096e-05 | 0.027557 | 0.027556 | 0.027557 | 0.9814 | -0.13102 | 0.98655 | -0.094297 | 10.2061
9 | -0.018269 | -0.00458 | 0.018367 | 0.0046151 | 9.8106e-05 | 3.5074e-05 | 0.027556 | 0.027555 | 0.027556 | 0.98655 | -0.094297 | 0.99202 | -0.055721 | 10.2058
10 | 0.00483 | 0.0012084 | -0.004821 | -0.0012083 | 8.9506e-06 | 1.6904e-07 | 0.0073777 | 0.0073789 | 0.0073789 | 0.97406 | -0.18397 | 0.9722 | -0.1974 | 2.7329
11 | 0.018132 | 0.0045537 | -0.018118 | -0.0045487 | 1.4036e-05 | 5.0065e-06 | 0.027202 | 0.027202 | 0.027202 | 0.99202 | -0.055721 | 0.99122 | -0.061294 | 10.0748
12 | 0.010077 | 0.002527 | -0.010042 | -0.0025169 | 3.4266e-05 | 1.0087e-05 | 0.015116 | 0.015117 | 0.015117 | 0.99202 | -0.055721 | 0.98854 | -0.080312 | 5.5988
13 | -0.046576 | -0.011696 | 0.04694 | 0.011829 | 0.00036339 | 0.00013355 | 0.069872 | 0.06987 | 0.069872 | 0.99202 | -0.055721 | 1 | 0 | 12.9393
14 | 0.01283 | 0.0031714 | -0.012805 | -0.0031633 | 2.4712e-05 | 8.0797e-06 | 0.019076 | 0.019076 | 0.019076 | 1 | 0 | 0.99801 | -0.014315 | 7.0652
15 | 0.0085433 | 0.0020952 | -0.0085122 | -0.0020873 | 3.1023e-05 | 7.9332e-06 | 0.012722 | 0.012723 | 0.012723 | 0.99801 | -0.014315 | 0.99427 | -0.041719 | 4.7123
16 | 0.018118 | 0.0045487 | -0.018079 | -0.0045348 | 3.9046e-05 | 1.393e-05 | 0.027202 | 0.027202 | 0.027202 | 0.99122 | -0.061294 | 0.98902 | -0.076838 | 10.075
17 | 0.0079162 | 0.0019379 | -0.0078784 | -0.001929 | 3.7878e-05 | 8.973e-06 | 0.011831 | 0.011833 | 0.011833 | 0.99427 | -0.041719 | 0.98936 | -0.077963 | 4.3827
18 | 0.012683 | 0.0031823 | -0.012586 | -0.0031504 | 9.7207e-05 | 3.1942e-05 | 0.019083 | 0.019085 | 0.019085 | 0.98902 | -0.076838 | 0.9812 | -0.13242 | 7.0685
19 | 0.006726 | 0.0016577 | -0.0067082 | -0.0016544 | 1.7773e-05 | 3.2648e-06 | 0.010106 | 0.010107 | 0.010107 | 0.98936 | -0.077963 | 0.98666 | -0.097694 | 3.7435
20 | 0.007901 | 0.0019801 | -0.0078924 | -0.001978 | 8.6196e-06 | 2.1014e-06 | 0.011982 | 0.011983 | 0.011983 | 0.9812 | -0.13242 | 0.9801 | -0.1403 | 4.438
21 | 0.0035827 | 0.00089408 | -0.0035818 | -0.00089438 | 9.8934e-07 | -2.9796e-07 | 0.0054319 | 0.0054322 | 0.0054322 | 0.9812 | -0.13242 | 0.98092 | -0.13443 | 2.0119
22 | 0.0014416 | 0.00035801 | -0.0014416 | -0.00035811 | 2.7986e-08 | -1.0774e-07 | 0.0021857 | 0.0021857 | 0.0021857 | 0.98092 | -0.13443 | 0.9809 | -0.13457 | 0.80953
23 | 9.911e-05 | 2.1659e-05 | -9.9109e-05 | -2.2403e-05 | 8.2191e-10 | -7.446e-07 | 0.00014928 | 0.00014952 | 0.00014952 | 0.9809 | -0.13457 | 0.98089 | -0.13465 | 0.055377
24 | 9.9109e-05 | 2.2403e-05 | -9.9107e-05 | -2.4071e-05 | 1.8506e-09 | -1.6676e-06 | 0.00014952 | 0.00015008 | 0.00015008 | 0.98089 | -0.13465 | 0.98087 | -0.1348 | 0.055585
25 | 9.9107e-05 | 2.4071e-05 | -9.9107e-05 | -2.4838e-05 | 8.5654e-10 | -7.6753e-07 | 0.00015008 | 0.00015035 | 0.00015035 | 0.98087 | -0.1348 | 0.98087 | -0.13486 | 0.055685
26 | -0.0060097 | -0.0014812 | 0.0060259 | 0.0014835 | 1.6284e-05 | 2.2311e-06 | 0.0090799 | 0.0090785 | 0.0090799 | 0.98391 | -0.11791 | 0.98666 | -0.097694 | 3.3629
27 | 0.0048966 | 0.0012023 | -0.0048908 | -0.0012022 | 5.7582e-06 | 7.5247e-08 | 0.0073965 | 0.0073972 | 0.0073972 | 0.98391 | -0.11791 | 0.98272 | -0.12674 | 2.7397
28 | 0.0048908 | 0.0012022 | -0.0048868 | -0.0012021 | 3.965e-06 | 5.5085e-08 | 0.0073972 | 0.0073978 | 0.0073978 | 0.98272 | -0.12674 | 0.98189 | -0.13282 | 2.7399
29 | 0.0023963 | 0.00058175 | -0.0023954 | -0.00058277 | 8.806e-07 | -1.0191e-06 | 0.0036249 | 0.0036253 | 0.0036253 | 0.98189 | -0.13282 | 0.98152 | -0.13564 | 1.3427
30 | 0.0024905 | 0.00062038 | -0.0024901 | -0.00062081 | 4.1741e-07 | -4.3369e-07 | 0.0037729 | 0.0037732 | 0.0037732 | 0.98189 | -0.13282 | 0.98172 | -0.13405 | 1.3975
31 | 0.00072206 | 0.00017561 | -0.00072204 | -0.00017588 | 1.6611e-08 | -2.7409e-07 | 0.001094 | 0.0010941 | 0.0010941 | 0.98044 | -0.1438 | 0.98042 | -0.14397 | 0.40521
32 | -0.00089539 | -0.00021905 | 0.00089543 | 0.00021857 | 4.5522e-08 | -4.8217e-07 | 0.001357 | 0.0013569 | 0.001357 | 0.98044 | -0.1438 | 0.98049 | -0.14341 | 0.5026
33 | 0.00072204 | 0.00017588 | -0.00072189 | -0.00017833 | 1.4874e-07 | -2.4516e-06 | 0.0010941 | 0.0010949 | 0.0010949 | 0.98042 | -0.14397 | 0.98021 | -0.14552 | 0.40554
34 | -0.0011392 | -0.00027966 | 0.0011392 | 0.00027952 | 2.2306e-08 | -1.4263e-07 | 0.0017268 | 0.0017267 | 0.0017268 | 0.98049 | -0.14341 | 0.98051 | -0.14326 | 0.63955
35 | 0.00072189 | 0.00017833 | -0.00072174 | -0.00018088 | 1.5506e-07 | -2.5502e-06 | 0.0010949 | 0.0010959 | 0.0010959 | 0.98021 | -0.14552 | 0.97999 | -0.1471 | 0.40588
36 | 0.0019439 | 0.00046961 | -0.0019422 | -0.00047286 | 1.6672e-06 | -3.258e-06 | 0.0029408 | 0.0029422 | 0.0029422 | 0.98152 | -0.13564 | 0.98065 | -0.14223 | 1.0897
37 | 0.0023886 | 0.00059537 | -0.0023884 | -0.00059554 | 1.4588e-07 | -1.6953e-07 | 0.0036193 | 0.0036193 | 0.0036193 | 0.98172 | -0.13405 | 0.98166 | -0.13449 | 1.3405
38 | 0.00072073 | 0.00017369 | -0.00072048 | -0.00017774 | 2.4483e-07 | -4.0564e-06 | 0.0010912 | 0.0010926 | 0.0010926 | 0.98065 | -0.14223 | 0.98031 | -0.14482 | 0.40467
39 | 0.0012215 | 0.00029918 | -0.0012213 | -0.0003001 | 1.6687e-07 | -9.2023e-07 | 0.001851 | 0.0018514 | 0.0018514 | 0.98065 | -0.14223 | 0.98051 | -0.14326 | 0.68569
40 | 0.0019193 | 0.00047795 | -0.0019185 | -0.00047951 | 7.755e-07 | -1.5583e-06 | 0.0029082 | 0.0029088 | 0.0029088 | 0.98166 | -0.13449 | 0.98125 | -0.13744 | 1.0773
41 | 0.00072048 | 0.00017774 | -0.00072032 | -0.00018053 | 1.6861e-07 | -2.7854e-06 | 0.0010926 | 0.0010936 | 0.0010936 | 0.98031 | -0.14482 | 0.98007 | -0.14654 | 0.40505
42 | 0.0016631 | 0.00041551 | -0.0016628 | -0.00041633 | 2.9344e-07 | -8.2111e-07 | 0.0025216 | 0.0025219 | 0.0025219 | 0.98125 | -0.13744 | 0.98107 | -0.13872 | 0.93403
43 | 0.00057291 | 0.00014317 | -0.0005729 | -0.00014358 | 1.5611e-08 | -4.1244e-07 | 0.0008688 | 0.00086895 | 0.00086895 | 0.98107 | -0.13872 | 0.98105 | -0.13891 | 0.32183

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.060569 | 0.015001

## res_load
| p_mw | q_mvar
0 | 0.00047498 | 0.00011904
1 | 0.00040488 | 0.00010147
2 | 0.00012357 | 3.097e-05
3 | 0.001158 | 0.00029022
4 | 0.012149 | 0.0030449
5 | 0.004821 | 0.0012083
6 | 0.0042618 | 0.0010681
7 | 0.010042 | 0.0025169
8 | 0.000596 | 0.00014937
9 | 0.0053966 | 0.0013525
10 | 0.0011019 | 0.00027616
11 | 0.0021401 | 0.00053637
12 | 0.0013425 | 0.00033646
13 | 0.0078924 | 0.001978
14 | 9.9107e-05 | 2.4838e-05
15 | 0.0011131 | 0.00027897
16 | 0.00068225 | 0.00017099
17 | 0.00017333 | 4.3441e-05
18 | 0.00024376 | 6.1092e-05
19 | 0.00072174 | 0.00018088
20 | 0.00045152 | 0.00011316
21 | 0.00010153 | 2.5446e-05
22 | 0.0001478 | 3.7043e-05
23 | 0.00046917 | 0.00011759
24 | 8.2118e-05 | 2.0581e-05
25 | 0.00072032 | 0.00018053
26 | 0.00025537 | 6.4003e-05
27 | 0.0010899 | 0.00027316
28 | 0.0005729 | 0.00014358

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1