## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2299-25_1_2_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_2299-25_1_2_node_46 | 0.4 | n |  | TRUE
2 | bus_LV_2299-25_1_2_node_56 | 0.4 | n |  | TRUE
3 | bus_LV_2299-25_1_2_node_47 | 0.4 | n |  | TRUE
4 | bus_LV_2299-25_1_2_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_2299-25_1_2_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_2299-25_1_2_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_2299-25_1_2_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_2299-25_1_2_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_2299-25_1_2_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_2299-25_1_2_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_2299-25_1_2_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_2299-25_1_2_node_50 | 0.4 | n |  | TRUE
13 | bus_LV_2299-25_1_2_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_2299-25_1_2_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_2299-25_1_2_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_2299-25_1_2_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_2299-25_1_2_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_2299-25_1_2_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_2299-25_1_2_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_2299-25_1_2_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_2299-25_1_2_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_2299-25_1_2_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_2299-25_1_2_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_2299-25_1_2_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_2299-25_1_2_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_2299-25_1_2_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_2299-25_1_2_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_2299-25_1_2_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_2299-25_1_2_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_2299-25_1_2_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_2299-25_1_2_node_54 | 0.4 | n |  | TRUE
32 | bus_LV_2299-25_1_2_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_2299-25_1_2_node_48 | 0.4 | n |  | TRUE
34 | bus_MV_0_node_25 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2299-25_1_2_load_56 | 2 | 0.0012954 | 0.00032465 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2299-25_1_2_load_40 | 4 | 0.00083464 | 0.00020918 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2299-25_1_2_load_32 | 5 | 0.001301 | 0.00032606 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2299-25_1_2_load_33 | 6 | 0.0010027 | 0.00025131 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2299-25_1_2_load_14 | 7 | 0.0028634 | 0.00071764 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2299-25_1_2_load_15 | 8 | 0.00024344 | 6.1012e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2299-25_1_2_load_17 | 9 | 0.00057048 | 0.00014298 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2299-25_1_2_load_16 | 11 | 0.00060309 | 0.00015115 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2299-25_1_2_load_50 | 12 | 0.00053804 | 0.00013485 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2299-25_1_2_load_26 | 13 | 0.00043662 | 0.00010943 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2299-25_1_2_load_29 | 14 | 0.00089354 | 0.00022394 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2299-25_1_2_load_23 | 15 | 0.00043406 | 0.00010879 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2299-25_1_2_load_24 | 16 | 0.00033003 | 8.2713e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2299-25_1_2_load_25 | 17 | 0.002938 | 0.00073633 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2299-25_1_2_load_52 | 19 | 0.00081822 | 0.00020506 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2299-25_1_2_load_30 | 21 | 0.003792 | 0.00095036 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2299-25_1_2_load_55 | 22 | 0.001459 | 0.00036566 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2299-25_1_2_load_34 | 23 | 0.00088995 | 0.00022304 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2299-25_1_2_load_41 | 24 | 0.00096196 | 0.00024109 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2299-25_1_2_load_36 | 26 | 0.0011258 | 0.00028215 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2299-25_1_2_load_37 | 27 | 0.0010889 | 0.00027291 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2299-25_1_2_load_38 | 28 | 0.0010527 | 0.00026383 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2299-25_1_2_load_39 | 29 | 0.0010133 | 0.00025396 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2299-25_1_2_load_43 | 30 | 0.0021225 | 0.00053196 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2299-25_1_2_load_54 | 31 | 0.0043439 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2299-25_1_2_load_49 | 32 | 0.00211 | 0.00052882 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2299-25_1_2_load_48 | 33 | 0.0012788 | 0.0003205 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2299-25_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2299-25_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.044174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2299-25_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2299-25_1_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.019748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2299-25_1_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.08758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2299-25_1_2_line_5 | NAYY 4x150 SE | 3 | 32 | 0.014292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2299-25_1_2_line_6 | NAYY 4x150 SE | 3 | 33 | 0.010866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2299-25_1_2_line_7 | NAYY 4x150 SE | 4 | 28 | 0.018389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2299-25_1_2_line_8 | NAYY 4x150 SE | 5 | 6 | 0.020983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2299-25_1_2_line_9 | NAYY 4x150 SE | 6 | 23 | 0.0038132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2299-25_1_2_line_10 | NAYY 4x150 SE | 7 | 8 | 0.0031379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2299-25_1_2_line_11 | NAYY 4x150 SE | 7 | 9 | 0.099024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2299-25_1_2_line_12 | NAYY 4x150 SE | 8 | 10 | 0.24328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2299-25_1_2_line_13 | NAYY 4x150 SE | 9 | 12 | 0.11943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2299-25_1_2_line_14 | NAYY 4x150 SE | 9 | 11 | 0.10134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2299-25_1_2_line_15 | NAYY 4x150 SE | 10 | 14 | 0.065668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2299-25_1_2_line_16 | NAYY 4x150 SE | 12 | 13 | 0.013549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2299-25_1_2_line_17 | NAYY 4x150 SE | 13 | 16 | 0.023077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2299-25_1_2_line_18 | NAYY 4x150 SE | 15 | 16 | 0.014933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2299-25_1_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.0032978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2299-25_1_2_line_20 | NAYY 4x150 SE | 17 | 18 | 0.015205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2299-25_1_2_line_21 | NAYY 4x150 SE | 18 | 19 | 0.0058172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2299-25_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0065394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2299-25_1_2_line_23 | NAYY 4x150 SE | 20 | 31 | 0.012635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2299-25_1_2_line_24 | NAYY 4x150 SE | 20 | 25 | 0.002529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2299-25_1_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.12856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2299-25_1_2_line_26 | NAYY 4x150 SE | 22 | 25 | 0.025967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2299-25_1_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.016515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2299-25_1_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.012375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2299-25_1_2_line_29 | NAYY 4x150 SE | 26 | 27 | 0.031136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2299-25_1_2_line_30 | NAYY 4x150 SE | 26 | 28 | 0.037921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2299-25_1_2_line_31 | NAYY 4x150 SE | 27 | 29 | 0.025278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2299-25_1_2_line_32 | NAYY 4x150 SE | 29 | 30 | 0.21382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2299-25_1_2_trafo_25 | 0.25 MVA 20/0.4 kV | 34 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2588126.0065 | 1168829.9316 | 2588119.5427 | 1168827.332 | 2588108.3491 | 1168820.5843
1 | 2588126.0065 | 1168829.9316 | 2588117.5515 | 1168838.0191 | 2588101.1 | 1168853.9488 | 2588097.2728 | 1168862.7239
2 | 2588031.5117 | 1168786.4097 | 2588050.2795 | 1168769.3079 | 2588077.9523 | 1168796.8442 | 2588108.3491 | 1168820.5843
3 | 2588108.3491 | 1168820.5843 | 2588089.2839 | 1168825.7312
4 | 2588140.7713 | 1168938.7382 | 2588097.2728 | 1168862.7239
5 | 2588021.4589 | 1168776.2247 | 2588031.5117 | 1168786.4097
6 | 2588031.5117 | 1168786.4097 | 2588038.6144 | 1168794.6329
7 | 2588089.2839 | 1168825.7312 | 2588071.5302 | 1168830.5241
8 | 2588140.7713 | 1168938.7382 | 2588139.2499 | 1168940.0605 | 2588134.2963 | 1168958.3691
9 | 2588134.2963 | 1168958.3691 | 2588133.3003 | 1168962.05
10 | 2588038.0905 | 1169229.8299 | 2588037.9476 | 1169232.9646
11 | 2588038.0905 | 1169229.8299 | 2588009.9286 | 1169134.8946
12 | 2588037.9476 | 1169232.9646 | 2588183.5742 | 1169427.8394
13 | 2588051.9243 | 1169023.0934 | 2588009.9286 | 1169134.8946
14 | 2588009.9286 | 1169134.8946 | 2588007.3116 | 1169134.933 | 2587985.5799 | 1169138.7453 | 2587961.0209 | 1169140.6736 | 2587943.3028 | 1169138.8307 | 2587931.2462 | 1169136.4983 | 2587924.8755 | 1169138.1565 | 2587923.4723 | 1169144.2846 | 2587927.2614 | 1169152.5144
15 | 2588177.2075 | 1169493.1403 | 2588178.3753 | 1169487.8465 | 2588183.5742 | 1169427.8394
16 | 2588065.3679 | 1169024.3723 | 2588052.6941 | 1169023.4305 | 2588051.9243 | 1169023.0934
17 | 2588065.3679 | 1169024.3723 | 2588065.3679 | 1169024.3723 | 2588082.7463 | 1169020.7357 | 2588087.7855 | 1169019.0228
18 | 2588087.7855 | 1169019.0228 | 2588095.379 | 1169016.4417 | 2588100.7532 | 1169012.0939
19 | 2588103.3171 | 1169010.0196 | 2588100.7532 | 1169012.0939
20 | 2588114.8365 | 1169000.1058 | 2588109.0161 | 1169005.409 | 2588103.3171 | 1169010.0196
21 | 2588114.8365 | 1169000.1058 | 2588119.2564 | 1168996.3237
22 | 2588124.225 | 1168992.072 | 2588119.2564 | 1168996.3237
23 | 2588133.6387 | 1169000.5242 | 2588127.6289 | 1168995.2668 | 2588124.225 | 1168992.072
24 | 2588125.2458 | 1168989.7577 | 2588124.225 | 1168992.072
25 | 2588147.133 | 1168998.4518 | 2588224.5698 | 1169101.0715
26 | 2588125.2458 | 1168989.7577 | 2588139.1413 | 1168989.3409 | 2588147.133 | 1168998.4518
27 | 2588133.3003 | 1168962.05 | 2588128.987 | 1168977.9919
28 | 2588125.2458 | 1168989.7577 | 2588126.7008 | 1168986.442 | 2588128.987 | 1168977.9919
29 | 2588035.6098 | 1168824.5393 | 2588027.8209 | 1168819.5337 | 2588009.8795 | 1168807.0141
30 | 2588035.6098 | 1168824.5393 | 2588044.6166 | 1168830.3276 | 2588065.4118 | 1168832.1758 | 2588071.5302 | 1168830.5241
31 | 2587989.1496 | 1168792.5485 | 2588009.8795 | 1168807.0141
32 | 2587989.1496 | 1168792.5485 | 2587778.3787 | 1168828.5105

## bus_geodata
| x | y | coords
0 | 2588126.0065 | 1168829.9316
1 | 2588108.3491 | 1168820.5843
2 | 2588097.2728 | 1168862.7239
3 | 2588031.5117 | 1168786.4097
4 | 2588089.2839 | 1168825.7312
5 | 2588140.7713 | 1168938.7382
6 | 2588134.2963 | 1168958.3691
7 | 2588038.0905 | 1169229.8299
8 | 2588037.9476 | 1169232.9646
9 | 2588009.9286 | 1169134.8946
10 | 2588183.5742 | 1169427.8394
11 | 2587927.2614 | 1169152.5144
12 | 2588051.9243 | 1169023.0934
13 | 2588065.3679 | 1169024.3723
14 | 2588177.2074 | 1169493.1403
15 | 2588100.7532 | 1169012.0939
16 | 2588087.7855 | 1169019.0228
17 | 2588103.3171 | 1169010.0196
18 | 2588114.8365 | 1169000.1058
19 | 2588119.2564 | 1168996.3237
20 | 2588124.225 | 1168992.072
21 | 2588224.5698 | 1169101.0715
22 | 2588147.133 | 1168998.4518
23 | 2588133.3003 | 1168962.05
24 | 2588128.987 | 1168977.9919
25 | 2588125.2458 | 1168989.7577
26 | 2588035.6098 | 1168824.5393
27 | 2588009.8795 | 1168807.0141
28 | 2588071.5302 | 1168830.5241
29 | 2587989.1496 | 1168792.5485
30 | 2587778.3787 | 1168828.5105
31 | 2588133.6387 | 1169000.5242
32 | 2588021.4589 | 1168776.2247
33 | 2588038.6144 | 1168794.6329
34 | 2588103.3171 | 1169010.0196

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9956 | -0.030932 | 0 | 0
1 | 0.9953 | -0.033081 | 0 | 0
2 | 0.99627 | -0.026186 | 0.0012954 | 0.00032465
3 | 0.9948 | -0.036607 | 0 | 0
4 | 0.99509 | -0.034528 | 0.00083464 | 0.00020918
5 | 0.99777 | -0.015653 | 0.001301 | 0.00032606
6 | 0.99817 | -0.01286 | 0.0010027 | 0.00025131
7 | 0.99807 | -0.013665 | 0.0028634 | 0.00071764
8 | 0.99806 | -0.013702 | 0.00024344 | 6.1012e-05
9 | 0.99863 | -0.0096636 | 0.00057048 | 0.00014298
10 | 0.99775 | -0.015925 | 0 | 0
11 | 0.99855 | -0.01028 | 0.00060309 | 0.00015115
12 | 0.99952 | -0.0034185 | 0.00053804 | 0.00013485
13 | 0.99963 | -0.002637 | 0.00043662 | 0.00010943
14 | 0.99767 | -0.016515 | 0.00089354 | 0.00022394
15 | 0.99997 | -0.00022973 | 0.00043406 | 0.00010879
16 | 0.99983 | -0.0012053 | 0.00033003 | 8.2713e-05
17 | 1 | 0 | -0.034297 | -0.0083874
18 | 0.99942 | -0.004035 | 0 | 0
19 | 0.9992 | -0.00558 | 0.00081822 | 0.00020506
20 | 0.99896 | -0.007264 | 0 | 0
21 | 0.998 | -0.014063 | 0.003792 | 0.00095036
22 | 0.99869 | -0.0091733 | 0.001459 | 0.00036566
23 | 0.99824 | -0.012314 | 0.00088995 | 0.00022304
24 | 0.9986 | -0.0098043 | 0.00096196 | 0.00024109
25 | 0.99889 | -0.0078056 | 0 | 0
26 | 0.99463 | -0.037777 | 0.0011258 | 0.00028215
27 | 0.99444 | -0.039112 | 0.0010889 | 0.00027291
28 | 0.99492 | -0.03572 | 0.0010527 | 0.00026383
29 | 0.99433 | -0.039918 | 0.0010133 | 0.00025396
30 | 0.99368 | -0.044525 | 0.0021225 | 0.00053196
31 | 0.99889 | -0.007813 | 0.0043439 | 0.0010887
32 | 0.99475 | -0.036911 | 0.00211 | 0.00052882
33 | 0.99478 | -0.036747 | 0.0012788 | 0.0003205
34 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010638 | 0.0026613 | -0.010635 | -0.0026603 | 3.1531e-06 | 9.5283e-07 | 0.015898 | 0.015898 | 0.015898 | 0.9956 | -0.030932 | 0.9953 | -0.033081 | 5.8881
1 | -0.010638 | -0.0026613 | 0.010645 | 0.0026634 | 6.9666e-06 | 2.1046e-06 | 0.015898 | 0.015898 | 0.015898 | 0.9956 | -0.030932 | 0.99627 | -0.026186 | 5.8881
2 | 0.0033906 | 0.00084833 | -0.0033889 | -0.00084903 | 1.6513e-06 | -7.028e-07 | 0.0050686 | 0.005069 | 0.005069 | 0.9953 | -0.033081 | 0.9948 | -0.036607 | 1.8774
3 | 0.0072444 | 0.001812 | -0.0072429 | -0.0018117 | 1.4452e-06 | 2.9924e-07 | 0.010829 | 0.010829 | 0.010829 | 0.9953 | -0.033081 | 0.99509 | -0.034528 | 4.0109
4 | -0.01194 | -0.002988 | 0.011958 | 0.0029936 | 1.7378e-05 | 5.5417e-06 | 0.017832 | 0.017832 | 0.017832 | 0.99627 | -0.026186 | 0.99777 | -0.015653 | 6.6046
5 | 0.0021101 | 0.00052867 | -0.00211 | -0.00052882 | 8.8842e-08 | -1.5138e-07 | 0.0031562 | 0.0031563 | 0.0031563 | 0.9948 | -0.036607 | 0.99475 | -0.036911 | 1.169
6 | 0.0012788 | 0.00032037 | -0.0012788 | -0.0003205 | 2.4809e-08 | -1.3153e-07 | 0.0019128 | 0.0019129 | 0.0019129 | 0.9948 | -0.036607 | 0.99478 | -0.036747 | 0.70847
7 | 0.0064083 | 0.0016025 | -0.0064072 | -0.0016023 | 1.0534e-06 | 1.6632e-07 | 0.0095814 | 0.0095815 | 0.0095815 | 0.99509 | -0.034528 | 0.99492 | -0.03572 | 3.5487
8 | -0.013259 | -0.0033196 | 0.013264 | 0.0033213 | 5.1186e-06 | 1.6945e-06 | 0.019772 | 0.019772 | 0.019772 | 0.99777 | -0.015653 | 0.99817 | -0.01286 | 7.323
9 | -0.014267 | -0.0035726 | 0.014268 | 0.003573 | 1.0762e-06 | 3.6407e-07 | 0.021267 | 0.021267 | 0.021267 | 0.99817 | -0.01286 | 0.99824 | -0.012314 | 7.8766
10 | 0.0011373 | 0.00028101 | -0.0011373 | -0.00028105 | 5.6205e-09 | -3.8847e-08 | 0.0016942 | 0.0016942 | 0.0016942 | 0.99807 | -0.013665 | 0.99806 | -0.013702 | 0.6275
11 | -0.0040007 | -0.00099865 | 0.0040029 | 0.0009982 | 2.1972e-06 | -4.4979e-07 | 0.0059633 | 0.0059628 | 0.0059633 | 0.99807 | -0.013665 | 0.99863 | -0.0096636 | 2.2086
12 | 0.00089388 | 0.00022004 | -0.00089361 | -0.00022311 | 2.6928e-07 | -3.0747e-06 | 0.0013313 | 0.0013324 | 0.0013324 | 0.99806 | -0.013702 | 0.99775 | -0.015925 | 0.49348
13 | -0.0051766 | -0.001291 | 0.005181 | 0.0012912 | 4.4309e-06 | 1.4028e-07 | 0.0077111 | 0.0077106 | 0.0077111 | 0.99863 | -0.0096636 | 0.99952 | -0.0034185 | 2.856
14 | 0.00060314 | 0.00014984 | -0.00060309 | -0.00015115 | 5.1048e-08 | -1.3061e-06 | 0.00089825 | 0.00089872 | 0.00089872 | 0.99863 | -0.0096636 | 0.99855 | -0.01028 | 0.33286
15 | 0.00089361 | 0.00022311 | -0.00089354 | -0.00022394 | 7.2763e-08 | -8.2959e-07 | 0.0013324 | 0.0013327 | 0.0013327 | 0.99775 | -0.015925 | 0.99767 | -0.016515 | 0.4936
16 | -0.005719 | -0.001426 | 0.0057196 | 0.0014261 | 6.1251e-07 | 5.7977e-08 | 0.0085116 | 0.0085115 | 0.0085116 | 0.99952 | -0.0034185 | 0.99963 | -0.002637 | 3.1524
17 | -0.0061563 | -0.0015355 | 0.0061575 | 0.0015357 | 1.2086e-06 | 1.6226e-07 | 0.0091614 | 0.0091613 | 0.0091614 | 0.99963 | -0.002637 | 0.99983 | -0.0012053 | 3.3931
18 | 0.0064884 | 0.0016185 | -0.0064875 | -0.0016184 | 8.6817e-07 | 1.3804e-07 | 0.0096524 | 0.0096525 | 0.0096525 | 0.99997 | -0.00022973 | 0.99983 | -0.0012053 | 3.575
19 | -0.0069224 | -0.0017273 | 0.0069227 | 0.0017273 | 2.1825e-07 | 4.0677e-08 | 0.010298 | 0.010298 | 0.010298 | 0.99997 | -0.00022973 | 1 | 0 | 3.8142
20 | 0.026574 | 0.00666 | -0.02656 | -0.0066545 | 1.4835e-05 | 5.5066e-06 | 0.039543 | 0.039543 | 0.039543 | 1 | 0 | 0.99942 | -0.004035 | 14.6456
21 | 0.02656 | 0.0066545 | -0.026554 | -0.0066524 | 5.676e-06 | 2.1069e-06 | 0.039543 | 0.039543 | 0.039543 | 0.99942 | -0.004035 | 0.9992 | -0.00558 | 14.6456
22 | 0.025736 | 0.0064473 | -0.02573 | -0.0064451 | 5.9935e-06 | 2.2196e-06 | 0.038325 | 0.038325 | 0.038325 | 0.9992 | -0.00558 | 0.99896 | -0.007264 | 14.1943
23 | 0.0043442 | 0.0010886 | -0.0043439 | -0.0010887 | 3.3014e-07 | -3.8429e-08 | 0.0064709 | 0.006471 | 0.006471 | 0.99896 | -0.007264 | 0.99889 | -0.007813 | 2.3967
24 | 0.021385 | 0.0053564 | -0.021384 | -0.0053558 | 1.6012e-06 | 5.8275e-07 | 0.031854 | 0.031854 | 0.031854 | 0.99896 | -0.007264 | 0.99889 | -0.0078056 | 11.7977
25 | -0.003792 | -0.00095036 | 0.0037945 | 0.00094966 | 2.564e-06 | -6.9484e-07 | 0.0056538 | 0.0056532 | 0.0056538 | 0.998 | -0.014063 | 0.99869 | -0.0091733 | 2.094
26 | -0.0052535 | -0.0013153 | 0.0052545 | 0.0013154 | 9.9267e-07 | 4.195e-08 | 0.0078271 | 0.007827 | 0.0078271 | 0.99869 | -0.0091733 | 0.99889 | -0.0078056 | 2.8989
27 | -0.015158 | -0.003796 | 0.015163 | 0.0037978 | 5.2606e-06 | 1.8073e-06 | 0.022594 | 0.022593 | 0.022594 | 0.99824 | -0.012314 | 0.9986 | -0.0098043 | 8.368
28 | -0.016125 | -0.0040389 | 0.016129 | 0.0040405 | 4.4577e-06 | 1.5526e-06 | 0.024027 | 0.024027 | 0.024027 | 0.9986 | -0.0098043 | 0.99889 | -0.0078056 | 8.8988
29 | 0.0042272 | 0.0010563 | -0.0042265 | -0.0010564 | 7.768e-07 | -1.0527e-07 | 0.006323 | 0.0063232 | 0.0063232 | 0.99463 | -0.037777 | 0.99444 | -0.039112 | 2.3419
30 | -0.005353 | -0.0013384 | 0.0053545 | 0.0013385 | 1.5171e-06 | 9.1197e-08 | 0.0080073 | 0.0080071 | 0.0080073 | 0.99463 | -0.037777 | 0.99492 | -0.03572 | 2.9657
31 | 0.0031375 | 0.00078347 | -0.0031372 | -0.00078367 | 3.4753e-07 | -1.9425e-07 | 0.0046938 | 0.0046939 | 0.0046939 | 0.99444 | -0.039112 | 0.99433 | -0.039918 | 1.7385
32 | 0.0021239 | 0.0005297 | -0.0021225 | -0.00053196 | 1.3475e-06 | -2.2533e-06 | 0.0031775 | 0.0031784 | 0.0031784 | 0.99433 | -0.039918 | 0.99368 | -0.044525 | 1.1772

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.037235 | 0.0091237

## res_load
| p_mw | q_mvar
0 | 0.0012954 | 0.00032465
1 | 0.00083464 | 0.00020918
2 | 0.001301 | 0.00032606
3 | 0.0010027 | 0.00025131
4 | 0.0028634 | 0.00071764
5 | 0.00024344 | 6.1012e-05
6 | 0.00057048 | 0.00014298
7 | 0.00060309 | 0.00015115
8 | 0.00053804 | 0.00013485
9 | 0.00043662 | 0.00010943
10 | 0.00089354 | 0.00022394
11 | 0.00043406 | 0.00010879
12 | 0.00033003 | 8.2713e-05
13 | 0.002938 | 0.00073633
14 | 0.00081822 | 0.00020506
15 | 0.003792 | 0.00095036
16 | 0.001459 | 0.00036566
17 | 0.00088995 | 0.00022304
18 | 0.00096196 | 0.00024109
19 | 0.0011258 | 0.00028215
20 | 0.0010889 | 0.00027291
21 | 0.0010527 | 0.00026383
22 | 0.0010133 | 0.00025396
23 | 0.0021225 | 0.00053196
24 | 0.0043439 | 0.0010887
25 | 0.00211 | 0.00052882
26 | 0.0012788 | 0.0003205

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1