## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2299-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2299-2_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_2299-2_0_2_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_2299-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2299-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2299-2_0_2_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_2299-2_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_2299-2_0_2_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_2299-2_0_2_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_2299-2_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_2299-2_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_2299-2_0_2_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_2299-2_0_2_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_2299-2_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2299-2_0_2_node_114 | 0.4 | n |  | TRUE
15 | bus_LV_2299-2_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_2299-2_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_2299-2_0_2_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_2299-2_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_2299-2_0_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_2299-2_0_2_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_2299-2_0_2_node_101 | 0.4 | n |  | TRUE
22 | bus_LV_2299-2_0_2_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_2299-2_0_2_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_2299-2_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_2299-2_0_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_2299-2_0_2_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_2299-2_0_2_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_2299-2_0_2_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_2299-2_0_2_node_112 | 0.4 | n |  | TRUE
30 | bus_LV_2299-2_0_2_node_111 | 0.4 | n |  | TRUE
31 | bus_LV_2299-2_0_2_node_113 | 0.4 | n |  | TRUE
32 | bus_LV_2299-2_0_2_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_2299-2_0_2_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_2299-2_0_2_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_2299-2_0_2_node_76 | 0.4 | n |  | TRUE
36 | bus_LV_2299-2_0_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_2299-2_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_2299-2_0_2_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_2299-2_0_2_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_2299-2_0_2_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_2299-2_0_2_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_2299-2_0_2_node_102 | 0.4 | n |  | TRUE
43 | bus_LV_2299-2_0_2_node_103 | 0.4 | n |  | TRUE
44 | bus_LV_2299-2_0_2_node_104 | 0.4 | n |  | TRUE
45 | bus_MV_36_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2299-2_0_2_load_0 | 0 | 0.006632 | 0.0016621 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2299-2_0_2_load_2 | 1 | 0.0057063 | 0.0014301 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2299-2_0_2_load_1 | 2 | 0.0062018 | 0.0015543 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2299-2_0_2_load_18 | 5 | 0.0039308 | 0.00098515 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2299-2_0_2_load_6 | 6 | 0.034082 | 0.0085416 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2299-2_0_2_load_5 | 9 | 0.004298 | 0.0010772 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2299-2_0_2_load_33 | 11 | 0.0018318 | 0.00045908 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2299-2_0_2_load_30 | 12 | 0.0041993 | 0.0010524 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2299-2_0_2_load_114 | 14 | 0.0057961 | 0.0014526 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2299-2_0_2_load_26 | 20 | 0.0036884 | 0.0009244 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2299-2_0_2_load_101 | 21 | 0.0015614 | 0.00039133 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2299-2_0_2_load_28 | 25 | 0.010777 | 0.0027009 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2299-2_0_2_load_78 | 27 | 0.031089 | 0.0077916 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2299-2_0_2_load_21 | 28 | 0.016194 | 0.0040586 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2299-2_0_2_load_112 | 29 | 0.0070396 | 0.0017643 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2299-2_0_2_load_111 | 30 | 0.0064449 | 0.0016152 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2299-2_0_2_load_113 | 31 | 0.0062338 | 0.0015623 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2299-2_0_2_load_23 | 33 | 0.0044347 | 0.0011114 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2299-2_0_2_load_25 | 34 | 0.008546 | 0.0021418 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2299-2_0_2_load_76 | 35 | 0.004604 | 0.0011539 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2299-2_0_2_load_27 | 36 | 0.0023162 | 0.0005805 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2299-2_0_2_load_29 | 37 | 0.0033859 | 0.0008486 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2299-2_0_2_load_37 | 39 | 0.0008453 | 0.00021185 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2299-2_0_2_load_35 | 40 | 0.0028139 | 0.00070522 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2299-2_0_2_load_36 | 41 | 0.0024645 | 0.00061765 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2299-2_0_2_load_102 | 42 | 0.0017511 | 0.00043886 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2299-2_0_2_load_103 | 43 | 0.0030992 | 0.00077672 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2299-2_0_2_load_104 | 44 | 0.0019857 | 0.00049767 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2299-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0095061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2299-2_0_2_line_1 | NAYY 4x150 SE | 1 | 4 | 0.010339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2299-2_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.012282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2299-2_0_2_line_3 | NAYY 4x150 SE | 3 | 5 | 0.027778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2299-2_0_2_line_4 | NAYY 4x150 SE | 3 | 6 | 0.046383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2299-2_0_2_line_5 | NAYY 4x150 SE | 4 | 7 | 0.021083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_2299-2_0_2_line_6 | NAYY 4x150 SE | 4 | 8 | 0.022896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_2299-2_0_2_line_7 | NAYY 4x150 SE | 5 | 15 | 0.010656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2299-2_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.034996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2299-2_0_2_line_9 | NAYY 4x150 SE | 7 | 30 | 0.02448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2299-2_0_2_line_10 | NAYY 4x150 SE | 7 | 15 | 0.006356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_2299-2_0_2_line_11 | NAYY 4x150 SE | 8 | 31 | 0.04126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2299-2_0_2_line_12 | NAYY 4x150 SE | 8 | 24 | 0.00646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_2299-2_0_2_line_13 | NAYY 4x150 SE | 10 | 11 | 0.39251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2299-2_0_2_line_14 | NAYY 4x150 SE | 10 | 12 | 0.25101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2299-2_0_2_line_15 | NAYY 4x150 SE | 12 | 17 | 0.034816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2299-2_0_2_line_16 | NAYY 4x150 SE | 13 | 14 | 0.01903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2299-2_0_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.051268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_2299-2_0_2_line_18 | NAYY 4x150 SE | 13 | 16 | 0.052839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2299-2_0_2_line_19 | NAYY 4x150 SE | 13 | 17 | 0.19128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2299-2_0_2_line_20 | NAYY 4x150 SE | 16 | 21 | 0.062714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2299-2_0_2_line_21 | NAYY 4x150 SE | 17 | 38 | 0.11114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2299-2_0_2_line_22 | NAYY 4x150 SE | 18 | 19 | 0.020178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2299-2_0_2_line_23 | NAYY 4x150 SE | 18 | 20 | 0.03637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2299-2_0_2_line_24 | NAYY 4x150 SE | 19 | 28 | 0.051514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2299-2_0_2_line_25 | NAYY 4x150 SE | 19 | 22 | 0.10018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2299-2_0_2_line_26 | NAYY 4x150 SE | 21 | 42 | 0.042921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2299-2_0_2_line_27 | NAYY 4x150 SE | 22 | 23 | 0.078078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2299-2_0_2_line_28 | NAYY 4x150 SE | 22 | 24 | 0.11339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_2299-2_0_2_line_29 | NAYY 4x150 SE | 22 | 25 | 0.034063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_2299-2_0_2_line_30 | NAYY 4x150 SE | 23 | 26 | 0.11744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2299-2_0_2_line_31 | NAYY 4x150 SE | 23 | 27 | 0.039172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2299-2_0_2_line_32 | NAYY 4x150 SE | 24 | 29 | 0.02738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2299-2_0_2_line_33 | NAYY 4x150 SE | 25 | 36 | 0.024257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_2299-2_0_2_line_34 | NAYY 4x150 SE | 26 | 35 | 0.092476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2299-2_0_2_line_35 | NAYY 4x150 SE | 28 | 32 | 0.038595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2299-2_0_2_line_36 | NAYY 4x150 SE | 32 | 33 | 0.032265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2299-2_0_2_line_37 | NAYY 4x150 SE | 33 | 34 | 0.086595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2299-2_0_2_line_38 | NAYY 4x150 SE | 36 | 37 | 0.02164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_2299-2_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.1284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2299-2_0_2_line_40 | NAYY 4x150 SE | 39 | 41 | 0.0067255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2299-2_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.012061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2299-2_0_2_line_42 | NAYY 4x150 SE | 42 | 43 | 0.0083677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2299-2_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.009873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2299-2_0_2_trafo_29 | 0.25 MVA 20/0.4 kV | 45 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2588602.7318 | 1176797.6395 | 2588596.3332 | 1176790.6092
1 | 2588600.3893 | 1176781.6302 | 2588598.5817 | 1176783.5569 | 2588597.0641 | 1176785.1939 | 2588596.3332 | 1176790.6092
2 | 2588589.6185 | 1176823.9946 | 2588582.8158 | 1176815.4366 | 2588583.8312 | 1176814.547
3 | 2588589.6185 | 1176823.9946 | 2588592.2457 | 1176823.1225 | 2588604.2205 | 1176814.8509 | 2588612.3775 | 1176808.3097
4 | 2588589.6185 | 1176823.9946 | 2588586.3497 | 1176825.0903 | 2588576.3488 | 1176826.4991 | 2588572.0651 | 1176828.3638 | 2588570.2155 | 1176832.236 | 2588569.7316 | 1176838.9403 | 2588571.8242 | 1176850.1642 | 2588572.5495 | 1176855.8517
5 | 2588600.3893 | 1176781.6302 | 2588615.4651 | 1176796.4089
6 | 2588600.3893 | 1176781.6302 | 2588584.088 | 1176765.5088
7 | 2588620.0055 | 1176800.8692 | 2588612.3775 | 1176808.3097
8 | 2588567.4997 | 1176889.7908 | 2588568.5962 | 1176888.3899 | 2588571.8622 | 1176877.9227 | 2588573.6243 | 1176864.2791 | 2588572.5495 | 1176855.8517
9 | 2588615.4651 | 1176796.4089 | 2588634.166 | 1176780.6121
10 | 2588620.0055 | 1176800.8692 | 2588615.4651 | 1176796.4089
11 | 2588584.088 | 1176765.5088 | 2588590.4829 | 1176760.6163 | 2588602.3587 | 1176772.4662 | 2588615.6295 | 1176762.7775
12 | 2588579.4024 | 1176761.0488 | 2588584.088 | 1176765.5088
13 | 2588907.7876 | 1177132.6505 | 2588919.9904 | 1177123.8233 | 2589051.1715 | 1177021.0507 | 2589164.2357 | 1176921.2709 | 2589195.1404 | 1176896.1687 | 2589204.7206 | 1176890.2928 | 2589212.8226 | 1176891.0674 | 2589213.582 | 1176891.3658
14 | 2588907.7876 | 1177132.6505 | 2588908.3513 | 1177123.5226 | 2588906.5477 | 1177115.2218 | 2588900.9452 | 1177094.1882 | 2588892.5559 | 1177070.3806 | 2588887.8654 | 1177058.9724 | 2588882.1724 | 1177046.7657 | 2588874.0049 | 1177031.3398 | 2588867.6409 | 1177015.9328 | 2588863.9106 | 1177003.111 | 2588862.3373 | 1176991.3746 | 2588863.5697 | 1176976.0979 | 2588868.0003 | 1176962.9051 | 2588873.833 | 1176947.5531 | 2588874.2665 | 1176938.2364 | 2588870.9523 | 1176927.2593 | 2588866.0089 | 1176919.6424 | 2588851.7532 | 1176898.264
15 | 2588834.3124 | 1176868.1756 | 2588836.6436 | 1176872.4289 | 2588844.8344 | 1176887.8881 | 2588851.7532 | 1176898.264
16 | 2588664.7908 | 1176813.9126 | 2588672.573 | 1176831.2844
17 | 2588620.0055 | 1176800.8692 | 2588629.9039 | 1176809.8104 | 2588634.848 | 1176813.614 | 2588638.9107 | 1176816.063 | 2588647.8257 | 1176818.2694 | 2588652.0971 | 1176817.9499 | 2588656.2539 | 1176817.6308 | 2588664.7908 | 1176813.9126
18 | 2588664.7908 | 1176813.9126 | 2588669.5611 | 1176810.7353 | 2588677.0928 | 1176804.8735 | 2588684.6737 | 1176800.757 | 2588683.7264 | 1176784.8396 | 2588680.9969 | 1176772.1383
19 | 2588664.7908 | 1176813.9126 | 2588669.5611 | 1176810.7353 | 2588677.0928 | 1176804.8735 | 2588684.6737 | 1176800.757 | 2588694.3301 | 1176798.9933 | 2588702.7692 | 1176800.089 | 2588710.5552 | 1176803.3648 | 2588718.8712 | 1176808.107 | 2588733.3182 | 1176817.8957 | 2588745.7962 | 1176825.0647 | 2588783.7284 | 1176839.3893 | 2588803.1004 | 1176847.0456 | 2588818.6227 | 1176855.7431 | 2588834.3124 | 1176868.1756
20 | 2588680.9969 | 1176772.1383 | 2588685.8486 | 1176763.5025 | 2588695.8909 | 1176751.6552 | 2588701.7407 | 1176745.3854 | 2588724.0897 | 1176727.3753
21 | 2588834.3124 | 1176868.1756 | 2588904.7351 | 1176798.6975 | 2588913.9362 | 1176790.4318
22 | 2588478.6105 | 1176588.244 | 2588482.9157 | 1176585.601 | 2588487.8429 | 1176584.4353 | 2588492.8801 | 1176584.8591 | 2588497.5458 | 1176586.8178
23 | 2588478.6105 | 1176588.244 | 2588475.8434 | 1176580.1118 | 2588472.8807 | 1176569.59 | 2588472.4021 | 1176563.1877 | 2588472.7474 | 1176559.9409 | 2588473.04 | 1176557.1278 | 2588474.24 | 1176552.9622
24 | 2588497.5458 | 1176586.8178 | 2588504.0304 | 1176580.88 | 2588523.1831 | 1176561.3554 | 2588535.4985 | 1176552.1576
25 | 2588497.5458 | 1176586.8178 | 2588501.0671 | 1176589.8014 | 2588503.5889 | 1176593.654 | 2588504.9119 | 1176598.0648 | 2588504.9055 | 1176602.6672 | 2588503.5919 | 1176607.0831 | 2588510.8775 | 1176612.2494 | 2588520.9765 | 1176621.9126 | 2588527.8659 | 1176627.7134 | 2588538.2218 | 1176631.8956 | 2588542.0283 | 1176656.0339 | 2588541.9844 | 1176660.992 | 2588541.573 | 1176665.6396
26 | 2588724.0897 | 1176727.3753 | 2588739.1995 | 1176715.1991 | 2588741.9414 | 1176706.1782 | 2588738.4638 | 1176697.9473 | 2588735.1362 | 1176694.0137
27 | 2588541.573 | 1176665.6396 | 2588541.9844 | 1176660.992 | 2588542.0283 | 1176656.0339 | 2588538.2218 | 1176631.8956 | 2588550.483 | 1176629.3152 | 2588578.5952 | 1176615.1318
28 | 2588579.4024 | 1176761.0488 | 2588559.7926 | 1176741.2875 | 2588539.0112 | 1176716.4037 | 2588533.0613 | 1176698.406 | 2588532.9334 | 1176691.4694 | 2588536.7093 | 1176679.8673 | 2588539.3686 | 1176671.8248 | 2588541.573 | 1176665.6396
29 | 2588541.573 | 1176665.6396 | 2588560.6467 | 1176672.7177 | 2588569.6032 | 1176683.1084
30 | 2588676.2649 | 1176550.3902 | 2588667.3278 | 1176556.8771 | 2588638.931 | 1176578.3644 | 2588608.1419 | 1176599.6673 | 2588578.5952 | 1176615.1318
31 | 2588578.5952 | 1176615.1318 | 2588603.0863 | 1176645.704
32 | 2588579.4024 | 1176761.0488 | 2588587.3989 | 1176754.4746 | 2588576.2804 | 1176741.5778
33 | 2588585.3317 | 1176701.5673 | 2588584.4675 | 1176700.3527 | 2588569.6032 | 1176683.1084
34 | 2588676.2649 | 1176550.3902 | 2588710.3417 | 1176598.0831 | 2588710.6732 | 1176607.6762 | 2588689.825 | 1176620.0845
35 | 2588566.4236 | 1176529.0669 | 2588554.6862 | 1176537.8273 | 2588535.4985 | 1176552.1576
36 | 2588566.4236 | 1176529.0669 | 2588582.7984 | 1176551.2579 | 2588585.1453 | 1176555.3142
37 | 2588544.282 | 1176603.9475 | 2588557.6285 | 1176605.3893 | 2588570.5116 | 1176604.3084 | 2588578.7746 | 1176601.0798 | 2588585.2665 | 1176594.9087 | 2588590.4312 | 1176582.1034 | 2588591.7161 | 1176566.6709 | 2588585.1453 | 1176555.3142
38 | 2588598.022 | 1176719.0896 | 2588596.2761 | 1176716.9496 | 2588585.3317 | 1176701.5673
39 | 2588913.9362 | 1176790.4318 | 2588912.4382 | 1176778.0727 | 2588903.0342 | 1176726.6863 | 2588889.2506 | 1176687.4254 | 2588881.9285 | 1176666.5729
40 | 2588878.7346 | 1176660.6541 | 2588881.9285 | 1176666.5729 | 2588881.9285 | 1176666.5729
41 | 2588873.007 | 1176650.0398 | 2588878.7346 | 1176660.6541
42 | 2588735.1362 | 1176694.0137 | 2588729.732 | 1176687.6252
43 | 2588737.6843 | 1176681.7738 | 2588729.732 | 1176687.6252

## bus_geodata
| x | y | coords
0 | 2588602.7318 | 1176797.6395
1 | 2588596.3332 | 1176790.6092
2 | 2588583.8312 | 1176814.547
3 | 2588589.6185 | 1176823.9946
4 | 2588600.3893 | 1176781.6302
5 | 2588612.3775 | 1176808.3097
6 | 2588572.5495 | 1176855.8517
7 | 2588615.4651 | 1176796.4089
8 | 2588584.088 | 1176765.5088
9 | 2588567.4997 | 1176889.7908
10 | 2588907.7876 | 1177132.6505
11 | 2589213.582 | 1176891.3658
12 | 2588851.7532 | 1176898.264
13 | 2588664.7908 | 1176813.9126
14 | 2588672.573 | 1176831.2844
15 | 2588620.0055 | 1176800.8692
16 | 2588680.9969 | 1176772.1383
17 | 2588834.3124 | 1176868.1756
18 | 2588478.6105 | 1176588.244
19 | 2588497.5458 | 1176586.8178
20 | 2588474.24 | 1176552.9622
21 | 2588724.0897 | 1176727.3753
22 | 2588541.573 | 1176665.6396
23 | 2588578.5952 | 1176615.1318
24 | 2588579.4024 | 1176761.0488
25 | 2588569.6032 | 1176683.1084
26 | 2588676.2649 | 1176550.3902
27 | 2588603.0863 | 1176645.704
28 | 2588535.4985 | 1176552.1576
29 | 2588576.2804 | 1176741.5778
30 | 2588634.166 | 1176780.6121
31 | 2588615.6295 | 1176762.7775
32 | 2588566.4236 | 1176529.0669
33 | 2588585.1453 | 1176555.3142
34 | 2588544.282 | 1176603.9475
35 | 2588689.825 | 1176620.0845
36 | 2588585.3317 | 1176701.5673
37 | 2588598.022 | 1176719.0896
38 | 2588913.9362 | 1176790.4318
39 | 2588881.9285 | 1176666.5729
40 | 2588873.007 | 1176650.0398
41 | 2588878.7346 | 1176660.6541
42 | 2588735.1363 | 1176694.0137
43 | 2588729.732 | 1176687.6252
44 | 2588737.6843 | 1176681.7738
45 | 2588604.1816 | 1176726.6394

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97819 | -0.15261 | 0.006632 | 0.0016621
1 | 0.97828 | -0.15195 | 0.0057063 | 0.0014301
2 | 0.97418 | -0.18128 | 0.0062018 | 0.0015543
3 | 0.97429 | -0.18048 | 0 | 0
4 | 0.97847 | -0.15062 | 0 | 0
5 | 0.97611 | -0.16748 | 0.0039308 | 0.00098515
6 | 0.97168 | -0.19925 | 0.034082 | 0.0085416
7 | 0.97721 | -0.15958 | 0 | 0
8 | 0.98004 | -0.13944 | 0 | 0
9 | 0.97146 | -0.20084 | 0.004298 | 0.0010772
10 | 0.97148 | -0.20104 | 0 | 0
11 | 0.97043 | -0.20873 | 0.0018318 | 0.00045908
12 | 0.97216 | -0.19606 | 0.0041993 | 0.0010524
13 | 0.97588 | -0.16918 | 0 | 0
14 | 0.97572 | -0.17033 | 0.0057961 | 0.0014526
15 | 0.97687 | -0.16207 | 0 | 0
16 | 0.97523 | -0.17384 | 0 | 0
17 | 0.97247 | -0.19382 | 0 | 0
18 | 0.98449 | -0.10815 | 0 | 0
19 | 0.9846 | -0.10738 | 0 | 0
20 | 0.9843 | -0.10953 | 0.0036884 | 0.0009244
21 | 0.97446 | -0.17937 | 0.0015614 | 0.00039133
22 | 0.98938 | -0.07362 | 0 | 0
23 | 0.98534 | -0.10217 | 0 | 0
24 | 0.98051 | -0.13609 | 0 | 0
25 | 0.99374 | -0.043239 | 0.010777 | 0.0027009
26 | 0.98456 | -0.10775 | 0 | 0
27 | 0.98358 | -0.11471 | 0.031089 | 0.0077916
28 | 0.98242 | -0.1229 | 0.016194 | 0.0040586
29 | 0.98023 | -0.13809 | 0.0070396 | 0.0017643
30 | 0.97698 | -0.16123 | 0.0064449 | 0.0016152
31 | 0.97967 | -0.14212 | 0.0062338 | 0.0015623
32 | 0.98169 | -0.12809 | 0 | 0
33 | 0.98108 | -0.13243 | 0.0044347 | 0.0011114
34 | 0.98 | -0.14011 | 0.008546 | 0.0021418
35 | 0.98394 | -0.11214 | 0.004604 | 0.0011539
36 | 0.99703 | -0.020452 | 0.0023162 | 0.0005805
37 | 1 | 0 | -0.19333 | -0.048747
38 | 0.97147 | -0.20103 | 0 | 0
39 | 0.97031 | -0.20937 | 0.0008453 | 0.00021185
40 | 0.97021 | -0.2101 | 0.0028139 | 0.00070522
41 | 0.97026 | -0.20974 | 0.0024645 | 0.00061765
42 | 0.97403 | -0.18246 | 0.0017511 | 0.00043886
43 | 0.97397 | -0.18291 | 0.0030992 | 0.00077672
44 | 0.97394 | -0.18312 | 0.0019857 | 0.00049767
45 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.006632 | -0.0016621 | 0.0066326 | 0.0016622 | 6.0372e-07 | 1.1286e-07 | 0.010088 | 0.010088 | 0.010088 | 0.97819 | -0.15261 | 0.97828 | -0.15195 | 3.7365
1 | -0.012339 | -0.0030924 | 0.012341 | 0.0030931 | 2.2724e-06 | 7.4416e-07 | 0.018768 | 0.018768 | 0.018768 | 0.97828 | -0.15195 | 0.97847 | -0.15062 | 6.9511
2 | -0.0062018 | -0.0015543 | 0.0062025 | 0.0015544 | 6.8776e-07 | 1.1158e-07 | 0.009473 | 0.0094729 | 0.009473 | 0.97418 | -0.18128 | 0.97429 | -0.18048 | 3.5085
3 | -0.044683 | -0.011211 | 0.044764 | 0.011242 | 8.0735e-05 | 3.0705e-05 | 0.068248 | 0.068248 | 0.068248 | 0.97429 | -0.18048 | 0.97611 | -0.16748 | 25.277
4 | 0.038481 | 0.0096566 | -0.038381 | -0.0096188 | 9.9984e-05 | 3.7879e-05 | 0.058775 | 0.058775 | 0.058775 | 0.97429 | -0.18048 | 0.97168 | -0.19925 | 21.7686
5 | 0.081755 | 0.02053 | -0.081654 | -0.020491 | 0.0001017 | 3.8588e-05 | 0.12434 | 0.12434 | 0.12434 | 0.97847 | -0.15062 | 0.97721 | -0.15958 | 23.0268
6 | -0.094097 | -0.023623 | 0.094243 | 0.023679 | 0.00014631 | 5.5696e-05 | 0.14311 | 0.14311 | 0.14311 | 0.97847 | -0.15062 | 0.98004 | -0.13944 | 26.5023
7 | -0.048695 | -0.012227 | 0.048731 | 0.012241 | 3.6648e-05 | 1.3962e-05 | 0.07424 | 0.07424 | 0.07424 | 0.97611 | -0.16748 | 0.97687 | -0.16207 | 27.4963
8 | 0.004299 | 0.0010771 | -0.004298 | -0.0010772 | 9.4646e-07 | -6.9371e-08 | 0.0065833 | 0.0065834 | 0.0065834 | 0.97168 | -0.19925 | 0.97146 | -0.20084 | 2.4383
9 | 0.0064463 | 0.0016155 | -0.0064449 | -0.0016152 | 1.4718e-06 | 2.5947e-07 | 0.0098159 | 0.009816 | 0.009816 | 0.97721 | -0.15958 | 0.97698 | -0.16123 | 3.6355
10 | 0.075207 | 0.018876 | -0.075181 | -0.018866 | 2.6012e-05 | 9.8453e-06 | 0.11453 | 0.11453 | 0.11453 | 0.97721 | -0.15958 | 0.97687 | -0.16207 | 21.2091
11 | 0.0062361 | 0.0015627 | -0.0062338 | -0.0015623 | 2.3082e-06 | 3.6805e-07 | 0.0094683 | 0.0094685 | 0.0094685 | 0.98004 | -0.13944 | 0.97967 | -0.14212 | 3.5069
12 | -0.10048 | -0.025241 | 0.10053 | 0.025259 | 4.6923e-05 | 1.7884e-05 | 0.15258 | 0.15258 | 0.15258 | 0.98004 | -0.13944 | 0.98051 | -0.13609 | 28.2557
13 | 0.0018337 | 0.00045497 | -0.0018318 | -0.00045908 | 1.931e-06 | -4.112e-06 | 0.002807 | 0.0028087 | 0.0028087 | 0.97148 | -0.20104 | 0.97043 | -0.20873 | 1.0403
14 | -0.0018337 | -0.00045497 | 0.0018349 | 0.00045233 | 1.2336e-06 | -2.6356e-06 | 0.002807 | 0.0028059 | 0.002807 | 0.97148 | -0.20104 | 0.97216 | -0.19606 | 1.0396
15 | -0.0060342 | -0.0015048 | 0.0060361 | 0.0015051 | 1.8522e-06 | 2.8057e-07 | 0.0092335 | 0.0092333 | 0.0092335 | 0.97216 | -0.19606 | 0.97247 | -0.19382 | 3.4198
16 | 0.005797 | 0.0014528 | -0.0057961 | -0.0014526 | 9.278e-07 | 1.1913e-07 | 0.0088392 | 0.0088393 | 0.0088393 | 0.97588 | -0.16918 | 0.97572 | -0.17033 | 3.2738
17 | -0.026424 | -0.0066163 | 0.02645 | 0.006625 | 2.5964e-05 | 8.704e-06 | 0.040289 | 0.040289 | 0.040289 | 0.97588 | -0.16918 | 0.97687 | -0.16207 | 7.461
18 | 0.0084126 | 0.0021082 | -0.0084071 | -0.0021068 | 5.4253e-06 | 1.4269e-06 | 0.012827 | 0.012828 | 0.012828 | 0.97588 | -0.16918 | 0.97523 | -0.17384 | 4.751
19 | 0.012215 | 0.0030554 | -0.012173 | -0.0030418 | 4.1396e-05 | 1.354e-05 | 0.018623 | 0.018624 | 0.018624 | 0.97588 | -0.16918 | 0.97247 | -0.19382 | 6.8977
20 | 0.0084071 | 0.0021068 | -0.0084007 | -0.0021051 | 6.4395e-06 | 1.6948e-06 | 0.012828 | 0.012828 | 0.012828 | 0.97523 | -0.17384 | 0.97446 | -0.17937 | 4.7511
21 | 0.0061372 | 0.0015368 | -0.0061311 | -0.0015358 | 6.1158e-06 | 9.7472e-07 | 0.0093903 | 0.0093908 | 0.0093908 | 0.97247 | -0.19382 | 0.97147 | -0.20103 | 3.4781
22 | -0.0036891 | -0.00092421 | 0.0036895 | 0.0009241 | 3.9144e-07 | -1.0605e-07 | 0.0055758 | 0.0055757 | 0.0055758 | 0.98449 | -0.10815 | 0.9846 | -0.10738 | 2.0651
23 | 0.0036891 | 0.00092421 | -0.0036884 | -0.0009244 | 7.0558e-07 | -1.9099e-07 | 0.0055758 | 0.005576 | 0.005576 | 0.98449 | -0.10815 | 0.9843 | -0.10953 | 2.0652
24 | 0.029264 | 0.0073435 | -0.029201 | -0.00732 | 6.2884e-05 | 2.3532e-05 | 0.04423 | 0.04423 | 0.04423 | 0.9846 | -0.10738 | 0.98242 | -0.1229 | 16.3814
25 | -0.032953 | -0.0082677 | 0.033109 | 0.008326 | 0.00015506 | 5.8359e-05 | 0.049805 | 0.049805 | 0.049805 | 0.9846 | -0.10738 | 0.98938 | -0.07362 | 18.4464
26 | 0.0068393 | 0.0017138 | -0.0068363 | -0.0017132 | 2.9212e-06 | 5.8908e-07 | 0.010444 | 0.010444 | 0.010444 | 0.97446 | -0.17937 | 0.97403 | -0.18246 | 3.8681
27 | 0.035895 | 0.0090192 | -0.035753 | -0.0089656 | 0.00014204 | 5.3633e-05 | 0.053995 | 0.053995 | 0.053995 | 0.98938 | -0.07362 | 0.98534 | -0.10217 | 19.9981
28 | 0.10851 | 0.027384 | -0.10757 | -0.027024 | 0.00094304 | 0.00035982 | 0.16327 | 0.16327 | 0.16327 | 0.98938 | -0.07362 | 0.98051 | -0.13609 | 30.2346
29 | -0.17751 | -0.044729 | 0.17827 | 0.04502 | 0.000758 | 0.00029066 | 0.26707 | 0.26706 | 0.26707 | 0.98938 | -0.07362 | 0.99374 | -0.043239 | 49.4565
30 | 0.0046104 | 0.0011536 | -0.0046068 | -0.0011538 | 3.552e-06 | -1.2858e-07 | 0.0069617 | 0.0069622 | 0.0069622 | 0.98534 | -0.10217 | 0.98456 | -0.10775 | 2.5786
31 | 0.031143 | 0.0078119 | -0.031089 | -0.0077916 | 5.4072e-05 | 2.0299e-05 | 0.047033 | 0.047033 | 0.047033 | 0.98534 | -0.10217 | 0.98358 | -0.11471 | 17.4198
32 | 0.0070416 | 0.0017647 | -0.0070396 | -0.0017643 | 1.9511e-06 | 4.0516e-07 | 0.010686 | 0.010686 | 0.010686 | 0.98051 | -0.13609 | 0.98023 | -0.13809 | 3.9579
33 | -0.18905 | -0.047721 | 0.18966 | 0.047953 | 0.000607 | 0.00023283 | 0.2832 | 0.2832 | 0.2832 | 0.99374 | -0.043239 | 0.99703 | -0.020452 | 52.4448
34 | 0.0046068 | 0.0011538 | -0.004604 | -0.0011539 | 2.7973e-06 | -9.9425e-08 | 0.0069622 | 0.0069627 | 0.0069627 | 0.98456 | -0.10775 | 0.98394 | -0.11214 | 2.5788
35 | 0.013007 | 0.0032614 | -0.012998 | -0.0032583 | 9.348e-06 | 3.107e-06 | 0.019702 | 0.019702 | 0.019702 | 0.98242 | -0.1229 | 0.98169 | -0.12809 | 7.2969
36 | 0.012998 | 0.0032583 | -0.01299 | -0.0032557 | 7.8149e-06 | 2.5981e-06 | 0.019702 | 0.019702 | 0.019702 | 0.98169 | -0.12809 | 0.98108 | -0.13243 | 7.297
37 | 0.0085551 | 0.0021442 | -0.008546 | -0.0021418 | 9.0981e-06 | 2.407e-06 | 0.012976 | 0.012976 | 0.012976 | 0.98108 | -0.13243 | 0.98 | -0.14011 | 4.8059
38 | -0.19197 | -0.048534 | 0.19253 | 0.048747 | 0.00055481 | 0.00021282 | 0.28666 | 0.28666 | 0.28666 | 0.99703 | -0.020452 | 1 | 0 | 53.085
39 | 0.0061311 | 0.0015358 | -0.006124 | -0.0015346 | 7.0662e-06 | 1.1299e-06 | 0.0093908 | 0.0093914 | 0.0093914 | 0.97147 | -0.20103 | 0.97031 | -0.20937 | 3.4783
40 | 0.0052787 | 0.0013228 | -0.0052785 | -0.0013228 | 2.7502e-07 | 2.2707e-08 | 0.0080951 | 0.0080951 | 0.0080951 | 0.97031 | -0.20937 | 0.97026 | -0.20974 | 2.9982
41 | -0.0028139 | -0.00070522 | 0.002814 | 0.00070513 | 1.4017e-07 | -9.5042e-08 | 0.0043156 | 0.0043156 | 0.0043156 | 0.97021 | -0.2101 | 0.97026 | -0.20974 | 1.5984
42 | 0.0050853 | 0.0012743 | -0.0050849 | -0.0012743 | 3.1513e-07 | 1.7059e-08 | 0.0077687 | 0.0077687 | 0.0077687 | 0.97403 | -0.18246 | 0.97397 | -0.18291 | 2.8773
43 | 0.0019858 | 0.00049757 | -0.0019857 | -0.00049767 | 5.6705e-08 | -1.0106e-07 | 0.0030338 | 0.0030339 | 0.0030339 | 0.97397 | -0.18291 | 0.97394 | -0.18312 | 1.1237

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19671 | 0.049595

## res_load
| p_mw | q_mvar
0 | 0.006632 | 0.0016621
1 | 0.0057063 | 0.0014301
2 | 0.0062018 | 0.0015543
3 | 0.0039308 | 0.00098515
4 | 0.034082 | 0.0085416
5 | 0.004298 | 0.0010772
6 | 0.0018318 | 0.00045908
7 | 0.0041993 | 0.0010524
8 | 0.0057961 | 0.0014526
9 | 0.0036884 | 0.0009244
10 | 0.0015614 | 0.00039133
11 | 0.010777 | 0.0027009
12 | 0.031089 | 0.0077916
13 | 0.016194 | 0.0040586
14 | 0.0070396 | 0.0017643
15 | 0.0064449 | 0.0016152
16 | 0.0062338 | 0.0015623
17 | 0.0044347 | 0.0011114
18 | 0.008546 | 0.0021418
19 | 0.004604 | 0.0011539
20 | 0.0023162 | 0.0005805
21 | 0.0033859 | 0.0008486
22 | 0.0008453 | 0.00021185
23 | 0.0028139 | 0.00070522
24 | 0.0024645 | 0.00061765
25 | 0.0017511 | 0.00043886
26 | 0.0030992 | 0.00077672
27 | 0.0019857 | 0.00049767

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1