## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2299-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2299-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2299-5_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_2299-5_0_2_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_2299-5_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_2299-5_0_2_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_2299-5_0_2_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_2299-5_0_2_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_2299-5_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_2299-5_0_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_2299-5_0_2_node_150 | 0.4 | n |  | TRUE
11 | bus_LV_2299-5_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_2299-5_0_2_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_2299-5_0_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_2299-5_0_2_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_2299-5_0_2_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_2299-5_0_2_node_151 | 0.4 | n |  | TRUE
17 | bus_LV_2299-5_0_2_node_152 | 0.4 | n |  | TRUE
18 | bus_LV_2299-5_0_2_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_2299-5_0_2_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_2299-5_0_2_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_2299-5_0_2_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_2299-5_0_2_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_2299-5_0_2_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_2299-5_0_2_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_2299-5_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_2299-5_0_2_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_2299-5_0_2_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_2299-5_0_2_node_37 | 0.4 | n |  | TRUE
29 | bus_LV_2299-5_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_2299-5_0_2_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_2299-5_0_2_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_2299-5_0_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_2299-5_0_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_2299-5_0_2_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_2299-5_0_2_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_2299-5_0_2_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_2299-5_0_2_node_153 | 0.4 | n |  | TRUE
38 | bus_LV_2299-5_0_2_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_2299-5_0_2_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_2299-5_0_2_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_2299-5_0_2_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_2299-5_0_2_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_2299-5_0_2_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_2299-5_0_2_node_149 | 0.4 | n |  | TRUE
45 | bus_LV_2299-5_0_2_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_2299-5_0_2_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_2299-5_0_2_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_2299-5_0_2_node_146 | 0.4 | n |  | TRUE
49 | bus_LV_2299-5_0_2_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_2299-5_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_2299-5_0_2_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_2299-5_0_2_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_2299-5_0_2_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_2299-5_0_2_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_2299-5_0_2_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_2299-5_0_2_node_148 | 0.4 | n |  | TRUE
57 | bus_LV_2299-5_0_2_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_2299-5_0_2_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_2299-5_0_2_node_63 | 0.4 | n |  | TRUE
60 | bus_LV_2299-5_0_2_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_2299-5_0_2_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_2299-5_0_2_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_2299-5_0_2_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_2299-5_0_2_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_2299-5_0_2_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_2299-5_0_2_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_2299-5_0_2_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_2299-5_0_2_node_65 | 0.4 | n |  | TRUE
69 | bus_LV_2299-5_0_2_node_133 | 0.4 | n |  | TRUE
70 | bus_LV_2299-5_0_2_node_132 | 0.4 | n |  | TRUE
71 | bus_LV_2299-5_0_2_node_131 | 0.4 | n |  | TRUE
72 | bus_MV_36_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2299-5_0_2_load_0 | 0 | 0.00545 | 0.0013659 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2299-5_0_2_load_1 | 1 | 0.001268 | 0.0003178 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2299-5_0_2_load_3 | 2 | 0.0049033 | 0.0012289 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2299-5_0_2_load_47 | 5 | 0.0027191 | 0.00068147 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2299-5_0_2_load_20 | 6 | 0.0023808 | 0.00059669 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2299-5_0_2_load_44 | 7 | 0.0023432 | 0.00058726 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2299-5_0_2_load_18 | 9 | 0.0072636 | 0.0018204 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2299-5_0_2_load_49 | 12 | 0.0010108 | 0.00025332 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2299-5_0_2_load_19 | 13 | 0.0038398 | 0.00096235 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2299-5_0_2_load_45 | 14 | 0.0020486 | 0.00051342 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2299-5_0_2_load_151 | 16 | 0.0024373 | 0.00061085 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2299-5_0_2_load_28 | 18 | 0.0025293 | 0.0006339 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2299-5_0_2_load_27 | 19 | 0.0018747 | 0.00046984 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2299-5_0_2_load_40 | 20 | 0.006608 | 0.0016561 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2299-5_0_2_load_8 | 22 | 0.0010188 | 0.00025534 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2299-5_0_2_load_9 | 23 | 0.00447 | 0.0011203 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2299-5_0_2_load_11 | 24 | 0.0020859 | 0.00052277 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2299-5_0_2_load_36 | 27 | 0.0011828 | 0.00029644 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2299-5_0_2_load_37 | 28 | 0.0014271 | 0.00035766 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2299-5_0_2_load_33 | 29 | 0.0020116 | 0.00050415 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2299-5_0_2_load_48 | 30 | 0.002383 | 0.00059723 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2299-5_0_2_load_50 | 31 | 0.0021265 | 0.00053295 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2299-5_0_2_load_34 | 32 | 0.0040819 | 0.001023 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2299-5_0_2_load_30 | 33 | 0.0025507 | 0.00063927 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2299-5_0_2_load_31 | 34 | 0.0019384 | 0.00048582 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2299-5_0_2_load_16 | 35 | 0.0013391 | 0.0003356 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2299-5_0_2_load_46 | 36 | 0.0030213 | 0.0007572 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2299-5_0_2_load_153 | 37 | 0.0013583 | 0.00034043 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2299-5_0_2_load_21 | 38 | 0.0035091 | 0.00087947 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2299-5_0_2_load_22 | 39 | 0.0019421 | 0.00048673 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_2299-5_0_2_load_23 | 40 | 0.00077742 | 0.00019484 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_2299-5_0_2_load_25 | 42 | 0.0027953 | 0.00070057 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_2299-5_0_2_load_149 | 44 | 0.0018561 | 0.00046519 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_2299-5_0_2_load_146 | 48 | 0.0014502 | 0.00036346 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_2299-5_0_2_load_32 | 49 | 0.0039071 | 0.00097921 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_2299-5_0_2_load_39 | 50 | 0.0022813 | 0.00057174 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_2299-5_0_2_load_38 | 51 | 0.0040832 | 0.0010233 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_2299-5_0_2_load_35 | 52 | 0.0018856 | 0.00047259 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_2299-5_0_2_load_51 | 53 | 0.0035008 | 0.00087739 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_2299-5_0_2_load_52 | 55 | 0.004915 | 0.0012318 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_2299-5_0_2_load_148 | 56 | 0.00077299 | 0.00019373 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_2299-5_0_2_load_53 | 58 | 0.0017368 | 0.00043528 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_2299-5_0_2_load_59 | 60 | 0.001937 | 0.00048545 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_2299-5_0_2_load_55 | 61 | 0.0045609 | 0.0011431 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_2299-5_0_2_load_56 | 62 | 0.0011898 | 0.0002982 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_2299-5_0_2_load_57 | 63 | 0.005072 | 0.0012712 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_2299-5_0_2_load_62 | 65 | 0.0050951 | 0.0012769 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_2299-5_0_2_load_60 | 66 | 0.0023545 | 0.00059008 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_2299-5_0_2_load_64 | 67 | 0.002123 | 0.00053207 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_2299-5_0_2_load_65 | 68 | 0.0023164 | 0.00058056 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_2299-5_0_2_load_133 | 69 | 0.00062943 | 0.00015775 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_2299-5_0_2_load_132 | 70 | 0.00099994 | 0.00025061 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_2299-5_0_2_load_131 | 71 | 0.0030745 | 0.00077055 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2299-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.016327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2299-5_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.031497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_2299-5_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0022003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_2299-5_0_2_line_3 | NAYY 4x150 SE | 3 | 11 | 0.050996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_2299-5_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.026536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_2299-5_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.020099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2299-5_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.018726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_2299-5_0_2_line_7 | NAYY 4x150 SE | 5 | 12 | 0.012059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2299-5_0_2_line_8 | NAYY 4x150 SE | 6 | 13 | 0.0042921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_2299-5_0_2_line_9 | NAYY 4x150 SE | 7 | 14 | 0.03221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_2299-5_0_2_line_10 | NAYY 4x150 SE | 8 | 9 | 0.063258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2299-5_0_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.13221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2299-5_0_2_line_12 | NAYY 4x150 SE | 9 | 15 | 0.013798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_2299-5_0_2_line_13 | NAYY 4x150 SE | 10 | 16 | 0.029585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_2299-5_0_2_line_14 | NAYY 4x150 SE | 10 | 17 | 0.085422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2299-5_0_2_line_15 | NAYY 4x150 SE | 11 | 18 | 0.013911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2299-5_0_2_line_16 | NAYY 4x150 SE | 11 | 19 | 0.015734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2299-5_0_2_line_17 | NAYY 4x150 SE | 12 | 27 | 0.01328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2299-5_0_2_line_18 | NAYY 4x150 SE | 13 | 38 | 0.02317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2299-5_0_2_line_19 | NAYY 4x150 SE | 14 | 36 | 0.0099986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2299-5_0_2_line_20 | NAYY 4x150 SE | 15 | 25 | 0.058832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2299-5_0_2_line_21 | NAYY 4x150 SE | 15 | 35 | 0.070589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2299-5_0_2_line_22 | NAYY 4x150 SE | 17 | 37 | 0.088744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2299-5_0_2_line_23 | NAYY 4x150 SE | 18 | 20 | 0.0034932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2299-5_0_2_line_24 | NAYY 4x150 SE | 19 | 21 | 0.014942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2299-5_0_2_line_25 | NAYY 4x150 SE | 21 | 43 | 0.007433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2299-5_0_2_line_26 | NAYY 4x150 SE | 21 | 41 | 0.015326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_2299-5_0_2_line_27 | NAYY 4x150 SE | 22 | 23 | 0.029919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_2299-5_0_2_line_28 | NAYY 4x150 SE | 23 | 24 | 0.0045361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_2299-5_0_2_line_29 | NAYY 4x150 SE | 24 | 25 | 0.032199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_2299-5_0_2_line_30 | NAYY 4x150 SE | 25 | 30 | 0.0028769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2299-5_0_2_line_31 | NAYY 4x150 SE | 26 | 27 | 0.034182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2299-5_0_2_line_32 | NAYY 4x150 SE | 26 | 28 | 0.020708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2299-5_0_2_line_33 | NAYY 4x150 SE | 26 | 29 | 0.018733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2299-5_0_2_line_34 | NAYY 4x150 SE | 28 | 31 | 0.016843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2299-5_0_2_line_35 | NAYY 4x150 SE | 29 | 32 | 0.0015802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2299-5_0_2_line_36 | NAYY 4x150 SE | 30 | 36 | 0.015942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2299-5_0_2_line_37 | NAYY 4x150 SE | 31 | 53 | 0.01675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2299-5_0_2_line_38 | NAYY 4x150 SE | 32 | 52 | 0.023439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2299-5_0_2_line_39 | NAYY 4x150 SE | 33 | 34 | 0.029626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2299-5_0_2_line_40 | NAYY 4x150 SE | 34 | 49 | 0.010529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2299-5_0_2_line_41 | NAYY 4x150 SE | 37 | 69 | 0.11651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2299-5_0_2_line_42 | NAYY 4x150 SE | 38 | 39 | 0.016133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_2299-5_0_2_line_43 | NAYY 4x150 SE | 39 | 40 | 0.017546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_2299-5_0_2_line_44 | NAYY 4x150 SE | 40 | 41 | 0.011011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_2299-5_0_2_line_45 | NAYY 4x150 SE | 41 | 42 | 0.013511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_2299-5_0_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.012476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_2299-5_0_2_line_47 | NAYY 4x150 SE | 43 | 45 | 0.015776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_2299-5_0_2_line_48 | NAYY 4x150 SE | 45 | 48 | 0.013046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_2299-5_0_2_line_49 | NAYY 4x150 SE | 45 | 46 | 0.018263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_2299-5_0_2_line_50 | NAYY 4x150 SE | 46 | 47 | 0.008102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_2299-5_0_2_line_51 | NAYY 4x150 SE | 47 | 54 | 0.009171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_2299-5_0_2_line_52 | NAYY 4x150 SE | 47 | 55 | 0.016283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_2299-5_0_2_line_53 | NAYY 4x150 SE | 49 | 50 | 0.011681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_2299-5_0_2_line_54 | NAYY 4x150 SE | 50 | 51 | 0.027589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_2299-5_0_2_line_55 | NAYY 4x150 SE | 51 | 52 | 0.0094865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_2299-5_0_2_line_56 | NAYY 4x150 SE | 54 | 56 | 0.010181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_2299-5_0_2_line_57 | NAYY 4x150 SE | 54 | 57 | 0.037117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_2299-5_0_2_line_58 | NAYY 4x150 SE | 55 | 58 | 0.030993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_2299-5_0_2_line_59 | NAYY 4x150 SE | 57 | 59 | 0.10574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_2299-5_0_2_line_60 | NAYY 4x150 SE | 57 | 60 | 0.066612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_2299-5_0_2_line_61 | NAYY 4x150 SE | 59 | 67 | 0.092196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_2299-5_0_2_line_62 | NAYY 4x150 SE | 60 | 66 | 3.9187e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_2299-5_0_2_line_63 | NAYY 4x150 SE | 61 | 62 | 0.019326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_2299-5_0_2_line_64 | NAYY 4x150 SE | 62 | 63 | 0.014823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_2299-5_0_2_line_65 | NAYY 4x150 SE | 63 | 64 | 0.019164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_2299-5_0_2_line_66 | NAYY 4x150 SE | 64 | 65 | 0.042749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_2299-5_0_2_line_67 | NAYY 4x150 SE | 65 | 66 | 0.022544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_2299-5_0_2_line_68 | NAYY 4x150 SE | 67 | 68 | 0.051481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_2299-5_0_2_line_69 | NAYY 4x150 SE | 69 | 71 | 0.0037346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_2299-5_0_2_line_70 | NAYY 4x150 SE | 70 | 71 | 0.015642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2299-5_0_2_trafo_21 | 0.25 MVA 20/0.4 kV | 72 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2588738.383 | 1175700.7402 | 2588754.5897 | 1175698.7615
1 | 2588785.8541 | 1175694.9443 | 2588754.5897 | 1175698.7615
2 | 2588788.0383 | 1175694.6777 | 2588785.8541 | 1175694.9443
3 | 2588788.0383 | 1175694.6777 | 2588801.8242 | 1175692.9953 | 2588803.2074 | 1175692.826 | 2588812.1848 | 1175727.3933
4 | 2588711.1534 | 1175764.4583 | 2588712.0782 | 1175772.4828 | 2588715.1349 | 1175790.6862
5 | 2588711.1534 | 1175764.4583 | 2588717.6879 | 1175764.0901 | 2588731.1304 | 1175765.8265
6 | 2588711.1534 | 1175764.4583 | 2588706.4712 | 1175766.1791 | 2588699.2193 | 1175771.1621 | 2588695.1172 | 1175773.9116
7 | 2588715.1349 | 1175790.6862 | 2588716.3069 | 1175797.6653 | 2588717.3087 | 1175802.5456
8 | 2588731.1304 | 1175765.8265 | 2588735.3872 | 1175766.3763
9 | 2588695.1172 | 1175773.9116 | 2588674.6537 | 1175787.6282 | 2588668.4616 | 1175791.9908
10 | 2588609.3304 | 1175694.7611 | 2588608.8114 | 1175707.1351 | 2588605.7466 | 1175727.2734 | 2588605.6547 | 1175747.1503 | 2588605.6451 | 1175757.7763
11 | 2588609.3304 | 1175694.7611 | 2588477.3081 | 1175701.8186
12 | 2588605.6327 | 1175771.5739 | 2588605.6451 | 1175757.7763
13 | 2588477.3081 | 1175701.8186 | 2588474.2427 | 1175701.68 | 2588471.1001 | 1175701.1302 | 2588449.5352 | 1175692.0452
14 | 2588455.7982 | 1175721.1589 | 2588459.3617 | 1175721.9413 | 2588462.1846 | 1175723.2143 | 2588477.3039 | 1175735.1911 | 2588482.0184 | 1175738.328 | 2588485.1703 | 1175739.7671 | 2588487.388 | 1175740.3075 | 2588489.482 | 1175740.1145 | 2588491.2927 | 1175739.7108 | 2588493.0944 | 1175738.5845 | 2588494.2524 | 1175736.6035 | 2588494.8364 | 1175734.2345 | 2588494.57 | 1175730.8777 | 2588493.3485 | 1175727.6674 | 2588483.882 | 1175713.8675 | 2588479.0197 | 1175705.4838 | 2588477.3081 | 1175701.8186
15 | 2588812.1848 | 1175727.3933 | 2588826.065 | 1175726.4699
16 | 2588812.1848 | 1175727.3933 | 2588814.6565 | 1175742.9323
17 | 2588717.3087 | 1175802.5456 | 2588719.9791 | 1175815.5539
18 | 2588758.4208 | 1175768.5222 | 2588751.7864 | 1175768.4946 | 2588735.3872 | 1175766.3763
19 | 2588660.2879 | 1175797.7495 | 2588668.4616 | 1175791.9908
20 | 2588647.7717 | 1175811.8027 | 2588620.1917 | 1175790.5668 | 2588611.89 | 1175782.1228 | 2588605.6327 | 1175771.5739
21 | 2588605.6327 | 1175771.5739 | 2588600.1475 | 1175801.0437 | 2588586.7491 | 1175839.3828
22 | 2588455.7982 | 1175721.1589 | 2588436.2047 | 1175719.6183 | 2588430.1409 | 1175718.3628 | 2588424.7942 | 1175716.3833 | 2588374.2322 | 1175689.1902
23 | 2588829.5504 | 1175726.2381 | 2588826.065 | 1175726.4699
24 | 2588817.0036 | 1175757.6885 | 2588814.6565 | 1175742.9323
25 | 2588824.2156 | 1175755.8074 | 2588817.0036 | 1175757.6885
26 | 2588802.3059 | 1175762.174 | 2588817.0036 | 1175757.6885
27 | 2588631.0636 | 1175875.6812 | 2588634.3021 | 1175850.8927 | 2588635.242 | 1175846.0633
28 | 2588636.1085 | 1175841.6108 | 2588635.242 | 1175846.0633
29 | 2588647.7717 | 1175811.8027 | 2588640.9707 | 1175824.7111 | 2588636.9664 | 1175837.2029 | 2588636.1085 | 1175841.6108
30 | 2588647.7717 | 1175811.8027 | 2588649.6851 | 1175809.6544
31 | 2588726.8528 | 1175849.0381 | 2588719.9791 | 1175815.5539
32 | 2588726.8528 | 1175849.0381 | 2588706.258 | 1175851.1983
33 | 2588726.8528 | 1175849.0381 | 2588745.2218 | 1175845.3635
34 | 2588706.258 | 1175851.1983 | 2588689.5068 | 1175852.9553
35 | 2588745.2218 | 1175845.3635 | 2588746.7713 | 1175845.0535
36 | 2588660.2879 | 1175797.7495 | 2588660.2879 | 1175797.7495 | 2588649.6851 | 1175809.6544
37 | 2588681.5398 | 1175867.689 | 2588689.5068 | 1175852.9553
38 | 2588746.7713 | 1175845.0535 | 2588769.7549 | 1175840.4557
39 | 2588812.4284 | 1175851.1031 | 2588813.1226 | 1175880.7206
40 | 2588812.4284 | 1175851.1031 | 2588812.1816 | 1175840.5767
41 | 2588293.27 | 1175772.9735 | 2588374.2322 | 1175689.1902
42 | 2588758.4208 | 1175768.5222 | 2588771.9961 | 1175768.5787 | 2588774.5381 | 1175768.2979
43 | 2588774.5381 | 1175768.2979 | 2588786.638 | 1175766.9614 | 2588791.7758 | 1175765.3915
44 | 2588802.3059 | 1175762.174 | 2588791.7758 | 1175765.3915
45 | 2588802.3059 | 1175762.174 | 2588806.4347 | 1175775.0394
46 | 2588824.2156 | 1175755.8074 | 2588826.8144 | 1175768.0087
47 | 2588824.2156 | 1175755.8074 | 2588834.4988 | 1175753.1312 | 2588835.5325 | 1175758.1762
48 | 2588835.5325 | 1175758.1762 | 2588840.1704 | 1175757.2226 | 2588842.6861 | 1175757.7404 | 2588841.2487 | 1175763.3
49 | 2588847.1886 | 1175749.8279 | 2588834.4988 | 1175753.1312 | 2588835.5325 | 1175758.1762
50 | 2588847.1886 | 1175749.8279 | 2588855.05 | 1175747.7789
51 | 2588855.05 | 1175747.7789 | 2588864.1277 | 1175746.3056
52 | 2588855.05 | 1175747.7789 | 2588856.2789 | 1175755.058 | 2588854.8473 | 1175762.0198 | 2588854.4863 | 1175763.7769
53 | 2588806.1106 | 1175833.1828 | 2588807.6364 | 1175832.8776 | 2588810.895 | 1175834.2166 | 2588812.1005 | 1175837.1158 | 2588812.1816 | 1175840.5767
54 | 2588779.0571 | 1175838.5948 | 2588806.1106 | 1175833.1828
55 | 2588779.0571 | 1175838.5948 | 2588769.7549 | 1175840.4557
56 | 2588864.1277 | 1175746.3056 | 2588865.688 | 1175742.7231 | 2588867.2496 | 1175739.9076 | 2588868.7581 | 1175737.2479
57 | 2588901.076 | 1175741.8344 | 2588885.5399 | 1175743.5531 | 2588869.6371 | 1175745.4171 | 2588864.1277 | 1175746.3056
58 | 2588852.3624 | 1175794.263 | 2588855.5182 | 1175781.5062 | 2588854.0065 | 1175766.1123 | 2588854.4863 | 1175763.7769
59 | 2588901.076 | 1175741.8344 | 2588900.9754 | 1175728.8613 | 2588901.2038 | 1175716.0766 | 2588901.9757 | 1175703.7245 | 2588902.1472 | 1175701.4119 | 2588905.2892 | 1175701.6395 | 2588907.2435 | 1175700.3352 | 2588908.4622 | 1175698.0428 | 2588909.6031 | 1175695.0058 | 2588913.6365 | 1175673.1539 | 2588919.7865 | 1175655.0777 | 2588925.9345 | 1175644.0496
60 | 2588901.076 | 1175741.8344 | 2588901.7765 | 1175756.7851 | 2588904.7486 | 1175801.2465 | 2588905.1241 | 1175808.321
61 | 2588925.9345 | 1175644.0496 | 2588929.2865 | 1175650.3688 | 2588932.9785 | 1175691.5606 | 2588935.242 | 1175735.1875
62 | 2588905.1241 | 1175808.321 | 2588905.1262 | 1175808.3601
63 | 2588857.8209 | 1175881.7364 | 2588860.3637 | 1175867.0405 | 2588864.1506 | 1175864.7768 | 2588864.1506 | 1175864.7768
64 | 2588864.1506 | 1175864.7768 | 2588868.5622 | 1175865.4911 | 2588878.5727 | 1175868.1357
65 | 2588897.1014 | 1175873.0305 | 2588878.5727 | 1175868.1357
66 | 2588897.1014 | 1175873.0305 | 2588903.5279 | 1175835.2438 | 2588903.9476 | 1175830.8442
67 | 2588905.1262 | 1175808.3601 | 2588905.1922 | 1175809.6055 | 2588905.1697 | 1175818.0321 | 2588903.9476 | 1175830.8442
68 | 2588937.9095 | 1175786.5997 | 2588935.242 | 1175735.1875
69 | 2588291.4624 | 1175776.2415 | 2588293.27 | 1175772.9735
70 | 2588291.4624 | 1175776.2415 | 2588283.8915 | 1175789.9293 | 2588283.8915 | 1175789.9293

## bus_geodata
| x | y | coords
0 | 2588738.383 | 1175700.7402
1 | 2588754.5897 | 1175698.7615
2 | 2588785.8541 | 1175694.9443
3 | 2588788.0383 | 1175694.6777
4 | 2588711.1534 | 1175764.4583
5 | 2588715.1349 | 1175790.6862
6 | 2588731.1304 | 1175765.8265
7 | 2588695.1172 | 1175773.9116
8 | 2588609.3304 | 1175694.7611
9 | 2588605.6451 | 1175757.7763
10 | 2588477.3081 | 1175701.8186
11 | 2588812.1848 | 1175727.3933
12 | 2588717.3087 | 1175802.5456
13 | 2588735.3872 | 1175766.3763
14 | 2588668.4616 | 1175791.9908
15 | 2588605.6327 | 1175771.5739
16 | 2588449.5352 | 1175692.0452
17 | 2588455.7982 | 1175721.1589
18 | 2588826.065 | 1175726.4699
19 | 2588814.6565 | 1175742.9323
20 | 2588829.5504 | 1175726.2381
21 | 2588817.0036 | 1175757.6885
22 | 2588631.0636 | 1175875.6812
23 | 2588635.242 | 1175846.0633
24 | 2588636.1085 | 1175841.6108
25 | 2588647.7717 | 1175811.8027
26 | 2588726.8528 | 1175849.0381
27 | 2588719.9791 | 1175815.5539
28 | 2588706.258 | 1175851.1983
29 | 2588745.2218 | 1175845.3635
30 | 2588649.6851 | 1175809.6544
31 | 2588689.5068 | 1175852.9553
32 | 2588746.7713 | 1175845.0535
33 | 2588813.1226 | 1175880.7206
34 | 2588812.4284 | 1175851.1031
35 | 2588586.7491 | 1175839.3828
36 | 2588660.2879 | 1175797.7495
37 | 2588374.2322 | 1175689.1902
38 | 2588758.4208 | 1175768.5222
39 | 2588774.5381 | 1175768.2979
40 | 2588791.7758 | 1175765.3915
41 | 2588802.3059 | 1175762.174
42 | 2588806.4347 | 1175775.0394
43 | 2588824.2156 | 1175755.8074
44 | 2588826.8144 | 1175768.0087
45 | 2588835.5325 | 1175758.1762
46 | 2588847.1886 | 1175749.8279
47 | 2588855.05 | 1175747.7789
48 | 2588841.2487 | 1175763.3
49 | 2588812.1816 | 1175840.5767
50 | 2588806.1106 | 1175833.1828
51 | 2588779.0571 | 1175838.5948
52 | 2588769.7549 | 1175840.4557
53 | 2588681.5398 | 1175867.689
54 | 2588864.1277 | 1175746.3056
55 | 2588854.4863 | 1175763.7769
56 | 2588868.7581 | 1175737.2479
57 | 2588901.076 | 1175741.8344
58 | 2588852.3624 | 1175794.263
59 | 2588925.9345 | 1175644.0496
60 | 2588905.1241 | 1175808.321
61 | 2588857.8209 | 1175881.7364
62 | 2588864.1506 | 1175864.7768
63 | 2588878.5727 | 1175868.1357
64 | 2588897.1014 | 1175873.0305
65 | 2588903.9476 | 1175830.8442
66 | 2588905.1262 | 1175808.3601
67 | 2588935.242 | 1175735.1875
68 | 2588937.9094 | 1175786.5997
69 | 2588293.27 | 1175772.9735
70 | 2588283.8915 | 1175789.9293
71 | 2588291.4624 | 1175776.2415
72 | 2588802.3059 | 1175762.174

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99246 | -0.052827 | 0.00545 | 0.0013659
1 | 0.99259 | -0.051926 | 0.001268 | 0.0003178
2 | 0.99289 | -0.049782 | 0.0049033 | 0.0012289
3 | 0.99293 | -0.049523 | 0 | 0
4 | 0.99504 | -0.034601 | 0 | 0
5 | 0.99372 | -0.043903 | 0.0027191 | 0.00068147
6 | 0.99704 | -0.020592 | 0.0023808 | 0.00059669
7 | 0.99411 | -0.041129 | 0.0023432 | 0.00058726
8 | 0.98892 | -0.07779 | 0 | 0
9 | 0.9897 | -0.072276 | 0.0072636 | 0.0018204
10 | 0.9873 | -0.089329 | 0 | 0
11 | 0.99378 | -0.043525 | 0 | 0
12 | 0.99316 | -0.047807 | 0.0010108 | 0.00025332
13 | 0.99749 | -0.017505 | 0.0038398 | 0.00096235
14 | 0.99262 | -0.05162 | 0.0020486 | 0.00051342
15 | 0.99001 | -0.070054 | 0 | 0
16 | 0.98719 | -0.090067 | 0.0024373 | 0.00061085
17 | 0.98655 | -0.094657 | 0 | 0
18 | 0.99359 | -0.04481 | 0.0025293 | 0.0006339
19 | 0.99425 | -0.040224 | 0.0018747 | 0.00046984
20 | 0.99356 | -0.045043 | 0.006608 | 0.0016561
21 | 0.99473 | -0.036809 | 0 | 0
22 | 0.99104 | -0.062828 | 0.0010188 | 0.00025534
23 | 0.99108 | -0.062518 | 0.00447 | 0.0011203
24 | 0.99111 | -0.062265 | 0.0020859 | 0.00052277
25 | 0.99147 | -0.059786 | 0 | 0
26 | 0.9911 | -0.062314 | 0 | 0
27 | 0.99257 | -0.051975 | 0.0011828 | 0.00029644
28 | 0.99089 | -0.063799 | 0.0014271 | 0.00035766
29 | 0.99049 | -0.066647 | 0.0020116 | 0.00050415
30 | 0.99157 | -0.059063 | 0.002383 | 0.00059723
31 | 0.99076 | -0.064763 | 0.0021265 | 0.00053295
32 | 0.99044 | -0.06698 | 0.0040819 | 0.001023
33 | 0.98894 | -0.077642 | 0.0025507 | 0.00063927
34 | 0.98904 | -0.07687 | 0.0019384 | 0.00048582
35 | 0.98988 | -0.071019 | 0.0013391 | 0.0003356
36 | 0.99219 | -0.054675 | 0.0030213 | 0.0007572
37 | 0.98577 | -0.10019 | 0.0013583 | 0.00034043
38 | 1 | 0 | -0.14095 | -0.035262
39 | 0.99853 | -0.010257 | 0.0019421 | 0.00048673
40 | 0.99697 | -0.021104 | 0.00077742 | 0.00019484
41 | 0.99601 | -0.027841 | 0 | 0
42 | 0.99596 | -0.028221 | 0.0027953 | 0.00070057
43 | 0.99435 | -0.039467 | 0 | 0
44 | 0.99432 | -0.039701 | 0.0018561 | 0.00046519
45 | 0.99359 | -0.044818 | 0 | 0
46 | 0.99275 | -0.050755 | 0 | 0
47 | 0.99237 | -0.053392 | 0 | 0
48 | 0.99356 | -0.04501 | 0.0014502 | 0.00036346
49 | 0.98911 | -0.076387 | 0.0039071 | 0.00097921
50 | 0.98925 | -0.075387 | 0.0022813 | 0.00057174
51 | 0.98968 | -0.072382 | 0.0040832 | 0.0010233
52 | 0.98988 | -0.070954 | 0.0018856 | 0.00047259
53 | 0.99067 | -0.06536 | 0.0035008 | 0.00087739
54 | 0.99204 | -0.055759 | 0 | 0
55 | 0.99222 | -0.05449 | 0.004915 | 0.0012318
56 | 0.99202 | -0.055839 | 0.00077299 | 0.00019373
57 | 0.99072 | -0.065066 | 0 | 0
58 | 0.99214 | -0.055036 | 0.0017368 | 0.00043528
59 | 0.99004 | -0.069863 | 0 | 0
60 | 0.98877 | -0.078791 | 0.001937 | 0.00048545
61 | 0.98704 | -0.0911 | 0.0045609 | 0.0011431
62 | 0.98716 | -0.090197 | 0.0011898 | 0.0002982
63 | 0.98729 | -0.089324 | 0.005072 | 0.0012712
64 | 0.98759 | -0.0872 | 0 | 0
65 | 0.98825 | -0.082466 | 0.0050951 | 0.0012769
66 | 0.98877 | -0.078798 | 0.0023545 | 0.00059008
67 | 0.98945 | -0.074042 | 0.002123 | 0.00053207
68 | 0.98928 | -0.075259 | 0.0023164 | 0.00058056
69 | 0.98498 | -0.10584 | 0.00062943 | 0.00015775
70 | 0.98493 | -0.10615 | 0.00099994 | 0.00025061
71 | 0.98496 | -0.10599 | 0.0030745 | 0.00077055
72 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00545 | -0.0013659 | 0.0054507 | 0.001366 | 6.8026e-07 | 5.0632e-08 | 0.0081714 | 0.0081713 | 0.0081714 | 0.99246 | -0.052827 | 0.99259 | -0.051926 | 3.0264
1 | -0.0067187 | -0.0016838 | 0.0067207 | 0.0016841 | 1.9939e-06 | 3.5964e-07 | 0.010072 | 0.010072 | 0.010072 | 0.99259 | -0.051926 | 0.99289 | -0.049782 | 3.7305
2 | -0.011624 | -0.002913 | 0.011624 | 0.0029131 | 4.1667e-07 | 1.318e-07 | 0.01742 | 0.01742 | 0.01742 | 0.99289 | -0.049782 | 0.99293 | -0.049523 | 6.452
3 | -0.011624 | -0.0029131 | 0.011634 | 0.0029162 | 9.6568e-06 | 3.054e-06 | 0.01742 | 0.01742 | 0.01742 | 0.99293 | -0.049523 | 0.99378 | -0.043525 | 6.452
4 | 0.034866 | 0.0087558 | -0.03482 | -0.0087389 | 4.5024e-05 | 1.6973e-05 | 0.052145 | 0.052145 | 0.052145 | 0.99504 | -0.034601 | 0.99372 | -0.043903 | 19.3131
5 | -0.069514 | -0.017452 | 0.069649 | 0.017504 | 0.00013556 | 5.1876e-05 | 0.10396 | 0.10396 | 0.10396 | 0.99504 | -0.034601 | 0.99704 | -0.020592 | 38.5051
6 | 0.034648 | 0.0086966 | -0.034617 | -0.0086848 | 3.1376e-05 | 1.1825e-05 | 0.051819 | 0.051819 | 0.051819 | 0.99504 | -0.034601 | 0.99411 | -0.041129 | 19.1921
7 | 0.032101 | 0.0080574 | -0.032084 | -0.0080509 | 1.739e-05 | 6.5325e-06 | 0.048074 | 0.048074 | 0.048074 | 0.99372 | -0.043903 | 0.99316 | -0.047807 | 17.8051
8 | -0.07203 | -0.018101 | 0.072061 | 0.018113 | 3.0961e-05 | 1.1852e-05 | 0.10752 | 0.10752 | 0.10752 | 0.99704 | -0.020592 | 0.99749 | -0.017505 | 39.8211
9 | 0.032274 | 0.0080975 | -0.032227 | -0.0080799 | 4.6911e-05 | 1.7626e-05 | 0.048311 | 0.048312 | 0.048312 | 0.99411 | -0.041129 | 0.99262 | -0.05162 | 17.8932
10 | -0.0085263 | -0.0021344 | 0.0085328 | 0.0021361 | 6.4959e-06 | 1.6862e-06 | 0.012828 | 0.012828 | 0.012828 | 0.98892 | -0.07779 | 0.9897 | -0.072276 | 4.7513
11 | 0.0085263 | 0.0021344 | -0.0085127 | -0.0021309 | 1.3578e-05 | 3.5286e-06 | 0.012828 | 0.012829 | 0.012829 | 0.98892 | -0.07779 | 0.9873 | -0.089329 | 4.7515
12 | -0.015796 | -0.0039565 | 0.015801 | 0.0039582 | 4.856e-06 | 1.6903e-06 | 0.023749 | 0.023749 | 0.023749 | 0.9897 | -0.072276 | 0.99001 | -0.070054 | 8.7959
13 | 0.0024376 | 0.00061056 | -0.0024373 | -0.00061085 | 2.4916e-07 | -2.8247e-07 | 0.0036737 | 0.0036738 | 0.0036738 | 0.9873 | -0.089329 | 0.98719 | -0.090067 | 1.3607
14 | 0.0060751 | 0.0015203 | -0.0060707 | -0.0015197 | 4.4681e-06 | 6.2695e-07 | 0.0091554 | 0.0091558 | 0.0091558 | 0.9873 | -0.089329 | 0.98655 | -0.094657 | 3.391
15 | 0.0091391 | 0.0022905 | -0.0091375 | -0.00229 | 1.6255e-06 | 4.4499e-07 | 0.013684 | 0.013684 | 0.013684 | 0.99378 | -0.043525 | 0.99359 | -0.04481 | 5.0683
16 | -0.020773 | -0.0052067 | 0.020783 | 0.0052101 | 9.4991e-06 | 3.4495e-06 | 0.031105 | 0.031104 | 0.031105 | 0.99378 | -0.043525 | 0.99425 | -0.040224 | 11.5202
17 | 0.031073 | 0.0077975 | -0.031055 | -0.0077908 | 1.7963e-05 | 6.7371e-06 | 0.046559 | 0.046559 | 0.046559 | 0.99316 | -0.047807 | 0.99257 | -0.051975 | 17.2442
18 | -0.075901 | -0.019075 | 0.076086 | 0.019146 | 0.00018542 | 7.1011e-05 | 0.11325 | 0.11324 | 0.11325 | 0.99749 | -0.017505 | 1 | 0 | 41.9426
19 | 0.030178 | 0.0075665 | -0.030166 | -0.0075617 | 1.277e-05 | 4.7822e-06 | 0.045241 | 0.045241 | 0.045241 | 0.99262 | -0.05162 | 0.99219 | -0.054675 | 16.7558
20 | -0.01714 | -0.004293 | 0.017165 | 0.0043016 | 2.4363e-05 | 8.6129e-06 | 0.025762 | 0.025761 | 0.025762 | 0.99001 | -0.070054 | 0.99147 | -0.059786 | 9.5413
21 | 0.0013392 | 0.00033476 | -0.0013391 | -0.0003356 | 1.7845e-07 | -8.3891e-07 | 0.0020126 | 0.0020129 | 0.0020129 | 0.99001 | -0.070054 | 0.98988 | -0.071019 | 0.74553
22 | 0.0060707 | 0.0015197 | -0.006066 | -0.0015191 | 4.6423e-06 | 6.5324e-07 | 0.0091558 | 0.0091562 | 0.0091562 | 0.98655 | -0.094657 | 0.98577 | -0.10019 | 3.3912
23 | 0.0066082 | 0.0016562 | -0.006608 | -0.0016561 | 2.1348e-07 | 3.6868e-08 | 0.0098965 | 0.0098965 | 0.0098965 | 0.99359 | -0.04481 | 0.99356 | -0.045043 | 3.6654
24 | -0.022657 | -0.00568 | 0.022668 | 0.0056839 | 1.0721e-05 | 3.9297e-06 | 0.03391 | 0.03391 | 0.03391 | 0.99425 | -0.040224 | 0.99473 | -0.036809 | 12.5593
25 | 0.035562 | 0.0089291 | -0.035549 | -0.0089242 | 1.3129e-05 | 4.953e-06 | 0.053203 | 0.053203 | 0.053203 | 0.99473 | -0.036809 | 0.99435 | -0.039467 | 19.7047
26 | -0.05823 | -0.014613 | 0.058302 | 0.014641 | 7.2573e-05 | 2.7714e-05 | 0.087113 | 0.087113 | 0.087113 | 0.99473 | -0.036809 | 0.99601 | -0.027841 | 32.264
27 | -0.0010188 | -0.00025534 | 0.0010189 | 0.00025497 | 4.3685e-08 | -3.6873e-07 | 0.0015297 | 0.0015296 | 0.0015297 | 0.99104 | -0.062828 | 0.99108 | -0.062518 | 0.56657
28 | -0.0054888 | -0.0013753 | 0.005489 | 0.0013753 | 1.9222e-07 | 1.5477e-08 | 0.0082409 | 0.0082408 | 0.0082409 | 0.99108 | -0.062518 | 0.99111 | -0.062265 | 3.0522
29 | -0.0075749 | -0.001898 | 0.0075775 | 0.0018986 | 2.5985e-06 | 5.8434e-07 | 0.011372 | 0.011372 | 0.011372 | 0.99111 | -0.062265 | 0.99147 | -0.059786 | 4.212
30 | -0.024742 | -0.0062002 | 0.024745 | 0.0062011 | 2.4754e-06 | 9.1496e-07 | 0.037134 | 0.037134 | 0.037134 | 0.99147 | -0.059786 | 0.99157 | -0.059063 | 13.7532
31 | -0.02983 | -0.0074784 | 0.029872 | 0.0074944 | 4.2784e-05 | 1.6014e-05 | 0.044786 | 0.044786 | 0.044786 | 0.9911 | -0.062314 | 0.99257 | -0.051975 | 16.5875
32 | 0.0070569 | 0.0017683 | -0.0070554 | -0.001768 | 1.4505e-06 | 2.9108e-07 | 0.010595 | 0.010595 | 0.010595 | 0.9911 | -0.062314 | 0.99089 | -0.063799 | 3.9241
33 | 0.022773 | 0.0057101 | -0.022759 | -0.0057051 | 1.3665e-05 | 5.0147e-06 | 0.034191 | 0.034192 | 0.034192 | 0.9911 | -0.062314 | 0.99049 | -0.066647 | 12.6635
34 | 0.0056284 | 0.0014103 | -0.0056276 | -0.0014102 | 7.508e-07 | 7.1837e-08 | 0.008452 | 0.008452 | 0.008452 | 0.99089 | -0.063799 | 0.99076 | -0.064763 | 3.1304
35 | 0.020748 | 0.0052009 | -0.020747 | -0.0052006 | 9.5797e-07 | 3.4811e-07 | 0.031169 | 0.031169 | 0.031169 | 0.99049 | -0.066647 | 0.99044 | -0.06698 | 11.5443
36 | -0.027128 | -0.0067984 | 0.027144 | 0.0068045 | 1.6486e-05 | 6.1351e-06 | 0.04071 | 0.04071 | 0.04071 | 0.99157 | -0.059063 | 0.99219 | -0.054675 | 15.0776
37 | 0.0035011 | 0.00087729 | -0.0035008 | -0.00087739 | 2.8899e-07 | -1.0453e-07 | 0.0052583 | 0.0052583 | 0.0052583 | 0.99076 | -0.064763 | 0.99067 | -0.06536 | 1.9475
38 | 0.016665 | 0.0041776 | -0.016655 | -0.0041743 | 9.1683e-06 | 3.2248e-06 | 0.025037 | 0.025037 | 0.025037 | 0.99044 | -0.06698 | 0.98988 | -0.070954 | 9.273
39 | -0.0025507 | -0.00063927 | 0.002551 | 0.000639 | 2.723e-07 | -2.7543e-07 | 0.003838 | 0.0038378 | 0.003838 | 0.98894 | -0.077642 | 0.98904 | -0.07687 | 1.4215
40 | -0.0044894 | -0.0011248 | 0.0044897 | 0.0011248 | 2.9973e-07 | -1.9855e-08 | 0.0067542 | 0.0067542 | 0.0067542 | 0.98904 | -0.07687 | 0.98911 | -0.076387 | 2.5016
41 | 0.0047077 | 0.0011786 | -0.004704 | -0.0011787 | 3.6712e-06 | -7.2147e-08 | 0.0071058 | 0.0071063 | 0.0071063 | 0.98577 | -0.10019 | 0.98498 | -0.10584 | 2.632
42 | 0.06406 | 0.016115 | -0.063968 | -0.01608 | 9.1512e-05 | 3.4986e-05 | 0.095343 | 0.095343 | 0.095343 | 1 | 0 | 0.99853 | -0.010257 | 35.3123
43 | 0.062026 | 0.015594 | -0.061933 | -0.015558 | 9.3576e-05 | 3.5761e-05 | 0.092449 | 0.092449 | 0.092449 | 0.99853 | -0.010257 | 0.99697 | -0.021104 | 34.2405
44 | 0.061155 | 0.015363 | -0.061098 | -0.015341 | 5.7258e-05 | 2.1879e-05 | 0.091289 | 0.091289 | 0.091289 | 0.99697 | -0.021104 | 0.99601 | -0.027841 | 33.8107
45 | 0.0027954 | 0.00070045 | -0.0027953 | -0.00070057 | 1.4705e-07 | -1.1928e-07 | 0.0041763 | 0.0041763 | 0.0041763 | 0.99601 | -0.027841 | 0.99596 | -0.028221 | 1.5468
46 | 0.0018562 | 0.00046505 | -0.0018561 | -0.00046519 | 6.0065e-08 | -1.3873e-07 | 0.0027776 | 0.0027777 | 0.0027777 | 0.99435 | -0.039467 | 0.99432 | -0.039701 | 1.0288
47 | 0.033693 | 0.0084591 | -0.033667 | -0.0084497 | 2.503e-05 | 9.4225e-06 | 0.050425 | 0.050425 | 0.050425 | 0.99435 | -0.039467 | 0.99359 | -0.044818 | 18.676
48 | 0.0014503 | 0.00036331 | -0.0014502 | -0.00036346 | 3.8401e-08 | -1.5419e-07 | 0.0021719 | 0.002172 | 0.002172 | 0.99359 | -0.044818 | 0.99356 | -0.04501 | 0.80443
49 | 0.032217 | 0.0080864 | -0.032191 | -0.0080764 | 2.6534e-05 | 9.969e-06 | 0.048253 | 0.048253 | 0.048253 | 0.99359 | -0.044818 | 0.99275 | -0.050755 | 17.8716
50 | 0.032191 | 0.0080764 | -0.032179 | -0.008072 | 1.1771e-05 | 4.4228e-06 | 0.048253 | 0.048253 | 0.048253 | 0.99275 | -0.050755 | 0.99237 | -0.053392 | 17.8716
51 | 0.025526 | 0.0064051 | -0.025518 | -0.006402 | 8.3848e-06 | 3.1065e-06 | 0.038278 | 0.038278 | 0.038278 | 0.99237 | -0.053392 | 0.99204 | -0.055759 | 14.1769
52 | 0.006653 | 0.0016669 | -0.0066519 | -0.0016668 | 1.0112e-06 | 1.7856e-07 | 0.0099756 | 0.0099757 | 0.0099757 | 0.99237 | -0.053392 | 0.99222 | -0.05449 | 3.6947
53 | -0.0083968 | -0.002104 | 0.008398 | 0.0021043 | 1.1631e-06 | 2.9738e-07 | 0.012632 | 0.012632 | 0.012632 | 0.98911 | -0.076387 | 0.98925 | -0.075387 | 4.6785
54 | -0.010679 | -0.002676 | 0.010684 | 0.0026774 | 4.4422e-06 | 1.3542e-06 | 0.016063 | 0.016063 | 0.016063 | 0.98925 | -0.075387 | 0.98968 | -0.072382 | 5.9494
55 | -0.014767 | -0.0037007 | 0.01477 | 0.0037017 | 2.9181e-06 | 1.0004e-06 | 0.022203 | 0.022202 | 0.022203 | 0.98968 | -0.072382 | 0.98988 | -0.070954 | 8.2232
56 | 0.000773 | 0.0001936 | -0.00077299 | -0.00019373 | 8.5403e-09 | -1.2816e-07 | 0.0011594 | 0.0011595 | 0.0011595 | 0.99204 | -0.055759 | 0.99202 | -0.055839 | 0.42943
57 | 0.024745 | 0.0062084 | -0.024713 | -0.0061966 | 3.1911e-05 | 1.1795e-05 | 0.037118 | 0.037119 | 0.037119 | 0.99204 | -0.055759 | 0.99072 | -0.065066 | 13.7476
58 | 0.0017369 | 0.00043493 | -0.0017368 | -0.00043528 | 1.3122e-07 | -3.4981e-07 | 0.0026047 | 0.0026049 | 0.0026049 | 0.99222 | -0.05449 | 0.99214 | -0.055036 | 0.96476
59 | 0.0044453 | 0.0011117 | -0.0044424 | -0.0011119 | 2.9407e-06 | -2.2957e-07 | 0.0066759 | 0.0066763 | 0.0066763 | 0.99072 | -0.065066 | 0.99004 | -0.069863 | 2.4727
60 | 0.020267 | 0.0050849 | -0.020229 | -0.0050709 | 3.8522e-05 | 1.396e-05 | 0.030443 | 0.030443 | 0.030443 | 0.99072 | -0.065066 | 0.98877 | -0.078791 | 11.2752
61 | 0.0044424 | 0.0011119 | -0.0044398 | -0.0011121 | 2.5645e-06 | -1.9852e-07 | 0.0066763 | 0.0066768 | 0.0066768 | 0.99004 | -0.069863 | 0.98945 | -0.074042 | 2.4729
62 | 0.018292 | 0.0045855 | -0.018292 | -0.0045855 | 1.8529e-08 | 6.6233e-09 | 0.027528 | 0.027528 | 0.027528 | 0.98877 | -0.078791 | 0.98877 | -0.078798 | 10.1956
63 | -0.0045609 | -0.0011431 | 0.0045614 | 0.001143 | 5.7012e-07 | -2.7768e-08 | 0.0068758 | 0.0068757 | 0.0068758 | 0.98704 | -0.0911 | 0.98716 | -0.090197 | 2.5466
64 | -0.0057513 | -0.0014412 | 0.0057519 | 0.0014413 | 6.9514e-07 | 7.7832e-08 | 0.0086692 | 0.0086691 | 0.0086692 | 0.98716 | -0.090197 | 0.98729 | -0.089324 | 3.2108
65 | -0.010824 | -0.0027125 | 0.010827 | 0.0027134 | 3.1825e-06 | 9.789e-07 | 0.016313 | 0.016313 | 0.016313 | 0.98729 | -0.089324 | 0.98759 | -0.0872 | 6.042
66 | -0.010827 | -0.0027134 | 0.010834 | 0.0027156 | 7.0989e-06 | 2.183e-06 | 0.016313 | 0.016313 | 0.016313 | 0.98759 | -0.0872 | 0.98825 | -0.082466 | 6.042
67 | -0.015929 | -0.0039926 | 0.015937 | 0.0039954 | 8.0926e-06 | 2.8235e-06 | 0.023985 | 0.023985 | 0.023985 | 0.98825 | -0.082466 | 0.98877 | -0.078798 | 8.8833
68 | 0.0023168 | 0.00058005 | -0.0023164 | -0.00058056 | 3.8997e-07 | -5.1112e-07 | 0.003484 | 0.0034843 | 0.0034843 | 0.98945 | -0.074042 | 0.98928 | -0.075259 | 1.2905
69 | 0.0040746 | 0.001021 | -0.0040745 | -0.001021 | 8.8297e-08 | -1.3573e-08 | 0.0061554 | 0.0061555 | 0.0061555 | 0.98498 | -0.10584 | 0.98496 | -0.10599 | 2.2798
70 | -0.00099994 | -0.00025061 | 0.00099996 | 0.00025042 | 2.2274e-08 | -1.9051e-07 | 0.0015107 | 0.0015106 | 0.0015107 | 0.98493 | -0.10615 | 0.98496 | -0.10599 | 0.55951

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14446 | 0.036141

## res_load
| p_mw | q_mvar
0 | 0.00545 | 0.0013659
1 | 0.001268 | 0.0003178
2 | 0.0049033 | 0.0012289
3 | 0.0027191 | 0.00068147
4 | 0.0023808 | 0.00059669
5 | 0.0023432 | 0.00058726
6 | 0.0072636 | 0.0018204
7 | 0.0010108 | 0.00025332
8 | 0.0038398 | 0.00096235
9 | 0.0020486 | 0.00051342
10 | 0.0024373 | 0.00061085
11 | 0.0025293 | 0.0006339
12 | 0.0018747 | 0.00046984
13 | 0.006608 | 0.0016561
14 | 0.0010188 | 0.00025534
15 | 0.00447 | 0.0011203
16 | 0.0020859 | 0.00052277
17 | 0.0011828 | 0.00029644
18 | 0.0014271 | 0.00035766
19 | 0.0020116 | 0.00050415
20 | 0.002383 | 0.00059723
21 | 0.0021265 | 0.00053295
22 | 0.0040819 | 0.001023
23 | 0.0025507 | 0.00063927
24 | 0.0019384 | 0.00048582
25 | 0.0013391 | 0.0003356
26 | 0.0030213 | 0.0007572
27 | 0.0013583 | 0.00034043
28 | 0.0035091 | 0.00087947
29 | 0.0019421 | 0.00048673
30 | 0.00077742 | 0.00019484
31 | 0.0027953 | 0.00070057
32 | 0.0018561 | 0.00046519
33 | 0.0014502 | 0.00036346
34 | 0.0039071 | 0.00097921
35 | 0.0022813 | 0.00057174
36 | 0.0040832 | 0.0010233
37 | 0.0018856 | 0.00047259
38 | 0.0035008 | 0.00087739
39 | 0.004915 | 0.0012318
40 | 0.00077299 | 0.00019373
41 | 0.0017368 | 0.00043528
42 | 0.001937 | 0.00048545
43 | 0.0045609 | 0.0011431
44 | 0.0011898 | 0.0002982
45 | 0.005072 | 0.0012712
46 | 0.0050951 | 0.0012769
47 | 0.0023545 | 0.00059008
48 | 0.002123 | 0.00053207
49 | 0.0023164 | 0.00058056
50 | 0.00062943 | 0.00015775
51 | 0.00099994 | 0.00025061
52 | 0.0030745 | 0.00077055

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1