## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_2299-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_2299-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_2299-6_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_2299-6_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_2299-6_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_2299-6_0_4_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_2299-6_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_2299-6_0_4_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_2299-6_0_4_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_2299-6_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_2299-6_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_2299-6_0_4_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_2299-6_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_2299-6_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_2299-6_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_2299-6_0_4_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_2299-6_0_4_node_42 | 0.4 | n |  | TRUE
17 | bus_LV_2299-6_0_4_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_2299-6_0_4_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_2299-6_0_4_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_2299-6_0_4_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_2299-6_0_4_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_2299-6_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_2299-6_0_4_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_2299-6_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_2299-6_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_2299-6_0_4_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_2299-6_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_2299-6_0_4_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_2299-6_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_2299-6_0_4_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_2299-6_0_4_node_37 | 0.4 | n |  | TRUE
32 | bus_LV_2299-6_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_2299-6_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_2299-6_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_2299-6_0_4_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_2299-6_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_2299-6_0_4_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_2299-6_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_2299-6_0_4_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_2299-6_0_4_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_2299-6_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_2299-6_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_2299-6_0_4_node_38 | 0.4 | n |  | TRUE
44 | bus_MV_36_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_2299-6_0_4_load_0 | 0 | 0.037967 | 0.0095154 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_2299-6_0_4_load_1 | 1 | 0.081539 | 0.020436 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_2299-6_0_4_load_20 | 7 | 0.0011595 | 0.0002906 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_2299-6_0_4_load_14 | 8 | 0.0097393 | 0.0024409 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_2299-6_0_4_load_6 | 9 | 0.0017186 | 0.00043072 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_2299-6_0_4_load_12 | 11 | 0.002796 | 0.00070074 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_2299-6_0_4_load_42 | 16 | 0.0033134 | 0.00083041 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_2299-6_0_4_load_43 | 17 | 0.0021059 | 0.00052778 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_2299-6_0_4_load_24 | 18 | 0.002498 | 0.00062606 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_2299-6_0_4_load_21 | 19 | 0.0019596 | 0.00049113 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_2299-6_0_4_load_28 | 20 | 0.00352 | 0.0008822 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_2299-6_0_4_load_11 | 22 | 0.0022793 | 0.00057125 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_2299-6_0_4_load_13 | 23 | 0.0023444 | 0.00058757 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_2299-6_0_4_load_15 | 24 | 0.0035563 | 0.00089129 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_2299-6_0_4_load_17 | 25 | 0.0027928 | 0.00069995 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_2299-6_0_4_load_16 | 26 | 0.0020486 | 0.00051342 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_2299-6_0_4_load_19 | 27 | 0.0032783 | 0.00082161 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_2299-6_0_4_load_41 | 28 | 0.001838 | 0.00046063 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_2299-6_0_4_load_22 | 29 | 0.0023721 | 0.00059452 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_2299-6_0_4_load_36 | 30 | 0.0009345 | 0.00023421 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_2299-6_0_4_load_37 | 31 | 0.0015712 | 0.00039378 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_2299-6_0_4_load_25 | 32 | 0.0049052 | 0.0012294 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_2299-6_0_4_load_26 | 33 | 0.0043592 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_2299-6_0_4_load_33 | 35 | 0.00060657 | 0.00015202 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_2299-6_0_4_load_30 | 36 | 0.0033698 | 0.00084455 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_2299-6_0_4_load_40 | 37 | 0.0023926 | 0.00059963 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_2299-6_0_4_load_31 | 38 | 0.00064919 | 0.0001627 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_2299-6_0_4_load_32 | 39 | 0.0014548 | 0.0003646 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_2299-6_0_4_load_39 | 42 | 0.001759 | 0.00044084 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_2299-6_0_4_load_38 | 43 | 0.0021846 | 0.00054751 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_2299-6_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_2299-6_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_2299-6_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.030548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_2299-6_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.041701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_2299-6_0_4_line_4 | NAYY 4x150 SE | 4 | 8 | 0.046213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_2299-6_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.035716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_2299-6_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.079615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_2299-6_0_4_line_7 | NAYY 4x150 SE | 6 | 9 | 0.029987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_2299-6_0_4_line_8 | NAYY 4x150 SE | 7 | 10 | 0.017197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_2299-6_0_4_line_9 | NAYY 4x150 SE | 8 | 11 | 0.009493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_2299-6_0_4_line_10 | NAYY 4x150 SE | 9 | 12 | 0.026753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_2299-6_0_4_line_11 | NAYY 4x150 SE | 10 | 27 | 0.025339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_2299-6_0_4_line_12 | NAYY 4x150 SE | 10 | 26 | 0.024147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_2299-6_0_4_line_13 | NAYY 4x150 SE | 11 | 22 | 0.020921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_2299-6_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.094999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_2299-6_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.03831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_2299-6_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.065261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_2299-6_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.009422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_2299-6_0_4_line_18 | NAYY 4x150 SE | 14 | 17 | 0.019564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_2299-6_0_4_line_19 | NAYY 4x150 SE | 15 | 18 | 0.027513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_2299-6_0_4_line_20 | NAYY 4x150 SE | 15 | 19 | 0.028431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_2299-6_0_4_line_21 | NAYY 4x150 SE | 18 | 30 | 0.013541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_2299-6_0_4_line_22 | NAYY 4x150 SE | 19 | 29 | 0.021385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_2299-6_0_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.028075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_2299-6_0_4_line_24 | NAYY 4x150 SE | 21 | 34 | 0.045851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_2299-6_0_4_line_25 | NAYY 4x150 SE | 21 | 32 | 0.031937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_2299-6_0_4_line_26 | NAYY 4x150 SE | 22 | 23 | 0.019437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_2299-6_0_4_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0073837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_2299-6_0_4_line_28 | NAYY 4x150 SE | 24 | 25 | 0.0084844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_2299-6_0_4_line_29 | NAYY 4x150 SE | 25 | 26 | 0.033815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_2299-6_0_4_line_30 | NAYY 4x150 SE | 27 | 28 | 0.002701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_2299-6_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.012677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_2299-6_0_4_line_32 | NAYY 4x150 SE | 31 | 43 | 0.021993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_2299-6_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.022578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_2299-6_0_4_line_34 | NAYY 4x150 SE | 34 | 35 | 0.02412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_2299-6_0_4_line_35 | NAYY 4x150 SE | 34 | 36 | 0.014555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_2299-6_0_4_line_36 | NAYY 4x150 SE | 35 | 37 | 0.0098295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_2299-6_0_4_line_37 | NAYY 4x150 SE | 36 | 38 | 0.012426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_2299-6_0_4_line_38 | NAYY 4x150 SE | 38 | 39 | 0.01163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_2299-6_0_4_line_39 | NAYY 4x150 SE | 39 | 40 | 0.0020645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_2299-6_0_4_line_40 | NAYY 4x150 SE | 40 | 41 | 0.08162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_2299-6_0_4_line_41 | NAYY 4x150 SE | 41 | 42 | 0.047732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_2299-6_0_4_line_42 | NAYY 4x150 SE | 42 | 43 | 0.027848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_2299-6_0_4_trafo_16 | 0.25 MVA 20/0.4 kV | 44 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2588741.0248 | 1175663.0004 | 2588755.1116 | 1175660.889
1 | 2588718.0762 | 1175666.4399 | 2588741.0248 | 1175663.0004
2 | 2588714.7471 | 1175636.0752 | 2588715.2208 | 1175639.9652 | 2588716.2303 | 1175648.3119 | 2588718.0762 | 1175666.4399
3 | 2588707.3849 | 1175595.0461 | 2588711.1647 | 1175613.1815 | 2588712.5475 | 1175620.8494 | 2588714.7471 | 1175636.0752
4 | 2588707.3849 | 1175595.0461 | 2588752.7701 | 1175586.3396
5 | 2588803.2074 | 1175692.826 | 2588812.1848 | 1175727.3933
6 | 2588803.2074 | 1175692.826 | 2588834.6237 | 1175689.2874 | 2588843.7963 | 1175685.346 | 2588846.851 | 1175679.8042 | 2588843.1949 | 1175648.3274
7 | 2588812.1848 | 1175727.3933 | 2588842.1057 | 1175725.4028
8 | 2588841.2107 | 1175631.2457 | 2588843.1949 | 1175648.3274
9 | 2588752.7701 | 1175586.3396 | 2588762.0931 | 1175584.5512
10 | 2588847.1886 | 1175749.8279 | 2588846.1475 | 1175728.608 | 2588845.196 | 1175726.6533 | 2588842.1057 | 1175725.4028
11 | 2588841.2107 | 1175631.2457 | 2588859.7121 | 1175624.9856 | 2588865.5187 | 1175625.0355
12 | 2588841.2107 | 1175631.2457 | 2588837.5465 | 1175625.5941 | 2588825.84 | 1175619.4129 | 2588823.208 | 1175616.1747
13 | 2588782.6391 | 1175580.6097 | 2588762.0931 | 1175584.5512
14 | 2588847.1886 | 1175749.8279 | 2588855.05 | 1175747.7789 | 2588864.1277 | 1175746.3056 | 2588869.6371 | 1175745.4171 | 2588885.5399 | 1175743.5531 | 2588901.076 | 1175741.8344 | 2588900.9754 | 1175728.8613 | 2588901.2038 | 1175716.0766 | 2588901.9757 | 1175703.7245 | 2588902.1472 | 1175701.4119
15 | 2588847.1886 | 1175749.8279 | 2588855.05 | 1175747.7789 | 2588854.6656 | 1175742.5214 | 2588856.5237 | 1175734.7362 | 2588862.2436 | 1175732.013 | 2588864.5016 | 1175729.5853 | 2588869.1614 | 1175724.0182
16 | 2588925.9345 | 1175644.0496 | 2588919.7865 | 1175655.0777 | 2588913.6365 | 1175673.1539 | 2588909.6031 | 1175695.0058 | 2588908.4622 | 1175698.0428 | 2588907.2435 | 1175700.3352 | 2588905.2892 | 1175701.6395 | 2588902.1472 | 1175701.4119
17 | 2588869.1614 | 1175724.0182 | 2588866.9888 | 1175714.8509
18 | 2588883.7709 | 1175713.1298 | 2588878.0692 | 1175713.3628 | 2588869.1614 | 1175724.0182
19 | 2588925.9345 | 1175644.0496 | 2588931.1019 | 1175623.6741 | 2588933.072 | 1175617.488
20 | 2588925.9345 | 1175644.0496 | 2588929.2865 | 1175650.3688 | 2588931.1861 | 1175671.562
21 | 2588933.072 | 1175617.488 | 2588935.654 | 1175609.3806 | 2588937.6196 | 1175604.7483
22 | 2588931.1861 | 1175671.562 | 2588932.9785 | 1175691.5606 | 2588933.0462 | 1175692.8655
23 | 2588920.4513 | 1175548.1445 | 2588918.3449 | 1175576.1404
24 | 2588920.4513 | 1175548.1445 | 2588920.6537 | 1175546.0097 | 2588921.034 | 1175540.8842 | 2588921.5434 | 1175535.3026 | 2588922.0217 | 1175525.3189 | 2588921.7881 | 1175518.9161 | 2588921.1901 | 1175513.8924 | 2588920.0102 | 1175508.3029 | 2588918.4252 | 1175502.7364
25 | 2588920.4513 | 1175548.1445 | 2588904.5803 | 1175546.8623 | 2588889.7019 | 1175544.9335 | 2588888.9524 | 1175544.2551
26 | 2588801.7283 | 1175576.9478 | 2588782.6391 | 1175580.6097
27 | 2588801.7283 | 1175576.9478 | 2588801.7283 | 1175576.9478 | 2588806.0009 | 1175576.8286 | 2588809.0292 | 1175577.5343
28 | 2588813.5305 | 1175584.4173 | 2588812.3525 | 1175580.7186 | 2588809.0292 | 1175577.5343 | 2588809.0292 | 1175577.5343
29 | 2588823.208 | 1175616.1747 | 2588819.0826 | 1175611.0991 | 2588814.5747 | 1175587.6957 | 2588813.5305 | 1175584.4173
30 | 2588868.2197 | 1175625.0587 | 2588865.5187 | 1175625.0355
31 | 2588942.5713 | 1175593.0789 | 2588937.6196 | 1175604.7483
32 | 2588942.5713 | 1175593.0789 | 2588951.1619 | 1175572.8335
33 | 2588872.2138 | 1175529.1025 | 2588888.9524 | 1175544.2551
34 | 2588918.4252 | 1175502.7364 | 2588923.057 | 1175502.5054 | 2588927.1162 | 1175502.6535 | 2588931.2388 | 1175504.0688 | 2588936.2844 | 1175508.495 | 2588938.4581 | 1175512.2628
35 | 2588918.4252 | 1175502.7364 | 2588917.1805 | 1175499.2925 | 2588915.7063 | 1175495.7712 | 2588913.7652 | 1175491.9062 | 2588912.405 | 1175489.5156
36 | 2588943.3701 | 1175520.7769 | 2588938.4581 | 1175512.2628
37 | 2588912.405 | 1175489.5156 | 2588910.1762 | 1175485.5986 | 2588906.0359 | 1175478.8695 | 2588906.0263 | 1175478.8532
38 | 2588900.3274 | 1175468.7206 | 2588902.4243 | 1175472.7732 | 2588906.0263 | 1175478.8532
39 | 2588899.3787 | 1175466.887 | 2588900.3274 | 1175468.7206
40 | 2588970.7901 | 1175500.9716 | 2588946.2622 | 1175489.2778 | 2588930.6042 | 1175479.2907 | 2588916.7709 | 1175468.1552 | 2588912.2271 | 1175466.3628 | 2588907.1869 | 1175464.8158 | 2588903.5951 | 1175465.2672 | 2588899.3787 | 1175466.887
41 | 2588970.7901 | 1175500.9716 | 2588970.9836 | 1175518.7358 | 2588967.7322 | 1175533.7828 | 2588962.0398 | 1175547.198
42 | 2588951.1619 | 1175572.8335 | 2588962.0398 | 1175547.198

## bus_geodata
| x | y | coords
0 | 2588741.0248 | 1175663.0004
1 | 2588755.1116 | 1175660.889
2 | 2588718.0762 | 1175666.4399
3 | 2588714.7471 | 1175636.0752
4 | 2588707.3849 | 1175595.0461
5 | 2588803.2074 | 1175692.826
6 | 2588812.1848 | 1175727.3933
7 | 2588843.1949 | 1175648.3274
8 | 2588752.7701 | 1175586.3396
9 | 2588842.1057 | 1175725.4029
10 | 2588841.2107 | 1175631.2457
11 | 2588762.0931 | 1175584.5512
12 | 2588847.1886 | 1175749.8279
13 | 2588902.1472 | 1175701.4119
14 | 2588869.1614 | 1175724.0182
15 | 2588925.9345 | 1175644.0496
16 | 2588866.9888 | 1175714.8509
17 | 2588883.7709 | 1175713.1298
18 | 2588933.072 | 1175617.488
19 | 2588931.1861 | 1175671.562
20 | 2588918.3449 | 1175576.1404
21 | 2588920.4513 | 1175548.1445
22 | 2588782.6391 | 1175580.6097
23 | 2588801.7283 | 1175576.9478
24 | 2588809.0292 | 1175577.5343
25 | 2588813.5305 | 1175584.4173
26 | 2588823.208 | 1175616.1747
27 | 2588865.5187 | 1175625.0355
28 | 2588868.2197 | 1175625.0587
29 | 2588933.0462 | 1175692.8655
30 | 2588937.6196 | 1175604.7483
31 | 2588942.5713 | 1175593.0789
32 | 2588888.9524 | 1175544.2551
33 | 2588872.2138 | 1175529.1025
34 | 2588918.4252 | 1175502.7364
35 | 2588938.4581 | 1175512.2628
36 | 2588912.405 | 1175489.5156
37 | 2588943.3701 | 1175520.7769
38 | 2588906.0263 | 1175478.8532
39 | 2588900.3274 | 1175468.7206
40 | 2588899.3787 | 1175466.887
41 | 2588970.7901 | 1175500.9716
42 | 2588962.0398 | 1175547.198
43 | 2588951.1619 | 1175572.8335
44 | 2588841.2107 | 1175631.2457

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97771 | -0.15603 | 0.037967 | 0.0095154
1 | 0.97601 | -0.16818 | 0.081539 | 0.020436
2 | 0.97973 | -0.14158 | 0 | 0
3 | 0.9824 | -0.12265 | 0 | 0
4 | 0.98604 | -0.096977 | 0 | 0
5 | 0.99621 | -0.026163 | 0 | 0
6 | 0.99404 | -0.041191 | 0 | 0
7 | 0.99862 | -0.0094866 | 0.0011595 | 0.0002906
8 | 0.99007 | -0.068742 | 0.0097393 | 0.0024409
9 | 0.99222 | -0.053858 | 0.0017186 | 0.00043072
10 | 0.99916 | -0.0057947 | 0 | 0
11 | 0.99096 | -0.0625 | 0.002796 | 0.00070074
12 | 0.99066 | -0.06473 | 0 | 0
13 | 0.98587 | -0.098311 | 0 | 0
14 | 0.99036 | -0.066843 | 0 | 0
15 | 0.98257 | -0.12157 | 0 | 0
16 | 0.99031 | -0.067161 | 0.0033134 | 0.00083041
17 | 0.9903 | -0.067263 | 0.0021059 | 0.00052778
18 | 0.98136 | -0.13018 | 0.002498 | 0.00062606
19 | 0.98239 | -0.12284 | 0.0019596 | 0.00049113
20 | 0.97244 | -0.1939 | 0.00352 | 0.0008822
21 | 0.97259 | -0.19286 | 0 | 0
22 | 0.99297 | -0.048488 | 0.0022793 | 0.00057125
23 | 0.99488 | -0.035296 | 0.0023444 | 0.00058757
24 | 0.99561 | -0.030211 | 0.0035563 | 0.00089129
25 | 0.99648 | -0.024225 | 0.0027928 | 0.00069995
26 | 1 | 0 | -0.19561 | -0.049321
27 | 0.99897 | -0.0070913 | 0.0032783 | 0.00082161
28 | 0.99897 | -0.0071409 | 0.001838 | 0.00046063
29 | 0.98232 | -0.12336 | 0.0023721 | 0.00059452
30 | 0.98081 | -0.13407 | 0.0009345 | 0.00023421
31 | 0.98031 | -0.1376 | 0.0015712 | 0.00039378
32 | 0.97215 | -0.19598 | 0.0049052 | 0.0012294
33 | 0.97201 | -0.19702 | 0.0043592 | 0.0010925
34 | 0.97345 | -0.18668 | 0 | 0
35 | 0.97334 | -0.18744 | 0.00060657 | 0.00015202
36 | 0.97378 | -0.18425 | 0.0033698 | 0.00084455
37 | 0.97331 | -0.18769 | 0.0023926 | 0.00059963
38 | 0.97413 | -0.18175 | 0.00064919 | 0.0001627
39 | 0.97447 | -0.17932 | 0.0014548 | 0.0003646
40 | 0.97453 | -0.17886 | 0 | 0
41 | 0.97708 | -0.16066 | 0 | 0
42 | 0.97856 | -0.15005 | 0.001759 | 0.00044084
43 | 0.9795 | -0.14337 | 0.0021846 | 0.00054751
44 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.081676 | 0.020488 | -0.081539 | -0.020436 | 0.00013736 | 5.2652e-05 | 0.12431 | 0.12431 | 0.12431 | 0.97771 | -0.15603 | 0.97601 | -0.16818 | 46.0417
1 | -0.11964 | -0.030004 | 0.11988 | 0.030095 | 0.00024007 | 9.1751e-05 | 0.1821 | 0.1821 | 0.1821 | 0.97771 | -0.15603 | 0.97973 | -0.14158 | 33.7215
2 | -0.11988 | -0.030095 | 0.1202 | 0.030216 | 0.00031603 | 0.00012078 | 0.1821 | 0.1821 | 0.1821 | 0.97973 | -0.14158 | 0.9824 | -0.12265 | 33.7214
3 | -0.1202 | -0.030216 | 0.12063 | 0.030381 | 0.00043141 | 0.00016487 | 0.1821 | 0.18209 | 0.1821 | 0.9824 | -0.12265 | 0.98604 | -0.096977 | 33.7214
4 | -0.12063 | -0.030381 | 0.12111 | 0.030564 | 0.00047809 | 0.0001827 | 0.18209 | 0.18209 | 0.18209 | 0.98604 | -0.096977 | 0.99007 | -0.068742 | 33.7213
5 | 0.042409 | 0.010717 | -0.04232 | -0.010683 | 8.9519e-05 | 3.3966e-05 | 0.063377 | 0.063377 | 0.063377 | 0.99621 | -0.026163 | 0.99404 | -0.041191 | 23.4731
6 | -0.042409 | -0.010717 | 0.042509 | 0.010753 | 9.9772e-05 | 3.6296e-05 | 0.063377 | 0.063376 | 0.063377 | 0.99621 | -0.026163 | 0.99862 | -0.0094866 | 11.7365
7 | 0.04232 | 0.010683 | -0.042244 | -0.010655 | 7.516e-05 | 2.852e-05 | 0.063377 | 0.063377 | 0.063377 | 0.99404 | -0.041191 | 0.99222 | -0.053858 | 23.4731
8 | -0.043668 | -0.011044 | 0.043691 | 0.011052 | 2.2741e-05 | 8.2964e-06 | 0.065104 | 0.065104 | 0.065104 | 0.99862 | -0.0094866 | 0.99916 | -0.0057947 | 12.0563
9 | -0.13085 | -0.033005 | 0.13096 | 0.033048 | 0.00011463 | 4.3845e-05 | 0.19673 | 0.19673 | 0.19673 | 0.99007 | -0.068742 | 0.99096 | -0.0625 | 36.4319
10 | 0.040526 | 0.010224 | -0.040464 | -0.0102 | 6.1712e-05 | 2.339e-05 | 0.0608 | 0.0608 | 0.0608 | 0.99222 | -0.053858 | 0.99066 | -0.06473 | 22.5186
11 | 0.0051172 | 0.0012822 | -0.0051162 | -0.0012822 | 9.1827e-07 | 2.1376e-08 | 0.0076207 | 0.0076209 | 0.0076209 | 0.99916 | -0.0057947 | 0.99897 | -0.0070913 | 2.8225
12 | -0.048808 | -0.012334 | 0.048848 | 0.012349 | 3.9845e-05 | 1.4692e-05 | 0.072725 | 0.072725 | 0.072725 | 0.99916 | -0.0057947 | 1 | 0 | 13.4675
13 | -0.13376 | -0.033749 | 0.13402 | 0.03385 | 0.00026352 | 0.00010082 | 0.20093 | 0.20093 | 0.20093 | 0.99096 | -0.0625 | 0.99297 | -0.048488 | 37.2093
14 | 0.035043 | 0.0088424 | -0.034879 | -0.0087804 | 0.00016437 | 6.2003e-05 | 0.052658 | 0.052658 | 0.052658 | 0.99066 | -0.06473 | 0.98587 | -0.098311 | 19.503
15 | 0.0054211 | 0.001358 | -0.0054195 | -0.0013579 | 1.585e-06 | 1.1651e-07 | 0.0081425 | 0.0081427 | 0.0081427 | 0.99066 | -0.06473 | 0.99036 | -0.066843 | 3.0158
16 | 0.034879 | 0.0087804 | -0.034766 | -0.0087378 | 0.00011292 | 4.2601e-05 | 0.052658 | 0.052658 | 0.052658 | 0.98587 | -0.098311 | 0.98257 | -0.12157 | 19.5031
17 | 0.0033135 | 0.00083035 | -0.0033134 | -0.00083041 | 1.4573e-07 | -6.5184e-08 | 0.0049785 | 0.0049786 | 0.0049786 | 0.99036 | -0.066843 | 0.99031 | -0.067161 | 1.8439
18 | 0.002106 | 0.00052757 | -0.0021059 | -0.00052778 | 1.2223e-07 | -2.0471e-07 | 0.0031642 | 0.0031643 | 0.0031643 | 0.99036 | -0.066843 | 0.9903 | -0.067263 | 1.1719
19 | 0.030433 | 0.0076524 | -0.030397 | -0.0076387 | 3.6481e-05 | 1.3683e-05 | 0.046097 | 0.046097 | 0.046097 | 0.98257 | -0.12157 | 0.98136 | -0.13018 | 17.073
20 | 0.0043327 | 0.0010854 | -0.0043319 | -0.0010854 | 7.6378e-07 | -6.6285e-08 | 0.0065613 | 0.0065614 | 0.0065614 | 0.98257 | -0.12157 | 0.98239 | -0.12284 | 2.4302
21 | 0.027899 | 0.0070127 | -0.027883 | -0.007007 | 1.5125e-05 | 5.6464e-06 | 0.04231 | 0.04231 | 0.04231 | 0.98136 | -0.13018 | 0.98081 | -0.13407 | 15.6702
22 | 0.0023723 | 0.00059431 | -0.0023721 | -0.00059452 | 1.723e-07 | -2.0448e-07 | 0.0035932 | 0.0035933 | 0.0035933 | 0.98239 | -0.12284 | 0.98232 | -0.12336 | 1.3309
23 | -0.00352 | -0.0008822 | 0.0035205 | 0.00088205 | 5.0824e-07 | -1.5288e-07 | 0.0053863 | 0.0053861 | 0.0053863 | 0.97244 | -0.1939 | 0.97259 | -0.19286 | 1.9949
24 | -0.01279 | -0.003205 | 0.012801 | 0.0032087 | 1.0954e-05 | 3.6438e-06 | 0.019567 | 0.019567 | 0.019567 | 0.97259 | -0.19286 | 0.97345 | -0.18668 | 7.2472
25 | 0.0092691 | 0.002323 | -0.0092651 | -0.0023218 | 4.0078e-06 | 1.1453e-06 | 0.014181 | 0.014181 | 0.014181 | 0.97259 | -0.19286 | 0.97215 | -0.19598 | 5.2524
26 | -0.1363 | -0.034421 | 0.13655 | 0.034518 | 0.00025323 | 9.6893e-05 | 0.20435 | 0.20435 | 0.20435 | 0.99297 | -0.048488 | 0.99488 | -0.035296 | 37.8418
27 | -0.1389 | -0.035106 | 0.139 | 0.035144 | 9.9527e-05 | 3.8088e-05 | 0.20785 | 0.20785 | 0.20785 | 0.99488 | -0.035296 | 0.99561 | -0.030211 | 38.4912
28 | -0.14255 | -0.036035 | 0.14268 | 0.036081 | 0.00012029 | 4.6043e-05 | 0.21317 | 0.21317 | 0.21317 | 0.99561 | -0.030211 | 0.99648 | -0.024225 | 39.4754
29 | -0.14547 | -0.036781 | 0.14597 | 0.036972 | 0.00049835 | 0.00019079 | 0.21734 | 0.21734 | 0.21734 | 0.99648 | -0.024225 | 1 | 0 | 40.2477
30 | 0.001838 | 0.0004606 | -0.001838 | -0.00046063 | 1.2633e-08 | -3.0504e-08 | 0.0027377 | 0.0027377 | 0.0027377 | 0.99897 | -0.0070913 | 0.99897 | -0.0071409 | 1.014
31 | 0.026949 | 0.0067728 | -0.026936 | -0.0067679 | 1.3227e-05 | 4.9274e-06 | 0.040892 | 0.040892 | 0.040892 | 0.98081 | -0.13407 | 0.98031 | -0.1376 | 15.1451
32 | 0.025365 | 0.0063741 | -0.025344 | -0.0063666 | 2.0349e-05 | 7.5495e-06 | 0.038507 | 0.038507 | 0.038507 | 0.98031 | -0.1376 | 0.9795 | -0.14337 | 14.2619
33 | 0.0043599 | 0.0010925 | -0.0043592 | -0.0010925 | 6.2743e-07 | -3.8585e-08 | 0.0066733 | 0.0066734 | 0.0066734 | 0.97215 | -0.19598 | 0.97201 | -0.19702 | 2.4716
34 | 0.0029995 | 0.00075138 | -0.0029992 | -0.00075156 | 3.164e-07 | -1.7813e-07 | 0.0045849 | 0.0045851 | 0.0045851 | 0.97345 | -0.18668 | 0.97334 | -0.18744 | 1.6982
35 | -0.0158 | -0.0039601 | 0.015805 | 0.0039619 | 5.2979e-06 | 1.8566e-06 | 0.024152 | 0.024152 | 0.024152 | 0.97345 | -0.18668 | 0.97378 | -0.18425 | 8.9452
36 | 0.0023926 | 0.00059954 | -0.0023926 | -0.00059963 | 8.2063e-08 | -9.0605e-08 | 0.0036577 | 0.0036578 | 0.0036578 | 0.97334 | -0.18744 | 0.97331 | -0.18769 | 1.3547
37 | -0.019175 | -0.0048065 | 0.019182 | 0.0048089 | 6.6574e-06 | 2.4059e-06 | 0.029301 | 0.029301 | 0.029301 | 0.97378 | -0.18425 | 0.97413 | -0.18175 | 10.8524
38 | -0.019831 | -0.0049716 | 0.019838 | 0.004974 | 6.6595e-06 | 2.4165e-06 | 0.030293 | 0.030293 | 0.030293 | 0.97413 | -0.18175 | 0.97447 | -0.17932 | 11.2196
39 | -0.021292 | -0.0053386 | 0.021294 | 0.0053391 | 1.3619e-06 | 4.9809e-07 | 0.032514 | 0.032514 | 0.032514 | 0.97447 | -0.17932 | 0.97453 | -0.17886 | 12.0424
40 | -0.021294 | -0.0053391 | 0.021348 | 0.0053588 | 5.3843e-05 | 1.9689e-05 | 0.032514 | 0.032514 | 0.032514 | 0.97453 | -0.17886 | 0.97708 | -0.16066 | 12.0424
41 | -0.021348 | -0.0053588 | 0.021379 | 0.0053703 | 3.1487e-05 | 1.1512e-05 | 0.032514 | 0.032514 | 0.032514 | 0.97708 | -0.16066 | 0.97856 | -0.15005 | 12.0422
42 | -0.023138 | -0.0058111 | 0.02316 | 0.0058191 | 2.1517e-05 | 7.9255e-06 | 0.035189 | 0.035188 | 0.035189 | 0.97856 | -0.15005 | 0.9795 | -0.14337 | 13.0328

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19766 | 0.049834

## res_load
| p_mw | q_mvar
0 | 0.037967 | 0.0095154
1 | 0.081539 | 0.020436
2 | 0.0011595 | 0.0002906
3 | 0.0097393 | 0.0024409
4 | 0.0017186 | 0.00043072
5 | 0.002796 | 0.00070074
6 | 0.0033134 | 0.00083041
7 | 0.0021059 | 0.00052778
8 | 0.002498 | 0.00062606
9 | 0.0019596 | 0.00049113
10 | 0.00352 | 0.0008822
11 | 0.0022793 | 0.00057125
12 | 0.0023444 | 0.00058757
13 | 0.0035563 | 0.00089129
14 | 0.0027928 | 0.00069995
15 | 0.0020486 | 0.00051342
16 | 0.0032783 | 0.00082161
17 | 0.001838 | 0.00046063
18 | 0.0023721 | 0.00059452
19 | 0.0009345 | 0.00023421
20 | 0.0015712 | 0.00039378
21 | 0.0049052 | 0.0012294
22 | 0.0043592 | 0.0010925
23 | 0.00060657 | 0.00015202
24 | 0.0033698 | 0.00084455
25 | 0.0023926 | 0.00059963
26 | 0.00064919 | 0.0001627
27 | 0.0014548 | 0.0003646
28 | 0.001759 | 0.00044084
29 | 0.0021846 | 0.00054751

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1