## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_297-10_1_3_node_25 | 0.4 | n |  | TRUE
1 | bus_LV_297-10_1_3_node_27 | 0.4 | n |  | TRUE
2 | bus_LV_297-10_1_3_node_87 | 0.4 | n |  | TRUE
3 | bus_LV_297-10_1_3_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_297-10_1_3_node_78 | 0.4 | n |  | TRUE
5 | bus_LV_297-10_1_3_node_26 | 0.4 | n |  | TRUE
6 | bus_LV_297-10_1_3_node_112 | 0.4 | n |  | TRUE
7 | bus_LV_297-10_1_3_node_110 | 0.4 | n |  | TRUE
8 | bus_LV_297-10_1_3_node_88 | 0.4 | n |  | TRUE
9 | bus_LV_297-10_1_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_297-10_1_3_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_297-10_1_3_node_113 | 0.4 | n |  | TRUE
12 | bus_LV_297-10_1_3_node_102 | 0.4 | n |  | TRUE
13 | bus_LV_297-10_1_3_node_80 | 0.4 | n |  | TRUE
14 | bus_LV_297-10_1_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_297-10_1_3_node_79 | 0.4 | n |  | TRUE
16 | bus_LV_297-10_1_3_node_92 | 0.4 | n |  | TRUE
17 | bus_LV_297-10_1_3_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_297-10_1_3_node_84 | 0.4 | n |  | TRUE
19 | bus_LV_297-10_1_3_node_114 | 0.4 | n |  | TRUE
20 | bus_LV_297-10_1_3_node_111 | 0.4 | n |  | TRUE
21 | bus_LV_297-10_1_3_node_83 | 0.4 | n |  | TRUE
22 | bus_LV_297-10_1_3_node_86 | 0.4 | n |  | TRUE
23 | bus_LV_297-10_1_3_node_94 | 0.4 | n |  | TRUE
24 | bus_LV_297-10_1_3_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_297-10_1_3_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_297-10_1_3_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_297-10_1_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_297-10_1_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_297-10_1_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_297-10_1_3_node_38 | 0.4 | n |  | TRUE
31 | bus_LV_297-10_1_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_297-10_1_3_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_297-10_1_3_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_297-10_1_3_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_297-10_1_3_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_297-10_1_3_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_297-10_1_3_node_60 | 0.4 | n |  | TRUE
38 | bus_LV_297-10_1_3_node_96 | 0.4 | n |  | TRUE
39 | bus_LV_297-10_1_3_node_58 | 0.4 | n |  | TRUE
40 | bus_LV_297-10_1_3_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_297-10_1_3_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_297-10_1_3_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_297-10_1_3_node_93 | 0.4 | n |  | TRUE
44 | bus_LV_297-10_1_3_node_100 | 0.4 | n |  | TRUE
45 | bus_LV_297-10_1_3_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_297-10_1_3_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_297-10_1_3_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_297-10_1_3_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_297-10_1_3_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_297-10_1_3_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_297-10_1_3_node_67 | 0.4 | n |  | TRUE
52 | bus_LV_297-10_1_3_node_70 | 0.4 | n |  | TRUE
53 | bus_LV_297-10_1_3_node_72 | 0.4 | n |  | TRUE
54 | bus_LV_297-10_1_3_node_106 | 0.4 | n |  | TRUE
55 | bus_LV_297-10_1_3_node_109 | 0.4 | n |  | TRUE
56 | bus_LV_297-10_1_3_node_116 | 0.4 | n |  | TRUE
57 | bus_LV_297-10_1_3_node_103 | 0.4 | n |  | TRUE
58 | bus_LV_297-10_1_3_node_105 | 0.4 | n |  | TRUE
59 | bus_LV_297-10_1_3_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_297-10_1_3_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_297-10_1_3_node_98 | 0.4 | n |  | TRUE
62 | bus_LV_297-10_1_3_node_99 | 0.4 | n |  | TRUE
63 | bus_LV_297-10_1_3_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_297-10_1_3_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_297-10_1_3_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_297-10_1_3_node_77 | 0.4 | n |  | TRUE
67 | bus_LV_297-10_1_3_node_104 | 0.4 | n |  | TRUE
68 | bus_LV_297-10_1_3_node_117 | 0.4 | n |  | TRUE
69 | bus_LV_297-10_1_3_node_90 | 0.4 | n |  | TRUE
70 | bus_LV_297-10_1_3_node_91 | 0.4 | n |  | TRUE
71 | bus_LV_297-10_1_3_node_107 | 0.4 | n |  | TRUE
72 | bus_MV_7_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_297-10_1_3_load_78 | 4 | 0.0035932 | 0.00090055 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_297-10_1_3_load_112 | 6 | 0.021402 | 0.0053638 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_297-10_1_3_load_110 | 7 | 0.011044 | 0.0027679 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_297-10_1_3_load_88 | 8 | 0.0039973 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_297-10_1_3_load_113 | 11 | 0.0078848 | 0.0019761 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_297-10_1_3_load_102 | 12 | 0.00254 | 0.00063658 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_297-10_1_3_load_80 | 13 | 0.0026179 | 0.00065612 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_297-10_1_3_load_79 | 15 | 0.00072736 | 0.00018229 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_297-10_1_3_load_92 | 16 | 0.0026672 | 0.00066845 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_297-10_1_3_load_89 | 17 | 0.0013435 | 0.0003367 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_297-10_1_3_load_114 | 19 | 0.010889 | 0.0027289 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_297-10_1_3_load_111 | 20 | 0.013597 | 0.0034077 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_297-10_1_3_load_94 | 23 | 0.00073978 | 0.00018541 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_297-10_1_3_load_97 | 26 | 0.0017073 | 0.00042788 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_297-10_1_3_load_35 | 27 | 0.00062766 | 0.00015731 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_297-10_1_3_load_36 | 28 | 0.00013979 | 3.5034e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_297-10_1_3_load_38 | 30 | 0.00013961 | 3.4989e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_297-10_1_3_load_52 | 32 | 0.0019816 | 0.00049664 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_297-10_1_3_load_53 | 35 | 0.0015299 | 0.00038344 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_297-10_1_3_load_61 | 36 | 0.00071866 | 0.00018011 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_297-10_1_3_load_96 | 38 | 0.00073822 | 0.00018502 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_297-10_1_3_load_56 | 40 | 0.0017941 | 0.00044963 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_297-10_1_3_load_57 | 41 | 0.00323 | 0.0008095 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_297-10_1_3_load_59 | 42 | 0.0035997 | 0.00090216 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_297-10_1_3_load_93 | 43 | 0.0018337 | 0.00045957 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_297-10_1_3_load_100 | 44 | 0.0027655 | 0.00069311 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_297-10_1_3_load_95 | 45 | 0.00073822 | 0.00018502 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_297-10_1_3_load_62 | 46 | 0.0012234 | 0.00030661 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_297-10_1_3_load_66 | 50 | 0.0037074 | 0.00092916 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_297-10_1_3_load_70 | 52 | 0.005567 | 0.0013952 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_297-10_1_3_load_106 | 54 | 0.0032224 | 0.00080762 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_297-10_1_3_load_116 | 56 | 0.001346 | 0.00033733 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_297-10_1_3_load_103 | 57 | 0.0014238 | 0.00035685 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_297-10_1_3_load_105 | 58 | 0.001187 | 0.00029749 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_297-10_1_3_load_108 | 59 | 0.0023001 | 0.00057647 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_297-10_1_3_load_101 | 60 | 0.0027651 | 0.000693 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_297-10_1_3_load_99 | 62 | 0.001124 | 0.00028171 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_297-10_1_3_load_73 | 63 | 0.00052495 | 0.00013157 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_297-10_1_3_load_74 | 64 | 0.0013336 | 0.00033422 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_297-10_1_3_load_104 | 67 | 0.00074501 | 0.00018672 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_297-10_1_3_load_117 | 68 | 0.00070112 | 0.00017572 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_297-10_1_3_load_90 | 69 | 0.0010351 | 0.00025943 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_297-10_1_3_load_91 | 70 | 0.0022615 | 0.00056678 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_297-10_1_3_load_107 | 71 | 0.0020239 | 0.00050724 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_297-10_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_297-10_1_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.034549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_297-10_1_3_line_2 | NAYY 4x150 SE | 0 | 3 | 0.016027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_297-10_1_3_line_3 | NAYY 4x150 SE | 0 | 4 | 0.015553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_297-10_1_3_line_4 | NAYY 4x150 SE | 1 | 8 | 0.011723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_297-10_1_3_line_5 | NAYY 4x150 SE | 2 | 16 | 0.012421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_297-10_1_3_line_6 | NAYY 4x150 SE | 2 | 17 | 0.016107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_297-10_1_3_line_7 | NAYY 4x150 SE | 3 | 6 | 0.0071976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_297-10_1_3_line_8 | NAYY 4x150 SE | 4 | 14 | 0.025946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_297-10_1_3_line_9 | NAYY 4x150 SE | 5 | 6 | 0.014752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_297-10_1_3_line_10 | NAYY 4x150 SE | 5 | 7 | 0.014357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_297-10_1_3_line_11 | NAYY 4x150 SE | 7 | 20 | 0.014823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_297-10_1_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.03566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_297-10_1_3_line_13 | NAYY 4x150 SE | 9 | 11 | 0.032776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_297-10_1_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.090715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_297-10_1_3_line_15 | NAYY 4x150 SE | 10 | 13 | 0.0084009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_297-10_1_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.012022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_297-10_1_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.020523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_297-10_1_3_line_18 | NAYY 4x150 SE | 16 | 24 | 0.028962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_297-10_1_3_line_19 | NAYY 4x150 SE | 17 | 69 | 0.0042855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_297-10_1_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.015114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_297-10_1_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.014863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_297-10_1_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.006663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_297-10_1_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.034379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_297-10_1_3_line_24 | NAYY 4x150 SE | 22 | 26 | 0.018639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_297-10_1_3_line_25 | NAYY 4x150 SE | 23 | 45 | 0.0045503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_297-10_1_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.006252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_297-10_1_3_line_27 | NAYY 4x150 SE | 25 | 67 | 0.036713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_297-10_1_3_line_28 | NAYY 4x150 SE | 25 | 64 | 0.019981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_297-10_1_3_line_29 | NAYY 4x150 SE | 26 | 61 | 0.012128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_297-10_1_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.021255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_297-10_1_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.085566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_297-10_1_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.020805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_297-10_1_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.086502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_297-10_1_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.046699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_297-10_1_3_line_35 | NAYY 4x150 SE | 32 | 35 | 0.0022041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_297-10_1_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.008543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_297-10_1_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.092316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_297-10_1_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.038292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_297-10_1_3_line_39 | NAYY 4x150 SE | 36 | 39 | 0.018657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_297-10_1_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.0053924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_297-10_1_3_line_41 | NAYY 4x150 SE | 37 | 39 | 0.018107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_297-10_1_3_line_42 | NAYY 4x150 SE | 38 | 45 | 0.0010198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_297-10_1_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.021116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_297-10_1_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.028736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_297-10_1_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0046019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_297-10_1_3_line_46 | NAYY 4x150 SE | 42 | 43 | 0.025761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_297-10_1_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.0056074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_297-10_1_3_line_48 | NAYY 4x150 SE | 44 | 60 | 0.039035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_297-10_1_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.045902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_297-10_1_3_line_50 | NAYY 4x150 SE | 46 | 48 | 0.019049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_297-10_1_3_line_51 | NAYY 4x150 SE | 47 | 49 | 0.010346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_297-10_1_3_line_52 | NAYY 4x150 SE | 47 | 50 | 0.04871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_297-10_1_3_line_53 | NAYY 4x150 SE | 47 | 51 | 0.011464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_297-10_1_3_line_54 | NAYY 4x150 SE | 48 | 52 | 0.022058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_297-10_1_3_line_55 | NAYY 4x150 SE | 48 | 53 | 0.004424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_297-10_1_3_line_56 | NAYY 4x150 SE | 49 | 54 | 0.018976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_297-10_1_3_line_57 | NAYY 4x150 SE | 49 | 55 | 0.021097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_297-10_1_3_line_58 | NAYY 4x150 SE | 51 | 56 | 0.027888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_297-10_1_3_line_59 | NAYY 4x150 SE | 53 | 57 | 0.0039662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_297-10_1_3_line_60 | NAYY 4x150 SE | 54 | 58 | 0.012483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_297-10_1_3_line_61 | NAYY 4x150 SE | 55 | 59 | 0.048835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_297-10_1_3_line_62 | NAYY 4x150 SE | 57 | 62 | 0.010908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_297-10_1_3_line_63 | NAYY 4x150 SE | 58 | 71 | 0.0061599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_297-10_1_3_line_64 | NAYY 4x150 SE | 59 | 67 | 0.015774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_297-10_1_3_line_65 | NAYY 4x150 SE | 61 | 62 | 0.0074535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_297-10_1_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.0084105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_297-10_1_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.064419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_297-10_1_3_line_68 | NAYY 4x150 SE | 65 | 66 | 0.01196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_297-10_1_3_line_69 | NAYY 4x150 SE | 66 | 68 | 0.047142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_297-10_1_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.0070464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_297-10_1_3_trafo_88 | 0.25 MVA 20/0.4 kV | 72 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2708609.045 | 1247257.9414 | 2708606.518 | 1247268.448 | 2708605.4182 | 1247275.2778 | 2708604.3707 | 1247282.1419
1 | 2708570.8105 | 1247273.9875 | 2708575 | 1247274.9983 | 2708580.7753 | 1247276.0493 | 2708604.3707 | 1247282.1419
2 | 2708604.3707 | 1247282.1419 | 2708605.4182 | 1247275.2778 | 2708606.518 | 1247275.4536 | 2708609.998 | 1247276.0178 | 2708614.0434 | 1247276.648 | 2708614.39 | 1247276.6988
3 | 2708604.3707 | 1247282.1419 | 2708603.496 | 1247291.122 | 2708602.99 | 1247297.633
4 | 2708609.045 | 1247257.9414 | 2708597.7765 | 1247254.7091
5 | 2708570.8105 | 1247273.9875 | 2708567.5949 | 1247261.9898
6 | 2708570.8105 | 1247273.9875 | 2708568.7125 | 1247286.6481 | 2708565.7794 | 1247288.1016
7 | 2708614.39 | 1247276.6988 | 2708613.1823 | 1247283.7944
8 | 2708600.1918 | 1247323.4208 | 2708602.2404 | 1247307.2786 | 2708602.99 | 1247297.633
9 | 2708610.707 | 1247298.3376 | 2708613.1823 | 1247283.7944
10 | 2708610.707 | 1247298.3376 | 2708625.0186 | 1247299.4736
11 | 2708625.0186 | 1247299.4736 | 2708639.7953 | 1247300.6465
12 | 2708596.6803 | 1247343.5393 | 2708601.2313 | 1247344.6124 | 2708596.9371 | 1247367.4522 | 2708599.0976 | 1247367.047 | 2708603.5248 | 1247366.2163 | 2708604.5482 | 1247366.0237
13 | 2708604.5482 | 1247366.0237 | 2708602.5743 | 1247362.0177 | 2708603.0436 | 1247355.7879 | 2708606.2191 | 1247333.955
14 | 2708596.6803 | 1247343.5393 | 2708574.1724 | 1247342.4263 | 2708567.3096 | 1247338.4752 | 2708566.0695 | 1247342.2445 | 2708564.9049 | 1247349.7292 | 2708562.1152 | 1247352.3135 | 2708551.6727 | 1247356.1254 | 2708549.1687 | 1247353.8333 | 2708552.4004 | 1247337.8462 | 2708551.1886 | 1247331.8303 | 2708552.1525 | 1247329.9353 | 2708557.628 | 1247327.5559
15 | 2708596.6803 | 1247343.5393 | 2708598.1248 | 1247335.2636
16 | 2708600.1918 | 1247323.4208 | 2708598.1248 | 1247335.2636
17 | 2708600.1918 | 1247323.4208 | 2708579.6303 | 1247322.4546
18 | 2708560.0973 | 1247234.0147 | 2708567.5949 | 1247261.9898
19 | 2708565.7794 | 1247288.1016 | 2708561.9395 | 1247290.0045
20 | 2708654.6121 | 1247301.8225 | 2708669.6792 | 1247303.018
21 | 2708654.6121 | 1247301.8225 | 2708639.7953 | 1247300.6465
22 | 2708623.6061 | 1247189.7866 | 2708617.592 | 1247192.6899
23 | 2708623.6061 | 1247189.7866 | 2708631.8832 | 1247185.0121 | 2708635.2639 | 1247180.6928 | 2708636.6704 | 1247175.6812 | 2708636.2365 | 1247164.3197 | 2708637.0543 | 1247161.6798
24 | 2708617.592 | 1247192.6899 | 2708615.1378 | 1247188.5082 | 2708611.8781 | 1247184.1673 | 2708606.2944 | 1247177.943
25 | 2708637.0543 | 1247161.6798 | 2708638.4007 | 1247157.3332
26 | 2708558.7586 | 1247227.9075 | 2708560.0973 | 1247234.0147
27 | 2708558.7586 | 1247227.9075 | 2708552.2535 | 1247215.5563 | 2708537.3462 | 1247198.3658
28 | 2708558.7586 | 1247227.9075 | 2708543.4495 | 1247230.952 | 2708539.5075 | 1247232.8429
29 | 2708598.196 | 1247168.9155 | 2708606.2944 | 1247177.943
30 | 2708741.8974 | 1246861.6773 | 2708757.5695 | 1246873.2985 | 2708759.1408 | 1246874.0557
31 | 2708827.8018 | 1246919.5018 | 2708825.388 | 1246911.8847 | 2708820.3044 | 1246904.4188 | 2708811.2664 | 1246897.5252 | 2708797.3586 | 1246891.6764 | 2708775.7531 | 1246882.0613 | 2708759.1408 | 1246874.0557
32 | 2708741.8974 | 1246861.6773 | 2708733.1206 | 1246855.169 | 2708725.9875 | 1246848.3354
33 | 2708808.4447 | 1247002.6357 | 2708810.198 | 1246980.8059 | 2708811.505 | 1246975.0475 | 2708814.8447 | 1246962.6877 | 2708820.4619 | 1246950.1473 | 2708823.0982 | 1246944.8248 | 2708825.9307 | 1246939.1055 | 2708828.0937 | 1246928.7035 | 2708827.8018 | 1246919.5018
34 | 2708808.4447 | 1247002.6357 | 2708802.2463 | 1247005.6911 | 2708777.2892 | 1247027.6287 | 2708771.8419 | 1247031.2841
35 | 2708771.8419 | 1247031.2841 | 2708770.0117 | 1247032.5122
36 | 2708696.4048 | 1247100.4598 | 2708702.5431 | 1247094.5008
37 | 2708702.5431 | 1247094.5008 | 2708711.2675 | 1247084.7084 | 2708718.884 | 1247075.1848 | 2708726.3548 | 1247066.1923 | 2708741.8015 | 1247051.5638 | 2708759.6267 | 1247039.481 | 2708770.0117 | 1247032.5122
38 | 2708696.4048 | 1247100.4598 | 2708677.4943 | 1247118.183 | 2708668.4165 | 1247126.5924
39 | 2708654.7295 | 1247139.2717 | 2708668.4165 | 1247126.5924
40 | 2708641.5963 | 1247151.7745 | 2708638.9067 | 1247156.4482
41 | 2708641.5963 | 1247151.7745 | 2708654.7295 | 1247139.2717
42 | 2708638.4007 | 1247157.3332 | 2708638.4047 | 1247157.3204 | 2708638.9067 | 1247156.4482
43 | 2708654.7295 | 1247139.2717 | 2708647.5323 | 1247132.9458 | 2708638.6357 | 1247125.6048
44 | 2708638.6357 | 1247125.6048 | 2708627.2442 | 1247116.2052 | 2708615.7091 | 1247108.3289
45 | 2708615.7091 | 1247108.3289 | 2708611.9087 | 1247105.7339
46 | 2708611.9087 | 1247105.7339 | 2708592.5026 | 1247092.4832 | 2708590.69 | 1247091.1289
47 | 2708586.1979 | 1247087.7727 | 2708590.69 | 1247091.1289
48 | 2708586.1979 | 1247087.7727 | 2708575.0476 | 1247079.442 | 2708558.0815 | 1247060.9223
49 | 2708535.3725 | 1247108.4946 | 2708557.4454 | 1247132.5735 | 2708566.5115 | 1247142.2179
50 | 2708579.5586 | 1247156.0973 | 2708566.5115 | 1247142.2179
51 | 2708527.3202 | 1247115.0192 | 2708531.9136 | 1247111.3113 | 2708535.3725 | 1247108.4946
52 | 2708535.3725 | 1247108.4946 | 2708511.1454 | 1247083.2198 | 2708502.0594 | 1247072.9678
53 | 2708535.3725 | 1247108.4946 | 2708538.3973 | 1247105.8701 | 2708543.5338 | 1247111.2796
54 | 2708579.5586 | 1247156.0973 | 2708568.1834 | 1247167.9096 | 2708568.5443 | 1247173.3651 | 2708568.7029 | 1247173.4733
55 | 2708582.6315 | 1247152.9065 | 2708579.5586 | 1247156.0973
56 | 2708527.3202 | 1247115.0192 | 2708522.4423 | 1247124.3596 | 2708515.9386 | 1247129.7357
57 | 2708527.3202 | 1247115.0192 | 2708528.6316 | 1247131.2784 | 2708529.0278 | 1247136.0451
58 | 2708542.8473 | 1247086.8918 | 2708542.2215 | 1247091.3617 | 2708543.9199 | 1247095.1514 | 2708547.5497 | 1247102.3904 | 2708548.5001 | 1247106.6 | 2708543.5338 | 1247111.2796
59 | 2708582.6315 | 1247152.9065 | 2708585.3962 | 1247155.7502
60 | 2708506.317 | 1247137.6891 | 2708515.9386 | 1247129.7357
61 | 2708529.0278 | 1247136.0451 | 2708529.0264 | 1247144.7854 | 2708527.1112 | 1247172.6283 | 2708530.9782 | 1247184.1847
62 | 2708593.0003 | 1247163.5714 | 2708585.3962 | 1247155.7502
63 | 2708501.5692 | 1247141.6138 | 2708506.317 | 1247137.6891
64 | 2708537.3462 | 1247198.3658 | 2708534.7039 | 1247195.3188 | 2708530.9782 | 1247184.1847
65 | 2708598.196 | 1247168.9155 | 2708593.0003 | 1247163.5714
66 | 2708532.176 | 1247232.2752 | 2708535.8352 | 1247234.6044 | 2708539.5075 | 1247232.8429
67 | 2708477.6689 | 1247198.7669 | 2708481.3458 | 1247199.7238 | 2708493.1329 | 1247205.0104 | 2708508.4398 | 1247217.3559 | 2708522.9383 | 1247226.3952 | 2708532.176 | 1247232.2752
68 | 2708466.6846 | 1247200.8009 | 2708472.7968 | 1247197.4879 | 2708477.6689 | 1247198.7669
69 | 2708466.6846 | 1247200.8009 | 2708466.2415 | 1247208.9105 | 2708473.1539 | 1247247.3122
70 | 2708555.6259 | 1247293.1333 | 2708561.9395 | 1247290.0045

## bus_geodata
| x | y | coords
0 | 2708604.3707 | 1247282.1419
1 | 2708609.045 | 1247257.9414
2 | 2708570.8105 | 1247273.9875
3 | 2708614.39 | 1247276.6988
4 | 2708602.99 | 1247297.633
5 | 2708610.707 | 1247298.3376
6 | 2708613.1823 | 1247283.7944
7 | 2708625.0186 | 1247299.4736
8 | 2708597.7765 | 1247254.7091
9 | 2708604.5482 | 1247366.0237
10 | 2708596.6803 | 1247343.5393
11 | 2708606.2191 | 1247333.955
12 | 2708557.628 | 1247327.5559
13 | 2708598.1248 | 1247335.2636
14 | 2708600.1918 | 1247323.4208
15 | 2708579.6303 | 1247322.4546
16 | 2708567.5949 | 1247261.9898
17 | 2708565.7794 | 1247288.1016
18 | 2708654.6121 | 1247301.8225
19 | 2708669.6792 | 1247303.018
20 | 2708639.7953 | 1247300.6465
21 | 2708623.6061 | 1247189.7866
22 | 2708617.592 | 1247192.6899
23 | 2708637.0543 | 1247161.6798
24 | 2708560.0973 | 1247234.0147
25 | 2708558.7586 | 1247227.9076
26 | 2708606.2944 | 1247177.943
27 | 2708759.1408 | 1246874.0557
28 | 2708741.8974 | 1246861.6773
29 | 2708827.8018 | 1246919.5018
30 | 2708725.9875 | 1246848.3354
31 | 2708808.4447 | 1247002.6357
32 | 2708771.8419 | 1247031.2841
33 | 2708702.5431 | 1247094.5008
34 | 2708696.4048 | 1247100.4598
35 | 2708770.0117 | 1247032.5122
36 | 2708668.4165 | 1247126.5924
37 | 2708641.5963 | 1247151.7745
38 | 2708638.9067 | 1247156.4482
39 | 2708654.7295 | 1247139.2717
40 | 2708638.6357 | 1247125.6048
41 | 2708615.7091 | 1247108.3289
42 | 2708611.9087 | 1247105.7339
43 | 2708590.69 | 1247091.1289
44 | 2708586.1979 | 1247087.7727
45 | 2708638.4007 | 1247157.3332
46 | 2708566.5115 | 1247142.2179
47 | 2708535.3725 | 1247108.4946
48 | 2708579.5586 | 1247156.0973
49 | 2708527.3202 | 1247115.0192
50 | 2708502.0594 | 1247072.9678
51 | 2708543.5338 | 1247111.2796
52 | 2708568.7029 | 1247173.4733
53 | 2708582.6315 | 1247152.9065
54 | 2708515.9386 | 1247129.7357
55 | 2708529.0278 | 1247136.0451
56 | 2708542.8473 | 1247086.8918
57 | 2708585.3962 | 1247155.7502
58 | 2708506.317 | 1247137.6891
59 | 2708530.9782 | 1247184.1847
60 | 2708558.0815 | 1247060.9223
61 | 2708598.196 | 1247168.9155
62 | 2708593.0003 | 1247163.5714
63 | 2708532.176 | 1247232.2752
64 | 2708539.5075 | 1247232.8429
65 | 2708477.6689 | 1247198.7669
66 | 2708466.6846 | 1247200.8009
67 | 2708537.3462 | 1247198.3658
68 | 2708473.1539 | 1247247.3122
69 | 2708561.9395 | 1247290.0045
70 | 2708555.6259 | 1247293.1333
71 | 2708501.5692 | 1247141.6138
72 | 2708609.045 | 1247257.9414

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1