## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_297-8_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_297-8_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_297-8_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_297-8_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_297-8_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_297-8_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_297-8_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_297-8_0_2_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_297-8_0_2_node_54 | 0.4 | n |  | TRUE
9 | bus_LV_297-8_0_2_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_297-8_0_2_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_297-8_0_2_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_297-8_0_2_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_297-8_0_2_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_297-8_0_2_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_297-8_0_2_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_297-8_0_2_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_297-8_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_297-8_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_297-8_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_297-8_0_2_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_297-8_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_297-8_0_2_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_297-8_0_2_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_297-8_0_2_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_297-8_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_297-8_0_2_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_297-8_0_2_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_297-8_0_2_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_297-8_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_297-8_0_2_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_297-8_0_2_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_297-8_0_2_node_50 | 0.4 | n |  | TRUE
33 | bus_LV_297-8_0_2_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_297-8_0_2_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_297-8_0_2_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_297-8_0_2_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_297-8_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_297-8_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_297-8_0_2_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_297-8_0_2_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_297-8_0_2_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_297-8_0_2_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_297-8_0_2_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_297-8_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_297-8_0_2_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_297-8_0_2_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_297-8_0_2_node_33 | 0.4 | n |  | TRUE
48 | bus_LV_297-8_0_2_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_297-8_0_2_node_37 | 0.4 | n |  | TRUE
50 | bus_LV_297-8_0_2_node_53 | 0.4 | n |  | TRUE
51 | bus_LV_297-8_0_2_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_297-8_0_2_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_297-8_0_2_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_297-8_0_2_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_297-8_0_2_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_297-8_0_2_node_96 | 0.4 | n |  | TRUE
57 | bus_LV_297-8_0_2_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_297-8_0_2_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_297-8_0_2_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_297-8_0_2_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_297-8_0_2_node_76 | 0.4 | n |  | TRUE
62 | bus_LV_297-8_0_2_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_297-8_0_2_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_297-8_0_2_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_297-8_0_2_node_90 | 0.4 | n |  | TRUE
66 | bus_LV_297-8_0_2_node_95 | 0.4 | n |  | TRUE
67 | bus_LV_297-8_0_2_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_297-8_0_2_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_297-8_0_2_node_94 | 0.4 | n |  | TRUE
70 | bus_LV_297-8_0_2_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_297-8_0_2_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_297-8_0_2_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_297-8_0_2_node_81 | 0.4 | n |  | TRUE
74 | bus_LV_297-8_0_2_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_297-8_0_2_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_297-8_0_2_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_297-8_0_2_node_97 | 0.4 | n |  | TRUE
78 | bus_LV_297-8_0_2_node_48 | 0.4 | n |  | TRUE
79 | bus_LV_297-8_0_2_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_297-8_0_2_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_297-8_0_2_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_297-8_0_2_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_297-8_0_2_node_88 | 0.4 | n |  | TRUE
84 | bus_LV_297-8_0_2_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_297-8_0_2_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_297-8_0_2_node_80 | 0.4 | n |  | TRUE
87 | bus_LV_297-8_0_2_node_78 | 0.4 | n |  | TRUE
88 | bus_LV_297-8_0_2_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_297-8_0_2_node_91 | 0.4 | n |  | TRUE
90 | bus_LV_297-8_0_2_node_92 | 0.4 | n |  | TRUE
91 | bus_MV_7_0_node_187 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_297-8_0_2_load_0 | 0 | 0.010972 | 0.0027498 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_297-8_0_2_load_1 | 1 | 0.0023135 | 0.00057981 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_297-8_0_2_load_3 | 3 | 0.012517 | 0.0031371 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_297-8_0_2_load_5 | 4 | 0.009539 | 0.0023907 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_297-8_0_2_load_6 | 5 | 0.0037228 | 0.00093301 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_297-8_0_2_load_4 | 6 | 0.0016422 | 0.00041158 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_297-8_0_2_load_36 | 9 | 0.0017685 | 0.00044322 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_297-8_0_2_load_32 | 10 | 0.0013878 | 0.00034782 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_297-8_0_2_load_56 | 12 | 0.0069393 | 0.0017391 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_297-8_0_2_load_7 | 13 | 0.00055447 | 0.00013896 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_297-8_0_2_load_8 | 14 | 0.00028832 | 7.226e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_297-8_0_2_load_11 | 17 | 0.00070602 | 0.00017695 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_297-8_0_2_load_15 | 19 | 0.00026255 | 6.58e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_297-8_0_2_load_13 | 20 | 0.0002833 | 7.1002e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_297-8_0_2_load_25 | 23 | 0.00014073 | 3.5269e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_297-8_0_2_load_19 | 24 | 0.0015782 | 0.00039553 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_297-8_0_2_load_16 | 25 | 0.00083226 | 0.00020858 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_297-8_0_2_load_22 | 26 | 0.0011258 | 0.00028215 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_297-8_0_2_load_20 | 27 | 0.0022304 | 0.00055898 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_297-8_0_2_load_51 | 28 | 0.0008359 | 0.0002095 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_297-8_0_2_load_23 | 29 | 0.0022498 | 0.00056386 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_297-8_0_2_load_52 | 30 | 0.0014139 | 0.00035436 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_297-8_0_2_load_24 | 31 | 0.0011618 | 0.00029118 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_297-8_0_2_load_50 | 32 | 0.0024587 | 0.0006162 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_297-8_0_2_load_40 | 33 | 0.0028612 | 0.00071708 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_297-8_0_2_load_26 | 34 | 0.0021436 | 0.00053724 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_297-8_0_2_load_27 | 35 | 0.0019844 | 0.00049734 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_297-8_0_2_load_29 | 37 | 0.0016015 | 0.00040137 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_297-8_0_2_load_49 | 40 | 0.0022108 | 0.00055408 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_297-8_0_2_load_39 | 41 | 0.0024162 | 0.00060556 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_297-8_0_2_load_46 | 42 | 0.0035035 | 0.00087807 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_297-8_0_2_load_42 | 43 | 0.00078015 | 0.00019552 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_297-8_0_2_load_38 | 44 | 0.003128 | 0.00078395 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_297-8_0_2_load_47 | 45 | 0.0024681 | 0.00061857 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_297-8_0_2_load_41 | 46 | 0.0014492 | 0.0003632 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_297-8_0_2_load_33 | 47 | 0.0010243 | 0.00025672 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_297-8_0_2_load_37 | 49 | 0.0014418 | 0.00036134 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_297-8_0_2_load_53 | 50 | 0.00094559 | 0.00023699 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_297-8_0_2_load_61 | 53 | 0.0010984 | 0.00027528 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_297-8_0_2_load_96 | 56 | 0.0039854 | 0.00099884 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_297-8_0_2_load_60 | 57 | 0.0016354 | 0.00040986 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_297-8_0_2_load_62 | 58 | 0.012486 | 0.0031294 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_297-8_0_2_load_58 | 59 | 0.00045648 | 0.00011441 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_297-8_0_2_load_76 | 61 | 0.0068432 | 0.0017151 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_297-8_0_2_load_89 | 63 | 0.0022592 | 0.00056621 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_297-8_0_2_load_90 | 65 | 0.003738 | 0.00093682 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_297-8_0_2_load_95 | 66 | 0.0045032 | 0.0011286 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_297-8_0_2_load_94 | 69 | 0.003346 | 0.00083859 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_297-8_0_2_load_82 | 71 | 0.0023922 | 0.00059954 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_297-8_0_2_load_81 | 73 | 0.0059805 | 0.0014989 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_297-8_0_2_load_79 | 74 | 0.0053159 | 0.0013323 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_297-8_0_2_load_93 | 75 | 0.00093743 | 0.00023494 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_297-8_0_2_load_97 | 77 | 0.0042495 | 0.001065 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_297-8_0_2_load_48 | 78 | 0.0025991 | 0.00065141 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_297-8_0_2_load_59 | 79 | 0.00073017 | 0.000183 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_297-8_0_2_load_84 | 80 | 0.0028624 | 0.00071738 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_297-8_0_2_load_83 | 81 | 0.0076295 | 0.0019121 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_297-8_0_2_load_85 | 82 | 0.0014494 | 0.00036325 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_297-8_0_2_load_88 | 83 | 0.0010723 | 0.00026876 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_297-8_0_2_load_77 | 84 | 0.016184 | 0.0040561 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_297-8_0_2_load_80 | 86 | 0.0031119 | 0.00077992 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_297-8_0_2_load_78 | 87 | 0.013988 | 0.0035058 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_297-8_0_2_load_91 | 89 | 0.0050099 | 0.0012556 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_297-8_0_2_load_92 | 90 | 0.0050929 | 0.0012764 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_297-8_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0029258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_297-8_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_297-8_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.006997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_297-8_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_297-8_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.015383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_297-8_0_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.021086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_297-8_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.02299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_297-8_0_2_line_7 | NAYY 4x150 SE | 7 | 9 | 0.007832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_297-8_0_2_line_8 | NAYY 4x150 SE | 7 | 10 | 0.018289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_297-8_0_2_line_9 | NAYY 4x150 SE | 8 | 11 | 0.041341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_297-8_0_2_line_10 | NAYY 4x150 SE | 8 | 12 | 0.046321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_297-8_0_2_line_11 | NAYY 4x150 SE | 9 | 50 | 0.017436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_297-8_0_2_line_12 | NAYY 4x150 SE | 10 | 47 | 0.027099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_297-8_0_2_line_13 | NAYY 4x150 SE | 11 | 58 | 0.0079792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_297-8_0_2_line_14 | NAYY 4x150 SE | 12 | 55 | 0.0086218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_297-8_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.010585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_297-8_0_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0044165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_297-8_0_2_line_17 | NAYY 4x150 SE | 15 | 19 | 0.010893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_297-8_0_2_line_18 | NAYY 4x150 SE | 15 | 20 | 0.019757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_297-8_0_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.006189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_297-8_0_2_line_20 | NAYY 4x150 SE | 16 | 18 | 0.008154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_297-8_0_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.026211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_297-8_0_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.012727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_297-8_0_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.016912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_297-8_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.071069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_297-8_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.016116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_297-8_0_2_line_26 | NAYY 4x150 SE | 22 | 25 | 0.029606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_297-8_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.021525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_297-8_0_2_line_28 | NAYY 4x150 SE | 26 | 29 | 0.054725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_297-8_0_2_line_29 | NAYY 4x150 SE | 27 | 28 | 0.021218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_297-8_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.0088325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_297-8_0_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.0023432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_297-8_0_2_line_32 | NAYY 4x150 SE | 30 | 50 | 0.015034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_297-8_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0027443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_297-8_0_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.032577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_297-8_0_2_line_35 | NAYY 4x150 SE | 33 | 48 | 0.0018381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_297-8_0_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0022041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_297-8_0_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.033871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_297-8_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.022432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_297-8_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.014115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_297-8_0_2_line_40 | NAYY 4x150 SE | 36 | 39 | 0.078323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_297-8_0_2_line_41 | NAYY 4x150 SE | 37 | 40 | 0.0045845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_297-8_0_2_line_42 | NAYY 4x150 SE | 38 | 41 | 0.005493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_297-8_0_2_line_43 | NAYY 4x150 SE | 38 | 42 | 0.015669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_297-8_0_2_line_44 | NAYY 4x150 SE | 39 | 43 | 0.089327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_297-8_0_2_line_45 | NAYY 4x150 SE | 41 | 44 | 0.022825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_297-8_0_2_line_46 | NAYY 4x150 SE | 42 | 45 | 0.020616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_297-8_0_2_line_47 | NAYY 4x150 SE | 43 | 46 | 0.013787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_297-8_0_2_line_48 | NAYY 4x150 SE | 44 | 49 | 0.022986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_297-8_0_2_line_49 | NAYY 4x150 SE | 45 | 78 | 0.0015375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_297-8_0_2_line_50 | NAYY 4x150 SE | 46 | 51 | 0.013904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_297-8_0_2_line_51 | NAYY 4x150 SE | 47 | 48 | 0.0093798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_297-8_0_2_line_52 | NAYY 4x150 SE | 48 | 49 | 0.015777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_297-8_0_2_line_53 | NAYY 4x150 SE | 51 | 52 | 0.004898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_297-8_0_2_line_54 | NAYY 4x150 SE | 52 | 53 | 0.029269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_297-8_0_2_line_55 | NAYY 4x150 SE | 53 | 57 | 0.01697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_297-8_0_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.004092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_297-8_0_2_line_57 | NAYY 4x150 SE | 54 | 56 | 0.019357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_297-8_0_2_line_58 | NAYY 4x150 SE | 55 | 59 | 0.010559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_297-8_0_2_line_59 | NAYY 4x150 SE | 56 | 77 | 0.018171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_297-8_0_2_line_60 | NAYY 4x150 SE | 57 | 79 | 0.033371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_297-8_0_2_line_61 | NAYY 4x150 SE | 58 | 60 | 0.019841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_297-8_0_2_line_62 | NAYY 4x150 SE | 59 | 79 | 0.00011015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_297-8_0_2_line_63 | NAYY 4x150 SE | 60 | 61 | 0.024696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_297-8_0_2_line_64 | NAYY 4x150 SE | 60 | 62 | 0.026735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_297-8_0_2_line_65 | NAYY 4x150 SE | 61 | 80 | 0.026615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_297-8_0_2_line_66 | NAYY 4x150 SE | 62 | 63 | 0.011163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_297-8_0_2_line_67 | NAYY 4x150 SE | 63 | 76 | 0.0079425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_297-8_0_2_line_68 | NAYY 4x150 SE | 64 | 65 | 0.014137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_297-8_0_2_line_69 | NAYY 4x150 SE | 64 | 66 | 0.017235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_297-8_0_2_line_70 | NAYY 4x150 SE | 65 | 76 | 0.019523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_297-8_0_2_line_71 | NAYY 4x150 SE | 66 | 83 | 0.017472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_297-8_0_2_line_72 | NAYY 4x150 SE | 67 | 68 | 0.009501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_297-8_0_2_line_73 | NAYY 4x150 SE | 67 | 69 | 0.0079098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_297-8_0_2_line_74 | NAYY 4x150 SE | 68 | 75 | 0.015446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_297-8_0_2_line_75 | NAYY 4x150 SE | 70 | 71 | 0.029631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_297-8_0_2_line_76 | NAYY 4x150 SE | 70 | 72 | 0.022461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_297-8_0_2_line_77 | NAYY 4x150 SE | 70 | 73 | 0.021596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_297-8_0_2_line_78 | NAYY 4x150 SE | 72 | 74 | 0.009532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_297-8_0_2_line_79 | NAYY 4x150 SE | 74 | 84 | 0.0002767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_297-8_0_2_line_80 | NAYY 4x150 SE | 75 | 85 | 0.016077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_297-8_0_2_line_81 | NAYY 4x150 SE | 80 | 86 | 0.0022003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_297-8_0_2_line_82 | NAYY 4x150 SE | 81 | 82 | 0.027337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_297-8_0_2_line_83 | NAYY 4x150 SE | 82 | 88 | 0.024456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_297-8_0_2_line_84 | NAYY 4x150 SE | 83 | 88 | 0.012567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_297-8_0_2_line_85 | NAYY 4x150 SE | 84 | 87 | 0.027929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_297-8_0_2_line_86 | NAYY 4x150 SE | 85 | 89 | 0.017872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_297-8_0_2_line_87 | NAYY 4x150 SE | 85 | 88 | 0.009611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_297-8_0_2_line_88 | NAYY 4x150 SE | 86 | 87 | 0.020707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_297-8_0_2_line_89 | NAYY 4x150 SE | 89 | 90 | 0.02292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_297-8_0_2_trafo_3 | 0.25 MVA 20/0.4 kV | 91 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2708913.1989 | 1247215.8974 | 2708910.5519 | 1247217.1437
1 | 2708928.5761 | 1247206.6942 | 2708923.8148 | 1247210.899 | 2708913.1989 | 1247215.8974
2 | 2708904.2215 | 1247220.1244 | 2708910.5519 | 1247217.1437
3 | 2708928.5761 | 1247206.6942 | 2708933.4361 | 1247210.6867 | 2708951.0412 | 1247217.1486 | 2708954.2688 | 1247219.6931
4 | 2708941.2778 | 1247197.9649 | 2708928.5761 | 1247206.6942
5 | 2708970.8278 | 1247232.747 | 2708954.2688 | 1247219.6931
6 | 2708863.5068 | 1247157.6821 | 2708886.0064 | 1247162.4067
7 | 2708863.5068 | 1247157.6821 | 2708856.0656 | 1247160.1252
8 | 2708863.5068 | 1247157.6821 | 2708869.485 | 1247148.9292 | 2708871.3125 | 1247141.4597
9 | 2708943.2217 | 1247263.5868 | 2708970.8278 | 1247232.747
10 | 2708970.8278 | 1247232.747 | 2709001.711 | 1247198.2242
11 | 2708839.6971 | 1247155.2867 | 2708847.0523 | 1247159.3147 | 2708856.0656 | 1247160.1252 | 2708856.0656 | 1247160.1252
12 | 2708871.3125 | 1247141.4597 | 2708877.727 | 1247115.2423 | 2708877.7697 | 1247115.143
13 | 2708943.2217 | 1247263.5868 | 2708942.4235 | 1247262.6269 | 2708939.918 | 1247259.6007 | 2708938.1294 | 1247257.4439
14 | 2709007.4594 | 1247191.7984 | 2709001.711 | 1247198.2242
15 | 2708808.2767 | 1246962.6388 | 2708806.3496 | 1246968.2029 | 2708807.7785 | 1246972.6772
16 | 2708811.505 | 1246975.0475 | 2708807.7785 | 1246972.6772 | 2708807.7785 | 1246972.6772
17 | 2708811.505 | 1246975.0475 | 2708810.198 | 1246980.8059 | 2708809.7986 | 1246985.7784
18 | 2708811.505 | 1246975.0475 | 2708814.8447 | 1246962.6877 | 2708817.6875 | 1246956.3412
19 | 2708817.0473 | 1246936.1401 | 2708815.3889 | 1246942.1033
20 | 2708823.0982 | 1246944.8248 | 2708815.3889 | 1246942.1033
21 | 2708827.8018 | 1246919.5018 | 2708828.0937 | 1246928.7035 | 2708825.9307 | 1246939.1055 | 2708823.0982 | 1246944.8248
22 | 2708823.0982 | 1246944.8248 | 2708820.4619 | 1246950.1473 | 2708817.6875 | 1246956.3412
23 | 2708808.4447 | 1247002.6357 | 2708809.7986 | 1246985.7784
24 | 2708827.8018 | 1246919.5018 | 2708825.388 | 1246911.8847 | 2708820.3044 | 1246904.4188 | 2708811.2664 | 1246897.5252 | 2708797.3586 | 1246891.6764 | 2708775.7531 | 1246882.0613 | 2708772.2007 | 1246880.3494
25 | 2708808.4447 | 1247002.6357 | 2708809.9527 | 1247018.6806
26 | 2708808.4447 | 1247002.6357 | 2708802.2463 | 1247005.6911 | 2708785.2003 | 1247020.6748
27 | 2708816.6905 | 1247038.91 | 2708810.4925 | 1247024.4242 | 2708809.9527 | 1247018.6806
28 | 2708851.5785 | 1247080.7081 | 2708841.6501 | 1247072.1343 | 2708830.7173 | 1247059.0009 | 2708816.9761 | 1247039.5775 | 2708816.6905 | 1247038.91
29 | 2708800.1541 | 1247133.6312 | 2708818.7645 | 1247143.8231
30 | 2708818.7645 | 1247143.8231 | 2708826.5113 | 1247148.0656
31 | 2708851.5785 | 1247080.7081 | 2708853.3519 | 1247082.2396
32 | 2708826.5113 | 1247148.0656 | 2708839.6971 | 1247155.2867
33 | 2708853.3519 | 1247082.2396 | 2708855.429 | 1247084.0332
34 | 2708880.0847 | 1247105.325 | 2708855.429 | 1247084.0332
35 | 2708881.4758 | 1247106.5264 | 2708880.0847 | 1247105.325
36 | 2708932.76 | 1247061.8783 | 2708932.1474 | 1247059.761
37 | 2708948.4695 | 1247091.1666 | 2708941.9622 | 1247084.7197 | 2708935.5347 | 1247071.4687 | 2708932.76 | 1247061.8783
38 | 2708925.913 | 1247038.2124 | 2708932.1474 | 1247059.761
39 | 2708940.7573 | 1247103.0011 | 2708948.4695 | 1247091.1666
40 | 2709000.0173 | 1247033.701 | 2708989.7064 | 1247038.5264 | 2708978.1779 | 1247049.9905 | 2708948.4695 | 1247091.1666
41 | 2708925.913 | 1247038.2124 | 2708924.6389 | 1247033.8085
42 | 2708940.7573 | 1247103.0011 | 2708936.7277 | 1247106.7342
43 | 2708940.7573 | 1247103.0011 | 2708950.6293 | 1247115.1694
44 | 2709000.0173 | 1247033.701 | 2709009.4289 | 1247033.8185 | 2709018.1328 | 1247038.7269 | 2709023.5841 | 1247045.8995 | 2709026.7166 | 1247057.144 | 2709028.0588 | 1247070.4238 | 2709033.9263 | 1247086.5891 | 2709043.1033 | 1247101.0917 | 2709044.1887 | 1247102.1744
45 | 2708917.3311 | 1247117.541 | 2708919.5513 | 1247117.3232 | 2708928.9286 | 1247113.9594 | 2708936.7277 | 1247106.7342
46 | 2708950.6293 | 1247115.1694 | 2708956.7294 | 1247122.6882 | 2708959.6647 | 1247133.221
47 | 2709053.9497 | 1247111.911 | 2709053.9497 | 1247111.911 | 2709044.1887 | 1247102.1744
48 | 2708894.8532 | 1247114.8898 | 2708894.8532 | 1247114.8898 | 2708908.1907 | 1247118.4376 | 2708917.3311 | 1247117.541
49 | 2708960.0775 | 1247134.7021 | 2708959.6647 | 1247133.221
50 | 2709064.442 | 1247121.0335 | 2709053.9497 | 1247111.911
51 | 2708881.4758 | 1247106.5264 | 2708877.7697 | 1247115.143
52 | 2708881.4758 | 1247106.5264 | 2708894.8532 | 1247114.8898
53 | 2709067.7756 | 1247124.6311 | 2709064.442 | 1247121.0335
54 | 2709067.7756 | 1247124.6311 | 2709059.8855 | 1247132.9816 | 2709048.0549 | 1247146.2544
55 | 2709036.7634 | 1247158.9222 | 2709048.0549 | 1247146.2544
56 | 2709007.4594 | 1247191.7984 | 2709010.4911 | 1247194.5563
57 | 2709010.4911 | 1247194.5563 | 2708997.7014 | 1247209.0866
58 | 2709007.4594 | 1247191.7984 | 2709014.4853 | 1247183.9161
59 | 2708997.7014 | 1247209.0866 | 2708985.6952 | 1247222.7266
60 | 2709014.5586 | 1247183.8338 | 2709036.7634 | 1247158.9222
61 | 2708920.2143 | 1247265.7993 | 2708929.5392 | 1247262.3901 | 2708938.1294 | 1247257.4439
62 | 2709014.4853 | 1247183.9161 | 2709014.5586 | 1247183.8338
63 | 2708920.2143 | 1247265.7993 | 2708914.0983 | 1247266.8434 | 2708904.339 | 1247267.5758 | 2708895.635 | 1247267.4519
64 | 2708920.2143 | 1247265.7993 | 2708920.0834 | 1247268.8104 | 2708919.9126 | 1247272.7549 | 2708919.8622 | 1247273.8549 | 2708919.8332 | 1247275.022 | 2708919.7051 | 1247279.5232 | 2708919.6418 | 1247281.735 | 2708922.5633 | 1247284.324 | 2708926.2642 | 1247290.13
65 | 2708895.635 | 1247267.4519 | 2708882.8133 | 1247267.2692 | 2708869.0521 | 1247266.3541
66 | 2708926.2642 | 1247290.13 | 2708928.1776 | 1247295.3583 | 2708927.8969 | 1247300.9464
67 | 2708927.4985 | 1247308.8789 | 2708927.8969 | 1247300.9464
68 | 2708925.8228 | 1247342.4974 | 2708926.5265 | 1247328.3778
69 | 2708925.8228 | 1247342.4974 | 2708924.1474 | 1247342.3999 | 2708908.6189 | 1247341.4543
70 | 2708927.4985 | 1247308.8789 | 2708926.5265 | 1247328.3778
71 | 2708908.6189 | 1247341.4543 | 2708891.1793 | 1247340.3924
72 | 2708875.6077 | 1247380.6504 | 2708866.0832 | 1247380.9536
73 | 2708866.0832 | 1247380.9536 | 2708858.1782 | 1247381.2272
74 | 2708875.6077 | 1247380.6504 | 2708876.7422 | 1247365.2461
75 | 2708822.1202 | 1247272.059 | 2708819.608 | 1247301.5833
76 | 2708808.552 | 1247262.1687 | 2708808.6714 | 1247263.4831 | 2708808.9749 | 1247266.7024 | 2708822.5166 | 1247267.7517 | 2708822.1202 | 1247272.059
77 | 2708822.1202 | 1247272.059 | 2708843.6688 | 1247273.495
78 | 2708808.552 | 1247262.1687 | 2708818.0605 | 1247262.8374
79 | 2708818.0605 | 1247262.8374 | 2708818.3366 | 1247262.8569
80 | 2708877.923 | 1247349.2121 | 2708876.7422 | 1247365.2461
81 | 2708866.8566 | 1247266.2081 | 2708869.0521 | 1247266.3541
82 | 2708880.4813 | 1247315.2432 | 2708883.1556 | 1247288.0371
83 | 2708878.6355 | 1247339.6286 | 2708880.2861 | 1247317.2297 | 2708880.4813 | 1247315.2432
84 | 2708878.6355 | 1247339.6286 | 2708891.1793 | 1247340.3924
85 | 2708818.3366 | 1247262.8569 | 2708846.1967 | 1247264.8162
86 | 2708877.923 | 1247349.2121 | 2708860.1499 | 1247347.3314
87 | 2708878.6355 | 1247339.6286 | 2708877.923 | 1247349.2121
88 | 2708846.1967 | 1247264.8162 | 2708850.9254 | 1247265.1488 | 2708866.8566 | 1247266.2081
89 | 2708837.3572 | 1247344.9195 | 2708860.1499 | 1247347.3314

## bus_geodata
| x | y | coords
0 | 2708913.1989 | 1247215.8974
1 | 2708910.5519 | 1247217.1437
2 | 2708928.5761 | 1247206.6942
3 | 2708904.2215 | 1247220.1244
4 | 2708954.2688 | 1247219.6931
5 | 2708941.2778 | 1247197.9649
6 | 2708886.0064 | 1247162.4067
7 | 2708863.5068 | 1247157.6821
8 | 2708970.8278 | 1247232.747
9 | 2708856.0656 | 1247160.1252
10 | 2708871.3125 | 1247141.4597
11 | 2708943.2217 | 1247263.5868
12 | 2709001.711 | 1247198.2242
13 | 2708808.2767 | 1246962.6388
14 | 2708807.7785 | 1246972.6772
15 | 2708811.505 | 1246975.0475
16 | 2708815.3889 | 1246942.1033
17 | 2708817.0473 | 1246936.1401
18 | 2708823.0982 | 1246944.8248
19 | 2708809.7986 | 1246985.7784
20 | 2708817.6875 | 1246956.3412
21 | 2708827.8018 | 1246919.5018
22 | 2708808.4447 | 1247002.6357
23 | 2708772.2007 | 1246880.3494
24 | 2708809.9527 | 1247018.6806
25 | 2708785.2003 | 1247020.6748
26 | 2708816.6905 | 1247038.91
27 | 2708800.1541 | 1247133.6312
28 | 2708818.7645 | 1247143.8231
29 | 2708851.5785 | 1247080.7081
30 | 2708826.5113 | 1247148.0656
31 | 2708853.3519 | 1247082.2396
32 | 2708855.429 | 1247084.0332
33 | 2708880.0847 | 1247105.325
34 | 2708932.76 | 1247061.8783
35 | 2708932.1474 | 1247059.761
36 | 2708948.4695 | 1247091.1666
37 | 2708925.913 | 1247038.2124
38 | 2708940.7573 | 1247103.0011
39 | 2709000.0173 | 1247033.701
40 | 2708924.6389 | 1247033.8085
41 | 2708936.7277 | 1247106.7342
42 | 2708950.6293 | 1247115.1694
43 | 2709044.1887 | 1247102.1744
44 | 2708917.3311 | 1247117.541
45 | 2708959.6647 | 1247133.221
46 | 2709053.9497 | 1247111.911
47 | 2708877.7697 | 1247115.143
48 | 2708881.4758 | 1247106.5264
49 | 2708894.8532 | 1247114.8898
50 | 2708839.6971 | 1247155.2867
51 | 2709064.442 | 1247121.0335
52 | 2709067.7756 | 1247124.6311
53 | 2709048.0549 | 1247146.2544
54 | 2709010.4911 | 1247194.5563
55 | 2709007.4594 | 1247191.7984
56 | 2708997.7014 | 1247209.0866
57 | 2709036.7634 | 1247158.9222
58 | 2708938.1294 | 1247257.4439
59 | 2709014.4853 | 1247183.9161
60 | 2708920.2143 | 1247265.7993
61 | 2708895.635 | 1247267.4519
62 | 2708926.2642 | 1247290.13
63 | 2708927.8969 | 1247300.9464
64 | 2708925.8228 | 1247342.4974
65 | 2708926.5265 | 1247328.3778
66 | 2708908.6189 | 1247341.4543
67 | 2708866.0832 | 1247380.9536
68 | 2708875.6077 | 1247380.6504
69 | 2708858.1782 | 1247381.2272
70 | 2708822.1202 | 1247272.059
71 | 2708819.608 | 1247301.5833
72 | 2708808.552 | 1247262.1687
73 | 2708843.6688 | 1247273.495
74 | 2708818.0605 | 1247262.8374
75 | 2708876.7422 | 1247365.2461
76 | 2708927.4985 | 1247308.8789
77 | 2708985.6952 | 1247222.7266
78 | 2708960.0775 | 1247134.7021
79 | 2709014.5586 | 1247183.8338
80 | 2708869.0521 | 1247266.3541
81 | 2708883.1556 | 1247288.0371
82 | 2708880.4813 | 1247315.2432
83 | 2708891.1793 | 1247340.3924
84 | 2708818.3366 | 1247262.8569
85 | 2708877.923 | 1247349.2121
86 | 2708866.8566 | 1247266.2081
87 | 2708846.1967 | 1247264.8162
88 | 2708878.6355 | 1247339.6286
89 | 2708860.1499 | 1247347.3314
90 | 2708837.3572 | 1247344.9195
91 | 2708928.5761 | 1247206.6942

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1