## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3006-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3006-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3006-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3006-18_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3006-18_0_4_node_45 | 0.4 | n |  | TRUE
5 | bus_LV_3006-18_0_4_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_3006-18_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3006-18_0_4_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_3006-18_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3006-18_0_4_node_78 | 0.4 | n |  | TRUE
10 | bus_LV_3006-18_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3006-18_0_4_node_73 | 0.4 | n |  | TRUE
12 | bus_LV_3006-18_0_4_node_74 | 0.4 | n |  | TRUE
13 | bus_LV_3006-18_0_4_node_75 | 0.4 | n |  | TRUE
14 | bus_LV_3006-18_0_4_node_76 | 0.4 | n |  | TRUE
15 | bus_LV_3006-18_0_4_node_82 | 0.4 | n |  | TRUE
16 | bus_LV_3006-18_0_4_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_3006-18_0_4_node_81 | 0.4 | n |  | TRUE
18 | bus_LV_3006-18_0_4_node_77 | 0.4 | n |  | TRUE
19 | bus_LV_3006-18_0_4_node_94 | 0.4 | n |  | TRUE
20 | bus_LV_3006-18_0_4_node_93 | 0.4 | n |  | TRUE
21 | bus_LV_3006-18_0_4_node_4 | 0.4 | n |  | TRUE
22 | bus_LV_3006-18_0_4_node_50 | 0.4 | n |  | TRUE
23 | bus_LV_3006-18_0_4_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_3006-18_0_4_node_49 | 0.4 | n |  | TRUE
25 | bus_LV_3006-18_0_4_node_6 | 0.4 | n |  | TRUE
26 | bus_LV_3006-18_0_4_node_9 | 0.4 | n |  | TRUE
27 | bus_LV_3006-18_0_4_node_10 | 0.4 | n |  | TRUE
28 | bus_LV_3006-18_0_4_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_3006-18_0_4_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_3006-18_0_4_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_3006-18_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3006-18_0_4_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_3006-18_0_4_node_48 | 0.4 | n |  | TRUE
34 | bus_LV_3006-18_0_4_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_3006-18_0_4_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_3006-18_0_4_node_17 | 0.4 | n |  | TRUE
37 | bus_LV_3006-18_0_4_node_19 | 0.4 | n |  | TRUE
38 | bus_LV_3006-18_0_4_node_53 | 0.4 | n |  | TRUE
39 | bus_LV_3006-18_0_4_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_3006-18_0_4_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_3006-18_0_4_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_3006-18_0_4_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_3006-18_0_4_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_3006-18_0_4_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_3006-18_0_4_node_22 | 0.4 | n |  | TRUE
46 | bus_LV_3006-18_0_4_node_23 | 0.4 | n |  | TRUE
47 | bus_LV_3006-18_0_4_node_24 | 0.4 | n |  | TRUE
48 | bus_LV_3006-18_0_4_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_3006-18_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_3006-18_0_4_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_3006-18_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_3006-18_0_4_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_3006-18_0_4_node_25 | 0.4 | n |  | TRUE
54 | bus_LV_3006-18_0_4_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_3006-18_0_4_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_3006-18_0_4_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_3006-18_0_4_node_29 | 0.4 | n |  | TRUE
58 | bus_LV_3006-18_0_4_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_3006-18_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_3006-18_0_4_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_3006-18_0_4_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_3006-18_0_4_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_3006-18_0_4_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_3006-18_0_4_node_88 | 0.4 | n |  | TRUE
65 | bus_LV_3006-18_0_4_node_86 | 0.4 | n |  | TRUE
66 | bus_LV_3006-18_0_4_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_3006-18_0_4_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_3006-18_0_4_node_92 | 0.4 | n |  | TRUE
69 | bus_LV_3006-18_0_4_node_35 | 0.4 | n |  | TRUE
70 | bus_LV_3006-18_0_4_node_36 | 0.4 | n |  | TRUE
71 | bus_LV_3006-18_0_4_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_3006-18_0_4_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_3006-18_0_4_node_80 | 0.4 | n |  | TRUE
74 | bus_LV_3006-18_0_4_node_52 | 0.4 | n |  | TRUE
75 | bus_LV_3006-18_0_4_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_3006-18_0_4_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_3006-18_0_4_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_3006-18_0_4_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_3006-18_0_4_node_60 | 0.4 | n |  | TRUE
80 | bus_LV_3006-18_0_4_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_3006-18_0_4_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_3006-18_0_4_node_63 | 0.4 | n |  | TRUE
83 | bus_LV_3006-18_0_4_node_64 | 0.4 | n |  | TRUE
84 | bus_LV_3006-18_0_4_node_65 | 0.4 | n |  | TRUE
85 | bus_LV_3006-18_0_4_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_3006-18_0_4_node_66 | 0.4 | n |  | TRUE
87 | bus_LV_3006-18_0_4_node_67 | 0.4 | n |  | TRUE
88 | bus_LV_3006-18_0_4_node_68 | 0.4 | n |  | TRUE
89 | bus_LV_3006-18_0_4_node_69 | 0.4 | n |  | TRUE
90 | bus_LV_3006-18_0_4_node_71 | 0.4 | n |  | TRUE
91 | bus_LV_3006-18_0_4_node_72 | 0.4 | n |  | TRUE
92 | bus_LV_3006-18_0_4_node_95 | 0.4 | n |  | TRUE
93 | bus_LV_3006-18_0_4_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_3006-18_0_4_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_3006-18_0_4_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_3006-18_0_4_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_3006-18_0_4_node_97 | 0.4 | n |  | TRUE
98 | bus_LV_3006-18_0_4_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_3006-18_0_4_node_99 | 0.4 | n |  | TRUE
100 | bus_LV_3006-18_0_4_node_100 | 0.4 | n |  | TRUE
101 | bus_MV_39_0_node_55 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3006-18_0_4_load_0 | 0 | 0.014525 | 0.0036403 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3006-18_0_4_load_1 | 1 | 0.016243 | 0.0040708 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3006-18_0_4_load_2 | 2 | 0.0073269 | 0.0018363 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3006-18_0_4_load_45 | 4 | 0.0041275 | 0.0010344 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3006-18_0_4_load_44 | 5 | 0.0035983 | 0.00090181 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3006-18_0_4_load_5 | 6 | 0.00087511 | 0.00021932 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3006-18_0_4_load_43 | 7 | 0.0036643 | 0.00091835 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3006-18_0_4_load_8 | 8 | 0.0009652 | 0.0002419 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3006-18_0_4_load_78 | 9 | 0.0010103 | 0.0002532 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3006-18_0_4_load_7 | 10 | 0.0029202 | 0.00073188 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3006-18_0_4_load_73 | 11 | 0.0014958 | 0.00037487 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3006-18_0_4_load_74 | 12 | 0.001383 | 0.00034661 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3006-18_0_4_load_75 | 13 | 0.00033946 | 8.5076e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3006-18_0_4_load_76 | 14 | 0.00099298 | 0.00024887 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3006-18_0_4_load_82 | 15 | 0.00053714 | 0.00013462 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3006-18_0_4_load_83 | 16 | 0.0011597 | 0.00029064 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3006-18_0_4_load_81 | 17 | 0.0013024 | 0.00032642 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3006-18_0_4_load_77 | 18 | 0.0010986 | 0.00027533 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3006-18_0_4_load_94 | 19 | 0.0013811 | 0.00034613 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3006-18_0_4_load_93 | 20 | 0.0014742 | 0.00036948 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3006-18_0_4_load_4 | 21 | 0.0045196 | 0.0011327 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3006-18_0_4_load_50 | 22 | 0.0031183 | 0.00078153 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3006-18_0_4_load_51 | 23 | 0.0040422 | 0.0010131 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3006-18_0_4_load_49 | 24 | 0.0029641 | 0.00074288 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3006-18_0_4_load_6 | 25 | 0.001078 | 0.00027018 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3006-18_0_4_load_9 | 26 | 0.0018025 | 0.00045175 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3006-18_0_4_load_10 | 27 | 0.0011313 | 0.00028353 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3006-18_0_4_load_11 | 28 | 0.0015296 | 0.00038336 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3006-18_0_4_load_12 | 29 | 0.0036331 | 0.00091055 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3006-18_0_4_load_13 | 30 | 0.0011223 | 0.00028128 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3006-18_0_4_load_18 | 31 | 0.0027938 | 0.0007002 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3006-18_0_4_load_15 | 32 | 0.000732 | 0.00018346 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3006-18_0_4_load_48 | 33 | 0.0024771 | 0.00062082 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3006-18_0_4_load_14 | 34 | 0.00090908 | 0.00022784 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3006-18_0_4_load_16 | 35 | 0.00095574 | 0.00023953 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3006-18_0_4_load_17 | 36 | 0.0041252 | 0.0010339 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3006-18_0_4_load_38 | 39 | 0.0048574 | 0.0012174 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3006-18_0_4_load_55 | 40 | 0.0027029 | 0.00067741 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3006-18_0_4_load_54 | 41 | 0.0037121 | 0.00093035 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3006-18_0_4_load_37 | 42 | 0.0053584 | 0.001343 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3006-18_0_4_load_20 | 43 | 0.0019949 | 0.00049998 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3006-18_0_4_load_21 | 44 | 0.00076202 | 0.00019098 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3006-18_0_4_load_22 | 45 | 0.0012939 | 0.00032429 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3006-18_0_4_load_23 | 46 | 0.0029763 | 0.00074593 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3006-18_0_4_load_32 | 49 | 0.003174 | 0.00079548 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3006-18_0_4_load_42 | 50 | 0.00080894 | 0.00020274 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3006-18_0_4_load_39 | 51 | 0.0034094 | 0.00085448 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3006-18_0_4_load_33 | 52 | 0.002909 | 0.00072906 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3006-18_0_4_load_25 | 53 | 0.0025786 | 0.00064626 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3006-18_0_4_load_26 | 54 | 0.0019145 | 0.00047981 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3006-18_0_4_load_28 | 56 | 0.0020583 | 0.00051586 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3006-18_0_4_load_30 | 58 | 0.0024447 | 0.00061271 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3006-18_0_4_load_47 | 59 | 0.0016055 | 0.00040238 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3006-18_0_4_load_34 | 60 | 0.0025405 | 0.00063671 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3006-18_0_4_load_46 | 61 | 0.0087352 | 0.0021892 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3006-18_0_4_load_88 | 64 | 0.0013591 | 0.00034062 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3006-18_0_4_load_86 | 65 | 0.0027233 | 0.00068252 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3006-18_0_4_load_84 | 66 | 0.0010031 | 0.00025139 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3006-18_0_4_load_40 | 67 | 0.0018131 | 0.0004544 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3006-18_0_4_load_92 | 68 | 0.00056045 | 0.00014046 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3006-18_0_4_load_35 | 69 | 0.003786 | 0.00094885 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3006-18_0_4_load_36 | 70 | 0.0044745 | 0.0011214 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3006-18_0_4_load_41 | 71 | 0.0017825 | 0.00044674 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3006-18_0_4_load_79 | 72 | 0.0010926 | 0.00027383 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3006-18_0_4_load_80 | 73 | 0.00075085 | 0.00018818 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3006-18_0_4_load_52 | 74 | 0.0028677 | 0.00071872 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3006-18_0_4_load_56 | 75 | 0.00087165 | 0.00021846 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3006-18_0_4_load_57 | 76 | 0.002351 | 0.00058921 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3006-18_0_4_load_58 | 77 | 0.00086258 | 0.00021618 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3006-18_0_4_load_59 | 78 | 0.00088473 | 0.00022174 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3006-18_0_4_load_60 | 79 | 0.0010462 | 0.0002622 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3006-18_0_4_load_62 | 81 | 0.00061241 | 0.00015349 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3006-18_0_4_load_63 | 82 | 0.0007202 | 0.0001805 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3006-18_0_4_load_65 | 84 | 0.0044845 | 0.0011239 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3006-18_0_4_load_70 | 85 | 0.0013366 | 0.00033498 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3006-18_0_4_load_66 | 86 | 0.0019523 | 0.00048928 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3006-18_0_4_load_67 | 87 | 0.00069025 | 0.00017299 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3006-18_0_4_load_68 | 88 | 0.0022001 | 0.0005514 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3006-18_0_4_load_69 | 89 | 0.0037217 | 0.00093275 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3006-18_0_4_load_71 | 90 | 0.0010979 | 0.00027516 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3006-18_0_4_load_72 | 91 | 0.0012321 | 0.00030879 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3006-18_0_4_load_95 | 92 | 0.0015298 | 0.00038341 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3006-18_0_4_load_89 | 93 | 0.00087983 | 0.00022051 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3006-18_0_4_load_90 | 94 | 0.0017028 | 0.00042676 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3006-18_0_4_load_91 | 95 | 0.0017269 | 0.00043281 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3006-18_0_4_load_96 | 96 | 0.0013073 | 0.00032764 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3006-18_0_4_load_97 | 97 | 0.00079733 | 0.00019983 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3006-18_0_4_load_98 | 98 | 0.00098466 | 0.00024678 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3006-18_0_4_load_99 | 99 | 0.00078233 | 0.00019607 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3006-18_0_4_load_100 | 100 | 0.00078993 | 0.00019797 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3006-18_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.058455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3006-18_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.041085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3006-18_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.025295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3006-18_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.061597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3006-18_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.029774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3006-18_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.093975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3006-18_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.023404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3006-18_0_4_line_7 | NAYY 4x150 SE | 6 | 25 | 0.01295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3006-18_0_4_line_8 | NAYY 4x150 SE | 7 | 57 | 0.016851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3006-18_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.012642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3006-18_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.009891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3006-18_0_4_line_11 | NAYY 4x150 SE | 9 | 14 | 0.01261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3006-18_0_4_line_12 | NAYY 4x150 SE | 10 | 25 | 0.039731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3006-18_0_4_line_13 | NAYY 4x150 SE | 11 | 12 | 0.01551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3006-18_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.046614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3006-18_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.012929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3006-18_0_4_line_16 | NAYY 4x150 SE | 13 | 18 | 0.014811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3006-18_0_4_line_17 | NAYY 4x150 SE | 15 | 16 | 0.020227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3006-18_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.058165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3006-18_0_4_line_19 | NAYY 4x150 SE | 16 | 18 | 0.041255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3006-18_0_4_line_20 | NAYY 4x150 SE | 17 | 72 | 0.018115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3006-18_0_4_line_21 | NAYY 4x150 SE | 18 | 66 | 0.030259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3006-18_0_4_line_22 | NAYY 4x150 SE | 19 | 20 | 0.04834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3006-18_0_4_line_23 | NAYY 4x150 SE | 20 | 63 | 0.033722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3006-18_0_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.13168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3006-18_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.020517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3006-18_0_4_line_26 | NAYY 4x150 SE | 22 | 24 | 0.016474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3006-18_0_4_line_27 | NAYY 4x150 SE | 23 | 74 | 0.0065864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3006-18_0_4_line_28 | NAYY 4x150 SE | 24 | 33 | 0.028595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3006-18_0_4_line_29 | NAYY 4x150 SE | 26 | 27 | 0.024104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3006-18_0_4_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0058211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3006-18_0_4_line_31 | NAYY 4x150 SE | 27 | 29 | 0.024178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3006-18_0_4_line_32 | NAYY 4x150 SE | 28 | 30 | 0.023632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3006-18_0_4_line_33 | NAYY 4x150 SE | 29 | 31 | 0.016239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3006-18_0_4_line_34 | NAYY 4x150 SE | 30 | 32 | 0.0049555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3006-18_0_4_line_35 | NAYY 4x150 SE | 31 | 33 | 0.00062578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3006-18_0_4_line_36 | NAYY 4x150 SE | 32 | 34 | 0.0046245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3006-18_0_4_line_37 | NAYY 4x150 SE | 34 | 35 | 0.024282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3006-18_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.028921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3006-18_0_4_line_39 | NAYY 4x150 SE | 36 | 37 | 0.059116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3006-18_0_4_line_40 | NAYY 4x150 SE | 37 | 38 | 0.031495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3006-18_0_4_line_41 | NAYY 4x150 SE | 37 | 39 | 0.022679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3006-18_0_4_line_42 | NAYY 4x150 SE | 38 | 40 | 0.0088898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3006-18_0_4_line_43 | NAYY 4x150 SE | 38 | 41 | 0.01116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3006-18_0_4_line_44 | NAYY 4x150 SE | 39 | 42 | 0.004754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3006-18_0_4_line_45 | NAYY 4x150 SE | 40 | 75 | 0.023157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3006-18_0_4_line_46 | NAYY 4x150 SE | 41 | 71 | 0.024723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3006-18_0_4_line_47 | NAYY 4x150 SE | 42 | 70 | 0.02409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3006-18_0_4_line_48 | NAYY 4x150 SE | 43 | 44 | 0.017875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3006-18_0_4_line_49 | NAYY 4x150 SE | 43 | 45 | 0.027158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3006-18_0_4_line_50 | NAYY 4x150 SE | 44 | 46 | 0.031615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3006-18_0_4_line_51 | NAYY 4x150 SE | 45 | 47 | 0.013465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3006-18_0_4_line_52 | NAYY 4x150 SE | 47 | 48 | 0.0063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3006-18_0_4_line_53 | NAYY 4x150 SE | 47 | 49 | 0.016774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_3006-18_0_4_line_54 | NAYY 4x150 SE | 48 | 50 | 0.050108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3006-18_0_4_line_55 | NAYY 4x150 SE | 48 | 51 | 0.0080293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3006-18_0_4_line_56 | NAYY 4x150 SE | 49 | 52 | 0.018069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_3006-18_0_4_line_57 | NAYY 4x150 SE | 51 | 67 | 0.027417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3006-18_0_4_line_58 | NAYY 4x150 SE | 52 | 60 | 0.0068698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_3006-18_0_4_line_59 | NAYY 4x150 SE | 53 | 54 | 0.029689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3006-18_0_4_line_60 | NAYY 4x150 SE | 53 | 55 | 0.017331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3006-18_0_4_line_61 | NAYY 4x150 SE | 54 | 56 | 0.0085493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3006-18_0_4_line_62 | NAYY 4x150 SE | 55 | 57 | 0.03361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3006-18_0_4_line_63 | NAYY 4x150 SE | 55 | 58 | 0.016906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3006-18_0_4_line_64 | NAYY 4x150 SE | 56 | 59 | 0.012795 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3006-18_0_4_line_65 | NAYY 4x150 SE | 57 | 60 | 0.0097929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_3006-18_0_4_line_66 | NAYY 4x150 SE | 58 | 61 | 0.015276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3006-18_0_4_line_67 | NAYY 4x150 SE | 62 | 63 | 0.003318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3006-18_0_4_line_68 | NAYY 4x150 SE | 62 | 64 | 0.039436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3006-18_0_4_line_69 | NAYY 4x150 SE | 62 | 65 | 0.0057699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3006-18_0_4_line_70 | NAYY 4x150 SE | 62 | 66 | 0.025147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3006-18_0_4_line_71 | NAYY 4x150 SE | 63 | 68 | 0.0051143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3006-18_0_4_line_72 | NAYY 4x150 SE | 64 | 92 | 0.0034179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3006-18_0_4_line_73 | NAYY 4x150 SE | 67 | 71 | 0.015432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3006-18_0_4_line_74 | NAYY 4x150 SE | 68 | 94 | 0.017011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3006-18_0_4_line_75 | NAYY 4x150 SE | 69 | 70 | 0.0075497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3006-18_0_4_line_76 | NAYY 4x150 SE | 72 | 73 | 0.012644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3006-18_0_4_line_77 | NAYY 4x150 SE | 75 | 76 | 0.0012335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3006-18_0_4_line_78 | NAYY 4x150 SE | 76 | 77 | 0.016365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3006-18_0_4_line_79 | NAYY 4x150 SE | 77 | 78 | 0.0048367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3006-18_0_4_line_80 | NAYY 4x150 SE | 78 | 79 | 0.014875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3006-18_0_4_line_81 | NAYY 4x150 SE | 79 | 80 | 0.011124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3006-18_0_4_line_82 | NAYY 4x150 SE | 80 | 81 | 0.011386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3006-18_0_4_line_83 | NAYY 4x150 SE | 80 | 82 | 0.015246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3006-18_0_4_line_84 | NAYY 4x150 SE | 81 | 83 | 0.013784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3006-18_0_4_line_85 | NAYY 4x150 SE | 82 | 84 | 0.03125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3006-18_0_4_line_86 | NAYY 4x150 SE | 83 | 85 | 0.069555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3006-18_0_4_line_87 | NAYY 4x150 SE | 84 | 86 | 0.008944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3006-18_0_4_line_88 | NAYY 4x150 SE | 85 | 89 | 0.0068914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3006-18_0_4_line_89 | NAYY 4x150 SE | 86 | 90 | 0.0054474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3006-18_0_4_line_90 | NAYY 4x150 SE | 87 | 88 | 0.017075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3006-18_0_4_line_91 | NAYY 4x150 SE | 88 | 89 | 0.010758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3006-18_0_4_line_92 | NAYY 4x150 SE | 90 | 91 | 0.11011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3006-18_0_4_line_93 | NAYY 4x150 SE | 92 | 96 | 0.013147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3006-18_0_4_line_94 | NAYY 4x150 SE | 93 | 94 | 0.016501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3006-18_0_4_line_95 | NAYY 4x150 SE | 93 | 95 | 0.044734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3006-18_0_4_line_96 | NAYY 4x150 SE | 96 | 97 | 0.0030296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3006-18_0_4_line_97 | NAYY 4x150 SE | 97 | 98 | 0.011203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3006-18_0_4_line_98 | NAYY 4x150 SE | 98 | 99 | 0.013299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3006-18_0_4_line_99 | NAYY 4x150 SE | 99 | 100 | 0.014221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3006-18_0_4_trafo_33 | 0.25 MVA 20/0.4 kV | 101 | 52 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2738797.2147 | 1241515.825 | 2738797.2147 | 1241515.825 | 2738796.8634 | 1241497.2224 | 2738799.6686 | 1241481.1069 | 2738811.3641 | 1241466.8121 | 2738815.5423 | 1241464.0271
1 | 2738797.2147 | 1241515.825 | 2738803.7123 | 1241531.9691 | 2738812.4956 | 1241543.5293 | 2738819.5034 | 1241549.4336
2 | 2738836.5898 | 1241449.9981 | 2738815.5423 | 1241464.0271
3 | 2738836.5898 | 1241449.9981 | 2738848.7866 | 1241463.4065 | 2738878.0665 | 1241495.5376
4 | 2738836.5898 | 1241449.9981 | 2738813.6806 | 1241430.9806
5 | 2738878.0665 | 1241495.5376 | 2738955.6017 | 1241442.4371
6 | 2738795.5037 | 1241416.2378 | 2738810.2869 | 1241428.1634 | 2738813.6806 | 1241430.9806
7 | 2738955.6017 | 1241442.4371 | 2738955.9929 | 1241429.4933
8 | 2738782.3884 | 1241405.6577 | 2738795.5037 | 1241416.2378
9 | 2738958.2644 | 1241367.2722 | 2738957.7363 | 1241379.9032
10 | 2738957.7363 | 1241379.9032 | 2738957.3232 | 1241389.7855
11 | 2738958.791 | 1241354.673 | 2738958.2644 | 1241367.2722
12 | 2738955.9929 | 1241429.4933 | 2738956.8534 | 1241401.024 | 2738957.3232 | 1241389.7855
13 | 2738959.5953 | 1241326.2512 | 2738959.6071 | 1241335.1518 | 2738959.331 | 1241341.7555
14 | 2738959.5953 | 1241326.2512 | 2738959.5694 | 1241306.7366 | 2738957.2187 | 1241290.2002 | 2738953.9747 | 1241280.3222
15 | 2738959.331 | 1241341.7555 | 2738958.791 | 1241354.673
16 | 2738953.9747 | 1241280.3222 | 2738949.3534 | 1241266.2502
17 | 2739001.9549 | 1241268.7128 | 2738998.9189 | 1241265.054 | 2738988.5977 | 1241253.5266
18 | 2739034.2287 | 1241316.5727 | 2739033.9138 | 1241315.5743 | 2739028.6743 | 1241302.8847 | 2739012.8003 | 1241281.7829 | 2739001.9549 | 1241268.7128
19 | 2738949.3534 | 1241266.2502 | 2738988.5977 | 1241253.5266
20 | 2739039.6789 | 1241333.8478 | 2739034.2287 | 1241316.5727
21 | 2738949.3534 | 1241266.2502 | 2738949.3534 | 1241266.2502 | 2738939.4034 | 1241245.0762 | 2738936.5264 | 1241238.8451
22 | 2738952.4723 | 1241291.9733 | 2738950.7438 | 1241282.1303 | 2738946.332 | 1241267.0357 | 2738940.8645 | 1241254.3854 | 2738937.4128 | 1241246.2481
23 | 2738922.6582 | 1241215.936 | 2738935.1658 | 1241240.9511 | 2738937.4128 | 1241246.2481
24 | 2738754.2994 | 1241553.6635 | 2738655.5517 | 1241640.7795
25 | 2738754.2994 | 1241553.6635 | 2738767.555 | 1241569.324
26 | 2738743.6564 | 1241541.0896 | 2738754.2994 | 1241553.6635
27 | 2738767.555 | 1241569.324 | 2738771.8103 | 1241574.3513
28 | 2738725.1818 | 1241519.2633 | 2738743.6564 | 1241541.0896
29 | 2738683.0922 | 1241469.5376 | 2738698.665 | 1241487.9356
30 | 2738683.0922 | 1241469.5376 | 2738679.3313 | 1241465.0944
31 | 2738714.2858 | 1241506.3905 | 2738698.665 | 1241487.9356
32 | 2738664.0637 | 1241447.0569 | 2738679.3313 | 1241465.0944
33 | 2738724.7775 | 1241518.7857 | 2738714.2858 | 1241506.3905
34 | 2738664.0637 | 1241447.0569 | 2738660.8622 | 1241443.2745
35 | 2738724.7775 | 1241518.7857 | 2738725.1818 | 1241519.2633
36 | 2738657.8745 | 1241439.7448 | 2738660.8622 | 1241443.2745
37 | 2738643.0141 | 1241420.5775 | 2738648.9915 | 1241429.2502 | 2738657.8745 | 1241439.7448
38 | 2738643.0141 | 1241420.5775 | 2738638.3032 | 1241413.7423 | 2738633.5222 | 1241393.6841
39 | 2738646.3257 | 1241337.5061 | 2738635.1625 | 1241360.0988 | 2738632.1243 | 1241387.8193 | 2738633.5222 | 1241393.6841
40 | 2738646.3257 | 1241337.5061 | 2738669.1633 | 1241315.7535
41 | 2738646.3257 | 1241337.5061 | 2738664.4319 | 1241351.1632
42 | 2738669.1633 | 1241315.7535 | 2738663.2918 | 1241309.0785
43 | 2738669.1633 | 1241315.7535 | 2738677.8926 | 1241322.7067
44 | 2738668.2273 | 1241354.026 | 2738664.4319 | 1241351.1632
45 | 2738663.2918 | 1241309.0785 | 2738647.9976 | 1241291.6913
46 | 2738677.8926 | 1241322.7067 | 2738697.2304 | 1241338.1102
47 | 2738687.4595 | 1241368.5323 | 2738668.2273 | 1241354.026
48 | 2738714.7109 | 1241403.8641 | 2738702.7189 | 1241417.1194
49 | 2738714.7109 | 1241403.8641 | 2738732.9309 | 1241383.725
50 | 2738701.5404 | 1241444.992 | 2738696.2793 | 1241437.0842 | 2738695.6568 | 1241428.4508 | 2738699.647 | 1241420.5148 | 2738702.7189 | 1241417.1194
51 | 2738741.9646 | 1241373.7397 | 2738732.9309 | 1241383.725
52 | 2738741.9646 | 1241373.7397 | 2738737.0265 | 1241369.8097
53 | 2738741.9646 | 1241373.7397 | 2738755.1295 | 1241384.1345
54 | 2738737.0265 | 1241369.8097 | 2738732.91 | 1241373.7614 | 2738694.6276 | 1241396.4538
55 | 2738737.0265 | 1241369.8097 | 2738730.7461 | 1241364.807
56 | 2738769.3108 | 1241395.3318 | 2738755.1295 | 1241384.1345
57 | 2738730.7461 | 1241364.807 | 2738709.3013 | 1241347.7253
58 | 2738769.3108 | 1241395.3318 | 2738774.7026 | 1241399.589
59 | 2738748.8939 | 1241444.0766 | 2738739.4272 | 1241454.3969 | 2738738.4374 | 1241462.114 | 2738742.5738 | 1241468.8491
60 | 2738760.6093 | 1241431.3047 | 2738748.8939 | 1241444.0766
61 | 2738742.5738 | 1241468.8491 | 2738742.6853 | 1241469.0306 | 2738746.9993 | 1241476.1639
62 | 2738782.3884 | 1241405.6577 | 2738760.6093 | 1241431.3047
63 | 2738760.6093 | 1241431.3047 | 2738773.9189 | 1241441.7289
64 | 2738750.928 | 1241488.1848 | 2738749.0571 | 1241479.5667 | 2738746.9993 | 1241476.1639
65 | 2738782.3884 | 1241405.6577 | 2738774.7026 | 1241399.589
66 | 2738785.9454 | 1241451.1481 | 2738773.9189 | 1241441.7289
67 | 2738922.6582 | 1241215.936 | 2738925.9846 | 1241216.0139
68 | 2738925.9846 | 1241216.0139 | 2738921.9633 | 1241210.0812 | 2738908.5544 | 1241180.7298
69 | 2738925.9846 | 1241216.0139 | 2738931.7532 | 1241216.1379
70 | 2738925.9846 | 1241216.0139 | 2738936.5264 | 1241238.8451
71 | 2738922.6582 | 1241215.936 | 2738920.4632 | 1241211.3166
72 | 2738908.5544 | 1241180.7298 | 2738907.4863 | 1241178.3918 | 2738907.1458 | 1241177.6157
73 | 2738697.2304 | 1241338.1102 | 2738709.3013 | 1241347.7253
74 | 2738913.1606 | 1241195.9524 | 2738917.5976 | 1241205.2858 | 2738920.4632 | 1241211.3166
75 | 2738693.4868 | 1241373.0786 | 2738687.4595 | 1241368.5323
76 | 2739039.6789 | 1241333.8478 | 2739043.483 | 1241345.9055
77 | 2738647.9976 | 1241291.6913 | 2738647.1829 | 1241290.7651
78 | 2738636.3746 | 1241278.4777 | 2738647.1829 | 1241290.7651
79 | 2738636.3746 | 1241278.4777 | 2738633.1801 | 1241274.846
80 | 2738633.1801 | 1241274.846 | 2738623.3557 | 1241263.6772
81 | 2738616.0086 | 1241255.3247 | 2738623.3557 | 1241263.6772
82 | 2738616.0086 | 1241255.3247 | 2738608.5891 | 1241253.9947 | 2738604.8015 | 1241253.3122
83 | 2738616.0086 | 1241255.3247 | 2738628.7902 | 1241247.0143
84 | 2738591.2342 | 1241250.8756 | 2738599.0154 | 1241252.2696 | 2738604.8015 | 1241253.3122
85 | 2738628.7902 | 1241247.0143 | 2738629.2504 | 1241246.7151 | 2738639.6606 | 1241217.8325
86 | 2738591.2342 | 1241250.8756 | 2738566.9638 | 1241185.6927
87 | 2738639.8697 | 1241208.8909 | 2738639.6606 | 1241217.8325 | 2738639.6606 | 1241217.8325
88 | 2738566.9638 | 1241185.6927 | 2738562.7511 | 1241180.2389
89 | 2738639.997 | 1241203.445 | 2738639.8697 | 1241208.8909
90 | 2738546.9574 | 1241157.3275 | 2738556.5564 | 1241171.4488
91 | 2738556.5564 | 1241171.4488 | 2738560.921 | 1241177.8695 | 2738562.7511 | 1241180.2389
92 | 2738639.997 | 1241203.445 | 2738703.9873 | 1241113.8322
93 | 2738907.1458 | 1241177.6157 | 2738901.864 | 1241165.5761
94 | 2738906.0761 | 1241181.0499 | 2738913.1606 | 1241195.9524
95 | 2738906.0761 | 1241181.0499 | 2738886.8701 | 1241140.649
96 | 2738900.6469 | 1241162.8017 | 2738901.864 | 1241165.5761
97 | 2738900.6469 | 1241162.8017 | 2738896.1459 | 1241152.5421
98 | 2738890.8103 | 1241140.3607 | 2738891.8894 | 1241142.8396 | 2738896.1459 | 1241152.5421
99 | 2738885.1345 | 1241127.3217 | 2738890.8103 | 1241140.3607

## bus_geodata
| x | y | coords
0 | 2738797.2147 | 1241515.825
1 | 2738815.5423 | 1241464.0271
2 | 2738819.5034 | 1241549.4336
3 | 2738836.5898 | 1241449.9981
4 | 2738878.0665 | 1241495.5376
5 | 2738813.6807 | 1241430.9806
6 | 2738955.6017 | 1241442.4371
7 | 2738795.5037 | 1241416.2378
8 | 2738957.7363 | 1241379.9032
9 | 2738958.2644 | 1241367.2722
10 | 2738957.3232 | 1241389.7856
11 | 2738959.5953 | 1241326.2512
12 | 2738959.331 | 1241341.7555
13 | 2738953.9747 | 1241280.3222
14 | 2738958.791 | 1241354.673
15 | 2739001.9549 | 1241268.7128
16 | 2738988.5977 | 1241253.5266
17 | 2739034.2287 | 1241316.5727
18 | 2738949.3534 | 1241266.2502
19 | 2738952.4723 | 1241291.9733
20 | 2738937.4128 | 1241246.2481
21 | 2738655.5517 | 1241640.7795
22 | 2738754.2994 | 1241553.6635
23 | 2738767.555 | 1241569.324
24 | 2738743.6564 | 1241541.0896
25 | 2738955.9929 | 1241429.4933
26 | 2738683.0922 | 1241469.5376
27 | 2738698.665 | 1241487.9356
28 | 2738679.3313 | 1241465.0944
29 | 2738714.2858 | 1241506.3905
30 | 2738664.0637 | 1241447.0569
31 | 2738724.7775 | 1241518.7857
32 | 2738660.8622 | 1241443.2745
33 | 2738725.1818 | 1241519.2633
34 | 2738657.8745 | 1241439.7448
35 | 2738643.0141 | 1241420.5775
36 | 2738633.5222 | 1241393.6841
37 | 2738646.3257 | 1241337.5061
38 | 2738669.1633 | 1241315.7535
39 | 2738664.4319 | 1241351.1632
40 | 2738663.2918 | 1241309.0785
41 | 2738677.8926 | 1241322.7067
42 | 2738668.2273 | 1241354.026
43 | 2738714.7109 | 1241403.8641
44 | 2738702.7189 | 1241417.1194
45 | 2738732.9309 | 1241383.725
46 | 2738701.5404 | 1241444.992
47 | 2738741.9646 | 1241373.7397
48 | 2738737.0265 | 1241369.8097
49 | 2738755.1295 | 1241384.1345
50 | 2738694.6276 | 1241396.4538
51 | 2738730.7461 | 1241364.807
52 | 2738769.3108 | 1241395.3318
53 | 2738748.8939 | 1241444.0766
54 | 2738742.5738 | 1241468.8491
55 | 2738760.6093 | 1241431.3047
56 | 2738746.9993 | 1241476.1639
57 | 2738782.3884 | 1241405.6577
58 | 2738773.9189 | 1241441.7289
59 | 2738750.928 | 1241488.1848
60 | 2738774.7026 | 1241399.589
61 | 2738785.9454 | 1241451.1481
62 | 2738925.9846 | 1241216.0139
63 | 2738922.6582 | 1241215.936
64 | 2738908.5544 | 1241180.7298
65 | 2738931.7532 | 1241216.1379
66 | 2738936.5264 | 1241238.8451
67 | 2738709.3013 | 1241347.7253
68 | 2738920.4632 | 1241211.3166
69 | 2738693.4868 | 1241373.0786
70 | 2738687.4595 | 1241368.5323
71 | 2738697.2304 | 1241338.1102
72 | 2739039.6789 | 1241333.8478
73 | 2739043.483 | 1241345.9055
74 | 2738771.8103 | 1241574.3513
75 | 2738647.9976 | 1241291.6913
76 | 2738647.1829 | 1241290.7651
77 | 2738636.3746 | 1241278.4777
78 | 2738633.1801 | 1241274.846
79 | 2738623.3557 | 1241263.6772
80 | 2738616.0086 | 1241255.3247
81 | 2738604.8015 | 1241253.3122
82 | 2738628.7902 | 1241247.0143
83 | 2738591.2342 | 1241250.8756
84 | 2738639.6606 | 1241217.8325
85 | 2738566.9638 | 1241185.6927
86 | 2738639.8697 | 1241208.8909
87 | 2738546.9574 | 1241157.3275
88 | 2738556.5564 | 1241171.4488
89 | 2738562.7511 | 1241180.2389
90 | 2738639.997 | 1241203.445
91 | 2738703.9873 | 1241113.8322
92 | 2738907.1458 | 1241177.6157
93 | 2738906.0761 | 1241181.0499
94 | 2738913.1606 | 1241195.9525
95 | 2738886.8701 | 1241140.649
96 | 2738901.864 | 1241165.5761
97 | 2738900.6469 | 1241162.8017
98 | 2738896.1459 | 1241152.5421
99 | 2738890.8103 | 1241140.3607
100 | 2738885.1345 | 1241127.3217
101 | 2738782.3884 | 1241405.6577

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1