## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3006-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3006-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3006-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3006-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3006-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3006-1_0_3_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_3006-1_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_3006-1_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3006-1_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3006-1_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_3006-1_0_3_node_25 | 0.4 | n |  | TRUE
11 | bus_LV_3006-1_0_3_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_3006-1_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3006-1_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_3006-1_0_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_3006-1_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_3006-1_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3006-1_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_3006-1_0_3_node_74 | 0.4 | n |  | TRUE
19 | bus_LV_3006-1_0_3_node_27 | 0.4 | n |  | TRUE
20 | bus_LV_3006-1_0_3_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_3006-1_0_3_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_3006-1_0_3_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_3006-1_0_3_node_78 | 0.4 | n |  | TRUE
24 | bus_LV_3006-1_0_3_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_3006-1_0_3_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_3006-1_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_3006-1_0_3_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_3006-1_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3006-1_0_3_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_3006-1_0_3_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_3006-1_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_3006-1_0_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_3006-1_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_3006-1_0_3_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_3006-1_0_3_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_3006-1_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_3006-1_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_3006-1_0_3_node_77 | 0.4 | n |  | TRUE
39 | bus_LV_3006-1_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_3006-1_0_3_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3006-1_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_3006-1_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_3006-1_0_3_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_3006-1_0_3_node_73 | 0.4 | n |  | TRUE
45 | bus_MV_39_0_node_161 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3006-1_0_3_load_0 | 0 | 0.00057055 | 0.00014299 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3006-1_0_3_load_1 | 1 | 0.00038725 | 9.7054e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3006-1_0_3_load_2 | 2 | 0.00052569 | 0.00013175 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3006-1_0_3_load_4 | 4 | 0.0029044 | 0.0007279 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3006-1_0_3_load_76 | 5 | 0.0064726 | 0.0016222 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3006-1_0_3_load_10 | 6 | 0.0039677 | 0.0009944 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3006-1_0_3_load_5 | 7 | 0.0002872 | 7.1979e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3006-1_0_3_load_6 | 8 | 0.00026884 | 6.7379e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3006-1_0_3_load_22 | 9 | 0.00096797 | 0.0002426 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3006-1_0_3_load_30 | 11 | 0.0010619 | 0.00026615 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3006-1_0_3_load_8 | 12 | 0.00049116 | 0.0001231 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3006-1_0_3_load_21 | 13 | 0.00040044 | 0.00010036 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3006-1_0_3_load_7 | 15 | 0.00077264 | 0.00019364 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3006-1_0_3_load_28 | 17 | 0.0013672 | 0.00034264 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3006-1_0_3_load_74 | 18 | 0.0035654 | 0.00089357 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3006-1_0_3_load_27 | 19 | 0.00043644 | 0.00010938 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3006-1_0_3_load_70 | 20 | 0.00098204 | 0.00024612 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3006-1_0_3_load_71 | 21 | 0.0027034 | 0.00067753 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3006-1_0_3_load_78 | 23 | 0.088028 | 0.022062 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3006-1_0_3_load_11 | 24 | 0.00090499 | 0.00022681 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3006-1_0_3_load_12 | 25 | 0.00066986 | 0.00016788 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3006-1_0_3_load_15 | 28 | 0.00019236 | 4.821e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3006-1_0_3_load_32 | 29 | 0.00044047 | 0.00011039 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3006-1_0_3_load_33 | 30 | 0.00013314 | 3.3368e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3006-1_0_3_load_16 | 33 | 0.00088783 | 0.00022251 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3006-1_0_3_load_17 | 34 | 0.00098842 | 0.00024772 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3006-1_0_3_load_19 | 36 | 0.00099805 | 0.00025013 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3006-1_0_3_load_77 | 38 | 0.0018525 | 0.00046428 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3006-1_0_3_load_23 | 39 | 0.00056529 | 0.00014167 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3006-1_0_3_load_29 | 41 | 0.00050267 | 0.00012598 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3006-1_0_3_load_31 | 42 | 0.00059641 | 0.00014948 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3006-1_0_3_load_75 | 43 | 0.00019319 | 4.8417e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3006-1_0_3_load_73 | 44 | 0.0016569 | 0.00041525 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3006-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.073126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_3006-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0079347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_3006-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.03068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_3006-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_3006-1_0_3_line_4 | NAYY 4x150 SE | 3 | 7 | 0.042417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_3006-1_0_3_line_5 | NAYY 4x150 SE | 3 | 8 | 0.066887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3006-1_0_3_line_6 | NAYY 4x150 SE | 4 | 9 | 0.038931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_3006-1_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.24033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_3006-1_0_3_line_8 | NAYY 4x150 SE | 6 | 16 | 0.14584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3006-1_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0080121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3006-1_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.21909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3006-1_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.21002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_3006-1_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.28931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_3006-1_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.12531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_3006-1_0_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.017899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_3006-1_0_3_line_15 | NAYY 4x150 SE | 13 | 39 | 0.023074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_3006-1_0_3_line_16 | NAYY 4x150 SE | 14 | 43 | 0.22793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3006-1_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.10415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_3006-1_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.56573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_3006-1_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.033611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_3006-1_0_3_line_20 | NAYY 4x150 SE | 18 | 44 | 0.12451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_3006-1_0_3_line_21 | NAYY 4x150 SE | 19 | 40 | 0.033629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_3006-1_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.031266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_3006-1_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.027712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_3006-1_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.38533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_3006-1_0_3_line_25 | NAYY 4x150 SE | 22 | 44 | 0.014619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_3006-1_0_3_line_26 | NAYY 4x150 SE | 23 | 37 | 0.060188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_3006-1_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.041828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3006-1_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.03396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3006-1_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.064626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3006-1_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0084023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3006-1_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.14533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3006-1_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.17832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3006-1_0_3_line_33 | NAYY 4x150 SE | 28 | 31 | 0.17109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3006-1_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.091359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3006-1_0_3_line_35 | NAYY 4x150 SE | 32 | 43 | 0.10248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3006-1_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.014627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3006-1_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.085647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3006-1_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.079185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3006-1_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.066607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3006-1_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.045179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_3006-1_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.020085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_3006-1_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.044299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3006-1_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.034306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3006-1_0_3_trafo_77 | 0.25 MVA 20/0.4 kV | 45 | 38 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2740155.3509 | 1240759.8709 | 2740212.403 | 1240757.1261 | 2740223.2188 | 1240754.9685 | 2740227.4979 | 1240752.4226
1 | 2740147.4254 | 1240760.2522 | 2740155.3509 | 1240759.8709
2 | 2740248.5735 | 1240730.4454 | 2740240.9123 | 1240739.9619 | 2740231.8123 | 1240749.8558 | 2740227.4979 | 1240752.4226
3 | 2740088.0917 | 1240763.0452 | 2740093.6589 | 1240762.8389 | 2740147.4254 | 1240760.2522
4 | 2740248.5735 | 1240730.4454 | 2740262.1387 | 1240714.0735 | 2740277.2327 | 1240699.2498
5 | 2740248.5735 | 1240730.4454 | 2740246.6755 | 1240724.0171 | 2740239.1363 | 1240717.8112 | 2740214.399 | 1240708.8521 | 2740201.2221 | 1240699.5215 | 2740195.8382 | 1240693.6538
6 | 2740088.0917 | 1240763.0452 | 2740070.3766 | 1240763.7014 | 2740049.2436 | 1240761.968
7 | 2739948.6383 | 1241070.0828 | 2740185.2848 | 1241111.982
8 | 2739948.6383 | 1241070.0828 | 2739826.1195 | 1240990.4131
9 | 2740282.949 | 1240693.6357 | 2740277.2327 | 1240699.2498
10 | 2740065.8156 | 1240518.93 | 2740117.0237 | 1240607.6512 | 2740161.2246 | 1240656.0602 | 2740179.3185 | 1240675.6495 | 2740195.8382 | 1240693.6538
11 | 2740049.2436 | 1240761.968 | 2739880.2545 | 1240886.6732
12 | 2739778.8105 | 1240683.2408 | 2739792.9334 | 1240688.4165 | 2739811.1064 | 1240691.2137 | 2739852.2602 | 1240691.828 | 2739866.8965 | 1240693.8302 | 2739883.3166 | 1240697.4981 | 2739930.5847 | 1240720.4771 | 2739951.3886 | 1240735.5254 | 2739970.6688 | 1240744.9329 | 2739981.2371 | 1240746.2054 | 2740009.872 | 1240747.404 | 2740031.4599 | 1240748.136 | 2740049.2436 | 1240761.968 | 2740049.2436 | 1240761.968
13 | 2740282.949 | 1240693.6357 | 2740320.5893 | 1240649.6303 | 2740335.4955 | 1240613.6837 | 2740351.4814 | 1240589.9848
14 | 2739880.2545 | 1240886.6732 | 2739873.8567 | 1240891.727 | 2739867.495 | 1240899.1107
15 | 2739778.8105 | 1240683.2408 | 2739757.1457 | 1240675.301
16 | 2740351.4814 | 1240589.9848 | 2740376.756 | 1240551.9593 | 2740389.4591 | 1240528.8946 | 2740413.0495 | 1240461.0471 | 2740431.4997 | 1240378.9857
17 | 2739826.1195 | 1240990.4131 | 2739858.2878 | 1240945.9755 | 2739860.5623 | 1240937.0989 | 2739860.4511 | 1240925.13 | 2739860.3508 | 1240914.6293 | 2739862.4035 | 1240904.8912 | 2739865.7992 | 1240901.0789 | 2739867.495 | 1240899.1107
18 | 2739692.3277 | 1240715.7172 | 2739266.4648 | 1241088.13
19 | 2739692.3277 | 1240715.7172 | 2739703.963 | 1240694.8168 | 2739711.6413 | 1240688.9051
20 | 2739157.1414 | 1241128.7572 | 2739160.562 | 1241123.9596 | 2739168.0643 | 1241115.6391 | 2739179.6855 | 1241104.5795 | 2739192.8296 | 1241097.6036 | 2739204.3082 | 1241092.6239 | 2739219.3723 | 1241090.542 | 2739229.8522 | 1241093.6239 | 2739241.9881 | 1241095.121 | 2739249.9292 | 1241093.895 | 2739257.9275 | 1241090.2349 | 2739266.4648 | 1241088.13
21 | 2739738.2873 | 1240668.3898 | 2739711.6413 | 1240688.9051
22 | 2739157.2219 | 1241162.0653 | 2739157.4406 | 1241162.532 | 2739166.9825 | 1241191.7643
23 | 2739145.4608 | 1241136.9728 | 2739157.2219 | 1241162.0653
24 | 2739462.1372 | 1241439.4863 | 2739166.9825 | 1241191.7643
25 | 2739145.4608 | 1241136.9728 | 2739150.4052 | 1241133.2186 | 2739155.3136 | 1241131.3209 | 2739157.1414 | 1241128.7572
26 | 2739504.8951 | 1241481.9736 | 2739462.1372 | 1241439.4863
27 | 2740553.8174 | 1240049.8563 | 2740555.3311 | 1240053.882 | 2740563.1352 | 1240072.2388 | 2740576.3772 | 1240083.8031
28 | 2740598.0389 | 1240109.1428 | 2740594.65 | 1240100.8217 | 2740581.4214 | 1240088.2083 | 2740576.3772 | 1240083.8031
29 | 2740530.6783 | 1239989.5185 | 2740537.0966 | 1240005.3846 | 2740553.8174 | 1240049.8563
30 | 2740598.0389 | 1240109.1428 | 2740597.8946 | 1240117.5438
31 | 2740530.6783 | 1239989.5185 | 2740489.6279 | 1239961.9668 | 2740466.9402 | 1239943.3355 | 2740443.1128 | 1239938.3229 | 2740402.4042 | 1239926.0268
32 | 2740530.6783 | 1239989.5185 | 2740502.1156 | 1239930.8121 | 2740493.2097 | 1239891.5551 | 2740466.1058 | 1239855.5593 | 2740457.8529 | 1239829.0956
33 | 2740531.098 | 1240232.7132 | 2740574.4679 | 1240231.8947 | 2740584.2503 | 1240229.3352 | 2740592.1059 | 1240224.439 | 2740598.6878 | 1240209.7595 | 2740599.3156 | 1240197.3188 | 2740597.6609 | 1240131.1536 | 2740597.8946 | 1240117.5438
34 | 2740458.1195 | 1240280.3734 | 2740464.8185 | 1240268.7214 | 2740477.3788 | 1240255.2399 | 2740497.3471 | 1240240.4213 | 2740513.3411 | 1240234.9727 | 2740531.098 | 1240232.7132
35 | 2740458.1195 | 1240280.3734 | 2740449.1555 | 1240300.4571 | 2740431.4997 | 1240378.9857
36 | 2739549.815 | 1241615.2747 | 2739558.9104 | 1241612.0822 | 2739562.7814 | 1241608.9371 | 2739562.7814 | 1241608.9371
37 | 2739554.1561 | 1241523.8691 | 2739557.9186 | 1241542.0516 | 2739559.5252 | 1241574.7076 | 2739562.7814 | 1241608.9371
38 | 2739554.1561 | 1241523.8691 | 2739543.8462 | 1241519.0669 | 2739530.0715 | 1241518.1422 | 2739476.1741 | 1241524.1476
39 | 2739554.1561 | 1241523.8691 | 2739546.5054 | 1241511.1667 | 2739539.2566 | 1241506.7813 | 2739522.4991 | 1241499.8589 | 2739510.4528 | 1241489.7667 | 2739504.8951 | 1241481.9736
40 | 2739547.1021 | 1241468.4536 | 2739509.5184 | 1241477.0779 | 2739504.8951 | 1241481.9736
41 | 2739738.2873 | 1240668.3898 | 2739757.1457 | 1240675.301
42 | 2739738.2873 | 1240668.3898 | 2739699.4755 | 1240647.0338
43 | 2739669.1574 | 1240631.0288 | 2739675.0693 | 1240633.6043 | 2739699.4755 | 1240647.0338

## bus_geodata
| x | y | coords
0 | 2740155.3509 | 1240759.8709
1 | 2740227.4979 | 1240752.4226
2 | 2740147.4254 | 1240760.2522
3 | 2740248.5735 | 1240730.4454
4 | 2740088.0917 | 1240763.0452
5 | 2740185.2848 | 1241111.982
6 | 2739948.6383 | 1241070.0828
7 | 2740277.2327 | 1240699.2498
8 | 2740195.8382 | 1240693.6538
9 | 2740049.2436 | 1240761.968
10 | 2740282.949 | 1240693.6357
11 | 2740065.8156 | 1240518.93
12 | 2739880.2545 | 1240886.6732
13 | 2739778.8105 | 1240683.2408
14 | 2740351.4814 | 1240589.9848
15 | 2739867.4949 | 1240899.1107
16 | 2739826.1195 | 1240990.4131
17 | 2739692.3277 | 1240715.7172
18 | 2739266.4648 | 1241088.13
19 | 2739711.6413 | 1240688.9051
20 | 2739157.2219 | 1241162.0653
21 | 2739166.9825 | 1241191.7643
22 | 2739145.4608 | 1241136.9728
23 | 2739462.1372 | 1241439.4863
24 | 2740576.3772 | 1240083.8031
25 | 2740553.8174 | 1240049.8563
26 | 2740598.0389 | 1240109.1428
27 | 2740530.6783 | 1239989.5185
28 | 2740597.8946 | 1240117.5438
29 | 2740402.4042 | 1239926.0268
30 | 2740457.8529 | 1239829.0956
31 | 2740531.098 | 1240232.7132
32 | 2740458.1195 | 1240280.3734
33 | 2739562.7814 | 1241608.9371
34 | 2739549.815 | 1241615.2747
35 | 2739554.1561 | 1241523.8691
36 | 2739476.1741 | 1241524.1476
37 | 2739504.8951 | 1241481.9736
38 | 2739547.1021 | 1241468.4536
39 | 2739757.1457 | 1240675.301
40 | 2739738.2873 | 1240668.3898
41 | 2739699.4755 | 1240647.0338
42 | 2739669.1574 | 1240631.0288
43 | 2740431.4997 | 1240378.9857
44 | 2739157.1414 | 1241128.7572
45 | 2739504.8951 | 1241481.9736

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1