## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3006-1_1_2_node_36 | 0.4 | n |  | TRUE
1 | bus_LV_3006-1_1_2_node_37 | 0.4 | n |  | TRUE
2 | bus_LV_3006-1_1_2_node_38 | 0.4 | n |  | TRUE
3 | bus_LV_3006-1_1_2_node_39 | 0.4 | n |  | TRUE
4 | bus_LV_3006-1_1_2_node_40 | 0.4 | n |  | TRUE
5 | bus_LV_3006-1_1_2_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_3006-1_1_2_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_3006-1_1_2_node_79 | 0.4 | n |  | TRUE
8 | bus_LV_3006-1_1_2_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_3006-1_1_2_node_42 | 0.4 | n |  | TRUE
10 | bus_LV_3006-1_1_2_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_3006-1_1_2_node_62 | 0.4 | n |  | TRUE
12 | bus_LV_3006-1_1_2_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_3006-1_1_2_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_3006-1_1_2_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_3006-1_1_2_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_3006-1_1_2_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_3006-1_1_2_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_3006-1_1_2_node_53 | 0.4 | n |  | TRUE
19 | bus_LV_3006-1_1_2_node_52 | 0.4 | n |  | TRUE
20 | bus_LV_3006-1_1_2_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_3006-1_1_2_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_3006-1_1_2_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_3006-1_1_2_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_3006-1_1_2_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_3006-1_1_2_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_3006-1_1_2_node_68 | 0.4 | n |  | TRUE
27 | bus_LV_3006-1_1_2_node_60 | 0.4 | n |  | TRUE
28 | bus_LV_3006-1_1_2_node_61 | 0.4 | n |  | TRUE
29 | bus_LV_3006-1_1_2_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_3006-1_1_2_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_3006-1_1_2_node_69 | 0.4 | n |  | TRUE
32 | bus_MV_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3006-1_1_2_load_36 | 0 | 0.010048 | 0.0025182 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3006-1_1_2_load_40 | 4 | 0.00017416 | 4.3647e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3006-1_1_2_load_44 | 6 | 0.002177 | 0.0005456 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3006-1_1_2_load_79 | 7 | 0.00044699 | 0.00011203 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3006-1_1_2_load_55 | 10 | 0.00059142 | 0.00014822 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3006-1_1_2_load_62 | 11 | 0.00063432 | 0.00015898 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3006-1_1_2_load_59 | 12 | 0.00024638 | 6.175e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3006-1_1_2_load_45 | 14 | 0.0028225 | 0.00070738 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3006-1_1_2_load_49 | 16 | 0.0092612 | 0.0023211 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3006-1_1_2_load_51 | 17 | 0.0021177 | 0.00053075 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3006-1_1_2_load_52 | 19 | 0.0027709 | 0.00069445 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3006-1_1_2_load_54 | 20 | 0.0027452 | 0.00068801 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3006-1_1_2_load_56 | 21 | 0.00032272 | 8.088e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3006-1_1_2_load_65 | 22 | 0.0016903 | 0.00042364 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3006-1_1_2_load_63 | 23 | 0.0016973 | 0.00042539 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3006-1_1_2_load_68 | 26 | 0.00037798 | 9.473e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3006-1_1_2_load_60 | 27 | 0.00060174 | 0.00015081 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3006-1_1_2_load_64 | 29 | 0.00078227 | 0.00019606 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3006-1_1_2_load_66 | 30 | 0.0010943 | 0.00027425 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3006-1_1_2_load_69 | 31 | 0.0014946 | 0.00037458 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 0 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3006-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.24714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3006-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.20588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3006-1_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.17696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3006-1_1_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.024616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3006-1_1_2_line_4 | NAYY 4x150 SE | 1 | 5 | 0.20226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3006-1_1_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.032748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3006-1_1_2_line_6 | NAYY 4x150 SE | 3 | 7 | 0.017404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3006-1_1_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.092513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3006-1_1_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.087308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3006-1_1_2_line_9 | NAYY 4x150 SE | 5 | 10 | 0.038127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3006-1_1_2_line_10 | NAYY 4x150 SE | 6 | 13 | 0.0098214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3006-1_1_2_line_11 | NAYY 4x150 SE | 8 | 22 | 0.086624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3006-1_1_2_line_12 | NAYY 4x150 SE | 8 | 23 | 0.069602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3006-1_1_2_line_13 | NAYY 4x150 SE | 9 | 11 | 0.12548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3006-1_1_2_line_14 | NAYY 4x150 SE | 9 | 12 | 0.01225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3006-1_1_2_line_15 | NAYY 4x150 SE | 10 | 21 | 0.16674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3006-1_1_2_line_16 | NAYY 4x150 SE | 12 | 27 | 0.22112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3006-1_1_2_line_17 | NAYY 4x150 SE | 13 | 17 | 0.0047234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3006-1_1_2_line_18 | NAYY 4x150 SE | 13 | 15 | 0.007736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3006-1_1_2_line_19 | NAYY 4x150 SE | 14 | 15 | 0.017502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3006-1_1_2_line_20 | NAYY 4x150 SE | 15 | 16 | 0.036888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3006-1_1_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.0092257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3006-1_1_2_line_22 | NAYY 4x150 SE | 18 | 20 | 0.014085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3006-1_1_2_line_23 | NAYY 4x150 SE | 18 | 19 | 0.14111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3006-1_1_2_line_24 | NAYY 4x150 SE | 23 | 29 | 0.31392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3006-1_1_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.17644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3006-1_1_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.012706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3006-1_1_2_line_27 | NAYY 4x150 SE | 25 | 28 | 0.067459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3006-1_1_2_line_28 | NAYY 4x150 SE | 25 | 30 | 0.028519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3006-1_1_2_line_29 | NAYY 4x150 SE | 26 | 31 | 0.0093554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3006-1_1_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.073514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3006-1_1_2_trafo_36 | 0.25 MVA 20/0.4 kV | 32 | 0 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20
0 | 2740262.0518 | 1242057.1679 | 2740206.5701 | 1242011.983 | 2740178.3698 | 1241985.9379 | 2740154.2348 | 1241958.7657 | 2740132.9885 | 1241930.6387 | 2740121.2258 | 1241915.3472 | 2740092.6276 | 1241878.9115
1 | 2739937.4996 | 1241759.4503 | 2739956.0587 | 1241762.7353 | 2739981.3908 | 1241766.8252 | 2740000.9456 | 1241773.4257 | 2740012.2174 | 1241779.7417 | 2740022.0068 | 1241788.9365 | 2740092.6276 | 1241878.9115
2 | 2740262.0518 | 1242057.1679 | 2740286.9799 | 1242018.8114 | 2740303.1351 | 1242002.8233 | 2740321.1478 | 1241990.805 | 2740344.882 | 1241981.1908 | 2740390.4182 | 1241966.599 | 2740402.4567 | 1241959.9889
3 | 2740262.0518 | 1242057.1679 | 2740254.4511 | 1242054.5971 | 2740246.7866 | 1242052.8033 | 2740241.2201 | 1242052.4825 | 2740238.4153 | 1242053.9053
4 | 2740256.0485 | 1242252.4576 | 2740251.0004 | 1242245.254 | 2740244.5291 | 1242224.3601 | 2740243.6993 | 1242213.7197 | 2740243.8859 | 1242205.8282 | 2740245.7758 | 1242197.2317 | 2740257.8604 | 1242178.734 | 2740259.926 | 1242171.0203 | 2740260.9259 | 1242162.9589 | 2740261.3026 | 1242155.0273 | 2740261.0046 | 1242126.0608 | 2740263.2776 | 1242106.3857 | 2740264.126 | 1242096.0965 | 2740263.5801 | 1242084.9624 | 2740262.0518 | 1242057.1679
5 | 2739937.4996 | 1241759.4503 | 2739918.4561 | 1241756.8212 | 2739907.9899 | 1241755.4622 | 2739905.1849 | 1241754.4867
6 | 2740405.9914 | 1241976.4874 | 2740406.4572 | 1241974.0629 | 2740406.5433 | 1241970.4284 | 2740405.4743 | 1241965.7433 | 2740402.4567 | 1241959.9889
7 | 2740256.0485 | 1242252.4576 | 2740260.3345 | 1242255.4282 | 2740278.7331 | 1242266.384 | 2740289.5231 | 1242273.5122 | 2740297.3992 | 1242280.0932 | 2740306.2181 | 1242288.0644 | 2740314.0847 | 1242295.0456 | 2740319.7276 | 1242300.1169 | 2740327.363 | 1242303.1223 | 2740331.7407 | 1242304.7718
8 | 2740230.7794 | 1242317.7527 | 2740237.9248 | 1242310.4594 | 2740245.9775 | 1242294.5464 | 2740243.7954 | 1242286.7211 | 2740243.2857 | 1242279.4915 | 2740251.0004 | 1242245.254 | 2740256.0485 | 1242252.4576
9 | 2740256.0485 | 1242252.4576 | 2740257.9232 | 1242259.5305 | 2740261.8346 | 1242274.1806 | 2740266.4442 | 1242285.2106 | 2740268.8671 | 1242287.9971
10 | 2739897.2967 | 1241748.9821 | 2739901.8833 | 1241753.3386 | 2739905.1849 | 1241754.4867
11 | 2740365.3047 | 1242376.3412 | 2740361.0412 | 1242371.4693 | 2740359.5147 | 1242364.0709 | 2740358.2006 | 1242354.4089 | 2740358.4013 | 1242345.9282 | 2740357.8367 | 1242332.0802 | 2740355.3151 | 1242321.9892 | 2740349.7488 | 1242313.6834 | 2740342.0413 | 1242308.9302 | 2740335.4064 | 1242306.1486 | 2740331.7407 | 1242304.7718
12 | 2740331.7407 | 1242304.7718 | 2740334.0048 | 1242301.7782 | 2740340.4609 | 1242294.8579 | 2740349.1061 | 1242289.3908 | 2740358.5388 | 1242285.1656 | 2740369.9014 | 1242285.0342 | 2740380.4505 | 1242285.0837 | 2740392.4083 | 1242285.3668 | 2740394.3509 | 1242285.2507
13 | 2740142.3087 | 1242267.5288 | 2740156.0385 | 1242270.2777 | 2740178.2772 | 1242273.6393 | 2740189.6017 | 1242275.1192 | 2740199.2916 | 1242276.9609 | 2740206.2281 | 1242278.8264 | 2740210.1217 | 1242282.0769 | 2740213.658 | 1242287.0093 | 2740213.9037 | 1242293.888 | 2740211.7988 | 1242300.3886 | 2740209.558 | 1242305.9184 | 2740209.4623 | 1242309.9642 | 2740210.1927 | 1242313.6181 | 2740214.2392 | 1242317.4394 | 2740217.7993 | 1242317.8461 | 2740222.6576 | 1242318.3613 | 2740230.7794 | 1242317.7527
14 | 2740230.7794 | 1242317.7527 | 2740221.665 | 1242325.9373
15 | 2740284.7025 | 1242439.548 | 2740291.4362 | 1242429.1978 | 2740304.4205 | 1242394.7181 | 2740305.0709 | 1242367.2309 | 2740301.8884 | 1242339.0413 | 2740299.7796 | 1242328.76 | 2740290.7439 | 1242316.2129 | 2740276.3174 | 1242296.5653 | 2740268.8671 | 1242287.9971
16 | 2740221.665 | 1242325.9373 | 2740213.5483 | 1242333.2262 | 2740204.3853 | 1242338.8481 | 2740188.7994 | 1242337.5232 | 2740109.3733 | 1242319.6537 | 2740061.7498 | 1242296.9314 | 2740047.4211 | 1242291.9999 | 2740041.3776 | 1242297.7959 | 2740038.7973 | 1242303.618 | 2740033.0711 | 1242306.2297 | 2740020.3713 | 1242301.7849
17 | 2739897.2967 | 1241748.9821 | 2739896.1264 | 1241744.406
18 | 2739897.2967 | 1241748.9821 | 2739891.8644 | 1241754.5035
19 | 2739891.8644 | 1241754.5035 | 2739884.4132 | 1241761.9234 | 2739879.0742 | 1241765.4118 | 2739878.7078 | 1241765.8981
20 | 2739904.8687 | 1241779.399 | 2739909.2248 | 1241776.855 | 2739910.4943 | 1241774.6607 | 2739909.7458 | 1241772.4077 | 2739906.1518 | 1241769.8985 | 2739901.3093 | 1241768.3719 | 2739898.7119 | 1241766.8982 | 2739895.5739 | 1241762.3757 | 2739892.227 | 1241758.0485 | 2739891.8644 | 1241754.5035
21 | 2739898.6451 | 1241735.7464 | 2739896.651 | 1241739.158 | 2739896.1264 | 1241744.406
22 | 2739898.6451 | 1241735.7464 | 2739905.4865 | 1241723.4342
23 | 2739898.6451 | 1241735.7464 | 2739880.9122 | 1241729.1781 | 2739871.9748 | 1241727.4549 | 2739863.3634 | 1241726.9849 | 2739844.6731 | 1241729.9027 | 2739832.7718 | 1241733.2697 | 2739817.3719 | 1241737.7777 | 2739802.0511 | 1241746.3134 | 2739786.8819 | 1241756.443 | 2739779.9501 | 1241768.4683 | 2739780.883 | 1241775.8904
24 | 2740395.6606 | 1242156.6277 | 2740470.3203 | 1242142.7039 | 2740484.9834 | 1242140.2265 | 2740492.2137 | 1242139.9084 | 2740498.2506 | 1242142.0755 | 2740502.9674 | 1242148.2483 | 2740510.3037 | 1242164.203 | 2740515.2657 | 1242177.2656 | 2740515.1268 | 1242186.6375 | 2740509.6782 | 1242193.7927 | 2740498.8685 | 1242201.5438 | 2740479.9308 | 1242216.5424 | 2740457.1489 | 1242232.918 | 2740434.8826 | 1242251.4745 | 2740425.3733 | 1242258.934 | 2740423.142 | 1242264.0525 | 2740421.2599 | 1242269.7575 | 2740417.6312 | 1242277.3563 | 2740411.7806 | 1242281.3771 | 2740403.4658 | 1242284.7056 | 2740394.3509 | 1242285.2507
25 | 2739983.8609 | 1242362.8754 | 2739991.4295 | 1242368.7147 | 2740020.7974 | 1242396.5104 | 2740032.7159 | 1242410.6154 | 2740040.9288 | 1242423.7543 | 2740043.9352 | 1242438.3162 | 2740121.4422 | 1242434.2864
26 | 2740121.4422 | 1242434.2864 | 2740122.0446 | 1242437.915 | 2740121.4461 | 1242445.6412 | 2740121.0772 | 1242446.865
27 | 2739983.8609 | 1242362.8754 | 2739982.9302 | 1242350.7203 | 2739979.9261 | 1242340.5403 | 2739972.5628 | 1242329.5233 | 2739963.3832 | 1242319.5201 | 2739956.4014 | 1242309.324 | 2739953.7858 | 1242304.4691
28 | 2739983.8609 | 1242362.8754 | 2739974.7532 | 1242353.352 | 2739963.093 | 1242343.3818
29 | 2740118.3771 | 1242455.8224 | 2740121.0772 | 1242446.865
30 | 2739953.7858 | 1242304.4691 | 2739957.5731 | 1242298.453 | 2739967.1218 | 1242291.5386 | 2739986.1261 | 1242292.2319 | 2740000.0242 | 1242295.2179 | 2740013.9213 | 1242299.5274 | 2740020.3713 | 1242301.7849

## bus_geodata
| x | y | coords
0 | 2740092.6276 | 1241878.9115
1 | 2740262.0518 | 1242057.1679
2 | 2739937.4996 | 1241759.4503
3 | 2740402.4567 | 1241959.9889
4 | 2740238.4153 | 1242053.9053
5 | 2740256.0485 | 1242252.4576
6 | 2739905.1849 | 1241754.4867
7 | 2740405.9914 | 1241976.4874
8 | 2740331.7407 | 1242304.7718
9 | 2740230.7794 | 1242317.7527
10 | 2740268.8671 | 1242287.9971
11 | 2740142.3087 | 1242267.5288
12 | 2740221.665 | 1242325.9373
13 | 2739897.2967 | 1241748.9821
14 | 2739878.7078 | 1241765.8981
15 | 2739891.8644 | 1241754.5035
16 | 2739904.8687 | 1241779.399
17 | 2739896.1264 | 1241744.406
18 | 2739898.6451 | 1241735.7464
19 | 2739780.883 | 1241775.8904
20 | 2739905.4865 | 1241723.4342
21 | 2740284.7025 | 1242439.548
22 | 2740365.3047 | 1242376.3412
23 | 2740394.3509 | 1242285.2507
24 | 2740121.4422 | 1242434.2864
25 | 2739983.8609 | 1242362.8754
26 | 2740121.0772 | 1242446.865
27 | 2740020.3713 | 1242301.7849
28 | 2739953.7858 | 1242304.4691
29 | 2740395.6606 | 1242156.6277
30 | 2739963.093 | 1242343.3818
31 | 2740118.3771 | 1242455.8224
32 | 2740092.6276 | 1241878.9115

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1