## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3006-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3006-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3006-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3006-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3006-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3006-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3006-3_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3006-3_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3006-3_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_3006-3_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3006-3_0_3_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_3006-3_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_3006-3_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3006-3_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3006-3_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3006-3_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3006-3_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_3006-3_0_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_3006-3_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_3006-3_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3006-3_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3006-3_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3006-3_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3006-3_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_3006-3_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3006-3_0_3_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_3006-3_0_3_node_80 | 0.4 | n |  | TRUE
27 | bus_LV_3006-3_0_3_node_64 | 0.4 | n |  | TRUE
28 | bus_LV_3006-3_0_3_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_3006-3_0_3_node_72 | 0.4 | n |  | TRUE
30 | bus_LV_3006-3_0_3_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_3006-3_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3006-3_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_3006-3_0_3_node_107 | 0.4 | n |  | TRUE
34 | bus_LV_3006-3_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_3006-3_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_3006-3_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3006-3_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3006-3_0_3_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_3006-3_0_3_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_3006-3_0_3_node_65 | 0.4 | n |  | TRUE
41 | bus_LV_3006-3_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_3006-3_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_3006-3_0_3_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_3006-3_0_3_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_3006-3_0_3_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_3006-3_0_3_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_3006-3_0_3_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_3006-3_0_3_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_3006-3_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_3006-3_0_3_node_88 | 0.4 | n |  | TRUE
51 | bus_LV_3006-3_0_3_node_78 | 0.4 | n |  | TRUE
52 | bus_LV_3006-3_0_3_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_3006-3_0_3_node_102 | 0.4 | n |  | TRUE
54 | bus_LV_3006-3_0_3_node_103 | 0.4 | n |  | TRUE
55 | bus_LV_3006-3_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3006-3_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_3006-3_0_3_node_77 | 0.4 | n |  | TRUE
58 | bus_LV_3006-3_0_3_node_73 | 0.4 | n |  | TRUE
59 | bus_LV_3006-3_0_3_node_74 | 0.4 | n |  | TRUE
60 | bus_LV_3006-3_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_3006-3_0_3_node_45 | 0.4 | n |  | TRUE
62 | bus_LV_3006-3_0_3_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_3006-3_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_3006-3_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_3006-3_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_3006-3_0_3_node_89 | 0.4 | n |  | TRUE
67 | bus_LV_3006-3_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_3006-3_0_3_node_105 | 0.4 | n |  | TRUE
69 | bus_LV_3006-3_0_3_node_106 | 0.4 | n |  | TRUE
70 | bus_LV_3006-3_0_3_node_95 | 0.4 | n |  | TRUE
71 | bus_LV_3006-3_0_3_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_3006-3_0_3_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_3006-3_0_3_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_3006-3_0_3_node_93 | 0.4 | n |  | TRUE
75 | bus_LV_3006-3_0_3_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_3006-3_0_3_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_3006-3_0_3_node_53 | 0.4 | n |  | TRUE
78 | bus_LV_3006-3_0_3_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_3006-3_0_3_node_59 | 0.4 | n |  | TRUE
80 | bus_LV_3006-3_0_3_node_61 | 0.4 | n |  | TRUE
81 | bus_LV_3006-3_0_3_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_3006-3_0_3_node_58 | 0.4 | n |  | TRUE
83 | bus_LV_3006-3_0_3_node_60 | 0.4 | n |  | TRUE
84 | bus_LV_3006-3_0_3_node_62 | 0.4 | n |  | TRUE
85 | bus_LV_3006-3_0_3_node_63 | 0.4 | n |  | TRUE
86 | bus_LV_3006-3_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_3006-3_0_3_node_75 | 0.4 | n |  | TRUE
88 | bus_LV_3006-3_0_3_node_101 | 0.4 | n |  | TRUE
89 | bus_LV_3006-3_0_3_node_92 | 0.4 | n |  | TRUE
90 | bus_LV_3006-3_0_3_node_104 | 0.4 | n |  | TRUE
91 | bus_LV_3006-3_0_3_node_99 | 0.4 | n |  | TRUE
92 | bus_LV_3006-3_0_3_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_3006-3_0_3_node_82 | 0.4 | n |  | TRUE
94 | bus_LV_3006-3_0_3_node_83 | 0.4 | n |  | TRUE
95 | bus_LV_3006-3_0_3_node_84 | 0.4 | n |  | TRUE
96 | bus_LV_3006-3_0_3_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_3006-3_0_3_node_86 | 0.4 | n |  | TRUE
98 | bus_LV_3006-3_0_3_node_91 | 0.4 | n |  | TRUE
99 | bus_LV_3006-3_0_3_node_108 | 0.4 | n |  | TRUE
100 | bus_LV_3006-3_0_3_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_3006-3_0_3_node_97 | 0.4 | n |  | TRUE
102 | bus_MV_39_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3006-3_0_3_load_0 | 0 | 0.0016608 | 0.00041623 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3006-3_0_3_load_1 | 1 | 0.00020109 | 5.0397e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3006-3_0_3_load_2 | 2 | 0.0022188 | 0.00055609 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3006-3_0_3_load_4 | 4 | 0.00239 | 0.00059899 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3006-3_0_3_load_5 | 5 | 0.00057179 | 0.0001433 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3006-3_0_3_load_6 | 6 | 0.00033203 | 8.3215e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3006-3_0_3_load_7 | 7 | 0.0016798 | 0.00042099 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3006-3_0_3_load_23 | 8 | 0.00027002 | 6.7673e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3006-3_0_3_load_24 | 10 | 0.00044841 | 0.00011238 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3006-3_0_3_load_12 | 11 | 0.0020306 | 0.00050892 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3006-3_0_3_load_8 | 13 | 0.0032307 | 0.0008097 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3006-3_0_3_load_11 | 14 | 0.0024506 | 0.00061417 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3006-3_0_3_load_27 | 17 | 0.001972 | 0.00049424 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3006-3_0_3_load_19 | 18 | 0.0015448 | 0.00038717 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3006-3_0_3_load_14 | 19 | 0.0020011 | 0.00050153 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3006-3_0_3_load_17 | 21 | 0.0022656 | 0.00056781 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3006-3_0_3_load_20 | 23 | 0.0020746 | 0.00051995 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3006-3_0_3_load_21 | 24 | 0.0016254 | 0.00040737 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3006-3_0_3_load_22 | 25 | 0.0014223 | 0.00035645 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3006-3_0_3_load_80 | 26 | 0.0019137 | 0.00047961 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3006-3_0_3_load_87 | 28 | 0.0027326 | 0.00068486 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3006-3_0_3_load_72 | 29 | 0.00060108 | 0.00015065 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3006-3_0_3_load_25 | 31 | 0.0024614 | 0.00061688 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3006-3_0_3_load_26 | 32 | 0.0025186 | 0.00063122 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3006-3_0_3_load_107 | 33 | 0.0094302 | 0.0023634 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3006-3_0_3_load_29 | 34 | 0.0019499 | 0.0004887 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3006-3_0_3_load_30 | 35 | 0.0018723 | 0.00046924 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3006-3_0_3_load_31 | 36 | 0.002163 | 0.0005421 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3006-3_0_3_load_32 | 37 | 0.0019912 | 0.00049904 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3006-3_0_3_load_67 | 38 | 0.0019424 | 0.00048681 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3006-3_0_3_load_69 | 39 | 0.0022415 | 0.00056176 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3006-3_0_3_load_65 | 40 | 0.0020804 | 0.00052139 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3006-3_0_3_load_39 | 41 | 0.0065253 | 0.0016354 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3006-3_0_3_load_41 | 42 | 0.0012666 | 0.00031744 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3006-3_0_3_load_68 | 43 | 0.0024297 | 0.00060894 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3006-3_0_3_load_70 | 44 | 0.0028369 | 0.00071098 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3006-3_0_3_load_66 | 45 | 0.0018138 | 0.00045458 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3006-3_0_3_load_35 | 46 | 0.0029442 | 0.00073789 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3006-3_0_3_load_71 | 47 | 0.0021264 | 0.00053292 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3006-3_0_3_load_38 | 48 | 0.0010955 | 0.00027456 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3006-3_0_3_load_40 | 49 | 0.00096143 | 0.00024096 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3006-3_0_3_load_88 | 50 | 0.0032126 | 0.00080516 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3006-3_0_3_load_78 | 51 | 0.0015408 | 0.00038615 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3006-3_0_3_load_76 | 52 | 0.0033467 | 0.00083877 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3006-3_0_3_load_102 | 53 | 0.0045048 | 0.001129 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3006-3_0_3_load_103 | 54 | 0.0048081 | 0.001205 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3006-3_0_3_load_42 | 55 | 0.0010984 | 0.00027528 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3006-3_0_3_load_77 | 57 | 0.012183 | 0.0030534 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3006-3_0_3_load_73 | 58 | 0.002015 | 0.000505 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3006-3_0_3_load_44 | 60 | 0.0018997 | 0.00047611 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3006-3_0_3_load_45 | 61 | 0.00083862 | 0.00021018 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3006-3_0_3_load_46 | 62 | 0.00063949 | 0.00016027 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3006-3_0_3_load_47 | 63 | 0.00070881 | 0.00017764 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3006-3_0_3_load_48 | 64 | 0.00088065 | 0.00022071 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3006-3_0_3_load_49 | 65 | 0.00093894 | 0.00023532 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3006-3_0_3_load_89 | 66 | 0.00064224 | 0.00016096 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3006-3_0_3_load_50 | 67 | 0.00075879 | 0.00019017 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3006-3_0_3_load_105 | 68 | 0.0038629 | 0.00096814 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3006-3_0_3_load_106 | 69 | 0.00069957 | 0.00017533 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3006-3_0_3_load_95 | 70 | 0.00043271 | 0.00010845 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3006-3_0_3_load_90 | 71 | 0.00053939 | 0.00013518 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3006-3_0_3_load_51 | 72 | 0.00084255 | 0.00021116 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3006-3_0_3_load_52 | 73 | 0.00098155 | 0.000246 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3006-3_0_3_load_93 | 74 | 0.00201 | 0.00050375 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3006-3_0_3_load_55 | 75 | 0.0012299 | 0.00030824 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3006-3_0_3_load_94 | 76 | 0.00090928 | 0.00022789 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3006-3_0_3_load_53 | 77 | 0.0006421 | 0.00016093 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3006-3_0_3_load_54 | 78 | 0.00062578 | 0.00015684 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3006-3_0_3_load_61 | 80 | 0.0045147 | 0.0011315 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3006-3_0_3_load_57 | 81 | 0.0017786 | 0.00044576 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3006-3_0_3_load_58 | 82 | 0.0025693 | 0.00064392 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3006-3_0_3_load_62 | 84 | 0.015633 | 0.0039179 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3006-3_0_3_load_63 | 85 | 0.00082353 | 0.0002064 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3006-3_0_3_load_79 | 86 | 0.025436 | 0.0063748 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3006-3_0_3_load_75 | 87 | 0.0084034 | 0.0021061 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3006-3_0_3_load_101 | 88 | 0.01151 | 0.0028847 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3006-3_0_3_load_92 | 89 | 0.0023908 | 0.00059919 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3006-3_0_3_load_104 | 90 | 0.0014709 | 0.00036863 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3006-3_0_3_load_99 | 91 | 0.0041086 | 0.0010297 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3006-3_0_3_load_81 | 92 | 0.00019402 | 4.8626e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3006-3_0_3_load_82 | 93 | 0.0018016 | 0.00045153 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3006-3_0_3_load_84 | 95 | 0.00020376 | 5.1067e-05 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3006-3_0_3_load_85 | 96 | 0.00015823 | 3.9656e-05 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3006-3_0_3_load_86 | 97 | 0.00022604 | 5.6652e-05 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3006-3_0_3_load_91 | 98 | 0.0014096 | 0.00035328 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3006-3_0_3_load_108 | 99 | 0.0010387 | 0.00026032 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3006-3_0_3_load_96 | 100 | 0.0015256 | 0.00038234 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3006-3_0_3_load_97 | 101 | 0.0026571 | 0.00066593 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3006-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3006-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3006-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.039444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3006-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3006-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.015101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3006-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0092906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3006-3_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.010949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3006-3_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.026079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3006-3_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.042772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_3006-3_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.0066459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_3006-3_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.021557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3006-3_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.012004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3006-3_0_3_line_12 | NAYY 4x150 SE | 10 | 31 | 0.029556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3006-3_0_3_line_13 | NAYY 4x150 SE | 11 | 16 | 0.024534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3006-3_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0091576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3006-3_0_3_line_15 | NAYY 4x150 SE | 12 | 13 | 0.029495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3006-3_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.014693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3006-3_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.048143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3006-3_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.044691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3006-3_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.022397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3006-3_0_3_line_20 | NAYY 4x150 SE | 18 | 25 | 0.024602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3006-3_0_3_line_21 | NAYY 4x150 SE | 19 | 20 | 0.027407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3006-3_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.027172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3006-3_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.009217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3006-3_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.055063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3006-3_0_3_line_25 | NAYY 4x150 SE | 22 | 24 | 0.0064601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3006-3_0_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.018351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3006-3_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.0030986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3006-3_0_3_line_28 | NAYY 4x150 SE | 25 | 28 | 0.022837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3006-3_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.034917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3006-3_0_3_line_30 | NAYY 4x150 SE | 27 | 30 | 0.024395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3006-3_0_3_line_31 | NAYY 4x150 SE | 29 | 65 | 0.025518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3006-3_0_3_line_32 | NAYY 4x150 SE | 30 | 79 | 0.031834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3006-3_0_3_line_33 | NAYY 4x150 SE | 30 | 78 | 0.013342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3006-3_0_3_line_34 | NAYY 4x150 SE | 31 | 32 | 0.010304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3006-3_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.069151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3006-3_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.018774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_3006-3_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.014173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3006-3_0_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.014592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3006-3_0_3_line_39 | NAYY 4x150 SE | 37 | 46 | 0.00036611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3006-3_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.048201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_3006-3_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.0010021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3006-3_0_3_line_42 | NAYY 4x150 SE | 39 | 47 | 0.009931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3006-3_0_3_line_43 | NAYY 4x150 SE | 39 | 46 | 0.045965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3006-3_0_3_line_44 | NAYY 4x150 SE | 40 | 45 | 0.015316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_3006-3_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.050575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_3006-3_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.040976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3006-3_0_3_line_47 | NAYY 4x150 SE | 42 | 56 | 0.0096733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3006-3_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.016321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3006-3_0_3_line_49 | NAYY 4x150 SE | 43 | 45 | 0.018919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_3006-3_0_3_line_50 | NAYY 4x150 SE | 44 | 89 | 0.010931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_3006-3_0_3_line_51 | NAYY 4x150 SE | 47 | 50 | 0.010333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_3006-3_0_3_line_52 | NAYY 4x150 SE | 48 | 49 | 0.0017012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3006-3_0_3_line_53 | NAYY 4x150 SE | 48 | 50 | 0.031914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_3006-3_0_3_line_54 | NAYY 4x150 SE | 49 | 55 | 0.0093805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_3006-3_0_3_line_55 | NAYY 4x150 SE | 51 | 52 | 0.051137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3006-3_0_3_line_56 | NAYY 4x150 SE | 52 | 59 | 0.0071589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_3006-3_0_3_line_57 | NAYY 4x150 SE | 53 | 54 | 0.035157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3006-3_0_3_line_58 | NAYY 4x150 SE | 54 | 90 | 0.0024631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_3006-3_0_3_line_59 | NAYY 4x150 SE | 56 | 57 | 0.027873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3006-3_0_3_line_60 | NAYY 4x150 SE | 56 | 58 | 0.010339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3006-3_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.029556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_3006-3_0_3_line_62 | NAYY 4x150 SE | 59 | 87 | 0.017553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3006-3_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.038996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3006-3_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.01867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_3006-3_0_3_line_65 | NAYY 4x150 SE | 61 | 63 | 0.0012024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3006-3_0_3_line_66 | NAYY 4x150 SE | 62 | 64 | 0.020254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_3006-3_0_3_line_67 | NAYY 4x150 SE | 63 | 65 | 0.070854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3006-3_0_3_line_68 | NAYY 4x150 SE | 64 | 66 | 0.34963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3006-3_0_3_line_69 | NAYY 4x150 SE | 65 | 67 | 0.060602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3006-3_0_3_line_70 | NAYY 4x150 SE | 66 | 71 | 0.083073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3006-3_0_3_line_71 | NAYY 4x150 SE | 67 | 72 | 0.13647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3006-3_0_3_line_72 | NAYY 4x150 SE | 68 | 69 | 0.069261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3006-3_0_3_line_73 | NAYY 4x150 SE | 68 | 70 | 0.022428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3006-3_0_3_line_74 | NAYY 4x150 SE | 70 | 76 | 0.010513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3006-3_0_3_line_75 | NAYY 4x150 SE | 71 | 98 | 0.021124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3006-3_0_3_line_76 | NAYY 4x150 SE | 72 | 73 | 0.013624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3006-3_0_3_line_77 | NAYY 4x150 SE | 72 | 74 | 0.083412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3006-3_0_3_line_78 | NAYY 4x150 SE | 73 | 75 | 0.0099585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3006-3_0_3_line_79 | NAYY 4x150 SE | 75 | 76 | 0.10861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3006-3_0_3_line_80 | NAYY 4x150 SE | 77 | 78 | 0.0028175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3006-3_0_3_line_81 | NAYY 4x150 SE | 79 | 80 | 0.039203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
82 | LV_3006-3_0_3_line_82 | NAYY 4x150 SE | 79 | 81 | 0.01625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
83 | LV_3006-3_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.067405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
84 | LV_3006-3_0_3_line_84 | NAYY 4x150 SE | 82 | 83 | 0.043383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
85 | LV_3006-3_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.003587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3006-3_0_3_line_86 | NAYY 4x150 SE | 83 | 85 | 0.034947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
87 | LV_3006-3_0_3_line_87 | NAYY 4x150 SE | 84 | 86 | 0.0414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3006-3_0_3_line_88 | NAYY 4x150 SE | 85 | 87 | 0.028643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
89 | LV_3006-3_0_3_line_89 | NAYY 4x150 SE | 86 | 88 | 0.029709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3006-3_0_3_line_90 | NAYY 4x150 SE | 88 | 91 | 0.030725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3006-3_0_3_line_91 | NAYY 4x150 SE | 89 | 90 | 0.026425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3006-3_0_3_line_92 | NAYY 4x150 SE | 91 | 101 | 0.020022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3006-3_0_3_line_93 | NAYY 4x150 SE | 92 | 93 | 0.073536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3006-3_0_3_line_94 | NAYY 4x150 SE | 92 | 94 | 0.030553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3006-3_0_3_line_95 | NAYY 4x150 SE | 94 | 95 | 0.0414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3006-3_0_3_line_96 | NAYY 4x150 SE | 94 | 96 | 0.00056557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3006-3_0_3_line_97 | NAYY 4x150 SE | 95 | 97 | 0.0063623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3006-3_0_3_line_98 | NAYY 4x150 SE | 97 | 98 | 0.33453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
99 | LV_3006-3_0_3_line_99 | NAYY 4x150 SE | 98 | 99 | 0.38572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3006-3_0_3_line_100 | NAYY 4x150 SE | 100 | 101 | 0.026588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3006-3_0_3_trafo_61 | 0.25 MVA 20/0.4 kV | 102 | 80 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2739082.632 | 1242534.1182 | 2739105.3671 | 1242526.4626
1 | 2739127.7437 | 1242519.3871 | 2739113.5995 | 1242523.6905 | 2739105.3671 | 1242526.4626
2 | 2739053.7666 | 1242559.7317 | 2739061.4196 | 1242549.1015 | 2739076.271 | 1242536.2602 | 2739082.632 | 1242534.1182
3 | 2739142.1974 | 1242514.9896 | 2739127.7437 | 1242519.3871
4 | 2739053.7666 | 1242559.7317 | 2739038.8858 | 1242562.5411
5 | 2739053.7666 | 1242559.7317 | 2739061.1185 | 1242560.9717 | 2739062.8963 | 1242560.5178
6 | 2739152.6718 | 1242511.8027 | 2739142.1974 | 1242514.9896
7 | 2739062.8963 | 1242560.5178 | 2739080.5038 | 1242556.0216 | 2739088.3927 | 1242555.4917
8 | 2739192.9074 | 1242497.293 | 2739153.0323 | 1242511.693 | 2739152.6718 | 1242511.8027
9 | 2739095.0327 | 1242555.2682 | 2739090.8126 | 1242555.3292 | 2739088.3927 | 1242555.4917
10 | 2739192.9074 | 1242497.293 | 2739187.1151 | 1242484.0563 | 2739182.8223 | 1242478.3898
11 | 2739192.9074 | 1242497.293 | 2739197.7236 | 1242508.2936
12 | 2739124.3841 | 1242552.6597 | 2739110.459 | 1242555.045 | 2739095.0327 | 1242555.2682
13 | 2739163.8144 | 1242463.7695 | 2739177.0364 | 1242470.7525 | 2739182.8223 | 1242478.3898
14 | 2739197.7236 | 1242508.2936 | 2739199.1229 | 1242511.5071 | 2739201.8217 | 1242516.4738
15 | 2739197.7236 | 1242508.2936 | 2739222.7108 | 1242523.9656
16 | 2739208.837 | 1242529.3843 | 2739201.8217 | 1242516.4738
17 | 2739208.837 | 1242529.3843 | 2739224.7957 | 1242540.5798 | 2739240.3105 | 1242545.5594 | 2739252.4238 | 1242548.5352
18 | 2739163.8144 | 1242463.7695 | 2739178.2991 | 1242461.4182 | 2739191.1082 | 1242466.3341 | 2739205.7934 | 1242473.4012
19 | 2739163.8144 | 1242463.7695 | 2739141.4706 | 1242465.3138
20 | 2739227.9619 | 1242484.0697 | 2739205.7934 | 1242473.4012
21 | 2739114.0762 | 1242465.9832 | 2739137.628 | 1242465.5794 | 2739141.4706 | 1242465.3138
22 | 2739136.9709 | 1242451.6848 | 2739131.5692 | 1242456.9295 | 2739114.0762 | 1242465.9832
23 | 2739104.8327 | 1242466.0666 | 2739114.0762 | 1242465.9832
24 | 2739104.8327 | 1242466.0666 | 2739139.2362 | 1242433.466 | 2739146.8048 | 1242432.2424
25 | 2739104.8327 | 1242466.0666 | 2739098.4402 | 1242465.1349
26 | 2739146.8048 | 1242432.2424 | 2739163.771 | 1242439.2369
27 | 2739095.374 | 1242464.6881 | 2739098.4402 | 1242465.1349
28 | 2739248.54 | 1242493.9728 | 2739227.9619 | 1242484.0697
29 | 2739095.374 | 1242464.6881 | 2739070.3344 | 1242457.5838 | 2739061.5447 | 1242456.2581
30 | 2739104.4717 | 1242443.7381 | 2739093.9338 | 1242459.027 | 2739095.374 | 1242464.6881
31 | 2739061.5447 | 1242456.2581 | 2739036.3122 | 1242452.4524
32 | 2739121.5755 | 1242423.8767 | 2739122.2474 | 1242428.7635 | 2739121.4701 | 1242434.8174 | 2739119.222 | 1242438.7682 | 2739114.7205 | 1242442.0657 | 2739109.6482 | 1242444.2265 | 2739104.4717 | 1242443.7381
33 | 2739104.4717 | 1242443.7381 | 2739093.8888 | 1242441.2767 | 2739091.5146 | 1242440.5704
34 | 2739133.0649 | 1242555.9424 | 2739128.6747 | 1242551.9247 | 2739124.3841 | 1242552.6597
35 | 2739133.0649 | 1242555.9424 | 2739146.6593 | 1242623.7442
36 | 2739245.4921 | 1242200.874 | 2739243.4022 | 1242199.0875 | 2739231.5296 | 1242188.3251
37 | 2739245.4921 | 1242200.874 | 2739256.2651 | 1242210.083
38 | 2739267.3572 | 1242219.5647 | 2739256.2651 | 1242210.083
39 | 2739267.6355 | 1242219.8026 | 2739267.3572 | 1242219.5647
40 | 2739245.3901 | 1242260.0256 | 2739229.1998 | 1242249.9444 | 2739204.3676 | 1242241.3876 | 2739201.9617 | 1242239.8357
41 | 2739201.1197 | 1242239.2925 | 2739201.9617 | 1242239.8357
42 | 2739245.3901 | 1242260.0256 | 2739246.8506 | 1242260.9351 | 2739252.7199 | 1242266.6765
43 | 2739245.3901 | 1242260.0256 | 2739267.6355 | 1242219.8026
44 | 2739201.1197 | 1242239.2925 | 2739192.3804 | 1242233.6551 | 2739191.4645 | 1242228.825
45 | 2739168.4159 | 1242277.8705 | 2739201.1197 | 1242239.2925
46 | 2739168.4159 | 1242277.8705 | 2739204.0234 | 1242293.7376 | 2739205.9459 | 1242294.2639
47 | 2739159.5801 | 1242273.9332 | 2739168.4159 | 1242277.8705
48 | 2739187.5357 | 1242210.3205 | 2739177.7738 | 1242197.2412
49 | 2739191.4645 | 1242228.825 | 2739190.3682 | 1242223.0428 | 2739187.5357 | 1242210.3205 | 2739187.5357 | 1242210.3205
50 | 2739170.1338 | 1242189.7164 | 2739173.7142 | 1242191.802 | 2739177.7738 | 1242197.2412
51 | 2739260.1063 | 1242273.9022 | 2739252.7199 | 1242266.6765
52 | 2739257.6607 | 1242306.0164 | 2739256.0237 | 1242305.5536
53 | 2739256.0237 | 1242305.5536 | 2739260.1063 | 1242273.9022
54 | 2739257.6607 | 1242306.0164 | 2739266.6875 | 1242308.5683
55 | 2739095.8446 | 1242219.5903 | 2739105.9553 | 1242226.7226 | 2739111.3087 | 1242233.5431 | 2739112.4977 | 1242238.3086 | 2739114.0521 | 1242249.4216 | 2739115.1467 | 1242254.6631 | 2739118.7295 | 1242262.4874
56 | 2739123.7095 | 1242267.4864 | 2739120.5276 | 1242265.1431 | 2739118.7295 | 1242262.4874
57 | 2739114.4775 | 1242158.0341 | 2739143.0198 | 1242173.9219 | 2739145.172 | 1242175.1756
58 | 2739145.172 | 1242175.1756 | 2739147.3003 | 1242176.4153
59 | 2739159.5801 | 1242273.9332 | 2739155.9857 | 1242282.4009 | 2739146.7857 | 1242298.6665
60 | 2739159.5801 | 1242273.9332 | 2739150.489 | 1242269.0091
61 | 2739123.7095 | 1242267.4864 | 2739126.9554 | 1242267.1066 | 2739132.1279 | 1242263.9028 | 2739134.9705 | 1242262.6572 | 2739138.9761 | 1242262.7734 | 2739150.489 | 1242269.0091
62 | 2739123.7095 | 1242267.4864 | 2739121.3204 | 1242277.4505 | 2739118.2108 | 1242280.725 | 2739115.8089 | 1242282.1453
63 | 2738965.5554 | 1242511.4333 | 2738973.859 | 1242494.0121 | 2738975.5818 | 1242474.3904
64 | 2738965.5554 | 1242511.4333 | 2738965.5554 | 1242511.4333 | 2738958.5253 | 1242528.7286
65 | 2738975.5818 | 1242474.3904 | 2738975.9858 | 1242473.2578
66 | 2738946.7723 | 1242545.2238 | 2738958.5253 | 1242528.7286
67 | 2738975.9858 | 1242473.2578 | 2738980.479 | 1242460.6594 | 2738985.9227 | 1242457.1727 | 2739002.9151 | 1242452.6888 | 2739033.2274 | 1242451.9871 | 2739036.3122 | 1242452.4524
68 | 2738946.7723 | 1242545.2238 | 2738611.4585 | 1242644.2493
69 | 2739036.3122 | 1242452.4524 | 2739010.9645 | 1242397.4056
70 | 2738634.3881 | 1242723.087 | 2738628.2826 | 1242714.2049 | 2738618.9297 | 1242685.672 | 2738615.8202 | 1242671.4978 | 2738614.8504 | 1242656.0502 | 2738611.4585 | 1242644.2493
71 | 2739010.9645 | 1242397.4056 | 2738878.5096 | 1242364.5493
72 | 2738655.8052 | 1242293.4297 | 2738659.7514 | 1242294.0192 | 2738722.2673 | 1242310.4282 | 2738722.8859 | 1242310.5831
73 | 2738744.6397 | 1242316.039 | 2738743.8686 | 1242315.838 | 2738722.8859 | 1242310.5831
74 | 2738744.6397 | 1242316.039 | 2738754.8121 | 1242318.6915
75 | 2738646.3542 | 1242740.4951 | 2738634.3881 | 1242723.087
76 | 2738878.5096 | 1242364.5493 | 2738866.7358 | 1242362.5645 | 2738865.127 | 1242362.0651
77 | 2738878.5096 | 1242364.5493 | 2738899.805 | 1242283.9012
78 | 2738855.6163 | 1242359.1124 | 2738865.127 | 1242362.0651
79 | 2738855.6163 | 1242359.1124 | 2738754.8121 | 1242318.6915
80 | 2739088.8141 | 1242439.767 | 2739091.5146 | 1242440.5704
81 | 2739121.5755 | 1242423.8767 | 2739124.7322 | 1242418.2679 | 2739144.3 | 1242391.985
82 | 2739121.5755 | 1242423.8767 | 2739120.5312 | 1242421.0052 | 2739115.6675 | 1242412.339 | 2739113.8839 | 1242409.6138
83 | 2739113.8839 | 1242409.6138 | 2739108.5637 | 1242401.485 | 2739099.1469 | 1242387.6741 | 2739089.2443 | 1242367.168 | 2739085.6932 | 1242355.0962 | 2739085.6056 | 1242349.478
84 | 2739122.4292 | 1242331.4026 | 2739099.0355 | 1242336.9704 | 2739092.0563 | 1242339.8205 | 2739087.7906 | 1242344.3468 | 2739085.6056 | 1242349.478
85 | 2739122.4292 | 1242331.4026 | 2739125.9721 | 1242330.8418
86 | 2739122.4292 | 1242331.4026 | 2739107.0544 | 1242313.0146 | 2739099.3499 | 1242305.1937
87 | 2739125.9721 | 1242330.8418 | 2739139.805 | 1242328.652 | 2739152.6179 | 1242327.2956 | 2739167.1282 | 1242327.2125
88 | 2739099.3499 | 1242305.1937 | 2739111.1609 | 1242285.9422 | 2739113.4712 | 1242283.5275 | 2739115.8089 | 1242282.1453
89 | 2739167.1282 | 1242327.2125 | 2739169.3793 | 1242327.1996 | 2739196.464 | 1242331.7095
90 | 2739226.8588 | 1242336.1981 | 2739200.1681 | 1242332.3263 | 2739196.464 | 1242331.7095
91 | 2739170.1338 | 1242189.7164 | 2739147.3003 | 1242176.4153
92 | 2739246.6068 | 1242339.4622 | 2739239.2253 | 1242337.992 | 2739226.8588 | 1242336.1981
93 | 2739029.7356 | 1242817.6336 | 2739055.8933 | 1242809.5614 | 2739078.2465 | 1242807.6502 | 2739088.9844 | 1242808.3135 | 2739100.5326 | 1242814.2136
94 | 2739013.4257 | 1242843.3635 | 2739018.2036 | 1242833.7445 | 2739029.7356 | 1242817.6336
95 | 2739013.4257 | 1242843.3635 | 2738976.5573 | 1242824.5309
96 | 2739013.9727 | 1242843.5074 | 2739013.4257 | 1242843.3635
97 | 2738970.8914 | 1242821.6367 | 2738976.5573 | 1242824.5309
98 | 2738970.8914 | 1242821.6367 | 2738646.3542 | 1242740.4951
99 | 2738646.3542 | 1242740.4951 | 2738708.2748 | 1243121.217
100 | 2739272.3049 | 1242346.1342 | 2739258.7217 | 1242341.8751 | 2739246.6068 | 1242339.4622

## bus_geodata
| x | y | coords
0 | 2739105.3671 | 1242526.4626
1 | 2739082.632 | 1242534.1182
2 | 2739127.7437 | 1242519.3871
3 | 2739053.7666 | 1242559.7317
4 | 2739142.1974 | 1242514.9896
5 | 2739038.8858 | 1242562.5411
6 | 2739062.8963 | 1242560.5178
7 | 2739152.6718 | 1242511.8027
8 | 2739088.3927 | 1242555.4917
9 | 2739192.9074 | 1242497.293
10 | 2739095.0327 | 1242555.2682
11 | 2739182.8223 | 1242478.3898
12 | 2739197.7236 | 1242508.2936
13 | 2739222.7108 | 1242523.9656
14 | 2739201.8217 | 1242516.4738
15 | 2739208.837 | 1242529.3843
16 | 2739163.8144 | 1242463.7695
17 | 2739252.4238 | 1242548.5352
18 | 2739205.7934 | 1242473.4012
19 | 2739141.4706 | 1242465.3138
20 | 2739114.0762 | 1242465.9832
21 | 2739136.9709 | 1242451.6848
22 | 2739104.8327 | 1242466.0666
23 | 2739146.8048 | 1242432.2424
24 | 2739098.4402 | 1242465.1349
25 | 2739227.9619 | 1242484.0697
26 | 2739163.771 | 1242439.2369
27 | 2739095.374 | 1242464.6881
28 | 2739248.54 | 1242493.9728
29 | 2739061.5447 | 1242456.2581
30 | 2739104.4717 | 1242443.7381
31 | 2739124.3841 | 1242552.6597
32 | 2739133.0649 | 1242555.9424
33 | 2739146.6593 | 1242623.7442
34 | 2739245.4921 | 1242200.874
35 | 2739231.5296 | 1242188.3251
36 | 2739256.2651 | 1242210.083
37 | 2739267.3572 | 1242219.5647
38 | 2739201.9617 | 1242239.8357
39 | 2739245.3901 | 1242260.0256
40 | 2739201.1197 | 1242239.2925
41 | 2739205.9459 | 1242294.2639
42 | 2739168.4159 | 1242277.8705
43 | 2739187.5357 | 1242210.3205
44 | 2739177.7738 | 1242197.2412
45 | 2739191.4645 | 1242228.825
46 | 2739267.6355 | 1242219.8026
47 | 2739252.7199 | 1242266.6765
48 | 2739256.0237 | 1242305.5536
49 | 2739257.6607 | 1242306.0164
50 | 2739260.1063 | 1242273.9022
51 | 2739095.8446 | 1242219.5903
52 | 2739118.7295 | 1242262.4874
53 | 2739114.4775 | 1242158.0341
54 | 2739145.172 | 1242175.1755
55 | 2739266.6875 | 1242308.5683
56 | 2739159.5801 | 1242273.9332
57 | 2739146.7857 | 1242298.6665
58 | 2739150.489 | 1242269.0091
59 | 2739123.7095 | 1242267.4864
60 | 2738965.5554 | 1242511.4333
61 | 2738975.5818 | 1242474.3904
62 | 2738958.5253 | 1242528.7286
63 | 2738975.9858 | 1242473.2578
64 | 2738946.7723 | 1242545.2238
65 | 2739036.3122 | 1242452.4524
66 | 2738611.4585 | 1242644.2493
67 | 2739010.9645 | 1242397.4056
68 | 2738722.8859 | 1242310.5831
69 | 2738655.8052 | 1242293.4297
70 | 2738744.6397 | 1242316.039
71 | 2738634.3881 | 1242723.087
72 | 2738878.5096 | 1242364.5493
73 | 2738865.127 | 1242362.0651
74 | 2738899.805 | 1242283.9012
75 | 2738855.6163 | 1242359.1124
76 | 2738754.8121 | 1242318.6915
77 | 2739088.8141 | 1242439.767
78 | 2739091.5146 | 1242440.5704
79 | 2739121.5755 | 1242423.8767
80 | 2739144.3 | 1242391.985
81 | 2739113.8839 | 1242409.6138
82 | 2739085.6056 | 1242349.478
83 | 2739122.4292 | 1242331.4026
84 | 2739125.9721 | 1242330.8418
85 | 2739099.3499 | 1242305.1937
86 | 2739167.1282 | 1242327.2125
87 | 2739115.8089 | 1242282.1453
88 | 2739196.464 | 1242331.7095
89 | 2739170.1338 | 1242189.7164
90 | 2739147.3003 | 1242176.4153
91 | 2739226.8588 | 1242336.1981
92 | 2739029.7356 | 1242817.6336
93 | 2739100.5326 | 1242814.2136
94 | 2739013.4257 | 1242843.3635
95 | 2738976.5573 | 1242824.5309
96 | 2739013.9727 | 1242843.5074
97 | 2738970.8914 | 1242821.6367
98 | 2738646.3542 | 1242740.4951
99 | 2738708.2748 | 1243121.217
100 | 2739272.3049 | 1242346.1342
101 | 2739246.6068 | 1242339.4622
102 | 2739121.5755 | 1242423.8767

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1