## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3006-6_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3006-6_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3006-6_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3006-6_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3006-6_0_7_node_50 | 0.4 | n |  | TRUE
5 | bus_LV_3006-6_0_7_node_101 | 0.4 | n |  | TRUE
6 | bus_LV_3006-6_0_7_node_102 | 0.4 | n |  | TRUE
7 | bus_LV_3006-6_0_7_node_38 | 0.4 | n |  | TRUE
8 | bus_LV_3006-6_0_7_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_3006-6_0_7_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3006-6_0_7_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3006-6_0_7_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3006-6_0_7_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3006-6_0_7_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3006-6_0_7_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3006-6_0_7_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3006-6_0_7_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3006-6_0_7_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3006-6_0_7_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3006-6_0_7_node_97 | 0.4 | n |  | TRUE
20 | bus_LV_3006-6_0_7_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_3006-6_0_7_node_95 | 0.4 | n |  | TRUE
22 | bus_LV_3006-6_0_7_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3006-6_0_7_node_98 | 0.4 | n |  | TRUE
24 | bus_LV_3006-6_0_7_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_3006-6_0_7_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_3006-6_0_7_node_96 | 0.4 | n |  | TRUE
27 | bus_LV_3006-6_0_7_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_3006-6_0_7_node_116 | 0.4 | n |  | TRUE
29 | bus_LV_3006-6_0_7_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3006-6_0_7_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3006-6_0_7_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3006-6_0_7_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_3006-6_0_7_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_3006-6_0_7_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3006-6_0_7_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3006-6_0_7_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_3006-6_0_7_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_3006-6_0_7_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_3006-6_0_7_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_3006-6_0_7_node_24 | 0.4 | n |  | TRUE
41 | bus_LV_3006-6_0_7_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_3006-6_0_7_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_3006-6_0_7_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_3006-6_0_7_node_51 | 0.4 | n |  | TRUE
45 | bus_LV_3006-6_0_7_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3006-6_0_7_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_3006-6_0_7_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3006-6_0_7_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_3006-6_0_7_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_3006-6_0_7_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3006-6_0_7_node_86 | 0.4 | n |  | TRUE
52 | bus_LV_3006-6_0_7_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_3006-6_0_7_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_3006-6_0_7_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3006-6_0_7_node_45 | 0.4 | n |  | TRUE
56 | bus_LV_3006-6_0_7_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_3006-6_0_7_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_3006-6_0_7_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_3006-6_0_7_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_3006-6_0_7_node_85 | 0.4 | n |  | TRUE
61 | bus_LV_3006-6_0_7_node_99 | 0.4 | n |  | TRUE
62 | bus_LV_3006-6_0_7_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_3006-6_0_7_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_3006-6_0_7_node_100 | 0.4 | n |  | TRUE
65 | bus_LV_3006-6_0_7_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_3006-6_0_7_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_3006-6_0_7_node_52 | 0.4 | n |  | TRUE
68 | bus_LV_3006-6_0_7_node_53 | 0.4 | n |  | TRUE
69 | bus_LV_3006-6_0_7_node_111 | 0.4 | n |  | TRUE
70 | bus_LV_3006-6_0_7_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_3006-6_0_7_node_112 | 0.4 | n |  | TRUE
72 | bus_LV_3006-6_0_7_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_3006-6_0_7_node_104 | 0.4 | n |  | TRUE
74 | bus_LV_3006-6_0_7_node_94 | 0.4 | n |  | TRUE
75 | bus_LV_3006-6_0_7_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_3006-6_0_7_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_3006-6_0_7_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_3006-6_0_7_node_56 | 0.4 | n |  | TRUE
79 | bus_LV_3006-6_0_7_node_57 | 0.4 | n |  | TRUE
80 | bus_LV_3006-6_0_7_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_3006-6_0_7_node_60 | 0.4 | n |  | TRUE
82 | bus_LV_3006-6_0_7_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_3006-6_0_7_node_63 | 0.4 | n |  | TRUE
84 | bus_LV_3006-6_0_7_node_66 | 0.4 | n |  | TRUE
85 | bus_LV_3006-6_0_7_node_67 | 0.4 | n |  | TRUE
86 | bus_LV_3006-6_0_7_node_70 | 0.4 | n |  | TRUE
87 | bus_LV_3006-6_0_7_node_71 | 0.4 | n |  | TRUE
88 | bus_LV_3006-6_0_7_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_3006-6_0_7_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_3006-6_0_7_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_3006-6_0_7_node_69 | 0.4 | n |  | TRUE
92 | bus_LV_3006-6_0_7_node_72 | 0.4 | n |  | TRUE
93 | bus_LV_3006-6_0_7_node_80 | 0.4 | n |  | TRUE
94 | bus_LV_3006-6_0_7_node_77 | 0.4 | n |  | TRUE
95 | bus_LV_3006-6_0_7_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_3006-6_0_7_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_3006-6_0_7_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_3006-6_0_7_node_76 | 0.4 | n |  | TRUE
99 | bus_LV_3006-6_0_7_node_78 | 0.4 | n |  | TRUE
100 | bus_LV_3006-6_0_7_node_79 | 0.4 | n |  | TRUE
101 | bus_LV_3006-6_0_7_node_81 | 0.4 | n |  | TRUE
102 | bus_LV_3006-6_0_7_node_82 | 0.4 | n |  | TRUE
103 | bus_LV_3006-6_0_7_node_87 | 0.4 | n |  | TRUE
104 | bus_LV_3006-6_0_7_node_84 | 0.4 | n |  | TRUE
105 | bus_LV_3006-6_0_7_node_93 | 0.4 | n |  | TRUE
106 | bus_LV_3006-6_0_7_node_90 | 0.4 | n |  | TRUE
107 | bus_LV_3006-6_0_7_node_105 | 0.4 | n |  | TRUE
108 | bus_LV_3006-6_0_7_node_106 | 0.4 | n |  | TRUE
109 | bus_LV_3006-6_0_7_node_107 | 0.4 | n |  | TRUE
110 | bus_LV_3006-6_0_7_node_108 | 0.4 | n |  | TRUE
111 | bus_LV_3006-6_0_7_node_109 | 0.4 | n |  | TRUE
112 | bus_LV_3006-6_0_7_node_110 | 0.4 | n |  | TRUE
113 | bus_LV_3006-6_0_7_node_113 | 0.4 | n |  | TRUE
114 | bus_LV_3006-6_0_7_node_114 | 0.4 | n |  | TRUE
115 | bus_MV_39_0_node_162 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3006-6_0_7_load_0 | 0 | 0.00041522 | 0.00010407 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3006-6_0_7_load_2 | 2 | 0.00040621 | 0.00010181 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3006-6_0_7_load_3 | 3 | 0.00051181 | 0.00012827 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3006-6_0_7_load_101 | 5 | 0.00065831 | 0.00016499 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3006-6_0_7_load_102 | 6 | 0.00047972 | 0.00012023 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3006-6_0_7_load_4 | 8 | 0.00035242 | 8.8325e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3006-6_0_7_load_5 | 9 | 0.00033449 | 8.3832e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3006-6_0_7_load_8 | 12 | 0.001881 | 0.00047142 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3006-6_0_7_load_9 | 13 | 0.00038504 | 9.65e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3006-6_0_7_load_13 | 17 | 0.00073468 | 0.00018413 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3006-6_0_7_load_97 | 19 | 0.00038757 | 9.7134e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3006-6_0_7_load_95 | 21 | 0.00053653 | 0.00013447 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3006-6_0_7_load_15 | 22 | 0.0003071 | 7.6967e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3006-6_0_7_load_98 | 23 | 0.00041272 | 0.00010344 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3006-6_0_7_load_32 | 24 | 0.00079023 | 0.00019805 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3006-6_0_7_load_96 | 26 | 0.00030886 | 7.7408e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3006-6_0_7_load_31 | 27 | 0.00025284 | 6.3367e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3006-6_0_7_load_116 | 28 | 0.00051557 | 0.00012921 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3006-6_0_7_load_16 | 29 | 0.00058119 | 0.00014566 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3006-6_0_7_load_17 | 30 | 0.00070407 | 0.00017646 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3006-6_0_7_load_26 | 35 | 0.00028324 | 7.0986e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3006-6_0_7_load_33 | 36 | 0.00033869 | 8.4883e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3006-6_0_7_load_21 | 38 | 0.00034898 | 8.7463e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3006-6_0_7_load_28 | 39 | 0.00042212 | 0.00010579 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3006-6_0_7_load_34 | 41 | 0.00072007 | 0.00018047 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3006-6_0_7_load_22 | 42 | 0.00089699 | 0.00022481 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3006-6_0_7_load_27 | 43 | 0.00049413 | 0.00012384 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3006-6_0_7_load_51 | 44 | 0.0011603 | 0.00029081 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3006-6_0_7_load_35 | 45 | 0.00038253 | 9.5871e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3006-6_0_7_load_36 | 46 | 0.00084861 | 0.00021268 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3006-6_0_7_load_43 | 50 | 0.00078812 | 0.00019752 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3006-6_0_7_load_86 | 51 | 0.00044674 | 0.00011196 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3006-6_0_7_load_40 | 53 | 0.00040902 | 0.00010251 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3006-6_0_7_load_45 | 55 | 0.0018353 | 0.00045997 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3006-6_0_7_load_47 | 57 | 0.00057163 | 0.00014326 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3006-6_0_7_load_49 | 59 | 0.00020196 | 5.0617e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3006-6_0_7_load_85 | 60 | 0.00027864 | 6.9833e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3006-6_0_7_load_99 | 61 | 0.00019648 | 4.9242e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3006-6_0_7_load_91 | 62 | 0.00041963 | 0.00010517 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3006-6_0_7_load_89 | 63 | 0.00022225 | 5.57e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3006-6_0_7_load_100 | 64 | 0.00025667 | 6.4327e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3006-6_0_7_load_88 | 66 | 0.00035982 | 9.018e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3006-6_0_7_load_52 | 67 | 0.00013663 | 3.4243e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3006-6_0_7_load_53 | 68 | 0.00018783 | 4.7074e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3006-6_0_7_load_111 | 69 | 0.0014769 | 0.00037016 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3006-6_0_7_load_54 | 70 | 0.00062459 | 0.00015654 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3006-6_0_7_load_112 | 71 | 0.00020139 | 5.0473e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3006-6_0_7_load_104 | 73 | 0.00030655 | 7.6829e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3006-6_0_7_load_94 | 74 | 0.00041326 | 0.00010357 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3006-6_0_7_load_65 | 76 | 0.00016025 | 4.0162e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3006-6_0_7_load_62 | 77 | 0.0003826 | 9.5888e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3006-6_0_7_load_56 | 78 | 0.00015288 | 3.8316e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3006-6_0_7_load_57 | 79 | 0.00035716 | 8.9513e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3006-6_0_7_load_61 | 82 | 0.00015615 | 3.9135e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3006-6_0_7_load_63 | 83 | 0.00019065 | 4.7781e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3006-6_0_7_load_66 | 84 | 0.0059757 | 0.0014977 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3006-6_0_7_load_71 | 87 | 0.0019936 | 0.00049966 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3006-6_0_7_load_73 | 88 | 0.0017816 | 0.0004465 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3006-6_0_7_load_68 | 90 | 0.0051655 | 0.0012946 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3006-6_0_7_load_72 | 92 | 0.0020116 | 0.00050416 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3006-6_0_7_load_80 | 93 | 0.0059506 | 0.0014914 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3006-6_0_7_load_103 | 95 | 0.0015548 | 0.00038968 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3006-6_0_7_load_75 | 97 | 0.0013007 | 0.000326 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3006-6_0_7_load_79 | 100 | 0.0009128 | 0.00022877 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3006-6_0_7_load_81 | 101 | 0.00022449 | 5.6262e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3006-6_0_7_load_82 | 102 | 0.0034909 | 0.00087491 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3006-6_0_7_load_87 | 103 | 0.00040484 | 0.00010146 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3006-6_0_7_load_84 | 104 | 0.0012385 | 0.00031039 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3006-6_0_7_load_93 | 105 | 0.0022568 | 0.0005656 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3006-6_0_7_load_90 | 106 | 0.00077555 | 0.00019437 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3006-6_0_7_load_105 | 107 | 0.0020115 | 0.00050412 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3006-6_0_7_load_107 | 109 | 0.0027773 | 0.00069606 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3006-6_0_7_load_108 | 110 | 0.0055548 | 0.0013922 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3006-6_0_7_load_109 | 111 | 0.0080119 | 0.002008 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3006-6_0_7_load_110 | 112 | 0.0011097 | 0.00027812 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3006-6_0_7_load_113 | 113 | 0.0019714 | 0.00049409 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3006-6_0_7_load_114 | 114 | 0.0017277 | 0.000433 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3006-6_0_7_line_0 | NAYY 4x150 SE | 0 | 1 | 0.084404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_3006-6_0_7_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0076262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_3006-6_0_7_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_3006-6_0_7_line_3 | NAYY 4x150 SE | 3 | 8 | 0.052108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_3006-6_0_7_line_4 | NAYY 4x150 SE | 3 | 4 | 0.70338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_3006-6_0_7_line_5 | NAYY 4x150 SE | 4 | 5 | 0.095796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_3006-6_0_7_line_6 | NAYY 4x150 SE | 4 | 6 | 0.37062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_3006-6_0_7_line_7 | NAYY 4x150 SE | 4 | 7 | 0.51266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_3006-6_0_7_line_8 | NAYY 4x150 SE | 7 | 48 | 0.16881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_3006-6_0_7_line_9 | NAYY 4x150 SE | 7 | 44 | 0.48102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_3006-6_0_7_line_10 | NAYY 4x150 SE | 7 | 47 | 0.059185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_3006-6_0_7_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0071746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_3006-6_0_7_line_12 | NAYY 4x150 SE | 9 | 11 | 0.018862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_3006-6_0_7_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0064323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_3006-6_0_7_line_14 | NAYY 4x150 SE | 11 | 13 | 0.1015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_3006-6_0_7_line_15 | NAYY 4x150 SE | 11 | 14 | 0.41637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_3006-6_0_7_line_16 | NAYY 4x150 SE | 12 | 15 | 0.021301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_3006-6_0_7_line_17 | NAYY 4x150 SE | 14 | 16 | 0.32105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_3006-6_0_7_line_18 | NAYY 4x150 SE | 14 | 17 | 0.24257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_3006-6_0_7_line_19 | NAYY 4x150 SE | 15 | 18 | 0.32154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_3006-6_0_7_line_20 | NAYY 4x150 SE | 16 | 19 | 0.1269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_3006-6_0_7_line_21 | NAYY 4x150 SE | 16 | 20 | 0.1503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_3006-6_0_7_line_22 | NAYY 4x150 SE | 17 | 21 | 0.035027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_3006-6_0_7_line_23 | NAYY 4x150 SE | 18 | 22 | 0.23651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_3006-6_0_7_line_24 | NAYY 4x150 SE | 19 | 23 | 0.00022906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_3006-6_0_7_line_25 | NAYY 4x150 SE | 20 | 24 | 0.3366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_3006-6_0_7_line_26 | NAYY 4x150 SE | 20 | 25 | 0.42878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_3006-6_0_7_line_27 | NAYY 4x150 SE | 21 | 26 | 0.48814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_3006-6_0_7_line_28 | NAYY 4x150 SE | 25 | 27 | 0.46205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_3006-6_0_7_line_29 | NAYY 4x150 SE | 25 | 39 | 0.13757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_3006-6_0_7_line_30 | NAYY 4x150 SE | 27 | 28 | 0.29922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_3006-6_0_7_line_31 | NAYY 4x150 SE | 29 | 30 | 0.015274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_3006-6_0_7_line_32 | NAYY 4x150 SE | 30 | 31 | 0.01891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_3006-6_0_7_line_33 | NAYY 4x150 SE | 31 | 32 | 0.11019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_3006-6_0_7_line_34 | NAYY 4x150 SE | 31 | 33 | 0.37819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_3006-6_0_7_line_35 | NAYY 4x150 SE | 32 | 34 | 0.063226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_3006-6_0_7_line_36 | NAYY 4x150 SE | 32 | 35 | 0.060727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_3006-6_0_7_line_37 | NAYY 4x150 SE | 33 | 36 | 0.078244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_3006-6_0_7_line_38 | NAYY 4x150 SE | 34 | 39 | 0.011495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_3006-6_0_7_line_39 | NAYY 4x150 SE | 34 | 37 | 0.21204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_3006-6_0_7_line_40 | NAYY 4x150 SE | 35 | 40 | 0.066848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_3006-6_0_7_line_41 | NAYY 4x150 SE | 36 | 41 | 0.013344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_3006-6_0_7_line_42 | NAYY 4x150 SE | 37 | 38 | 0.11671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_3006-6_0_7_line_43 | NAYY 4x150 SE | 38 | 42 | 0.013111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_3006-6_0_7_line_44 | NAYY 4x150 SE | 40 | 43 | 0.21699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
45 | LV_3006-6_0_7_line_45 | NAYY 4x150 SE | 43 | 44 | 0.084797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_3006-6_0_7_line_46 | NAYY 4x150 SE | 45 | 46 | 0.016372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_3006-6_0_7_line_47 | NAYY 4x150 SE | 46 | 47 | 0.24386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_3006-6_0_7_line_48 | NAYY 4x150 SE | 48 | 51 | 0.29222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_3006-6_0_7_line_49 | NAYY 4x150 SE | 48 | 49 | 0.077863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_3006-6_0_7_line_50 | NAYY 4x150 SE | 49 | 50 | 0.016745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
51 | LV_3006-6_0_7_line_51 | NAYY 4x150 SE | 50 | 52 | 0.040611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
52 | LV_3006-6_0_7_line_52 | NAYY 4x150 SE | 51 | 60 | 0.023765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_3006-6_0_7_line_53 | NAYY 4x150 SE | 52 | 53 | 0.010344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_3006-6_0_7_line_54 | NAYY 4x150 SE | 53 | 54 | 0.32788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_3006-6_0_7_line_55 | NAYY 4x150 SE | 54 | 55 | 0.06809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_3006-6_0_7_line_56 | NAYY 4x150 SE | 54 | 56 | 0.070715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_3006-6_0_7_line_57 | NAYY 4x150 SE | 55 | 57 | 0.14892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_3006-6_0_7_line_58 | NAYY 4x150 SE | 56 | 58 | 0.43086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
59 | LV_3006-6_0_7_line_59 | NAYY 4x150 SE | 56 | 59 | 0.10179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_3006-6_0_7_line_60 | NAYY 4x150 SE | 57 | 61 | 0.021055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_3006-6_0_7_line_61 | NAYY 4x150 SE | 58 | 62 | 0.001673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_3006-6_0_7_line_62 | NAYY 4x150 SE | 58 | 63 | 0.023158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_3006-6_0_7_line_63 | NAYY 4x150 SE | 61 | 64 | 0.14321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_3006-6_0_7_line_64 | NAYY 4x150 SE | 62 | 65 | 0.15269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_3006-6_0_7_line_65 | NAYY 4x150 SE | 63 | 66 | 0.010331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_3006-6_0_7_line_66 | NAYY 4x150 SE | 65 | 96 | 0.20258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_3006-6_0_7_line_67 | NAYY 4x150 SE | 65 | 89 | 0.17578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_3006-6_0_7_line_68 | NAYY 4x150 SE | 66 | 106 | 0.0011354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_3006-6_0_7_line_69 | NAYY 4x150 SE | 67 | 68 | 0.12514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_3006-6_0_7_line_70 | NAYY 4x150 SE | 67 | 69 | 0.6789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_3006-6_0_7_line_71 | NAYY 4x150 SE | 68 | 70 | 0.0052217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_3006-6_0_7_line_72 | NAYY 4x150 SE | 69 | 71 | 0.0011126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_3006-6_0_7_line_73 | NAYY 4x150 SE | 70 | 72 | 0.29412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_3006-6_0_7_line_74 | NAYY 4x150 SE | 71 | 113 | 0.085132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_3006-6_0_7_line_75 | NAYY 4x150 SE | 72 | 75 | 0.32055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_3006-6_0_7_line_76 | NAYY 4x150 SE | 72 | 76 | 0.44124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_3006-6_0_7_line_77 | NAYY 4x150 SE | 73 | 74 | 0.007917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_3006-6_0_7_line_78 | NAYY 4x150 SE | 74 | 96 | 0.17578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_3006-6_0_7_line_79 | NAYY 4x150 SE | 75 | 77 | 0.11903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_3006-6_0_7_line_80 | NAYY 4x150 SE | 76 | 82 | 0.047272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_3006-6_0_7_line_81 | NAYY 4x150 SE | 77 | 83 | 0.027678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_3006-6_0_7_line_82 | NAYY 4x150 SE | 78 | 79 | 0.045005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_3006-6_0_7_line_83 | NAYY 4x150 SE | 78 | 80 | 0.045552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_3006-6_0_7_line_84 | NAYY 4x150 SE | 80 | 81 | 0.37362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_3006-6_0_7_line_85 | NAYY 4x150 SE | 81 | 82 | 0.024171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_3006-6_0_7_line_86 | NAYY 4x150 SE | 84 | 85 | 0.041588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
87 | LV_3006-6_0_7_line_87 | NAYY 4x150 SE | 85 | 86 | 0.12945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
88 | LV_3006-6_0_7_line_88 | NAYY 4x150 SE | 85 | 87 | 0.22828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
89 | LV_3006-6_0_7_line_89 | NAYY 4x150 SE | 86 | 88 | 0.2745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
90 | LV_3006-6_0_7_line_90 | NAYY 4x150 SE | 87 | 89 | 0.36716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
91 | LV_3006-6_0_7_line_91 | NAYY 4x150 SE | 89 | 94 | 0.018185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
92 | LV_3006-6_0_7_line_92 | NAYY 4x150 SE | 90 | 91 | 0.0071601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
93 | LV_3006-6_0_7_line_93 | NAYY 4x150 SE | 91 | 92 | 0.018422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
94 | LV_3006-6_0_7_line_94 | NAYY 4x150 SE | 91 | 93 | 0.27255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
95 | LV_3006-6_0_7_line_95 | NAYY 4x150 SE | 92 | 95 | 0.12626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
96 | LV_3006-6_0_7_line_96 | NAYY 4x150 SE | 93 | 94 | 0.34634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
97 | LV_3006-6_0_7_line_97 | NAYY 4x150 SE | 94 | 97 | 0.21738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
98 | LV_3006-6_0_7_line_98 | NAYY 4x150 SE | 96 | 105 | 0.010283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
99 | LV_3006-6_0_7_line_99 | NAYY 4x150 SE | 97 | 98 | 0.36152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
100 | LV_3006-6_0_7_line_100 | NAYY 4x150 SE | 98 | 99 | 0.11316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
101 | LV_3006-6_0_7_line_101 | NAYY 4x150 SE | 98 | 100 | 0.1193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
102 | LV_3006-6_0_7_line_102 | NAYY 4x150 SE | 99 | 101 | 0.26124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
103 | LV_3006-6_0_7_line_103 | NAYY 4x150 SE | 100 | 102 | 0.0057859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
104 | LV_3006-6_0_7_line_104 | NAYY 4x150 SE | 101 | 103 | 0.0092715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
105 | LV_3006-6_0_7_line_105 | NAYY 4x150 SE | 102 | 104 | 0.006881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
106 | LV_3006-6_0_7_line_106 | NAYY 4x150 SE | 105 | 107 | 0.18053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
107 | LV_3006-6_0_7_line_107 | NAYY 4x150 SE | 107 | 108 | 0.16408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
108 | LV_3006-6_0_7_line_108 | NAYY 4x150 SE | 108 | 109 | 0.14698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
109 | LV_3006-6_0_7_line_109 | NAYY 4x150 SE | 108 | 110 | 0.1121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
110 | LV_3006-6_0_7_line_110 | NAYY 4x150 SE | 109 | 111 | 0.0074597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
111 | LV_3006-6_0_7_line_111 | NAYY 4x150 SE | 110 | 112 | 0.02648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
112 | LV_3006-6_0_7_line_112 | NAYY 4x150 SE | 111 | 113 | 0.0086974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
113 | LV_3006-6_0_7_line_113 | NAYY 4x150 SE | 112 | 114 | 0.0089986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3006-6_0_7_trafo_48 | 0.25 MVA 20/0.4 kV | 115 | 58 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32
0 | 2738894.9561 | 1237192.7485 | 2738895.8839 | 1237187.7102 | 2738894.3403 | 1237175.0741 | 2738892.8074 | 1237162.9498 | 2738894.4687 | 1237156.9722 | 2738898.377 | 1237151.6923 | 2738909.09 | 1237145.7709 | 2738927.3845 | 1237142.2401 | 2738938.0423 | 1237142.9957
1 | 2738945.6494 | 1237143.5351 | 2738938.0423 | 1237142.9957
2 | 2738894.9561 | 1237192.7485 | 2738885.2081 | 1237201.4283 | 2738876.9817 | 1237205.8954 | 2738876.9817 | 1237205.8954
3 | 2738846.9644 | 1237163.3018 | 2738876.9817 | 1237205.8954
4 | 2738897.4403 | 1237908.9729 | 2738876.9817 | 1237205.8954
5 | 2738977.6919 | 1237911.7193 | 2738969.9574 | 1237912.35 | 2738963.8947 | 1237911.3961 | 2738958.2803 | 1237908.4288 | 2738954.6932 | 1237905.509 | 2738950.0058 | 1237902.708 | 2738944.4101 | 1237898.9404 | 2738937.0026 | 1237898.2109 | 2738930.4763 | 1237899.2814 | 2738926.7566 | 1237902.019 | 2738920.1621 | 1237906.3242 | 2738917.7306 | 1237911.2605 | 2738913.8648 | 1237915.0735 | 2738908.108 | 1237918.186 | 2738903.3999 | 1237916.5968 | 2738899.4136 | 1237913.2672 | 2738897.4403 | 1237908.9729
6 | 2738897.4403 | 1237908.9729 | 2738865.7122 | 1237899.656 | 2738818.0682 | 1237894.838 | 2738697.3055 | 1237882.2611 | 2738572.588 | 1237847.4748 | 2738533.8165 | 1237848.0487
7 | 2739392.6742 | 1237912.4226 | 2739354.7261 | 1237901.4668 | 2739324.385 | 1237904.6578 | 2739309.3138 | 1237909.2751 | 2739274.8281 | 1237910.4117 | 2739235.8213 | 1237899.7322 | 2739183.1591 | 1237898.1631 | 2739131.1613 | 1237897.6332 | 2739070.905 | 1237886.8236 | 2739056.3793 | 1237878.8319 | 2739044.6246 | 1237870.4716 | 2739010.3737 | 1237870.303 | 2738971.0449 | 1237875.9321 | 2738938.8607 | 1237881.2393 | 2738897.4403 | 1237908.9729
8 | 2739316.7366 | 1238062.7964 | 2739329.5342 | 1238042.1783 | 2739331.8601 | 1238038.5296 | 2739341.3598 | 1238023.6393 | 2739350.2795 | 1238004.7652 | 2739382.8455 | 1237930.3522 | 2739392.6742 | 1237912.4226
9 | 2739392.6742 | 1237912.4226 | 2739405.6766 | 1237892.132 | 2739413.3499 | 1237881.8697 | 2739424.0365 | 1237870.5994 | 2739437.4703 | 1237857.7256 | 2739456.3704 | 1237841.8775 | 2739490.0511 | 1237815.445 | 2739525.2068 | 1237789.0584 | 2739551.6111 | 1237770.8181 | 2739567.6892 | 1237761.0651 | 2739582.4387 | 1237753.416 | 2739600.7775 | 1237745.3732 | 2739628.9036 | 1237735.3588 | 2739677.4331 | 1237718.6739 | 2739719.2802 | 1237705.8246 | 2739795.9574 | 1237685.3217 | 2739802.2674 | 1237683.1306
10 | 2739451.1737 | 1237922.2712 | 2739445.0734 | 1237920.671 | 2739418.0701 | 1237916.767 | 2739406.771 | 1237914.8111 | 2739403.9449 | 1237914.2999 | 2739396.4133 | 1237913.0553 | 2739392.6742 | 1237912.4226
11 | 2740667.1723 | 1236120.1328 | 2740660.4615 | 1236122.6705
12 | 2740642.8184 | 1236129.3422 | 2740660.4615 | 1236122.6705
13 | 2740667.1723 | 1236120.1328 | 2740673.3288 | 1236118.2695
14 | 2740642.8184 | 1236129.3422 | 2740618.0976 | 1236124.6418 | 2740603.4726 | 1236126.8087 | 2740587.7758 | 1236134.5885 | 2740571.2422 | 1236137.7446 | 2740543.7661 | 1236138.4618
15 | 2740434.9124 | 1236438.665 | 2740434.2328 | 1236414.2717 | 2740436.3531 | 1236400.4874 | 2740437.6963 | 1236396.1931 | 2740441.2827 | 1236384.7567 | 2740441.3618 | 1236338.8623 | 2740452.2432 | 1236314.7537 | 2740479.0438 | 1236298.0837 | 2740495.683 | 1236285.9664 | 2740503.8975 | 1236276.0297 | 2740502.8305 | 1236249.1473 | 2740514.06 | 1236234.9781 | 2740525.0354 | 1236225.1512 | 2740535.0545 | 1236220.8621 | 2740550.1665 | 1236192.6835 | 2740560.8995 | 1236184.786 | 2740572.7539 | 1236187.0796 | 2740586.0411 | 1236184.8142 | 2740599.2519 | 1236170.4363 | 2740604.421 | 1236156.1238 | 2740610.9737 | 1236146.0477 | 2740623.2773 | 1236136.7306 | 2740642.8184 | 1236129.3422
16 | 2740693.7166 | 1236112.0987 | 2740673.3288 | 1236118.2695
17 | 2740434.9124 | 1236438.665 | 2740455.6938 | 1236482.4618 | 2740447.4989 | 1236500.5396 | 2740421.8806 | 1236525.8342 | 2740408.5237 | 1236561.4835 | 2740382.209 | 1236600.2404 | 2740367.24 | 1236621.4833 | 2740357.3647 | 1236645.0153 | 2740345.4888 | 1236663.1953 | 2740330.1841 | 1236679.7596 | 2740304.264 | 1236692.9034 | 2740301.6445 | 1236699.6364
18 | 2740434.9124 | 1236438.665 | 2740430.8792 | 1236464.5037 | 2740436.3147 | 1236485.9401 | 2740435.8078 | 1236495.848 | 2740420.7858 | 1236501.0753 | 2740409.5189 | 1236493.8137 | 2740397.7669 | 1236477.9329 | 2740384.5116 | 1236471.8365 | 2740367.0075 | 1236469.3429 | 2740312.2195 | 1236455.6365 | 2740265.7041 | 1236453.4371
19 | 2740758.1848 | 1236348.5467 | 2740741.8725 | 1236319.401 | 2740736.5766 | 1236316.0615 | 2740730.9587 | 1236315.1276 | 2740728.4123 | 1236309.1731 | 2740732.2953 | 1236292.9173 | 2740738.7422 | 1236281.56 | 2740751.3509 | 1236270.8714 | 2740771.3934 | 1236252.8636 | 2740777.2372 | 1236221.9302 | 2740774.2448 | 1236189.4527 | 2740759.8733 | 1236183.4846 | 2740765.2092 | 1236173.9693 | 2740757.6906 | 1236161.2354 | 2740754.6656 | 1236147.6851 | 2740721.1946 | 1236126.3176 | 2740701.7987 | 1236128.538 | 2740693.7166 | 1236112.0987
20 | 2740301.6445 | 1236699.6364 | 2740291.9246 | 1236700.9191 | 2740283.6145 | 1236700.5225 | 2740274.7586 | 1236697.2772 | 2740271.853 | 1236691.1365 | 2740274.8509 | 1236684.7238 | 2740335.9971 | 1236625.001
21 | 2740239.5454 | 1236827.2388 | 2740247.6541 | 1236808.6026 | 2740257.1194 | 1236788.297 | 2740257.0394 | 1236756.1221 | 2740269.4927 | 1236738.4783 | 2740286.1294 | 1236726.7162 | 2740298.9 | 1236716.4643 | 2740300.4272 | 1236702.7771 | 2740301.6445 | 1236699.6364
22 | 2740265.7041 | 1236453.4371 | 2740246.8546 | 1236452.5459 | 2740241.2333 | 1236456.8837 | 2740235.9197 | 1236449.5504
23 | 2740758.1848 | 1236348.5467 | 2740754.4357 | 1236349.8924 | 2740748.6017 | 1236352.968 | 2740732.2645 | 1236363.824 | 2740725.3862 | 1236367.5199 | 2740720.6094 | 1236369.4307 | 2740716.2983 | 1236370.852 | 2740710.1678 | 1236372.0635 | 2740702.9583 | 1236372.8045 | 2740687.3291 | 1236373.6017 | 2740681.8555 | 1236373.9279 | 2740676.4924 | 1236375.0241 | 2740671.3232 | 1236376.5586 | 2740667.0361 | 1236378.57 | 2740662.3221 | 1236381.6612 | 2740658.7038 | 1236384.5225 | 2740653.5441 | 1236390.7725 | 2740648.783 | 1236399.3674 | 2740645.6171 | 1236407.7332 | 2740642.035 | 1236425.0416 | 2740639.6851 | 1236434.4387 | 2740636.4891 | 1236442.1588 | 2740630.3404 | 1236451.8107 | 2740621.1596 | 1236461.3129 | 2740603.2961 | 1236476.2256 | 2740592.7706 | 1236485.9295 | 2740590.6735 | 1236488.7365
24 | 2740336.1609 | 1236624.8409 | 2740335.9971 | 1236625.001
25 | 2740239.5454 | 1236827.2388 | 2740215.139 | 1236816.075 | 2740126.2381 | 1236844.9474 | 2740055.9138 | 1236850.1046 | 2739914.5648 | 1236810.8389
26 | 2740075.8827 | 1237206.1134 | 2740067.2413 | 1237203.4295 | 2740066.6213 | 1237188.6462 | 2740081.2504 | 1237162.7793 | 2740102.0903 | 1237133.8674 | 2740136.9174 | 1237063.9824 | 2740146.7025 | 1237036.5111 | 2740162.8121 | 1236998.6243 | 2740182.2322 | 1236982.1123 | 2740190.447 | 1236940.3803 | 2740219.0611 | 1236874.3526 | 2740239.5454 | 1236827.2388
27 | 2740235.9197 | 1236449.5504 | 2739768.9817 | 1236307.2656
28 | 2740075.8827 | 1237206.1134 | 2740076.636 | 1237200.8154 | 2740079.5128 | 1237193.4211 | 2740086.2045 | 1237181.2236 | 2740104.2105 | 1237153.7128 | 2740115.9344 | 1237138.0532 | 2740128.9791 | 1237122.5583 | 2740149.1181 | 1237100.9031 | 2740157.0768 | 1237090.1924 | 2740163.9987 | 1237080.436 | 2740171.5691 | 1237066.936 | 2740189.7694 | 1237024.8281 | 2740212.7367 | 1236973.5135 | 2740223.7062 | 1236949.7625 | 2740230.4438 | 1236938.5227 | 2740241.5883 | 1236924.0285 | 2740252.3683 | 1236913.4291 | 2740265.853 | 1236900.1691 | 2740285.1821 | 1236880.8084 | 2740299.8913 | 1236864.1076 | 2740321.465 | 1236834.0238 | 2740328.1621 | 1236824.6771
29 | 2740075.8827 | 1237206.1134 | 2740075.6687 | 1237213.2591 | 2740077.272 | 1237220.6924 | 2740083.0133 | 1237233.3613 | 2740089.3851 | 1237245.9338 | 2740091.2772 | 1237252.0394 | 2740092.0881 | 1237256.8072 | 2740091.8473 | 1237273.7388 | 2740091.9303 | 1237281.4476 | 2740092.2987 | 1237286.3607 | 2740092.8325 | 1237290.3657 | 2740093.53 | 1237294.1633 | 2740094.575 | 1237298.3138 | 2740095.6493 | 1237301.5421 | 2740096.9709 | 1237305.1987 | 2740098.3648 | 1237308.3566 | 2740106.5288 | 1237324.8416 | 2740110.2432 | 1237332.3025 | 2740112.0035 | 1237336.2934
30 | 2740328.1621 | 1236824.6771 | 2740591.3678 | 1236966.9903
31 | 2740194.5815 | 1237341.4068 | 2740187.3482 | 1237337.5375 | 2740183.8233 | 1237331.9938 | 2740183.888 | 1237331.4963
32 | 2740206.1807 | 1237354.1857 | 2740205.909 | 1237349.9866 | 2740203.987 | 1237346.4381 | 2740194.5815 | 1237341.4068
33 | 2740111.9879 | 1237408.7671 | 2740115.7826 | 1237408.6565 | 2740117.8818 | 1237408.2279 | 2740119.9292 | 1237407.431 | 2740123.0958 | 1237405.0703 | 2740141.1472 | 1237391.3284 | 2740171.7752 | 1237370.9997 | 2740188.4778 | 1237359.8951 | 2740206.1807 | 1237354.1857
34 | 2740206.1807 | 1237354.1857 | 2740188.4778 | 1237359.8951 | 2740171.7752 | 1237370.9997 | 2740206.2735 | 1237389.6638 | 2740241.3435 | 1237409.4315 | 2740253.2479 | 1237420.4001 | 2740252.742 | 1237423.869 | 2740251.6563 | 1237426.8905 | 2740246.8758 | 1237436.6863 | 2740245.0402 | 1237442.6149 | 2740245.1797 | 1237449.5244 | 2740245.9048 | 1237456.6367 | 2740247.3897 | 1237465.2238 | 2740248.15 | 1237472.4482 | 2740247.374 | 1237478.7021 | 2740246.1721 | 1237482.4771 | 2740242.9376 | 1237497.6364 | 2740239.1002 | 1237507.2432 | 2740233.6098 | 1237513.13 | 2740228.2006 | 1237515.9047 | 2740213.6873 | 1237521.5004 | 2740211.5663 | 1237524.453 | 2740210.3613 | 1237528.3613 | 2740210.6329 | 1237533.5279 | 2740212.1825 | 1237537.7793 | 2740216.7872 | 1237541.5025 | 2740229.7386 | 1237549.4709 | 2740243.4184 | 1237560.2479 | 2740270.5419 | 1237584.4098 | 2740272.8011 | 1237587.7773 | 2740272.6649 | 1237590.0205 | 2740267.4793 | 1237598.3833 | 2740251.8998 | 1237595.9354
35 | 2740111.9879 | 1237408.7671 | 2740115.5184 | 1237399.6534 | 2740117.3412 | 1237392.6568 | 2740118.4847 | 1237387.5014 | 2740119.3736 | 1237380.9499 | 2740119.8078 | 1237374.7436 | 2740119.87 | 1237369.8629 | 2740119.4766 | 1237362.8029 | 2740118.8764 | 1237358.7296 | 2740118.0441 | 1237354.5507 | 2740117.2623 | 1237350.7956 | 2740116.1252 | 1237347.021
36 | 2740111.9879 | 1237408.7671 | 2740108.6421 | 1237416.4728 | 2740103.7758 | 1237423.4976 | 2740095.1976 | 1237434.505 | 2740091.1317 | 1237439.0465 | 2740077.5978 | 1237453.1732 | 2740074.6871 | 1237456.154
37 | 2740251.8998 | 1237595.9354 | 2740241.5602 | 1237594.3565 | 2740230.5861 | 1237593.6857 | 2740222.4875 | 1237594.6398 | 2740218.878 | 1237595.5665 | 2740215.9005 | 1237598.2542 | 2740212.9264 | 1237604.0002 | 2740211.7693 | 1237610.0449 | 2740208.8181 | 1237614.824 | 2740201.0848 | 1237620.8245 | 2740196.6329 | 1237623.444 | 2740191.2459 | 1237628.9498
38 | 2740116.1252 | 1237347.021 | 2740112.801 | 1237338.1013 | 2740112.0035 | 1237336.2934
39 | 2740040.8089 | 1237289.4048 | 2740046.8624 | 1237284.6766 | 2740050.5567 | 1237272.464 | 2740047.3931 | 1237250.9592 | 2740050.267 | 1237247.535 | 2740046.7448 | 1237234.8074 | 2740053.3498 | 1237232.0495 | 2740065.5457 | 1237251.2208 | 2740070.2643 | 1237264.5661 | 2740070.9971 | 1237280.0193 | 2740078.6089 | 1237289.4405 | 2740084.8095 | 1237298.6839 | 2740095.1905 | 1237314.565 | 2740097.5031 | 1237319.8465 | 2740100.3582 | 1237324.2733 | 2740103.5367 | 1237327.1842 | 2740111.1113 | 1237353.2415 | 2740116.1252 | 1237347.021
40 | 2740031.5995 | 1237506.7917 | 2740034.9683 | 1237499.7093 | 2740039.0778 | 1237493.9567 | 2740067.5454 | 1237463.4675 | 2740074.6871 | 1237456.154
41 | 2740184.0647 | 1237639.9509 | 2740186.8579 | 1237633.5334 | 2740191.0175 | 1237629.1832 | 2740191.2459 | 1237628.9498
42 | 2740040.8089 | 1237289.4048 | 2740040.3144 | 1237276.0368 | 2740035.5236 | 1237268.317 | 2740026.8085 | 1237261.0607 | 2740019.9142 | 1237255.5488 | 2740013.1799 | 1237251.5977 | 2740003.4361 | 1237251.3678 | 2739993.5852 | 1237255.9953 | 2739987.8467 | 1237258.2843 | 2739984.439 | 1237265.0878 | 2739981.7264 | 1237276.7565 | 2739979.0588 | 1237296.4554
43 | 2739977.2994 | 1237309.4478 | 2739979.0588 | 1237296.4554
44 | 2740031.5995 | 1237506.7917 | 2740026.4205 | 1237525.7976 | 2740021.0506 | 1237543.5868 | 2740017.675 | 1237551.2808 | 2740013.8118 | 1237557.1838 | 2740006.7177 | 1237565.9355 | 2739999.2041 | 1237571.9304 | 2739981.7786 | 1237581.6394 | 2739956.039 | 1237593.7436 | 2739938.9841 | 1237602.1826 | 2739921.3743 | 1237612.0098 | 2739896.1677 | 1237630.4102 | 2739877.2483 | 1237644.4784
45 | 2739877.2483 | 1237644.4784 | 2739868.5957 | 1237650.9123 | 2739845.6262 | 1237664.6504 | 2739825.1695 | 1237675.1781 | 2739802.2674 | 1237683.1306
46 | 2739679.1602 | 1237835.2226 | 2739676.7586 | 1237838.0084 | 2739665.8459 | 1237844.3908 | 2739665.8079 | 1237844.355
47 | 2739451.1737 | 1237922.2712 | 2739460.8299 | 1237920.7077 | 2739484.6237 | 1237906.5983 | 2739509.4285 | 1237893.2691 | 2739521.0539 | 1237884.2453 | 2739536.1737 | 1237876.9273 | 2739554.2711 | 1237873.0157 | 2739567.0249 | 1237871.692 | 2739581.0434 | 1237857.4644 | 2739614.087 | 1237844.296 | 2739639.4562 | 1237832.4152 | 2739651.3699 | 1237830.7716 | 2739665.8079 | 1237844.355
48 | 2739316.7366 | 1238062.7964 | 2739296.9872 | 1238053.9364 | 2739262.8015 | 1238043.9369 | 2739232.1088 | 1238041.1816 | 2739150.6155 | 1238061.4452 | 2739123.2405 | 1238064.0618 | 2739095.965 | 1238053.0687 | 2739067.121 | 1238039.8927 | 2739054.9863 | 1238040.0087 | 2739043.8391 | 1238043.8511 | 2739038.1112 | 1238048.8728
49 | 2739309.8608 | 1238120.3417 | 2739304.2168 | 1238116.0722 | 2739288.7248 | 1238108.3353 | 2739289.7696 | 1238106.3803 | 2739313.0111 | 1238068.6809 | 2739316.7366 | 1238062.7964
50 | 2739309.8608 | 1238120.3417 | 2739303.5218 | 1238135.8404
51 | 2739272.252 | 1238139.1541 | 2739285.0901 | 1238146.4616 | 2739294.592 | 1238148.8755 | 2739301.1252 | 1238141.7001 | 2739303.5218 | 1238135.8404
52 | 2739018.784 | 1238061.9243 | 2739025.6035 | 1238059.8384 | 2739038.1112 | 1238048.8728
53 | 2739272.252 | 1238139.1541 | 2739268.2859 | 1238148.708
54 | 2739132.6957 | 1238383.4886 | 2739132.518 | 1238381.3826 | 2739131.5398 | 1238373.0745 | 2739128.5241 | 1238363.551 | 2739122.9327 | 1238351.5538 | 2739111.825 | 1238324.6809 | 2739108.4782 | 1238313.7817 | 2739107.5004 | 1238299.6463 | 2739109.5097 | 1238285.2806 | 2739112.0052 | 1238274.0624 | 2739116.4506 | 1238261.0217 | 2739125.8648 | 1238241.6695 | 2739131.9241 | 1238232.748 | 2739138.2938 | 1238226.7252 | 2739146.061 | 1238220.168 | 2739154.9854 | 1238213.9605 | 2739165.2534 | 1238208.8744 | 2739173.4409 | 1238206.3418 | 2739188.6195 | 1238201.9491 | 2739203.3943 | 1238198.6369 | 2739215.7081 | 1238195.7119 | 2739226.1546 | 1238192.6985 | 2739234.713 | 1238189.196 | 2739241.0038 | 1238184.9286 | 2739249.2824 | 1238178.8396 | 2739254.1843 | 1238174.0947 | 2739258.9965 | 1238167.6908 | 2739262.7274 | 1238161.5728 | 2739265.947 | 1238154.3419 | 2739268.2859 | 1238148.708
55 | 2739132.6957 | 1238383.4886 | 2739144.9428 | 1238382.419 | 2739200.6292 | 1238378.9121
56 | 2739117.3504 | 1238452.1455 | 2739117.6886 | 1238449.3399 | 2739123.9464 | 1238427.4226 | 2739126.7607 | 1238419.715 | 2739131.3093 | 1238403.2403 | 2739132.6957 | 1238383.4886
57 | 2739298.7012 | 1238419.709 | 2739298.4771 | 1238406.9845 | 2739296.314 | 1238389.5183 | 2739293.0292 | 1238379.5435 | 2739289.7891 | 1238370.5595 | 2739282.6157 | 1238363.1069 | 2739274.0372 | 1238358.1235 | 2739257.731 | 1238359.9538 | 2739235.3138 | 1238374.1964 | 2739227.6753 | 1238377.2089 | 2739200.6292 | 1238378.9121
58 | 2739281.4199 | 1238823.7879 | 2739285.3086 | 1238803.5166 | 2739288.1614 | 1238787.08 | 2739289.7329 | 1238768.4893 | 2739288.8579 | 1238753.8669 | 2739286.4728 | 1238740.7103 | 2739282.497 | 1238725.359 | 2739273.1992 | 1238696.2373 | 2739260.2246 | 1238657.7211 | 2739254.4693 | 1238640.4819 | 2739247.7521 | 1238626.1784 | 2739239.8865 | 1238613.4048 | 2739230.4701 | 1238601.5735 | 2739196.692 | 1238570.7877 | 2739165.193 | 1238543.8033 | 2739151.7325 | 1238531.4436 | 2739137.0237 | 1238516.1632 | 2739128.9029 | 1238505.5413 | 2739122.1827 | 1238492.9616 | 2739117.9706 | 1238478.628 | 2739115.8671 | 1238464.4106 | 2739117.3504 | 1238452.1455
59 | 2739117.3504 | 1238452.1455 | 2739127.381 | 1238454.9052 | 2739135.2117 | 1238458.5363 | 2739142.6058 | 1238463.3583 | 2739148.7707 | 1238468.9632 | 2739156.1741 | 1238473.3851 | 2739176.0465 | 1238482.7591 | 2739193.5052 | 1238491.4649 | 2739200.5456 | 1238494.2657 | 2739208.4523 | 1238494.6514
60 | 2739298.7012 | 1238419.709 | 2739299.0721 | 1238440.7603
61 | 2739281.4199 | 1238823.7879 | 2739281.1566 | 1238825.44
62 | 2739281.4199 | 1238823.7879 | 2739285.3253 | 1238825.6923 | 2739286.6856 | 1238828.3487 | 2739288.9565 | 1238835.0858 | 2739292.1327 | 1238838.3965 | 2739294.1656 | 1238841.9926
63 | 2739373.738 | 1238547.1636 | 2739373.4086 | 1238526.7155 | 2739370.9733 | 1238509.2539 | 2739367.9042 | 1238501.6974 | 2739349.8379 | 1238489.8741 | 2739341.6271 | 1238485.0327 | 2739336.6689 | 1238480.2566 | 2739332.9112 | 1238475.9201 | 2739326.7637 | 1238469.9039 | 2739322.1586 | 1238467.1712 | 2739317.5063 | 1238466.4503 | 2739311.8592 | 1238464.9054 | 2739309.4712 | 1238462.8253 | 2739305.7469 | 1238457.0661 | 2739304.228 | 1238452.7822 | 2739299.6515 | 1238448.8269 | 2739299.087 | 1238441.6073 | 2739299.0721 | 1238440.7603
64 | 2739254.5299 | 1238975.7923 | 2739255.9909 | 1238967.7083 | 2739272.0088 | 1238879.1274 | 2739278.7752 | 1238840.385 | 2739281.1566 | 1238825.44
65 | 2739299.0198 | 1238851.1079 | 2739297.0006 | 1238847.0073 | 2739294.1656 | 1238841.9926
66 | 2739254.5299 | 1238975.7923 | 2739233.7595 | 1239088.5944 | 2739219.0974 | 1239175.2277
67 | 2739254.5299 | 1238975.7923 | 2739242.5265 | 1238971.0399 | 2739228.0433 | 1238974.2588 | 2739194.2124 | 1238979.6816 | 2739167.4486 | 1238978.9981 | 2739152.0343 | 1238992.5601 | 2739133.105 | 1238997.5765 | 2739111.9228 | 1238999.2818 | 2739085.9743 | 1238996.427
68 | 2739299.5213 | 1238852.1265 | 2739299.0198 | 1238851.1079
69 | 2739834.479 | 1239636.958 | 2739845.6535 | 1239598.9173 | 2739899.3868 | 1239550.2619 | 2739899.5206 | 1239537.2603
70 | 2739216.0506 | 1239356.855 | 2739834.479 | 1239636.958
71 | 2739899.5744 | 1239532.0389 | 2739899.5744 | 1239532.0389 | 2739899.5206 | 1239537.2603
72 | 2739216.0506 | 1239356.855 | 2739215.1973 | 1239357.569
73 | 2740081.1344 | 1239331.5737 | 2740052.5445 | 1239356.3882 | 2740032.3709 | 1239362.5179 | 2739997.9235 | 1239364.6186 | 2739971.5151 | 1239383.5796 | 2739947.1901 | 1239447.986 | 2739936.3878 | 1239490.2135 | 2739899.5744 | 1239532.0389
74 | 2739146.4545 | 1239406.5751 | 2739146.6597 | 1239405.9238 | 2739155.5293 | 1239399.4036 | 2739174.7332 | 1239383.5952 | 2739194.906 | 1239374.5489 | 2739215.1973 | 1239357.569
75 | 2740081.1344 | 1239331.5737 | 2740105.2638 | 1239315.5843 | 2740145.7466 | 1239301.1267 | 2740161.7705 | 1239301.2272 | 2740179.6664 | 1239294.1545 | 2740189.9325 | 1239298.0781 | 2740202.5728 | 1239327.3694 | 2740212.0462 | 1239407.4091 | 2740224.4182 | 1239459.8814 | 2740244.9657 | 1239489.7823
76 | 2740081.1344 | 1239331.5737 | 2740143.0024 | 1238894.6908
77 | 2739378.5577 | 1239085.4774 | 2739371.0087 | 1239087.8632
78 | 2739219.0974 | 1239175.2277 | 2739271.4099 | 1239138.6663 | 2739361.4276 | 1239090.8913 | 2739371.0087 | 1239087.8632
79 | 2740244.9657 | 1239489.7823 | 2740263.9232 | 1239528.3535 | 2740289.5485 | 1239566.2039 | 2740302.887 | 1239593.4562
80 | 2740159.7648 | 1238868.2624 | 2740140.5312 | 1238866.816 | 2740143.0024 | 1238894.6908
81 | 2740302.887 | 1239593.4562 | 2740305.8819 | 1239599.5752 | 2740318.3361 | 1239616.316
82 | 2740556.186 | 1238813.8723 | 2740555.7907 | 1238829.1966 | 2740558.6021 | 1238832.5439 | 2740563.9874 | 1238833.6168 | 2740567.0636 | 1238835.369 | 2740572.436 | 1238847.8406 | 2740572.2371 | 1238850.527
83 | 2740533.0954 | 1238780.9942 | 2740534.3255 | 1238794.2352 | 2740542.7492 | 1238807.2795 | 2740556.2546 | 1238811.2138 | 2740556.186 | 1238813.8723
84 | 2740183.8675 | 1238870.0751 | 2740187.1867 | 1238871.4769 | 2740191.2964 | 1238869.2052 | 2740195.9804 | 1238866.9694 | 2740201.0707 | 1238866.111 | 2740217.217 | 1238865.247 | 2740242.0748 | 1238852.4671 | 2740268.1618 | 1238856.5201 | 2740300.5465 | 1238868.8184 | 2740348.5247 | 1238846.9882 | 2740441.2201 | 1238825.4159 | 2740485.7371 | 1238796.7211 | 2740533.0954 | 1238780.9942
85 | 2740183.8675 | 1238870.0751 | 2740159.7648 | 1238868.2624
86 | 2738710.3678 | 1239415.0017 | 2738701.0973 | 1239388.5283 | 2738695.4628 | 1239376.2185
87 | 2738710.3678 | 1239415.0017 | 2738637.0645 | 1239521.8179
88 | 2738710.3678 | 1239415.0017 | 2738732.8035 | 1239386.8008 | 2738811.9007 | 1239331.3112 | 2738881.2109 | 1239276.0272 | 2738886.4578 | 1239271.4531
89 | 2738637.0645 | 1239521.8179 | 2738611.7225 | 1239511.8841 | 2738605.5679 | 1239503.5997 | 2738606.1106 | 1239467.4136 | 2738589.7004 | 1239418.7763 | 2738568.4146 | 1239371.5376 | 2738569.9278 | 1239345.6277 | 2738559.9355 | 1239308.5617 | 2738558.4312 | 1239302.9883 | 2738551.273 | 1239276.431
90 | 2739085.9743 | 1238996.427 | 2739005.1533 | 1239144.8886 | 2739001.7462 | 1239160.1558 | 2739007.2721 | 1239176.8555 | 2739005.1857 | 1239196.146 | 2738995.4162 | 1239214.2668 | 2738984.575 | 1239224.5221 | 2738957.6465 | 1239231.2423 | 2738899.7956 | 1239259.8253 | 2738886.4578 | 1239271.4531
91 | 2739085.9743 | 1238996.427 | 2739067.8155 | 1238994.7224
92 | 2738533.7765 | 1238965.1135 | 2738527.5114 | 1238968.5796
93 | 2738533.7765 | 1238965.1135 | 2738528.3806 | 1238947.4997
94 | 2738805.3584 | 1238988.0425 | 2738533.7765 | 1238965.1135
95 | 2738560.8723 | 1238848.5424 | 2738533.3212 | 1238854.9831 | 2738526.3435 | 1238858.2566 | 2738524.0369 | 1238861.4389 | 2738523.6513 | 1238869.526 | 2738524.5523 | 1238900.2965 | 2738526.8624 | 1238923.2151 | 2738527.0613 | 1238940.6241 | 2738528.3274 | 1238947.3262 | 2738528.3806 | 1238947.4997
96 | 2738805.3584 | 1238988.0425 | 2738801.2235 | 1238982.6855 | 2738795.3814 | 1238972.0284 | 2738792.9718 | 1238962.4636 | 2738793.0466 | 1238950.5325 | 2738795.6571 | 1238943.0981 | 2738803.3439 | 1238935.3931 | 2738816.6351 | 1238931.0444 | 2738827.9736 | 1238932.533 | 2738846.0826 | 1238943.8108 | 2738863.378 | 1238954.6026 | 2738890.2901 | 1238975.4616 | 2738907.0033 | 1238985.9063 | 2738939.3392 | 1238995.8382 | 2738954.3629 | 1238995.3782 | 2738977.9129 | 1238995.3182 | 2738989.5924 | 1238999.0393 | 2739003.4764 | 1239002.9789 | 2739016.6399 | 1239001.8193 | 2739024.7586 | 1239005.724 | 2739031.8193 | 1239007.3129 | 2739039.1867 | 1239004.8499 | 2739049.4137 | 1239001.453 | 2739055.9737 | 1238998.5707 | 2739067.8155 | 1238994.7224
97 | 2739067.8155 | 1238994.7224 | 2739063.6744 | 1238972.5279 | 2739053.6376 | 1238958.4471 | 2739034.324 | 1238950.1542 | 2739023.2578 | 1238938.3401 | 2739019.5142 | 1238932.4361 | 2738999.4507 | 1238900.5938 | 2738968.8066 | 1238877.5339 | 2738967.4178 | 1238863.4889 | 2738985.2621 | 1238828.8869 | 2738985.3523 | 1238824.6087
98 | 2739219.0974 | 1239175.2277 | 2739217.3815 | 1239185.3661
99 | 2738814.9957 | 1238564.1475 | 2738846.7185 | 1238598.1192 | 2738862.2931 | 1238616.5219 | 2738899.3399 | 1238629.9335 | 2738928.8213 | 1238635.8172 | 2738954.6388 | 1238648.5325 | 2738966.2747 | 1238662.5506 | 2738974.2924 | 1238685.0026 | 2738985.332 | 1238701.5311 | 2738993.5494 | 1238722.2418 | 2739003.0216 | 1238734.6078 | 2738995.2811 | 1238770.7476 | 2738986.0782 | 1238790.1717 | 2738985.3523 | 1238824.6087
100 | 2738814.9957 | 1238564.1475 | 2738860.389 | 1238519.7138 | 2738899.66 | 1238493.7425 | 2738901.5158 | 1238491.7286
101 | 2738814.9957 | 1238564.1475 | 2738810.7739 | 1238569.6092 | 2738806.6157 | 1238579.1427 | 2738807.6914 | 1238585.2399 | 2738813.2012 | 1238592.653 | 2738815.4587 | 1238599.9901 | 2738816.7537 | 1238609.0061 | 2738817.039 | 1238619.4554 | 2738816.7836 | 1238630.3702 | 2738816.1482 | 1238640.0639 | 2738819.0521 | 1238649.5291 | 2738822.0318 | 1238660.9311 | 2738823.62 | 1238667.7631 | 2738824.2896 | 1238674.3958 | 2738823.6099 | 1238677.6596
102 | 2738901.5158 | 1238491.7286 | 2738894.3108 | 1238480.4389 | 2738892.9458 | 1238445.9654 | 2738891.5658 | 1238435.4126 | 2738883.1729 | 1238436.0725 | 2738870.1962 | 1238446.6562 | 2738798.363 | 1238463.1804 | 2738770.3531 | 1238462.9368 | 2738750.5707 | 1238458.4261 | 2738747.2013 | 1238446.2032 | 2738760.2526 | 1238426.2683 | 2738775.4961 | 1238422.6212 | 2738778.2662 | 1238420.7419
103 | 2738823.6099 | 1238677.6596 | 2738822.4303 | 1238683.324
104 | 2738785.9387 | 1238415.5368 | 2738778.2662 | 1238420.7419
105 | 2738821.0274 | 1238690.0604 | 2738822.4303 | 1238683.324
106 | 2739217.3815 | 1239185.3661 | 2739215.0124 | 1239199.3645 | 2739210.0526 | 1239222.0906 | 2739206.2225 | 1239234.7232 | 2739199.8048 | 1239247.9956 | 2739193.7203 | 1239258.3511 | 2739185.9909 | 1239268.8348 | 2739135.8898 | 1239333.1289 | 2739130.4102 | 1239339.7315
107 | 2739033.811 | 1239464.121 | 2739047.0045 | 1239427.7421 | 2739052.3684 | 1239412.5987 | 2739059.237 | 1239398.1467 | 2739066.6962 | 1239387.2339 | 2739074.3106 | 1239379.7055 | 2739085.595 | 1239371.1956 | 2739100.5192 | 1239363.3271 | 2739113.765 | 1239355.397 | 2739125.3156 | 1239345.8703 | 2739130.4102 | 1239339.7315
108 | 2739033.811 | 1239464.121 | 2739046.7971 | 1239468.8738 | 2739052.5643 | 1239474.614 | 2739073.1101 | 1239485.4603 | 2739080.7146 | 1239484.8045 | 2739085.9249 | 1239478.4765 | 2739087.3472 | 1239465.8986 | 2739092.0362 | 1239457.6011 | 2739138.1578 | 1239432.9041 | 2739141.5985 | 1239421.9853
109 | 2739033.811 | 1239464.121 | 2739031.0123 | 1239471.829 | 2739006.3234 | 1239543.8261 | 2738997.4691 | 1239570.1636
110 | 2739141.5985 | 1239421.9853 | 2739143.8405 | 1239414.8704
111 | 2738990.0355 | 1239595.5705 | 2738995.0428 | 1239577.3808 | 2738997.4691 | 1239570.1636
112 | 2739146.4545 | 1239406.5751 | 2739143.8405 | 1239414.8704
113 | 2738990.0355 | 1239595.5705 | 2738987.6472 | 1239604.2464

## bus_geodata
| x | y | coords
0 | 2738938.0423 | 1237142.9957
1 | 2738894.9561 | 1237192.7485
2 | 2738945.6494 | 1237143.5351
3 | 2738876.9817 | 1237205.8954
4 | 2738897.4403 | 1237908.9729
5 | 2738977.6919 | 1237911.7193
6 | 2738533.8165 | 1237848.0487
7 | 2739392.6742 | 1237912.4226
8 | 2738846.9644 | 1237163.3018
9 | 2740660.4615 | 1236122.6705
10 | 2740667.1723 | 1236120.1328
11 | 2740642.8184 | 1236129.3422
12 | 2740673.3288 | 1236118.2695
13 | 2740543.7661 | 1236138.4618
14 | 2740434.9124 | 1236438.665
15 | 2740693.7166 | 1236112.0987
16 | 2740301.6445 | 1236699.6364
17 | 2740265.7041 | 1236453.4371
18 | 2740758.1848 | 1236348.5467
19 | 2740335.9971 | 1236625.001
20 | 2740239.5454 | 1236827.2388
21 | 2740235.9197 | 1236449.5504
22 | 2740590.6735 | 1236488.7365
23 | 2740336.1609 | 1236624.8409
24 | 2739914.5648 | 1236810.8389
25 | 2740075.8827 | 1237206.1134
26 | 2739768.9817 | 1236307.2656
27 | 2740328.1621 | 1236824.6771
28 | 2740591.3678 | 1236966.9903
29 | 2740183.888 | 1237331.4963
30 | 2740194.5815 | 1237341.4068
31 | 2740206.1807 | 1237354.1857
32 | 2740111.9879 | 1237408.7671
33 | 2740251.8998 | 1237595.9354
34 | 2740116.1252 | 1237347.021
35 | 2740074.6871 | 1237456.154
36 | 2740191.2459 | 1237628.9498
37 | 2740040.8089 | 1237289.4048
38 | 2739979.0588 | 1237296.4554
39 | 2740112.0035 | 1237336.2934
40 | 2740031.5995 | 1237506.7917
41 | 2740184.0647 | 1237639.9509
42 | 2739977.2994 | 1237309.4478
43 | 2739877.2483 | 1237644.4784
44 | 2739802.2674 | 1237683.1306
45 | 2739679.1602 | 1237835.2226
46 | 2739665.8079 | 1237844.355
47 | 2739451.1737 | 1237922.2712
48 | 2739316.7366 | 1238062.7964
49 | 2739309.8608 | 1238120.3417
50 | 2739303.5218 | 1238135.8404
51 | 2739038.1112 | 1238048.8728
52 | 2739272.252 | 1238139.1541
53 | 2739268.2859 | 1238148.708
54 | 2739132.6957 | 1238383.4886
55 | 2739200.6292 | 1238378.9121
56 | 2739117.3504 | 1238452.1455
57 | 2739298.7012 | 1238419.709
58 | 2739281.4199 | 1238823.7879
59 | 2739208.4523 | 1238494.6514
60 | 2739018.784 | 1238061.9243
61 | 2739299.072 | 1238440.7603
62 | 2739281.1566 | 1238825.44
63 | 2739294.1656 | 1238841.9926
64 | 2739373.738 | 1238547.1636
65 | 2739254.5299 | 1238975.7923
66 | 2739299.0198 | 1238851.1079
67 | 2739834.479 | 1239636.958
68 | 2739899.5206 | 1239537.2603
69 | 2739216.0506 | 1239356.855
70 | 2739899.5744 | 1239532.0389
71 | 2739215.1973 | 1239357.569
72 | 2740081.1345 | 1239331.5737
73 | 2739378.5577 | 1239085.4774
74 | 2739371.0087 | 1239087.8632
75 | 2740244.9657 | 1239489.7823
76 | 2740143.0023 | 1238894.6908
77 | 2740302.887 | 1239593.4562
78 | 2740556.186 | 1238813.8723
79 | 2740572.2371 | 1238850.527
80 | 2740533.0954 | 1238780.9942
81 | 2740183.8675 | 1238870.0751
82 | 2740159.7648 | 1238868.2624
83 | 2740318.3361 | 1239616.316
84 | 2738695.4628 | 1239376.2185
85 | 2738710.3678 | 1239415.0017
86 | 2738637.0645 | 1239521.8179
87 | 2738886.4578 | 1239271.4531
88 | 2738551.273 | 1239276.431
89 | 2739085.9743 | 1238996.427
90 | 2738527.5114 | 1238968.5796
91 | 2738533.7765 | 1238965.1135
92 | 2738528.3806 | 1238947.4997
93 | 2738805.3584 | 1238988.0425
94 | 2739067.8155 | 1238994.7224
95 | 2738560.8723 | 1238848.5424
96 | 2739219.0974 | 1239175.2277
97 | 2738985.3523 | 1238824.6087
98 | 2738814.9957 | 1238564.1475
99 | 2738901.5158 | 1238491.7286
100 | 2738823.6099 | 1238677.6596
101 | 2738778.2662 | 1238420.7419
102 | 2738822.4303 | 1238683.324
103 | 2738785.9387 | 1238415.5368
104 | 2738821.0274 | 1238690.0604
105 | 2739217.3815 | 1239185.3661
106 | 2739299.5213 | 1238852.1265
107 | 2739130.4102 | 1239339.7315
108 | 2739033.811 | 1239464.121
109 | 2739141.5985 | 1239421.9853
110 | 2738997.4691 | 1239570.1636
111 | 2739143.8405 | 1239414.8704
112 | 2738990.0355 | 1239595.5705
113 | 2739146.4545 | 1239406.5751
114 | 2738987.6472 | 1239604.2464
115 | 2739299.5213 | 1238852.1265

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1